## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-81_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-81_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-81_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-81_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-81_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1630-81_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1630-81_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1630-81_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1630-81_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1630-81_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1630-81_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1630-81_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1630-81_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1630-81_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1630-81_0_4_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_1630-81_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1630-81_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1630-81_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1630-81_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_1630-81_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1630-81_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1630-81_0_4_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1630-81_0_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1630-81_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1630-81_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1630-81_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1630-81_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1630-81_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1630-81_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1630-81_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1630-81_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1630-81_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1630-81_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1630-81_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1630-81_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1630-81_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1630-81_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1630-81_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1630-81_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1630-81_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1630-81_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1630-81_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1630-81_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1630-81_0_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1630-81_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1630-81_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_MV_225_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-81_0_4_load_0 | 0 | 0.010745 | 0.0026929 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-81_0_4_load_1 | 1 | 0.0040795 | 0.0010224 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-81_0_4_load_2 | 2 | 0.010838 | 0.0027161 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-81_0_4_load_3 | 3 | 0.0035245 | 0.00088334 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-81_0_4_load_4 | 4 | 0.01342 | 0.0033633 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-81_0_4_load_11 | 7 | 0.0035272 | 0.000884 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-81_0_4_load_5 | 8 | 0.022763 | 0.0057049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-81_0_4_load_8 | 11 | 0.0051605 | 0.0012933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-81_0_4_load_9 | 12 | 0.0044533 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-81_0_4_load_48 | 14 | 0.010962 | 0.0027475 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-81_0_4_load_15 | 16 | 0.0056709 | 0.0014213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-81_0_4_load_16 | 17 | 0.0090974 | 0.00228 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-81_0_4_load_32 | 19 | 0.021864 | 0.0054796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-81_0_4_load_30 | 20 | 0.0051672 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-81_0_4_load_41 | 21 | 0.024489 | 0.0061375 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-81_0_4_load_17 | 24 | 0.0078699 | 0.0019724 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-81_0_4_load_19 | 26 | 0.0066883 | 0.0016762 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-81_0_4_load_24 | 29 | 0.02708 | 0.006787 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-81_0_4_load_22 | 30 | 0.0064034 | 0.0016049 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-81_0_4_load_39 | 31 | 0.023745 | 0.0059509 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-81_0_4_load_37 | 34 | 0.0070909 | 0.0017771 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-81_0_4_load_25 | 35 | 0.010649 | 0.0026688 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-81_0_4_load_26 | 36 | 0.017139 | 0.0042955 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-81_0_4_load_29 | 38 | 0.0052871 | 0.0013251 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-81_0_4_load_40 | 39 | 0.012562 | 0.0031484 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-81_0_4_load_42 | 41 | 0.0068986 | 0.001729 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-81_0_4_load_45 | 42 | 0.017886 | 0.0044827 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-81_0_4_load_43 | 43 | 0.012641 | 0.0031682 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-81_0_4_load_46 | 44 | 0.0038336 | 0.00096079 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-81_0_4_load_44 | 45 | 0.026211 | 0.0065692 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-81_0_4_line_0 |  | 0 | 1 | 0.025232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-81_0_4_line_1 |  | 0 | 2 | 0.021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-81_0_4_line_2 |  | 1 | 3 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-81_0_4_line_3 |  | 2 | 4 | 0.0076065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-81_0_4_line_4 |  | 3 | 5 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-81_0_4_line_5 |  | 5 | 6 | 0.023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-81_0_4_line_6 |  | 6 | 7 | 0.011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-81_0_4_line_7 |  | 6 | 10 | 0.001592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-81_0_4_line_8 |  | 8 | 9 | 0.0070583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-81_0_4_line_9 |  | 8 | 10 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-81_0_4_line_10 |  | 9 | 11 | 0.026848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-81_0_4_line_11 |  | 9 | 12 | 0.0092685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-81_0_4_line_12 |  | 11 | 13 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-81_0_4_line_13 |  | 12 | 14 | 0.0059383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-81_0_4_line_14 |  | 13 | 15 | 0.02763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-81_0_4_line_15 |  | 13 | 16 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-81_0_4_line_16 |  | 13 | 17 | 0.018449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-81_0_4_line_17 |  | 15 | 18 | 0.009785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1630-81_0_4_line_18 |  | 15 | 19 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-81_0_4_line_19 |  | 16 | 20 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-81_0_4_line_20 |  | 18 | 21 | 0.02618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1630-81_0_4_line_21 |  | 18 | 22 | 0.010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-81_0_4_line_22 |  | 19 | 23 | 0.026781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-81_0_4_line_23 |  | 21 | 38 | 0.00096957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1630-81_0_4_line_24 |  | 22 | 41 | 0.011793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-81_0_4_line_25 |  | 23 | 40 | 0.010212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-81_0_4_line_26 |  | 24 | 25 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-81_0_4_line_27 |  | 24 | 26 | 0.00013997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-81_0_4_line_28 |  | 25 | 27 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-81_0_4_line_29 |  | 25 | 28 | 0.014366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-81_0_4_line_30 |  | 27 | 29 | 0.017426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-81_0_4_line_31 |  | 27 | 30 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-81_0_4_line_32 |  | 28 | 31 | 0.003245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-81_0_4_line_33 |  | 29 | 32 | 0.0020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-81_0_4_line_34 |  | 31 | 33 | 0.0027319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-81_0_4_line_35 |  | 32 | 34 | 0.018129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-81_0_4_line_36 |  | 33 | 39 | 0.022946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-81_0_4_line_37 |  | 33 | 37 | 0.029464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-81_0_4_line_38 |  | 35 | 36 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-81_0_4_line_39 |  | 35 | 37 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1630-81_0_4_line_40 |  | 37 | 38 | 0.0011291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1630-81_0_4_line_41 |  | 40 | 42 | 0.022424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-81_0_4_line_42 |  | 41 | 43 | 0.0026415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-81_0_4_line_43 |  | 42 | 44 | 0.010859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-81_0_4_line_44 |  | 43 | 45 | 0.0087036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-81_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 46 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2723435.174 | 1217536.0644 | 2723445.1583 | 1217536.3641 | 2723445.1375 | 1217539.5662 | 2723444.7987 | 1217551.603
1 | 2723435.174 | 1217536.0644 | 2723414.052 | 1217535.4303 | 2723414.052 | 1217535.4303
2 | 2723444.7987 | 1217551.603 | 2723444.5037 | 1217562.0818 | 2723442.022 | 1217575.8939
3 | 2723414.052 | 1217535.4303 | 2723413.9748 | 1217538.4199 | 2723413.7816 | 1217543.0317
4 | 2723434.6619 | 1217591.0561 | 2723437.79 | 1217589.6086 | 2723439.5174 | 1217587.5984 | 2723440.435 | 1217584.7263 | 2723442.022 | 1217575.8939
5 | 2723412.0358 | 1217584.7159 | 2723416.0581 | 1217585.5554 | 2723431.626 | 1217590.982 | 2723434.6619 | 1217591.0561
6 | 2723412.0358 | 1217584.7159 | 2723412.5206 | 1217573.1406
7 | 2723412.0358 | 1217584.7159 | 2723410.4437 | 1217584.5939
8 | 2723392.4802 | 1217587.4019 | 2723395.1621 | 1217585.5004 | 2723398.7118 | 1217584.2285
9 | 2723410.4437 | 1217584.5939 | 2723402.141 | 1217584.0104 | 2723398.7118 | 1217584.2285
10 | 2723392.4802 | 1217587.4019 | 2723390.0625 | 1217590.4765 | 2723382.4742 | 1217612.1212
11 | 2723392.4802 | 1217587.4019 | 2723386.1906 | 1217583.1128 | 2723384.535 | 1217583.1173
12 | 2723376.2953 | 1217627.8762 | 2723377.3492 | 1217625.3849 | 2723380.0229 | 1217619.1132 | 2723382.4742 | 1217612.1212
13 | 2723378.5967 | 1217583.1333 | 2723384.535 | 1217583.1173
14 | 2723376.2953 | 1217627.8762 | 2723350.6331 | 1217617.4479
15 | 2723376.2953 | 1217627.8762 | 2723385.402 | 1217632.3702
16 | 2723376.2953 | 1217627.8762 | 2723369.1529 | 1217644.887
17 | 2723341.5443 | 1217613.7569 | 2723350.6331 | 1217617.4479
18 | 2723350.6331 | 1217617.4479 | 2723345.8878 | 1217632.0969
19 | 2723396.1886 | 1217638.1066 | 2723389.5845 | 1217634.4342 | 2723385.402 | 1217632.3702
20 | 2723341.5443 | 1217613.7569 | 2723343.5724 | 1217605.2923 | 2723343.762 | 1217604.2065 | 2723344.6345 | 1217599.1094 | 2723345.4771 | 1217591.7878 | 2723345.7183 | 1217587.9632
21 | 2723341.5443 | 1217613.7569 | 2723339.3695 | 1217621.24 | 2723338.6049 | 1217623.6927
22 | 2723330.7475 | 1217650.7401 | 2723340.9472 | 1217647.3485 | 2723345.8878 | 1217632.0969
23 | 2723345.7793 | 1217586.9956 | 2723345.7183 | 1217587.9632
24 | 2723338.6049 | 1217623.6927 | 2723327.5313 | 1217619.6379
25 | 2723329.9823 | 1217660.9211 | 2723330.7475 | 1217650.7401
26 | 2723332.5659 | 1217538.379 | 2723361.1467 | 1217531.1797
27 | 2723361.2824 | 1217531.1455 | 2723361.1467 | 1217531.1797
28 | 2723322.8877 | 1217520.6093 | 2723331.0782 | 1217535.0456 | 2723332.5659 | 1217538.379
29 | 2723338.4296 | 1217551.4994 | 2723332.5659 | 1217538.379
30 | 2723322.8877 | 1217520.6093 | 2723306.8224 | 1217527.3596
31 | 2723322.8877 | 1217520.6093 | 2723335.7384 | 1217511.917
32 | 2723338.4296 | 1217551.4994 | 2723339.5747 | 1217554.5357
33 | 2723304.9553 | 1217528.1441 | 2723306.8224 | 1217527.3596
34 | 2723340.5387 | 1217557.0919 | 2723339.5747 | 1217554.5357
35 | 2723304.9553 | 1217528.1441 | 2723296.1933 | 1217514.163 | 2723297.5292 | 1217513.2312
36 | 2723340.5387 | 1217557.0919 | 2723354.8477 | 1217554.386 | 2723363.1194 | 1217556.103
37 | 2723340.5387 | 1217557.0919 | 2723341.8409 | 1217560.9441 | 2723343.176 | 1217565.4085 | 2723345.0502 | 1217572.8086 | 2723345.8859 | 1217580.8544 | 2723345.8503 | 1217585.8687
38 | 2723368.6757 | 1217588.8213 | 2723356.987 | 1217587.3093
39 | 2723345.8503 | 1217585.8687 | 2723356.987 | 1217587.3093
40 | 2723345.8503 | 1217585.8687 | 2723345.7793 | 1217586.9956
41 | 2723329.9823 | 1217660.9211 | 2723310.0845 | 1217650.5819
42 | 2723327.5313 | 1217619.6379 | 2723325.0509 | 1217618.7296
43 | 2723310.0845 | 1217650.5819 | 2723307.1368 | 1217649.0502 | 2723299.8769 | 1217647.0253
44 | 2723325.0509 | 1217618.7296 | 2723316.8779 | 1217615.7369

## bus_geodata
| x | y | coords
0 | 2723435.174 | 1217536.0644
1 | 2723444.7987 | 1217551.603
2 | 2723414.052 | 1217535.4303
3 | 2723442.022 | 1217575.8939
4 | 2723413.7816 | 1217543.0317
5 | 2723434.6619 | 1217591.0561
6 | 2723412.0358 | 1217584.7159
7 | 2723412.5206 | 1217573.1406
8 | 2723398.7118 | 1217584.2285
9 | 2723392.4802 | 1217587.4019
10 | 2723410.4437 | 1217584.5939
11 | 2723382.4742 | 1217612.1212
12 | 2723384.535 | 1217583.1173
13 | 2723376.2953 | 1217627.8762
14 | 2723378.5967 | 1217583.1333
15 | 2723350.6331 | 1217617.4479
16 | 2723385.402 | 1217632.3702
17 | 2723369.1529 | 1217644.887
18 | 2723341.5443 | 1217613.7569
19 | 2723345.8878 | 1217632.0969
20 | 2723396.1886 | 1217638.1066
21 | 2723345.7183 | 1217587.9632
22 | 2723338.6049 | 1217623.6927
23 | 2723330.7475 | 1217650.7401
24 | 2723361.1467 | 1217531.1797
25 | 2723332.5659 | 1217538.379
26 | 2723361.2824 | 1217531.1455
27 | 2723322.8877 | 1217520.6093
28 | 2723338.4296 | 1217551.4994
29 | 2723306.8224 | 1217527.3596
30 | 2723335.7384 | 1217511.917
31 | 2723339.5747 | 1217554.5357
32 | 2723304.9553 | 1217528.1441
33 | 2723340.5387 | 1217557.0919
34 | 2723297.5292 | 1217513.2312
35 | 2723356.987 | 1217587.3093
36 | 2723368.6758 | 1217588.8213
37 | 2723345.8503 | 1217585.8687
38 | 2723345.7793 | 1217586.9956
39 | 2723363.1194 | 1217556.103
40 | 2723329.9823 | 1217660.9211
41 | 2723327.5313 | 1217619.6379
42 | 2723310.0845 | 1217650.5819
43 | 2723325.0509 | 1217618.7296
44 | 2723299.8769 | 1217647.0253
45 | 2723316.8779 | 1217615.7369
46 | 2723356.987 | 1217587.3093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98591 | -0.27153 | 0.010745 | 0.0026929
1 | 0.98672 | -0.2557 | 0.0040795 | 0.0010224
2 | 0.98544 | -0.28072 | 0.010838 | 0.0027161
3 | 0.9876 | -0.23857 | 0.0035245 | 0.00088334
4 | 0.98534 | -0.28256 | 0.01342 | 0.0033633
5 | 0.98831 | -0.22481 | 0 | 0
6 | 0.98924 | -0.2069 | 0 | 0
7 | 0.9892 | -0.20763 | 0.0035272 | 0.000884
8 | 0.9898 | -0.19594 | 0.022763 | 0.0057049
9 | 0.99025 | -0.18729 | 0 | 0
10 | 0.9893 | -0.20559 | 0 | 0
11 | 0.99233 | -0.14714 | 0.0051605 | 0.0012933
12 | 0.99012 | -0.18983 | 0.0044533 | 0.0011161
13 | 0.99372 | -0.12036 | 0 | 0
14 | 0.99006 | -0.19099 | 0.010962 | 0.0027475
15 | 0.99649 | -0.067146 | 0 | 0
16 | 0.99362 | -0.1223 | 0.0056709 | 0.0014213
17 | 0.99356 | -0.12332 | 0.0090974 | 0.00228
18 | 0.99718 | -0.054016 | 0 | 0
19 | 0.99588 | -0.078934 | 0.021864 | 0.0054796
20 | 0.99356 | -0.12342 | 0.0051672 | 0.001295
21 | 0.99876 | -0.023662 | 0.024489 | 0.0061375
22 | 0.99674 | -0.06233 | 0 | 0
23 | 0.99535 | -0.089163 | 0 | 0
24 | 0.99498 | -0.09648 | 0.0078699 | 0.0019724
25 | 0.99537 | -0.088929 | 0 | 0
26 | 0.99498 | -0.096497 | 0.0066883 | 0.0016762
27 | 0.99462 | -0.10339 | 0 | 0
28 | 0.99609 | -0.075004 | 0 | 0
29 | 0.99408 | -0.11388 | 0.02708 | 0.006787
30 | 0.99453 | -0.10514 | 0.0064034 | 0.0016049
31 | 0.99625 | -0.071862 | 0.023745 | 0.0059509
32 | 0.99406 | -0.11414 | 0 | 0
33 | 0.99645 | -0.068078 | 0 | 0
34 | 0.99395 | -0.1164 | 0.0070909 | 0.0017771
35 | 1 | 0 | -0.34066 | -0.085698
36 | 0.99982 | -0.0035215 | 0.017139 | 0.0042955
37 | 0.99891 | -0.020899 | 0 | 0
38 | 0.99883 | -0.022401 | 0.0052871 | 0.0013251
39 | 0.99619 | -0.07314 | 0.012562 | 0.0031484
40 | 0.99515 | -0.093066 | 0 | 0
41 | 0.99625 | -0.0718 | 0.0068986 | 0.001729
42 | 0.9947 | -0.10164 | 0.017886 | 0.0044827
43 | 0.99616 | -0.073602 | 0.012641 | 0.0031682
44 | 0.99467 | -0.10238 | 0.0038336 | 0.00096079
45 | 0.99595 | -0.07761 | 0.026211 | 0.0065692
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035014 | -0.0087795 | 0.03504 | 0.0087961 | 2.6426e-05 | 1.6591e-05 | 0.052847 | 0.052847 | 0.052847 | 0.98591 | -0.27153 | 0.98672 | -0.2557 | 14.5185
1 | 0.024269 | 0.0060866 | -0.024258 | -0.0060801 | 1.0633e-05 | 6.5356e-06 | 0.03663 | 0.03663 | 0.03663 | 0.98591 | -0.27153 | 0.98544 | -0.28072 | 10.0633
2 | -0.03912 | -0.0098185 | 0.039152 | 0.0098387 | 3.2002e-05 | 2.0168e-05 | 0.058999 | 0.058999 | 0.058999 | 0.98672 | -0.2557 | 0.9876 | -0.23857 | 16.2086
3 | 0.013421 | 0.0033639 | -0.01342 | -0.0033633 | 1.1715e-06 | 6.5285e-07 | 0.020266 | 0.020266 | 0.020266 | 0.98544 | -0.28072 | 0.98534 | -0.28256 | 5.5675
4 | -0.042676 | -0.010722 | 0.042704 | 0.01074 | 2.805e-05 | 1.772e-05 | 0.06431 | 0.064309 | 0.06431 | 0.9876 | -0.23857 | 0.98831 | -0.22481 | 17.6675
5 | -0.042704 | -0.01074 | 0.042741 | 0.010763 | 3.6551e-05 | 2.3091e-05 | 0.064309 | 0.064309 | 0.064309 | 0.98831 | -0.22481 | 0.98924 | -0.2069 | 17.6674
6 | 0.0035273 | 0.00088393 | -0.0035272 | -0.000884 | 1.2231e-07 | -7.0457e-08 | 0.0053058 | 0.0053058 | 0.0053058 | 0.98924 | -0.2069 | 0.9892 | -0.20763 | 1.4577
7 | -0.046268 | -0.011647 | 0.046271 | 0.011649 | 2.8932e-06 | 1.8312e-06 | 0.069615 | 0.069615 | 0.069615 | 0.98924 | -0.2069 | 0.9893 | -0.20559 | 19.125
8 | -0.069055 | -0.017367 | 0.069084 | 0.017385 | 2.8538e-05 | 1.8174e-05 | 0.10384 | 0.10384 | 0.10384 | 0.9898 | -0.19594 | 0.99025 | -0.18729 | 28.5262
9 | 0.046293 | 0.011662 | -0.046271 | -0.011649 | 2.1371e-05 | 1.3526e-05 | 0.069615 | 0.069615 | 0.069615 | 0.9898 | -0.19594 | 0.9893 | -0.20559 | 19.125
10 | -0.084502 | -0.02125 | 0.084664 | 0.021354 | 0.00016239 | 0.00010359 | 0.127 | 0.127 | 0.127 | 0.99025 | -0.18729 | 0.99233 | -0.14714 | 34.8912
11 | 0.015418 | 0.0038649 | -0.015416 | -0.0038639 | 1.8657e-06 | 1.0748e-06 | 0.023169 | 0.023169 | 0.023169 | 0.99025 | -0.18729 | 0.99012 | -0.18983 | 6.365
12 | -0.089825 | -0.022647 | 0.08994 | 0.022721 | 0.00011528 | 7.3559e-05 | 0.13474 | 0.13474 | 0.13474 | 0.99233 | -0.14714 | 0.99372 | -0.12036 | 37.0171
13 | 0.010963 | 0.0027478 | -0.010962 | -0.0027475 | 6.0451e-07 | 3.1051e-07 | 0.016476 | 0.016476 | 0.016476 | 0.99012 | -0.18983 | 0.99006 | -0.19099 | 4.5264
14 | -0.10988 | -0.027718 | 0.11016 | 0.027897 | 0.00028071 | 0.0001793 | 0.1646 | 0.1646 | 0.1646 | 0.99372 | -0.12036 | 0.99649 | -0.067146 | 45.2192
15 | 0.010839 | 0.0027168 | -0.010838 | -0.0027163 | 1.0033e-06 | 5.1055e-07 | 0.016231 | 0.016231 | 0.016231 | 0.99372 | -0.12036 | 0.99362 | -0.1223 | 4.4591
16 | 0.0090987 | 0.0022806 | -0.0090974 | -0.00228 | 1.2843e-06 | 5.8298e-07 | 0.013625 | 0.013625 | 0.013625 | 0.99372 | -0.12036 | 0.99356 | -0.12332 | 3.7431
17 | -0.15379 | -0.03885 | 0.15389 | 0.038912 | 9.685e-05 | 6.1729e-05 | 0.22976 | 0.22976 | 0.22976 | 0.99649 | -0.067146 | 0.99718 | -0.054016 | 31.5601
18 | 0.043632 | 0.010953 | -0.043607 | -0.010937 | 2.4517e-05 | 1.549e-05 | 0.06516 | 0.06516 | 0.06516 | 0.99649 | -0.067146 | 0.99588 | -0.078934 | 17.9011
19 | 0.0051674 | 0.001295 | -0.0051672 | -0.001295 | 2.7444e-07 | 1.7367e-08 | 0.0077386 | 0.0077387 | 0.0077387 | 0.99362 | -0.1223 | 0.99356 | -0.12342 | 2.126
20 | -0.19969 | -0.050408 | 0.19998 | 0.050593 | 0.00029081 | 0.00018509 | 0.29811 | 0.29811 | 0.29811 | 0.99718 | -0.054016 | 0.99876 | -0.023662 | 27.299
21 | 0.045799 | 0.011496 | -0.04578 | -0.011485 | 1.8152e-05 | 1.1482e-05 | 0.068348 | 0.068348 | 0.068348 | 0.99718 | -0.054016 | 0.99674 | -0.06233 | 18.777
22 | 0.021744 | 0.0054578 | -0.021733 | -0.0054513 | 1.0602e-05 | 6.4372e-06 | 0.032492 | 0.032492 | 0.032492 | 0.99588 | -0.078934 | 0.99535 | -0.089163 | 8.9263
23 | -0.22447 | -0.056731 | 0.22448 | 0.056739 | 1.3568e-05 | 8.6455e-06 | 0.33459 | 0.33459 | 0.33459 | 0.99876 | -0.023662 | 0.99883 | -0.022401 | 30.6401
24 | 0.04578 | 0.011485 | -0.04576 | -0.011472 | 2.0658e-05 | 1.3068e-05 | 0.068348 | 0.068348 | 0.068348 | 0.99674 | -0.06233 | 0.99625 | -0.0718 | 18.777
25 | 0.021733 | 0.0054513 | -0.021729 | -0.0054489 | 4.0429e-06 | 2.4547e-06 | 0.032492 | 0.032492 | 0.032492 | 0.99535 | -0.089163 | 0.99515 | -0.093066 | 8.9263
26 | -0.014558 | -0.0036486 | 0.014563 | 0.0036516 | 5.2392e-06 | 2.9701e-06 | 0.021772 | 0.021772 | 0.021772 | 0.99498 | -0.09648 | 0.99537 | -0.088929 | 5.9813
27 | 0.0066883 | 0.0016762 | -0.0066883 | -0.0016762 | 5.2521e-09 | 1.543e-09 | 0.010002 | 0.010002 | 0.010002 | 0.99498 | -0.09648 | 0.99498 | -0.096497 | 2.7479
28 | 0.040621 | 0.010198 | -0.040593 | -0.01018 | 2.7991e-05 | 1.7651e-05 | 0.060732 | 0.060732 | 0.060732 | 0.99537 | -0.088929 | 0.99462 | -0.10339 | 16.6847
29 | -0.055185 | -0.013849 | 0.055221 | 0.013873 | 3.6671e-05 | 2.3282e-05 | 0.082504 | 0.082504 | 0.082504 | 0.99537 | -0.088929 | 0.99609 | -0.075004 | 22.666
30 | 0.034189 | 0.0085751 | -0.034172 | -0.0085644 | 1.7098e-05 | 1.0717e-05 | 0.051152 | 0.051152 | 0.051152 | 0.99462 | -0.10339 | 0.99408 | -0.11388 | 14.0527
31 | 0.006404 | 0.001605 | -0.0064034 | -0.0016049 | 5.3403e-07 | 1.4045e-07 | 0.0095807 | 0.0095808 | 0.0095808 | 0.99462 | -0.10339 | 0.99453 | -0.10514 | 2.6321
32 | -0.055221 | -0.013873 | 0.05523 | 0.013878 | 8.2832e-06 | 5.259e-06 | 0.082504 | 0.082504 | 0.082504 | 0.99609 | -0.075004 | 0.99625 | -0.071862 | 22.666
33 | 0.0070917 | 0.0017774 | -0.0070917 | -0.0017774 | 8.5585e-08 | 2.8519e-08 | 0.010616 | 0.010616 | 0.010616 | 0.99408 | -0.11388 | 0.99406 | -0.11414 | 2.9164
34 | -0.078974 | -0.019829 | 0.078988 | 0.019838 | 1.4257e-05 | 9.0891e-06 | 0.11797 | 0.11797 | 0.11797 | 0.99625 | -0.071862 | 0.99645 | -0.068078 | 32.4091
35 | 0.0070917 | 0.0017774 | -0.0070909 | -0.0017771 | 7.6609e-07 | 2.5531e-07 | 0.010616 | 0.010616 | 0.010616 | 0.99406 | -0.11414 | 0.99395 | -0.1164 | 2.9164
36 | 0.012565 | 0.0031501 | -0.012562 | -0.0031484 | 3.0298e-06 | 1.6402e-06 | 0.018764 | 0.018764 | 0.018764 | 0.99645 | -0.068078 | 0.99619 | -0.07314 | 5.1551
37 | -0.091554 | -0.022988 | 0.09176 | 0.02312 | 0.00020657 | 0.00013182 | 0.13673 | 0.13673 | 0.13673 | 0.99645 | -0.068078 | 0.99891 | -0.020899 | 37.5642
38 | 0.017142 | 0.0042972 | -0.017139 | -0.0042955 | 2.8758e-06 | 1.6859e-06 | 0.025508 | 0.025508 | 0.025508 | 1 | 0 | 0.99982 | -0.0035215 | 7.0077
39 | 0.32187 | 0.081401 | -0.32154 | -0.081195 | 0.00032233 | 0.00020585 | 0.4792 | 0.4792 | 0.4792 | 1 | 0 | 0.99891 | -0.020899 | 43.8828
40 | 0.22978 | 0.058075 | -0.22977 | -0.058064 | 1.6553e-05 | 1.0549e-05 | 0.34247 | 0.34247 | 0.34247 | 0.99891 | -0.020899 | 0.99883 | -0.022401 | 31.3614
41 | 0.021729 | 0.0054489 | -0.02172 | -0.0054435 | 8.8775e-06 | 5.3904e-06 | 0.032492 | 0.032492 | 0.032492 | 0.99515 | -0.093066 | 0.9947 | -0.10164 | 8.9264
42 | 0.038861 | 0.0097426 | -0.038858 | -0.0097405 | 3.3373e-06 | 2.1015e-06 | 0.058045 | 0.058045 | 0.058045 | 0.99625 | -0.0718 | 0.99616 | -0.073602 | 15.9463
43 | 0.0038337 | 0.00096074 | -0.0038336 | -0.00096079 | 1.3393e-07 | -5.5233e-08 | 0.005735 | 0.0057351 | 0.0057351 | 0.9947 | -0.10164 | 0.99467 | -0.10238 | 1.5756
44 | 0.026216 | 0.0065723 | -0.026211 | -0.0065692 | 5.0055e-06 | 3.0903e-06 | 0.039162 | 0.039162 | 0.039162 | 0.99616 | -0.073602 | 0.99595 | -0.07761 | 10.7587

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35131 | 0.088367

## res_load
| p_mw | q_mvar
0 | 0.010745 | 0.0026929
1 | 0.0040795 | 0.0010224
2 | 0.010838 | 0.0027161
3 | 0.0035245 | 0.00088334
4 | 0.01342 | 0.0033633
5 | 0.0035272 | 0.000884
6 | 0.022763 | 0.0057049
7 | 0.0051605 | 0.0012933
8 | 0.0044533 | 0.0011161
9 | 0.010962 | 0.0027475
10 | 0.0056709 | 0.0014213
11 | 0.0090974 | 0.00228
12 | 0.021864 | 0.0054796
13 | 0.0051672 | 0.001295
14 | 0.024489 | 0.0061375
15 | 0.0078699 | 0.0019724
16 | 0.0066883 | 0.0016762
17 | 0.02708 | 0.006787
18 | 0.0064034 | 0.0016049
19 | 0.023745 | 0.0059509
20 | 0.0070909 | 0.0017771
21 | 0.010649 | 0.0026688
22 | 0.017139 | 0.0042955
23 | 0.0052871 | 0.0013251
24 | 0.012562 | 0.0031484
25 | 0.0068986 | 0.001729
26 | 0.017886 | 0.0044827
27 | 0.012641 | 0.0031682
28 | 0.0038336 | 0.00096079
29 | 0.026211 | 0.0065692

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1