## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-82_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-82_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-82_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-82_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-82_0_5_node_48 | 0.4 | n |  | TRUE
5 | bus_LV_1630-82_0_5_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_1630-82_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1630-82_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1630-82_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1630-82_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1630-82_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1630-82_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1630-82_0_5_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1630-82_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1630-82_0_5_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_1630-82_0_5_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1630-82_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1630-82_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1630-82_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1630-82_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1630-82_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1630-82_0_5_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_1630-82_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1630-82_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1630-82_0_5_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1630-82_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1630-82_0_5_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1630-82_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1630-82_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1630-82_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1630-82_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1630-82_0_5_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1630-82_0_5_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1630-82_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_1630-82_0_5_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_1630-82_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1630-82_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_1630-82_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1630-82_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_1630-82_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1630-82_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_1630-82_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_1630-82_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1630-82_0_5_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1630-82_0_5_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1630-82_0_5_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_1630-82_0_5_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_1630-82_0_5_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_1630-82_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1630-82_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_1630-82_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_1630-82_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1630-82_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_1630-82_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_1630-82_0_5_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_1630-82_0_5_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_1630-82_0_5_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_1630-82_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1630-82_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_1630-82_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_1630-82_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_1630-82_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1630-82_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1630-82_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_1630-82_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_1630-82_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_1630-82_0_5_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_1630-82_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_1630-82_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1630-82_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1630-82_0_5_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_1630-82_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_1630-82_0_5_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_1630-82_0_5_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_1630-82_0_5_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_1630-82_0_5_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_1630-82_0_5_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_1630-82_0_5_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_1630-82_0_5_node_78 | 0.4 | n |  | TRUE
79 | bus_MV_225_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-82_0_5_load_0 | 0 | 0.037447 | 0.0093851 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-82_0_5_load_1 | 1 | 0.0072776 | 0.0018239 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-82_0_5_load_2 | 2 | 0.015132 | 0.0037923 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-82_0_5_load_3 | 3 | 0.0058391 | 0.0014634 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-82_0_5_load_9 | 6 | 0.0083133 | 0.0020835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-82_0_5_load_4 | 7 | 0.0054006 | 0.0013535 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-82_0_5_load_5 | 8 | 0.0051553 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-82_0_5_load_7 | 10 | 0.0048113 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-82_0_5_load_8 | 11 | 0.0048399 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-82_0_5_load_37 | 12 | 0.003842 | 0.0009629 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-82_0_5_load_25 | 13 | 0.011508 | 0.0028841 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-82_0_5_load_26 | 15 | 0.0049617 | 0.0012435 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-82_0_5_load_10 | 16 | 0.0082343 | 0.0020637 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-82_0_5_load_11 | 17 | 0.010475 | 0.0026253 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-82_0_5_load_72 | 21 | 0.022145 | 0.0055499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-82_0_5_load_32 | 23 | 0.0075848 | 0.0019009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-82_0_5_load_27 | 25 | 0.012466 | 0.0031243 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-82_0_5_load_33 | 26 | 0.02733 | 0.0068496 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-82_0_5_load_15 | 27 | 0.0037847 | 0.00094853 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-82_0_5_load_16 | 28 | 0.017819 | 0.004466 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-82_0_5_load_17 | 29 | 0.0037872 | 0.00094916 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-82_0_5_load_40 | 32 | 0.0068578 | 0.0017187 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-82_0_5_load_64 | 34 | 0.0086309 | 0.0021631 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-82_0_5_load_39 | 35 | 0.012089 | 0.0030299 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-82_0_5_load_19 | 36 | 0.008637 | 0.0021646 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-82_0_5_load_20 | 37 | 0.0043447 | 0.0010889 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-82_0_5_load_24 | 41 | 0.013153 | 0.0032964 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-82_0_5_load_45 | 43 | 0.010346 | 0.002593 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-82_0_5_load_43 | 44 | 0.0084446 | 0.0021164 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-82_0_5_load_71 | 45 | 0.014337 | 0.0035933 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-82_0_5_load_70 | 46 | 0.0024195 | 0.00060639 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-82_0_5_load_60 | 47 | 0.0047151 | 0.0011817 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-82_0_5_load_31 | 50 | 0.0073086 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-82_0_5_load_36 | 51 | 0.0052951 | 0.0013271 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-82_0_5_load_34 | 52 | 0.0051649 | 0.0012944 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-82_0_5_load_35 | 53 | 0.0093617 | 0.0023463 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-82_0_5_load_67 | 54 | 0.002646 | 0.00066315 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-82_0_5_load_75 | 56 | 0.0038242 | 0.00095843 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-82_0_5_load_46 | 57 | 0.0045268 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-82_0_5_load_58 | 58 | 0.023815 | 0.0059687 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-82_0_5_load_73 | 59 | 0.004933 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-82_0_5_load_68 | 60 | 0.0027433 | 0.00068753 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-82_0_5_load_50 | 61 | 0.0052414 | 0.0013136 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-82_0_5_load_51 | 62 | 0.004651 | 0.0011656 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-82_0_5_load_52 | 63 | 0.0036557 | 0.00091621 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-82_0_5_load_53 | 64 | 0.0094846 | 0.0023771 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-82_0_5_load_55 | 66 | 0.0028885 | 0.00072392 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-82_0_5_load_79 | 70 | 0.0050999 | 0.0012782 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-82_0_5_load_61 | 71 | 0.0079551 | 0.0019937 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-82_0_5_load_59 | 73 | 0.0027408 | 0.0006869 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-82_0_5_load_80 | 74 | 0.027091 | 0.0067896 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1630-82_0_5_load_74 | 75 | 0.012594 | 0.0031563 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1630-82_0_5_load_76 | 76 | 0.004028 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1630-82_0_5_load_77 | 77 | 0.003112 | 0.00077993 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1630-82_0_5_load_78 | 78 | 0.0040125 | 0.0010056 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-82_0_5_line_0 |  | 0 | 1 | 0.027994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-82_0_5_line_1 |  | 0 | 2 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-82_0_5_line_2 |  | 1 | 3 | 0.0091277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-82_0_5_line_3 |  | 3 | 4 | 0.018939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-82_0_5_line_4 |  | 4 | 5 | 0.064339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1630-82_0_5_line_5 |  | 4 | 6 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1630-82_0_5_line_6 |  | 5 | 55 | 0.003852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1630-82_0_5_line_7 |  | 5 | 59 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-82_0_5_line_8 |  | 6 | 9 | 0.0058186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1630-82_0_5_line_9 |  | 7 | 8 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-82_0_5_line_10 |  | 7 | 9 | 0.033895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-82_0_5_line_11 |  | 8 | 10 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-82_0_5_line_12 |  | 9 | 11 | 0.022239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-82_0_5_line_13 |  | 10 | 12 | 0.0024983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-82_0_5_line_14 |  | 11 | 13 | 0.043123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-82_0_5_line_15 |  | 12 | 14 | 0.010782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-82_0_5_line_16 |  | 13 | 15 | 0.0066088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-82_0_5_line_17 |  | 14 | 51 | 0.0094454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-82_0_5_line_18 |  | 16 | 17 | 0.029786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-82_0_5_line_19 |  | 16 | 18 | 0.018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-82_0_5_line_20 |  | 18 | 19 | 0.016884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-82_0_5_line_21 |  | 18 | 20 | 0.011214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-82_0_5_line_22 |  | 19 | 21 | 0.011346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-82_0_5_line_23 |  | 20 | 22 | 0.008177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-82_0_5_line_24 |  | 20 | 23 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-82_0_5_line_25 |  | 22 | 24 | 0.022345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-82_0_5_line_26 |  | 22 | 25 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-82_0_5_line_27 |  | 23 | 26 | 0.0016095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-82_0_5_line_28 |  | 24 | 51 | 0.010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-82_0_5_line_29 |  | 24 | 52 | 0.0091642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-82_0_5_line_30 |  | 25 | 49 | 0.027954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-82_0_5_line_31 |  | 27 | 28 | 0.047109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-82_0_5_line_32 |  | 27 | 29 | 0.010193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1630-82_0_5_line_33 |  | 29 | 30 | 0.010647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1630-82_0_5_line_34 |  | 30 | 31 | 0.030017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1630-82_0_5_line_35 |  | 30 | 32 | 0.0088716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1630-82_0_5_line_36 |  | 31 | 33 | 0.008169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1630-82_0_5_line_37 |  | 31 | 34 | 0.017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-82_0_5_line_38 |  | 32 | 35 | 0.0085808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1630-82_0_5_line_39 |  | 33 | 55 | 0.009477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1630-82_0_5_line_40 |  | 33 | 56 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-82_0_5_line_41 |  | 35 | 39 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1630-82_0_5_line_42 |  | 36 | 37 | 0.0085438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-82_0_5_line_43 |  | 36 | 38 | 0.031851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-82_0_5_line_44 |  | 37 | 39 | 0.014191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-82_0_5_line_45 |  | 38 | 40 | 0.014404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-82_0_5_line_46 |  | 38 | 41 | 0.011231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-82_0_5_line_47 |  | 39 | 42 | 0.019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-82_0_5_line_48 |  | 40 | 43 | 0.011383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-82_0_5_line_49 |  | 40 | 44 | 0.003933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-82_0_5_line_50 |  | 42 | 45 | 0.012298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-82_0_5_line_51 |  | 42 | 46 | 0.022794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-82_0_5_line_52 |  | 43 | 47 | 0.011986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-82_0_5_line_53 |  | 44 | 48 | 0.031914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-82_0_5_line_54 |  | 46 | 54 | 0.012167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-82_0_5_line_55 |  | 47 | 58 | 0.013486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-82_0_5_line_56 |  | 48 | 57 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-82_0_5_line_57 |  | 49 | 50 | 0.013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-82_0_5_line_58 |  | 52 | 53 | 0.0035018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-82_0_5_line_59 |  | 54 | 68 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-82_0_5_line_60 |  | 55 | 60 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-82_0_5_line_61 |  | 56 | 75 | 0.01172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-82_0_5_line_62 |  | 58 | 73 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-82_0_5_line_63 |  | 61 | 62 | 2.1434e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-82_0_5_line_64 |  | 61 | 63 | 0.013705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-82_0_5_line_65 |  | 63 | 64 | 0.016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-82_0_5_line_66 |  | 64 | 65 | 0.0092289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-82_0_5_line_67 |  | 65 | 66 | 0.010959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-82_0_5_line_68 |  | 65 | 67 | 0.038689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-82_0_5_line_69 |  | 66 | 68 | 0.00056426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-82_0_5_line_70 |  | 67 | 69 | 0.019467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-82_0_5_line_71 |  | 67 | 70 | 0.010363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-82_0_5_line_72 |  | 69 | 71 | 0.0071784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-82_0_5_line_73 |  | 70 | 72 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-82_0_5_line_74 |  | 72 | 74 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1630-82_0_5_line_75 |  | 75 | 76 | 0.0093123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1630-82_0_5_line_76 |  | 76 | 77 | 0.005917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1630-82_0_5_line_77 |  | 77 | 78 | 0.0029826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-82_0_5_trafo_15 | 0.63 MVA 20/0.4 kV | 79 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2723360.1726 | 1217449.2993 | 2723355.2537 | 1217456.7071 | 2723352.7726 | 1217466.5078 | 2723349.0981 | 1217474.7144
1 | 2723369.0963 | 1217431.0736 | 2723365.2395 | 1217441.6687 | 2723360.1726 | 1217449.2993
2 | 2723349.0981 | 1217474.7144 | 2723345.368 | 1217483.0452
3 | 2723352.4611 | 1217500.6057 | 2723345.368 | 1217483.0452
4 | 2723308.8861 | 1217495.6334 | 2723312.7124 | 1217502.6403 | 2723316.7729 | 1217510.0745 | 2723321.685 | 1217518.5494 | 2723322.8877 | 1217520.6093 | 2723352.4611 | 1217500.6057
5 | 2723352.4611 | 1217500.6057 | 2723365.044 | 1217492.1828
6 | 2723308.8861 | 1217495.6334 | 2723307.0426 | 1217492.2482
7 | 2723308.8861 | 1217495.6334 | 2723316.2901 | 1217491.5834 | 2723318.0041 | 1217488.9975
8 | 2723369.8793 | 1217488.9461 | 2723365.044 | 1217492.1828
9 | 2723375.7301 | 1217455.7373 | 2723377.1404 | 1217451.8452 | 2723381.5795 | 1217441.485
10 | 2723369.8793 | 1217488.9461 | 2723371.0553 | 1217480.1969 | 2723372.0451 | 1217468.3415 | 2723373.0651 | 1217463.0919 | 2723375.7301 | 1217455.7373
11 | 2723381.5795 | 1217441.485 | 2723387.8772 | 1217426.7867
12 | 2723369.8793 | 1217488.9461 | 2723390.0301 | 1217479.5372
13 | 2723388.8612 | 1217424.4903 | 2723387.8772 | 1217426.7867
14 | 2723390.0301 | 1217479.5372 | 2723392.5911 | 1217478.3413 | 2723395.2673 | 1217478.9194 | 2723398.4335 | 1217481.4981 | 2723418.8108 | 1217500.0012 | 2723424.7268 | 1217500.6454
15 | 2723393.1074 | 1217414.5801 | 2723388.8612 | 1217424.4903
16 | 2723431.2968 | 1217501.3608 | 2723424.7268 | 1217500.6454
17 | 2723393.1074 | 1217414.5801 | 2723396.8299 | 1217405.8991
18 | 2723394.2908 | 1217322.2882 | 2723411.3032 | 1217330.2355 | 2723413.9294 | 1217332.8586 | 2723415.6317 | 1217339.954
19 | 2723417.3165 | 1217358.1262 | 2723418.2731 | 1217354.1096 | 2723418.2352 | 1217350.8062 | 2723415.6317 | 1217339.954
20 | 2723417.3165 | 1217358.1262 | 2723425.524 | 1217356.3615 | 2723429.1796 | 1217355.481 | 2723429.7711 | 1217350.7562
21 | 2723417.3165 | 1217358.1262 | 2723412.8884 | 1217368.4315
22 | 2723429.7711 | 1217350.7562 | 2723440.7274 | 1217347.8077
23 | 2723409.6648 | 1217375.9484 | 2723412.8884 | 1217368.4315
24 | 2723412.8884 | 1217368.4315 | 2723401.4319 | 1217363.9859
25 | 2723409.6648 | 1217375.9484 | 2723400.8632 | 1217396.4932
26 | 2723409.6648 | 1217375.9484 | 2723423.5014 | 1217372.1583
27 | 2723399.9315 | 1217363.4037 | 2723401.4319 | 1217363.9859
28 | 2723400.8632 | 1217396.4932 | 2723396.8299 | 1217405.8991
29 | 2723400.8632 | 1217396.4932 | 2723409.6528 | 1217393.8997
30 | 2723450.462 | 1217364.7735 | 2723423.5014 | 1217372.1583
31 | 2723300.6201 | 1217437.6786 | 2723322.566 | 1217412.207 | 2723334.1594 | 1217405.3151
32 | 2723292.8904 | 1217444.3215 | 2723300.578 | 1217437.7275 | 2723300.6201 | 1217437.6786
33 | 2723284.1946 | 1217450.3873 | 2723289.1981 | 1217447.4885 | 2723292.8904 | 1217444.3215
34 | 2723284.1946 | 1217450.3873 | 2723298.5854 | 1217476.75
35 | 2723284.1946 | 1217450.3873 | 2723280.0609 | 1217442.5375
36 | 2723302.4993 | 1217483.9255 | 2723298.5854 | 1217476.75
37 | 2723298.5854 | 1217476.75 | 2723283.3567 | 1217484.3242
38 | 2723276.0628 | 1217434.9451 | 2723280.0609 | 1217442.5375
39 | 2723302.4993 | 1217483.9255 | 2723307.0426 | 1217492.2482
40 | 2723302.4993 | 1217483.9255 | 2723311.2288 | 1217478.7315
41 | 2723270.713 | 1217424.8552 | 2723274.8644 | 1217432.6694 | 2723276.0628 | 1217434.9451
42 | 2723260.0439 | 1217404.7794 | 2723264.0534 | 1217412.3239
43 | 2723245.0949 | 1217376.6544 | 2723253.5223 | 1217392.5077 | 2723260.0439 | 1217404.7794
44 | 2723270.713 | 1217424.8552 | 2723264.0534 | 1217412.3239
45 | 2723238.3341 | 1217363.9269 | 2723245.0949 | 1217376.6544
46 | 2723245.0949 | 1217376.6544 | 2723235.0557 | 1217381.6887
47 | 2723270.713 | 1217424.8552 | 2723263.4492 | 1217429.4641 | 2723260.695 | 1217431.5532 | 2723255.5073 | 1217436.383
48 | 2723238.3341 | 1217363.9269 | 2723228.0973 | 1217368.905
49 | 2723238.3341 | 1217363.9269 | 2723236.5529 | 1217360.4203
50 | 2723255.5073 | 1217436.383 | 2723244.4578 | 1217430.9169
51 | 2723255.5073 | 1217436.383 | 2723241.8104 | 1217454.6022
52 | 2723228.0973 | 1217368.905 | 2723217.3181 | 1217374.1469
53 | 2723222.0994 | 1217331.9663 | 2723236.5529 | 1217360.4203
54 | 2723241.8104 | 1217454.6022 | 2723234.499 | 1217464.3276
55 | 2723216.0007 | 1217385.8737 | 2723214.6464 | 1217375.4461 | 2723217.3181 | 1217374.1469
56 | 2723222.0994 | 1217331.9663 | 2723202.8569 | 1217339.1111
57 | 2723450.462 | 1217364.7735 | 2723454.4364 | 1217377.8215
58 | 2723413.0115 | 1217392.9087 | 2723409.6528 | 1217393.8997
59 | 2723224.6636 | 1217477.4105 | 2723234.499 | 1217464.3276
60 | 2723307.0426 | 1217492.2482 | 2723295.4931 | 1217495.4613
61 | 2723319.2426 | 1217470.7505 | 2723319.2426 | 1217470.7505 | 2723316.6227 | 1217475.5222 | 2723311.2288 | 1217478.7315
62 | 2723216.0007 | 1217385.8737 | 2723218.5369 | 1217405.4014
63 | 2723211.3639 | 1217449.25 | 2723211.3629 | 1217449.2286
64 | 2723211.3639 | 1217449.25 | 2723212.018 | 1217462.9396
65 | 2723212.8144 | 1217479.6113 | 2723212.018 | 1217462.9396
66 | 2723217.5282 | 1217486.4589 | 2723212.9915 | 1217483.3182 | 2723212.8144 | 1217479.6113
67 | 2723217.5282 | 1217486.4589 | 2723224.3142 | 1217477.8535
68 | 2723185.014 | 1217494.1038 | 2723211.9356 | 1217496.5511 | 2723213.668 | 1217491.7276 | 2723217.5282 | 1217486.4589
69 | 2723224.3142 | 1217477.8535 | 2723224.6636 | 1217477.4105
70 | 2723166.5591 | 1217499.7378 | 2723176.8742 | 1217498.1164 | 2723185.014 | 1217494.1038
71 | 2723185.014 | 1217494.1038 | 2723181.6257 | 1217492.7104 | 2723179.4001 | 1217490.9075 | 2723177.5759 | 1217488.4234 | 2723177.1559 | 1217487.7977
72 | 2723166.5591 | 1217499.7378 | 2723159.4605 | 1217498.6702
73 | 2723166.0988 | 1217471.3284 | 2723177.1559 | 1217487.7977
74 | 2723166.0988 | 1217471.3284 | 2723180.0414 | 1217462.8433
75 | 2723319.2426 | 1217470.7505 | 2723314.9524 | 1217462.4854
76 | 2723314.9524 | 1217462.4854 | 2723312.2264 | 1217457.2337
77 | 2723310.8523 | 1217454.5865 | 2723312.2264 | 1217457.2337

## bus_geodata
| x | y | coords
0 | 2723360.1726 | 1217449.2993
1 | 2723349.0981 | 1217474.7144
2 | 2723369.0963 | 1217431.0736
3 | 2723345.368 | 1217483.0452
4 | 2723352.4611 | 1217500.6057
5 | 2723308.8861 | 1217495.6334
6 | 2723365.044 | 1217492.1828
7 | 2723375.7301 | 1217455.7373
8 | 2723381.5795 | 1217441.485
9 | 2723369.8793 | 1217488.9461
10 | 2723387.8772 | 1217426.7867
11 | 2723390.0301 | 1217479.5372
12 | 2723388.8612 | 1217424.4903
13 | 2723424.7268 | 1217500.6454
14 | 2723393.1074 | 1217414.5801
15 | 2723431.2968 | 1217501.3608
16 | 2723415.6317 | 1217339.954
17 | 2723394.2908 | 1217322.2882
18 | 2723417.3165 | 1217358.1262
19 | 2723429.7711 | 1217350.7562
20 | 2723412.8885 | 1217368.4315
21 | 2723440.7274 | 1217347.8077
22 | 2723409.6648 | 1217375.9484
23 | 2723401.4319 | 1217363.9859
24 | 2723400.8632 | 1217396.4932
25 | 2723423.5014 | 1217372.1583
26 | 2723399.9315 | 1217363.4037
27 | 2723300.6201 | 1217437.6786
28 | 2723334.1594 | 1217405.3151
29 | 2723292.8904 | 1217444.3215
30 | 2723284.1946 | 1217450.3873
31 | 2723298.5854 | 1217476.75
32 | 2723280.0609 | 1217442.5375
33 | 2723302.4993 | 1217483.9255
34 | 2723283.3567 | 1217484.3242
35 | 2723276.0628 | 1217434.9451
36 | 2723260.0439 | 1217404.7794
37 | 2723264.0534 | 1217412.3239
38 | 2723245.0949 | 1217376.6544
39 | 2723270.713 | 1217424.8552
40 | 2723238.3341 | 1217363.9269
41 | 2723235.0557 | 1217381.6887
42 | 2723255.5073 | 1217436.383
43 | 2723228.0973 | 1217368.905
44 | 2723236.5529 | 1217360.4203
45 | 2723244.4578 | 1217430.9169
46 | 2723241.8104 | 1217454.6022
47 | 2723217.3181 | 1217374.1469
48 | 2723222.0994 | 1217331.9663
49 | 2723450.462 | 1217364.7735
50 | 2723454.4364 | 1217377.8215
51 | 2723396.8299 | 1217405.8991
52 | 2723409.6528 | 1217393.8997
53 | 2723413.0115 | 1217392.9087
54 | 2723234.499 | 1217464.3276
55 | 2723307.0426 | 1217492.2482
56 | 2723311.2288 | 1217478.7315
57 | 2723202.8569 | 1217339.1111
58 | 2723216.0007 | 1217385.8737
59 | 2723318.0041 | 1217488.9975
60 | 2723295.4931 | 1217495.4613
61 | 2723211.3639 | 1217449.25
62 | 2723211.3629 | 1217449.2286
63 | 2723212.018 | 1217462.9396
64 | 2723212.8144 | 1217479.6113
65 | 2723217.5282 | 1217486.4589
66 | 2723224.3142 | 1217477.8535
67 | 2723185.014 | 1217494.1038
68 | 2723224.6636 | 1217477.4105
69 | 2723166.5591 | 1217499.7378
70 | 2723177.1559 | 1217487.7977
71 | 2723159.4605 | 1217498.6702
72 | 2723166.0988 | 1217471.3284
73 | 2723218.5369 | 1217405.4014
74 | 2723180.0414 | 1217462.8433
75 | 2723319.2426 | 1217470.7505
76 | 2723314.9524 | 1217462.4854
77 | 2723312.2264 | 1217457.2337
78 | 2723310.8523 | 1217454.5865
79 | 2723284.1946 | 1217450.3873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98826 | -0.22481 | 0.037447 | 0.0093851
1 | 0.98961 | -0.19858 | 0.0072776 | 0.0018239
2 | 0.98797 | -0.23033 | 0.015132 | 0.0037923
3 | 0.99011 | -0.18886 | 0.0058391 | 0.0014634
4 | 0.99125 | -0.16676 | 0 | 0
5 | 0.99467 | -0.10139 | 0 | 0
6 | 0.99068 | -0.17779 | 0.0083133 | 0.0020835
7 | 0.98602 | -0.26728 | 0.0054006 | 0.0013535
8 | 0.98417 | -0.30304 | 0.0051553 | 0.0012921
9 | 0.99026 | -0.18585 | 0 | 0
10 | 0.98233 | -0.33879 | 0.0048113 | 0.0012058
11 | 0.98982 | -0.19428 | 0.0048399 | 0.001213
12 | 0.98205 | -0.34417 | 0.003842 | 0.0009629
13 | 0.98917 | -0.20692 | 0.011508 | 0.0028841
14 | 0.9809 | -0.36668 | 0 | 0
15 | 0.98914 | -0.20751 | 0.0049617 | 0.0012435
16 | 0.97553 | -0.47191 | 0.0082343 | 0.0020637
17 | 0.97524 | -0.47762 | 0.010475 | 0.0026253
18 | 0.97585 | -0.46554 | 0 | 0
19 | 0.9755 | -0.47238 | 0 | 0
20 | 0.97628 | -0.45715 | 0 | 0
21 | 0.97527 | -0.47698 | 0.022145 | 0.0055499
22 | 0.97685 | -0.44583 | 0 | 0
23 | 0.97588 | -0.465 | 0.0075848 | 0.0019009
24 | 0.97884 | -0.40691 | 0 | 0
25 | 0.97659 | -0.45101 | 0.012466 | 0.0031243
26 | 0.97584 | -0.46581 | 0.02733 | 0.0068496
27 | 1 | 0 | -0.48763 | -0.1239
28 | 0.99924 | -0.014643 | 0.017819 | 0.004466
29 | 0.99892 | -0.020575 | 0.0037872 | 0.00094916
30 | 0.99779 | -0.041937 | 0 | 0
31 | 0.9959 | -0.077976 | 0 | 0
32 | 0.99742 | -0.049129 | 0.0068578 | 0.0017187
33 | 0.9954 | -0.087498 | 0 | 0
34 | 0.99576 | -0.080556 | 0.0086309 | 0.0021631
35 | 0.99707 | -0.055833 | 0.012089 | 0.0030299
36 | 0.99455 | -0.10412 | 0.008637 | 0.0021646
37 | 0.99515 | -0.092628 | 0.0043447 | 0.0010889
38 | 0.99258 | -0.14222 | 0 | 0
39 | 0.9962 | -0.072487 | 0 | 0
40 | 0.99186 | -0.15614 | 0 | 0
41 | 0.99245 | -0.14483 | 0.013153 | 0.0032964
42 | 0.9947 | -0.10123 | 0 | 0
43 | 0.99143 | -0.16454 | 0.010346 | 0.002593
44 | 0.99182 | -0.15704 | 0.0084446 | 0.0021164
45 | 0.99454 | -0.10433 | 0.014337 | 0.0035933
46 | 0.99322 | -0.12983 | 0.0024195 | 0.00060639
47 | 0.99109 | -0.17119 | 0.0047151 | 0.0011817
48 | 0.99168 | -0.1596 | 0 | 0
49 | 0.9764 | -0.45475 | 0 | 0
50 | 0.97631 | -0.45657 | 0.0073086 | 0.0018317
51 | 0.97988 | -0.38644 | 0.0052951 | 0.0013271
52 | 0.97871 | -0.40933 | 0.0051649 | 0.0012944
53 | 0.97868 | -0.40993 | 0.0093617 | 0.0023463
54 | 0.99245 | -0.14462 | 0.002646 | 0.00066315
55 | 0.99488 | -0.097405 | 0 | 0
56 | 0.99514 | -0.092426 | 0.0038242 | 0.00095843
57 | 0.9916 | -0.16125 | 0.0045268 | 0.0011345
58 | 0.99076 | -0.17754 | 0.023815 | 0.0059687
59 | 0.99462 | -0.10239 | 0.004933 | 0.0012363
60 | 0.99485 | -0.097984 | 0.0027433 | 0.00068753
61 | 0.99026 | -0.18692 | 0.0052414 | 0.0013136
62 | 0.99026 | -0.18692 | 0.004651 | 0.0011656
63 | 0.99039 | -0.18451 | 0.0036557 | 0.00091621
64 | 0.9906 | -0.18049 | 0.0094846 | 0.0023771
65 | 0.99079 | -0.17672 | 0 | 0
66 | 0.99142 | -0.16443 | 0.0028885 | 0.00072392
67 | 0.98937 | -0.20434 | 0 | 0
68 | 0.99146 | -0.16377 | 0 | 0
69 | 0.98922 | -0.2071 | 0 | 0
70 | 0.98906 | -0.21028 | 0.0050999 | 0.0012782
71 | 0.98917 | -0.20811 | 0.0079551 | 0.0019937
72 | 0.98857 | -0.21986 | 0 | 0
73 | 0.99071 | -0.1785 | 0.0027408 | 0.0006869
74 | 0.98816 | -0.22773 | 0.027091 | 0.0067896
75 | 0.99489 | -0.097325 | 0.012594 | 0.0031563
76 | 0.99479 | -0.099154 | 0.004028 | 0.0010095
77 | 0.99476 | -0.099897 | 0.003112 | 0.00077993
78 | 0.99475 | -0.10011 | 0.0040125 | 0.0010056
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.052582 | -0.01318 | 0.052648 | 0.013221 | 6.5804e-05 | 4.1755e-05 | 0.079174 | 0.079173 | 0.079174 | 0.98826 | -0.22481 | 0.98961 | -0.19858 | 21.751
1 | 0.015136 | 0.0037946 | -0.015132 | -0.0037923 | 3.9801e-06 | 2.2855e-06 | 0.02279 | 0.02279 | 0.02279 | 0.98826 | -0.22481 | 0.98797 | -0.23033 | 6.261
2 | -0.059926 | -0.015045 | 0.059954 | 0.015063 | 2.7797e-05 | 1.7673e-05 | 0.090116 | 0.090116 | 0.090116 | 0.98961 | -0.19858 | 0.99011 | -0.18886 | 24.7572
3 | -0.065793 | -0.016526 | 0.065862 | 0.016571 | 6.9456e-05 | 4.4208e-05 | 0.098892 | 0.098892 | 0.098892 | 0.99011 | -0.18886 | 0.99125 | -0.16676 | 27.1681
4 | -0.23185 | -0.058863 | 0.23258 | 0.059328 | 0.00073178 | 0.00046501 | 0.34831 | 0.34831 | 0.34831 | 0.99125 | -0.16676 | 0.99467 | -0.10139 | 23.9225
5 | 0.16599 | 0.042293 | -0.1659 | -0.042237 | 8.8311e-05 | 5.5739e-05 | 0.24942 | 0.24942 | 0.24942 | 0.99125 | -0.16676 | 0.99068 | -0.17779 | 17.1306
6 | -0.23752 | -0.060565 | 0.23756 | 0.060594 | 4.5688e-05 | 2.904e-05 | 0.35569 | 0.35569 | 0.35569 | 0.99467 | -0.10139 | 0.99488 | -0.097405 | 24.4293
7 | 0.0049332 | 0.0012363 | -0.004933 | -0.0012363 | 2.3573e-07 | 1.0685e-09 | 0.00738 | 0.0073801 | 0.0073801 | 0.99467 | -0.10139 | 0.99462 | -0.10239 | 2.0275
8 | 0.15759 | 0.040153 | -0.15753 | -0.040114 | 6.1245e-05 | 3.9047e-05 | 0.23693 | 0.23693 | 0.23693 | 0.99068 | -0.17779 | 0.99026 | -0.18585 | 32.5459
9 | 0.13026 | 0.033068 | -0.13004 | -0.032925 | 0.00022367 | 0.00014296 | 0.19673 | 0.19673 | 0.19673 | 0.98602 | -0.26728 | 0.98417 | -0.30304 | 54.0478
10 | -0.13566 | -0.034422 | 0.1362 | 0.034763 | 0.00053356 | 0.00034104 | 0.20488 | 0.20488 | 0.20488 | 0.98602 | -0.26728 | 0.99026 | -0.18585 | 56.2868
11 | 0.12488 | 0.031633 | -0.12467 | -0.031496 | 0.00021406 | 0.0001368 | 0.18894 | 0.18894 | 0.18894 | 0.98417 | -0.30304 | 0.98233 | -0.33879 | 51.9064
12 | 0.021328 | 0.0053516 | -0.021319 | -0.0053464 | 8.567e-06 | 5.1969e-06 | 0.032051 | 0.032051 | 0.032051 | 0.99026 | -0.18585 | 0.98982 | -0.19428 | 8.8052
13 | 0.11986 | 0.030291 | -0.11983 | -0.030271 | 3.0914e-05 | 1.9753e-05 | 0.18165 | 0.18165 | 0.18165 | 0.98233 | -0.33879 | 0.98205 | -0.34417 | 49.9042
14 | 0.016479 | 0.0041334 | -0.016469 | -0.0041276 | 9.9259e-06 | 5.7987e-06 | 0.024775 | 0.024775 | 0.024775 | 0.98982 | -0.19428 | 0.98917 | -0.20692 | 6.8063
15 | 0.11599 | 0.029308 | -0.11586 | -0.029228 | 0.000125 | 7.9862e-05 | 0.17583 | 0.17583 | 0.17583 | 0.98205 | -0.34417 | 0.9809 | -0.36668 | 48.3049
16 | 0.0049619 | 0.0012435 | -0.0049617 | -0.0012435 | 1.3808e-07 | 3.5357e-09 | 0.0074641 | 0.0074642 | 0.0074642 | 0.98917 | -0.20692 | 0.98914 | -0.20751 | 2.0506
17 | 0.11586 | 0.029228 | -0.11575 | -0.029158 | 0.00010951 | 6.9965e-05 | 0.17583 | 0.17583 | 0.17583 | 0.9809 | -0.36668 | 0.97988 | -0.38644 | 48.305
18 | 0.010478 | 0.0026268 | -0.010475 | -0.0026253 | 2.8533e-06 | 1.4544e-06 | 0.015983 | 0.015983 | 0.015983 | 0.97553 | -0.47191 | 0.97524 | -0.47762 | 4.3909
19 | -0.018712 | -0.0046905 | 0.018718 | 0.0046939 | 5.6802e-06 | 3.4031e-06 | 0.028543 | 0.028543 | 0.028543 | 0.97553 | -0.47191 | 0.97585 | -0.46554 | 7.8414
20 | 0.022157 | 0.0055573 | -0.022149 | -0.0055529 | 7.2277e-06 | 4.4149e-06 | 0.033787 | 0.033787 | 0.033787 | 0.97585 | -0.46554 | 0.9755 | -0.47238 | 9.2821
21 | -0.040874 | -0.010251 | 0.040891 | 0.010262 | 1.6337e-05 | 1.0316e-05 | 0.06233 | 0.06233 | 0.06233 | 0.97585 | -0.46554 | 0.97628 | -0.45715 | 17.1235
22 | 0.022149 | 0.0055529 | -0.022145 | -0.0055499 | 4.857e-06 | 2.9669e-06 | 0.033787 | 0.033787 | 0.033787 | 0.9755 | -0.47238 | 0.97527 | -0.47698 | 9.2821
23 | -0.07582 | -0.019021 | 0.075861 | 0.019047 | 4.0956e-05 | 2.6109e-05 | 0.11557 | 0.11557 | 0.11557 | 0.97628 | -0.45715 | 0.97685 | -0.44583 | 31.7499
24 | 0.034929 | 0.0087594 | -0.034916 | -0.0087512 | 1.3062e-05 | 8.2063e-06 | 0.05324 | 0.05324 | 0.05324 | 0.97628 | -0.45715 | 0.97588 | -0.465 | 14.6265
25 | -0.095643 | -0.024007 | 0.09582 | 0.02412 | 0.00017789 | 0.00011357 | 0.1457 | 0.1457 | 0.1457 | 0.97685 | -0.44583 | 0.97884 | -0.40691 | 40.0283
26 | 0.019781 | 0.0049597 | -0.019777 | -0.0049567 | 4.885e-06 | 2.9468e-06 | 0.030133 | 0.030133 | 0.030133 | 0.97685 | -0.44583 | 0.97659 | -0.45101 | 8.2784
27 | 0.027331 | 0.0068503 | -0.02733 | -0.0068496 | 1.0482e-06 | 6.5077e-07 | 0.041675 | 0.041675 | 0.041675 | 0.97588 | -0.465 | 0.97584 | -0.46581 | 11.4492
28 | -0.11035 | -0.027762 | 0.11046 | 0.027831 | 0.00010805 | 6.9021e-05 | 0.16779 | 0.16779 | 0.16779 | 0.97884 | -0.40691 | 0.97988 | -0.38644 | 46.0959
29 | 0.014529 | 0.0036418 | -0.014527 | -0.0036408 | 1.6764e-06 | 9.577e-07 | 0.022086 | 0.022086 | 0.022086 | 0.97884 | -0.40691 | 0.97871 | -0.40933 | 6.0677
30 | 0.0073106 | 0.0018324 | -0.0073093 | -0.0018319 | 1.3007e-06 | 4.8275e-07 | 0.011139 | 0.011139 | 0.011139 | 0.97659 | -0.45101 | 0.9764 | -0.45475 | 3.0602
31 | 0.017832 | 0.0044733 | -0.017819 | -0.004466 | 1.2439e-05 | 7.3436e-06 | 0.026536 | 0.026536 | 0.026536 | 1 | 0 | 0.99924 | -0.014643 | 7.2901
32 | 0.46814 | 0.11943 | -0.46768 | -0.11913 | 0.00046469 | 0.00029686 | 0.69735 | 0.69735 | 0.69735 | 1 | 0 | 0.99892 | -0.020575 | 47.8948
33 | 0.46389 | 0.11818 | -0.46341 | -0.11788 | 0.00047758 | 0.00030509 | 0.69171 | 0.69171 | 0.69171 | 0.99892 | -0.020575 | 0.99779 | -0.041937 | 47.5074
34 | 0.27724 | 0.070821 | -0.27676 | -0.070514 | 0.00048215 | 0.00030701 | 0.41393 | 0.41393 | 0.41393 | 0.99779 | -0.041937 | 0.9959 | -0.077976 | 28.4291
35 | 0.18617 | 0.047055 | -0.18611 | -0.047014 | 6.4178e-05 | 4.061e-05 | 0.27778 | 0.27778 | 0.27778 | 0.99779 | -0.041937 | 0.99742 | -0.049129 | 19.0784
36 | 0.26813 | 0.068351 | -0.268 | -0.068272 | 0.00012317 | 7.8402e-05 | 0.40103 | 0.40103 | 0.40103 | 0.9959 | -0.077976 | 0.9954 | -0.087498 | 27.5433
37 | 0.0086319 | 0.0021636 | -0.0086309 | -0.0021631 | 1.061e-06 | 4.5774e-07 | 0.012897 | 0.012897 | 0.012897 | 0.9959 | -0.077976 | 0.99576 | -0.080556 | 3.5433
38 | 0.17925 | 0.045296 | -0.17919 | -0.045259 | 5.7586e-05 | 3.6407e-05 | 0.26755 | 0.26755 | 0.26755 | 0.99742 | -0.049129 | 0.99707 | -0.055833 | 18.3758
39 | 0.24042 | 0.061354 | -0.2403 | -0.061281 | 0.00011501 | 7.3116e-05 | 0.35979 | 0.35979 | 0.35979 | 0.9954 | -0.087498 | 0.99488 | -0.097405 | 24.7111
40 | 0.027584 | 0.0069178 | -0.027577 | -0.0069138 | 6.4774e-06 | 4.0135e-06 | 0.041237 | 0.041237 | 0.041237 | 0.9954 | -0.087498 | 0.99514 | -0.092426 | 11.3288
41 | 0.1671 | 0.042229 | -0.16697 | -0.042144 | 0.00013331 | 8.502e-05 | 0.24951 | 0.24951 | 0.24951 | 0.99707 | -0.055833 | 0.9962 | -0.072487 | 34.2732
42 | -0.076576 | -0.019266 | 0.076618 | 0.019293 | 4.2075e-05 | 2.6817e-05 | 0.1146 | 0.1146 | 0.1146 | 0.99455 | -0.10412 | 0.99515 | -0.092628 | 31.4825
43 | 0.067939 | 0.017102 | -0.067815 | -0.017023 | 0.00012347 | 7.8611e-05 | 0.10167 | 0.10167 | 0.10167 | 0.99455 | -0.10412 | 0.99258 | -0.14222 | 27.9325
44 | -0.080963 | -0.020382 | 0.081041 | 0.020432 | 7.8033e-05 | 4.9757e-05 | 0.12109 | 0.12109 | 0.12109 | 0.99515 | -0.092628 | 0.9962 | -0.072487 | 33.2673
45 | 0.054661 | 0.013726 | -0.054625 | -0.013703 | 3.6279e-05 | 2.3032e-05 | 0.081954 | 0.081954 | 0.081954 | 0.99258 | -0.14222 | 0.99186 | -0.15614 | 22.5148
46 | 0.013154 | 0.0032973 | -0.013153 | -0.0032964 | 1.6378e-06 | 9.0307e-07 | 0.01972 | 0.01972 | 0.01972 | 0.99258 | -0.14222 | 0.99245 | -0.14483 | 5.4177
47 | 0.085931 | 0.021712 | -0.085812 | -0.021637 | 0.00011821 | 7.5405e-05 | 0.12842 | 0.12842 | 0.12842 | 0.9962 | -0.072487 | 0.9947 | -0.10123 | 35.2792
48 | 0.041652 | 0.010452 | -0.041635 | -0.010441 | 1.667e-05 | 1.0522e-05 | 0.062492 | 0.062492 | 0.062492 | 0.99186 | -0.15614 | 0.99143 | -0.16454 | 17.1681
49 | 0.012973 | 0.0032511 | -0.012972 | -0.0032508 | 5.5865e-07 | 3.0678e-07 | 0.019462 | 0.019462 | 0.019462 | 0.99186 | -0.15614 | 0.99182 | -0.15704 | 5.3467
50 | 0.014339 | 0.0035945 | -0.014337 | -0.0035933 | 2.1221e-06 | 1.1986e-06 | 0.021451 | 0.021451 | 0.021451 | 0.9947 | -0.10123 | 0.99454 | -0.10433 | 5.8932
51 | 0.071473 | 0.018043 | -0.071375 | -0.01798 | 9.7798e-05 | 6.2295e-05 | 0.10697 | 0.10697 | 0.10697 | 0.9947 | -0.10123 | 0.99322 | -0.12983 | 29.3861
52 | 0.031289 | 0.0078483 | -0.031279 | -0.0078421 | 9.9138e-06 | 6.1903e-06 | 0.046964 | 0.046964 | 0.046964 | 0.99143 | -0.16454 | 0.99109 | -0.17119 | 12.9022
53 | 0.0045277 | 0.0011344 | -0.0045272 | -0.0011345 | 5.5223e-07 | -5.8385e-08 | 0.0067928 | 0.0067929 | 0.0067929 | 0.99182 | -0.15704 | 0.99168 | -0.1596 | 1.8662
54 | 0.068956 | 0.017374 | -0.068907 | -0.017343 | 4.8726e-05 | 3.1027e-05 | 0.10334 | 0.10334 | 0.10334 | 0.99322 | -0.12983 | 0.99245 | -0.14462 | 28.3903
55 | 0.026564 | 0.0066604 | -0.026556 | -0.0066554 | 8.045e-06 | 4.9751e-06 | 0.039885 | 0.039885 | 0.039885 | 0.99109 | -0.17119 | 0.99076 | -0.17754 | 10.9573
56 | 0.0045272 | 0.0011345 | -0.0045268 | -0.0011345 | 3.5519e-07 | -3.7485e-08 | 0.0067929 | 0.006793 | 0.006793 | 0.99168 | -0.1596 | 0.9916 | -0.16125 | 1.8662
57 | 0.0073093 | 0.0018319 | -0.0073086 | -0.0018317 | 6.3459e-07 | 2.3558e-07 | 0.011139 | 0.011139 | 0.011139 | 0.9764 | -0.45475 | 0.97631 | -0.45657 | 3.0602
58 | 0.0093619 | 0.0023464 | -0.0093617 | -0.0023463 | 2.6605e-07 | 1.2627e-07 | 0.014234 | 0.014234 | 0.014234 | 0.97871 | -0.40933 | 0.97868 | -0.40993 | 3.9104
59 | 0.066261 | 0.01668 | -0.0662 | -0.016641 | 6.0611e-05 | 3.858e-05 | 0.099373 | 0.099373 | 0.099373 | 0.99245 | -0.14462 | 0.99146 | -0.16377 | 27.3004
60 | 0.0027434 | 0.00068742 | -0.0027433 | -0.00068753 | 7.5687e-08 | -1.0722e-07 | 0.0041031 | 0.0041032 | 0.0041032 | 0.99488 | -0.097405 | 0.99485 | -0.097984 | 1.1272
61 | 0.023753 | 0.0059554 | -0.023748 | -0.005952 | 5.5446e-06 | 3.3963e-06 | 0.035519 | 0.035519 | 0.035519 | 0.99514 | -0.092426 | 0.99489 | -0.097325 | 9.7579
62 | 0.0027409 | 0.00068673 | -0.0027408 | -0.0006869 | 1.2513e-07 | -1.7349e-07 | 0.0041165 | 0.0041166 | 0.0041166 | 0.99076 | -0.17754 | 0.99071 | -0.1785 | 1.1309
63 | 0.004651 | 0.0011656 | -0.004651 | -0.0011656 | 3.9889e-10 | -2.6163e-11 | 0.0069888 | 0.0069888 | 0.0069888 | 0.99026 | -0.18692 | 0.99026 | -0.18692 | 1.92
64 | -0.0098924 | -0.0024793 | 0.0098935 | 0.0024798 | 1.1356e-06 | 5.5045e-07 | 0.014865 | 0.014865 | 0.014865 | 0.99026 | -0.18692 | 0.99039 | -0.18451 | 4.0837
65 | -0.013549 | -0.003396 | 0.013552 | 0.0033975 | 2.5938e-06 | 1.4452e-06 | 0.020357 | 0.020357 | 0.020357 | 0.99039 | -0.18451 | 0.9906 | -0.18049 | 5.5926
66 | -0.023036 | -0.0057745 | 0.023041 | 0.0057771 | 4.1442e-06 | 2.5335e-06 | 0.034604 | 0.034604 | 0.034604 | 0.9906 | -0.18049 | 0.99079 | -0.17672 | 9.5067
67 | -0.063273 | -0.015892 | 0.06331 | 0.015916 | 3.7119e-05 | 2.3615e-05 | 0.095038 | 0.095038 | 0.095038 | 0.99079 | -0.17672 | 0.99142 | -0.16443 | 26.1094
68 | 0.040232 | 0.010115 | -0.040179 | -0.010082 | 5.2989e-05 | 3.3415e-05 | 0.060434 | 0.060434 | 0.060434 | 0.99079 | -0.17672 | 0.98937 | -0.20434 | 16.6027
69 | -0.066198 | -0.01664 | 0.0662 | 0.016641 | 2.0895e-06 | 1.33e-06 | 0.099373 | 0.099373 | 0.099373 | 0.99142 | -0.16443 | 0.99146 | -0.16377 | 27.3004
70 | 0.0079566 | 0.0019943 | -0.0079555 | -0.0019939 | 1.0454e-06 | 4.1912e-07 | 0.011967 | 0.011967 | 0.011967 | 0.98937 | -0.20434 | 0.98922 | -0.2071 | 3.2876
71 | 0.032222 | 0.0080874 | -0.032213 | -0.0080817 | 9.1291e-06 | 5.7096e-06 | 0.048467 | 0.048467 | 0.048467 | 0.98937 | -0.20434 | 0.98906 | -0.21028 | 13.3151
72 | 0.0079555 | 0.0019939 | -0.0079551 | -0.0019937 | 3.855e-07 | 1.5457e-07 | 0.011967 | 0.011967 | 0.011967 | 0.98922 | -0.2071 | 0.98917 | -0.20811 | 3.2876
73 | 0.027113 | 0.0068036 | -0.027101 | -0.0067959 | 1.238e-05 | 7.6685e-06 | 0.040794 | 0.040795 | 0.040795 | 0.98906 | -0.21028 | 0.98857 | -0.21986 | 11.2073
74 | 0.027101 | 0.0067959 | -0.027091 | -0.0067896 | 1.0166e-05 | 6.2972e-06 | 0.040795 | 0.040795 | 0.040795 | 0.98857 | -0.21986 | 0.98816 | -0.22773 | 11.2073
75 | 0.011154 | 0.0027956 | -0.011153 | -0.0027951 | 9.7185e-07 | 5.0107e-07 | 0.016682 | 0.016682 | 0.016682 | 0.99489 | -0.097325 | 0.99479 | -0.099154 | 4.5831
76 | 0.0071247 | 0.0017856 | -0.0071245 | -0.0017855 | 2.5201e-07 | 8.447e-08 | 0.010657 | 0.010657 | 0.010657 | 0.99479 | -0.099154 | 0.99476 | -0.099897 | 2.9278
77 | 0.0040125 | 0.0010056 | -0.0040125 | -0.0010056 | 4.0294e-08 | -1.2931e-08 | 0.0060022 | 0.0060022 | 0.0060022 | 0.99476 | -0.099897 | 0.99475 | -0.10011 | 1.6489

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49141 | 0.12485

## res_load
| p_mw | q_mvar
0 | 0.037447 | 0.0093851
1 | 0.0072776 | 0.0018239
2 | 0.015132 | 0.0037923
3 | 0.0058391 | 0.0014634
4 | 0.0083133 | 0.0020835
5 | 0.0054006 | 0.0013535
6 | 0.0051553 | 0.0012921
7 | 0.0048113 | 0.0012058
8 | 0.0048399 | 0.001213
9 | 0.003842 | 0.0009629
10 | 0.011508 | 0.0028841
11 | 0.0049617 | 0.0012435
12 | 0.0082343 | 0.0020637
13 | 0.010475 | 0.0026253
14 | 0.022145 | 0.0055499
15 | 0.0075848 | 0.0019009
16 | 0.012466 | 0.0031243
17 | 0.02733 | 0.0068496
18 | 0.0037847 | 0.00094853
19 | 0.017819 | 0.004466
20 | 0.0037872 | 0.00094916
21 | 0.0068578 | 0.0017187
22 | 0.0086309 | 0.0021631
23 | 0.012089 | 0.0030299
24 | 0.008637 | 0.0021646
25 | 0.0043447 | 0.0010889
26 | 0.013153 | 0.0032964
27 | 0.010346 | 0.002593
28 | 0.0084446 | 0.0021164
29 | 0.014337 | 0.0035933
30 | 0.0024195 | 0.00060639
31 | 0.0047151 | 0.0011817
32 | 0.0073086 | 0.0018317
33 | 0.0052951 | 0.0013271
34 | 0.0051649 | 0.0012944
35 | 0.0093617 | 0.0023463
36 | 0.002646 | 0.00066315
37 | 0.0038242 | 0.00095843
38 | 0.0045268 | 0.0011345
39 | 0.023815 | 0.0059687
40 | 0.004933 | 0.0012363
41 | 0.0027433 | 0.00068753
42 | 0.0052414 | 0.0013136
43 | 0.004651 | 0.0011656
44 | 0.0036557 | 0.00091621
45 | 0.0094846 | 0.0023771
46 | 0.0028885 | 0.00072392
47 | 0.0050999 | 0.0012782
48 | 0.0079551 | 0.0019937
49 | 0.0027408 | 0.0006869
50 | 0.027091 | 0.0067896
51 | 0.012594 | 0.0031563
52 | 0.004028 | 0.0010095
53 | 0.003112 | 0.00077993
54 | 0.0040125 | 0.0010056

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1