## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-88_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-88_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-88_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1630-88_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1630-88_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-88_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1630-88_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1630-88_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1630-88_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1630-88_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1630-88_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1630-88_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1630-88_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1630-88_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1630-88_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1630-88_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1630-88_0_4_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_1630-88_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_1630-88_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_1630-88_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1630-88_0_4_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_1630-88_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1630-88_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1630-88_0_4_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_1630-88_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1630-88_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_1630-88_0_4_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_1630-88_0_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_1630-88_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1630-88_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1630-88_0_4_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_1630-88_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_1630-88_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1630-88_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_1630-88_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1630-88_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1630-88_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1630-88_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1630-88_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1630-88_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1630-88_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1630-88_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1630-88_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_1630-88_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_1630-88_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_1630-88_0_4_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_1630-88_0_4_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_1630-88_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_1630-88_0_4_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_1630-88_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_1630-88_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_1630-88_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_1630-88_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_1630-88_0_4_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_1630-88_0_4_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_1630-88_0_4_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_1630-88_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_1630-88_0_4_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_1630-88_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_1630-88_0_4_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_1630-88_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_1630-88_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_1630-88_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_1630-88_0_4_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_1630-88_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_1630-88_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_1630-88_0_4_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_1630-88_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_1630-88_0_4_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_1630-88_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1630-88_0_4_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_1630-88_0_4_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_1630-88_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_1630-88_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_1630-88_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_1630-88_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_1630-88_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_1630-88_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_1630-88_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_1630-88_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_1630-88_0_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_1630-88_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_1630-88_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_1630-88_0_4_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_1630-88_0_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_1630-88_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_1630-88_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_1630-88_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_1630-88_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_1630-88_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_1630-88_0_4_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_1630-88_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_225_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-88_0_4_load_0 | 0 | 0.0039742 | 0.00099604 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-88_0_4_load_1 | 1 | 0.001656 | 0.00041503 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-88_0_4_load_4 | 10 | 0.0017088 | 0.00042825 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-88_0_4_load_11 | 11 | 0.015104 | 0.0037853 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-88_0_4_load_24 | 12 | 0.006217 | 0.0015581 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-88_0_4_load_39 | 14 | 0.0048276 | 0.0012099 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-88_0_4_load_15 | 15 | 0.011409 | 0.0028594 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-88_0_4_load_40 | 17 | 0.003846 | 0.0009639 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-88_0_4_load_26 | 18 | 0.0082535 | 0.0020685 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-88_0_4_load_85 | 20 | 0.0078627 | 0.0019706 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-88_0_4_load_22 | 21 | 0.010251 | 0.002569 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-88_0_4_load_20 | 22 | 0.0012192 | 0.00030556 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-88_0_4_load_49 | 23 | 0.004079 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-88_0_4_load_13 | 24 | 0.0039594 | 0.00099231 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-88_0_4_load_46 | 25 | 0.013296 | 0.0033324 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-88_0_4_load_41 | 27 | 0.0018938 | 0.00047462 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-88_0_4_load_25 | 28 | 0.0074901 | 0.0018772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-88_0_4_load_35 | 29 | 0.0025326 | 0.00063472 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-88_0_4_load_12 | 30 | 0.0062359 | 0.0015629 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-88_0_4_load_16 | 32 | 0.0038452 | 0.00096369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-88_0_4_load_18 | 34 | 0.0040146 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-88_0_4_load_19 | 35 | 0.017808 | 0.004463 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-88_0_4_load_30 | 37 | 0.03443 | 0.008629 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-88_0_4_load_23 | 39 | 0.0020929 | 0.00052453 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-88_0_4_load_28 | 41 | 0.0019134 | 0.00047954 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-88_0_4_load_60 | 43 | 0.010053 | 0.0025194 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-88_0_4_load_63 | 46 | 0.001456 | 0.00036492 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-88_0_4_load_64 | 47 | 0.0024625 | 0.00061717 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-88_0_4_load_66 | 49 | 0.0079771 | 0.0019993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-88_0_4_load_67 | 50 | 0.0080717 | 0.002023 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-88_0_4_load_32 | 51 | 0.018172 | 0.0045543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-88_0_4_load_78 | 53 | 0.025066 | 0.006282 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-88_0_4_load_92 | 55 | 0.0266 | 0.0066667 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-88_0_4_load_34 | 56 | 0.0016815 | 0.00042143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-88_0_4_load_36 | 57 | 0.0015547 | 0.00038964 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-88_0_4_load_38 | 58 | 0.0014085 | 0.00035301 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-88_0_4_load_77 | 59 | 0.0077554 | 0.0019437 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-88_0_4_load_44 | 61 | 0.0021263 | 0.0005329 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-88_0_4_load_45 | 62 | 0.030864 | 0.0077353 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-88_0_4_load_83 | 63 | 0.0016139 | 0.00040448 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-88_0_4_load_50 | 64 | 0.0055358 | 0.0013874 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-88_0_4_load_73 | 65 | 0.0076712 | 0.0019226 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-88_0_4_load_81 | 66 | 0.0046438 | 0.0011639 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-88_0_4_load_84 | 68 | 0.0015918 | 0.00039895 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-88_0_4_load_82 | 70 | 0.0065896 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-88_0_4_load_86 | 71 | 0.0015382 | 0.00038551 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-88_0_4_load_76 | 72 | 0.0043409 | 0.0010879 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-88_0_4_load_51 | 73 | 0.011432 | 0.002865 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-88_0_4_load_52 | 74 | 0.0027257 | 0.00068313 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-88_0_4_load_54 | 76 | 0.0054896 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1630-88_0_4_load_56 | 78 | 0.013945 | 0.0034948 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1630-88_0_4_load_57 | 79 | 0.0020586 | 0.00051593 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1630-88_0_4_load_58 | 80 | 0.0019885 | 0.00049836 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1630-88_0_4_load_71 | 82 | 0.0024068 | 0.0006032 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1630-88_0_4_load_72 | 84 | 0.0017628 | 0.00044179 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1630-88_0_4_load_74 | 85 | 0.0037615 | 0.00094272 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1630-88_0_4_load_87 | 86 | 0.0057232 | 0.0014344 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1630-88_0_4_load_79 | 88 | 0.025631 | 0.0064238 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1630-88_0_4_load_90 | 89 | 0.0018353 | 0.00045997 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1630-88_0_4_load_93 | 91 | 0.02177 | 0.005456 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-88_0_4_line_0 |  | 0 | 1 | 0.0023263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-88_0_4_line_1 |  | 1 | 2 | 0.012482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-88_0_4_line_2 |  | 2 | 7 | 0.005262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-88_0_4_line_3 |  | 2 | 8 | 0.027247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-88_0_4_line_4 |  | 2 | 9 | 0.032185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-88_0_4_line_5 |  | 3 | 4 | 0.074551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-88_0_4_line_6 |  | 3 | 5 | 0.022699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1630-88_0_4_line_7 |  | 3 | 6 | 0.021625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1630-88_0_4_line_8 |  | 4 | 12 | 0.023202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-88_0_4_line_9 |  | 4 | 13 | 0.005676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-88_0_4_line_10 |  | 5 | 14 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-88_0_4_line_11 |  | 5 | 15 | 0.003864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1630-88_0_4_line_12 |  | 6 | 16 | 0.031905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1630-88_0_4_line_13 |  | 6 | 17 | 0.021947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-88_0_4_line_14 |  | 7 | 18 | 0.0094268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-88_0_4_line_15 |  | 8 | 11 | 0.022055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-88_0_4_line_16 |  | 8 | 19 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-88_0_4_line_17 |  | 9 | 20 | 0.0058174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-88_0_4_line_18 |  | 10 | 11 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1630-88_0_4_line_19 |  | 13 | 21 | 0.017406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-88_0_4_line_20 |  | 13 | 22 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1630-88_0_4_line_21 |  | 14 | 23 | 0.0057786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-88_0_4_line_22 |  | 15 | 24 | 0.027046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1630-88_0_4_line_23 |  | 16 | 25 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1630-88_0_4_line_24 |  | 16 | 26 | 0.028717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-88_0_4_line_25 |  | 17 | 27 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-88_0_4_line_26 |  | 18 | 28 | 0.0080398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-88_0_4_line_27 |  | 19 | 29 | 0.0091088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-88_0_4_line_28 |  | 21 | 39 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-88_0_4_line_29 |  | 23 | 59 | 0.0070403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-88_0_4_line_30 |  | 24 | 30 | 0.0026551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1630-88_0_4_line_31 |  | 25 | 64 | 0.021281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1630-88_0_4_line_32 |  | 26 | 65 | 0.02407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-88_0_4_line_33 |  | 26 | 66 | 0.017778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-88_0_4_line_34 |  | 27 | 60 | 0.0057811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-88_0_4_line_35 |  | 28 | 34 | 0.0047845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-88_0_4_line_36 |  | 29 | 56 | 0.0062166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-88_0_4_line_37 |  | 30 | 31 | 0.018506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1630-88_0_4_line_38 |  | 31 | 32 | 0.023901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-88_0_4_line_39 |  | 31 | 33 | 0.013817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1630-88_0_4_line_40 |  | 32 | 34 | 0.0044674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-88_0_4_line_41 |  | 33 | 35 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1630-88_0_4_line_42 |  | 35 | 36 | 0.0072061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-88_0_4_line_43 |  | 36 | 37 | 0.018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-88_0_4_line_44 |  | 36 | 38 | 0.009837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-88_0_4_line_45 |  | 38 | 51 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-88_0_4_line_46 |  | 38 | 52 | 0.009201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-88_0_4_line_47 |  | 39 | 40 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-88_0_4_line_48 |  | 40 | 41 | 0.03486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-88_0_4_line_49 |  | 41 | 42 | 0.1688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-88_0_4_line_50 |  | 42 | 48 | 0.048521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-88_0_4_line_51 |  | 43 | 44 | 0.031797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-88_0_4_line_52 |  | 43 | 45 | 0.02587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-88_0_4_line_53 |  | 44 | 46 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-88_0_4_line_54 |  | 45 | 47 | 0.032255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-88_0_4_line_55 |  | 45 | 48 | 0.030662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-88_0_4_line_56 |  | 46 | 49 | 0.0052828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-88_0_4_line_57 |  | 47 | 50 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-88_0_4_line_58 |  | 52 | 53 | 0.041206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-88_0_4_line_59 |  | 53 | 54 | 0.058462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-88_0_4_line_60 |  | 53 | 55 | 0.091823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-88_0_4_line_61 |  | 54 | 88 | 0.016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-88_0_4_line_62 |  | 56 | 57 | 0.0061692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-88_0_4_line_63 |  | 57 | 58 | 0.0024043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-88_0_4_line_64 |  | 59 | 72 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-88_0_4_line_65 |  | 60 | 61 | 0.016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-88_0_4_line_66 |  | 60 | 62 | 0.006191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-88_0_4_line_67 |  | 62 | 63 | 0.013381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-88_0_4_line_68 |  | 63 | 67 | 0.0069693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-88_0_4_line_69 |  | 65 | 69 | 0.019639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-88_0_4_line_70 |  | 66 | 70 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-88_0_4_line_71 |  | 67 | 68 | 0.013642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-88_0_4_line_72 |  | 68 | 71 | 0.0091069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-88_0_4_line_73 |  | 69 | 82 | 0.016779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-88_0_4_line_74 |  | 69 | 79 | 0.018213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1630-88_0_4_line_75 |  | 71 | 89 | 0.007865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1630-88_0_4_line_76 |  | 73 | 74 | 0.006618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1630-88_0_4_line_77 |  | 74 | 75 | 0.030191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1630-88_0_4_line_78 |  | 75 | 76 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1630-88_0_4_line_79 |  | 76 | 77 | 0.034756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1630-88_0_4_line_80 |  | 77 | 78 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1630-88_0_4_line_81 |  | 77 | 79 | 0.0073946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1630-88_0_4_line_82 |  | 78 | 80 | 0.00017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1630-88_0_4_line_83 |  | 80 | 81 | 0.037109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1630-88_0_4_line_84 |  | 81 | 83 | 0.02471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1630-88_0_4_line_85 |  | 82 | 84 | 0.016662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1630-88_0_4_line_86 |  | 83 | 85 | 0.005411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1630-88_0_4_line_87 |  | 85 | 86 | 0.037738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1630-88_0_4_line_88 |  | 86 | 87 | 0.064411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1630-88_0_4_line_89 |  | 87 | 90 | 0.0085543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_1630-88_0_4_line_90 |  | 90 | 91 | 0.067405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-88_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 92 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2723290.8928 | 1218007.6298 | 2723290.027 | 1218005.4706
1 | 2723286.2594 | 1217993.576 | 2723286.9702 | 1217995.9147 | 2723289.4664 | 1218004.0727 | 2723290.027 | 1218005.4706
2 | 2723286.2594 | 1217993.576 | 2723285.273 | 1217988.4071
3 | 2723286.2594 | 1217993.576 | 2723274.5443 | 1217997.2031 | 2723260.2311 | 1218001.6327
4 | 2723286.2594 | 1217993.576 | 2723274.5443 | 1217997.2031 | 2723270.3691 | 1217977.7238
5 | 2723248.5878 | 1218078.096 | 2723256.0827 | 1218074.0256 | 2723274.5454 | 1218062.7988 | 2723280.9846 | 1218058.7399 | 2723308.9916 | 1218042.3844 | 2723306.7304 | 1218038.6458
6 | 2723324.5205 | 1218032.7761 | 2723322.7305 | 1218034.5182 | 2723308.9916 | 1218042.3844 | 2723306.7304 | 1218038.6458
7 | 2723306.7304 | 1218038.6458 | 2723308.9916 | 1218042.3844 | 2723317.9263 | 1218057.1475
8 | 2723248.5878 | 1218078.096 | 2723249.0189 | 1218101.2897
9 | 2723248.5878 | 1218078.096 | 2723243.5157 | 1218080.6709
10 | 2723324.5205 | 1218032.7761 | 2723339.7431 | 1218029.3912
11 | 2723324.5205 | 1218032.7761 | 2723325.7685 | 1218030.8115 | 2723326.2758 | 1218029.3611
12 | 2723334.4673 | 1218084.4556 | 2723328.4327 | 1218074.4785 | 2723317.9263 | 1218057.1475
13 | 2723317.9263 | 1218057.1475 | 2723309.769 | 1218063.5059 | 2723304.0207 | 1218066.4671 | 2723299.6389 | 1218069.1512
14 | 2723285.273 | 1217988.4071 | 2723294.6116 | 1217987.1207
15 | 2723260.2311 | 1218001.6327 | 2723260.0423 | 1218006.3547 | 2723268.8985 | 1218021.2495
16 | 2723250.2432 | 1218004.7285 | 2723260.2311 | 1218001.6327
17 | 2723270.3691 | 1217977.7238 | 2723265.2265 | 1217978.5625 | 2723264.6546 | 1217978.3595
18 | 2723259.832 | 1218032.9647 | 2723259.4501 | 1218032.0292 | 2723268.8985 | 1218021.2495
19 | 2723243.5157 | 1218080.6709 | 2723240.0089 | 1218082.4553 | 2723231.418 | 1218085.1909 | 2723227.1219 | 1218086.3714
20 | 2723243.5157 | 1218080.6709 | 2723238.5257 | 1218060.9015
21 | 2723345.384 | 1218028.1369 | 2723339.7431 | 1218029.3912
22 | 2723326.2758 | 1218029.3611 | 2723326.5756 | 1218028.5042 | 2723330.6013 | 1218007.5378 | 2723331.5022 | 1218002.8348
23 | 2723334.4673 | 1218084.4556 | 2723349.4941 | 1218076.4459
24 | 2723334.4673 | 1218084.4556 | 2723345.0982 | 1218102.0005 | 2723349.3491 | 1218109.0162
25 | 2723299.6389 | 1218069.1512 | 2723296.7687 | 1218070.9094 | 2723302.9076 | 1218085.1669
26 | 2723302.5763 | 1217986.0237 | 2723294.6116 | 1217987.1207
27 | 2723250.2432 | 1218004.7285 | 2723244.9419 | 1218012.1358
28 | 2723206.7308 | 1218100.3423 | 2723208.0613 | 1218097.7288 | 2723211.3328 | 1218093.3708 | 2723216.9806 | 1218089.3956 | 2723220.3913 | 1218088.2208 | 2723227.1219 | 1218086.3714
29 | 2723352.2564 | 1218026.6087 | 2723345.384 | 1218028.1369
30 | 2723332.0018 | 1218000.2271 | 2723331.5022 | 1218002.8348
31 | 2723349.4941 | 1218076.4459 | 2723353.3234 | 1218074.4048 | 2723359.4852 | 1218067.2489 | 2723357.4432 | 1218060.0341
32 | 2723349.3491 | 1218109.0162 | 2723361.8174 | 1218129.6047
33 | 2723349.3491 | 1218109.0162 | 2723364.4961 | 1218099.7084
34 | 2723305.1939 | 1218090.4767 | 2723302.9076 | 1218085.1669
35 | 2723307.316 | 1217985.3708 | 2723302.5763 | 1217986.0237
36 | 2723244.9419 | 1218012.1358 | 2723244.9419 | 1218012.1358 | 2723248.2685 | 1218017.3874
37 | 2723335.4875 | 1217982.0523 | 2723334.0747 | 1217989.4066 | 2723332.0018 | 1218000.2271
38 | 2723335.4875 | 1217982.0523 | 2723314.8178 | 1217984.3375 | 2723311.7417 | 1217984.7612
39 | 2723338.0919 | 1217968.4845 | 2723335.4875 | 1217982.0523
40 | 2723307.316 | 1217985.3708 | 2723311.7417 | 1217984.7612
41 | 2723338.0919 | 1217968.4845 | 2723352.8107 | 1217970.4816
42 | 2723359.9513 | 1217971.4504 | 2723352.8107 | 1217970.4816
43 | 2723359.9513 | 1217971.4504 | 2723356.7204 | 1217989.2308
44 | 2723369.7261 | 1217972.7872 | 2723359.9513 | 1217971.4504
45 | 2723369.7261 | 1217972.7872 | 2723370.7173 | 1217965.2574 | 2723375.7354 | 1217960.1684
46 | 2723377.7037 | 1217976.9445 | 2723375.7759 | 1217975.0698 | 2723372.4409 | 1217973.3216 | 2723369.7261 | 1217972.7872
47 | 2723199.3851 | 1218118.1654 | 2723205.8373 | 1218102.0974 | 2723206.7308 | 1218100.3423
48 | 2723199.3851 | 1218118.1654 | 2723193.83 | 1218130.5046 | 2723190.3916 | 1218137.0609 | 2723185.0037 | 1218144.6221 | 2723182.1749 | 1218148.3011
49 | 2723182.1749 | 1218148.3011 | 2723106.0001 | 1218298.9321
50 | 2723059.1278 | 1218285.887 | 2723106.0001 | 1218298.9321
51 | 2723034.0289 | 1218368.0996 | 2723036.7615 | 1218353.0665 | 2723040.0914 | 1218339.9917 | 2723040.6624 | 1218337.0205
52 | 2723045.5446 | 1218311.6155 | 2723040.6624 | 1218337.0205
53 | 2723034.0289 | 1218368.0996 | 2723025.8442 | 1218364.7947 | 2723024.9037 | 1218359.7838
54 | 2723045.5446 | 1218311.6155 | 2723030.0633 | 1218304.6459 | 2723026.0623 | 1218300.9604 | 2723024.6485 | 1218298.0957 | 2723024.1482 | 1218291.4717
55 | 2723059.1278 | 1218285.887 | 2723056.6305 | 1218286.5915 | 2723054.5936 | 1218287.7949 | 2723052.7941 | 1218289.6369 | 2723045.5446 | 1218311.6155
56 | 2723023.9291 | 1218354.5916 | 2723024.9037 | 1218359.7838
57 | 2723023.7922 | 1218280.2077 | 2723023.4085 | 1218281.6795 | 2723024.1482 | 1218291.4717
58 | 2723377.7037 | 1217976.9445 | 2723390.8096 | 1217978.0167 | 2723418.5693 | 1217982.0848
59 | 2723476.5474 | 1217989.446 | 2723454.9723 | 1217987.4196 | 2723418.5693 | 1217982.0848
60 | 2723418.5693 | 1217982.0848 | 2723438.4903 | 1217892.4484
61 | 2723476.5474 | 1217989.446 | 2723478.1755 | 1217994.417 | 2723476.8016 | 1218005.7694
62 | 2723251.5697 | 1218022.599 | 2723248.2685 | 1218017.3874
63 | 2723251.5697 | 1218022.599 | 2723252.8563 | 1218024.6301
64 | 2723363.4944 | 1218024.6638 | 2723356.9548 | 1218025.564 | 2723352.2564 | 1218026.6087
65 | 2723305.1939 | 1218090.4767 | 2723298.0656 | 1218097.3791 | 2723292.4218 | 1218100.9521
66 | 2723305.1939 | 1218090.4767 | 2723308.66 | 1218095.6065
67 | 2723308.66 | 1218095.6065 | 2723316.1512 | 1218106.6934
68 | 2723320.0531 | 1218112.4681 | 2723316.1512 | 1218106.6934
69 | 2723371.9905 | 1218146.403 | 2723361.8174 | 1218129.6047
70 | 2723380.4102 | 1218085.9746 | 2723378.8993 | 1218089.635 | 2723376.2203 | 1218092.504 | 2723364.4961 | 1218099.7084
71 | 2723320.0531 | 1218112.4681 | 2723309.2783 | 1218120.8358
72 | 2723309.2783 | 1218120.8358 | 2723305.5068 | 1218123.7648 | 2723301.534 | 1218125.4912
73 | 2723371.9905 | 1218146.403 | 2723386.2395 | 1218137.5425
74 | 2723371.9905 | 1218146.403 | 2723381.4258 | 1218161.981
75 | 2723294.3207 | 1218128.626 | 2723301.534 | 1218125.4912
76 | 2723370.3429 | 1218210.5301 | 2723376.9381 | 1218209.981
77 | 2723407.0254 | 1218207.4762 | 2723376.9381 | 1218209.981
78 | 2723407.0254 | 1218207.4762 | 2723405.7059 | 1218205.2026 | 2723402.0654 | 1218198.7272
79 | 2723385.2566 | 1218168.3059 | 2723398.2294 | 1218191.9041 | 2723402.0654 | 1218198.7272
80 | 2723385.2566 | 1218168.3059 | 2723402.5792 | 1218158.0703
81 | 2723385.2566 | 1218168.3059 | 2723381.4258 | 1218161.981
82 | 2723402.7258 | 1218157.9837 | 2723402.5792 | 1218158.0703
83 | 2723427.579 | 1218131.2757 | 2723415.6914 | 1218148.732 | 2723409.7469 | 1218153.8351 | 2723402.7258 | 1218157.9837
84 | 2723427.579 | 1218131.2757 | 2723431.2366 | 1218126.9814 | 2723434.9875 | 1218125.1466 | 2723449.7513 | 1218122.7839
85 | 2723400.3888 | 1218128.7439 | 2723386.2395 | 1218137.5425
86 | 2723449.7513 | 1218122.7839 | 2723455.095 | 1218121.933
87 | 2723455.095 | 1218121.933 | 2723459.7612 | 1218121.19 | 2723463.1317 | 1218120.1257 | 2723487.876 | 1218104.1036
88 | 2723539.0617 | 1218065.8458 | 2723534.7201 | 1218067.6017 | 2723531.2628 | 1218069.9207 | 2723514.9497 | 1218086.5733 | 2723487.876 | 1218104.1036
89 | 2723539.0617 | 1218065.8458 | 2723538.33 | 1218063.4177 | 2723535.8446 | 1218062.4432 | 2723532.7265 | 1218061.222
90 | 2723499.0903 | 1218026.809 | 2723516.8334 | 1218023.2184 | 2723519.7377 | 1218023.034 | 2723522.5743 | 1218023.1818 | 2723527.7616 | 1218025.3132 | 2723530.5036 | 1218028.5615 | 2723532.0528 | 1218031.8406 | 2723532.6941 | 1218035.7014 | 2723530.5191 | 1218043.9183 | 2723529.9216 | 1218048.1981 | 2723530.3349 | 1218051.3314 | 2723531.8222 | 1218056.1326 | 2723532.7408 | 1218059.0651 | 2723532.7265 | 1218061.222

## bus_geodata
| x | y | coords
0 | 2723290.8928 | 1218007.6298
1 | 2723290.027 | 1218005.4706
2 | 2723286.2594 | 1217993.576
3 | 2723306.7304 | 1218038.6458
4 | 2723248.5878 | 1218078.096
5 | 2723324.5205 | 1218032.7761
6 | 2723317.9263 | 1218057.1475
7 | 2723285.273 | 1217988.4071
8 | 2723260.2311 | 1218001.6327
9 | 2723270.3691 | 1217977.7238
10 | 2723259.832 | 1218032.9647
11 | 2723268.8985 | 1218021.2495
12 | 2723249.0189 | 1218101.2897
13 | 2723243.5157 | 1218080.6709
14 | 2723339.7431 | 1218029.3912
15 | 2723326.2758 | 1218029.3611
16 | 2723334.4673 | 1218084.4556
17 | 2723299.6389 | 1218069.1512
18 | 2723294.6116 | 1217987.1207
19 | 2723250.2432 | 1218004.7285
20 | 2723264.6546 | 1217978.3595
21 | 2723227.1219 | 1218086.3714
22 | 2723238.5257 | 1218060.9015
23 | 2723345.384 | 1218028.1369
24 | 2723331.5022 | 1218002.8348
25 | 2723349.4941 | 1218076.4459
26 | 2723349.3491 | 1218109.0162
27 | 2723302.9076 | 1218085.1669
28 | 2723302.5763 | 1217986.0237
29 | 2723244.9419 | 1218012.1358
30 | 2723332.0018 | 1218000.2271
31 | 2723335.4875 | 1217982.0523
32 | 2723311.7417 | 1217984.7612
33 | 2723338.0919 | 1217968.4845
34 | 2723307.316 | 1217985.3708
35 | 2723352.8107 | 1217970.4816
36 | 2723359.9513 | 1217971.4504
37 | 2723356.7204 | 1217989.2308
38 | 2723369.7261 | 1217972.7872
39 | 2723206.7308 | 1218100.3423
40 | 2723199.3851 | 1218118.1654
41 | 2723182.1749 | 1218148.3011
42 | 2723106.0001 | 1218298.9321
43 | 2723040.6624 | 1218337.0205
44 | 2723034.0289 | 1218368.0996
45 | 2723045.5446 | 1218311.6155
46 | 2723024.9037 | 1218359.7838
47 | 2723024.1482 | 1218291.4717
48 | 2723059.1278 | 1218285.887
49 | 2723023.9291 | 1218354.5916
50 | 2723023.7922 | 1218280.2077
51 | 2723375.7354 | 1217960.1684
52 | 2723377.7037 | 1217976.9445
53 | 2723418.5693 | 1217982.0848
54 | 2723476.5474 | 1217989.446
55 | 2723438.4903 | 1217892.4484
56 | 2723248.2685 | 1218017.3874
57 | 2723251.5697 | 1218022.599
58 | 2723252.8563 | 1218024.6301
59 | 2723352.2564 | 1218026.6087
60 | 2723305.1939 | 1218090.4767
61 | 2723292.4218 | 1218100.9521
62 | 2723308.66 | 1218095.6065
63 | 2723316.1512 | 1218106.6934
64 | 2723357.4432 | 1218060.0341
65 | 2723361.8174 | 1218129.6047
66 | 2723364.4961 | 1218099.7084
67 | 2723320.0531 | 1218112.4681
68 | 2723309.2783 | 1218120.8358
69 | 2723371.9905 | 1218146.403
70 | 2723380.4102 | 1218085.9746
71 | 2723301.534 | 1218125.4912
72 | 2723363.4944 | 1218024.6638
73 | 2723370.3429 | 1218210.5301
74 | 2723376.9381 | 1218209.981
75 | 2723407.0254 | 1218207.4762
76 | 2723402.0654 | 1218198.7272
77 | 2723385.2566 | 1218168.3059
78 | 2723402.5792 | 1218158.0703
79 | 2723381.4258 | 1218161.981
80 | 2723402.7258 | 1218157.9837
81 | 2723427.579 | 1218131.2757
82 | 2723386.2395 | 1218137.5425
83 | 2723449.7513 | 1218122.7839
84 | 2723400.3888 | 1218128.7439
85 | 2723455.095 | 1218121.933
86 | 2723487.876 | 1218104.1036
87 | 2723539.0617 | 1218065.8458
88 | 2723476.8016 | 1218005.7694
89 | 2723294.3207 | 1218128.626
90 | 2723532.7265 | 1218061.222
91 | 2723499.0903 | 1218026.809
92 | 2723354.6954 | 1218050.3255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98534 | -0.28152 | 0.0039742 | 0.00099604
1 | 0.98535 | -0.28136 | 0.001656 | 0.00041503
2 | 0.98541 | -0.28009 | 0 | 0
3 | 0.99198 | -0.153 | 0 | 0
4 | 0.98842 | -0.22155 | 0 | 0
5 | 0.99066 | -0.1783 | 0 | 0
6 | 0.99349 | -0.12401 | 0 | 0
7 | 0.98559 | -0.27655 | 0 | 0
8 | 0.98481 | -0.29184 | 0 | 0
9 | 0.98518 | -0.28464 | 0 | 0
10 | 0.98444 | -0.29897 | 0.0017088 | 0.00042825
11 | 0.98447 | -0.2985 | 0.015104 | 0.0037853
12 | 0.98828 | -0.22413 | 0.006217 | 0.0015581
13 | 0.98818 | -0.22616 | 0 | 0
14 | 0.99036 | -0.18412 | 0.0048276 | 0.0012099
15 | 0.99046 | -0.18226 | 0.011409 | 0.0028594
16 | 0.99605 | -0.075055 | 0 | 0
17 | 0.99258 | -0.14159 | 0.003846 | 0.0009639
18 | 0.98592 | -0.27022 | 0.0082535 | 0.0020685
19 | 0.98474 | -0.29318 | 0 | 0
20 | 0.98514 | -0.28546 | 0.0078627 | 0.0019706
21 | 0.98746 | -0.23993 | 0.010251 | 0.002569
22 | 0.98815 | -0.22661 | 0.0012192 | 0.00030556
23 | 0.99028 | -0.18578 | 0.004079 | 0.0010223
24 | 0.98909 | -0.2086 | 0.0039594 | 0.00099231
25 | 0.99778 | -0.04217 | 0.013296 | 0.0033324
26 | 0.99362 | -0.12157 | 0 | 0
27 | 0.99186 | -0.15546 | 0.0018938 | 0.00047462
28 | 0.98626 | -0.26362 | 0.0074901 | 0.0018772
29 | 0.98468 | -0.29436 | 0.0025326 | 0.00063472
30 | 0.98896 | -0.21115 | 0.0062359 | 0.0015629
31 | 0.98807 | -0.22838 | 0 | 0
32 | 0.98673 | -0.25448 | 0.0038452 | 0.00096369
33 | 0.9876 | -0.23749 | 0 | 0
34 | 0.98649 | -0.25906 | 0.0040146 | 0.0010061
35 | 0.98659 | -0.25712 | 0.017808 | 0.004463
36 | 0.98572 | -0.27389 | 0 | 0
37 | 0.98515 | -0.28506 | 0.03443 | 0.008629
38 | 0.98485 | -0.29076 | 0 | 0
39 | 0.98665 | -0.25569 | 0.0020929 | 0.00052453
40 | 0.98608 | -0.26673 | 0 | 0
41 | 0.98504 | -0.28671 | 0.0019134 | 0.00047954
42 | 0.98034 | -0.3782 | 0 | 0
43 | 0.97767 | -0.4306 | 0.010053 | 0.0025194
44 | 0.97739 | -0.43607 | 0 | 0
45 | 0.97814 | -0.42141 | 0 | 0
46 | 0.97727 | -0.43847 | 0.001456 | 0.00036492
47 | 0.97782 | -0.42761 | 0.0024625 | 0.00061717
48 | 0.97899 | -0.40466 | 0 | 0
49 | 0.97723 | -0.43924 | 0.0079771 | 0.0019993
50 | 0.97774 | -0.42927 | 0.0080717 | 0.002023
51 | 0.98461 | -0.29557 | 0.018172 | 0.0045543
52 | 0.9842 | -0.30355 | 0 | 0
53 | 0.98125 | -0.36103 | 0.025066 | 0.006282
54 | 0.97986 | -0.3882 | 0 | 0
55 | 0.97899 | -0.40535 | 0.0266 | 0.0066667
56 | 0.98465 | -0.29488 | 0.0016815 | 0.00042143
57 | 0.98464 | -0.2952 | 0.0015547 | 0.00038964
58 | 0.98463 | -0.29526 | 0.0014085 | 0.00035301
59 | 0.9902 | -0.1873 | 0.0077554 | 0.0019437
60 | 0.99166 | -0.15951 | 0 | 0
61 | 0.99162 | -0.16014 | 0.0021263 | 0.0005329
62 | 0.99144 | -0.16362 | 0.030864 | 0.0077353
63 | 0.99136 | -0.16518 | 0.0016139 | 0.00040448
64 | 1 | 0 | -0.4613 | -0.11749
65 | 0.99184 | -0.15595 | 0.0076712 | 0.0019226
66 | 0.99344 | -0.1251 | 0.0046438 | 0.0011639
67 | 0.99133 | -0.16579 | 0 | 0
68 | 0.99127 | -0.167 | 0.0015918 | 0.00039895
69 | 0.99052 | -0.18141 | 0 | 0
70 | 0.99331 | -0.12762 | 0.0065896 | 0.0016515
71 | 0.99124 | -0.16754 | 0.0015382 | 0.00038551
72 | 0.99016 | -0.18818 | 0.0043409 | 0.0010879
73 | 0.98769 | -0.23624 | 0.011432 | 0.002865
74 | 0.98776 | -0.23489 | 0.0027257 | 0.00068313
75 | 0.98815 | -0.22725 | 0 | 0
76 | 0.98828 | -0.22471 | 0.0054896 | 0.0013758
77 | 0.98891 | -0.21253 | 0 | 0
78 | 0.98803 | -0.22947 | 0.013945 | 0.0034948
79 | 0.98936 | -0.20373 | 0.0020586 | 0.00051593
80 | 0.98803 | -0.22957 | 0.0019885 | 0.00049836
81 | 0.98696 | -0.25031 | 0 | 0
82 | 0.99045 | -0.18265 | 0.0024068 | 0.0006032
83 | 0.98625 | -0.26414 | 0 | 0
84 | 0.99043 | -0.18317 | 0.0017628 | 0.00044179
85 | 0.98609 | -0.26717 | 0.0037615 | 0.00094272
86 | 0.98513 | -0.28579 | 0.0057232 | 0.0014344
87 | 0.98384 | -0.31101 | 0 | 0
88 | 0.97946 | -0.39596 | 0.025631 | 0.0064238
89 | 0.99123 | -0.1678 | 0.0018353 | 0.00045997
90 | 0.98367 | -0.31437 | 0 | 0
91 | 0.98231 | -0.34084 | 0.02177 | 0.005456
92 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0039742 | -0.00099604 | 0.0039743 | 0.00099603 | 3.1423e-08 | -9.5205e-09 | 0.0060017 | 0.0060017 | 0.0060017 | 0.98534 | -0.28152 | 0.98535 | -0.28136 | 1.6488
1 | -0.0056303 | -0.0014111 | 0.0056306 | 0.0014111 | 3.3838e-07 | 5.7563e-08 | 0.0085025 | 0.0085025 | 0.0085025 | 0.98535 | -0.28136 | 0.98541 | -0.28009 | 2.3359
2 | -0.037505 | -0.0094064 | 0.037511 | 0.0094103 | 6.3296e-06 | 3.9839e-06 | 0.056637 | 0.056637 | 0.056637 | 0.98541 | -0.28009 | 0.98559 | -0.27655 | 15.5595
3 | 0.02401 | 0.0060238 | -0.023996 | -0.0060156 | 1.3432e-05 | 8.2498e-06 | 0.036258 | 0.036258 | 0.036258 | 0.98541 | -0.28009 | 0.98481 | -0.29184 | 9.961
4 | 0.0078648 | 0.0019714 | -0.0078631 | -0.0019707 | 1.7024e-06 | 6.7959e-07 | 0.011876 | 0.011876 | 0.011876 | 0.98541 | -0.28009 | 0.98518 | -0.28464 | 3.2627
5 | 0.052209 | 0.013271 | -0.052038 | -0.013162 | 0.00017176 | 0.00010897 | 0.078383 | 0.078383 | 0.078383 | 0.99198 | -0.153 | 0.98842 | -0.22155 | 21.5338
6 | 0.25316 | 0.064122 | -0.25285 | -0.063926 | 0.00030727 | 0.00019548 | 0.37999 | 0.37999 | 0.37999 | 0.99198 | -0.153 | 0.99066 | -0.1783 | 26.0984
7 | -0.30537 | -0.077393 | 0.3058 | 0.077664 | 0.00042597 | 0.0002715 | 0.45838 | 0.45837 | 0.45838 | 0.99198 | -0.153 | 0.99349 | -0.12401 | 31.4818
8 | 0.0062178 | 0.0015583 | -0.006217 | -0.0015581 | 7.6237e-07 | 1.9058e-07 | 0.0093606 | 0.0093607 | 0.0093607 | 0.98842 | -0.22155 | 0.98828 | -0.22413 | 2.5716
9 | 0.04582 | 0.011603 | -0.04581 | -0.011597 | 1.014e-05 | 6.4171e-06 | 0.069023 | 0.069023 | 0.069023 | 0.98842 | -0.22155 | 0.98818 | -0.22616 | 18.9623
10 | 0.021011 | 0.0052686 | -0.021005 | -0.005265 | 5.8249e-06 | 3.5272e-06 | 0.03156 | 0.031561 | 0.031561 | 0.99066 | -0.1783 | 0.99036 | -0.18412 | 8.6705
11 | 0.23184 | 0.058658 | -0.2318 | -0.05863 | 4.3979e-05 | 2.7947e-05 | 0.34843 | 0.34843 | 0.34843 | 0.99066 | -0.1783 | 0.99046 | -0.18226 | 23.9308
12 | -0.35119 | -0.08907 | 0.35202 | 0.089599 | 0.00082873 | 0.00052873 | 0.52637 | 0.52637 | 0.52637 | 0.99349 | -0.12401 | 0.99605 | -0.075055 | 36.1518
13 | 0.045391 | 0.011406 | -0.045353 | -0.011382 | 3.8052e-05 | 2.4069e-05 | 0.067996 | 0.067996 | 0.067996 | 0.99349 | -0.12401 | 0.99258 | -0.14159 | 18.6802
14 | -0.037511 | -0.0094103 | 0.037523 | 0.0094175 | 1.1339e-05 | 7.137e-06 | 0.056637 | 0.056637 | 0.056637 | 0.98559 | -0.27655 | 0.98592 | -0.27022 | 15.5595
15 | 0.016818 | 0.0042166 | -0.016812 | -0.0042134 | 5.3408e-06 | 3.1376e-06 | 0.025412 | 0.025412 | 0.025412 | 0.98481 | -0.29184 | 0.98447 | -0.2985 | 6.9813
16 | 0.0071783 | 0.001799 | -0.0071779 | -0.0017989 | 4.6008e-07 | 1.6177e-07 | 0.010846 | 0.010846 | 0.010846 | 0.98481 | -0.29184 | 0.98474 | -0.29318 | 2.9797
17 | 0.0078631 | 0.0019707 | -0.0078627 | -0.0019706 | 3.077e-07 | 1.2286e-07 | 0.011876 | 0.011876 | 0.011876 | 0.98518 | -0.28464 | 0.98514 | -0.28546 | 3.2628
18 | -0.0017088 | -0.00042825 | 0.0017088 | 0.00042808 | 3.8386e-08 | -1.7054e-07 | 0.0025828 | 0.0025828 | 0.0025828 | 0.98444 | -0.29897 | 0.98447 | -0.2985 | 0.70957
19 | 0.044591 | 0.011292 | -0.044561 | -0.011273 | 2.9464e-05 | 1.8634e-05 | 0.067187 | 0.067187 | 0.067187 | 0.98818 | -0.22616 | 0.98746 | -0.23993 | 18.4579
20 | 0.0012192 | 0.00030531 | -0.0012192 | -0.00030556 | 2.577e-08 | -2.4471e-07 | 0.0018358 | 0.0018359 | 0.0018359 | 0.98818 | -0.22616 | 0.98815 | -0.22661 | 0.50437
21 | 0.016178 | 0.0040551 | -0.016176 | -0.0040544 | 1.2803e-06 | 7.4506e-07 | 0.024307 | 0.024307 | 0.024307 | 0.99036 | -0.18412 | 0.99028 | -0.18578 | 6.6778
22 | 0.22039 | 0.05577 | -0.22011 | -0.055594 | 0.00027829 | 0.00017671 | 0.33129 | 0.33129 | 0.33129 | 0.99046 | -0.18226 | 0.98909 | -0.2086 | 22.7536
23 | -0.44471 | -0.11311 | 0.44542 | 0.11356 | 0.00070586 | 0.00045086 | 0.66495 | 0.66495 | 0.66495 | 0.99605 | -0.075055 | 0.99778 | -0.04217 | 45.6697
24 | 0.092698 | 0.02351 | -0.092491 | -0.023378 | 0.00020682 | 0.00013199 | 0.13858 | 0.13858 | 0.13858 | 0.99605 | -0.075055 | 0.99362 | -0.12157 | 38.0719
25 | 0.041507 | 0.010418 | -0.041479 | -0.010401 | 2.7431e-05 | 1.7312e-05 | 0.06223 | 0.06223 | 0.06223 | 0.99258 | -0.14159 | 0.99186 | -0.15546 | 17.0962
26 | -0.045776 | -0.011486 | 0.045791 | 0.011495 | 1.4393e-05 | 9.109e-06 | 0.069093 | 0.069093 | 0.069093 | 0.98592 | -0.27022 | 0.98626 | -0.26362 | 18.9817
27 | 0.0071779 | 0.0017989 | -0.0071775 | -0.0017987 | 4.0185e-07 | 1.4131e-07 | 0.010846 | 0.010846 | 0.010846 | 0.98474 | -0.29318 | 0.98468 | -0.29436 | 2.9798
28 | 0.034311 | 0.008704 | -0.034285 | -0.0086877 | 2.5977e-05 | 1.6294e-05 | 0.05174 | 0.05174 | 0.05174 | 0.98746 | -0.23993 | 0.98665 | -0.25569 | 14.2144
29 | 0.012097 | 0.0030321 | -0.012097 | -0.0030316 | 8.7239e-07 | 4.6776e-07 | 0.018178 | 0.018178 | 0.018178 | 0.99028 | -0.18578 | 0.9902 | -0.1873 | 4.9939
30 | 0.21615 | 0.054601 | -0.21612 | -0.054585 | 2.6347e-05 | 1.6726e-05 | 0.32534 | 0.32534 | 0.32534 | 0.98909 | -0.2086 | 0.98896 | -0.21115 | 22.3445
31 | -0.45872 | -0.11689 | 0.45965 | 0.11749 | 0.00093554 | 0.00059763 | 0.68478 | 0.68478 | 0.68478 | 0.99778 | -0.04217 | 1 | 0 | 47.0316
32 | 0.081255 | 0.020562 | -0.081121 | -0.020476 | 0.00013381 | 8.5324e-05 | 0.12175 | 0.12175 | 0.12175 | 0.99362 | -0.12157 | 0.99184 | -0.15595 | 33.4492
33 | 0.011236 | 0.0028166 | -0.011234 | -0.0028156 | 1.8877e-06 | 9.779e-07 | 0.016827 | 0.016827 | 0.016827 | 0.99362 | -0.12157 | 0.99344 | -0.1251 | 4.6228
34 | 0.039586 | 0.0099263 | -0.039578 | -0.0099215 | 7.6464e-06 | 4.8191e-06 | 0.059389 | 0.059389 | 0.059389 | 0.99186 | -0.15546 | 0.99166 | -0.15951 | 16.3157
35 | -0.053281 | -0.013372 | 0.053292 | 0.01338 | 1.1596e-05 | 7.3605e-06 | 0.080394 | 0.080394 | 0.080394 | 0.98626 | -0.26362 | 0.98649 | -0.25906 | 22.0863
36 | 0.0046449 | 0.001164 | -0.0046448 | -0.001164 | 1.1486e-07 | -5.566e-09 | 0.0070192 | 0.0070193 | 0.0070193 | 0.98468 | -0.29436 | 0.98465 | -0.29488 | 1.9284
37 | 0.20989 | 0.053022 | -0.20972 | -0.052912 | 0.00017319 | 0.00010989 | 0.31595 | 0.31595 | 0.31595 | 0.98896 | -0.21115 | 0.98807 | -0.22838 | 21.7001
38 | 0.061241 | 0.015406 | -0.061165 | -0.015357 | 7.6271e-05 | 4.8508e-05 | 0.092248 | 0.092248 | 0.092248 | 0.98807 | -0.22838 | 0.98673 | -0.25448 | 25.3429
39 | 0.14847 | 0.037506 | -0.14841 | -0.037465 | 6.4824e-05 | 4.078e-05 | 0.22371 | 0.22371 | 0.22371 | 0.98807 | -0.22838 | 0.9876 | -0.23749 | 15.3644
40 | 0.057319 | 0.014394 | -0.057307 | -0.014386 | 1.252e-05 | 7.956e-06 | 0.08645 | 0.08645 | 0.08645 | 0.98673 | -0.25448 | 0.98649 | -0.25906 | 23.7499
41 | 0.14841 | 0.037465 | -0.14827 | -0.037376 | 0.00013938 | 8.8821e-05 | 0.22371 | 0.22371 | 0.22371 | 0.9876 | -0.23749 | 0.98659 | -0.25712 | 30.7288
42 | 0.13046 | 0.032913 | -0.13036 | -0.032846 | 0.00010471 | 6.6923e-05 | 0.19685 | 0.19685 | 0.19685 | 0.98659 | -0.25712 | 0.98572 | -0.27389 | 54.079
43 | 0.034448 | 0.0086405 | -0.03443 | -0.008629 | 1.8329e-05 | 1.15e-05 | 0.052005 | 0.052005 | 0.052005 | 0.98572 | -0.27389 | 0.98515 | -0.28506 | 14.287
44 | 0.09591 | 0.024206 | -0.095833 | -0.024157 | 7.7391e-05 | 4.9405e-05 | 0.14484 | 0.14484 | 0.14484 | 0.98572 | -0.27389 | 0.98485 | -0.29076 | 39.7921
45 | 0.018176 | 0.0045568 | -0.018172 | -0.0045543 | 4.1672e-06 | 2.4795e-06 | 0.027463 | 0.027463 | 0.027463 | 0.98485 | -0.29076 | 0.98461 | -0.29557 | 7.5447
46 | 0.077656 | 0.0196 | -0.077609 | -0.019569 | 4.754e-05 | 3.0308e-05 | 0.11738 | 0.11738 | 0.11738 | 0.98485 | -0.29076 | 0.9842 | -0.30355 | 32.2474
47 | 0.032192 | 0.0081632 | -0.032175 | -0.0081525 | 1.707e-05 | 1.0679e-05 | 0.048584 | 0.048584 | 0.048584 | 0.98665 | -0.25569 | 0.98608 | -0.26673 | 13.3473
48 | 0.032175 | 0.0081525 | -0.032144 | -0.0081332 | 3.0857e-05 | 1.9304e-05 | 0.048584 | 0.048584 | 0.048584 | 0.98608 | -0.26673 | 0.98504 | -0.28671 | 13.3473
49 | 0.03023 | 0.0076537 | -0.030098 | -0.0075712 | 0.00013217 | 8.2448e-05 | 0.045694 | 0.045695 | 0.045695 | 0.98504 | -0.28671 | 0.98034 | -0.3782 | 12.5535
50 | 0.030098 | 0.0075712 | -0.03006 | -0.0075475 | 3.7992e-05 | 2.3704e-05 | 0.045695 | 0.045695 | 0.045695 | 0.98034 | -0.3782 | 0.97899 | -0.40466 | 12.5536
51 | 0.009437 | 0.002366 | -0.0094345 | -0.0023648 | 2.46e-06 | 1.1758e-06 | 0.014363 | 0.014364 | 0.014364 | 0.97767 | -0.4306 | 0.97739 | -0.43607 | 3.946
52 | -0.01949 | -0.0048854 | 0.019498 | 0.0048906 | 8.5364e-06 | 5.1387e-06 | 0.029664 | 0.029664 | 0.029664 | 0.97767 | -0.4306 | 0.97814 | -0.42141 | 8.1494
53 | 0.0094345 | 0.0023648 | -0.0094335 | -0.0023643 | 1.0774e-06 | 5.1501e-07 | 0.014364 | 0.014364 | 0.014364 | 0.97739 | -0.43607 | 0.97727 | -0.43847 | 3.9461
54 | 0.010538 | 0.002642 | -0.010535 | -0.0026404 | 3.1087e-06 | 1.5849e-06 | 0.016032 | 0.016032 | 0.016032 | 0.97814 | -0.42141 | 0.97782 | -0.42761 | 4.4043
55 | -0.030036 | -0.0075325 | 0.03006 | 0.0075475 | 2.4009e-05 | 1.498e-05 | 0.045695 | 0.045695 | 0.045695 | 0.97814 | -0.42141 | 0.97899 | -0.40466 | 12.5536
56 | 0.0079774 | 0.0019994 | -0.0079771 | -0.0019993 | 2.9229e-07 | 1.2088e-07 | 0.012147 | 0.012147 | 0.012147 | 0.97727 | -0.43847 | 0.97723 | -0.43924 | 3.337
57 | 0.0080724 | 0.0020232 | -0.0080717 | -0.002023 | 6.4178e-07 | 2.6849e-07 | 0.012284 | 0.012284 | 0.012284 | 0.97782 | -0.42761 | 0.97774 | -0.42927 | 3.3748
58 | 0.077609 | 0.019569 | -0.077396 | -0.019434 | 0.0002129 | 0.00013574 | 0.11738 | 0.11738 | 0.11738 | 0.9842 | -0.30355 | 0.98125 | -0.36103 | 32.2474
59 | 0.025674 | 0.0064501 | -0.025641 | -0.0064296 | 3.3241e-05 | 2.0537e-05 | 0.038939 | 0.038939 | 0.038939 | 0.98125 | -0.36103 | 0.97986 | -0.3882 | 10.6975
60 | 0.026657 | 0.0067015 | -0.0266 | -0.0066667 | 5.6288e-05 | 3.4867e-05 | 0.040431 | 0.040431 | 0.040431 | 0.98125 | -0.36103 | 0.97899 | -0.40535 | 11.1075
61 | 0.025641 | 0.0064296 | -0.025631 | -0.0064238 | 9.4762e-06 | 5.8549e-06 | 0.038939 | 0.038939 | 0.038939 | 0.97986 | -0.3882 | 0.97946 | -0.39596 | 10.6976
62 | 0.0029633 | 0.00074258 | -0.0029632 | -0.00074263 | 4.6392e-08 | -4.8778e-08 | 0.0044781 | 0.0044781 | 0.0044781 | 0.98465 | -0.29488 | 0.98464 | -0.2952 | 1.2303
63 | 0.0014085 | 0.00035298 | -0.0014085 | -0.00035301 | 4.0852e-09 | -2.7966e-08 | 0.0021286 | 0.0021286 | 0.0021286 | 0.98464 | -0.2952 | 0.98463 | -0.29526 | 0.58479
64 | 0.0043411 | 0.0010879 | -0.0043409 | -0.0010879 | 1.8216e-07 | -3.0239e-08 | 0.0065235 | 0.0065236 | 0.0065236 | 0.9902 | -0.1873 | 0.99016 | -0.18818 | 1.7922
65 | 0.0021263 | 0.00053272 | -0.0021263 | -0.0005329 | 6.338e-08 | -1.7362e-07 | 0.0031906 | 0.0031907 | 0.0031907 | 0.99166 | -0.15951 | 0.99162 | -0.16014 | 0.87656
66 | 0.037452 | 0.0093888 | -0.037444 | -0.0093842 | 7.3324e-06 | 4.6129e-06 | 0.056199 | 0.056199 | 0.056199 | 0.99166 | -0.15951 | 0.99144 | -0.16362 | 15.4392
67 | 0.0065803 | 0.0016489 | -0.0065798 | -0.0016488 | 4.894e-07 | 1.4068e-07 | 0.009876 | 0.0098761 | 0.0098761 | 0.99144 | -0.16362 | 0.99136 | -0.16518 | 2.7132
68 | 0.0049659 | 0.0012443 | -0.0049657 | -0.0012443 | 1.452e-07 | 3.0687e-09 | 0.0074536 | 0.0074536 | 0.0074536 | 0.99136 | -0.16518 | 0.99133 | -0.16579 | 2.0477
69 | 0.07345 | 0.018554 | -0.073361 | -0.018497 | 8.951e-05 | 5.7033e-05 | 0.11025 | 0.11025 | 0.11025 | 0.99184 | -0.15595 | 0.99052 | -0.18141 | 30.2874
70 | 0.0065903 | 0.0016517 | -0.0065896 | -0.0016515 | 7.9098e-07 | 2.2599e-07 | 0.0098713 | 0.0098714 | 0.0098714 | 0.99344 | -0.1251 | 0.99331 | -0.12762 | 2.7119
71 | 0.0049657 | 0.0012443 | -0.0049655 | -0.0012443 | 2.8422e-07 | 6.026e-09 | 0.0074536 | 0.0074537 | 0.0074537 | 0.99133 | -0.16579 | 0.99127 | -0.167 | 2.0477
72 | 0.0033736 | 0.00084533 | -0.0033735 | -0.00084539 | 8.7583e-08 | -6.1343e-08 | 0.0050642 | 0.0050642 | 0.0050642 | 0.99127 | -0.167 | 0.99124 | -0.16754 | 1.3913
73 | 0.0041698 | 0.0010447 | -0.0041696 | -0.0010448 | 2.469e-07 | -5.7947e-08 | 0.0062641 | 0.0062641 | 0.0062641 | 0.99052 | -0.18141 | 0.99045 | -0.18265 | 1.7209
74 | 0.069191 | 0.017452 | -0.069117 | -0.017405 | 7.3845e-05 | 4.7027e-05 | 0.10398 | 0.10398 | 0.10398 | 0.99052 | -0.18141 | 0.98936 | -0.20373 | 28.5666
75 | 0.0018353 | 0.00045989 | -0.0018353 | -0.00045997 | 2.2388e-08 | -8.7054e-08 | 0.0027551 | 0.0027551 | 0.0027551 | 0.99124 | -0.16754 | 0.99123 | -0.1678 | 0.75691
76 | -0.011432 | -0.002865 | 0.011432 | 0.0028654 | 7.3611e-07 | 3.8641e-07 | 0.017222 | 0.017222 | 0.017222 | 0.98769 | -0.23624 | 0.98776 | -0.23489 | 4.7314
77 | -0.014158 | -0.0035485 | 0.014163 | 0.0035515 | 5.1504e-06 | 2.9096e-06 | 0.021329 | 0.021328 | 0.021329 | 0.98776 | -0.23489 | 0.98815 | -0.22725 | 5.8595
78 | -0.014163 | -0.0035515 | 0.014165 | 0.0035524 | 1.7157e-06 | 9.6917e-07 | 0.021328 | 0.021328 | 0.021328 | 0.98815 | -0.22725 | 0.98828 | -0.22471 | 5.8595
79 | -0.019654 | -0.0049282 | 0.019666 | 0.0049351 | 1.1415e-05 | 6.8598e-06 | 0.029594 | 0.029594 | 0.029594 | 0.98828 | -0.22471 | 0.98891 | -0.21253 | 8.1302
80 | 0.047364 | 0.011936 | -0.047326 | -0.011912 | 3.835e-05 | 2.4286e-05 | 0.071293 | 0.071293 | 0.071293 | 0.98891 | -0.21253 | 0.98803 | -0.22947 | 19.5859
81 | -0.06703 | -0.016871 | 0.067058 | 0.016889 | 2.8223e-05 | 1.7968e-05 | 0.10089 | 0.10089 | 0.10089 | 0.98891 | -0.21253 | 0.98936 | -0.20373 | 27.716
82 | 0.033381 | 0.0084169 | -0.033381 | -0.0084168 | 1.615e-07 | 1.0118e-07 | 0.050292 | 0.050292 | 0.050292 | 0.98803 | -0.22947 | 0.98803 | -0.22957 | 13.8164
83 | 0.031393 | 0.0079184 | -0.031362 | -0.007899 | 3.113e-05 | 1.9448e-05 | 0.047297 | 0.047297 | 0.047297 | 0.98803 | -0.22957 | 0.98696 | -0.25031 | 12.9937
84 | 0.031362 | 0.007899 | -0.031341 | -0.007886 | 2.0729e-05 | 1.2951e-05 | 0.047297 | 0.047297 | 0.047297 | 0.98696 | -0.25031 | 0.98625 | -0.26414 | 12.9937
85 | 0.0017628 | 0.0004416 | -0.0017628 | -0.00044179 | 4.3822e-08 | -1.8639e-07 | 0.0026483 | 0.0026484 | 0.0026484 | 0.99045 | -0.18265 | 0.99043 | -0.18317 | 0.72757
86 | 0.031341 | 0.007886 | -0.031336 | -0.0078832 | 4.5392e-06 | 2.8361e-06 | 0.047297 | 0.047297 | 0.047297 | 0.98625 | -0.26414 | 0.98609 | -0.26717 | 12.9937
87 | 0.027575 | 0.0069405 | -0.02755 | -0.0069253 | 2.4515e-05 | 1.5209e-05 | 0.041621 | 0.041621 | 0.041621 | 0.98609 | -0.26717 | 0.98513 | -0.28579 | 11.4344
88 | 0.021827 | 0.0054909 | -0.021801 | -0.0054749 | 2.6267e-05 | 1.5992e-05 | 0.032977 | 0.032977 | 0.032977 | 0.98513 | -0.28579 | 0.98384 | -0.31101 | 9.0596
89 | 0.021801 | 0.0054749 | -0.021797 | -0.0054728 | 3.4885e-06 | 2.124e-06 | 0.032977 | 0.032977 | 0.032977 | 0.98384 | -0.31101 | 0.98367 | -0.31437 | 9.0596
90 | 0.021797 | 0.0054728 | -0.02177 | -0.005456 | 2.7488e-05 | 1.6738e-05 | 0.032977 | 0.032977 | 0.032977 | 0.98367 | -0.31437 | 0.98231 | -0.34084 | 9.0597

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46684 | 0.11888

## res_load
| p_mw | q_mvar
0 | 0.0039742 | 0.00099604
1 | 0.001656 | 0.00041503
2 | 0.0017088 | 0.00042825
3 | 0.015104 | 0.0037853
4 | 0.006217 | 0.0015581
5 | 0.0048276 | 0.0012099
6 | 0.011409 | 0.0028594
7 | 0.003846 | 0.0009639
8 | 0.0082535 | 0.0020685
9 | 0.0078627 | 0.0019706
10 | 0.010251 | 0.002569
11 | 0.0012192 | 0.00030556
12 | 0.004079 | 0.0010223
13 | 0.0039594 | 0.00099231
14 | 0.013296 | 0.0033324
15 | 0.0018938 | 0.00047462
16 | 0.0074901 | 0.0018772
17 | 0.0025326 | 0.00063472
18 | 0.0062359 | 0.0015629
19 | 0.0038452 | 0.00096369
20 | 0.0040146 | 0.0010061
21 | 0.017808 | 0.004463
22 | 0.03443 | 0.008629
23 | 0.0020929 | 0.00052453
24 | 0.0019134 | 0.00047954
25 | 0.010053 | 0.0025194
26 | 0.001456 | 0.00036492
27 | 0.0024625 | 0.00061717
28 | 0.0079771 | 0.0019993
29 | 0.0080717 | 0.002023
30 | 0.018172 | 0.0045543
31 | 0.025066 | 0.006282
32 | 0.0266 | 0.0066667
33 | 0.0016815 | 0.00042143
34 | 0.0015547 | 0.00038964
35 | 0.0014085 | 0.00035301
36 | 0.0077554 | 0.0019437
37 | 0.0021263 | 0.0005329
38 | 0.030864 | 0.0077353
39 | 0.0016139 | 0.00040448
40 | 0.0055358 | 0.0013874
41 | 0.0076712 | 0.0019226
42 | 0.0046438 | 0.0011639
43 | 0.0015918 | 0.00039895
44 | 0.0065896 | 0.0016515
45 | 0.0015382 | 0.00038551
46 | 0.0043409 | 0.0010879
47 | 0.011432 | 0.002865
48 | 0.0027257 | 0.00068313
49 | 0.0054896 | 0.0013758
50 | 0.013945 | 0.0034948
51 | 0.0020586 | 0.00051593
52 | 0.0019885 | 0.00049836
53 | 0.0024068 | 0.0006032
54 | 0.0017628 | 0.00044179
55 | 0.0037615 | 0.00094272
56 | 0.0057232 | 0.0014344
57 | 0.025631 | 0.0064238
58 | 0.0018353 | 0.00045997
59 | 0.02177 | 0.005456

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1