## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-93_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-93_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-93_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-93_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1630-93_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-93_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1630-93_0_6_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1630-93_0_6_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1630-93_0_6_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_1630-93_0_6_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1630-93_0_6_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1630-93_0_6_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_1630-93_0_6_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1630-93_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1630-93_0_6_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1630-93_0_6_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1630-93_0_6_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1630-93_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1630-93_0_6_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1630-93_0_6_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_1630-93_0_6_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_1630-93_0_6_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_1630-93_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1630-93_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1630-93_0_6_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_1630-93_0_6_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_1630-93_0_6_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_1630-93_0_6_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1630-93_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1630-93_0_6_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1630-93_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1630-93_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1630-93_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1630-93_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1630-93_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1630-93_0_6_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1630-93_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1630-93_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1630-93_0_6_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1630-93_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1630-93_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1630-93_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1630-93_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1630-93_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1630-93_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1630-93_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1630-93_0_6_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_1630-93_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1630-93_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1630-93_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1630-93_0_6_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1630-93_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1630-93_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1630-93_0_6_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1630-93_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1630-93_0_6_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1630-93_0_6_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_1630-93_0_6_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1630-93_0_6_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1630-93_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1630-93_0_6_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1630-93_0_6_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_1630-93_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1630-93_0_6_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_1630-93_0_6_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_1630-93_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_1630-93_0_6_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_1630-93_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_1630-93_0_6_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1630-93_0_6_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1630-93_0_6_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_1630-93_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_1630-93_0_6_node_71 | 0.4 | n |  | TRUE
73 | bus_MV_225_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-93_0_6_load_0 | 0 | 0.017378 | 0.0043554 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-93_0_6_load_4 | 3 | 0.0067682 | 0.0016963 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-93_0_6_load_5 | 4 | 0.0020004 | 0.00050136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-93_0_6_load_6 | 5 | 0.0026713 | 0.00066948 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-93_0_6_load_35 | 8 | 0.0024747 | 0.00062023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-93_0_6_load_29 | 9 | 0.011682 | 0.0029278 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-93_0_6_load_41 | 12 | 0.0079134 | 0.0019833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-93_0_6_load_15 | 14 | 0.018175 | 0.004555 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-93_0_6_load_7 | 19 | 0.013576 | 0.0034025 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-93_0_6_load_8 | 20 | 0.013631 | 0.0034163 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-93_0_6_load_11 | 22 | 0.0030132 | 0.00075519 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-93_0_6_load_12 | 23 | 0.0030106 | 0.00075452 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-93_0_6_load_44 | 24 | 0.0029934 | 0.00075023 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-93_0_6_load_46 | 25 | 0.0030197 | 0.0007568 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-93_0_6_load_47 | 27 | 0.0029968 | 0.00075106 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-93_0_6_load_13 | 28 | 0.0032954 | 0.00082591 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-93_0_6_load_31 | 29 | 0.0029095 | 0.00072918 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-93_0_6_load_17 | 30 | 0.008371 | 0.002098 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-93_0_6_load_22 | 34 | 0.00077732 | 0.00019482 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-93_0_6_load_36 | 36 | 0.01466 | 0.0036742 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-93_0_6_load_23 | 37 | 0.012996 | 0.003257 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-93_0_6_load_39 | 38 | 0.010381 | 0.0026017 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-93_0_6_load_37 | 40 | 0.023847 | 0.0059765 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-93_0_6_load_25 | 41 | 0.039918 | 0.010004 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-93_0_6_load_26 | 42 | 0.016035 | 0.0040187 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-93_0_6_load_28 | 44 | 0.030708 | 0.0076963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-93_0_6_load_32 | 45 | 0.030657 | 0.0076834 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-93_0_6_load_73 | 46 | 0.012372 | 0.0031007 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-93_0_6_load_40 | 47 | 0.0066178 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-93_0_6_load_43 | 49 | 0.0066507 | 0.0016668 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-93_0_6_load_51 | 50 | 0.006681 | 0.0016744 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-93_0_6_load_50 | 51 | 0.0066703 | 0.0016717 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-93_0_6_load_49 | 52 | 0.0066424 | 0.0016647 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-93_0_6_load_48 | 53 | 0.0038842 | 0.00097348 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-93_0_6_load_52 | 54 | 0.010887 | 0.0027286 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-93_0_6_load_60 | 56 | 0.0025158 | 0.00063051 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-93_0_6_load_54 | 57 | 0.0077747 | 0.0019485 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-93_0_6_load_67 | 59 | 0.0048748 | 0.0012217 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-93_0_6_load_63 | 60 | 0.0074326 | 0.0018628 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-93_0_6_load_55 | 61 | 0.011362 | 0.0028477 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-93_0_6_load_57 | 64 | 0.0037072 | 0.00092911 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-93_0_6_load_58 | 65 | 0.0024983 | 0.00062614 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-93_0_6_load_59 | 66 | 0.0074197 | 0.0018596 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-93_0_6_load_66 | 67 | 0.0066328 | 0.0016623 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-93_0_6_load_69 | 69 | 0.016395 | 0.0041089 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-93_0_6_load_72 | 70 | 0.044817 | 0.011232 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-93_0_6_load_70 | 71 | 0.015754 | 0.0039482 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-93_0_6_line_0 |  | 0 | 1 | 0.0066978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-93_0_6_line_1 |  | 0 | 2 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-93_0_6_line_2 |  | 1 | 3 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-93_0_6_line_3 |  | 2 | 4 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1630-93_0_6_line_4 |  | 2 | 5 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1630-93_0_6_line_5 |  | 4 | 9 | 0.0018064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1630-93_0_6_line_6 |  | 5 | 10 | 0.059553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1630-93_0_6_line_7 |  | 6 | 7 | 0.028789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1630-93_0_6_line_8 |  | 6 | 8 | 0.023307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1630-93_0_6_line_9 |  | 7 | 11 | 0.021762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1630-93_0_6_line_10 |  | 7 | 12 | 0.010748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-93_0_6_line_11 |  | 7 | 13 | 0.027999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-93_0_6_line_12 |  | 8 | 14 | 0.0012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1630-93_0_6_line_13 |  | 9 | 16 | 0.020586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1630-93_0_6_line_14 |  | 10 | 18 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1630-93_0_6_line_15 |  | 11 | 46 | 0.019181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1630-93_0_6_line_16 |  | 12 | 47 | 0.0058559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1630-93_0_6_line_17 |  | 13 | 20 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-93_0_6_line_18 |  | 14 | 17 | 0.023424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1630-93_0_6_line_19 |  | 15 | 16 | 0.021117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1630-93_0_6_line_20 |  | 15 | 17 | 0.028433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1630-93_0_6_line_21 |  | 16 | 29 | 0.017564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-93_0_6_line_22 |  | 17 | 28 | 0.0071095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-93_0_6_line_23 |  | 18 | 34 | 0.016259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-93_0_6_line_24 |  | 18 | 31 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1630-93_0_6_line_25 |  | 19 | 20 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-93_0_6_line_26 |  | 21 | 22 | 0.0058182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-93_0_6_line_27 |  | 21 | 23 | 0.0070052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-93_0_6_line_28 |  | 22 | 24 | 0.005749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-93_0_6_line_29 |  | 23 | 25 | 0.0057637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-93_0_6_line_30 |  | 24 | 26 | 0.00096551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-93_0_6_line_31 |  | 25 | 27 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-93_0_6_line_32 |  | 26 | 52 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-93_0_6_line_33 |  | 27 | 53 | 0.0058095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-93_0_6_line_34 |  | 30 | 31 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1630-93_0_6_line_35 |  | 30 | 32 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1630-93_0_6_line_36 |  | 32 | 33 | 0.0043161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1630-93_0_6_line_37 |  | 33 | 35 | 0.043258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1630-93_0_6_line_38 |  | 33 | 36 | 0.017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-93_0_6_line_39 |  | 34 | 37 | 0.0063789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-93_0_6_line_40 |  | 35 | 38 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-93_0_6_line_41 |  | 35 | 39 | 0.042947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1630-93_0_6_line_42 |  | 36 | 40 | 0.008206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-93_0_6_line_43 |  | 39 | 45 | 0.050634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1630-93_0_6_line_44 |  | 41 | 42 | 0.021564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-93_0_6_line_45 |  | 41 | 43 | 0.0083115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-93_0_6_line_46 |  | 43 | 44 | 0.027282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-93_0_6_line_47 |  | 44 | 45 | 0.031257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-93_0_6_line_48 |  | 46 | 72 | 0.010266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1630-93_0_6_line_49 |  | 47 | 48 | 0.010674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1630-93_0_6_line_50 |  | 48 | 49 | 0.0019834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1630-93_0_6_line_51 |  | 49 | 50 | 0.0057017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-93_0_6_line_52 |  | 50 | 51 | 0.012743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1630-93_0_6_line_53 |  | 51 | 52 | 0.0057128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1630-93_0_6_line_54 |  | 54 | 55 | 0.011056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-93_0_6_line_55 |  | 54 | 56 | 0.26581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-93_0_6_line_56 |  | 55 | 57 | 0.0326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1630-93_0_6_line_57 |  | 57 | 61 | 0.052054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1630-93_0_6_line_58 |  | 58 | 59 | 0.010767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1630-93_0_6_line_59 |  | 58 | 60 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1630-93_0_6_line_60 |  | 60 | 63 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-93_0_6_line_61 |  | 60 | 61 | 0.1349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1630-93_0_6_line_62 |  | 61 | 62 | 0.030069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-93_0_6_line_63 |  | 62 | 64 | 0.0086468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-93_0_6_line_64 |  | 62 | 65 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-93_0_6_line_65 |  | 63 | 67 | 0.012412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-93_0_6_line_66 |  | 64 | 66 | 0.010769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-93_0_6_line_67 |  | 67 | 68 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-93_0_6_line_68 |  | 68 | 69 | 0.013253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-93_0_6_line_69 |  | 69 | 70 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-93_0_6_line_70 |  | 70 | 71 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-93_0_6_line_71 |  | 71 | 72 | 0.013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-93_0_6_trafo_3 | 0.63 MVA 20/0.4 kV | 73 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2723115.8187 | 1219048.5541 | 2723115.6201 | 1219055.2489
1 | 2723115.192 | 1219069.6799 | 2723115.6201 | 1219055.2489
2 | 2723115.8187 | 1219048.5541 | 2723095.0403 | 1219048.004
3 | 2723115.192 | 1219069.6799 | 2723094.9069 | 1219068.9221
4 | 2723115.192 | 1219069.6799 | 2723114.8169 | 1219082.3154 | 2723122.481 | 1219082.673
5 | 2723094.9069 | 1219068.9221 | 2723093.1017 | 1219068.8546
6 | 2723181.6083 | 1219087.3888 | 2723142.687 | 1219085.9053 | 2723133.2237 | 1219083.1742 | 2723122.481 | 1219082.673
7 | 2723116.7514 | 1219017.0376 | 2723117.204 | 1219001.7572 | 2723117.3768 | 1218988.2614
8 | 2723116.7514 | 1219017.0376 | 2723093.456 | 1219016.3007
9 | 2723117.3768 | 1218988.2614 | 2723139.2026 | 1218988.268
10 | 2723117.3768 | 1218988.2614 | 2723117.4502 | 1218984.3487 | 2723117.5003 | 1218980.8248 | 2723117.3775 | 1218977.5167
11 | 2723089.2957 | 1218988.2478 | 2723117.3768 | 1218988.2614
12 | 2723092.216 | 1219016.2615 | 2723093.456 | 1219016.3007
13 | 2723072.5303 | 1219068.0861 | 2723093.1017 | 1219068.8546
14 | 2723177.2438 | 1219097.2618 | 2723181.6083 | 1219087.3888
15 | 2723139.2026 | 1218988.268 | 2723138.9972 | 1218971.773 | 2723138.5612 | 1218969.1235
16 | 2723116.7682 | 1218971.7043 | 2723117.276 | 1218974.7821 | 2723117.3775 | 1218977.5167
17 | 2723089.2957 | 1218988.2478 | 2723089.3611 | 1218980.3096 | 2723089.1691 | 1218977.1143 | 2723088.444 | 1218973.9968 | 2723087.913 | 1218972.7382
18 | 2723070.2901 | 1219018.9125 | 2723073.1055 | 1219015.657 | 2723092.216 | 1219016.2615
19 | 2723069.7025 | 1219047.3337 | 2723070.1081 | 1219060.0298 | 2723072.5303 | 1219068.0861
20 | 2723069.7025 | 1219047.3337 | 2723070.2901 | 1219018.9125
21 | 2723072.5303 | 1219068.0861 | 2723056.6915 | 1219070.4275 | 2723055.3881 | 1219071.2711
22 | 2723070.2901 | 1219018.9125 | 2723063.5631 | 1219016.6118
23 | 2723177.2438 | 1219097.2618 | 2723192.1584 | 1219103.736
24 | 2723172.744 | 1219107.4434 | 2723177.2438 | 1219097.2618
25 | 2723077.4548 | 1218962.2381 | 2723078.0017 | 1218962.4276 | 2723080.8168 | 1218963.9648 | 2723083.3341 | 1218965.9516 | 2723085.4863 | 1218968.3424 | 2723087.1992 | 1218971.0466 | 2723087.913 | 1218972.7382
26 | 2723075.6661 | 1218932.1891 | 2723079.3222 | 1218932.7094 | 2723081.3712 | 1218933.2737
27 | 2723075.6661 | 1218932.1891 | 2723073.3121 | 1218931.8513 | 2723068.6857 | 1218931.7726
28 | 2723081.3712 | 1218933.2737 | 2723085.1724 | 1218934.3204 | 2723086.8401 | 1218935.0144
29 | 2723062.9481 | 1218932.222 | 2723067.2485 | 1218931.7482 | 2723068.6857 | 1218931.7726
30 | 2723086.8401 | 1218935.0144 | 2723087.7316 | 1218935.3853
31 | 2723062.9481 | 1218932.222 | 2723061.2145 | 1218932.413 | 2723055.3169 | 1218933.8256 | 2723050.6286 | 1218935.6044
32 | 2723087.7316 | 1218935.3853 | 2723090.7647 | 1218936.66 | 2723096.0242 | 1218939.671 | 2723097.9805 | 1218941.1509
33 | 2723050.6286 | 1218935.6044 | 2723049.647 | 1218935.9768 | 2723045.4404 | 1218938.2036
34 | 2723172.744 | 1219107.4434 | 2723168.5731 | 1219116.8981
35 | 2723161.0434 | 1219133.9667 | 2723168.5731 | 1219116.8981
36 | 2723159.2917 | 1219137.9114 | 2723160.0323 | 1219136.2365 | 2723161.0434 | 1219133.9667
37 | 2723159.2917 | 1219137.9114 | 2723141.8097 | 1219177.4921
38 | 2723159.2917 | 1219137.9114 | 2723175.3883 | 1219144.3424
39 | 2723198.0098 | 1219106.276 | 2723192.1584 | 1219103.736
40 | 2723141.8097 | 1219177.4921 | 2723155.2553 | 1219183.4261
41 | 2723116.932 | 1219196.2482 | 2723130.6035 | 1219202.8804 | 2723141.8097 | 1219177.4921
42 | 2723183.0086 | 1219147.3869 | 2723175.3883 | 1219144.3424
43 | 2723116.932 | 1219196.2482 | 2723133.5206 | 1219158.7395 | 2723124.6817 | 1219154.9402
44 | 2723113.7428 | 1219163.7637 | 2723114.4399 | 1219162.2145 | 2723096.3372 | 1219154.0331
45 | 2723091.2508 | 1219147.7685 | 2723094.6894 | 1219153.2883 | 2723096.3372 | 1219154.0331
46 | 2723091.2508 | 1219147.7685 | 2723099.6936 | 1219141.8383 | 2723103.5378 | 1219133.9894 | 2723106.4811 | 1219134.0947 | 2723111.2775 | 1219136.3009
47 | 2723124.6817 | 1219154.9402 | 2723110.6912 | 1219148.9267 | 2723115.1891 | 1219138.1 | 2723111.2775 | 1219136.3009
48 | 2723136.3058 | 1218959.1186 | 2723137.9452 | 1218965.3796 | 2723138.5612 | 1218969.1235
49 | 2723113.8694 | 1218961.4679 | 2723114.551 | 1218963.0165 | 2723116.2911 | 1218968.8126 | 2723116.7682 | 1218971.7043
50 | 2723113.8694 | 1218961.4679 | 2723113.0642 | 1218959.6554
51 | 2723110.3777 | 1218954.6386 | 2723112.0994 | 1218957.4838 | 2723113.0642 | 1218959.6554
52 | 2723110.3777 | 1218954.6386 | 2723108.9649 | 1218952.3039 | 2723105.1987 | 1218947.5668 | 2723102.3639 | 1218944.798
53 | 2723097.9805 | 1218941.1509 | 2723100.8604 | 1218943.3294 | 2723102.3639 | 1218944.798
54 | 2723011.6947 | 1218754.5402 | 2723008.4659 | 1218743.9666
55 | 2723008.4659 | 1218743.9666 | 2722998.7777 | 1218478.3356
56 | 2723011.6947 | 1218754.5402 | 2723015.2738 | 1218754.3807 | 2723028.1408 | 1218749.6649 | 2723032.5084 | 1218749.555 | 2723036.8444 | 1218750.612 | 2723039.657 | 1218751.9044 | 2723041.6876 | 1218753.2029 | 2723042.108 | 1218753.801 | 2723042.1139 | 1218754.046
57 | 2723063.0612 | 1218775.0455 | 2723058.3857 | 1218775.076 | 2723038.3141 | 1218775.3728 | 2723036.3123 | 1218775.2536 | 2723034.7281 | 1218774.765 | 2723033.7616 | 1218773.7776 | 2723033.114 | 1218772.0517 | 2723033.415 | 1218769.9785 | 2723034.4697 | 1218767.0647 | 2723041.701 | 1218755.8608 | 2723042.1285 | 1218754.6465 | 2723042.1139 | 1218754.046
58 | 2723050.883 | 1218912.1726 | 2723044.3411 | 1218914.2725 | 2723040.763 | 1218915.8143
59 | 2723050.883 | 1218912.1726 | 2723057.525 | 1218910.742 | 2723064.2677 | 1218909.9473 | 2723064.6843 | 1218909.9389
60 | 2723077.8338 | 1218910.3279 | 2723071.0651 | 1218909.8099 | 2723064.6843 | 1218909.9389
61 | 2723064.6843 | 1218909.9389 | 2723063.0612 | 1218775.0455
62 | 2723087.665 | 1218762.3486 | 2723085.4908 | 1218763.5935 | 2723083.9503 | 1218765.0295 | 2723078.052 | 1218773.0806 | 2723076.2505 | 1218774.2888 | 2723074.3384 | 1218774.9721 | 2723063.0612 | 1218775.0455
63 | 2723087.665 | 1218762.3486 | 2723090.2378 | 1218761.6568 | 2723096.0131 | 1218760.0952
64 | 2723087.665 | 1218762.3486 | 2723083.0196 | 1218759.3725 | 2723081.9812 | 1218749.9671
65 | 2723077.8338 | 1218910.3279 | 2723086.6813 | 1218912.0119 | 2723089.9189 | 1218913.0682
66 | 2723106.5683 | 1218758.0463 | 2723099.9032 | 1218759.0433 | 2723096.0131 | 1218760.0952
67 | 2723103.3595 | 1218918.6617 | 2723095.2326 | 1218914.8019 | 2723089.9189 | 1218913.0682
68 | 2723103.3595 | 1218918.6617 | 2723110.807 | 1218923.4304 | 2723114.1911 | 1218926.2574
69 | 2723123.6063 | 1218935.56 | 2723117.5907 | 1218929.0973 | 2723114.1911 | 1218926.2574
70 | 2723123.6063 | 1218935.56 | 2723128.838 | 1218942.8516 | 2723130.7707 | 1218946.4372
71 | 2723136.3058 | 1218959.1186 | 2723133.0931 | 1218950.7457 | 2723130.7707 | 1218946.4372

## bus_geodata
| x | y | coords
0 | 2723115.6201 | 1219055.2489
1 | 2723115.8187 | 1219048.5541
2 | 2723115.192 | 1219069.6799
3 | 2723095.0403 | 1219048.004
4 | 2723094.9069 | 1219068.9221
5 | 2723122.481 | 1219082.673
6 | 2723116.7514 | 1219017.0376
7 | 2723117.3768 | 1218988.2614
8 | 2723093.456 | 1219016.3007
9 | 2723093.1017 | 1219068.8546
10 | 2723181.6083 | 1219087.3888
11 | 2723139.2026 | 1218988.268
12 | 2723117.3775 | 1218977.5167
13 | 2723089.2957 | 1218988.2478
14 | 2723092.216 | 1219016.2615
15 | 2723069.7025 | 1219047.3337
16 | 2723072.5303 | 1219068.0861
17 | 2723070.2901 | 1219018.9125
18 | 2723177.2438 | 1219097.2618
19 | 2723077.4548 | 1218962.2381
20 | 2723087.913 | 1218972.7382
21 | 2723075.6661 | 1218932.1891
22 | 2723081.3712 | 1218933.2737
23 | 2723068.6857 | 1218931.7726
24 | 2723086.8401 | 1218935.0144
25 | 2723062.9481 | 1218932.222
26 | 2723087.7316 | 1218935.3853
27 | 2723050.6286 | 1218935.6044
28 | 2723063.5631 | 1219016.6118
29 | 2723055.3881 | 1219071.2711
30 | 2723168.5731 | 1219116.8981
31 | 2723172.744 | 1219107.4434
32 | 2723161.0434 | 1219133.9667
33 | 2723159.2917 | 1219137.9114
34 | 2723192.1584 | 1219103.736
35 | 2723141.8097 | 1219177.4921
36 | 2723175.3883 | 1219144.3424
37 | 2723198.0098 | 1219106.276
38 | 2723155.2553 | 1219183.4261
39 | 2723116.932 | 1219196.2482
40 | 2723183.0086 | 1219147.3869
41 | 2723096.3372 | 1219154.0331
42 | 2723113.7428 | 1219163.7637
43 | 2723091.2508 | 1219147.7685
44 | 2723111.2775 | 1219136.3009
45 | 2723124.6816 | 1219154.9402
46 | 2723138.5612 | 1218969.1235
47 | 2723116.7682 | 1218971.7043
48 | 2723113.8694 | 1218961.4679
49 | 2723113.0642 | 1218959.6554
50 | 2723110.3777 | 1218954.6386
51 | 2723102.3639 | 1218944.798
52 | 2723097.9805 | 1218941.1509
53 | 2723045.4404 | 1218938.2036
54 | 2723008.4659 | 1218743.9666
55 | 2723011.6947 | 1218754.5402
56 | 2722998.7777 | 1218478.3356
57 | 2723042.1139 | 1218754.046
58 | 2723050.883 | 1218912.1726
59 | 2723040.763 | 1218915.8143
60 | 2723064.6843 | 1218909.9389
61 | 2723063.0612 | 1218775.0455
62 | 2723087.665 | 1218762.3486
63 | 2723077.8338 | 1218910.3279
64 | 2723096.0131 | 1218760.0952
65 | 2723081.9812 | 1218749.9671
66 | 2723106.5683 | 1218758.0463
67 | 2723089.9189 | 1218913.0682
68 | 2723103.3595 | 1218918.6617
69 | 2723114.1911 | 1218926.2574
70 | 2723123.6063 | 1218935.56
71 | 2723130.7707 | 1218946.4372
72 | 2723136.3058 | 1218959.1186
73 | 2723117.3768 | 1218988.2614

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98956 | -0.19836 | 0.017378 | 0.0043554
1 | 0.98952 | -0.19917 | 0 | 0
2 | 0.98988 | -0.19216 | 0 | 0
3 | 0.98939 | -0.20167 | 0.0067682 | 0.0016963
4 | 0.99123 | -0.16629 | 0.0020004 | 0.00050136
5 | 0.98868 | -0.2152 | 0.0026713 | 0.00066948
6 | 1 | 0 | -0.50542 | -0.12869
7 | 0.99788 | -0.040525 | 0 | 0
8 | 0.99816 | -0.034695 | 0.0024747 | 0.00062023
9 | 0.99135 | -0.16397 | 0.011682 | 0.0029278
10 | 0.98521 | -0.28211 | 0 | 0
11 | 0.99685 | -0.060159 | 0 | 0
12 | 0.99729 | -0.051838 | 0.0079134 | 0.0019833
13 | 0.99719 | -0.053869 | 0 | 0
14 | 0.99806 | -0.036527 | 0.018175 | 0.004555
15 | 0.99432 | -0.10735 | 0 | 0
16 | 0.99281 | -0.13616 | 0 | 0
17 | 0.99636 | -0.068701 | 0 | 0
18 | 0.98458 | -0.29428 | 0 | 0
19 | 0.99661 | -0.064994 | 0.013576 | 0.0034025
20 | 0.9968 | -0.061363 | 0.013631 | 0.0034163
21 | 0.99541 | -0.088169 | 0 | 0
22 | 0.99547 | -0.086848 | 0.0030132 | 0.00075519
23 | 0.99532 | -0.08976 | 0.0030106 | 0.00075452
24 | 0.99556 | -0.085237 | 0.0029934 | 0.00075023
25 | 0.99527 | -0.090764 | 0.0030197 | 0.0007568
26 | 0.99557 | -0.084916 | 0 | 0
27 | 0.99519 | -0.092317 | 0.0029968 | 0.00075106
28 | 0.99634 | -0.069112 | 0.0032954 | 0.00082591
29 | 0.99276 | -0.13706 | 0.0029095 | 0.00072918
30 | 0.98342 | -0.31677 | 0.008371 | 0.002098
31 | 0.98397 | -0.30594 | 0 | 0
32 | 0.98245 | -0.33542 | 0 | 0
33 | 0.98223 | -0.33974 | 0 | 0
34 | 0.98437 | -0.29831 | 0.00077732 | 0.00019482
35 | 0.98052 | -0.37306 | 0 | 0
36 | 0.98162 | -0.3518 | 0.01466 | 0.0036742
37 | 0.98429 | -0.2998 | 0.012996 | 0.003257
38 | 0.98038 | -0.37583 | 0.010381 | 0.0026017
39 | 0.97895 | -0.40356 | 0 | 0
40 | 0.98143 | -0.35534 | 0.023847 | 0.0059765
41 | 0.9718 | -0.54409 | 0.039918 | 0.010004
42 | 0.97148 | -0.55048 | 0.016035 | 0.0040187
43 | 0.97223 | -0.53552 | 0 | 0
44 | 0.97366 | -0.50741 | 0.030708 | 0.0076963
45 | 0.97618 | -0.45773 | 0.030657 | 0.0076834
46 | 0.99595 | -0.077497 | 0.012372 | 0.0031007
47 | 0.99701 | -0.057195 | 0.0066178 | 0.0016586
48 | 0.99657 | -0.065727 | 0 | 0
49 | 0.99649 | -0.067313 | 0.0066507 | 0.0016668
50 | 0.99629 | -0.071208 | 0.006681 | 0.0016744
51 | 0.99591 | -0.078423 | 0.0066703 | 0.0016717
52 | 0.99578 | -0.08099 | 0.0066424 | 0.0016647
53 | 0.99517 | -0.092714 | 0.0038842 | 0.00097348
54 | 0.98174 | -0.35252 | 0.010887 | 0.0027286
55 | 0.98187 | -0.34984 | 0 | 0
56 | 0.98112 | -0.36464 | 0.0025158 | 0.00063051
57 | 0.98228 | -0.34193 | 0.0077747 | 0.0019485
58 | 0.98898 | -0.21159 | 0 | 0
59 | 0.98893 | -0.21253 | 0.0048748 | 0.0012217
60 | 0.98904 | -0.21038 | 0.0074326 | 0.0018628
61 | 0.98329 | -0.32203 | 0.011362 | 0.0028477
62 | 0.98292 | -0.32942 | 0 | 0
63 | 0.98975 | -0.19666 | 0 | 0
64 | 0.98283 | -0.33116 | 0.0037072 | 0.00092911
65 | 0.98288 | -0.3301 | 0.0024983 | 0.00062614
66 | 0.98275 | -0.3326 | 0.0074197 | 0.0018596
67 | 0.99042 | -0.18375 | 0.0066328 | 0.0016623
68 | 0.9913 | -0.16689 | 0 | 0
69 | 0.99209 | -0.15159 | 0.016395 | 0.0041089
70 | 0.99309 | -0.13247 | 0.044817 | 0.011232
71 | 0.9946 | -0.10338 | 0.015754 | 0.0039482
72 | 0.9955 | -0.086045 | 0 | 0
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0067693 | 0.0016966 | -0.0067691 | -0.0016965 | 2.6024e-07 | 8.0515e-08 | 0.010179 | 0.010179 | 0.010179 | 0.98956 | -0.19836 | 0.98952 | -0.19917 | 2.7965
1 | -0.024148 | -0.006052 | 0.024155 | 0.0060564 | 7.1383e-06 | 4.3829e-06 | 0.036311 | 0.036311 | 0.036311 | 0.98956 | -0.19836 | 0.98988 | -0.19216 | 9.9755
2 | 0.0067691 | 0.0016965 | -0.0067682 | -0.0016963 | 8.0765e-07 | 2.4992e-07 | 0.010179 | 0.010179 | 0.010179 | 0.98952 | -0.19917 | 0.98939 | -0.20167 | 2.7965
3 | -0.21751 | -0.055415 | 0.21779 | 0.055589 | 0.00027181 | 0.00017318 | 0.32729 | 0.32729 | 0.32729 | 0.98988 | -0.19216 | 0.99123 | -0.16629 | 29.972
4 | 0.19336 | 0.049359 | -0.19314 | -0.049222 | 0.000215 | 0.00013682 | 0.29098 | 0.29098 | 0.29098 | 0.98988 | -0.19216 | 0.98868 | -0.2152 | 26.6469
5 | -0.21979 | -0.05609 | 0.21981 | 0.056106 | 2.4634e-05 | 1.5696e-05 | 0.3303 | 0.3303 | 0.3303 | 0.99123 | -0.16629 | 0.99135 | -0.16397 | 30.247
6 | 0.19047 | 0.048553 | -0.18986 | -0.048163 | 0.00061302 | 0.00039005 | 0.28696 | 0.28696 | 0.28696 | 0.98868 | -0.2152 | 0.98521 | -0.28211 | 26.2788
7 | 0.24351 | 0.061701 | -0.24303 | -0.061399 | 0.00047309 | 0.00030165 | 0.36258 | 0.36258 | 0.36258 | 1 | 0 | 0.99788 | -0.040525 | 33.2033
8 | 0.26026 | 0.066984 | -0.25982 | -0.066704 | 0.00043836 | 0.00027963 | 0.3879 | 0.3879 | 0.3879 | 1 | 0 | 0.99816 | -0.034695 | 35.5218
9 | 0.15561 | 0.039441 | -0.15546 | -0.039348 | 0.00014666 | 9.3009e-05 | 0.23219 | 0.23219 | 0.23219 | 0.99788 | -0.040525 | 0.99685 | -0.060159 | 21.2631
10 | 0.060191 | 0.015122 | -0.060158 | -0.015101 | 3.2479e-05 | 2.0646e-05 | 0.089768 | 0.089768 | 0.089768 | 0.99788 | -0.040525 | 0.99729 | -0.051838 | 24.6616
11 | 0.027237 | 0.0068369 | -0.02722 | -0.0068262 | 1.7323e-05 | 1.0721e-05 | 0.040619 | 0.040619 | 0.040619 | 0.99788 | -0.040525 | 0.99719 | -0.053869 | 11.1591
12 | 0.25735 | 0.066084 | -0.25733 | -0.06607 | 2.2891e-05 | 1.4601e-05 | 0.38421 | 0.38421 | 0.38421 | 0.99816 | -0.034695 | 0.99806 | -0.036527 | 35.1839
13 | -0.23149 | -0.059033 | 0.2318 | 0.059232 | 0.00031133 | 0.00019845 | 0.34783 | 0.34783 | 0.34783 | 0.99135 | -0.16397 | 0.99281 | -0.13616 | 31.8527
14 | 0.18986 | 0.048163 | -0.18975 | -0.048092 | 0.00011109 | 7.0684e-05 | 0.28696 | 0.28696 | 0.28696 | 0.98521 | -0.28211 | 0.98458 | -0.29428 | 26.2788
15 | 0.15546 | 0.039348 | -0.15533 | -0.039266 | 0.00012927 | 8.1982e-05 | 0.23219 | 0.23219 | 0.23219 | 0.99685 | -0.060159 | 0.99595 | -0.077497 | 21.2631
16 | 0.052245 | 0.013118 | -0.052232 | -0.013109 | 1.3347e-05 | 8.4655e-06 | 0.077961 | 0.077961 | 0.077961 | 0.99729 | -0.051838 | 0.99701 | -0.057195 | 21.4178
17 | 0.02722 | 0.0068262 | -0.02721 | -0.0068202 | 9.7177e-06 | 6.0145e-06 | 0.040619 | 0.040619 | 0.040619 | 0.99719 | -0.053869 | 0.9968 | -0.061363 | 11.1591
18 | 0.23915 | 0.061515 | -0.23878 | -0.061277 | 0.00037341 | 0.00023806 | 0.35711 | 0.35711 | 0.35711 | 0.99806 | -0.036527 | 0.99636 | -0.068701 | 32.7026
19 | 0.23504 | 0.06017 | -0.23471 | -0.059961 | 0.00032742 | 0.00020873 | 0.35219 | 0.35219 | 0.35219 | 0.99432 | -0.10735 | 0.99281 | -0.13616 | 32.252
20 | -0.23504 | -0.06017 | 0.23548 | 0.060451 | 0.00044085 | 0.00028103 | 0.35219 | 0.35219 | 0.35219 | 0.99432 | -0.10735 | 0.99636 | -0.068701 | 32.252
21 | 0.0029096 | 0.00072903 | -0.0029095 | -0.00072918 | 1.2525e-07 | -1.4695e-07 | 0.0043608 | 0.0043609 | 0.0043609 | 0.99281 | -0.13616 | 0.99276 | -0.13706 | 1.198
22 | 0.0032955 | 0.00082586 | -0.0032954 | -0.00082591 | 6.4579e-08 | -5.1261e-08 | 0.0049216 | 0.0049217 | 0.0049217 | 0.99636 | -0.068701 | 0.99634 | -0.069112 | 1.3521
23 | 0.013776 | 0.0034538 | -0.013774 | -0.0034523 | 2.6433e-06 | 1.485e-06 | 0.020821 | 0.020821 | 0.020821 | 0.98458 | -0.29428 | 0.98437 | -0.29831 | 5.7201
24 | 0.17597 | 0.044638 | -0.17587 | -0.044575 | 9.8537e-05 | 6.2639e-05 | 0.26614 | 0.26614 | 0.26614 | 0.98458 | -0.29428 | 0.98397 | -0.30594 | 24.3721
25 | -0.013576 | -0.0034025 | 0.013579 | 0.0034039 | 2.3493e-06 | 1.3049e-06 | 0.020271 | 0.02027 | 0.020271 | 0.99661 | -0.064994 | 0.9968 | -0.061363 | 5.5688
26 | -0.012913 | -0.0032368 | 0.012914 | 0.0032372 | 8.1304e-07 | 4.4471e-07 | 0.019304 | 0.019304 | 0.019304 | 0.99541 | -0.088169 | 0.99547 | -0.086848 | 5.3033
27 | 0.012913 | 0.0032368 | -0.012912 | -0.0032362 | 9.7892e-07 | 5.3545e-07 | 0.019304 | 0.019304 | 0.019304 | 0.99541 | -0.088169 | 0.99532 | -0.08976 | 5.3033
28 | -0.015927 | -0.0039924 | 0.015929 | 0.0039931 | 1.222e-06 | 7.0734e-07 | 0.023808 | 0.023808 | 0.023808 | 0.99547 | -0.086848 | 0.99556 | -0.085237 | 6.5407
29 | 0.0099017 | 0.0024817 | -0.0099012 | -0.0024815 | 4.7364e-07 | 2.2822e-07 | 0.014803 | 0.014803 | 0.014803 | 0.99532 | -0.08976 | 0.99527 | -0.090764 | 4.0668
30 | -0.018922 | -0.0047433 | 0.018922 | 0.0047435 | 2.8961e-07 | 1.728e-07 | 0.028282 | 0.028282 | 0.028282 | 0.99556 | -0.085237 | 0.99557 | -0.084916 | 7.7698
31 | 0.0068816 | 0.0017247 | -0.006881 | -0.0017245 | 5.0901e-07 | 1.5914e-07 | 0.010289 | 0.010289 | 0.010289 | 0.99527 | -0.090764 | 0.99519 | -0.092317 | 2.8265
32 | -0.018922 | -0.0047435 | 0.018926 | 0.0047456 | 3.5405e-06 | 2.1124e-06 | 0.028282 | 0.028282 | 0.028282 | 0.99557 | -0.084916 | 0.99578 | -0.08099 | 7.7698
33 | 0.0038843 | 0.00097345 | -0.0038842 | -0.00097348 | 7.3484e-08 | -2.8454e-08 | 0.0058078 | 0.0058078 | 0.0058078 | 0.99519 | -0.092317 | 0.99517 | -0.092714 | 1.5956
34 | -0.17578 | -0.044517 | 0.17587 | 0.044575 | 9.1495e-05 | 5.8164e-05 | 0.26614 | 0.26614 | 0.26614 | 0.98342 | -0.31677 | 0.98397 | -0.30594 | 24.3721
35 | 0.16741 | 0.042419 | -0.16726 | -0.042324 | 0.00014983 | 9.5182e-05 | 0.25348 | 0.25348 | 0.25348 | 0.98342 | -0.31677 | 0.98245 | -0.33542 | 23.2122
36 | 0.16726 | 0.042324 | -0.16723 | -0.042302 | 3.4664e-05 | 2.2021e-05 | 0.25348 | 0.25348 | 0.25348 | 0.98245 | -0.33542 | 0.98223 | -0.33974 | 23.2122
37 | 0.12869 | 0.032635 | -0.12849 | -0.032505 | 0.00020582 | 0.00013009 | 0.1951 | 0.1951 | 0.1951 | 0.98223 | -0.33974 | 0.98052 | -0.37306 | 17.8663
38 | 0.038533 | 0.0096671 | -0.038511 | -0.0096532 | 2.2153e-05 | 1.3959e-05 | 0.058378 | 0.058378 | 0.058378 | 0.98223 | -0.33974 | 0.98162 | -0.3518 | 16.038
39 | 0.012997 | 0.0032575 | -0.012996 | -0.003257 | 9.2328e-07 | 5.0982e-07 | 0.019646 | 0.019646 | 0.019646 | 0.98437 | -0.29831 | 0.98429 | -0.2998 | 5.3973
40 | 0.010382 | 0.0026024 | -0.010381 | -0.0026017 | 1.3682e-06 | 6.9031e-07 | 0.015756 | 0.015756 | 0.015756 | 0.98052 | -0.37306 | 0.98038 | -0.37583 | 4.3286
41 | 0.11811 | 0.029903 | -0.11793 | -0.029794 | 0.00017267 | 0.00010889 | 0.17934 | 0.17934 | 0.17934 | 0.98052 | -0.37306 | 0.97895 | -0.40356 | 16.4235
42 | 0.023851 | 0.005979 | -0.023847 | -0.0059765 | 4.0226e-06 | 2.4708e-06 | 0.036155 | 0.036155 | 0.036155 | 0.98162 | -0.3518 | 0.98143 | -0.35534 | 9.9328
43 | 0.11793 | 0.029794 | -0.11763 | -0.029599 | 0.00030537 | 0.00019417 | 0.17934 | 0.17935 | 0.17935 | 0.97895 | -0.40356 | 0.97618 | -0.45773 | 24.6353
44 | 0.01604 | 0.0040216 | -0.016035 | -0.0040187 | 4.878e-06 | 2.8548e-06 | 0.02456 | 0.024561 | 0.024561 | 0.9718 | -0.54409 | 0.97148 | -0.55048 | 6.7474
45 | -0.055958 | -0.014026 | 0.055981 | 0.01404 | 2.2882e-05 | 1.4542e-05 | 0.085683 | 0.085683 | 0.085683 | 0.9718 | -0.54409 | 0.97223 | -0.53552 | 23.5392
46 | -0.055981 | -0.01404 | 0.056056 | 0.014088 | 7.5109e-05 | 4.7731e-05 | 0.085683 | 0.085683 | 0.085683 | 0.97223 | -0.53552 | 0.97366 | -0.50741 | 23.5392
47 | -0.086764 | -0.021784 | 0.08697 | 0.021916 | 0.00020614 | 0.00013154 | 0.13261 | 0.13261 | 0.13261 | 0.97366 | -0.50741 | 0.97618 | -0.45773 | 36.4323
48 | 0.14296 | 0.036165 | -0.1429 | -0.036128 | 5.861e-05 | 3.711e-05 | 0.21371 | 0.21371 | 0.21371 | 0.99595 | -0.077497 | 0.9955 | -0.086045 | 19.5704
49 | 0.045614 | 0.011451 | -0.045595 | -0.011439 | 1.8555e-05 | 1.1736e-05 | 0.068084 | 0.068084 | 0.068084 | 0.99701 | -0.057195 | 0.99657 | -0.065727 | 18.7044
50 | 0.045595 | 0.011439 | -0.045592 | -0.011437 | 3.4477e-06 | 2.1807e-06 | 0.068084 | 0.068084 | 0.068084 | 0.99657 | -0.065727 | 0.99649 | -0.067313 | 18.7044
51 | 0.038941 | 0.0097699 | -0.038934 | -0.0097654 | 7.2307e-06 | 4.5534e-06 | 0.058153 | 0.058153 | 0.058153 | 0.99649 | -0.067313 | 0.99629 | -0.071208 | 15.976
52 | 0.032253 | 0.0080909 | -0.032242 | -0.008084 | 1.109e-05 | 6.9319e-06 | 0.048174 | 0.048174 | 0.048174 | 0.99629 | -0.071208 | 0.99591 | -0.078423 | 13.2347
53 | 0.025571 | 0.0064123 | -0.025568 | -0.0064103 | 3.1274e-06 | 1.9272e-06 | 0.038208 | 0.038208 | 0.038208 | 0.99591 | -0.078423 | 0.99578 | -0.08099 | 10.4967
54 | -0.013404 | -0.0033566 | 0.013406 | 0.0033576 | 1.7111e-06 | 9.5532e-07 | 0.020316 | 0.020316 | 0.020316 | 0.98174 | -0.35252 | 0.98187 | -0.34984 | 5.5813
55 | 0.0025172 | 0.00062808 | -0.0025158 | -0.00063051 | 1.4507e-06 | -2.4304e-06 | 0.0038143 | 0.0038155 | 0.0038155 | 0.98174 | -0.35252 | 0.98112 | -0.36464 | 1.0482
56 | -0.013406 | -0.0033576 | 0.013411 | 0.0033604 | 5.0457e-06 | 2.8167e-06 | 0.020316 | 0.020316 | 0.020316 | 0.98187 | -0.34984 | 0.98228 | -0.34193 | 5.5813
57 | -0.021186 | -0.0053089 | 0.021206 | 0.0053211 | 2.0105e-05 | 1.2208e-05 | 0.032093 | 0.032093 | 0.032093 | 0.98228 | -0.34193 | 0.98329 | -0.32203 | 8.8168
58 | 0.004875 | 0.0012217 | -0.0048748 | -0.0012217 | 2.1723e-07 | 8.7496e-10 | 0.0073349 | 0.007335 | 0.007335 | 0.98898 | -0.21159 | 0.98893 | -0.21253 | 2.0151
59 | -0.004875 | -0.0012217 | 0.0048753 | 0.0012217 | 2.8246e-07 | 1.1148e-09 | 0.0073349 | 0.0073349 | 0.0073349 | 0.98898 | -0.21159 | 0.98904 | -0.21038 | 2.0151
60 | -0.058755 | -0.014828 | 0.058794 | 0.014852 | 3.8625e-05 | 2.4551e-05 | 0.088434 | 0.088433 | 0.088434 | 0.98904 | -0.21038 | 0.98975 | -0.19666 | 24.2949
61 | 0.046447 | 0.011743 | -0.0462 | -0.011587 | 0.00024729 | 0.00015655 | 0.069916 | 0.069917 | 0.069917 | 0.98904 | -0.21038 | 0.98329 | -0.32203 | 19.208
62 | 0.013631 | 0.003418 | -0.013627 | -0.0034153 | 4.7986e-06 | 2.6898e-06 | 0.020629 | 0.020629 | 0.020629 | 0.98329 | -0.32203 | 0.98292 | -0.32942 | 5.6674
63 | 0.011128 | 0.0027893 | -0.011127 | -0.0027888 | 9.2031e-07 | 4.7941e-07 | 0.016847 | 0.016847 | 0.016847 | 0.98292 | -0.32942 | 0.98283 | -0.33116 | 4.6283
64 | 0.0024984 | 0.000626 | -0.0024983 | -0.00062614 | 8.0358e-08 | -1.3843e-07 | 0.0037822 | 0.0037823 | 0.0037823 | 0.98292 | -0.32942 | 0.98288 | -0.3301 | 1.0391
65 | -0.058794 | -0.014852 | 0.05883 | 0.014876 | 3.64e-05 | 2.3136e-05 | 0.088433 | 0.088433 | 0.088433 | 0.98975 | -0.19666 | 0.99042 | -0.18375 | 24.2949
66 | 0.0074202 | 0.0018597 | -0.0074197 | -0.0018596 | 5.0969e-07 | 1.8974e-07 | 0.011234 | 0.011234 | 0.011234 | 0.98283 | -0.33116 | 0.98275 | -0.3326 | 3.0864
67 | -0.065463 | -0.016538 | 0.065516 | 0.016572 | 5.2961e-05 | 3.3707e-05 | 0.098399 | 0.098399 | 0.098399 | 0.99042 | -0.18375 | 0.9913 | -0.16689 | 27.0326
68 | -0.065516 | -0.016572 | 0.065564 | 0.016602 | 4.8119e-05 | 3.0625e-05 | 0.098399 | 0.098398 | 0.098399 | 0.9913 | -0.16689 | 0.99209 | -0.15159 | 27.0326
69 | -0.081959 | -0.020711 | 0.082034 | 0.020759 | 7.5209e-05 | 4.7962e-05 | 0.12299 | 0.12299 | 0.12299 | 0.99209 | -0.15159 | 0.99309 | -0.13247 | 33.7881
70 | -0.12685 | -0.031991 | 0.12703 | 0.032104 | 0.00017689 | 0.00011304 | 0.19014 | 0.19014 | 0.19014 | 0.99309 | -0.13247 | 0.9946 | -0.10338 | 52.2364
71 | -0.14278 | -0.036052 | 0.1429 | 0.036128 | 0.00011871 | 7.5616e-05 | 0.21371 | 0.21371 | 0.21371 | 0.9946 | -0.10338 | 0.9955 | -0.086045 | 29.3557

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50542 | 0.12869

## res_load
| p_mw | q_mvar
0 | 0.017378 | 0.0043554
1 | 0.0067682 | 0.0016963
2 | 0.0020004 | 0.00050136
3 | 0.0026713 | 0.00066948
4 | 0.0024747 | 0.00062023
5 | 0.011682 | 0.0029278
6 | 0.0079134 | 0.0019833
7 | 0.018175 | 0.004555
8 | 0.013576 | 0.0034025
9 | 0.013631 | 0.0034163
10 | 0.0030132 | 0.00075519
11 | 0.0030106 | 0.00075452
12 | 0.0029934 | 0.00075023
13 | 0.0030197 | 0.0007568
14 | 0.0029968 | 0.00075106
15 | 0.0032954 | 0.00082591
16 | 0.0029095 | 0.00072918
17 | 0.008371 | 0.002098
18 | 0.00077732 | 0.00019482
19 | 0.01466 | 0.0036742
20 | 0.012996 | 0.003257
21 | 0.010381 | 0.0026017
22 | 0.023847 | 0.0059765
23 | 0.039918 | 0.010004
24 | 0.016035 | 0.0040187
25 | 0.030708 | 0.0076963
26 | 0.030657 | 0.0076834
27 | 0.012372 | 0.0031007
28 | 0.0066178 | 0.0016586
29 | 0.0066507 | 0.0016668
30 | 0.006681 | 0.0016744
31 | 0.0066703 | 0.0016717
32 | 0.0066424 | 0.0016647
33 | 0.0038842 | 0.00097348
34 | 0.010887 | 0.0027286
35 | 0.0025158 | 0.00063051
36 | 0.0077747 | 0.0019485
37 | 0.0048748 | 0.0012217
38 | 0.0074326 | 0.0018628
39 | 0.011362 | 0.0028477
40 | 0.0037072 | 0.00092911
41 | 0.0024983 | 0.00062614
42 | 0.0074197 | 0.0018596
43 | 0.0066328 | 0.0016623
44 | 0.016395 | 0.0041089
45 | 0.044817 | 0.011232
46 | 0.015754 | 0.0039482

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1