## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1630-94_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1630-94_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1630-94_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1630-94_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1630-94_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1630-94_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1630-94_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1630-94_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1630-94_0_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1630-94_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1630-94_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1630-94_0_4_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1630-94_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1630-94_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1630-94_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1630-94_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1630-94_0_4_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_1630-94_0_4_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_1630-94_0_4_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_1630-94_0_4_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_1630-94_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1630-94_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1630-94_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1630-94_0_4_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_1630-94_0_4_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1630-94_0_4_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_1630-94_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1630-94_0_4_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_1630-94_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_1630-94_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_1630-94_0_4_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1630-94_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_1630-94_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_1630-94_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1630-94_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1630-94_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1630-94_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1630-94_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1630-94_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1630-94_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1630-94_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1630-94_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1630-94_0_4_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_1630-94_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1630-94_0_4_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_1630-94_0_4_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_1630-94_0_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1630-94_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1630-94_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_1630-94_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_1630-94_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_1630-94_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_1630-94_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_1630-94_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_1630-94_0_4_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_1630-94_0_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_1630-94_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_1630-94_0_4_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_1630-94_0_4_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_1630-94_0_4_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_1630-94_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_1630-94_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_1630-94_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_1630-94_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_1630-94_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_1630-94_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_1630-94_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_1630-94_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_1630-94_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_1630-94_0_4_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_1630-94_0_4_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_1630-94_0_4_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_1630-94_0_4_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_1630-94_0_4_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_1630-94_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_1630-94_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_1630-94_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_1630-94_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_1630-94_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_1630-94_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_1630-94_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_1630-94_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_1630-94_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_1630-94_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_MV_54_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1630-94_0_4_load_0 | 0 | 0.0065013 | 0.0016294 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1630-94_0_4_load_5 | 4 | 0.0079437 | 0.0019909 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1630-94_0_4_load_12 | 6 | 0.0048787 | 0.0012227 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1630-94_0_4_load_6 | 7 | 0.0077929 | 0.0019531 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1630-94_0_4_load_38 | 8 | 0.0082153 | 0.002059 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1630-94_0_4_load_10 | 10 | 0.0070653 | 0.0017707 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1630-94_0_4_load_7 | 12 | 0.0069929 | 0.0017526 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1630-94_0_4_load_9 | 14 | 0.0056981 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1630-94_0_4_load_72 | 16 | 0.0070299 | 0.0017619 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1630-94_0_4_load_69 | 17 | 0.0041299 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1630-94_0_4_load_85 | 18 | 0.0037933 | 0.0009507 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1630-94_0_4_load_70 | 19 | 0.016496 | 0.0041343 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1630-94_0_4_load_14 | 20 | 0.0080627 | 0.0020207 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1630-94_0_4_load_65 | 23 | 0.0025639 | 0.00064258 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1630-94_0_4_load_73 | 25 | 0.005056 | 0.0012671 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1630-94_0_4_load_32 | 26 | 0.004923 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1630-94_0_4_load_58 | 29 | 0.011138 | 0.0027914 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1630-94_0_4_load_55 | 31 | 0.035306 | 0.0088485 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1630-94_0_4_load_19 | 33 | 0.0075607 | 0.0018949 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1630-94_0_4_load_22 | 36 | 0.0083307 | 0.0020879 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1630-94_0_4_load_24 | 38 | 0.0049333 | 0.0012364 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1630-94_0_4_load_25 | 39 | 0.012337 | 0.0030918 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1630-94_0_4_load_41 | 41 | 0.0073796 | 0.0018495 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1630-94_0_4_load_83 | 42 | 0.010033 | 0.0025144 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1630-94_0_4_load_88 | 44 | 0.0033804 | 0.0008472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1630-94_0_4_load_67 | 45 | 0.0023783 | 0.00059605 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1630-94_0_4_load_46 | 47 | 0.0097866 | 0.0024528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1630-94_0_4_load_26 | 48 | 0.0069003 | 0.0017294 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1630-94_0_4_load_31 | 53 | 0.0060437 | 0.0015147 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1630-94_0_4_load_84 | 54 | 0.017972 | 0.0045042 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1630-94_0_4_load_75 | 56 | 0.012046 | 0.0030189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1630-94_0_4_load_86 | 57 | 0.0065464 | 0.0016407 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1630-94_0_4_load_74 | 58 | 0.024272 | 0.0060832 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1630-94_0_4_load_33 | 59 | 0.0046589 | 0.0011676 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1630-94_0_4_load_34 | 60 | 0.0038001 | 0.00095241 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1630-94_0_4_load_36 | 62 | 0.0070179 | 0.0017588 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1630-94_0_4_load_37 | 63 | 0.0096914 | 0.0024289 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1630-94_0_4_load_50 | 64 | 0.011416 | 0.002861 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1630-94_0_4_load_51 | 66 | 0.0070432 | 0.0017652 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1630-94_0_4_load_47 | 67 | 0.0063429 | 0.0015897 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1630-94_0_4_load_87 | 70 | 0.0075833 | 0.0019006 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1630-94_0_4_load_43 | 71 | 0.0067677 | 0.0016962 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1630-94_0_4_load_45 | 73 | 0.023574 | 0.0059083 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1630-94_0_4_load_79 | 75 | 0.0025497 | 0.00063902 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1630-94_0_4_load_52 | 76 | 0.01474 | 0.0036942 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1630-94_0_4_load_62 | 78 | 0.0032197 | 0.00080693 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1630-94_0_4_load_63 | 79 | 0.022157 | 0.005553 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1630-94_0_4_load_68 | 80 | 0.004588 | 0.0011499 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1630-94_0_4_load_76 | 82 | 0.030909 | 0.0077464 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1630-94_0_4_load_78 | 83 | 0.034914 | 0.0087504 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1630-94_0_4_line_0 |  | 0 | 1 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1630-94_0_4_line_1 |  | 0 | 2 | 0.012511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1630-94_0_4_line_2 |  | 1 | 3 | 0.008481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1630-94_0_4_line_3 |  | 2 | 4 | 0.013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1630-94_0_4_line_4 |  | 2 | 5 | 0.029581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1630-94_0_4_line_5 |  | 3 | 6 | 0.018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1630-94_0_4_line_6 |  | 4 | 8 | 0.0029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1630-94_0_4_line_7 |  | 5 | 7 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1630-94_0_4_line_8 |  | 6 | 9 | 0.01234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1630-94_0_4_line_9 |  | 8 | 11 | 0.0057928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1630-94_0_4_line_10 |  | 9 | 10 | 0.0017562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1630-94_0_4_line_11 |  | 10 | 13 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1630-94_0_4_line_12 |  | 11 | 69 | 0.004051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1630-94_0_4_line_13 |  | 12 | 13 | 0.010213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1630-94_0_4_line_14 |  | 12 | 14 | 0.0034891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1630-94_0_4_line_15 |  | 13 | 15 | 0.006488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1630-94_0_4_line_16 |  | 15 | 16 | 0.0080647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1630-94_0_4_line_17 |  | 15 | 17 | 0.010235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1630-94_0_4_line_18 |  | 16 | 18 | 0.0055372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1630-94_0_4_line_19 |  | 17 | 19 | 0.0036489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1630-94_0_4_line_20 |  | 18 | 57 | 0.00555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1630-94_0_4_line_21 |  | 19 | 81 | 0.0075989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1630-94_0_4_line_22 |  | 20 | 21 | 0.064436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1630-94_0_4_line_23 |  | 21 | 22 | 0.033313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1630-94_0_4_line_24 |  | 22 | 23 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1630-94_0_4_line_25 |  | 23 | 30 | 0.0046258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1630-94_0_4_line_26 |  | 24 | 25 | 0.01015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1630-94_0_4_line_27 |  | 24 | 26 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1630-94_0_4_line_28 |  | 26 | 49 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1630-94_0_4_line_29 |  | 27 | 28 | 0.026465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1630-94_0_4_line_30 |  | 27 | 29 | 0.01623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1630-94_0_4_line_31 |  | 28 | 70 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1630-94_0_4_line_32 |  | 29 | 53 | 0.030389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1630-94_0_4_line_33 |  | 30 | 80 | 0.013038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1630-94_0_4_line_34 |  | 30 | 45 | 0.00073115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1630-94_0_4_line_35 |  | 31 | 32 | 0.024828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1630-94_0_4_line_36 |  | 32 | 76 | 0.0063966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1630-94_0_4_line_37 |  | 33 | 34 | 0.0038539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1630-94_0_4_line_38 |  | 33 | 35 | 0.015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1630-94_0_4_line_39 |  | 34 | 36 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1630-94_0_4_line_40 |  | 34 | 37 | 0.008648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1630-94_0_4_line_41 |  | 35 | 38 | 0.020788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1630-94_0_4_line_42 |  | 35 | 39 | 0.00929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1630-94_0_4_line_43 |  | 37 | 40 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1630-94_0_4_line_44 |  | 37 | 41 | 0.027944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1630-94_0_4_line_45 |  | 38 | 42 | 0.0026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1630-94_0_4_line_46 |  | 39 | 43 | 0.030313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1630-94_0_4_line_47 |  | 40 | 44 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1630-94_0_4_line_48 |  | 40 | 45 | 0.006925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1630-94_0_4_line_49 |  | 43 | 46 | 0.008486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1630-94_0_4_line_50 |  | 43 | 47 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1630-94_0_4_line_51 |  | 46 | 74 | 0.014565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1630-94_0_4_line_52 |  | 46 | 54 | 0.012339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_1630-94_0_4_line_53 |  | 47 | 72 | 0.030553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1630-94_0_4_line_54 |  | 48 | 49 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1630-94_0_4_line_55 |  | 49 | 53 | 0.01843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1630-94_0_4_line_56 |  | 50 | 51 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1630-94_0_4_line_57 |  | 50 | 52 | 0.019882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_1630-94_0_4_line_58 |  | 51 | 54 | 0.012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_1630-94_0_4_line_59 |  | 52 | 55 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_1630-94_0_4_line_60 |  | 52 | 56 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1630-94_0_4_line_61 |  | 55 | 57 | 0.016937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_1630-94_0_4_line_62 |  | 56 | 58 | 0.0043108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1630-94_0_4_line_63 |  | 59 | 60 | 0.00365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1630-94_0_4_line_64 |  | 59 | 61 | 0.0089113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1630-94_0_4_line_65 |  | 61 | 62 | 0.019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1630-94_0_4_line_66 |  | 61 | 63 | 0.0083883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1630-94_0_4_line_67 |  | 62 | 64 | 0.013086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1630-94_0_4_line_68 |  | 63 | 65 | 0.018933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1630-94_0_4_line_69 |  | 64 | 66 | 0.0044229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1630-94_0_4_line_70 |  | 65 | 67 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1630-94_0_4_line_71 |  | 65 | 68 | 0.001518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1630-94_0_4_line_72 |  | 67 | 72 | 0.017476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1630-94_0_4_line_73 |  | 68 | 78 | 0.010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1630-94_0_4_line_74 |  | 68 | 77 | 0.015688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1630-94_0_4_line_75 |  | 69 | 70 | 0.010581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1630-94_0_4_line_76 |  | 71 | 72 | 0.017484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1630-94_0_4_line_77 |  | 71 | 73 | 0.010256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1630-94_0_4_line_78 |  | 74 | 75 | 0.004756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1630-94_0_4_line_79 |  | 75 | 83 | 0.037699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1630-94_0_4_line_80 |  | 76 | 77 | 0.013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1630-94_0_4_line_81 |  | 78 | 79 | 0.0144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1630-94_0_4_line_82 |  | 81 | 82 | 0.0058686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1630-94_0_4_trafo_84 | 0.63 MVA 20/0.4 kV | 84 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2722841.7547 | 1219319.0419 | 2722832.4153 | 1219322.7738
1 | 2722820.7972 | 1219327.4163 | 2722832.4153 | 1219322.7738
2 | 2722849.8081 | 1219316.506 | 2722846.976 | 1219316.9034 | 2722841.7547 | 1219319.0419
3 | 2722820.7972 | 1219327.4163 | 2722817.6456 | 1219329.3195 | 2722815.6864 | 1219331.5587 | 2722814.4973 | 1219333.6358 | 2722812.4541 | 1219337.2069
4 | 2722820.7972 | 1219327.4163 | 2722815.779 | 1219306.0962 | 2722813.5622 | 1219298.7448
5 | 2722849.8081 | 1219316.506 | 2722852.3655 | 1219316.5476 | 2722855.9792 | 1219317.2671 | 2722867.9277 | 1219320.4524
6 | 2722812.4541 | 1219337.2069 | 2722810.9793 | 1219339.7847
7 | 2722813.5622 | 1219298.7448 | 2722801.8461 | 1219298.1473 | 2722798.5115 | 1219298.473
8 | 2722879.8512 | 1219323.6311 | 2722867.9277 | 1219320.4524
9 | 2722808.1027 | 1219344.8127 | 2722810.9793 | 1219339.7847
10 | 2722879.8512 | 1219323.6311 | 2722879.9412 | 1219325.385
11 | 2722880.8636 | 1219343.3563 | 2722879.9412 | 1219325.385
12 | 2722806.0868 | 1219348.3295 | 2722808.1027 | 1219344.8127
13 | 2722880.8636 | 1219343.3563 | 2722870.6556 | 1219343.6678
14 | 2722867.1681 | 1219343.7742 | 2722870.6556 | 1219343.6678
15 | 2722881.1929 | 1219349.8348 | 2722880.8636 | 1219343.3563
16 | 2722881.1929 | 1219349.8348 | 2722881.0824 | 1219357.8988
17 | 2722881.1929 | 1219349.8348 | 2722891.346 | 1219348.5452
18 | 2722881.0824 | 1219357.8988 | 2722881.0065 | 1219363.4355
19 | 2722891.346 | 1219348.5452 | 2722894.9658 | 1219348.0854
20 | 2722881.0065 | 1219363.4355 | 2722880.9304 | 1219368.9849
21 | 2722902.5041 | 1219347.1279 | 2722894.9658 | 1219348.0854
22 | 2722790.815 | 1219497.2978 | 2722797.8445 | 1219525.9874 | 2722804.1347 | 1219545.6213 | 2722805.4933 | 1219550.4086 | 2722808.3924 | 1219559.2499
23 | 2722784.3152 | 1219464.6383 | 2722787.841 | 1219484.7045 | 2722790.815 | 1219497.2978
24 | 2722784.3152 | 1219464.6383 | 2722799.7383 | 1219471.0245
25 | 2722804.2011 | 1219472.1207 | 2722802.7996 | 1219471.9806 | 2722801.0471 | 1219471.5664 | 2722799.7383 | 1219471.0245
26 | 2722802.928 | 1219433.0083 | 2722806.0996 | 1219442.6496
27 | 2722802.928 | 1219433.0083 | 2722814.7006 | 1219429.1035
28 | 2722827.3256 | 1219424.9161 | 2722814.7006 | 1219429.1035
29 | 2722783.0692 | 1219392.9232 | 2722786.3011 | 1219384.55 | 2722793.4323 | 1219368.5733
30 | 2722783.0692 | 1219392.9232 | 2722793.0193 | 1219394.852 | 2722799.113 | 1219394.7524
31 | 2722793.4323 | 1219368.5733 | 2722800.478 | 1219357.302
32 | 2722799.113 | 1219394.7524 | 2722813.469 | 1219394.5177 | 2722816.4885 | 1219399.7508 | 2722820.2792 | 1219402.5644 | 2722822.3717 | 1219407.3998
33 | 2722804.9477 | 1219484.8683 | 2722803.2097 | 1219477.1264 | 2722804.2011 | 1219472.1207
34 | 2722804.2011 | 1219472.1207 | 2722804.9312 | 1219472.0822
35 | 2722956.1228 | 1219564.5822 | 2722931.8926 | 1219569.9982
36 | 2722956.1228 | 1219564.5822 | 2722953.8093 | 1219558.6187
37 | 2722835.2638 | 1219465.1112 | 2722839.073 | 1219464.5258
38 | 2722854.2103 | 1219462.1996 | 2722839.073 | 1219464.5258
39 | 2722829.0031 | 1219440.3739 | 2722835.2638 | 1219465.1112
40 | 2722826.8689 | 1219467.2842 | 2722835.2638 | 1219465.1112
41 | 2722854.2103 | 1219462.1996 | 2722848.8786 | 1219442.1072
42 | 2722854.2103 | 1219462.1996 | 2722863.4079 | 1219460.8922
43 | 2722826.8689 | 1219467.2842 | 2722811.809 | 1219471.2991
44 | 2722826.8689 | 1219467.2842 | 2722833.5429 | 1219488.9165 | 2722834.8412 | 1219494.0612
45 | 2722846.2686 | 1219441.6753 | 2722848.8786 | 1219442.1072
46 | 2722893.4191 | 1219456.6261 | 2722863.4079 | 1219460.8922
47 | 2722811.809 | 1219471.2991 | 2722817.3998 | 1219488.0386
48 | 2722811.809 | 1219471.2991 | 2722806.1693 | 1219472.0168 | 2722804.9312 | 1219472.0822
49 | 2722893.4191 | 1219456.6261 | 2722891.7089 | 1219451.2199 | 2722890.861 | 1219448.5337
50 | 2722893.4191 | 1219456.6261 | 2722896.5116 | 1219466.4087 | 2722898.1138 | 1219470.7612
51 | 2722890.861 | 1219448.5337 | 2722905.3324 | 1219446.5529
52 | 2722890.861 | 1219448.5337 | 2722887.1361 | 1219436.7706
53 | 2722912.9282 | 1219497.4272 | 2722911.331 | 1219495.0034 | 2722900.1022 | 1219475.601 | 2722898.2439 | 1219471.1148 | 2722898.1138 | 1219470.7612
54 | 2722827.3256 | 1219424.9161 | 2722838.2929 | 1219421.2783
55 | 2722827.3256 | 1219424.9161 | 2722824.2571 | 1219416.9021 | 2722824.0179 | 1219411.2038 | 2722822.3717 | 1219407.3998
56 | 2722882.8899 | 1219412.5189 | 2722884.3788 | 1219424.2365
57 | 2722882.8899 | 1219412.5189 | 2722882.255 | 1219396.2041 | 2722882.5179 | 1219392.6623
58 | 2722884.3788 | 1219424.2365 | 2722885.6518 | 1219430.968 | 2722886.8417 | 1219435.8408 | 2722887.1361 | 1219436.7706
59 | 2722887.3034 | 1219383.6873 | 2722884.5749 | 1219387.156 | 2722882.8765 | 1219391.1018 | 2722882.5179 | 1219392.6623
60 | 2722882.5179 | 1219392.6623 | 2722867.3742 | 1219393.3702
61 | 2722887.3034 | 1219383.6873 | 2722884.3799 | 1219381.1584 | 2722882.7484 | 1219378.923 | 2722881.5692 | 1219376.4745 | 2722880.8627 | 1219373.9246 | 2722880.9304 | 1219368.9849
62 | 2722863.0681 | 1219393.5714 | 2722867.3742 | 1219393.3702
63 | 2722920.6996 | 1219560.3701 | 2722918.7875 | 1219557.2611
64 | 2722914.1191 | 1219549.6704 | 2722918.7875 | 1219557.2611
65 | 2722914.1191 | 1219549.6704 | 2722905.0351 | 1219544.0453 | 2722904.969 | 1219535.6852
66 | 2722914.1191 | 1219549.6704 | 2722920.9186 | 1219544.7581
67 | 2722904.969 | 1219535.6852 | 2722904.9237 | 1219529.9542 | 2722901.0259 | 1219523.7175
68 | 2722936.2658 | 1219533.6704 | 2722920.9186 | 1219544.7581
69 | 2722901.0259 | 1219523.7175 | 2722898.6818 | 1219519.9669
70 | 2722936.2658 | 1219533.6704 | 2722933.3379 | 1219528.417 | 2722922.5402 | 1219512.0219
71 | 2722937.0051 | 1219534.9978 | 2722936.2658 | 1219533.6704
72 | 2722912.9282 | 1219497.4272 | 2722922.5402 | 1219512.0219
73 | 2722937.0051 | 1219534.9978 | 2722946.8136 | 1219531.7875
74 | 2722945.9082 | 1219547.9139 | 2722940.5471 | 1219540.6531 | 2722937.8251 | 1219536.4603 | 2722937.0051 | 1219534.9978
75 | 2722806.0868 | 1219348.3295 | 2722800.478 | 1219357.302
76 | 2722912.9282 | 1219497.4272 | 2722897.9159 | 1219506.3898
77 | 2722889.1102 | 1219511.647 | 2722897.9159 | 1219506.3898
78 | 2722910.0596 | 1219445.9166 | 2722905.3324 | 1219446.5529
79 | 2722910.0596 | 1219445.9166 | 2722908.4004 | 1219435.0961 | 2722934.9152 | 1219431.5406
80 | 2722945.9082 | 1219547.9139 | 2722953.8093 | 1219558.6187
81 | 2722946.8136 | 1219531.7875 | 2722960.4996 | 1219527.3082
82 | 2722902.5041 | 1219347.1279 | 2722908.326 | 1219346.3894

## bus_geodata
| x | y | coords
0 | 2722832.4153 | 1219322.7738
1 | 2722841.7547 | 1219319.0419
2 | 2722820.7972 | 1219327.4163
3 | 2722849.8081 | 1219316.506
4 | 2722812.4541 | 1219337.2069
5 | 2722813.5622 | 1219298.7448
6 | 2722867.9277 | 1219320.4524
7 | 2722798.5115 | 1219298.473
8 | 2722810.9793 | 1219339.7847
9 | 2722879.8512 | 1219323.6311
10 | 2722879.9412 | 1219325.385
11 | 2722808.1027 | 1219344.8127
12 | 2722870.6556 | 1219343.6678
13 | 2722880.8636 | 1219343.3563
14 | 2722867.1681 | 1219343.7742
15 | 2722881.1929 | 1219349.8348
16 | 2722881.0824 | 1219357.8988
17 | 2722891.346 | 1219348.5452
18 | 2722881.0065 | 1219363.4355
19 | 2722894.9658 | 1219348.0854
20 | 2722808.3924 | 1219559.2499
21 | 2722790.815 | 1219497.2978
22 | 2722784.3152 | 1219464.6383
23 | 2722799.7383 | 1219471.0245
24 | 2722802.928 | 1219433.0083
25 | 2722806.0996 | 1219442.6496
26 | 2722814.7006 | 1219429.1035
27 | 2722783.0692 | 1219392.9232
28 | 2722793.4323 | 1219368.5733
29 | 2722799.113 | 1219394.7524
30 | 2722804.2011 | 1219472.1207
31 | 2722931.8926 | 1219569.9982
32 | 2722956.1228 | 1219564.5822
33 | 2722839.073 | 1219464.5258
34 | 2722835.2638 | 1219465.1112
35 | 2722854.2103 | 1219462.1996
36 | 2722829.0031 | 1219440.3739
37 | 2722826.8689 | 1219467.2842
38 | 2722848.8786 | 1219442.1072
39 | 2722863.4079 | 1219460.8922
40 | 2722811.809 | 1219471.2991
41 | 2722834.8412 | 1219494.0612
42 | 2722846.2686 | 1219441.6753
43 | 2722893.4191 | 1219456.6261
44 | 2722817.3998 | 1219488.0386
45 | 2722804.9312 | 1219472.0822
46 | 2722890.861 | 1219448.5337
47 | 2722898.1138 | 1219470.7612
48 | 2722838.2929 | 1219421.2783
49 | 2722827.3256 | 1219424.9161
50 | 2722882.8899 | 1219412.5189
51 | 2722884.3788 | 1219424.2365
52 | 2722882.5179 | 1219392.6623
53 | 2722822.3717 | 1219407.3998
54 | 2722887.1361 | 1219436.7706
55 | 2722887.3034 | 1219383.6873
56 | 2722867.3742 | 1219393.3702
57 | 2722880.9304 | 1219368.9849
58 | 2722863.0681 | 1219393.5714
59 | 2722918.7875 | 1219557.2611
60 | 2722920.6996 | 1219560.3701
61 | 2722914.1191 | 1219549.6704
62 | 2722904.969 | 1219535.6852
63 | 2722920.9186 | 1219544.7581
64 | 2722901.0259 | 1219523.7175
65 | 2722936.2658 | 1219533.6704
66 | 2722898.6818 | 1219519.9669
67 | 2722922.5402 | 1219512.0219
68 | 2722937.0051 | 1219534.9978
69 | 2722806.0868 | 1219348.3295
70 | 2722800.478 | 1219357.302
71 | 2722897.9159 | 1219506.3898
72 | 2722912.9282 | 1219497.4272
73 | 2722889.1102 | 1219511.647
74 | 2722905.3324 | 1219446.5529
75 | 2722910.0596 | 1219445.9166
76 | 2722953.8093 | 1219558.6187
77 | 2722945.9082 | 1219547.9139
78 | 2722946.8136 | 1219531.7875
79 | 2722960.4996 | 1219527.3082
80 | 2722804.9477 | 1219484.8683
81 | 2722902.5041 | 1219347.1279
82 | 2722908.326 | 1219346.3894
83 | 2722934.9152 | 1219431.5406
84 | 2722890.861 | 1219448.5337

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98702 | -0.24946 | 0.0065013 | 0.0016294
1 | 0.98769 | -0.2365 | 0 | 0
2 | 0.98626 | -0.26416 | 0 | 0
3 | 0.98825 | -0.22558 | 0 | 0
4 | 0.98556 | -0.27781 | 0.0079437 | 0.0019909
5 | 0.98605 | -0.26829 | 0 | 0
6 | 0.98949 | -0.20166 | 0.0048787 | 0.0012227
7 | 0.98594 | -0.2704 | 0.0077929 | 0.0019531
8 | 0.98542 | -0.28046 | 0.0082153 | 0.002059
9 | 0.99036 | -0.18477 | 0 | 0
10 | 0.99049 | -0.18236 | 0.0070653 | 0.0017707
11 | 0.9852 | -0.28479 | 0 | 0
12 | 0.99176 | -0.15783 | 0.0069929 | 0.0017526
13 | 0.99188 | -0.15553 | 0 | 0
14 | 0.99174 | -0.15818 | 0.0056981 | 0.0014281
15 | 0.99246 | -0.14442 | 0 | 0
16 | 0.99301 | -0.13384 | 0.0070299 | 0.0017619
17 | 0.99197 | -0.15375 | 0.0041299 | 0.0010351
18 | 0.9934 | -0.12624 | 0.0037933 | 0.0009507
19 | 0.99182 | -0.15682 | 0.016496 | 0.0041343
20 | 0.99277 | -0.13895 | 0.0080627 | 0.0020207
21 | 0.99325 | -0.12977 | 0 | 0
22 | 0.99349 | -0.12502 | 0 | 0
23 | 0.99362 | -0.12264 | 0.0025639 | 0.00064258
24 | 0.98177 | -0.35183 | 0 | 0
25 | 0.98172 | -0.35275 | 0.005056 | 0.0012671
26 | 0.98182 | -0.35069 | 0.004923 | 0.0012338
27 | 0.98339 | -0.32012 | 0 | 0
28 | 0.98422 | -0.30389 | 0 | 0
29 | 0.98288 | -0.33009 | 0.011138 | 0.0027914
30 | 0.99366 | -0.12178 | 0 | 0
31 | 0.98695 | -0.2512 | 0.035306 | 0.0088485
32 | 0.98776 | -0.23553 | 0 | 0
33 | 0.99443 | -0.10686 | 0.0075607 | 0.0018949
34 | 0.9943 | -0.10935 | 0 | 0
35 | 0.99505 | -0.094921 | 0 | 0
36 | 0.99411 | -0.1131 | 0.0083307 | 0.0020879
37 | 0.99408 | -0.11368 | 0 | 0
38 | 0.99477 | -0.1004 | 0.0049333 | 0.0012364
39 | 0.99555 | -0.085242 | 0.012337 | 0.0030918
40 | 0.99378 | -0.11943 | 0 | 0
41 | 0.99389 | -0.11731 | 0.0073796 | 0.0018495
42 | 0.99474 | -0.10087 | 0.010033 | 0.0025144
43 | 0.99753 | -0.047173 | 0 | 0
44 | 0.99373 | -0.12048 | 0.0033804 | 0.0008472
45 | 0.99367 | -0.12158 | 0.0023783 | 0.00059605
46 | 0.99845 | -0.029568 | 0 | 0
47 | 0.9964 | -0.068795 | 0.0097866 | 0.0024528
48 | 0.98187 | -0.34973 | 0.0069003 | 0.0017294
49 | 0.98195 | -0.34829 | 0 | 0
50 | 0.99772 | -0.043495 | 0 | 0
51 | 0.99881 | -0.022631 | 0 | 0
52 | 0.99588 | -0.078715 | 0 | 0
53 | 0.98223 | -0.34267 | 0.0060437 | 0.0015147
54 | 1 | 0 | -0.48216 | -0.12198
55 | 0.99509 | -0.093727 | 0 | 0
56 | 0.99537 | -0.088396 | 0.012046 | 0.0030189
57 | 0.99381 | -0.11845 | 0.0065464 | 0.0016407
58 | 0.99528 | -0.090237 | 0.024272 | 0.0060832
59 | 0.98831 | -0.22472 | 0.0046589 | 0.0011676
60 | 0.9883 | -0.22497 | 0.0038001 | 0.00095241
61 | 0.98838 | -0.22338 | 0 | 0
62 | 0.98794 | -0.23204 | 0.0070179 | 0.0017588
63 | 0.98865 | -0.2183 | 0.0096914 | 0.0024289
64 | 0.98772 | -0.23635 | 0.011416 | 0.002861
65 | 0.9894 | -0.20358 | 0 | 0
66 | 0.98769 | -0.23691 | 0.0070432 | 0.0017652
67 | 0.99221 | -0.14937 | 0.0063429 | 0.0015897
68 | 0.9893 | -0.20562 | 0 | 0
69 | 0.98504 | -0.28782 | 0 | 0
70 | 0.98464 | -0.29574 | 0.0075833 | 0.0019006
71 | 0.99373 | -0.12001 | 0.0067677 | 0.0016962
72 | 0.99422 | -0.11065 | 0 | 0
73 | 0.99351 | -0.12428 | 0.023574 | 0.0059083
74 | 0.99795 | -0.039114 | 0 | 0
75 | 0.99779 | -0.042233 | 0.0025497 | 0.00063902
76 | 0.98797 | -0.2315 | 0.01474 | 0.0036942
77 | 0.98858 | -0.21961 | 0 | 0
78 | 0.98906 | -0.21029 | 0.0032197 | 0.00080693
79 | 0.98877 | -0.21597 | 0.022157 | 0.005553
80 | 0.99361 | -0.12283 | 0.004588 | 0.0011499
81 | 0.9916 | -0.16098 | 0 | 0
82 | 0.99144 | -0.1642 | 0.030909 | 0.0077464
83 | 0.99659 | -0.065304 | 0.034914 | 0.0087504
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.072297 | -0.018194 | 0.072341 | 0.018222 | 4.4826e-05 | 2.856e-05 | 0.10902 | 0.10902 | 0.10902 | 0.98702 | -0.24946 | 0.98769 | -0.2365 | 29.9505
1 | 0.065795 | 0.016564 | -0.065749 | -0.016535 | 4.6187e-05 | 2.94e-05 | 0.099219 | 0.099219 | 0.099219 | 0.98702 | -0.24946 | 0.98626 | -0.26416 | 27.2579
2 | -0.072341 | -0.018222 | 0.072379 | 0.018246 | 3.78e-05 | 2.4083e-05 | 0.10902 | 0.10902 | 0.10902 | 0.98769 | -0.2365 | 0.98825 | -0.22558 | 29.9505
3 | 0.057954 | 0.014581 | -0.057916 | -0.014557 | 3.7761e-05 | 2.3999e-05 | 0.087458 | 0.087458 | 0.087458 | 0.98626 | -0.26416 | 0.98556 | -0.27781 | 24.0269
4 | 0.0077952 | 0.001954 | -0.0077937 | -0.0019534 | 1.5344e-06 | 6.0462e-07 | 0.011761 | 0.011761 | 0.011761 | 0.98626 | -0.26416 | 0.98605 | -0.26829 | 3.2311
5 | -0.072379 | -0.018246 | 0.072462 | 0.018299 | 8.2936e-05 | 5.2841e-05 | 0.10902 | 0.10902 | 0.10902 | 0.98825 | -0.22558 | 0.98949 | -0.20166 | 29.9505
6 | 0.049972 | 0.012566 | -0.049966 | -0.012562 | 6.3422e-06 | 4.0212e-06 | 0.075464 | 0.075464 | 0.075464 | 0.98556 | -0.27781 | 0.98542 | -0.28046 | 20.7319
7 | 0.0077937 | 0.0019534 | -0.0077929 | -0.0019531 | 7.8233e-07 | 3.0833e-07 | 0.011761 | 0.011761 | 0.011761 | 0.98605 | -0.26829 | 0.98594 | -0.2704 | 3.2311
8 | -0.077341 | -0.019522 | 0.077403 | 0.019562 | 6.2651e-05 | 3.9938e-05 | 0.11636 | 0.11636 | 0.11636 | 0.98949 | -0.20166 | 0.99036 | -0.18477 | 31.9661
9 | 0.041751 | 0.010503 | -0.041742 | -0.010498 | 8.638e-06 | 5.4545e-06 | 0.063059 | 0.063059 | 0.063059 | 0.98542 | -0.28046 | 0.9852 | -0.28479 | 17.3239
10 | -0.077403 | -0.019562 | 0.077412 | 0.019568 | 8.9163e-06 | 5.6838e-06 | 0.11636 | 0.11636 | 0.11636 | 0.99036 | -0.18477 | 0.99049 | -0.18236 | 31.966
11 | -0.084478 | -0.021338 | 0.084586 | 0.021408 | 0.00010879 | 6.9394e-05 | 0.12697 | 0.12697 | 0.12697 | 0.99049 | -0.18236 | 0.99188 | -0.15553 | 34.882
12 | 0.041742 | 0.010498 | -0.041736 | -0.010494 | 6.0407e-06 | 3.8145e-06 | 0.063059 | 0.063059 | 0.063059 | 0.9852 | -0.28479 | 0.98504 | -0.28782 | 17.3239
13 | -0.012691 | -0.0031807 | 0.012692 | 0.0031814 | 1.3886e-06 | 7.5688e-07 | 0.019041 | 0.019041 | 0.019041 | 0.99176 | -0.15783 | 0.99188 | -0.15553 | 5.2311
14 | 0.0056982 | 0.0014281 | -0.0056981 | -0.0014281 | 9.5636e-08 | 1.6184e-08 | 0.0085494 | 0.0085494 | 0.0085494 | 0.99176 | -0.15783 | 0.99174 | -0.15818 | 2.3487
15 | -0.097279 | -0.024589 | 0.097331 | 0.024622 | 5.187e-05 | 3.3113e-05 | 0.14601 | 0.14601 | 0.14601 | 0.99188 | -0.15553 | 0.99246 | -0.14442 | 40.1131
16 | -0.14891 | -0.037564 | 0.14898 | 0.037612 | 7.543e-05 | 4.8067e-05 | 0.22335 | 0.22335 | 0.22335 | 0.99246 | -0.14442 | 0.99301 | -0.13384 | 30.6793
17 | 0.051575 | 0.012942 | -0.051552 | -0.012927 | 2.2953e-05 | 1.4558e-05 | 0.077334 | 0.077334 | 0.077334 | 0.99246 | -0.14442 | 0.99197 | -0.15375 | 21.2455
18 | -0.15601 | -0.039374 | 0.15607 | 0.03941 | 5.6791e-05 | 3.6203e-05 | 0.23388 | 0.23388 | 0.23388 | 0.99301 | -0.13384 | 0.9934 | -0.12624 | 32.1263
19 | 0.047422 | 0.011892 | -0.047416 | -0.011888 | 6.9248e-06 | 4.3847e-06 | 0.071139 | 0.071139 | 0.071139 | 0.99197 | -0.15375 | 0.99182 | -0.15682 | 19.5436
20 | -0.15986 | -0.040361 | 0.15992 | 0.040399 | 5.9721e-05 | 3.8078e-05 | 0.23956 | 0.23956 | 0.23956 | 0.9934 | -0.12624 | 0.99381 | -0.11845 | 32.9068
21 | 0.03092 | 0.0077532 | -0.030913 | -0.0077494 | 6.1323e-06 | 3.8266e-06 | 0.04639 | 0.04639 | 0.04639 | 0.99182 | -0.15682 | 0.9916 | -0.16098 | 12.7445
22 | -0.0080627 | -0.0020207 | 0.0080662 | 0.0020221 | 3.5288e-06 | 1.4249e-06 | 0.012085 | 0.012084 | 0.012085 | 0.99277 | -0.13895 | 0.99325 | -0.12977 | 3.32
23 | -0.0080662 | -0.0020221 | 0.0080681 | 0.0020229 | 1.8243e-06 | 7.3629e-07 | 0.012084 | 0.012084 | 0.012084 | 0.99325 | -0.12977 | 0.99349 | -0.12502 | 3.3199
24 | -0.0080681 | -0.0020229 | 0.008069 | 0.0020232 | 9.1413e-07 | 3.6886e-07 | 0.012084 | 0.012084 | 0.012084 | 0.99349 | -0.12502 | 0.99362 | -0.12264 | 3.3199
25 | -0.010633 | -0.0026658 | 0.010633 | 0.002666 | 4.3987e-07 | 2.216e-07 | 0.015924 | 0.015924 | 0.015924 | 0.99362 | -0.12264 | 0.99366 | -0.12178 | 4.3747
26 | 0.0050562 | 0.0012672 | -0.005056 | -0.0012671 | 2.2352e-07 | 1.4717e-08 | 0.0076634 | 0.0076634 | 0.0076634 | 0.98177 | -0.35183 | 0.98172 | -0.35275 | 2.1053
27 | -0.0050562 | -0.0012672 | 0.0050565 | 0.0012672 | 2.7315e-07 | 1.7966e-08 | 0.0076634 | 0.0076633 | 0.0076634 | 0.98177 | -0.35183 | 0.98182 | -0.35069 | 2.1053
28 | -0.0099794 | -0.002501 | 0.0099806 | 0.0025016 | 1.141e-06 | 5.6199e-07 | 0.015124 | 0.015124 | 0.015124 | 0.98182 | -0.35069 | 0.98195 | -0.34829 | 4.1551
29 | -0.034097 | -0.0085584 | 0.034124 | 0.008575 | 2.6423e-05 | 1.6575e-05 | 0.051599 | 0.051599 | 0.051599 | 0.98339 | -0.32012 | 0.98422 | -0.30389 | 14.1755
30 | 0.034097 | 0.0085584 | -0.034081 | -0.0085482 | 1.6204e-05 | 1.0165e-05 | 0.051599 | 0.051599 | 0.051599 | 0.98339 | -0.32012 | 0.98288 | -0.33009 | 14.1756
31 | -0.034124 | -0.008575 | 0.034137 | 0.0085833 | 1.3271e-05 | 8.3246e-06 | 0.051599 | 0.051599 | 0.051599 | 0.98422 | -0.30389 | 0.98464 | -0.29574 | 14.1755
32 | 0.022943 | 0.0057569 | -0.02293 | -0.0057485 | 1.3751e-05 | 8.4159e-06 | 0.034737 | 0.034737 | 0.034737 | 0.98288 | -0.33009 | 0.98223 | -0.34267 | 9.5433
33 | 0.0045882 | 0.0011498 | -0.004588 | -0.0011499 | 2.3082e-07 | -2.1154e-08 | 0.0068709 | 0.0068709 | 0.0068709 | 0.99366 | -0.12178 | 0.99361 | -0.12283 | 1.8876
34 | -0.015222 | -0.0038159 | 0.015222 | 0.003816 | 1.4247e-07 | 8.1708e-08 | 0.022795 | 0.022795 | 0.022795 | 0.99366 | -0.12178 | 0.99367 | -0.12158 | 6.2623
35 | -0.035306 | -0.0088485 | 0.035332 | 0.0088651 | 2.6381e-05 | 1.6567e-05 | 0.053231 | 0.05323 | 0.053231 | 0.98695 | -0.2512 | 0.98776 | -0.23553 | 14.6238
36 | -0.035332 | -0.0088651 | 0.035339 | 0.0088694 | 6.7967e-06 | 4.268e-06 | 0.05323 | 0.05323 | 0.05323 | 0.98776 | -0.23553 | 0.98797 | -0.2315 | 14.6237
37 | 0.036711 | 0.0092085 | -0.036707 | -0.0092057 | 4.3615e-06 | 2.7414e-06 | 0.054936 | 0.054936 | 0.054936 | 0.99443 | -0.10686 | 0.9943 | -0.10935 | 15.0922
38 | -0.044272 | -0.011103 | 0.044297 | 0.011119 | 2.5206e-05 | 1.5933e-05 | 0.066249 | 0.066249 | 0.066249 | 0.99443 | -0.10686 | 0.99505 | -0.094921 | 18.2003
39 | 0.0083322 | 0.0020885 | -0.0083307 | -0.0020879 | 1.4878e-06 | 6.2132e-07 | 0.01247 | 0.01247 | 0.01247 | 0.9943 | -0.10935 | 0.99411 | -0.1131 | 3.4257
40 | 0.028375 | 0.0071172 | -0.028369 | -0.0071136 | 5.8483e-06 | 3.6308e-06 | 0.042466 | 0.042466 | 0.042466 | 0.9943 | -0.10935 | 0.99408 | -0.11368 | 11.6665
41 | 0.01497 | 0.0037532 | -0.014966 | -0.003751 | 3.907e-06 | 2.2305e-06 | 0.022387 | 0.022387 | 0.022387 | 0.99505 | -0.094921 | 0.99477 | -0.1004 | 6.1504
42 | -0.059267 | -0.014872 | 0.059295 | 0.01489 | 2.737e-05 | 1.7396e-05 | 0.088636 | 0.088636 | 0.088636 | 0.99505 | -0.094921 | 0.99555 | -0.085242 | 24.3506
43 | 0.020988 | 0.0052636 | -0.020982 | -0.0052602 | 5.7537e-06 | 3.4809e-06 | 0.031418 | 0.031418 | 0.031418 | 0.99408 | -0.11368 | 0.99378 | -0.11943 | 8.6313
44 | 0.0073809 | 0.00185 | -0.0073796 | -0.0018495 | 1.2792e-06 | 4.5644e-07 | 0.011048 | 0.011048 | 0.011048 | 0.99408 | -0.11368 | 0.99389 | -0.11731 | 3.0353
45 | 0.010033 | 0.0025146 | -0.010033 | -0.0025144 | 2.2345e-07 | 1.0866e-07 | 0.015008 | 0.015008 | 0.015008 | 0.99477 | -0.1004 | 0.99474 | -0.10087 | 4.123
46 | -0.071631 | -0.017982 | 0.071762 | 0.018065 | 0.00013033 | 8.3015e-05 | 0.10708 | 0.10708 | 0.10708 | 0.99555 | -0.085242 | 0.99753 | -0.047173 | 29.4163
47 | 0.0033805 | 0.00084708 | -0.0033804 | -0.0008472 | 1.6953e-07 | -1.2011e-07 | 0.0050617 | 0.0050618 | 0.0050618 | 0.99378 | -0.11943 | 0.99373 | -0.12048 | 1.3906
48 | 0.017602 | 0.0044131 | -0.0176 | -0.004412 | 1.8039e-06 | 1.0648e-06 | 0.026356 | 0.026356 | 0.026356 | 0.99378 | -0.11943 | 0.99367 | -0.12158 | 7.2407
49 | -0.2385 | -0.060323 | 0.2387 | 0.060452 | 0.00020161 | 0.00012881 | 0.35596 | 0.35596 | 0.35596 | 0.99753 | -0.047173 | 0.99845 | -0.029568 | 48.8962
50 | 0.16674 | 0.042258 | -0.16657 | -0.042148 | 0.00017304 | 0.00011035 | 0.24889 | 0.24889 | 0.24889 | 0.99753 | -0.047173 | 0.9964 | -0.068795 | 34.1881
51 | 0.037525 | 0.0094277 | -0.037508 | -0.009417 | 1.7087e-05 | 1.0746e-05 | 0.055933 | 0.055933 | 0.055933 | 0.99845 | -0.029568 | 0.99795 | -0.039114 | 15.3662
52 | -0.27623 | -0.069879 | 0.27662 | 0.07013 | 0.00039251 | 0.00025088 | 0.4119 | 0.4119 | 0.4119 | 0.99845 | -0.029568 | 1 | 0 | 56.5793
53 | 0.15678 | 0.039695 | -0.15646 | -0.039495 | 0.00031441 | 0.00020043 | 0.23427 | 0.23427 | 0.23427 | 0.9964 | -0.068795 | 0.99422 | -0.11065 | 32.1806
54 | -0.0069003 | -0.0017294 | 0.0069008 | 0.0017295 | 4.7385e-07 | 1.5711e-07 | 0.010457 | 0.010457 | 0.010457 | 0.98187 | -0.34973 | 0.98195 | -0.34829 | 2.8729
55 | -0.016881 | -0.0042311 | 0.016886 | 0.0042338 | 4.5228e-06 | 2.6614e-06 | 0.025582 | 0.025582 | 0.025582 | 0.98195 | -0.34829 | 0.98223 | -0.34267 | 7.0279
56 | -0.20347 | -0.051575 | 0.20367 | 0.051706 | 0.00020424 | 0.0001304 | 0.30366 | 0.30366 | 0.30366 | 0.99772 | -0.043495 | 0.99881 | -0.022631 | 41.7114
57 | 0.20347 | 0.051575 | -0.20312 | -0.051356 | 0.00034374 | 0.00021948 | 0.30366 | 0.30366 | 0.30366 | 0.99772 | -0.043495 | 0.99588 | -0.078715 | 41.7114
58 | -0.20367 | -0.051706 | 0.20389 | 0.051847 | 0.00022203 | 0.00014176 | 0.30366 | 0.30366 | 0.30366 | 0.99881 | -0.022631 | 1 | 0 | 41.7114
59 | 0.16679 | 0.042242 | -0.16667 | -0.042165 | 0.00012015 | 7.6626e-05 | 0.24936 | 0.24936 | 0.24936 | 0.99588 | -0.078715 | 0.99509 | -0.093727 | 34.2532
60 | 0.036337 | 0.009114 | -0.03632 | -0.0091034 | 1.676e-05 | 1.0529e-05 | 0.054296 | 0.054296 | 0.054296 | 0.99588 | -0.078715 | 0.99537 | -0.088396 | 14.9165
61 | 0.16667 | 0.042165 | -0.16647 | -0.042039 | 0.00019747 | 0.00012594 | 0.24936 | 0.24936 | 0.24936 | 0.99509 | -0.093727 | 0.99381 | -0.11845 | 34.2532
62 | 0.024274 | 0.0060845 | -0.024272 | -0.0060832 | 2.1288e-06 | 1.3064e-06 | 0.036289 | 0.036289 | 0.036289 | 0.99537 | -0.088396 | 0.99528 | -0.090237 | 9.9694
63 | 0.0038002 | 0.00095239 | -0.0038001 | -0.00095241 | 4.4808e-08 | -1.8095e-08 | 0.0057216 | 0.0057216 | 0.0057216 | 0.98831 | -0.22472 | 0.9883 | -0.22497 | 1.5719
64 | -0.0084591 | -0.00212 | 0.0084596 | 0.0021202 | 5.4205e-07 | 2.3271e-07 | 0.012736 | 0.012736 | 0.012736 | 0.98831 | -0.22472 | 0.98838 | -0.22338 | 3.4989
65 | 0.025491 | 0.0063939 | -0.025481 | -0.0063874 | 1.052e-05 | 6.4885e-06 | 0.038379 | 0.038379 | 0.038379 | 0.98838 | -0.22338 | 0.98794 | -0.23204 | 10.5437
66 | -0.033951 | -0.0085141 | 0.033959 | 0.0085193 | 8.2187e-06 | 5.1524e-06 | 0.051115 | 0.051115 | 0.051115 | 0.98838 | -0.22338 | 0.98865 | -0.2183 | 14.0426
67 | 0.018463 | 0.0046285 | -0.018459 | -0.0046263 | 3.7948e-06 | 2.2612e-06 | 0.027809 | 0.027809 | 0.027809 | 0.98794 | -0.23204 | 0.98772 | -0.23635 | 7.6398
68 | -0.04365 | -0.010948 | 0.043681 | 0.010968 | 3.0648e-05 | 1.9372e-05 | 0.065701 | 0.065701 | 0.065701 | 0.98865 | -0.2183 | 0.9894 | -0.20358 | 18.0498
69 | 0.0070434 | 0.0017652 | -0.0070432 | -0.0017652 | 1.8674e-07 | 6.291e-08 | 0.010611 | 0.010611 | 0.010611 | 0.98772 | -0.23635 | 0.98769 | -0.23691 | 2.9151
70 | -0.11922 | -0.029942 | 0.11953 | 0.03014 | 0.00030924 | 0.00019759 | 0.17932 | 0.17932 | 0.17932 | 0.9894 | -0.20358 | 0.99221 | -0.14937 | 49.2638
71 | 0.075537 | 0.018975 | -0.075529 | -0.01897 | 7.3486e-06 | 4.6836e-06 | 0.11362 | 0.11362 | 0.11362 | 0.9894 | -0.20358 | 0.9893 | -0.20562 | 31.214
72 | -0.12587 | -0.031729 | 0.1261 | 0.031879 | 0.00023368 | 0.00014933 | 0.18883 | 0.18883 | 0.18883 | 0.99221 | -0.14937 | 0.99422 | -0.11065 | 51.8771
73 | 0.025388 | 0.0063671 | -0.025383 | -0.0063636 | 5.6441e-06 | 3.4797e-06 | 0.038188 | 0.038188 | 0.038188 | 0.9893 | -0.20562 | 0.98906 | -0.21029 | 10.4913
74 | 0.050141 | 0.012603 | -0.050108 | -0.012582 | 3.3473e-05 | 2.1221e-05 | 0.075431 | 0.075431 | 0.075431 | 0.9893 | -0.20562 | 0.98858 | -0.21961 | 20.7227
75 | 0.041736 | 0.010494 | -0.04172 | -0.010484 | 1.5778e-05 | 9.9636e-06 | 0.063059 | 0.063059 | 0.063059 | 0.98504 | -0.28782 | 0.98464 | -0.29574 | 17.3239
76 | -0.030347 | -0.0076074 | 0.03036 | 0.0076158 | 1.3539e-05 | 8.4385e-06 | 0.045442 | 0.045442 | 0.045442 | 0.99373 | -0.12001 | 0.99422 | -0.11065 | 12.4841
77 | 0.023579 | 0.0059112 | -0.023574 | -0.0059083 | 4.7945e-06 | 2.9356e-06 | 0.035308 | 0.035308 | 0.035308 | 0.99373 | -0.12001 | 0.99351 | -0.12428 | 9.7001
78 | 0.037508 | 0.009417 | -0.037503 | -0.0094135 | 5.5797e-06 | 3.5089e-06 | 0.055933 | 0.055933 | 0.055933 | 0.99795 | -0.039114 | 0.99779 | -0.042233 | 15.3662
79 | 0.034953 | 0.0087745 | -0.034914 | -0.0087504 | 3.8419e-05 | 2.4096e-05 | 0.05213 | 0.052131 | 0.052131 | 0.99779 | -0.042233 | 0.99659 | -0.065304 | 14.3216
80 | -0.050079 | -0.012564 | 0.050108 | 0.012582 | 2.8388e-05 | 1.7998e-05 | 0.075431 | 0.075431 | 0.075431 | 0.98797 | -0.2315 | 0.98858 | -0.21961 | 20.7228
81 | 0.022163 | 0.0055567 | -0.022157 | -0.005553 | 6.0042e-06 | 3.6579e-06 | 0.033344 | 0.033344 | 0.033344 | 0.98906 | -0.21029 | 0.98877 | -0.21597 | 9.1606
82 | 0.030913 | 0.0077494 | -0.030909 | -0.0077464 | 4.736e-06 | 2.9553e-06 | 0.04639 | 0.04639 | 0.04639 | 0.9916 | -0.16098 | 0.99144 | -0.1642 | 12.7445

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50013 | 0.12648

## res_load
| p_mw | q_mvar
0 | 0.0065013 | 0.0016294
1 | 0.0079437 | 0.0019909
2 | 0.0048787 | 0.0012227
3 | 0.0077929 | 0.0019531
4 | 0.0082153 | 0.002059
5 | 0.0070653 | 0.0017707
6 | 0.0069929 | 0.0017526
7 | 0.0056981 | 0.0014281
8 | 0.0070299 | 0.0017619
9 | 0.0041299 | 0.0010351
10 | 0.0037933 | 0.0009507
11 | 0.016496 | 0.0041343
12 | 0.0080627 | 0.0020207
13 | 0.0025639 | 0.00064258
14 | 0.005056 | 0.0012671
15 | 0.004923 | 0.0012338
16 | 0.011138 | 0.0027914
17 | 0.035306 | 0.0088485
18 | 0.0075607 | 0.0018949
19 | 0.0083307 | 0.0020879
20 | 0.0049333 | 0.0012364
21 | 0.012337 | 0.0030918
22 | 0.0073796 | 0.0018495
23 | 0.010033 | 0.0025144
24 | 0.0033804 | 0.0008472
25 | 0.0023783 | 0.00059605
26 | 0.0097866 | 0.0024528
27 | 0.0069003 | 0.0017294
28 | 0.0060437 | 0.0015147
29 | 0.017972 | 0.0045042
30 | 0.012046 | 0.0030189
31 | 0.0065464 | 0.0016407
32 | 0.024272 | 0.0060832
33 | 0.0046589 | 0.0011676
34 | 0.0038001 | 0.00095241
35 | 0.0070179 | 0.0017588
36 | 0.0096914 | 0.0024289
37 | 0.011416 | 0.002861
38 | 0.0070432 | 0.0017652
39 | 0.0063429 | 0.0015897
40 | 0.0075833 | 0.0019006
41 | 0.0067677 | 0.0016962
42 | 0.023574 | 0.0059083
43 | 0.0025497 | 0.00063902
44 | 0.01474 | 0.0036942
45 | 0.0032197 | 0.00080693
46 | 0.022157 | 0.005553
47 | 0.004588 | 0.0011499
48 | 0.030909 | 0.0077464
49 | 0.034914 | 0.0087504

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1