## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-107_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-107_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-107_0_6_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_1632-107_0_6_node_82 | 0.4 | n |  | TRUE
4 | bus_LV_1632-107_0_6_node_48 | 0.4 | n |  | TRUE
5 | bus_LV_1632-107_0_6_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_1632-107_0_6_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_1632-107_0_6_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_1632-107_0_6_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_1632-107_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1632-107_0_6_node_2 | 0.4 | n |  | TRUE
11 | bus_LV_1632-107_0_6_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_1632-107_0_6_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_1632-107_0_6_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1632-107_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1632-107_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1632-107_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1632-107_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1632-107_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1632-107_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1632-107_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1632-107_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1632-107_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1632-107_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1632-107_0_6_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1632-107_0_6_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_1632-107_0_6_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_1632-107_0_6_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1632-107_0_6_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_1632-107_0_6_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_1632-107_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1632-107_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1632-107_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1632-107_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1632-107_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1632-107_0_6_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1632-107_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1632-107_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1632-107_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1632-107_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1632-107_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1632-107_0_6_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1632-107_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1632-107_0_6_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_1632-107_0_6_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_1632-107_0_6_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_1632-107_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1632-107_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1632-107_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1632-107_0_6_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_1632-107_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_1632-107_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_1632-107_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_1632-107_0_6_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_1632-107_0_6_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_1632-107_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_1632-107_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_1632-107_0_6_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1632-107_0_6_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1632-107_0_6_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_1632-107_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_1632-107_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_1632-107_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_1632-107_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_1632-107_0_6_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_1632-107_0_6_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_1632-107_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_1632-107_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_1632-107_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_1632-107_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1632-107_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_1632-107_0_6_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_1632-107_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_1632-107_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_1632-107_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_1632-107_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_1632-107_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_1632-107_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_1632-107_0_6_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_1632-107_0_6_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_1632-107_0_6_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_1632-107_0_6_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_1632-107_0_6_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_1632-107_0_6_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_1632-107_0_6_node_87 | 0.4 | n |  | TRUE
85 | bus_MV_144_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-107_0_6_load_0 | 0 | 0.018948 | 0.0047489 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-107_0_6_load_41 | 2 | 0.0039544 | 0.00099105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-107_0_6_load_82 | 3 | 0.0038347 | 0.00096107 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-107_0_6_load_48 | 4 | 0.004588 | 0.0011499 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-107_0_6_load_49 | 5 | 0.0025741 | 0.00064513 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-107_0_6_load_39 | 7 | 0.0030486 | 0.00076404 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-107_0_6_load_10 | 9 | 0.0019955 | 0.00050013 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-107_0_6_load_2 | 10 | 0.00073613 | 0.00018449 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-107_0_6_load_83 | 12 | 0.008078 | 0.0020245 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-107_0_6_load_5 | 13 | 0.00033495 | 8.3947e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-107_0_6_load_8 | 14 | 0.00049721 | 0.00012461 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-107_0_6_load_6 | 15 | 0.0017454 | 0.00043745 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-107_0_6_load_7 | 16 | 0.00094932 | 0.00023792 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-107_0_6_load_11 | 17 | 0.0031921 | 0.00080002 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-107_0_6_load_12 | 18 | 0.011398 | 0.0028566 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-107_0_6_load_13 | 20 | 0.013162 | 0.0032988 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-107_0_6_load_15 | 21 | 0.0035109 | 0.0008799 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-107_0_6_load_16 | 22 | 0.0090026 | 0.0022563 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-107_0_6_load_52 | 24 | 0.0037727 | 0.00094552 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-107_0_6_load_40 | 27 | 0.007479 | 0.0018744 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-107_0_6_load_55 | 28 | 0.010595 | 0.0026554 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-107_0_6_load_69 | 29 | 0.011938 | 0.002992 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-107_0_6_load_18 | 31 | 0.013001 | 0.0032585 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-107_0_6_load_21 | 33 | 0.0069106 | 0.001732 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-107_0_6_load_37 | 34 | 0.0032932 | 0.00082535 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-107_0_6_load_35 | 35 | 0.007248 | 0.0018165 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-107_0_6_load_22 | 36 | 0.011072 | 0.0027749 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-107_0_6_load_23 | 37 | 0.0055333 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-107_0_6_load_25 | 39 | 0.0070237 | 0.0017603 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-107_0_6_load_26 | 40 | 0.010004 | 0.0025072 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-107_0_6_load_59 | 43 | 0.020137 | 0.0050467 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-107_0_6_load_80 | 44 | 0.0048766 | 0.0012222 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-107_0_6_load_34 | 46 | 0.0089321 | 0.0022386 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-107_0_6_load_31 | 47 | 0.0076433 | 0.0019156 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-107_0_6_load_46 | 48 | 0.011009 | 0.0027591 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-107_0_6_load_66 | 49 | 0.0093836 | 0.0023517 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-107_0_6_load_28 | 50 | 0.029712 | 0.0074466 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-107_0_6_load_32 | 52 | 0.010089 | 0.0025286 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-107_0_6_load_63 | 53 | 0.0090413 | 0.002266 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-107_0_6_load_64 | 54 | 0.021056 | 0.0052771 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-107_0_6_load_36 | 55 | 0.0095544 | 0.0023946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-107_0_6_load_38 | 56 | 0.0053984 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-107_0_6_load_60 | 57 | 0.007956 | 0.001994 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-107_0_6_load_61 | 58 | 0.0040861 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-107_0_6_load_43 | 59 | 0.011723 | 0.0029382 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-107_0_6_load_44 | 60 | 0.0069842 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-107_0_6_load_45 | 61 | 0.004729 | 0.0011852 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-107_0_6_load_47 | 62 | 0.006807 | 0.001706 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1632-107_0_6_load_62 | 63 | 0.01085 | 0.0027193 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1632-107_0_6_load_85 | 64 | 0.023612 | 0.0059178 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1632-107_0_6_load_51 | 66 | 0.0023952 | 0.0006003 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1632-107_0_6_load_53 | 67 | 0.0033281 | 0.00083411 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1632-107_0_6_load_56 | 68 | 0.0099807 | 0.0025014 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1632-107_0_6_load_57 | 69 | 0.0027017 | 0.00067711 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1632-107_0_6_load_58 | 70 | 0.010588 | 0.0026536 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1632-107_0_6_load_68 | 72 | 0.0098986 | 0.0024808 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1632-107_0_6_load_73 | 73 | 0.024676 | 0.0061844 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1632-107_0_6_load_70 | 74 | 0.0015438 | 0.00038692 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1632-107_0_6_load_71 | 75 | 0.0014713 | 0.00036875 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1632-107_0_6_load_74 | 77 | 0.0013184 | 0.00033043 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1632-107_0_6_load_88 | 78 | 0.033486 | 0.0083925 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1632-107_0_6_load_89 | 79 | 0.023609 | 0.005917 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1632-107_0_6_load_75 | 81 | 0.0013187 | 0.00033049 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1632-107_0_6_load_76 | 82 | 0.0013204 | 0.00033093 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1632-107_0_6_load_79 | 83 | 0.0055169 | 0.0013827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-107_0_6_line_0 |  | 0 | 1 | 0.046393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-107_0_6_line_1 |  | 1 | 2 | 0.16583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1632-107_0_6_line_2 |  | 1 | 3 | 0.29806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1632-107_0_6_line_3 |  | 2 | 7 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1632-107_0_6_line_4 |  | 3 | 8 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-107_0_6_line_5 |  | 4 | 5 | 0.035088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-107_0_6_line_6 |  | 4 | 6 | 0.019752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-107_0_6_line_7 |  | 5 | 66 | 0.0076462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-107_0_6_line_8 |  | 6 | 67 | 0.015477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-107_0_6_line_9 |  | 6 | 24 | 0.0029694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-107_0_6_line_10 |  | 7 | 27 | 0.065458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1632-107_0_6_line_11 |  | 8 | 9 | 0.23125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-107_0_6_line_12 |  | 9 | 17 | 0.013295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-107_0_6_line_13 |  | 9 | 12 | 0.52427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-107_0_6_line_14 |  | 10 | 11 | 0.019001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-107_0_6_line_15 |  | 10 | 12 | 0.12095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-107_0_6_line_16 |  | 11 | 13 | 0.039389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-107_0_6_line_17 |  | 13 | 14 | 0.014126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-107_0_6_line_18 |  | 14 | 15 | 0.048671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-107_0_6_line_19 |  | 15 | 16 | 0.0054669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-107_0_6_line_20 |  | 18 | 19 | 0.0073284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-107_0_6_line_21 |  | 19 | 22 | 0.015993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-107_0_6_line_22 |  | 19 | 23 | 0.033943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-107_0_6_line_23 |  | 20 | 21 | 0.023831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-107_0_6_line_24 |  | 21 | 24 | 0.019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-107_0_6_line_25 |  | 22 | 25 | 0.013642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-107_0_6_line_26 |  | 23 | 26 | 0.034511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1632-107_0_6_line_27 |  | 23 | 27 | 0.011477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1632-107_0_6_line_28 |  | 25 | 28 | 0.014331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-107_0_6_line_29 |  | 26 | 29 | 0.026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-107_0_6_line_30 |  | 26 | 30 | 0.054816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1632-107_0_6_line_31 |  | 28 | 70 | 0.010054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-107_0_6_line_32 |  | 30 | 52 | 0.039739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1632-107_0_6_line_33 |  | 30 | 51 | 0.006691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-107_0_6_line_34 |  | 31 | 32 | 0.0063433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-107_0_6_line_35 |  | 32 | 33 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-107_0_6_line_36 |  | 33 | 34 | 0.0017064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-107_0_6_line_37 |  | 34 | 35 | 0.022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-107_0_6_line_38 |  | 35 | 55 | 0.018894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-107_0_6_line_39 |  | 36 | 37 | 0.0069726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1632-107_0_6_line_40 |  | 36 | 38 | 0.012418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1632-107_0_6_line_41 |  | 37 | 39 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1632-107_0_6_line_42 |  | 38 | 40 | 0.015749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-107_0_6_line_43 |  | 38 | 41 | 0.003258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1632-107_0_6_line_44 |  | 39 | 42 | 0.016913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1632-107_0_6_line_45 |  | 40 | 43 | 0.028466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-107_0_6_line_46 |  | 41 | 44 | 0.091832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-107_0_6_line_47 |  | 41 | 45 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1632-107_0_6_line_48 |  | 42 | 46 | 0.014578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-107_0_6_line_49 |  | 42 | 47 | 0.0017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1632-107_0_6_line_50 |  | 45 | 48 | 0.031927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-107_0_6_line_51 |  | 45 | 49 | 0.0069518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-107_0_6_line_52 |  | 46 | 53 | 0.0024477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-107_0_6_line_53 |  | 47 | 52 | 0.023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1632-107_0_6_line_54 |  | 48 | 60 | 0.0054446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-107_0_6_line_55 |  | 49 | 72 | 0.026741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-107_0_6_line_56 |  | 50 | 51 | 0.037078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1632-107_0_6_line_57 |  | 53 | 54 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1632-107_0_6_line_58 |  | 55 | 56 | 0.0086335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1632-107_0_6_line_59 |  | 56 | 57 | 0.001202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1632-107_0_6_line_60 |  | 57 | 58 | 0.027072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1632-107_0_6_line_61 |  | 58 | 63 | 0.0001675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1632-107_0_6_line_62 |  | 59 | 60 | 0.0056234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1632-107_0_6_line_63 |  | 59 | 61 | 0.014791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1632-107_0_6_line_64 |  | 61 | 62 | 0.0082137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1632-107_0_6_line_65 |  | 62 | 63 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1632-107_0_6_line_66 |  | 64 | 65 | 0.009636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1632-107_0_6_line_67 |  | 65 | 71 | 0.041598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1632-107_0_6_line_68 |  | 66 | 68 | 0.0097146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1632-107_0_6_line_69 |  | 67 | 69 | 0.0078567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1632-107_0_6_line_70 |  | 69 | 70 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1632-107_0_6_line_71 |  | 71 | 84 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1632-107_0_6_line_72 |  | 72 | 73 | 0.043205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1632-107_0_6_line_73 |  | 73 | 78 | 0.032182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1632-107_0_6_line_74 |  | 73 | 79 | 0.062988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1632-107_0_6_line_75 |  | 73 | 75 | 0.022957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1632-107_0_6_line_76 |  | 74 | 75 | 0.007418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1632-107_0_6_line_77 |  | 74 | 76 | 0.012587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1632-107_0_6_line_78 |  | 76 | 77 | 0.0020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1632-107_0_6_line_79 |  | 77 | 80 | 0.0051042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1632-107_0_6_line_80 |  | 79 | 84 | 0.007261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1632-107_0_6_line_81 |  | 80 | 83 | 0.041949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1632-107_0_6_line_82 |  | 80 | 81 | 0.0060849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1632-107_0_6_line_83 |  | 81 | 82 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-107_0_6_trafo_23 | 0.63 MVA 20/0.4 kV | 85 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2723843.654 | 1210330.5741 | 2723842.9532 | 1210335.3965 | 2723841.906 | 1210338.2325 | 2723823.5515 | 1210372.0723
1 | 2724002.3231 | 1210378.7954 | 2723843.654 | 1210330.5741
2 | 2723843.654 | 1210330.5741 | 2723827.8638 | 1210032.9292
3 | 2724011.961 | 1210389.6134 | 2724005.552 | 1210382.9213 | 2724002.3231 | 1210378.7954
4 | 2723833.6743 | 1210016.7373 | 2723831.2511 | 1210022.1245 | 2723830.3036 | 1210028.2095 | 2723827.8638 | 1210032.9292
5 | 2723963.5558 | 1210463.1273 | 2723962.7636 | 1210464.4948 | 2723972.6896 | 1210477.4332 | 2723975.4578 | 1210486.531 | 2723981.9669 | 1210490.6268
6 | 2723973.4565 | 1210446.0361 | 2723963.5558 | 1210463.1273
7 | 2723981.9669 | 1210490.6268 | 2723988.4385 | 1210494.699
8 | 2723973.4565 | 1210446.0361 | 2723986.4396 | 1210454.461
9 | 2723973.4565 | 1210446.0361 | 2723974.9451 | 1210443.4668
10 | 2724011.961 | 1210389.6134 | 2724049.558 | 1210428.8713 | 2724057.569 | 1210436.5552
11 | 2723773.3401 | 1209793.4916 | 2723833.6743 | 1210016.7373
12 | 2723773.3401 | 1209793.4916 | 2723773.616 | 1209780.1991
13 | 2724119.4528 | 1210187.2727 | 2723773.3401 | 1209793.4916
14 | 2724255.3737 | 1210187.0904 | 2724240.7774 | 1210187.0308 | 2724240.336 | 1210191.4132
15 | 2724240.336 | 1210191.4132 | 2724119.4528 | 1210187.2727
16 | 2724255.3737 | 1210187.0904 | 2724255.4576 | 1210219.1834 | 2724256.0699 | 1210226.4531
17 | 2724257.2555 | 1210240.5289 | 2724256.0699 | 1210226.4531
18 | 2724262.3411 | 1210288.9255 | 2724259.0352 | 1210261.6573 | 2724257.2555 | 1210240.5289
19 | 2724262.3411 | 1210288.9255 | 2724262.9991 | 1210294.3526
20 | 2724034.8617 | 1210456.6649 | 2724031.0358 | 1210454.1946 | 2724028.933 | 1210452.3851
21 | 2724034.8617 | 1210456.6649 | 2724030.8178 | 1210471.9815 | 2724030.7576 | 1210472.121
22 | 2724034.8617 | 1210456.6649 | 2724038.6236 | 1210457.099 | 2724042.7222 | 1210455.9611 | 2724057.221 | 1210447.5228 | 2724061.039 | 1210445.6229 | 2724065.852 | 1210444.4999
23 | 2723985.4445 | 1210426.6454 | 2723986.4722 | 1210425.5575 | 2723991.9288 | 1210424.559 | 2723997.2541 | 1210425.1257 | 2724005.9197 | 1210432.5824
24 | 2723985.4445 | 1210426.6454 | 2723983.4949 | 1210428.7092 | 2723974.9451 | 1210443.4668
25 | 2724024.3991 | 1210484.1463 | 2724028.1422 | 1210478.1751 | 2724030.7576 | 1210472.121
26 | 2724094.105 | 1210464.1359 | 2724069.9497 | 1210445.964 | 2724065.852 | 1210444.4999
27 | 2724065.852 | 1210444.4999 | 2724057.569 | 1210436.5552
28 | 2724024.3991 | 1210484.1463 | 2724012.2237 | 1210476.5879
29 | 2724094.105 | 1210464.1359 | 2724071.8962 | 1210477.9578
30 | 2724094.105 | 1210464.1359 | 2724110.0993 | 1210478.8132 | 2724136.6112 | 1210498.8023
31 | 2724003.6822 | 1210471.2854 | 2724012.2237 | 1210476.5879
32 | 2724136.6112 | 1210498.8023 | 2724126.0233 | 1210497.5922 | 2724116.1009 | 1210499.1092 | 2724097.7324 | 1210504.137
33 | 2724136.6112 | 1210498.8023 | 2724143.0985 | 1210500.5164
34 | 2724166.2123 | 1210558.0861 | 2724171.7285 | 1210554.954
35 | 2724166.2123 | 1210558.0861 | 2724155.6026 | 1210567.9594
36 | 2724155.6026 | 1210567.9594 | 2724154.3534 | 1210569.1219
37 | 2724138.1842 | 1210584.1689 | 2724154.3534 | 1210569.1219
38 | 2724138.1842 | 1210584.1689 | 2724127.4801 | 1210594.1301 | 2724123.7968 | 1210596.2953
39 | 2724032.9051 | 1210531.6261 | 2724038.3245 | 1210527.2391
40 | 2724025.8146 | 1210541.8201 | 2724032.8914 | 1210531.6371 | 2724032.9051 | 1210531.6261
41 | 2724056.9047 | 1210515.5624 | 2724049.5228 | 1210518.6173 | 2724041.034 | 1210525.0458 | 2724038.3245 | 1210527.2391
42 | 2724025.8146 | 1210541.8201 | 2724041.0622 | 1210545.7641
43 | 2724023.9496 | 1210544.4945 | 2724025.8146 | 1210541.8201
44 | 2724073.1377 | 1210510.8691 | 2724058.8861 | 1210514.7424 | 2724056.9047 | 1210515.5624
45 | 2724067.085 | 1210556.5895 | 2724054.7987 | 1210549.3173 | 2724041.0622 | 1210545.7641
46 | 2724023.9496 | 1210544.4945 | 2724012.0483 | 1210539.1763 | 2723999.3044 | 1210537.4546 | 2723944.7752 | 1210539.8679 | 2723933.2851 | 1210538.1723
47 | 2724023.9496 | 1210544.4945 | 2724018.8554 | 1210551.8275 | 2724017.0667 | 1210559.6074 | 2724017.6414 | 1210566.3357 | 2724020.6215 | 1210570.7232
48 | 2724073.1377 | 1210510.8691 | 2724073.5722 | 1210525.4411
49 | 2724073.1377 | 1210510.8691 | 2724074.7784 | 1210510.42
50 | 2724020.6215 | 1210570.7232 | 2724030.113 | 1210584.4311 | 2724035.4975 | 1210590.1807 | 2724041.631 | 1210594.2781
51 | 2724020.6215 | 1210570.7232 | 2724020.2566 | 1210577.6654
52 | 2724073.6451 | 1210527.8877 | 2724073.5722 | 1210525.4411
53 | 2724074.7784 | 1210510.42 | 2724097.7324 | 1210504.137
54 | 2724041.631 | 1210594.2781 | 2724047.0543 | 1210594.7586
55 | 2724014.7596 | 1210599.6125 | 2724024.4172 | 1210588.5269 | 2724024.5879 | 1210585.0722 | 2724020.2566 | 1210577.6654
56 | 2724143.0985 | 1210500.5164 | 2724146.4612 | 1210490.5454 | 2724156.9266 | 1210487.4163 | 2724161.5597 | 1210475.2144 | 2724161.9168 | 1210472.6594
57 | 2724086.8034 | 1210535.1497 | 2724073.7959 | 1210532.9442 | 2724073.6451 | 1210527.8877
58 | 2724123.7968 | 1210596.2953 | 2724120.9765 | 1210597.9533 | 2724115.7042 | 1210598.9296
59 | 2724114.5223 | 1210599.1485 | 2724115.7042 | 1210598.9296
60 | 2724114.5223 | 1210599.1485 | 2724112.0702 | 1210599.6026 | 2724087.628 | 1210597.0181
61 | 2724087.4614 | 1210597.0004 | 2724087.628 | 1210597.0181
62 | 2724052.6634 | 1210595.0037 | 2724050.4866 | 1210595.0628 | 2724047.0543 | 1210594.7586
63 | 2724052.6634 | 1210595.0037 | 2724065.3272 | 1210594.66 | 2724067.4383 | 1210594.8832
64 | 2724075.6064 | 1210595.7469 | 2724067.4383 | 1210594.8832
65 | 2724087.4614 | 1210597.0004 | 2724075.6064 | 1210595.7469
66 | 2724075.2691 | 1210687.5381 | 2724069.9092 | 1210679.5205
67 | 2724041.1124 | 1210711.2794 | 2724046.6491 | 1210707.5139 | 2724075.2691 | 1210687.5381
68 | 2723996.6608 | 1210499.8728 | 2723988.4385 | 1210494.699
69 | 2723986.4396 | 1210454.461 | 2723993.0303 | 1210458.7378
70 | 2724003.6822 | 1210471.2854 | 2723993.3935 | 1210464.8982 | 2723996.028 | 1210460.6831 | 2723993.0303 | 1210458.7378
71 | 2724038.6818 | 1210696.1951 | 2724046.6491 | 1210707.5139 | 2724041.1124 | 1210711.2794
72 | 2724014.7596 | 1210599.6125 | 2724006.2307 | 1210641.9677
73 | 2724006.2307 | 1210641.9677 | 2724027.9506 | 1210665.7152
74 | 2724006.2307 | 1210641.9677 | 2724044.5785 | 1210691.9366
75 | 2724006.2307 | 1210641.9677 | 2724002.3653 | 1210644.6895 | 2724000.5838 | 1210645.1751 | 2723998.9632 | 1210645.2414 | 2723997.7934 | 1210644.8279 | 2723993.0133 | 1210640.3585 | 2723991.7067 | 1210639.9421 | 2723988.7818 | 1210639.8479 | 2723986.1041 | 1210639.9155
76 | 2723978.6971 | 1210640.2966 | 2723983.7084 | 1210639.9759 | 2723986.1041 | 1210639.9155
77 | 2723968.0798 | 1210639.5286 | 2723970.3337 | 1210642.6445 | 2723976.7582 | 1210640.4207 | 2723978.6971 | 1210640.2966
78 | 2723968.0798 | 1210639.5286 | 2723966.134 | 1210640.0217
79 | 2723961.1861 | 1210641.2756 | 2723966.134 | 1210640.0217
80 | 2724038.6818 | 1210696.1951 | 2724044.5785 | 1210691.9366
81 | 2723961.1861 | 1210641.2756 | 2723959.4624 | 1210652.882 | 2723959.5332 | 1210654.229 | 2723960.3423 | 1210654.8018 | 2723961.3309 | 1210654.789 | 2723962.8173 | 1210654.2305 | 2723970.2106 | 1210650.0254 | 2723973.2005 | 1210646.9963 | 2723974.8705 | 1210646.0191 | 2723976.4124 | 1210646.0845 | 2723977.8746 | 1210647.0601 | 2723979.0954 | 1210648.3087 | 2723982.817 | 1210652.5003
82 | 2723961.1861 | 1210641.2756 | 2723955.1013 | 1210641.2392
83 | 2723955.1013 | 1210641.2392 | 2723950.6811 | 1210641.2128 | 2723937.6355 | 1210639.9941

## bus_geodata
| x | y | coords
0 | 2723823.5515 | 1210372.0723
1 | 2723843.654 | 1210330.5741
2 | 2724002.3231 | 1210378.7954
3 | 2723827.8638 | 1210032.9292
4 | 2723963.5558 | 1210463.1273
5 | 2723981.9669 | 1210490.6268
6 | 2723973.4565 | 1210446.0361
7 | 2724011.961 | 1210389.6134
8 | 2723833.6743 | 1210016.7373
9 | 2723773.3401 | 1209793.4916
10 | 2724240.336 | 1210191.4132
11 | 2724255.3737 | 1210187.0904
12 | 2724119.4528 | 1210187.2727
13 | 2724256.0699 | 1210226.4531
14 | 2724257.2555 | 1210240.5289
15 | 2724262.3411 | 1210288.9255
16 | 2724262.9991 | 1210294.3526
17 | 2723773.616 | 1209780.1991
18 | 2724028.933 | 1210452.3851
19 | 2724034.8617 | 1210456.6649
20 | 2724005.9197 | 1210432.5824
21 | 2723985.4445 | 1210426.6454
22 | 2724030.7576 | 1210472.121
23 | 2724065.852 | 1210444.4999
24 | 2723974.9451 | 1210443.4668
25 | 2724024.3991 | 1210484.1463
26 | 2724094.105 | 1210464.1359
27 | 2724057.569 | 1210436.5552
28 | 2724012.2237 | 1210476.5879
29 | 2724071.8962 | 1210477.9578
30 | 2724136.6112 | 1210498.8023
31 | 2724171.7285 | 1210554.954
32 | 2724166.2123 | 1210558.0861
33 | 2724155.6026 | 1210567.9594
34 | 2724154.3534 | 1210569.1219
35 | 2724138.1842 | 1210584.1689
36 | 2724032.9051 | 1210531.6261
37 | 2724038.3245 | 1210527.2391
38 | 2724025.8146 | 1210541.8201
39 | 2724056.9047 | 1210515.5624
40 | 2724041.0622 | 1210545.7641
41 | 2724023.9496 | 1210544.4945
42 | 2724073.1377 | 1210510.8691
43 | 2724067.085 | 1210556.5895
44 | 2723933.2851 | 1210538.1723
45 | 2724020.6215 | 1210570.7232
46 | 2724073.5722 | 1210525.4411
47 | 2724074.7784 | 1210510.42
48 | 2724041.631 | 1210594.2781
49 | 2724020.2566 | 1210577.6654
50 | 2724161.9168 | 1210472.6594
51 | 2724143.0985 | 1210500.5164
52 | 2724097.7324 | 1210504.137
53 | 2724073.6451 | 1210527.8877
54 | 2724086.8034 | 1210535.1497
55 | 2724123.7968 | 1210596.2953
56 | 2724115.7042 | 1210598.9296
57 | 2724114.5223 | 1210599.1485
58 | 2724087.628 | 1210597.018
59 | 2724052.6634 | 1210595.0037
60 | 2724047.0543 | 1210594.7586
61 | 2724067.4383 | 1210594.8832
62 | 2724075.6064 | 1210595.7469
63 | 2724087.4614 | 1210597.0004
64 | 2724069.9092 | 1210679.5205
65 | 2724075.2691 | 1210687.5381
66 | 2723988.4385 | 1210494.699
67 | 2723986.4396 | 1210454.461
68 | 2723996.6608 | 1210499.8728
69 | 2723993.0303 | 1210458.7378
70 | 2724003.6822 | 1210471.2854
71 | 2724041.1124 | 1210711.2794
72 | 2724014.7596 | 1210599.6125
73 | 2724006.2307 | 1210641.9677
74 | 2723978.6971 | 1210640.2966
75 | 2723986.1041 | 1210639.9155
76 | 2723968.0798 | 1210639.5286
77 | 2723966.134 | 1210640.0217
78 | 2724027.9506 | 1210665.7152
79 | 2724044.5785 | 1210691.9366
80 | 2723961.1861 | 1210641.2756
81 | 2723955.1013 | 1210641.2392
82 | 2723937.6355 | 1210639.9941
83 | 2723982.817 | 1210652.5003
84 | 2724038.6818 | 1210696.1951
85 | 2724025.8146 | 1210541.8201

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98497 | -0.28863 | 0.018948 | 0.0047489
1 | 0.98578 | -0.27284 | 0 | 0
2 | 0.98784 | -0.2329 | 0.0039544 | 0.00099105
3 | 0.98282 | -0.33024 | 0.0038347 | 0.00096107
4 | 0.98093 | -0.36742 | 0.004588 | 0.0011499
5 | 0.98045 | -0.37692 | 0.0025741 | 0.00064513
6 | 0.98129 | -0.36043 | 0 | 0
7 | 0.98804 | -0.22907 | 0.0030486 | 0.00076404
8 | 0.98254 | -0.33574 | 0 | 0
9 | 0.97876 | -0.40933 | 0.0019955 | 0.00050013
10 | 0.97225 | -0.53745 | 0.00073613 | 0.00018449
11 | 0.97219 | -0.53869 | 0 | 0
12 | 0.97273 | -0.52793 | 0.008078 | 0.0020245
13 | 0.97206 | -0.54125 | 0.00033495 | 8.3947e-05
14 | 0.97202 | -0.54208 | 0.00049721 | 0.00012461
15 | 0.97189 | -0.5445 | 0.0017454 | 0.00043745
16 | 0.97189 | -0.5446 | 0.00094932 | 0.00023792
17 | 0.97872 | -0.41011 | 0.0031921 | 0.00080002
18 | 0.98636 | -0.2615 | 0.011398 | 0.0028566
19 | 0.98644 | -0.26 | 0 | 0
20 | 0.98064 | -0.37322 | 0.013162 | 0.0032988
21 | 0.98093 | -0.36753 | 0.0035109 | 0.0008799
22 | 0.98532 | -0.28186 | 0.0090026 | 0.0022563
23 | 0.98919 | -0.20689 | 0 | 0
24 | 0.98123 | -0.36153 | 0.0037727 | 0.00094552
25 | 0.98447 | -0.29833 | 0 | 0
26 | 0.9907 | -0.17774 | 0 | 0
27 | 0.98899 | -0.21063 | 0.007479 | 0.0018744
28 | 0.98358 | -0.31567 | 0.010595 | 0.0026554
29 | 0.99041 | -0.18328 | 0.011938 | 0.002992
30 | 0.9933 | -0.12776 | 0 | 0
31 | 0.9852 | -0.28484 | 0.013001 | 0.0032585
32 | 0.98528 | -0.28336 | 0 | 0
33 | 0.98545 | -0.27998 | 0.0069106 | 0.001732
34 | 0.98548 | -0.27937 | 0.0032932 | 0.00082535
35 | 0.98595 | -0.27018 | 0.007248 | 0.0018165
36 | 0.99938 | -0.011869 | 0.011072 | 0.0027749
37 | 1 | 0 | -0.54829 | -0.13929
38 | 0.9983 | -0.032244 | 0 | 0
39 | 0.99832 | -0.031921 | 0.0070237 | 0.0017603
40 | 0.99787 | -0.04055 | 0.010004 | 0.0025072
41 | 0.99805 | -0.037024 | 0 | 0
42 | 0.99707 | -0.055703 | 0 | 0
43 | 0.99735 | -0.050588 | 0.020137 | 0.0050467
44 | 0.99765 | -0.044865 | 0.0048766 | 0.0012222
45 | 0.99477 | -0.099737 | 0 | 0
46 | 0.99655 | -0.065684 | 0.0089321 | 0.0022386
47 | 0.99697 | -0.05771 | 0.0076433 | 0.0019156
48 | 0.99156 | -0.16154 | 0.011009 | 0.0027591
49 | 0.99389 | -0.11655 | 0.0093836 | 0.0023517
50 | 0.99211 | -0.15076 | 0.029712 | 0.0074466
51 | 0.99312 | -0.13127 | 0 | 0
52 | 0.99555 | -0.084768 | 0.010089 | 0.0025286
53 | 0.99649 | -0.066977 | 0.0090413 | 0.002266
54 | 0.99614 | -0.073725 | 0.021056 | 0.0052771
55 | 0.98648 | -0.25986 | 0.0095544 | 0.0023946
56 | 0.9868 | -0.25368 | 0.0053984 | 0.001353
57 | 0.98685 | -0.2527 | 0.007956 | 0.001994
58 | 0.98818 | -0.22688 | 0.0040861 | 0.0010241
59 | 0.99059 | -0.1802 | 0.011723 | 0.0029382
60 | 0.99106 | -0.17106 | 0.0069842 | 0.0017504
61 | 0.9895 | -0.2012 | 0.004729 | 0.0011852
62 | 0.98894 | -0.21219 | 0.006807 | 0.001706
63 | 0.98819 | -0.22671 | 0.01085 | 0.0027193
64 | 0.98158 | -0.35507 | 0.023612 | 0.0059178
65 | 0.98179 | -0.35096 | 0 | 0
66 | 0.98036 | -0.37864 | 0.0023952 | 0.0006003
67 | 0.98186 | -0.34923 | 0.0033281 | 0.00083411
68 | 0.98027 | -0.3804 | 0.0099807 | 0.0025014
69 | 0.98217 | -0.34308 | 0.0027017 | 0.00067711
70 | 0.98305 | -0.32592 | 0.010588 | 0.0026536
71 | 0.9827 | -0.33321 | 0 | 0
72 | 0.99074 | -0.17703 | 0.0098986 | 0.0024808
73 | 0.98605 | -0.2679 | 0.024676 | 0.0061844
74 | 0.98571 | -0.27451 | 0.0015438 | 0.00038692
75 | 0.98578 | -0.27304 | 0.0014713 | 0.00036875
76 | 0.9856 | -0.27665 | 0 | 0
77 | 0.98558 | -0.27699 | 0.0013184 | 0.00033043
78 | 0.98506 | -0.28724 | 0.033486 | 0.0083925
79 | 0.9833 | -0.32137 | 0.023609 | 0.005917
80 | 0.98554 | -0.27774 | 0 | 0
81 | 0.98553 | -0.27803 | 0.0013187 | 0.00033049
82 | 0.98551 | -0.27844 | 0.0013204 | 0.00033093
83 | 0.98533 | -0.28189 | 0.0055169 | 0.0013827
84 | 0.98314 | -0.32446 | 0 | 0
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018948 | -0.0047489 | 0.018963 | 0.0047575 | 1.4256e-05 | 8.5329e-06 | 0.028626 | 0.028626 | 0.028626 | 0.98497 | -0.28863 | 0.98578 | -0.27284 | 7.8642
1 | -0.040525 | -0.010219 | 0.040603 | 0.010262 | 7.7624e-05 | 4.3323e-05 | 0.061195 | 0.061192 | 0.061195 | 0.98578 | -0.27284 | 0.98784 | -0.2329 | 5.6039
2 | 0.021563 | 0.0054612 | -0.021503 | -0.0054309 | 5.9287e-05 | 3.0366e-05 | 0.032569 | 0.032572 | 0.032572 | 0.98578 | -0.27284 | 0.98282 | -0.33024 | 4.4741
3 | -0.044557 | -0.011253 | 0.044566 | 0.011258 | 8.1754e-06 | 4.675e-06 | 0.067149 | 0.067149 | 0.067149 | 0.98784 | -0.2329 | 0.98804 | -0.22907 | 6.1492
4 | 0.017669 | 0.0044698 | -0.017664 | -0.004467 | 4.6679e-06 | 2.7673e-06 | 0.026766 | 0.026766 | 0.026766 | 0.98282 | -0.33024 | 0.98254 | -0.33574 | 7.3533
5 | 0.014959 | 0.0037517 | -0.014952 | -0.0037478 | 6.7757e-06 | 3.8937e-06 | 0.022692 | 0.022693 | 0.022693 | 0.98093 | -0.36742 | 0.98045 | -0.37692 | 6.2342
6 | -0.019547 | -0.0049015 | 0.019553 | 0.0049055 | 6.5125e-06 | 3.9186e-06 | 0.029652 | 0.029652 | 0.029652 | 0.98093 | -0.36742 | 0.98129 | -0.36043 | 8.1462
7 | 0.012378 | 0.0031027 | -0.012377 | -0.0031021 | 1.0119e-06 | 5.512e-07 | 0.018786 | 0.018786 | 0.018786 | 0.98045 | -0.37692 | 0.98036 | -0.37864 | 5.161
8 | -0.040008 | -0.010035 | 0.04003 | 0.010049 | 2.1364e-05 | 1.3477e-05 | 0.060671 | 0.060671 | 0.060671 | 0.98129 | -0.36043 | 0.98186 | -0.34923 | 16.6679
9 | 0.020455 | 0.0051296 | -0.020454 | -0.005129 | 1.0714e-06 | 6.4821e-07 | 0.031019 | 0.031019 | 0.031019 | 0.98129 | -0.36043 | 0.98123 | -0.36153 | 8.5218
10 | -0.047614 | -0.012022 | 0.047656 | 0.012046 | 4.211e-05 | 2.4433e-05 | 0.07174 | 0.071739 | 0.07174 | 0.98804 | -0.22907 | 0.98899 | -0.21063 | 6.5696
11 | 0.017664 | 0.004467 | -0.017602 | -0.0044302 | 6.2131e-05 | 3.6846e-05 | 0.026766 | 0.026767 | 0.026767 | 0.98254 | -0.33574 | 0.97876 | -0.40933 | 7.3536
12 | 0.0031922 | 0.00079993 | -0.0031921 | -0.00080002 | 1.1743e-07 | -9.1933e-08 | 0.0048531 | 0.0048532 | 0.0048532 | 0.97876 | -0.40933 | 0.97872 | -0.41011 | 1.3333
13 | 0.012414 | 0.0031301 | -0.012344 | -0.0030918 | 7.0088e-05 | 3.8308e-05 | 0.01888 | 0.018882 | 0.018882 | 0.97876 | -0.40933 | 0.97273 | -0.52793 | 5.1875
14 | 0.003528 | 0.00088305 | -0.0035278 | -0.00088316 | 2.0772e-07 | -1.0268e-07 | 0.0053992 | 0.0053992 | 0.0053992 | 0.97225 | -0.53745 | 0.97219 | -0.53869 | 1.4833
15 | -0.0042641 | -0.0010675 | 0.0042661 | 0.0010673 | 1.9315e-06 | -2.646e-07 | 0.0065258 | 0.0065253 | 0.0065258 | 0.97225 | -0.53745 | 0.97273 | -0.52793 | 1.7928
16 | 0.0035278 | 0.00088316 | -0.0035274 | -0.00088337 | 4.3061e-07 | -2.1275e-07 | 0.0053992 | 0.0053994 | 0.0053994 | 0.97219 | -0.53869 | 0.97206 | -0.54125 | 1.4834
17 | 0.0031924 | 0.00079942 | -0.0031923 | -0.00079952 | 1.265e-07 | -9.4142e-08 | 0.0048867 | 0.0048867 | 0.0048867 | 0.97206 | -0.54125 | 0.97202 | -0.54208 | 1.3425
18 | 0.0026951 | 0.0006749 | -0.0026948 | -0.00067531 | 3.1067e-07 | -4.0439e-07 | 0.0041256 | 0.0041258 | 0.0041258 | 0.97202 | -0.54208 | 0.97189 | -0.5445 | 1.1335
19 | 0.00094932 | 0.00023786 | -0.00094932 | -0.00023792 | 4.3308e-09 | -6.4975e-08 | 0.0014534 | 0.0014535 | 0.0014535 | 0.97189 | -0.5445 | 0.97189 | -0.5446 | 0.3993
20 | -0.011398 | -0.0028566 | 0.011399 | 0.002857 | 8.1252e-07 | 4.2647e-07 | 0.017195 | 0.017195 | 0.017195 | 0.98636 | -0.2615 | 0.98644 | -0.26 | 4.7239
21 | 0.076512 | 0.019295 | -0.076432 | -0.019244 | 7.9951e-05 | 5.0965e-05 | 0.11546 | 0.11546 | 0.11546 | 0.98644 | -0.26 | 0.98532 | -0.28186 | 31.7196
22 | -0.087911 | -0.022152 | 0.088135 | 0.022295 | 0.00022399 | 0.00014292 | 0.13265 | 0.13265 | 0.13265 | 0.98644 | -0.26 | 0.98919 | -0.20689 | 36.4434
23 | -0.013162 | -0.0032988 | 0.013166 | 0.0033008 | 3.5648e-06 | 1.9808e-06 | 0.019972 | 0.019972 | 0.019972 | 0.98064 | -0.37322 | 0.98093 | -0.36753 | 5.4869
24 | -0.016677 | -0.0041807 | 0.016681 | 0.0041835 | 4.7746e-06 | 2.8045e-06 | 0.025298 | 0.025298 | 0.025298 | 0.98093 | -0.36753 | 0.98123 | -0.36153 | 6.95
25 | 0.06743 | 0.016988 | -0.067377 | -0.016954 | 5.3083e-05 | 3.38e-05 | 0.10186 | 0.10186 | 0.10186 | 0.98532 | -0.28186 | 0.98447 | -0.29833 | 27.9845
26 | -0.14328 | -0.036221 | 0.14348 | 0.036348 | 0.00020061 | 0.00012706 | 0.21565 | 0.21564 | 0.21565 | 0.98919 | -0.20689 | 0.9907 | -0.17774 | 19.7477
27 | 0.055145 | 0.013927 | -0.055135 | -0.013921 | 9.8813e-06 | 5.8821e-06 | 0.082992 | 0.082992 | 0.082992 | 0.98919 | -0.20689 | 0.98899 | -0.21063 | 7.6
28 | 0.067377 | 0.016954 | -0.067321 | -0.016918 | 5.5762e-05 | 3.5506e-05 | 0.10186 | 0.10186 | 0.10186 | 0.98447 | -0.29833 | 0.98358 | -0.31567 | 27.9845
29 | 0.011941 | 0.0029937 | -0.011938 | -0.002992 | 3.1557e-06 | 1.6829e-06 | 0.017936 | 0.017936 | 0.017936 | 0.9907 | -0.17774 | 0.99041 | -0.18328 | 4.9275
30 | -0.15542 | -0.039342 | 0.1558 | 0.039579 | 0.00037384 | 0.00023714 | 0.23358 | 0.23358 | 0.23358 | 0.9907 | -0.17774 | 0.9933 | -0.12776 | 21.3902
31 | 0.056726 | 0.014263 | -0.056698 | -0.014245 | 2.7776e-05 | 1.7649e-05 | 0.085835 | 0.085835 | 0.085835 | 0.98358 | -0.31567 | 0.98305 | -0.32592 | 23.581
32 | -0.18554 | -0.047046 | 0.18593 | 0.047291 | 0.00038429 | 0.0002444 | 0.27814 | 0.27814 | 0.27814 | 0.9933 | -0.12776 | 0.99555 | -0.084768 | 25.471
33 | 0.029745 | 0.0074669 | -0.02974 | -0.0074638 | 4.9829e-06 | 3.1025e-06 | 0.044564 | 0.044564 | 0.044564 | 0.9933 | -0.12776 | 0.99312 | -0.13127 | 12.2428
34 | -0.013001 | -0.0032585 | 0.013002 | 0.003259 | 9.1726e-07 | 5.0627e-07 | 0.019637 | 0.019637 | 0.019637 | 0.9852 | -0.28484 | 0.98528 | -0.28336 | 5.3947
35 | -0.013002 | -0.003259 | 0.013004 | 0.0032601 | 2.0957e-06 | 1.1566e-06 | 0.019637 | 0.019637 | 0.019637 | 0.98528 | -0.28336 | 0.98545 | -0.27998 | 5.3947
36 | -0.019915 | -0.0049921 | 0.019916 | 0.0049924 | 5.7867e-07 | 3.4861e-07 | 0.030072 | 0.030072 | 0.030072 | 0.98545 | -0.27998 | 0.98548 | -0.27937 | 8.2615
37 | -0.023209 | -0.0058178 | 0.023219 | 0.005824 | 1.0172e-05 | 6.2286e-06 | 0.035044 | 0.035044 | 0.035044 | 0.98548 | -0.27937 | 0.98595 | -0.27018 | 9.6275
38 | -0.030467 | -0.0076405 | 0.030482 | 0.0076499 | 1.4982e-05 | 9.3472e-06 | 0.045983 | 0.045983 | 0.045983 | 0.98595 | -0.27018 | 0.98648 | -0.25986 | 12.6327
39 | -0.29579 | -0.075289 | 0.29596 | 0.075398 | 0.00016937 | 0.00010812 | 0.44083 | 0.44083 | 0.44083 | 0.99938 | -0.011869 | 1 | 0 | 40.3689
40 | 0.28472 | 0.072515 | -0.28444 | -0.072336 | 0.00027951 | 0.0001784 | 0.42434 | 0.42434 | 0.42434 | 0.99938 | -0.011869 | 0.9983 | -0.032244 | 38.8593
41 | 0.25068 | 0.063892 | -0.25029 | -0.063647 | 0.00038555 | 0.00024588 | 0.37339 | 0.37339 | 0.37339 | 1 | 0 | 0.99832 | -0.031921 | 34.1932
42 | 0.030162 | 0.0075672 | -0.03015 | -0.0075597 | 1.1939e-05 | 7.435e-06 | 0.044961 | 0.044961 | 0.044961 | 0.9983 | -0.032244 | 0.99787 | -0.04055 | 12.3519
43 | 0.25428 | 0.064769 | -0.25422 | -0.064732 | 5.8616e-05 | 3.7386e-05 | 0.37938 | 0.37938 | 0.37938 | 0.9983 | -0.032244 | 0.99805 | -0.037024 | 34.742
44 | 0.24327 | 0.061886 | -0.24299 | -0.061709 | 0.00027845 | 0.00017755 | 0.36292 | 0.36292 | 0.36292 | 0.99832 | -0.031921 | 0.99707 | -0.055703 | 33.2345
45 | 0.020146 | 0.0050525 | -0.020137 | -0.0050467 | 9.6348e-06 | 5.7946e-06 | 0.030043 | 0.030043 | 0.030043 | 0.99787 | -0.04055 | 0.99735 | -0.050588 | 8.2536
46 | 0.0048784 | 0.0012221 | -0.0048766 | -0.0012222 | 1.8218e-06 | -3.367e-08 | 0.0072731 | 0.0072735 | 0.0072735 | 0.99805 | -0.037024 | 0.99765 | -0.044865 | 1.9982
47 | 0.24934 | 0.063509 | -0.24859 | -0.063029 | 0.00075182 | 0.00048041 | 0.37211 | 0.37211 | 0.37211 | 0.99805 | -0.037024 | 0.99477 | -0.099737 | 51.114
48 | 0.039056 | 0.0097986 | -0.039038 | -0.0097869 | 1.8576e-05 | 1.1698e-05 | 0.058291 | 0.058291 | 0.058291 | 0.99707 | -0.055703 | 0.99655 | -0.065684 | 16.014
49 | 0.20393 | 0.05191 | -0.20391 | -0.051898 | 1.9732e-05 | 1.2562e-05 | 0.30463 | 0.30463 | 0.30463 | 0.99707 | -0.055703 | 0.99697 | -0.05771 | 27.8966
50 | 0.11024 | 0.027894 | -0.10991 | -0.027685 | 0.00032592 | 0.00020818 | 0.16499 | 0.16499 | 0.16499 | 0.99477 | -0.099737 | 0.99156 | -0.16154 | 45.3279
51 | 0.13835 | 0.035135 | -0.13824 | -0.035064 | 0.00011183 | 7.1481e-05 | 0.20712 | 0.20712 | 0.20712 | 0.99477 | -0.099737 | 0.99389 | -0.11655 | 56.9002
52 | 0.030106 | 0.0075483 | -0.030104 | -0.0075471 | 1.8549e-06 | 1.1553e-06 | 0.044954 | 0.044954 | 0.044954 | 0.99655 | -0.065684 | 0.99649 | -0.066977 | 12.3499
53 | 0.19627 | 0.049982 | -0.19601 | -0.049819 | 0.00025577 | 0.00016276 | 0.29322 | 0.29322 | 0.29322 | 0.99697 | -0.05771 | 0.99555 | -0.084768 | 26.8519
54 | 0.098903 | 0.024926 | -0.098858 | -0.024898 | 4.5008e-05 | 2.8735e-05 | 0.14847 | 0.14847 | 0.14847 | 0.99156 | -0.16154 | 0.99106 | -0.17106 | 40.7892
55 | 0.12886 | 0.032712 | -0.12848 | -0.032473 | 0.0003738 | 0.00023889 | 0.19307 | 0.19307 | 0.19307 | 0.99389 | -0.11655 | 0.99074 | -0.17703 | 53.0407
56 | -0.029712 | -0.0074466 | 0.02974 | 0.0074638 | 2.7613e-05 | 1.7193e-05 | 0.044564 | 0.044564 | 0.044564 | 0.99211 | -0.15076 | 0.99312 | -0.13127 | 12.2428
57 | 0.021063 | 0.0052812 | -0.021056 | -0.0052771 | 6.771e-06 | 4.0958e-06 | 0.031453 | 0.031453 | 0.031453 | 0.99649 | -0.066977 | 0.99614 | -0.073725 | 8.6409
58 | -0.040036 | -0.010044 | 0.040048 | 0.010052 | 1.1809e-05 | 7.4476e-06 | 0.060395 | 0.060395 | 0.060395 | 0.98648 | -0.25986 | 0.9868 | -0.25368 | 16.592
59 | -0.045447 | -0.011405 | 0.045449 | 0.011406 | 2.1172e-06 | 1.3396e-06 | 0.068535 | 0.068535 | 0.068535 | 0.9868 | -0.25368 | 0.98685 | -0.2527 | 18.8283
60 | -0.053405 | -0.0134 | 0.053471 | 0.013442 | 6.5839e-05 | 4.1791e-05 | 0.080532 | 0.080531 | 0.080532 | 0.98685 | -0.2527 | 0.98818 | -0.22688 | 22.124
61 | -0.057557 | -0.014466 | 0.057557 | 0.014466 | 4.7198e-07 | 2.9992e-07 | 0.086684 | 0.086684 | 0.086684 | 0.98818 | -0.22688 | 0.98819 | -0.22671 | 23.8144
62 | -0.091834 | -0.023122 | 0.091874 | 0.023147 | 4.0151e-05 | 2.5624e-05 | 0.13799 | 0.13799 | 0.13799 | 0.99059 | -0.1802 | 0.99106 | -0.17106 | 37.9083
63 | 0.080111 | 0.020183 | -0.08003 | -0.020132 | 8.0374e-05 | 5.1249e-05 | 0.12038 | 0.12038 | 0.12038 | 0.99059 | -0.1802 | 0.9895 | -0.2012 | 33.0703
64 | 0.075301 | 0.018947 | -0.075262 | -0.018922 | 3.9514e-05 | 2.5184e-05 | 0.11326 | 0.11326 | 0.11326 | 0.9895 | -0.2012 | 0.98894 | -0.21219 | 31.1166
65 | 0.068455 | 0.017216 | -0.068407 | -0.017186 | 4.7447e-05 | 3.0213e-05 | 0.10302 | 0.10302 | 0.10302 | 0.98894 | -0.21219 | 0.98819 | -0.22671 | 28.3028
66 | -0.023612 | -0.0059178 | 0.023617 | 0.0059206 | 4.6299e-06 | 2.8413e-06 | 0.035795 | 0.035795 | 0.035795 | 0.98158 | -0.35507 | 0.98179 | -0.35096 | 9.8337
67 | -0.023617 | -0.0059206 | 0.023637 | 0.0059329 | 1.9987e-05 | 1.2265e-05 | 0.035795 | 0.035795 | 0.035795 | 0.98179 | -0.35096 | 0.9827 | -0.33321 | 9.8337
68 | 0.0099815 | 0.0025018 | -0.0099807 | -0.0025014 | 8.3619e-07 | 4.1268e-07 | 0.01515 | 0.01515 | 0.01515 | 0.98036 | -0.37864 | 0.98027 | -0.3804 | 4.1622
69 | -0.043358 | -0.010883 | 0.043371 | 0.010891 | 1.2723e-05 | 8.0435e-06 | 0.065715 | 0.065715 | 0.065715 | 0.98186 | -0.34923 | 0.98217 | -0.34308 | 18.0536
70 | -0.046072 | -0.011568 | 0.04611 | 0.011592 | 3.7744e-05 | 2.3895e-05 | 0.069808 | 0.069808 | 0.069808 | 0.98217 | -0.34308 | 0.98305 | -0.32592 | 19.178
71 | -0.023637 | -0.0059329 | 0.023647 | 0.0059389 | 9.8677e-06 | 6.055e-06 | 0.035795 | 0.035794 | 0.035795 | 0.9827 | -0.33321 | 0.98314 | -0.32446 | 9.8337
72 | 0.11858 | 0.029992 | -0.11807 | -0.029664 | 0.00051451 | 0.00032873 | 0.1782 | 0.1782 | 0.1782 | 0.99074 | -0.17703 | 0.98605 | -0.2679 | 48.9564
73 | 0.033517 | 0.0084118 | -0.033486 | -0.0083925 | 3.088e-05 | 1.9353e-05 | 0.050584 | 0.050584 | 0.050584 | 0.98605 | -0.2679 | 0.98506 | -0.28724 | 13.8968
74 | 0.04738 | 0.011935 | -0.047259 | -0.011858 | 0.00012083 | 7.6528e-05 | 0.071522 | 0.071522 | 0.071522 | 0.98605 | -0.2679 | 0.9833 | -0.32137 | 19.6489
75 | 0.012496 | 0.0031328 | -0.012493 | -0.0031312 | 3.0615e-06 | 1.6666e-06 | 0.018858 | 0.018858 | 0.018858 | 0.98605 | -0.2679 | 0.98578 | -0.27304 | 5.1807
76 | -0.011021 | -0.002762 | 0.011022 | 0.0027624 | 7.6996e-07 | 3.9821e-07 | 0.016637 | 0.016637 | 0.016637 | 0.98571 | -0.27451 | 0.98578 | -0.27304 | 4.5706
77 | 0.0094771 | 0.0023751 | -0.0094761 | -0.0023746 | 9.661e-07 | 4.5787e-07 | 0.014306 | 0.014307 | 0.014307 | 0.98571 | -0.27451 | 0.9856 | -0.27665 | 3.9304
78 | 0.0094761 | 0.0023746 | -0.0094759 | -0.0023746 | 1.5407e-07 | 7.3023e-08 | 0.014307 | 0.014307 | 0.014307 | 0.9856 | -0.27665 | 0.98558 | -0.27699 | 3.9304
79 | 0.0081575 | 0.0020441 | -0.0081572 | -0.002044 | 2.9034e-07 | 1.2077e-07 | 0.012316 | 0.012316 | 0.012316 | 0.98558 | -0.27699 | 0.98554 | -0.27774 | 3.3835
80 | 0.02365 | 0.0059411 | -0.023647 | -0.0059389 | 3.4887e-06 | 2.1407e-06 | 0.035794 | 0.035794 | 0.035794 | 0.9833 | -0.32137 | 0.98314 | -0.32446 | 9.8336
81 | 0.005518 | 0.0013828 | -0.0055169 | -0.0013827 | 1.0919e-06 | 1.644e-07 | 0.0083313 | 0.0083315 | 0.0083315 | 0.98554 | -0.27774 | 0.98533 | -0.28189 | 2.2889
82 | 0.0026392 | 0.00066117 | -0.0026391 | -0.00066122 | 3.623e-08 | -5.435e-08 | 0.0039847 | 0.0039847 | 0.0039847 | 0.98554 | -0.27774 | 0.98553 | -0.27803 | 1.0947
83 | 0.0013205 | 0.00033073 | -0.0013204 | -0.00033093 | 2.6119e-08 | -2.0656e-07 | 0.0019937 | 0.0019937 | 0.0019937 | 0.98553 | -0.27803 | 0.98551 | -0.27844 | 0.54773

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55382 | 0.14068

## res_load
| p_mw | q_mvar
0 | 0.018948 | 0.0047489
1 | 0.0039544 | 0.00099105
2 | 0.0038347 | 0.00096107
3 | 0.004588 | 0.0011499
4 | 0.0025741 | 0.00064513
5 | 0.0030486 | 0.00076404
6 | 0.0019955 | 0.00050013
7 | 0.00073613 | 0.00018449
8 | 0.008078 | 0.0020245
9 | 0.00033495 | 8.3947e-05
10 | 0.00049721 | 0.00012461
11 | 0.0017454 | 0.00043745
12 | 0.00094932 | 0.00023792
13 | 0.0031921 | 0.00080002
14 | 0.011398 | 0.0028566
15 | 0.013162 | 0.0032988
16 | 0.0035109 | 0.0008799
17 | 0.0090026 | 0.0022563
18 | 0.0037727 | 0.00094552
19 | 0.007479 | 0.0018744
20 | 0.010595 | 0.0026554
21 | 0.011938 | 0.002992
22 | 0.013001 | 0.0032585
23 | 0.0069106 | 0.001732
24 | 0.0032932 | 0.00082535
25 | 0.007248 | 0.0018165
26 | 0.011072 | 0.0027749
27 | 0.0055333 | 0.0013868
28 | 0.0070237 | 0.0017603
29 | 0.010004 | 0.0025072
30 | 0.020137 | 0.0050467
31 | 0.0048766 | 0.0012222
32 | 0.0089321 | 0.0022386
33 | 0.0076433 | 0.0019156
34 | 0.011009 | 0.0027591
35 | 0.0093836 | 0.0023517
36 | 0.029712 | 0.0074466
37 | 0.010089 | 0.0025286
38 | 0.0090413 | 0.002266
39 | 0.021056 | 0.0052771
40 | 0.0095544 | 0.0023946
41 | 0.0053984 | 0.001353
42 | 0.007956 | 0.001994
43 | 0.0040861 | 0.0010241
44 | 0.011723 | 0.0029382
45 | 0.0069842 | 0.0017504
46 | 0.004729 | 0.0011852
47 | 0.006807 | 0.001706
48 | 0.01085 | 0.0027193
49 | 0.023612 | 0.0059178
50 | 0.0023952 | 0.0006003
51 | 0.0033281 | 0.00083411
52 | 0.0099807 | 0.0025014
53 | 0.0027017 | 0.00067711
54 | 0.010588 | 0.0026536
55 | 0.0098986 | 0.0024808
56 | 0.024676 | 0.0061844
57 | 0.0015438 | 0.00038692
58 | 0.0014713 | 0.00036875
59 | 0.0013184 | 0.00033043
60 | 0.033486 | 0.0083925
61 | 0.023609 | 0.005917
62 | 0.0013187 | 0.00033049
63 | 0.0013204 | 0.00033093
64 | 0.0055169 | 0.0013827

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1