## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-110_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-110_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-110_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-110_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-110_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-110_0_6_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_1632-110_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1632-110_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1632-110_0_6_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_1632-110_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1632-110_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1632-110_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1632-110_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1632-110_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1632-110_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1632-110_0_6_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1632-110_0_6_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1632-110_0_6_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_1632-110_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1632-110_0_6_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_1632-110_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1632-110_0_6_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_1632-110_0_6_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1632-110_0_6_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1632-110_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1632-110_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1632-110_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1632-110_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1632-110_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1632-110_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1632-110_0_6_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1632-110_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1632-110_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1632-110_0_6_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1632-110_0_6_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1632-110_0_6_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1632-110_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1632-110_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1632-110_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1632-110_0_6_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1632-110_0_6_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_1632-110_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1632-110_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1632-110_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1632-110_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1632-110_0_6_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_1632-110_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1632-110_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1632-110_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1632-110_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1632-110_0_6_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_1632-110_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1632-110_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1632-110_0_6_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1632-110_0_6_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1632-110_0_6_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1632-110_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_1632-110_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1632-110_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1632-110_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_1632-110_0_6_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_1632-110_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_MV_226_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-110_0_6_load_0 | 0 | 0.0033185 | 0.0008317 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-110_0_6_load_1 | 1 | 0.0028121 | 0.00070477 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-110_0_6_load_2 | 2 | 0.0010356 | 0.00025955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-110_0_6_load_3 | 3 | 0.0027568 | 0.00069093 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-110_0_6_load_17 | 5 | 0.0039798 | 0.00099742 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-110_0_6_load_12 | 7 | 0.0012406 | 0.00031093 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-110_0_6_load_63 | 8 | 0.015878 | 0.0039795 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-110_0_6_load_15 | 9 | 0.0052763 | 0.0013224 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-110_0_6_load_10 | 10 | 0.0011825 | 0.00029637 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-110_0_6_load_13 | 11 | 0.004679 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-110_0_6_load_5 | 12 | 0.0046818 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-110_0_6_load_6 | 13 | 0.0077557 | 0.0019438 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-110_0_6_load_8 | 14 | 0.0080943 | 0.0020286 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-110_0_6_load_30 | 16 | 0.0083418 | 0.0020906 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-110_0_6_load_29 | 17 | 0.0065816 | 0.0016495 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-110_0_6_load_9 | 18 | 0.002642 | 0.00066215 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-110_0_6_load_14 | 20 | 0.0052348 | 0.001312 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-110_0_6_load_47 | 21 | 0.0038173 | 0.0009567 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-110_0_6_load_45 | 22 | 0.0083931 | 0.0021035 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-110_0_6_load_23 | 23 | 0.0065877 | 0.001651 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-110_0_6_load_18 | 24 | 0.0063244 | 0.001585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-110_0_6_load_19 | 25 | 0.010138 | 0.0025409 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-110_0_6_load_20 | 26 | 0.010214 | 0.0025599 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-110_0_6_load_28 | 27 | 0.0040057 | 0.0010039 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-110_0_6_load_21 | 28 | 0.011883 | 0.0029783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-110_0_6_load_22 | 29 | 0.0069322 | 0.0017374 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-110_0_6_load_32 | 30 | 0.011256 | 0.002821 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-110_0_6_load_26 | 31 | 0.0044341 | 0.0011113 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-110_0_6_load_38 | 33 | 0.010123 | 0.002537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-110_0_6_load_39 | 34 | 0.0053654 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-110_0_6_load_40 | 35 | 0.005332 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-110_0_6_load_24 | 36 | 0.0057269 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-110_0_6_load_25 | 37 | 0.095021 | 0.023815 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-110_0_6_load_27 | 38 | 0.0040126 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-110_0_6_load_44 | 39 | 0.0079498 | 0.0019924 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-110_0_6_load_61 | 40 | 0.0085456 | 0.0021417 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-110_0_6_load_41 | 41 | 0.0080991 | 0.0020298 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-110_0_6_load_42 | 42 | 0.007923 | 0.0019857 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-110_0_6_load_43 | 43 | 0.007968 | 0.001997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-110_0_6_load_36 | 44 | 0.0071011 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-110_0_6_load_56 | 45 | 0.0079588 | 0.0019947 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-110_0_6_load_33 | 46 | 0.0087928 | 0.0022037 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-110_0_6_load_35 | 48 | 0.0082049 | 0.0020563 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-110_0_6_load_37 | 49 | 0.0057284 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-110_0_6_load_57 | 50 | 0.0079516 | 0.0019928 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-110_0_6_load_46 | 51 | 0.0082415 | 0.0020655 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-110_0_6_load_48 | 52 | 0.0088419 | 0.002216 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-110_0_6_load_54 | 53 | 0.0099486 | 0.0024933 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1632-110_0_6_load_49 | 54 | 0.0097525 | 0.0024442 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1632-110_0_6_load_50 | 55 | 0.0098062 | 0.0024577 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1632-110_0_6_load_51 | 56 | 0.009534 | 0.0023894 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1632-110_0_6_load_52 | 57 | 0.0083464 | 0.0020918 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1632-110_0_6_load_53 | 58 | 0.0079276 | 0.0019868 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1632-110_0_6_load_58 | 59 | 0.0083418 | 0.0020907 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1632-110_0_6_load_59 | 61 | 0.0044598 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-110_0_6_line_0 |  | 0 | 1 | 0.0070216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-110_0_6_line_1 |  | 0 | 2 | 0.016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-110_0_6_line_2 |  | 1 | 3 | 0.014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-110_0_6_line_3 |  | 2 | 4 | 0.014044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-110_0_6_line_4 |  | 3 | 5 | 0.062103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-110_0_6_line_5 |  | 4 | 6 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-110_0_6_line_6 |  | 4 | 7 | 0.0089749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-110_0_6_line_7 |  | 5 | 8 | 0.098991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-110_0_6_line_8 |  | 6 | 9 | 0.02152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-110_0_6_line_9 |  | 6 | 10 | 0.0098453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-110_0_6_line_10 |  | 7 | 11 | 0.0067431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-110_0_6_line_11 |  | 9 | 19 | 0.015112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-110_0_6_line_12 |  | 10 | 18 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-110_0_6_line_13 |  | 11 | 20 | 0.023797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-110_0_6_line_14 |  | 12 | 13 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-110_0_6_line_15 |  | 13 | 14 | 0.0024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-110_0_6_line_16 |  | 14 | 15 | 0.0026578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-110_0_6_line_17 |  | 15 | 16 | 0.00093646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-110_0_6_line_18 |  | 15 | 17 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-110_0_6_line_19 |  | 16 | 19 | 0.027686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-110_0_6_line_20 |  | 17 | 23 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-110_0_6_line_21 |  | 20 | 21 | 0.0046032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-110_0_6_line_22 |  | 21 | 22 | 0.0013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-110_0_6_line_23 |  | 22 | 51 | 0.015022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-110_0_6_line_24 |  | 23 | 28 | 0.0030317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-110_0_6_line_25 |  | 24 | 25 | 0.01292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1632-110_0_6_line_26 |  | 24 | 26 | 0.0073245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1632-110_0_6_line_27 |  | 24 | 27 | 0.048377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1632-110_0_6_line_28 |  | 25 | 28 | 0.024589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1632-110_0_6_line_29 |  | 26 | 29 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1632-110_0_6_line_30 |  | 27 | 30 | 0.0096712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-110_0_6_line_31 |  | 27 | 31 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1632-110_0_6_line_32 |  | 29 | 32 | 0.013461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1632-110_0_6_line_33 |  | 31 | 36 | 0.0010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-110_0_6_line_34 |  | 32 | 33 | 0.018492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-110_0_6_line_35 |  | 32 | 34 | 0.01926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-110_0_6_line_36 |  | 32 | 35 | 0.012098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-110_0_6_line_37 |  | 33 | 39 | 0.0014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-110_0_6_line_38 |  | 34 | 44 | 0.017599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-110_0_6_line_39 |  | 35 | 45 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-110_0_6_line_40 |  | 36 | 37 | 0.023841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-110_0_6_line_41 |  | 37 | 38 | 0.0028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1632-110_0_6_line_42 |  | 38 | 40 | 0.046303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-110_0_6_line_43 |  | 40 | 43 | 0.0013459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1632-110_0_6_line_44 |  | 41 | 42 | 0.0011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-110_0_6_line_45 |  | 42 | 43 | 0.0010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-110_0_6_line_46 |  | 44 | 47 | 0.013772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-110_0_6_line_47 |  | 45 | 50 | 0.0092047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-110_0_6_line_48 |  | 46 | 47 | 0.024593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-110_0_6_line_49 |  | 46 | 48 | 0.005594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-110_0_6_line_50 |  | 47 | 49 | 0.0013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-110_0_6_line_51 |  | 50 | 61 | 0.00075056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-110_0_6_line_52 |  | 51 | 52 | 0.0099275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-110_0_6_line_53 |  | 52 | 53 | 0.0097149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-110_0_6_line_54 |  | 54 | 55 | 0.0017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-110_0_6_line_55 |  | 54 | 56 | 0.023381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-110_0_6_line_56 |  | 55 | 57 | 0.021334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1632-110_0_6_line_57 |  | 56 | 58 | 0.002539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1632-110_0_6_line_58 |  | 57 | 59 | 0.0010417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1632-110_0_6_line_59 |  | 58 | 60 | 0.006742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1632-110_0_6_line_60 |  | 60 | 61 | 0.013671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-110_0_6_trafo_31 | 0.63 MVA 20/0.4 kV | 62 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2722940.9143 | 1211071.9699 | 2722935.444 | 1211067.5679
1 | 2722940.9143 | 1211071.9699 | 2722947.8803 | 1211077.5755 | 2722953.3815 | 1211082.061
2 | 2722935.444 | 1211067.5679 | 2722923.8762 | 1211058.2592
3 | 2722965.4757 | 1211089.1247 | 2722955.3937 | 1211083.7017 | 2722953.3815 | 1211082.061
4 | 2722923.8762 | 1211058.2592 | 2722862.7059 | 1211047.5339
5 | 2722965.4757 | 1211089.1247 | 2722982.4761 | 1211093.7676
6 | 2722965.4757 | 1211089.1247 | 2722962.1628 | 1211094.5829 | 2722961.4641 | 1211097.0769
7 | 2722862.7059 | 1211047.5339 | 2722887.0413 | 1210951.5811
8 | 2722982.4761 | 1211093.7676 | 2723003.111 | 1211099.8765
9 | 2722982.4761 | 1211093.7676 | 2722978.2101 | 1211084.8946
10 | 2722959.6452 | 1211103.5701 | 2722961.4641 | 1211097.0769
11 | 2723017.6017 | 1211104.1665 | 2723003.111 | 1211099.8765
12 | 2722970.7684 | 1211069.4162 | 2722978.2101 | 1211084.8946
13 | 2722956.3619 | 1211127.0456 | 2722956.8633 | 1211123.7515 | 2722957.8301 | 1211110.0499 | 2722959.6452 | 1211103.5701
14 | 2723060.4915 | 1211092.748 | 2723050.2457 | 1211096.7237
15 | 2723047.9639 | 1211097.6091 | 2723050.2457 | 1211096.7237
16 | 2723045.4861 | 1211098.5705 | 2723047.9639 | 1211097.6091
17 | 2723044.6131 | 1211098.9093 | 2723045.4861 | 1211098.5705
18 | 2723045.4861 | 1211098.5705 | 2723046.6649 | 1211109.3941
19 | 2723017.6017 | 1211104.1665 | 2723037.4323 | 1211101.6957 | 2723044.6131 | 1211098.9093
20 | 2723046.6649 | 1211109.3941 | 2723047.7036 | 1211118.9319 | 2723050.3749 | 1211135.8165
21 | 2722956.3619 | 1211127.0456 | 2722955.6691 | 1211131.5963
22 | 2722955.4608 | 1211132.9648 | 2722955.6691 | 1211131.5963
23 | 2722955.4608 | 1211132.9648 | 2722953.1999 | 1211147.8162
24 | 2723050.3749 | 1211135.8165 | 2723050.8486 | 1211138.8109
25 | 2723045.2447 | 1211158.1839 | 2723033.6368 | 1211163.8558
26 | 2723027.3532 | 1211167.5848 | 2723030.8457 | 1211165.2197 | 2723033.6368 | 1211163.8558
27 | 2723033.6368 | 1211163.8558 | 2723058.4465 | 1211205.3864
28 | 2723045.2447 | 1211158.1839 | 2723053.2915 | 1211154.252 | 2723050.8486 | 1211138.8109
29 | 2723027.3532 | 1211167.5848 | 2723014.6561 | 1211176.1831 | 2723013.6434 | 1211177.0549
30 | 2723058.4465 | 1211205.3864 | 2723063.4734 | 1211204.1669 | 2723067.9397 | 1211204.7039 | 2723067.9397 | 1211204.7039
31 | 2723058.4465 | 1211205.3864 | 2723058.4465 | 1211205.3864 | 2723054.7054 | 1211209.1232 | 2723051.7059 | 1211215.9666 | 2723049.4489 | 1211224.156
32 | 2723003.4422 | 1211185.8371 | 2723013.6434 | 1211177.0549
33 | 2723049.1692 | 1211225.1708 | 2723049.4489 | 1211224.156
34 | 2723003.4422 | 1211185.8371 | 2723000.3171 | 1211204.0626
35 | 2723003.4422 | 1211185.8371 | 2723006.1951 | 1211166.7751
36 | 2723003.4422 | 1211185.8371 | 2722991.3571 | 1211185.2688
37 | 2723000.3171 | 1211204.0626 | 2723000.0714 | 1211205.4955
38 | 2723008.7106 | 1211149.3564 | 2723006.1951 | 1211166.7751
39 | 2722991.3571 | 1211185.2688 | 2722979.0041 | 1211184.6879 | 2722976.651 | 1211184.8139
40 | 2723049.1692 | 1211225.1708 | 2723042.8349 | 1211248.1545
41 | 2723042.0675 | 1211250.939 | 2723042.8349 | 1211248.1545
42 | 2723042.0675 | 1211250.939 | 2722996.2165 | 1211257.3914
43 | 2722996.2165 | 1211257.3914 | 2722995.9134 | 1211258.7027
44 | 2722995.4198 | 1211260.8379 | 2722995.6721 | 1211259.7467
45 | 2722995.6721 | 1211259.7467 | 2722995.9134 | 1211258.7027
46 | 2723010.6791 | 1211135.7257 | 2723008.7106 | 1211149.3564
47 | 2722976.651 | 1211184.8139 | 2722969.4079 | 1211185.2016 | 2722967.5056 | 1211185.6359
48 | 2723010.6791 | 1211135.7257 | 2723035.1213 | 1211133.0054
49 | 2723034.8539 | 1211138.593 | 2723035.1213 | 1211133.0054
50 | 2723010.6791 | 1211135.7257 | 2723010.973 | 1211134.3861
51 | 2722966.7739 | 1211185.803 | 2722967.5056 | 1211185.6359
52 | 2722953.1999 | 1211147.8162 | 2722951.7059 | 1211157.6306
53 | 2722950.2438 | 1211167.2348 | 2722951.7059 | 1211157.6306
54 | 2722939.7437 | 1211219.4508 | 2722938.9842 | 1211221.0424
55 | 2722939.7437 | 1211219.4508 | 2722949.813 | 1211198.3489
56 | 2722929.7966 | 1211240.2965 | 2722938.9842 | 1211221.0424
57 | 2722949.813 | 1211198.3489 | 2722950.9064 | 1211196.0574
58 | 2722929.7966 | 1211240.2965 | 2722929.348 | 1211241.2367
59 | 2722953.8099 | 1211189.9727 | 2722950.9064 | 1211196.0574
60 | 2722953.8099 | 1211189.9727 | 2722959.9832 | 1211187.3534 | 2722966.7739 | 1211185.803

## bus_geodata
| x | y | coords
0 | 2722940.9143 | 1211071.9699
1 | 2722935.444 | 1211067.5679
2 | 2722953.3815 | 1211082.061
3 | 2722923.8762 | 1211058.2592
4 | 2722965.4757 | 1211089.1247
5 | 2722862.7059 | 1211047.5339
6 | 2722982.4761 | 1211093.7676
7 | 2722961.4641 | 1211097.0769
8 | 2722887.0413 | 1210951.5811
9 | 2723003.111 | 1211099.8765
10 | 2722978.2101 | 1211084.8946
11 | 2722959.6452 | 1211103.5701
12 | 2723060.4915 | 1211092.748
13 | 2723050.2457 | 1211096.7237
14 | 2723047.9639 | 1211097.6091
15 | 2723045.4861 | 1211098.5705
16 | 2723044.6131 | 1211098.9093
17 | 2723046.6649 | 1211109.3941
18 | 2722970.7684 | 1211069.4162
19 | 2723017.6017 | 1211104.1665
20 | 2722956.3619 | 1211127.0456
21 | 2722955.6691 | 1211131.5963
22 | 2722955.4608 | 1211132.9648
23 | 2723050.3749 | 1211135.8165
24 | 2723033.6368 | 1211163.8558
25 | 2723045.2447 | 1211158.1839
26 | 2723027.3532 | 1211167.5848
27 | 2723058.4465 | 1211205.3864
28 | 2723050.8486 | 1211138.8109
29 | 2723013.6434 | 1211177.0549
30 | 2723067.9397 | 1211204.7039
31 | 2723049.4489 | 1211224.156
32 | 2723003.4422 | 1211185.8371
33 | 2723000.3171 | 1211204.0626
34 | 2723006.1951 | 1211166.7751
35 | 2722991.3571 | 1211185.2688
36 | 2723049.1692 | 1211225.1708
37 | 2723042.8349 | 1211248.1545
38 | 2723042.0675 | 1211250.939
39 | 2723000.0714 | 1211205.4955
40 | 2722996.2165 | 1211257.3914
41 | 2722995.4198 | 1211260.8379
42 | 2722995.6721 | 1211259.7467
43 | 2722995.9134 | 1211258.7027
44 | 2723008.7106 | 1211149.3564
45 | 2722976.651 | 1211184.8139
46 | 2723035.1213 | 1211133.0054
47 | 2723010.6791 | 1211135.7257
48 | 2723034.8539 | 1211138.593
49 | 2723010.973 | 1211134.3861
50 | 2722967.5056 | 1211185.6359
51 | 2722953.1999 | 1211147.8162
52 | 2722951.7059 | 1211157.6306
53 | 2722950.2438 | 1211167.2348
54 | 2722939.7437 | 1211219.4508
55 | 2722938.9842 | 1211221.0424
56 | 2722949.813 | 1211198.3489
57 | 2722929.7966 | 1211240.2965
58 | 2722950.9064 | 1211196.0574
59 | 2722929.348 | 1211241.2367
60 | 2722953.8099 | 1211189.9727
61 | 2722966.7739 | 1211185.803
62 | 2722953.8099 | 1211189.9727

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98198 | -0.34668 | 0.0033185 | 0.0008317
1 | 0.98181 | -0.34991 | 0.0028121 | 0.00070477
2 | 0.98241 | -0.33835 | 0.0010356 | 0.00025955
3 | 0.9815 | -0.35599 | 0.0027568 | 0.00069093
4 | 0.98279 | -0.3308 | 0 | 0
5 | 0.98036 | -0.37833 | 0.0039798 | 0.00099742
6 | 0.9841 | -0.3054 | 0 | 0
7 | 0.98237 | -0.33897 | 0.0012406 | 0.00031093
8 | 0.97891 | -0.40688 | 0.015878 | 0.0039795
9 | 0.98577 | -0.27292 | 0.0052763 | 0.0013224
10 | 0.98406 | -0.30608 | 0.0011825 | 0.00029637
11 | 0.98207 | -0.34495 | 0.004679 | 0.0011727
12 | 0.98926 | -0.20542 | 0.0046818 | 0.0011734
13 | 0.98931 | -0.20451 | 0.0077557 | 0.0019438
14 | 0.98934 | -0.20396 | 0.0080943 | 0.0020286
15 | 0.98939 | -0.20299 | 0 | 0
16 | 0.9893 | -0.20462 | 0.0083418 | 0.0020906
17 | 0.99057 | -0.18011 | 0.0065816 | 0.0016495
18 | 0.98402 | -0.3069 | 0.002642 | 0.00066215
19 | 0.98702 | -0.24875 | 0 | 0
20 | 0.98109 | -0.3641 | 0.0052348 | 0.001312
21 | 0.98092 | -0.36737 | 0.0038173 | 0.0009567
22 | 0.98088 | -0.36826 | 0.0083931 | 0.0021035
23 | 0.99365 | -0.12116 | 0.0065877 | 0.001651
24 | 0.99624 | -0.071514 | 0.0063244 | 0.001585
25 | 0.99564 | -0.083119 | 0.010138 | 0.0025409
26 | 0.99695 | -0.057945 | 0.010214 | 0.0025599
27 | 0.99276 | -0.13844 | 0.0040057 | 0.0010039
28 | 0.99401 | -0.11413 | 0.011883 | 0.0029783
29 | 0.99862 | -0.026143 | 0.0069322 | 0.0017374
30 | 0.99266 | -0.14036 | 0.011256 | 0.002821
31 | 0.99138 | -0.16511 | 0.0044341 | 0.0011113
32 | 1 | 0 | -0.47222 | -0.11951
33 | 0.9997 | -0.0058266 | 0.010123 | 0.002537
34 | 0.99938 | -0.011822 | 0.0053654 | 0.0013447
35 | 0.99913 | -0.016761 | 0.005332 | 0.0013363
36 | 0.99124 | -0.16767 | 0.0057269 | 0.0014353
37 | 0.98837 | -0.22348 | 0.095021 | 0.023815
38 | 0.98827 | -0.22536 | 0.0040126 | 0.0010057
39 | 0.99969 | -0.0060282 | 0.0079498 | 0.0019924
40 | 0.98688 | -0.25228 | 0.0085456 | 0.0021417
41 | 0.98683 | -0.25333 | 0.0080991 | 0.0020298
42 | 0.98684 | -0.25317 | 0.007923 | 0.0019857
43 | 0.98685 | -0.25286 | 0.007968 | 0.001997
44 | 0.99891 | -0.020987 | 0.0071011 | 0.0017797
45 | 0.99813 | -0.035823 | 0.0079588 | 0.0019947
46 | 0.99824 | -0.033765 | 0.0087928 | 0.0022037
47 | 0.99862 | -0.026456 | 0 | 0
48 | 0.9982 | -0.034568 | 0.0082049 | 0.0020563
49 | 0.99862 | -0.026594 | 0.0057284 | 0.0014357
50 | 0.99758 | -0.046477 | 0.0079516 | 0.0019928
51 | 0.9805 | -0.37562 | 0.0082415 | 0.0020655
52 | 0.98033 | -0.379 | 0.0088419 | 0.002216
53 | 0.98024 | -0.38076 | 0.0099486 | 0.0024933
54 | 0.99566 | -0.083395 | 0.0097525 | 0.0024442
55 | 0.99562 | -0.084216 | 0.0098062 | 0.0024577
56 | 0.99644 | -0.068506 | 0.009534 | 0.0023894
57 | 0.9953 | -0.090479 | 0.0083464 | 0.0020918
58 | 0.99654 | -0.066465 | 0.0079276 | 0.0019868
59 | 0.99529 | -0.090631 | 0.0083418 | 0.0020907
60 | 0.99687 | -0.060112 | 0 | 0
61 | 0.99754 | -0.047242 | 0.0044598 | 0.0011177
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02548 | 0.0064044 | -0.025476 | -0.006402 | 3.9268e-06 | 2.4243e-06 | 0.038618 | 0.038618 | 0.038618 | 0.98198 | -0.34668 | 0.98181 | -0.34991 | 10.6092
1 | -0.028799 | -0.0072361 | 0.02881 | 0.0072433 | 1.1458e-05 | 7.1302e-06 | 0.043646 | 0.043646 | 0.043646 | 0.98198 | -0.34668 | 0.98241 | -0.33835 | 11.9907
2 | 0.022664 | 0.0056973 | -0.022658 | -0.0056932 | 6.5721e-06 | 4.0184e-06 | 0.034356 | 0.034356 | 0.034356 | 0.98181 | -0.34991 | 0.9815 | -0.35599 | 9.4384
3 | -0.029846 | -0.0075028 | 0.029857 | 0.0075095 | 1.0767e-05 | 6.7129e-06 | 0.045215 | 0.045215 | 0.045215 | 0.98241 | -0.33835 | 0.98279 | -0.3308 | 12.4216
4 | 0.019901 | 0.0050023 | -0.01988 | -0.0049895 | 2.1207e-05 | 1.2789e-05 | 0.030176 | 0.030177 | 0.030177 | 0.9815 | -0.35599 | 0.98036 | -0.37833 | 8.2903
5 | -0.080349 | -0.0202 | 0.080446 | 0.020262 | 9.7575e-05 | 6.2225e-05 | 0.12168 | 0.12168 | 0.12168 | 0.98279 | -0.3308 | 0.9841 | -0.3054 | 33.4275
6 | 0.050492 | 0.012691 | -0.050473 | -0.012678 | 1.9677e-05 | 1.2479e-05 | 0.076462 | 0.076462 | 0.076462 | 0.98279 | -0.3308 | 0.98237 | -0.33897 | 21.0059
7 | 0.0159 | 0.0039921 | -0.015878 | -0.0039795 | 2.1625e-05 | 1.2594e-05 | 0.024136 | 0.024136 | 0.024136 | 0.98036 | -0.37833 | 0.97891 | -0.40688 | 6.6309
8 | -0.084271 | -0.021221 | 0.084402 | 0.021304 | 0.00013111 | 8.3634e-05 | 0.12746 | 0.12746 | 0.12746 | 0.9841 | -0.3054 | 0.98577 | -0.27292 | 35.0163
9 | 0.0038248 | 0.00095832 | -0.0038246 | -0.00095837 | 1.2348e-07 | -4.6055e-08 | 0.0057832 | 0.0057832 | 0.0057832 | 0.9841 | -0.3054 | 0.98406 | -0.30608 | 1.5888
10 | 0.049232 | 0.012367 | -0.049218 | -0.012358 | 1.4066e-05 | 8.9168e-06 | 0.074582 | 0.074582 | 0.074582 | 0.98237 | -0.33897 | 0.98207 | -0.34495 | 20.4897
11 | -0.089679 | -0.022627 | 0.089783 | 0.022693 | 0.00010393 | 6.6324e-05 | 0.13542 | 0.13542 | 0.13542 | 0.98577 | -0.27292 | 0.98702 | -0.24875 | 37.2044
12 | 0.0026421 | 0.000662 | -0.002642 | -0.00066215 | 1.028e-07 | -1.5239e-07 | 0.0039951 | 0.0039952 | 0.0039952 | 0.98406 | -0.30608 | 0.98402 | -0.3069 | 1.0976
13 | 0.044539 | 0.011186 | -0.044498 | -0.01116 | 4.0651e-05 | 2.5716e-05 | 0.067493 | 0.067493 | 0.067493 | 0.98207 | -0.34495 | 0.98109 | -0.3641 | 18.542
14 | -0.0046818 | -0.0011734 | 0.004682 | 0.0011734 | 2.0439e-07 | -1.0301e-08 | 0.0070423 | 0.0070422 | 0.0070423 | 0.98926 | -0.20542 | 0.98931 | -0.20451 | 1.9347
15 | -0.012438 | -0.0031171 | 0.012438 | 0.0031173 | 3.2121e-07 | 1.7415e-07 | 0.018707 | 0.018707 | 0.018707 | 0.98931 | -0.20451 | 0.98934 | -0.20396 | 5.1394
16 | -0.020532 | -0.0051459 | 0.020533 | 0.0051465 | 9.505e-07 | 5.7419e-07 | 0.030882 | 0.030882 | 0.030882 | 0.98934 | -0.20396 | 0.98939 | -0.20299 | 8.484
17 | 0.098322 | 0.02491 | -0.098315 | -0.024905 | 7.689e-06 | 4.909e-06 | 0.14797 | 0.14797 | 0.14797 | 0.98939 | -0.20299 | 0.9893 | -0.20462 | 40.6512
18 | -0.11886 | -0.030057 | 0.11899 | 0.03014 | 0.0001306 | 8.3445e-05 | 0.17885 | 0.17885 | 0.17885 | 0.98939 | -0.20299 | 0.99057 | -0.18011 | 49.1352
19 | 0.089973 | 0.022815 | -0.089783 | -0.022693 | 0.00019041 | 0.00012151 | 0.13542 | 0.13542 | 0.13542 | 0.9893 | -0.20462 | 0.98702 | -0.24875 | 37.2043
20 | -0.12557 | -0.03179 | 0.12592 | 0.032017 | 0.00035652 | 0.00022783 | 0.18874 | 0.18874 | 0.18874 | 0.99057 | -0.18011 | 0.99365 | -0.12116 | 51.8513
21 | 0.039263 | 0.009848 | -0.039257 | -0.0098441 | 6.1221e-06 | 3.86e-06 | 0.059553 | 0.059553 | 0.059553 | 0.98109 | -0.3641 | 0.98092 | -0.36737 | 16.3608
22 | 0.03544 | 0.0088874 | -0.035438 | -0.0088865 | 1.5004e-06 | 9.4278e-07 | 0.053763 | 0.053763 | 0.053763 | 0.98092 | -0.36737 | 0.98088 | -0.36826 | 14.77
23 | 0.027045 | 0.006783 | -0.027036 | -0.0067771 | 9.4837e-06 | 5.88e-06 | 0.04103 | 0.04103 | 0.04103 | 0.98088 | -0.36826 | 0.9805 | -0.37562 | 11.272
24 | -0.13251 | -0.033668 | 0.13256 | 0.033697 | 4.4842e-05 | 2.866e-05 | 0.1986 | 0.1986 | 0.1986 | 0.99365 | -0.12116 | 0.99401 | -0.11413 | 54.5616
25 | 0.15488 | 0.039409 | -0.15479 | -0.039354 | 8.6582e-05 | 5.4908e-05 | 0.23154 | 0.23155 | 0.23155 | 0.99624 | -0.071514 | 0.99564 | -0.083119 | 21.2038
26 | -0.3193 | -0.081043 | 0.31951 | 0.081176 | 0.00020856 | 0.00013319 | 0.47728 | 0.47728 | 0.47728 | 0.99624 | -0.071514 | 0.99695 | -0.057945 | 43.7067
27 | 0.1581 | 0.040049 | -0.15759 | -0.039726 | 0.00050643 | 0.00032286 | 0.23629 | 0.23629 | 0.23629 | 0.99624 | -0.071514 | 0.99276 | -0.13844 | 32.457
28 | 0.14466 | 0.036813 | -0.14444 | -0.036675 | 0.00021589 | 0.00013753 | 0.21639 | 0.21639 | 0.21639 | 0.99564 | -0.083119 | 0.99401 | -0.11413 | 29.7243
29 | -0.32972 | -0.083736 | 0.33023 | 0.084059 | 0.0005055 | 0.00032286 | 0.49252 | 0.49252 | 0.49252 | 0.99695 | -0.057945 | 0.99862 | -0.026143 | 45.1028
30 | 0.011257 | 0.0028216 | -0.011256 | -0.002821 | 1.0325e-06 | 5.3577e-07 | 0.016873 | 0.016873 | 0.016873 | 0.99276 | -0.13844 | 0.99266 | -0.14036 | 4.6354
31 | 0.14233 | 0.035901 | -0.14214 | -0.035785 | 0.0001815 | 0.00011561 | 0.21341 | 0.21341 | 0.21341 | 0.99276 | -0.13844 | 0.99138 | -0.16511 | 29.3146
32 | -0.33716 | -0.085796 | 0.33759 | 0.086068 | 0.00042546 | 0.00027176 | 0.50285 | 0.50285 | 0.50285 | 0.99862 | -0.026143 | 1 | 0 | 46.0487
33 | 0.13771 | 0.034674 | -0.13769 | -0.034663 | 1.6873e-05 | 1.0785e-05 | 0.20675 | 0.20675 | 0.20675 | 0.99138 | -0.16511 | 0.99124 | -0.16767 | 56.8007
34 | 0.018078 | 0.0045324 | -0.018073 | -0.0045294 | 5.0179e-06 | 2.9689e-06 | 0.0269 | 0.0269 | 0.0269 | 1 | 0 | 0.9997 | -0.0058266 | 7.3902
35 | 0.035238 | 0.0088479 | -0.035218 | -0.0088354 | 1.9861e-05 | 1.2459e-05 | 0.05244 | 0.05244 | 0.05244 | 1 | 0 | 0.99938 | -0.011822 | 14.4066
36 | 0.079663 | 0.020063 | -0.0796 | -0.020022 | 6.3789e-05 | 4.0666e-05 | 0.11857 | 0.11857 | 0.11857 | 1 | 0 | 0.99913 | -0.016761 | 32.5755
37 | 0.0079499 | 0.0019924 | -0.0079498 | -0.0019924 | 7.6341e-08 | 2.9796e-08 | 0.011833 | 0.011833 | 0.011833 | 0.9997 | -0.0058266 | 0.99969 | -0.0060282 | 3.2509
38 | 0.029852 | 0.0074907 | -0.029839 | -0.0074826 | 1.3041e-05 | 8.1156e-06 | 0.044451 | 0.044452 | 0.044452 | 0.99938 | -0.011822 | 0.99891 | -0.020987 | 12.212
39 | 0.074268 | 0.018686 | -0.0742 | -0.018642 | 6.7578e-05 | 4.3057e-05 | 0.11063 | 0.11063 | 0.11063 | 0.99913 | -0.016761 | 0.99813 | -0.035823 | 30.3939
40 | 0.13197 | 0.033228 | -0.13162 | -0.033003 | 0.00035105 | 0.00022437 | 0.19816 | 0.19816 | 0.19816 | 0.99124 | -0.16767 | 0.98837 | -0.22348 | 54.4389
41 | 0.036594 | 0.0091887 | -0.036591 | -0.0091866 | 3.2884e-06 | 2.0676e-06 | 0.0551 | 0.0551 | 0.0551 | 0.98837 | -0.22348 | 0.98827 | -0.22536 | 15.1374
42 | 0.032579 | 0.008181 | -0.032537 | -0.0081548 | 4.179e-05 | 2.6153e-05 | 0.049059 | 0.049059 | 0.049059 | 0.98827 | -0.22536 | 0.98688 | -0.25228 | 13.4777
43 | 0.023991 | 0.0060131 | -0.02399 | -0.0060127 | 6.6045e-07 | 4.0549e-07 | 0.036174 | 0.036174 | 0.036174 | 0.98688 | -0.25228 | 0.98685 | -0.25286 | 9.9378
44 | -0.0080991 | -0.0020298 | 0.0080992 | 0.0020299 | 6.2637e-08 | 2.5779e-08 | 0.012212 | 0.012212 | 0.012212 | 0.98683 | -0.25333 | 0.98684 | -0.25317 | 3.3551
45 | -0.016022 | -0.0040155 | 0.016022 | 0.0040157 | 2.3453e-07 | 1.3641e-07 | 0.024159 | 0.024159 | 0.024159 | 0.98684 | -0.25317 | 0.98685 | -0.25286 | 6.6372
46 | 0.022738 | 0.0057029 | -0.022732 | -0.0056993 | 5.9259e-06 | 3.6123e-06 | 0.033874 | 0.033874 | 0.033874 | 0.99891 | -0.020987 | 0.99862 | -0.026456 | 9.3059
47 | 0.066241 | 0.016648 | -0.066208 | -0.016626 | 3.3673e-05 | 2.143e-05 | 0.098769 | 0.098769 | 0.098769 | 0.99813 | -0.035823 | 0.99758 | -0.046477 | 27.1343
48 | -0.016998 | -0.0042602 | 0.017004 | 0.0042636 | 5.9208e-06 | 3.4677e-06 | 0.025338 | 0.025338 | 0.025338 | 0.99824 | -0.033765 | 0.99862 | -0.026456 | 6.961
49 | 0.0082052 | 0.0020565 | -0.0082049 | -0.0020563 | 3.1382e-07 | 1.2772e-07 | 0.012231 | 0.012231 | 0.012231 | 0.99824 | -0.033765 | 0.9982 | -0.034568 | 3.3602
50 | 0.0057285 | 0.0014357 | -0.0057284 | -0.0014357 | 3.7471e-08 | 6.0389e-09 | 0.0085358 | 0.0085358 | 0.0085358 | 0.99862 | -0.026456 | 0.99862 | -0.026594 | 2.345
51 | 0.058256 | 0.014634 | -0.058254 | -0.014632 | 2.1259e-06 | 1.3508e-06 | 0.086908 | 0.086908 | 0.086908 | 0.99758 | -0.046477 | 0.99754 | -0.047242 | 23.8758
52 | 0.018794 | 0.0047116 | -0.018791 | -0.0047098 | 3.0287e-06 | 1.8132e-06 | 0.028523 | 0.028523 | 0.028523 | 0.9805 | -0.37562 | 0.98033 | -0.379 | 7.836
53 | 0.0099494 | 0.0024938 | -0.0099486 | -0.0024933 | 8.3089e-07 | 4.0929e-07 | 0.015102 | 0.015102 | 0.015102 | 0.98033 | -0.379 | 0.98024 | -0.38076 | 4.1489
54 | 0.0265 | 0.0066437 | -0.026499 | -0.0066431 | 1.0373e-06 | 6.4095e-07 | 0.039606 | 0.039606 | 0.039606 | 0.99566 | -0.083395 | 0.99562 | -0.084216 | 10.8807
55 | -0.036253 | -0.0090879 | 0.036279 | 0.0091041 | 2.5739e-05 | 1.6168e-05 | 0.054181 | 0.054181 | 0.054181 | 0.99566 | -0.083395 | 0.99644 | -0.068506 | 14.8848
56 | 0.016693 | 0.0041854 | -0.016688 | -0.0041825 | 4.98e-06 | 2.9099e-06 | 0.02495 | 0.02495 | 0.02495 | 0.99562 | -0.084216 | 0.9953 | -0.090479 | 6.8543
57 | -0.045813 | -0.011494 | 0.045817 | 0.011496 | 4.4569e-06 | 2.8194e-06 | 0.068418 | 0.068418 | 0.068418 | 0.99644 | -0.068506 | 0.99654 | -0.066465 | 18.7962
58 | 0.0083419 | 0.0020907 | -0.0083418 | -0.0020907 | 6.076e-08 | 2.5348e-08 | 0.012472 | 0.012472 | 0.012472 | 0.9953 | -0.090479 | 0.99529 | -0.090631 | 3.4262
59 | -0.053745 | -0.013483 | 0.053761 | 0.013494 | 1.6284e-05 | 1.0334e-05 | 0.080255 | 0.080255 | 0.080255 | 0.99654 | -0.066465 | 0.99687 | -0.060112 | 22.0482
60 | -0.053761 | -0.013494 | 0.053794 | 0.013514 | 3.3021e-05 | 2.0955e-05 | 0.080255 | 0.080255 | 0.080255 | 0.99687 | -0.060112 | 0.99754 | -0.047242 | 22.0482

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47222 | 0.11951

## res_load
| p_mw | q_mvar
0 | 0.0033185 | 0.0008317
1 | 0.0028121 | 0.00070477
2 | 0.0010356 | 0.00025955
3 | 0.0027568 | 0.00069093
4 | 0.0039798 | 0.00099742
5 | 0.0012406 | 0.00031093
6 | 0.015878 | 0.0039795
7 | 0.0052763 | 0.0013224
8 | 0.0011825 | 0.00029637
9 | 0.004679 | 0.0011727
10 | 0.0046818 | 0.0011734
11 | 0.0077557 | 0.0019438
12 | 0.0080943 | 0.0020286
13 | 0.0083418 | 0.0020906
14 | 0.0065816 | 0.0016495
15 | 0.002642 | 0.00066215
16 | 0.0052348 | 0.001312
17 | 0.0038173 | 0.0009567
18 | 0.0083931 | 0.0021035
19 | 0.0065877 | 0.001651
20 | 0.0063244 | 0.001585
21 | 0.010138 | 0.0025409
22 | 0.010214 | 0.0025599
23 | 0.0040057 | 0.0010039
24 | 0.011883 | 0.0029783
25 | 0.0069322 | 0.0017374
26 | 0.011256 | 0.002821
27 | 0.0044341 | 0.0011113
28 | 0.010123 | 0.002537
29 | 0.0053654 | 0.0013447
30 | 0.005332 | 0.0013363
31 | 0.0057269 | 0.0014353
32 | 0.095021 | 0.023815
33 | 0.0040126 | 0.0010057
34 | 0.0079498 | 0.0019924
35 | 0.0085456 | 0.0021417
36 | 0.0080991 | 0.0020298
37 | 0.007923 | 0.0019857
38 | 0.007968 | 0.001997
39 | 0.0071011 | 0.0017797
40 | 0.0079588 | 0.0019947
41 | 0.0087928 | 0.0022037
42 | 0.0082049 | 0.0020563
43 | 0.0057284 | 0.0014357
44 | 0.0079516 | 0.0019928
45 | 0.0082415 | 0.0020655
46 | 0.0088419 | 0.002216
47 | 0.0099486 | 0.0024933
48 | 0.0097525 | 0.0024442
49 | 0.0098062 | 0.0024577
50 | 0.009534 | 0.0023894
51 | 0.0083464 | 0.0020918
52 | 0.0079276 | 0.0019868
53 | 0.0083418 | 0.0020907
54 | 0.0044598 | 0.0011177

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1