## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-12_0_6_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_1632-12_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1632-12_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1632-12_0_6_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1632-12_0_6_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1632-12_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1632-12_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1632-12_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1632-12_0_6_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_1632-12_0_6_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_1632-12_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1632-12_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1632-12_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1632-12_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1632-12_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1632-12_0_6_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1632-12_0_6_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1632-12_0_6_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_1632-12_0_6_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_1632-12_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1632-12_0_6_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1632-12_0_6_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1632-12_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1632-12_0_6_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1632-12_0_6_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1632-12_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1632-12_0_6_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1632-12_0_6_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1632-12_0_6_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1632-12_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1632-12_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1632-12_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1632-12_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1632-12_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1632-12_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1632-12_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_MV_144_0_node_203 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-12_0_6_load_0 | 0 | 0.0056417 | 0.0014139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-12_0_6_load_1 | 1 | 0.0071618 | 0.0017949 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-12_0_6_load_2 | 2 | 0.0040082 | 0.0010045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-12_0_6_load_3 | 3 | 0.0065012 | 0.0016294 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-12_0_6_load_8 | 7 | 0.007222 | 0.00181 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-12_0_6_load_20 | 9 | 0.0084053 | 0.0021066 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-12_0_6_load_5 | 10 | 0.036357 | 0.0091119 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-12_0_6_load_7 | 12 | 0.0059366 | 0.0014879 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-12_0_6_load_23 | 13 | 0.038255 | 0.0095875 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-12_0_6_load_22 | 14 | 0.0076898 | 0.0019272 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-12_0_6_load_9 | 15 | 0.011292 | 0.0028301 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-12_0_6_load_10 | 16 | 0.015357 | 0.0038488 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-12_0_6_load_24 | 20 | 0.048554 | 0.012169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-12_0_6_load_43 | 21 | 0.049991 | 0.012529 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-12_0_6_load_42 | 22 | 0.10157 | 0.025456 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-12_0_6_load_41 | 23 | 0.037923 | 0.0095043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-12_0_6_load_26 | 26 | 0.012966 | 0.0032495 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-12_0_6_load_39 | 28 | 0.0057715 | 0.0014465 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-12_0_6_load_34 | 31 | 0.0055958 | 0.0014024 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-12_0_6_load_29 | 32 | 0.022278 | 0.0055834 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-12_0_6_load_33 | 33 | 0.00101 | 0.00025312 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-12_0_6_load_31 | 35 | 0.0044875 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-12_0_6_load_32 | 36 | 0.0011944 | 0.00029936 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-12_0_6_load_35 | 37 | 0.0058947 | 0.0014773 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-12_0_6_load_36 | 38 | 0.0073428 | 0.0018403 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-12_0_6_load_40 | 40 | 0.00089068 | 0.00022323 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-12_0_6_line_0 |  | 0 | 1 | 0.02131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-12_0_6_line_1 |  | 0 | 2 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-12_0_6_line_2 |  | 1 | 3 | 0.0045065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-12_0_6_line_3 |  | 2 | 4 | 0.029395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-12_0_6_line_4 |  | 4 | 5 | 0.038726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-12_0_6_line_5 |  | 4 | 6 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-12_0_6_line_6 |  | 5 | 7 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-12_0_6_line_7 |  | 5 | 8 | 0.19623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-12_0_6_line_8 |  | 6 | 9 | 0.052696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-12_0_6_line_9 |  | 7 | 11 | 0.012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-12_0_6_line_10 |  | 8 | 18 | 0.044041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-12_0_6_line_11 |  | 8 | 19 | 0.17316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1632-12_0_6_line_12 |  | 8 | 15 | 0.0064015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1632-12_0_6_line_13 |  | 10 | 11 | 0.030349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-12_0_6_line_14 |  | 11 | 12 | 0.0096447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-12_0_6_line_15 |  | 12 | 13 | 0.0020082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-12_0_6_line_16 |  | 13 | 14 | 0.018346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-12_0_6_line_17 |  | 15 | 16 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1632-12_0_6_line_18 |  | 16 | 17 | 0.008882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1632-12_0_6_line_19 |  | 17 | 20 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1632-12_0_6_line_20 |  | 18 | 21 | 0.14416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-12_0_6_line_21 |  | 19 | 22 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-12_0_6_line_22 |  | 19 | 23 | 0.0078566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-12_0_6_line_23 |  | 20 | 27 | 0.12349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1632-12_0_6_line_24 |  | 24 | 25 | 0.027562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-12_0_6_line_25 |  | 24 | 26 | 0.1051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-12_0_6_line_26 |  | 25 | 28 | 0.020712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-12_0_6_line_27 |  | 26 | 27 | 0.033209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-12_0_6_line_28 |  | 27 | 29 | 0.23798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-12_0_6_line_29 |  | 28 | 34 | 0.027998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-12_0_6_line_30 |  | 29 | 30 | 0.45463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-12_0_6_line_31 |  | 29 | 31 | 0.049976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-12_0_6_line_32 |  | 30 | 32 | 0.15406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-12_0_6_line_33 |  | 31 | 33 | 0.0019924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-12_0_6_line_34 |  | 33 | 36 | 0.022274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-12_0_6_line_35 |  | 34 | 37 | 0.0093803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-12_0_6_line_36 |  | 35 | 36 | 0.031455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-12_0_6_line_37 |  | 37 | 38 | 0.002315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-12_0_6_line_38 |  | 38 | 39 | 0.026545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-12_0_6_line_39 |  | 39 | 40 | 0.24544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-12_0_6_trafo_11 | 0.63 MVA 20/0.4 kV | 41 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2724845.0486 | 1210237.5366 | 2724841.4873 | 1210236.2627 | 2724826.7351 | 1210226.7966
1 | 2724845.0486 | 1210237.5366 | 2724865.0874 | 1210244.7048
2 | 2724826.7351 | 1210226.7966 | 2724822.9423 | 1210224.3629
3 | 2724892.7646 | 1210254.6055 | 2724865.0874 | 1210244.7048
4 | 2724905.1279 | 1210217.9026 | 2724892.7646 | 1210254.6055
5 | 2724892.7646 | 1210254.6055 | 2724886.4409 | 1210273.3876
6 | 2724905.1279 | 1210217.9026 | 2724887.0378 | 1210209.976
7 | 2724905.1279 | 1210217.9026 | 2724915.6996 | 1210220.993 | 2724928.5835 | 1210224.7656 | 2724969.0207 | 1210232.5073 | 2724975.8629 | 1210233.974 | 2724981.7109 | 1210216.1383 | 2724986.8371 | 1210217.1353 | 2724989.6739 | 1210217.8175 | 2724985.8745 | 1210207.9302 | 2724987.8116 | 1210203.6564 | 2725022.5955 | 1210130.0284
8 | 2724886.4409 | 1210273.3876 | 2724836.1754 | 1210257.5679
9 | 2724875.6784 | 1210204.9985 | 2724887.0378 | 1210209.976
10 | 2725058.5153 | 1210154.8892 | 2725055.2038 | 1210150.7388 | 2725050.7962 | 1210146.2874 | 2725022.5955 | 1210130.0284
11 | 2724950.9286 | 1210175.4177 | 2724946.1558 | 1210164.4426 | 2724942.1049 | 1210149.1349 | 2724938.8554 | 1210141.6611 | 2724938.1723 | 1210137.9773 | 2724938.1627 | 1210128.6366 | 2724937.0625 | 1210121.2745 | 2724937.282 | 1210117.3316 | 2724938.1031 | 1210114.7913 | 2724948.0943 | 1210098.0654 | 2724949.3638 | 1210092.6322 | 2724950.6312 | 1210090.2014 | 2725022.5955 | 1210130.0284
12 | 2725022.5955 | 1210130.0284 | 2725025.7816 | 1210124.476
13 | 2724875.6784 | 1210204.9985 | 2724887.0457 | 1210185.3546 | 2724886.3509 | 1210182.2265 | 2724882.5615 | 1210179.8955
14 | 2724875.6784 | 1210204.9985 | 2724866.8372 | 1210201.1446
15 | 2724864.9963 | 1210200.3421 | 2724866.8372 | 1210201.1446
16 | 2724864.9963 | 1210200.3421 | 2724853.2493 | 1210195.2216 | 2724848.5958 | 1210192.2316
17 | 2725034.1076 | 1210109.9668 | 2725025.7816 | 1210124.476
18 | 2725038.5283 | 1210102.2631 | 2725034.1076 | 1210109.9668
19 | 2725038.5283 | 1210102.2631 | 2725044.2993 | 1210090.2429
20 | 2725058.5153 | 1210154.8892 | 2725069.5846 | 1210120.8505 | 2725087.4982 | 1210065.7279 | 2725098.273 | 1210041.3906 | 2725111.4174 | 1210021.5287
21 | 2724950.9286 | 1210175.4177 | 2724945.5527 | 1210179.7974 | 2724940.3844 | 1210183.3475
22 | 2724950.9286 | 1210175.4177 | 2724955.1324 | 1210175.0833 | 2724957.6829 | 1210176.0041 | 2724958.5431 | 1210176.3521
23 | 2725101.2304 | 1209980.8837 | 2725097.0115 | 1209992.4375 | 2725093.0204 | 1210000.3822 | 2725083.263 | 1210018.6251 | 2725065.8361 | 1210047.2819 | 2725059.1564 | 1210059.4401 | 2725049.8814 | 1210078.6161 | 2725044.2993 | 1210090.2429
24 | 2724951.6557 | 1209954.6072 | 2724970.9899 | 1209963.3522 | 2724974.1647 | 1209966.0541 | 2724975.3337 | 1209967.9578
25 | 2724975.3337 | 1209967.9578 | 2724992.9897 | 1209951.9375 | 2725000.3974 | 1209948.9348 | 2725007.9104 | 1209948.1583 | 2725016.1664 | 1209950.3885 | 2725070.0967 | 1209969.3342
26 | 2724951.6557 | 1209954.6072 | 2724942.1588 | 1209951.7284 | 2724932.0244 | 1209948.0288
27 | 2725101.2304 | 1209980.8837 | 2725078.5098 | 1209972.2897 | 2725070.0967 | 1209969.3342
28 | 2725101.2304 | 1209980.8837 | 2725109.2281 | 1209954.4755 | 2725113.4288 | 1209943.7887 | 2725118.0323 | 1209936.0125 | 2725122.0311 | 1209930.6033 | 2725138.6048 | 1209912.5592 | 2725145.5817 | 1209901.1078 | 2725154.5486 | 1209891.5663 | 2725162.7472 | 1209884.5773 | 2725176.4334 | 1209876.6027 | 2725179.457 | 1209873.4637 | 2725195.6892 | 1209843.8147 | 2725197.5257 | 1209840.3617 | 2725201.001 | 1209833.8185 | 2725203.0749 | 1209829.9257 | 2725207.1812 | 1209825.9198 | 2725231.2404 | 1209792.5212 | 2725233.1863 | 1209788.2031
29 | 2724905.8256 | 1209938.1683 | 2724911.2975 | 1209940.4624 | 2724932.0244 | 1209948.0288
30 | 2725233.1863 | 1209788.2031 | 2725253.8655 | 1209763.696 | 2725260.5041 | 1209764.7473 | 2725303.3519 | 1209770.796 | 2725308.6013 | 1209771.0175 | 2725312.6178 | 1209769.8454 | 2725323.0813 | 1209764.0051 | 2725340.8689 | 1209754.8161 | 2725346.4313 | 1209752.0864 | 2725348.8515 | 1209751.6146 | 2725350.1944 | 1209752.4768 | 2725351.4361 | 1209755.9834 | 2725352.315 | 1209768.0667 | 2725353.7853 | 1209772.6345 | 2725343.7289 | 1209793.8285 | 2725332.8313 | 1209825.0236 | 2725321.511 | 1209849.2045 | 2725306.8396 | 1209880.5317 | 2725305.0016 | 1209887.3094 | 2725303.3095 | 1209897.6374 | 2725294.8561 | 1209966.3129 | 2725292.173 | 1209977.4874 | 2725283.7392 | 1209994.5791 | 2725282.5161 | 1209997.0664 | 2725262.1087 | 1210056.0724
31 | 2725233.1863 | 1209788.2031 | 2725232.8671 | 1209783.1259 | 2725230.9697 | 1209779.7056 | 2725228.3551 | 1209777.4824 | 2725224.339 | 1209776.1081 | 2725191.8955 | 1209768.5995
32 | 2725262.1087 | 1210056.0724 | 2725259.8951 | 1210044.1834 | 2725259.7887 | 1210036.2195 | 2725258.2532 | 1210028.6036 | 2725249.5614 | 1210015.2775 | 2725238.3884 | 1210002.4331 | 2725228.1842 | 1209993.0562 | 2725214.8669 | 1209983.8362 | 2725209.2037 | 1209978.7134 | 2725206.2776 | 1209973.2256 | 2725201.8164 | 1209961.9121 | 2725197.3841 | 1209956.4594 | 2725193.523 | 1209952.7755 | 2725188.074 | 1209951.5714 | 2725183.1737 | 1209952.8362 | 2725179.8369 | 1209955.3237 | 2725175.0626 | 1209964.1738
33 | 2725189.9543 | 1209768.1502 | 2725191.8955 | 1209768.5995
34 | 2725189.9543 | 1209768.1502 | 2725189.6229 | 1209768.0735 | 2725177.1515 | 1209764.5314 | 2725168.577 | 1209761.9004
35 | 2724905.8256 | 1209938.1683 | 2724909.1668 | 1209929.4032
36 | 2725143.9319 | 1209745.3042 | 2725147.9691 | 1209753.3106 | 2725152.4923 | 1209756.2522 | 2725156.0282 | 1209758.0499 | 2725168.577 | 1209761.9004
37 | 2724909.1668 | 1209929.4032 | 2724909.9913 | 1209927.24
38 | 2724902.7103 | 1209906.134 | 2724908.6321 | 1209911.9958 | 2724911.3481 | 1209913.7318 | 2724913.1542 | 1209915.3486 | 2724913.5263 | 1209916.8242 | 2724913.3401 | 1209918.4549 | 2724909.9913 | 1209927.24
39 | 2724902.7103 | 1209906.134 | 2724938.6226 | 1209878.4645 | 2724966.5731 | 1209850.1391 | 2724971.0904 | 1209843.9289 | 2724976.8419 | 1209832.1626 | 2724983.7519 | 1209811.1911 | 2724989.0857 | 1209792.8776 | 2724990.8703 | 1209775.9353 | 2724990.9141 | 1209755.7095 | 2724987.1885 | 1209722.695 | 2724983.864 | 1209704.2778 | 2724981.4132 | 1209695.4365

## bus_geodata
| x | y | coords
0 | 2724845.0486 | 1210237.5366
1 | 2724826.7351 | 1210226.7966
2 | 2724865.0874 | 1210244.7048
3 | 2724822.9423 | 1210224.3629
4 | 2724892.7646 | 1210254.6055
5 | 2724905.1279 | 1210217.9026
6 | 2724886.4409 | 1210273.3876
7 | 2724887.0378 | 1210209.9759
8 | 2725022.5955 | 1210130.0284
9 | 2724836.1754 | 1210257.5679
10 | 2724882.5615 | 1210179.8955
11 | 2724875.6784 | 1210204.9985
12 | 2724866.8372 | 1210201.1446
13 | 2724864.9963 | 1210200.3421
14 | 2724848.5958 | 1210192.2316
15 | 2725025.7816 | 1210124.476
16 | 2725034.1076 | 1210109.9668
17 | 2725038.5283 | 1210102.2631
18 | 2725058.5153 | 1210154.8892
19 | 2724950.9286 | 1210175.4177
20 | 2725044.2993 | 1210090.2429
21 | 2725111.4174 | 1210021.5287
22 | 2724940.3844 | 1210183.3475
23 | 2724958.5431 | 1210176.3521
24 | 2724975.3337 | 1209967.9578
25 | 2724951.6557 | 1209954.6072
26 | 2725070.0967 | 1209969.3342
27 | 2725101.2304 | 1209980.8837
28 | 2724932.0244 | 1209948.0288
29 | 2725233.1863 | 1209788.2031
30 | 2725262.1087 | 1210056.0724
31 | 2725191.8955 | 1209768.5995
32 | 2725175.0626 | 1209964.1738
33 | 2725189.9543 | 1209768.1502
34 | 2724905.8256 | 1209938.1684
35 | 2725143.9319 | 1209745.3042
36 | 2725168.577 | 1209761.9004
37 | 2724909.1668 | 1209929.4032
38 | 2724909.9913 | 1209927.24
39 | 2724902.7103 | 1209906.134
40 | 2724981.4132 | 1209695.4365
41 | 2725038.5283 | 1210102.2631

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97456 | -0.48796 | 0.0056417 | 0.0014139
1 | 0.97429 | -0.4933 | 0.0071618 | 0.0017949
2 | 0.97494 | -0.48042 | 0.0040082 | 0.0010045
3 | 0.97426 | -0.49384 | 0.0065012 | 0.0016294
4 | 0.97558 | -0.46786 | 0 | 0
5 | 0.97672 | -0.44539 | 0 | 0
6 | 0.97543 | -0.47091 | 0 | 0
7 | 0.97497 | -0.4799 | 0.007222 | 0.00181
8 | 1 | 0 | -0.4672 | -0.11908
9 | 0.97502 | -0.47903 | 0.0084053 | 0.0021066
10 | 0.97292 | -0.52028 | 0.036357 | 0.0091119
11 | 0.97395 | -0.49999 | 0 | 0
12 | 0.97348 | -0.50919 | 0.0059366 | 0.0014879
13 | 0.9734 | -0.51088 | 0.038255 | 0.0095875
14 | 0.97327 | -0.51348 | 0.0076898 | 0.0019272
15 | 0.99958 | -0.0079638 | 0.011292 | 0.0028301
16 | 0.99858 | -0.027155 | 0.015357 | 0.0038488
17 | 0.9981 | -0.036167 | 0 | 0
18 | 0.99799 | -0.038455 | 0 | 0
19 | 0.98891 | -0.21286 | 0 | 0
20 | 0.99739 | -0.049712 | 0.048554 | 0.012169
21 | 0.99139 | -0.16541 | 0.049991 | 0.012529
22 | 0.98768 | -0.23676 | 0.10157 | 0.025456
23 | 0.98864 | -0.21818 | 0.037923 | 0.0095043
24 | 0.99064 | -0.1794 | 0 | 0
25 | 0.99014 | -0.18915 | 0 | 0
26 | 0.99255 | -0.1423 | 0.012966 | 0.0032495
27 | 0.99355 | -0.123 | 0 | 0
28 | 0.98976 | -0.19648 | 0.0057715 | 0.0014465
29 | 0.98592 | -0.26948 | 0 | 0
30 | 0.97647 | -0.45294 | 0 | 0
31 | 0.98535 | -0.2805 | 0.0055958 | 0.0014024
32 | 0.97328 | -0.51589 | 0.022278 | 0.0055834
33 | 0.98534 | -0.28074 | 0.00101 | 0.00025312
34 | 0.9894 | -0.20353 | 0 | 0
35 | 0.98509 | -0.28555 | 0.0044875 | 0.0011247
36 | 0.98522 | -0.28301 | 0.0011944 | 0.00029936
37 | 0.98927 | -0.20589 | 0.0058947 | 0.0014773
38 | 0.98926 | -0.20623 | 0.0073428 | 0.0018403
39 | 0.98923 | -0.20665 | 0 | 0
40 | 0.98903 | -0.21057 | 0.00089068 | 0.00022323
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013667 | 0.0034263 | -0.013663 | -0.0034243 | 3.4799e-06 | 1.9616e-06 | 0.020867 | 0.020868 | 0.020868 | 0.97456 | -0.48796 | 0.97429 | -0.4933 | 5.7328
1 | -0.019308 | -0.0048402 | 0.019315 | 0.0048444 | 6.9366e-06 | 4.1742e-06 | 0.029482 | 0.029481 | 0.029482 | 0.97456 | -0.48796 | 0.97494 | -0.48042 | 8.0993
2 | 0.0065014 | 0.0016294 | -0.0065012 | -0.0016294 | 1.6662e-07 | 5.0516e-08 | 0.0099295 | 0.0099295 | 0.0099295 | 0.97429 | -0.4933 | 0.97426 | -0.49384 | 2.7279
3 | -0.023323 | -0.0058489 | 0.023337 | 0.0058575 | 1.3969e-05 | 8.5735e-06 | 0.035599 | 0.035599 | 0.035599 | 0.97494 | -0.48042 | 0.97558 | -0.46786 | 9.7799
4 | -0.031747 | -0.0079661 | 0.031781 | 0.0079874 | 3.4056e-05 | 2.1312e-05 | 0.048426 | 0.048426 | 0.048426 | 0.97558 | -0.46786 | 0.97672 | -0.44539 | 13.3039
5 | 0.0084098 | 0.0021085 | -0.0084086 | -0.002108 | 1.2228e-06 | 5.3518e-07 | 0.012827 | 0.012828 | 0.012828 | 0.97558 | -0.46786 | 0.97543 | -0.47091 | 3.5241
6 | 0.095765 | 0.024119 | -0.095607 | -0.024018 | 0.00015774 | 0.00010071 | 0.14594 | 0.14594 | 0.14594 | 0.97672 | -0.44539 | 0.97497 | -0.4799 | 40.0928
7 | -0.12755 | -0.032106 | 0.13033 | 0.033883 | 0.0027799 | 0.0017766 | 0.19436 | 0.19436 | 0.19436 | 0.97672 | -0.44539 | 1 | 0 | 53.3967
8 | 0.0084086 | 0.002108 | -0.0084053 | -0.0021066 | 3.2517e-06 | 1.4236e-06 | 0.012828 | 0.012828 | 0.012828 | 0.97543 | -0.47091 | 0.97502 | -0.47903 | 3.5241
9 | 0.088385 | 0.022208 | -0.088301 | -0.022154 | 8.4655e-05 | 5.4024e-05 | 0.13492 | 0.13492 | 0.13492 | 0.97497 | -0.4799 | 0.97395 | -0.49999 | 37.0647
10 | 0.050388 | 0.012781 | -0.050295 | -0.012722 | 9.298e-05 | 5.893e-05 | 0.075032 | 0.075033 | 0.075033 | 1 | 0 | 0.99799 | -0.038455 | 20.6134
11 | 0.14105 | 0.035953 | -0.13962 | -0.03504 | 0.0014331 | 0.00091272 | 0.2101 | 0.2101 | 0.2101 | 1 | 0 | 0.98891 | -0.21286 | 28.86
12 | 0.14379 | 0.036462 | -0.14373 | -0.036427 | 5.5024e-05 | 3.5048e-05 | 0.21411 | 0.21411 | 0.21411 | 1 | 0 | 0.99958 | -0.0079638 | 29.4105
13 | -0.036357 | -0.0091119 | 0.036392 | 0.0091341 | 3.5189e-05 | 2.2144e-05 | 0.055606 | 0.055605 | 0.055606 | 0.97292 | -0.52028 | 0.97395 | -0.49999 | 15.2763
14 | 0.051908 | 0.01302 | -0.051886 | -0.013005 | 2.275e-05 | 1.444e-05 | 0.07931 | 0.07931 | 0.07931 | 0.97395 | -0.49999 | 0.97348 | -0.50919 | 21.7885
15 | 0.045949 | 0.011517 | -0.045945 | -0.011515 | 3.7149e-06 | 2.3526e-06 | 0.070236 | 0.070236 | 0.070236 | 0.97348 | -0.50919 | 0.9734 | -0.51088 | 19.2956
16 | 0.0076907 | 0.0019276 | -0.0076898 | -0.0019272 | 9.5093e-07 | 3.8058e-07 | 0.011757 | 0.011757 | 0.011757 | 0.9734 | -0.51088 | 0.97327 | -0.51348 | 3.2299
17 | 0.13244 | 0.033597 | -0.13232 | -0.03352 | 0.0001221 | 7.7704e-05 | 0.1973 | 0.1973 | 0.1973 | 0.99958 | -0.0079638 | 0.99858 | -0.027155 | 27.1014
18 | 0.11696 | 0.029671 | -0.11691 | -0.029639 | 5.0661e-05 | 3.2191e-05 | 0.17441 | 0.17441 | 0.17441 | 0.99858 | -0.027155 | 0.9981 | -0.036167 | 23.958
19 | 0.11691 | 0.029639 | -0.11683 | -0.02959 | 7.6053e-05 | 4.8326e-05 | 0.17441 | 0.17441 | 0.17441 | 0.9981 | -0.036167 | 0.99739 | -0.049712 | 23.9581
20 | 0.050295 | 0.012722 | -0.049991 | -0.012529 | 0.00030435 | 0.00019291 | 0.075033 | 0.075033 | 0.075033 | 0.99799 | -0.038455 | 0.99139 | -0.16541 | 20.6136
21 | 0.10169 | 0.02553 | -0.10157 | -0.025456 | 0.00011575 | 7.3911e-05 | 0.15302 | 0.15302 | 0.15302 | 0.98891 | -0.21286 | 0.98768 | -0.23676 | 42.0391
22 | 0.037932 | 0.0095104 | -0.037923 | -0.0095043 | 9.5986e-06 | 6.0424e-06 | 0.057078 | 0.057078 | 0.057078 | 0.98891 | -0.21286 | 0.98864 | -0.21818 | 15.6809
23 | 0.06828 | 0.017421 | -0.068039 | -0.01727 | 0.00024079 | 0.00015089 | 0.10198 | 0.10198 | 0.10198 | 0.99739 | -0.049712 | 0.99355 | -0.123 | 14.0079
24 | 0.019923 | 0.0049973 | -0.019913 | -0.0049918 | 9.2568e-06 | 5.5697e-06 | 0.029927 | 0.029927 | 0.029927 | 0.99064 | -0.1794 | 0.99014 | -0.18915 | 8.2217
25 | -0.019923 | -0.0049973 | 0.019958 | 0.0050186 | 3.5298e-05 | 2.1235e-05 | 0.029927 | 0.029926 | 0.029927 | 0.99064 | -0.1794 | 0.99255 | -0.1423 | 8.2216
26 | 0.019913 | 0.0049918 | -0.019906 | -0.0049876 | 6.9564e-06 | 4.1858e-06 | 0.029927 | 0.029927 | 0.029927 | 0.99014 | -0.18915 | 0.98976 | -0.19648 | 8.2217
27 | -0.032923 | -0.0082681 | 0.032954 | 0.0082871 | 3.0346e-05 | 1.8992e-05 | 0.049364 | 0.049364 | 0.049364 | 0.99255 | -0.1423 | 0.99355 | -0.123 | 13.5615
28 | 0.035085 | 0.0089834 | -0.034838 | -0.0088284 | 0.00024705 | 0.00015506 | 0.052614 | 0.052615 | 0.052615 | 0.99355 | -0.123 | 0.98592 | -0.26948 | 14.4547
29 | 0.014135 | 0.0035411 | -0.01413 | -0.0035384 | 4.7411e-06 | 2.6746e-06 | 0.02125 | 0.02125 | 0.02125 | 0.98976 | -0.19648 | 0.9894 | -0.20353 | 5.838
30 | 0.022543 | 0.0057452 | -0.022345 | -0.0056244 | 0.00019776 | 0.00012083 | 0.034058 | 0.03406 | 0.03406 | 0.98592 | -0.26948 | 0.97647 | -0.45294 | 9.3571
31 | 0.012295 | 0.0030832 | -0.012289 | -0.0030797 | 6.4543e-06 | 3.4938e-06 | 0.018558 | 0.018558 | 0.018558 | 0.98592 | -0.26948 | 0.98535 | -0.2805 | 5.0983
32 | 0.022345 | 0.0056244 | -0.022278 | -0.0055834 | 6.702e-05 | 4.0972e-05 | 0.03406 | 0.03406 | 0.03406 | 0.97647 | -0.45294 | 0.97328 | -0.51589 | 9.3573
33 | 0.0066931 | 0.0016772 | -0.006693 | -0.0016772 | 7.633e-08 | 2.3473e-08 | 0.010107 | 0.010107 | 0.010107 | 0.98535 | -0.2805 | 0.98534 | -0.28074 | 2.7768
34 | 0.0056831 | 0.0014241 | -0.0056825 | -0.001424 | 6.1523e-07 | 1.1007e-07 | 0.0085823 | 0.0085824 | 0.0085824 | 0.98534 | -0.28074 | 0.98522 | -0.28301 | 2.3578
35 | 0.01413 | 0.0035384 | -0.014129 | -0.0035375 | 1.5885e-06 | 8.9616e-07 | 0.02125 | 0.02125 | 0.02125 | 0.9894 | -0.20353 | 0.98927 | -0.20589 | 5.838
36 | -0.0044875 | -0.0011247 | 0.004488 | 0.0011246 | 5.4198e-07 | -5.3642e-08 | 0.0067785 | 0.0067784 | 0.0067785 | 0.98509 | -0.28555 | 0.98522 | -0.28301 | 1.8622
37 | 0.0082338 | 0.0020602 | -0.0082337 | -0.0020601 | 1.3313e-07 | 5.5483e-08 | 0.012384 | 0.012384 | 0.012384 | 0.98927 | -0.20589 | 0.98926 | -0.20623 | 3.4021
38 | 0.00089087 | 0.00021985 | -0.00089085 | -0.00022018 | 1.7844e-08 | -3.2938e-07 | 0.0013388 | 0.0013389 | 0.0013389 | 0.98926 | -0.20623 | 0.98923 | -0.20665 | 0.36784
39 | 0.00089085 | 0.00022018 | -0.00089068 | -0.00022323 | 1.6514e-07 | -3.0447e-06 | 0.0013389 | 0.00134 | 0.00134 | 0.98923 | -0.20665 | 0.98903 | -0.21057 | 0.36814

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4672 | 0.11908

## res_load
| p_mw | q_mvar
0 | 0.0056417 | 0.0014139
1 | 0.0071618 | 0.0017949
2 | 0.0040082 | 0.0010045
3 | 0.0065012 | 0.0016294
4 | 0.007222 | 0.00181
5 | 0.0084053 | 0.0021066
6 | 0.036357 | 0.0091119
7 | 0.0059366 | 0.0014879
8 | 0.038255 | 0.0095875
9 | 0.0076898 | 0.0019272
10 | 0.011292 | 0.0028301
11 | 0.015357 | 0.0038488
12 | 0.048554 | 0.012169
13 | 0.049991 | 0.012529
14 | 0.10157 | 0.025456
15 | 0.037923 | 0.0095043
16 | 0.012966 | 0.0032495
17 | 0.0057715 | 0.0014465
18 | 0.0055958 | 0.0014024
19 | 0.022278 | 0.0055834
20 | 0.00101 | 0.00025312
21 | 0.0044875 | 0.0011247
22 | 0.0011944 | 0.00029936
23 | 0.0058947 | 0.0014773
24 | 0.0073428 | 0.0018403
25 | 0.00089068 | 0.00022323

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1