## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-13_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-13_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1632-13_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1632-13_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-13_0_6_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_1632-13_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1632-13_0_6_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1632-13_0_6_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1632-13_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1632-13_0_6_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1632-13_0_6_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1632-13_0_6_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_1632-13_0_6_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_1632-13_0_6_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_1632-13_0_6_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_1632-13_0_6_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1632-13_0_6_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1632-13_0_6_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1632-13_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1632-13_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1632-13_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1632-13_0_6_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_1632-13_0_6_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1632-13_0_6_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_1632-13_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1632-13_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1632-13_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1632-13_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1632-13_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1632-13_0_6_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_1632-13_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1632-13_0_6_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1632-13_0_6_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_1632-13_0_6_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1632-13_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1632-13_0_6_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1632-13_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1632-13_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1632-13_0_6_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1632-13_0_6_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_1632-13_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1632-13_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1632-13_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1632-13_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1632-13_0_6_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1632-13_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1632-13_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1632-13_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_1632-13_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1632-13_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1632-13_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1632-13_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1632-13_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1632-13_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1632-13_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1632-13_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1632-13_0_6_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_1632-13_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1632-13_0_6_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_1632-13_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_1632-13_0_6_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1632-13_0_6_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_1632-13_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_1632-13_0_6_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_1632-13_0_6_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_1632-13_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_1632-13_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_1632-13_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_1632-13_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_1632-13_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_1632-13_0_6_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_1632-13_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_1632-13_0_6_node_66 | 0.4 | n |  | TRUE
73 | bus_MV_226_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-13_0_6_load_0 | 0 | 0.043335 | 0.010861 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-13_0_6_load_1 | 2 | 0.011505 | 0.0028835 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-13_0_6_load_3 | 3 | 0.0058231 | 0.0014594 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-13_0_6_load_21 | 4 | 0.0057346 | 0.0014372 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-13_0_6_load_17 | 6 | 0.004941 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-13_0_6_load_18 | 7 | 0.0057897 | 0.001451 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-13_0_6_load_19 | 8 | 0.01721 | 0.0043132 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-13_0_6_load_22 | 9 | 0.0053638 | 0.0013443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-13_0_6_load_23 | 10 | 0.0053839 | 0.0013493 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-13_0_6_load_75 | 11 | 0.0067455 | 0.0016906 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-13_0_6_load_74 | 12 | 0.0069588 | 0.001744 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-13_0_6_load_58 | 14 | 0.0035924 | 0.00090034 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-13_0_6_load_35 | 15 | 0.016838 | 0.0042201 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-13_0_6_load_6 | 16 | 0.0036061 | 0.00090378 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-13_0_6_load_7 | 17 | 0.0034132 | 0.00085543 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-13_0_6_load_9 | 19 | 0.0095373 | 0.0023903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-13_0_6_load_10 | 20 | 0.0034203 | 0.0008572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-13_0_6_load_53 | 22 | 0.0030663 | 0.00076848 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-13_0_6_load_51 | 23 | 0.0098673 | 0.002473 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-13_0_6_load_11 | 24 | 0.0085812 | 0.0021506 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-13_0_6_load_12 | 25 | 0.0066053 | 0.0016555 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-13_0_6_load_14 | 27 | 0.0064006 | 0.0016041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-13_0_6_load_16 | 28 | 0.0055227 | 0.0013841 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-13_0_6_load_15 | 30 | 0.0055928 | 0.0014017 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-13_0_6_load_65 | 32 | 0.0060266 | 0.0015104 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-13_0_6_load_40 | 33 | 0.0074725 | 0.0018728 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-13_0_6_load_39 | 35 | 0.0057602 | 0.0014436 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-13_0_6_load_36 | 36 | 0.012184 | 0.0030535 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-13_0_6_load_26 | 37 | 0.010601 | 0.0026567 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-13_0_6_load_64 | 38 | 0.0069973 | 0.0017537 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-13_0_6_load_20 | 39 | 0.005955 | 0.0014925 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-13_0_6_load_24 | 40 | 0.0077478 | 0.0019418 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-13_0_6_load_29 | 42 | 0.012755 | 0.0031967 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-13_0_6_load_30 | 43 | 0.0088226 | 0.0022111 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-13_0_6_load_49 | 44 | 0.0074295 | 0.001862 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-13_0_6_load_31 | 46 | 0.0059234 | 0.0014846 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-13_0_6_load_33 | 47 | 0.029683 | 0.0074392 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-13_0_6_load_41 | 49 | 0.017037 | 0.0042698 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-13_0_6_load_42 | 50 | 0.013064 | 0.0032741 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-13_0_6_load_44 | 52 | 0.0063602 | 0.001594 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-13_0_6_load_45 | 53 | 0.0055677 | 0.0013954 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-13_0_6_load_47 | 54 | 0.005449 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-13_0_6_load_48 | 55 | 0.00903 | 0.0022631 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-13_0_6_load_72 | 56 | 0.0050439 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-13_0_6_load_50 | 57 | 0.0072747 | 0.0018232 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-13_0_6_load_63 | 58 | 0.0050511 | 0.0012659 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-13_0_6_load_55 | 59 | 0.0021041 | 0.00052734 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-13_0_6_load_54 | 60 | 0.0027064 | 0.00067829 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1632-13_0_6_load_57 | 62 | 0.0054047 | 0.0013546 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1632-13_0_6_load_71 | 63 | 0.0037122 | 0.00093036 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1632-13_0_6_load_70 | 64 | 0.0069669 | 0.0017461 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1632-13_0_6_load_59 | 65 | 0.048241 | 0.01209 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1632-13_0_6_load_60 | 66 | 0.0046062 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1632-13_0_6_load_61 | 67 | 0.0049371 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1632-13_0_6_load_68 | 69 | 0.0057751 | 0.0014474 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1632-13_0_6_load_69 | 70 | 0.0094787 | 0.0023756 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1632-13_0_6_load_67 | 71 | 0.0053877 | 0.0013503 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1632-13_0_6_load_66 | 72 | 0.0059108 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-13_0_6_line_0 |  | 0 | 1 | 0.00035759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-13_0_6_line_1 |  | 1 | 5 | 0.023781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-13_0_6_line_2 |  | 2 | 3 | 0.0068993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-13_0_6_line_3 |  | 2 | 4 | 0.034698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-13_0_6_line_4 |  | 4 | 9 | 0.0056596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-13_0_6_line_5 |  | 4 | 10 | 0.0015789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-13_0_6_line_6 |  | 5 | 11 | 0.018923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-13_0_6_line_7 |  | 6 | 7 | 0.006931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-13_0_6_line_8 |  | 6 | 8 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-13_0_6_line_9 |  | 7 | 39 | 0.01215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-13_0_6_line_10 |  | 8 | 15 | 0.06135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-13_0_6_line_11 |  | 9 | 39 | 0.0026799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-13_0_6_line_12 |  | 10 | 40 | 0.019744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-13_0_6_line_13 |  | 11 | 12 | 0.0074279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-13_0_6_line_14 |  | 12 | 13 | 0.034559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-13_0_6_line_15 |  | 13 | 14 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-13_0_6_line_16 |  | 14 | 61 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-13_0_6_line_17 |  | 16 | 17 | 0.017897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-13_0_6_line_18 |  | 16 | 18 | 0.024222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-13_0_6_line_19 |  | 17 | 19 | 0.012717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-13_0_6_line_20 |  | 18 | 20 | 0.021613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-13_0_6_line_21 |  | 20 | 21 | 0.0091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-13_0_6_line_22 |  | 21 | 22 | 0.015248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-13_0_6_line_23 |  | 21 | 23 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-13_0_6_line_24 |  | 22 | 59 | 0.0069454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-13_0_6_line_25 |  | 23 | 57 | 0.0062933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-13_0_6_line_26 |  | 24 | 25 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1632-13_0_6_line_27 |  | 24 | 26 | 0.0085948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1632-13_0_6_line_28 |  | 25 | 27 | 0.00020379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1632-13_0_6_line_29 |  | 26 | 28 | 0.0024169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1632-13_0_6_line_30 |  | 27 | 29 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1632-13_0_6_line_31 |  | 28 | 32 | 0.0030181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1632-13_0_6_line_32 |  | 29 | 33 | 0.013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-13_0_6_line_33 |  | 29 | 34 | 0.021076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1632-13_0_6_line_34 |  | 30 | 31 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-13_0_6_line_35 |  | 31 | 35 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-13_0_6_line_36 |  | 31 | 36 | 0.024805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-13_0_6_line_37 |  | 31 | 37 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-13_0_6_line_38 |  | 32 | 38 | 0.0028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1632-13_0_6_line_39 |  | 34 | 46 | 0.026611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-13_0_6_line_40 |  | 34 | 43 | 0.011053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-13_0_6_line_41 |  | 35 | 44 | 0.015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1632-13_0_6_line_42 |  | 36 | 45 | 0.047754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-13_0_6_line_43 |  | 38 | 72 | 0.0067717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1632-13_0_6_line_44 |  | 40 | 41 | 0.0044853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-13_0_6_line_45 |  | 41 | 42 | 0.018111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-13_0_6_line_46 |  | 41 | 43 | 0.0064414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-13_0_6_line_47 |  | 44 | 51 | 0.0042108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-13_0_6_line_48 |  | 45 | 48 | 0.02248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-13_0_6_line_49 |  | 46 | 47 | 0.037002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-13_0_6_line_50 |  | 48 | 49 | 0.054477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-13_0_6_line_51 |  | 49 | 50 | 0.026004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-13_0_6_line_52 |  | 51 | 55 | 0.0053808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-13_0_6_line_53 |  | 51 | 52 | 0.0096733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-13_0_6_line_54 |  | 52 | 53 | 0.0037262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-13_0_6_line_55 |  | 53 | 54 | 0.0052986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-13_0_6_line_56 |  | 54 | 56 | 0.0051265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_1632-13_0_6_line_57 |  | 55 | 57 | 0.0023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1632-13_0_6_line_58 |  | 56 | 58 | 0.0050446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1632-13_0_6_line_59 |  | 58 | 67 | 0.0052059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1632-13_0_6_line_60 |  | 59 | 60 | 0.0074439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1632-13_0_6_line_61 |  | 61 | 62 | 0.01468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1632-13_0_6_line_62 |  | 62 | 63 | 0.00030762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1632-13_0_6_line_63 |  | 63 | 64 | 0.0061853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1632-13_0_6_line_64 |  | 64 | 70 | 0.0050194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1632-13_0_6_line_65 |  | 65 | 66 | 0.0035678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_1632-13_0_6_line_66 |  | 65 | 67 | 0.0014336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_1632-13_0_6_line_67 |  | 66 | 68 | 0.013118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1632-13_0_6_line_68 |  | 68 | 69 | 0.0030753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1632-13_0_6_line_69 |  | 68 | 70 | 0.0026309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1632-13_0_6_line_70 |  | 69 | 71 | 0.0052196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_1632-13_0_6_line_71 |  | 71 | 72 | 0.0054417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-13_0_6_trafo_11 | 0.63 MVA 20/0.4 kV | 73 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2723407.5139 | 1211621.4446 | 2723407.5918 | 1211621.0956
1 | 2723412.6487 | 1211597.8602 | 2723407.5918 | 1211621.0956
2 | 2723428.4232 | 1211643.1383 | 2723429.9032 | 1211636.3996
3 | 2723422.2461 | 1211677.2817 | 2723428.4232 | 1211643.1383
4 | 2723422.2461 | 1211677.2817 | 2723416.6894 | 1211676.2073
5 | 2723423.7962 | 1211677.5814 | 2723422.2461 | 1211677.2817
6 | 2723412.6487 | 1211597.8602 | 2723431.0741 | 1211602.1698
7 | 2723402.1294 | 1211673.392 | 2723395.3245 | 1211672.0762
8 | 2723383.278 | 1211681.5947 | 2723389.556 | 1211670.9608 | 2723395.3245 | 1211672.0762
9 | 2723414.0583 | 1211675.6985 | 2723402.1294 | 1211673.392
10 | 2723383.278 | 1211681.5947 | 2723322.3906 | 1211674.0779
11 | 2723414.0583 | 1211675.6985 | 2723416.6894 | 1211676.2073
12 | 2723423.7962 | 1211677.5814 | 2723443.1814 | 1211681.3297
13 | 2723438.3068 | 1211603.8615 | 2723431.0741 | 1211602.1698
14 | 2723454.6267 | 1211573.3988 | 2723438.3068 | 1211603.8615
15 | 2723454.6267 | 1211573.3988 | 2723457.6285 | 1211574.5285 | 2723467.1744 | 1211576.0601
16 | 2723485.4019 | 1211578.9846 | 2723467.1744 | 1211576.0601
17 | 2723555.2073 | 1211577.9274 | 2723556.6941 | 1211580.7399 | 2723559.074 | 1211586.2045 | 2723561.1465 | 1211591.0956 | 2723561.5855 | 1211594.5105
18 | 2723542.9773 | 1211557.1154 | 2723546.4833 | 1211561.4247 | 2723555.2073 | 1211577.9274
19 | 2723561.5855 | 1211594.5105 | 2723561.932 | 1211597.2055 | 2723561.6161 | 1211600.7128 | 2723560.4755 | 1211607.0902
20 | 2723542.9773 | 1211557.1154 | 2723539.076 | 1211578.3733
21 | 2723537.4333 | 1211587.3238 | 2723539.076 | 1211578.3733
22 | 2723537.4333 | 1211587.3238 | 2723522.3771 | 1211584.9107
23 | 2723537.4333 | 1211587.3238 | 2723534.8454 | 1211602.3825
24 | 2723522.3771 | 1211584.9107 | 2723515.5192 | 1211583.8116
25 | 2723533.7795 | 1211608.5848 | 2723534.8454 | 1211602.3825
26 | 2723475.2958 | 1211644.462 | 2723473.2442 | 1211657.6934
27 | 2723476.6127 | 1211635.9686 | 2723475.2958 | 1211644.462
28 | 2723473.2129 | 1211657.8948 | 2723473.2442 | 1211657.6934
29 | 2723476.6127 | 1211635.9686 | 2723476.9814 | 1211633.58
30 | 2723471.4103 | 1211669.5201 | 2723473.2129 | 1211657.8948
31 | 2723477.4418 | 1211630.5972 | 2723476.9814 | 1211633.58
32 | 2723471.4103 | 1211669.5201 | 2723484.3785 | 1211674.6147
33 | 2723471.4103 | 1211669.5201 | 2723468.8133 | 1211686.2792 | 2723464.763 | 1211685.4948
34 | 2723528.8714 | 1211646.1584 | 2723512.8063 | 1211643.0259
35 | 2723528.8714 | 1211646.1584 | 2723528.6606 | 1211638.3592 | 2723529.133 | 1211635.6116
36 | 2723528.8714 | 1211646.1584 | 2723524.0231 | 1211650.5058 | 2723520.8345 | 1211654.7208 | 2723518.0779 | 1211660.1012 | 2723515.8496 | 1211666.6976
37 | 2723528.8714 | 1211646.1584 | 2723544.9803 | 1211637.2407 | 2723546.1727 | 1211636.6848
38 | 2723477.8829 | 1211627.7395 | 2723477.4418 | 1211630.5972
39 | 2723464.763 | 1211685.4948 | 2723463.9733 | 1211689.4926 | 2723486.1197 | 1211693.6653
40 | 2723464.763 | 1211685.4948 | 2723453.9099 | 1211683.4012
41 | 2723531.7498 | 1211620.393 | 2723529.133 | 1211635.6116
42 | 2723508.8833 | 1211713.8966 | 2723513.488 | 1211677.286 | 2723515.519 | 1211667.6763 | 2723515.8496 | 1211666.6976
43 | 2723477.8829 | 1211627.7395 | 2723478.9158 | 1211621.047
44 | 2723447.5851 | 1211682.1812 | 2723443.1814 | 1211681.3297
45 | 2723447.5851 | 1211682.1812 | 2723444.1234 | 1211699.9565
46 | 2723447.5851 | 1211682.1812 | 2723453.9099 | 1211683.4012
47 | 2723532.4634 | 1211616.2431 | 2723531.7498 | 1211620.393
48 | 2723508.8833 | 1211713.8966 | 2723506.6548 | 1211731.9421 | 2723505.7394 | 1211736.1375
49 | 2723471.7888 | 1211718.7658 | 2723481.4355 | 1211719.4438 | 2723482.8862 | 1211719.1291 | 2723483.6278 | 1211718.1882 | 2723486.1197 | 1211693.6653
50 | 2723505.7394 | 1211736.1375 | 2723484.8713 | 1211725.3083 | 2723480.6021 | 1211724.8195 | 2723475.56 | 1211727.1503 | 2723463.1019 | 1211744.1976
51 | 2723447.7585 | 1211765.193 | 2723463.1019 | 1211744.1976
52 | 2723532.4634 | 1211616.2431 | 2723533.3747 | 1211610.9401
53 | 2723532.4634 | 1211616.2431 | 2723522.9277 | 1211614.6174
54 | 2723522.9277 | 1211614.6174 | 2723519.2545 | 1211613.9912
55 | 2723514.0313 | 1211613.1007 | 2723519.2545 | 1211613.9912
56 | 2723514.0313 | 1211613.1007 | 2723508.9777 | 1211612.2391
57 | 2723533.7795 | 1211608.5848 | 2723533.3747 | 1211610.9401
58 | 2723508.9777 | 1211612.2391 | 2723504.0048 | 1211611.3913
59 | 2723504.0048 | 1211611.3913 | 2723498.8729 | 1211610.5163
60 | 2723508.1691 | 1211582.6335 | 2723515.5192 | 1211583.8116
61 | 2723485.4019 | 1211578.9846 | 2723483.1657 | 1211593.493
62 | 2723483.1188 | 1211593.797 | 2723483.1657 | 1211593.493
63 | 2723482.1766 | 1211599.9101 | 2723483.1188 | 1211593.797
64 | 2723481.412 | 1211604.8709 | 2723482.1766 | 1211599.9101
65 | 2723497.4597 | 1211610.2754 | 2723493.9426 | 1211609.6758
66 | 2723497.4597 | 1211610.2754 | 2723498.8729 | 1211610.5163
67 | 2723481.0112 | 1211607.4711 | 2723493.9426 | 1211609.6758
68 | 2723481.0112 | 1211607.4711 | 2723480.5421 | 1211610.5105
69 | 2723481.0112 | 1211607.4711 | 2723481.412 | 1211604.8709
70 | 2723479.7459 | 1211615.669 | 2723480.5421 | 1211610.5105
71 | 2723478.9158 | 1211621.047 | 2723479.7459 | 1211615.669

## bus_geodata
| x | y | coords
0 | 2723407.5139 | 1211621.4446
1 | 2723407.5918 | 1211621.0956
2 | 2723428.4232 | 1211643.1383
3 | 2723429.9032 | 1211636.3996
4 | 2723422.2461 | 1211677.2817
5 | 2723412.6487 | 1211597.8602
6 | 2723395.3245 | 1211672.0762
7 | 2723402.1294 | 1211673.392
8 | 2723383.278 | 1211681.5947
9 | 2723416.6894 | 1211676.2073
10 | 2723423.7962 | 1211677.5814
11 | 2723431.0742 | 1211602.1698
12 | 2723438.3068 | 1211603.8615
13 | 2723454.6267 | 1211573.3988
14 | 2723467.1744 | 1211576.0601
15 | 2723322.3906 | 1211674.0779
16 | 2723555.2073 | 1211577.9274
17 | 2723561.5855 | 1211594.5105
18 | 2723542.9773 | 1211557.1154
19 | 2723560.4755 | 1211607.0902
20 | 2723539.076 | 1211578.3733
21 | 2723537.4333 | 1211587.3238
22 | 2723522.3771 | 1211584.9107
23 | 2723534.8454 | 1211602.3825
24 | 2723475.2958 | 1211644.462
25 | 2723473.2442 | 1211657.6934
26 | 2723476.6127 | 1211635.9686
27 | 2723473.2129 | 1211657.8948
28 | 2723476.9814 | 1211633.58
29 | 2723471.4103 | 1211669.5201
30 | 2723512.8063 | 1211643.0259
31 | 2723528.8714 | 1211646.1584
32 | 2723477.4418 | 1211630.5972
33 | 2723484.3785 | 1211674.6147
34 | 2723464.763 | 1211685.4948
35 | 2723529.133 | 1211635.6116
36 | 2723515.8496 | 1211666.6976
37 | 2723546.1727 | 1211636.6848
38 | 2723477.8829 | 1211627.7395
39 | 2723414.0583 | 1211675.6985
40 | 2723443.1814 | 1211681.3297
41 | 2723447.5851 | 1211682.1812
42 | 2723444.1234 | 1211699.9565
43 | 2723453.9099 | 1211683.4012
44 | 2723531.7498 | 1211620.393
45 | 2723508.8833 | 1211713.8966
46 | 2723486.1197 | 1211693.6653
47 | 2723471.7888 | 1211718.7658
48 | 2723505.7394 | 1211736.1375
49 | 2723463.1019 | 1211744.1976
50 | 2723447.7585 | 1211765.193
51 | 2723532.4634 | 1211616.2431
52 | 2723522.9277 | 1211614.6174
53 | 2723519.2545 | 1211613.9912
54 | 2723514.0313 | 1211613.1007
55 | 2723533.3747 | 1211610.9401
56 | 2723508.9777 | 1211612.2391
57 | 2723533.7795 | 1211608.5848
58 | 2723504.0048 | 1211611.3913
59 | 2723515.5192 | 1211583.8116
60 | 2723508.1691 | 1211582.6335
61 | 2723485.4019 | 1211578.9846
62 | 2723483.1657 | 1211593.493
63 | 2723483.1188 | 1211593.797
64 | 2723482.1766 | 1211599.9101
65 | 2723497.4597 | 1211610.2754
66 | 2723493.9426 | 1211609.6758
67 | 2723498.8729 | 1211610.5163
68 | 2723481.0112 | 1211607.4711
69 | 2723480.5421 | 1211610.5105
70 | 2723481.412 | 1211604.8709
71 | 2723479.7459 | 1211615.669
72 | 2723478.9158 | 1211621.047
73 | 2723476.6127 | 1211635.9686

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98903 | -0.21108 | 0.043335 | 0.010861
1 | 0.98905 | -0.2108 | 0 | 0
2 | 0.99296 | -0.13525 | 0.011505 | 0.0028835
3 | 0.99293 | -0.13596 | 0.0058231 | 0.0014594
4 | 0.99351 | -0.12463 | 0.0057346 | 0.0014372
5 | 0.98999 | -0.19246 | 0 | 0
6 | 0.99235 | -0.14704 | 0.004941 | 0.0012383
7 | 0.9926 | -0.14226 | 0.0057897 | 0.001451
8 | 0.99179 | -0.15803 | 0.01721 | 0.0043132
9 | 0.99322 | -0.13024 | 0.0053638 | 0.0013443
10 | 0.99363 | -0.12242 | 0.0053839 | 0.0013493
11 | 0.99074 | -0.17788 | 0.0067455 | 0.0016906
12 | 0.99108 | -0.17128 | 0.0069588 | 0.001744
13 | 0.99289 | -0.13636 | 0 | 0
14 | 0.99356 | -0.12339 | 0.0035924 | 0.00090034
15 | 0.99084 | -0.17636 | 0.016838 | 0.0042201
16 | 0.99037 | -0.18523 | 0.0036061 | 0.00090378
17 | 0.99016 | -0.18935 | 0.0034132 | 0.00085543
18 | 0.99074 | -0.17811 | 0 | 0
19 | 0.99005 | -0.19151 | 0.0095373 | 0.0023903
20 | 0.99106 | -0.17176 | 0.0034203 | 0.0008572
21 | 0.99123 | -0.16853 | 0 | 0
22 | 0.99112 | -0.17066 | 0.0030663 | 0.00076848
23 | 0.99162 | -0.16098 | 0.0098673 | 0.002473
24 | 1 | 0 | -0.50759 | -0.12804
25 | 0.99931 | -0.013231 | 0.0066053 | 0.0016555
26 | 0.99913 | -0.016632 | 0 | 0
27 | 0.9993 | -0.013425 | 0.0064006 | 0.0016041
28 | 0.99888 | -0.021314 | 0.0055227 | 0.0013841
29 | 0.99874 | -0.024174 | 0 | 0
30 | 0.99036 | -0.18528 | 0.0055928 | 0.0014017
31 | 0.99045 | -0.18365 | 0 | 0
32 | 0.99858 | -0.027067 | 0.0060266 | 0.0015104
33 | 0.99864 | -0.025993 | 0.0074725 | 0.0018728
34 | 0.9973 | -0.051739 | 0 | 0
35 | 0.99101 | -0.17266 | 0.0057602 | 0.0014436
36 | 0.98948 | -0.20231 | 0.012184 | 0.0030535
37 | 0.99025 | -0.18737 | 0.010601 | 0.0026567
38 | 0.9983 | -0.032481 | 0.0069973 | 0.0017537
39 | 0.9931 | -0.13264 | 0.005955 | 0.0014925
40 | 0.99515 | -0.092998 | 0.0077478 | 0.0019418
41 | 0.99553 | -0.085715 | 0 | 0
42 | 0.99532 | -0.089779 | 0.012755 | 0.0031967
43 | 0.99615 | -0.073822 | 0.0088226 | 0.0022111
44 | 0.99192 | -0.15507 | 0.0074295 | 0.001862
45 | 0.98816 | -0.22794 | 0 | 0
46 | 0.99644 | -0.068359 | 0.0059234 | 0.0014846
47 | 0.99544 | -0.087659 | 0.029683 | 0.0074392
48 | 0.98754 | -0.24002 | 0 | 0
49 | 0.98603 | -0.26938 | 0.017037 | 0.0042698
50 | 0.98572 | -0.27547 | 0.013064 | 0.0032741
51 | 0.9922 | -0.14972 | 0 | 0
52 | 0.99332 | -0.12822 | 0.0063602 | 0.001594
53 | 0.99377 | -0.11953 | 0.0055677 | 0.0013954
54 | 0.99443 | -0.10667 | 0.005449 | 0.0013656
55 | 0.99194 | -0.15487 | 0.00903 | 0.0022631
56 | 0.99477 | -0.1002 | 0.0050439 | 0.0012641
57 | 0.99184 | -0.15677 | 0.0072747 | 0.0018232
58 | 0.995 | -0.095817 | 0.0050511 | 0.0012659
59 | 0.99109 | -0.17125 | 0.0021041 | 0.00052734
60 | 0.99107 | -0.17161 | 0.0027064 | 0.00067829
61 | 0.99459 | -0.10365 | 0 | 0
62 | 0.9954 | -0.087975 | 0.0054047 | 0.0013546
63 | 0.99542 | -0.087618 | 0.0037122 | 0.00093036
64 | 0.99582 | -0.080032 | 0.0069669 | 0.0017461
65 | 0.99531 | -0.089809 | 0.048241 | 0.01209
66 | 0.99554 | -0.085492 | 0.0046062 | 0.0011544
67 | 0.99524 | -0.091139 | 0.0049371 | 0.0012374
68 | 0.99638 | -0.069283 | 0 | 0
69 | 0.99666 | -0.063937 | 0.0057751 | 0.0014474
70 | 0.99617 | -0.073266 | 0.0094787 | 0.0023756
71 | 0.99714 | -0.054693 | 0.0053877 | 0.0013503
72 | 0.99765 | -0.044894 | 0.0059108 | 0.0014814
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.043335 | -0.010861 | 0.043336 | 0.010861 | 5.7002e-07 | 3.6022e-07 | 0.065198 | 0.065198 | 0.065198 | 0.98903 | -0.21108 | 0.98905 | -0.2108 | 17.9116
1 | -0.043336 | -0.010861 | 0.043373 | 0.010885 | 3.7908e-05 | 2.3956e-05 | 0.065198 | 0.065198 | 0.065198 | 0.98905 | -0.2108 | 0.98999 | -0.19246 | 17.9116
2 | 0.0058233 | 0.0014595 | -0.0058231 | -0.0014594 | 1.9703e-07 | 3.6857e-08 | 0.0087266 | 0.0087266 | 0.0087266 | 0.99296 | -0.13525 | 0.99293 | -0.13596 | 2.3974
3 | -0.017329 | -0.0043429 | 0.017337 | 0.0043481 | 8.7741e-06 | 5.1663e-06 | 0.025968 | 0.025968 | 0.025968 | 0.99296 | -0.13525 | 0.99351 | -0.12463 | 7.134
4 | 0.056181 | 0.014111 | -0.056166 | -0.014102 | 1.503e-05 | 9.5461e-06 | 0.084154 | 0.084154 | 0.084154 | 0.99351 | -0.12463 | 0.99322 | -0.13024 | 23.1193
5 | -0.079253 | -0.019896 | 0.079261 | 0.019902 | 8.3438e-06 | 5.3196e-06 | 0.11871 | 0.11871 | 0.11871 | 0.99351 | -0.12463 | 0.99363 | -0.12242 | 32.6129
6 | -0.043373 | -0.010885 | 0.043404 | 0.010904 | 3.0164e-05 | 1.9061e-05 | 0.065198 | 0.065198 | 0.065198 | 0.98999 | -0.19246 | 0.99074 | -0.17788 | 17.9116
7 | -0.039022 | -0.0097914 | 0.039031 | 0.009797 | 8.8998e-06 | 5.6063e-06 | 0.058516 | 0.058516 | 0.058516 | 0.99235 | -0.14704 | 0.9926 | -0.14226 | 16.0759
8 | 0.034081 | 0.0085531 | -0.034063 | -0.0085419 | 1.785e-05 | 1.1189e-05 | 0.051108 | 0.051108 | 0.051108 | 0.99235 | -0.14704 | 0.99179 | -0.15803 | 14.0405
9 | -0.04482 | -0.011248 | 0.044841 | 0.011261 | 2.0572e-05 | 1.3009e-05 | 0.067196 | 0.067196 | 0.067196 | 0.9926 | -0.14226 | 0.9931 | -0.13264 | 18.4604
10 | 0.016853 | 0.0042287 | -0.016838 | -0.0042201 | 1.4711e-05 | 8.6242e-06 | 0.025287 | 0.025287 | 0.025287 | 0.99179 | -0.15803 | 0.99084 | -0.17636 | 6.9471
11 | 0.050802 | 0.012757 | -0.050796 | -0.012754 | 5.8227e-06 | 3.6919e-06 | 0.076119 | 0.076119 | 0.076119 | 0.99322 | -0.13024 | 0.9931 | -0.13264 | 20.9117
12 | -0.084645 | -0.021251 | 0.084764 | 0.021327 | 0.000119 | 7.5901e-05 | 0.12677 | 0.12677 | 0.12677 | 0.99363 | -0.12242 | 0.99515 | -0.092998 | 34.8279
13 | -0.050149 | -0.012595 | 0.050165 | 0.012605 | 1.5806e-05 | 1.002e-05 | 0.075329 | 0.075329 | 0.075329 | 0.99074 | -0.17788 | 0.99108 | -0.17128 | 20.6948
14 | -0.057124 | -0.014349 | 0.057219 | 0.014409 | 9.5352e-05 | 6.0579e-05 | 0.085777 | 0.085777 | 0.085777 | 0.99108 | -0.17128 | 0.99289 | -0.13636 | 23.5651
15 | -0.057219 | -0.014409 | 0.057255 | 0.014432 | 3.5524e-05 | 2.2569e-05 | 0.085777 | 0.085777 | 0.085777 | 0.99289 | -0.13636 | 0.99356 | -0.12339 | 23.5651
16 | -0.060847 | -0.015332 | 0.060904 | 0.015369 | 5.7525e-05 | 3.6577e-05 | 0.091157 | 0.091157 | 0.091157 | 0.99356 | -0.12339 | 0.99459 | -0.10365 | 25.0431
17 | 0.012954 | 0.0032476 | -0.012952 | -0.0032462 | 2.5425e-06 | 1.3969e-06 | 0.019464 | 0.019464 | 0.019464 | 0.99037 | -0.18523 | 0.99016 | -0.18935 | 5.3472
18 | -0.01656 | -0.0041514 | 0.016566 | 0.0041546 | 5.6235e-06 | 3.2872e-06 | 0.024882 | 0.024882 | 0.024882 | 0.99037 | -0.18523 | 0.99074 | -0.17811 | 6.8357
19 | 0.0095383 | 0.0023907 | -0.0095373 | -0.0023903 | 9.799e-07 | 4.6358e-07 | 0.014334 | 0.014334 | 0.014334 | 0.99016 | -0.18935 | 0.99005 | -0.19151 | 3.938
20 | -0.016566 | -0.0041546 | 0.016571 | 0.0041576 | 5.0177e-06 | 2.9329e-06 | 0.024882 | 0.024882 | 0.024882 | 0.99074 | -0.17811 | 0.99106 | -0.17176 | 6.8356
21 | -0.019991 | -0.0050148 | 0.019994 | 0.0050166 | 3.0747e-06 | 1.8505e-06 | 0.030017 | 0.030017 | 0.030017 | 0.99106 | -0.17176 | 0.99123 | -0.16853 | 8.2464
22 | 0.0078778 | 0.0019744 | -0.007877 | -0.001974 | 7.9971e-07 | 3.1528e-07 | 0.011826 | 0.011826 | 0.011826 | 0.99123 | -0.16853 | 0.99112 | -0.17066 | 3.2489
23 | -0.027872 | -0.006991 | 0.027882 | 0.0069972 | 1.0032e-05 | 6.2234e-06 | 0.041843 | 0.041843 | 0.041843 | 0.99123 | -0.16853 | 0.99162 | -0.16098 | 11.4953
24 | 0.0048107 | 0.0012056 | -0.0048106 | -0.0012056 | 1.3587e-07 | -2.5516e-09 | 0.0072225 | 0.0072225 | 0.0072225 | 0.99112 | -0.17066 | 0.99109 | -0.17125 | 1.9842
25 | -0.037749 | -0.0094702 | 0.037757 | 0.0094749 | 7.5736e-06 | 4.7659e-06 | 0.05665 | 0.05665 | 0.05665 | 0.99162 | -0.16098 | 0.99184 | -0.15677 | 15.5631
26 | 0.17083 | 0.043152 | -0.17073 | -0.043084 | 0.00010825 | 6.8756e-05 | 0.25432 | 0.25432 | 0.25432 | 1 | 0 | 0.99931 | -0.013231 | 23.2897
27 | 0.33511 | 0.084888 | -0.33484 | -0.084717 | 0.00026747 | 0.00017085 | 0.49896 | 0.49896 | 0.49896 | 1 | 0 | 0.99913 | -0.016632 | 45.6925
28 | 0.16412 | 0.041428 | -0.16412 | -0.041427 | 1.5227e-06 | 9.6652e-07 | 0.24449 | 0.24449 | 0.24449 | 0.99931 | -0.013231 | 0.9993 | -0.013425 | 22.389
29 | 0.33484 | 0.084717 | -0.33476 | -0.084669 | 7.5215e-05 | 4.8043e-05 | 0.49896 | 0.49896 | 0.49896 | 0.99913 | -0.016632 | 0.99888 | -0.021314 | 45.6925
30 | 0.15772 | 0.039823 | -0.15764 | -0.039771 | 8.118e-05 | 5.1493e-05 | 0.23496 | 0.23496 | 0.23496 | 0.9993 | -0.013425 | 0.99874 | -0.024174 | 21.5162
31 | 0.32924 | 0.083285 | -0.32915 | -0.083227 | 9.0854e-05 | 5.8028e-05 | 0.49074 | 0.49074 | 0.49074 | 0.99888 | -0.021314 | 0.99858 | -0.027067 | 44.9392
32 | 0.0074732 | 0.001873 | -0.0074725 | -0.0018728 | 6.4774e-07 | 2.3224e-07 | 0.011134 | 0.011134 | 0.011134 | 0.99874 | -0.024174 | 0.99864 | -0.025993 | 3.0589
33 | 0.15016 | 0.037898 | -0.14997 | -0.037772 | 0.00019797 | 0.00012615 | 0.22382 | 0.22382 | 0.22382 | 0.99874 | -0.024174 | 0.9973 | -0.051739 | 30.7449
34 | -0.0055928 | -0.0014017 | 0.0055933 | 0.0014018 | 4.3342e-07 | 6.6756e-08 | 0.0084032 | 0.0084031 | 0.0084032 | 0.99036 | -0.18528 | 0.99045 | -0.18365 | 2.3086
35 | -0.058618 | -0.014743 | 0.058649 | 0.014763 | 3.0812e-05 | 1.9584e-05 | 0.088085 | 0.088085 | 0.088085 | 0.99045 | -0.18365 | 0.99101 | -0.17266 | 24.1991
36 | 0.042423 | 0.010684 | -0.042385 | -0.01066 | 3.7807e-05 | 2.3878e-05 | 0.063753 | 0.063753 | 0.063753 | 0.99045 | -0.18365 | 0.98948 | -0.20231 | 17.5145
37 | 0.010602 | 0.0026577 | -0.010601 | -0.0026567 | 1.8771e-06 | 9.4752e-07 | 0.015929 | 0.015929 | 0.015929 | 0.99045 | -0.18365 | 0.99025 | -0.18737 | 4.3761
38 | 0.32312 | 0.081717 | -0.32304 | -0.081663 | 8.3886e-05 | 5.3574e-05 | 0.48176 | 0.48176 | 0.48176 | 0.99858 | -0.027067 | 0.9983 | -0.032481 | 44.1168
39 | 0.035662 | 0.0089585 | -0.035634 | -0.0089408 | 2.8261e-05 | 1.774e-05 | 0.053217 | 0.053217 | 0.053217 | 0.9973 | -0.051739 | 0.99644 | -0.068359 | 14.62
40 | 0.1143 | 0.028814 | -0.11418 | -0.028737 | 0.00012064 | 7.7069e-05 | 0.17061 | 0.17061 | 0.17061 | 0.9973 | -0.051739 | 0.99615 | -0.073822 | 46.8698
41 | -0.064409 | -0.016206 | 0.064463 | 0.016241 | 5.4186e-05 | 3.448e-05 | 0.096734 | 0.096734 | 0.096734 | 0.99101 | -0.17266 | 0.99192 | -0.15507 | 26.5752
42 | 0.030201 | 0.0076062 | -0.030164 | -0.0075832 | 3.6961e-05 | 2.3042e-05 | 0.045431 | 0.045431 | 0.045431 | 0.98948 | -0.20231 | 0.98816 | -0.22794 | 12.481
43 | 0.31604 | 0.079909 | -0.31585 | -0.079789 | 0.00018804 | 0.00012008 | 0.47133 | 0.47133 | 0.47133 | 0.9983 | -0.032481 | 0.99765 | -0.044894 | 43.1617
44 | -0.092512 | -0.023269 | 0.092544 | 0.023289 | 3.2198e-05 | 2.0549e-05 | 0.13836 | 0.13836 | 0.13836 | 0.99515 | -0.092998 | 0.99553 | -0.085715 | 38.0106
45 | 0.012757 | 0.003198 | -0.012755 | -0.0031967 | 2.4696e-06 | 1.3451e-06 | 0.019069 | 0.019069 | 0.019069 | 0.99553 | -0.085715 | 0.99532 | -0.089779 | 5.2387
46 | -0.1053 | -0.026487 | 0.10536 | 0.026526 | 5.9865e-05 | 3.823e-05 | 0.15743 | 0.15743 | 0.15743 | 0.99553 | -0.085715 | 0.99615 | -0.073822 | 43.2492
47 | -0.071893 | -0.018103 | 0.071911 | 0.018114 | 1.8377e-05 | 1.1707e-05 | 0.10788 | 0.10788 | 0.10788 | 0.99192 | -0.15507 | 0.9922 | -0.14972 | 29.637
48 | 0.030164 | 0.0075832 | -0.030147 | -0.0075723 | 1.7399e-05 | 1.0848e-05 | 0.045431 | 0.045431 | 0.045431 | 0.98816 | -0.22794 | 0.98754 | -0.24002 | 12.481
49 | 0.02971 | 0.0074562 | -0.029683 | -0.0074392 | 2.7319e-05 | 1.7002e-05 | 0.044371 | 0.044371 | 0.044371 | 0.99644 | -0.068359 | 0.99544 | -0.087659 | 12.1899
50 | 0.030147 | 0.0075723 | -0.030104 | -0.007546 | 4.2164e-05 | 2.6289e-05 | 0.045431 | 0.045431 | 0.045431 | 0.98754 | -0.24002 | 0.98603 | -0.26938 | 12.4811
51 | 0.013068 | 0.0032762 | -0.013064 | -0.0032741 | 3.7926e-06 | 2.0956e-06 | 0.019721 | 0.019721 | 0.019721 | 0.98603 | -0.26938 | 0.98572 | -0.27547 | 5.4179
52 | 0.054079 | 0.013572 | -0.054066 | -0.013564 | 1.3275e-05 | 8.4263e-06 | 0.081109 | 0.08111 | 0.08111 | 0.9922 | -0.14972 | 0.99194 | -0.15487 | 22.2828
53 | -0.12599 | -0.031687 | 0.12612 | 0.03177 | 0.00012956 | 8.2794e-05 | 0.18899 | 0.18899 | 0.18899 | 0.9922 | -0.14972 | 0.99332 | -0.12822 | 51.9198
54 | -0.13248 | -0.033364 | 0.13254 | 0.033399 | 5.5067e-05 | 3.5194e-05 | 0.19852 | 0.19852 | 0.19852 | 0.99332 | -0.12822 | 0.99377 | -0.11953 | 54.5374
55 | -0.1381 | -0.034794 | 0.13819 | 0.034849 | 8.5018e-05 | 5.4343e-05 | 0.20685 | 0.20685 | 0.20685 | 0.99377 | -0.11953 | 0.99443 | -0.10667 | 56.8277
56 | -0.14364 | -0.036214 | 0.14368 | 0.036242 | 4.4435e-05 | 2.8305e-05 | 0.21501 | 0.21501 | 0.21501 | 0.99443 | -0.10667 | 0.99477 | -0.1002 | 29.5338
57 | 0.045036 | 0.011301 | -0.045032 | -0.011298 | 4.0909e-06 | 2.5873e-06 | 0.067563 | 0.067563 | 0.067563 | 0.99194 | -0.15487 | 0.99184 | -0.15677 | 18.5614
58 | -0.14872 | -0.037507 | 0.14876 | 0.037526 | 3.1232e-05 | 1.9792e-05 | 0.22255 | 0.22255 | 0.22255 | 0.99477 | -0.1002 | 0.995 | -0.095817 | 20.3801
59 | -0.15381 | -0.038792 | 0.15384 | 0.038814 | 3.4455e-05 | 2.1849e-05 | 0.2301 | 0.2301 | 0.2301 | 0.995 | -0.095817 | 0.99524 | -0.091139 | 21.0719
60 | 0.0027065 | 0.00067823 | -0.0027064 | -0.00067829 | 4.6092e-08 | -6.6426e-08 | 0.0040634 | 0.0040635 | 0.0040635 | 0.99109 | -0.17125 | 0.99107 | -0.17161 | 1.1163
61 | -0.060904 | -0.015369 | 0.06095 | 0.015398 | 4.5743e-05 | 2.9085e-05 | 0.091157 | 0.091157 | 0.091157 | 0.99459 | -0.10365 | 0.9954 | -0.087975 | 25.0431
62 | -0.066355 | -0.016752 | 0.066356 | 0.016753 | 1.136e-06 | 7.2305e-07 | 0.099236 | 0.099236 | 0.099236 | 0.9954 | -0.087975 | 0.99542 | -0.087618 | 27.2627
63 | -0.070068 | -0.017684 | 0.070094 | 0.0177 | 2.5468e-05 | 1.6219e-05 | 0.10479 | 0.10479 | 0.10479 | 0.99542 | -0.087618 | 0.99582 | -0.080032 | 28.7872
64 | -0.077061 | -0.019446 | 0.077086 | 0.019462 | 2.4978e-05 | 1.592e-05 | 0.1152 | 0.1152 | 0.1152 | 0.99582 | -0.080032 | 0.99617 | -0.073266 | 31.6472
65 | -0.20703 | -0.052148 | 0.20707 | 0.052176 | 4.2751e-05 | 2.7221e-05 | 0.30961 | 0.30961 | 0.30961 | 0.99531 | -0.089809 | 0.99554 | -0.085492 | 28.3524
66 | 0.15879 | 0.040058 | -0.15878 | -0.040052 | 1.0107e-05 | 6.4125e-06 | 0.23749 | 0.23749 | 0.23749 | 0.99531 | -0.089809 | 0.99524 | -0.091139 | 21.7478
67 | -0.21168 | -0.05333 | 0.21184 | 0.053435 | 0.00016425 | 0.00010461 | 0.31649 | 0.31649 | 0.31649 | 0.99554 | -0.085492 | 0.99638 | -0.069283 | 28.9829
68 | -0.29842 | -0.075283 | 0.2985 | 0.075331 | 7.6414e-05 | 4.8785e-05 | 0.44585 | 0.44585 | 0.44585 | 0.99638 | -0.069283 | 0.99666 | -0.063937 | 40.8285
69 | 0.086581 | 0.021848 | -0.086564 | -0.021837 | 1.6508e-05 | 1.0531e-05 | 0.12935 | 0.12935 | 0.12935 | 0.99638 | -0.069283 | 0.99617 | -0.073266 | 35.5369
70 | -0.30428 | -0.076779 | 0.30441 | 0.076865 | 0.00013476 | 8.6042e-05 | 0.45447 | 0.45447 | 0.45447 | 0.99666 | -0.063937 | 0.99714 | -0.054693 | 41.6181
71 | -0.3098 | -0.078215 | 0.30994 | 0.078308 | 0.00014551 | 9.2912e-05 | 0.46251 | 0.46251 | 0.46251 | 0.99714 | -0.054693 | 0.99765 | -0.044894 | 42.3544

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51617 | 0.13019

## res_load
| p_mw | q_mvar
0 | 0.043335 | 0.010861
1 | 0.011505 | 0.0028835
2 | 0.0058231 | 0.0014594
3 | 0.0057346 | 0.0014372
4 | 0.004941 | 0.0012383
5 | 0.0057897 | 0.001451
6 | 0.01721 | 0.0043132
7 | 0.0053638 | 0.0013443
8 | 0.0053839 | 0.0013493
9 | 0.0067455 | 0.0016906
10 | 0.0069588 | 0.001744
11 | 0.0035924 | 0.00090034
12 | 0.016838 | 0.0042201
13 | 0.0036061 | 0.00090378
14 | 0.0034132 | 0.00085543
15 | 0.0095373 | 0.0023903
16 | 0.0034203 | 0.0008572
17 | 0.0030663 | 0.00076848
18 | 0.0098673 | 0.002473
19 | 0.0085812 | 0.0021506
20 | 0.0066053 | 0.0016555
21 | 0.0064006 | 0.0016041
22 | 0.0055227 | 0.0013841
23 | 0.0055928 | 0.0014017
24 | 0.0060266 | 0.0015104
25 | 0.0074725 | 0.0018728
26 | 0.0057602 | 0.0014436
27 | 0.012184 | 0.0030535
28 | 0.010601 | 0.0026567
29 | 0.0069973 | 0.0017537
30 | 0.005955 | 0.0014925
31 | 0.0077478 | 0.0019418
32 | 0.012755 | 0.0031967
33 | 0.0088226 | 0.0022111
34 | 0.0074295 | 0.001862
35 | 0.0059234 | 0.0014846
36 | 0.029683 | 0.0074392
37 | 0.017037 | 0.0042698
38 | 0.013064 | 0.0032741
39 | 0.0063602 | 0.001594
40 | 0.0055677 | 0.0013954
41 | 0.005449 | 0.0013656
42 | 0.00903 | 0.0022631
43 | 0.0050439 | 0.0012641
44 | 0.0072747 | 0.0018232
45 | 0.0050511 | 0.0012659
46 | 0.0021041 | 0.00052734
47 | 0.0027064 | 0.00067829
48 | 0.0054047 | 0.0013546
49 | 0.0037122 | 0.00093036
50 | 0.0069669 | 0.0017461
51 | 0.048241 | 0.01209
52 | 0.0046062 | 0.0011544
53 | 0.0049371 | 0.0012374
54 | 0.0057751 | 0.0014474
55 | 0.0094787 | 0.0023756
56 | 0.0053877 | 0.0013503
57 | 0.0059108 | 0.0014814

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1