## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-1_0_3_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_1632-1_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_1632-1_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1632-1_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1632-1_0_3_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_1632-1_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1632-1_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1632-1_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1632-1_0_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_1632-1_0_3_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_1632-1_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1632-1_0_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_1632-1_0_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1632-1_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1632-1_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_1632-1_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1632-1_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1632-1_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1632-1_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1632-1_0_3_node_115 | 0.4 | n |  | TRUE
24 | bus_LV_1632-1_0_3_node_109 | 0.4 | n |  | TRUE
25 | bus_LV_1632-1_0_3_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_1632-1_0_3_node_118 | 0.4 | n |  | TRUE
27 | bus_LV_1632-1_0_3_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_1632-1_0_3_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_1632-1_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1632-1_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_1632-1_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1632-1_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1632-1_0_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_1632-1_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1632-1_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_1632-1_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1632-1_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_1632-1_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_1632-1_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_1632-1_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_1632-1_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_1632-1_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1632-1_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1632-1_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1632-1_0_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_1632-1_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1632-1_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1632-1_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1632-1_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_1632-1_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_1632-1_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_1632-1_0_3_node_119 | 0.4 | n |  | TRUE
53 | bus_LV_1632-1_0_3_node_120 | 0.4 | n |  | TRUE
54 | bus_LV_1632-1_0_3_node_121 | 0.4 | n |  | TRUE
55 | bus_MV_224_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-1_0_3_load_0 | 0 | 0.035816 | 0.0089763 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-1_0_3_load_1 | 1 | 0.019665 | 0.0049285 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-1_0_3_load_33 | 5 | 0.0022155 | 0.00055526 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-1_0_3_load_61 | 8 | 0.0083118 | 0.0020831 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-1_0_3_load_37 | 10 | 0.0039548 | 0.00099117 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-1_0_3_load_52 | 13 | 0.0044203 | 0.0011078 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-1_0_3_load_63 | 18 | 0.0046029 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-1_0_3_load_35 | 20 | 0.00085961 | 0.00021544 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-1_0_3_load_115 | 23 | 0.0020399 | 0.00051125 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-1_0_3_load_109 | 24 | 0.0021541 | 0.00053986 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-1_0_3_load_108 | 25 | 0.0025726 | 0.00064476 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-1_0_3_load_117 | 27 | 0.076926 | 0.01928 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-1_0_3_load_64 | 28 | 0.0074405 | 0.0018648 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-1_0_3_load_36 | 29 | 0.0028531 | 0.00071507 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-1_0_3_load_38 | 30 | 0.011249 | 0.0028193 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-1_0_3_load_39 | 32 | 0.0027225 | 0.00068231 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-1_0_3_load_41 | 33 | 0.0012455 | 0.00031216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-1_0_3_load_56 | 38 | 0.0016405 | 0.00041115 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-1_0_3_load_47 | 39 | 0.0027677 | 0.00069364 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-1_0_3_load_45 | 40 | 0.0015969 | 0.00040021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-1_0_3_load_48 | 42 | 0.003894 | 0.00097592 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-1_0_3_load_49 | 43 | 0.0068183 | 0.0017088 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-1_0_3_load_51 | 44 | 0.0063744 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-1_0_3_load_57 | 48 | 0.010752 | 0.0026948 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-1_0_3_load_60 | 49 | 0.0022895 | 0.00057381 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-1_0_3_load_59 | 50 | 0.0051401 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-1_0_3_load_62 | 51 | 0.013319 | 0.0033381 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-1_0_3_load_120 | 53 | 0.0021274 | 0.00053319 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-1_0_3_load_121 | 54 | 0.019866 | 0.0049789 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-1_0_3_line_0 |  | 0 | 1 | 0.063651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1632-1_0_3_line_1 |  | 0 | 2 | 0.055835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1632-1_0_3_line_2 |  | 1 | 3 | 0.040782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-1_0_3_line_3 |  | 2 | 4 | 0.062665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1632-1_0_3_line_4 |  | 3 | 5 | 0.016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-1_0_3_line_5 |  | 4 | 28 | 0.03402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-1_0_3_line_6 |  | 4 | 17 | 0.010712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-1_0_3_line_7 |  | 5 | 20 | 0.10054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-1_0_3_line_8 |  | 6 | 7 | 0.035429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-1_0_3_line_9 |  | 6 | 8 | 0.030391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-1_0_3_line_10 |  | 7 | 9 | 0.027551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-1_0_3_line_11 |  | 8 | 51 | 0.003353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-1_0_3_line_12 |  | 9 | 10 | 0.0015799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-1_0_3_line_13 |  | 10 | 29 | 0.057426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-1_0_3_line_14 |  | 11 | 12 | 0.02409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-1_0_3_line_15 |  | 11 | 13 | 0.030365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-1_0_3_line_16 |  | 12 | 19 | 0.042651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-1_0_3_line_17 |  | 12 | 21 | 0.0087684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-1_0_3_line_18 |  | 13 | 46 | 0.031692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-1_0_3_line_19 |  | 14 | 15 | 0.087419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-1_0_3_line_20 |  | 14 | 16 | 0.031216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-1_0_3_line_21 |  | 15 | 26 | 0.015447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-1_0_3_line_22 |  | 15 | 27 | 0.0073522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-1_0_3_line_23 |  | 16 | 29 | 0.015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-1_0_3_line_24 |  | 16 | 17 | 0.020347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-1_0_3_line_25 |  | 17 | 18 | 0.0065151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-1_0_3_line_26 |  | 19 | 20 | 0.017852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-1_0_3_line_27 |  | 21 | 22 | 0.010965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-1_0_3_line_28 |  | 21 | 23 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-1_0_3_line_29 |  | 22 | 24 | 0.015666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-1_0_3_line_30 |  | 22 | 25 | 0.02714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-1_0_3_line_31 |  | 26 | 52 | 0.012811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-1_0_3_line_32 |  | 26 | 53 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-1_0_3_line_33 |  | 30 | 31 | 0.029162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-1_0_3_line_34 |  | 31 | 34 | 0.033107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-1_0_3_line_35 |  | 32 | 33 | 0.0105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-1_0_3_line_36 |  | 33 | 34 | 0.012165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-1_0_3_line_37 |  | 34 | 35 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-1_0_3_line_38 |  | 35 | 39 | 0.056446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-1_0_3_line_39 |  | 35 | 40 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-1_0_3_line_40 |  | 36 | 37 | 0.002495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-1_0_3_line_41 |  | 36 | 38 | 0.015602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1632-1_0_3_line_42 |  | 37 | 45 | 0.020453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-1_0_3_line_43 |  | 37 | 39 | 0.017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1632-1_0_3_line_44 |  | 38 | 46 | 0.0079635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-1_0_3_line_45 |  | 40 | 41 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-1_0_3_line_46 |  | 41 | 42 | 0.011567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-1_0_3_line_47 |  | 41 | 43 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-1_0_3_line_48 |  | 42 | 44 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-1_0_3_line_49 |  | 45 | 49 | 0.0053049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-1_0_3_line_50 |  | 46 | 47 | 0.003045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-1_0_3_line_51 |  | 47 | 48 | 0.021053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-1_0_3_line_52 |  | 49 | 50 | 0.0014138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-1_0_3_line_53 |  | 52 | 54 | 0.0069008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-1_0_3_trafo_1 | 0.63 MVA 20/0.4 kV | 55 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2723078.0339 | 1214273.5365 | 2723080.6512 | 1214209.9398
1 | 2723075.738 | 1214329.3245 | 2723078.0339 | 1214273.5365
2 | 2723082.3281 | 1214169.1924 | 2723080.6512 | 1214209.9398
3 | 2723017.7407 | 1214338.4013 | 2723027.0435 | 1214341.1843 | 2723033.7288 | 1214342.6789 | 2723037.9393 | 1214343.3441 | 2723046.3225 | 1214343.1947 | 2723055.0625 | 1214341.9519 | 2723063.2235 | 1214339.3183 | 2723068.2844 | 1214335.9646 | 2723075.738 | 1214329.3245
4 | 2723082.3281 | 1214169.1924 | 2723088.7952 | 1214169.4928 | 2723088.7201 | 1214172.3934 | 2723096.1998 | 1214172.5738
5 | 2723017.7407 | 1214338.4013 | 2723022.4568 | 1214338.4987 | 2723026.1872 | 1214337.7639 | 2723029.5841 | 1214336.2551 | 2723033.8401 | 1214332.8736 | 2723036.6477 | 1214328.9952 | 2723038.5174 | 1214325.6535 | 2723039.1714 | 1214321.9419 | 2723039.2079 | 1214318.7068 | 2723039.1204 | 1214317.9851
6 | 2723007.5057 | 1214335.1432 | 2723017.7407 | 1214338.4013
7 | 2723102.365 | 1214074.3487 | 2723098.3796 | 1214172.6264 | 2723096.1998 | 1214172.5738
8 | 2722941.9328 | 1214291.9908 | 2722945.7927 | 1214293.8162 | 2722953.2511 | 1214275.1556 | 2722962.4717 | 1214269.041
9 | 2722962.4717 | 1214269.041 | 2722964.0968 | 1214267.9737 | 2722967.3753 | 1214264.8389 | 2722969.5331 | 1214261.5253 | 2722972.2229 | 1214254.5198 | 2722974.118 | 1214251.4121 | 2722977.1589 | 1214249.8513 | 2722982.5201 | 1214249.2503 | 2722982.5201 | 1214249.2503
10 | 2722941.9328 | 1214291.9908 | 2722945.7927 | 1214293.8162 | 2722939.8906 | 1214311.4304 | 2722944.3256 | 1214313.0008
11 | 2722982.5201 | 1214249.2503 | 2722983.925 | 1214247.8115 | 2722983.9883 | 1214246.4709
12 | 2722944.3256 | 1214313.0008 | 2722943.8125 | 1214314.4951
13 | 2722980.7495 | 1214333.7415 | 2722962.5825 | 1214339.1419 | 2722958.5501 | 1214339.4145 | 2722953.4267 | 1214338.4414 | 2722949.0324 | 1214336.3714 | 2722946.4601 | 1214334.0055 | 2722944.5181 | 1214331.6525 | 2722942.8844 | 1214328.3496 | 2722942.2877 | 1214325.2349 | 2722942.3305 | 1214321.6886 | 2722942.5553 | 1214318.1572 | 2722943.8125 | 1214314.4951
14 | 2723133.9952 | 1214085.9948 | 2723136.5101 | 1214083.4226 | 2723151.5783 | 1214097.3111
15 | 2723151.5783 | 1214097.3111 | 2723152.9689 | 1214104.6566 | 2723157.7891 | 1214127.032
16 | 2723133.9952 | 1214085.9948 | 2723121.0726 | 1214073.7964 | 2723116.4553 | 1214069.2753 | 2723103.0884 | 1214056.5117
17 | 2723133.9952 | 1214085.9948 | 2723136.5101 | 1214083.4226 | 2723140.0078 | 1214079.6141
18 | 2723164.4632 | 1214158.013 | 2723157.7891 | 1214127.032
19 | 2723005.6157 | 1214220.2377 | 2723003.3736 | 1214282.1059 | 2723002.874 | 1214301.5217 | 2723003.0885 | 1214303.2719 | 2723003.701 | 1214304.5188 | 2723004.7836 | 1214305.4419 | 2723006.0505 | 1214306.2686
20 | 2722994.5338 | 1214327.9256 | 2722995.4139 | 1214307.7392 | 2723002.3687 | 1214307.9607 | 2723006.0505 | 1214306.2686
21 | 2723005.6157 | 1214220.2377 | 2723006.1547 | 1214204.8035
22 | 2723005.6157 | 1214220.2377 | 2723012.9654 | 1214220.4297
23 | 2722994.5338 | 1214327.9256 | 2722992.3743 | 1214329.8492 | 2722988.4666 | 1214331.4476 | 2722980.7495 | 1214333.7415
24 | 2722994.5338 | 1214327.9256 | 2722994.23 | 1214334.9136 | 2722996.3798 | 1214334.5576 | 2723000.0299 | 1214334.3995 | 2723004.3474 | 1214334.6665 | 2723007.5057 | 1214335.1432
25 | 2723007.5057 | 1214335.1432 | 2723013.6186 | 1214332.8894
26 | 2723103.0884 | 1214056.5117 | 2723102.365 | 1214074.3487
27 | 2723137.333 | 1214071.1745 | 2723135.311 | 1214075.2693 | 2723140.0078 | 1214079.6141
28 | 2723140.0078 | 1214079.6141 | 2723151.2294 | 1214090.0215
29 | 2723137.333 | 1214071.1745 | 2723139.7179 | 1214056.8794 | 2723139.7246 | 1214055.7061
30 | 2723137.333 | 1214071.1745 | 2723163.6312 | 1214064.468
31 | 2723006.1547 | 1214204.8035 | 2723006.6089 | 1214192.003
32 | 2723006.1547 | 1214204.8035 | 2722992.8171 | 1214204.4207
33 | 2723188.5069 | 1214305.1567 | 2723159.3791 | 1214306.5761
34 | 2723183.0735 | 1214272.5082 | 2723187.6384 | 1214298.2891 | 2723188.5069 | 1214305.1567
35 | 2723170.9349 | 1214273.303 | 2723160.4573 | 1214273.9891
36 | 2723183.0735 | 1214272.5082 | 2723170.9349 | 1214273.303
37 | 2723183.0735 | 1214272.5082 | 2723179.7875 | 1214253.9482
38 | 2723179.7875 | 1214253.9482 | 2723177.7434 | 1214242.5749 | 2723169.6474 | 1214198.4206
39 | 2723179.7875 | 1214253.9482 | 2723166.7982 | 1214254.4555
40 | 2723169.0073 | 1214181.1359 | 2723166.5115 | 1214181.3178
41 | 2723169.0073 | 1214181.1359 | 2723165.9988 | 1214165.8271
42 | 2723146.057 | 1214182.8521 | 2723166.5115 | 1214181.3178
43 | 2723166.5115 | 1214181.3178 | 2723169.6474 | 1214198.4206
44 | 2723164.4632 | 1214158.013 | 2723165.9988 | 1214165.8271
45 | 2723152.4214 | 1214255.017 | 2723166.7982 | 1214254.4555
46 | 2723152.4214 | 1214255.017 | 2723151.2247 | 1214243.5117
47 | 2723152.4214 | 1214255.017 | 2723138.7714 | 1214255.5924
48 | 2723149.979 | 1214231.5353 | 2723151.2247 | 1214243.5117
49 | 2723146.057 | 1214182.8521 | 2723140.7646 | 1214183.2162
50 | 2723164.4632 | 1214158.013 | 2723161.4516 | 1214158.5179
51 | 2723161.4516 | 1214158.5179 | 2723158.2297 | 1214140.8933 | 2723157.6806 | 1214137.8058
52 | 2723140.7646 | 1214183.2162 | 2723139.3542 | 1214183.3132
53 | 2723006.6089 | 1214192.003 | 2723006.8511 | 1214185.1065

## bus_geodata
| x | y | coords
0 | 2723078.0339 | 1214273.5365
1 | 2723080.6512 | 1214209.9398
2 | 2723075.738 | 1214329.3245
3 | 2723082.3281 | 1214169.1924
4 | 2723017.7407 | 1214338.4013
5 | 2723096.1998 | 1214172.5738
6 | 2722962.4717 | 1214269.041
7 | 2722941.9328 | 1214291.9908
8 | 2722982.5201 | 1214249.2503
9 | 2722944.3256 | 1214313.0008
10 | 2722943.8125 | 1214314.4951
11 | 2723151.5783 | 1214097.3111
12 | 2723133.9952 | 1214085.9948
13 | 2723157.7891 | 1214127.032
14 | 2723006.0505 | 1214306.2686
15 | 2723005.6157 | 1214220.2377
16 | 2722994.5338 | 1214327.9256
17 | 2723007.5057 | 1214335.1432
18 | 2723013.6186 | 1214332.8894
19 | 2723103.0884 | 1214056.5117
20 | 2723102.365 | 1214074.3487
21 | 2723140.0078 | 1214079.6141
22 | 2723137.333 | 1214071.1745
23 | 2723151.2294 | 1214090.0215
24 | 2723139.7246 | 1214055.7061
25 | 2723163.6312 | 1214064.468
26 | 2723006.1547 | 1214204.8035
27 | 2723012.9654 | 1214220.4297
28 | 2723039.1204 | 1214317.9851
29 | 2722980.7495 | 1214333.7415
30 | 2723159.3791 | 1214306.5761
31 | 2723188.5069 | 1214305.1567
32 | 2723160.4573 | 1214273.9891
33 | 2723170.9349 | 1214273.303
34 | 2723183.0735 | 1214272.5082
35 | 2723179.7875 | 1214253.9481
36 | 2723169.0073 | 1214181.1359
37 | 2723166.5115 | 1214181.3178
38 | 2723165.9988 | 1214165.8271
39 | 2723169.6474 | 1214198.4206
40 | 2723166.7982 | 1214254.4555
41 | 2723152.4214 | 1214255.017
42 | 2723151.2247 | 1214243.5117
43 | 2723138.7714 | 1214255.5924
44 | 2723149.979 | 1214231.5353
45 | 2723146.057 | 1214182.8521
46 | 2723164.4632 | 1214158.013
47 | 2723161.4516 | 1214158.5179
48 | 2723157.6806 | 1214137.8058
49 | 2723140.7646 | 1214183.2162
50 | 2723139.3542 | 1214183.3132
51 | 2722983.9883 | 1214246.4709
52 | 2723006.6089 | 1214192.003
53 | 2722992.8171 | 1214204.4207
54 | 2723006.8511 | 1214185.1065
55 | 2723081.6074 | 1214186.7051

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99482 | -0.097711 | 0.035816 | 0.0089763
1 | 1 | 0 | -0.25239 | -0.064679
2 | 0.9912 | -0.16651 | 0 | 0
3 | 0.99733 | -0.050442 | 0 | 0
4 | 0.98713 | -0.24432 | 0 | 0
5 | 0.99622 | -0.071372 | 0.0022155 | 0.00055526
6 | 0.98035 | -0.37585 | 0 | 0
7 | 0.98106 | -0.36196 | 0 | 0
8 | 0.97974 | -0.38778 | 0.0083118 | 0.0020831
9 | 0.98161 | -0.35118 | 0 | 0
10 | 0.98164 | -0.35056 | 0.0039548 | 0.00099117
11 | 0.98468 | -0.29268 | 0 | 0
12 | 0.98604 | -0.26634 | 0 | 0
13 | 0.98297 | -0.326 | 0.0044203 | 0.0011078
14 | 0.98051 | -0.37206 | 0 | 0
15 | 0.97244 | -0.53013 | 0 | 0
16 | 0.9834 | -0.31624 | 0 | 0
17 | 0.98581 | -0.26964 | 0 | 0
18 | 0.98579 | -0.27018 | 0.0046029 | 0.0011536
19 | 0.98872 | -0.21472 | 0 | 0
20 | 0.98984 | -0.1932 | 0.00085961 | 0.00021544
21 | 0.98599 | -0.2674 | 0 | 0
22 | 0.98594 | -0.26833 | 0 | 0
23 | 0.98596 | -0.26796 | 0.0020399 | 0.00051125
24 | 0.98591 | -0.26894 | 0.0021541 | 0.00053986
25 | 0.98588 | -0.26958 | 0.0025726 | 0.00064476
26 | 0.97213 | -0.5364 | 0 | 0
27 | 0.97192 | -0.54056 | 0.076926 | 0.01928
28 | 0.9869 | -0.24885 | 0.0074405 | 0.0018648
29 | 0.983 | -0.32402 | 0.0028531 | 0.00071507
30 | 0.97695 | -0.44383 | 0.011249 | 0.0028193
31 | 0.97725 | -0.43784 | 0 | 0
32 | 0.97753 | -0.43244 | 0.0027225 | 0.00068231
33 | 0.97755 | -0.43192 | 0.0012455 | 0.00031216
34 | 0.9776 | -0.43104 | 0 | 0
35 | 0.97786 | -0.42581 | 0 | 0
36 | 0.98033 | -0.37742 | 0 | 0
37 | 0.98023 | -0.37942 | 0 | 0
38 | 0.98097 | -0.36495 | 0.0016405 | 0.00041115
39 | 0.97964 | -0.39099 | 0.0027677 | 0.00069364
40 | 0.97764 | -0.43024 | 0.0015969 | 0.00040021
41 | 0.97741 | -0.43472 | 0 | 0
42 | 0.9773 | -0.43689 | 0.003894 | 0.00097592
43 | 0.97733 | -0.43642 | 0.0068183 | 0.0017088
44 | 0.97723 | -0.43829 | 0.0063744 | 0.0015976
45 | 0.98009 | -0.38217 | 0 | 0
46 | 0.98131 | -0.35835 | 0 | 0
47 | 0.98128 | -0.35894 | 0 | 0
48 | 0.98107 | -0.36304 | 0.010752 | 0.0026948
49 | 0.98005 | -0.38289 | 0.0022895 | 0.00057381
50 | 0.98005 | -0.38302 | 0.0051401 | 0.0012882
51 | 0.9797 | -0.38859 | 0.013319 | 0.0033381
52 | 0.97189 | -0.54109 | 0 | 0
53 | 0.9721 | -0.53692 | 0.0021274 | 0.00053319
54 | 0.97176 | -0.54362 | 0.019866 | 0.0049789
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17783 | -0.045578 | 0.17868 | 0.046119 | 0.00084668 | 0.00054021 | 0.26635 | 0.26635 | 0.26635 | 0.99482 | -0.097711 | 1 | 0 | 36.5869
1 | 0.14202 | 0.036602 | -0.14154 | -0.0363 | 0.000474 | 0.00030192 | 0.21278 | 0.21278 | 0.21278 | 0.99482 | -0.097711 | 0.9912 | -0.16651 | 29.2284
2 | 0.07206 | 0.01856 | -0.071884 | -0.018448 | 0.00017642 | 0.00011237 | 0.1074 | 0.1074 | 0.1074 | 1 | 0 | 0.99733 | -0.050442 | 29.5067
3 | 0.14154 | 0.0363 | -0.14101 | -0.035961 | 0.00053198 | 0.00033886 | 0.21278 | 0.21278 | 0.21278 | 0.9912 | -0.16651 | 0.98713 | -0.24432 | 29.2285
4 | 0.071884 | 0.018448 | -0.071811 | -0.018401 | 7.2924e-05 | 4.6452e-05 | 0.1074 | 0.1074 | 0.1074 | 0.99733 | -0.050442 | 0.99622 | -0.071372 | 29.5067
5 | 0.0074421 | 0.0018654 | -0.0074405 | -0.0018648 | 1.6056e-06 | 5.9279e-07 | 0.011218 | 0.011219 | 0.011219 | 0.98713 | -0.24432 | 0.9869 | -0.24885 | 3.082
6 | 0.13357 | 0.034096 | -0.1334 | -0.033992 | 0.0001632 | 0.00010431 | 0.20157 | 0.20157 | 0.20157 | 0.98713 | -0.24432 | 0.98581 | -0.26964 | 55.375
7 | 0.069595 | 0.017846 | -0.069187 | -0.017586 | 0.00040853 | 0.00026016 | 0.1041 | 0.1041 | 0.1041 | 0.99622 | -0.071372 | 0.98984 | -0.1932 | 28.5977
8 | -0.021644 | -0.005429 | 0.021658 | 0.0054377 | 1.434e-05 | 8.7307e-06 | 0.032853 | 0.032853 | 0.032853 | 0.98035 | -0.37585 | 0.98106 | -0.36196 | 9.0257
9 | 0.021644 | 0.005429 | -0.021631 | -0.0054215 | 1.2301e-05 | 7.4898e-06 | 0.032853 | 0.032854 | 0.032854 | 0.98035 | -0.37585 | 0.97974 | -0.38778 | 9.0257
10 | -0.021658 | -0.0054377 | 0.021669 | 0.0054445 | 1.1151e-05 | 6.7888e-06 | 0.032853 | 0.032853 | 0.032853 | 0.98106 | -0.36196 | 0.98161 | -0.35118 | 9.0256
11 | 0.01332 | 0.0033384 | -0.013319 | -0.0033381 | 5.1457e-07 | 2.871e-07 | 0.02023 | 0.02023 | 0.02023 | 0.97974 | -0.38778 | 0.9797 | -0.38859 | 5.5576
12 | -0.021669 | -0.0054445 | 0.02167 | 0.0054449 | 6.3948e-07 | 3.8929e-07 | 0.032853 | 0.032853 | 0.032853 | 0.98161 | -0.35118 | 0.98164 | -0.35056 | 9.0256
13 | -0.025625 | -0.0064361 | 0.025657 | 0.0064561 | 3.2499e-05 | 2.0072e-05 | 0.038848 | 0.038848 | 0.038848 | 0.98164 | -0.35056 | 0.983 | -0.32402 | 10.6725
14 | -0.061242 | -0.015473 | 0.06132 | 0.015522 | 7.7448e-05 | 4.926e-05 | 0.092591 | 0.092591 | 0.092591 | 0.98468 | -0.29268 | 0.98604 | -0.26634 | 25.4372
15 | 0.061242 | 0.015473 | -0.061145 | -0.015411 | 9.7621e-05 | 6.2092e-05 | 0.092591 | 0.092592 | 0.092592 | 0.98468 | -0.29268 | 0.98297 | -0.326 | 25.4373
16 | -0.068087 | -0.017218 | 0.068256 | 0.017325 | 0.00016904 | 0.00010764 | 0.1028 | 0.1028 | 0.1028 | 0.98604 | -0.26634 | 0.98872 | -0.21472 | 28.2428
17 | 0.0067674 | 0.0016954 | -0.0067671 | -0.0016953 | 3.4292e-07 | 1.0763e-07 | 0.010212 | 0.010212 | 0.010212 | 0.98604 | -0.26634 | 0.98599 | -0.2674 | 2.8056
18 | 0.056724 | 0.014303 | -0.056637 | -0.014247 | 8.7693e-05 | 5.5723e-05 | 0.0859 | 0.0859 | 0.0859 | 0.98297 | -0.326 | 0.98131 | -0.35835 | 23.599
19 | 0.099723 | 0.025304 | -0.098971 | -0.024824 | 0.00075194 | 0.00048015 | 0.15145 | 0.15145 | 0.15145 | 0.98051 | -0.37206 | 0.97244 | -0.53013 | 41.6075
20 | -0.099723 | -0.025304 | 0.099992 | 0.025476 | 0.0002685 | 0.00017145 | 0.15145 | 0.15145 | 0.15145 | 0.98051 | -0.37206 | 0.9834 | -0.31624 | 41.6074
21 | 0.022007 | 0.0055201 | -0.022 | -0.0055161 | 6.5694e-06 | 4.0128e-06 | 0.033676 | 0.033676 | 0.033676 | 0.97244 | -0.53013 | 0.97213 | -0.5364 | 9.2517
22 | 0.076965 | 0.019304 | -0.076926 | -0.01928 | 3.8244e-05 | 2.4385e-05 | 0.11778 | 0.11778 | 0.11778 | 0.97244 | -0.53013 | 0.97192 | -0.54056 | 32.3558
23 | 0.028521 | 0.0071778 | -0.02851 | -0.0071712 | 1.0597e-05 | 6.5895e-06 | 0.043167 | 0.043167 | 0.043167 | 0.9834 | -0.31624 | 0.983 | -0.32402 | 11.859
24 | -0.12851 | -0.032653 | 0.1288 | 0.032838 | 0.000289 | 0.0001847 | 0.19462 | 0.19462 | 0.19462 | 0.9834 | -0.31624 | 0.98581 | -0.26964 | 53.4663
25 | 0.004603 | 0.0011536 | -0.0046029 | -0.0011536 | 1.1794e-07 | -7.5809e-09 | 0.0069479 | 0.006948 | 0.006948 | 0.98581 | -0.26964 | 0.98579 | -0.27018 | 1.9088
26 | -0.068256 | -0.017325 | 0.068327 | 0.01737 | 7.075e-05 | 4.5051e-05 | 0.1028 | 0.1028 | 0.1028 | 0.98872 | -0.21472 | 0.98984 | -0.1932 | 28.2427
27 | 0.0047271 | 0.0011842 | -0.0047269 | -0.0011842 | 2.0926e-07 | -5.9178e-09 | 0.0071338 | 0.0071338 | 0.0071338 | 0.98599 | -0.2674 | 0.98594 | -0.26833 | 1.9598
28 | 0.00204 | 0.00051109 | -0.0020399 | -0.00051125 | 5.4396e-08 | -1.6038e-07 | 0.0030786 | 0.0030786 | 0.0030786 | 0.98599 | -0.2674 | 0.98596 | -0.26796 | 0.84578
29 | 0.0021541 | 0.0005397 | -0.0021541 | -0.00053986 | 6.2093e-08 | -1.6004e-07 | 0.003251 | 0.0032511 | 0.0032511 | 0.98594 | -0.26833 | 0.98591 | -0.26894 | 0.89316
30 | 0.0025728 | 0.00064451 | -0.0025726 | -0.00064476 | 1.5344e-07 | -2.4789e-07 | 0.0038828 | 0.0038829 | 0.0038829 | 0.98594 | -0.26833 | 0.98588 | -0.26958 | 1.0667
31 | 0.019873 | 0.004983 | -0.019868 | -0.0049803 | 4.4456e-06 | 2.6864e-06 | 0.03042 | 0.03042 | 0.03042 | 0.97213 | -0.5364 | 0.97189 | -0.54109 | 8.3571
32 | 0.0021275 | 0.00053306 | -0.0021274 | -0.00053319 | 5.3063e-08 | -1.3146e-07 | 0.0032565 | 0.0032565 | 0.0032565 | 0.97213 | -0.5364 | 0.9721 | -0.53692 | 0.89465
33 | -0.011249 | -0.0028193 | 0.011252 | 0.002821 | 3.2103e-06 | 1.6893e-06 | 0.017134 | 0.017134 | 0.017134 | 0.97695 | -0.44383 | 0.97725 | -0.43784 | 4.707
34 | -0.011252 | -0.002821 | 0.011256 | 0.0028229 | 3.6445e-06 | 1.9175e-06 | 0.017134 | 0.017133 | 0.017134 | 0.97725 | -0.43784 | 0.9776 | -0.43104 | 4.707
35 | -0.0027225 | -0.00068231 | 0.0027225 | 0.00068222 | 6.7623e-08 | -8.8356e-08 | 0.0041442 | 0.0041441 | 0.0041442 | 0.97753 | -0.43244 | 0.97755 | -0.43192 | 1.1385
36 | -0.0039681 | -0.00099438 | 0.0039682 | 0.00099434 | 1.6642e-07 | -4.6004e-08 | 0.0060401 | 0.00604 | 0.0060401 | 0.97755 | -0.43192 | 0.9776 | -0.43104 | 1.6594
37 | -0.015224 | -0.0038172 | 0.015228 | 0.0038194 | 3.7959e-06 | 2.193e-06 | 0.023173 | 0.023173 | 0.023173 | 0.9776 | -0.43104 | 0.97786 | -0.42581 | 6.3663
38 | -0.033921 | -0.0085073 | 0.033977 | 0.0085427 | 5.6402e-05 | 3.5388e-05 | 0.05162 | 0.051619 | 0.05162 | 0.97786 | -0.42581 | 0.97964 | -0.39099 | 14.1812
39 | 0.018693 | 0.0046879 | -0.018689 | -0.0046855 | 3.9446e-06 | 2.3615e-06 | 0.028446 | 0.028446 | 0.028446 | 0.97786 | -0.42581 | 0.97764 | -0.43024 | 7.815
40 | 0.0442 | 0.011114 | -0.044196 | -0.011112 | 4.213e-06 | 2.6649e-06 | 0.067104 | 0.067104 | 0.067104 | 0.98033 | -0.37742 | 0.98023 | -0.37942 | 18.435
41 | -0.0442 | -0.011114 | 0.044227 | 0.011131 | 2.6345e-05 | 1.6664e-05 | 0.067104 | 0.067103 | 0.067104 | 0.98033 | -0.37742 | 0.98097 | -0.36495 | 18.435
42 | 0.0074309 | 0.0018625 | -0.0074299 | -0.0018621 | 9.7596e-07 | 3.6683e-07 | 0.01128 | 0.01128 | 0.01128 | 0.98023 | -0.37942 | 0.98009 | -0.38217 | 3.099
43 | 0.036765 | 0.0092491 | -0.036745 | -0.0092363 | 2.0319e-05 | 1.2785e-05 | 0.055823 | 0.055823 | 0.055823 | 0.98023 | -0.37942 | 0.97964 | -0.39099 | 15.3361
44 | -0.045867 | -0.011542 | 0.045882 | 0.011551 | 1.4463e-05 | 9.1556e-06 | 0.069592 | 0.069592 | 0.069592 | 0.98097 | -0.36495 | 0.98131 | -0.35835 | 19.1187
45 | 0.017092 | 0.0042853 | -0.017089 | -0.0042832 | 3.6518e-06 | 2.1568e-06 | 0.026016 | 0.026016 | 0.026016 | 0.97764 | -0.43024 | 0.97741 | -0.43472 | 7.1473
46 | 0.01027 | 0.0025741 | -0.010269 | -0.0025736 | 1.0604e-06 | 5.3368e-07 | 0.015635 | 0.015635 | 0.015635 | 0.97741 | -0.43472 | 0.9773 | -0.43689 | 4.2953
47 | 0.0068188 | 0.001709 | -0.0068183 | -0.0017088 | 5.5212e-07 | 1.8214e-07 | 0.010381 | 0.010381 | 0.010381 | 0.97741 | -0.43472 | 0.97733 | -0.43642 | 2.852
48 | 0.0063748 | 0.0015977 | -0.0063744 | -0.0015976 | 4.2539e-07 | 1.2138e-07 | 0.0097061 | 0.0097062 | 0.0097062 | 0.9773 | -0.43689 | 0.97723 | -0.43829 | 2.6665
49 | 0.0074299 | 0.0018621 | -0.0074296 | -0.001862 | 2.5314e-07 | 9.5158e-08 | 0.01128 | 0.01128 | 0.01128 | 0.98009 | -0.38217 | 0.98005 | -0.38289 | 3.099
50 | 0.010755 | 0.0026961 | -0.010755 | -0.0026959 | 3.037e-07 | 1.559e-07 | 0.016308 | 0.016308 | 0.016308 | 0.98131 | -0.35835 | 0.98128 | -0.35894 | 4.4803
51 | 0.010755 | 0.0026959 | -0.010752 | -0.0026948 | 2.0997e-06 | 1.0779e-06 | 0.016308 | 0.016309 | 0.016309 | 0.98128 | -0.35894 | 0.98107 | -0.36304 | 4.4804
52 | 0.0051401 | 0.0012882 | -0.0051401 | -0.0012882 | 3.2291e-08 | 2.8509e-09 | 0.0078043 | 0.0078043 | 0.0078043 | 0.98005 | -0.38289 | 0.98005 | -0.38302 | 2.144
53 | 0.019868 | 0.0049803 | -0.019866 | -0.0049789 | 2.3947e-06 | 1.4471e-06 | 0.03042 | 0.03042 | 0.03042 | 0.97189 | -0.54109 | 0.97176 | -0.54362 | 8.3571

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27205 | 0.069607

## res_load
| p_mw | q_mvar
0 | 0.035816 | 0.0089763
1 | 0.019665 | 0.0049285
2 | 0.0022155 | 0.00055526
3 | 0.0083118 | 0.0020831
4 | 0.0039548 | 0.00099117
5 | 0.0044203 | 0.0011078
6 | 0.0046029 | 0.0011536
7 | 0.00085961 | 0.00021544
8 | 0.0020399 | 0.00051125
9 | 0.0021541 | 0.00053986
10 | 0.0025726 | 0.00064476
11 | 0.076926 | 0.01928
12 | 0.0074405 | 0.0018648
13 | 0.0028531 | 0.00071507
14 | 0.011249 | 0.0028193
15 | 0.0027225 | 0.00068231
16 | 0.0012455 | 0.00031216
17 | 0.0016405 | 0.00041115
18 | 0.0027677 | 0.00069364
19 | 0.0015969 | 0.00040021
20 | 0.003894 | 0.00097592
21 | 0.0068183 | 0.0017088
22 | 0.0063744 | 0.0015976
23 | 0.010752 | 0.0026948
24 | 0.0022895 | 0.00057381
25 | 0.0051401 | 0.0012882
26 | 0.013319 | 0.0033381
27 | 0.0021274 | 0.00053319
28 | 0.019866 | 0.0049789

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1