## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-1_1_4_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_1632-1_1_4_node_101 | 0.4 | n |  | TRUE
2 | bus_LV_1632-1_1_4_node_93 | 0.4 | n |  | TRUE
3 | bus_LV_1632-1_1_4_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_1632-1_1_4_node_99 | 0.4 | n |  | TRUE
5 | bus_LV_1632-1_1_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1632-1_1_4_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_1632-1_1_4_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_1632-1_1_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1632-1_1_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1632-1_1_4_node_116 | 0.4 | n |  | TRUE
11 | bus_LV_1632-1_1_4_node_106 | 0.4 | n |  | TRUE
12 | bus_LV_1632-1_1_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1632-1_1_4_node_105 | 0.4 | n |  | TRUE
14 | bus_LV_1632-1_1_4_node_122 | 0.4 | n |  | TRUE
15 | bus_LV_1632-1_1_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1632-1_1_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1632-1_1_4_node_114 | 0.4 | n |  | TRUE
18 | bus_LV_1632-1_1_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1632-1_1_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1632-1_1_4_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_1632-1_1_4_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_1632-1_1_4_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_1632-1_1_4_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_1632-1_1_4_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_1632-1_1_4_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_1632-1_1_4_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_1632-1_1_4_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_1632-1_1_4_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_1632-1_1_4_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_1632-1_1_4_node_100 | 0.4 | n |  | TRUE
31 | bus_LV_1632-1_1_4_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_1632-1_1_4_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_1632-1_1_4_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_1632-1_1_4_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_1632-1_1_4_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_1632-1_1_4_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_1632-1_1_4_node_111 | 0.4 | n |  | TRUE
38 | bus_LV_1632-1_1_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1632-1_1_4_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_1632-1_1_4_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_1632-1_1_4_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_1632-1_1_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_1632-1_1_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_1632-1_1_4_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_1632-1_1_4_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_1632-1_1_4_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_1632-1_1_4_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_1632-1_1_4_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_1632-1_1_4_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_1632-1_1_4_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_1632-1_1_4_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_1632-1_1_4_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_1632-1_1_4_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_1632-1_1_4_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_1632-1_1_4_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_1632-1_1_4_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_1632-1_1_4_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_1632-1_1_4_node_102 | 0.4 | n |  | TRUE
59 | bus_LV_1632-1_1_4_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_1632-1_1_4_node_113 | 0.4 | n |  | TRUE
61 | bus_MV_224_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-1_1_4_load_101 | 1 | 0.017069 | 0.0042779 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-1_1_4_load_93 | 2 | 0.0086511 | 0.0021682 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-1_1_4_load_99 | 4 | 0.0064535 | 0.0016174 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-1_1_4_load_70 | 6 | 0.005159 | 0.001293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-1_1_4_load_68 | 7 | 0.017385 | 0.0043571 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-1_1_4_load_116 | 10 | 0.033123 | 0.0083013 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-1_1_4_load_106 | 11 | 0.0029284 | 0.00073394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-1_1_4_load_105 | 13 | 0.027326 | 0.0068486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-1_1_4_load_122 | 14 | 0.0091609 | 0.0022959 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-1_1_4_load_114 | 17 | 0.0024859 | 0.00062302 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-1_1_4_load_69 | 20 | 0.0035601 | 0.00089224 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-1_1_4_load_82 | 21 | 0.020942 | 0.0052485 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-1_1_4_load_103 | 23 | 0.0057046 | 0.0014297 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-1_1_4_load_92 | 24 | 0.005973 | 0.001497 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-1_1_4_load_97 | 25 | 0.003554 | 0.00089072 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-1_1_4_load_80 | 26 | 0.012896 | 0.0032321 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-1_1_4_load_81 | 27 | 0.014028 | 0.0035157 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-1_1_4_load_87 | 28 | 0.002755 | 0.00069047 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-1_1_4_load_100 | 30 | 0.0064089 | 0.0016062 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-1_1_4_load_67 | 32 | 0.016684 | 0.0041814 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-1_1_4_load_107 | 33 | 0.0047909 | 0.0012007 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-1_1_4_load_65 | 34 | 0.0068294 | 0.0017116 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-1_1_4_load_66 | 35 | 0.0068035 | 0.0017051 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-1_1_4_load_85 | 36 | 0.0045445 | 0.001139 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-1_1_4_load_34 | 38 | 0.0012128 | 0.00030396 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-1_1_4_load_79 | 40 | 0.0028905 | 0.00072442 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-1_1_4_load_71 | 42 | 0.0029021 | 0.00072734 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-1_1_4_load_72 | 43 | 0.003081 | 0.00077217 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-1_1_4_load_73 | 44 | 0.0061173 | 0.0015331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-1_1_4_load_74 | 45 | 0.003816 | 0.00095637 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-1_1_4_load_75 | 46 | 0.009785 | 0.0024524 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-1_1_4_load_77 | 48 | 0.0065974 | 0.0016535 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-1_1_4_load_84 | 49 | 0.0041819 | 0.0010481 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-1_1_4_load_78 | 50 | 0.0042971 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-1_1_4_load_88 | 51 | 0.0055609 | 0.0013937 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-1_1_4_load_94 | 52 | 0.0044504 | 0.0011154 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-1_1_4_load_89 | 53 | 0.0080973 | 0.0020294 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-1_1_4_load_90 | 54 | 0.008702 | 0.0021809 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-1_1_4_load_95 | 55 | 0.0030384 | 0.00076149 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-1_1_4_load_91 | 56 | 0.0053824 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-1_1_4_load_98 | 57 | 0.0068359 | 0.0017132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-1_1_4_load_102 | 58 | 0.0048064 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-1_1_4_load_104 | 59 | 0.0047827 | 0.0011987 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-1_1_4_load_113 | 60 | 0.0030556 | 0.0007658 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-1_1_4_line_0 |  | 0 | 1 | 0.0076465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-1_1_4_line_1 |  | 0 | 2 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1632-1_1_4_line_2 |  | 0 | 3 | 0.037356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-1_1_4_line_3 |  | 0 | 4 | 0.026962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1632-1_1_4_line_4 |  | 1 | 23 | 0.024164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-1_1_4_line_5 |  | 2 | 24 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1632-1_1_4_line_6 |  | 3 | 15 | 0.065202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-1_1_4_line_7 |  | 3 | 13 | 0.070033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-1_1_4_line_8 |  | 4 | 25 | 0.019125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1632-1_1_4_line_9 |  | 5 | 6 | 0.051007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-1_1_4_line_10 |  | 5 | 7 | 0.02585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-1_1_4_line_11 |  | 6 | 29 | 0.032679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-1_1_4_line_12 |  | 7 | 32 | 0.033131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-1_1_4_line_13 |  | 8 | 9 | 0.10395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-1_1_4_line_14 |  | 8 | 10 | 0.0050311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-1_1_4_line_15 |  | 9 | 11 | 0.03414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-1_1_4_line_16 |  | 9 | 12 | 0.036559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-1_1_4_line_17 |  | 9 | 13 | 0.028128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-1_1_4_line_18 |  | 11 | 16 | 0.022345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-1_1_4_line_19 |  | 12 | 14 | 0.029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-1_1_4_line_20 |  | 15 | 22 | 0.060696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-1_1_4_line_21 |  | 16 | 17 | 0.0092394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-1_1_4_line_22 |  | 17 | 33 | 0.0050827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-1_1_4_line_23 |  | 18 | 19 | 0.039511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-1_1_4_line_24 |  | 18 | 20 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-1_1_4_line_25 |  | 19 | 21 | 0.012106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-1_1_4_line_26 |  | 20 | 36 | 0.020666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-1_1_4_line_27 |  | 21 | 27 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-1_1_4_line_28 |  | 22 | 37 | 0.031724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-1_1_4_line_29 |  | 23 | 58 | 0.01581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-1_1_4_line_30 |  | 24 | 56 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1632-1_1_4_line_31 |  | 25 | 57 | 0.0026247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1632-1_1_4_line_32 |  | 26 | 27 | 0.0018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-1_1_4_line_33 |  | 28 | 29 | 0.0057034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-1_1_4_line_34 |  | 29 | 41 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-1_1_4_line_35 |  | 30 | 31 | 0.01737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-1_1_4_line_36 |  | 31 | 57 | 0.0039708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1632-1_1_4_line_37 |  | 31 | 55 | 0.025603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1632-1_1_4_line_38 |  | 32 | 35 | 0.029519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-1_1_4_line_39 |  | 34 | 35 | 0.026625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-1_1_4_line_40 |  | 36 | 40 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-1_1_4_line_41 |  | 37 | 60 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1632-1_1_4_line_42 |  | 37 | 39 | 0.050071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-1_1_4_line_43 |  | 38 | 39 | 0.027665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1632-1_1_4_line_44 |  | 40 | 50 | 0.014392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-1_1_4_line_45 |  | 41 | 51 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1632-1_1_4_line_46 |  | 41 | 47 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-1_1_4_line_47 |  | 42 | 43 | 0.0085283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-1_1_4_line_48 |  | 42 | 44 | 0.031564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-1_1_4_line_49 |  | 43 | 45 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-1_1_4_line_50 |  | 44 | 46 | 0.0039969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-1_1_4_line_51 |  | 45 | 47 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-1_1_4_line_52 |  | 46 | 48 | 0.02245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-1_1_4_line_53 |  | 47 | 49 | 0.011266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-1_1_4_line_54 |  | 48 | 50 | 0.020014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-1_1_4_line_55 |  | 51 | 52 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1632-1_1_4_line_56 |  | 52 | 55 | 0.0072066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1632-1_1_4_line_57 |  | 53 | 54 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1632-1_1_4_line_58 |  | 54 | 56 | 0.002714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1632-1_1_4_line_59 |  | 58 | 59 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-1_1_4_trafo_90 | 0.63 MVA 20/0.4 kV | 61 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2722957.068 | 1214125.5411 | 2722950.2196 | 1214122.14
1 | 2722957.068 | 1214125.5411 | 2722954.8901 | 1214140.108
2 | 2722957.068 | 1214125.5411 | 2722975.9462 | 1214126.7647 | 2722980.322 | 1214127.1552 | 2722980.0693 | 1214136.4572 | 2722984.8062 | 1214136.2881
3 | 2722957.068 | 1214125.5411 | 2722930.7634 | 1214131.4564
4 | 2722950.2196 | 1214122.14 | 2722941.0188 | 1214117.5707 | 2722936.9972 | 1214112.8953 | 2722934.0379 | 1214106.8184 | 2722933.8723 | 1214105.8677
5 | 2722954.8901 | 1214140.108 | 2722954.3797 | 1214143.5217 | 2722951.4856 | 1214152.3244 | 2722947.0264 | 1214155.2347 | 2722947.0264 | 1214155.2347
6 | 2722984.8062 | 1214136.2881 | 2722985.2286 | 1214141.5898 | 2722985.4861 | 1214148.6227 | 2722985.1773 | 1214153.6425 | 2722984.8414 | 1214158.8729 | 2722983.7605 | 1214165.6002 | 2722982.1175 | 1214172.6829 | 2722981.3612 | 1214178.4051 | 2722981.4936 | 1214183.0336 | 2722982.3046 | 1214190.4894 | 2722986.2963 | 1214190.7164 | 2722992.8755 | 1214191.1079
7 | 2722984.8062 | 1214136.2881 | 2722984.6786 | 1214127.3786 | 2722986.015 | 1214092.4458 | 2722986.693 | 1214066.9624 | 2722986.6622 | 1214066.2908
8 | 2722913.0558 | 1214127.1033 | 2722919.543 | 1214131.0383 | 2722925.726 | 1214132.5892 | 2722930.7634 | 1214131.4564
9 | 2722821.5462 | 1214234.9881 | 2722833.8207 | 1214206.7747 | 2722840.6858 | 1214187.7357
10 | 2722821.5462 | 1214234.9881 | 2722844.9099 | 1214246.0507
11 | 2722850.5857 | 1214156.8149 | 2722850.7275 | 1214159.8868 | 2722840.6858 | 1214187.7357
12 | 2722874.8541 | 1214260.2292 | 2722844.9099 | 1214246.0507
13 | 2722938.7839 | 1214038.0855 | 2722939.3764 | 1214034.039 | 2722938.3669 | 1214028.8364 | 2722936.1792 | 1214023.654 | 2722936.5553 | 1214020.159 | 2722937.7254 | 1214017.9481 | 2722940.1274 | 1214018.6315 | 2722945.8125 | 1214013.0222 | 2722942.8361 | 1214010.7146 | 2722947.6981 | 1214004.1209 | 2722952.7709 | 1214007.1945 | 2722957.2898 | 1214005.0749 | 2722961.4119 | 1214010.7754 | 2722967.5427 | 1214022.2218 | 2722970.9484 | 1214029.8646 | 2722974.2386 | 1214040.8965 | 2722978.9037 | 1214039.4249 | 2722983.5596 | 1214038.3979
14 | 2722938.7839 | 1214038.0855 | 2722939.4617 | 1214043.0707
15 | 2722983.5596 | 1214038.3979 | 2722981.0021 | 1214029.0491 | 2722981.2052 | 1214026.5736 | 2722983.0372 | 1214024.3207 | 2722987.6524 | 1214022.6925 | 2722995.5844 | 1214021.2327 | 2723001.6842 | 1214021.1297
16 | 2722977.4034 | 1214067.5713 | 2722976.824 | 1214058.8303 | 2722976.0737 | 1214050.6419 | 2722974.2386 | 1214040.8965 | 2722978.9037 | 1214039.4249 | 2722983.5596 | 1214038.3979
17 | 2722983.5596 | 1214038.3979 | 2722985.1032 | 1214045.3351 | 2722986.2003 | 1214056.2328 | 2722986.6622 | 1214066.2908
18 | 2723024.0258 | 1214020.7524 | 2723001.6842 | 1214021.1297
19 | 2722957.6246 | 1214080.5289 | 2722957.3023 | 1214071.482 | 2722967.2531 | 1214068.2847 | 2722977.4034 | 1214067.5713
20 | 2723008.2867 | 1214144.223 | 2722994.7065 | 1214143.9982 | 2722992.8755 | 1214191.1079
21 | 2723024.0258 | 1214020.7524 | 2723023.9471 | 1214024.1979 | 2723023.3207 | 1214029.9569
22 | 2723023.3207 | 1214029.9569 | 2723022.7711 | 1214035.0098
23 | 2722963.8876 | 1214222.8902 | 2722952.7119 | 1214260.789
24 | 2722952.7119 | 1214260.789 | 2722939.1815 | 1214255.8394
25 | 2722963.8876 | 1214222.8902 | 2722962.6976 | 1214222.3875 | 2722960.5844 | 1214220.965 | 2722959.3643 | 1214218.6047 | 2722959.7338 | 1214213.0068
26 | 2722939.1815 | 1214255.8394 | 2722919.773 | 1214248.7397
27 | 2722959.7338 | 1214213.0068 | 2722959.95 | 1214209.7322 | 2722962.1473 | 1214199.7006
28 | 2723017.3499 | 1214114.0978 | 2723014.3706 | 1214120.3968 | 2723008.4871 | 1214138.5672 | 2723008.2867 | 1214144.223
29 | 2722931.1604 | 1214090.2923 | 2722933.8723 | 1214105.8677
30 | 2722947.0264 | 1214155.2347 | 2722935.2335 | 1214158.6053 | 2722932.9756 | 1214159.0239
31 | 2722913.0558 | 1214127.1033 | 2722910.8117 | 1214125.7421
32 | 2722962.5419 | 1214197.8987 | 2722962.5419 | 1214197.8987 | 2722962.1473 | 1214199.7006
33 | 2722850.5857 | 1214156.8149 | 2722850.7032 | 1214151.1127
34 | 2722850.5857 | 1214156.8149 | 2722859.4606 | 1214156.4085 | 2722865.9937 | 1214155.3534
35 | 2722907.4167 | 1214123.6827 | 2722893.4678 | 1214113.3316
36 | 2722907.4167 | 1214123.6827 | 2722910.8117 | 1214125.7421
37 | 2722907.4167 | 1214123.6827 | 2722887.8042 | 1214126.0136 | 2722884.4698 | 1214127.0679 | 2722882.1515 | 1214127.4842
38 | 2722901.5334 | 1214272.8618 | 2722874.8541 | 1214260.2292
39 | 2722925.5969 | 1214284.2558 | 2722901.5334 | 1214272.8618
40 | 2722903.8048 | 1214242.8983 | 2722919.773 | 1214248.7397
41 | 2723017.3499 | 1214114.0978 | 2723020.9164 | 1214111.3693 | 2723025.0788 | 1214106.0187
42 | 2723029.0021 | 1214066.4014 | 2723025.2742 | 1214093.501 | 2723022.745 | 1214102.2889 | 2723017.1796 | 1214110.2024 | 2723017.3499 | 1214114.0978
43 | 2723029.0021 | 1214066.4014 | 2723030.6527 | 1214059.6858 | 2723032.4649 | 1214055.8202 | 2723034.7943 | 1214054.1337 | 2723039.7519 | 1214053.58 | 2723048.368 | 1214053.6427
44 | 2722903.8048 | 1214242.8983 | 2722890.2887 | 1214237.9541
45 | 2722865.9937 | 1214155.3534 | 2722866.2503 | 1214143.4286
46 | 2722880.8373 | 1214152.8907 | 2722865.9937 | 1214155.3534
47 | 2722869.5609 | 1214184.2093 | 2722872.45 | 1214176.1852
48 | 2722869.5609 | 1214184.2093 | 2722858.8679 | 1214213.9072
49 | 2722872.45 | 1214176.1852 | 2722877.2122 | 1214162.9591
50 | 2722857.5139 | 1214217.6678 | 2722858.8679 | 1214213.9072
51 | 2722880.8373 | 1214152.8907 | 2722877.2122 | 1214162.9591
52 | 2722857.5139 | 1214217.6678 | 2722856.8609 | 1214219.4814 | 2722856.4901 | 1214221.6198 | 2722857.3121 | 1214223.7607 | 2722859.4605 | 1214225.6842 | 2722871.5982 | 1214230.8096
53 | 2722880.8373 | 1214152.8907 | 2722891.6031 | 1214151.8007 | 2722892.0438 | 1214151.8609
54 | 2722871.5982 | 1214230.8096 | 2722877.0404 | 1214233.1077 | 2722890.2887 | 1214237.9541
55 | 2722866.2503 | 1214143.4286 | 2722866.3591 | 1214138.3701 | 2722869.0933 | 1214129.2082 | 2722874.4721 | 1214128.8633 | 2722875.0583 | 1214128.758
56 | 2722882.1515 | 1214127.4842 | 2722875.0583 | 1214128.758
57 | 2722930.307 | 1214159.5186 | 2722929.6201 | 1214159.6459 | 2722925.5869 | 1214159.218 | 2722921.474 | 1214157.4985 | 2722918.58 | 1214156.5812
58 | 2722930.307 | 1214159.5186 | 2722932.9756 | 1214159.0239
59 | 2722928.9703 | 1214077.7137 | 2722931.1604 | 1214090.2923

## bus_geodata
| x | y | coords
0 | 2722957.068 | 1214125.5411
1 | 2722950.2196 | 1214122.14
2 | 2722954.8901 | 1214140.108
3 | 2722984.8062 | 1214136.2881
4 | 2722930.7634 | 1214131.4564
5 | 2722821.5462 | 1214234.9881
6 | 2722840.6858 | 1214187.7357
7 | 2722844.9099 | 1214246.0507
8 | 2722938.7839 | 1214038.0855
9 | 2722983.5596 | 1214038.3979
10 | 2722939.4617 | 1214043.0707
11 | 2723001.6842 | 1214021.1297
12 | 2722977.4034 | 1214067.5713
13 | 2722986.6622 | 1214066.2908
14 | 2722957.6246 | 1214080.5289
15 | 2722992.8755 | 1214191.1079
16 | 2723024.0258 | 1214020.7524
17 | 2723023.3207 | 1214029.9569
18 | 2722952.7119 | 1214260.789
19 | 2722963.8876 | 1214222.8902
20 | 2722939.1815 | 1214255.8394
21 | 2722959.7338 | 1214213.0068
22 | 2723008.2867 | 1214144.223
23 | 2722933.8723 | 1214105.8677
24 | 2722947.0264 | 1214155.2347
25 | 2722913.0558 | 1214127.1033
26 | 2722962.5419 | 1214197.8987
27 | 2722962.1473 | 1214199.7006
28 | 2722850.7032 | 1214151.1127
29 | 2722850.5857 | 1214156.8149
30 | 2722893.4678 | 1214113.3316
31 | 2722907.4167 | 1214123.6827
32 | 2722874.8541 | 1214260.2292
33 | 2723022.7711 | 1214035.0098
34 | 2722925.5969 | 1214284.2558
35 | 2722901.5334 | 1214272.8618
36 | 2722919.773 | 1214248.7397
37 | 2723017.3499 | 1214114.0978
38 | 2723048.368 | 1214053.6427
39 | 2723029.0021 | 1214066.4014
40 | 2722903.8048 | 1214242.8983
41 | 2722865.9937 | 1214155.3534
42 | 2722869.5609 | 1214184.2093
43 | 2722872.45 | 1214176.1852
44 | 2722858.8679 | 1214213.9072
45 | 2722877.2122 | 1214162.9591
46 | 2722857.5139 | 1214217.6678
47 | 2722880.8373 | 1214152.8907
48 | 2722871.5982 | 1214230.8096
49 | 2722892.0438 | 1214151.8609
50 | 2722890.2887 | 1214237.9541
51 | 2722866.2503 | 1214143.4286
52 | 2722875.0583 | 1214128.758
53 | 2722918.58 | 1214156.5812
54 | 2722930.307 | 1214159.5186
55 | 2722882.1515 | 1214127.4842
56 | 2722932.9756 | 1214159.0239
57 | 2722910.8117 | 1214125.7421
58 | 2722931.1604 | 1214090.2923
59 | 2722928.9703 | 1214077.7137
60 | 2723025.0788 | 1214106.0187
61 | 2722957.068 | 1214125.5411

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99513 | -0.092481 | 0 | 0
1 | 0.9949 | -0.096838 | 0.017069 | 0.0042779
2 | 0.99653 | -0.065899 | 0.0086511 | 0.0021682
3 | 0.99224 | -0.14794 | 0 | 0
4 | 0.99354 | -0.12283 | 0.0064535 | 0.0016174
5 | 0.98387 | -0.30926 | 0 | 0
6 | 0.98612 | -0.26555 | 0.005159 | 0.001293
7 | 0.98273 | -0.33149 | 0.017385 | 0.0043571
8 | 0.98255 | -0.33584 | 0 | 0
9 | 0.98573 | -0.27388 | 0 | 0
10 | 0.98239 | -0.33885 | 0.033123 | 0.0083013
11 | 0.98541 | -0.28013 | 0.0029284 | 0.00073394
12 | 0.98542 | -0.27989 | 0 | 0
13 | 0.98709 | -0.24742 | 0.027326 | 0.0068486
14 | 0.98517 | -0.28476 | 0.0091609 | 0.0022959
15 | 0.99198 | -0.15288 | 0 | 0
16 | 0.98526 | -0.28305 | 0 | 0
17 | 0.98519 | -0.28425 | 0.0024859 | 0.00062302
18 | 0.97552 | -0.47167 | 0 | 0
19 | 0.97375 | -0.50637 | 0 | 0
20 | 0.97616 | -0.45905 | 0.0035601 | 0.00089224
21 | 0.97321 | -0.51703 | 0.020942 | 0.0052485
22 | 0.99175 | -0.15747 | 0 | 0
23 | 0.99457 | -0.10335 | 0.0057046 | 0.0014297
24 | 0.99828 | -0.032527 | 0.005973 | 0.001497
25 | 0.99245 | -0.1437 | 0.003554 | 0.00089072
26 | 0.97285 | -0.52418 | 0.012896 | 0.0032321
27 | 0.97287 | -0.52375 | 0.014028 | 0.0035157
28 | 0.9877 | -0.23491 | 0.002755 | 0.00069047
29 | 0.98771 | -0.23463 | 0 | 0
30 | 0.99198 | -0.15257 | 0.0064089 | 0.0016062
31 | 0.99209 | -0.1506 | 0 | 0
32 | 0.9818 | -0.34964 | 0.016684 | 0.0041814
33 | 0.98517 | -0.28469 | 0.0047909 | 0.0012007
34 | 0.98126 | -0.36021 | 0.0068294 | 0.0017116
35 | 0.98143 | -0.35692 | 0.0068035 | 0.0017051
36 | 0.97715 | -0.43963 | 0.0045445 | 0.001139
37 | 0.99162 | -0.15987 | 0 | 0
38 | 0.99154 | -0.16155 | 0.0012128 | 0.00030396
39 | 0.99157 | -0.16095 | 0 | 0
40 | 0.97804 | -0.42227 | 0.0028905 | 0.00072442
41 | 0.98851 | -0.21928 | 0 | 0
42 | 0.98427 | -0.30097 | 0.0029021 | 0.00072734
43 | 0.98497 | -0.28739 | 0.003081 | 0.00077217
44 | 0.98176 | -0.34974 | 0.0061173 | 0.0015331
45 | 0.98617 | -0.26428 | 0.003816 | 0.00095637
46 | 0.98146 | -0.3555 | 0.009785 | 0.0024524
47 | 0.98712 | -0.24599 | 0 | 0
48 | 0.98 | -0.38388 | 0.0065974 | 0.0016535
49 | 0.98707 | -0.24683 | 0.0041819 | 0.0010481
50 | 0.97883 | -0.40685 | 0.0042971 | 0.001077
51 | 0.98936 | -0.20278 | 0.0055609 | 0.0013937
52 | 0.99039 | -0.18313 | 0.0044504 | 0.0011154
53 | 0.99991 | -0.0017288 | 0.0080973 | 0.0020294
54 | 1 | 0 | -0.34242 | -0.087197
55 | 0.99075 | -0.17608 | 0.0030384 | 0.00076149
56 | 0.99973 | -0.0051743 | 0.0053824 | 0.001349
57 | 0.9923 | -0.14651 | 0.0068359 | 0.0017132
58 | 0.99443 | -0.10602 | 0.0048064 | 0.0012046
59 | 0.99437 | -0.1071 | 0.0047827 | 0.0011987
60 | 0.99159 | -0.16048 | 0.0030556 | 0.0007658
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.032376 | 0.0081183 | -0.032369 | -0.0081141 | 6.7206e-06 | 4.2019e-06 | 0.048413 | 0.048413 | 0.048413 | 0.99513 | -0.092481 | 0.9949 | -0.096838 | 13.3002
1 | -0.31123 | -0.079238 | 0.31163 | 0.079493 | 0.00039949 | 0.0002551 | 0.46582 | 0.46582 | 0.46582 | 0.99513 | -0.092481 | 0.99653 | -0.065899 | 42.6574
2 | 0.084873 | 0.02157 | -0.084647 | -0.021426 | 0.000226 | 0.00014416 | 0.12702 | 0.12702 | 0.12702 | 0.99513 | -0.092481 | 0.99224 | -0.14794 | 34.8946
3 | 0.19398 | 0.049549 | -0.1937 | -0.049368 | 0.0002842 | 0.00018084 | 0.29039 | 0.29039 | 0.29039 | 0.99513 | -0.092481 | 0.99354 | -0.12283 | 26.5926
4 | 0.0153 | 0.0038362 | -0.015295 | -0.0038335 | 4.7452e-06 | 2.7233e-06 | 0.022884 | 0.022884 | 0.022884 | 0.9949 | -0.096838 | 0.99457 | -0.10335 | 6.2868
5 | -0.32028 | -0.081661 | 0.3208 | 0.081991 | 0.0005169 | 0.00033011 | 0.47874 | 0.47874 | 0.47874 | 0.99653 | -0.065899 | 0.99828 | -0.032527 | 43.8403
6 | 0.004271 | 0.0010682 | -0.00427 | -0.0010684 | 1.0029e-06 | -2.0012e-07 | 0.0064042 | 0.0064045 | 0.0064045 | 0.99224 | -0.14794 | 0.99198 | -0.15288 | 1.7595
7 | 0.080376 | 0.020358 | -0.079994 | -0.020114 | 0.00038205 | 0.00024361 | 0.12061 | 0.12061 | 0.12061 | 0.99224 | -0.14794 | 0.98709 | -0.24742 | 33.1353
8 | 0.18724 | 0.047751 | -0.18705 | -0.047631 | 0.0001884 | 0.00011983 | 0.28073 | 0.28073 | 0.28073 | 0.99354 | -0.12283 | 0.99245 | -0.1437 | 25.7075
9 | -0.047785 | -0.012007 | 0.047885 | 0.01207 | 9.9933e-05 | 6.3308e-05 | 0.072281 | 0.072281 | 0.072281 | 0.98387 | -0.30926 | 0.98612 | -0.26555 | 19.8575
10 | 0.047785 | 0.012007 | -0.047734 | -0.011975 | 5.0646e-05 | 3.2086e-05 | 0.072281 | 0.072281 | 0.072281 | 0.98387 | -0.30926 | 0.98273 | -0.33149 | 19.8575
11 | -0.053044 | -0.013363 | 0.053122 | 0.013413 | 7.8559e-05 | 4.986e-05 | 0.080066 | 0.080066 | 0.080066 | 0.98612 | -0.26555 | 0.98771 | -0.23463 | 21.9961
12 | 0.030349 | 0.0076175 | -0.030323 | -0.0076012 | 2.6241e-05 | 1.6375e-05 | 0.045957 | 0.045958 | 0.045958 | 0.98273 | -0.33149 | 0.9818 | -0.34964 | 12.6257
13 | -0.033127 | -0.0083043 | 0.033226 | 0.0083658 | 9.8122e-05 | 6.1477e-05 | 0.05017 | 0.05017 | 0.05017 | 0.98255 | -0.33584 | 0.98573 | -0.27388 | 13.7831
14 | 0.033127 | 0.0083043 | -0.033123 | -0.0083013 | 4.7488e-06 | 2.9756e-06 | 0.05017 | 0.05017 | 0.05017 | 0.98255 | -0.33584 | 0.98239 | -0.33885 | 13.7831
15 | 0.01021 | 0.0025597 | -0.010207 | -0.0025582 | 3.0412e-06 | 1.5113e-06 | 0.015413 | 0.015413 | 0.015413 | 0.98573 | -0.27388 | 0.98541 | -0.28013 | 4.2343
16 | 0.0091656 | 0.0022981 | -0.009163 | -0.0022969 | 2.6247e-06 | 1.2139e-06 | 0.013836 | 0.013837 | 0.013837 | 0.98573 | -0.27388 | 0.98542 | -0.27989 | 3.8013
17 | -0.052601 | -0.013224 | 0.052668 | 0.013266 | 6.6531e-05 | 4.2221e-05 | 0.079419 | 0.079419 | 0.079419 | 0.98573 | -0.27388 | 0.98709 | -0.24742 | 21.8184
18 | 0.0072783 | 0.0018242 | -0.0072773 | -0.0018239 | 1.0122e-06 | 3.6319e-07 | 0.010991 | 0.010991 | 0.010991 | 0.98541 | -0.28013 | 0.98526 | -0.28305 | 3.0195
19 | 0.009163 | 0.0022969 | -0.0091609 | -0.0022959 | 2.1269e-06 | 9.8393e-07 | 0.013837 | 0.013837 | 0.013837 | 0.98542 | -0.27989 | 0.98517 | -0.28476 | 3.8013
20 | 0.00427 | 0.0010684 | -0.004269 | -0.0010686 | 9.3365e-07 | -1.8585e-07 | 0.0064045 | 0.0064048 | 0.0064048 | 0.99198 | -0.15288 | 0.99175 | -0.15747 | 1.7596
21 | 0.0072773 | 0.0018239 | -0.0072769 | -0.0018237 | 4.1854e-07 | 1.5021e-07 | 0.010991 | 0.010991 | 0.010991 | 0.98526 | -0.28305 | 0.98519 | -0.28425 | 3.0195
22 | 0.004791 | 0.0012007 | -0.0047909 | -0.0012007 | 9.9804e-08 | -8.4489e-10 | 0.0072362 | 0.0072363 | 0.0072363 | 0.98519 | -0.28425 | 0.98517 | -0.28469 | 1.988
23 | 0.047978 | 0.012067 | -0.047899 | -0.012017 | 7.9391e-05 | 5.0318e-05 | 0.0732 | 0.0732 | 0.0732 | 0.97552 | -0.47167 | 0.97375 | -0.50637 | 20.1099
24 | -0.047978 | -0.012067 | 0.048007 | 0.012086 | 2.8949e-05 | 1.8347e-05 | 0.0732 | 0.0732 | 0.0732 | 0.97552 | -0.47167 | 0.97616 | -0.45905 | 20.1098
25 | 0.047899 | 0.012017 | -0.047875 | -0.012002 | 2.4326e-05 | 1.5418e-05 | 0.0732 | 0.0732 | 0.0732 | 0.97375 | -0.50637 | 0.97321 | -0.51703 | 20.1099
26 | -0.051567 | -0.012978 | 0.051615 | 0.013008 | 4.7911e-05 | 3.0404e-05 | 0.078626 | 0.078626 | 0.078626 | 0.97616 | -0.45905 | 0.97715 | -0.43963 | 21.6007
27 | 0.026933 | 0.0067533 | -0.026924 | -0.0067479 | 8.6178e-06 | 5.3471e-06 | 0.041181 | 0.041181 | 0.041181 | 0.97321 | -0.51703 | 0.97287 | -0.52375 | 11.3134
28 | 0.004269 | 0.0010686 | -0.0042686 | -0.0010687 | 4.8802e-07 | -9.6967e-08 | 0.0064048 | 0.006405 | 0.006405 | 0.99175 | -0.15747 | 0.99162 | -0.15987 | 1.7596
29 | 0.0095906 | 0.0024038 | -0.0095894 | -0.0024032 | 1.2207e-06 | 5.7609e-07 | 0.014349 | 0.014349 | 0.014349 | 0.99457 | -0.10335 | 0.99443 | -0.10602 | 3.942
30 | -0.32677 | -0.083488 | 0.3272 | 0.083765 | 0.00043283 | 0.00027644 | 0.48764 | 0.48764 | 0.48764 | 0.99828 | -0.032527 | 0.99973 | -0.0051743 | 44.6556
31 | 0.1835 | 0.04674 | -0.18348 | -0.046724 | 2.4883e-05 | 1.5824e-05 | 0.2754 | 0.2754 | 0.2754 | 0.99245 | -0.1437 | 0.9923 | -0.14651 | 25.2195
32 | -0.012896 | -0.0032321 | 0.012897 | 0.0032323 | 2.6914e-07 | 1.4935e-07 | 0.019725 | 0.019725 | 0.019725 | 0.97285 | -0.52418 | 0.97287 | -0.52375 | 5.419
33 | -0.002755 | -0.00069047 | 0.002755 | 0.00069042 | 3.6844e-08 | -4.9415e-08 | 0.0041505 | 0.0041505 | 0.0041505 | 0.9877 | -0.23491 | 0.98771 | -0.23463 | 1.1403
34 | -0.055877 | -0.014103 | 0.055918 | 0.014129 | 4.111e-05 | 2.6112e-05 | 0.084216 | 0.084216 | 0.084216 | 0.98771 | -0.23463 | 0.98851 | -0.21928 | 23.1363
35 | -0.0064089 | -0.0016062 | 0.0064095 | 0.0016064 | 6.02e-07 | 1.6101e-07 | 0.0096136 | 0.0096135 | 0.0096136 | 0.99198 | -0.15257 | 0.99209 | -0.1506 | 2.6411
36 | -0.1766 | -0.044989 | 0.17664 | 0.045011 | 3.4895e-05 | 2.2179e-05 | 0.26515 | 0.26515 | 0.26515 | 0.99209 | -0.1506 | 0.9923 | -0.14651 | 24.2808
37 | 0.1702 | 0.043383 | -0.16999 | -0.04325 | 0.00020898 | 0.00013275 | 0.25553 | 0.25553 | 0.25553 | 0.99209 | -0.1506 | 0.99075 | -0.17608 | 23.4005
38 | 0.013639 | 0.0034197 | -0.013634 | -0.0034171 | 4.7301e-06 | 2.6541e-06 | 0.020671 | 0.020671 | 0.020671 | 0.9818 | -0.34964 | 0.98143 | -0.35692 | 5.679
39 | -0.0068294 | -0.0017116 | 0.0068305 | 0.001712 | 1.0708e-06 | 3.4894e-07 | 0.010356 | 0.010356 | 0.010356 | 0.98126 | -0.36021 | 0.98143 | -0.35692 | 2.8451
40 | -0.05616 | -0.014147 | 0.056206 | 0.014177 | 4.6662e-05 | 2.9651e-05 | 0.085547 | 0.085547 | 0.085547 | 0.97715 | -0.43963 | 0.97804 | -0.42227 | 23.5019
41 | 0.0030557 | 0.00076571 | -0.0030556 | -0.0007658 | 8.8852e-08 | -8.8511e-08 | 0.0045852 | 0.0045853 | 0.0045853 | 0.99162 | -0.15987 | 0.99159 | -0.16048 | 1.2597
42 | 0.0012129 | 0.00030301 | -0.0012128 | -0.00030362 | 6.2184e-08 | -6.061e-07 | 0.0018197 | 0.0018199 | 0.0018199 | 0.99162 | -0.15987 | 0.99157 | -0.16095 | 0.49998
43 | -0.0012128 | -0.00030396 | 0.0012128 | 0.00030362 | 3.4365e-08 | -3.3485e-07 | 0.0018201 | 0.0018199 | 0.0018201 | 0.99154 | -0.16155 | 0.99157 | -0.16095 | 0.50002
44 | -0.059097 | -0.014902 | 0.05914 | 0.014929 | 4.3662e-05 | 2.7763e-05 | 0.089944 | 0.089944 | 0.089944 | 0.97804 | -0.42227 | 0.97883 | -0.40685 | 24.71
45 | -0.1566 | -0.039766 | 0.15673 | 0.039846 | 0.00012448 | 7.9358e-05 | 0.23592 | 0.23592 | 0.23592 | 0.98851 | -0.21928 | 0.98936 | -0.20278 | 32.4067
46 | 0.10068 | 0.025637 | -0.10055 | -0.025554 | 0.00012949 | 8.2681e-05 | 0.1517 | 0.1517 | 0.1517 | 0.98851 | -0.21928 | 0.98712 | -0.24599 | 41.6771
47 | -0.089229 | -0.022621 | 0.089287 | 0.022658 | 5.8276e-05 | 3.7188e-05 | 0.13499 | 0.13499 | 0.13499 | 0.98427 | -0.30097 | 0.98497 | -0.28739 | 37.0847
48 | 0.086327 | 0.021893 | -0.086125 | -0.021765 | 0.00020189 | 0.00012881 | 0.1306 | 0.1306 | 0.1306 | 0.98427 | -0.30097 | 0.98176 | -0.34974 | 35.8794
49 | -0.092368 | -0.02343 | 0.092471 | 0.023496 | 0.0001028 | 6.561e-05 | 0.13964 | 0.13964 | 0.13964 | 0.98497 | -0.28739 | 0.98617 | -0.26428 | 38.3634
50 | 0.080007 | 0.020231 | -0.079985 | -0.020217 | 2.2064e-05 | 1.4071e-05 | 0.12133 | 0.12133 | 0.12133 | 0.98176 | -0.34974 | 0.98146 | -0.3555 | 33.3322
51 | -0.096287 | -0.024452 | 0.096372 | 0.024506 | 8.4838e-05 | 5.416e-05 | 0.1454 | 0.1454 | 0.1454 | 0.98617 | -0.26428 | 0.98712 | -0.24599 | 39.9452
52 | 0.0702 | 0.017765 | -0.070105 | -0.017704 | 9.5478e-05 | 6.0823e-05 | 0.10649 | 0.10649 | 0.10649 | 0.98146 | -0.3555 | 0.98 | -0.38388 | 29.2566
53 | 0.0041821 | 0.0010481 | -0.0041819 | -0.0010481 | 1.679e-07 | -3.6551e-08 | 0.0063042 | 0.0063043 | 0.0063043 | 0.98712 | -0.24599 | 0.98707 | -0.24683 | 1.7319
54 | 0.063507 | 0.016051 | -0.063438 | -0.016006 | 6.9859e-05 | 4.4458e-05 | 0.096477 | 0.096477 | 0.096477 | 0.98 | -0.38388 | 0.97883 | -0.40685 | 26.5046
55 | -0.16229 | -0.041239 | 0.16244 | 0.041337 | 0.00015371 | 9.7579e-05 | 0.24428 | 0.24428 | 0.24428 | 0.98936 | -0.20278 | 0.99039 | -0.18313 | 22.3703
56 | -0.16689 | -0.042452 | 0.16695 | 0.042488 | 5.6739e-05 | 3.6035e-05 | 0.25097 | 0.25097 | 0.25097 | 0.99039 | -0.18313 | 0.99075 | -0.17608 | 22.9826
57 | -0.0080973 | -0.0020294 | 0.008098 | 0.0020296 | 6.6693e-07 | 2.6616e-07 | 0.01205 | 0.01205 | 0.01205 | 0.99991 | -0.0017288 | 1 | 0 | 3.3104
58 | 0.33267 | 0.085167 | -0.33258 | -0.085114 | 8.3344e-05 | 5.3233e-05 | 0.49565 | 0.49565 | 0.49565 | 1 | 0 | 0.99973 | -0.0051743 | 45.3892
59 | 0.0047829 | 0.0011986 | -0.0047827 | -0.0011987 | 2.4525e-07 | -8.6751e-09 | 0.0071569 | 0.007157 | 0.007157 | 0.99443 | -0.10602 | 0.99437 | -0.1071 | 1.9662

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35112 | 0.089377

## res_load
| p_mw | q_mvar
0 | 0.017069 | 0.0042779
1 | 0.0086511 | 0.0021682
2 | 0.0064535 | 0.0016174
3 | 0.005159 | 0.001293
4 | 0.017385 | 0.0043571
5 | 0.033123 | 0.0083013
6 | 0.0029284 | 0.00073394
7 | 0.027326 | 0.0068486
8 | 0.0091609 | 0.0022959
9 | 0.0024859 | 0.00062302
10 | 0.0035601 | 0.00089224
11 | 0.020942 | 0.0052485
12 | 0.0057046 | 0.0014297
13 | 0.005973 | 0.001497
14 | 0.003554 | 0.00089072
15 | 0.012896 | 0.0032321
16 | 0.014028 | 0.0035157
17 | 0.002755 | 0.00069047
18 | 0.0064089 | 0.0016062
19 | 0.016684 | 0.0041814
20 | 0.0047909 | 0.0012007
21 | 0.0068294 | 0.0017116
22 | 0.0068035 | 0.0017051
23 | 0.0045445 | 0.001139
24 | 0.0012128 | 0.00030396
25 | 0.0028905 | 0.00072442
26 | 0.0029021 | 0.00072734
27 | 0.003081 | 0.00077217
28 | 0.0061173 | 0.0015331
29 | 0.003816 | 0.00095637
30 | 0.009785 | 0.0024524
31 | 0.0065974 | 0.0016535
32 | 0.0041819 | 0.0010481
33 | 0.0042971 | 0.001077
34 | 0.0055609 | 0.0013937
35 | 0.0044504 | 0.0011154
36 | 0.0080973 | 0.0020294
37 | 0.008702 | 0.0021809
38 | 0.0030384 | 0.00076149
39 | 0.0053824 | 0.001349
40 | 0.0068359 | 0.0017132
41 | 0.0048064 | 0.0012046
42 | 0.0047827 | 0.0011987
43 | 0.0030556 | 0.0007658

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1