## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-20_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-20_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-20_0_4_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_1632-20_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_1632-20_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1632-20_0_4_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_1632-20_0_4_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_1632-20_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1632-20_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1632-20_0_4_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_1632-20_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1632-20_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1632-20_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1632-20_0_4_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_1632-20_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1632-20_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_1632-20_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1632-20_0_4_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_1632-20_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1632-20_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1632-20_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1632-20_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1632-20_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1632-20_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1632-20_0_4_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_1632-20_0_4_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_1632-20_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1632-20_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_1632-20_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1632-20_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_1632-20_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1632-20_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1632-20_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1632-20_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1632-20_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1632-20_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1632-20_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1632-20_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1632-20_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1632-20_0_4_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_1632-20_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_1632-20_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_1632-20_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1632-20_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1632-20_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1632-20_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_1632-20_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1632-20_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1632-20_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_1632-20_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1632-20_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1632-20_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1632-20_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_1632-20_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_1632-20_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1632-20_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_MV_226_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-20_0_4_load_0 | 0 | 0.013682 | 0.0034289 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-20_0_4_load_1 | 1 | 0.034101 | 0.0085466 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-20_0_4_load_2 | 2 | 0.008449 | 0.0021175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-20_0_4_load_43 | 4 | 0.0053475 | 0.0013402 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-20_0_4_load_44 | 5 | 0.0065141 | 0.0016326 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-20_0_4_load_17 | 6 | 0.020008 | 0.0050145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-20_0_4_load_51 | 7 | 0.017337 | 0.004345 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-20_0_4_load_50 | 8 | 0.0054153 | 0.0013572 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-20_0_4_load_8 | 9 | 0.071089 | 0.017817 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-20_0_4_load_52 | 11 | 0.015698 | 0.0039343 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-20_0_4_load_14 | 12 | 0.0038446 | 0.00096355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-20_0_4_load_9 | 14 | 0.0098022 | 0.0024567 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-20_0_4_load_5 | 15 | 0.015991 | 0.0040076 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-20_0_4_load_18 | 18 | 0.016683 | 0.0041811 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-20_0_4_load_6 | 19 | 0.0053016 | 0.0013287 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-20_0_4_load_42 | 20 | 0.010618 | 0.0026612 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-20_0_4_load_31 | 21 | 0.0079328 | 0.0019882 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-20_0_4_load_28 | 22 | 0.0094295 | 0.0023632 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-20_0_4_load_12 | 23 | 0.0079127 | 0.0019831 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-20_0_4_load_13 | 24 | 0.0047906 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-20_0_4_load_15 | 25 | 0.0038613 | 0.00096773 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-20_0_4_load_63 | 26 | 0.0029668 | 0.00074355 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-20_0_4_load_53 | 27 | 0.0083188 | 0.0020849 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-20_0_4_load_33 | 28 | 0.0076867 | 0.0019265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-20_0_4_load_35 | 30 | 0.011907 | 0.0029841 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-20_0_4_load_61 | 31 | 0.0032766 | 0.00082118 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-20_0_4_load_24 | 32 | 0.016088 | 0.0040321 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-20_0_4_load_25 | 33 | 0.010283 | 0.0025771 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-20_0_4_load_26 | 34 | 0.0069491 | 0.0017416 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-20_0_4_load_30 | 37 | 0.0065204 | 0.0016342 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-20_0_4_load_59 | 39 | 0.0032865 | 0.00082368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-20_0_4_load_64 | 41 | 0.004909 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-20_0_4_load_57 | 42 | 0.0056511 | 0.0014163 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-20_0_4_load_47 | 43 | 0.0092624 | 0.0023214 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-20_0_4_load_39 | 44 | 0.005714 | 0.0014321 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-20_0_4_load_40 | 45 | 0.0058972 | 0.001478 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-20_0_4_load_38 | 46 | 0.0049063 | 0.0012296 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-20_0_4_load_62 | 47 | 0.0036511 | 0.00091505 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-20_0_4_load_37 | 48 | 0.0060827 | 0.0015245 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-20_0_4_load_49 | 49 | 0.0111 | 0.0027819 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-20_0_4_load_55 | 50 | 0.0089078 | 0.0022325 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-20_0_4_load_45 | 51 | 0.01314 | 0.0032932 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-20_0_4_load_48 | 52 | 0.0073067 | 0.0018312 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-20_0_4_load_46 | 53 | 0.0054202 | 0.0013584 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-20_0_4_load_54 | 54 | 0.0064627 | 0.0016197 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-20_0_4_load_56 | 55 | 0.0040904 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-20_0_4_load_58 | 56 | 0.0094701 | 0.0023734 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-20_0_4_load_60 | 57 | 0.0036729 | 0.00092051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-20_0_4_line_0 |  | 0 | 1 | 0.0013362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-20_0_4_line_1 |  | 0 | 2 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-20_0_4_line_2 |  | 1 | 3 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-20_0_4_line_3 |  | 3 | 4 | 0.025192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-20_0_4_line_4 |  | 3 | 5 | 0.013715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1632-20_0_4_line_5 |  | 3 | 6 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-20_0_4_line_6 |  | 4 | 7 | 0.0072306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-20_0_4_line_7 |  | 5 | 8 | 0.0058249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1632-20_0_4_line_8 |  | 6 | 9 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-20_0_4_line_9 |  | 8 | 52 | 0.0023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1632-20_0_4_line_10 |  | 9 | 19 | 0.0017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-20_0_4_line_11 |  | 10 | 11 | 0.0054928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-20_0_4_line_12 |  | 10 | 12 | 0.01762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-20_0_4_line_13 |  | 11 | 27 | 0.007327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-20_0_4_line_14 |  | 12 | 23 | 0.0021059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-20_0_4_line_15 |  | 13 | 14 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-20_0_4_line_16 |  | 13 | 15 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-20_0_4_line_17 |  | 14 | 20 | 0.0089619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-20_0_4_line_18 |  | 15 | 19 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-20_0_4_line_19 |  | 16 | 17 | 0.021368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-20_0_4_line_20 |  | 16 | 18 | 0.0054775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-20_0_4_line_21 |  | 17 | 26 | 0.013494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-20_0_4_line_22 |  | 17 | 25 | 0.0093205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-20_0_4_line_23 |  | 21 | 22 | 0.0071144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-20_0_4_line_24 |  | 22 | 34 | 0.014731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-20_0_4_line_25 |  | 23 | 24 | 0.012482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-20_0_4_line_26 |  | 24 | 25 | 0.010235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-20_0_4_line_27 |  | 26 | 31 | 0.0051717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-20_0_4_line_28 |  | 27 | 54 | 0.0052927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-20_0_4_line_29 |  | 28 | 29 | 0.027161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-20_0_4_line_30 |  | 29 | 30 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-20_0_4_line_31 |  | 29 | 38 | 0.003264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-20_0_4_line_32 |  | 31 | 57 | 0.004921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-20_0_4_line_33 |  | 32 | 33 | 0.0055281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-20_0_4_line_34 |  | 32 | 34 | 0.0023518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-20_0_4_line_35 |  | 33 | 35 | 0.011464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-20_0_4_line_36 |  | 35 | 36 | 0.00457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1632-20_0_4_line_37 |  | 35 | 37 | 0.009581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1632-20_0_4_line_38 |  | 36 | 38 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-20_0_4_line_39 |  | 36 | 39 | 0.0092139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-20_0_4_line_40 |  | 37 | 40 | 0.019092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1632-20_0_4_line_41 |  | 38 | 41 | 0.0095276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1632-20_0_4_line_42 |  | 39 | 42 | 0.0022759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-20_0_4_line_43 |  | 40 | 43 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1632-20_0_4_line_44 |  | 40 | 44 | 0.022707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-20_0_4_line_45 |  | 41 | 47 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-20_0_4_line_46 |  | 42 | 55 | 0.0046699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-20_0_4_line_47 |  | 43 | 51 | 0.0011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1632-20_0_4_line_48 |  | 44 | 48 | 0.0059119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-20_0_4_line_49 |  | 45 | 46 | 0.0092711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-20_0_4_line_50 |  | 46 | 48 | 0.0057007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-20_0_4_line_51 |  | 47 | 57 | 0.00536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-20_0_4_line_52 |  | 49 | 50 | 0.0078003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-20_0_4_line_53 |  | 50 | 54 | 0.0061482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-20_0_4_line_54 |  | 51 | 53 | 0.0062921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1632-20_0_4_line_55 |  | 52 | 53 | 0.0030909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1632-20_0_4_line_56 |  | 55 | 56 | 0.0065419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-20_0_4_trafo_47 | 0.63 MVA 20/0.4 kV | 58 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2723750.8195 | 1211187.2996 | 2723751.4294 | 1211186.1107
1 | 2723750.8195 | 1211187.2996 | 2723745.4936 | 1211197.6813
2 | 2723758.5548 | 1211172.2213 | 2723751.4294 | 1211186.1107
3 | 2723758.5548 | 1211172.2213 | 2723764.2127 | 1211175.0408 | 2723781.1033 | 1211183.4544
4 | 2723758.5548 | 1211172.2213 | 2723746.2775 | 1211166.1071
5 | 2723758.5548 | 1211172.2213 | 2723765.6638 | 1211158.3485
6 | 2723787.5754 | 1211186.6783 | 2723781.1033 | 1211183.4544
7 | 2723746.2775 | 1211166.1071 | 2723741.0634 | 1211163.5104
8 | 2723765.6638 | 1211158.3485 | 2723771.3886 | 1211147.177
9 | 2723738.9181 | 1211162.4421 | 2723741.0634 | 1211163.5104
10 | 2723772.1965 | 1211145.6003 | 2723771.3886 | 1211147.177
11 | 2723690.7384 | 1211196.1443 | 2723693.3138 | 1211191.2927
12 | 2723690.7384 | 1211196.1443 | 2723675.0268 | 1211188.1688
13 | 2723693.3138 | 1211191.2927 | 2723696.7492 | 1211184.821
14 | 2723673.149 | 1211187.2155 | 2723675.0268 | 1211188.1688
15 | 2723783.3686 | 1211123.7988 | 2723769.4537 | 1211116.2933 | 2723768.8103 | 1211115.7867
16 | 2723783.3686 | 1211123.7988 | 2723776.8912 | 1211136.4391
17 | 2723761.7692 | 1211110.2424 | 2723768.8103 | 1211115.7867
18 | 2723776.8912 | 1211136.4391 | 2723772.1965 | 1211145.6003
19 | 2723644.5811 | 1211172.7139 | 2723625.4816 | 1211163.0218
20 | 2723625.4816 | 1211163.0218 | 2723620.5974 | 1211160.5424
21 | 2723644.5811 | 1211172.7139 | 2723650.8189 | 1211160.7485
22 | 2723644.5811 | 1211172.7139 | 2723652.8921 | 1211176.9327
23 | 2723709.3079 | 1211102.0473 | 2723704.9934 | 1211107.7041
24 | 2723697.0687 | 1211120.0111 | 2723699.0481 | 1211115.4991 | 2723704.9934 | 1211107.7041
25 | 2723673.149 | 1211187.2155 | 2723662.0185 | 1211181.5655
26 | 2723662.0185 | 1211181.5655 | 2723652.8921 | 1211176.9327
27 | 2723650.8189 | 1211160.7485 | 2723653.2097 | 1211156.1626
28 | 2723699.2307 | 1211180.146 | 2723696.7492 | 1211184.821
29 | 2723665.3568 | 1211125.7863 | 2723641.0444 | 1211113.6782
30 | 2723665.3568 | 1211125.7863 | 2723662.619 | 1211114.6897
31 | 2723668.2835 | 1211127.2481 | 2723665.3568 | 1211125.7863
32 | 2723655.4845 | 1211151.799 | 2723653.2097 | 1211156.1626
33 | 2723696.1239 | 1211122.1647 | 2723693.903 | 1211127.2271
34 | 2723696.1239 | 1211122.1647 | 2723697.0687 | 1211120.0111
35 | 2723689.2976 | 1211137.7251 | 2723693.903 | 1211127.2271
36 | 2723689.2976 | 1211137.7251 | 2723685.1971 | 1211135.683
37 | 2723689.2976 | 1211137.7251 | 2723697.8732 | 1211141.9977
38 | 2723668.2835 | 1211127.2481 | 2723685.1971 | 1211135.683
39 | 2723685.1971 | 1211135.683 | 2723681.0861 | 1211143.9289
40 | 2723714.9615 | 1211150.5115 | 2723697.8732 | 1211141.9977
41 | 2723668.2835 | 1211127.2481 | 2723663.8791 | 1211135.6965
42 | 2723681.0861 | 1211143.9289 | 2723680.0707 | 1211145.9657
43 | 2723714.9615 | 1211150.5115 | 2723729.4478 | 1211157.7258
44 | 2723714.9615 | 1211150.5115 | 2723725.5788 | 1211130.4399
45 | 2723657.9623 | 1211147.0461 | 2723663.8791 | 1211135.6965
46 | 2723677.9871 | 1211150.145 | 2723680.0707 | 1211145.9657
47 | 2723730.519 | 1211158.2593 | 2723729.4478 | 1211157.7258
48 | 2723728.343 | 1211125.2141 | 2723725.5788 | 1211130.4399
49 | 2723735.3436 | 1211111.9798 | 2723731.0086 | 1211120.175
50 | 2723728.343 | 1211125.2141 | 2723731.0086 | 1211120.175
51 | 2723655.4845 | 1211151.799 | 2723657.9623 | 1211147.0461
52 | 2723702.1134 | 1211174.7155 | 2723705.7707 | 1211167.8258
53 | 2723702.1134 | 1211174.7155 | 2723699.2307 | 1211180.146
54 | 2723730.519 | 1211158.2593 | 2723736.1513 | 1211161.0642
55 | 2723738.9181 | 1211162.4421 | 2723736.1513 | 1211161.0642
56 | 2723675.0683 | 1211155.9997 | 2723677.9871 | 1211150.145

## bus_geodata
| x | y | coords
0 | 2723750.8195 | 1211187.2996
1 | 2723751.4294 | 1211186.1107
2 | 2723745.4936 | 1211197.6813
3 | 2723758.5548 | 1211172.2213
4 | 2723781.1033 | 1211183.4544
5 | 2723746.2775 | 1211166.1071
6 | 2723765.6638 | 1211158.3485
7 | 2723787.5754 | 1211186.6783
8 | 2723741.0634 | 1211163.5104
9 | 2723771.3886 | 1211147.177
10 | 2723690.7384 | 1211196.1443
11 | 2723693.3138 | 1211191.2927
12 | 2723675.0268 | 1211188.1688
13 | 2723783.3686 | 1211123.7988
14 | 2723768.8103 | 1211115.7867
15 | 2723776.8912 | 1211136.4391
16 | 2723625.4816 | 1211163.0218
17 | 2723644.5811 | 1211172.7139
18 | 2723620.5974 | 1211160.5424
19 | 2723772.1965 | 1211145.6003
20 | 2723761.7692 | 1211110.2424
21 | 2723709.3079 | 1211102.0473
22 | 2723704.9934 | 1211107.7041
23 | 2723673.149 | 1211187.2155
24 | 2723662.0185 | 1211181.5655
25 | 2723652.8921 | 1211176.9327
26 | 2723650.8189 | 1211160.7485
27 | 2723696.7492 | 1211184.821
28 | 2723641.0444 | 1211113.6782
29 | 2723665.3568 | 1211125.7863
30 | 2723662.619 | 1211114.6897
31 | 2723653.2097 | 1211156.1626
32 | 2723696.1239 | 1211122.1647
33 | 2723693.903 | 1211127.2271
34 | 2723697.0687 | 1211120.0111
35 | 2723689.2976 | 1211137.7251
36 | 2723685.1971 | 1211135.683
37 | 2723697.8732 | 1211141.9977
38 | 2723668.2835 | 1211127.2481
39 | 2723681.0861 | 1211143.9289
40 | 2723714.9615 | 1211150.5115
41 | 2723663.8791 | 1211135.6965
42 | 2723680.0707 | 1211145.9657
43 | 2723729.4478 | 1211157.7258
44 | 2723725.5788 | 1211130.4399
45 | 2723735.3436 | 1211111.9798
46 | 2723731.0086 | 1211120.175
47 | 2723657.9623 | 1211147.0461
48 | 2723728.343 | 1211125.2141
49 | 2723705.7707 | 1211167.8258
50 | 2723702.1134 | 1211174.7155
51 | 2723730.519 | 1211158.2593
52 | 2723738.9181 | 1211162.4421
53 | 2723736.1513 | 1211161.0642
54 | 2723699.2307 | 1211180.146
55 | 2723677.9871 | 1211150.145
56 | 2723675.0683 | 1211155.9997
57 | 2723655.4845 | 1211151.799
58 | 2723714.9615 | 1211150.5115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99589 | -0.078983 | 0.013682 | 0.0034289
1 | 0.99591 | -0.078464 | 0.034101 | 0.0085466
2 | 0.9958 | -0.080716 | 0.008449 | 0.0021175
3 | 0.99671 | -0.06305 | 0 | 0
4 | 0.99619 | -0.073082 | 0.0053475 | 0.0013402
5 | 0.99804 | -0.03761 | 0.0065141 | 0.0016326
6 | 0.99482 | -0.099442 | 0.020008 | 0.0050145
7 | 0.99608 | -0.075284 | 0.017337 | 0.004345
8 | 0.99862 | -0.026494 | 0.0054153 | 0.0013572
9 | 0.99353 | -0.12441 | 0.071089 | 0.017817
10 | 0.98574 | -0.27464 | 0 | 0
11 | 0.98548 | -0.27962 | 0.015698 | 0.0039343
12 | 0.98656 | -0.2587 | 0.0038446 | 0.00096355
13 | 0.99286 | -0.13747 | 0 | 0
14 | 0.99255 | -0.14347 | 0.0098022 | 0.0024567
15 | 0.99312 | -0.13234 | 0.015991 | 0.0040076
16 | 0.98829 | -0.22506 | 0 | 0
17 | 0.98862 | -0.2187 | 0 | 0
18 | 0.98821 | -0.22669 | 0.016683 | 0.0041811
19 | 0.99346 | -0.12572 | 0.0053016 | 0.0013287
20 | 0.99246 | -0.14516 | 0.010618 | 0.0026612
21 | 0.99457 | -0.10394 | 0.0079328 | 0.0019882
22 | 0.99463 | -0.10295 | 0.0094295 | 0.0023632
23 | 0.98666 | -0.25665 | 0.0079127 | 0.0019831
24 | 0.98738 | -0.24275 | 0.0047906 | 0.0012006
25 | 0.98801 | -0.23049 | 0.0038613 | 0.00096773
26 | 0.9897 | -0.19765 | 0.0029668 | 0.00074355
27 | 0.98525 | -0.28419 | 0.0083188 | 0.0020849
28 | 0.99291 | -0.13583 | 0.0076867 | 0.0019265
29 | 0.9931 | -0.13214 | 0 | 0
30 | 0.99298 | -0.13455 | 0.011907 | 0.0029841
31 | 0.99013 | -0.18932 | 0.0032766 | 0.00082118
32 | 0.99491 | -0.097436 | 0.016088 | 0.0040321
33 | 0.99511 | -0.093504 | 0.010283 | 0.0025771
34 | 0.99486 | -0.098443 | 0.0069491 | 0.0017416
35 | 0.99564 | -0.083283 | 0 | 0
36 | 0.99533 | -0.089237 | 0 | 0
37 | 0.99652 | -0.06655 | 0.0065204 | 0.0016342
38 | 0.99316 | -0.13101 | 0 | 0
39 | 0.99515 | -0.092885 | 0.0032865 | 0.00082368
40 | 0.99831 | -0.032205 | 0 | 0
41 | 0.99223 | -0.14889 | 0.004909 | 0.0012303
42 | 0.99511 | -0.093654 | 0.0056511 | 0.0014163
43 | 1 | 0 | -0.48206 | -0.12154
44 | 0.99785 | -0.041184 | 0.005714 | 0.0014321
45 | 0.99765 | -0.044967 | 0.0058972 | 0.001478
46 | 0.9977 | -0.04401 | 0.0049063 | 0.0012296
47 | 0.99104 | -0.17183 | 0.0036511 | 0.00091505
48 | 0.99775 | -0.042932 | 0.0060827 | 0.0015245
49 | 0.98493 | -0.29048 | 0.0111 | 0.0027819
50 | 0.98501 | -0.28892 | 0.0089078 | 0.0022325
51 | 0.99986 | -0.0026026 | 0.01314 | 0.0032932
52 | 0.99886 | -0.021811 | 0.0073067 | 0.0018312
53 | 0.99919 | -0.015577 | 0.0054202 | 0.0013584
54 | 0.98512 | -0.28671 | 0.0064627 | 0.0016197
55 | 0.99505 | -0.094769 | 0.0040904 | 0.0010252
56 | 0.99499 | -0.09586 | 0.0094701 | 0.0023734
57 | 0.99056 | -0.18111 | 0.0036729 | 0.00092051
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.022131 | -0.0055467 | 0.022132 | 0.0055471 | 5.4793e-07 | 3.3329e-07 | 0.033068 | 0.033068 | 0.033068 | 0.99589 | -0.078983 | 0.99591 | -0.078464 | 9.0846
1 | 0.0084497 | 0.0021178 | -0.008449 | -0.0021175 | 6.9744e-07 | 2.9456e-07 | 0.012625 | 0.012625 | 0.012625 | 0.99589 | -0.078983 | 0.9958 | -0.080716 | 3.4685
2 | -0.056233 | -0.014094 | 0.056275 | 0.01412 | 4.1325e-05 | 2.6244e-05 | 0.084019 | 0.084019 | 0.084019 | 0.99591 | -0.078464 | 0.99671 | -0.06305 | 23.0823
3 | 0.022697 | 0.0056929 | -0.022686 | -0.0056863 | 1.0848e-05 | 6.6144e-06 | 0.033886 | 0.033886 | 0.033886 | 0.99671 | -0.06305 | 0.99619 | -0.073082 | 9.3094
4 | -0.21217 | -0.053348 | 0.21243 | 0.053512 | 0.00025813 | 0.00016484 | 0.31682 | 0.31682 | 0.31682 | 0.99671 | -0.06305 | 0.99804 | -0.03761 | 43.519
5 | 0.1332 | 0.033535 | -0.13297 | -0.033387 | 0.00023129 | 0.00014782 | 0.19891 | 0.19891 | 0.19891 | 0.99671 | -0.06305 | 0.99482 | -0.099442 | 54.6463
6 | 0.017338 | 0.004346 | -0.017337 | -0.004345 | 1.8187e-06 | 1.0698e-06 | 0.025899 | 0.025899 | 0.025899 | 0.99619 | -0.073082 | 0.99608 | -0.075284 | 7.1151
7 | -0.21894 | -0.055145 | 0.21906 | 0.055219 | 0.00011645 | 7.4375e-05 | 0.32653 | 0.32653 | 0.32653 | 0.99804 | -0.03761 | 0.99862 | -0.026494 | 44.853
8 | 0.11296 | 0.028372 | -0.11283 | -0.028287 | 0.00013442 | 8.5868e-05 | 0.16899 | 0.16899 | 0.16899 | 0.99482 | -0.099442 | 0.99353 | -0.12441 | 46.4246
9 | -0.22448 | -0.056577 | 0.22453 | 0.056609 | 5.031e-05 | 3.2135e-05 | 0.3346 | 0.3346 | 0.3346 | 0.99862 | -0.026494 | 0.99886 | -0.021811 | 45.9614
10 | 0.041739 | 0.01047 | -0.041736 | -0.010468 | 2.5965e-06 | 1.6388e-06 | 0.062515 | 0.062515 | 0.062515 | 0.99353 | -0.12441 | 0.99346 | -0.12572 | 17.1746
11 | 0.050513 | 0.012669 | -0.050501 | -0.012662 | 1.1977e-05 | 7.5956e-06 | 0.076255 | 0.076255 | 0.076255 | 0.98574 | -0.27464 | 0.98548 | -0.27962 | 20.9492
12 | -0.050513 | -0.012669 | 0.050551 | 0.012694 | 3.8421e-05 | 2.4365e-05 | 0.076255 | 0.076255 | 0.076255 | 0.98574 | -0.27464 | 0.98656 | -0.2587 | 20.9492
13 | 0.034803 | 0.0087274 | -0.034795 | -0.0087227 | 7.5881e-06 | 4.763e-06 | 0.052552 | 0.052552 | 0.052552 | 0.98548 | -0.27962 | 0.98525 | -0.28419 | 14.4374
14 | -0.054396 | -0.013657 | 0.054401 | 0.013661 | 5.317e-06 | 3.376e-06 | 0.082054 | 0.082054 | 0.082054 | 0.98656 | -0.2587 | 0.98666 | -0.25665 | 22.5422
15 | 0.020427 | 0.0051218 | -0.020421 | -0.0051183 | 5.845e-06 | 3.5258e-06 | 0.030616 | 0.030616 | 0.030616 | 0.99286 | -0.13747 | 0.99255 | -0.14347 | 8.4109
16 | -0.020427 | -0.0051218 | 0.020432 | 0.0051249 | 4.9924e-06 | 3.0114e-06 | 0.030616 | 0.030616 | 0.030616 | 0.99286 | -0.13747 | 0.99312 | -0.13234 | 8.4109
17 | 0.010619 | 0.0026617 | -0.010618 | -0.0026612 | 8.5181e-07 | 4.2934e-07 | 0.01592 | 0.01592 | 0.01592 | 0.99255 | -0.14347 | 0.99246 | -0.14516 | 4.3738
18 | -0.036423 | -0.0091325 | 0.036434 | 0.0091397 | 1.1497e-05 | 7.2251e-06 | 0.054575 | 0.054575 | 0.054575 | 0.99312 | -0.13234 | 0.99346 | -0.12572 | 14.9931
19 | -0.016684 | -0.0041819 | 0.016689 | 0.0041848 | 5.0565e-06 | 2.9623e-06 | 0.025121 | 0.02512 | 0.025121 | 0.98829 | -0.22506 | 0.98862 | -0.2187 | 6.9012
20 | 0.016684 | 0.0041819 | -0.016683 | -0.0041811 | 1.2962e-06 | 7.5938e-07 | 0.025121 | 0.025121 | 0.025121 | 0.98829 | -0.22506 | 0.98821 | -0.22669 | 6.9013
21 | -0.087776 | -0.022074 | 0.087864 | 0.02213 | 8.8359e-05 | 5.6376e-05 | 0.13214 | 0.13214 | 0.13214 | 0.98862 | -0.2187 | 0.9897 | -0.19765 | 36.3029
22 | 0.071087 | 0.017889 | -0.071047 | -0.017863 | 4.0033e-05 | 2.5502e-05 | 0.10702 | 0.10702 | 0.10702 | 0.98862 | -0.2187 | 0.98801 | -0.23049 | 29.4017
23 | -0.0079328 | -0.0019882 | 0.0079332 | 0.0019883 | 3.7581e-07 | 1.4819e-07 | 0.011869 | 0.011869 | 0.011869 | 0.99457 | -0.10394 | 0.99463 | -0.10295 | 3.2606
24 | -0.017363 | -0.0043516 | 0.017366 | 0.0043537 | 3.7272e-06 | 2.1942e-06 | 0.025976 | 0.025975 | 0.025976 | 0.99463 | -0.10295 | 0.99486 | -0.098443 | 7.1361
25 | -0.062314 | -0.015644 | 0.062355 | 0.01567 | 4.1349e-05 | 2.6304e-05 | 0.093987 | 0.093987 | 0.093987 | 0.98666 | -0.25665 | 0.98738 | -0.24275 | 25.8206
26 | -0.067146 | -0.016871 | 0.067185 | 0.016896 | 3.9313e-05 | 2.5029e-05 | 0.10121 | 0.10121 | 0.10121 | 0.98738 | -0.24275 | 0.98801 | -0.23049 | 27.804
27 | -0.090831 | -0.022874 | 0.090867 | 0.022897 | 3.619e-05 | 2.3095e-05 | 0.1366 | 0.1366 | 0.1366 | 0.9897 | -0.19765 | 0.99013 | -0.18932 | 37.5283
28 | 0.026477 | 0.0066378 | -0.026473 | -0.0066358 | 3.1738e-06 | 1.9638e-06 | 0.039988 | 0.039988 | 0.039988 | 0.98525 | -0.28419 | 0.98512 | -0.28671 | 10.9857
29 | -0.0076867 | -0.0019265 | 0.007688 | 0.001927 | 1.3516e-06 | 5.1365e-07 | 0.01152 | 0.011519 | 0.01152 | 0.99291 | -0.13583 | 0.9931 | -0.13214 | 3.1647
30 | 0.011908 | 0.0029848 | -0.011907 | -0.0029841 | 1.3645e-06 | 7.254e-07 | 0.017843 | 0.017843 | 0.017843 | 0.9931 | -0.13214 | 0.99298 | -0.13455 | 4.9018
31 | -0.019596 | -0.0049118 | 0.019597 | 0.0049124 | 1.0552e-06 | 6.3312e-07 | 0.029362 | 0.029362 | 0.029362 | 0.9931 | -0.13214 | 0.99316 | -0.13101 | 8.0665
32 | -0.094144 | -0.023718 | 0.094181 | 0.023742 | 3.6963e-05 | 2.3593e-05 | 0.14153 | 0.14153 | 0.14153 | 0.99013 | -0.18932 | 0.99056 | -0.18111 | 38.8811
33 | -0.040405 | -0.010128 | 0.040413 | 0.010133 | 7.5706e-06 | 4.7734e-06 | 0.060432 | 0.060432 | 0.060432 | 0.99491 | -0.097436 | 0.99511 | -0.093504 | 16.6021
34 | 0.024317 | 0.0060961 | -0.024316 | -0.0060954 | 1.1665e-06 | 7.1604e-07 | 0.036369 | 0.036369 | 0.036369 | 0.99491 | -0.097436 | 0.99486 | -0.098443 | 9.9916
35 | -0.050695 | -0.01271 | 0.05072 | 0.012726 | 2.4705e-05 | 1.5662e-05 | 0.075807 | 0.075807 | 0.075807 | 0.99511 | -0.093504 | 0.99564 | -0.083283 | 20.8262
36 | 0.14906 | 0.037708 | -0.14901 | -0.037681 | 4.2571e-05 | 2.7127e-05 | 0.22289 | 0.22289 | 0.22289 | 0.99564 | -0.083283 | 0.99533 | -0.089237 | 30.6173
37 | -0.19978 | -0.050434 | 0.19994 | 0.050536 | 0.00016028 | 0.00010233 | 0.2987 | 0.2987 | 0.2987 | 0.99564 | -0.083283 | 0.99652 | -0.06655 | 41.0304
38 | 0.12651 | 0.032039 | -0.12626 | -0.031877 | 0.00025325 | 0.00016184 | 0.18925 | 0.18925 | 0.18925 | 0.99533 | -0.089237 | 0.99316 | -0.13101 | 51.9918
39 | 0.022504 | 0.005642 | -0.0225 | -0.0056396 | 3.911e-06 | 2.3833e-06 | 0.033644 | 0.033644 | 0.033644 | 0.99533 | -0.089237 | 0.99515 | -0.092885 | 9.2428
40 | -0.20646 | -0.05217 | 0.2068 | 0.052388 | 0.00034055 | 0.00021745 | 0.30844 | 0.30844 | 0.30844 | 0.99652 | -0.06655 | 0.99831 | -0.032205 | 42.3678
41 | 0.10666 | 0.026965 | -0.10657 | -0.026906 | 9.1337e-05 | 5.8333e-05 | 0.15989 | 0.15989 | 0.15989 | 0.99316 | -0.13101 | 0.99223 | -0.14889 | 43.9253
42 | 0.019214 | 0.0048159 | -0.019213 | -0.0048155 | 7.0446e-07 | 4.2128e-07 | 0.02873 | 0.02873 | 0.02873 | 0.99515 | -0.092885 | 0.99511 | -0.093654 | 7.8928
43 | -0.22941 | -0.058059 | 0.22977 | 0.058286 | 0.00035521 | 0.00022691 | 0.34214 | 0.34214 | 0.34214 | 0.99831 | -0.032205 | 1 | 0 | 46.9976
44 | 0.022612 | 0.0056712 | -0.022602 | -0.0056653 | 9.6736e-06 | 5.8944e-06 | 0.033706 | 0.033706 | 0.033706 | 0.99831 | -0.032205 | 0.99785 | -0.041184 | 9.2598
45 | 0.10166 | 0.025676 | -0.10155 | -0.025605 | 0.00011166 | 7.1299e-05 | 0.15253 | 0.15253 | 0.15253 | 0.99223 | -0.14889 | 0.99104 | -0.17183 | 41.9029
46 | 0.013562 | 0.0033992 | -0.013561 | -0.0033988 | 7.2019e-07 | 4.0026e-07 | 0.020279 | 0.020279 | 0.020279 | 0.99511 | -0.093654 | 0.99505 | -0.094769 | 5.5713
47 | 0.25064 | 0.06325 | -0.25061 | -0.06323 | 3.1236e-05 | 1.996e-05 | 0.37311 | 0.37311 | 0.37311 | 1 | 0 | 0.99986 | -0.0026026 | 51.2515
48 | 0.016888 | 0.0042332 | -0.016887 | -0.0042324 | 1.4061e-06 | 8.2271e-07 | 0.025185 | 0.025185 | 0.025185 | 0.99785 | -0.041184 | 0.99775 | -0.042932 | 6.9189
49 | -0.0058972 | -0.001478 | 0.0058975 | 0.001478 | 2.6897e-07 | 5.1079e-08 | 0.0087958 | 0.0087958 | 0.0087958 | 0.99765 | -0.044967 | 0.9977 | -0.04401 | 2.4164
50 | -0.010804 | -0.0027077 | 0.010804 | 0.0027079 | 5.5504e-07 | 2.8078e-07 | 0.016113 | 0.016113 | 0.016113 | 0.9977 | -0.04401 | 0.99775 | -0.042932 | 4.4267
51 | 0.097897 | 0.02469 | -0.097854 | -0.024662 | 4.346e-05 | 2.7745e-05 | 0.14704 | 0.14704 | 0.14704 | 0.99104 | -0.17183 | 0.99056 | -0.18111 | 40.3968
52 | -0.0111 | -0.0027819 | 0.011101 | 0.0027823 | 8.2259e-07 | 4.2718e-07 | 0.01677 | 0.01677 | 0.01677 | 0.98493 | -0.29048 | 0.98501 | -0.28892 | 4.607
53 | -0.020008 | -0.0050148 | 0.020011 | 0.0050161 | 2.1064e-06 | 1.2698e-06 | 0.030226 | 0.030226 | 0.030226 | 0.98501 | -0.28892 | 0.98512 | -0.28671 | 8.3039
54 | 0.23747 | 0.059937 | -0.23732 | -0.059843 | 0.00014747 | 9.4217e-05 | 0.35356 | 0.35356 | 0.35356 | 0.99986 | -0.0026026 | 0.99919 | -0.015577 | 48.5654
55 | -0.23183 | -0.05844 | 0.2319 | 0.058484 | 6.9175e-05 | 4.4191e-05 | 0.34548 | 0.34548 | 0.34548 | 0.99886 | -0.021811 | 0.99919 | -0.015577 | 47.4566
56 | 0.0094705 | 0.0023736 | -0.0094701 | -0.0023734 | 4.9206e-07 | 2.2995e-07 | 0.014163 | 0.014163 | 0.014163 | 0.99505 | -0.094769 | 0.99499 | -0.09586 | 3.8908

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49132 | 0.12386

## res_load
| p_mw | q_mvar
0 | 0.013682 | 0.0034289
1 | 0.034101 | 0.0085466
2 | 0.008449 | 0.0021175
3 | 0.0053475 | 0.0013402
4 | 0.0065141 | 0.0016326
5 | 0.020008 | 0.0050145
6 | 0.017337 | 0.004345
7 | 0.0054153 | 0.0013572
8 | 0.071089 | 0.017817
9 | 0.015698 | 0.0039343
10 | 0.0038446 | 0.00096355
11 | 0.0098022 | 0.0024567
12 | 0.015991 | 0.0040076
13 | 0.016683 | 0.0041811
14 | 0.0053016 | 0.0013287
15 | 0.010618 | 0.0026612
16 | 0.0079328 | 0.0019882
17 | 0.0094295 | 0.0023632
18 | 0.0079127 | 0.0019831
19 | 0.0047906 | 0.0012006
20 | 0.0038613 | 0.00096773
21 | 0.0029668 | 0.00074355
22 | 0.0083188 | 0.0020849
23 | 0.0076867 | 0.0019265
24 | 0.011907 | 0.0029841
25 | 0.0032766 | 0.00082118
26 | 0.016088 | 0.0040321
27 | 0.010283 | 0.0025771
28 | 0.0069491 | 0.0017416
29 | 0.0065204 | 0.0016342
30 | 0.0032865 | 0.00082368
31 | 0.004909 | 0.0012303
32 | 0.0056511 | 0.0014163
33 | 0.0092624 | 0.0023214
34 | 0.005714 | 0.0014321
35 | 0.0058972 | 0.001478
36 | 0.0049063 | 0.0012296
37 | 0.0036511 | 0.00091505
38 | 0.0060827 | 0.0015245
39 | 0.0111 | 0.0027819
40 | 0.0089078 | 0.0022325
41 | 0.01314 | 0.0032932
42 | 0.0073067 | 0.0018312
43 | 0.0054202 | 0.0013584
44 | 0.0064627 | 0.0016197
45 | 0.0040904 | 0.0010252
46 | 0.0094701 | 0.0023734
47 | 0.0036729 | 0.00092051

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1