## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-22_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-22_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1632-22_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1632-22_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-22_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-22_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1632-22_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1632-22_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1632-22_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1632-22_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1632-22_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1632-22_0_5_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_1632-22_0_5_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1632-22_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1632-22_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1632-22_0_5_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_1632-22_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1632-22_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1632-22_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1632-22_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1632-22_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1632-22_0_5_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1632-22_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1632-22_0_5_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_1632-22_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1632-22_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1632-22_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1632-22_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1632-22_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1632-22_0_5_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1632-22_0_5_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1632-22_0_5_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1632-22_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1632-22_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1632-22_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1632-22_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1632-22_0_5_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1632-22_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1632-22_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1632-22_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1632-22_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1632-22_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1632-22_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1632-22_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1632-22_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1632-22_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_MV_226_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-22_0_5_load_0 | 0 | 0.027172 | 0.0068101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-22_0_5_load_1 | 2 | 0.042778 | 0.010721 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-22_0_5_load_4 | 4 | 0.028088 | 0.0070396 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-22_0_5_load_5 | 5 | 0.017102 | 0.0042862 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-22_0_5_load_12 | 6 | 0.0087057 | 0.0021819 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-22_0_5_load_34 | 11 | 0.020625 | 0.005169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-22_0_5_load_23 | 12 | 0.028228 | 0.0070746 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-22_0_5_load_40 | 15 | 0.028557 | 0.0071571 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-22_0_5_load_37 | 16 | 0.011971 | 0.0030003 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-22_0_5_load_17 | 17 | 0.014279 | 0.0035787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-22_0_5_load_22 | 21 | 0.013489 | 0.0033806 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-22_0_5_load_24 | 22 | 0.0090072 | 0.0022574 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-22_0_5_load_42 | 23 | 0.0096256 | 0.0024124 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-22_0_5_load_32 | 24 | 0.020407 | 0.0051144 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-22_0_5_load_18 | 25 | 0.024082 | 0.0060355 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-22_0_5_load_19 | 26 | 0.011151 | 0.0027947 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-22_0_5_load_21 | 27 | 0.008352 | 0.0020932 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-22_0_5_load_38 | 28 | 0.011756 | 0.0029463 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-22_0_5_load_35 | 29 | 0.011021 | 0.0027621 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-22_0_5_load_41 | 30 | 0.012723 | 0.0031888 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-22_0_5_load_46 | 31 | 0.006794 | 0.0017027 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-22_0_5_load_43 | 32 | 0.049131 | 0.012313 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-22_0_5_load_36 | 33 | 0.013013 | 0.0032614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-22_0_5_load_20 | 34 | 0.011838 | 0.0029668 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-22_0_5_load_39 | 35 | 0.012092 | 0.0030305 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-22_0_5_load_45 | 36 | 0.009877 | 0.0024754 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-22_0_5_load_25 | 37 | 0.016248 | 0.0040721 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-22_0_5_load_26 | 38 | 0.037915 | 0.0095025 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-22_0_5_load_28 | 40 | 0.031614 | 0.0079231 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-22_0_5_load_29 | 41 | 0.0070917 | 0.0017773 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-22_0_5_load_30 | 42 | 0.0097284 | 0.0024382 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-22_0_5_load_31 | 43 | 0.020023 | 0.0050183 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-22_0_5_load_33 | 44 | 0.009303 | 0.0023315 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-22_0_5_load_44 | 45 | 0.0088489 | 0.0022177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-22_0_5_line_0 |  | 0 | 1 | 0.020211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-22_0_5_line_1 |  | 1 | 4 | 0.016638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-22_0_5_line_2 |  | 1 | 5 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-22_0_5_line_3 |  | 2 | 3 | 0.0073671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-22_0_5_line_4 |  | 3 | 6 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-22_0_5_line_5 |  | 4 | 7 | 0.017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-22_0_5_line_6 |  | 5 | 8 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-22_0_5_line_7 |  | 6 | 17 | 0.0065184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-22_0_5_line_8 |  | 7 | 13 | 0.069505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-22_0_5_line_9 |  | 8 | 9 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-22_0_5_line_10 |  | 9 | 10 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-22_0_5_line_11 |  | 9 | 11 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1632-22_0_5_line_12 |  | 10 | 12 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-22_0_5_line_13 |  | 11 | 24 | 0.0039927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1632-22_0_5_line_14 |  | 13 | 23 | 0.032209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-22_0_5_line_15 |  | 14 | 15 | 0.002177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-22_0_5_line_16 |  | 14 | 16 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-22_0_5_line_17 |  | 15 | 27 | 0.011594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-22_0_5_line_18 |  | 16 | 28 | 0.0073428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-22_0_5_line_19 |  | 17 | 29 | 0.025953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-22_0_5_line_20 |  | 18 | 19 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1632-22_0_5_line_21 |  | 18 | 20 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1632-22_0_5_line_22 |  | 19 | 22 | 0.035918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1632-22_0_5_line_23 |  | 20 | 21 | 0.035474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1632-22_0_5_line_24 |  | 21 | 30 | 0.0081338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-22_0_5_line_25 |  | 22 | 31 | 0.0076137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1632-22_0_5_line_26 |  | 23 | 32 | 0.0091917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-22_0_5_line_27 |  | 24 | 41 | 0.0053641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1632-22_0_5_line_28 |  | 25 | 26 | 0.011024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-22_0_5_line_29 |  | 26 | 34 | 0.0071956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-22_0_5_line_30 |  | 27 | 34 | 0.006327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-22_0_5_line_31 |  | 28 | 35 | 0.0060514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-22_0_5_line_32 |  | 29 | 33 | 0.0053045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-22_0_5_line_33 |  | 30 | 35 | 0.0077035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-22_0_5_line_34 |  | 31 | 36 | 0.0073498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1632-22_0_5_line_35 |  | 33 | 43 | 0.0067735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-22_0_5_line_36 |  | 36 | 45 | 0.0073693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1632-22_0_5_line_37 |  | 37 | 38 | 0.0098585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1632-22_0_5_line_38 |  | 37 | 39 | 0.0088577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1632-22_0_5_line_39 |  | 38 | 40 | 0.0068436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1632-22_0_5_line_40 |  | 39 | 41 | 0.0042648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1632-22_0_5_line_41 |  | 39 | 42 | 0.0022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1632-22_0_5_line_42 |  | 40 | 43 | 0.0088686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1632-22_0_5_line_43 |  | 42 | 44 | 0.0065637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1632-22_0_5_line_44 |  | 44 | 45 | 0.0066392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-22_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 46 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2723863.6141 | 1211075.038 | 2723866.2159 | 1211069.8213 | 2723872.6181 | 1211056.9435
1 | 2723863.6141 | 1211075.038 | 2723858.4977 | 1211072.4965 | 2723848.7154 | 1211067.632
2 | 2723863.6141 | 1211075.038 | 2723869.9349 | 1211078.1494 | 2723879.1372 | 1211082.673
3 | 2723890.2144 | 1211021.5492 | 2723886.9348 | 1211028.1461
4 | 2723890.2144 | 1211021.5492 | 2723899.2285 | 1211026.0176 | 2723903.2139 | 1211027.9998
5 | 2723832.758 | 1211059.6968 | 2723848.7154 | 1211067.632
6 | 2723896.8138 | 1211091.3622 | 2723879.1372 | 1211082.673
7 | 2723906.7889 | 1211031.6679 | 2723907.0112 | 1211031.2166 | 2723907.5351 | 1211030.1489 | 2723903.2139 | 1211027.9998
8 | 2723821.6979 | 1211010.9964 | 2723816.6394 | 1211018.8419 | 2723812.4295 | 1211025.3596 | 2723805.2501 | 1211036.4969 | 2723805.1289 | 1211042.3322 | 2723808.6672 | 1211047.6542 | 2723814.0167 | 1211050.3228 | 2723832.758 | 1211059.6968
9 | 2723911.7657 | 1211098.7117 | 2723896.8138 | 1211091.3622
10 | 2723911.7657 | 1211098.7117 | 2723914.2864 | 1211099.9539 | 2723920.7263 | 1211102.4562 | 2723930.1623 | 1211104.1758
11 | 2723911.7657 | 1211098.7117 | 2723913.8084 | 1211088.2801
12 | 2723930.1623 | 1211104.1758 | 2723932.589 | 1211090.2523
13 | 2723913.8084 | 1211088.2801 | 2723914.5757 | 1211084.3618
14 | 2723821.6979 | 1211010.9964 | 2723839.2215 | 1211020.0783 | 2723850.4023 | 1211025.6047
15 | 2723953.8849 | 1211091.1253 | 2723954.9747 | 1211089.2407
16 | 2723953.8849 | 1211091.1253 | 2723955.1664 | 1211081.0019
17 | 2723960.7784 | 1211079.2041 | 2723954.9747 | 1211089.2407
18 | 2723956.0885 | 1211073.7173 | 2723955.1664 | 1211081.0019
19 | 2723906.7889 | 1211031.6679 | 2723906.7889 | 1211031.6679 | 2723917.5976 | 1211037.2077 | 2723913.7469 | 1211044.7224 | 2723910.1531 | 1211043.1688 | 2723909.5702 | 1211044.4944
20 | 2723953.1911 | 1211010.7935 | 2723938.5869 | 1211004.6298
21 | 2723953.1911 | 1211010.7935 | 2723971.2539 | 1211018.4303
22 | 2723938.5869 | 1211004.6298 | 2723933.4534 | 1211018.6339 | 2723927.3714 | 1211038.7362
23 | 2723971.2539 | 1211018.4303 | 2723961.5876 | 1211052.5622
24 | 2723961.5876 | 1211052.5622 | 2723959.3712 | 1211060.3881
25 | 2723925.1665 | 1211046.0237 | 2723927.3714 | 1211038.7362
26 | 2723858.6424 | 1211029.6777 | 2723850.4023 | 1211025.6047
27 | 2723915.6065 | 1211079.0977 | 2723914.5757 | 1211084.3618
28 | 2723973.0661 | 1211057.9545 | 2723967.5477 | 1211067.4978
29 | 2723963.9456 | 1211073.7269 | 2723967.5477 | 1211067.4978
30 | 2723963.9456 | 1211073.7269 | 2723960.7784 | 1211079.2041
31 | 2723956.0885 | 1211073.7173 | 2723956.4864 | 1211070.5746 | 2723957.2721 | 1211067.8001
32 | 2723907.4351 | 1211049.3503 | 2723909.5702 | 1211044.4944
33 | 2723957.2721 | 1211067.8001 | 2723959.3712 | 1211060.3881
34 | 2723925.1665 | 1211046.0237 | 2723923.0381 | 1211053.0586
35 | 2723907.4351 | 1211049.3503 | 2723904.7086 | 1211055.5508
36 | 2723920.904 | 1211060.1121 | 2723923.0381 | 1211053.0586
37 | 2723898.3842 | 1211069.9339 | 2723898.3842 | 1211069.9339 | 2723907.8875 | 1211072.5562
38 | 2723916.4261 | 1211074.9124 | 2723907.8875 | 1211072.5562
39 | 2723898.3842 | 1211069.9339 | 2723901.1389 | 1211063.6692
40 | 2723916.4261 | 1211074.9124 | 2723915.6065 | 1211079.0977
41 | 2723916.4261 | 1211074.9124 | 2723917.0806 | 1211072.7493
42 | 2723904.7086 | 1211055.5508 | 2723901.1389 | 1211063.6692
43 | 2723917.0806 | 1211072.7493 | 2723918.9813 | 1211066.4669
44 | 2723920.904 | 1211060.1121 | 2723918.9813 | 1211066.4669

## bus_geodata
| x | y | coords
0 | 2723872.6181 | 1211056.9435
1 | 2723863.6141 | 1211075.038
2 | 2723886.9348 | 1211028.1461
3 | 2723890.2144 | 1211021.5492
4 | 2723848.7154 | 1211067.632
5 | 2723879.1372 | 1211082.673
6 | 2723903.2139 | 1211027.9998
7 | 2723832.758 | 1211059.6968
8 | 2723896.8138 | 1211091.3622
9 | 2723911.7657 | 1211098.7117
10 | 2723930.1623 | 1211104.1758
11 | 2723913.8084 | 1211088.2801
12 | 2723932.589 | 1211090.2523
13 | 2723821.6979 | 1211010.9964
14 | 2723953.8849 | 1211091.1253
15 | 2723954.9747 | 1211089.2407
16 | 2723955.1664 | 1211081.0019
17 | 2723906.7889 | 1211031.6679
18 | 2723953.1911 | 1211010.7935
19 | 2723938.5869 | 1211004.6298
20 | 2723971.2539 | 1211018.4303
21 | 2723961.5876 | 1211052.5622
22 | 2723927.3714 | 1211038.7362
23 | 2723850.4023 | 1211025.6047
24 | 2723914.5757 | 1211084.3618
25 | 2723973.0661 | 1211057.9545
26 | 2723967.5477 | 1211067.4978
27 | 2723960.7784 | 1211079.2041
28 | 2723956.0885 | 1211073.7173
29 | 2723909.5702 | 1211044.4944
30 | 2723959.3712 | 1211060.3881
31 | 2723925.1665 | 1211046.0237
32 | 2723858.6424 | 1211029.6777
33 | 2723907.4351 | 1211049.3503
34 | 2723963.9456 | 1211073.7269
35 | 2723957.2721 | 1211067.8001
36 | 2723923.0381 | 1211053.0586
37 | 2723907.8875 | 1211072.5562
38 | 2723898.3842 | 1211069.9339
39 | 2723916.4261 | 1211074.9124
40 | 2723901.1389 | 1211063.6692
41 | 2723915.6065 | 1211079.0977
42 | 2723917.0806 | 1211072.7493
43 | 2723904.7086 | 1211055.5508
44 | 2723918.9813 | 1211066.4669
45 | 2723920.904 | 1211060.1121
46 | 2723916.4261 | 1211074.9124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98839 | -0.22266 | 0.027172 | 0.0068101
1 | 0.98889 | -0.21287 | 0 | 0
2 | 0.99637 | -0.069865 | 0.042778 | 0.010721
3 | 0.99665 | -0.064333 | 0 | 0
4 | 0.98756 | -0.23866 | 0.028088 | 0.0070396
5 | 0.99071 | -0.17778 | 0.017102 | 0.0042862
6 | 0.99722 | -0.053447 | 0.0087057 | 0.0021819
7 | 0.98659 | -0.25739 | 0 | 0
8 | 0.99309 | -0.13203 | 0 | 0
9 | 0.9951 | -0.093586 | 0 | 0
10 | 0.9946 | -0.10319 | 0 | 0
11 | 0.99588 | -0.07869 | 0.020625 | 0.005169
12 | 0.99424 | -0.11022 | 0.028228 | 0.0070746
13 | 0.98281 | -0.3308 | 0 | 0
14 | 0.98568 | -0.27549 | 0 | 0
15 | 0.98551 | -0.27877 | 0.028557 | 0.0071571
16 | 0.98647 | -0.26013 | 0.011971 | 0.0030003
17 | 0.99752 | -0.047566 | 0.014279 | 0.0035787
18 | 0.99325 | -0.12894 | 0 | 0
19 | 0.99378 | -0.11874 | 0 | 0
20 | 0.99194 | -0.1542 | 0 | 0
21 | 0.98956 | -0.20019 | 0.013489 | 0.0033806
22 | 0.99499 | -0.095632 | 0.0090072 | 0.0022574
23 | 0.98106 | -0.36501 | 0.0096256 | 0.0024124
24 | 0.99604 | -0.075533 | 0.020407 | 0.0051144
25 | 0.98417 | -0.305 | 0.024082 | 0.0060355
26 | 0.98441 | -0.30022 | 0.011151 | 0.0027947
27 | 0.98492 | -0.29031 | 0.008352 | 0.0020932
28 | 0.98712 | -0.24752 | 0.011756 | 0.0029463
29 | 0.99908 | -0.017717 | 0.011021 | 0.0027621
30 | 0.98857 | -0.21939 | 0.012723 | 0.0031888
31 | 0.99526 | -0.090438 | 0.006794 | 0.0017027
32 | 0.98065 | -0.3732 | 0.049131 | 0.012313
33 | 0.99945 | -0.010607 | 0.013013 | 0.0032614
34 | 0.98465 | -0.29566 | 0.011838 | 0.0029668
35 | 0.98772 | -0.23587 | 0.012092 | 0.0030305
36 | 0.99554 | -0.085208 | 0.009877 | 0.0024754
37 | 0.99732 | -0.051121 | 0.016248 | 0.0040721
38 | 0.99828 | -0.032856 | 0.037915 | 0.0095025
39 | 0.99649 | -0.06693 | 0 | 0
40 | 0.999 | -0.019064 | 0.031614 | 0.0079231
41 | 0.99629 | -0.070813 | 0.0070917 | 0.0017773
42 | 0.99639 | -0.068909 | 0.0097284 | 0.0024382
43 | 1 | 0 | -0.58884 | -0.14893
44 | 0.9961 | -0.07438 | 0.009303 | 0.0023315
45 | 0.99583 | -0.079646 | 0.0088489 | 0.0022177
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027172 | -0.0068101 | 0.027185 | 0.0068179 | 1.2683e-05 | 7.8582e-06 | 0.040908 | 0.040908 | 0.040908 | 0.98839 | -0.22266 | 0.98889 | -0.21287 | 11.2385
1 | 0.087328 | 0.022073 | -0.08722 | -0.022004 | 0.00010784 | 6.8806e-05 | 0.13147 | 0.13147 | 0.13147 | 0.98889 | -0.21287 | 0.98756 | -0.23866 | 36.1184
2 | -0.11451 | -0.028891 | 0.11471 | 0.029014 | 0.00019276 | 0.00012315 | 0.17238 | 0.17238 | 0.17238 | 0.98889 | -0.21287 | 0.99071 | -0.17778 | 47.3568
3 | -0.042778 | -0.010721 | 0.042789 | 0.010728 | 1.1276e-05 | 7.1205e-06 | 0.063887 | 0.063886 | 0.063887 | 0.99637 | -0.069865 | 0.99665 | -0.064333 | 17.5512
4 | -0.042789 | -0.010728 | 0.042812 | 0.010742 | 2.2211e-05 | 1.4026e-05 | 0.063886 | 0.063886 | 0.063886 | 0.99665 | -0.064333 | 0.99722 | -0.053447 | 17.5512
5 | 0.059132 | 0.014964 | -0.059078 | -0.014931 | 5.3114e-05 | 3.3765e-05 | 0.089149 | 0.089149 | 0.089149 | 0.98756 | -0.23866 | 0.98659 | -0.25739 | 24.4914
6 | -0.13181 | -0.0333 | 0.1321 | 0.033485 | 0.00028976 | 0.00018519 | 0.19807 | 0.19807 | 0.19807 | 0.99071 | -0.17778 | 0.99309 | -0.13203 | 54.4137
7 | -0.051517 | -0.012924 | 0.051532 | 0.012933 | 1.4447e-05 | 9.1607e-06 | 0.076877 | 0.076877 | 0.076877 | 0.99722 | -0.053447 | 0.99752 | -0.047566 | 21.12
8 | 0.059078 | 0.014931 | -0.058871 | -0.014799 | 0.00020715 | 0.00013169 | 0.089149 | 0.089149 | 0.089149 | 0.98659 | -0.25739 | 0.98281 | -0.3308 | 24.4915
9 | -0.1321 | -0.033485 | 0.13234 | 0.033641 | 0.00024452 | 0.00015627 | 0.19807 | 0.19807 | 0.19807 | 0.99309 | -0.13203 | 0.9951 | -0.093586 | 54.4136
10 | 0.02825 | 0.0070885 | -0.028237 | -0.0070805 | 1.2925e-05 | 8.021e-06 | 0.042247 | 0.042247 | 0.042247 | 0.9951 | -0.093586 | 0.9946 | -0.10319 | 11.6063
11 | -0.16059 | -0.04073 | 0.16071 | 0.040803 | 0.0001151 | 7.3387e-05 | 0.24031 | 0.24031 | 0.24031 | 0.9951 | -0.093586 | 0.99588 | -0.07869 | 33.0099
12 | 0.028237 | 0.0070805 | -0.028228 | -0.0070746 | 9.4596e-06 | 5.8708e-06 | 0.042247 | 0.042247 | 0.042247 | 0.9946 | -0.10319 | 0.99424 | -0.11022 | 11.6064
13 | -0.18133 | -0.045972 | 0.18136 | 0.04599 | 2.7516e-05 | 1.7403e-05 | 0.27113 | 0.27113 | 0.27113 | 0.99588 | -0.07869 | 0.99604 | -0.075533 | 18.6215
14 | 0.058871 | 0.014799 | -0.058775 | -0.014738 | 9.5994e-05 | 6.1029e-05 | 0.089149 | 0.089149 | 0.089149 | 0.98281 | -0.3308 | 0.98106 | -0.36501 | 24.4915
15 | 0.084049 | 0.021091 | -0.084035 | -0.021082 | 1.3145e-05 | 8.3849e-06 | 0.12689 | 0.12689 | 0.12689 | 0.98568 | -0.27549 | 0.98551 | -0.27877 | 34.8605
16 | -0.084049 | -0.021091 | 0.08411 | 0.02113 | 6.1613e-05 | 3.9302e-05 | 0.12689 | 0.12689 | 0.12689 | 0.98568 | -0.27549 | 0.98647 | -0.26013 | 34.8605
17 | 0.055478 | 0.013925 | -0.055448 | -0.013906 | 3.0512e-05 | 1.938e-05 | 0.083774 | 0.083774 | 0.083774 | 0.98551 | -0.27877 | 0.98492 | -0.29031 | 23.0148
18 | -0.096081 | -0.02413 | 0.096139 | 0.024167 | 5.7853e-05 | 3.6932e-05 | 0.14495 | 0.14495 | 0.14495 | 0.98647 | -0.26013 | 0.98712 | -0.24752 | 39.8213
19 | -0.065811 | -0.016512 | 0.065905 | 0.016572 | 9.3807e-05 | 5.9697e-05 | 0.098177 | 0.098177 | 0.098177 | 0.99752 | -0.047566 | 0.99908 | -0.017717 | 26.9717
20 | -0.14698 | -0.03721 | 0.14705 | 0.037255 | 7.1957e-05 | 4.5234e-05 | 0.22032 | 0.22032 | 0.22032 | 0.99325 | -0.12894 | 0.99378 | -0.11874 | 15.132
21 | 0.14698 | 0.03721 | -0.1468 | -0.037096 | 0.00017805 | 0.00011344 | 0.22032 | 0.22032 | 0.22032 | 0.99325 | -0.12894 | 0.99194 | -0.1542 | 30.2641
22 | -0.14705 | -0.037255 | 0.14721 | 0.037358 | 0.00016345 | 0.00010275 | 0.22032 | 0.22032 | 0.22032 | 0.99378 | -0.11874 | 0.99499 | -0.095632 | 15.132
23 | 0.1468 | 0.037096 | -0.14648 | -0.03689 | 0.00032287 | 0.00020573 | 0.22032 | 0.22032 | 0.22032 | 0.99194 | -0.1542 | 0.98956 | -0.20019 | 30.2641
24 | 0.13299 | 0.03351 | -0.13287 | -0.033432 | 0.00012205 | 7.801e-05 | 0.20004 | 0.20004 | 0.20004 | 0.98956 | -0.20019 | 0.98857 | -0.21939 | 54.9558
25 | -0.15622 | -0.039615 | 0.15626 | 0.03964 | 3.9014e-05 | 2.4574e-05 | 0.23379 | 0.23379 | 0.23379 | 0.99499 | -0.095632 | 0.99526 | -0.090438 | 16.0571
26 | 0.04915 | 0.012325 | -0.049131 | -0.012313 | 1.9157e-05 | 1.2144e-05 | 0.07455 | 0.07455 | 0.07455 | 0.98106 | -0.36501 | 0.98065 | -0.3732 | 20.4807
27 | -0.20177 | -0.051104 | 0.20181 | 0.051133 | 4.5748e-05 | 2.8999e-05 | 0.30161 | 0.30161 | 0.30161 | 0.99604 | -0.075533 | 0.99629 | -0.070813 | 20.7153
28 | -0.024082 | -0.0060355 | 0.024087 | 0.0060388 | 5.4806e-06 | 3.3674e-06 | 0.036411 | 0.036411 | 0.036411 | 0.98417 | -0.305 | 0.98441 | -0.30022 | 10.0029
29 | -0.035238 | -0.0088336 | 0.035246 | 0.0088384 | 7.656e-06 | 4.8084e-06 | 0.053266 | 0.053266 | 0.053266 | 0.98441 | -0.30022 | 0.98465 | -0.29566 | 14.6336
30 | 0.047096 | 0.011813 | -0.047084 | -0.011805 | 1.2013e-05 | 7.6078e-06 | 0.071156 | 0.071156 | 0.071156 | 0.98492 | -0.29031 | 0.98465 | -0.29566 | 19.5483
31 | -0.1079 | -0.027114 | 0.10796 | 0.027152 | 6.0049e-05 | 3.8354e-05 | 0.16267 | 0.16267 | 0.16267 | 0.98712 | -0.24752 | 0.98772 | -0.23587 | 44.6898
32 | -0.076926 | -0.019334 | 0.076952 | 0.01935 | 2.6121e-05 | 1.6648e-05 | 0.11459 | 0.11459 | 0.11459 | 0.99908 | -0.017717 | 0.99945 | -0.010607 | 31.4812
33 | 0.12014 | 0.030243 | -0.12005 | -0.030183 | 9.4523e-05 | 6.0396e-05 | 0.18089 | 0.18089 | 0.18089 | 0.98857 | -0.21939 | 0.98772 | -0.23587 | 49.6944
34 | -0.16305 | -0.041342 | 0.16309 | 0.041368 | 4.1006e-05 | 2.5862e-05 | 0.24395 | 0.24395 | 0.24395 | 0.99526 | -0.090438 | 0.99554 | -0.085208 | 16.7547
35 | -0.089965 | -0.022612 | 0.090011 | 0.022641 | 4.5586e-05 | 2.9086e-05 | 0.13397 | 0.13397 | 0.13397 | 0.99945 | -0.010607 | 1 | 0 | 36.8039
36 | -0.17297 | -0.043844 | 0.17302 | 0.043873 | 4.6241e-05 | 2.9211e-05 | 0.25871 | 0.25871 | 0.25871 | 0.99554 | -0.085208 | 0.99583 | -0.079646 | 17.7687
37 | -0.42651 | -0.10814 | 0.42689 | 0.10838 | 0.0003748 | 0.00023936 | 0.63681 | 0.63681 | 0.63681 | 0.99732 | -0.051121 | 0.99828 | -0.032856 | 43.7368
38 | 0.41027 | 0.10407 | -0.40996 | -0.10387 | 0.0003116 | 0.00019896 | 0.61257 | 0.61257 | 0.61257 | 0.99732 | -0.051121 | 0.99649 | -0.06693 | 42.0718
39 | -0.4648 | -0.11788 | 0.46511 | 0.11808 | 0.00030841 | 0.00019702 | 0.69332 | 0.69332 | 0.69332 | 0.99828 | -0.032856 | 0.999 | -0.019064 | 47.6184
40 | 0.20894 | 0.052935 | -0.2089 | -0.05291 | 3.8972e-05 | 2.472e-05 | 0.31221 | 0.31221 | 0.31221 | 0.99649 | -0.06693 | 0.99629 | -0.070813 | 21.4427
41 | 0.20101 | 0.050933 | -0.20099 | -0.050921 | 1.9114e-05 | 1.2115e-05 | 0.30036 | 0.30036 | 0.30036 | 0.99649 | -0.06693 | 0.99639 | -0.068909 | 20.6291
42 | -0.49673 | -0.126 | 0.49718 | 0.12629 | 0.0004558 | 0.00029124 | 0.74041 | 0.74041 | 0.74041 | 0.999 | -0.019064 | 1 | 0 | 50.8525
43 | 0.19127 | 0.048483 | -0.19121 | -0.048451 | 5.0274e-05 | 3.1833e-05 | 0.28583 | 0.28583 | 0.28583 | 0.99639 | -0.068909 | 0.9961 | -0.07438 | 19.6313
44 | 0.18191 | 0.04612 | -0.18187 | -0.04609 | 4.6027e-05 | 2.9112e-05 | 0.27193 | 0.27193 | 0.27193 | 0.9961 | -0.07438 | 0.99583 | -0.079646 | 18.6768

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60887 | 0.15395

## res_load
| p_mw | q_mvar
0 | 0.027172 | 0.0068101
1 | 0.042778 | 0.010721
2 | 0.028088 | 0.0070396
3 | 0.017102 | 0.0042862
4 | 0.0087057 | 0.0021819
5 | 0.020625 | 0.005169
6 | 0.028228 | 0.0070746
7 | 0.028557 | 0.0071571
8 | 0.011971 | 0.0030003
9 | 0.014279 | 0.0035787
10 | 0.013489 | 0.0033806
11 | 0.0090072 | 0.0022574
12 | 0.0096256 | 0.0024124
13 | 0.020407 | 0.0051144
14 | 0.024082 | 0.0060355
15 | 0.011151 | 0.0027947
16 | 0.008352 | 0.0020932
17 | 0.011756 | 0.0029463
18 | 0.011021 | 0.0027621
19 | 0.012723 | 0.0031888
20 | 0.006794 | 0.0017027
21 | 0.049131 | 0.012313
22 | 0.013013 | 0.0032614
23 | 0.011838 | 0.0029668
24 | 0.012092 | 0.0030305
25 | 0.009877 | 0.0024754
26 | 0.016248 | 0.0040721
27 | 0.037915 | 0.0095025
28 | 0.031614 | 0.0079231
29 | 0.0070917 | 0.0017773
30 | 0.0097284 | 0.0024382
31 | 0.020023 | 0.0050183
32 | 0.009303 | 0.0023315
33 | 0.0088489 | 0.0022177

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1