## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-2_0_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1632-2_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1632-2_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1632-2_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1632-2_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1632-2_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1632-2_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1632-2_0_2_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1632-2_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1632-2_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1632-2_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1632-2_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1632-2_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1632-2_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1632-2_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1632-2_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_MV_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-2_0_2_load_0 | 0 | 0.0015916 | 0.00039889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-2_0_2_load_9 | 4 | 0.00047384 | 0.00011876 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-2_0_2_load_12 | 7 | 0.00055155 | 0.00013823 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-2_0_2_load_14 | 9 | 0.0012198 | 0.00030572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-2_0_2_load_13 | 10 | 0.0010282 | 0.0002577 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-2_0_2_load_21 | 11 | 0.00060914 | 0.00015267 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-2_0_2_load_10 | 13 | 0.002861 | 0.00071704 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-2_0_2_load_15 | 14 | 0.002607 | 0.00065339 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-2_0_2_load_11 | 15 | 0.00065949 | 0.00016528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-2_0_2_load_16 | 17 | 0.0012925 | 0.00032394 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-2_0_2_load_20 | 18 | 0.0010597 | 0.0002656 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-2_0_2_load_18 | 19 | 0.00090152 | 0.00022594 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-2_0_2_line_0 |  | 0 | 1 | 0.095875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-2_0_2_line_1 |  | 0 | 2 | 0.018687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-2_0_2_line_2 |  | 1 | 3 | 0.46215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-2_0_2_line_3 |  | 2 | 4 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-2_0_2_line_4 |  | 2 | 5 | 0.22946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-2_0_2_line_5 |  | 3 | 6 | 0.36159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-2_0_2_line_6 |  | 3 | 7 | 0.096571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-2_0_2_line_7 |  | 5 | 11 | 0.050804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-2_0_2_line_8 |  | 5 | 12 | 0.28502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-2_0_2_line_9 |  | 6 | 14 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-2_0_2_line_10 |  | 7 | 15 | 0.054677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-2_0_2_line_11 |  | 8 | 9 | 0.75211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-2_0_2_line_12 |  | 8 | 10 | 0.053394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-2_0_2_line_13 |  | 9 | 16 | 1.1846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-2_0_2_line_14 |  | 10 | 15 | 0.046779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-2_0_2_line_15 |  | 12 | 13 | 0.01471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-2_0_2_line_16 |  | 14 | 17 | 0.0027564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-2_0_2_line_17 |  | 16 | 18 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-2_0_2_line_18 |  | 16 | 19 | 1.1959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-2_0_2_trafo_11 | 0.63 MVA 20/0.4 kV | 20 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108
0 | 2719996.0746 | 1210406.9892 | 2720009.3126 | 1210423.5012 | 2720011.7788 | 1210432.4131 | 2720012.7364 | 1210470.9503 | 2720007.1902 | 1210477.9552 | 2719996.3515 | 1210484.6422 | 2719993.8813 | 1210489.2691
1 | 2719992.2189 | 1210507.5319 | 2719991.7602 | 1210500.106 | 2719992.3224 | 1210492.1891 | 2719993.8813 | 1210489.2691
2 | 2720056.7396 | 1210075.604 | 2720053.3764 | 1210080.2732 | 2720051.267 | 1210082.3323 | 2720047.1049 | 1210084.7615 | 2720042.4353 | 1210086.3465 | 2720033.2036 | 1210087.9509 | 2720023.729 | 1210088.0271 | 2720015.9187 | 1210088.1367 | 2720009.5948 | 1210088.432 | 2720001.3218 | 1210090.0001 | 2719977.1834 | 1210096.0192 | 2719967.2253 | 1210097.8315 | 2719957.891 | 1210098.1107 | 2719947.2243 | 1210106.4247 | 2719936.9 | 1210120.3944 | 2719933.0912 | 1210132.1044 | 2719929.5986 | 1210148.5022 | 2719928.3329 | 1210166.0677 | 2719911.8369 | 1210225.7034 | 2719904.7615 | 1210258.0856 | 2719903.4456 | 1210277.774 | 2719906.4342 | 1210296.6372 | 2719912.0318 | 1210312.406 | 2719920.0724 | 1210323.1312 | 2719929.4816 | 1210331.9603 | 2719952.6646 | 1210345.0362 | 2719964.839 | 1210353.2094 | 2719972.7234 | 1210366.7781 | 2719996.0746 | 1210406.9892
3 | 2720013.302 | 1210508.5679 | 2720002.4612 | 1210510.0732 | 2719996.7603 | 1210509.6582 | 2719992.2189 | 1210507.5319
4 | 2719880.032 | 1210676.5376 | 2719886.9328 | 1210665.29 | 2719903.6947 | 1210647.1798 | 2719916.9271 | 1210637.494 | 2719933.9863 | 1210628.0409 | 2719957.6007 | 1210617.352 | 2719972.537 | 1210611.7815 | 2719980.9765 | 1210604.9238 | 2719989.3941 | 1210593.8736 | 2719983.5805 | 1210582.0589 | 2719982.779 | 1210571.268 | 2719986.0143 | 1210552.5411 | 2719992.6436 | 1210532.1368 | 2719992.6309 | 1210516.9028 | 2719992.2189 | 1210507.5319
5 | 2720056.7396 | 1210075.604 | 2720214.9581 | 1210099.5632 | 2720232.2924 | 1210103.3375 | 2720251.1456 | 1210109.8335 | 2720253.7796 | 1210100.991 | 2720207.6312 | 1209972.3641 | 2720206.3663 | 1209964.2102 | 2720207.891 | 1209954.5781
6 | 2720056.7396 | 1210075.604 | 2720041.9696 | 1210072.4712 | 2720030.0481 | 1210070.5966 | 2720015.5115 | 1210068.7028 | 2720006.0324 | 1210066.7328 | 2719997.8449 | 1210064.0551 | 2719989.3216 | 1210060.303 | 2719980.4992 | 1210055.5443 | 2719972.0125 | 1210050.3475 | 2719966.1207 | 1210046.2766
7 | 2719831.2653 | 1210673.1109 | 2719859.3867 | 1210680.9817 | 2719871.7869 | 1210680.9197 | 2719880.032 | 1210676.5376
8 | 2719679.6132 | 1210491.6524 | 2719685.0678 | 1210497.5218 | 2719690.8816 | 1210501.408 | 2719701.3723 | 1210502.5638 | 2719725.7481 | 1210511.126 | 2719730.4439 | 1210520.7052 | 2719740.4126 | 1210532.3363 | 2719749.3393 | 1210540.5772 | 2719757.1065 | 1210549.0172 | 2719759.1509 | 1210549.4252 | 2719777.2679 | 1210560.3527 | 2719792.8583 | 1210569.5171 | 2719804.6232 | 1210578.7603 | 2719820.8094 | 1210594.5861 | 2719834.2608 | 1210601.2391 | 2719844.6479 | 1210610.9439 | 2719850.4505 | 1210625.2046 | 2719858.7487 | 1210636.7133 | 2719862.6875 | 1210649.9024 | 2719867.4872 | 1210656.5705 | 2719870.3084 | 1210663.3323 | 2719871.7277 | 1210668.7426 | 2719880.032 | 1210676.5376
9 | 2720207.891 | 1209954.5781 | 2720190.5151 | 1209951.3368 | 2720185.7922 | 1209953.8226
10 | 2719925.5378 | 1210009.7313 | 2719931.4605 | 1210015.4949 | 2719955.6425 | 1210038.3093 | 2719963.824 | 1210044.6897 | 2719966.1207 | 1210046.2766
11 | 2719844.3377 | 1209954.2761 | 2719840.1253 | 1209947.8644 | 2719836.1357 | 1209939.0666 | 2719831.2307 | 1209916.0396 | 2719824.746 | 1209873.633 | 2719816.2398 | 1209855.771 | 2719810.722 | 1209846.2086 | 2719795.16 | 1209822.2892 | 2719788.7136 | 1209812.7749 | 2719779.6133 | 1209807.8218 | 2719760.8868 | 1209801.7636 | 2719722.1977 | 1209791.3683 | 2719696.6201 | 1209783.06 | 2719685.113 | 1209779.0707 | 2719669.3264 | 1209768.5795 | 2719652.1724 | 1209761.8193 | 2719639.8802 | 1209760.1938 | 2719613.5217 | 1209749.4907 | 2719586.4198 | 1209729.9773 | 2719569.7936 | 1209720.0144 | 2719548.0071 | 1209710.315 | 2719530.5386 | 1209705.5726 | 2719510.685 | 1209705.2636 | 2719500.6956 | 1209703.6846 | 2719481.9626 | 1209697.5382 | 2719456.2214 | 1209692.8082 | 2719449.1841 | 1209690.7435 | 2719441.079 | 1209691.126 | 2719433.8483 | 1209689.6024 | 2719427.9883 | 1209683.803 | 2719418.6615 | 1209676.4664 | 2719397.1882 | 1209669.7094 | 2719385.5917 | 1209661.0486 | 2719377.9767 | 1209650.9998 | 2719394.391 | 1209653.3411 | 2719401.4086 | 1209651.8359 | 2719410.399 | 1209648.2576 | 2719417.3018 | 1209647.9288 | 2719431.6796 | 1209650.9744 | 2719445.828 | 1209651.8027 | 2719464.4849 | 1209652.2654 | 2719494.5798 | 1209655.2591 | 2719509.1713 | 1209656.7413 | 2719522.6185 | 1209661.1543
12 | 2719844.3377 | 1209954.2761 | 2719850.0951 | 1209955.6928 | 2719858.7013 | 1209958.3566 | 2719868.1523 | 1209962.1159 | 2719877.7058 | 1209966.8225 | 2719884.3924 | 1209971.1823 | 2719892.0131 | 1209977.1066
13 | 2719504.9254 | 1209269.1541 | 2719506.9382 | 1209277.6118 | 2719510.7518 | 1209283.4815 | 2719513.7657 | 1209287.1335 | 2719514.8755 | 1209290.9475 | 2719518.371 | 1209295.2318 | 2719519.8007 | 1209300.153 | 2719525.672 | 1209309.1996 | 2719527.5819 | 1209314.4418 | 2719530.9158 | 1209319.2011 | 2719539.1659 | 1209326.027 | 2719542.2017 | 1209332.3815 | 2719545.1178 | 1209334.0856 | 2719547.2846 | 1209339.4108 | 2719560.5733 | 1209351.2971 | 2719553.1888 | 1209351.3603 | 2719556.9132 | 1209355.6047 | 2719570.7978 | 1209362.7994 | 2719584.5488 | 1209371.7261 | 2719601.0299 | 1209379.8736 | 2719618.3272 | 1209393.9531 | 2719630.4235 | 1209394.0068 | 2719639.5 | 1209403.2179 | 2719641.0699 | 1209409.8655 | 2719645.652 | 1209416.0731 | 2719657.5429 | 1209426.7418 | 2719672.215 | 1209434.0859 | 2719681.2524 | 1209436.1465 | 2719694.6148 | 1209436.7594 | 2719699.4662 | 1209440.9154 | 2719714.4621 | 1209448.7888 | 2719728.589 | 1209454.8768 | 2719739.0629 | 1209464.1606 | 2719748.5589 | 1209467.6093 | 2719756.692 | 1209470.0188 | 2719772.8413 | 1209478.0044 | 2719785.6364 | 1209484.8998 | 2719795.441 | 1209491.5349 | 2719802.3144 | 1209494.9533 | 2719810.9391 | 1209494.8374 | 2719813.8838 | 1209492.8395 | 2719817.4247 | 1209489.1745 | 2719823.6003 | 1209489.0984 | 2719833.1833 | 1209493.5164 | 2719858.3897 | 1209498.7822 | 2719872.821 | 1209499.1723 | 2719891.1811 | 1209504.5897 | 2719896.9541 | 1209506.3848 | 2719907.0809 | 1209510.9806 | 2719919.3011 | 1209514.6957 | 2719932.7105 | 1209523.1715 | 2719926.9621 | 1209529.2272 | 2719923.8023 | 1209530.1978 | 2719911.7986 | 1209535.0046 | 2719930.5645 | 1209536.494 | 2719935.9273 | 1209540.1601 | 2719945.5011 | 1209552.206 | 2719911.3473 | 1209555.1774 | 2719932.0709 | 1209568.9598 | 2719927.6864 | 1209572.6078 | 2719917.7782 | 1209575.6776 | 2719903.7993 | 1209576.2416 | 2719888.7397 | 1209570.0455 | 2719881.1657 | 1209568.9591 | 2719872.7463 | 1209567.9448 | 2719865.764 | 1209570.3286 | 2719853.0023 | 1209575.3983 | 2719821.9899 | 1209579.8344 | 2719812.5628 | 1209581.2906 | 2719795.7659 | 1209579.4409 | 2719789.1456 | 1209579.7082 | 2719780.1537 | 1209581.8293 | 2719771.9527 | 1209581.2976 | 2719756.0727 | 1209577.3315 | 2719746.5463 | 1209576.5397 | 2719739.6736 | 1209578.3921 | 2719734.1133 | 1209580.7712 | 2719733.3243 | 1209584.4693 | 2719729.883 | 1209586.5907 | 2719737.8159 | 1209592.1429 | 2719726.1744 | 1209598.2361 | 2719727.7652 | 1209601.9375 | 2719732.7912 | 1209607.2312 | 2719735.7043 | 1209611.7264 | 2719730.4117 | 1209615.1672 | 2719725.9143 | 1209616.4891 | 2719727.502 | 1209620.7241 | 2719731.2045 | 1209626.803 | 2719734.6445 | 1209631.5645 | 2719728.8234 | 1209636.3291 | 2719717.709 | 1209640.0311 | 2719723.002 | 1209647.176 | 2719722.2105 | 1209650.6182 | 2719704.7019 | 1209656.2045 | 2719656.8686 | 1209663.4395 | 2719648.079 | 1209666.4766 | 2719637.0802 | 1209668.591 | 2719630.9358 | 1209669.0126 | 2719625.855 | 1209667.9655 | 2719620.5648 | 1209669.0158 | 2719614.8503 | 1209669.2348 | 2719605.9573 | 1209667.9556 | 2719600.0351 | 1209667.5365 | 2719595.3791 | 1209668.8109 | 2719584.7936 | 1209669.6549 | 2719578.4463 | 1209670.7174 | 2719570.1902 | 1209670.285 | 2719532.8444 | 1209664.5102 | 2719522.6185 | 1209661.1543
14 | 2719925.5378 | 1210009.7313 | 2719892.0131 | 1209977.1066 | 2719892.0131 | 1209977.1066
15 | 2719679.6132 | 1210491.6524 | 2719677.2627 | 1210483.0098 | 2719673.5801 | 1210478.589
16 | 2720183.3531 | 1209955.1064 | 2720185.7922 | 1209953.8226
17 | 2719504.9254 | 1209269.1541 | 2719499.9508 | 1209258.6132 | 2719499.2077 | 1209254.3433
18 | 2719504.9254 | 1209269.1541 | 2719519.2334 | 1209268.896 | 2719533.4039 | 1209275.4959 | 2719538.011 | 1209287.297 | 2719548.8701 | 1209289.5273 | 2719566.8404 | 1209313.2941 | 2719575.9346 | 1209319.7367 | 2719587.0223 | 1209320.8041 | 2719597.5591 | 1209328.1097 | 2719635.2762 | 1209337.8396 | 2719686.183 | 1209340.1288 | 2719732.4693 | 1209352.133 | 2719759.3294 | 1209361.0342 | 2719807.4262 | 1209366.1702 | 2719839.277 | 1209366.61 | 2719852.1251 | 1209363.31 | 2719856.0322 | 1209353.5367 | 2719858.342 | 1209345.2991 | 2719872.0189 | 1209339.3582 | 2719879.0776 | 1209325.623 | 2719889.5052 | 1209312.2447 | 2719912.2513 | 1209304.5292 | 2719932.6532 | 1209307.5081 | 2719944.3221 | 1209287.9946 | 2719957.5309 | 1209280.3877 | 2719976.5458 | 1209280.1254 | 2720003.5147 | 1209271.9059 | 2720030.4316 | 1209252.2991 | 2720048.597 | 1209222.4754 | 2720059.2186 | 1209214.9723 | 2720072.0832 | 1209199.5529 | 2720104.6553 | 1209186.1204 | 2720116.1184 | 1209168.9382 | 2720125.1571 | 1209164.906 | 2720131.4279 | 1209157.4822 | 2720143.4512 | 1209150.9972 | 2720172.9778 | 1209124.1937 | 2720176.6006 | 1209117.9953 | 2720196.9233 | 1209109.8429 | 2720205.5337 | 1209112.7296 | 2720215.0473 | 1209121.7392 | 2720230.0097 | 1209118.8384 | 2720234.474 | 1209113.1463 | 2720241.0815 | 1209112.7902 | 2720255.3178 | 1209102.158 | 2720269.4179 | 1209097.1495 | 2720273.0886 | 1209091.597 | 2720289.9069 | 1209084.5307 | 2720320.1282 | 1209084.0284 | 2720340.2575 | 1209076.4286 | 2720345.8979 | 1209076.5202 | 2720349.9848 | 1209073.7116 | 2720359.1518 | 1209075.3977 | 2720370.6279 | 1209072.6827 | 2720378.659 | 1209074.1347 | 2720388.8313 | 1209072.7277 | 2720393.2417 | 1209070.0924 | 2720401.7884 | 1209070.1093 | 2720408.998 | 1209063.661 | 2720410.86 | 1209059.1952 | 2720416.7169 | 1209052.7085 | 2720428.6783 | 1209054.5846 | 2720443.5188 | 1209053.5945 | 2720451.5968 | 1209044.4395 | 2720455.6074 | 1209040.1395 | 2720480.1714 | 1209045.6617 | 2720518.9906 | 1209042.2763 | 2720523.9409 | 1209040.7151

## bus_geodata
| x | y | coords
0 | 2719993.8813 | 1210489.2691
1 | 2719996.0746 | 1210406.9892
2 | 2719992.2189 | 1210507.5319
3 | 2720056.7396 | 1210075.604
4 | 2720013.302 | 1210508.5679
5 | 2719880.032 | 1210676.5376
6 | 2720207.891 | 1209954.5781
7 | 2719966.1207 | 1210046.2766
8 | 2719844.3377 | 1209954.2761
9 | 2719522.6185 | 1209661.1543
10 | 2719892.0131 | 1209977.1066
11 | 2719831.2653 | 1210673.1109
12 | 2719679.6132 | 1210491.6524
13 | 2719673.5801 | 1210478.589
14 | 2720185.7922 | 1209953.8226
15 | 2719925.5378 | 1210009.7313
16 | 2719504.9254 | 1209269.1541
17 | 2720183.3531 | 1209955.1064
18 | 2719499.2077 | 1209254.3433
19 | 2720523.9409 | 1209040.7151
20 | 2719925.5378 | 1210009.7313

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99586 | -0.080005 | 0.0015916 | 0.00039889
1 | 0.99635 | -0.070645 | 0 | 0
2 | 0.9958 | -0.081307 | 0 | 0
3 | 0.99867 | -0.025577 | 0 | 0
4 | 0.99579 | -0.081488 | 0.00047384 | 0.00011876
5 | 0.99507 | -0.095376 | 0 | 0
6 | 0.99739 | -0.050294 | 0 | 0
7 | 0.9995 | -0.0095758 | 0.00055155 | 0.00013823
8 | 0.99967 | -0.0065814 | 0 | 0
9 | 0.9975 | -0.049618 | 0.0012198 | 0.00030572
10 | 0.99982 | -0.0035206 | 0.0010282 | 0.0002577
11 | 0.99504 | -0.095922 | 0.00060914 | 0.00015267
12 | 0.99433 | -0.10977 | 0 | 0
13 | 0.99429 | -0.11051 | 0.002861 | 0.00071704
14 | 0.99731 | -0.051867 | 0.002607 | 0.00065339
15 | 1 | 0 | -0.015894 | -0.0035238
16 | 0.9954 | -0.091654 | 0 | 0
17 | 0.99731 | -0.051929 | 0.0012925 | 0.00032394
18 | 0.99538 | -0.091952 | 0.0010597 | 0.0002656
19 | 0.99442 | -0.11106 | 0.00090152 | 0.00022594
20 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0055403 | -0.0013823 | 0.0055427 | 0.0013826 | 2.4624e-06 | 3.279e-07 | 0.008276 | 0.0082756 | 0.008276 | 0.99586 | -0.080005 | 0.99635 | -0.070645 | 2.2736
1 | 0.0039487 | 0.00098338 | -0.0039484 | -0.00098346 | 2.4376e-07 | -8.711e-08 | 0.0058979 | 0.005898 | 0.005898 | 0.99586 | -0.080005 | 0.9958 | -0.081307 | 1.6203
2 | -0.0055427 | -0.0013826 | 0.0055546 | 0.0013842 | 1.1866e-05 | 1.5613e-06 | 0.0082756 | 0.0082735 | 0.0082756 | 0.99635 | -0.070645 | 0.99867 | -0.025577 | 2.2735
3 | 0.00047385 | 0.00011848 | -0.00047384 | -0.00011876 | 4.0633e-09 | -2.7859e-07 | 0.00070797 | 0.00070807 | 0.00070807 | 0.9958 | -0.081307 | 0.99579 | -0.081488 | 0.19452
4 | 0.0034746 | 0.00086499 | -0.0034723 | -0.00086649 | 2.3183e-06 | -1.4993e-06 | 0.00519 | 0.005191 | 0.005191 | 0.9958 | -0.081307 | 0.99507 | -0.095376 | 1.4261
5 | 0.0039045 | 0.00097539 | -0.0038999 | -0.00097718 | 4.5888e-06 | -1.7883e-06 | 0.0058165 | 0.0058182 | 0.0058182 | 0.99867 | -0.025577 | 0.99739 | -0.050294 | 1.5984
6 | -0.009459 | -0.0023595 | 0.0094662 | 0.0023629 | 7.1893e-06 | 3.3365e-06 | 0.01409 | 0.01409 | 0.01409 | 0.99867 | -0.025577 | 0.9995 | -0.0095758 | 3.8709
7 | 0.00060916 | 0.00015202 | -0.00060914 | -0.00015267 | 1.5805e-08 | -6.4982e-07 | 0.0009107 | 0.00091093 | 0.00091093 | 0.99507 | -0.095376 | 0.99504 | -0.095922 | 0.25026
8 | 0.0028631 | 0.00071447 | -0.0028611 | -0.00071692 | 1.9589e-06 | -2.4461e-06 | 0.0042803 | 0.0042816 | 0.0042816 | 0.99507 | -0.095376 | 0.99433 | -0.10977 | 1.1763
9 | 0.0038999 | 0.00097718 | -0.0038996 | -0.00097729 | 2.9213e-07 | -1.1335e-07 | 0.0058182 | 0.0058183 | 0.0058183 | 0.99739 | -0.050294 | 0.99731 | -0.051867 | 1.5984
10 | -0.010018 | -0.0025011 | 0.010022 | 0.0025033 | 4.5585e-06 | 2.2005e-06 | 0.014911 | 0.01491 | 0.014911 | 0.9995 | -0.0095758 | 1 | 0 | 4.0963
11 | 0.0031921 | 0.00076327 | -0.0031857 | -0.00076905 | 6.338e-06 | -5.783e-06 | 0.0047388 | 0.0047421 | 0.0047421 | 0.99967 | -0.0065814 | 0.9975 | -0.049618 | 1.3028
12 | -0.0031921 | -0.00076327 | 0.0031925 | 0.00076285 | 4.4961e-07 | -4.1239e-07 | 0.0047388 | 0.0047385 | 0.0047388 | 0.99967 | -0.0065814 | 0.99982 | -0.0035206 | 1.3019
13 | 0.0019659 | 0.00046333 | -0.0019621 | -0.00047633 | 3.8011e-06 | -1.2999e-05 | 0.0029226 | 0.0029278 | 0.0029278 | 0.9975 | -0.049618 | 0.9954 | -0.091654 | 0.80433
14 | -0.0042207 | -0.0010206 | 0.0042214 | 0.0010204 | 6.8934e-07 | -1.7242e-07 | 0.0062688 | 0.0062686 | 0.0062688 | 0.99982 | -0.0035206 | 1 | 0 | 1.7222
15 | 0.0028611 | 0.00071692 | -0.002861 | -0.00071704 | 1.0113e-07 | -1.2607e-07 | 0.0042816 | 0.0042817 | 0.0042817 | 0.99433 | -0.10977 | 0.99429 | -0.11051 | 1.1763
16 | 0.0012925 | 0.00032391 | -0.0012925 | -0.00032394 | 3.8443e-09 | -3.3507e-08 | 0.0019285 | 0.0019285 | 0.0019285 | 0.99731 | -0.051867 | 0.99731 | -0.051929 | 0.52981
17 | 0.0010598 | 0.0002654 | -0.0010597 | -0.0002656 | 1.5048e-08 | -1.9822e-07 | 0.0015842 | 0.0015842 | 0.0015842 | 0.9954 | -0.091654 | 0.99538 | -0.091952 | 0.43523
18 | 0.00090233 | 0.00021093 | -0.00090152 | -0.00022594 | 8.1286e-07 | -1.501e-05 | 0.0013437 | 0.001349 | 0.001349 | 0.9954 | -0.091654 | 0.99442 | -0.11106 | 0.37061

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.016553 | 0.0036891

## res_load
| p_mw | q_mvar
0 | 0.0015916 | 0.00039889
1 | 0.00047384 | 0.00011876
2 | 0.00055155 | 0.00013823
3 | 0.0012198 | 0.00030572
4 | 0.0010282 | 0.0002577
5 | 0.00060914 | 0.00015267
6 | 0.002861 | 0.00071704
7 | 0.002607 | 0.00065339
8 | 0.00065949 | 0.00016528
9 | 0.0012925 | 0.00032394
10 | 0.0010597 | 0.0002656
11 | 0.00090152 | 0.00022594

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1