## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-42_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-42_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-42_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-42_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-42_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1632-42_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1632-42_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1632-42_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1632-42_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1632-42_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1632-42_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1632-42_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1632-42_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1632-42_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1632-42_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1632-42_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1632-42_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1632-42_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1632-42_0_3_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1632-42_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_1632-42_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1632-42_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1632-42_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1632-42_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1632-42_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1632-42_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1632-42_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1632-42_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1632-42_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1632-42_0_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_1632-42_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1632-42_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1632-42_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_MV_144_0_node_201 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-42_0_3_load_0 | 0 | 0.0094195 | 0.0023608 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-42_0_3_load_1 | 1 | 0.0029429 | 0.00073755 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-42_0_3_load_5 | 4 | 0.010036 | 0.0025152 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-42_0_3_load_13 | 6 | 0.0049529 | 0.0012413 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-42_0_3_load_14 | 10 | 0.0054542 | 0.001367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-42_0_3_load_33 | 11 | 0.0074928 | 0.0018779 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-42_0_3_load_24 | 13 | 0.0025828 | 0.00064732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-42_0_3_load_31 | 14 | 0.0089923 | 0.0022537 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-42_0_3_load_36 | 15 | 0.037476 | 0.0093925 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-42_0_3_load_35 | 16 | 0.0048798 | 0.001223 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-42_0_3_load_25 | 17 | 0.0045662 | 0.0011444 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-42_0_3_load_6 | 18 | 0.0043701 | 0.0010953 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-42_0_3_load_7 | 19 | 0.011032 | 0.0027649 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-42_0_3_load_9 | 20 | 0.011549 | 0.0028946 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-42_0_3_load_22 | 21 | 0.0048801 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-42_0_3_load_10 | 22 | 0.0042777 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-42_0_3_load_19 | 24 | 0.0047467 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-42_0_3_load_18 | 25 | 0.0050521 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-42_0_3_load_29 | 26 | 0.012324 | 0.0030887 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-42_0_3_load_20 | 27 | 0.0046444 | 0.001164 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-42_0_3_load_21 | 28 | 0.0088842 | 0.0022266 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-42_0_3_load_34 | 29 | 0.0068194 | 0.0017091 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-42_0_3_load_32 | 30 | 0.0071251 | 0.0017857 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-42_0_3_load_28 | 31 | 0.0078328 | 0.0019631 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-42_0_3_load_30 | 32 | 0.010943 | 0.0027425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-42_0_3_line_0 |  | 0 | 1 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-42_0_3_line_1 |  | 0 | 2 | 0.0094645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-42_0_3_line_2 |  | 1 | 3 | 0.012793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-42_0_3_line_3 |  | 2 | 4 | 0.012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-42_0_3_line_4 |  | 3 | 5 | 0.002359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-42_0_3_line_5 |  | 3 | 6 | 0.0063846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-42_0_3_line_6 |  | 4 | 11 | 0.010676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-42_0_3_line_7 |  | 5 | 12 | 0.011932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-42_0_3_line_8 |  | 5 | 10 | 0.022701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-42_0_3_line_9 |  | 6 | 13 | 0.00038846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-42_0_3_line_10 |  | 7 | 8 | 0.012201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-42_0_3_line_11 |  | 7 | 9 | 0.084244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-42_0_3_line_12 |  | 7 | 10 | 0.023076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-42_0_3_line_13 |  | 8 | 14 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-42_0_3_line_14 |  | 9 | 15 | 0.026965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-42_0_3_line_15 |  | 9 | 16 | 0.12172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-42_0_3_line_16 |  | 11 | 17 | 0.006602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-42_0_3_line_17 |  | 12 | 24 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-42_0_3_line_18 |  | 13 | 22 | 0.0094308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-42_0_3_line_19 |  | 14 | 26 | 0.0044332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-42_0_3_line_20 |  | 17 | 23 | 0.00815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-42_0_3_line_21 |  | 18 | 19 | 0.019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-42_0_3_line_22 |  | 19 | 20 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-42_0_3_line_23 |  | 20 | 21 | 0.011267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-42_0_3_line_24 |  | 21 | 23 | 0.013435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-42_0_3_line_25 |  | 24 | 25 | 0.010973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-42_0_3_line_26 |  | 25 | 27 | 0.025326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-42_0_3_line_27 |  | 26 | 31 | 0.021432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-42_0_3_line_28 |  | 27 | 28 | 0.0053044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-42_0_3_line_29 |  | 29 | 30 | 0.0001855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-42_0_3_line_30 |  | 30 | 32 | 0.022917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-42_0_3_line_31 |  | 31 | 32 | 0.0051456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-42_0_3_trafo_4 | 0.63 MVA 20/0.4 kV | 33 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2724891.7251 | 1210613.9216 | 2724899.928 | 1210617.0683 | 2724904.3785 | 1210619.4448
1 | 2724882.7214 | 1210611.0145 | 2724890.1161 | 1210613.3044 | 2724891.7251 | 1210613.9216
2 | 2724915.6638 | 1210625.4708 | 2724904.3785 | 1210619.4448
3 | 2724882.7214 | 1210611.0145 | 2724872.9513 | 1210602.8977
4 | 2724914.8269 | 1210627.6772 | 2724915.6638 | 1210625.4708
5 | 2724915.6638 | 1210625.4708 | 2724917.9275 | 1210619.5011
6 | 2724872.9513 | 1210602.8977 | 2724864.7393 | 1210596.0754
7 | 2724914.8269 | 1210627.6772 | 2724925.6366 | 1210632.7964
8 | 2724914.8269 | 1210627.6772 | 2724903.8202 | 1210647.5311
9 | 2724918.0652 | 1210619.1379 | 2724917.9275 | 1210619.5011
10 | 2724887.4587 | 1210662.4978 | 2724878.2141 | 1210670.4883
11 | 2724862.2758 | 1210742.5436 | 2724878.896 | 1210699.6362 | 2724884.0508 | 1210684.0098 | 2724887.4587 | 1210662.4978
12 | 2724887.4587 | 1210662.4978 | 2724899.0013 | 1210656.2235 | 2724903.8202 | 1210647.5311
13 | 2724878.2141 | 1210670.4883 | 2724872.3426 | 1210668.4305 | 2724866.9273 | 1210665.2812
14 | 2724862.2758 | 1210742.5436 | 2724869.8605 | 1210738.2991 | 2724879.5431 | 1210722.8019
15 | 2724862.2758 | 1210742.5436 | 2724932.5187 | 1210841.9497
16 | 2724864.7393 | 1210596.0754 | 2724859.6611 | 1210591.8566
17 | 2724925.6366 | 1210632.7964 | 2724920.0645 | 1210646.2012 | 2724920.4274 | 1210651.0125
18 | 2724918.0652 | 1210619.1379 | 2724921.4091 | 1210610.3198
19 | 2724863.095 | 1210663.0526 | 2724866.9273 | 1210665.2812
20 | 2724853.3922 | 1210586.6486 | 2724859.6611 | 1210591.8566
21 | 2724912.1139 | 1210582.3589 | 2724892.7265 | 1210579.7887 | 2724892.7265 | 1210579.7887
22 | 2724892.7265 | 1210579.7887 | 2724877.7559 | 1210583.2629
23 | 2724866.781 | 1210585.8098 | 2724877.7559 | 1210583.2629
24 | 2724853.3922 | 1210586.6486 | 2724865.522 | 1210586.102 | 2724866.781 | 1210585.8098
25 | 2724924.4395 | 1210661.226 | 2724920.4274 | 1210651.0125
26 | 2724940.877 | 1210678.8357 | 2724928.2582 | 1210670.9474 | 2724924.4395 | 1210661.226
27 | 2724846.1089 | 1210650.3089 | 2724846.6155 | 1210651.0453 | 2724852.8445 | 1210657.0914 | 2724863.095 | 1210663.0526
28 | 2724945.3749 | 1210681.6474 | 2724940.877 | 1210678.8357
29 | 2724821.921 | 1210637.312 | 2724822.0804 | 1210637.4069
30 | 2724822.0804 | 1210637.4069 | 2724827.5834 | 1210640.6835 | 2724843.1922 | 1210646.0699 | 2724843.1922 | 1210646.0699
31 | 2724846.1089 | 1210650.3089 | 2724843.1922 | 1210646.0699

## bus_geodata
| x | y | coords
0 | 2724891.7251 | 1210613.9216
1 | 2724904.3785 | 1210619.4448
2 | 2724882.7214 | 1210611.0145
3 | 2724915.6638 | 1210625.4708
4 | 2724872.9513 | 1210602.8977
5 | 2724914.8269 | 1210627.6773
6 | 2724917.9275 | 1210619.5011
7 | 2724887.4587 | 1210662.4978
8 | 2724878.2141 | 1210670.4883
9 | 2724862.2758 | 1210742.5436
10 | 2724903.8202 | 1210647.5311
11 | 2724864.7393 | 1210596.0754
12 | 2724925.6366 | 1210632.7964
13 | 2724918.0652 | 1210619.1379
14 | 2724866.9273 | 1210665.2812
15 | 2724879.5431 | 1210722.8019
16 | 2724932.5187 | 1210841.9497
17 | 2724859.6611 | 1210591.8566
18 | 2724912.1139 | 1210582.3589
19 | 2724892.7265 | 1210579.7887
20 | 2724877.7559 | 1210583.2629
21 | 2724866.781 | 1210585.8098
22 | 2724921.4091 | 1210610.3198
23 | 2724853.3922 | 1210586.6486
24 | 2724920.4274 | 1210651.0125
25 | 2724924.4395 | 1210661.226
26 | 2724863.095 | 1210663.0526
27 | 2724940.877 | 1210678.8357
28 | 2724945.3749 | 1210681.6474
29 | 2724821.921 | 1210637.312
30 | 2724822.0804 | 1210637.4069
31 | 2724846.1089 | 1210650.3089
32 | 2724843.1922 | 1210646.0699
33 | 2724878.2141 | 1210670.4883

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9939 | -0.11711 | 0.0094195 | 0.0023608
1 | 0.9947 | -0.10166 | 0.0029429 | 0.00073755
2 | 0.99343 | -0.12612 | 0 | 0
3 | 0.99548 | -0.086731 | 0 | 0
4 | 0.99281 | -0.13822 | 0.010036 | 0.0025152
5 | 0.99564 | -0.083491 | 0 | 0
6 | 0.99541 | -0.088058 | 0.0049529 | 0.0012413
7 | 1 | 0 | -0.20583 | -0.05152
8 | 0.9994 | -0.011498 | 0 | 0
9 | 0.99675 | -0.062405 | 0 | 0
10 | 0.99775 | -0.04309 | 0.0054542 | 0.001367
11 | 0.99238 | -0.14651 | 0.0074928 | 0.0018779
12 | 0.99539 | -0.088387 | 0 | 0
13 | 0.99541 | -0.088105 | 0.0025828 | 0.00064732
14 | 0.99879 | -0.02328 | 0.0089923 | 0.0022537
15 | 0.99583 | -0.08015 | 0.037476 | 0.0093925
16 | 0.99621 | -0.072835 | 0.0048798 | 0.001223
17 | 0.99216 | -0.15077 | 0.0045662 | 0.0011444
18 | 0.99096 | -0.17404 | 0.0043701 | 0.0010953
19 | 0.99104 | -0.17252 | 0.011032 | 0.0027649
20 | 0.99125 | -0.16832 | 0.011549 | 0.0028946
21 | 0.99153 | -0.16294 | 0.0048801 | 0.0012231
22 | 0.99537 | -0.088815 | 0.0042777 | 0.0010721
23 | 0.99192 | -0.15536 | 0 | 0
24 | 0.99498 | -0.096328 | 0.0047467 | 0.0011896
25 | 0.99479 | -0.099918 | 0.0050521 | 0.0012662
26 | 0.99861 | -0.02677 | 0.012324 | 0.0030887
27 | 0.99448 | -0.10595 | 0.0046444 | 0.001164
28 | 0.99444 | -0.10679 | 0.0088842 | 0.0022266
29 | 0.99756 | -0.046894 | 0.0068194 | 0.0017091
30 | 0.99756 | -0.046872 | 0.0071251 | 0.0017857
31 | 0.99797 | -0.039035 | 0.0078328 | 0.0019631
32 | 0.99785 | -0.041276 | 0.010943 | 0.0027425
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.063454 | -0.015944 | 0.0635 | 0.015973 | 4.6823e-05 | 2.9787e-05 | 0.095014 | 0.095014 | 0.095014 | 0.9939 | -0.11711 | 0.9947 | -0.10166 | 26.1027
1 | 0.054034 | 0.013583 | -0.054011 | -0.013568 | 2.3235e-05 | 1.4748e-05 | 0.080911 | 0.080911 | 0.080911 | 0.9939 | -0.11711 | 0.99343 | -0.12612 | 22.2284
2 | -0.066443 | -0.016711 | 0.066491 | 0.016741 | 4.7416e-05 | 3.018e-05 | 0.099416 | 0.099416 | 0.099416 | 0.9947 | -0.10166 | 0.99548 | -0.086731 | 27.3121
3 | 0.054011 | 0.013568 | -0.05398 | -0.013548 | 3.1183e-05 | 1.9793e-05 | 0.080911 | 0.080911 | 0.080911 | 0.99343 | -0.12612 | 0.99281 | -0.13822 | 22.2284
4 | -0.078305 | -0.019702 | 0.078317 | 0.01971 | 1.2125e-05 | 7.7295e-06 | 0.11708 | 0.11708 | 0.11708 | 0.99548 | -0.086731 | 0.99564 | -0.083491 | 32.1637
5 | 0.011814 | 0.0029611 | -0.011814 | -0.0029607 | 7.4668e-07 | 3.9488e-07 | 0.01766 | 0.01766 | 0.01766 | 0.99548 | -0.086731 | 0.99541 | -0.088058 | 4.8516
6 | 0.043944 | 0.011033 | -0.043927 | -0.011022 | 1.7371e-05 | 1.0979e-05 | 0.06587 | 0.06587 | 0.06587 | 0.99281 | -0.13822 | 0.99238 | -0.14651 | 18.0962
7 | 0.023349 | 0.0058593 | -0.023344 | -0.005856 | 5.4495e-06 | 3.3325e-06 | 0.034898 | 0.034898 | 0.034898 | 0.99564 | -0.083491 | 0.99539 | -0.088387 | 9.5875
8 | -0.10167 | -0.025569 | 0.10186 | 0.025695 | 0.00019661 | 0.00012554 | 0.15197 | 0.15197 | 0.15197 | 0.99564 | -0.083491 | 0.99775 | -0.04309 | 41.7512
9 | 0.0068607 | 0.0017194 | -0.0068606 | -0.0017194 | 1.5322e-08 | 4.7568e-09 | 0.010256 | 0.010256 | 0.010256 | 0.99541 | -0.088058 | 0.99541 | -0.088105 | 2.8175
10 | 0.054129 | 0.013601 | -0.054099 | -0.013582 | 2.9692e-05 | 1.8843e-05 | 0.080557 | 0.080557 | 0.080557 | 1 | 0 | 0.9994 | -0.011498 | 22.1312
11 | 0.042517 | 0.010715 | -0.04239 | -0.010635 | 0.00012653 | 7.9878e-05 | 0.063287 | 0.063287 | 0.063287 | 1 | 0 | 0.99675 | -0.062405 | 17.3866
12 | 0.10754 | 0.027203 | -0.10732 | -0.027062 | 0.00022183 | 0.00014167 | 0.16011 | 0.16011 | 0.16011 | 1 | 0 | 0.99775 | -0.04309 | 43.9858
13 | 0.054099 | 0.013582 | -0.054069 | -0.013563 | 3.0386e-05 | 1.9283e-05 | 0.080557 | 0.080558 | 0.080558 | 0.9994 | -0.011498 | 0.99879 | -0.02328 | 22.1312
14 | 0.037508 | 0.0094124 | -0.037476 | -0.0093925 | 3.171e-05 | 1.9943e-05 | 0.055999 | 0.055999 | 0.055999 | 0.99675 | -0.062405 | 0.99583 | -0.08015 | 15.3843
15 | 0.0048822 | 0.0012229 | -0.0048798 | -0.001223 | 2.4248e-06 | -3.381e-08 | 0.0072882 | 0.0072888 | 0.0072888 | 0.99675 | -0.062405 | 0.99621 | -0.072835 | 2.0024
16 | 0.036434 | 0.0091443 | -0.036427 | -0.0091397 | 7.3902e-06 | 4.6444e-06 | 0.054635 | 0.054635 | 0.054635 | 0.99238 | -0.14651 | 0.99216 | -0.15077 | 15.0097
17 | 0.023344 | 0.005856 | -0.023335 | -0.0058506 | 8.8337e-06 | 5.4022e-06 | 0.034898 | 0.034899 | 0.034899 | 0.99539 | -0.088387 | 0.99498 | -0.096328 | 9.5875
18 | 0.0042778 | 0.0010721 | -0.0042777 | -0.0010721 | 1.4462e-07 | -3.0028e-08 | 0.0063948 | 0.0063948 | 0.0063948 | 0.99541 | -0.088105 | 0.99537 | -0.088815 | 1.7568
19 | 0.045077 | 0.011309 | -0.045069 | -0.011305 | 7.4986e-06 | 4.7411e-06 | 0.067161 | 0.067161 | 0.067161 | 0.99879 | -0.02328 | 0.99861 | -0.02677 | 18.4507
20 | 0.03186 | 0.0079953 | -0.031853 | -0.0079909 | 6.9792e-06 | 4.3615e-06 | 0.047787 | 0.047787 | 0.047787 | 0.99216 | -0.15077 | 0.99192 | -0.15536 | 13.1283
21 | -0.0043701 | -0.0010953 | 0.0043704 | 0.0010952 | 3.158e-07 | -4.986e-08 | 0.0065621 | 0.006562 | 0.0065621 | 0.99096 | -0.17404 | 0.99104 | -0.17252 | 1.8028
22 | -0.015402 | -0.00386 | 0.015405 | 0.0038618 | 3.0822e-06 | 1.7746e-06 | 0.023126 | 0.023126 | 0.023126 | 0.99104 | -0.17252 | 0.99125 | -0.16832 | 6.3533
23 | -0.026955 | -0.0067564 | 0.026962 | 0.0067607 | 6.9175e-06 | 4.2819e-06 | 0.040464 | 0.040463 | 0.040464 | 0.99125 | -0.16832 | 0.99153 | -0.16294 | 11.1164
24 | -0.031842 | -0.0079837 | 0.031853 | 0.0079909 | 1.1505e-05 | 7.1897e-06 | 0.047787 | 0.047787 | 0.047787 | 0.99153 | -0.16294 | 0.99192 | -0.15536 | 13.1283
25 | 0.018588 | 0.004661 | -0.018585 | -0.0046591 | 3.1802e-06 | 1.8928e-06 | 0.0278 | 0.0278 | 0.0278 | 0.99498 | -0.096328 | 0.99479 | -0.099918 | 7.6373
26 | 0.013533 | 0.0033929 | -0.013529 | -0.0033907 | 3.8918e-06 | 2.162e-06 | 0.020243 | 0.020243 | 0.020243 | 0.99479 | -0.099918 | 0.99448 | -0.10595 | 5.5613
27 | 0.032745 | 0.0082161 | -0.032726 | -0.0082041 | 1.9138e-05 | 1.1968e-05 | 0.048797 | 0.048797 | 0.048797 | 0.99861 | -0.02677 | 0.99797 | -0.039035 | 13.4058
28 | 0.0088846 | 0.0022267 | -0.0088842 | -0.0022266 | 3.5153e-07 | 1.5616e-07 | 0.013294 | 0.013294 | 0.013294 | 0.99448 | -0.10595 | 0.99444 | -0.10679 | 3.6521
29 | -0.0068194 | -0.0017091 | 0.0068194 | 0.0017091 | 7.1988e-09 | 2.1852e-09 | 0.010172 | 0.010172 | 0.010172 | 0.99756 | -0.046894 | 0.99756 | -0.046872 | 2.7946
30 | -0.013945 | -0.0034948 | 0.013948 | 0.0034969 | 3.7181e-06 | 2.0803e-06 | 0.0208 | 0.0208 | 0.0208 | 0.99756 | -0.046872 | 0.99785 | -0.041276 | 5.7144
31 | 0.024893 | 0.006241 | -0.024891 | -0.0062394 | 2.6585e-06 | 1.6342e-06 | 0.037118 | 0.037118 | 0.037118 | 0.99797 | -0.039035 | 0.99785 | -0.041276 | 10.1972

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20583 | 0.05152

## res_load
| p_mw | q_mvar
0 | 0.0094195 | 0.0023608
1 | 0.0029429 | 0.00073755
2 | 0.010036 | 0.0025152
3 | 0.0049529 | 0.0012413
4 | 0.0054542 | 0.001367
5 | 0.0074928 | 0.0018779
6 | 0.0025828 | 0.00064732
7 | 0.0089923 | 0.0022537
8 | 0.037476 | 0.0093925
9 | 0.0048798 | 0.001223
10 | 0.0045662 | 0.0011444
11 | 0.0043701 | 0.0010953
12 | 0.011032 | 0.0027649
13 | 0.011549 | 0.0028946
14 | 0.0048801 | 0.0012231
15 | 0.0042777 | 0.0010721
16 | 0.0047467 | 0.0011896
17 | 0.0050521 | 0.0012662
18 | 0.012324 | 0.0030887
19 | 0.0046444 | 0.001164
20 | 0.0088842 | 0.0022266
21 | 0.0068194 | 0.0017091
22 | 0.0071251 | 0.0017857
23 | 0.0078328 | 0.0019631
24 | 0.010943 | 0.0027425

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1