## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-44_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-44_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-44_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-44_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-44_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-44_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1632-44_0_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_1632-44_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1632-44_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1632-44_0_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_1632-44_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1632-44_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1632-44_0_4_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_1632-44_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1632-44_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1632-44_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1632-44_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1632-44_0_4_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_1632-44_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_1632-44_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1632-44_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1632-44_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1632-44_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1632-44_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1632-44_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1632-44_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1632-44_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1632-44_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1632-44_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1632-44_0_4_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_1632-44_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1632-44_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1632-44_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1632-44_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1632-44_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1632-44_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1632-44_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1632-44_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1632-44_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1632-44_0_4_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1632-44_0_4_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_1632-44_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_1632-44_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1632-44_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1632-44_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1632-44_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1632-44_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1632-44_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_1632-44_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1632-44_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1632-44_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_1632-44_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1632-44_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1632-44_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1632-44_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_1632-44_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1632-44_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_1632-44_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_MV_226_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-44_0_4_load_0 | 0 | 0.013172 | 0.0033012 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-44_0_4_load_1 | 1 | 0.019286 | 0.0048336 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-44_0_4_load_3 | 3 | 0.011754 | 0.0029459 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-44_0_4_load_5 | 5 | 0.011736 | 0.0029414 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-44_0_4_load_39 | 6 | 0.011893 | 0.0029806 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-44_0_4_load_13 | 7 | 0.015202 | 0.0038101 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-44_0_4_load_40 | 9 | 0.011842 | 0.0029679 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-44_0_4_load_51 | 12 | 0.01583 | 0.0039674 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-44_0_4_load_6 | 13 | 0.017882 | 0.0044817 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-44_0_4_load_7 | 14 | 0.015711 | 0.0039376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-44_0_4_load_9 | 15 | 0.01117 | 0.0027995 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-44_0_4_load_10 | 16 | 0.015686 | 0.0039313 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-44_0_4_load_52 | 17 | 0.011045 | 0.0027681 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-44_0_4_load_36 | 18 | 0.0015743 | 0.00039457 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-44_0_4_load_11 | 19 | 0.0029068 | 0.0007285 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-44_0_4_load_23 | 20 | 0.0036145 | 0.00090588 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-44_0_4_load_34 | 21 | 0.018821 | 0.0047169 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-44_0_4_load_24 | 22 | 0.0054445 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-44_0_4_load_20 | 23 | 0.001698 | 0.00042556 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-44_0_4_load_21 | 24 | 0.0032787 | 0.00082173 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-44_0_4_load_16 | 25 | 0.014417 | 0.0036133 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-44_0_4_load_17 | 26 | 0.011908 | 0.0029844 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-44_0_4_load_55 | 29 | 0.0041772 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-44_0_4_load_25 | 30 | 0.0024831 | 0.00062232 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-44_0_4_load_22 | 31 | 0.011535 | 0.0028909 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-44_0_4_load_44 | 32 | 0.0054792 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-44_0_4_load_26 | 34 | 0.020383 | 0.0051084 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-44_0_4_load_27 | 35 | 0.0053719 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-44_0_4_load_28 | 36 | 0.003508 | 0.00087919 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-44_0_4_load_29 | 37 | 0.080278 | 0.020119 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-44_0_4_load_50 | 40 | 0.0029982 | 0.00075141 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-44_0_4_load_46 | 41 | 0.014739 | 0.0036939 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-44_0_4_load_32 | 42 | 0.0025354 | 0.00063544 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-44_0_4_load_33 | 43 | 0.0019869 | 0.00049796 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-44_0_4_load_56 | 47 | 0.0018005 | 0.00045125 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-44_0_4_load_57 | 48 | 0.0043417 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-44_0_4_load_54 | 49 | 0.0011089 | 0.00027791 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-44_0_4_load_58 | 50 | 0.0025848 | 0.00064781 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-44_0_4_load_41 | 51 | 0.011233 | 0.0028153 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-44_0_4_load_53 | 52 | 0.011746 | 0.0029438 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-44_0_4_load_42 | 53 | 0.0063885 | 0.0016011 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-44_0_4_load_45 | 54 | 0.0046872 | 0.0011747 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-44_0_4_load_47 | 55 | 0.044262 | 0.011093 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-44_0_4_load_49 | 56 | 0.001409 | 0.00035314 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-44_0_4_load_59 | 57 | 0.033482 | 0.0083914 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-44_0_4_line_0 |  | 0 | 1 | 0.0020193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-44_0_4_line_1 |  | 0 | 2 | 0.034965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-44_0_4_line_2 |  | 1 | 3 | 0.026413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-44_0_4_line_3 |  | 2 | 4 | 0.00359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-44_0_4_line_4 |  | 2 | 5 | 0.0084634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-44_0_4_line_5 |  | 3 | 6 | 0.0067132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-44_0_4_line_6 |  | 4 | 7 | 0.037573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-44_0_4_line_7 |  | 5 | 8 | 0.0070734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1632-44_0_4_line_8 |  | 6 | 9 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-44_0_4_line_9 |  | 7 | 10 | 0.0044176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-44_0_4_line_10 |  | 8 | 12 | 0.0097241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1632-44_0_4_line_11 |  | 9 | 51 | 0.0050513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-44_0_4_line_12 |  | 10 | 11 | 0.085339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-44_0_4_line_13 |  | 11 | 23 | 0.018844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-44_0_4_line_14 |  | 12 | 17 | 0.0010117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1632-44_0_4_line_15 |  | 13 | 14 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1632-44_0_4_line_16 |  | 14 | 15 | 0.041717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1632-44_0_4_line_17 |  | 14 | 16 | 0.0091302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1632-44_0_4_line_18 |  | 15 | 17 | 0.023488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1632-44_0_4_line_19 |  | 16 | 18 | 0.0078669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1632-44_0_4_line_20 |  | 18 | 21 | 0.0076822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1632-44_0_4_line_21 |  | 19 | 20 | 0.025712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-44_0_4_line_22 |  | 20 | 22 | 0.006353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-44_0_4_line_23 |  | 21 | 42 | 0.0069267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1632-44_0_4_line_24 |  | 22 | 30 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-44_0_4_line_25 |  | 23 | 24 | 0.021274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-44_0_4_line_26 |  | 24 | 31 | 0.029507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-44_0_4_line_27 |  | 25 | 26 | 0.022893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-44_0_4_line_28 |  | 26 | 27 | 0.0043717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-44_0_4_line_29 |  | 27 | 28 | 0.013072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-44_0_4_line_30 |  | 28 | 29 | 0.0026158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-44_0_4_line_31 |  | 28 | 30 | 0.018598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-44_0_4_line_32 |  | 29 | 38 | 0.017957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-44_0_4_line_33 |  | 31 | 32 | 0.021704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-44_0_4_line_34 |  | 32 | 33 | 0.0062649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-44_0_4_line_35 |  | 33 | 54 | 0.016398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-44_0_4_line_36 |  | 33 | 53 | 0.0046261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-44_0_4_line_37 |  | 34 | 35 | 0.0037574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-44_0_4_line_38 |  | 34 | 36 | 0.021113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-44_0_4_line_39 |  | 35 | 37 | 0.0050687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-44_0_4_line_40 |  | 36 | 38 | 0.014774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-44_0_4_line_41 |  | 38 | 39 | 0.014429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1632-44_0_4_line_42 |  | 39 | 40 | 0.026099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-44_0_4_line_43 |  | 39 | 41 | 0.020771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1632-44_0_4_line_44 |  | 40 | 57 | 0.014124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-44_0_4_line_45 |  | 41 | 55 | 0.018526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1632-44_0_4_line_46 |  | 42 | 43 | 0.0062773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1632-44_0_4_line_47 |  | 43 | 44 | 0.0036123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1632-44_0_4_line_48 |  | 44 | 45 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1632-44_0_4_line_49 |  | 45 | 46 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-44_0_4_line_50 |  | 45 | 47 | 0.0097067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1632-44_0_4_line_51 |  | 46 | 48 | 0.0065278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-44_0_4_line_52 |  | 47 | 49 | 0.0081321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1632-44_0_4_line_53 |  | 48 | 50 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-44_0_4_line_54 |  | 49 | 56 | 0.017401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1632-44_0_4_line_55 |  | 51 | 52 | 0.00085007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-44_0_4_line_56 |  | 55 | 56 | 0.023736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-44_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 58 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2724256.6028 | 1211462.4659 | 2724257.5172 | 1211460.6655
1 | 2724234.6158 | 1211489.1269 | 2724251.4233 | 1211472.6643 | 2724256.6028 | 1211462.4659
2 | 2724257.5172 | 1211460.6655 | 2724258.1292 | 1211459.4604 | 2724274.8298 | 1211440.7751
3 | 2724234.6158 | 1211489.1269 | 2724237.3492 | 1211491.4634
4 | 2724234.6158 | 1211489.1269 | 2724228.5698 | 1211484.5308 | 2724227.7882 | 1211484.1515
5 | 2724278.6179 | 1211435.2474 | 2724275.6328 | 1211439.8766 | 2724274.8298 | 1211440.7751
6 | 2724237.3492 | 1211491.4634 | 2724261.8754 | 1211507.2865 | 2724268.3151 | 1211512.6571
7 | 2724221.2444 | 1211481.5093 | 2724224.6191 | 1211482.6137 | 2724227.7882 | 1211484.1515
8 | 2724278.6179 | 1211435.2474 | 2724283.6845 | 1211427.3903 | 2724289.7791 | 1211427.3648
9 | 2724271.7077 | 1211515.4865 | 2724268.3151 | 1211512.6571
10 | 2724221.2444 | 1211481.5093 | 2724219.9305 | 1211471.8743
11 | 2724289.7791 | 1211427.3648 | 2724294.8303 | 1211427.3437
12 | 2724271.7077 | 1211515.4865 | 2724288.2669 | 1211528.0634 | 2724295.7931 | 1211530.5666 | 2724301.9495 | 1211532.0516 | 2724316.5802 | 1211533.224 | 2724325.87 | 1211534.2629 | 2724338.7365 | 1211534.0086 | 2724344.5062 | 1211532.8947 | 2724351.4741 | 1211530.0933
13 | 2724351.4741 | 1211530.0933 | 2724355.8464 | 1211525.6477 | 2724359.126 | 1211520.0117 | 2724361.5856 | 1211514.4424
14 | 2724219.9305 | 1211471.8743 | 2724219.7938 | 1211470.8719
15 | 2724243.5108 | 1211413.565 | 2724236.649 | 1211420.7499 | 2724236.4825 | 1211420.9758
16 | 2724243.5108 | 1211413.565 | 2724245.1506 | 1211415.1226 | 2724240.3315 | 1211421.3159 | 2724234.1732 | 1211428.3041 | 2724228.235 | 1211437.4987 | 2724225.054 | 1211444.2376 | 2724223.9285 | 1211447.9676
17 | 2724243.5108 | 1211413.565 | 2724250.0198 | 1211407.1624
18 | 2724219.7938 | 1211470.8719 | 2724219.6157 | 1211469.5661 | 2724220.1197 | 1211460.7031 | 2724222.2697 | 1211453.4645 | 2724223.9285 | 1211447.9676
19 | 2724255.6281 | 1211401.6457 | 2724250.0198 | 1211407.1624
20 | 2724260.5369 | 1211395.7647 | 2724257.6581 | 1211399.649 | 2724255.6281 | 1211401.6457
21 | 2724194.4716 | 1211466.5578 | 2724195.6019 | 1211462.3383 | 2724200.9605 | 1211453.5987 | 2724200.8473 | 1211451.0055 | 2724193.9408 | 1211451.9513 | 2724192.4193 | 1211451.8361
22 | 2724186.0844 | 1211451.3564 | 2724192.4193 | 1211451.8361
23 | 2724264.3533 | 1211389.9881 | 2724261.5375 | 1211394.4146 | 2724260.5369 | 1211395.7647
24 | 2724186.0844 | 1211451.3564 | 2724183.4068 | 1211451.1536 | 2724171.7068 | 1211451.1876
25 | 2724369.0246 | 1211494.548 | 2724365.8117 | 1211504.8727 | 2724361.5856 | 1211514.4424
26 | 2724386.0499 | 1211471.2032 | 2724381.7314 | 1211474.8704 | 2724375.5911 | 1211480.9915 | 2724370.7899 | 1211488.8753 | 2724369.0246 | 1211494.548
27 | 2724114.1756 | 1211445.4947 | 2724123.6171 | 1211449.597 | 2724130.5704 | 1211451.8767 | 2724135.8089 | 1211452.5455
28 | 2724140.1454 | 1211453.0992 | 2724135.8089 | 1211452.5455
29 | 2724140.1454 | 1211453.0992 | 2724146.9645 | 1211452.6963 | 2724153.1103 | 1211451.4121
30 | 2724153.1103 | 1211451.4121 | 2724155.4246 | 1211450.1929
31 | 2724153.1103 | 1211451.4121 | 2724163.2622 | 1211451.2121 | 2724171.7068 | 1211451.1876
32 | 2724170.6634 | 1211440.747 | 2724161.5568 | 1211446.9623 | 2724155.4246 | 1211450.1929
33 | 2724386.0499 | 1211471.2032 | 2724402.5934 | 1211457.1545
34 | 2724407.3688 | 1211453.0993 | 2724402.5934 | 1211457.1545
35 | 2724407.3688 | 1211453.0993 | 2724410.0594 | 1211448.741 | 2724412.6042 | 1211438.9865 | 2724412.8305 | 1211437.8127
36 | 2724407.3688 | 1211453.0993 | 2724408.2731 | 1211457.6362
37 | 2724164.0689 | 1211404.9374 | 2724163.2113 | 1211408.5956
38 | 2724161.855 | 1211428.9991 | 2724161.855 | 1211428.9991 | 2724159.8532 | 1211422.9194 | 2724163.2113 | 1211408.5956
39 | 2724165.2258 | 1211400.0024 | 2724164.0689 | 1211404.9374
40 | 2724170.6634 | 1211440.747 | 2724164.7271 | 1211434.1628 | 2724161.855 | 1211428.9991
41 | 2724170.6634 | 1211440.747 | 2724183.1962 | 1211433.5357
42 | 2724183.1962 | 1211433.5357 | 2724188.8581 | 1211416.0734 | 2724193.6731 | 1211410.0106
43 | 2724183.1962 | 1211433.5357 | 2724201.217 | 1211424.8708 | 2724201.8552 | 1211424.4305
44 | 2724199.6459 | 1211397.3947 | 2724196.3988 | 1211406.5786 | 2724193.6731 | 1211410.0106
45 | 2724201.8552 | 1211424.4305 | 2724208.8675 | 1211419.5927 | 2724216.2979 | 1211412.8905
46 | 2724264.3533 | 1211389.9881 | 2724266.5986 | 1211386.4584 | 2724267.4613 | 1211384.5504
47 | 2724268.9494 | 1211381.2589 | 2724267.4613 | 1211384.5504
48 | 2724268.9494 | 1211381.2589 | 2724266.9716 | 1211379.5052 | 2724261.6653 | 1211374.791 | 2724260.0308 | 1211373.3448
49 | 2724245.7695 | 1211362.8174 | 2724256.093 | 1211368.6147 | 2724261.6206 | 1211371.8323 | 2724260.0308 | 1211373.3448
50 | 2724260.0308 | 1211373.3448 | 2724252.9993 | 1211380.0364
51 | 2724245.7695 | 1211362.8174 | 2724239.4498 | 1211361.1824
52 | 2724252.9993 | 1211380.0364 | 2724247.1084 | 1211385.6425
53 | 2724229.4083 | 1211358.5845 | 2724239.4498 | 1211361.1824
54 | 2724234.1997 | 1211397.3048 | 2724241.7362 | 1211390.7549 | 2724247.1084 | 1211385.6425
55 | 2724294.8303 | 1211427.3437 | 2724295.6804 | 1211427.3402
56 | 2724216.2979 | 1211412.8905 | 2724217.1335 | 1211412.1368 | 2724234.1997 | 1211397.3048

## bus_geodata
| x | y | coords
0 | 2724256.6028 | 1211462.4659
1 | 2724257.5172 | 1211460.6655
2 | 2724234.6158 | 1211489.1269
3 | 2724274.8298 | 1211440.7751
4 | 2724237.3492 | 1211491.4634
5 | 2724227.7882 | 1211484.1515
6 | 2724278.6179 | 1211435.2474
7 | 2724268.3151 | 1211512.6571
8 | 2724221.2444 | 1211481.5093
9 | 2724289.7791 | 1211427.3648
10 | 2724271.7077 | 1211515.4865
11 | 2724351.4741 | 1211530.0933
12 | 2724219.9305 | 1211471.8743
13 | 2724236.4825 | 1211420.9758
14 | 2724243.5108 | 1211413.565
15 | 2724223.9285 | 1211447.9676
16 | 2724250.0198 | 1211407.1624
17 | 2724219.7938 | 1211470.8719
18 | 2724255.6281 | 1211401.6457
19 | 2724194.4716 | 1211466.5578
20 | 2724192.4193 | 1211451.8361
21 | 2724260.5369 | 1211395.7647
22 | 2724186.0844 | 1211451.3564
23 | 2724361.5856 | 1211514.4424
24 | 2724369.0246 | 1211494.548
25 | 2724114.1756 | 1211445.4947
26 | 2724135.8089 | 1211452.5455
27 | 2724140.1454 | 1211453.0992
28 | 2724153.1103 | 1211451.4121
29 | 2724155.4246 | 1211450.1929
30 | 2724171.7068 | 1211451.1876
31 | 2724386.0499 | 1211471.2032
32 | 2724402.5934 | 1211457.1545
33 | 2724407.3688 | 1211453.0993
34 | 2724163.2113 | 1211408.5956
35 | 2724164.0689 | 1211404.9374
36 | 2724161.855 | 1211428.9991
37 | 2724165.2258 | 1211400.0024
38 | 2724170.6634 | 1211440.747
39 | 2724183.1962 | 1211433.5357
40 | 2724193.6731 | 1211410.0106
41 | 2724201.8552 | 1211424.4305
42 | 2724264.3533 | 1211389.9881
43 | 2724267.4613 | 1211384.5504
44 | 2724268.9494 | 1211381.2589
45 | 2724260.0308 | 1211373.3448
46 | 2724245.7695 | 1211362.8174
47 | 2724252.9993 | 1211380.0364
48 | 2724239.4498 | 1211361.1824
49 | 2724247.1084 | 1211385.6425
50 | 2724229.4083 | 1211358.5845
51 | 2724294.8303 | 1211427.3437
52 | 2724295.6804 | 1211427.3402
53 | 2724408.2731 | 1211457.6362
54 | 2724412.8305 | 1211437.8127
55 | 2724216.2979 | 1211412.8905
56 | 2724234.1997 | 1211397.3048
57 | 2724199.6459 | 1211397.3947
58 | 2724243.5108 | 1211413.565

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9912 | -0.16897 | 0.013172 | 0.0033012
1 | 0.99105 | -0.17176 | 0.019286 | 0.0048336
2 | 0.99411 | -0.11274 | 0 | 0
3 | 0.98964 | -0.1992 | 0.011754 | 0.0029459
4 | 0.99395 | -0.11579 | 0 | 0
5 | 0.99519 | -0.091981 | 0.011736 | 0.0029414
6 | 0.98935 | -0.20479 | 0.011893 | 0.0029806
7 | 0.99229 | -0.14785 | 0.015202 | 0.0038101
8 | 0.99568 | -0.082591 | 0 | 0
9 | 0.98886 | -0.21437 | 0.011842 | 0.0029679
10 | 0.99216 | -0.15044 | 0 | 0
11 | 0.98956 | -0.20054 | 0 | 0
12 | 0.99602 | -0.076142 | 0.01583 | 0.0039674
13 | 1 | 0 | -0.51268 | -0.12981
14 | 0.99881 | -0.022576 | 0.015711 | 0.0039376
15 | 0.99701 | -0.057074 | 0.01117 | 0.0027995
16 | 0.99818 | -0.03462 | 0.015686 | 0.0039313
17 | 0.99606 | -0.075401 | 0.011045 | 0.0027681
18 | 0.99767 | -0.044471 | 0.0015743 | 0.00039457
19 | 0.98787 | -0.23318 | 0.0029068 | 0.0007285
20 | 0.98793 | -0.23185 | 0.0036145 | 0.00090588
21 | 0.99716 | -0.054046 | 0.018821 | 0.0047169
22 | 0.98797 | -0.23111 | 0.0054445 | 0.0013645
23 | 0.98899 | -0.21164 | 0.001698 | 0.00042556
24 | 0.98838 | -0.22354 | 0.0032787 | 0.00082173
25 | 0.98765 | -0.23733 | 0.014417 | 0.0036133
26 | 0.98796 | -0.23144 | 0.011908 | 0.0029844
27 | 0.98806 | -0.22938 | 0 | 0
28 | 0.98838 | -0.22324 | 0 | 0
29 | 0.98847 | -0.22134 | 0.0041772 | 0.0010469
30 | 0.98813 | -0.22804 | 0.0024831 | 0.00062232
31 | 0.98762 | -0.23834 | 0.011535 | 0.0028909
32 | 0.98729 | -0.24476 | 0.0054792 | 0.0013732
33 | 0.98722 | -0.246 | 0 | 0
34 | 0.98567 | -0.27589 | 0.020383 | 0.0051084
35 | 0.98537 | -0.28167 | 0.0053719 | 0.0013463
36 | 0.98773 | -0.23582 | 0.003508 | 0.00087919
37 | 0.98499 | -0.28898 | 0.080278 | 0.020119
38 | 0.98922 | -0.20695 | 0 | 0
39 | 0.99024 | -0.18712 | 0 | 0
40 | 0.98937 | -0.20405 | 0.0029982 | 0.00075141
41 | 0.99115 | -0.1695 | 0.014739 | 0.0036939
42 | 0.99674 | -0.062117 | 0.0025354 | 0.00063544
43 | 0.99636 | -0.069366 | 0.0019869 | 0.00049796
44 | 0.99615 | -0.073509 | 0 | 0
45 | 0.99543 | -0.087176 | 0 | 0
46 | 0.9953 | -0.089666 | 0 | 0
47 | 0.99487 | -0.098037 | 0.0018005 | 0.00045125
48 | 0.99526 | -0.090461 | 0.0043417 | 0.0010881
49 | 0.99439 | -0.10708 | 0.0011089 | 0.00027791
50 | 0.99524 | -0.090933 | 0.0025848 | 0.00064781
51 | 0.98875 | -0.21644 | 0.011233 | 0.0028153
52 | 0.98874 | -0.21661 | 0.011746 | 0.0029438
53 | 0.9872 | -0.24653 | 0.0063885 | 0.0016011
54 | 0.98715 | -0.24738 | 0.0046872 | 0.0011747
55 | 0.99203 | -0.15261 | 0.044262 | 0.011093
56 | 0.99339 | -0.12638 | 0.001409 | 0.00035314
57 | 0.98893 | -0.21248 | 0.033482 | 0.0083914
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.077872 | 0.019562 | -0.077862 | -0.019555 | 1.0352e-05 | 6.599e-06 | 0.11692 | 0.11692 | 0.11692 | 0.9912 | -0.16897 | 0.99105 | -0.17176 | 32.1209
1 | -0.091044 | -0.022863 | 0.091289 | 0.023019 | 0.000245 | 0.00015635 | 0.13669 | 0.13669 | 0.13669 | 0.9912 | -0.16897 | 0.99411 | -0.11274 | 37.5534
2 | 0.058575 | 0.014721 | -0.058499 | -0.014673 | 7.6637e-05 | 4.8708e-05 | 0.087962 | 0.087963 | 0.087963 | 0.99105 | -0.17176 | 0.98964 | -0.1992 | 24.1655
3 | 0.048495 | 0.012239 | -0.048488 | -0.012235 | 7.0996e-06 | 4.4972e-06 | 0.07262 | 0.07262 | 0.07262 | 0.99411 | -0.11274 | 0.99395 | -0.11579 | 19.9504
4 | -0.13978 | -0.035258 | 0.13992 | 0.035347 | 0.00013905 | 8.8882e-05 | 0.20931 | 0.20931 | 0.20931 | 0.99411 | -0.11274 | 0.99519 | -0.091981 | 57.5037
5 | 0.046745 | 0.011727 | -0.046732 | -0.011719 | 1.2438e-05 | 7.8738e-06 | 0.070289 | 0.070289 | 0.070289 | 0.98964 | -0.1992 | 0.98935 | -0.20479 | 19.3102
6 | 0.048488 | 0.012235 | -0.048414 | -0.012187 | 7.4304e-05 | 4.7068e-05 | 0.07262 | 0.07262 | 0.07262 | 0.99395 | -0.11579 | 0.99229 | -0.14785 | 19.9505
7 | -0.15166 | -0.038289 | 0.15173 | 0.038332 | 6.8258e-05 | 4.3501e-05 | 0.22686 | 0.22686 | 0.22686 | 0.99519 | -0.091981 | 0.99568 | -0.082591 | 31.1623
8 | 0.03484 | 0.0087384 | -0.034824 | -0.0087285 | 1.5903e-05 | 9.9798e-06 | 0.052402 | 0.052402 | 0.052402 | 0.98935 | -0.20479 | 0.98886 | -0.21437 | 14.3962
9 | 0.033212 | 0.0083774 | -0.033207 | -0.0083748 | 4.1121e-06 | 2.5747e-06 | 0.049822 | 0.049822 | 0.049822 | 0.99229 | -0.14785 | 0.99216 | -0.15044 | 13.6875
10 | -0.15173 | -0.038332 | 0.15178 | 0.038362 | 4.6918e-05 | 2.9522e-05 | 0.22686 | 0.22686 | 0.22686 | 0.99568 | -0.082591 | 0.99602 | -0.076142 | 15.5812
11 | 0.022981 | 0.0057605 | -0.022979 | -0.0057592 | 2.2654e-06 | 1.3851e-06 | 0.034582 | 0.034582 | 0.034582 | 0.98886 | -0.21437 | 0.98875 | -0.21644 | 9.5007
12 | 0.033207 | 0.0083748 | -0.033128 | -0.008325 | 7.9439e-05 | 4.9742e-05 | 0.049822 | 0.049823 | 0.049823 | 0.99216 | -0.15044 | 0.98956 | -0.20054 | 13.6876
13 | 0.033128 | 0.008325 | -0.03311 | -0.0083141 | 1.7542e-05 | 1.0985e-05 | 0.049823 | 0.049823 | 0.049823 | 0.98956 | -0.20054 | 0.98899 | -0.21164 | 13.6876
14 | -0.16761 | -0.042329 | 0.16761 | 0.042333 | 5.9522e-06 | 3.7567e-06 | 0.25051 | 0.25051 | 0.25051 | 0.99602 | -0.076142 | 0.99606 | -0.075401 | 17.2054
15 | 0.51103 | 0.12981 | -0.51047 | -0.12946 | 0.00055468 | 0.00035446 | 0.76103 | 0.76103 | 0.76103 | 1 | 0 | 0.99881 | -0.022576 | 52.2684
16 | 0.1903 | 0.048199 | -0.18998 | -0.048 | 0.00031474 | 0.00019925 | 0.28368 | 0.28368 | 0.28368 | 0.99881 | -0.022576 | 0.99701 | -0.057074 | 19.4836
17 | 0.30446 | 0.077322 | -0.30429 | -0.07721 | 0.00017638 | 0.00011241 | 0.45394 | 0.45394 | 0.45394 | 0.99881 | -0.022576 | 0.99818 | -0.03462 | 31.1773
18 | 0.17881 | 0.0452 | -0.17866 | -0.045101 | 0.00015699 | 9.9251e-05 | 0.26701 | 0.26701 | 0.26701 | 0.99701 | -0.057074 | 0.99606 | -0.075401 | 18.3387
19 | 0.2886 | 0.073278 | -0.28846 | -0.073191 | 0.00013672 | 8.709e-05 | 0.43056 | 0.43056 | 0.43056 | 0.99818 | -0.03462 | 0.99767 | -0.044471 | 29.5713
20 | 0.28689 | 0.072797 | -0.28676 | -0.072712 | 0.00013206 | 8.4117e-05 | 0.42821 | 0.42821 | 0.42821 | 0.99767 | -0.044471 | 0.99716 | -0.054046 | 29.41
21 | -0.0029068 | -0.0007285 | 0.0029069 | 0.00072829 | 1.8484e-07 | -2.1092e-07 | 0.0043784 | 0.0043783 | 0.0043784 | 0.98787 | -0.23318 | 0.98793 | -0.23185 | 1.2029
22 | -0.0065214 | -0.0016342 | 0.0065217 | 0.0016342 | 2.2985e-07 | 6.5753e-08 | 0.0098224 | 0.0098224 | 0.0098224 | 0.98793 | -0.23185 | 0.98797 | -0.23111 | 2.6985
23 | 0.26794 | 0.067996 | -0.26783 | -0.067929 | 0.00010397 | 6.6176e-05 | 0.40012 | 0.40012 | 0.40012 | 0.99716 | -0.054046 | 0.99674 | -0.062117 | 27.4811
24 | -0.011966 | -0.0029988 | 0.011968 | 0.0029997 | 1.7522e-06 | 9.3717e-07 | 0.018023 | 0.018023 | 0.018023 | 0.98797 | -0.23111 | 0.98813 | -0.22804 | 4.9513
25 | 0.031412 | 0.0078885 | -0.031395 | -0.0078774 | 1.7825e-05 | 1.1135e-05 | 0.047268 | 0.047268 | 0.047268 | 0.98899 | -0.21164 | 0.98838 | -0.22354 | 12.9858
26 | 0.028116 | 0.0070556 | -0.028096 | -0.0070433 | 1.9829e-05 | 1.2313e-05 | 0.042332 | 0.042332 | 0.042332 | 0.98838 | -0.22354 | 0.98762 | -0.23834 | 11.6297
27 | -0.014417 | -0.0036133 | 0.014421 | 0.0036156 | 4.0505e-06 | 2.2993e-06 | 0.021722 | 0.021721 | 0.021722 | 0.98765 | -0.23733 | 0.98796 | -0.23144 | 5.9675
28 | -0.026329 | -0.0066001 | 0.026332 | 0.0066017 | 2.5782e-06 | 1.5941e-06 | 0.039657 | 0.039657 | 0.039657 | 0.98796 | -0.23144 | 0.98806 | -0.22938 | 10.8947
29 | -0.026332 | -0.0066017 | 0.02634 | 0.0066064 | 7.7091e-06 | 4.7664e-06 | 0.039657 | 0.039657 | 0.039657 | 0.98806 | -0.22938 | 0.98838 | -0.22324 | 10.8947
30 | -0.040794 | -0.01023 | 0.040798 | 0.010233 | 3.7003e-06 | 2.3346e-06 | 0.061418 | 0.061418 | 0.061418 | 0.98838 | -0.22324 | 0.98847 | -0.22134 | 16.8732
31 | 0.014454 | 0.0036239 | -0.014451 | -0.003622 | 3.3029e-06 | 1.8756e-06 | 0.021762 | 0.021762 | 0.021762 | 0.98838 | -0.22324 | 0.98813 | -0.22804 | 5.9785
32 | -0.044975 | -0.01128 | 0.045006 | 0.011299 | 3.0868e-05 | 1.9525e-05 | 0.067706 | 0.067706 | 0.067706 | 0.98847 | -0.22134 | 0.98922 | -0.20695 | 18.6007
33 | 0.016561 | 0.0041524 | -0.016556 | -0.0041494 | 5.0677e-06 | 2.9657e-06 | 0.024953 | 0.024953 | 0.024953 | 0.98762 | -0.23834 | 0.98729 | -0.24476 | 6.8552
34 | 0.011077 | 0.0027762 | -0.011076 | -0.0027759 | 6.548e-07 | 3.3896e-07 | 0.016695 | 0.016695 | 0.016695 | 0.98729 | -0.24476 | 0.98722 | -0.246 | 4.5865
35 | 0.0046875 | 0.0011747 | -0.0046872 | -0.0011747 | 3.0698e-07 | -1.3193e-08 | 0.0070654 | 0.0070654 | 0.0070654 | 0.98722 | -0.246 | 0.98715 | -0.24738 | 1.9411
36 | 0.0063886 | 0.0016011 | -0.0063885 | -0.0016011 | 1.6086e-07 | 4.3802e-08 | 0.0096294 | 0.0096295 | 0.0096295 | 0.98722 | -0.246 | 0.9872 | -0.24653 | 2.6455
37 | 0.085701 | 0.021499 | -0.085677 | -0.021484 | 2.3588e-05 | 1.5049e-05 | 0.12939 | 0.12939 | 0.12939 | 0.98567 | -0.27589 | 0.98537 | -0.28167 | 35.5457
38 | -0.10608 | -0.026607 | 0.10629 | 0.026737 | 0.00020308 | 0.0001297 | 0.16016 | 0.16016 | 0.16016 | 0.98567 | -0.27589 | 0.98773 | -0.23582 | 43.9993
39 | 0.080306 | 0.020137 | -0.080278 | -0.020119 | 2.7955e-05 | 1.7827e-05 | 0.12127 | 0.12127 | 0.12127 | 0.98537 | -0.28167 | 0.98499 | -0.28898 | 33.3171
40 | -0.1098 | -0.027616 | 0.10995 | 0.027713 | 0.00015164 | 9.6862e-05 | 0.16544 | 0.16544 | 0.16544 | 0.98773 | -0.23582 | 0.98922 | -0.20695 | 45.4511
41 | -0.15495 | -0.039012 | 0.1551 | 0.039106 | 0.00014706 | 9.3749e-05 | 0.23315 | 0.23315 | 0.23315 | 0.98922 | -0.20695 | 0.99024 | -0.18712 | 32.0259
42 | 0.036523 | 0.0091697 | -0.036494 | -0.0091512 | 2.9487e-05 | 1.8536e-05 | 0.054888 | 0.054888 | 0.054888 | 0.99024 | -0.18712 | 0.98937 | -0.20405 | 15.0792
43 | -0.19162 | -0.048275 | 0.19178 | 0.048378 | 0.00016156 | 0.00010233 | 0.28804 | 0.28804 | 0.28804 | 0.99024 | -0.18712 | 0.99115 | -0.1695 | 19.7827
44 | 0.033495 | 0.0083998 | -0.033482 | -0.0083914 | 1.3443e-05 | 8.4219e-06 | 0.050379 | 0.050379 | 0.050379 | 0.98937 | -0.20405 | 0.98893 | -0.21248 | 13.8404
45 | -0.20652 | -0.052072 | 0.20669 | 0.052178 | 0.00016708 | 0.00010598 | 0.31016 | 0.31016 | 0.31016 | 0.99115 | -0.1695 | 0.99203 | -0.15261 | 21.3024
46 | 0.2653 | 0.067294 | -0.2652 | -0.067235 | 9.2444e-05 | 5.8837e-05 | 0.39634 | 0.39634 | 0.39634 | 0.99674 | -0.062117 | 0.99636 | -0.069366 | 27.2211
47 | 0.26322 | 0.066737 | -0.26316 | -0.066704 | 5.2404e-05 | 3.335e-05 | 0.39337 | 0.39337 | 0.39337 | 0.99636 | -0.069366 | 0.99615 | -0.073509 | 27.0173
48 | 0.26316 | 0.066704 | -0.26299 | -0.066594 | 0.00017271 | 0.00010991 | 0.39337 | 0.39337 | 0.39337 | 0.99615 | -0.073509 | 0.99543 | -0.087176 | 27.0174
49 | 0.0069277 | 0.0017362 | -0.0069268 | -0.0017359 | 8.2161e-07 | 2.6028e-07 | 0.010356 | 0.010356 | 0.010356 | 0.99543 | -0.087176 | 0.9953 | -0.089666 | 2.845
50 | 0.25606 | 0.064858 | -0.25593 | -0.064773 | 0.0001335 | 8.4935e-05 | 0.38302 | 0.38302 | 0.38302 | 0.99543 | -0.087176 | 0.99487 | -0.098037 | 26.3061
51 | 0.0069268 | 0.0017359 | -0.0069266 | -0.0017359 | 2.6252e-07 | 8.3181e-08 | 0.010356 | 0.010356 | 0.010356 | 0.9953 | -0.089666 | 0.99526 | -0.090461 | 2.845
52 | 0.25413 | 0.064321 | -0.25402 | -0.064251 | 0.00011028 | 7.0155e-05 | 0.38032 | 0.38032 | 0.38032 | 0.99487 | -0.098037 | 0.99439 | -0.10708 | 26.1212
53 | 0.0025849 | 0.00064771 | -0.0025848 | -0.00064781 | 5.8091e-08 | -9.7607e-08 | 0.0038646 | 0.0038646 | 0.0038646 | 0.99526 | -0.090461 | 0.99524 | -0.090933 | 1.0617
54 | 0.25291 | 0.063973 | -0.25268 | -0.063825 | 0.00023391 | 0.0001488 | 0.37867 | 0.37867 | 0.37867 | 0.99439 | -0.10708 | 0.99339 | -0.12638 | 26.0072
55 | 0.011746 | 0.0029439 | -0.011746 | -0.0029438 | 9.9612e-08 | 5.2849e-08 | 0.017677 | 0.017677 | 0.017677 | 0.98875 | -0.21644 | 0.98874 | -0.21661 | 4.8564
56 | -0.25095 | -0.063271 | 0.25127 | 0.063471 | 0.00031553 | 0.00020071 | 0.37656 | 0.37655 | 0.37656 | 0.99203 | -0.15261 | 0.99339 | -0.12638 | 25.8623

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53056 | 0.13429

## res_load
| p_mw | q_mvar
0 | 0.013172 | 0.0033012
1 | 0.019286 | 0.0048336
2 | 0.011754 | 0.0029459
3 | 0.011736 | 0.0029414
4 | 0.011893 | 0.0029806
5 | 0.015202 | 0.0038101
6 | 0.011842 | 0.0029679
7 | 0.01583 | 0.0039674
8 | 0.017882 | 0.0044817
9 | 0.015711 | 0.0039376
10 | 0.01117 | 0.0027995
11 | 0.015686 | 0.0039313
12 | 0.011045 | 0.0027681
13 | 0.0015743 | 0.00039457
14 | 0.0029068 | 0.0007285
15 | 0.0036145 | 0.00090588
16 | 0.018821 | 0.0047169
17 | 0.0054445 | 0.0013645
18 | 0.001698 | 0.00042556
19 | 0.0032787 | 0.00082173
20 | 0.014417 | 0.0036133
21 | 0.011908 | 0.0029844
22 | 0.0041772 | 0.0010469
23 | 0.0024831 | 0.00062232
24 | 0.011535 | 0.0028909
25 | 0.0054792 | 0.0013732
26 | 0.020383 | 0.0051084
27 | 0.0053719 | 0.0013463
28 | 0.003508 | 0.00087919
29 | 0.080278 | 0.020119
30 | 0.0029982 | 0.00075141
31 | 0.014739 | 0.0036939
32 | 0.0025354 | 0.00063544
33 | 0.0019869 | 0.00049796
34 | 0.0018005 | 0.00045125
35 | 0.0043417 | 0.0010881
36 | 0.0011089 | 0.00027791
37 | 0.0025848 | 0.00064781
38 | 0.011233 | 0.0028153
39 | 0.011746 | 0.0029438
40 | 0.0063885 | 0.0016011
41 | 0.0046872 | 0.0011747
42 | 0.044262 | 0.011093
43 | 0.001409 | 0.00035314
44 | 0.033482 | 0.0083914

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1