## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-54_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-54_0_7_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1632-54_0_7_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_1632-54_0_7_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1632-54_0_7_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1632-54_0_7_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_1632-54_0_7_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_1632-54_0_7_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1632-54_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1632-54_0_7_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1632-54_0_7_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_1632-54_0_7_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1632-54_0_7_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1632-54_0_7_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1632-54_0_7_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1632-54_0_7_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1632-54_0_7_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1632-54_0_7_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1632-54_0_7_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_1632-54_0_7_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_1632-54_0_7_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1632-54_0_7_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1632-54_0_7_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_1632-54_0_7_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1632-54_0_7_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_1632-54_0_7_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1632-54_0_7_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1632-54_0_7_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_1632-54_0_7_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_1632-54_0_7_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_1632-54_0_7_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_1632-54_0_7_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_1632-54_0_7_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_1632-54_0_7_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_1632-54_0_7_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_1632-54_0_7_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_1632-54_0_7_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1632-54_0_7_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1632-54_0_7_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1632-54_0_7_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_1632-54_0_7_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_1632-54_0_7_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1632-54_0_7_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1632-54_0_7_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_1632-54_0_7_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1632-54_0_7_node_13 | 0.4 | n |  | TRUE
46 | bus_LV_1632-54_0_7_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1632-54_0_7_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_1632-54_0_7_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_1632-54_0_7_node_10 | 0.4 | n |  | TRUE
50 | bus_LV_1632-54_0_7_node_11 | 0.4 | n |  | TRUE
51 | bus_LV_1632-54_0_7_node_12 | 0.4 | n |  | TRUE
52 | bus_LV_1632-54_0_7_node_14 | 0.4 | n |  | TRUE
53 | bus_LV_1632-54_0_7_node_15 | 0.4 | n |  | TRUE
54 | bus_LV_1632-54_0_7_node_16 | 0.4 | n |  | TRUE
55 | bus_LV_1632-54_0_7_node_17 | 0.4 | n |  | TRUE
56 | bus_LV_1632-54_0_7_node_18 | 0.4 | n |  | TRUE
57 | bus_LV_1632-54_0_7_node_19 | 0.4 | n |  | TRUE
58 | bus_LV_1632-54_0_7_node_22 | 0.4 | n |  | TRUE
59 | bus_LV_1632-54_0_7_node_23 | 0.4 | n |  | TRUE
60 | bus_LV_1632-54_0_7_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_1632-54_0_7_node_27 | 0.4 | n |  | TRUE
62 | bus_LV_1632-54_0_7_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_1632-54_0_7_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_1632-54_0_7_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_1632-54_0_7_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_1632-54_0_7_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_1632-54_0_7_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_1632-54_0_7_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_1632-54_0_7_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_1632-54_0_7_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_1632-54_0_7_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_1632-54_0_7_node_38 | 0.4 | n |  | TRUE
73 | bus_LV_1632-54_0_7_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_1632-54_0_7_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_1632-54_0_7_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_1632-54_0_7_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_1632-54_0_7_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_1632-54_0_7_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_1632-54_0_7_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_1632-54_0_7_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_1632-54_0_7_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_1632-54_0_7_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_1632-54_0_7_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_1632-54_0_7_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_1632-54_0_7_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_1632-54_0_7_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_1632-54_0_7_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_1632-54_0_7_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_1632-54_0_7_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_1632-54_0_7_node_89 | 0.4 | n |  | TRUE
91 | bus_MV_224_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-54_0_7_load_0 | 0 | 0.0060106 | 0.0015064 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-54_0_7_load_8 | 2 | 0.00069959 | 0.00017533 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-54_0_7_load_9 | 3 | 0.00068008 | 0.00017045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-54_0_7_load_53 | 6 | 0.035786 | 0.0089687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-54_0_7_load_71 | 10 | 0.0079781 | 0.0019995 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-54_0_7_load_48 | 12 | 0.0097449 | 0.0024423 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-54_0_7_load_28 | 14 | 0.0082074 | 0.002057 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-54_0_7_load_24 | 15 | 0.015916 | 0.0039889 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-54_0_7_load_25 | 16 | 0.031056 | 0.0077834 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-54_0_7_load_21 | 17 | 0.00098506 | 0.00024688 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-54_0_7_load_91 | 18 | 0.00086547 | 0.00021691 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-54_0_7_load_58 | 19 | 0.0021473 | 0.00053816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-54_0_7_load_55 | 22 | 0.0020054 | 0.00050259 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-54_0_7_load_78 | 24 | 0.019416 | 0.004866 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-54_0_7_load_43 | 27 | 0.0046077 | 0.0011548 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-54_0_7_load_74 | 28 | 0.02529 | 0.0063382 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-54_0_7_load_93 | 30 | 0.0059069 | 0.0014804 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-54_0_7_load_79 | 32 | 0.0075286 | 0.0018868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-54_0_7_load_52 | 35 | 0.010679 | 0.0026765 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-54_0_7_load_40 | 38 | 0.0062526 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-54_0_7_load_54 | 39 | 0.014656 | 0.0036732 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-54_0_7_load_51 | 40 | 0.027633 | 0.0069255 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-54_0_7_load_37 | 41 | 0.0056868 | 0.0014252 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-54_0_7_load_57 | 43 | 0.0050787 | 0.0012728 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-54_0_7_load_13 | 45 | 0.020126 | 0.005044 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-54_0_7_load_26 | 46 | 0.012809 | 0.0032102 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-54_0_7_load_20 | 47 | 0.00098313 | 0.0002464 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-54_0_7_load_10 | 49 | 0.017288 | 0.0043328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-54_0_7_load_11 | 50 | 0.0016495 | 0.0004134 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-54_0_7_load_12 | 51 | 0.0012048 | 0.00030195 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-54_0_7_load_14 | 52 | 0.0009774 | 0.00024496 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-54_0_7_load_15 | 53 | 0.0071901 | 0.001802 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-54_0_7_load_16 | 54 | 0.0082251 | 0.0020614 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-54_0_7_load_17 | 55 | 0.00925 | 0.0023183 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-54_0_7_load_18 | 56 | 0.012684 | 0.0031788 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-54_0_7_load_19 | 57 | 0.010029 | 0.0025136 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-54_0_7_load_22 | 58 | 0.00097457 | 0.00024425 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-54_0_7_load_92 | 60 | 0.051576 | 0.012926 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-54_0_7_load_27 | 61 | 0.018147 | 0.0045481 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-54_0_7_load_41 | 62 | 0.0049354 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-54_0_7_load_75 | 64 | 0.011955 | 0.0029962 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-54_0_7_load_81 | 67 | 0.0064648 | 0.0016202 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-54_0_7_load_82 | 68 | 0.011026 | 0.0027634 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-54_0_7_load_94 | 69 | 0.006949 | 0.0017416 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-54_0_7_load_84 | 70 | 0.005742 | 0.0014391 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-54_0_7_load_80 | 71 | 0.014118 | 0.0035382 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-54_0_7_load_38 | 72 | 0.005372 | 0.0013464 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-54_0_7_load_39 | 73 | 0.0054889 | 0.0013756 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1632-54_0_7_load_47 | 74 | 0.0056345 | 0.0014121 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1632-54_0_7_load_42 | 75 | 0.0047172 | 0.0011822 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1632-54_0_7_load_60 | 77 | 0.011016 | 0.0027609 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1632-54_0_7_load_64 | 78 | 0.0093333 | 0.0023391 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1632-54_0_7_load_72 | 79 | 0.0056168 | 0.0014077 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1632-54_0_7_load_73 | 81 | 0.0023802 | 0.00059653 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1632-54_0_7_load_61 | 82 | 0.0041596 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1632-54_0_7_load_76 | 84 | 0.012289 | 0.0030798 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1632-54_0_7_load_83 | 85 | 0.0060114 | 0.0015066 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1632-54_0_7_load_85 | 86 | 0.001669 | 0.00041829 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1632-54_0_7_load_89 | 90 | 0.0014925 | 0.00037406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-54_0_7_line_0 |  | 0 | 1 | 0.12093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-54_0_7_line_1 |  | 1 | 2 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-54_0_7_line_2 |  | 1 | 3 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-54_0_7_line_3 |  | 2 | 17 | 0.048072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-54_0_7_line_4 |  | 3 | 18 | 0.082981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-54_0_7_line_5 |  | 4 | 5 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1632-54_0_7_line_6 |  | 4 | 6 | 0.035498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1632-54_0_7_line_7 |  | 5 | 19 | 0.047337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1632-54_0_7_line_8 |  | 6 | 39 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1632-54_0_7_line_9 |  | 7 | 8 | 0.13181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1632-54_0_7_line_10 |  | 7 | 9 | 0.040505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1632-54_0_7_line_11 |  | 7 | 10 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-54_0_7_line_12 |  | 8 | 11 | 0.059477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1632-54_0_7_line_13 |  | 8 | 12 | 0.028212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-54_0_7_line_14 |  | 9 | 41 | 0.015241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-54_0_7_line_15 |  | 9 | 42 | 0.030992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1632-54_0_7_line_16 |  | 11 | 43 | 0.012272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1632-54_0_7_line_17 |  | 12 | 44 | 0.085531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-54_0_7_line_18 |  | 13 | 14 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-54_0_7_line_19 |  | 13 | 15 | 0.073866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-54_0_7_line_20 |  | 13 | 16 | 0.024757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-54_0_7_line_21 |  | 14 | 42 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-54_0_7_line_22 |  | 15 | 45 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-54_0_7_line_23 |  | 16 | 46 | 0.030325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-54_0_7_line_24 |  | 17 | 47 | 0.00069576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-54_0_7_line_25 |  | 18 | 48 | 0.029802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-54_0_7_line_26 |  | 19 | 43 | 0.031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1632-54_0_7_line_27 |  | 20 | 21 | 0.005613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1632-54_0_7_line_28 |  | 20 | 22 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1632-54_0_7_line_29 |  | 21 | 27 | 0.0069467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1632-54_0_7_line_30 |  | 21 | 28 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-54_0_7_line_31 |  | 22 | 39 | 0.023164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1632-54_0_7_line_32 |  | 23 | 24 | 0.0041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1632-54_0_7_line_33 |  | 23 | 25 | 0.038833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-54_0_7_line_34 |  | 23 | 26 | 0.021627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1632-54_0_7_line_35 |  | 24 | 63 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-54_0_7_line_36 |  | 24 | 37 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1632-54_0_7_line_37 |  | 25 | 31 | 0.2931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-54_0_7_line_38 |  | 26 | 29 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1632-54_0_7_line_39 |  | 26 | 30 | 0.0035566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-54_0_7_line_40 |  | 27 | 36 | 0.007688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1632-54_0_7_line_41 |  | 29 | 32 | 0.015613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1632-54_0_7_line_42 |  | 31 | 69 | 0.10887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-54_0_7_line_43 |  | 32 | 71 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1632-54_0_7_line_44 |  | 33 | 34 | 0.004503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-54_0_7_line_45 |  | 33 | 35 | 0.010682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-54_0_7_line_46 |  | 34 | 70 | 0.0087225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-54_0_7_line_47 |  | 35 | 40 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-54_0_7_line_48 |  | 36 | 37 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1632-54_0_7_line_49 |  | 36 | 38 | 0.012298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-54_0_7_line_50 |  | 38 | 62 | 0.0058975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-54_0_7_line_51 |  | 41 | 72 | 0.0054704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-54_0_7_line_52 |  | 42 | 57 | 0.016244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-54_0_7_line_53 |  | 44 | 59 | 0.027127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-54_0_7_line_54 |  | 45 | 50 | 0.0089475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-54_0_7_line_55 |  | 46 | 61 | 0.012582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-54_0_7_line_56 |  | 47 | 58 | 0.029767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1632-54_0_7_line_57 |  | 48 | 89 | 0.0613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1632-54_0_7_line_58 |  | 49 | 50 | 0.013964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1632-54_0_7_line_59 |  | 49 | 51 | 0.0071607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1632-54_0_7_line_60 |  | 51 | 52 | 0.0087761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1632-54_0_7_line_61 |  | 53 | 54 | 0.0077692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1632-54_0_7_line_62 |  | 53 | 55 | 0.01014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1632-54_0_7_line_63 |  | 54 | 56 | 0.0039266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1632-54_0_7_line_64 |  | 55 | 57 | 0.0090057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1632-54_0_7_line_65 |  | 58 | 59 | 0.03413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1632-54_0_7_line_66 |  | 59 | 60 | 0.016326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1632-54_0_7_line_67 |  | 62 | 75 | 0.0028717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1632-54_0_7_line_68 |  | 63 | 64 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1632-54_0_7_line_69 |  | 64 | 83 | 0.013088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1632-54_0_7_line_70 |  | 65 | 66 | 0.035139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_1632-54_0_7_line_71 |  | 65 | 67 | 0.02493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_1632-54_0_7_line_72 |  | 66 | 68 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_1632-54_0_7_line_73 |  | 67 | 71 | 0.00018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_1632-54_0_7_line_74 |  | 68 | 85 | 0.016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1632-54_0_7_line_75 |  | 70 | 85 | 0.0044591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1632-54_0_7_line_76 |  | 72 | 73 | 0.010147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1632-54_0_7_line_77 |  | 73 | 74 | 0.0090887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1632-54_0_7_line_78 |  | 76 | 77 | 0.027906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1632-54_0_7_line_79 |  | 76 | 78 | 0.0091272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1632-54_0_7_line_80 |  | 76 | 79 | 0.02277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1632-54_0_7_line_81 |  | 78 | 80 | 0.05303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1632-54_0_7_line_82 |  | 79 | 81 | 0.0044614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1632-54_0_7_line_83 |  | 80 | 83 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1632-54_0_7_line_84 |  | 80 | 82 | 0.0066921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1632-54_0_7_line_85 |  | 83 | 84 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1632-54_0_7_line_86 |  | 86 | 87 | 0.10981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1632-54_0_7_line_87 |  | 87 | 88 | 0.061084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1632-54_0_7_line_88 |  | 88 | 90 | 0.27518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_1632-54_0_7_line_89 |  | 89 | 90 | 0.1471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-54_0_7_trafo_6 | 0.63 MVA 20/0.4 kV | 91 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2722636.6369 | 1214172.8453 | 2722756.9419 | 1214160.5608
1 | 2722636.6369 | 1214172.8453 | 2722636.7993 | 1214162.7409 | 2722637.5133 | 1214160.1647 | 2722638.9093 | 1214156.0339
2 | 2722636.6369 | 1214172.8453 | 2722622.0674 | 1214174.4402
3 | 2722658.6428 | 1214112.331 | 2722655.7815 | 1214116.4623 | 2722652.5832 | 1214123.4575 | 2722641.3645 | 1214148.7685 | 2722638.9093 | 1214156.0339
4 | 2722622.0674 | 1214174.4402 | 2722616.4575 | 1214175.0543 | 2722577.3628 | 1214180.4324 | 2722553.0917 | 1214184.6923 | 2722540.3968 | 1214188.4248
5 | 2722822.8975 | 1213865.7201 | 2722833.1726 | 1213864.8644
6 | 2722833.1726 | 1213864.8644 | 2722830.3793 | 1213854.7768 | 2722824.7371 | 1213841.7172 | 2722820.8516 | 1213831.6351
7 | 2722822.8975 | 1213865.7201 | 2722811.6227 | 1213869.7354 | 2722776.3146 | 1213871.7944
8 | 2722820.8516 | 1213831.6351 | 2722816.8177 | 1213821.168
9 | 2722733.6848 | 1213933.3686 | 2722752.4299 | 1213935.912 | 2722773.1652 | 1213941.0651 | 2722782.6871 | 1213948.3668 | 2722798.6155 | 1213954.4884 | 2722809.329 | 1213961.1141 | 2722764.4424 | 1213965.0484 | 2722760.6211 | 1213967.972
10 | 2722760.6211 | 1213967.972 | 2722758.8342 | 1213973.9398 | 2722761.344 | 1214008.1178
11 | 2722760.6211 | 1213967.972 | 2722757.3433 | 1213962.2223 | 2722755.6126 | 1213949.4603
12 | 2722733.0229 | 1213874.3874 | 2722736.6647 | 1213892.7209 | 2722734.6385 | 1213911.7828 | 2722733.6848 | 1213933.3686
13 | 2722733.6848 | 1213933.3686 | 2722721.0395 | 1213933.8421 | 2722717.5208 | 1213936.4606 | 2722715.5682 | 1213939.7785 | 2722715.7505 | 1213947.0978
14 | 2722761.344 | 1214008.1178 | 2722746.5802 | 1214004.3357
15 | 2722763.6097 | 1214039.0216 | 2722761.344 | 1214008.1178
16 | 2722733.0229 | 1213874.3874 | 2722745.2708 | 1213873.6165
17 | 2722698.8774 | 1214030.0713 | 2722703.7466 | 1214018.318 | 2722710.7264 | 1213996.3113 | 2722715.0682 | 1213974.3838 | 2722716.2171 | 1213965.823 | 2722715.7505 | 1213947.0978
18 | 2722766.3954 | 1214078.6095 | 2722765.0247 | 1214059.1306
19 | 2722766.3954 | 1214078.6095 | 2722770.5839 | 1214117.2255 | 2722746.3907 | 1214120.2631 | 2722741.2711 | 1214119.0902 | 2722737.2259 | 1214115.5308
20 | 2722766.3954 | 1214078.6095 | 2722752.7168 | 1214080.5739 | 2722741.8551 | 1214079.2793
21 | 2722763.6097 | 1214039.0216 | 2722765.0247 | 1214059.1306
22 | 2722724.4399 | 1214110.5799 | 2722729.505 | 1214111.5755 | 2722734.1668 | 1214112.8391 | 2722737.2259 | 1214115.5308
23 | 2722712.1111 | 1214073.4116 | 2722739.2939 | 1214078.9741 | 2722741.8551 | 1214079.2793
24 | 2722658.6428 | 1214112.331 | 2722659.039 | 1214111.759
25 | 2722512.5626 | 1214198.8704 | 2722522.4159 | 1214195.9595 | 2722536.4432 | 1214189.5873 | 2722540.3968 | 1214188.4248
26 | 2722745.2708 | 1213873.6165 | 2722747.7977 | 1213873.4574 | 2722776.3146 | 1213871.7944
27 | 2722793.6644 | 1213773.6915 | 2722796.2822 | 1213778.6604
28 | 2722796.2822 | 1213778.6604 | 2722806.9476 | 1213800.229
29 | 2722793.6644 | 1213773.6915 | 2722790.7357 | 1213767.3923
30 | 2722793.6644 | 1213773.6915 | 2722782.7035 | 1213779.3743
31 | 2722816.8177 | 1213821.168 | 2722815.1085 | 1213816.733 | 2722806.9476 | 1213800.229
32 | 2722775.1902 | 1213728.8433 | 2722771.5859 | 1213730.815
33 | 2722763.9834 | 1213696.7211 | 2722779.8084 | 1213726.3364 | 2722775.1902 | 1213728.8433
34 | 2722775.1902 | 1213728.8433 | 2722779.8084 | 1213726.3364 | 2722780.9502 | 1213728.8174 | 2722782.5497 | 1213730.4738 | 2722784.5685 | 1213731.3272 | 2722789.0496 | 1213731.4195 | 2722793.7148 | 1213731.4267
35 | 2722764.5496 | 1213716.8149 | 2722771.5859 | 1213730.815
36 | 2722778.9774 | 1213745.2783 | 2722771.5859 | 1213730.815
37 | 2722542.9483 | 1213679.317 | 2722545.4838 | 1213678.6909 | 2722551.4637 | 1213677.2126 | 2722592.6008 | 1213658.0323 | 2722615.8147 | 1213645.0663 | 2722636.0399 | 1213631.4939 | 2722642.5367 | 1213628.9033 | 2722645.7098 | 1213628.3126 | 2722649.5208 | 1213628.8469 | 2722654.5478 | 1213629.7399 | 2722664.6949 | 1213629.2149 | 2722679.4038 | 1213623.3907 | 2722684.7695 | 1213621.8555 | 2722688.181 | 1213620.7582 | 2722702.6266 | 1213648.0208 | 2722724.6521 | 1213637.7995 | 2722732.1889 | 1213652.5994 | 2722734.6811 | 1213657.3988 | 2722745.2514 | 1213678.7439 | 2722749.3294 | 1213677.0154 | 2722750.8108 | 1213679.9815 | 2722754.6917 | 1213678.2267 | 2722763.9834 | 1213696.7211
38 | 2722793.7148 | 1213731.4267 | 2722796.271 | 1213739.3855 | 2722799.7829 | 1213740.0472
39 | 2722793.7148 | 1213731.4267 | 2722792.6252 | 1213728.041
40 | 2722787.4946 | 1213760.4209 | 2722790.7357 | 1213767.3923
41 | 2722799.7829 | 1213740.0472 | 2722802.7573 | 1213736.1943 | 2722811.8957 | 1213730.5416
42 | 2722542.9483 | 1213679.317 | 2722534.2396 | 1213687.1218 | 2722532.8408 | 1213690.8515 | 2722532.86 | 1213699.8922 | 2722537.7505 | 1213783.9018
43 | 2722811.8957 | 1213730.5416 | 2722816.1876 | 1213727.8868 | 2722824.5188 | 1213724.1786
44 | 2722839.9554 | 1213772.0993 | 2722836.7371 | 1213775.2576
45 | 2722836.7371 | 1213775.2576 | 2722832.4953 | 1213779.4068 | 2722829.9736 | 1213783.4135 | 2722829.9683 | 1213783.427
46 | 2722839.9554 | 1213772.0993 | 2722845.6766 | 1213765.5152
47 | 2722825.087 | 1213799.2608 | 2722827.2228 | 1213790.4289 | 2722829.9683 | 1213783.427
48 | 2722778.9774 | 1213745.2783 | 2722787.4946 | 1213760.4209
49 | 2722787.4946 | 1213760.4209 | 2722776.2331 | 1213765.3623
50 | 2722776.2331 | 1213765.3623 | 2722770.8326 | 1213767.7319
51 | 2722746.5802 | 1214004.3357 | 2722741.5192 | 1214003.0391 | 2722741.2733 | 1214003.0382
52 | 2722763.6097 | 1214039.0216 | 2722747.5262 | 1214036.7445
53 | 2722687.1667 | 1214054.5381 | 2722696.5826 | 1214035.6172 | 2722698.8774 | 1214030.0713
54 | 2722715.6604 | 1214108.8543 | 2722724.4399 | 1214110.5799
55 | 2722712.1111 | 1214073.4116 | 2722699.7849 | 1214070.8893
56 | 2722659.039 | 1214111.759 | 2722659.039 | 1214111.759 | 2722663.2952 | 1214100.6158 | 2722665.9245 | 1214094.3206 | 2722671.5083 | 1214084.8237
57 | 2722452.3687 | 1214187.2806 | 2722488.1264 | 1214194.1648 | 2722512.5626 | 1214198.8704
58 | 2722701.9588 | 1214106.1611 | 2722715.6604 | 1214108.8543
59 | 2722701.9588 | 1214106.1611 | 2722694.9325 | 1214104.7801
60 | 2722686.3212 | 1214103.0875 | 2722694.9325 | 1214104.7801
61 | 2722721.0034 | 1214034.5678 | 2722728.6292 | 1214036.0538
62 | 2722738.6095 | 1214035.482 | 2722738.6095 | 1214035.482 | 2722731.7622 | 1214036.6642 | 2722728.6292 | 1214036.0538
63 | 2722717.1493 | 1214033.8168 | 2722721.0034 | 1214034.5678
64 | 2722747.5262 | 1214036.7445 | 2722738.6095 | 1214035.482
65 | 2722687.1667 | 1214054.5381 | 2722678.6954 | 1214072.5999 | 2722671.5083 | 1214084.8237
66 | 2722671.9026 | 1214048.6306 | 2722687.1667 | 1214054.5381
67 | 2722768.2029 | 1213768.8858 | 2722770.8326 | 1213767.7319
68 | 2722764.5496 | 1213716.8149 | 2722754.0361 | 1213727.3844 | 2722754.0276 | 1213727.4867
69 | 2722752.074 | 1213740.3763 | 2722753.3481 | 1213735.6989 | 2722754.0276 | 1213727.4867
70 | 2722843.5706 | 1213708.0466 | 2722848.9247 | 1213712.9718 | 2722864.6548 | 1213728.3744 | 2722864.6254 | 1213734.2228
71 | 2722843.5706 | 1213708.0466 | 2722833.9088 | 1213715.9982 | 2722826.9084 | 1213723.115 | 2722824.6842 | 1213724.105
72 | 2722864.6254 | 1213734.2228 | 2722856.4593 | 1213747.8796
73 | 2722824.5188 | 1213724.1786 | 2722824.6842 | 1213724.105
74 | 2722856.4593 | 1213747.8796 | 2722848.1308 | 1213761.8082
75 | 2722848.1308 | 1213761.8082 | 2722846.4386 | 1213764.6382 | 2722845.6766 | 1213765.5152
76 | 2722741.2733 | 1214003.0382 | 2722735.5097 | 1214003.0154 | 2722731.1915 | 1214002.2618
77 | 2722722.2381 | 1214000.6993 | 2722731.1915 | 1214002.2618
78 | 2722723.995 | 1213808.0504 | 2722751.7693 | 1213810.7583
79 | 2722723.995 | 1213808.0504 | 2722727.1197 | 1213799.4748
80 | 2722723.995 | 1213808.0504 | 2722702.3557 | 1213815.1361
81 | 2722745.9386 | 1213750.5133 | 2722739.2742 | 1213760.873 | 2722736.62 | 1213766.1558 | 2722733.383 | 1213782.3906 | 2722731.3447 | 1213789.8655 | 2722727.1197 | 1213799.4748
82 | 2722698.1158 | 1213816.5244 | 2722702.3557 | 1213815.1361
83 | 2722752.074 | 1213740.3763 | 2722749.6879 | 1213745.1864 | 2722745.9386 | 1213750.5133
84 | 2722745.9386 | 1213750.5133 | 2722744.9804 | 1213749.8153 | 2722740.7966 | 1213746.2349
85 | 2722752.074 | 1213740.3763 | 2722753.5335 | 1213751.4148 | 2722753.5076 | 1213763.7349
86 | 2722119.5111 | 1213979.7948 | 2722134.2851 | 1213975.1716 | 2722143.3352 | 1213973.2777 | 2722157.9821 | 1213967.073 | 2722167.4989 | 1213965.3889 | 2722179.7937 | 1213966.8085 | 2722191.3013 | 1213969.9356 | 2722210.6336 | 1213973.4901 | 2722218.5281 | 1213973.8522 | 2722226.0954 | 1213974.9748
87 | 2722108.0696 | 1214010.5174 | 2722098.7951 | 1213985.5528 | 2722098.771 | 1213980.4261 | 2722096.9773 | 1213975.6301 | 2722098.8984 | 1213973.8348 | 2722104.0244 | 1213974.7071 | 2722116.0055 | 1213979.5672 | 2722119.5111 | 1213979.7948
88 | 2722108.0696 | 1214010.5174 | 2722119.9565 | 1214027.018 | 2722125.7538 | 1214042.582 | 2722132.13 | 1214045.4704 | 2722161.7323 | 1214057.6528 | 2722172.5994 | 1214059.399 | 2722215.6714 | 1214060.8939 | 2722223.8941 | 1214062.2857 | 2722234.5729 | 1214068.3982 | 2722242.5283 | 1214078.002 | 2722303.9666 | 1214157.4786 | 2722310.3234 | 1214167.1228
89 | 2722452.3687 | 1214187.2806 | 2722419.227 | 1214180.6505 | 2722399.8444 | 1214177.7281 | 2722353.2205 | 1214175.3472 | 2722325.5595 | 1214177.826 | 2722319.1816 | 1214175.7714 | 2722312.8601 | 1214170.9714 | 2722310.3234 | 1214167.1228

## bus_geodata
| x | y | coords
0 | 2722756.9419 | 1214160.5608
1 | 2722636.6369 | 1214172.8453
2 | 2722638.9093 | 1214156.0339
3 | 2722622.0674 | 1214174.4402
4 | 2722833.1726 | 1213864.8644
5 | 2722822.8975 | 1213865.7201
6 | 2722820.8516 | 1213831.6351
7 | 2722760.6211 | 1213967.972
8 | 2722733.6848 | 1213933.3686
9 | 2722761.344 | 1214008.1178
10 | 2722755.6126 | 1213949.4603
11 | 2722733.0229 | 1213874.3874
12 | 2722715.7505 | 1213947.0978
13 | 2722766.3954 | 1214078.6095
14 | 2722765.0247 | 1214059.1306
15 | 2722737.2259 | 1214115.5308
16 | 2722741.8551 | 1214079.2793
17 | 2722658.6428 | 1214112.331
18 | 2722540.3968 | 1214188.4248
19 | 2722776.3146 | 1213871.7944
20 | 2722796.2822 | 1213778.6604
21 | 2722793.6644 | 1213773.6915
22 | 2722806.9476 | 1213800.229
23 | 2722775.1902 | 1213728.8433
24 | 2722771.5859 | 1213730.815
25 | 2722763.9834 | 1213696.7211
26 | 2722793.7148 | 1213731.4267
27 | 2722790.7357 | 1213767.3923
28 | 2722782.7035 | 1213779.3743
29 | 2722799.7829 | 1213740.0472
30 | 2722792.6252 | 1213728.041
31 | 2722542.9483 | 1213679.317
32 | 2722811.8957 | 1213730.5416
33 | 2722836.7371 | 1213775.2576
34 | 2722839.9554 | 1213772.0993
35 | 2722829.9683 | 1213783.427
36 | 2722787.4946 | 1213760.4209
37 | 2722778.9774 | 1213745.2783
38 | 2722776.2331 | 1213765.3623
39 | 2722816.8177 | 1213821.168
40 | 2722825.087 | 1213799.2608
41 | 2722746.5802 | 1214004.3357
42 | 2722763.6097 | 1214039.0216
43 | 2722745.2708 | 1213873.6165
44 | 2722698.8774 | 1214030.0713
45 | 2722724.4399 | 1214110.5799
46 | 2722712.1111 | 1214073.4116
47 | 2722659.039 | 1214111.759
48 | 2722512.5626 | 1214198.8704
49 | 2722701.9588 | 1214106.1611
50 | 2722715.6604 | 1214108.8543
51 | 2722694.9325 | 1214104.7801
52 | 2722686.3212 | 1214103.0875
53 | 2722728.6292 | 1214036.0538
54 | 2722721.0034 | 1214034.5678
55 | 2722738.6095 | 1214035.482
56 | 2722717.1493 | 1214033.8168
57 | 2722747.5262 | 1214036.7445
58 | 2722671.5083 | 1214084.8237
59 | 2722687.1667 | 1214054.5381
60 | 2722671.9026 | 1214048.6306
61 | 2722699.7849 | 1214070.8893
62 | 2722770.8326 | 1213767.7319
63 | 2722764.5496 | 1213716.8149
64 | 2722754.0276 | 1213727.4867
65 | 2722843.5706 | 1213708.0466
66 | 2722864.6254 | 1213734.2228
67 | 2722824.6842 | 1213724.105
68 | 2722856.4593 | 1213747.8796
69 | 2722537.7505 | 1213783.9018
70 | 2722845.6766 | 1213765.5152
71 | 2722824.5188 | 1213724.1786
72 | 2722741.2733 | 1214003.0382
73 | 2722731.1915 | 1214002.2618
74 | 2722722.2381 | 1214000.6993
75 | 2722768.2029 | 1213768.8858
76 | 2722723.995 | 1213808.0504
77 | 2722751.7693 | 1213810.7583
78 | 2722727.1197 | 1213799.4748
79 | 2722702.3557 | 1213815.1361
80 | 2722745.9386 | 1213750.5133
81 | 2722698.1158 | 1213816.5244
82 | 2722740.7966 | 1213746.2349
83 | 2722752.074 | 1213740.3763
84 | 2722753.5076 | 1213763.7349
85 | 2722848.1308 | 1213761.8082
86 | 2722226.0954 | 1213974.9748
87 | 2722119.5111 | 1213979.7948
88 | 2722108.0696 | 1214010.5174
89 | 2722452.3687 | 1214187.2806
90 | 2722310.3234 | 1214167.1228
91 | 2722733.0229 | 1213874.3874

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98908 | -0.21022 | 0.0060106 | 0.0015064
1 | 0.98975 | -0.19727 | 0 | 0
2 | 0.98992 | -0.194 | 0.00069959 | 0.00017533
3 | 0.98969 | -0.19851 | 0.00068008 | 0.00017045
4 | 0.98605 | -0.2649 | 0 | 0
5 | 0.98693 | -0.24793 | 0 | 0
6 | 0.98301 | -0.32373 | 0.035786 | 0.0089687
7 | 0.99168 | -0.15826 | 0 | 0
8 | 1 | 0 | -0.57638 | -0.14805
9 | 0.98922 | -0.20551 | 0 | 0
10 | 0.99154 | -0.16102 | 0.0079781 | 0.0019995
11 | 0.99476 | -0.098571 | 0 | 0
12 | 0.99805 | -0.037305 | 0.0097449 | 0.0024423
13 | 0.98218 | -0.34191 | 0 | 0
14 | 0.98434 | -0.29995 | 0.0082074 | 0.002057
15 | 0.97827 | -0.4185 | 0.015916 | 0.0039889
16 | 0.98076 | -0.36969 | 0.031056 | 0.0077834
17 | 0.99042 | -0.18421 | 0.00098506 | 0.00024688
18 | 0.98938 | -0.20449 | 0.00086547 | 0.00021691
19 | 0.99099 | -0.17017 | 0.0021473 | 0.00053816
20 | 0.97887 | -0.40421 | 0 | 0
21 | 0.97848 | -0.41184 | 0 | 0
22 | 0.98054 | -0.37158 | 0.0020054 | 0.00050259
23 | 0.97559 | -0.46833 | 0 | 0
24 | 0.97572 | -0.46577 | 0.019416 | 0.004866
25 | 0.97534 | -0.47328 | 0 | 0
26 | 0.97495 | -0.48089 | 0 | 0
27 | 0.97805 | -0.42022 | 0.0046077 | 0.0011548
28 | 0.97819 | -0.41753 | 0.02529 | 0.0063382
29 | 0.97462 | -0.4874 | 0 | 0
30 | 0.97493 | -0.48128 | 0.0059069 | 0.0014804
31 | 0.97344 | -0.51071 | 0 | 0
32 | 0.97419 | -0.49593 | 0.0075286 | 0.0018868
33 | 0.97081 | -0.56255 | 0 | 0
34 | 0.97097 | -0.55936 | 0 | 0
35 | 0.97043 | -0.57012 | 0.010679 | 0.0026765
36 | 0.97758 | -0.42929 | 0 | 0
37 | 0.97662 | -0.44813 | 0 | 0
38 | 0.9774 | -0.43286 | 0.0062526 | 0.001567
39 | 0.98217 | -0.33998 | 0.014656 | 0.0036732
40 | 0.97 | -0.57861 | 0.027633 | 0.0069255
41 | 0.98891 | -0.21154 | 0.0056868 | 0.0014252
42 | 0.98672 | -0.25387 | 0 | 0
43 | 0.99368 | -0.11904 | 0.0050787 | 0.0012728
44 | 0.99288 | -0.13655 | 0 | 0
45 | 0.97773 | -0.42908 | 0.020126 | 0.005044
46 | 0.97989 | -0.38671 | 0.012809 | 0.0032102
47 | 0.99043 | -0.18406 | 0.00098313 | 0.0002464
48 | 0.98929 | -0.20618 | 0 | 0
49 | 0.9773 | -0.43748 | 0.017288 | 0.0043328
50 | 0.97755 | -0.43252 | 0.0016495 | 0.0004134
51 | 0.97729 | -0.43777 | 0.0012048 | 0.00030195
52 | 0.97728 | -0.43793 | 0.0009774 | 0.00024496
53 | 0.98544 | -0.2788 | 0.0071901 | 0.001802
54 | 0.98529 | -0.28172 | 0.0082251 | 0.0020614
55 | 0.9857 | -0.27369 | 0.00925 | 0.0023183
56 | 0.98524 | -0.28261 | 0.012684 | 0.0031788
57 | 0.98601 | -0.26766 | 0.010029 | 0.0025136
58 | 0.99079 | -0.17696 | 0.00097457 | 0.00024425
59 | 0.99124 | -0.16825 | 0 | 0
60 | 0.99047 | -0.1832 | 0.051576 | 0.012926
61 | 0.97968 | -0.39086 | 0.018147 | 0.0045481
62 | 0.97735 | -0.4339 | 0.0049354 | 0.0012369
63 | 0.97489 | -0.48206 | 0 | 0
64 | 0.9741 | -0.4977 | 0.011955 | 0.0029962
65 | 0.97335 | -0.51242 | 0 | 0
66 | 0.97268 | -0.5256 | 0 | 0
67 | 0.97383 | -0.50309 | 0.0064648 | 0.0016202
68 | 0.97223 | -0.53456 | 0.011026 | 0.0027634
69 | 0.97274 | -0.52464 | 0.006949 | 0.0017416
70 | 0.97129 | -0.55318 | 0.005742 | 0.0014391
71 | 0.97383 | -0.50301 | 0.014118 | 0.0035382
72 | 0.98883 | -0.21314 | 0.005372 | 0.0013464
73 | 0.98872 | -0.21516 | 0.0054889 | 0.0013756
74 | 0.98868 | -0.21607 | 0.0056345 | 0.0014121
75 | 0.97734 | -0.43415 | 0.0047172 | 0.0011822
76 | 0.97163 | -0.54648 | 0 | 0
77 | 0.97134 | -0.55216 | 0.011016 | 0.0027609
78 | 0.97179 | -0.54328 | 0.0093333 | 0.0023391
79 | 0.97146 | -0.54985 | 0.0056168 | 0.0014077
80 | 0.97319 | -0.51557 | 0 | 0
81 | 0.97145 | -0.55004 | 0.0023802 | 0.00059653
82 | 0.97317 | -0.51609 | 0.0041596 | 0.0010425
83 | 0.97355 | -0.50847 | 0 | 0
84 | 0.97329 | -0.51377 | 0.012289 | 0.0030798
85 | 0.97147 | -0.54955 | 0.0060114 | 0.0015066
86 | 0.98801 | -0.23133 | 0.001669 | 0.00041829
87 | 0.98818 | -0.22806 | 0 | 0
88 | 0.98827 | -0.22623 | 0 | 0
89 | 0.98912 | -0.20965 | 0 | 0
90 | 0.98869 | -0.21799 | 0.0014925 | 0.00037406
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0060106 | -0.0015064 | 0.0060143 | 0.0015072 | 3.7078e-06 | 8.1989e-07 | 0.0090425 | 0.009042 | 0.0090425 | 0.98908 | -0.21022 | 0.98975 | -0.19727 | 2.4842
1 | -0.010726 | -0.0026798 | 0.010728 | 0.0026806 | 1.6707e-06 | 8.4892e-07 | 0.016123 | 0.016122 | 0.016123 | 0.98975 | -0.19727 | 0.98992 | -0.194 | 4.4293
2 | 0.0047116 | 0.0011726 | -0.0047113 | -0.0011726 | 2.7555e-07 | -1.1995e-08 | 0.0070806 | 0.0070807 | 0.0070807 | 0.98975 | -0.19727 | 0.98969 | -0.19851 | 1.9452
3 | -0.011427 | -0.0028559 | 0.011432 | 0.0028587 | 5.317e-06 | 2.7845e-06 | 0.017174 | 0.017174 | 0.017174 | 0.98992 | -0.194 | 0.99042 | -0.18421 | 4.7182
4 | 0.0040312 | 0.0010021 | -0.0040301 | -0.0010025 | 1.1421e-06 | -3.3502e-07 | 0.0060581 | 0.0060585 | 0.0060585 | 0.98969 | -0.19851 | 0.98938 | -0.20449 | 1.6644
5 | -0.27925 | -0.071046 | 0.27948 | 0.071192 | 0.00022863 | 0.00014593 | 0.42178 | 0.42178 | 0.42178 | 0.98605 | -0.2649 | 0.98693 | -0.24793 | 38.6248
6 | 0.27925 | 0.071046 | -0.27846 | -0.070542 | 0.0007894 | 0.00050386 | 0.42178 | 0.42178 | 0.42178 | 0.98605 | -0.2649 | 0.98301 | -0.32373 | 38.6249
7 | -0.27948 | -0.071192 | 0.28053 | 0.071864 | 0.0010527 | 0.00067187 | 0.42178 | 0.42178 | 0.42178 | 0.98693 | -0.24793 | 0.99099 | -0.17017 | 38.6248
8 | 0.24267 | 0.061573 | -0.24248 | -0.061453 | 0.00018949 | 0.00012085 | 0.36761 | 0.36761 | 0.36761 | 0.98301 | -0.32373 | 0.98217 | -0.33998 | 33.6643
9 | -0.20671 | -0.052499 | 0.2083 | 0.05351 | 0.0015877 | 0.001011 | 0.31042 | 0.31042 | 0.31042 | 0.99168 | -0.15826 | 1 | 0 | 28.4269
10 | 0.19873 | 0.050499 | -0.19828 | -0.050212 | 0.00045098 | 0.00028706 | 0.29845 | 0.29845 | 0.29845 | 0.99168 | -0.15826 | 0.98922 | -0.20551 | 27.3305
11 | 0.0079792 | 0.0019999 | -0.0079781 | -0.0019995 | 1.0481e-06 | 4.1927e-07 | 0.011973 | 0.011973 | 0.011973 | 0.99168 | -0.15826 | 0.99154 | -0.16102 | 3.2893
12 | 0.29014 | 0.075194 | -0.28874 | -0.074306 | 0.0013914 | 0.00088817 | 0.43261 | 0.43261 | 0.43261 | 1 | 0 | 0.99476 | -0.098571 | 39.6164
13 | 0.076295 | 0.019345 | -0.076158 | -0.019258 | 0.00013654 | 8.7018e-05 | 0.11361 | 0.11361 | 0.11361 | 1 | 0 | 0.99805 | -0.037305 | 31.2108
14 | 0.022191 | 0.0055646 | -0.022185 | -0.0055607 | 6.3686e-06 | 3.8803e-06 | 0.033382 | 0.033382 | 0.033382 | 0.98922 | -0.20551 | 0.98891 | -0.21154 | 9.1708
15 | 0.17609 | 0.044648 | -0.17568 | -0.044387 | 0.00040829 | 0.00026051 | 0.26507 | 0.26507 | 0.26507 | 0.98922 | -0.20551 | 0.98672 | -0.25387 | 36.4104
16 | 0.28874 | 0.074306 | -0.28846 | -0.074123 | 0.00028709 | 0.00018326 | 0.43261 | 0.43261 | 0.43261 | 0.99476 | -0.098571 | 0.99368 | -0.11904 | 39.6164
17 | 0.066413 | 0.016816 | -0.066099 | -0.016615 | 0.00031486 | 0.0002004 | 0.099078 | 0.099079 | 0.099079 | 0.99805 | -0.037305 | 0.99288 | -0.13655 | 27.2194
18 | -0.11952 | -0.030089 | 0.11976 | 0.030242 | 0.00024023 | 0.0001535 | 0.18113 | 0.18113 | 0.18113 | 0.98218 | -0.34191 | 0.98434 | -0.29995 | 49.7601
19 | 0.0574 | 0.014477 | -0.05719 | -0.014344 | 0.00020963 | 0.00013323 | 0.086994 | 0.086995 | 0.086995 | 0.98218 | -0.34191 | 0.97827 | -0.4185 | 23.8997
20 | 0.062123 | 0.015612 | -0.062041 | -0.01556 | 8.2265e-05 | 5.2337e-05 | 0.094132 | 0.094132 | 0.094132 | 0.98218 | -0.34191 | 0.98076 | -0.36969 | 25.8605
21 | -0.12797 | -0.032299 | 0.12825 | 0.03248 | 0.00028314 | 0.00018096 | 0.19353 | 0.19353 | 0.19353 | 0.98434 | -0.29995 | 0.98672 | -0.25387 | 53.1686
22 | 0.041275 | 0.010355 | -0.041254 | -0.010342 | 2.0794e-05 | 1.3132e-05 | 0.062786 | 0.062786 | 0.062786 | 0.97827 | -0.4185 | 0.97773 | -0.42908 | 17.2488
23 | 0.030985 | 0.0077762 | -0.03096 | -0.0077605 | 2.5136e-05 | 1.5705e-05 | 0.047014 | 0.047014 | 0.047014 | 0.98076 | -0.36969 | 0.97989 | -0.38671 | 12.916
24 | -0.012417 | -0.0031056 | 0.012418 | 0.0031057 | 9.0788e-08 | 4.915e-08 | 0.018654 | 0.018654 | 0.018654 | 0.99042 | -0.18421 | 0.99043 | -0.18406 | 5.1247
25 | 0.0031646 | 0.00078555 | -0.0031644 | -0.00078577 | 2.5289e-07 | -2.2084e-07 | 0.0047569 | 0.004757 | 0.004757 | 0.98938 | -0.20449 | 0.98929 | -0.20618 | 1.3069
26 | -0.28268 | -0.072402 | 0.28338 | 0.07285 | 0.00070214 | 0.00044816 | 0.42501 | 0.42501 | 0.42501 | 0.99099 | -0.17017 | 0.99368 | -0.11904 | 38.92
27 | 0.22512 | 0.056832 | -0.22504 | -0.056779 | 8.2241e-05 | 5.2423e-05 | 0.34237 | 0.34237 | 0.34237 | 0.97887 | -0.40421 | 0.97848 | -0.41184 | 31.3523
28 | -0.22512 | -0.056832 | 0.22548 | 0.057057 | 0.00035255 | 0.00022472 | 0.34237 | 0.34237 | 0.34237 | 0.97887 | -0.40421 | 0.98054 | -0.37158 | 31.3523
29 | 0.19974 | 0.050437 | -0.19966 | -0.050386 | 8.0194e-05 | 5.1063e-05 | 0.3039 | 0.3039 | 0.3039 | 0.97848 | -0.41184 | 0.97805 | -0.42022 | 27.8294
30 | 0.025296 | 0.0063424 | -0.02529 | -0.0063382 | 6.8522e-06 | 4.2304e-06 | 0.03847 | 0.03847 | 0.03847 | 0.97848 | -0.41184 | 0.97819 | -0.41753 | 10.5688
31 | -0.22748 | -0.057559 | 0.22783 | 0.057779 | 0.00034546 | 0.00022022 | 0.34541 | 0.34541 | 0.34541 | 0.98054 | -0.37158 | 0.98217 | -0.33998 | 31.6309
32 | -0.1024 | -0.025789 | 0.10242 | 0.025796 | 1.251e-05 | 7.8529e-06 | 0.15624 | 0.15624 | 0.15624 | 0.97559 | -0.46833 | 0.97572 | -0.46577 | 14.3074
33 | 0.0069676 | 0.001748 | -0.006966 | -0.0017475 | 1.6449e-06 | 5.6797e-07 | 0.010628 | 0.010628 | 0.010628 | 0.97559 | -0.46833 | 0.97534 | -0.47328 | 2.9198
34 | 0.095437 | 0.02404 | -0.09538 | -0.024005 | 5.7318e-05 | 3.5874e-05 | 0.14561 | 0.14561 | 0.14561 | 0.97559 | -0.46833 | 0.97495 | -0.48089 | 13.3342
35 | 0.056918 | 0.014328 | -0.056874 | -0.0143 | 4.4273e-05 | 2.814e-05 | 0.086825 | 0.086825 | 0.086825 | 0.97572 | -0.46577 | 0.97489 | -0.48206 | 23.8531
36 | -0.17875 | -0.044991 | 0.1789 | 0.045087 | 0.00015087 | 9.5951e-05 | 0.27267 | 0.27267 | 0.27267 | 0.97572 | -0.46577 | 0.97662 | -0.44813 | 24.9699
37 | 0.006966 | 0.0017475 | -0.0069536 | -0.0017432 | 1.2417e-05 | 4.296e-06 | 0.010628 | 0.010629 | 0.010629 | 0.97534 | -0.47328 | 0.97344 | -0.51071 | 2.9202
38 | 0.089473 | 0.022524 | -0.089445 | -0.022507 | 2.783e-05 | 1.7365e-05 | 0.13659 | 0.13659 | 0.13659 | 0.97495 | -0.48089 | 0.97462 | -0.4874 | 12.5086
39 | 0.005907 | 0.0014804 | -0.0059069 | -0.0014804 | 1.0841e-07 | 2.5028e-08 | 0.0090155 | 0.0090155 | 0.0090155 | 0.97495 | -0.48089 | 0.97493 | -0.48128 | 2.4768
40 | 0.19506 | 0.049231 | -0.19497 | -0.049177 | 8.4704e-05 | 5.3921e-05 | 0.29689 | 0.29689 | 0.29689 | 0.97805 | -0.42022 | 0.97758 | -0.42929 | 27.1874
41 | 0.089445 | 0.022507 | -0.089409 | -0.022484 | 3.6413e-05 | 2.2721e-05 | 0.13659 | 0.13659 | 0.13659 | 0.97462 | -0.4874 | 0.97419 | -0.49593 | 12.5086
42 | 0.0069536 | 0.0017432 | -0.006949 | -0.0017416 | 4.613e-06 | 1.5998e-06 | 0.010629 | 0.01063 | 0.01063 | 0.97344 | -0.51071 | 0.97274 | -0.52464 | 2.9203
43 | 0.08188 | 0.020597 | -0.081852 | -0.02058 | 2.7709e-05 | 1.7205e-05 | 0.12509 | 0.12509 | 0.12509 | 0.97419 | -0.49593 | 0.97383 | -0.50301 | 11.4556
44 | -0.038338 | -0.0096178 | 0.038344 | 0.0096214 | 5.8315e-06 | 3.6765e-06 | 0.058766 | 0.058766 | 0.058766 | 0.97081 | -0.56255 | 0.97097 | -0.55936 | 16.1444
45 | 0.038338 | 0.0096178 | -0.038324 | -0.009609 | 1.3834e-05 | 8.7217e-06 | 0.058766 | 0.058766 | 0.058766 | 0.97081 | -0.56255 | 0.97043 | -0.57012 | 16.1444
46 | -0.038344 | -0.0096214 | 0.038355 | 0.0096286 | 1.1296e-05 | 7.1214e-06 | 0.058766 | 0.058766 | 0.058766 | 0.97097 | -0.55936 | 0.97129 | -0.55318 | 16.1444
47 | 0.027644 | 0.0069325 | -0.027633 | -0.0069255 | 1.1191e-05 | 6.9571e-06 | 0.04239 | 0.04239 | 0.04239 | 0.97043 | -0.57012 | 0.97 | -0.57861 | 11.6457
48 | 0.17906 | 0.045189 | -0.1789 | -0.045087 | 0.00016137 | 0.00010262 | 0.27267 | 0.27267 | 0.27267 | 0.97758 | -0.42929 | 0.97662 | -0.44813 | 24.9699
49 | 0.015908 | 0.003988 | -0.015906 | -0.0039865 | 2.7042e-06 | 1.5765e-06 | 0.024215 | 0.024215 | 0.024215 | 0.97758 | -0.42929 | 0.9774 | -0.43286 | 6.6525
50 | 0.0096532 | 0.0024194 | -0.0096527 | -0.0024192 | 4.7765e-07 | 2.3179e-07 | 0.014696 | 0.014696 | 0.014696 | 0.9774 | -0.43286 | 0.97735 | -0.4339 | 4.0374
51 | 0.016498 | 0.0041355 | -0.016497 | -0.0041347 | 1.2642e-06 | 7.3892e-07 | 0.024825 | 0.024825 | 0.024825 | 0.98891 | -0.21154 | 0.98883 | -0.21314 | 6.82
52 | 0.04743 | 0.011907 | -0.047399 | -0.011887 | 3.1171e-05 | 1.9742e-05 | 0.071534 | 0.071534 | 0.071534 | 0.98672 | -0.25387 | 0.98601 | -0.26766 | 19.6523
53 | 0.066099 | 0.016615 | -0.065999 | -0.016552 | 9.986e-05 | 6.356e-05 | 0.099079 | 0.099079 | 0.099079 | 0.99288 | -0.13655 | 0.99124 | -0.16825 | 27.2194
54 | 0.021128 | 0.0052978 | -0.021125 | -0.0052957 | 3.4694e-06 | 2.1082e-06 | 0.032156 | 0.032156 | 0.032156 | 0.97773 | -0.42908 | 0.97755 | -0.43252 | 8.8341
55 | 0.018151 | 0.0045503 | -0.018147 | -0.0045481 | 3.5845e-06 | 2.1356e-06 | 0.027563 | 0.027563 | 0.027563 | 0.97989 | -0.38671 | 0.97968 | -0.39086 | 7.5724
56 | -0.013401 | -0.0033521 | 0.013405 | 0.0033546 | 4.5237e-06 | 2.5119e-06 | 0.020131 | 0.020131 | 0.020131 | 0.99043 | -0.18406 | 0.99079 | -0.17696 | 5.5305
57 | 0.0031644 | 0.00078577 | -0.0031638 | -0.00078622 | 5.2021e-07 | -4.54e-07 | 0.004757 | 0.0047573 | 0.0047573 | 0.98929 | -0.20618 | 0.98912 | -0.20965 | 1.3069
58 | -0.01947 | -0.0048796 | 0.019475 | 0.0048823 | 4.6019e-06 | 2.7702e-06 | 0.029645 | 0.029645 | 0.029645 | 0.9773 | -0.43748 | 0.97755 | -0.43252 | 8.1443
59 | 0.0021822 | 0.00054673 | -0.0021822 | -0.0005468 | 2.9644e-08 | -7.0754e-08 | 0.0033225 | 0.0033226 | 0.0033226 | 0.9773 | -0.43748 | 0.97729 | -0.43777 | 0.9128
60 | 0.0009774 | 0.00024485 | -0.0009774 | -0.00024496 | 7.2886e-09 | -1.053e-07 | 0.0014882 | 0.0014882 | 0.0014882 | 0.97729 | -0.43777 | 0.97728 | -0.43793 | 0.40885
61 | 0.020912 | 0.0052423 | -0.020909 | -0.0052405 | 2.9052e-06 | 1.7604e-06 | 0.031578 | 0.031578 | 0.031578 | 0.98544 | -0.2788 | 0.98529 | -0.28172 | 8.6752
62 | -0.028102 | -0.0070443 | 0.028109 | 0.0070485 | 6.8476e-06 | 4.2532e-06 | 0.042435 | 0.042435 | 0.042435 | 0.98544 | -0.2788 | 0.9857 | -0.27369 | 11.6579
63 | 0.012684 | 0.0031791 | -0.012684 | -0.0031788 | 5.4034e-07 | 2.9581e-07 | 0.019156 | 0.019156 | 0.019156 | 0.98529 | -0.28172 | 0.98524 | -0.28261 | 5.2627
64 | -0.037359 | -0.0093668 | 0.03737 | 0.0093736 | 1.0742e-05 | 6.7601e-06 | 0.056399 | 0.056399 | 0.056399 | 0.9857 | -0.27369 | 0.98601 | -0.26766 | 15.4942
65 | -0.01438 | -0.0035988 | 0.014386 | 0.0036022 | 5.9682e-06 | 3.3799e-06 | 0.021594 | 0.021594 | 0.021594 | 0.99079 | -0.17696 | 0.99124 | -0.16825 | 5.9325
66 | 0.051613 | 0.01295 | -0.051576 | -0.012926 | 3.6757e-05 | 2.3314e-05 | 0.077485 | 0.077485 | 0.077485 | 0.99124 | -0.16825 | 0.99047 | -0.1832 | 21.287
67 | 0.0047173 | 0.0011822 | -0.0047172 | -0.0011822 | 5.5549e-08 | -4.3616e-10 | 0.0071821 | 0.0071821 | 0.0071821 | 0.97735 | -0.4339 | 0.97734 | -0.43415 | 1.9731
68 | 0.056874 | 0.0143 | -0.056832 | -0.014273 | 4.2435e-05 | 2.6971e-05 | 0.086825 | 0.086825 | 0.086825 | 0.97489 | -0.48206 | 0.9741 | -0.4977 | 23.8531
69 | 0.044877 | 0.011277 | -0.044854 | -0.011262 | 2.3072e-05 | 1.4603e-05 | 0.068563 | 0.068564 | 0.068564 | 0.9741 | -0.4977 | 0.97355 | -0.50847 | 18.8361
70 | 0.061243 | 0.015405 | -0.061204 | -0.015382 | 3.8518e-05 | 2.3342e-05 | 0.093645 | 0.093646 | 0.093646 | 0.97335 | -0.51242 | 0.97268 | -0.5256 | 8.5756
71 | -0.061243 | -0.015405 | 0.06127 | 0.015421 | 2.7328e-05 | 1.656e-05 | 0.093645 | 0.093645 | 0.093645 | 0.97335 | -0.51242 | 0.97383 | -0.50309 | 8.5756
72 | 0.061204 | 0.015382 | -0.061178 | -0.015365 | 2.6164e-05 | 1.635e-05 | 0.093646 | 0.093646 | 0.093646 | 0.97268 | -0.5256 | 0.97223 | -0.53456 | 12.8634
73 | -0.067735 | -0.017042 | 0.067735 | 0.017042 | 2.4259e-07 | 1.4849e-07 | 0.10352 | 0.10352 | 0.10352 | 0.97383 | -0.50309 | 0.97383 | -0.50301 | 9.4801
74 | 0.050152 | 0.012602 | -0.050116 | -0.012579 | 3.5867e-05 | 2.2754e-05 | 0.07677 | 0.07677 | 0.07677 | 0.97223 | -0.53456 | 0.97147 | -0.54955 | 21.0907
75 | -0.044097 | -0.011068 | 0.044105 | 0.011072 | 7.633e-06 | 4.8299e-06 | 0.067562 | 0.067562 | 0.067562 | 0.97129 | -0.55318 | 0.97147 | -0.54955 | 18.5611
76 | 0.011125 | 0.0027884 | -0.011124 | -0.0027878 | 1.0664e-06 | 5.5235e-07 | 0.016741 | 0.016741 | 0.016741 | 0.98883 | -0.21314 | 0.98872 | -0.21516 | 4.5991
77 | 0.0056347 | 0.0014122 | -0.0056345 | -0.0014121 | 2.451e-07 | 4.0306e-08 | 0.0084802 | 0.0084802 | 0.0084802 | 0.98872 | -0.21516 | 0.98868 | -0.21607 | 2.3297
78 | 0.011019 | 0.0027625 | -0.011016 | -0.0027609 | 2.9803e-06 | 1.5619e-06 | 0.016876 | 0.016876 | 0.016876 | 0.97163 | -0.54648 | 0.97134 | -0.55216 | 4.6362
79 | -0.019017 | -0.0047672 | 0.01902 | 0.004769 | 2.9033e-06 | 1.7451e-06 | 0.029125 | 0.029125 | 0.029125 | 0.97163 | -0.54648 | 0.97179 | -0.54328 | 8.0014
80 | 0.0079983 | 0.0020047 | -0.007997 | -0.0020042 | 1.2812e-06 | 5.3799e-07 | 0.012249 | 0.012249 | 0.012249 | 0.97163 | -0.54648 | 0.97146 | -0.54985 | 3.3652
81 | -0.028354 | -0.0071081 | 0.028391 | 0.0071314 | 3.7484e-05 | 2.3332e-05 | 0.043416 | 0.043416 | 0.043416 | 0.97179 | -0.54328 | 0.97319 | -0.51557 | 11.9275
82 | 0.0023802 | 0.00059649 | -0.0023802 | -0.00059653 | 2.2238e-08 | -4.1004e-08 | 0.0036458 | 0.0036458 | 0.0036458 | 0.97146 | -0.54985 | 0.97145 | -0.55004 | 1.0016
83 | -0.032551 | -0.0081739 | 0.032562 | 0.0081808 | 1.1035e-05 | 6.9149e-06 | 0.049776 | 0.049776 | 0.049776 | 0.97319 | -0.51557 | 0.97355 | -0.50847 | 13.6747
84 | 0.0041597 | 0.0010425 | -0.0041596 | -0.0010425 | 1.0151e-07 | -1.8181e-08 | 0.0063601 | 0.0063601 | 0.0063601 | 0.97319 | -0.51557 | 0.97317 | -0.51609 | 1.7473
85 | 0.012292 | 0.0030815 | -0.012289 | -0.0030798 | 3.1051e-06 | 1.6957e-06 | 0.018788 | 0.018788 | 0.018788 | 0.97355 | -0.50847 | 0.97329 | -0.51377 | 5.1614
86 | -0.001669 | -0.00041829 | 0.0016693 | 0.00041705 | 2.6013e-07 | -1.24e-06 | 0.0025137 | 0.0025132 | 0.0025137 | 0.98801 | -0.23133 | 0.98818 | -0.22806 | 0.69057
87 | -0.0016693 | -0.00041705 | 0.0016694 | 0.00041636 | 1.4466e-07 | -6.9003e-07 | 0.0025132 | 0.0025129 | 0.0025132 | 0.98818 | -0.22806 | 0.98827 | -0.22623 | 0.69043
88 | -0.0016694 | -0.00041636 | 0.0016701 | 0.00041325 | 6.513e-07 | -3.1106e-06 | 0.0025129 | 0.0025116 | 0.0025129 | 0.98827 | -0.22623 | 0.98869 | -0.21799 | 0.69035
89 | 0.0031638 | 0.00078622 | -0.0031626 | -0.00078731 | 1.2486e-06 | -1.0882e-06 | 0.0047573 | 0.0047579 | 0.0047579 | 0.98912 | -0.20965 | 0.98869 | -0.21799 | 1.3071

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57638 | 0.14805

## res_load
| p_mw | q_mvar
0 | 0.0060106 | 0.0015064
1 | 0.00069959 | 0.00017533
2 | 0.00068008 | 0.00017045
3 | 0.035786 | 0.0089687
4 | 0.0079781 | 0.0019995
5 | 0.0097449 | 0.0024423
6 | 0.0082074 | 0.002057
7 | 0.015916 | 0.0039889
8 | 0.031056 | 0.0077834
9 | 0.00098506 | 0.00024688
10 | 0.00086547 | 0.00021691
11 | 0.0021473 | 0.00053816
12 | 0.0020054 | 0.00050259
13 | 0.019416 | 0.004866
14 | 0.0046077 | 0.0011548
15 | 0.02529 | 0.0063382
16 | 0.0059069 | 0.0014804
17 | 0.0075286 | 0.0018868
18 | 0.010679 | 0.0026765
19 | 0.0062526 | 0.001567
20 | 0.014656 | 0.0036732
21 | 0.027633 | 0.0069255
22 | 0.0056868 | 0.0014252
23 | 0.0050787 | 0.0012728
24 | 0.020126 | 0.005044
25 | 0.012809 | 0.0032102
26 | 0.00098313 | 0.0002464
27 | 0.017288 | 0.0043328
28 | 0.0016495 | 0.0004134
29 | 0.0012048 | 0.00030195
30 | 0.0009774 | 0.00024496
31 | 0.0071901 | 0.001802
32 | 0.0082251 | 0.0020614
33 | 0.00925 | 0.0023183
34 | 0.012684 | 0.0031788
35 | 0.010029 | 0.0025136
36 | 0.00097457 | 0.00024425
37 | 0.051576 | 0.012926
38 | 0.018147 | 0.0045481
39 | 0.0049354 | 0.0012369
40 | 0.011955 | 0.0029962
41 | 0.0064648 | 0.0016202
42 | 0.011026 | 0.0027634
43 | 0.006949 | 0.0017416
44 | 0.005742 | 0.0014391
45 | 0.014118 | 0.0035382
46 | 0.005372 | 0.0013464
47 | 0.0054889 | 0.0013756
48 | 0.0056345 | 0.0014121
49 | 0.0047172 | 0.0011822
50 | 0.011016 | 0.0027609
51 | 0.0093333 | 0.0023391
52 | 0.0056168 | 0.0014077
53 | 0.0023802 | 0.00059653
54 | 0.0041596 | 0.0010425
55 | 0.012289 | 0.0030798
56 | 0.0060114 | 0.0015066
57 | 0.001669 | 0.00041829
58 | 0.0014925 | 0.00037406

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1