## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-59_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-59_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-59_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-59_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-59_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-59_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1632-59_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1632-59_0_5_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1632-59_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1632-59_0_5_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_1632-59_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1632-59_0_5_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1632-59_0_5_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1632-59_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1632-59_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1632-59_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_1632-59_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1632-59_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1632-59_0_5_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1632-59_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1632-59_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1632-59_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1632-59_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1632-59_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1632-59_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1632-59_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1632-59_0_5_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1632-59_0_5_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1632-59_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1632-59_0_5_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1632-59_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1632-59_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1632-59_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1632-59_0_5_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1632-59_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1632-59_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1632-59_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1632-59_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1632-59_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_MV_224_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-59_0_5_load_0 | 0 | 0.042746 | 0.010713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-59_0_5_load_1 | 1 | 0.024974 | 0.0062592 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-59_0_5_load_3 | 3 | 0.0080667 | 0.0020217 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-59_0_5_load_4 | 4 | 0.021183 | 0.005309 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-59_0_5_load_17 | 7 | 0.026868 | 0.0067338 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-59_0_5_load_39 | 9 | 0.071382 | 0.01789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-59_0_5_load_35 | 11 | 0.021837 | 0.0054729 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-59_0_5_load_20 | 14 | 0.015378 | 0.003854 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-59_0_5_load_18 | 15 | 0.011005 | 0.0027581 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-59_0_5_load_38 | 18 | 0.011178 | 0.0028014 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-59_0_5_load_40 | 19 | 0.084584 | 0.021199 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-59_0_5_load_34 | 21 | 0.0046586 | 0.0011676 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-59_0_5_load_21 | 23 | 0.010739 | 0.0026915 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-59_0_5_load_22 | 25 | 0.0062512 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-59_0_5_load_29 | 26 | 0.0064978 | 0.0016285 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-59_0_5_load_31 | 27 | 0.032314 | 0.0080986 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-59_0_5_load_19 | 28 | 0.010025 | 0.0025125 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-59_0_5_load_28 | 29 | 0.015723 | 0.0039407 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-59_0_5_load_36 | 30 | 0.0066132 | 0.0016574 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-59_0_5_load_32 | 31 | 0.001106 | 0.00027718 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-59_0_5_load_30 | 32 | 0.036465 | 0.0091389 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-59_0_5_load_37 | 33 | 0.0032421 | 0.00081255 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-59_0_5_load_26 | 34 | 0.0053409 | 0.0013385 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-59_0_5_load_23 | 35 | 0.017535 | 0.0043946 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-59_0_5_load_27 | 38 | 0.0029467 | 0.0007385 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-59_0_5_line_0 |  | 0 | 1 | 0.0064949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1632-59_0_5_line_1 |  | 0 | 2 | 0.016512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1632-59_0_5_line_2 |  | 1 | 3 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1632-59_0_5_line_3 |  | 2 | 4 | 0.021688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1632-59_0_5_line_4 |  | 2 | 5 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1632-59_0_5_line_5 |  | 3 | 6 | 0.020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1632-59_0_5_line_6 |  | 4 | 7 | 0.0011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-59_0_5_line_7 |  | 5 | 11 | 0.0019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1632-59_0_5_line_8 |  | 6 | 26 | 0.027487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1632-59_0_5_line_9 |  | 6 | 20 | 0.009945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-59_0_5_line_10 |  | 8 | 9 | 0.034639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-59_0_5_line_11 |  | 8 | 10 | 0.037136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-59_0_5_line_12 |  | 10 | 12 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-59_0_5_line_13 |  | 10 | 11 | 0.0086623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1632-59_0_5_line_14 |  | 12 | 27 | 0.011968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-59_0_5_line_15 |  | 13 | 14 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-59_0_5_line_16 |  | 13 | 15 | 0.023025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-59_0_5_line_17 |  | 15 | 22 | 0.012849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-59_0_5_line_18 |  | 16 | 17 | 0.078312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-59_0_5_line_19 |  | 16 | 18 | 0.0090968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-59_0_5_line_20 |  | 17 | 19 | 0.017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-59_0_5_line_21 |  | 18 | 29 | 0.0035274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-59_0_5_line_22 |  | 20 | 21 | 0.011394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-59_0_5_line_23 |  | 20 | 22 | 0.024971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-59_0_5_line_24 |  | 21 | 30 | 0.0066185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-59_0_5_line_25 |  | 22 | 23 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-59_0_5_line_26 |  | 23 | 24 | 0.029345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-59_0_5_line_27 |  | 24 | 25 | 0.022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-59_0_5_line_28 |  | 25 | 28 | 0.011361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-59_0_5_line_29 |  | 26 | 34 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-59_0_5_line_30 |  | 27 | 32 | 0.003891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-59_0_5_line_31 |  | 29 | 37 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-59_0_5_line_32 |  | 30 | 33 | 0.0027728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-59_0_5_line_33 |  | 31 | 32 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-59_0_5_line_34 |  | 34 | 36 | 0.0080646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-59_0_5_line_35 |  | 35 | 36 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-59_0_5_line_36 |  | 36 | 37 | 0.012368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-59_0_5_line_37 |  | 37 | 38 | 0.023143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-59_0_5_trafo_4 | 0.63 MVA 20/0.4 kV | 39 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2722860.7706 | 1213888.0166 | 2722862.205 | 1213889.9262 | 2722864.8269 | 1213893.0868
1 | 2722850.8535 | 1213874.8141 | 2722860.7706 | 1213888.0166
2 | 2722864.8269 | 1213893.0868 | 2722871.8059 | 1213901.4997 | 2722878.9041 | 1213908.8857
3 | 2722850.8535 | 1213874.8141 | 2722868.7883 | 1213862.6198
4 | 2722837.8163 | 1213874.3896 | 2722842.7594 | 1213871.6004 | 2722846.5226 | 1213877.7604 | 2722850.8535 | 1213874.8141
5 | 2722893.3923 | 1213923.9618 | 2722878.9041 | 1213908.8857
6 | 2722869.7105 | 1213861.9927 | 2722868.7883 | 1213862.6198
7 | 2722837.8163 | 1213874.3896 | 2722836.9685 | 1213872.6507
8 | 2722893.3923 | 1213923.9618 | 2722913.217 | 1213912.8507 | 2722917.2284 | 1213910.287
9 | 2722893.3923 | 1213923.9618 | 2722900.5978 | 1213930.8378
10 | 2722863.9364 | 1213841.3356 | 2722859.2258 | 1213834.6889 | 2722855.7447 | 1213833.2717 | 2722853.5025 | 1213833.3033 | 2722833.4756 | 1213838.0055
11 | 2722833.1726 | 1213864.8644 | 2722834.6262 | 1213864.7498 | 2722838.6583 | 1213863.7654 | 2722836.489 | 1213859.1616 | 2722833.8289 | 1213853.3023 | 2722828.6807 | 1213839.1298 | 2722833.4756 | 1213838.0055
12 | 2722822.8975 | 1213865.7201 | 2722833.1726 | 1213864.8644
13 | 2722833.1726 | 1213864.8644 | 2722836.9685 | 1213872.6507
14 | 2722822.8975 | 1213865.7201 | 2722811.6227 | 1213869.7354 | 2722811.6227 | 1213869.7354
15 | 2722861.2999 | 1213903.974 | 2722853.7955 | 1213896.0593
16 | 2722861.2999 | 1213903.974 | 2722871.6949 | 1213914.2516 | 2722877.5064 | 1213920.3267
17 | 2722881.7278 | 1213931.7719 | 2722880.8936 | 1213927.6404 | 2722881.1871 | 1213925.5671 | 2722880.4194 | 1213923.3718 | 2722877.5064 | 1213920.3267
18 | 2722909.1574 | 1213834.1286 | 2722919.6526 | 1213818.1882 | 2722923.4022 | 1213820.5895 | 2722926.0297 | 1213821.7668 | 2722928.6904 | 1213823.5453 | 2722931.9401 | 1213826.6035 | 2722933.7535 | 1213830.0436 | 2722957.1848 | 1213862.8853
19 | 2722957.1848 | 1213862.8853 | 2722951.2912 | 1213869.8148
20 | 2722909.1574 | 1213834.1286 | 2722896.735 | 1213846.9936
21 | 2722949.0058 | 1213872.5018 | 2722951.2912 | 1213869.8148
22 | 2722900.5978 | 1213930.8378 | 2722908.479 | 1213939.0669
23 | 2722881.7278 | 1213931.7719 | 2722889.0798 | 1213926.3859 | 2722896.687 | 1213934.0486 | 2722900.5978 | 1213930.8378
24 | 2722908.479 | 1213939.0669 | 2722913.0569 | 1213943.8469
25 | 2722881.7278 | 1213931.7719 | 2722870.1175 | 1213942.0852
26 | 2722846.9837 | 1213959.6886 | 2722853.3691 | 1213956.9625 | 2722870.1175 | 1213942.0852
27 | 2722846.9837 | 1213959.6886 | 2722845.6927 | 1213947.1301 | 2722844.7808 | 1213939.3943 | 2722844.2079 | 1213937.2859
28 | 2722844.2079 | 1213937.2859 | 2722841.2285 | 1213926.3221 | 2722841.2285 | 1213926.3221
29 | 2722922.5525 | 1213901.3529 | 2722917.2284 | 1213910.287
30 | 2722807.7382 | 1213869.9619 | 2722811.6227 | 1213869.7354
31 | 2722936.6348 | 1213887.0469 | 2722949.0058 | 1213872.5018
32 | 2722914.9747 | 1213945.8494 | 2722913.0569 | 1213943.8469
33 | 2722791.9306 | 1213870.8837 | 2722807.7382 | 1213869.9619
34 | 2722926.681 | 1213894.4252 | 2722922.5525 | 1213901.3529
35 | 2722926.681 | 1213894.4252 | 2722919.8333 | 1213895.9852 | 2722915.1952 | 1213900.1414
36 | 2722936.6348 | 1213887.0469 | 2722926.681 | 1213894.4252
37 | 2722936.6348 | 1213887.0469 | 2722935.477 | 1213897.1308 | 2722942.3432 | 1213908.1613

## bus_geodata
| x | y | coords
0 | 2722860.7706 | 1213888.0166
1 | 2722864.8269 | 1213893.0868
2 | 2722850.8535 | 1213874.8141
3 | 2722878.9041 | 1213908.8857
4 | 2722868.7883 | 1213862.6198
5 | 2722837.8163 | 1213874.3896
6 | 2722893.3923 | 1213923.9618
7 | 2722869.7105 | 1213861.9927
8 | 2722833.4756 | 1213838.0055
9 | 2722863.9364 | 1213841.3356
10 | 2722833.1726 | 1213864.8644
11 | 2722836.9686 | 1213872.6507
12 | 2722822.8975 | 1213865.7201
13 | 2722861.2999 | 1213903.974
14 | 2722853.7955 | 1213896.0593
15 | 2722877.5064 | 1213920.3267
16 | 2722957.1848 | 1213862.8853
17 | 2722909.1574 | 1213834.1286
18 | 2722951.2912 | 1213869.8148
19 | 2722896.735 | 1213846.9936
20 | 2722900.5978 | 1213930.8378
21 | 2722908.479 | 1213939.0669
22 | 2722881.7278 | 1213931.7719
23 | 2722870.1175 | 1213942.0852
24 | 2722846.9837 | 1213959.6886
25 | 2722844.2079 | 1213937.2859
26 | 2722917.2284 | 1213910.287
27 | 2722811.6227 | 1213869.7354
28 | 2722841.2285 | 1213926.3221
29 | 2722949.0058 | 1213872.5018
30 | 2722913.0569 | 1213943.8469
31 | 2722791.9306 | 1213870.8837
32 | 2722807.7382 | 1213869.9619
33 | 2722914.9747 | 1213945.8494
34 | 2722922.5525 | 1213901.3529
35 | 2722915.1952 | 1213900.1414
36 | 2722926.681 | 1213894.4252
37 | 2722936.6348 | 1213887.0469
38 | 2722942.3432 | 1213908.1613
39 | 2722869.7105 | 1213861.9927

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99667 | -0.063484 | 0.042746 | 0.010713
1 | 0.9963 | -0.070461 | 0.024974 | 0.0062592
2 | 0.99776 | -0.042681 | 0 | 0
3 | 0.99523 | -0.090914 | 0.0080667 | 0.0020217
4 | 1 | 0 | -0.48335 | -0.12236
5 | 0.99709 | -0.055635 | 0 | 0
6 | 0.99319 | -0.12995 | 0 | 0
7 | 0.99997 | -0.00052228 | 0.026868 | 0.0067338
8 | 0.99403 | -0.1144 | 0 | 0
9 | 0.99177 | -0.15811 | 0.071382 | 0.01789
10 | 0.99645 | -0.067753 | 0 | 0
11 | 0.99701 | -0.057018 | 0.021837 | 0.0054729
12 | 0.9958 | -0.080373 | 0 | 0
13 | 0.99072 | -0.17781 | 0 | 0
14 | 0.99057 | -0.18079 | 0.015378 | 0.003854
15 | 0.99104 | -0.17152 | 0.011005 | 0.0027581
16 | 0.98475 | -0.29248 | 0 | 0
17 | 0.9786 | -0.41228 | 0 | 0
18 | 0.98546 | -0.27866 | 0.011178 | 0.0028014
19 | 0.9772 | -0.43982 | 0.084584 | 0.021199
20 | 0.99257 | -0.14189 | 0 | 0
21 | 0.99242 | -0.14481 | 0.0046586 | 0.0011676
22 | 0.99135 | -0.16551 | 0 | 0
23 | 0.99097 | -0.17295 | 0.010739 | 0.0026915
24 | 0.99053 | -0.18143 | 0 | 0
25 | 0.99019 | -0.18797 | 0.0062512 | 0.0015667
26 | 0.99136 | -0.16493 | 0.0064978 | 0.0016285
27 | 0.99504 | -0.095086 | 0.032314 | 0.0080986
28 | 0.99009 | -0.19 | 0.010025 | 0.0025125
29 | 0.98577 | -0.27259 | 0.015723 | 0.0039407
30 | 0.99236 | -0.14597 | 0.0066132 | 0.0016574
31 | 0.99489 | -0.097968 | 0.001106 | 0.00027718
32 | 0.9949 | -0.09766 | 0.036465 | 0.0091389
33 | 0.99235 | -0.14613 | 0.0032421 | 0.00081255
34 | 0.99004 | -0.19029 | 0.0053409 | 0.0013385
35 | 0.98884 | -0.21338 | 0.017535 | 0.0043946
36 | 0.98906 | -0.20924 | 0 | 0
37 | 0.98775 | -0.23449 | 0 | 0
38 | 0.98768 | -0.23571 | 0.0029467 | 0.0007385
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.24717 | 0.062877 | -0.24708 | -0.062824 | 8.3065e-05 | 5.2823e-05 | 0.36935 | 0.36935 | 0.36935 | 0.99667 | -0.063484 | 0.9963 | -0.070461 | 25.3674
1 | -0.28991 | -0.07359 | 0.2902 | 0.073775 | 0.00029046 | 0.00018503 | 0.43317 | 0.43317 | 0.43317 | 0.99667 | -0.063484 | 0.99776 | -0.042681 | 29.7505
2 | 0.22211 | 0.056565 | -0.22189 | -0.056426 | 0.00021887 | 0.00013898 | 0.33205 | 0.33205 | 0.33205 | 0.9963 | -0.070461 | 0.99523 | -0.090914 | 22.8056
3 | -0.4539 | -0.11503 | 0.45483 | 0.11562 | 0.00093291 | 0.00059593 | 0.67737 | 0.67737 | 0.67737 | 0.99776 | -0.042681 | 1 | 0 | 46.5228
4 | 0.16369 | 0.041252 | -0.16359 | -0.041188 | 0.00010138 | 6.3934e-05 | 0.2442 | 0.24421 | 0.24421 | 0.99776 | -0.042681 | 0.99709 | -0.055635 | 16.7723
5 | 0.21382 | 0.054404 | -0.21342 | -0.054148 | 0.00040143 | 0.00025637 | 0.31999 | 0.31999 | 0.31999 | 0.99523 | -0.090914 | 0.99319 | -0.12995 | 43.9545
6 | 0.026869 | 0.0067342 | -0.026868 | -0.0067338 | 6.6852e-07 | 4.1322e-07 | 0.039981 | 0.039981 | 0.039981 | 1 | 0 | 0.99997 | -0.00052228 | 10.9839
7 | 0.16359 | 0.041188 | -0.16358 | -0.041181 | 1.0816e-05 | 6.8211e-06 | 0.24421 | 0.24421 | 0.24421 | 0.99709 | -0.055635 | 0.99701 | -0.057018 | 16.7723
8 | 0.14537 | 0.037041 | -0.14513 | -0.036885 | 0.00024497 | 0.00015607 | 0.21802 | 0.21802 | 0.21802 | 0.99319 | -0.12995 | 0.99136 | -0.16493 | 29.9474
9 | 0.06805 | 0.017106 | -0.068011 | -0.017082 | 3.8779e-05 | 2.469e-05 | 0.10197 | 0.10197 | 0.10197 | 0.99319 | -0.12995 | 0.99257 | -0.14189 | 28.0144
10 | 0.071531 | 0.017985 | -0.071382 | -0.01789 | 0.00014899 | 9.4909e-05 | 0.1071 | 0.1071 | 0.1071 | 0.99403 | -0.1144 | 0.99177 | -0.15811 | 29.4229
11 | -0.071531 | -0.017985 | 0.071691 | 0.018087 | 0.00015974 | 0.00010175 | 0.1071 | 0.1071 | 0.1071 | 0.99403 | -0.1144 | 0.99645 | -0.067753 | 29.4229
12 | 0.06998 | 0.017575 | -0.069938 | -0.017549 | 4.2114e-05 | 2.6819e-05 | 0.10452 | 0.10452 | 0.10452 | 0.99645 | -0.067753 | 0.9958 | -0.080373 | 28.713
13 | -0.14167 | -0.035662 | 0.14174 | 0.035709 | 7.2732e-05 | 4.6323e-05 | 0.21161 | 0.21161 | 0.21161 | 0.99645 | -0.067753 | 0.99701 | -0.057018 | 29.0679
14 | 0.069938 | 0.017549 | -0.069889 | -0.017517 | 4.9026e-05 | 3.1221e-05 | 0.10452 | 0.10452 | 0.10452 | 0.9958 | -0.080373 | 0.99504 | -0.095086 | 28.713
15 | 0.01538 | 0.0038553 | -0.015378 | -0.003854 | 2.1826e-06 | 1.2564e-06 | 0.0231 | 0.0231 | 0.0231 | 0.99072 | -0.17781 | 0.99057 | -0.18079 | 6.3463
16 | -0.01538 | -0.0038553 | 0.015385 | 0.003858 | 4.6075e-06 | 2.6522e-06 | 0.0231 | 0.0231 | 0.0231 | 0.99072 | -0.17781 | 0.99104 | -0.17152 | 6.3462
17 | -0.02639 | -0.0066161 | 0.026397 | 0.0066208 | 7.5649e-06 | 4.6759e-06 | 0.039624 | 0.039624 | 0.039624 | 0.99104 | -0.17152 | 0.99135 | -0.16551 | 10.8857
18 | 0.085182 | 0.02158 | -0.084695 | -0.02127 | 0.00048718 | 0.0003108 | 0.1288 | 0.1288 | 0.1288 | 0.98475 | -0.29248 | 0.9786 | -0.41228 | 35.3845
19 | -0.085182 | -0.02158 | 0.085239 | 0.021617 | 5.6591e-05 | 3.6102e-05 | 0.1288 | 0.1288 | 0.1288 | 0.98475 | -0.29248 | 0.98546 | -0.27866 | 35.3844
20 | 0.084695 | 0.02127 | -0.084584 | -0.021199 | 0.00011111 | 7.0888e-05 | 0.1288 | 0.1288 | 0.1288 | 0.9786 | -0.41228 | 0.9772 | -0.43982 | 35.3845
21 | -0.096417 | -0.024418 | 0.096445 | 0.024436 | 2.8072e-05 | 1.7921e-05 | 0.14568 | 0.14568 | 0.14568 | 0.98546 | -0.27866 | 0.98577 | -0.27259 | 40.0212
22 | 0.014517 | 0.0036389 | -0.014514 | -0.0036378 | 2.0237e-06 | 1.1479e-06 | 0.021763 | 0.021763 | 0.021763 | 0.99257 | -0.14189 | 0.99242 | -0.14481 | 5.9788
23 | 0.053495 | 0.013443 | -0.053435 | -0.013405 | 6.0246e-05 | 3.8235e-05 | 0.08021 | 0.08021 | 0.08021 | 0.99257 | -0.14189 | 0.99135 | -0.16551 | 22.0356
24 | 0.0098559 | 0.0024702 | -0.0098553 | -0.00247 | 5.4201e-07 | 2.6137e-07 | 0.014778 | 0.014778 | 0.014778 | 0.99242 | -0.14481 | 0.99236 | -0.14597 | 4.0598
25 | 0.027037 | 0.0067839 | -0.027028 | -0.0067779 | 9.5926e-06 | 5.9391e-06 | 0.040586 | 0.040586 | 0.040586 | 0.99135 | -0.16551 | 0.99097 | -0.17295 | 11.15
26 | 0.016289 | 0.0040864 | -0.016282 | -0.0040826 | 6.5839e-06 | 3.8358e-06 | 0.02446 | 0.02446 | 0.02446 | 0.99097 | -0.17295 | 0.99053 | -0.18143 | 6.7199
27 | 0.016282 | 0.0040826 | -0.016277 | -0.0040796 | 5.0704e-06 | 2.9543e-06 | 0.02446 | 0.02446 | 0.02446 | 0.99053 | -0.18143 | 0.99019 | -0.18797 | 6.7199
28 | 0.010026 | 0.0025129 | -0.010025 | -0.0025125 | 9.6713e-07 | 4.7283e-07 | 0.015066 | 0.015066 | 0.015066 | 0.99019 | -0.18797 | 0.99009 | -0.19 | 4.1391
29 | 0.13863 | 0.035257 | -0.13846 | -0.035148 | 0.00016916 | 0.00010813 | 0.20826 | 0.20826 | 0.20826 | 0.99136 | -0.16493 | 0.99004 | -0.19029 | 57.2154
30 | 0.037575 | 0.0094188 | -0.037571 | -0.0094159 | 4.6073e-06 | 2.8981e-06 | 0.056192 | 0.056192 | 0.056192 | 0.99504 | -0.095086 | 0.9949 | -0.09766 | 15.4374
31 | -0.11217 | -0.028377 | 0.11237 | 0.028508 | 0.00020551 | 0.00013128 | 0.16941 | 0.16941 | 0.16941 | 0.98577 | -0.27259 | 0.98775 | -0.23449 | 46.5416
32 | 0.0032422 | 0.00081253 | -0.0032421 | -0.00081255 | 2.4574e-08 | -2.0095e-08 | 0.0048615 | 0.0048615 | 0.0048615 | 0.99236 | -0.14597 | 0.99235 | -0.14613 | 1.3356
33 | -0.001106 | -0.00027718 | 0.001106 | 0.00027699 | 1.6247e-08 | -1.9522e-07 | 0.0016542 | 0.0016541 | 0.0016542 | 0.99489 | -0.097968 | 0.9949 | -0.09766 | 0.45444
34 | 0.13312 | 0.03381 | -0.133 | -0.033732 | 0.00012126 | 7.75e-05 | 0.20024 | 0.20024 | 0.20024 | 0.99004 | -0.19029 | 0.98906 | -0.20924 | 55.0101
35 | -0.017535 | -0.0043946 | 0.017538 | 0.0043967 | 3.4597e-06 | 2.0442e-06 | 0.026386 | 0.026386 | 0.026386 | 0.98884 | -0.21338 | 0.98906 | -0.20924 | 7.249
36 | 0.11546 | 0.029336 | -0.11532 | -0.029246 | 0.00014018 | 8.9556e-05 | 0.17385 | 0.17385 | 0.17385 | 0.98906 | -0.20924 | 0.98775 | -0.23449 | 47.7612
37 | 0.0029468 | 0.00073832 | -0.0029467 | -0.0007385 | 1.7103e-07 | -1.8675e-07 | 0.0044392 | 0.0044393 | 0.0044393 | 0.98775 | -0.23449 | 0.98768 | -0.23571 | 1.2196

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50453 | 0.12767

## res_load
| p_mw | q_mvar
0 | 0.042746 | 0.010713
1 | 0.024974 | 0.0062592
2 | 0.0080667 | 0.0020217
3 | 0.021183 | 0.005309
4 | 0.026868 | 0.0067338
5 | 0.071382 | 0.01789
6 | 0.021837 | 0.0054729
7 | 0.015378 | 0.003854
8 | 0.011005 | 0.0027581
9 | 0.011178 | 0.0028014
10 | 0.084584 | 0.021199
11 | 0.0046586 | 0.0011676
12 | 0.010739 | 0.0026915
13 | 0.0062512 | 0.0015667
14 | 0.0064978 | 0.0016285
15 | 0.032314 | 0.0080986
16 | 0.010025 | 0.0025125
17 | 0.015723 | 0.0039407
18 | 0.0066132 | 0.0016574
19 | 0.001106 | 0.00027718
20 | 0.036465 | 0.0091389
21 | 0.0032421 | 0.00081255
22 | 0.0053409 | 0.0013385
23 | 0.017535 | 0.0043946
24 | 0.0029467 | 0.0007385

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1