## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-74_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-74_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-74_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-74_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-74_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-74_0_5_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1632-74_0_5_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_1632-74_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1632-74_0_5_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1632-74_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1632-74_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1632-74_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1632-74_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1632-74_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1632-74_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1632-74_0_5_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1632-74_0_5_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_1632-74_0_5_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_1632-74_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1632-74_0_5_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_1632-74_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1632-74_0_5_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_1632-74_0_5_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_1632-74_0_5_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1632-74_0_5_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1632-74_0_5_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_1632-74_0_5_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_1632-74_0_5_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_1632-74_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1632-74_0_5_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_1632-74_0_5_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_1632-74_0_5_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1632-74_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1632-74_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1632-74_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1632-74_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1632-74_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1632-74_0_5_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1632-74_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1632-74_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1632-74_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1632-74_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1632-74_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1632-74_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1632-74_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1632-74_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1632-74_0_5_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1632-74_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_1632-74_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1632-74_0_5_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1632-74_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1632-74_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1632-74_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1632-74_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1632-74_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1632-74_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1632-74_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1632-74_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_1632-74_0_5_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_1632-74_0_5_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_224_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-74_0_5_load_0 | 0 | 0.008877 | 0.0022248 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-74_0_5_load_2 | 2 | 0.015537 | 0.0038938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-74_0_5_load_3 | 3 | 0.018162 | 0.0045518 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-74_0_5_load_4 | 4 | 0.015806 | 0.0039614 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-74_0_5_load_23 | 5 | 0.013708 | 0.0034355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-74_0_5_load_50 | 6 | 0.0072858 | 0.001826 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-74_0_5_load_27 | 8 | 0.0051056 | 0.0012796 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-74_0_5_load_5 | 9 | 0.0059013 | 0.001479 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-74_0_5_load_6 | 10 | 0.0074347 | 0.0018633 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-74_0_5_load_26 | 15 | 0.0066952 | 0.001678 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-74_0_5_load_58 | 16 | 0.0041557 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-74_0_5_load_57 | 17 | 0.0075439 | 0.0018907 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-74_0_5_load_24 | 18 | 0.0081936 | 0.0020535 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-74_0_5_load_64 | 19 | 0.0019673 | 0.00049304 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-74_0_5_load_42 | 21 | 0.0242 | 0.0060651 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-74_0_5_load_34 | 23 | 0.0056542 | 0.0014171 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-74_0_5_load_31 | 24 | 0.007496 | 0.0018787 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-74_0_5_load_62 | 25 | 0.010308 | 0.0025833 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-74_0_5_load_60 | 26 | 0.0081752 | 0.0020489 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-74_0_5_load_59 | 27 | 0.0071414 | 0.0017898 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-74_0_5_load_52 | 29 | 0.047609 | 0.011932 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-74_0_5_load_49 | 30 | 0.008211 | 0.0020579 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-74_0_5_load_48 | 31 | 0.0081796 | 0.00205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-74_0_5_load_37 | 32 | 0.0084684 | 0.0021224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-74_0_5_load_35 | 33 | 0.011875 | 0.0029763 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-74_0_5_load_18 | 34 | 0.0088881 | 0.0022276 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-74_0_5_load_19 | 35 | 0.011746 | 0.0029438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-74_0_5_load_20 | 36 | 0.010645 | 0.0026678 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-74_0_5_load_21 | 37 | 0.0046439 | 0.0011639 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-74_0_5_load_22 | 38 | 0.007266 | 0.001821 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-74_0_5_load_33 | 39 | 0.0074542 | 0.0018682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-74_0_5_load_25 | 40 | 0.010985 | 0.0027531 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-74_0_5_load_29 | 41 | 0.011146 | 0.0027935 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-74_0_5_load_28 | 42 | 0.0092574 | 0.0023201 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-74_0_5_load_32 | 44 | 0.011157 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-74_0_5_load_41 | 46 | 0.0062877 | 0.0015758 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-74_0_5_load_39 | 47 | 0.0073555 | 0.0018435 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-74_0_5_load_36 | 48 | 0.0097278 | 0.002438 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-74_0_5_load_56 | 49 | 0.0063157 | 0.0015829 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-74_0_5_load_46 | 50 | 0.011898 | 0.0029819 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-74_0_5_load_43 | 51 | 0.0095246 | 0.0023871 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-74_0_5_load_44 | 52 | 0.0075004 | 0.0018798 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-74_0_5_load_45 | 53 | 0.0074883 | 0.0018767 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-74_0_5_load_47 | 54 | 0.0066931 | 0.0016774 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-74_0_5_load_51 | 55 | 0.014915 | 0.003738 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-74_0_5_load_53 | 56 | 0.014683 | 0.0036799 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-74_0_5_load_55 | 57 | 0.01396 | 0.0034987 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-74_0_5_load_63 | 58 | 0.016283 | 0.004081 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1632-74_0_5_load_61 | 59 | 0.014538 | 0.0036437 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-74_0_5_line_0 |  | 0 | 1 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-74_0_5_line_1 |  | 0 | 2 | 0.0083975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-74_0_5_line_2 |  | 1 | 3 | 0.0095604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-74_0_5_line_3 |  | 1 | 4 | 0.010909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-74_0_5_line_4 |  | 3 | 5 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-74_0_5_line_5 |  | 4 | 6 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-74_0_5_line_6 |  | 5 | 7 | 0.018384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-74_0_5_line_7 |  | 6 | 8 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-74_0_5_line_8 |  | 7 | 18 | 0.02955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-74_0_5_line_9 |  | 8 | 12 | 0.018554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-74_0_5_line_10 |  | 9 | 10 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-74_0_5_line_11 |  | 9 | 11 | 0.03028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-74_0_5_line_12 |  | 10 | 12 | 0.0071144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-74_0_5_line_13 |  | 11 | 13 | 0.039108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1632-74_0_5_line_14 |  | 11 | 14 | 0.049254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-74_0_5_line_15 |  | 12 | 15 | 0.020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-74_0_5_line_16 |  | 13 | 16 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-74_0_5_line_17 |  | 13 | 17 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1632-74_0_5_line_18 |  | 14 | 19 | 0.0067609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-74_0_5_line_19 |  | 17 | 23 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1632-74_0_5_line_20 |  | 18 | 24 | 0.023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-74_0_5_line_21 |  | 20 | 21 | 0.032294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1632-74_0_5_line_22 |  | 20 | 22 | 0.00532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1632-74_0_5_line_23 |  | 21 | 28 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1632-74_0_5_line_24 |  | 22 | 29 | 0.029587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1632-74_0_5_line_25 |  | 22 | 27 | 0.0090975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-74_0_5_line_26 |  | 23 | 39 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1632-74_0_5_line_27 |  | 25 | 26 | 0.0037616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-74_0_5_line_28 |  | 26 | 59 | 0.023478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-74_0_5_line_29 |  | 28 | 47 | 0.03204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1632-74_0_5_line_30 |  | 28 | 48 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-74_0_5_line_31 |  | 29 | 55 | 0.034857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-74_0_5_line_32 |  | 30 | 31 | 0.014779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-74_0_5_line_33 |  | 31 | 54 | 0.0072765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-74_0_5_line_34 |  | 32 | 33 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-74_0_5_line_35 |  | 33 | 48 | 0.021687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-74_0_5_line_36 |  | 34 | 35 | 0.0036829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1632-74_0_5_line_37 |  | 34 | 36 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1632-74_0_5_line_38 |  | 35 | 37 | 0.015999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1632-74_0_5_line_39 |  | 36 | 38 | 0.00068333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1632-74_0_5_line_40 |  | 37 | 39 | 0.007413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1632-74_0_5_line_41 |  | 38 | 40 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1632-74_0_5_line_42 |  | 40 | 41 | 0.0016605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1632-74_0_5_line_43 |  | 41 | 42 | 0.026937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1632-74_0_5_line_44 |  | 42 | 43 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1632-74_0_5_line_45 |  | 43 | 44 | 0.021322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1632-74_0_5_line_46 |  | 44 | 45 | 0.033536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1632-74_0_5_line_47 |  | 45 | 46 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1632-74_0_5_line_48 |  | 45 | 47 | 0.022424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1632-74_0_5_line_49 |  | 46 | 49 | 0.0091723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1632-74_0_5_line_50 |  | 49 | 50 | 0.015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1632-74_0_5_line_51 |  | 50 | 52 | 0.011012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-74_0_5_line_52 |  | 51 | 52 | 0.0098795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-74_0_5_line_53 |  | 51 | 53 | 0.0048803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-74_0_5_line_54 |  | 53 | 54 | 0.016592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-74_0_5_line_55 |  | 55 | 56 | 0.0065102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-74_0_5_line_56 |  | 56 | 57 | 0.031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1632-74_0_5_line_57 |  | 57 | 58 | 0.016103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1632-74_0_5_line_58 |  | 58 | 59 | 0.0054278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-74_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 60 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2722954.2401 | 1212911.8365 | 2722955.982 | 1212929.9062
1 | 2722956.7878 | 1212938.2649 | 2722955.982 | 1212929.9062
2 | 2722954.2401 | 1212911.8365 | 2722945.01 | 1212909.3456
3 | 2722954.2401 | 1212911.8365 | 2722964.7727 | 1212914.6781
4 | 2722945.01 | 1212909.3456 | 2722931.7467 | 1212905.7663
5 | 2722964.7727 | 1212914.6781 | 2722979.1772 | 1212918.5643
6 | 2722913.9975 | 1212900.9765 | 2722931.7467 | 1212905.7663
7 | 2722995.3716 | 1212922.9334 | 2722979.1772 | 1212918.5643
8 | 2722913.9975 | 1212900.9765 | 2722906.116 | 1212929.456
9 | 2723013.2852 | 1212927.7664 | 2722995.3716 | 1212922.9334
10 | 2723035.7103 | 1212932.1032 | 2723035.4177 | 1212932.0262 | 2723033.4856 | 1212933.2206 | 2723020.1536 | 1212929.6209
11 | 2723063.966 | 1212941.3446 | 2723060.1879 | 1212940.2992 | 2723058.6064 | 1212938.1315 | 2723035.7103 | 1212932.1032
12 | 2723013.2852 | 1212927.7664 | 2723020.1536 | 1212929.6209
13 | 2723064.5113 | 1212980.4415 | 2723064.4611 | 1212976.2483 | 2723063.966 | 1212941.3446
14 | 2723063.966 | 1212941.3446 | 2723063.9911 | 1212933.8727 | 2723063.1434 | 1212923.0357 | 2723068.311 | 1212923.0313 | 2723070.6893 | 1212923.047 | 2723073.7505 | 1212922.7433 | 2723077.5902 | 1212921.9108 | 2723081.3011 | 1212919.9525 | 2723085.2952 | 1212919.0009 | 2723088.7348 | 1212917.6708 | 2723091.6668 | 1212914.4289
15 | 2723013.2852 | 1212927.7664 | 2723015.3917 | 1212948.5633
16 | 2723064.5113 | 1212980.4415 | 2723064.5848 | 1212985.3468 | 2723064.792 | 1212998.9532
17 | 2723064.5113 | 1212980.4415 | 2723041.7848 | 1212982.6881
18 | 2723091.6668 | 1212914.4289 | 2723085.6499 | 1212911.3454
19 | 2723041.7848 | 1212982.6881 | 2723029.2434 | 1212983.9278
20 | 2722906.116 | 1212929.456 | 2722899.8729 | 1212952.0148
21 | 2722962.3375 | 1213148.4522 | 2722950.9263 | 1213118.2413
22 | 2722962.3375 | 1213148.4522 | 2722957.0828 | 1213147.5321
23 | 2722943.4663 | 1213098.4914 | 2722950.9263 | 1213118.2413
24 | 2722957.0828 | 1213147.5321 | 2722957.4574 | 1213145.5827 | 2722957.0859 | 1213143.6958 | 2722947.9971 | 1213119.6789
25 | 2722957.0828 | 1213147.5321 | 2722955.7577 | 1213148.7724 | 2722953.6289 | 1213149.5624 | 2722948.7269 | 1213150.6057
26 | 2723029.2434 | 1212983.9278 | 2723016.7645 | 1212985.1614
27 | 2722906.1951 | 1213009.0283 | 2722904.8684 | 1213005.5084
28 | 2722906.1951 | 1213009.0283 | 2722914.4755 | 1213030.9976
29 | 2722943.4663 | 1213098.4914 | 2722932.1396 | 1213068.5202
30 | 2722943.4663 | 1213098.4914 | 2722954.7277 | 1213097.4137
31 | 2722935.6601 | 1213087.0786 | 2722947.9971 | 1213119.6789
32 | 2723015.5282 | 1213038.5534 | 2723030.2365 | 1213037.1053
33 | 2723015.5282 | 1213038.5534 | 2723008.2868 | 1213039.2664
34 | 2722991.0033 | 1213093.9423 | 2722976.3163 | 1213095.3478
35 | 2722954.7277 | 1213097.4137 | 2722976.3163 | 1213095.3478
36 | 2722989.8008 | 1212987.8268 | 2722993.4659 | 1212987.4645
37 | 2722989.8008 | 1212987.8268 | 2722967.4636 | 1212990.0349
38 | 2722993.4659 | 1212987.4645 | 2723009.3874 | 1212985.8906
39 | 2722966.7836 | 1212990.1021 | 2722967.4636 | 1212990.0349
40 | 2723016.7645 | 1212985.1614 | 2723009.3874 | 1212985.8906
41 | 2722966.7836 | 1212990.1021 | 2722945.6083 | 1212992.1954
42 | 2722943.9559 | 1212992.3587 | 2722945.6083 | 1212992.1954
43 | 2722943.9559 | 1212992.3587 | 2722917.149 | 1212995.0087
44 | 2722904.8213 | 1212996.2273 | 2722917.149 | 1212995.0087
45 | 2722904.8213 | 1212996.2273 | 2722912.3582 | 1213016.1731
46 | 2722924.2124 | 1213047.5442 | 2722912.3582 | 1213016.1731
47 | 2722924.2124 | 1213047.5442 | 2722941.2063 | 1213045.871
48 | 2722924.2124 | 1213047.5442 | 2722932.1396 | 1213068.5202
49 | 2722941.2063 | 1213045.871 | 2722950.3345 | 1213044.9723
50 | 2722966.1262 | 1213043.4174 | 2722950.3345 | 1213044.9723
51 | 2722977.0854 | 1213042.3384 | 2722966.1262 | 1213043.4174
52 | 2722986.9174 | 1213041.3704 | 2722977.0854 | 1213042.3384
53 | 2722986.9174 | 1213041.3704 | 2722991.7742 | 1213040.8922
54 | 2723008.2868 | 1213039.2664 | 2722991.7742 | 1213040.8922
55 | 2722935.6601 | 1213087.0786 | 2722933.3559 | 1213080.9898
56 | 2722922.0692 | 1213051.145 | 2722923.9371 | 1213056.1007 | 2722933.3559 | 1213080.9898
57 | 2722916.3898 | 1213036.0766 | 2722922.0692 | 1213051.145
58 | 2722916.3898 | 1213036.0766 | 2722914.4755 | 1213030.9976

## bus_geodata
| x | y | coords
0 | 2722955.982 | 1212929.9062
1 | 2722954.2401 | 1212911.8365
2 | 2722956.7878 | 1212938.2649
3 | 2722945.01 | 1212909.3456
4 | 2722964.7727 | 1212914.6781
5 | 2722931.7467 | 1212905.7663
6 | 2722979.1772 | 1212918.5643
7 | 2722913.9975 | 1212900.9765
8 | 2722995.3716 | 1212922.9334
9 | 2723035.7103 | 1212932.1032
10 | 2723020.1536 | 1212929.6209
11 | 2723063.966 | 1212941.3446
12 | 2723013.2852 | 1212927.7664
13 | 2723064.5113 | 1212980.4415
14 | 2723091.6668 | 1212914.4288
15 | 2723015.3917 | 1212948.5633
16 | 2723064.792 | 1212998.9532
17 | 2723041.7848 | 1212982.6881
18 | 2722906.116 | 1212929.456
19 | 2723085.6499 | 1212911.3454
20 | 2722962.3375 | 1213148.4522
21 | 2722950.9263 | 1213118.2413
22 | 2722957.0828 | 1213147.5321
23 | 2723029.2434 | 1212983.9278
24 | 2722899.8729 | 1212952.0148
25 | 2722904.8684 | 1213005.5084
26 | 2722906.1951 | 1213009.0283
27 | 2722948.7269 | 1213150.6057
28 | 2722943.4663 | 1213098.4914
29 | 2722947.9971 | 1213119.6789
30 | 2723030.2365 | 1213037.1053
31 | 2723015.5282 | 1213038.5534
32 | 2722991.0033 | 1213093.9423
33 | 2722976.3163 | 1213095.3478
34 | 2722989.8008 | 1212987.8268
35 | 2722993.4659 | 1212987.4645
36 | 2722967.4636 | 1212990.0349
37 | 2723009.3874 | 1212985.8906
38 | 2722966.7836 | 1212990.1021
39 | 2723016.7645 | 1212985.1614
40 | 2722945.6083 | 1212992.1954
41 | 2722943.9559 | 1212992.3587
42 | 2722917.149 | 1212995.0087
43 | 2722904.8213 | 1212996.2273
44 | 2722912.3582 | 1213016.1731
45 | 2722924.2124 | 1213047.5442
46 | 2722941.2063 | 1213045.871
47 | 2722932.1396 | 1213068.5202
48 | 2722954.7277 | 1213097.4137
49 | 2722950.3345 | 1213044.9723
50 | 2722966.1262 | 1213043.4174
51 | 2722986.9174 | 1213041.3704
52 | 2722977.0854 | 1213042.3384
53 | 2722991.7742 | 1213040.8922
54 | 2723008.2868 | 1213039.2664
55 | 2722935.6601 | 1213087.0786
56 | 2722933.3559 | 1213080.9898
57 | 2722922.0692 | 1213051.145
58 | 2722916.3898 | 1213036.0766
59 | 2722914.4755 | 1213030.9976
60 | 2722924.2124 | 1213047.5442

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97254 | -0.5298 | 0.008877 | 0.0022248
1 | 0.97296 | -0.52164 | 0 | 0
2 | 0.97242 | -0.53221 | 0.015537 | 0.0038938
3 | 0.97253 | -0.53002 | 0.018162 | 0.0045518
4 | 0.97369 | -0.50719 | 0.015806 | 0.0039614
5 | 0.97215 | -0.53746 | 0.013708 | 0.0034355
6 | 0.97491 | -0.48315 | 0.0072858 | 0.001826
7 | 0.97189 | -0.54278 | 0 | 0
8 | 0.9764 | -0.45395 | 0.0051056 | 0.0012796
9 | 0.98058 | -0.37218 | 0.0059013 | 0.001479
10 | 0.97884 | -0.40619 | 0.0074347 | 0.0018633
11 | 0.98397 | -0.30643 | 0 | 0
12 | 0.97813 | -0.42003 | 0 | 0
13 | 0.9862 | -0.26352 | 0 | 0
14 | 0.98388 | -0.30817 | 0 | 0
15 | 0.978 | -0.42258 | 0.0066952 | 0.001678
16 | 0.98613 | -0.2649 | 0.0041557 | 0.0010415
17 | 0.9871 | -0.2463 | 0.0075439 | 0.0018907
18 | 0.97145 | -0.55134 | 0.0081936 | 0.0020535
19 | 0.98387 | -0.30841 | 0.0019673 | 0.00049304
20 | 0.99116 | -0.16895 | 0 | 0
21 | 0.99225 | -0.14783 | 0.0242 | 0.0060651
22 | 0.99079 | -0.17592 | 0 | 0
23 | 0.98749 | -0.23876 | 0.0056542 | 0.0014171
24 | 0.97129 | -0.55458 | 0.007496 | 0.0018787
25 | 0.98223 | -0.34225 | 0.010308 | 0.0025833
26 | 0.98227 | -0.34155 | 0.0081752 | 0.0020489
27 | 0.99074 | -0.17707 | 0.0071414 | 0.0017898
28 | 0.99309 | -0.13179 | 0 | 0
29 | 0.98888 | -0.21289 | 0.047609 | 0.011932
30 | 0.99846 | -0.029557 | 0.008211 | 0.0020579
31 | 0.99857 | -0.027435 | 0.0081796 | 0.00205
32 | 0.99226 | -0.14782 | 0.0084684 | 0.0021224
33 | 0.99237 | -0.14561 | 0.011875 | 0.0029763
34 | 0.98885 | -0.21257 | 0.0088881 | 0.0022276
35 | 0.98871 | -0.21525 | 0.011746 | 0.0029438
36 | 0.98975 | -0.19536 | 0.010645 | 0.0026678
37 | 0.98815 | -0.22608 | 0.0046439 | 0.0011639
38 | 0.98978 | -0.1948 | 0.007266 | 0.001821
39 | 0.9879 | -0.23094 | 0.0074542 | 0.0018682
40 | 0.99072 | -0.17682 | 0.010985 | 0.0027531
41 | 0.99079 | -0.17533 | 0.011146 | 0.0027935
42 | 0.99212 | -0.14998 | 0.0092574 | 0.0023201
43 | 0.99275 | -0.13784 | 0 | 0
44 | 0.99384 | -0.11697 | 0.011157 | 0.0027961
45 | 0.99565 | -0.082599 | 0 | 0
46 | 0.99739 | -0.049481 | 0.0062877 | 0.0015758
47 | 0.99457 | -0.10325 | 0.0073555 | 0.0018435
48 | 0.99278 | -0.1378 | 0.0097278 | 0.002438
49 | 0.99834 | -0.031486 | 0.0063157 | 0.0015829
50 | 1 | 0 | -0.51028 | -0.12997
51 | 0.99916 | -0.016054 | 0.0095246 | 0.0023871
52 | 0.99952 | -0.0091403 | 0.0075004 | 0.0018798
53 | 0.99903 | -0.018659 | 0.0074883 | 0.0018767
54 | 0.99868 | -0.025351 | 0.0066931 | 0.0016774
55 | 0.9859 | -0.27076 | 0.014915 | 0.003738
56 | 0.98543 | -0.27986 | 0.014683 | 0.0036799
57 | 0.98357 | -0.31616 | 0.01396 | 0.0034987
58 | 0.98283 | -0.33048 | 0.016283 | 0.004081
59 | 0.98267 | -0.33371 | 0.014538 | 0.0036437
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.024415 | -0.0061197 | 0.024425 | 0.0061255 | 9.4999e-06 | 5.8546e-06 | 0.037356 | 0.037356 | 0.037356 | 0.97254 | -0.5298 | 0.97296 | -0.52164 | 10.2628
1 | 0.015538 | 0.0038949 | -0.015537 | -0.0038938 | 1.7799e-06 | 1.035e-06 | 0.023774 | 0.023774 | 0.023774 | 0.97254 | -0.5298 | 0.97242 | -0.53221 | 6.5314
2 | 0.0476 | 0.011945 | -0.047581 | -0.011933 | 1.9003e-05 | 1.2043e-05 | 0.072804 | 0.072804 | 0.072804 | 0.97296 | -0.52164 | 0.97253 | -0.53002 | 20.0012
3 | -0.072025 | -0.01807 | 0.072075 | 0.018102 | 4.9645e-05 | 3.1637e-05 | 0.11016 | 0.11016 | 0.11016 | 0.97296 | -0.52164 | 0.97369 | -0.50719 | 30.2639
4 | 0.02942 | 0.0073807 | -0.029409 | -0.0073742 | 1.0439e-05 | 6.5109e-06 | 0.045016 | 0.045016 | 0.045016 | 0.97253 | -0.53002 | 0.97215 | -0.53746 | 12.367
5 | -0.087881 | -0.022063 | 0.087982 | 0.022128 | 0.00010094 | 6.4413e-05 | 0.13432 | 0.13432 | 0.13432 | 0.97369 | -0.50719 | 0.97491 | -0.48315 | 36.9
6 | 0.015701 | 0.0039387 | -0.015697 | -0.0039364 | 3.9823e-06 | 2.3208e-06 | 0.024034 | 0.024034 | 0.024034 | 0.97215 | -0.53746 | 0.97189 | -0.54278 | 6.6028
7 | -0.095268 | -0.023954 | 0.095401 | 0.024038 | 0.00013305 | 8.4939e-05 | 0.14544 | 0.14544 | 0.14544 | 0.97491 | -0.48315 | 0.9764 | -0.45395 | 39.9551
8 | 0.015697 | 0.0039364 | -0.015691 | -0.0039327 | 6.4011e-06 | 3.7307e-06 | 0.024034 | 0.024034 | 0.024034 | 0.97189 | -0.54278 | 0.97145 | -0.55134 | 6.6029
9 | -0.10051 | -0.025318 | 0.10067 | 0.025422 | 0.00016334 | 0.0001043 | 0.15322 | 0.15322 | 0.15322 | 0.9764 | -0.45395 | 0.97813 | -0.42003 | 42.0926
10 | 0.11506 | 0.029129 | -0.11487 | -0.029009 | 0.00018752 | 0.00011981 | 0.17471 | 0.17471 | 0.17471 | 0.98058 | -0.37218 | 0.97884 | -0.40619 | 47.9961
11 | -0.12096 | -0.030608 | 0.12134 | 0.030853 | 0.00038302 | 0.00024475 | 0.18366 | 0.18366 | 0.18366 | 0.98058 | -0.37218 | 0.98397 | -0.30643 | 50.4562
12 | 0.10744 | 0.027146 | -0.10737 | -0.027101 | 7.1235e-05 | 4.5501e-05 | 0.1634 | 0.1634 | 0.1634 | 0.97884 | -0.40619 | 0.97813 | -0.42003 | 44.8911
13 | -0.12331 | -0.031345 | 0.12357 | 0.031508 | 0.00025542 | 0.00016247 | 0.18664 | 0.18664 | 0.18664 | 0.98397 | -0.30643 | 0.9862 | -0.26352 | 25.6368
14 | 0.0019675 | 0.00049245 | -0.0019673 | -0.00049297 | 1.6349e-07 | -5.2094e-07 | 0.0029751 | 0.0029753 | 0.0029753 | 0.98397 | -0.30643 | 0.98388 | -0.30817 | 0.81738
15 | 0.0066961 | 0.0016782 | -0.0066952 | -0.001678 | 8.1342e-07 | 2.5825e-07 | 0.010187 | 0.010187 | 0.010187 | 0.97813 | -0.42003 | 0.978 | -0.42258 | 2.7986
16 | 0.004156 | 0.0010415 | -0.0041557 | -0.0010415 | 2.73e-07 | -6.1495e-08 | 0.0062707 | 0.0062707 | 0.0062707 | 0.9862 | -0.26352 | 0.98613 | -0.2649 | 1.7227
17 | -0.12772 | -0.032549 | 0.12783 | 0.032616 | 0.00010623 | 6.7112e-05 | 0.19291 | 0.19291 | 0.19291 | 0.9862 | -0.26352 | 0.9871 | -0.2463 | 17.6654
18 | 0.0019673 | 0.00049297 | -0.0019673 | -0.00049304 | 2.2444e-08 | -7.1498e-08 | 0.0029753 | 0.0029753 | 0.0029753 | 0.98388 | -0.30817 | 0.98387 | -0.30841 | 0.81739
19 | -0.13537 | -0.034507 | 0.13542 | 0.034538 | 4.9303e-05 | 3.0909e-05 | 0.20428 | 0.20428 | 0.20428 | 0.9871 | -0.2463 | 0.98749 | -0.23876 | 14.0301
20 | 0.0074972 | 0.0018791 | -0.007496 | -0.0018787 | 1.1576e-06 | 4.511e-07 | 0.011484 | 0.011484 | 0.011484 | 0.97145 | -0.55134 | 0.97129 | -0.55458 | 3.1549
21 | -0.14836 | -0.037471 | 0.14851 | 0.037565 | 0.00015033 | 9.4548e-05 | 0.22283 | 0.22283 | 0.22283 | 0.99116 | -0.16895 | 0.99225 | -0.14783 | 15.3046
22 | 0.14836 | 0.037471 | -0.14831 | -0.037439 | 4.9531e-05 | 3.1563e-05 | 0.22283 | 0.22283 | 0.22283 | 0.99116 | -0.16895 | 0.99079 | -0.17592 | 30.6091
23 | -0.17271 | -0.043631 | 0.17284 | 0.043714 | 0.0001329 | 8.3962e-05 | 0.25912 | 0.25912 | 0.25912 | 0.99225 | -0.14783 | 0.99309 | -0.13179 | 17.797
24 | 0.14117 | 0.035649 | -0.14092 | -0.03549 | 0.00024959 | 0.00015898 | 0.21211 | 0.21211 | 0.21211 | 0.99079 | -0.17592 | 0.98888 | -0.21289 | 29.1359
25 | 0.0071418 | 0.0017899 | -0.0071414 | -0.0017898 | 3.9248e-07 | 1.3403e-07 | 0.010726 | 0.010726 | 0.010726 | 0.99079 | -0.17592 | 0.99074 | -0.17707 | 2.9467
26 | -0.14108 | -0.035955 | 0.14113 | 0.035989 | 5.3234e-05 | 3.3428e-05 | 0.2128 | 0.2128 | 0.2128 | 0.98749 | -0.23876 | 0.9879 | -0.23094 | 14.6152
27 | -0.010308 | -0.0025833 | 0.010308 | 0.0025835 | 3.4396e-07 | 1.7252e-07 | 0.015615 | 0.015615 | 0.015615 | 0.98223 | -0.34225 | 0.98227 | -0.34155 | 4.2899
28 | -0.018483 | -0.0046324 | 0.01849 | 0.0046365 | 6.9024e-06 | 4.1202e-06 | 0.028 | 0.028 | 0.028 | 0.98227 | -0.34155 | 0.98267 | -0.33371 | 7.6922
29 | -0.20293 | -0.051261 | 0.20321 | 0.051438 | 0.00027798 | 0.00017625 | 0.30421 | 0.30421 | 0.30421 | 0.99309 | -0.13179 | 0.99457 | -0.10325 | 20.8936
30 | 0.030089 | 0.007547 | -0.03008 | -0.0075416 | 8.6237e-06 | 5.3728e-06 | 0.045086 | 0.045086 | 0.045086 | 0.99309 | -0.13179 | 0.99278 | -0.1378 | 12.3864
31 | 0.09331 | 0.023558 | -0.093052 | -0.023394 | 0.00025792 | 0.00016462 | 0.14047 | 0.14047 | 0.14047 | 0.98888 | -0.21289 | 0.9859 | -0.27076 | 38.5906
32 | -0.008211 | -0.0020579 | 0.0082118 | 0.0020582 | 8.2991e-07 | 3.3782e-07 | 0.012237 | 0.012237 | 0.012237 | 0.99846 | -0.029557 | 0.99857 | -0.027435 | 3.3618
33 | -0.016391 | -0.0041082 | 0.016393 | 0.0041091 | 1.6279e-06 | 9.4668e-07 | 0.024426 | 0.024426 | 0.024426 | 0.99857 | -0.027435 | 0.99868 | -0.025351 | 6.7103
34 | -0.0084684 | -0.0021224 | 0.0084693 | 0.0021228 | 8.923e-07 | 3.8047e-07 | 0.012699 | 0.012699 | 0.012699 | 0.99226 | -0.14782 | 0.99237 | -0.14561 | 3.4889
35 | -0.020345 | -0.005099 | 0.020352 | 0.0051036 | 7.5684e-06 | 4.5635e-06 | 0.030506 | 0.030506 | 0.030506 | 0.99237 | -0.14561 | 0.99278 | -0.1378 | 8.3808
36 | 0.16511 | 0.04205 | -0.16509 | -0.042037 | 2.1355e-05 | 1.3478e-05 | 0.24869 | 0.24869 | 0.24869 | 0.98885 | -0.21257 | 0.98871 | -0.21525 | 17.0807
37 | -0.174 | -0.044278 | 0.17414 | 0.044369 | 0.00014453 | 9.1343e-05 | 0.26207 | 0.26207 | 0.26207 | 0.98885 | -0.21257 | 0.98975 | -0.19536 | 17.9993
38 | 0.15334 | 0.039093 | -0.15326 | -0.039043 | 8.005e-05 | 5.0411e-05 | 0.23102 | 0.23102 | 0.23102 | 0.98871 | -0.21525 | 0.98815 | -0.22608 | 15.8666
39 | -0.18479 | -0.047037 | 0.18479 | 0.04704 | 4.9535e-06 | 3.1351e-06 | 0.27807 | 0.27807 | 0.27807 | 0.98975 | -0.19536 | 0.98978 | -0.1948 | 19.0984
40 | 0.14862 | 0.037879 | -0.14858 | -0.037857 | 3.4879e-05 | 2.1943e-05 | 0.22402 | 0.22402 | 0.22402 | 0.98815 | -0.22608 | 0.9879 | -0.23094 | 15.3863
41 | -0.19206 | -0.048861 | 0.19222 | 0.048967 | 0.00016661 | 0.00010553 | 0.289 | 0.289 | 0.289 | 0.98978 | -0.1948 | 0.99072 | -0.17682 | 19.8486
42 | -0.20321 | -0.05172 | 0.20322 | 0.051729 | 1.4528e-05 | 9.2125e-06 | 0.30549 | 0.30549 | 0.30549 | 0.99072 | -0.17682 | 0.99079 | -0.17533 | 20.9818
43 | -0.21437 | -0.054522 | 0.21463 | 0.054689 | 0.00026222 | 0.00016643 | 0.32223 | 0.32223 | 0.32223 | 0.99079 | -0.17533 | 0.99212 | -0.14998 | 22.1315
44 | -0.22389 | -0.057009 | 0.22402 | 0.057092 | 0.00013121 | 8.3331e-05 | 0.33612 | 0.33612 | 0.33612 | 0.99212 | -0.14998 | 0.99275 | -0.13784 | 23.0851
45 | -0.22402 | -0.057092 | 0.22425 | 0.057236 | 0.00022583 | 0.00014343 | 0.33612 | 0.33612 | 0.33612 | 0.99275 | -0.13784 | 0.99384 | -0.11697 | 23.085
46 | -0.2354 | -0.060032 | 0.23579 | 0.060281 | 0.00039137 | 0.00024874 | 0.35282 | 0.35282 | 0.35282 | 0.99384 | -0.11697 | 0.99565 | -0.082599 | 24.2323
47 | -0.44657 | -0.11369 | 0.44728 | 0.11415 | 0.00071443 | 0.00045634 | 0.66804 | 0.66803 | 0.66804 | 0.99565 | -0.082599 | 0.99739 | -0.049481 | 45.8815
48 | 0.21077 | 0.053414 | -0.21057 | -0.053281 | 0.00020888 | 0.00013252 | 0.31521 | 0.31521 | 0.31521 | 0.99565 | -0.082599 | 0.99457 | -0.10325 | 21.6494
49 | -0.45357 | -0.11573 | 0.45397 | 0.11598 | 0.0003946 | 0.00025207 | 0.67742 | 0.67742 | 0.67742 | 0.99739 | -0.049481 | 0.99834 | -0.031486 | 46.5258
50 | -0.46028 | -0.11756 | 0.46098 | 0.11801 | 0.00070177 | 0.0004483 | 0.68683 | 0.68683 | 0.68683 | 0.99834 | -0.031486 | 1 | 0 | 47.1723
51 | 0.047645 | 0.011959 | -0.047624 | -0.011945 | 2.076e-05 | 1.3142e-05 | 0.070902 | 0.070902 | 0.070902 | 1 | 0 | 0.99952 | -0.0091403 | 19.4786
52 | -0.04011 | -0.010057 | 0.040123 | 0.010066 | 1.322e-05 | 8.3316e-06 | 0.059736 | 0.059736 | 0.059736 | 0.99916 | -0.016054 | 0.99952 | -0.0091403 | 16.411
53 | 0.030586 | 0.0076702 | -0.030582 | -0.0076678 | 3.7974e-06 | 2.3664e-06 | 0.045551 | 0.045551 | 0.045551 | 0.99916 | -0.016054 | 0.99903 | -0.018659 | 12.5141
54 | 0.023093 | 0.0057911 | -0.023086 | -0.0057866 | 7.3622e-06 | 4.4946e-06 | 0.034398 | 0.034398 | 0.034398 | 0.99903 | -0.018659 | 0.99868 | -0.025351 | 9.45
55 | 0.078137 | 0.019656 | -0.078103 | -0.019634 | 3.3969e-05 | 2.1657e-05 | 0.11796 | 0.11796 | 0.11796 | 0.9859 | -0.27076 | 0.98543 | -0.27986 | 32.4063
56 | 0.06342 | 0.015954 | -0.063311 | -0.015884 | 0.00010978 | 6.9856e-05 | 0.095787 | 0.095787 | 0.095787 | 0.98543 | -0.27986 | 0.98357 | -0.31616 | 26.3152
57 | 0.04935 | 0.012386 | -0.049317 | -0.012364 | 3.3667e-05 | 2.1343e-05 | 0.074667 | 0.074667 | 0.074667 | 0.98357 | -0.31616 | 0.98283 | -0.33048 | 20.513
58 | 0.033034 | 0.0082834 | -0.033028 | -0.0082802 | 5.0915e-06 | 3.1898e-06 | 0.050015 | 0.050015 | 0.050015 | 0.98283 | -0.33048 | 0.98267 | -0.33371 | 13.7403

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52218 | 0.13295

## res_load
| p_mw | q_mvar
0 | 0.008877 | 0.0022248
1 | 0.015537 | 0.0038938
2 | 0.018162 | 0.0045518
3 | 0.015806 | 0.0039614
4 | 0.013708 | 0.0034355
5 | 0.0072858 | 0.001826
6 | 0.0051056 | 0.0012796
7 | 0.0059013 | 0.001479
8 | 0.0074347 | 0.0018633
9 | 0.0066952 | 0.001678
10 | 0.0041557 | 0.0010415
11 | 0.0075439 | 0.0018907
12 | 0.0081936 | 0.0020535
13 | 0.0019673 | 0.00049304
14 | 0.0242 | 0.0060651
15 | 0.0056542 | 0.0014171
16 | 0.007496 | 0.0018787
17 | 0.010308 | 0.0025833
18 | 0.0081752 | 0.0020489
19 | 0.0071414 | 0.0017898
20 | 0.047609 | 0.011932
21 | 0.008211 | 0.0020579
22 | 0.0081796 | 0.00205
23 | 0.0084684 | 0.0021224
24 | 0.011875 | 0.0029763
25 | 0.0088881 | 0.0022276
26 | 0.011746 | 0.0029438
27 | 0.010645 | 0.0026678
28 | 0.0046439 | 0.0011639
29 | 0.007266 | 0.001821
30 | 0.0074542 | 0.0018682
31 | 0.010985 | 0.0027531
32 | 0.011146 | 0.0027935
33 | 0.0092574 | 0.0023201
34 | 0.011157 | 0.0027961
35 | 0.0062877 | 0.0015758
36 | 0.0073555 | 0.0018435
37 | 0.0097278 | 0.002438
38 | 0.0063157 | 0.0015829
39 | 0.011898 | 0.0029819
40 | 0.0095246 | 0.0023871
41 | 0.0075004 | 0.0018798
42 | 0.0074883 | 0.0018767
43 | 0.0066931 | 0.0016774
44 | 0.014915 | 0.003738
45 | 0.014683 | 0.0036799
46 | 0.01396 | 0.0034987
47 | 0.016283 | 0.004081
48 | 0.014538 | 0.0036437

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1