## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-83_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-83_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-83_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-83_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-83_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-83_0_4_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_1632-83_0_4_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_1632-83_0_4_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_1632-83_0_4_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_1632-83_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_1632-83_0_4_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_1632-83_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1632-83_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1632-83_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1632-83_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1632-83_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_1632-83_0_4_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_1632-83_0_4_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_1632-83_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1632-83_0_4_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_1632-83_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1632-83_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1632-83_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1632-83_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1632-83_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1632-83_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1632-83_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1632-83_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1632-83_0_4_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_1632-83_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1632-83_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1632-83_0_4_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_1632-83_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1632-83_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1632-83_0_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_1632-83_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_1632-83_0_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1632-83_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_1632-83_0_4_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_1632-83_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_1632-83_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_1632-83_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1632-83_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1632-83_0_4_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_1632-83_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1632-83_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1632-83_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1632-83_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_1632-83_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_1632-83_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_1632-83_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_1632-83_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_1632-83_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_1632-83_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_1632-83_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_1632-83_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1632-83_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_1632-83_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1632-83_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_1632-83_0_4_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_1632-83_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_1632-83_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_1632-83_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_1632-83_0_4_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_1632-83_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_1632-83_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_1632-83_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1632-83_0_4_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_1632-83_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_1632-83_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_1632-83_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1632-83_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_1632-83_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_1632-83_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_1632-83_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_MV_227_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-83_0_4_load_0 | 0 | 0.018126 | 0.0045428 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-83_0_4_load_2 | 2 | 0.03099 | 0.0077668 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-83_0_4_load_3 | 3 | 0.02244 | 0.0056239 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-83_0_4_load_64 | 5 | 0.01275 | 0.0031955 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-83_0_4_load_77 | 6 | 0.0051583 | 0.0012928 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-83_0_4_load_75 | 7 | 0.0049353 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-83_0_4_load_65 | 8 | 0.014156 | 0.0035479 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-83_0_4_load_76 | 10 | 0.0049425 | 0.0012387 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-83_0_4_load_5 | 11 | 0.002864 | 0.00071779 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-83_0_4_load_6 | 12 | 0.0094143 | 0.0023594 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-83_0_4_load_51 | 15 | 0.010839 | 0.0027164 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-83_0_4_load_68 | 17 | 0.010559 | 0.0026464 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-83_0_4_load_37 | 18 | 0.015271 | 0.0038274 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-83_0_4_load_52 | 19 | 0.0049552 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-83_0_4_load_10 | 20 | 0.0059544 | 0.0014923 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-83_0_4_load_11 | 21 | 0.0068478 | 0.0017162 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-83_0_4_load_13 | 22 | 0.010259 | 0.0025711 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-83_0_4_load_12 | 23 | 0.011441 | 0.0028674 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-83_0_4_load_14 | 24 | 0.0051111 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-83_0_4_load_25 | 26 | 0.021027 | 0.0052699 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-83_0_4_load_78 | 28 | 0.0049664 | 0.0012447 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-83_0_4_load_15 | 29 | 0.017027 | 0.0042674 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-83_0_4_load_16 | 30 | 0.0047412 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-83_0_4_load_63 | 31 | 0.006429 | 0.0016113 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-83_0_4_load_22 | 33 | 0.005041 | 0.0012634 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-83_0_4_load_49 | 36 | 0.0065992 | 0.0016539 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-83_0_4_load_45 | 37 | 0.0079305 | 0.0019876 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-83_0_4_load_18 | 38 | 0.0062566 | 0.0015681 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-83_0_4_load_19 | 39 | 0.0065315 | 0.001637 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-83_0_4_load_21 | 40 | 0.0058108 | 0.0014563 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-83_0_4_load_23 | 41 | 0.0057695 | 0.001446 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-83_0_4_load_71 | 43 | 0.0070463 | 0.001766 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-83_0_4_load_44 | 44 | 0.0047723 | 0.001196 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-83_0_4_load_41 | 45 | 0.0064942 | 0.0016276 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-83_0_4_load_61 | 47 | 0.01523 | 0.003817 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-83_0_4_load_28 | 49 | 0.004014 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-83_0_4_load_32 | 52 | 0.042377 | 0.010621 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-83_0_4_load_33 | 53 | 0.0069556 | 0.0017432 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-83_0_4_load_38 | 54 | 0.0064212 | 0.0016093 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-83_0_4_load_55 | 55 | 0.0076254 | 0.0019111 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-83_0_4_load_36 | 56 | 0.0047497 | 0.0011904 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-83_0_4_load_54 | 57 | 0.0102 | 0.0025563 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-83_0_4_load_35 | 58 | 0.0047858 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-83_0_4_load_80 | 59 | 0.0029476 | 0.00073873 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-83_0_4_load_67 | 60 | 0.025415 | 0.0063695 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-83_0_4_load_40 | 61 | 0.0071701 | 0.001797 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-83_0_4_load_42 | 62 | 0.012709 | 0.0031852 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-83_0_4_load_72 | 63 | 0.0045511 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1632-83_0_4_load_73 | 64 | 0.0063554 | 0.0015928 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1632-83_0_4_load_46 | 65 | 0.021835 | 0.0054724 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1632-83_0_4_load_79 | 67 | 0.0049739 | 0.0012466 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1632-83_0_4_load_53 | 68 | 0.0049447 | 0.0012393 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1632-83_0_4_load_56 | 69 | 0.0086447 | 0.0021666 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1632-83_0_4_load_57 | 70 | 0.0063385 | 0.0015886 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1632-83_0_4_load_74 | 71 | 0.004812 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1632-83_0_4_load_58 | 72 | 0.0023691 | 0.00059374 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1632-83_0_4_load_59 | 73 | 0.0049813 | 0.0012484 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1632-83_0_4_load_60 | 74 | 0.0049677 | 0.001245 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-83_0_4_line_0 |  | 0 | 1 | 0.014441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-83_0_4_line_1 |  | 0 | 2 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-83_0_4_line_2 |  | 1 | 3 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-83_0_4_line_3 |  | 1 | 4 | 0.017988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-83_0_4_line_4 |  | 2 | 5 | 0.052227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-83_0_4_line_5 |  | 4 | 6 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-83_0_4_line_6 |  | 4 | 7 | 0.013948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1632-83_0_4_line_7 |  | 5 | 8 | 0.025374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-83_0_4_line_8 |  | 6 | 9 | 0.026842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-83_0_4_line_9 |  | 7 | 10 | 0.0061786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1632-83_0_4_line_10 |  | 9 | 28 | 0.013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-83_0_4_line_11 |  | 9 | 24 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-83_0_4_line_12 |  | 10 | 68 | 0.0048089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1632-83_0_4_line_13 |  | 11 | 12 | 0.0060919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-83_0_4_line_14 |  | 12 | 13 | 0.041384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-83_0_4_line_15 |  | 13 | 14 | 0.024851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1632-83_0_4_line_16 |  | 13 | 15 | 0.00077648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1632-83_0_4_line_17 |  | 14 | 16 | 0.008049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-83_0_4_line_18 |  | 14 | 17 | 0.024077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-83_0_4_line_19 |  | 14 | 18 | 0.017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1632-83_0_4_line_20 |  | 15 | 19 | 0.0073851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1632-83_0_4_line_21 |  | 16 | 59 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-83_0_4_line_22 |  | 17 | 60 | 0.0010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-83_0_4_line_23 |  | 18 | 58 | 0.017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1632-83_0_4_line_24 |  | 19 | 68 | 0.0061918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1632-83_0_4_line_25 |  | 20 | 21 | 0.00047696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-83_0_4_line_26 |  | 21 | 22 | 0.017844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-83_0_4_line_27 |  | 22 | 25 | 0.033701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-83_0_4_line_28 |  | 23 | 24 | 0.0062945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-83_0_4_line_29 |  | 25 | 26 | 0.022508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-83_0_4_line_30 |  | 25 | 27 | 0.014127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-83_0_4_line_31 |  | 27 | 43 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-83_0_4_line_32 |  | 28 | 67 | 0.0061896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-83_0_4_line_33 |  | 29 | 30 | 0.0022636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-83_0_4_line_34 |  | 29 | 31 | 0.042898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-83_0_4_line_35 |  | 30 | 32 | 0.016017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-83_0_4_line_36 |  | 32 | 33 | 0.0028913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-83_0_4_line_37 |  | 32 | 34 | 0.0119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-83_0_4_line_38 |  | 33 | 35 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-83_0_4_line_39 |  | 34 | 36 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-83_0_4_line_40 |  | 34 | 37 | 0.0028511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-83_0_4_line_41 |  | 35 | 41 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1632-83_0_4_line_42 |  | 35 | 38 | 0.019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-83_0_4_line_43 |  | 37 | 65 | 0.0031425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1632-83_0_4_line_44 |  | 38 | 39 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-83_0_4_line_45 |  | 39 | 40 | 0.0026589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-83_0_4_line_46 |  | 41 | 42 | 0.0065137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-83_0_4_line_47 |  | 42 | 44 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-83_0_4_line_48 |  | 42 | 45 | 0.0049961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-83_0_4_line_49 |  | 43 | 46 | 0.021226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-83_0_4_line_50 |  | 44 | 63 | 0.00099309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-83_0_4_line_51 |  | 45 | 61 | 0.017883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-83_0_4_line_52 |  | 46 | 55 | 0.0094388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1632-83_0_4_line_53 |  | 46 | 51 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1632-83_0_4_line_54 |  | 47 | 48 | 0.0070884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-83_0_4_line_55 |  | 48 | 66 | 0.060076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-83_0_4_line_56 |  | 49 | 50 | 0.017939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1632-83_0_4_line_57 |  | 49 | 51 | 0.0097811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1632-83_0_4_line_58 |  | 50 | 52 | 0.024617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_1632-83_0_4_line_59 |  | 51 | 53 | 0.027959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_1632-83_0_4_line_60 |  | 52 | 54 | 0.0015137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1632-83_0_4_line_61 |  | 54 | 56 | 0.013438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_1632-83_0_4_line_62 |  | 55 | 57 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_1632-83_0_4_line_63 |  | 56 | 58 | 0.010445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1632-83_0_4_line_64 |  | 57 | 69 | 0.00043265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_1632-83_0_4_line_65 |  | 61 | 62 | 0.015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1632-83_0_4_line_66 |  | 63 | 64 | 6.2818e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_1632-83_0_4_line_67 |  | 64 | 71 | 0.01817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_1632-83_0_4_line_68 |  | 65 | 66 | 0.079058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1632-83_0_4_line_69 |  | 67 | 74 | 0.00484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1632-83_0_4_line_70 |  | 69 | 70 | 0.004523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1632-83_0_4_line_71 |  | 70 | 71 | 0.0017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_1632-83_0_4_line_72 |  | 72 | 73 | 0.0049023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1632-83_0_4_line_73 |  | 73 | 74 | 0.0062238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-83_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 75 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2723150.5403 | 1211771.9325 | 2723155.6937 | 1211775.9753 | 2723163.3995 | 1211777.6751
1 | 2723174.549 | 1211780.1345 | 2723163.3995 | 1211777.6751
2 | 2723150.5403 | 1211771.9325 | 2723146.3538 | 1211788.7812
3 | 2723140.1651 | 1211757.2181 | 2723150.5403 | 1211771.9325
4 | 2723174.549 | 1211780.1345 | 2723226.5858 | 1211784.5875
5 | 2723140.1651 | 1211757.2181 | 2723149.7807 | 1211749.8654
6 | 2723140.1651 | 1211757.2181 | 2723132.0861 | 1211745.8478
7 | 2723226.5858 | 1211784.5875 | 2723220.8083 | 1211809.2945
8 | 2723171.103 | 1211733.5609 | 2723149.7807 | 1211749.8654
9 | 2723132.0861 | 1211745.8478 | 2723128.5074 | 1211740.8111
10 | 2723171.103 | 1211733.5609 | 2723162.8932 | 1211722.7323
11 | 2723171.103 | 1211733.5609 | 2723179.8336 | 1211726.8786
12 | 2723128.5074 | 1211740.8111 | 2723125.7221 | 1211736.891
13 | 2723084.326 | 1211750.0539 | 2723079.4562 | 1211753.7139
14 | 2723117.4084 | 1211725.1905 | 2723084.326 | 1211750.0539
15 | 2723103.0898 | 1211704.8794 | 2723109.8763 | 1211714.5046 | 2723117.4084 | 1211725.1905
16 | 2723117.8582 | 1211725.8235 | 2723117.4084 | 1211725.1905
17 | 2723103.0898 | 1211704.8794 | 2723098.275 | 1211698.4195
18 | 2723103.0898 | 1211704.8794 | 2723083.2319 | 1211718.4944
19 | 2723103.0898 | 1211704.8794 | 2723117.3714 | 1211694.8839
20 | 2723117.8582 | 1211725.8235 | 2723122.1357 | 1211731.8436
21 | 2723098.275 | 1211698.4195 | 2723109.0725 | 1211684.1406
22 | 2723082.4 | 1211719.0648 | 2723083.2319 | 1211718.4944
23 | 2723117.3714 | 1211694.8839 | 2723131.6068 | 1211684.9207
24 | 2723122.1357 | 1211731.8436 | 2723125.7221 | 1211736.891
25 | 2723211.7028 | 1211702.4903 | 2723212.0816 | 1211702.2005
26 | 2723212.0816 | 1211702.2005 | 2723222.8011 | 1211693.9983 | 2723226.2537 | 1211691.3574
27 | 2723253.0215 | 1211670.8826 | 2723226.2537 | 1211691.3574
28 | 2723184.8321 | 1211723.0529 | 2723179.8336 | 1211726.8786
29 | 2723253.0215 | 1211670.8826 | 2723254.8158 | 1211673.7997 | 2723255.4175 | 1211680.7286 | 2723258.2783 | 1211685.369 | 2723264.5458 | 1211687.7337
30 | 2723242.8695 | 1211661.1876 | 2723247.5001 | 1211664.4191 | 2723253.0215 | 1211670.8826
31 | 2723242.8695 | 1211661.1876 | 2723232.6772 | 1211659.9766
32 | 2723162.8932 | 1211722.7323 | 2723159.1538 | 1211717.8
33 | 2723266.9144 | 1211574.5147 | 2723265.8425 | 1211576.5084 | 2723265.8425 | 1211576.5084
34 | 2723266.9144 | 1211574.5147 | 2723255.5627 | 1211533.1463
35 | 2723278.9306 | 1211585.7415 | 2723265.8425 | 1211576.5084
36 | 2723278.9306 | 1211585.7415 | 2723277.288 | 1211588.1209
37 | 2723278.9306 | 1211585.7415 | 2723284.9411 | 1211580.6952 | 2723288.4793 | 1211578.6779
38 | 2723271.1474 | 1211597.8566 | 2723274.9344 | 1211591.53 | 2723277.288 | 1211588.1209
39 | 2723288.4793 | 1211578.6779 | 2723283.1705 | 1211566.3365 | 2723287.5424 | 1211562.2664
40 | 2723288.4793 | 1211578.6779 | 2723291.0097 | 1211577.3642
41 | 2723271.1474 | 1211597.8566 | 2723255.9937 | 1211602.5084
42 | 2723271.1474 | 1211597.8566 | 2723265.1324 | 1211616.2555
43 | 2723291.0097 | 1211577.3642 | 2723293.7988 | 1211575.9162
44 | 2723262.7907 | 1211627.3102 | 2723263.9906 | 1211619.7478 | 2723265.1324 | 1211616.2555
45 | 2723262.7907 | 1211627.3102 | 2723262.3741 | 1211629.9363
46 | 2723249.7668 | 1211604.4199 | 2723255.9937 | 1211602.5084
47 | 2723249.7668 | 1211604.4199 | 2723242.7728 | 1211608.8788 | 2723237.7086 | 1211613.8212
48 | 2723249.7668 | 1211604.4199 | 2723245.3355 | 1211602.1123
49 | 2723211.5999 | 1211657.4722 | 2723232.6772 | 1211659.9766
50 | 2723237.7086 | 1211613.8212 | 2723236.9979 | 1211614.5148
51 | 2723228.9266 | 1211596.3039 | 2723233.8016 | 1211596.1059 | 2723245.3355 | 1211602.1123
52 | 2723211.5999 | 1211657.4722 | 2723214.5724 | 1211648.5136
53 | 2723211.5999 | 1211657.4722 | 2723200.46 | 1211656.9528
54 | 2723339.7139 | 1211606.4361 | 2723337.7239 | 1211613.2394
55 | 2723339.7139 | 1211606.4361 | 2723344.9431 | 1211589.5534 | 2723349.4244 | 1211576.1247 | 2723355.9511 | 1211563.7613 | 2723364.3613 | 1211552.2152
56 | 2723172.8001 | 1211656.5813 | 2723178.8108 | 1211655.9272 | 2723190.6898 | 1211656.4899
57 | 2723200.46 | 1211656.9528 | 2723190.6898 | 1211656.4899
58 | 2723172.8001 | 1211656.5813 | 2723167.9824 | 1211659.4618 | 2723152.4133 | 1211670.3584
59 | 2723200.46 | 1211656.9528 | 2723192.827 | 1211671.006 | 2723183.0972 | 1211678.0215
60 | 2723151.1732 | 1211671.2264 | 2723152.4133 | 1211670.3584
61 | 2723140.164 | 1211678.9316 | 2723151.1732 | 1211671.2264
62 | 2723222.0071 | 1211634.4013 | 2723218.6776 | 1211639.0264 | 2723216.0338 | 1211644.1091 | 2723214.5724 | 1211648.5136
63 | 2723140.164 | 1211678.9316 | 2723131.6068 | 1211684.9207
64 | 2723222.2599 | 1211634.0501 | 2723222.0071 | 1211634.4013
65 | 2723216.8007 | 1211604.8058 | 2723224.1858 | 1211596.4964 | 2723228.9266 | 1211596.3039
66 | 2723236.9979 | 1211614.5148 | 2723236.9529 | 1211614.5586
67 | 2723225.9286 | 1211628.9537 | 2723234.7283 | 1211616.7298 | 2723236.9529 | 1211614.5586
68 | 2723364.3613 | 1211552.2152 | 2723358.4777 | 1211549.2913 | 2723353.0807 | 1211547.4672 | 2723345.6955 | 1211547.6813 | 2723336.6081 | 1211551.185 | 2723317.991 | 1211559.7289 | 2723301.1265 | 1211572.112 | 2723293.7988 | 1211575.9162
69 | 2723156.2297 | 1211713.9431 | 2723159.1538 | 1211717.8
70 | 2723224.9024 | 1211630.3794 | 2723222.2599 | 1211634.0501
71 | 2723224.9024 | 1211630.3794 | 2723225.9286 | 1211628.9537
72 | 2723149.5078 | 1211705.077 | 2723152.4696 | 1211708.9835
73 | 2723152.4696 | 1211708.9835 | 2723156.2297 | 1211713.9431

## bus_geodata
| x | y | coords
0 | 2723163.3995 | 1211777.6751
1 | 2723150.5403 | 1211771.9325
2 | 2723174.549 | 1211780.1345
3 | 2723146.3538 | 1211788.7812
4 | 2723140.1651 | 1211757.2181
5 | 2723226.5858 | 1211784.5875
6 | 2723149.7807 | 1211749.8654
7 | 2723132.0861 | 1211745.8478
8 | 2723220.8083 | 1211809.2945
9 | 2723171.103 | 1211733.5609
10 | 2723128.5074 | 1211740.8111
11 | 2723079.4562 | 1211753.7139
12 | 2723084.326 | 1211750.0539
13 | 2723117.4084 | 1211725.1905
14 | 2723103.0898 | 1211704.8794
15 | 2723117.8582 | 1211725.8235
16 | 2723098.275 | 1211698.4195
17 | 2723083.2319 | 1211718.4944
18 | 2723117.3714 | 1211694.8839
19 | 2723122.1357 | 1211731.8436
20 | 2723211.7028 | 1211702.4903
21 | 2723212.0816 | 1211702.2005
22 | 2723226.2537 | 1211691.3574
23 | 2723184.8321 | 1211723.0529
24 | 2723179.8336 | 1211726.8786
25 | 2723253.0215 | 1211670.8826
26 | 2723264.5458 | 1211687.7337
27 | 2723242.8695 | 1211661.1876
28 | 2723162.8932 | 1211722.7323
29 | 2723266.9144 | 1211574.5147
30 | 2723265.8425 | 1211576.5084
31 | 2723255.5627 | 1211533.1463
32 | 2723278.9306 | 1211585.7415
33 | 2723277.288 | 1211588.1209
34 | 2723288.4793 | 1211578.6779
35 | 2723271.1474 | 1211597.8566
36 | 2723287.5424 | 1211562.2664
37 | 2723291.0097 | 1211577.3642
38 | 2723265.1324 | 1211616.2555
39 | 2723262.7907 | 1211627.3102
40 | 2723262.3741 | 1211629.9363
41 | 2723255.9937 | 1211602.5084
42 | 2723249.7668 | 1211604.4199
43 | 2723232.6772 | 1211659.9766
44 | 2723237.7086 | 1211613.8212
45 | 2723245.3355 | 1211602.1123
46 | 2723211.5999 | 1211657.4722
47 | 2723337.7239 | 1211613.2394
48 | 2723339.7139 | 1211606.4361
49 | 2723190.6898 | 1211656.4899
50 | 2723172.8001 | 1211656.5813
51 | 2723200.46 | 1211656.9528
52 | 2723152.4133 | 1211670.3584
53 | 2723183.0972 | 1211678.0215
54 | 2723151.1732 | 1211671.2264
55 | 2723214.5724 | 1211648.5136
56 | 2723140.164 | 1211678.9316
57 | 2723222.0071 | 1211634.4013
58 | 2723131.6068 | 1211684.9207
59 | 2723109.0725 | 1211684.1406
60 | 2723082.4 | 1211719.0648
61 | 2723228.9266 | 1211596.3039
62 | 2723216.8007 | 1211604.8058
63 | 2723236.9979 | 1211614.5148
64 | 2723236.9529 | 1211614.5586
65 | 2723293.7988 | 1211575.9162
66 | 2723364.3613 | 1211552.2152
67 | 2723159.1538 | 1211717.8
68 | 2723125.7221 | 1211736.891
69 | 2723222.2599 | 1211634.0501
70 | 2723224.9024 | 1211630.3794
71 | 2723225.9286 | 1211628.9537
72 | 2723149.5078 | 1211705.077
73 | 2723152.4696 | 1211708.9835
74 | 2723156.2297 | 1211713.9431
75 | 2723200.46 | 1211656.9528

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9841 | -0.30614 | 0.018126 | 0.0045428
1 | 0.98511 | -0.28641 | 0 | 0
2 | 0.98349 | -0.31805 | 0.03099 | 0.0077668
3 | 0.98476 | -0.29341 | 0.02244 | 0.0056239
4 | 0.98675 | -0.25465 | 0 | 0
5 | 0.98219 | -0.34341 | 0.01275 | 0.0031955
6 | 0.98626 | -0.26418 | 0.0051583 | 0.0012928
7 | 0.98766 | -0.23688 | 0.0049353 | 0.0012369
8 | 0.98186 | -0.3499 | 0.014156 | 0.0035479
9 | 0.9853 | -0.28287 | 0 | 0
10 | 0.98787 | -0.23282 | 0.0049425 | 0.0012387
11 | 0.98809 | -0.22864 | 0.002864 | 0.00071779
12 | 0.98811 | -0.22832 | 0.0094143 | 0.0023594
13 | 0.98857 | -0.21926 | 0 | 0
14 | 0.98963 | -0.19874 | 0 | 0
15 | 0.98854 | -0.21986 | 0.010839 | 0.0027164
16 | 0.98961 | -0.19917 | 0 | 0
17 | 0.98884 | -0.21417 | 0.010559 | 0.0026464
18 | 0.99053 | -0.18137 | 0.015271 | 0.0038274
19 | 0.98827 | -0.2252 | 0.0049552 | 0.0012419
20 | 0.99302 | -0.13383 | 0.0059544 | 0.0014923
21 | 0.99302 | -0.13378 | 0.0068478 | 0.0017162
22 | 0.99323 | -0.12974 | 0.010259 | 0.0025711
23 | 0.98506 | -0.28743 | 0.011441 | 0.0028674
24 | 0.98513 | -0.28613 | 0.0051111 | 0.001281
25 | 0.99394 | -0.11602 | 0 | 0
26 | 0.99351 | -0.12437 | 0.021027 | 0.0052699
27 | 0.99451 | -0.10504 | 0 | 0
28 | 0.98502 | -0.2883 | 0.0049664 | 0.0012447
29 | 0.98819 | -0.22715 | 0.017027 | 0.0042674
30 | 0.98824 | -0.2262 | 0.0047412 | 0.0011882
31 | 0.98793 | -0.23207 | 0.006429 | 0.0016113
32 | 0.98865 | -0.21814 | 0 | 0
33 | 0.98886 | -0.21403 | 0.005041 | 0.0012634
34 | 0.98809 | -0.2291 | 0 | 0
35 | 0.98976 | -0.19663 | 0 | 0
36 | 0.98797 | -0.23139 | 0.0065992 | 0.0016539
37 | 0.98797 | -0.23139 | 0.0079305 | 0.0019876
38 | 0.98943 | -0.20304 | 0.0062566 | 0.0015681
39 | 0.9893 | -0.20553 | 0.0065315 | 0.001637
40 | 0.98929 | -0.2058 | 0.0058108 | 0.0014563
41 | 0.99126 | -0.1675 | 0.0057695 | 0.001446
42 | 0.99192 | -0.15489 | 0 | 0
43 | 0.99492 | -0.097063 | 0.0070463 | 0.001766
44 | 0.99383 | -0.11804 | 0.0047723 | 0.001196
45 | 0.9918 | -0.15723 | 0.0064942 | 0.0016276
46 | 0.99591 | -0.07797 | 0 | 0
47 | 0.98581 | -0.27333 | 0.01523 | 0.003817
48 | 0.98591 | -0.2714 | 0 | 0
49 | 0.99585 | -0.079218 | 0.004014 | 0.001006
50 | 0.99462 | -0.10273 | 0 | 0
51 | 0.99652 | -0.066253 | 0 | 0
52 | 0.99293 | -0.13508 | 0.042377 | 0.010621
53 | 1 | 0 | -0.54903 | -0.13931
54 | 0.99285 | -0.13679 | 0.0064212 | 0.0016093
55 | 0.99551 | -0.085806 | 0.0076254 | 0.0019111
56 | 0.99208 | -0.15159 | 0.0047497 | 0.0011904
57 | 0.99484 | -0.098621 | 0.0102 | 0.0025563
58 | 0.99149 | -0.1629 | 0.0047858 | 0.0011994
59 | 0.98956 | -0.20011 | 0.0029476 | 0.00073873
60 | 0.98881 | -0.21463 | 0.025415 | 0.0063695
61 | 0.99147 | -0.16353 | 0.0071701 | 0.001797
62 | 0.99129 | -0.1671 | 0.012709 | 0.0031852
63 | 0.99396 | -0.11558 | 0.0045511 | 0.0011406
64 | 0.99396 | -0.1155 | 0.0063554 | 0.0015928
65 | 0.98786 | -0.23347 | 0.021835 | 0.0054724
66 | 0.98676 | -0.255 | 0 | 0
67 | 0.98492 | -0.29022 | 0.0049739 | 0.0012466
68 | 0.98804 | -0.22955 | 0.0049447 | 0.0012393
69 | 0.99482 | -0.098947 | 0.0086447 | 0.0021666
70 | 0.99465 | -0.10218 | 0.0063385 | 0.0015886
71 | 0.99459 | -0.10339 | 0.004812 | 0.001206
72 | 0.98481 | -0.29232 | 0.0023691 | 0.00059374
73 | 0.98482 | -0.29211 | 0.0049813 | 0.0012484
74 | 0.98487 | -0.29129 | 0.0049677 | 0.001245
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.076092 | -0.019096 | 0.076164 | 0.019142 | 7.1698e-05 | 4.5703e-05 | 0.11506 | 0.11506 | 0.11506 | 0.9841 | -0.30614 | 0.98511 | -0.28641 | 31.6111
1 | 0.057966 | 0.014554 | -0.057933 | -0.014533 | 3.2899e-05 | 2.091e-05 | 0.087657 | 0.087657 | 0.087657 | 0.9841 | -0.30614 | 0.98349 | -0.31805 | 24.0816
2 | 0.022447 | 0.0056285 | -0.02244 | -0.0056239 | 7.4856e-06 | 4.5698e-06 | 0.033908 | 0.033908 | 0.033908 | 0.98511 | -0.28641 | 0.98476 | -0.29341 | 9.3153
3 | -0.098611 | -0.024771 | 0.09876 | 0.024866 | 0.0001497 | 9.5579e-05 | 0.14897 | 0.14897 | 0.14897 | 0.98511 | -0.28641 | 0.98675 | -0.25465 | 40.9263
4 | 0.026943 | 0.006766 | -0.026911 | -0.0067458 | 3.2554e-05 | 2.0172e-05 | 0.04077 | 0.04077 | 0.04077 | 0.98349 | -0.31805 | 0.98219 | -0.34341 | 11.2005
5 | 0.044035 | 0.011061 | -0.044015 | -0.011048 | 2.0022e-05 | 1.2659e-05 | 0.066414 | 0.066414 | 0.066414 | 0.98675 | -0.25465 | 0.98626 | -0.26418 | 18.2456
6 | -0.1428 | -0.035927 | 0.14292 | 0.036004 | 0.00012133 | 7.7292e-05 | 0.21539 | 0.21539 | 0.21539 | 0.98675 | -0.25465 | 0.98766 | -0.23688 | 29.5859
7 | 0.014161 | 0.0035504 | -0.014156 | -0.0035479 | 4.3794e-06 | 2.4818e-06 | 0.021454 | 0.021454 | 0.021454 | 0.98219 | -0.34341 | 0.98186 | -0.3499 | 5.8939
8 | 0.038857 | 0.0097554 | -0.038822 | -0.0097336 | 3.4602e-05 | 2.1803e-05 | 0.058631 | 0.058631 | 0.058631 | 0.98626 | -0.26418 | 0.9853 | -0.28287 | 16.1075
9 | -0.14785 | -0.037241 | 0.14788 | 0.037259 | 2.8759e-05 | 1.8089e-05 | 0.22282 | 0.22282 | 0.22282 | 0.98766 | -0.23688 | 0.98787 | -0.23282 | 15.3036
10 | 0.022267 | 0.0055833 | -0.022261 | -0.0055798 | 5.7628e-06 | 3.5152e-06 | 0.033629 | 0.033629 | 0.033629 | 0.9853 | -0.28287 | 0.98502 | -0.2883 | 9.2386
11 | 0.016556 | 0.0041503 | -0.016553 | -0.0041487 | 2.5774e-06 | 1.5095e-06 | 0.025003 | 0.025003 | 0.025003 | 0.9853 | -0.28287 | 0.98513 | -0.28613 | 6.8689
12 | -0.15282 | -0.038498 | 0.15285 | 0.038513 | 2.3904e-05 | 1.5052e-05 | 0.23027 | 0.23027 | 0.23027 | 0.98787 | -0.23282 | 0.98804 | -0.22955 | 15.8149
13 | -0.002864 | -0.00071779 | 0.0028641 | 0.00071774 | 4.2496e-08 | -5.0832e-08 | 0.0043131 | 0.004313 | 0.0043131 | 0.98809 | -0.22864 | 0.98811 | -0.22832 | 1.1849
14 | -0.012278 | -0.0030772 | 0.012284 | 0.00308 | 5.3057e-06 | 2.8653e-06 | 0.01849 | 0.01849 | 0.01849 | 0.98811 | -0.22832 | 0.98857 | -0.21926 | 5.0797
15 | -0.18595 | -0.046841 | 0.18613 | 0.046956 | 0.00018262 | 0.0001156 | 0.27998 | 0.27998 | 0.27998 | 0.98857 | -0.21926 | 0.98963 | -0.19874 | 19.2293
16 | 0.17367 | 0.043761 | -0.17366 | -0.043758 | 4.9774e-06 | 3.1457e-06 | 0.26149 | 0.26149 | 0.26149 | 0.98857 | -0.21926 | 0.98854 | -0.21986 | 17.9593
17 | 0.0029477 | 0.00073852 | -0.0029477 | -0.00073858 | 5.9294e-08 | -6.5469e-08 | 0.0044322 | 0.0044322 | 0.0044322 | 0.98963 | -0.19874 | 0.98961 | -0.19917 | 1.2176
18 | 0.036001 | 0.0090329 | -0.035975 | -0.0090163 | 2.646e-05 | 1.6625e-05 | 0.054135 | 0.054135 | 0.054135 | 0.98963 | -0.19874 | 0.98884 | -0.21417 | 14.8723
19 | -0.22508 | -0.056728 | 0.22527 | 0.056847 | 0.00018731 | 0.00011898 | 0.33854 | 0.33854 | 0.33854 | 0.98963 | -0.19874 | 0.99053 | -0.18137 | 23.2517
20 | 0.16282 | 0.041041 | -0.16278 | -0.041015 | 4.1617e-05 | 2.6256e-05 | 0.24517 | 0.24517 | 0.24517 | 0.98854 | -0.21986 | 0.98827 | -0.2252 | 16.8388
21 | 0.0029477 | 0.00073858 | -0.0029476 | -0.00073873 | 1.3188e-07 | -1.4559e-07 | 0.0044322 | 0.0044323 | 0.0044323 | 0.98961 | -0.19917 | 0.98956 | -0.20011 | 1.2177
22 | 0.025415 | 0.0063699 | -0.025415 | -0.0063695 | 5.5326e-07 | 3.4115e-07 | 0.038245 | 0.038245 | 0.038245 | 0.98884 | -0.21417 | 0.98881 | -0.21463 | 10.507
23 | -0.24054 | -0.060674 | 0.24075 | 0.06081 | 0.00021286 | 0.00013533 | 0.36149 | 0.36149 | 0.36149 | 0.99053 | -0.18137 | 0.99149 | -0.1629 | 24.8273
24 | 0.15782 | 0.039773 | -0.15779 | -0.039752 | 3.2801e-05 | 2.0676e-05 | 0.23771 | 0.23771 | 0.23771 | 0.98827 | -0.2252 | 0.98804 | -0.22955 | 16.3264
25 | -0.0059544 | -0.0014923 | 0.0059545 | 0.0014923 | 1.424e-08 | 2.943e-09 | 0.0089226 | 0.0089226 | 0.0089226 | 0.99302 | -0.13383 | 0.99302 | -0.13378 | 2.4513
26 | -0.012802 | -0.0032086 | 0.012805 | 0.0032099 | 2.4626e-06 | 1.3452e-06 | 0.019184 | 0.019184 | 0.019184 | 0.99302 | -0.13378 | 0.99323 | -0.12974 | 5.2703
27 | -0.023064 | -0.005781 | 0.023079 | 0.0057902 | 1.5088e-05 | 9.22e-06 | 0.034553 | 0.034553 | 0.034553 | 0.99323 | -0.12974 | 0.99394 | -0.11602 | 9.4926
28 | -0.011441 | -0.0028674 | 0.011442 | 0.0028678 | 7.0504e-07 | 3.7109e-07 | 0.017283 | 0.017283 | 0.017283 | 0.98506 | -0.28743 | 0.98513 | -0.28613 | 4.748
29 | 0.021035 | 0.0052749 | -0.021027 | -0.0052699 | 8.3713e-06 | 5.066e-06 | 0.031493 | 0.031493 | 0.031493 | 0.99394 | -0.11602 | 0.99351 | -0.12437 | 8.6519
30 | -0.044114 | -0.011065 | 0.044137 | 0.01108 | 2.3108e-05 | 1.4606e-05 | 0.066046 | 0.066046 | 0.066046 | 0.99394 | -0.11602 | 0.99451 | -0.10504 | 18.1444
31 | -0.044137 | -0.01108 | 0.044154 | 0.01109 | 1.6789e-05 | 1.0612e-05 | 0.066046 | 0.066046 | 0.066046 | 0.99451 | -0.10504 | 0.99492 | -0.097063 | 18.1444
32 | 0.017295 | 0.0043351 | -0.017293 | -0.0043342 | 1.5843e-06 | 9.3519e-07 | 0.026126 | 0.026126 | 0.026126 | 0.98502 | -0.2883 | 0.98492 | -0.29022 | 7.1775
33 | -0.023458 | -0.0058791 | 0.023459 | 0.0058797 | 1.0591e-06 | 6.4881e-07 | 0.035323 | 0.035323 | 0.035323 | 0.98819 | -0.22715 | 0.98824 | -0.2262 | 9.704
34 | 0.0064305 | 0.0016117 | -0.006429 | -0.0016113 | 1.5084e-06 | 4.1592e-07 | 0.0096831 | 0.0096833 | 0.0096833 | 0.98819 | -0.22715 | 0.98793 | -0.23207 | 2.6603
35 | -0.0282 | -0.007068 | 0.028211 | 0.0070747 | 1.0829e-05 | 6.7255e-06 | 0.042461 | 0.042461 | 0.042461 | 0.98824 | -0.2262 | 0.98865 | -0.21814 | 11.6652
36 | -0.079871 | -0.020045 | 0.079886 | 0.020055 | 1.5671e-05 | 9.9925e-06 | 0.12022 | 0.12022 | 0.12022 | 0.98865 | -0.21814 | 0.98886 | -0.21403 | 33.0283
37 | 0.05166 | 0.01297 | -0.051633 | -0.012953 | 2.6984e-05 | 1.7117e-05 | 0.077762 | 0.077762 | 0.077762 | 0.98865 | -0.21814 | 0.98809 | -0.2291 | 21.3631
38 | -0.084927 | -0.021318 | 0.084998 | 0.021363 | 7.0543e-05 | 4.5e-05 | 0.12781 | 0.12781 | 0.12781 | 0.98886 | -0.21403 | 0.98976 | -0.19663 | 35.1123
39 | 0.0065999 | 0.0016541 | -0.0065992 | -0.0016539 | 7.1897e-07 | 2.1158e-07 | 0.0099391 | 0.0099392 | 0.0099392 | 0.98809 | -0.2291 | 0.98797 | -0.23139 | 2.7306
40 | 0.045033 | 0.011299 | -0.045028 | -0.011296 | 4.9181e-06 | 3.1111e-06 | 0.067823 | 0.067823 | 0.067823 | 0.98809 | -0.2291 | 0.98797 | -0.23139 | 18.6326
41 | -0.1036 | -0.026029 | 0.10375 | 0.026121 | 0.00014426 | 9.2121e-05 | 0.15578 | 0.15578 | 0.15578 | 0.98976 | -0.19663 | 0.99126 | -0.1675 | 42.7973
42 | 0.018606 | 0.0046655 | -0.0186 | -0.0046621 | 5.6802e-06 | 3.3867e-06 | 0.027973 | 0.027974 | 0.027974 | 0.98976 | -0.19663 | 0.98943 | -0.20304 | 7.685
43 | 0.037098 | 0.0093084 | -0.037094 | -0.0093061 | 3.6795e-06 | 2.3147e-06 | 0.055878 | 0.055878 | 0.055878 | 0.98797 | -0.23139 | 0.98786 | -0.23347 | 15.3512
44 | 0.012344 | 0.0030941 | -0.012342 | -0.0030933 | 1.4644e-06 | 7.9171e-07 | 0.018564 | 0.018564 | 0.018564 | 0.98943 | -0.20304 | 0.9893 | -0.20553 | 5.1001
45 | 0.0058109 | 0.0014563 | -0.0058108 | -0.0014563 | 7.6168e-08 | 1.4607e-08 | 0.0087401 | 0.0087402 | 0.0087402 | 0.9893 | -0.20553 | 0.98929 | -0.2058 | 2.4011
46 | -0.10952 | -0.027567 | 0.10958 | 0.027609 | 6.6053e-05 | 4.219e-05 | 0.16444 | 0.16444 | 0.16444 | 0.99126 | -0.1675 | 0.99192 | -0.15489 | 45.1766
47 | -0.13597 | -0.034226 | 0.13621 | 0.034379 | 0.00023993 | 0.00015336 | 0.20402 | 0.20402 | 0.20402 | 0.99192 | -0.15489 | 0.99383 | -0.11804 | 56.0507
48 | 0.026384 | 0.0066164 | -0.026381 | -0.0066146 | 2.9353e-06 | 1.8141e-06 | 0.039582 | 0.039582 | 0.039582 | 0.99192 | -0.15489 | 0.9918 | -0.15723 | 10.8741
49 | -0.0512 | -0.012856 | 0.051247 | 0.012886 | 4.6684e-05 | 2.9602e-05 | 0.076584 | 0.076584 | 0.076584 | 0.99492 | -0.097063 | 0.99591 | -0.07797 | 21.0396
50 | -0.14098 | -0.035575 | 0.141 | 0.035586 | 1.6607e-05 | 1.0615e-05 | 0.21117 | 0.21117 | 0.21117 | 0.99383 | -0.11804 | 0.99396 | -0.11558 | 58.0136
51 | 0.019887 | 0.004987 | -0.019881 | -0.0049834 | 5.9707e-06 | 3.5905e-06 | 0.029838 | 0.029838 | 0.029838 | 0.9918 | -0.15723 | 0.99147 | -0.16353 | 8.1974
52 | 0.18983 | 0.047943 | -0.18976 | -0.047897 | 7.1252e-05 | 4.511e-05 | 0.28376 | 0.28376 | 0.28376 | 0.99591 | -0.07797 | 0.99551 | -0.085806 | 19.4892
53 | -0.24108 | -0.060828 | 0.24121 | 0.060915 | 0.00013536 | 8.6049e-05 | 0.36035 | 0.36035 | 0.36035 | 0.99591 | -0.07797 | 0.99652 | -0.066253 | 24.7491
54 | -0.01523 | -0.003817 | 0.015231 | 0.0038178 | 1.4048e-06 | 8.0866e-07 | 0.022989 | 0.022989 | 0.022989 | 0.98581 | -0.27333 | 0.98591 | -0.2714 | 6.3155
55 | -0.015231 | -0.0038178 | 0.015243 | 0.0038247 | 1.1906e-05 | 6.8528e-06 | 0.022989 | 0.022988 | 0.022989 | 0.98591 | -0.2714 | 0.98676 | -0.255 | 6.3155
56 | 0.30022 | 0.076153 | -0.29988 | -0.075937 | 0.00033892 | 0.00021598 | 0.44892 | 0.44892 | 0.44892 | 0.99585 | -0.079218 | 0.99462 | -0.10273 | 30.8325
57 | -0.30424 | -0.077159 | 0.30443 | 0.07728 | 0.00018977 | 0.00012094 | 0.45492 | 0.45492 | 0.45492 | 0.99585 | -0.079218 | 0.99652 | -0.066253 | 31.2444
58 | 0.29988 | 0.075937 | -0.29942 | -0.075641 | 0.00046509 | 0.00029638 | 0.44892 | 0.44892 | 0.44892 | 0.99462 | -0.10273 | 0.99293 | -0.13508 | 30.8325
59 | -0.54564 | -0.13819 | 0.54738 | 0.13931 | 0.0017422 | 0.0011135 | 0.81526 | 0.81526 | 0.81526 | 0.99652 | -0.066253 | 1 | 0 | 55.9934
60 | 0.25704 | 0.06502 | -0.25702 | -0.065006 | 2.108e-05 | 1.3413e-05 | 0.38542 | 0.38542 | 0.38542 | 0.99293 | -0.13508 | 0.99285 | -0.13679 | 26.4708
61 | 0.2506 | 0.063397 | -0.25042 | -0.063284 | 0.00017791 | 0.00011317 | 0.37579 | 0.37579 | 0.37579 | 0.99285 | -0.13679 | 0.99208 | -0.15159 | 25.8099
62 | 0.18214 | 0.045986 | -0.18202 | -0.045916 | 0.00011175 | 7.0686e-05 | 0.27236 | 0.27236 | 0.27236 | 0.99551 | -0.085806 | 0.99484 | -0.098621 | 18.7064
63 | 0.24567 | 0.062094 | -0.24554 | -0.062009 | 0.00013309 | 8.4638e-05 | 0.36867 | 0.36867 | 0.36867 | 0.99208 | -0.15159 | 0.99149 | -0.1629 | 25.3206
64 | 0.17182 | 0.043359 | -0.17182 | -0.043358 | 2.6813e-06 | 1.6936e-06 | 0.25711 | 0.25711 | 0.25711 | 0.99484 | -0.098621 | 0.99482 | -0.098947 | 17.6586
65 | 0.012711 | 0.0031864 | -0.012709 | -0.0031852 | 2.1648e-06 | 1.181e-06 | 0.019077 | 0.019078 | 0.019078 | 0.99147 | -0.16353 | 0.99129 | -0.1671 | 5.2411
66 | -0.14555 | -0.036726 | 0.14555 | 0.036727 | 5.5966e-07 | 3.5655e-07 | 0.21798 | 0.21798 | 0.21798 | 0.99396 | -0.11558 | 0.99396 | -0.1155 | 29.9427
67 | -0.1519 | -0.038319 | 0.15199 | 0.038375 | 8.8163e-05 | 5.5482e-05 | 0.2275 | 0.2275 | 0.2275 | 0.99396 | -0.1155 | 0.99459 | -0.10339 | 15.6248
68 | 0.015259 | 0.0038337 | -0.015243 | -0.0038247 | 1.5667e-05 | 9.0157e-06 | 0.022988 | 0.022988 | 0.022988 | 0.98786 | -0.23347 | 0.98676 | -0.255 | 6.3155
69 | 0.012319 | 0.0030876 | -0.012318 | -0.0030873 | 6.2871e-07 | 3.4078e-07 | 0.018612 | 0.018612 | 0.018612 | 0.98492 | -0.29022 | 0.98487 | -0.29129 | 5.1131
70 | 0.16318 | 0.041191 | -0.16315 | -0.041175 | 2.5282e-05 | 1.5946e-05 | 0.24418 | 0.24418 | 0.24418 | 0.99482 | -0.098947 | 0.99465 | -0.10218 | 16.7705
71 | 0.15681 | 0.039587 | -0.1568 | -0.039581 | 9.0709e-06 | 5.7142e-06 | 0.2347 | 0.2347 | 0.2347 | 0.99465 | -0.10218 | 0.99459 | -0.10339 | 16.1192
72 | -0.0023691 | -0.00059374 | 0.0023691 | 0.00059369 | 2.3555e-08 | -4.7302e-08 | 0.0035796 | 0.0035795 | 0.0035796 | 0.98481 | -0.29232 | 0.98482 | -0.29211 | 0.98339
73 | -0.0073504 | -0.0018421 | 0.0073507 | 0.0018422 | 2.8788e-07 | 1.0504e-07 | 0.011106 | 0.011106 | 0.011106 | 0.98482 | -0.29211 | 0.98487 | -0.29129 | 3.0511

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55599 | 0.14105

## res_load
| p_mw | q_mvar
0 | 0.018126 | 0.0045428
1 | 0.03099 | 0.0077668
2 | 0.02244 | 0.0056239
3 | 0.01275 | 0.0031955
4 | 0.0051583 | 0.0012928
5 | 0.0049353 | 0.0012369
6 | 0.014156 | 0.0035479
7 | 0.0049425 | 0.0012387
8 | 0.002864 | 0.00071779
9 | 0.0094143 | 0.0023594
10 | 0.010839 | 0.0027164
11 | 0.010559 | 0.0026464
12 | 0.015271 | 0.0038274
13 | 0.0049552 | 0.0012419
14 | 0.0059544 | 0.0014923
15 | 0.0068478 | 0.0017162
16 | 0.010259 | 0.0025711
17 | 0.011441 | 0.0028674
18 | 0.0051111 | 0.001281
19 | 0.021027 | 0.0052699
20 | 0.0049664 | 0.0012447
21 | 0.017027 | 0.0042674
22 | 0.0047412 | 0.0011882
23 | 0.006429 | 0.0016113
24 | 0.005041 | 0.0012634
25 | 0.0065992 | 0.0016539
26 | 0.0079305 | 0.0019876
27 | 0.0062566 | 0.0015681
28 | 0.0065315 | 0.001637
29 | 0.0058108 | 0.0014563
30 | 0.0057695 | 0.001446
31 | 0.0070463 | 0.001766
32 | 0.0047723 | 0.001196
33 | 0.0064942 | 0.0016276
34 | 0.01523 | 0.003817
35 | 0.004014 | 0.001006
36 | 0.042377 | 0.010621
37 | 0.0069556 | 0.0017432
38 | 0.0064212 | 0.0016093
39 | 0.0076254 | 0.0019111
40 | 0.0047497 | 0.0011904
41 | 0.0102 | 0.0025563
42 | 0.0047858 | 0.0011994
43 | 0.0029476 | 0.00073873
44 | 0.025415 | 0.0063695
45 | 0.0071701 | 0.001797
46 | 0.012709 | 0.0031852
47 | 0.0045511 | 0.0011406
48 | 0.0063554 | 0.0015928
49 | 0.021835 | 0.0054724
50 | 0.0049739 | 0.0012466
51 | 0.0049447 | 0.0012393
52 | 0.0086447 | 0.0021666
53 | 0.0063385 | 0.0015886
54 | 0.004812 | 0.001206
55 | 0.0023691 | 0.00059374
56 | 0.0049813 | 0.0012484
57 | 0.0049677 | 0.001245

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1