## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-84_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-84_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-84_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-84_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-84_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-84_0_4_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_1632-84_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1632-84_0_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1632-84_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1632-84_0_4_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_1632-84_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1632-84_0_4_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_1632-84_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1632-84_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1632-84_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1632-84_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1632-84_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1632-84_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1632-84_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1632-84_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1632-84_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1632-84_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1632-84_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1632-84_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_1632-84_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1632-84_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1632-84_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_1632-84_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_1632-84_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1632-84_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1632-84_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1632-84_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1632-84_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1632-84_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1632-84_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1632-84_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1632-84_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1632-84_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1632-84_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1632-84_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1632-84_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1632-84_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1632-84_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1632-84_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1632-84_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1632-84_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1632-84_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1632-84_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_MV_227_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-84_0_4_load_0 | 0 | 0.013914 | 0.0034873 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-84_0_4_load_1 | 1 | 0.011108 | 0.002784 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-84_0_4_load_2 | 2 | 0.0065989 | 0.0016539 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-84_0_4_load_3 | 3 | 0.0087678 | 0.0021974 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-84_0_4_load_43 | 9 | 0.011587 | 0.0029041 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-84_0_4_load_51 | 11 | 0.018734 | 0.0046952 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-84_0_4_load_5 | 12 | 0.0088177 | 0.0022099 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-84_0_4_load_6 | 13 | 0.0065957 | 0.001653 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-84_0_4_load_9 | 16 | 0.0057801 | 0.0014486 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-84_0_4_load_10 | 17 | 0.0082042 | 0.0020562 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-84_0_4_load_37 | 19 | 0.0052345 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-84_0_4_load_16 | 20 | 0.0030375 | 0.00076127 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-84_0_4_load_20 | 21 | 0.0085191 | 0.0021351 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-84_0_4_load_27 | 22 | 0.032909 | 0.0082478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-84_0_4_load_36 | 23 | 0.0049 | 0.001228 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-84_0_4_load_17 | 24 | 0.0044527 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-84_0_4_load_11 | 26 | 0.0044907 | 0.0011255 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-84_0_4_load_12 | 27 | 0.020506 | 0.0051392 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-84_0_4_load_18 | 28 | 0.010086 | 0.0025279 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-84_0_4_load_21 | 29 | 0.013002 | 0.0032586 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-84_0_4_load_40 | 30 | 0.007629 | 0.001912 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-84_0_4_load_44 | 33 | 0.01635 | 0.0040976 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-84_0_4_load_46 | 34 | 0.0040883 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-84_0_4_load_41 | 35 | 0.0044442 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-84_0_4_load_42 | 36 | 0.0075321 | 0.0018877 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-84_0_4_load_24 | 37 | 0.012733 | 0.0031913 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-84_0_4_load_33 | 40 | 0.0021461 | 0.00053785 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-84_0_4_load_32 | 41 | 0.0049081 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-84_0_4_load_47 | 42 | 0.041587 | 0.010423 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-84_0_4_load_48 | 43 | 0.03262 | 0.0081753 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-84_0_4_load_49 | 44 | 0.0083026 | 0.0020808 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-84_0_4_load_45 | 45 | 0.014486 | 0.0036304 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-84_0_4_load_39 | 46 | 0.007561 | 0.001895 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-84_0_4_load_38 | 47 | 0.0070073 | 0.0017562 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-84_0_4_line_0 |  | 0 | 1 | 0.010623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-84_0_4_line_1 |  | 0 | 2 | 0.014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-84_0_4_line_2 |  | 1 | 3 | 0.017106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-84_0_4_line_3 |  | 2 | 4 | 0.030286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-84_0_4_line_4 |  | 3 | 5 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-84_0_4_line_5 |  | 4 | 6 | 0.02958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-84_0_4_line_6 |  | 5 | 7 | 0.027193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1632-84_0_4_line_7 |  | 5 | 8 | 0.022137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-84_0_4_line_8 |  | 6 | 9 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-84_0_4_line_9 |  | 7 | 36 | 0.012284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1632-84_0_4_line_10 |  | 7 | 10 | 0.039928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-84_0_4_line_11 |  | 7 | 30 | 0.014977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-84_0_4_line_12 |  | 8 | 44 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-84_0_4_line_13 |  | 8 | 38 | 0.012926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-84_0_4_line_14 |  | 10 | 11 | 0.005238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-84_0_4_line_15 |  | 12 | 13 | 0.0070973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-84_0_4_line_16 |  | 12 | 14 | 0.01682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-84_0_4_line_17 |  | 13 | 15 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-84_0_4_line_18 |  | 14 | 16 | 0.012267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-84_0_4_line_19 |  | 14 | 17 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-84_0_4_line_20 |  | 15 | 18 | 0.005423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-84_0_4_line_21 |  | 15 | 19 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1632-84_0_4_line_22 |  | 16 | 20 | 0.026955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-84_0_4_line_23 |  | 17 | 21 | 0.0073777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-84_0_4_line_24 |  | 18 | 22 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-84_0_4_line_25 |  | 19 | 23 | 0.0012735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1632-84_0_4_line_26 |  | 20 | 24 | 0.0029957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-84_0_4_line_27 |  | 21 | 25 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-84_0_4_line_28 |  | 22 | 33 | 0.0079921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-84_0_4_line_29 |  | 23 | 47 | 0.0038535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1632-84_0_4_line_30 |  | 24 | 35 | 0.016072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-84_0_4_line_31 |  | 25 | 28 | 0.01727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-84_0_4_line_32 |  | 25 | 27 | 0.037909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-84_0_4_line_33 |  | 26 | 27 | 0.0036282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-84_0_4_line_34 |  | 29 | 30 | 0.0037492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-84_0_4_line_35 |  | 31 | 32 | 0.16573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-84_0_4_line_36 |  | 31 | 33 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-84_0_4_line_37 |  | 31 | 34 | 0.012204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-84_0_4_line_38 |  | 32 | 40 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-84_0_4_line_39 |  | 32 | 41 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-84_0_4_line_40 |  | 34 | 45 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-84_0_4_line_41 |  | 36 | 46 | 0.00582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1632-84_0_4_line_42 |  | 37 | 38 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-84_0_4_line_43 |  | 38 | 39 | 0.003319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1632-84_0_4_line_44 |  | 39 | 42 | 0.038982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-84_0_4_line_45 |  | 39 | 43 | 0.022353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-84_0_4_line_46 |  | 46 | 47 | 0.0057883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-84_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 48 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2723013.753 | 1211906.6098 | 2723007.2729 | 1211898.1921
1 | 2723013.753 | 1211906.6098 | 2723022.4198 | 1211917.8682
2 | 2723007.2729 | 1211898.1921 | 2722996.8382 | 1211884.6372
3 | 2723040.8944 | 1211941.867 | 2723022.4198 | 1211917.8682
4 | 2722988.2352 | 1211873.4618 | 2722996.8382 | 1211884.6372
5 | 2723040.8944 | 1211941.867 | 2723017.3711 | 1211959.8845
6 | 2722988.2352 | 1211873.4618 | 2723009.8664 | 1211856.9063
7 | 2722970.6201 | 1211886.9312 | 2722988.2352 | 1211873.4618
8 | 2723017.3711 | 1211959.8845 | 2723004.6847 | 1211969.6043
9 | 2723009.8664 | 1211856.9063 | 2723007.6615 | 1211853.9919 | 2723002.4473 | 1211847.116
10 | 2723009.8664 | 1211856.9063 | 2723034.1336 | 1211888.6645
11 | 2723009.8664 | 1211856.9063 | 2723021.7613 | 1211847.8063
12 | 2722970.6201 | 1211886.9312 | 2722950.1516 | 1211902.5926
13 | 2722970.6201 | 1211886.9312 | 2722972.8514 | 1211874.2008
14 | 2723038.3481 | 1211885.5379 | 2723034.1336 | 1211888.6645
15 | 2723002.9758 | 1211811.1923 | 2722997.3019 | 1211815.456
16 | 2723016.4225 | 1211801.0875 | 2723002.9758 | 1211811.1923
17 | 2722985.2858 | 1211824.4857 | 2722997.3019 | 1211815.456
18 | 2723016.4225 | 1211801.0875 | 2723026.229 | 1211793.7174
19 | 2723016.4225 | 1211801.0875 | 2723025.7716 | 1211812.9406
20 | 2722985.2858 | 1211824.4857 | 2722982.0079 | 1211820.1592
21 | 2722985.2858 | 1211824.4857 | 2722992.3351 | 1211833.7814
22 | 2723047.7769 | 1211777.5228 | 2723026.229 | 1211793.7174
23 | 2723025.7716 | 1211812.9406 | 2723030.3406 | 1211818.7332
24 | 2722982.0079 | 1211820.1592 | 2722973.0227 | 1211810.4699
25 | 2722993.1046 | 1211834.7961 | 2722992.3351 | 1211833.7814
26 | 2723047.7769 | 1211777.5228 | 2723050.1717 | 1211775.723
27 | 2723041.4135 | 1211832.7717 | 2723030.3406 | 1211818.7332
28 | 2722973.0227 | 1211810.4699 | 2722967.5883 | 1211804.6098
29 | 2722993.1046 | 1211834.7961 | 2722995.433 | 1211837.8665
30 | 2723063.0198 | 1211766.0669 | 2723050.1717 | 1211775.723
31 | 2723041.4135 | 1211832.7717 | 2723052.1034 | 1211846.3351
32 | 2723041.4135 | 1211832.7717 | 2723071.5214 | 1211809.7371
33 | 2723071.5214 | 1211809.7371 | 2723074.403 | 1211807.5325
34 | 2723024.739 | 1211845.5282 | 2723021.7613 | 1211847.8063
35 | 2722820.6012 | 1211797.1494 | 2722847.0457 | 1211790.0774 | 2722933.2566 | 1211776.3096 | 2722959.0136 | 1211772.7266 | 2722950.1398 | 1211785.7981 | 2722956.4303 | 1211792.5775
36 | 2722956.4303 | 1211792.5775 | 2722967.5883 | 1211804.6098
37 | 2722956.4303 | 1211792.5775 | 2722946.6437 | 1211799.8681
38 | 2722820.6012 | 1211797.1494 | 2722807.2452 | 1211803.3093
39 | 2722820.6012 | 1211797.1494 | 2722817.6535 | 1211785.77
40 | 2722932.9792 | 1211809.0148 | 2722936.4448 | 1211807.4658 | 2722946.6437 | 1211799.8681
41 | 2722998.9306 | 1211842.4787 | 2723002.4473 | 1211847.116
42 | 2722972.8514 | 1211874.2008 | 2722975.7009 | 1211857.3827
43 | 2722972.8514 | 1211874.2008 | 2722970.769 | 1211871.6114
44 | 2722970.769 | 1211871.6114 | 2722946.4329 | 1211841.1585
45 | 2722970.769 | 1211871.6114 | 2722953.0526 | 1211885.2414
46 | 2722995.433 | 1211837.8665 | 2722998.9306 | 1211842.4787

## bus_geodata
| x | y | coords
0 | 2723013.753 | 1211906.6098
1 | 2723007.2729 | 1211898.1921
2 | 2723022.4198 | 1211917.8682
3 | 2722996.8382 | 1211884.6372
4 | 2723040.8944 | 1211941.867
5 | 2722988.2352 | 1211873.4618
6 | 2723017.3711 | 1211959.8845
7 | 2723009.8664 | 1211856.9063
8 | 2722970.6201 | 1211886.9312
9 | 2723004.6847 | 1211969.6043
10 | 2723034.1336 | 1211888.6645
11 | 2723038.3481 | 1211885.5379
12 | 2723002.9758 | 1211811.1923
13 | 2722997.3019 | 1211815.456
14 | 2723016.4225 | 1211801.0875
15 | 2722985.2858 | 1211824.4857
16 | 2723026.229 | 1211793.7174
17 | 2723025.7716 | 1211812.9406
18 | 2722982.0079 | 1211820.1592
19 | 2722992.3351 | 1211833.7814
20 | 2723047.7769 | 1211777.5228
21 | 2723030.3406 | 1211818.7332
22 | 2722973.0227 | 1211810.4699
23 | 2722993.1046 | 1211834.7961
24 | 2723050.1717 | 1211775.723
25 | 2723041.4135 | 1211832.7717
26 | 2723074.403 | 1211807.5325
27 | 2723071.5214 | 1211809.7371
28 | 2723052.1034 | 1211846.3351
29 | 2723024.739 | 1211845.5282
30 | 2723021.7613 | 1211847.8063
31 | 2722956.4303 | 1211792.5775
32 | 2722820.6012 | 1211797.1494
33 | 2722967.5883 | 1211804.6098
34 | 2722946.6437 | 1211799.8681
35 | 2723063.0198 | 1211766.0669
36 | 2723002.4473 | 1211847.116
37 | 2722975.7009 | 1211857.3827
38 | 2722972.8514 | 1211874.2008
39 | 2722970.769 | 1211871.6114
40 | 2722807.2452 | 1211803.3093
41 | 2722817.6535 | 1211785.77
42 | 2722946.4329 | 1211841.1585
43 | 2722953.0526 | 1211885.2414
44 | 2722950.1516 | 1211902.5926
45 | 2722932.9792 | 1211809.0148
46 | 2722998.9306 | 1211842.4787
47 | 2722995.433 | 1211837.8665
48 | 2722998.9306 | 1211842.4787

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99496 | -0.096805 | 0.013914 | 0.0034873
1 | 0.99527 | -0.090802 | 0.011108 | 0.002784
2 | 0.99472 | -0.10136 | 0.0065989 | 0.0016539
3 | 0.99594 | -0.077805 | 0.0087678 | 0.0021974
4 | 0.9944 | -0.10754 | 0 | 0
5 | 0.99661 | -0.064932 | 0 | 0
6 | 0.99409 | -0.11358 | 0 | 0
7 | 0.99844 | -0.029868 | 0 | 0
8 | 0.99469 | -0.102 | 0 | 0
9 | 0.99392 | -0.11685 | 0.011587 | 0.0029041
10 | 0.99776 | -0.042956 | 0 | 0
11 | 0.99767 | -0.044674 | 0.018734 | 0.0046952
12 | 0.99662 | -0.064881 | 0.0088177 | 0.0022099
13 | 0.99713 | -0.055129 | 0.0065957 | 0.001653
14 | 0.99555 | -0.085424 | 0 | 0
15 | 0.99829 | -0.032774 | 0 | 0
16 | 0.99535 | -0.089247 | 0.0057801 | 0.0014486
17 | 0.99484 | -0.099188 | 0.0082042 | 0.0020562
18 | 0.99792 | -0.03988 | 0 | 0
19 | 0.99914 | -0.016482 | 0.0052345 | 0.0013119
20 | 0.99506 | -0.094908 | 0.0030375 | 0.00076127
21 | 0.99455 | -0.10486 | 0.0085191 | 0.0021351
22 | 0.99702 | -0.057217 | 0.032909 | 0.0082478
23 | 0.99924 | -0.014647 | 0.0049 | 0.001228
24 | 0.99504 | -0.095378 | 0.0044527 | 0.001116
25 | 0.99397 | -0.11592 | 0 | 0
26 | 0.99309 | -0.13294 | 0.0044907 | 0.0011255
27 | 0.99311 | -0.13265 | 0.020506 | 0.0051392
28 | 0.99381 | -0.11899 | 0.010086 | 0.0025279
29 | 0.99811 | -0.036125 | 0.013002 | 0.0032586
30 | 0.99816 | -0.035272 | 0.007629 | 0.001912
31 | 0.99633 | -0.070486 | 0 | 0
32 | 0.99527 | -0.091045 | 0 | 0
33 | 0.99672 | -0.063102 | 0.01635 | 0.0040976
34 | 0.99613 | -0.074467 | 0.0040883 | 0.0010246
35 | 0.99497 | -0.096635 | 0.0044442 | 0.0011138
36 | 0.99948 | -0.0098513 | 0.0075321 | 0.0018877
37 | 0.99346 | -0.12566 | 0.012733 | 0.0031913
38 | 0.99366 | -0.12182 | 0 | 0
39 | 0.99343 | -0.12617 | 0 | 0
40 | 0.99524 | -0.091601 | 0.0021461 | 0.00053785
41 | 0.99521 | -0.09206 | 0.0049081 | 0.0012301
42 | 0.99195 | -0.15484 | 0.041587 | 0.010423
43 | 0.99277 | -0.13906 | 0.03262 | 0.0081753
44 | 0.99449 | -0.10577 | 0.0083026 | 0.0020808
45 | 0.99591 | -0.078669 | 0.014486 | 0.0036304
46 | 1 | 0 | -0.37437 | -0.094038
47 | 0.99953 | -0.0089316 | 0.0070073 | 0.0017562
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.032113 | -0.008052 | 0.032122 | 0.0080577 | 9.1892e-06 | 5.7431e-06 | 0.048028 | 0.048028 | 0.048028 | 0.99496 | -0.096805 | 0.99527 | -0.090802 | 13.1946
1 | 0.018199 | 0.0045647 | -0.018195 | -0.0045624 | 3.9472e-06 | 2.3417e-06 | 0.027219 | 0.027219 | 0.027219 | 0.99496 | -0.096805 | 0.99472 | -0.10136 | 7.4776
2 | -0.04323 | -0.010842 | 0.043257 | 0.010859 | 2.6799e-05 | 1.6929e-05 | 0.064636 | 0.064636 | 0.064636 | 0.99527 | -0.090802 | 0.99594 | -0.077805 | 17.7571
3 | 0.011596 | 0.0029085 | -0.011592 | -0.0029068 | 3.4177e-06 | 1.7943e-06 | 0.017347 | 0.017347 | 0.017347 | 0.99472 | -0.10136 | 0.9944 | -0.10754 | 4.7657
4 | -0.052025 | -0.013056 | 0.052057 | 0.013076 | 3.1958e-05 | 2.027e-05 | 0.077735 | 0.077735 | 0.077735 | 0.99594 | -0.077805 | 0.99661 | -0.064932 | 21.3559
5 | 0.011592 | 0.0029068 | -0.011589 | -0.002905 | 3.3381e-06 | 1.7528e-06 | 0.017347 | 0.017347 | 0.017347 | 0.9944 | -0.10754 | 0.99409 | -0.11358 | 4.7658
6 | -0.14765 | -0.037167 | 0.1479 | 0.037325 | 0.00024791 | 0.00015796 | 0.22051 | 0.22051 | 0.22051 | 0.99661 | -0.064932 | 0.99844 | -0.029868 | 30.2894
7 | 0.095591 | 0.024091 | -0.095422 | -0.023983 | 0.00016921 | 0.00010801 | 0.14277 | 0.14277 | 0.14277 | 0.99661 | -0.064932 | 0.99469 | -0.102 | 39.223
8 | 0.011589 | 0.002905 | -0.011587 | -0.0029041 | 1.8036e-06 | 9.4711e-07 | 0.017347 | 0.017348 | 0.017348 | 0.99409 | -0.11358 | 0.99392 | -0.11685 | 4.7658
9 | -0.18728 | -0.047202 | 0.18746 | 0.047317 | 0.00017955 | 0.00011459 | 0.2792 | 0.2792 | 0.2792 | 0.99844 | -0.029868 | 0.99948 | -0.0098513 | 38.3523
10 | 0.018747 | 0.0047031 | -0.018736 | -0.0046962 | 1.169e-05 | 6.9598e-06 | 0.027942 | 0.027942 | 0.027942 | 0.99844 | -0.029868 | 0.99776 | -0.042956 | 7.6764
11 | 0.020637 | 0.0051741 | -0.020631 | -0.0051709 | 5.3128e-06 | 3.2044e-06 | 0.030757 | 0.030757 | 0.030757 | 0.99844 | -0.029868 | 0.99816 | -0.035272 | 8.4496
12 | 0.0083041 | 0.0020814 | -0.0083026 | -0.0020808 | 1.4915e-06 | 6.201e-07 | 0.012423 | 0.012423 | 0.012423 | 0.99469 | -0.102 | 0.99449 | -0.10577 | 3.4129
13 | 0.087118 | 0.021901 | -0.087035 | -0.021849 | 8.2359e-05 | 5.2542e-05 | 0.13035 | 0.13035 | 0.13035 | 0.99469 | -0.102 | 0.99366 | -0.12182 | 35.8102
14 | 0.018736 | 0.0046962 | -0.018734 | -0.0046952 | 1.5336e-06 | 9.1309e-07 | 0.027942 | 0.027942 | 0.027942 | 0.99776 | -0.042956 | 0.99767 | -0.044674 | 7.6764
15 | -0.0785 | -0.019734 | 0.078536 | 0.019758 | 3.6574e-05 | 2.3315e-05 | 0.11723 | 0.11723 | 0.11723 | 0.99662 | -0.064881 | 0.99713 | -0.055129 | 32.205
16 | 0.069682 | 0.017524 | -0.069614 | -0.017481 | 6.8303e-05 | 4.3495e-05 | 0.10406 | 0.10406 | 0.10406 | 0.99662 | -0.064881 | 0.99555 | -0.085424 | 28.5881
17 | -0.085132 | -0.021411 | 0.085223 | 0.021469 | 9.101e-05 | 5.805e-05 | 0.12707 | 0.12707 | 0.12707 | 0.99713 | -0.055129 | 0.99829 | -0.032774 | 34.9091
18 | 0.017721 | 0.0044434 | -0.017718 | -0.0044414 | 3.2277e-06 | 1.9062e-06 | 0.026488 | 0.026488 | 0.026488 | 0.99555 | -0.085424 | 0.99535 | -0.089247 | 7.277
19 | 0.051892 | 0.013038 | -0.051858 | -0.013016 | 3.4066e-05 | 2.1606e-05 | 0.077573 | 0.077573 | 0.077573 | 0.99555 | -0.085424 | 0.99484 | -0.099188 | 21.3111
20 | 0.075009 | 0.018843 | -0.074983 | -0.018827 | 2.5428e-05 | 1.6203e-05 | 0.11182 | 0.11182 | 0.11182 | 0.99829 | -0.032774 | 0.99792 | -0.03988 | 30.72
21 | -0.16023 | -0.040312 | 0.16036 | 0.040391 | 0.00012483 | 7.9588e-05 | 0.23889 | 0.23889 | 0.23889 | 0.99829 | -0.032774 | 0.99914 | -0.016482 | 32.8145
22 | 0.011938 | 0.0029928 | -0.011935 | -0.0029911 | 3.2198e-06 | 1.7104e-06 | 0.017847 | 0.017848 | 0.017848 | 0.99535 | -0.089247 | 0.99506 | -0.094908 | 4.9032
23 | 0.043654 | 0.01096 | -0.043642 | -0.010952 | 1.1798e-05 | 7.4547e-06 | 0.065301 | 0.065301 | 0.065301 | 0.99484 | -0.099188 | 0.99455 | -0.10486 | 17.9399
24 | 0.074983 | 0.018827 | -0.074921 | -0.018787 | 6.1961e-05 | 3.9483e-05 | 0.11182 | 0.11182 | 0.11182 | 0.99792 | -0.03988 | 0.99702 | -0.057217 | 30.72
25 | -0.16559 | -0.041703 | 0.16561 | 0.041712 | 1.453e-05 | 9.266e-06 | 0.24669 | 0.24669 | 0.24669 | 0.99914 | -0.016482 | 0.99924 | -0.014647 | 33.8853
26 | 0.0088974 | 0.0022298 | -0.0088972 | -0.0022298 | 1.9887e-07 | 8.8365e-08 | 0.013305 | 0.013305 | 0.013305 | 0.99506 | -0.094908 | 0.99504 | -0.095378 | 3.6553
27 | 0.035123 | 0.0088172 | -0.035104 | -0.0088056 | 1.8519e-05 | 1.1621e-05 | 0.052555 | 0.052555 | 0.052555 | 0.99455 | -0.10486 | 0.99397 | -0.11592 | 14.4383
28 | 0.042012 | 0.010539 | -0.042 | -0.010532 | 1.1784e-05 | 7.4377e-06 | 0.062705 | 0.062705 | 0.062705 | 0.99702 | -0.057217 | 0.99672 | -0.063102 | 17.2268
29 | -0.17051 | -0.04294 | 0.17055 | 0.04297 | 4.6608e-05 | 2.9728e-05 | 0.25398 | 0.25398 | 0.25398 | 0.99924 | -0.014647 | 0.99953 | -0.0089316 | 34.8876
30 | 0.0044445 | 0.0011138 | -0.0044442 | -0.0011138 | 2.6625e-07 | -3.8354e-08 | 0.0066464 | 0.0066465 | 0.0066465 | 0.99504 | -0.095378 | 0.99497 | -0.096635 | 1.826
31 | 0.010088 | 0.0025286 | -0.010086 | -0.0025279 | 1.477e-06 | 7.2149e-07 | 0.015102 | 0.015102 | 0.015102 | 0.99397 | -0.11592 | 0.99381 | -0.11899 | 4.1489
32 | 0.025017 | 0.006277 | -0.024997 | -0.0062647 | 1.9941e-05 | 1.2271e-05 | 0.037453 | 0.037453 | 0.037453 | 0.99397 | -0.11592 | 0.99311 | -0.13265 | 10.2894
33 | -0.0044907 | -0.0011255 | 0.0044907 | 0.0011255 | 6.16e-08 | -7.5211e-09 | 0.0067287 | 0.0067286 | 0.0067287 | 0.99309 | -0.13294 | 0.99311 | -0.13265 | 1.8485
34 | -0.013002 | -0.0032586 | 0.013003 | 0.0032589 | 5.2826e-07 | 2.8908e-07 | 0.019384 | 0.019384 | 0.019384 | 0.99811 | -0.036125 | 0.99816 | -0.035272 | 5.3252
35 | 0.0070614 | 0.0017701 | -0.0070545 | -0.0017678 | 6.9129e-06 | 2.2682e-06 | 0.010546 | 0.010547 | 0.010547 | 0.99633 | -0.070486 | 0.99527 | -0.091045 | 2.8975
36 | -0.025642 | -0.0064288 | 0.025651 | 0.0064344 | 9.0251e-06 | 5.5622e-06 | 0.038297 | 0.038296 | 0.038297 | 0.99633 | -0.070486 | 0.99672 | -0.063102 | 10.521
37 | 0.01858 | 0.0046588 | -0.018577 | -0.0046567 | 3.5242e-06 | 2.0966e-06 | 0.02775 | 0.02775 | 0.02775 | 0.99633 | -0.070486 | 0.99613 | -0.074467 | 7.6237
38 | 0.0021461 | 0.0005377 | -0.0021461 | -0.00053785 | 5.6784e-08 | -1.5479e-07 | 0.0032086 | 0.0032087 | 0.0032087 | 0.99527 | -0.091045 | 0.99524 | -0.091601 | 0.8815
39 | 0.0049084 | 0.0012301 | -0.0049081 | -0.0012301 | 2.3739e-07 | -8.2204e-10 | 0.0073385 | 0.0073385 | 0.0073385 | 0.99527 | -0.091045 | 0.99521 | -0.09206 | 2.0161
40 | 0.014488 | 0.0036321 | -0.014486 | -0.0036304 | 2.9008e-06 | 1.6416e-06 | 0.021643 | 0.021643 | 0.021643 | 0.99613 | -0.074467 | 0.99591 | -0.078669 | 5.946
41 | -0.19499 | -0.049205 | 0.19508 | 0.049263 | 9.2039e-05 | 5.8753e-05 | 0.29042 | 0.29042 | 0.29042 | 0.99948 | -0.0098513 | 1 | 0 | 39.8926
42 | -0.012733 | -0.0031913 | 0.012736 | 0.0031926 | 2.3268e-06 | 1.2682e-06 | 0.019072 | 0.019072 | 0.019072 | 0.99346 | -0.12566 | 0.99366 | -0.12182 | 5.2396
43 | 0.074299 | 0.018656 | -0.074284 | -0.018647 | 1.5412e-05 | 9.8204e-06 | 0.11128 | 0.11128 | 0.11128 | 0.99366 | -0.12182 | 0.99343 | -0.12617 | 30.5705
44 | 0.041644 | 0.010459 | -0.041587 | -0.010423 | 5.6892e-05 | 3.5907e-05 | 0.062384 | 0.062384 | 0.062384 | 0.99343 | -0.12617 | 0.99195 | -0.15484 | 17.1386
45 | 0.03264 | 0.0081879 | -0.03262 | -0.0081753 | 2.0038e-05 | 1.2535e-05 | 0.048893 | 0.048893 | 0.048893 | 0.99343 | -0.12617 | 0.99277 | -0.13906 | 13.4321
46 | 0.17764 | 0.044775 | -0.17756 | -0.044726 | 7.5879e-05 | 4.8411e-05 | 0.26441 | 0.26441 | 0.26441 | 1 | 0 | 0.99953 | -0.0089316 | 36.3206

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38193 | 0.095933

## res_load
| p_mw | q_mvar
0 | 0.013914 | 0.0034873
1 | 0.011108 | 0.002784
2 | 0.0065989 | 0.0016539
3 | 0.0087678 | 0.0021974
4 | 0.011587 | 0.0029041
5 | 0.018734 | 0.0046952
6 | 0.0088177 | 0.0022099
7 | 0.0065957 | 0.001653
8 | 0.0057801 | 0.0014486
9 | 0.0082042 | 0.0020562
10 | 0.0052345 | 0.0013119
11 | 0.0030375 | 0.00076127
12 | 0.0085191 | 0.0021351
13 | 0.032909 | 0.0082478
14 | 0.0049 | 0.001228
15 | 0.0044527 | 0.001116
16 | 0.0044907 | 0.0011255
17 | 0.020506 | 0.0051392
18 | 0.010086 | 0.0025279
19 | 0.013002 | 0.0032586
20 | 0.007629 | 0.001912
21 | 0.01635 | 0.0040976
22 | 0.0040883 | 0.0010246
23 | 0.0044442 | 0.0011138
24 | 0.0075321 | 0.0018877
25 | 0.012733 | 0.0031913
26 | 0.0021461 | 0.00053785
27 | 0.0049081 | 0.0012301
28 | 0.041587 | 0.010423
29 | 0.03262 | 0.0081753
30 | 0.0083026 | 0.0020808
31 | 0.014486 | 0.0036304
32 | 0.007561 | 0.001895
33 | 0.0070073 | 0.0017562

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1