## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-85_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-85_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-85_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-85_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-85_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-85_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1632-85_0_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1632-85_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1632-85_0_2_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_1632-85_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1632-85_0_2_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_1632-85_0_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1632-85_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1632-85_0_2_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_1632-85_0_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1632-85_0_2_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_1632-85_0_2_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1632-85_0_2_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_1632-85_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1632-85_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1632-85_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1632-85_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1632-85_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1632-85_0_2_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_1632-85_0_2_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1632-85_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1632-85_0_2_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_1632-85_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1632-85_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1632-85_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1632-85_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1632-85_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1632-85_0_2_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_1632-85_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1632-85_0_2_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1632-85_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1632-85_0_2_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1632-85_0_2_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1632-85_0_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1632-85_0_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1632-85_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1632-85_0_2_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_1632-85_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1632-85_0_2_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1632-85_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1632-85_0_2_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1632-85_0_2_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_1632-85_0_2_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_1632-85_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1632-85_0_2_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1632-85_0_2_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1632-85_0_2_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_1632-85_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1632-85_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1632-85_0_2_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1632-85_0_2_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_1632-85_0_2_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1632-85_0_2_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1632-85_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_1632-85_0_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_1632-85_0_2_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_1632-85_0_2_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_1632-85_0_2_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_1632-85_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1632-85_0_2_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_1632-85_0_2_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1632-85_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1632-85_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1632-85_0_2_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_1632-85_0_2_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_1632-85_0_2_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_1632-85_0_2_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_1632-85_0_2_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_1632-85_0_2_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_1632-85_0_2_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_1632-85_0_2_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_1632-85_0_2_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_1632-85_0_2_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_1632-85_0_2_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_1632-85_0_2_node_75 | 0.4 | n |  | TRUE
80 | bus_MV_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-85_0_2_load_0 | 0 | 0.00053523 | 0.00013414 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-85_0_2_load_1 | 1 | 0.00030285 | 7.5901e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-85_0_2_load_2 | 2 | 0.00014399 | 3.6087e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-85_0_2_load_10 | 6 | 0.00018648 | 4.6737e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-85_0_2_load_11 | 7 | 0.00069741 | 0.00017479 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-85_0_2_load_81 | 8 | 0.00021937 | 5.4979e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-85_0_2_load_68 | 10 | 0.00013306 | 3.3349e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-85_0_2_load_80 | 15 | 0.00029577 | 7.4127e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-85_0_2_load_34 | 17 | 0.00017076 | 4.2797e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-85_0_2_load_15 | 19 | 0.00031883 | 7.9906e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-85_0_2_load_12 | 20 | 0.0005551 | 0.00013912 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-85_0_2_load_66 | 23 | 0.00028019 | 7.0222e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-85_0_2_load_40 | 24 | 0.00033335 | 8.3544e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-85_0_2_load_26 | 28 | 0.00013971 | 3.5015e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-85_0_2_load_27 | 29 | 0.00038669 | 9.6914e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-85_0_2_load_23 | 30 | 0.00030022 | 7.5243e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-85_0_2_load_29 | 31 | 0.000199 | 4.9873e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-85_0_2_load_67 | 32 | 0.0003368 | 8.4411e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-85_0_2_load_35 | 34 | 0.0002217 | 5.5563e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-85_0_2_load_22 | 35 | 0.00025075 | 6.2843e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-85_0_2_load_49 | 36 | 0.00053554 | 0.00013422 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-85_0_2_load_41 | 40 | 0.00019381 | 4.8572e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-85_0_2_load_78 | 41 | 0.00022652 | 5.6771e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-85_0_2_load_37 | 42 | 0.00045262 | 0.00011344 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-85_0_2_load_24 | 43 | 0.00013559 | 3.3981e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-85_0_2_load_25 | 46 | 0.00016157 | 4.0494e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-85_0_2_load_53 | 48 | 0.00014235 | 3.5677e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-85_0_2_load_31 | 49 | 0.00018346 | 4.598e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-85_0_2_load_36 | 50 | 0.00033656 | 8.435e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-85_0_2_load_54 | 51 | 0.00013514 | 3.387e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-85_0_2_load_39 | 52 | 0.00069693 | 0.00017467 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-85_0_2_load_48 | 53 | 0.000209 | 5.238e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-85_0_2_load_45 | 55 | 0.0022969 | 0.00057567 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-85_0_2_load_64 | 59 | 0.0005631 | 0.00014113 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-85_0_2_load_60 | 60 | 0.0005227 | 0.000131 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-85_0_2_load_69 | 61 | 0.00086156 | 0.00021593 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-85_0_2_load_58 | 63 | 0.00028504 | 7.1438e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-85_0_2_load_63 | 65 | 0.0003209 | 8.0426e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-85_0_2_load_62 | 66 | 0.0011 | 0.0002757 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-85_0_2_load_65 | 67 | 0.00044511 | 0.00011156 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-85_0_2_load_61 | 70 | 0.00054183 | 0.00013579 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-85_0_2_load_77 | 71 | 0.00026102 | 6.5418e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-85_0_2_load_74 | 73 | 0.00013027 | 3.2648e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1632-85_0_2_load_72 | 74 | 0.0001874 | 4.6966e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1632-85_0_2_load_55 | 75 | 0.00023571 | 5.9076e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1632-85_0_2_load_70 | 76 | 0.00059688 | 0.00014959 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1632-85_0_2_load_71 | 77 | 0.00016149 | 4.0473e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1632-85_0_2_load_75 | 79 | 0.00022905 | 5.7405e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-85_0_2_line_0 |  | 0 | 1 | 0.0021521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-85_0_2_line_1 |  | 0 | 2 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-85_0_2_line_2 |  | 1 | 3 | 0.019382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-85_0_2_line_3 |  | 2 | 4 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-85_0_2_line_4 |  | 3 | 5 | 0.045809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-85_0_2_line_5 |  | 4 | 6 | 0.17069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-85_0_2_line_6 |  | 4 | 7 | 0.055721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-85_0_2_line_7 |  | 5 | 8 | 0.018127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-85_0_2_line_8 |  | 6 | 16 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-85_0_2_line_9 |  | 7 | 17 | 0.0083107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-85_0_2_line_10 |  | 9 | 10 | 0.048823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-85_0_2_line_11 |  | 9 | 11 | 0.034234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-85_0_2_line_12 |  | 10 | 14 | 0.087672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-85_0_2_line_13 |  | 11 | 23 | 0.028983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-85_0_2_line_14 |  | 12 | 13 | 0.045396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-85_0_2_line_15 |  | 12 | 14 | 0.073543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-85_0_2_line_16 |  | 12 | 15 | 0.011618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-85_0_2_line_17 |  | 13 | 31 | 0.051839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-85_0_2_line_18 |  | 13 | 25 | 0.16408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-85_0_2_line_19 |  | 14 | 32 | 0.007193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-85_0_2_line_20 |  | 16 | 33 | 0.12964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-85_0_2_line_21 |  | 16 | 28 | 0.0010892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-85_0_2_line_22 |  | 17 | 34 | 0.023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-85_0_2_line_23 |  | 18 | 19 | 0.019535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-85_0_2_line_24 |  | 18 | 20 | 0.16309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-85_0_2_line_25 |  | 19 | 35 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-85_0_2_line_26 |  | 20 | 21 | 0.015895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-85_0_2_line_27 |  | 21 | 22 | 0.083821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-85_0_2_line_28 |  | 22 | 24 | 0.033167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-85_0_2_line_29 |  | 24 | 37 | 0.060612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-85_0_2_line_30 |  | 25 | 26 | 0.021327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-85_0_2_line_31 |  | 26 | 41 | 0.0053601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-85_0_2_line_32 |  | 27 | 28 | 0.040048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-85_0_2_line_33 |  | 27 | 29 | 0.17764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-85_0_2_line_34 |  | 27 | 30 | 0.031198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-85_0_2_line_35 |  | 29 | 42 | 0.080246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-85_0_2_line_36 |  | 30 | 43 | 0.061536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-85_0_2_line_37 |  | 31 | 44 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-85_0_2_line_38 |  | 33 | 49 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-85_0_2_line_39 |  | 34 | 50 | 0.079755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-85_0_2_line_40 |  | 35 | 36 | 0.007146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1632-85_0_2_line_41 |  | 36 | 45 | 0.12039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1632-85_0_2_line_42 |  | 37 | 52 | 0.04235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1632-85_0_2_line_43 |  | 37 | 42 | 0.011195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1632-85_0_2_line_44 |  | 38 | 39 | 0.017427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-85_0_2_line_45 |  | 38 | 40 | 0.0072595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-85_0_2_line_46 |  | 39 | 53 | 0.17832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-85_0_2_line_47 |  | 39 | 52 | 0.037529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-85_0_2_line_48 |  | 40 | 54 | 0.087126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-85_0_2_line_49 |  | 43 | 46 | 0.03171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-85_0_2_line_50 |  | 44 | 49 | 0.02939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1632-85_0_2_line_51 |  | 45 | 68 | 0.17535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1632-85_0_2_line_52 |  | 45 | 69 | 0.056004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1632-85_0_2_line_53 |  | 46 | 47 | 0.053678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1632-85_0_2_line_54 |  | 47 | 48 | 0.01811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1632-85_0_2_line_55 |  | 50 | 51 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1632-85_0_2_line_56 |  | 53 | 61 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1632-85_0_2_line_57 |  | 54 | 55 | 0.068602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1632-85_0_2_line_58 |  | 55 | 56 | 0.024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1632-85_0_2_line_59 |  | 56 | 60 | 0.017955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1632-85_0_2_line_60 |  | 56 | 57 | 0.030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1632-85_0_2_line_61 |  | 57 | 58 | 0.11446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1632-85_0_2_line_62 |  | 57 | 59 | 0.022639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1632-85_0_2_line_63 |  | 58 | 65 | 0.0041299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1632-85_0_2_line_64 |  | 58 | 66 | 0.05166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1632-85_0_2_line_65 |  | 58 | 62 | 0.23741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1632-85_0_2_line_66 |  | 59 | 67 | 0.0002371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1632-85_0_2_line_67 |  | 62 | 63 | 0.072313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1632-85_0_2_line_68 |  | 62 | 64 | 0.005768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1632-85_0_2_line_69 |  | 64 | 75 | 0.019902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1632-85_0_2_line_70 |  | 68 | 70 | 0.15199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1632-85_0_2_line_71 |  | 69 | 71 | 0.10501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1632-85_0_2_line_72 |  | 69 | 72 | 0.003954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1632-85_0_2_line_73 |  | 72 | 73 | 0.12038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1632-85_0_2_line_74 |  | 72 | 74 | 0.085569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1632-85_0_2_line_75 |  | 73 | 78 | 0.031743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1632-85_0_2_line_76 |  | 74 | 77 | 0.0022206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1632-85_0_2_line_77 |  | 76 | 77 | 0.019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1632-85_0_2_line_78 |  | 78 | 79 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-85_0_2_trafo_40 | 0.63 MVA 20/0.4 kV | 80 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2714608.6713 | 1209503.4238 | 2714609.7639 | 1209501.5697
1 | 2714608.6713 | 1209503.4238 | 2714599.9969 | 1209518.1453
2 | 2714619.6034 | 1209484.8708 | 2714609.7639 | 1209501.5697
3 | 2714587.8976 | 1209538.6792 | 2714599.9969 | 1209518.1453
4 | 2714599.4341 | 1209454.6835 | 2714615.523 | 1209466.1453 | 2714626.2256 | 1209473.8121 | 2714619.6034 | 1209484.8708
5 | 2714587.8976 | 1209538.6792 | 2714542.642 | 1209536.3643 | 2714470.2869 | 1209538.4885 | 2714417.4446 | 1209542.4033
6 | 2714587.8976 | 1209538.6792 | 2714559.1527 | 1209586.4139
7 | 2714599.4341 | 1209454.6835 | 2714584.4523 | 1209444.4784
8 | 2714407.1054 | 1209543.1692 | 2714417.4446 | 1209542.4033
9 | 2714559.1527 | 1209586.4139 | 2714555.6421 | 1209592.2438 | 2714554.8797 | 1209593.5418
10 | 2714527.9973 | 1209192.3749 | 2714519.3273 | 1209200.3922 | 2714509.4118 | 1209211.8882 | 2714498.2788 | 1209230.6696
11 | 2714527.9973 | 1209192.3749 | 2714515.2173 | 1209160.6063
12 | 2714430.3906 | 1209281.4457 | 2714447.3034 | 1209276.1662 | 2714458.0736 | 1209272.8147 | 2714467.2552 | 1209267.0532 | 2714481.4672 | 1209249.5797 | 2714498.0332 | 1209231.0839 | 2714498.2788 | 1209230.6696
13 | 2714515.2173 | 1209160.6063 | 2714490.5952 | 1209175.8955
14 | 2714439.7181 | 1209342.5694 | 2714448.5744 | 1209348.2101 | 2714459.654 | 1209335.858 | 2714461.3649 | 1209334.2674 | 2714462.9062 | 1209333.1962 | 2714464.5876 | 1209332.35 | 2714467.055 | 1209331.7525 | 2714470.1156 | 1209331.5443 | 2714473.1959 | 1209331.8926 | 2714476.5609 | 1209332.8578
15 | 2714430.3906 | 1209281.4457 | 2714439.8494 | 1209296.5048 | 2714464.5876 | 1209332.35 | 2714467.055 | 1209331.7525 | 2714470.1156 | 1209331.5443 | 2714473.1959 | 1209331.8926 | 2714476.5609 | 1209332.8578
16 | 2714476.5609 | 1209332.8578 | 2714479.4068 | 1209334.7249 | 2714486.0099 | 1209339.6104
17 | 2714439.7181 | 1209342.5694 | 2714436.8552 | 1209347.9296 | 2714437.6337 | 1209360.4537 | 2714440.8565 | 1209383.488 | 2714442.1433 | 1209393.3601
18 | 2714320.6823 | 1209359.4003 | 2714326.7337 | 1209347.5519 | 2714330.6687 | 1209339.8105 | 2714335.8941 | 1209323.8545 | 2714339.7136 | 1209307.4601 | 2714344.6597 | 1209308.0553 | 2714395.4885 | 1209314.8344 | 2714400.7609 | 1209317.8377 | 2714406.2909 | 1209321.2907 | 2714419.0609 | 1209329.4192 | 2714439.7181 | 1209342.5694
19 | 2714430.3906 | 1209281.4457 | 2714431.7096 | 1209274.3747
20 | 2714439.4487 | 1209456.8482 | 2714427.1086 | 1209459.6136 | 2714425.3593 | 1209458.0567 | 2714424.2183 | 1209456.1 | 2714424.2614 | 1209451.4753 | 2714424.0129 | 1209448.5795 | 2714422.7458 | 1209448.0437 | 2714421.0475 | 1209448.9785 | 2714415.1434 | 1209469.3914 | 2714412.2643 | 1209481.5451 | 2714407.8042 | 1209490.4995 | 2714404.1153 | 1209507.608 | 2714399.7407 | 1209528.3616 | 2714400.04 | 1209534.1605 | 2714403.7173 | 1209539.0568 | 2714406.9225 | 1209539.2295 | 2714407.1054 | 1209543.1692
21 | 2714407.1054 | 1209543.1692 | 2714406.0192 | 1209543.2503
22 | 2714542.8297 | 1209614.0574 | 2714554.8797 | 1209593.5418
23 | 2714169.083 | 1209199.8366 | 2714151.5293 | 1209191.2647
24 | 2714169.083 | 1209199.8366 | 2714179.3164 | 1209260.6547 | 2714180.8023 | 1209273.5926 | 2714182.8577 | 1209283.3947 | 2714183.5541 | 1209289.5125 | 2714182.0475 | 1209293.5422 | 2714149.4626 | 1209320.7499 | 2714144.4324 | 1209324.9456 | 2714144.0579 | 1209334.9792 | 2714147.8181 | 1209343.0185
25 | 2714151.5293 | 1209191.2647 | 2714145.2177 | 1209188.1826 | 2714138.6389 | 1209184.6717
26 | 2714157.8735 | 1209354.4355 | 2714151.2893 | 1209350.4399 | 2714147.8181 | 1209343.0185
27 | 2714091.5784 | 1209395.798 | 2714160.5608 | 1209359.8242 | 2714157.8735 | 1209354.4355
28 | 2714091.5784 | 1209395.798 | 2714089.8702 | 1209400.0351 | 2714090.1062 | 1209403.5978 | 2714091.4611 | 1209407.4932 | 2714094.8376 | 1209412.2279 | 2714097.8887 | 1209418.0794 | 2714098.0201 | 1209421.54 | 2714097.0574 | 1209424.168 | 2714096.4189 | 1209426.3014
29 | 2714108.3529 | 1209484.7284 | 2714106.8916 | 1209474.871 | 2714095.0485 | 1209438.5624 | 2714095.0918 | 1209430.7352 | 2714096.4189 | 1209426.3014
30 | 2714316.3295 | 1209373.4717 | 2714318.2346 | 1209374.4422 | 2714324.8617 | 1209361.5152 | 2714320.6823 | 1209359.4003
31 | 2714316.3295 | 1209373.4717 | 2714311.5548 | 1209371.0361
32 | 2714366.1115 | 1209546.5971 | 2714369.9422 | 1209546.2702 | 2714383.0108 | 1209545.1532 | 2714400.3517 | 1209543.6734 | 2714406.0192 | 1209543.2503
33 | 2714366.1115 | 1209546.5971 | 2714312.5017 | 1209549.3497 | 2714285.6996 | 1209548.2021 | 2714255.0347 | 1209540.7205 | 2714193.7806 | 1209517.3383
34 | 2714366.1115 | 1209546.5971 | 2714360.8918 | 1209565.4331 | 2714357.5226 | 1209576.5878
35 | 2714118.8114 | 1209488.7207 | 2714193.7806 | 1209517.3383
36 | 2714318.3868 | 1209623.9143 | 2714333.6658 | 1209608.2095 | 2714348.3251 | 1209587.9644 | 2714357.5226 | 1209576.5878 | 2714357.5226 | 1209576.5878
37 | 2714444.1504 | 1209408.7586 | 2714442.1433 | 1209393.3601
38 | 2714439.4487 | 1209456.8482 | 2714443.7764 | 1209437.9258
39 | 2714519.1934 | 1209687.9656 | 2714518.431 | 1209666.3396 | 2714521.3157 | 1209654.2972 | 2714526.7699 | 1209641.0922 | 2714535.5121 | 1209626.5159 | 2714542.8297 | 1209614.0574
40 | 2714138.6389 | 1209184.6717 | 2714135.9899 | 1209183.2581 | 2714132.8171 | 1209180.5931
41 | 2714034.4935 | 1209112.2213 | 2714049.2058 | 1209118.6293 | 2714055.8789 | 1209121.9704 | 2714061.3191 | 1209124.9655 | 2714094.659 | 1209148.5423 | 2714132.8171 | 1209180.5931
42 | 2714108.3529 | 1209484.7284 | 2714068.5355 | 1209470.3017
43 | 2714108.3529 | 1209484.7284 | 2714118.8114 | 1209488.7207
44 | 2714033.251 | 1209457.5173 | 2714016.8278 | 1209451.5547
45 | 2714016.8278 | 1209451.5547 | 2714010.0468 | 1209448.9627
46 | 2714033.251 | 1209457.5173 | 2714013.319 | 1209470.8351 | 2714008.1074 | 1209480.5538 | 2714007.2131 | 1209494.3245 | 2714007.245 | 1209525.6592 | 2714011.8736 | 1209546.4296 | 2714011.5742 | 1209562.0909 | 2714009.1502 | 1209590.2541 | 2714011.364 | 1209616.827 | 2714012.3967 | 1209623.0526
47 | 2714033.251 | 1209457.5173 | 2714068.5355 | 1209470.3017
48 | 2713925.9881 | 1209430.2152 | 2713932.0466 | 1209429.8862 | 2713936.9997 | 1209429.714 | 2713957.2551 | 1209430.9016 | 2713993.0964 | 1209442.4835 | 2714010.0468 | 1209448.9627
49 | 2714294.8161 | 1209645.0615 | 2714310.1962 | 1209632.3331 | 2714318.3868 | 1209623.9143
50 | 2714444.1504 | 1209408.7586 | 2714445.6142 | 1209422.8192 | 2714444.7937 | 1209433.478 | 2714443.7764 | 1209437.9258
51 | 2713867.26 | 1209074.2114 | 2713880.2344 | 1209073.6919 | 2713912.541 | 1209071.0065 | 2713928.6166 | 1209070.5464 | 2713958.4981 | 1209080.5687 | 2713975.958 | 1209088.4412 | 2714012.9264 | 1209102.8246 | 2714034.4935 | 1209112.2213
52 | 2714034.4935 | 1209112.2213 | 2714015.4373 | 1209095.178 | 2714017.6418 | 1209090.4389 | 2714023.3749 | 1209083.6879 | 2714030.7653 | 1209074.1666 | 2714033.5726 | 1209070.9068
53 | 2714246.1734 | 1209663.5299 | 2714272.5991 | 1209660.4892 | 2714289.9473 | 1209649.0909 | 2714294.8161 | 1209645.0615
54 | 2714229.3413 | 1209656.7249 | 2714235.92 | 1209659.3973 | 2714246.1734 | 1209663.5299
55 | 2714519.1934 | 1209687.9656 | 2714519.2234 | 1209688.8157 | 2714521.6554 | 1209700.3487 | 2714523.5774 | 1209708.7088
56 | 2714014.5613 | 1209636.1022 | 2714012.3967 | 1209623.0526
57 | 2713925.9881 | 1209430.2152 | 2713919.0056 | 1209446.2715 | 2713911.121 | 1209453.037 | 2713906.7042 | 1209454.9875 | 2713900.6691 | 1209455.6839 | 2713893.0694 | 1209453.5039 | 2713873.1077 | 1209444.5101
58 | 2713850.7786 | 1209434.4496 | 2713873.1077 | 1209444.5101
59 | 2713850.7786 | 1209434.4496 | 2713843.6588 | 1209450.937
60 | 2713850.7786 | 1209434.4496 | 2713853.7933 | 1209427.4798 | 2713845.7603 | 1209426.0922 | 2713831.5265 | 1209424.1192
61 | 2713723.0573 | 1209422.917 | 2713747.235 | 1209432.9295 | 2713757.1895 | 1209439.6131 | 2713774.9691 | 1209435.0709 | 2713798.3007 | 1209428.4554 | 2713811.7425 | 1209424.9203 | 2713831.5265 | 1209424.1192
62 | 2713831.5265 | 1209424.1192 | 2713823.9558 | 1209445.4546
63 | 2713723.0573 | 1209422.917 | 2713719.1452 | 1209421.5932
64 | 2713723.0573 | 1209422.917 | 2713709.2965 | 1209406.4983 | 2713705.1202 | 1209401.0258 | 2713685.3852 | 1209388.5393
65 | 2713558.984 | 1209452.9033 | 2713566.1274 | 1209453.8955 | 2713571.9477 | 1209454.0953 | 2713580.29 | 1209453.6204 | 2713588.8257 | 1209452.571 | 2713624.9768 | 1209445.5208 | 2713743.7541 | 1209441.6251 | 2713757.1895 | 1209439.6131 | 2713747.235 | 1209432.9295 | 2713723.0573 | 1209422.917
66 | 2713823.8766 | 1209445.678 | 2713823.9558 | 1209445.4546
67 | 2713537.7396 | 1209522.0274 | 2713558.984 | 1209452.9033
68 | 2713553.3605 | 1209451.5509 | 2713558.984 | 1209452.9033
69 | 2713553.3605 | 1209451.5509 | 2713550.7107 | 1209450.5553 | 2713539.9703 | 1209446.4034 | 2713534.8061 | 1209444.3535
70 | 2713867.26 | 1209074.2114 | 2713863.7255 | 1209110.7818 | 2713863.379 | 1209117.7804 | 2713863.5924 | 1209122.1321 | 2713864.3799 | 1209127.4843 | 2713866.4453 | 1209135.5963 | 2713872.1323 | 1209152.3505 | 2713877.9441 | 1209166.1492 | 2713885.4128 | 1209181.1805 | 2713890.043 | 1209189.9642 | 2713906.1299 | 1209216.1446
71 | 2714033.5726 | 1209070.9068 | 2714030.4219 | 1209064.6864 | 2714028.682 | 1209062.2292 | 2714024.8602 | 1209058.4979 | 2714016.7829 | 1209052.239 | 2714006.2025 | 1209045.2651 | 2714002.1896 | 1209043.1758 | 2713985.0275 | 1209036.4208 | 2713977.5831 | 1209033.2541 | 2713959.2976 | 1209024.0092 | 2713948.1037 | 1209018.4914 | 2713945.5331 | 1209017.4757
72 | 2714036.4234 | 1209068.1592 | 2714033.5726 | 1209070.9068
73 | 2714036.4234 | 1209068.1592 | 2714045.1356 | 1209057.1176 | 2714054.795 | 1209042.6694 | 2714061.1596 | 1209031.5273 | 2714069.38 | 1209014.4052 | 2714074.5358 | 1209003.6515 | 2714095.2478 | 1208963.4971
74 | 2714036.4234 | 1209068.1592 | 2714041.8097 | 1209070.3971 | 2714047.1986 | 1209072.1013 | 2714050.7736 | 1209072.4366 | 2714053.8191 | 1209072.228 | 2714056.7881 | 1209071.2507 | 2714059.278 | 1209069.875 | 2714061.5949 | 1209068.0068 | 2714082.9638 | 1209046.0325 | 2714087.6436 | 1209041.8745 | 2714091.2381 | 1209039.2079 | 2714096.4799 | 1209035.8835 | 2714099.1495 | 1209034.6558 | 2714102.0799 | 1209033.7111 | 2714106.8239 | 1209032.5566
75 | 2714109.5694 | 1208935.171 | 2714106.9811 | 1208940.0918 | 2714099.4739 | 1208955.3039 | 2714095.2478 | 1208963.4971
76 | 2714109.0137 | 1209032.1877 | 2714106.8239 | 1209032.5566
77 | 2714127.9298 | 1209029.937 | 2714114.0557 | 1209031.3384 | 2714109.0137 | 1209032.1877
78 | 2714109.5694 | 1208935.171 | 2714126.1389 | 1208943.494 | 2714134.5369 | 1208946.9015

## bus_geodata
| x | y | coords
0 | 2714608.6713 | 1209503.4238
1 | 2714609.7639 | 1209501.5697
2 | 2714599.9969 | 1209518.1453
3 | 2714619.6034 | 1209484.8708
4 | 2714587.8976 | 1209538.6792
5 | 2714599.4341 | 1209454.6835
6 | 2714417.4446 | 1209542.4033
7 | 2714559.1527 | 1209586.4139
8 | 2714584.4523 | 1209444.4784
9 | 2714527.9973 | 1209192.3749
10 | 2714498.2788 | 1209230.6696
11 | 2714515.2173 | 1209160.6063
12 | 2714476.5609 | 1209332.8578
13 | 2714439.7181 | 1209342.5694
14 | 2714430.3906 | 1209281.4457
15 | 2714486.0099 | 1209339.6104
16 | 2714407.1054 | 1209543.1692
17 | 2714554.8797 | 1209593.5418
18 | 2714169.083 | 1209199.8366
19 | 2714151.5293 | 1209191.2647
20 | 2714147.8181 | 1209343.0185
21 | 2714157.8735 | 1209354.4355
22 | 2714091.5784 | 1209395.798
23 | 2714490.5952 | 1209175.8955
24 | 2714096.4189 | 1209426.3014
25 | 2714320.6823 | 1209359.4003
26 | 2714316.3295 | 1209373.4717
27 | 2714366.1115 | 1209546.5971
28 | 2714406.0192 | 1209543.2503
29 | 2714193.7806 | 1209517.3383
30 | 2714357.5226 | 1209576.5878
31 | 2714442.1433 | 1209393.3601
32 | 2714431.7096 | 1209274.3747
33 | 2714439.4487 | 1209456.8482
34 | 2714542.8297 | 1209614.0574
35 | 2714138.6389 | 1209184.6717
36 | 2714132.8171 | 1209180.5931
37 | 2714108.3529 | 1209484.7284
38 | 2714016.8278 | 1209451.5547
39 | 2714033.251 | 1209457.5173
40 | 2714010.0468 | 1209448.9627
41 | 2714311.5548 | 1209371.0361
42 | 2714118.8114 | 1209488.7207
43 | 2714318.3868 | 1209623.9143
44 | 2714444.1504 | 1209408.7586
45 | 2714034.4935 | 1209112.2213
46 | 2714294.8161 | 1209645.0615
47 | 2714246.1734 | 1209663.5299
48 | 2714229.3413 | 1209656.7249
49 | 2714443.7764 | 1209437.9258
50 | 2714519.1934 | 1209687.9656
51 | 2714523.5774 | 1209708.7088
52 | 2714068.5355 | 1209470.3017
53 | 2714012.3967 | 1209623.0526
54 | 2713925.9881 | 1209430.2152
55 | 2713873.1077 | 1209444.5101
56 | 2713850.7786 | 1209434.4496
57 | 2713831.5265 | 1209424.1192
58 | 2713723.0573 | 1209422.917
59 | 2713823.9558 | 1209445.4546
60 | 2713843.6588 | 1209450.937
61 | 2714014.5613 | 1209636.1022
62 | 2713558.984 | 1209452.9033
63 | 2713537.7396 | 1209522.0274
64 | 2713553.3605 | 1209451.5509
65 | 2713719.1452 | 1209421.5932
66 | 2713685.3852 | 1209388.5393
67 | 2713823.8766 | 1209445.678
68 | 2713867.26 | 1209074.2114
69 | 2714033.5726 | 1209070.9068
70 | 2713906.1299 | 1209216.1446
71 | 2713945.5331 | 1209017.4757
72 | 2714036.4234 | 1209068.1592
73 | 2714095.2478 | 1208963.4971
74 | 2714106.8239 | 1209032.5566
75 | 2713534.8061 | 1209444.3535
76 | 2714127.9298 | 1209029.937
77 | 2714109.0137 | 1209032.1877
78 | 2714109.5694 | 1208935.171
79 | 2714134.5369 | 1208946.9015
80 | 2714096.4189 | 1209426.3014

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99718 | -0.054826 | 0.00053523 | 0.00013414
1 | 0.99718 | -0.054846 | 0.00030285 | 7.5901e-05
2 | 0.99719 | -0.054508 | 0.00014399 | 3.6087e-05
3 | 0.99717 | -0.054921 | 0 | 0
4 | 0.99722 | -0.054005 | 0 | 0
5 | 0.99716 | -0.055098 | 0 | 0
6 | 0.99765 | -0.045702 | 0.00018648 | 4.6737e-05
7 | 0.99714 | -0.055535 | 0.00069741 | 0.00017479
8 | 0.99716 | -0.055168 | 0.00021937 | 5.4979e-05
9 | 0.99719 | -0.054594 | 0 | 0
10 | 0.99721 | -0.054352 | 0.00013306 | 3.3349e-05
11 | 0.99718 | -0.054763 | 0 | 0
12 | 0.99729 | -0.052732 | 0 | 0
13 | 0.99733 | -0.051891 | 0 | 0
14 | 0.99724 | -0.053709 | 0 | 0
15 | 0.99729 | -0.052792 | 0.00029577 | 7.4127e-05
16 | 0.99767 | -0.045164 | 0 | 0
17 | 0.99713 | -0.055662 | 0.00017076 | 4.2797e-05
18 | 0.99907 | -0.018066 | 0 | 0
19 | 0.99902 | -0.019173 | 0.00031883 | 7.9906e-05
20 | 0.99955 | -0.0088223 | 0.0005551 | 0.00013912
21 | 0.9996 | -0.0077672 | 0 | 0
22 | 0.99989 | -0.0022022 | 0 | 0
23 | 0.99718 | -0.054906 | 0.00028019 | 7.0222e-05
24 | 1 | 0 | -0.019506 | -0.0044344
25 | 0.9973 | -0.052553 | 0 | 0
26 | 0.99729 | -0.052638 | 0 | 0
27 | 0.99785 | -0.041719 | 0 | 0
28 | 0.99768 | -0.045075 | 0.00013971 | 3.5015e-05
29 | 0.99874 | -0.024516 | 0.00038669 | 9.6914e-05
30 | 0.99783 | -0.042126 | 0.00030022 | 7.5243e-05
31 | 0.99739 | -0.050719 | 0.000199 | 4.9873e-05
32 | 0.99724 | -0.053751 | 0.0003368 | 8.4411e-05
33 | 0.99748 | -0.048975 | 0 | 0
34 | 0.99712 | -0.055952 | 0.0002217 | 5.5563e-05
35 | 0.99898 | -0.019912 | 0.00025075 | 6.2843e-05
36 | 0.99896 | -0.020246 | 0.00053554 | 0.00013422
37 | 0.99923 | -0.01496 | 0 | 0
38 | 0.9986 | -0.02716 | 0 | 0
39 | 0.99869 | -0.025336 | 0 | 0
40 | 0.99856 | -0.02792 | 0.00019381 | 4.8572e-05
41 | 0.99729 | -0.052659 | 0.00022652 | 5.6771e-05
42 | 0.99916 | -0.016207 | 0.00045262 | 0.00011344
43 | 0.99781 | -0.042604 | 0.00013559 | 3.3981e-05
44 | 0.99741 | -0.050313 | 0 | 0
45 | 0.99873 | -0.024739 | 0 | 0
46 | 0.9978 | -0.042775 | 0.00016157 | 4.0494e-05
47 | 0.99779 | -0.04291 | 0 | 0
48 | 0.99779 | -0.042955 | 0.00014235 | 3.5677e-05
49 | 0.99745 | -0.049545 | 0.00018346 | 4.598e-05
50 | 0.99708 | -0.056615 | 0.00033656 | 8.435e-05
51 | 0.99708 | -0.056665 | 0.00013514 | 3.387e-05
52 | 0.99893 | -0.020702 | 0.00069693 | 0.00017467
53 | 0.99852 | -0.028684 | 0.000209 | 5.238e-05
54 | 0.9981 | -0.036747 | 0 | 0
55 | 0.99774 | -0.0437 | 0.0022969 | 0.00057567
56 | 0.99766 | -0.045198 | 0 | 0
57 | 0.99758 | -0.046763 | 0 | 0
58 | 0.99738 | -0.050687 | 0 | 0
59 | 0.99756 | -0.047163 | 0.0005631 | 0.00014113
60 | 0.99765 | -0.045362 | 0.0005227 | 0.000131
61 | 0.99851 | -0.028883 | 0.00086156 | 0.00021593
62 | 0.99727 | -0.052883 | 0 | 0
63 | 0.99725 | -0.053246 | 0.00028504 | 7.1438e-05
64 | 0.99727 | -0.052907 | 0 | 0
65 | 0.99738 | -0.05071 | 0.0003209 | 8.0426e-05
66 | 0.99733 | -0.051683 | 0.0011 | 0.0002757
67 | 0.99756 | -0.047165 | 0.00044511 | 0.00011156
68 | 0.99864 | -0.026424 | 0 | 0
69 | 0.99865 | -0.026285 | 0 | 0
70 | 0.99857 | -0.02787 | 0.00054183 | 0.00013579
71 | 0.99863 | -0.026767 | 0.00026102 | 6.5418e-05
72 | 0.99865 | -0.026376 | 0 | 0
73 | 0.99861 | -0.02714 | 0.00013027 | 3.2648e-05
74 | 0.99857 | -0.027794 | 0.0001874 | 4.6966e-05
75 | 0.99726 | -0.05299 | 0.00023571 | 5.9076e-05
76 | 0.99856 | -0.028022 | 0.00059688 | 0.00014959
77 | 0.99857 | -0.027823 | 0.00016149 | 4.0473e-05
78 | 0.9986 | -0.027268 | 0 | 0
79 | 0.99859 | -0.027379 | 0.00022905 | 5.7405e-05
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00052222 | 0.00012977 | -0.00052222 | -0.00012979 | 4.8959e-10 | -2.7761e-08 | 0.00077888 | 0.00077889 | 0.00077889 | 0.99718 | -0.054826 | 0.99718 | -0.054846 | 0.21398
1 | -0.0010574 | -0.00026391 | 0.0010575 | 0.00026369 | 1.5946e-08 | -2.127e-07 | 0.0015776 | 0.0015775 | 0.0015776 | 0.99718 | -0.054826 | 0.99719 | -0.054508 | 0.4334
2 | 0.00021937 | 5.3894e-05 | -0.00021937 | -5.4146e-05 | 7.7728e-10 | -2.5235e-07 | 0.00032697 | 0.00032706 | 0.00032706 | 0.99718 | -0.054846 | 0.99717 | -0.054921 | 0.089852
3 | -0.0012015 | -0.00029978 | 0.0012015 | 0.00029949 | 2.871e-08 | -2.9256e-07 | 0.0017923 | 0.0017922 | 0.0017923 | 0.99719 | -0.054508 | 0.99722 | -0.054005 | 0.4924
4 | 0.00021937 | 5.4146e-05 | -0.00021937 | -5.4743e-05 | 1.8387e-09 | -5.9641e-07 | 0.00032706 | 0.00032727 | 0.00032727 | 0.99717 | -0.054921 | 0.99716 | -0.055098 | 0.089909
5 | -0.0027632 | -0.00068848 | 0.0027643 | 0.00068695 | 1.0872e-06 | -1.532e-06 | 0.0041217 | 0.004121 | 0.0041217 | 0.99722 | -0.054005 | 0.99765 | -0.045702 | 1.1323
6 | 0.0015617 | 0.000389 | -0.0015616 | -0.00038965 | 1.134e-07 | -6.5433e-07 | 0.0023295 | 0.0023297 | 0.0023297 | 0.99722 | -0.054005 | 0.99714 | -0.055535 | 0.64004
7 | 0.00021937 | 5.4743e-05 | -0.00021937 | -5.4979e-05 | 7.2826e-10 | -2.36e-07 | 0.00032727 | 0.00032735 | 0.00032735 | 0.99716 | -0.055098 | 0.99716 | -0.055168 | 0.089932
8 | -0.0029508 | -0.00073369 | 0.0029508 | 0.0007336 | 7.5236e-08 | -8.7227e-08 | 0.0043991 | 0.004399 | 0.0043991 | 0.99765 | -0.045702 | 0.99767 | -0.045164 | 1.2085
9 | 0.00086419 | 0.00021486 | -0.00086419 | -0.00021497 | 5.1785e-09 | -1.0509e-07 | 0.001289 | 0.0012891 | 0.0012891 | 0.99714 | -0.055535 | 0.99713 | -0.055662 | 0.35414
10 | -0.00028019 | -6.94e-05 | 0.0002802 | 6.8765e-05 | 3.1945e-09 | -6.349e-07 | 0.00041782 | 0.0004176 | 0.00041782 | 0.99719 | -0.054594 | 0.99721 | -0.054352 | 0.11479
11 | 0.00028019 | 6.94e-05 | -0.00028019 | -6.9845e-05 | 2.242e-09 | -4.4517e-07 | 0.00041782 | 0.00041797 | 0.00041797 | 0.99719 | -0.054594 | 0.99718 | -0.054763 | 0.11483
12 | -0.00041326 | -0.00010211 | 0.00041327 | 0.00010098 | 1.2473e-08 | -1.1358e-06 | 0.00061615 | 0.00061576 | 0.00061615 | 0.99721 | -0.054352 | 0.99724 | -0.053709 | 0.16927
13 | 0.00028019 | 6.9845e-05 | -0.00028019 | -7.0222e-05 | 1.8994e-09 | -3.7688e-07 | 0.00041797 | 0.00041811 | 0.00041811 | 0.99718 | -0.054763 | 0.99718 | -0.054906 | 0.11486
14 | -0.0010459 | -0.00025833 | 0.0010459 | 0.00025777 | 4.138e-08 | -5.6588e-07 | 0.0015592 | 0.001559 | 0.0015592 | 0.99729 | -0.052732 | 0.99733 | -0.051891 | 0.42835
15 | 0.00075011 | 0.00018436 | -0.00075008 | -0.0001853 | 3.4478e-08 | -9.375e-07 | 0.0011179 | 0.0011183 | 0.0011183 | 0.99729 | -0.052732 | 0.99724 | -0.053709 | 0.30722
16 | 0.00029577 | 7.3976e-05 | -0.00029577 | -7.4127e-05 | 8.4836e-10 | -1.5105e-07 | 0.00044125 | 0.00044131 | 0.00044131 | 0.99729 | -0.052732 | 0.99729 | -0.052792 | 0.12124
17 | -0.0012724 | -0.00031205 | 0.0012725 | 0.00031142 | 6.9881e-08 | -6.3179e-07 | 0.0018961 | 0.0018959 | 0.0018961 | 0.99733 | -0.051891 | 0.99739 | -0.050719 | 0.52091
18 | 0.00022653 | 5.4287e-05 | -0.00022652 | -5.6423e-05 | 7.0082e-09 | -2.1366e-06 | 0.00033712 | 0.00033785 | 0.00033785 | 0.99733 | -0.051891 | 0.9973 | -0.052553 | 0.092817
19 | 0.0003368 | 8.4317e-05 | -0.0003368 | -8.4411e-05 | 6.8121e-10 | -9.341e-08 | 0.00050252 | 0.00050256 | 0.00050256 | 0.99724 | -0.053709 | 0.99724 | -0.053751 | 0.13806
20 | 0.0016554 | 0.00040501 | -0.0016551 | -0.00040652 | 2.9559e-07 | -1.5033e-06 | 0.0024656 | 0.0024661 | 0.0024661 | 0.99767 | -0.045164 | 0.99748 | -0.048975 | 0.67751
21 | -0.0046062 | -0.0011386 | 0.0046063 | 0.0011386 | 1.9248e-08 | -1.9051e-09 | 0.0068646 | 0.0068646 | 0.0068646 | 0.99767 | -0.045164 | 0.99768 | -0.045075 | 1.8859
22 | 0.00069343 | 0.00017217 | -0.00069342 | -0.00017248 | 9.5445e-09 | -3.0424e-07 | 0.0010342 | 0.0010343 | 0.0010343 | 0.99713 | -0.055662 | 0.99712 | -0.055952 | 0.28416
23 | 0.0032141 | 0.00079363 | -0.0032139 | -0.00079378 | 1.6758e-07 | -1.4854e-07 | 0.0047829 | 0.004783 | 0.004783 | 0.99907 | -0.018066 | 0.99902 | -0.019173 | 1.314
24 | -0.0032141 | -0.00079363 | 0.0032155 | 0.00079239 | 1.3988e-06 | -1.2414e-06 | 0.0047829 | 0.0047822 | 0.0047829 | 0.99907 | -0.018066 | 0.99955 | -0.0088223 | 1.314
25 | 0.0028951 | 0.00071387 | -0.002895 | -0.000714 | 1.0079e-07 | -1.2509e-07 | 0.0043081 | 0.0043082 | 0.0043082 | 0.99902 | -0.019173 | 0.99898 | -0.019912 | 1.1836
26 | -0.0037706 | -0.00093151 | 0.0037708 | 0.00093142 | 1.8749e-07 | -8.8356e-08 | 0.0056086 | 0.0056085 | 0.0056086 | 0.99955 | -0.0088223 | 0.9996 | -0.0077672 | 1.5408
27 | -0.0037708 | -0.00093142 | 0.0037718 | 0.00093096 | 9.8865e-07 | -4.6637e-07 | 0.0056085 | 0.0056081 | 0.0056085 | 0.9996 | -0.0077672 | 0.99989 | -0.0022022 | 1.5408
28 | -0.0037718 | -0.00093096 | 0.0037722 | 0.00093077 | 3.9116e-07 | -1.8473e-07 | 0.0056081 | 0.0056079 | 0.0056081 | 0.99989 | -0.0022022 | 1 | 0 | 1.5407
29 | 0.014084 | 0.0035035 | -0.014074 | -0.0034979 | 9.9737e-06 | 5.5886e-06 | 0.020947 | 0.020948 | 0.020948 | 1 | 0 | 0.99923 | -0.01496 | 5.7549
30 | 0.00022652 | 5.6423e-05 | -0.00022652 | -5.6701e-05 | 9.1316e-10 | -2.777e-07 | 0.00033785 | 0.00033795 | 0.00033795 | 0.9973 | -0.052553 | 0.99729 | -0.052638 | 0.092844
31 | 0.00022652 | 5.6701e-05 | -0.00022652 | -5.6771e-05 | 2.2955e-10 | -6.9794e-08 | 0.00033795 | 0.00033798 | 0.00033798 | 0.99729 | -0.052638 | 0.99729 | -0.052659 | 0.092851
32 | 0.0047467 | 0.0011736 | -0.004746 | -0.0011736 | 7.5129e-07 | -4.2233e-08 | 0.0070728 | 0.007073 | 0.007073 | 0.99785 | -0.041719 | 0.99768 | -0.045075 | 1.9431
33 | -0.0054865 | -0.0013564 | 0.0054909 | 0.001357 | 4.4515e-06 | 5.2641e-07 | 0.0081751 | 0.0081742 | 0.0081751 | 0.99785 | -0.041719 | 0.99874 | -0.024516 | 2.2459
34 | 0.00073977 | 0.00018285 | -0.00073975 | -0.00018325 | 1.4216e-08 | -3.9844e-07 | 0.0011023 | 0.0011024 | 0.0011024 | 0.99785 | -0.041719 | 0.99783 | -0.042126 | 0.30286
35 | -0.0058776 | -0.0014539 | 0.0058799 | 0.0014543 | 2.304e-06 | 4.2402e-07 | 0.0087504 | 0.00875 | 0.0087504 | 0.99874 | -0.024516 | 0.99916 | -0.016207 | 2.4039
36 | 0.00043953 | 0.00010801 | -0.00043952 | -0.0001088 | 9.8951e-09 | -7.9745e-07 | 0.0006547 | 0.00065497 | 0.00065497 | 0.99783 | -0.042126 | 0.99781 | -0.042604 | 0.17994
37 | -0.0014715 | -0.0003613 | 0.0014715 | 0.00036111 | 2.7998e-08 | -1.8475e-07 | 0.0021928 | 0.0021927 | 0.0021928 | 0.99739 | -0.050719 | 0.99741 | -0.050313 | 0.6024
38 | 0.0016551 | 0.00040652 | -0.0016551 | -0.00040674 | 4.4272e-08 | -2.2504e-07 | 0.0024661 | 0.0024662 | 0.0024662 | 0.99748 | -0.048975 | 0.99745 | -0.049545 | 0.67754
39 | 0.00047172 | 0.00011691 | -0.0004717 | -0.00011794 | 1.4809e-08 | -1.0308e-06 | 0.0007035 | 0.00070386 | 0.00070386 | 0.99712 | -0.055952 | 0.99708 | -0.056615 | 0.19337
40 | 0.0026442 | 0.00065115 | -0.0026442 | -0.00065122 | 4.1488e-08 | -6.7006e-08 | 0.0039347 | 0.0039347 | 0.0039347 | 0.99898 | -0.019912 | 0.99896 | -0.020246 | 1.081
41 | 0.0021087 | 0.000517 | -0.0021082 | -0.00051829 | 4.4434e-07 | -1.2914e-06 | 0.003137 | 0.0031376 | 0.0031376 | 0.99896 | -0.020246 | 0.99873 | -0.024739 | 0.86196
42 | 0.0077407 | 0.0019301 | -0.0077386 | -0.0019293 | 2.109e-06 | 7.9519e-07 | 0.011524 | 0.011524 | 0.011524 | 0.99923 | -0.01496 | 0.99893 | -0.020702 | 3.1659
43 | 0.0063329 | 0.0015678 | -0.0063326 | -0.0015677 | 3.7283e-07 | 9.1984e-08 | 0.009424 | 0.0094241 | 0.0094241 | 0.99923 | -0.01496 | 0.99916 | -0.016207 | 2.589
44 | -0.0059689 | -0.0014881 | 0.0059694 | 0.0014882 | 5.1665e-07 | 1.0265e-07 | 0.0088915 | 0.0088914 | 0.0088915 | 0.9986 | -0.02716 | 0.99869 | -0.025336 | 2.4427
45 | 0.0059689 | 0.0014881 | -0.0059686 | -0.0014881 | 2.1522e-07 | 4.2774e-08 | 0.0088915 | 0.0088915 | 0.0088915 | 0.9986 | -0.02716 | 0.99856 | -0.02792 | 2.4427
46 | 0.0010707 | 0.00026592 | -0.0010706 | -0.00026814 | 1.701e-07 | -2.2241e-06 | 0.0015945 | 0.0015953 | 0.0015953 | 0.99869 | -0.025336 | 0.99852 | -0.028684 | 0.43828
47 | -0.0070401 | -0.0017541 | 0.0070417 | 0.0017546 | 1.5474e-06 | 4.9916e-07 | 0.010486 | 0.010486 | 0.010486 | 0.99869 | -0.025336 | 0.99893 | -0.020702 | 2.8808
48 | 0.0057748 | 0.0014395 | -0.0057724 | -0.0014391 | 2.4181e-06 | 4.0836e-07 | 0.0086027 | 0.0086031 | 0.0086031 | 0.99856 | -0.02792 | 0.9981 | -0.036747 | 2.3635
49 | 0.00030393 | 7.4822e-05 | -0.00030393 | -7.5235e-05 | 2.4386e-09 | -4.1262e-07 | 0.00045278 | 0.00045292 | 0.00045292 | 0.99781 | -0.042604 | 0.9978 | -0.042775 | 0.12443
50 | -0.0014715 | -0.00036111 | 0.0014716 | 0.00036076 | 5.2984e-08 | -3.4968e-07 | 0.0021927 | 0.0021925 | 0.0021927 | 0.99741 | -0.050313 | 0.99745 | -0.049545 | 0.60238
51 | 0.00054191 | 0.00013156 | -0.00054186 | -0.00013383 | 4.275e-08 | -2.267e-06 | 0.00080592 | 0.00080671 | 0.00080671 | 0.99873 | -0.024739 | 0.99864 | -0.026424 | 0.22162
52 | 0.0015663 | 0.00038673 | -0.0015662 | -0.00038739 | 1.1419e-07 | -6.5973e-07 | 0.0023316 | 0.0023319 | 0.0023319 | 0.99873 | -0.024739 | 0.99865 | -0.026285 | 0.64063
53 | 0.00014236 | 3.474e-05 | -0.00014235 | -3.5441e-05 | 9.0545e-10 | -7.0053e-07 | 0.00021197 | 0.00021221 | 0.00021221 | 0.9978 | -0.042775 | 0.99779 | -0.04291 | 0.0583
54 | 0.00014235 | 3.5441e-05 | -0.00014235 | -3.5677e-05 | 3.0595e-10 | -2.3635e-07 | 0.00021221 | 0.00021229 | 0.00021229 | 0.99779 | -0.04291 | 0.99779 | -0.042955 | 0.058323
55 | 0.00013514 | 3.3594e-05 | -0.00013514 | -3.387e-05 | 3.2346e-10 | -2.765e-07 | 0.00020159 | 0.00020168 | 0.00020168 | 0.99708 | -0.056615 | 0.99708 | -0.056665 | 0.055408
56 | 0.00086157 | 0.00021576 | -0.00086156 | -0.00021593 | 8.1769e-09 | -1.6779e-07 | 0.0012839 | 0.0012839 | 0.0012839 | 0.99852 | -0.028684 | 0.99851 | -0.028883 | 0.35273
57 | 0.0057724 | 0.0014391 | -0.0057705 | -0.0014388 | 1.9041e-06 | 3.2237e-07 | 0.0086031 | 0.0086034 | 0.0086034 | 0.9981 | -0.036747 | 0.99774 | -0.0437 | 2.3636
58 | 0.0034736 | 0.00086309 | -0.0034733 | -0.00086325 | 2.4623e-07 | -1.6224e-07 | 0.0051778 | 0.0051779 | 0.0051779 | 0.99774 | -0.0437 | 0.99766 | -0.045198 | 1.4225
59 | 0.0005227 | 0.00013077 | -0.0005227 | -0.000131 | 4.092e-09 | -2.3184e-07 | 0.00077953 | 0.00077962 | 0.00077962 | 0.99766 | -0.045198 | 0.99765 | -0.045362 | 0.21418
60 | 0.0029506 | 0.00073248 | -0.0029504 | -0.00073273 | 2.1849e-07 | -2.5339e-07 | 0.0043984 | 0.0043985 | 0.0043985 | 0.99766 | -0.045198 | 0.99758 | -0.046763 | 1.2084
61 | 0.0019422 | 0.00048034 | -0.0019418 | -0.0004816 | 3.5973e-07 | -1.2639e-06 | 0.0028947 | 0.0028953 | 0.0028953 | 0.99758 | -0.046763 | 0.99738 | -0.050687 | 0.7954
62 | 0.0010082 | 0.0002524 | -0.0010082 | -0.00025268 | 1.92e-08 | -2.8328e-07 | 0.0015038 | 0.0015039 | 0.0015039 | 0.99758 | -0.046763 | 0.99756 | -0.047163 | 0.41316
63 | 0.0003209 | 8.0372e-05 | -0.0003209 | -8.0426e-05 | 3.5496e-10 | -5.3671e-08 | 0.00047874 | 0.00047876 | 0.00047876 | 0.99738 | -0.050687 | 0.99738 | -0.05071 | 0.13153
64 | 0.0011001 | 0.00027505 | -0.0011 | -0.0002757 | 5.2177e-08 | -6.4077e-07 | 0.001641 | 0.0016413 | 0.0016413 | 0.99738 | -0.050687 | 0.99733 | -0.051683 | 0.45089
65 | 0.00052081 | 0.00012618 | -0.00052076 | -0.00012924 | 5.3616e-08 | -3.0637e-06 | 0.00077551 | 0.00077658 | 0.00077658 | 0.99738 | -0.050687 | 0.99727 | -0.052883 | 0.21335
66 | 0.00044511 | 0.00011155 | -0.00044511 | -0.00011156 | 3.9371e-11 | -3.0696e-09 | 0.00066395 | 0.00066396 | 0.00066396 | 0.99756 | -0.047163 | 0.99756 | -0.047165 | 0.18241
67 | 0.00028504 | 7.0497e-05 | -0.00028504 | -7.1438e-05 | 4.9015e-09 | -9.4037e-07 | 0.00042498 | 0.00042531 | 0.00042531 | 0.99727 | -0.052883 | 0.99725 | -0.053246 | 0.11684
68 | 0.00023572 | 5.8742e-05 | -0.00023572 | -5.8817e-05 | 2.674e-10 | -7.5088e-08 | 0.00035159 | 0.00035162 | 0.00035162 | 0.99727 | -0.052883 | 0.99727 | -0.052907 | 0.096599
69 | 0.00023572 | 5.8817e-05 | -0.00023571 | -5.9076e-05 | 9.2295e-10 | -2.5908e-07 | 0.00035162 | 0.00035171 | 0.00035171 | 0.99727 | -0.052907 | 0.99726 | -0.05299 | 0.096624
70 | 0.00054186 | 0.00013383 | -0.00054183 | -0.00013579 | 3.7125e-08 | -1.9647e-06 | 0.00080671 | 0.0008074 | 0.0008074 | 0.99864 | -0.026424 | 0.99857 | -0.02787 | 0.22181
71 | 0.00026103 | 6.4048e-05 | -0.00026102 | -6.5418e-05 | 5.9493e-09 | -1.3701e-06 | 0.00038846 | 0.00038894 | 0.00038894 | 0.99865 | -0.026285 | 0.99863 | -0.026767 | 0.10685
72 | 0.0013052 | 0.00032334 | -0.0013052 | -0.00032339 | 5.6003e-09 | -4.8149e-08 | 0.0019434 | 0.0019435 | 0.0019435 | 0.99865 | -0.026285 | 0.99865 | -0.026376 | 0.53392
73 | 0.00035933 | 8.7712e-05 | -0.00035932 | -8.9279e-05 | 1.2915e-08 | -1.5667e-06 | 0.00053461 | 0.00053515 | 0.00053515 | 0.99865 | -0.026376 | 0.99861 | -0.02714 | 0.14702
74 | 0.00094584 | 0.00023568 | -0.00094578 | -0.00023676 | 6.3708e-08 | -1.0787e-06 | 0.0014089 | 0.0014092 | 0.0014092 | 0.99865 | -0.026376 | 0.99857 | -0.027794 | 0.38715
75 | 0.00022905 | 5.6631e-05 | -0.00022905 | -5.7045e-05 | 1.385e-09 | -4.1439e-07 | 0.00034104 | 0.00034118 | 0.00034118 | 0.99861 | -0.02714 | 0.9986 | -0.027268 | 0.093732
76 | 0.00075838 | 0.00018979 | -0.00075838 | -0.00018982 | 1.0633e-09 | -2.8369e-08 | 0.00113 | 0.00113 | 0.00113 | 0.99857 | -0.027794 | 0.99857 | -0.027823 | 0.31044
77 | -0.00059688 | -0.00014959 | 0.00059689 | 0.00014935 | 5.6534e-09 | -2.4569e-07 | 0.00088945 | 0.00088937 | 0.00088945 | 0.99856 | -0.028022 | 0.99857 | -0.027823 | 0.24436
78 | 0.00022905 | 5.7045e-05 | -0.00022905 | -5.7405e-05 | 1.2055e-09 | -3.6038e-07 | 0.00034118 | 0.00034131 | 0.00034131 | 0.9986 | -0.027268 | 0.99859 | -0.027379 | 0.093766

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.019839 | 0.0045179

## res_load
| p_mw | q_mvar
0 | 0.00053523 | 0.00013414
1 | 0.00030285 | 7.5901e-05
2 | 0.00014399 | 3.6087e-05
3 | 0.00018648 | 4.6737e-05
4 | 0.00069741 | 0.00017479
5 | 0.00021937 | 5.4979e-05
6 | 0.00013306 | 3.3349e-05
7 | 0.00029577 | 7.4127e-05
8 | 0.00017076 | 4.2797e-05
9 | 0.00031883 | 7.9906e-05
10 | 0.0005551 | 0.00013912
11 | 0.00028019 | 7.0222e-05
12 | 0.00033335 | 8.3544e-05
13 | 0.00013971 | 3.5015e-05
14 | 0.00038669 | 9.6914e-05
15 | 0.00030022 | 7.5243e-05
16 | 0.000199 | 4.9873e-05
17 | 0.0003368 | 8.4411e-05
18 | 0.0002217 | 5.5563e-05
19 | 0.00025075 | 6.2843e-05
20 | 0.00053554 | 0.00013422
21 | 0.00019381 | 4.8572e-05
22 | 0.00022652 | 5.6771e-05
23 | 0.00045262 | 0.00011344
24 | 0.00013559 | 3.3981e-05
25 | 0.00016157 | 4.0494e-05
26 | 0.00014235 | 3.5677e-05
27 | 0.00018346 | 4.598e-05
28 | 0.00033656 | 8.435e-05
29 | 0.00013514 | 3.387e-05
30 | 0.00069693 | 0.00017467
31 | 0.000209 | 5.238e-05
32 | 0.0022969 | 0.00057567
33 | 0.0005631 | 0.00014113
34 | 0.0005227 | 0.000131
35 | 0.00086156 | 0.00021593
36 | 0.00028504 | 7.1438e-05
37 | 0.0003209 | 8.0426e-05
38 | 0.0011 | 0.0002757
39 | 0.00044511 | 0.00011156
40 | 0.00054183 | 0.00013579
41 | 0.00026102 | 6.5418e-05
42 | 0.00013027 | 3.2648e-05
43 | 0.0001874 | 4.6966e-05
44 | 0.00023571 | 5.9076e-05
45 | 0.00059688 | 0.00014959
46 | 0.00016149 | 4.0473e-05
47 | 0.00022905 | 5.7405e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1