## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-89_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-89_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-89_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-89_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-89_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-89_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1632-89_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1632-89_0_5_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1632-89_0_5_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1632-89_0_5_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1632-89_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1632-89_0_5_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1632-89_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1632-89_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1632-89_0_5_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1632-89_0_5_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1632-89_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1632-89_0_5_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_1632-89_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1632-89_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1632-89_0_5_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1632-89_0_5_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1632-89_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1632-89_0_5_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_1632-89_0_5_node_6 | 0.4 | n |  | TRUE
25 | bus_LV_1632-89_0_5_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_1632-89_0_5_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_1632-89_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_1632-89_0_5_node_10 | 0.4 | n |  | TRUE
29 | bus_LV_1632-89_0_5_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_1632-89_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1632-89_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1632-89_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1632-89_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1632-89_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1632-89_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1632-89_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_MV_226_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-89_0_5_load_0 | 0 | 0.021081 | 0.0052833 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-89_0_5_load_1 | 1 | 0.0074321 | 0.0018627 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-89_0_5_load_2 | 2 | 0.017489 | 0.0043832 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-89_0_5_load_4 | 4 | 0.013607 | 0.0034103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-89_0_5_load_20 | 6 | 0.012402 | 0.0031082 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-89_0_5_load_26 | 7 | 0.012129 | 0.0030399 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-89_0_5_load_27 | 8 | 0.023408 | 0.0058667 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-89_0_5_load_36 | 10 | 0.019481 | 0.0048823 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-89_0_5_load_33 | 11 | 0.025916 | 0.0064953 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-89_0_5_load_32 | 15 | 0.011373 | 0.0028502 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-89_0_5_load_35 | 17 | 0.016526 | 0.0041417 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-89_0_5_load_15 | 18 | 0.013422 | 0.0033638 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-89_0_5_load_37 | 21 | 0.013504 | 0.0033844 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-89_0_5_load_13 | 22 | 0.067477 | 0.016911 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-89_0_5_load_5 | 23 | 0.033815 | 0.0084749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-89_0_5_load_6 | 24 | 0.010503 | 0.0026322 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-89_0_5_load_7 | 25 | 0.010431 | 0.0026143 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-89_0_5_load_8 | 26 | 0.011552 | 0.0028952 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-89_0_5_load_12 | 27 | 0.011427 | 0.0028638 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-89_0_5_load_10 | 28 | 0.014013 | 0.003512 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-89_0_5_load_11 | 29 | 0.015011 | 0.0037622 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-89_0_5_load_14 | 30 | 0.022596 | 0.005663 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-89_0_5_load_19 | 31 | 0.030948 | 0.0077562 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-89_0_5_load_28 | 32 | 0.010815 | 0.0027105 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-89_0_5_load_34 | 33 | 0.010917 | 0.002736 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-89_0_5_load_29 | 34 | 0.019919 | 0.0049923 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-89_0_5_load_31 | 35 | 0.010074 | 0.0025248 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-89_0_5_load_30 | 36 | 0.042859 | 0.010741 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-89_0_5_line_0 |  | 0 | 1 | 0.00073684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1632-89_0_5_line_1 |  | 0 | 2 | 0.0053868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1632-89_0_5_line_2 |  | 1 | 3 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1632-89_0_5_line_3 |  | 2 | 4 | 0.0057511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1632-89_0_5_line_4 |  | 3 | 5 | 0.067066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-89_0_5_line_5 |  | 3 | 6 | 0.011806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1632-89_0_5_line_6 |  | 4 | 7 | 0.0082618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1632-89_0_5_line_7 |  | 5 | 8 | 0.0335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-89_0_5_line_8 |  | 6 | 12 | 0.014592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1632-89_0_5_line_9 |  | 7 | 22 | 0.0041941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1632-89_0_5_line_10 |  | 8 | 19 | 0.022409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-89_0_5_line_11 |  | 9 | 10 | 0.019143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1632-89_0_5_line_12 |  | 9 | 11 | 0.019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1632-89_0_5_line_13 |  | 10 | 14 | 0.018952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-89_0_5_line_14 |  | 11 | 33 | 0.0083267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1632-89_0_5_line_15 |  | 12 | 13 | 0.009327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1632-89_0_5_line_16 |  | 13 | 30 | 0.018754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1632-89_0_5_line_17 |  | 14 | 15 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-89_0_5_line_18 |  | 15 | 35 | 0.0096318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-89_0_5_line_19 |  | 16 | 17 | 0.023865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1632-89_0_5_line_20 |  | 16 | 18 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1632-89_0_5_line_21 |  | 17 | 33 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1632-89_0_5_line_22 |  | 18 | 30 | 0.00030434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1632-89_0_5_line_23 |  | 19 | 20 | 0.0068391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-89_0_5_line_24 |  | 20 | 21 | 0.031515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-89_0_5_line_25 |  | 22 | 29 | 0.0044794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1632-89_0_5_line_26 |  | 23 | 24 | 0.000499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-89_0_5_line_27 |  | 23 | 25 | 0.0050223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-89_0_5_line_28 |  | 24 | 26 | 0.0058821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-89_0_5_line_29 |  | 26 | 27 | 0.0060358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-89_0_5_line_30 |  | 27 | 28 | 0.0075176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-89_0_5_line_31 |  | 28 | 29 | 0.0093155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-89_0_5_line_32 |  | 31 | 32 | 0.0020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-89_0_5_line_33 |  | 32 | 34 | 0.004554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-89_0_5_line_34 |  | 34 | 36 | 0.0059251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-89_0_5_line_35 |  | 35 | 36 | 0.0076497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-89_0_5_trafo_11 | 0.63 MVA 20/0.4 kV | 37 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2723910.5011 | 1211360.3345 | 2723910.8321 | 1211359.6762
1 | 2723910.5011 | 1211360.3345 | 2723908.0815 | 1211365.1473
2 | 2723917.5181 | 1211346.3772 | 2723910.8321 | 1211359.6762
3 | 2723905.4983 | 1211370.2856 | 2723908.0815 | 1211365.1473
4 | 2723977.6192 | 1211376.1378 | 2723960.9454 | 1211367.9183 | 2723938.367 | 1211356.6961 | 2723917.5181 | 1211346.3772
5 | 2723917.5181 | 1211346.3772 | 2723906.9425 | 1211341.1298
6 | 2723905.4983 | 1211370.2856 | 2723901.7873 | 1211377.667
7 | 2723977.6192 | 1211376.1378 | 2723990.5522 | 1211382.934 | 2724007.277 | 1211391.7145
8 | 2723893.8707 | 1211334.6437 | 2723906.9425 | 1211341.1298
9 | 2723901.7873 | 1211377.667 | 2723899.9035 | 1211381.4142
10 | 2724027.1182 | 1211402.1311 | 2724007.277 | 1211391.7145
11 | 2723819.7808 | 1211393.8733 | 2723836.8229 | 1211402.5922
12 | 2723819.7808 | 1211393.8733 | 2723823.3702 | 1211386.8424 | 2723828.6038 | 1211376.5525
13 | 2723853.6947 | 1211411.224 | 2723836.8229 | 1211402.5922
14 | 2723828.6038 | 1211376.5525 | 2723832.3786 | 1211369.1305
15 | 2723887.6333 | 1211341.4305 | 2723889.864 | 1211339.7978 | 2723892.2562 | 1211337.3456 | 2723893.8707 | 1211334.6437
16 | 2723887.6333 | 1211341.4305 | 2723883.6942 | 1211342.6052 | 2723878.4929 | 1211342.6972 | 2723875.2149 | 1211341.684 | 2723869.844 | 1211338.9859
17 | 2723853.6947 | 1211411.224 | 2723858.3119 | 1211402.2254
18 | 2723858.3119 | 1211402.2254 | 2723862.7089 | 1211393.6558
19 | 2723852.2174 | 1211330.1309 | 2723848.683 | 1211337.074 | 2723841.396 | 1211351.4011
20 | 2723852.2174 | 1211330.1309 | 2723855.5651 | 1211331.8128 | 2723869.5721 | 1211338.8492
21 | 2723832.3786 | 1211369.1305 | 2723841.396 | 1211351.4011
22 | 2723869.844 | 1211338.9859 | 2723869.5721 | 1211338.8492
23 | 2724027.1182 | 1211402.1311 | 2724030.6746 | 1211404.0065 | 2724033.171 | 1211405.315
24 | 2724033.171 | 1211405.315 | 2724024.1282 | 1211435.5058
25 | 2723899.9035 | 1211381.4142 | 2723897.8914 | 1211385.4162
26 | 2723884.7531 | 1211411.5495 | 2723884.9773 | 1211411.1037
27 | 2723884.7531 | 1211411.5495 | 2723882.4972 | 1211416.0366
28 | 2723887.6193 | 1211405.8483 | 2723884.9773 | 1211411.1037
29 | 2723887.6193 | 1211405.8483 | 2723890.3305 | 1211400.4557
30 | 2723890.3305 | 1211400.4557 | 2723893.7072 | 1211393.7391
31 | 2723893.7072 | 1211393.7391 | 2723897.8914 | 1211385.4162
32 | 2723870.985 | 1211377.5264 | 2723871.8986 | 1211375.7458
33 | 2723870.985 | 1211377.5264 | 2723868.906 | 1211381.5781
34 | 2723866.2011 | 1211386.8497 | 2723868.906 | 1211381.5781
35 | 2723866.2011 | 1211386.8497 | 2723862.7089 | 1211393.6558

## bus_geodata
| x | y | coords
0 | 2723910.5011 | 1211360.3345
1 | 2723910.8321 | 1211359.6762
2 | 2723908.0815 | 1211365.1473
3 | 2723917.5181 | 1211346.3772
4 | 2723905.4983 | 1211370.2856
5 | 2723977.6192 | 1211376.1378
6 | 2723906.9425 | 1211341.1298
7 | 2723901.7873 | 1211377.667
8 | 2724007.277 | 1211391.7145
9 | 2723819.7808 | 1211393.8733
10 | 2723836.8229 | 1211402.5922
11 | 2723828.6038 | 1211376.5525
12 | 2723893.8707 | 1211334.6437
13 | 2723887.6333 | 1211341.4305
14 | 2723853.6947 | 1211411.224
15 | 2723858.3119 | 1211402.2254
16 | 2723852.2174 | 1211330.1309
17 | 2723841.396 | 1211351.4011
18 | 2723869.5721 | 1211338.8492
19 | 2724027.1182 | 1211402.1311
20 | 2724033.171 | 1211405.315
21 | 2724024.1282 | 1211435.5058
22 | 2723899.9035 | 1211381.4142
23 | 2723884.7531 | 1211411.5495
24 | 2723884.9773 | 1211411.1037
25 | 2723882.4972 | 1211416.0366
26 | 2723887.6193 | 1211405.8483
27 | 2723890.3305 | 1211400.4557
28 | 2723893.7072 | 1211393.7391
29 | 2723897.8914 | 1211385.4162
30 | 2723869.844 | 1211338.9859
31 | 2723871.8986 | 1211375.7458
32 | 2723870.985 | 1211377.5264
33 | 2723832.3786 | 1211369.1305
34 | 2723868.906 | 1211381.5781
35 | 2723862.7089 | 1211393.6558
36 | 2723866.2011 | 1211386.8497
37 | 2723878.5303 | 1211423.9272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99775 | -0.042856 | 0.021081 | 0.0052833
1 | 0.9977 | -0.043796 | 0.0074321 | 0.0018627
2 | 0.99814 | -0.035486 | 0.017489 | 0.0043832
3 | 0.99673 | -0.062332 | 0 | 0
4 | 0.99857 | -0.027184 | 0.013607 | 0.0034103
5 | 0.99447 | -0.10587 | 0 | 0
6 | 0.99606 | -0.075144 | 0.012402 | 0.0031082
7 | 0.99922 | -0.01478 | 0.012129 | 0.0030399
8 | 0.99334 | -0.12769 | 0.023408 | 0.0058667
9 | 0.98995 | -0.19258 | 0 | 0
10 | 0.98867 | -0.21738 | 0.019481 | 0.0048823
11 | 0.9906 | -0.18001 | 0.025916 | 0.0064953
12 | 0.99527 | -0.090208 | 0 | 0
13 | 0.99477 | -0.099849 | 0 | 0
14 | 0.98646 | -0.26005 | 0 | 0
15 | 0.98529 | -0.2829 | 0.011373 | 0.0028502
16 | 0.99286 | -0.1366 | 0 | 0
17 | 0.99176 | -0.1576 | 0.016526 | 0.0041417
18 | 0.99374 | -0.11955 | 0.013422 | 0.0033638
19 | 0.99307 | -0.13303 | 0 | 0
20 | 0.99298 | -0.13467 | 0 | 0
21 | 0.99259 | -0.14219 | 0.013504 | 0.0033844
22 | 0.99957 | -0.0082678 | 0.067477 | 0.016911
23 | 0.99802 | -0.038128 | 0.033815 | 0.0084749
24 | 0.99804 | -0.037742 | 0.010503 | 0.0026322
25 | 0.99797 | -0.039045 | 0.010431 | 0.0026143
26 | 0.99833 | -0.032109 | 0.011552 | 0.0028952
27 | 0.99869 | -0.025113 | 0.011427 | 0.0028638
28 | 0.99922 | -0.014907 | 0.014013 | 0.003512
29 | 1 | 0 | -0.52012 | -0.13123
30 | 0.99376 | -0.11926 | 0.022596 | 0.005663
31 | 0.98296 | -0.32827 | 0.030948 | 0.0077562
32 | 0.98302 | -0.32715 | 0.010815 | 0.0027105
33 | 0.99093 | -0.17368 | 0.010917 | 0.002736
34 | 0.9832 | -0.32372 | 0.019919 | 0.0049923
35 | 0.98427 | -0.30274 | 0.010074 | 0.0025248
36 | 0.98353 | -0.31714 | 0.042859 | 0.010741
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.29407 | 0.074653 | -0.29405 | -0.074644 | 1.3307e-05 | 8.4779e-06 | 0.4389 | 0.4389 | 0.4389 | 0.99775 | -0.042856 | 0.9977 | -0.043796 | 30.1442
1 | -0.31515 | -0.079936 | 0.31526 | 0.080007 | 0.00011172 | 7.1218e-05 | 0.47034 | 0.47034 | 0.47034 | 0.99775 | -0.042856 | 0.99814 | -0.035486 | 32.3035
2 | 0.28662 | 0.072782 | -0.28637 | -0.072619 | 0.00025541 | 0.00016268 | 0.42782 | 0.42782 | 0.42782 | 0.9977 | -0.043796 | 0.99673 | -0.062332 | 29.3829
3 | -0.33275 | -0.08439 | 0.33288 | 0.084475 | 0.00013286 | 8.4731e-05 | 0.49641 | 0.49641 | 0.49641 | 0.99814 | -0.035486 | 0.99857 | -0.027184 | 34.0942
4 | 0.037037 | 0.0093288 | -0.03696 | -0.0092804 | 7.6935e-05 | 4.8366e-05 | 0.055309 | 0.055309 | 0.055309 | 0.99673 | -0.062332 | 0.99447 | -0.10587 | 15.1948
5 | 0.24933 | 0.06329 | -0.24918 | -0.063192 | 0.00015358 | 9.7677e-05 | 0.37251 | 0.37251 | 0.37251 | 0.99673 | -0.062332 | 0.99606 | -0.075144 | 25.5843
6 | -0.34649 | -0.087886 | 0.3467 | 0.088017 | 0.00020678 | 0.0001319 | 0.51669 | 0.51669 | 0.51669 | 0.99857 | -0.027184 | 0.99922 | -0.01478 | 35.4868
7 | 0.03696 | 0.0092804 | -0.036922 | -0.0092563 | 3.843e-05 | 2.4161e-05 | 0.055309 | 0.055309 | 0.055309 | 0.99447 | -0.10587 | 0.99334 | -0.12769 | 15.1948
8 | 0.23677 | 0.060084 | -0.2366 | -0.059975 | 0.00017142 | 0.00010895 | 0.35398 | 0.35398 | 0.35398 | 0.99606 | -0.075144 | 0.99527 | -0.090208 | 24.3118
9 | -0.35883 | -0.091057 | 0.35894 | 0.091129 | 0.00011244 | 7.174e-05 | 0.53475 | 0.53475 | 0.53475 | 0.99922 | -0.01478 | 0.99957 | -0.0082678 | 36.7274
10 | 0.013513 | 0.0033896 | -0.01351 | -0.0033877 | 3.4439e-06 | 1.9141e-06 | 0.020244 | 0.020244 | 0.020244 | 0.99334 | -0.12769 | 0.99307 | -0.13303 | 5.5616
11 | 0.14625 | 0.036954 | -0.14607 | -0.036844 | 0.00017362 | 0.00011062 | 0.21993 | 0.21993 | 0.21993 | 0.98995 | -0.19258 | 0.98867 | -0.21738 | 30.2107
12 | -0.14625 | -0.036954 | 0.14633 | 0.03701 | 8.8149e-05 | 5.5415e-05 | 0.21993 | 0.21993 | 0.21993 | 0.98995 | -0.19258 | 0.9906 | -0.18001 | 15.1053
13 | 0.12659 | 0.031962 | -0.12633 | -0.031797 | 0.00025822 | 0.00016502 | 0.19061 | 0.19061 | 0.19061 | 0.98867 | -0.21738 | 0.98646 | -0.26005 | 52.3666
14 | -0.17225 | -0.043505 | 0.1723 | 0.043538 | 5.231e-05 | 3.305e-05 | 0.25886 | 0.25886 | 0.25886 | 0.9906 | -0.18001 | 0.99093 | -0.17368 | 17.7791
15 | 0.2366 | 0.059975 | -0.23649 | -0.059906 | 0.00010957 | 6.9637e-05 | 0.35398 | 0.35398 | 0.35398 | 0.99527 | -0.090208 | 0.99477 | -0.099849 | 24.3119
16 | 0.23649 | 0.059906 | -0.23627 | -0.059766 | 0.00022031 | 0.00014002 | 0.35398 | 0.35398 | 0.35398 | 0.99477 | -0.099849 | 0.99376 | -0.11926 | 24.3119
17 | 0.12633 | 0.031797 | -0.1262 | -0.031708 | 0.0001378 | 8.8066e-05 | 0.19061 | 0.19061 | 0.19061 | 0.98646 | -0.26005 | 0.98529 | -0.2829 | 52.3666
18 | 0.11482 | 0.028858 | -0.11472 | -0.028789 | 0.00010865 | 6.9414e-05 | 0.17344 | 0.17344 | 0.17344 | 0.98529 | -0.2829 | 0.98427 | -0.30274 | 47.6482
19 | 0.20009 | 0.050633 | -0.19989 | -0.050505 | 0.00020143 | 0.00012768 | 0.30005 | 0.30005 | 0.30005 | 0.99286 | -0.1366 | 0.99176 | -0.1576 | 20.6078
20 | -0.20009 | -0.050633 | 0.20025 | 0.050737 | 0.00016392 | 0.0001039 | 0.30005 | 0.30005 | 0.30005 | 0.99286 | -0.1366 | 0.99374 | -0.11955 | 20.6078
21 | 0.18336 | 0.046364 | -0.18322 | -0.046274 | 0.00014129 | 8.9397e-05 | 0.27526 | 0.27526 | 0.27526 | 0.99176 | -0.1576 | 0.99093 | -0.17368 | 18.905
22 | -0.21367 | -0.054101 | 0.21368 | 0.054103 | 2.9244e-06 | 1.8558e-06 | 0.32015 | 0.32015 | 0.32015 | 0.99374 | -0.11955 | 0.99376 | -0.11926 | 21.9881
23 | 0.01351 | 0.0033877 | -0.013509 | -0.0033871 | 1.0511e-06 | 5.842e-07 | 0.020244 | 0.020244 | 0.020244 | 0.99307 | -0.13303 | 0.99298 | -0.13467 | 5.5616
24 | 0.013509 | 0.0033871 | -0.013504 | -0.0033844 | 4.8434e-06 | 2.6923e-06 | 0.020244 | 0.020244 | 0.020244 | 0.99298 | -0.13467 | 0.99259 | -0.14219 | 5.5616
25 | -0.42641 | -0.10804 | 0.42658 | 0.10815 | 0.00016944 | 0.00010821 | 0.6352 | 0.6352 | 0.6352 | 0.99957 | -0.0082678 | 1 | 0 | 43.6264
26 | -0.044247 | -0.011089 | 0.044247 | 0.01109 | 8.1439e-07 | 5.1469e-07 | 0.06597 | 0.06597 | 0.06597 | 0.99802 | -0.038128 | 0.99804 | -0.037742 | 18.1238
27 | 0.010432 | 0.0026145 | -0.010431 | -0.0026143 | 4.5558e-07 | 2.2595e-07 | 0.015553 | 0.015553 | 0.015553 | 0.99802 | -0.038128 | 0.99797 | -0.039045 | 4.2728
28 | -0.05475 | -0.013722 | 0.054765 | 0.013731 | 1.4698e-05 | 9.3298e-06 | 0.081629 | 0.081629 | 0.081629 | 0.99804 | -0.037742 | 0.99833 | -0.032109 | 22.4256
29 | -0.066317 | -0.016627 | 0.066339 | 0.016641 | 2.2115e-05 | 1.4075e-05 | 0.098848 | 0.098847 | 0.098848 | 0.99833 | -0.032109 | 0.99869 | -0.025113 | 27.1559
30 | -0.077766 | -0.019504 | 0.077803 | 0.019529 | 3.7851e-05 | 2.4126e-05 | 0.11587 | 0.11587 | 0.11587 | 0.99869 | -0.025113 | 0.99922 | -0.014907 | 31.8332
31 | -0.091817 | -0.023041 | 0.091882 | 0.023082 | 6.5318e-05 | 4.1682e-05 | 0.13674 | 0.13674 | 0.13674 | 0.99922 | -0.014907 | 1 | 0 | 37.5662
32 | -0.030948 | -0.0077562 | 0.030949 | 0.0077573 | 1.6472e-06 | 1.0288e-06 | 0.046849 | 0.046849 | 0.046849 | 0.98296 | -0.32827 | 0.98302 | -0.32715 | 12.8706
33 | -0.041765 | -0.010468 | 0.041771 | 0.010472 | 6.8254e-06 | 4.3105e-06 | 0.06322 | 0.06322 | 0.06322 | 0.98302 | -0.32715 | 0.9832 | -0.32372 | 17.3681
34 | -0.061691 | -0.015464 | 0.06171 | 0.015477 | 1.9369e-05 | 1.2321e-05 | 0.093367 | 0.093367 | 0.093367 | 0.9832 | -0.32372 | 0.98353 | -0.31714 | 25.6502
35 | 0.10464 | 0.026264 | -0.10457 | -0.026218 | 7.1803e-05 | 4.5857e-05 | 0.15821 | 0.15821 | 0.15821 | 0.98427 | -0.30274 | 0.98353 | -0.31714 | 43.4641

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53513 | 0.13499

## res_load
| p_mw | q_mvar
0 | 0.021081 | 0.0052833
1 | 0.0074321 | 0.0018627
2 | 0.017489 | 0.0043832
3 | 0.013607 | 0.0034103
4 | 0.012402 | 0.0031082
5 | 0.012129 | 0.0030399
6 | 0.023408 | 0.0058667
7 | 0.019481 | 0.0048823
8 | 0.025916 | 0.0064953
9 | 0.011373 | 0.0028502
10 | 0.016526 | 0.0041417
11 | 0.013422 | 0.0033638
12 | 0.013504 | 0.0033844
13 | 0.067477 | 0.016911
14 | 0.033815 | 0.0084749
15 | 0.010503 | 0.0026322
16 | 0.010431 | 0.0026143
17 | 0.011552 | 0.0028952
18 | 0.011427 | 0.0028638
19 | 0.014013 | 0.003512
20 | 0.015011 | 0.0037622
21 | 0.022596 | 0.005663
22 | 0.030948 | 0.0077562
23 | 0.010815 | 0.0027105
24 | 0.010917 | 0.002736
25 | 0.019919 | 0.0049923
26 | 0.010074 | 0.0025248
27 | 0.042859 | 0.010741

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1