## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-90_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-90_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-90_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-90_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-90_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-90_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1632-90_0_5_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1632-90_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1632-90_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1632-90_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1632-90_0_5_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1632-90_0_5_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1632-90_0_5_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1632-90_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1632-90_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1632-90_0_5_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_1632-90_0_5_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1632-90_0_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_1632-90_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1632-90_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1632-90_0_5_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1632-90_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1632-90_0_5_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1632-90_0_5_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_1632-90_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1632-90_0_5_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_1632-90_0_5_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_1632-90_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_1632-90_0_5_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1632-90_0_5_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_1632-90_0_5_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1632-90_0_5_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_1632-90_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1632-90_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1632-90_0_5_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1632-90_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1632-90_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1632-90_0_5_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1632-90_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1632-90_0_5_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1632-90_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_1632-90_0_5_node_48 | 0.4 | n |  | TRUE
42 | bus_MV_226_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-90_0_5_load_0 | 0 | 0.013314 | 0.0033368 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-90_0_5_load_3 | 3 | 0.021001 | 0.0052634 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-90_0_5_load_4 | 4 | 0.0044039 | 0.0011037 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-90_0_5_load_16 | 5 | 0.012923 | 0.0032388 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-90_0_5_load_17 | 6 | 0.0087525 | 0.0021936 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-90_0_5_load_22 | 7 | 0.01076 | 0.0026967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-90_0_5_load_20 | 8 | 0.01126 | 0.0028221 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-90_0_5_load_25 | 10 | 0.013627 | 0.0034152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-90_0_5_load_26 | 11 | 0.0097677 | 0.002448 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-90_0_5_load_24 | 12 | 0.015447 | 0.0038713 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-90_0_5_load_40 | 15 | 0.0737 | 0.018471 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-90_0_5_load_29 | 16 | 0.014256 | 0.0035729 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-90_0_5_load_27 | 17 | 0.026016 | 0.0065203 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-90_0_5_load_23 | 18 | 0.012273 | 0.0030759 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-90_0_5_load_19 | 19 | 0.0028875 | 0.00072367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-90_0_5_load_21 | 20 | 0.0089467 | 0.0022423 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-90_0_5_load_34 | 21 | 0.0068891 | 0.0017266 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-90_0_5_load_32 | 22 | 0.0099774 | 0.0025006 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-90_0_5_load_44 | 23 | 0.03538 | 0.008867 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-90_0_5_load_45 | 25 | 0.028604 | 0.0071689 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-90_0_5_load_46 | 26 | 0.024715 | 0.0061942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-90_0_5_load_41 | 27 | 0.013711 | 0.0034364 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-90_0_5_load_49 | 28 | 0.026766 | 0.0067081 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-90_0_5_load_47 | 29 | 0.026162 | 0.0065569 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-90_0_5_load_30 | 30 | 0.022628 | 0.0056711 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-90_0_5_load_43 | 31 | 0.0063064 | 0.0015805 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-90_0_5_load_28 | 33 | 0.0087646 | 0.0021966 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-90_0_5_load_35 | 34 | 0.0090407 | 0.0022658 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-90_0_5_load_36 | 35 | 0.019278 | 0.0048315 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-90_0_5_load_31 | 36 | 0.0072916 | 0.0018274 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-90_0_5_load_39 | 38 | 0.018862 | 0.0047273 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-90_0_5_load_42 | 39 | 0.014849 | 0.0037216 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-90_0_5_load_50 | 40 | 0.018875 | 0.0047304 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-90_0_5_load_48 | 41 | 0.022759 | 0.0057039 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-90_0_5_line_0 |  | 0 | 1 | 0.0087108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-90_0_5_line_1 |  | 0 | 2 | 0.012801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-90_0_5_line_2 |  | 1 | 3 | 0.0075121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-90_0_5_line_3 |  | 1 | 4 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-90_0_5_line_4 |  | 2 | 5 | 0.0085618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-90_0_5_line_5 |  | 2 | 6 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-90_0_5_line_6 |  | 3 | 7 | 0.0098851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-90_0_5_line_7 |  | 4 | 8 | 0.0039577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-90_0_5_line_8 |  | 5 | 12 | 0.0015147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1632-90_0_5_line_9 |  | 6 | 17 | 0.00074949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-90_0_5_line_10 |  | 7 | 18 | 0.007157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1632-90_0_5_line_11 |  | 8 | 19 | 0.0034443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-90_0_5_line_12 |  | 9 | 10 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-90_0_5_line_13 |  | 9 | 11 | 0.0083211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1632-90_0_5_line_14 |  | 9 | 12 | 0.0095343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1632-90_0_5_line_15 |  | 10 | 23 | 0.0089611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-90_0_5_line_16 |  | 11 | 24 | 0.0075305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1632-90_0_5_line_17 |  | 13 | 14 | 0.023629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-90_0_5_line_18 |  | 13 | 15 | 0.034356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-90_0_5_line_19 |  | 14 | 16 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-90_0_5_line_20 |  | 15 | 27 | 0.013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-90_0_5_line_21 |  | 16 | 30 | 0.019945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-90_0_5_line_22 |  | 17 | 33 | 0.0047894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-90_0_5_line_23 |  | 19 | 20 | 0.0030434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-90_0_5_line_24 |  | 21 | 22 | 0.0080653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-90_0_5_line_25 |  | 22 | 36 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-90_0_5_line_26 |  | 24 | 34 | 0.023128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1632-90_0_5_line_27 |  | 24 | 35 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1632-90_0_5_line_28 |  | 24 | 36 | 0.0064555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-90_0_5_line_29 |  | 25 | 26 | 0.0078617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-90_0_5_line_30 |  | 26 | 35 | 0.0065877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-90_0_5_line_31 |  | 27 | 39 | 7.813e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-90_0_5_line_32 |  | 28 | 29 | 0.0091075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-90_0_5_line_33 |  | 29 | 41 | 0.0087587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-90_0_5_line_34 |  | 31 | 32 | 0.0094698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-90_0_5_line_35 |  | 32 | 39 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-90_0_5_line_36 |  | 32 | 37 | 0.008058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1632-90_0_5_line_37 |  | 34 | 37 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1632-90_0_5_line_38 |  | 37 | 38 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-90_0_5_line_39 |  | 38 | 40 | 0.0061415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-90_0_5_line_40 |  | 40 | 41 | 0.0069829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-90_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 42 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2723991.0408 | 1211026.8702 | 2723983.0284 | 1211023.4526
1 | 2723971.2539 | 1211018.4303 | 2723983.0284 | 1211023.4526
2 | 2723991.0408 | 1211026.8702 | 2723987.2803 | 1211033.3733
3 | 2723991.0408 | 1211026.8702 | 2723995.9635 | 1211017.601
4 | 2723971.2539 | 1211018.4303 | 2723963.368 | 1211015.0962
5 | 2723971.2539 | 1211018.4303 | 2723968.1407 | 1211029.4229
6 | 2723987.2803 | 1211033.3733 | 2723982.3319 | 1211041.9307
7 | 2723997.8199 | 1211014.1057 | 2723995.9635 | 1211017.601
8 | 2723961.9728 | 1211014.5063 | 2723963.368 | 1211015.0962
9 | 2723967.9365 | 1211030.1441 | 2723968.1407 | 1211029.4229
10 | 2723978.7493 | 1211048.1264 | 2723982.3319 | 1211041.9307
11 | 2723999.4354 | 1211011.0638 | 2723997.8199 | 1211014.1057
12 | 2723953.1911 | 1211010.7935 | 2723960.4703 | 1210996.1514
13 | 2723953.1911 | 1211010.7935 | 2723945.5248 | 1211007.558
14 | 2723953.1911 | 1211010.7935 | 2723961.9728 | 1211014.5063
15 | 2723960.4703 | 1210996.1514 | 2723961.4422 | 1210994.1966 | 2723964.7946 | 1210988.3057
16 | 2723938.5869 | 1211004.6298 | 2723945.5248 | 1211007.558
17 | 2723849.1978 | 1210968.3567 | 2723855.505 | 1210958.5912 | 2723862.0165 | 1210948.5076
18 | 2723849.1978 | 1210968.3567 | 2723879.1803 | 1210985.1309
19 | 2723862.0165 | 1210948.5076 | 2723873.9764 | 1210954.6273 | 2723878.4224 | 1210955.776 | 2723883.202 | 1210955.1414 | 2723886.9395 | 1210953.073 | 2723888.4483 | 1210951.2658
20 | 2723879.1803 | 1210985.1309 | 2723890.5348 | 1210991.4834
21 | 2723901.2305 | 1210935.9553 | 2723888.4483 | 1210951.2658
22 | 2723966.6314 | 1211034.7522 | 2723967.9365 | 1211030.1441
23 | 2723999.4354 | 1211011.0638 | 2724000.8629 | 1211008.3759
24 | 2723929.5656 | 1211031.4839 | 2723931.9012 | 1211023.7642
25 | 2723936.3651 | 1211010.6909 | 2723933.4534 | 1211018.6339 | 2723931.9012 | 1211023.7642
26 | 2723938.5869 | 1211004.6298 | 2723917.2825 | 1210995.6277
27 | 2723938.5869 | 1211004.6298 | 2723943.4614 | 1210993.8857
28 | 2723938.5869 | 1211004.6298 | 2723936.3651 | 1211010.6909
29 | 2723949.4313 | 1210980.7273 | 2723946.1832 | 1210987.8866
30 | 2723946.1832 | 1210987.8866 | 2723943.4614 | 1210993.8857
31 | 2723890.5416 | 1210991.4872 | 2723890.5348 | 1210991.4834
32 | 2723921.6915 | 1210962.7535 | 2723926.2164 | 1210954.8496
33 | 2723921.6915 | 1210962.7535 | 2723917.34 | 1210970.3547
34 | 2723901.9797 | 1210997.8865 | 2723897.7636 | 1211006.366
35 | 2723901.9797 | 1210997.8865 | 2723890.5416 | 1210991.4872
36 | 2723901.9797 | 1210997.8865 | 2723905.6787 | 1210990.7244
37 | 2723905.6787 | 1210990.7244 | 2723917.2825 | 1210995.6277
38 | 2723905.6787 | 1210990.7244 | 2723910.8194 | 1210981.7447
39 | 2723910.8194 | 1210981.7447 | 2723913.8707 | 1210976.4148
40 | 2723917.34 | 1210970.3547 | 2723913.8707 | 1210976.4148

## bus_geodata
| x | y | coords
0 | 2723983.0284 | 1211023.4526
1 | 2723991.0408 | 1211026.8702
2 | 2723971.2539 | 1211018.4303
3 | 2723987.2803 | 1211033.3733
4 | 2723995.9635 | 1211017.601
5 | 2723963.368 | 1211015.0962
6 | 2723968.1407 | 1211029.4229
7 | 2723982.3319 | 1211041.9307
8 | 2723997.8199 | 1211014.1057
9 | 2723953.1911 | 1211010.7935
10 | 2723960.4703 | 1210996.1514
11 | 2723945.5248 | 1211007.558
12 | 2723961.9728 | 1211014.5063
13 | 2723849.1978 | 1210968.3567
14 | 2723862.0165 | 1210948.5076
15 | 2723879.1803 | 1210985.1309
16 | 2723888.4483 | 1210951.2658
17 | 2723967.9365 | 1211030.1441
18 | 2723978.7493 | 1211048.1264
19 | 2723999.4354 | 1211011.0638
20 | 2724000.8629 | 1211008.3759
21 | 2723929.5656 | 1211031.4839
22 | 2723931.9012 | 1211023.7642
23 | 2723964.7946 | 1210988.3057
24 | 2723938.5869 | 1211004.6298
25 | 2723949.4313 | 1210980.7273
26 | 2723946.1832 | 1210987.8866
27 | 2723890.5348 | 1210991.4834
28 | 2723926.2164 | 1210954.8496
29 | 2723921.6915 | 1210962.7535
30 | 2723901.2305 | 1210935.9553
31 | 2723897.7636 | 1211006.366
32 | 2723901.9797 | 1210997.8865
33 | 2723966.6314 | 1211034.7522
34 | 2723917.2825 | 1210995.6277
35 | 2723943.4614 | 1210993.8857
36 | 2723936.3651 | 1211010.6909
37 | 2723905.6787 | 1210990.7244
38 | 2723910.8194 | 1210981.7447
39 | 2723890.5416 | 1210991.4872
40 | 2723913.8707 | 1210976.4148
41 | 2723917.34 | 1210970.3547
42 | 2723938.5869 | 1211004.6298

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99545 | -0.087494 | 0.013314 | 0.0033368
1 | 0.99488 | -0.09846 | 0 | 0
2 | 0.99644 | -0.068408 | 0 | 0
3 | 0.99458 | -0.10429 | 0.021001 | 0.0052634
4 | 0.99461 | -0.10354 | 0.0044039 | 0.0011037
5 | 0.99744 | -0.049132 | 0.012923 | 0.0032388
6 | 0.99598 | -0.077143 | 0.0087525 | 0.0021936
7 | 0.99437 | -0.1083 | 0.01076 | 0.0026967
8 | 0.99453 | -0.10515 | 0.01126 | 0.0028221
9 | 0.99788 | -0.040715 | 0 | 0
10 | 0.99715 | -0.054752 | 0.013627 | 0.0034152
11 | 0.99826 | -0.033226 | 0.0097677 | 0.002448
12 | 0.99753 | -0.047258 | 0.015447 | 0.0038713
13 | 0.99105 | -0.17224 | 0 | 0
14 | 0.99025 | -0.18772 | 0 | 0
15 | 0.99221 | -0.14978 | 0.0737 | 0.018471
16 | 0.98925 | -0.20706 | 0.014256 | 0.0035729
17 | 0.99596 | -0.077601 | 0.026016 | 0.0065203
18 | 0.99429 | -0.10985 | 0.012273 | 0.0030759
19 | 0.99449 | -0.10587 | 0.0028875 | 0.00072367
20 | 0.99447 | -0.10635 | 0.0089467 | 0.0022423
21 | 0.99823 | -0.033905 | 0.0068891 | 0.0017266
22 | 0.99828 | -0.032934 | 0.0099774 | 0.0025006
23 | 0.99686 | -0.060311 | 0.03538 | 0.008867
24 | 0.99863 | -0.026132 | 0 | 0
25 | 0.99948 | -0.010047 | 0.028604 | 0.0071689
26 | 0.99968 | -0.006124 | 0.024715 | 0.0061942
27 | 0.99352 | -0.12434 | 0.013711 | 0.0034364
28 | 0.993 | -0.13458 | 0.026766 | 0.0067081
29 | 0.99322 | -0.13027 | 0.026162 | 0.0065569
30 | 0.98884 | -0.21511 | 0.022628 | 0.0056711
31 | 0.99514 | -0.093225 | 0.0063064 | 0.0015805
32 | 0.99519 | -0.092174 | 0 | 0
33 | 0.99592 | -0.078339 | 0.0087646 | 0.0021966
34 | 0.99722 | -0.053245 | 0.0090407 | 0.0022658
35 | 1 | 0 | -0.56522 | -0.14227
36 | 0.99849 | -0.028858 | 0.0072916 | 0.0018274
37 | 0.99573 | -0.081867 | 0 | 0
38 | 0.99466 | -0.10252 | 0.018862 | 0.0047273
39 | 0.99353 | -0.12432 | 0.014849 | 0.0037216
40 | 0.99413 | -0.11276 | 0.018875 | 0.0047304
41 | 0.99365 | -0.12208 | 0.022759 | 0.0057039
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.071597 | 0.017968 | -0.071559 | -0.017944 | 3.7422e-05 | 2.3837e-05 | 0.10703 | 0.10703 | 0.10703 | 0.99545 | -0.087494 | 0.99488 | -0.09846 | 29.4047
1 | -0.084911 | -0.021305 | 0.084988 | 0.021354 | 7.7346e-05 | 4.9335e-05 | 0.12694 | 0.12694 | 0.12694 | 0.99545 | -0.087494 | 0.99644 | -0.068408 | 34.8723
2 | 0.044052 | 0.011047 | -0.04404 | -0.011039 | 1.223e-05 | 7.7297e-06 | 0.06589 | 0.06589 | 0.06589 | 0.99488 | -0.09846 | 0.99458 | -0.10429 | 18.1015
3 | 0.027508 | 0.0068973 | -0.027501 | -0.0068932 | 6.6624e-06 | 4.1277e-06 | 0.041144 | 0.041144 | 0.041144 | 0.99488 | -0.09846 | 0.99461 | -0.10354 | 11.3032
4 | -0.12854 | -0.032277 | 0.12866 | 0.032352 | 0.00011833 | 7.5619e-05 | 0.19198 | 0.19198 | 0.19198 | 0.99644 | -0.068408 | 0.99744 | -0.049132 | 52.7409
5 | 0.043553 | 0.010923 | -0.043535 | -0.010911 | 1.8125e-05 | 1.1451e-05 | 0.065041 | 0.065042 | 0.065042 | 0.99644 | -0.068408 | 0.99598 | -0.077143 | 17.8685
6 | 0.023038 | 0.0057758 | -0.023034 | -0.0057731 | 4.4042e-06 | 2.6904e-06 | 0.034469 | 0.034469 | 0.034469 | 0.99458 | -0.10429 | 0.99437 | -0.1083 | 9.4695
7 | 0.023097 | 0.0057894 | -0.023095 | -0.0057884 | 1.7721e-06 | 1.0828e-06 | 0.034555 | 0.034555 | 0.034555 | 0.99461 | -0.10354 | 0.99453 | -0.10515 | 9.4932
8 | -0.14158 | -0.035591 | 0.14159 | 0.035599 | 1.2675e-05 | 8.0726e-06 | 0.21126 | 0.21126 | 0.21126 | 0.99744 | -0.049132 | 0.99753 | -0.047258 | 29.0187
9 | 0.034782 | 0.0087176 | -0.034781 | -0.0087171 | 7.5897e-07 | 4.7599e-07 | 0.051965 | 0.051965 | 0.051965 | 0.99598 | -0.077143 | 0.99596 | -0.077601 | 14.2761
10 | 0.012274 | 0.0030763 | -0.012273 | -0.0030759 | 9.054e-07 | 4.8662e-07 | 0.018367 | 0.018367 | 0.018367 | 0.99437 | -0.1083 | 0.99429 | -0.10985 | 5.0459
11 | 0.011835 | 0.0029662 | -0.011834 | -0.002966 | 4.0498e-07 | 2.145e-07 | 0.017707 | 0.017707 | 0.017707 | 0.99453 | -0.10515 | 0.99449 | -0.10587 | 4.8646
12 | 0.049049 | 0.012309 | -0.049016 | -0.012288 | 3.2808e-05 | 2.0784e-05 | 0.073147 | 0.073147 | 0.073147 | 0.99788 | -0.040715 | 0.99715 | -0.054752 | 20.0952
13 | -0.20614 | -0.05181 | 0.20621 | 0.051857 | 7.3737e-05 | 4.6757e-05 | 0.30744 | 0.30744 | 0.30744 | 0.99788 | -0.040715 | 0.99826 | -0.033226 | 21.1157
14 | 0.15709 | 0.039502 | -0.15704 | -0.039471 | 4.9068e-05 | 3.0905e-05 | 0.2343 | 0.2343 | 0.2343 | 0.99788 | -0.040715 | 0.99753 | -0.047258 | 16.0919
15 | 0.035389 | 0.0088729 | -0.03538 | -0.008867 | 9.3725e-06 | 5.8815e-06 | 0.052812 | 0.052812 | 0.052812 | 0.99715 | -0.054752 | 0.99686 | -0.060311 | 14.5087
16 | -0.21598 | -0.054305 | 0.21605 | 0.054352 | 7.3201e-05 | 4.6455e-05 | 0.322 | 0.322 | 0.322 | 0.99826 | -0.033226 | 0.99863 | -0.026132 | 22.1156
17 | 0.036954 | 0.0092879 | -0.036927 | -0.0092707 | 2.7288e-05 | 1.716e-05 | 0.055494 | 0.055495 | 0.055495 | 0.99105 | -0.17224 | 0.99025 | -0.18772 | 15.2458
18 | -0.036954 | -0.0092879 | 0.036994 | 0.0093128 | 3.9676e-05 | 2.495e-05 | 0.055494 | 0.055494 | 0.055494 | 0.99105 | -0.17224 | 0.99221 | -0.14978 | 15.2457
19 | 0.036927 | 0.0092707 | -0.036893 | -0.0092493 | 3.4039e-05 | 2.1406e-05 | 0.055495 | 0.055495 | 0.055495 | 0.99025 | -0.18772 | 0.98925 | -0.20706 | 15.2458
20 | -0.11069 | -0.027784 | 0.11083 | 0.02787 | 0.00013448 | 8.59e-05 | 0.16602 | 0.16602 | 0.16602 | 0.99221 | -0.14978 | 0.99352 | -0.12434 | 45.6106
21 | 0.022637 | 0.0056764 | -0.022628 | -0.0056711 | 8.6721e-06 | 5.2942e-06 | 0.034051 | 0.034051 | 0.034051 | 0.98925 | -0.20706 | 0.98884 | -0.21511 | 9.3547
22 | 0.0087649 | 0.0021968 | -0.0087646 | -0.0021966 | 3.0799e-07 | 1.3479e-07 | 0.013095 | 0.013095 | 0.013095 | 0.99596 | -0.077601 | 0.99592 | -0.078339 | 3.5976
23 | 0.0089469 | 0.0022424 | -0.0089467 | -0.0022423 | 2.0453e-07 | 9.141e-08 | 0.013387 | 0.013387 | 0.013387 | 0.99449 | -0.10587 | 0.99447 | -0.10635 | 3.6777
24 | -0.0068891 | -0.0017266 | 0.0068894 | 0.0017267 | 3.1895e-07 | 9.8688e-08 | 0.010269 | 0.010269 | 0.010269 | 0.99823 | -0.033905 | 0.99828 | -0.032934 | 2.8212
25 | -0.016867 | -0.0042272 | 0.01687 | 0.0042291 | 3.2757e-06 | 1.9157e-06 | 0.025141 | 0.025141 | 0.025141 | 0.99828 | -0.032934 | 0.99849 | -0.028858 | 6.9069
26 | 0.26937 | 0.068072 | -0.26902 | -0.06785 | 0.00034966 | 0.00022257 | 0.40157 | 0.40157 | 0.40157 | 0.99863 | -0.026132 | 0.99722 | -0.053245 | 27.5806
27 | -0.50959 | -0.12848 | 0.51023 | 0.12889 | 0.00063817 | 0.00040781 | 0.75958 | 0.75958 | 0.75958 | 0.99863 | -0.026132 | 1 | 0 | 52.1692
28 | 0.024165 | 0.0060585 | -0.024162 | -0.0060566 | 3.1387e-06 | 1.9243e-06 | 0.036008 | 0.036008 | 0.036008 | 0.99863 | -0.026132 | 0.99849 | -0.028858 | 9.8922
29 | -0.028604 | -0.0071689 | 0.028609 | 0.0071722 | 5.3466e-06 | 3.3188e-06 | 0.042586 | 0.042586 | 0.042586 | 0.99948 | -0.010047 | 0.99968 | -0.006124 | 11.6994
30 | -0.053325 | -0.013366 | 0.05334 | 0.013376 | 1.5564e-05 | 9.8744e-06 | 0.079374 | 0.079374 | 0.079374 | 0.99968 | -0.006124 | 1 | 0 | 21.806
31 | -0.12454 | -0.031306 | 0.12454 | 0.031306 | 1.0197e-07 | 6.5146e-08 | 0.18656 | 0.18656 | 0.18656 | 0.99352 | -0.12434 | 0.99353 | -0.12432 | 51.2523
32 | -0.026766 | -0.0067081 | 0.026771 | 0.0067115 | 5.4941e-06 | 3.3984e-06 | 0.040108 | 0.040108 | 0.040108 | 0.993 | -0.13458 | 0.99322 | -0.13027 | 11.0188
33 | -0.052933 | -0.013268 | 0.052954 | 0.013281 | 2.0657e-05 | 1.3107e-05 | 0.079304 | 0.079304 | 0.079304 | 0.99322 | -0.13027 | 0.99365 | -0.12208 | 21.7868
34 | -0.0063064 | -0.0015805 | 0.0063067 | 0.0015806 | 3.1577e-07 | 7.9056e-08 | 0.0094298 | 0.0094298 | 0.0094298 | 0.99514 | -0.093225 | 0.99519 | -0.092174 | 2.5906
35 | 0.1396 | 0.035165 | -0.13939 | -0.035028 | 0.00021428 | 0.00013697 | 0.2088 | 0.2088 | 0.2088 | 0.99519 | -0.092174 | 0.99353 | -0.12432 | 57.3622
36 | -0.14591 | -0.036745 | 0.14598 | 0.036791 | 7.1953e-05 | 4.584e-05 | 0.21823 | 0.21823 | 0.21823 | 0.99519 | -0.092174 | 0.99573 | -0.081867 | 29.9764
37 | 0.25998 | 0.065584 | -0.25962 | -0.065357 | 0.00035573 | 0.00022734 | 0.38808 | 0.38808 | 0.38808 | 0.99722 | -0.053245 | 0.99573 | -0.081867 | 53.3081
38 | 0.11364 | 0.028566 | -0.11353 | -0.028494 | 0.00011195 | 7.1511e-05 | 0.16986 | 0.16986 | 0.16986 | 0.99573 | -0.081867 | 0.99466 | -0.10252 | 46.6635
39 | 0.094667 | 0.023767 | -0.094621 | -0.023737 | 4.6202e-05 | 2.949e-05 | 0.14164 | 0.14164 | 0.14164 | 0.99466 | -0.10252 | 0.99413 | -0.11276 | 38.9114
40 | 0.075746 | 0.019007 | -0.075713 | -0.018985 | 3.3665e-05 | 2.1455e-05 | 0.11339 | 0.11339 | 0.11339 | 0.99413 | -0.11276 | 0.99365 | -0.12208 | 31.1499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58449 | 0.1471

## res_load
| p_mw | q_mvar
0 | 0.013314 | 0.0033368
1 | 0.021001 | 0.0052634
2 | 0.0044039 | 0.0011037
3 | 0.012923 | 0.0032388
4 | 0.0087525 | 0.0021936
5 | 0.01076 | 0.0026967
6 | 0.01126 | 0.0028221
7 | 0.013627 | 0.0034152
8 | 0.0097677 | 0.002448
9 | 0.015447 | 0.0038713
10 | 0.0737 | 0.018471
11 | 0.014256 | 0.0035729
12 | 0.026016 | 0.0065203
13 | 0.012273 | 0.0030759
14 | 0.0028875 | 0.00072367
15 | 0.0089467 | 0.0022423
16 | 0.0068891 | 0.0017266
17 | 0.0099774 | 0.0025006
18 | 0.03538 | 0.008867
19 | 0.028604 | 0.0071689
20 | 0.024715 | 0.0061942
21 | 0.013711 | 0.0034364
22 | 0.026766 | 0.0067081
23 | 0.026162 | 0.0065569
24 | 0.022628 | 0.0056711
25 | 0.0063064 | 0.0015805
26 | 0.0087646 | 0.0021966
27 | 0.0090407 | 0.0022658
28 | 0.019278 | 0.0048315
29 | 0.0072916 | 0.0018274
30 | 0.018862 | 0.0047273
31 | 0.014849 | 0.0037216
32 | 0.018875 | 0.0047304
33 | 0.022759 | 0.0057039

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1