## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-91_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-91_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-91_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-91_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-91_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-91_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1632-91_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1632-91_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1632-91_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1632-91_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1632-91_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1632-91_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1632-91_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1632-91_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1632-91_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1632-91_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1632-91_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1632-91_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1632-91_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_1632-91_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1632-91_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_1632-91_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1632-91_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1632-91_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1632-91_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1632-91_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1632-91_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1632-91_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1632-91_0_4_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_1632-91_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1632-91_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1632-91_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1632-91_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1632-91_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1632-91_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1632-91_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1632-91_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1632-91_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1632-91_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1632-91_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1632-91_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1632-91_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_1632-91_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1632-91_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1632-91_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1632-91_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_1632-91_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1632-91_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1632-91_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1632-91_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1632-91_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1632-91_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_MV_144_0_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-91_0_4_load_0 | 0 | 0.0084843 | 0.0021264 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-91_0_4_load_1 | 1 | 0.0075677 | 0.0018967 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-91_0_4_load_21 | 6 | 0.030897 | 0.0077435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-91_0_4_load_18 | 7 | 0.035884 | 0.0089933 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-91_0_4_load_9 | 8 | 0.022431 | 0.0056217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-91_0_4_load_6 | 9 | 0.0091618 | 0.0022962 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-91_0_4_load_52 | 10 | 0.01829 | 0.004584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-91_0_4_load_19 | 11 | 0.030089 | 0.007541 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-91_0_4_load_10 | 12 | 0.012479 | 0.0031275 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-91_0_4_load_7 | 13 | 0.038106 | 0.0095502 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-91_0_4_load_17 | 15 | 0.010792 | 0.0027048 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-91_0_4_load_12 | 16 | 0.036788 | 0.0092199 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-91_0_4_load_51 | 20 | 0.002948 | 0.00073885 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-91_0_4_load_11 | 21 | 0.005346 | 0.0013398 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-91_0_4_load_15 | 23 | 0.026865 | 0.0067329 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-91_0_4_load_44 | 25 | 0.0097181 | 0.0024356 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-91_0_4_load_45 | 28 | 0.021169 | 0.0053054 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-91_0_4_load_42 | 31 | 0.00541 | 0.0013559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-91_0_4_load_35 | 32 | 0.010562 | 0.002647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-91_0_4_load_43 | 33 | 0.0096234 | 0.0024118 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-91_0_4_load_22 | 35 | 0.030073 | 0.0075369 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-91_0_4_load_20 | 36 | 0.0099381 | 0.0024907 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-91_0_4_load_25 | 37 | 0.015929 | 0.0039921 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-91_0_4_load_23 | 38 | 0.013461 | 0.0033736 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-91_0_4_load_39 | 40 | 0.0053892 | 0.0013506 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-91_0_4_load_50 | 41 | 0.010853 | 0.00272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-91_0_4_load_28 | 42 | 0.0061488 | 0.001541 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-91_0_4_load_30 | 44 | 0.014768 | 0.0037013 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-91_0_4_load_31 | 45 | 0.0096942 | 0.0024296 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-91_0_4_load_34 | 46 | 0.0038184 | 0.00095699 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-91_0_4_load_36 | 47 | 0.0073481 | 0.0018416 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-91_0_4_load_46 | 48 | 0.0032189 | 0.00080673 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-91_0_4_load_49 | 49 | 0.0022431 | 0.00056216 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-91_0_4_load_48 | 50 | 0.0021267 | 0.000533 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-91_0_4_line_0 |  | 0 | 1 | 0.0025059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1632-91_0_4_line_1 |  | 0 | 2 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1632-91_0_4_line_2 |  | 1 | 3 | 0.019175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1632-91_0_4_line_3 |  | 2 | 4 | 0.002115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1632-91_0_4_line_4 |  | 2 | 5 | 0.010592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-91_0_4_line_5 |  | 3 | 6 | 0.0048369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-91_0_4_line_6 |  | 3 | 7 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1632-91_0_4_line_7 |  | 4 | 8 | 0.03034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-91_0_4_line_8 |  | 4 | 9 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-91_0_4_line_9 |  | 5 | 10 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-91_0_4_line_10 |  | 7 | 11 | 0.00869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1632-91_0_4_line_11 |  | 8 | 12 | 0.016162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-91_0_4_line_12 |  | 9 | 13 | 0.017962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-91_0_4_line_13 |  | 11 | 36 | 0.0098355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1632-91_0_4_line_14 |  | 12 | 21 | 0.0095356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-91_0_4_line_15 |  | 13 | 17 | 0.0022776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1632-91_0_4_line_16 |  | 14 | 15 | 0.014184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1632-91_0_4_line_17 |  | 14 | 16 | 0.0079087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-91_0_4_line_18 |  | 15 | 26 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1632-91_0_4_line_19 |  | 16 | 22 | 0.01734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-91_0_4_line_20 |  | 17 | 18 | 0.02918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-91_0_4_line_21 |  | 18 | 19 | 0.017609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-91_0_4_line_22 |  | 18 | 20 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-91_0_4_line_23 |  | 19 | 39 | 0.004576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-91_0_4_line_24 |  | 19 | 40 | 0.0098253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-91_0_4_line_25 |  | 20 | 41 | 0.013079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-91_0_4_line_26 |  | 22 | 23 | 0.016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-91_0_4_line_27 |  | 22 | 24 | 0.008655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-91_0_4_line_28 |  | 24 | 25 | 0.0030628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-91_0_4_line_29 |  | 25 | 33 | 0.0075989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-91_0_4_line_30 |  | 26 | 34 | 0.007766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-91_0_4_line_31 |  | 26 | 35 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1632-91_0_4_line_32 |  | 27 | 28 | 0.0054009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-91_0_4_line_33 |  | 27 | 29 | 0.029991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-91_0_4_line_34 |  | 28 | 34 | 0.0056801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-91_0_4_line_35 |  | 29 | 45 | 0.048718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-91_0_4_line_36 |  | 30 | 31 | 0.030159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-91_0_4_line_37 |  | 30 | 32 | 0.017268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-91_0_4_line_38 |  | 31 | 48 | 0.0096306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-91_0_4_line_39 |  | 32 | 46 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-91_0_4_line_40 |  | 35 | 38 | 2.2437e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1632-91_0_4_line_41 |  | 36 | 37 | 0.00403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1632-91_0_4_line_42 |  | 37 | 38 | 0.011717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1632-91_0_4_line_43 |  | 39 | 49 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1632-91_0_4_line_44 |  | 42 | 43 | 0.027471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-91_0_4_line_45 |  | 42 | 44 | 0.012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-91_0_4_line_46 |  | 43 | 45 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-91_0_4_line_47 |  | 46 | 47 | 8.3766e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-91_0_4_line_48 |  | 48 | 51 | 0.018529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-91_0_4_line_49 |  | 49 | 50 | 0.0093957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-91_0_4_line_50 |  | 50 | 51 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-91_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 52 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2724127.8469 | 1210680.523 | 2724126.1346 | 1210678.6932
1 | 2724135.7458 | 1210688.9638 | 2724127.8469 | 1210680.523
2 | 2724121.6047 | 1210663.0831 | 2724126.1007 | 1210668.414 | 2724126.2088 | 1210669.7951 | 2724125.7903 | 1210670.9095 | 2724123.6363 | 1210673.222 | 2724123.3416 | 1210674.5947 | 2724123.9659 | 1210676.3757 | 2724126.1346 | 1210678.6932
3 | 2724134.047 | 1210690.2295 | 2724135.7458 | 1210688.9638
4 | 2724143.9518 | 1210682.2405 | 2724135.7458 | 1210688.9638
5 | 2724121.6047 | 1210663.0831 | 2724116.8268 | 1210662.3298
6 | 2724121.6047 | 1210663.0831 | 2724126.7007 | 1210662.2329 | 2724135.9602 | 1210655.4812
7 | 2724134.047 | 1210690.2295 | 2724152.1591 | 1210706.4855 | 2724148.7782 | 1210711.4451
8 | 2724134.047 | 1210690.2295 | 2724116.9733 | 1210702.9793
9 | 2724159.8649 | 1210691.6567 | 2724143.9518 | 1210682.2405
10 | 2724142.9818 | 1210650.3613 | 2724135.9602 | 1210655.4812
11 | 2724139.6745 | 1210724.7996 | 2724148.7782 | 1210711.4451
12 | 2724116.9733 | 1210702.9793 | 2724102.5811 | 1210713.7266
13 | 2724142.9818 | 1210650.3613 | 2724150.9289 | 1210644.5665
14 | 2724134.3034 | 1210732.6786 | 2724139.6745 | 1210724.7996
15 | 2724100.7562 | 1210715.0894 | 2724102.5811 | 1210713.7266
16 | 2724161.9693 | 1210664.7131 | 2724171.5342 | 1210654.2395
17 | 2724161.9693 | 1210664.7131 | 2724164.2144 | 1210666.0608 | 2724166.2752 | 1210666.7598 | 2724168.0506 | 1210666.9302 | 2724169.3418 | 1210666.6091
18 | 2724183.3948 | 1210641.2521 | 2724171.5342 | 1210654.2395
19 | 2724186.2584 | 1210665.8195 | 2724178.5276 | 1210664.3241 | 2724169.3418 | 1210666.6091
20 | 2724100.7562 | 1210715.0894 | 2724114.912 | 1210740.6257
21 | 2724123.4323 | 1210756.0481 | 2724114.912 | 1210740.6257
22 | 2724114.912 | 1210740.6257 | 2724105.3122 | 1210746.9253
23 | 2724125.5524 | 1210760.1065 | 2724123.4323 | 1210756.0481
24 | 2724123.4323 | 1210756.0481 | 2724130.8959 | 1210749.6582
25 | 2724094.377 | 1210754.1013 | 2724105.3122 | 1210746.9253
26 | 2724186.2584 | 1210665.8195 | 2724190.7562 | 1210669.6049 | 2724193.4786 | 1210674.6766 | 2724193.9088 | 1210679.5671
27 | 2724189.9039 | 1210657.9671 | 2724186.2584 | 1210665.8195
28 | 2724189.9039 | 1210657.9671 | 2724189.6481 | 1210654.915 | 2724189.6481 | 1210654.915
29 | 2724194.8764 | 1210649.5681 | 2724192.1139 | 1210653.3317 | 2724189.6481 | 1210654.915
30 | 2724183.3948 | 1210641.2521 | 2724188.4442 | 1210635.3415
31 | 2724183.3948 | 1210641.2521 | 2724178.9129 | 1210637.8006 | 2724172.7768 | 1210635.6601 | 2724164.279 | 1210636.8346
32 | 2724197.1946 | 1210629.13 | 2724192.1376 | 1210631.0262
33 | 2724197.1946 | 1210629.13 | 2724198.1307 | 1210599.1598
34 | 2724188.4442 | 1210635.3415 | 2724192.1376 | 1210631.0262
35 | 2724198.1307 | 1210599.1598 | 2724199.4336 | 1210575.3019 | 2724197.5824 | 1210566.7234 | 2724192.8465 | 1210559.4081 | 2724187.3367 | 1210554.5675
36 | 2724186.2402 | 1210730.9247 | 2724171.1851 | 1210757.0575
37 | 2724186.2402 | 1210730.9247 | 2724171.1057 | 1210722.6102
38 | 2724166.3776 | 1210765.4024 | 2724171.1851 | 1210757.0575
39 | 2724174.5248 | 1210711.1504 | 2724168.7575 | 1210721.3201 | 2724171.1057 | 1210722.6102
40 | 2724164.2768 | 1210636.8349 | 2724164.279 | 1210636.8346
41 | 2724150.9289 | 1210644.5665 | 2724154.1852 | 1210642.1922
42 | 2724164.2768 | 1210636.8349 | 2724160.8905 | 1210637.3029 | 2724154.1852 | 1210642.1922
43 | 2724125.5524 | 1210760.1065 | 2724132.9488 | 1210767.4327 | 2724137.8748 | 1210770.2899
44 | 2724166.2123 | 1210558.0861 | 2724166.417 | 1210585.5565
45 | 2724166.5128 | 1210598.4122 | 2724166.417 | 1210585.5565
46 | 2724166.2123 | 1210558.0861 | 2724171.7285 | 1210554.954 | 2724176.4063 | 1210553.0165 | 2724187.3367 | 1210554.5675
47 | 2724174.5661 | 1210711.0776 | 2724174.5248 | 1210711.1504
48 | 2724157.1281 | 1210781.4577 | 2724166.3776 | 1210765.4024
49 | 2724137.8748 | 1210770.2899 | 2724146.0022 | 1210775.0042
50 | 2724157.1281 | 1210781.4577 | 2724146.0022 | 1210775.0042

## bus_geodata
| x | y | coords
0 | 2724127.8469 | 1210680.523
1 | 2724126.1346 | 1210678.6932
2 | 2724135.7458 | 1210688.9638
3 | 2724121.6047 | 1210663.0831
4 | 2724134.047 | 1210690.2295
5 | 2724143.9518 | 1210682.2405
6 | 2724116.8268 | 1210662.3298
7 | 2724135.9602 | 1210655.4812
8 | 2724148.7782 | 1210711.4451
9 | 2724116.9733 | 1210702.9793
10 | 2724159.8649 | 1210691.6567
11 | 2724142.9818 | 1210650.3613
12 | 2724139.6745 | 1210724.7996
13 | 2724102.5811 | 1210713.7266
14 | 2724161.9693 | 1210664.7131
15 | 2724171.5342 | 1210654.2395
16 | 2724169.3418 | 1210666.6091
17 | 2724100.7562 | 1210715.0894
18 | 2724114.912 | 1210740.6257
19 | 2724123.4323 | 1210756.0481
20 | 2724105.3122 | 1210746.9253
21 | 2724134.3034 | 1210732.6786
22 | 2724186.2584 | 1210665.8195
23 | 2724193.9088 | 1210679.5671
24 | 2724189.9039 | 1210657.9671
25 | 2724189.6481 | 1210654.915
26 | 2724183.3948 | 1210641.2521
27 | 2724197.1946 | 1210629.13
28 | 2724192.1376 | 1210631.0262
29 | 2724198.1307 | 1210599.1598
30 | 2724186.2402 | 1210730.9247
31 | 2724171.1851 | 1210757.0575
32 | 2724171.1057 | 1210722.6101
33 | 2724194.8764 | 1210649.5681
34 | 2724188.4442 | 1210635.3415
35 | 2724164.279 | 1210636.8346
36 | 2724150.9289 | 1210644.5665
37 | 2724154.1852 | 1210642.1922
38 | 2724164.2768 | 1210636.8349
39 | 2724125.5524 | 1210760.1065
40 | 2724130.8959 | 1210749.6582
41 | 2724094.377 | 1210754.1013
42 | 2724166.417 | 1210585.5565
43 | 2724166.2123 | 1210558.0861
44 | 2724166.5128 | 1210598.4122
45 | 2724187.3367 | 1210554.5675
46 | 2724174.5248 | 1210711.1504
47 | 2724174.5661 | 1210711.0776
48 | 2724166.3776 | 1210765.4024
49 | 2724137.8748 | 1210770.29
50 | 2724146.0022 | 1210775.0042
51 | 2724157.1281 | 1210781.4577
52 | 2724143.9518 | 1210682.2405

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98885 | -0.21395 | 0.0084843 | 0.0021264
1 | 0.98898 | -0.21145 | 0.0075677 | 0.0018967
2 | 0.988 | -0.23043 | 0 | 0
3 | 0.99001 | -0.19145 | 0 | 0
4 | 0.98786 | -0.2331 | 0 | 0
5 | 0.98782 | -0.23389 | 0 | 0
6 | 0.98988 | -0.1941 | 0.030897 | 0.0077435
7 | 0.99107 | -0.1711 | 0.035884 | 0.0089933
8 | 0.98674 | -0.25494 | 0.022431 | 0.0056217
9 | 0.98587 | -0.27169 | 0.0091618 | 0.0022962
10 | 0.98751 | -0.23992 | 0.01829 | 0.004584
11 | 0.99171 | -0.15864 | 0.030089 | 0.007541
12 | 0.98647 | -0.2601 | 0.012479 | 0.0031275
13 | 0.98434 | -0.30138 | 0.038106 | 0.0095502
14 | 1 | 0 | -0.49344 | -0.12486
15 | 0.99824 | -0.033404 | 0.010792 | 0.0027048
16 | 0.9994 | -0.011447 | 0.036788 | 0.0092199
17 | 0.98423 | -0.30359 | 0 | 0
18 | 0.98277 | -0.33194 | 0 | 0
19 | 0.98212 | -0.3447 | 0 | 0
20 | 0.98263 | -0.3348 | 0.002948 | 0.00073885
21 | 0.98643 | -0.26101 | 0.005346 | 0.0013398
22 | 0.99868 | -0.025439 | 0 | 0
23 | 0.99827 | -0.03321 | 0.026865 | 0.0067329
24 | 0.99852 | -0.028365 | 0 | 0
25 | 0.99847 | -0.029401 | 0.0097181 | 0.0024356
26 | 0.99613 | -0.073878 | 0 | 0
27 | 0.99534 | -0.089026 | 0 | 0
28 | 0.99549 | -0.086117 | 0.021169 | 0.0053054
29 | 0.9945 | -0.10519 | 0 | 0
30 | 0.97944 | -0.39712 | 0 | 0
31 | 0.98005 | -0.38522 | 0.00541 | 0.0013559
32 | 0.97909 | -0.40394 | 0.010562 | 0.002647
33 | 0.9984 | -0.030679 | 0.0096234 | 0.0024118
34 | 0.99576 | -0.080945 | 0 | 0
35 | 0.99396 | -0.1155 | 0.030073 | 0.0075369
36 | 0.99253 | -0.14281 | 0.0099381 | 0.0024907
37 | 0.99288 | -0.13609 | 0.015929 | 0.0039921
38 | 0.99396 | -0.1155 | 0.013461 | 0.0033736
39 | 0.98197 | -0.34757 | 0 | 0
40 | 0.98207 | -0.34565 | 0.0053892 | 0.0013506
41 | 0.9825 | -0.33736 | 0.010853 | 0.00272
42 | 0.99218 | -0.14998 | 0.0061488 | 0.001541
43 | 0.99271 | -0.13981 | 0 | 0
44 | 0.99201 | -0.15334 | 0.014768 | 0.0037013
45 | 0.99314 | -0.13151 | 0.0096942 | 0.0024296
46 | 0.97895 | -0.40686 | 0.0038184 | 0.00095699
47 | 0.97894 | -0.40687 | 0.0073481 | 0.0018416
48 | 0.98029 | -0.38048 | 0.0032189 | 0.00080673
49 | 0.98146 | -0.35769 | 0.0022431 | 0.00056216
50 | 0.98117 | -0.36321 | 0.0021267 | 0.000533
51 | 0.98081 | -0.37028 | 0 | 0
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.16892 | -0.042607 | 0.16894 | 0.04262 | 2.0255e-05 | 1.2867e-05 | 0.25429 | 0.25429 | 0.25429 | 0.98885 | -0.21395 | 0.98898 | -0.21145 | 23.2867
1 | 0.16044 | 0.04048 | -0.16031 | -0.0404 | 0.00012644 | 8.0627e-05 | 0.24152 | 0.24152 | 0.24152 | 0.98885 | -0.21395 | 0.988 | -0.23043 | 33.1763
2 | -0.17651 | -0.044516 | 0.17668 | 0.044624 | 0.00016918 | 0.00010754 | 0.26568 | 0.26568 | 0.26568 | 0.98898 | -0.21145 | 0.99001 | -0.19145 | 24.3294
3 | 0.14201 | 0.035811 | -0.142 | -0.035799 | 1.8155e-05 | 1.1565e-05 | 0.21396 | 0.21396 | 0.21396 | 0.988 | -0.23043 | 0.98786 | -0.2331 | 29.3905
4 | 0.018299 | 0.0045889 | -0.018296 | -0.0045871 | 3.0171e-06 | 1.7953e-06 | 0.027561 | 0.027561 | 0.027561 | 0.988 | -0.23043 | 0.98782 | -0.23389 | 7.5716
5 | 0.030901 | 0.007746 | -0.030897 | -0.0077435 | 3.9128e-06 | 2.442e-06 | 0.046446 | 0.046446 | 0.046446 | 0.99001 | -0.19145 | 0.98988 | -0.1941 | 12.7598
6 | -0.20758 | -0.05237 | 0.20778 | 0.052499 | 0.00020247 | 0.00012894 | 0.31212 | 0.31212 | 0.31212 | 0.99001 | -0.19145 | 0.99107 | -0.1711 | 28.5826
7 | 0.040303 | 0.010118 | -0.040261 | -0.010092 | 4.1939e-05 | 2.6453e-05 | 0.060714 | 0.060714 | 0.060714 | 0.98786 | -0.2331 | 0.98674 | -0.25494 | 16.6797
8 | 0.10169 | 0.025681 | -0.1015 | -0.025561 | 0.00018767 | 0.00011983 | 0.15325 | 0.15325 | 0.15325 | 0.98786 | -0.2331 | 0.98587 | -0.27169 | 42.1015
9 | 0.018296 | 0.0045871 | -0.01829 | -0.004584 | 5.2554e-06 | 3.1274e-06 | 0.027561 | 0.027561 | 0.027561 | 0.98782 | -0.23389 | 0.98751 | -0.23992 | 7.5716
10 | -0.24367 | -0.061492 | 0.24381 | 0.061585 | 0.00014551 | 9.2789e-05 | 0.366 | 0.366 | 0.366 | 0.99107 | -0.1711 | 0.99171 | -0.15864 | 33.5164
11 | 0.01783 | 0.00447 | -0.017825 | -0.0044674 | 4.3817e-06 | 2.5979e-06 | 0.026888 | 0.026888 | 0.026888 | 0.98674 | -0.25494 | 0.98647 | -0.2601 | 7.3868
12 | 0.092343 | 0.023265 | -0.092212 | -0.023181 | 0.00013093 | 8.3568e-05 | 0.13942 | 0.13942 | 0.13942 | 0.98587 | -0.27169 | 0.98434 | -0.30138 | 38.3025
13 | -0.2739 | -0.069126 | 0.27411 | 0.069258 | 0.00020782 | 0.00013263 | 0.41115 | 0.41115 | 0.41115 | 0.99171 | -0.15864 | 0.99253 | -0.14281 | 37.6507
14 | 0.0053463 | 0.0013399 | -0.005346 | -0.0013398 | 2.3255e-07 | 2.7103e-08 | 0.0080644 | 0.0080644 | 0.0080644 | 0.98647 | -0.2601 | 0.98643 | -0.26101 | 2.2155
15 | 0.054106 | 0.013631 | -0.054101 | -0.013628 | 5.7174e-06 | 3.6302e-06 | 0.081817 | 0.081817 | 0.081817 | 0.98434 | -0.30138 | 0.98423 | -0.30359 | 22.4773
16 | 0.4087 | 0.10401 | -0.40805 | -0.10359 | 0.00065695 | 0.00041989 | 0.60872 | 0.60872 | 0.60872 | 1 | 0 | 0.99824 | -0.033404 | 55.7432
17 | 0.083084 | 0.020857 | -0.083039 | -0.020828 | 4.534e-05 | 2.8914e-05 | 0.12364 | 0.12364 | 0.12364 | 1 | 0 | 0.9994 | -0.011447 | 33.9678
18 | 0.39725 | 0.10088 | -0.39648 | -0.10039 | 0.00077215 | 0.00049348 | 0.59263 | 0.59263 | 0.59263 | 0.99824 | -0.033404 | 0.99613 | -0.073878 | 54.27
19 | 0.046251 | 0.011608 | -0.04622 | -0.011589 | 3.0841e-05 | 1.9511e-05 | 0.06887 | 0.06887 | 0.06887 | 0.9994 | -0.011447 | 0.99868 | -0.025439 | 18.9202
20 | 0.054101 | 0.013628 | -0.054027 | -0.013581 | 7.325e-05 | 4.651e-05 | 0.081817 | 0.081817 | 0.081817 | 0.98423 | -0.30359 | 0.98277 | -0.33194 | 22.4773
21 | 0.040223 | 0.010121 | -0.040199 | -0.010105 | 2.4504e-05 | 1.5459e-05 | 0.060916 | 0.060916 | 0.060916 | 0.98277 | -0.33194 | 0.98212 | -0.3447 | 16.7352
22 | 0.013804 | 0.0034606 | -0.013802 | -0.0034596 | 1.8811e-06 | 1.0584e-06 | 0.020901 | 0.020902 | 0.020902 | 0.98277 | -0.33194 | 0.98263 | -0.3348 | 5.7422
23 | 0.034809 | 0.0087544 | -0.034804 | -0.0087514 | 4.775e-06 | 2.9981e-06 | 0.052751 | 0.052751 | 0.052751 | 0.98212 | -0.3447 | 0.98197 | -0.34757 | 14.4919
24 | 0.0053894 | 0.0013507 | -0.0053892 | -0.0013506 | 2.4567e-07 | 3.29e-08 | 0.0081655 | 0.0081655 | 0.0081655 | 0.98212 | -0.3447 | 0.98207 | -0.34565 | 2.2433
25 | 0.010854 | 0.0027207 | -0.010853 | -0.00272 | 1.3252e-06 | 6.8247e-07 | 0.016437 | 0.016437 | 0.016437 | 0.98263 | -0.3348 | 0.9825 | -0.33736 | 4.5157
26 | 0.026875 | 0.0067391 | -0.026865 | -0.0067329 | 9.9485e-06 | 6.1507e-06 | 0.040044 | 0.040044 | 0.040044 | 0.99868 | -0.025439 | 0.99827 | -0.03321 | 11.0012
27 | 0.019346 | 0.0048499 | -0.019343 | -0.0048483 | 2.6968e-06 | 1.6127e-06 | 0.028825 | 0.028825 | 0.028825 | 0.99868 | -0.025439 | 0.99852 | -0.028365 | 7.9191
28 | 0.019343 | 0.0048483 | -0.019342 | -0.0048477 | 9.5434e-07 | 5.7071e-07 | 0.028825 | 0.028825 | 0.028825 | 0.99852 | -0.028365 | 0.99847 | -0.029401 | 7.9191
29 | 0.0096239 | 0.0024121 | -0.0096234 | -0.0024118 | 5.8619e-07 | 2.7578e-07 | 0.014343 | 0.014343 | 0.014343 | 0.99847 | -0.029401 | 0.9984 | -0.030679 | 3.9403
30 | 0.051898 | 0.013051 | -0.05188 | -0.013039 | 1.751e-05 | 1.1105e-05 | 0.07754 | 0.07754 | 0.07754 | 0.99613 | -0.073878 | 0.99576 | -0.080945 | 21.3023
31 | 0.34458 | 0.087339 | -0.3439 | -0.086899 | 0.00068764 | 0.00043928 | 0.51509 | 0.51509 | 0.51509 | 0.99613 | -0.073878 | 0.99396 | -0.1155 | 47.1693
32 | -0.030694 | -0.0077232 | 0.030699 | 0.0077258 | 4.2666e-06 | 2.6604e-06 | 0.045898 | 0.045898 | 0.045898 | 0.99534 | -0.089026 | 0.99549 | -0.086117 | 12.6094
33 | 0.030694 | 0.0077232 | -0.030671 | -0.0077084 | 2.3693e-05 | 1.4774e-05 | 0.045898 | 0.045898 | 0.045898 | 0.99534 | -0.089026 | 0.9945 | -0.10519 | 12.6094
34 | -0.051867 | -0.013031 | 0.05188 | 0.013039 | 1.2807e-05 | 8.1225e-06 | 0.077541 | 0.07754 | 0.077541 | 0.99549 | -0.086117 | 0.99576 | -0.080945 | 21.3023
35 | 0.030671 | 0.0077084 | -0.030632 | -0.0076844 | 3.8487e-05 | 2.4001e-05 | 0.045898 | 0.045899 | 0.045899 | 0.9945 | -0.10519 | 0.99314 | -0.13151 | 12.6095
36 | -0.021737 | -0.0054507 | 0.021749 | 0.0054583 | 1.2335e-05 | 7.5145e-06 | 0.033025 | 0.033025 | 0.033025 | 0.97944 | -0.39712 | 0.98005 | -0.38522 | 9.0728
37 | 0.021737 | 0.0054507 | -0.02173 | -0.0054464 | 7.0625e-06 | 4.3027e-06 | 0.033025 | 0.033025 | 0.033025 | 0.97944 | -0.39712 | 0.97909 | -0.40394 | 9.0728
38 | -0.027159 | -0.0068141 | 0.027165 | 0.0068179 | 6.1418e-06 | 3.8094e-06 | 0.041239 | 0.041239 | 0.041239 | 0.98005 | -0.38522 | 0.98029 | -0.38048 | 11.3293
39 | 0.011168 | 0.0027994 | -0.011167 | -0.0027986 | 1.5525e-06 | 8.129e-07 | 0.016973 | 0.016973 | 0.016973 | 0.97909 | -0.40394 | 0.97895 | -0.40686 | 4.663
40 | 0.31382 | 0.079362 | -0.31382 | -0.079362 | 6.1973e-08 | 3.9663e-08 | 0.47007 | 0.47007 | 0.47007 | 0.99396 | -0.1155 | 0.99396 | -0.1155 | 43.0465
41 | -0.28405 | -0.071749 | 0.28414 | 0.071807 | 9.1438e-05 | 5.8364e-05 | 0.42604 | 0.42604 | 0.42604 | 0.99253 | -0.14281 | 0.99288 | -0.13609 | 39.0151
42 | -0.30007 | -0.0758 | 0.30036 | 0.075989 | 0.00029648 | 0.00018929 | 0.44992 | 0.44992 | 0.44992 | 0.99288 | -0.13609 | 0.99396 | -0.1155 | 41.2011
43 | 0.034804 | 0.0087514 | -0.034788 | -0.0087408 | 1.6806e-05 | 1.0552e-05 | 0.052751 | 0.052751 | 0.052751 | 0.98197 | -0.34757 | 0.98146 | -0.35769 | 14.4919
44 | -0.020919 | -0.0052437 | 0.02093 | 0.0052498 | 1.014e-05 | 6.1347e-06 | 0.031374 | 0.031374 | 0.031374 | 0.99218 | -0.14998 | 0.99271 | -0.13981 | 8.6192
45 | 0.014771 | 0.0037026 | -0.014768 | -0.0037013 | 2.3658e-06 | 1.3481e-06 | 0.022152 | 0.022152 | 0.022152 | 0.99218 | -0.14998 | 0.99201 | -0.15334 | 6.0858
46 | -0.02093 | -0.0052498 | 0.020938 | 0.0052548 | 8.2854e-06 | 5.0123e-06 | 0.031374 | 0.031374 | 0.031374 | 0.99271 | -0.13981 | 0.99314 | -0.13151 | 8.6192
47 | 0.0073481 | 0.0018416 | -0.0073481 | -0.0018416 | 3.9184e-09 | 1.4547e-09 | 0.011169 | 0.011169 | 0.011169 | 0.97895 | -0.40686 | 0.97894 | -0.40687 | 3.0685
48 | -0.030384 | -0.0076247 | 0.030399 | 0.0076339 | 1.4783e-05 | 9.2272e-06 | 0.046125 | 0.046125 | 0.046125 | 0.98029 | -0.38048 | 0.98081 | -0.37028 | 12.6716
49 | 0.032545 | 0.0081787 | -0.032536 | -0.0081733 | 8.5809e-06 | 5.373e-06 | 0.04935 | 0.04935 | 0.04935 | 0.98146 | -0.35769 | 0.98117 | -0.36321 | 13.5577
50 | 0.030409 | 0.0076403 | -0.030399 | -0.0076339 | 1.0261e-05 | 6.405e-06 | 0.046125 | 0.046125 | 0.046125 | 0.98117 | -0.36321 | 0.98081 | -0.37028 | 12.6716

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49344 | 0.12486

## res_load
| p_mw | q_mvar
0 | 0.0084843 | 0.0021264
1 | 0.0075677 | 0.0018967
2 | 0.030897 | 0.0077435
3 | 0.035884 | 0.0089933
4 | 0.022431 | 0.0056217
5 | 0.0091618 | 0.0022962
6 | 0.01829 | 0.004584
7 | 0.030089 | 0.007541
8 | 0.012479 | 0.0031275
9 | 0.038106 | 0.0095502
10 | 0.010792 | 0.0027048
11 | 0.036788 | 0.0092199
12 | 0.002948 | 0.00073885
13 | 0.005346 | 0.0013398
14 | 0.026865 | 0.0067329
15 | 0.0097181 | 0.0024356
16 | 0.021169 | 0.0053054
17 | 0.00541 | 0.0013559
18 | 0.010562 | 0.002647
19 | 0.0096234 | 0.0024118
20 | 0.030073 | 0.0075369
21 | 0.0099381 | 0.0024907
22 | 0.015929 | 0.0039921
23 | 0.013461 | 0.0033736
24 | 0.0053892 | 0.0013506
25 | 0.010853 | 0.00272
26 | 0.0061488 | 0.001541
27 | 0.014768 | 0.0037013
28 | 0.0096942 | 0.0024296
29 | 0.0038184 | 0.00095699
30 | 0.0073481 | 0.0018416
31 | 0.0032189 | 0.00080673
32 | 0.0022431 | 0.00056216
33 | 0.0021267 | 0.000533

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1