## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-93_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-93_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-93_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-93_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-93_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-93_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1632-93_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1632-93_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1632-93_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1632-93_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1632-93_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1632-93_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1632-93_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1632-93_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1632-93_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1632-93_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1632-93_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1632-93_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1632-93_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1632-93_0_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1632-93_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1632-93_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1632-93_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1632-93_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1632-93_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1632-93_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1632-93_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1632-93_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1632-93_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1632-93_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1632-93_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_MV_144_0_node_213 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-93_0_3_load_0 | 0 | 0.021579 | 0.0054083 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-93_0_3_load_1 | 1 | 0.030827 | 0.0077261 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-93_0_3_load_3 | 3 | 0.0079976 | 0.0020044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-93_0_3_load_22 | 6 | 0.016651 | 0.0041732 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-93_0_3_load_14 | 9 | 0.03431 | 0.0085989 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-93_0_3_load_6 | 10 | 0.011857 | 0.0029717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-93_0_3_load_10 | 14 | 0.068711 | 0.01722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-93_0_3_load_26 | 16 | 0.026232 | 0.0065743 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-93_0_3_load_21 | 18 | 0.0020792 | 0.00052108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-93_0_3_load_28 | 20 | 0.024224 | 0.0060712 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-93_0_3_load_20 | 21 | 0.0021424 | 0.00053693 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-93_0_3_load_13 | 22 | 0.044072 | 0.011046 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-93_0_3_load_16 | 23 | 0.0029692 | 0.00074416 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-93_0_3_load_17 | 24 | 0.0052851 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-93_0_3_load_23 | 25 | 0.0010992 | 0.00027548 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-93_0_3_load_24 | 27 | 0.0013138 | 0.00032926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-93_0_3_load_18 | 28 | 0.0019915 | 0.00049913 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-93_0_3_load_29 | 29 | 0.037938 | 0.0095081 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-93_0_3_load_30 | 30 | 0.019508 | 0.0048891 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-93_0_3_line_0 |  | 0 | 1 | 0.032501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-93_0_3_line_1 |  | 0 | 2 | 0.0084935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-93_0_3_line_2 |  | 2 | 3 | 0.027756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-93_0_3_line_3 |  | 3 | 4 | 0.039712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-93_0_3_line_4 |  | 4 | 5 | 0.009811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-93_0_3_line_5 |  | 5 | 6 | 0.015995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-93_0_3_line_6 |  | 6 | 8 | 0.013172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-93_0_3_line_7 |  | 7 | 8 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1632-93_0_3_line_8 |  | 7 | 9 | 0.041919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1632-93_0_3_line_9 |  | 8 | 17 | 0.026072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-93_0_3_line_10 |  | 8 | 12 | 0.048553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1632-93_0_3_line_11 |  | 9 | 22 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1632-93_0_3_line_12 |  | 10 | 11 | 0.023903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-93_0_3_line_13 |  | 10 | 12 | 0.025306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-93_0_3_line_14 |  | 11 | 13 | 0.030125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-93_0_3_line_15 |  | 12 | 14 | 0.039319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1632-93_0_3_line_16 |  | 13 | 15 | 0.003241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-93_0_3_line_17 |  | 13 | 16 | 0.010919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-93_0_3_line_18 |  | 15 | 19 | 0.007722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-93_0_3_line_19 |  | 15 | 20 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1632-93_0_3_line_20 |  | 17 | 18 | 0.062713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-93_0_3_line_21 |  | 18 | 21 | 0.023986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-93_0_3_line_22 |  | 19 | 29 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-93_0_3_line_23 |  | 19 | 30 | 0.010352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1632-93_0_3_line_24 |  | 21 | 26 | 0.05387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-93_0_3_line_25 |  | 21 | 23 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-93_0_3_line_26 |  | 23 | 24 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-93_0_3_line_27 |  | 24 | 25 | 0.0012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-93_0_3_line_28 |  | 25 | 27 | 0.0063077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-93_0_3_line_29 |  | 26 | 28 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-93_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 31 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2724005.8122 | 1210786.1339 | 2724009.092 | 1210782.5352 | 2724031.3486 | 1210766.1595
1 | 2724000.0909 | 1210792.4113 | 2724005.8122 | 1210786.1339
2 | 2724000.0909 | 1210792.4113 | 2723983.037 | 1210784.4841 | 2723974.1727 | 1210783.2531
3 | 2723935.1555 | 1210787.2025 | 2723962.1307 | 1210781.5808 | 2723974.1727 | 1210783.2531
4 | 2723935.1555 | 1210787.2025 | 2723926.367 | 1210791.6122
5 | 2723926.367 | 1210791.6122 | 2723923.0464 | 1210787.1509 | 2723922.1186 | 1210784.2405 | 2723920.8862 | 1210776.9649
6 | 2723915.1805 | 1210765.0928 | 2723920.8862 | 1210776.9649
7 | 2723900.813 | 1210784.4537 | 2723901.1555 | 1210779.6794 | 2723902.1078 | 1210777.3863 | 2723903.4377 | 1210775.2123 | 2723907.7153 | 1210770.9423 | 2723915.1805 | 1210765.0928
8 | 2723900.813 | 1210784.4537 | 2723889.3144 | 1210779.5334 | 2723893.6945 | 1210750.4492
9 | 2723915.1805 | 1210765.0928 | 2723919.4547 | 1210762.4462 | 2723921.9341 | 1210741.5483
10 | 2723915.1805 | 1210765.0928 | 2723919.4547 | 1210762.4462 | 2723925.9779 | 1210758.4008 | 2723936.4772 | 1210755.0719 | 2723944.8202 | 1210754.1779 | 2723961.248 | 1210754.9309
11 | 2723893.6945 | 1210750.4492 | 2723896.8167 | 1210729.7167
12 | 2724005.3038 | 1210736.232 | 2723986.5742 | 1210749.2861 | 2723985.592 | 1210749.7184
13 | 2723961.248 | 1210754.9309 | 2723968.1973 | 1210755.2533 | 2723977.5745 | 1210753.2466 | 2723985.592 | 1210749.7184
14 | 2724003.4395 | 1210719.5026 | 2724003.7273 | 1210719.9201 | 2724006.8453 | 1210722.0643 | 2724009.8723 | 1210720.5371 | 2724010.6266 | 1210721.9205 | 2724005.1956 | 1210724.6209 | 2724009.4924 | 1210733.3168 | 2724005.3038 | 1210736.232
15 | 2723957.1682 | 1210719.7079 | 2723961.3552 | 1210719.795 | 2723961.248 | 1210754.9309
16 | 2724003.4395 | 1210719.5026 | 2724001.5868 | 1210716.8399
17 | 2724012.4554 | 1210713.3075 | 2724003.4395 | 1210719.5026
18 | 2723997.658 | 1210710.1864 | 2724001.5868 | 1210716.8399
19 | 2723991.6056 | 1210720.8355 | 2724001.5868 | 1210716.8399
20 | 2723921.9341 | 1210741.5483 | 2723922.6146 | 1210728.1966 | 2723921.4793 | 1210719.1772 | 2723918.6212 | 1210711.8456 | 2723915.8516 | 1210679.5795
21 | 2723919.179 | 1210655.9674 | 2723918.2398 | 1210659.2417 | 2723915.506 | 1210675.553 | 2723915.8516 | 1210679.5795
22 | 2723997.658 | 1210710.1864 | 2723995.6752 | 1210706.8315 | 2723987.5937 | 1210710.1328
23 | 2724006.292 | 1210704.4392 | 2723997.658 | 1210710.1864
24 | 2723961.1861 | 1210641.2756 | 2723950.6811 | 1210641.2128 | 2723932.615 | 1210639.5251 | 2723925.0227 | 1210639.4118 | 2723922.5264 | 1210644.297 | 2723919.179 | 1210655.9674
25 | 2723919.179 | 1210655.9674 | 2723908.779 | 1210635.2712
26 | 2723916.3502 | 1210626.4845 | 2723912.5517 | 1210632.9812 | 2723908.779 | 1210635.2712
27 | 2723916.3502 | 1210626.4845 | 2723916.9604 | 1210625.441
28 | 2723920.1441 | 1210619.9957 | 2723916.9604 | 1210625.441
29 | 2723961.1861 | 1210641.2756 | 2723959.4624 | 1210652.882 | 2723959.5332 | 1210654.229 | 2723960.3423 | 1210654.8018

## bus_geodata
| x | y | coords
0 | 2724005.8122 | 1210786.1339
1 | 2724031.3486 | 1210766.1595
2 | 2724000.0909 | 1210792.4113
3 | 2723974.1727 | 1210783.2531
4 | 2723935.1555 | 1210787.2025
5 | 2723926.367 | 1210791.6122
6 | 2723920.8862 | 1210776.9649
7 | 2723900.813 | 1210784.4537
8 | 2723915.1805 | 1210765.0928
9 | 2723893.6945 | 1210750.4492
10 | 2723985.592 | 1210749.7184
11 | 2724005.3038 | 1210736.232
12 | 2723961.248 | 1210754.9309
13 | 2724003.4395 | 1210719.5026
14 | 2723957.1682 | 1210719.7079
15 | 2724001.5868 | 1210716.8399
16 | 2724012.4554 | 1210713.3075
17 | 2723921.9341 | 1210741.5483
18 | 2723915.8516 | 1210679.5795
19 | 2723997.658 | 1210710.1864
20 | 2723991.6056 | 1210720.8355
21 | 2723919.179 | 1210655.9674
22 | 2723896.8167 | 1210729.7167
23 | 2723908.779 | 1210635.2712
24 | 2723916.3502 | 1210626.4845
25 | 2723916.9604 | 1210625.441
26 | 2723961.1861 | 1210641.2756
27 | 2723920.1441 | 1210619.9957
28 | 2723960.3423 | 1210654.8018
29 | 2723987.5937 | 1210710.1328
30 | 2724006.292 | 1210704.4392
31 | 2723961.248 | 1210754.9309

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98632 | -0.26303 | 0.021579 | 0.0054083
1 | 0.9854 | -0.281 | 0.030827 | 0.0077261
2 | 0.98673 | -0.25506 | 0 | 0
3 | 0.98807 | -0.22905 | 0.0079976 | 0.0020044
4 | 0.99027 | -0.18632 | 0 | 0
5 | 0.99082 | -0.17579 | 0 | 0
6 | 0.99171 | -0.15865 | 0.016651 | 0.0041732
7 | 0.99082 | -0.17589 | 0 | 0
8 | 0.99264 | -0.14068 | 0 | 0
9 | 0.9878 | -0.2344 | 0.03431 | 0.0085989
10 | 0.9937 | -0.12031 | 0.011857 | 0.0029717
11 | 0.99133 | -0.16594 | 0 | 0
12 | 0.99648 | -0.066962 | 0 | 0
13 | 0.98835 | -0.22377 | 0 | 0
14 | 1 | 0 | -0.297 | -0.075289
15 | 0.9881 | -0.22849 | 0 | 0
16 | 0.98808 | -0.22888 | 0.026232 | 0.0065743
17 | 0.99224 | -0.14847 | 0 | 0
18 | 0.99127 | -0.16724 | 0.0020792 | 0.00052108
19 | 0.9877 | -0.23641 | 0 | 0
20 | 0.98787 | -0.23313 | 0.024224 | 0.0060712
21 | 0.99094 | -0.17354 | 0.0021424 | 0.00053693
22 | 0.98695 | -0.25092 | 0.044072 | 0.011046
23 | 0.99072 | -0.17793 | 0.0029692 | 0.00074416
24 | 0.99063 | -0.17956 | 0.0052851 | 0.0013246
25 | 0.99063 | -0.17961 | 0.0010992 | 0.00027548
26 | 0.99085 | -0.17544 | 0 | 0
27 | 0.99062 | -0.17976 | 0.0013138 | 0.00032926
28 | 0.99082 | -0.17594 | 0.0019915 | 0.00049913
29 | 0.98726 | -0.24496 | 0.037938 | 0.0095081
30 | 0.98751 | -0.24002 | 0.019508 | 0.0048891
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.030854 | 0.0077426 | -0.030827 | -0.0077261 | 2.6411e-05 | 1.6489e-05 | 0.046551 | 0.046551 | 0.046551 | 0.98632 | -0.26303 | 0.9854 | -0.281 | 12.7889
1 | -0.052433 | -0.013151 | 0.052453 | 0.013164 | 1.9932e-05 | 1.2648e-05 | 0.079107 | 0.079107 | 0.079107 | 0.98632 | -0.26303 | 0.98673 | -0.25506 | 21.7327
2 | -0.052453 | -0.013164 | 0.052518 | 0.013205 | 6.5135e-05 | 4.1331e-05 | 0.079107 | 0.079107 | 0.079107 | 0.98673 | -0.25506 | 0.98807 | -0.22905 | 21.7327
3 | -0.060516 | -0.015209 | 0.06064 | 0.015288 | 0.00012373 | 7.8678e-05 | 0.091151 | 0.091151 | 0.091151 | 0.98807 | -0.22905 | 0.99027 | -0.18632 | 25.0415
4 | -0.06064 | -0.015288 | 0.06067 | 0.015307 | 3.0568e-05 | 1.9437e-05 | 0.091151 | 0.091151 | 0.091151 | 0.99027 | -0.18632 | 0.99082 | -0.17579 | 25.0415
5 | -0.06067 | -0.015307 | 0.06072 | 0.015339 | 4.9837e-05 | 3.1689e-05 | 0.091151 | 0.091151 | 0.091151 | 0.99082 | -0.17579 | 0.99171 | -0.15865 | 25.0415
6 | -0.077371 | -0.019512 | 0.077438 | 0.019555 | 6.6621e-05 | 4.2467e-05 | 0.11614 | 0.11614 | 0.11614 | 0.99171 | -0.15865 | 0.99264 | -0.14068 | 31.9052
7 | -0.078636 | -0.019806 | 0.078769 | 0.019891 | 0.00013264 | 8.4563e-05 | 0.11813 | 0.11813 | 0.11813 | 0.99082 | -0.17589 | 0.99264 | -0.14068 | 32.4538
8 | 0.078636 | 0.019806 | -0.078417 | -0.019666 | 0.00021937 | 0.00013986 | 0.11813 | 0.11813 | 0.11813 | 0.99082 | -0.17589 | 0.9878 | -0.2344 | 32.4538
9 | 0.016909 | 0.0042463 | -0.016903 | -0.0042426 | 6.2833e-06 | 3.6844e-06 | 0.025351 | 0.025351 | 0.025351 | 0.99264 | -0.14068 | 0.99224 | -0.14847 | 6.9646
10 | -0.17312 | -0.043692 | 0.17373 | 0.044083 | 0.0006136 | 0.00039144 | 0.25962 | 0.25962 | 0.25962 | 0.99264 | -0.14068 | 0.99648 | -0.066962 | 35.6617
11 | 0.044107 | 0.011067 | -0.044072 | -0.011046 | 3.4714e-05 | 2.1949e-05 | 0.066447 | 0.066447 | 0.066447 | 0.9878 | -0.2344 | 0.98695 | -0.25092 | 18.2548
12 | 0.10851 | 0.027429 | -0.10827 | -0.027278 | 0.00023689 | 0.0001513 | 0.16257 | 0.16257 | 0.16257 | 0.9937 | -0.12031 | 0.99133 | -0.16594 | 44.6615
13 | -0.12036 | -0.030401 | 0.12067 | 0.030598 | 0.00030857 | 0.00019716 | 0.18032 | 0.18032 | 0.18032 | 0.9937 | -0.12031 | 0.99648 | -0.066962 | 49.5393
14 | 0.10827 | 0.027278 | -0.10797 | -0.027087 | 0.00029856 | 0.00019069 | 0.16257 | 0.16257 | 0.16257 | 0.99133 | -0.16594 | 0.98835 | -0.22377 | 44.6616
15 | -0.2944 | -0.074681 | 0.29535 | 0.075288 | 0.00095126 | 0.00060726 | 0.43994 | 0.43994 | 0.43994 | 0.99648 | -0.066962 | 1 | 0 | 40.2876
16 | 0.081734 | 0.020509 | -0.081716 | -0.020497 | 1.8407e-05 | 1.1739e-05 | 0.12306 | 0.12306 | 0.12306 | 0.98835 | -0.22377 | 0.9881 | -0.22849 | 33.8088
17 | 0.026238 | 0.0065783 | -0.026232 | -0.0065743 | 6.39e-06 | 3.9497e-06 | 0.039504 | 0.039504 | 0.039504 | 0.98835 | -0.22377 | 0.98808 | -0.22888 | 10.8528
18 | 0.057486 | 0.014423 | -0.057464 | -0.014409 | 2.1704e-05 | 1.3792e-05 | 0.086575 | 0.086575 | 0.086575 | 0.9881 | -0.22849 | 0.9877 | -0.23641 | 23.7844
19 | 0.02423 | 0.0060744 | -0.024224 | -0.0060712 | 5.3548e-06 | 3.2897e-06 | 0.036489 | 0.036489 | 0.036489 | 0.9881 | -0.22849 | 0.98787 | -0.23313 | 10.0244
20 | 0.016903 | 0.0042426 | -0.016888 | -0.0042337 | 1.5114e-05 | 8.8639e-06 | 0.025351 | 0.025351 | 0.025351 | 0.99224 | -0.14847 | 0.99127 | -0.16724 | 6.9646
21 | 0.014809 | 0.0037126 | -0.014804 | -0.0037101 | 4.4452e-06 | 2.5358e-06 | 0.02223 | 0.02223 | 0.02223 | 0.99127 | -0.16724 | 0.99094 | -0.17354 | 6.1072
22 | 0.037953 | 0.0095178 | -0.037938 | -0.0095081 | 1.5453e-05 | 9.7284e-06 | 0.05718 | 0.057181 | 0.057181 | 0.9877 | -0.23641 | 0.98726 | -0.24496 | 15.7089
23 | 0.019511 | 0.0048911 | -0.019508 | -0.0048891 | 3.3543e-06 | 2.0143e-06 | 0.029395 | 0.029395 | 0.029395 | 0.9877 | -0.23641 | 0.98751 | -0.24002 | 8.0755
24 | 0.0019918 | 0.0004984 | -0.0019916 | -0.00049898 | 1.8069e-07 | -5.7829e-07 | 0.0029906 | 0.0029908 | 0.0029908 | 0.99094 | -0.17354 | 0.99085 | -0.17544 | 0.82166
25 | 0.01067 | 0.0026748 | -0.010668 | -0.0026736 | 2.2299e-06 | 1.1288e-06 | 0.016023 | 0.016023 | 0.016023 | 0.99094 | -0.17354 | 0.99072 | -0.17793 | 4.4019
26 | 0.0076987 | 0.0019295 | -0.0076981 | -0.0019292 | 5.9862e-07 | 2.2939e-07 | 0.011563 | 0.011563 | 0.011563 | 0.99072 | -0.17793 | 0.99063 | -0.17956 | 3.1767
27 | 0.002413 | 0.00060466 | -0.002413 | -0.00060467 | 5.9547e-09 | -1.1752e-08 | 0.0036244 | 0.0036245 | 0.0036245 | 0.99063 | -0.17956 | 0.99063 | -0.17961 | 0.99573
28 | 0.0013138 | 0.00032919 | -0.0013138 | -0.00032926 | 9.2117e-09 | -7.5313e-08 | 0.0019734 | 0.0019734 | 0.0019734 | 0.99063 | -0.17961 | 0.99062 | -0.17976 | 0.54215
29 | 0.0019916 | 0.00049898 | -0.0019915 | -0.00049913 | 4.7211e-08 | -1.5106e-07 | 0.0029908 | 0.0029909 | 0.0029909 | 0.99085 | -0.17544 | 0.99082 | -0.17594 | 0.82168

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36571 | 0.092509

## res_load
| p_mw | q_mvar
0 | 0.021579 | 0.0054083
1 | 0.030827 | 0.0077261
2 | 0.0079976 | 0.0020044
3 | 0.016651 | 0.0041732
4 | 0.03431 | 0.0085989
5 | 0.011857 | 0.0029717
6 | 0.068711 | 0.01722
7 | 0.026232 | 0.0065743
8 | 0.0020792 | 0.00052108
9 | 0.024224 | 0.0060712
10 | 0.0021424 | 0.00053693
11 | 0.044072 | 0.011046
12 | 0.0029692 | 0.00074416
13 | 0.0052851 | 0.0013246
14 | 0.0010992 | 0.00027548
15 | 0.0013138 | 0.00032926
16 | 0.0019915 | 0.00049913
17 | 0.037938 | 0.0095081
18 | 0.019508 | 0.0048891

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1