## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1632-96_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1632-96_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1632-96_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1632-96_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1632-96_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1632-96_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1632-96_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1632-96_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1632-96_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1632-96_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1632-96_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1632-96_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1632-96_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1632-96_0_4_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1632-96_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1632-96_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1632-96_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1632-96_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1632-96_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1632-96_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_1632-96_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1632-96_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1632-96_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1632-96_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1632-96_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1632-96_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1632-96_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1632-96_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1632-96_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_1632-96_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1632-96_0_4_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_1632-96_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1632-96_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_1632-96_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1632-96_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_1632-96_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1632-96_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1632-96_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1632-96_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1632-96_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1632-96_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1632-96_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_1632-96_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1632-96_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1632-96_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1632-96_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1632-96_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1632-96_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1632-96_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1632-96_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_1632-96_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1632-96_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_MV_226_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1632-96_0_4_load_0 | 0 | 0.014159 | 0.0035485 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1632-96_0_4_load_1 | 1 | 0.012246 | 0.0030691 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1632-96_0_4_load_2 | 2 | 0.0069908 | 0.001752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1632-96_0_4_load_3 | 3 | 0.008288 | 0.0020772 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1632-96_0_4_load_6 | 6 | 0.0094469 | 0.0023676 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1632-96_0_4_load_7 | 7 | 0.0084867 | 0.002127 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1632-96_0_4_load_8 | 8 | 0.0060816 | 0.0015242 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1632-96_0_4_load_9 | 9 | 0.0072678 | 0.0018215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1632-96_0_4_load_10 | 10 | 0.0037234 | 0.00093318 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1632-96_0_4_load_11 | 11 | 0.016247 | 0.0040718 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1632-96_0_4_load_34 | 13 | 0.0028144 | 0.00070536 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1632-96_0_4_load_31 | 14 | 0.0038478 | 0.00096435 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1632-96_0_4_load_26 | 15 | 0.0095807 | 0.0024011 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1632-96_0_4_load_23 | 16 | 0.017987 | 0.004508 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1632-96_0_4_load_38 | 17 | 0.004021 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1632-96_0_4_load_29 | 18 | 0.0040779 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1632-96_0_4_load_28 | 19 | 0.0093407 | 0.002341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1632-96_0_4_load_24 | 20 | 0.023309 | 0.0058417 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1632-96_0_4_load_13 | 21 | 0.018702 | 0.0046871 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1632-96_0_4_load_16 | 23 | 0.0055263 | 0.001385 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1632-96_0_4_load_17 | 24 | 0.0071711 | 0.0017973 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1632-96_0_4_load_18 | 25 | 0.0059053 | 0.00148 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1632-96_0_4_load_20 | 27 | 0.0080618 | 0.0020205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1632-96_0_4_load_46 | 28 | 0.0052607 | 0.0013184 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1632-96_0_4_load_21 | 29 | 0.0040707 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1632-96_0_4_load_22 | 31 | 0.0040594 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1632-96_0_4_load_44 | 33 | 0.0040278 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1632-96_0_4_load_40 | 34 | 0.0069096 | 0.0017317 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1632-96_0_4_load_25 | 35 | 0.012573 | 0.003151 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1632-96_0_4_load_27 | 36 | 0.024279 | 0.006085 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1632-96_0_4_load_35 | 37 | 0.011032 | 0.0027648 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1632-96_0_4_load_42 | 38 | 0.0095944 | 0.0024046 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1632-96_0_4_load_36 | 39 | 0.029343 | 0.007354 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1632-96_0_4_load_30 | 40 | 0.0063957 | 0.0016029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1632-96_0_4_load_52 | 41 | 0.010232 | 0.0025643 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1632-96_0_4_load_45 | 42 | 0.018741 | 0.004697 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1632-96_0_4_load_39 | 43 | 0.0028287 | 0.00070893 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1632-96_0_4_load_37 | 44 | 0.010807 | 0.0027086 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1632-96_0_4_load_49 | 45 | 0.014201 | 0.003559 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1632-96_0_4_load_48 | 46 | 0.038558 | 0.0096636 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1632-96_0_4_load_55 | 47 | 0.010531 | 0.0026393 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1632-96_0_4_load_51 | 49 | 0.0086489 | 0.0021676 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1632-96_0_4_load_50 | 50 | 0.0064168 | 0.0016082 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1632-96_0_4_line_0 |  | 0 | 1 | 0.0012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1632-96_0_4_line_1 |  | 0 | 2 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1632-96_0_4_line_2 |  | 1 | 3 | 0.034464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1632-96_0_4_line_3 |  | 2 | 4 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1632-96_0_4_line_4 |  | 3 | 5 | 0.05107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1632-96_0_4_line_5 |  | 4 | 6 | 0.053668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1632-96_0_4_line_6 |  | 5 | 7 | 0.032292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1632-96_0_4_line_7 |  | 5 | 8 | 0.0081409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1632-96_0_4_line_8 |  | 5 | 9 | 0.021809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1632-96_0_4_line_9 |  | 7 | 10 | 0.012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1632-96_0_4_line_10 |  | 8 | 11 | 0.0088214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1632-96_0_4_line_11 |  | 9 | 12 | 0.0078822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1632-96_0_4_line_12 |  | 10 | 13 | 0.027012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1632-96_0_4_line_13 |  | 10 | 14 | 0.0099828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1632-96_0_4_line_14 |  | 12 | 15 | 0.045672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1632-96_0_4_line_15 |  | 12 | 16 | 0.016148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1632-96_0_4_line_16 |  | 13 | 17 | 0.0020336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1632-96_0_4_line_17 |  | 14 | 18 | 0.0038525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1632-96_0_4_line_18 |  | 15 | 19 | 0.001297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1632-96_0_4_line_19 |  | 16 | 20 | 0.0012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1632-96_0_4_line_20 |  | 17 | 43 | 0.0053365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1632-96_0_4_line_21 |  | 18 | 40 | 0.035834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1632-96_0_4_line_22 |  | 19 | 38 | 0.001308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1632-96_0_4_line_23 |  | 20 | 35 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1632-96_0_4_line_24 |  | 21 | 22 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1632-96_0_4_line_25 |  | 22 | 23 | 0.022538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1632-96_0_4_line_26 |  | 22 | 24 | 0.0036836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1632-96_0_4_line_27 |  | 23 | 25 | 0.010251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1632-96_0_4_line_28 |  | 24 | 26 | 0.023165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1632-96_0_4_line_29 |  | 25 | 27 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1632-96_0_4_line_30 |  | 26 | 28 | 0.0072455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1632-96_0_4_line_31 |  | 27 | 29 | 0.0076651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1632-96_0_4_line_32 |  | 28 | 30 | 0.012313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1632-96_0_4_line_33 |  | 29 | 31 | 0.0038104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1632-96_0_4_line_34 |  | 30 | 49 | 0.011525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1632-96_0_4_line_35 |  | 30 | 50 | 0.0091103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1632-96_0_4_line_36 |  | 32 | 33 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1632-96_0_4_line_37 |  | 32 | 34 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1632-96_0_4_line_38 |  | 33 | 42 | 0.031161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1632-96_0_4_line_39 |  | 34 | 43 | 0.018099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1632-96_0_4_line_40 |  | 35 | 36 | 0.00061591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1632-96_0_4_line_41 |  | 36 | 37 | 0.0049193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1632-96_0_4_line_42 |  | 37 | 39 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1632-96_0_4_line_43 |  | 39 | 44 | 0.0091813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1632-96_0_4_line_44 |  | 41 | 42 | 0.012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1632-96_0_4_line_45 |  | 44 | 45 | 0.00020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1632-96_0_4_line_46 |  | 45 | 46 | 0.019961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1632-96_0_4_line_47 |  | 46 | 50 | 0.005091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1632-96_0_4_line_48 |  | 47 | 48 | 0.010884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1632-96_0_4_line_49 |  | 48 | 51 | 0.039543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1632-96_0_4_line_50 |  | 49 | 51 | 0.054098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1632-96_0_4_trafo_11 | 0.63 MVA 20/0.4 kV | 52 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2723446.1232 | 1211245.9161 | 2723445.1375 | 1211245.1163
1 | 2723446.1232 | 1211245.9161 | 2723464.1328 | 1211260.5284
2 | 2723445.1375 | 1211245.1163 | 2723433.3388 | 1211235.5433 | 2723417.1433 | 1211225.1002
3 | 2723478.4558 | 1211272.1495 | 2723464.1328 | 1211260.5284
4 | 2723370.9829 | 1211203.2509 | 2723417.1433 | 1211225.1002
5 | 2723478.4558 | 1211272.1495 | 2723471.0148 | 1211291.9218 | 2723467.8142 | 1211293.7792 | 2723460.755 | 1211294.7561 | 2723438.9454 | 1211294.8048
6 | 2723370.9829 | 1211203.2509 | 2723369.58 | 1211215.5758 | 2723368.7615 | 1211235.4467
7 | 2723370.9829 | 1211203.2509 | 2723363.3702 | 1211200.3663
8 | 2723370.9829 | 1211203.2509 | 2723374.1431 | 1211181.6719
9 | 2723368.2661 | 1211247.4731 | 2723368.7615 | 1211235.4467
10 | 2723355.1212 | 1211197.2405 | 2723363.3702 | 1211200.3663
11 | 2723375.2853 | 1211173.8729 | 2723374.1431 | 1211181.6719
12 | 2723368.2661 | 1211247.4731 | 2723341.2715 | 1211246.5101
13 | 2723368.2661 | 1211247.4731 | 2723367.8912 | 1211257.4489
14 | 2723375.2853 | 1211173.8729 | 2723380.096 | 1211152.9897 | 2723385.9948 | 1211134.264 | 2723388.3655 | 1211130.3113
15 | 2723375.2853 | 1211173.8729 | 2723361.6205 | 1211165.2679
16 | 2723339.2392 | 1211246.4376 | 2723341.2715 | 1211246.5101
17 | 2723367.7465 | 1211261.2987 | 2723367.8912 | 1211257.4489
18 | 2723388.3655 | 1211130.3113 | 2723389.0327 | 1211129.1991
19 | 2723360.5527 | 1211164.5954 | 2723361.6205 | 1211165.2679
20 | 2723339.2392 | 1211246.4376 | 2723333.9061 | 1211246.2474
21 | 2723367.7465 | 1211261.2987 | 2723366.4007 | 1211297.1072
22 | 2723389.7055 | 1211128.0773 | 2723389.0327 | 1211129.1991
23 | 2723360.5527 | 1211164.5954 | 2723351.9334 | 1211159.1676 | 2723348.8147 | 1211157.7767
24 | 2723277.2194 | 1211160.8912 | 2723257.8775 | 1211155.8982
25 | 2723277.2194 | 1211160.8912 | 2723283.8039 | 1211182.4457
26 | 2723277.2194 | 1211160.8912 | 2723276.6784 | 1211157.2476
27 | 2723283.8039 | 1211182.4457 | 2723286.7987 | 1211192.2497
28 | 2723273.2761 | 1211134.3338 | 2723276.6784 | 1211157.2476
29 | 2723289.8015 | 1211202.0793 | 2723286.7987 | 1211192.2497
30 | 2723273.2761 | 1211134.3338 | 2723280.293 | 1211136.139
31 | 2723289.8015 | 1211202.0793 | 2723292.0408 | 1211209.41
32 | 2723292.2174 | 1211139.2068 | 2723280.293 | 1211136.139
33 | 2723293.154 | 1211213.0541 | 2723292.0408 | 1211209.41
34 | 2723292.2174 | 1211139.2068 | 2723294.6691 | 1211127.9457
35 | 2723292.2174 | 1211139.2068 | 2723300.948 | 1211141.8097
36 | 2723302.9566 | 1211245.1433 | 2723308.7902 | 1211262.9467
37 | 2723302.9566 | 1211245.1433 | 2723315.8186 | 1211245.6021
38 | 2723308.7902 | 1211262.9467 | 2723318.4932 | 1211292.5586
39 | 2723315.8186 | 1211245.6021 | 2723333.9061 | 1211246.2474
40 | 2723348.8147 | 1211157.7767 | 2723348.2522 | 1211157.5259
41 | 2723348.2522 | 1211157.5259 | 2723343.7594 | 1211155.5222
42 | 2723343.7594 | 1211155.5222 | 2723337.3437 | 1211152.661 | 2723333.9467 | 1211151.6482
43 | 2723333.9467 | 1211151.6482 | 2723325.1481 | 1211149.0249
44 | 2723322.2741 | 1211304.0974 | 2723318.4932 | 1211292.5586
45 | 2723325.1481 | 1211149.0249 | 2723324.956 | 1211148.9676
46 | 2723305.8268 | 1211143.2643 | 2723324.956 | 1211148.9676
47 | 2723305.8268 | 1211143.2643 | 2723300.948 | 1211141.8097
48 | 2723347.3075 | 1211078.9104 | 2723358.16 | 1211079.7375
49 | 2723307.8787 | 1211075.9041 | 2723310.4972 | 1211076.1028 | 2723313.4192 | 1211076.3301 | 2723347.3075 | 1211078.9104
50 | 2723307.8787 | 1211075.9041 | 2723303.7489 | 1211083.7248 | 2723302.7398 | 1211095.3906 | 2723296.1988 | 1211120.9195 | 2723294.6691 | 1211127.9457

## bus_geodata
| x | y | coords
0 | 2723446.1232 | 1211245.9161
1 | 2723445.1375 | 1211245.1163
2 | 2723464.1328 | 1211260.5284
3 | 2723417.1433 | 1211225.1002
4 | 2723478.4558 | 1211272.1495
5 | 2723370.9829 | 1211203.2509
6 | 2723438.9454 | 1211294.8048
7 | 2723368.7615 | 1211235.4467
8 | 2723363.3702 | 1211200.3663
9 | 2723374.1431 | 1211181.6719
10 | 2723368.2661 | 1211247.4731
11 | 2723355.1212 | 1211197.2405
12 | 2723375.2853 | 1211173.8729
13 | 2723341.2715 | 1211246.5101
14 | 2723367.8912 | 1211257.4489
15 | 2723388.3655 | 1211130.3113
16 | 2723361.6205 | 1211165.2679
17 | 2723339.2392 | 1211246.4376
18 | 2723367.7465 | 1211261.2987
19 | 2723389.0327 | 1211129.1991
20 | 2723360.5527 | 1211164.5954
21 | 2723257.8775 | 1211155.8982
22 | 2723277.2194 | 1211160.8912
23 | 2723283.8039 | 1211182.4457
24 | 2723276.6784 | 1211157.2476
25 | 2723286.7987 | 1211192.2497
26 | 2723273.2761 | 1211134.3338
27 | 2723289.8015 | 1211202.0793
28 | 2723280.293 | 1211136.139
29 | 2723292.0408 | 1211209.41
30 | 2723292.2174 | 1211139.2068
31 | 2723293.154 | 1211213.0541
32 | 2723302.9566 | 1211245.1433
33 | 2723308.7902 | 1211262.9467
34 | 2723315.8186 | 1211245.6021
35 | 2723348.8147 | 1211157.7768
36 | 2723348.2522 | 1211157.5259
37 | 2723343.7594 | 1211155.5222
38 | 2723389.7055 | 1211128.0773
39 | 2723333.9467 | 1211151.6482
40 | 2723366.4007 | 1211297.1072
41 | 2723322.2741 | 1211304.0974
42 | 2723318.4932 | 1211292.5586
43 | 2723333.9061 | 1211246.2474
44 | 2723325.1481 | 1211149.0249
45 | 2723324.956 | 1211148.9676
46 | 2723305.8268 | 1211143.2643
47 | 2723358.16 | 1211079.7375
48 | 2723347.3075 | 1211078.9104
49 | 2723294.6691 | 1211127.9457
50 | 2723300.948 | 1211141.8097
51 | 2723307.8787 | 1211075.9041
52 | 2723370.9829 | 1211203.2509

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99456 | -0.10448 | 0.014159 | 0.0035485
1 | 0.9946 | -0.10379 | 0.012246 | 0.0030691
2 | 0.99421 | -0.1112 | 0.0069908 | 0.001752
3 | 0.99594 | -0.077811 | 0.008288 | 0.0020772
4 | 0.99405 | -0.11427 | 0 | 0
5 | 0.99832 | -0.032032 | 0 | 0
6 | 0.99359 | -0.12322 | 0.0094469 | 0.0023676
7 | 0.99608 | -0.075112 | 0.0084867 | 0.002127
8 | 0.99912 | -0.016757 | 0.0060816 | 0.0015242
9 | 0.99682 | -0.060894 | 0.0072678 | 0.0018215
10 | 0.99534 | -0.089421 | 0.0037234 | 0.00093318
11 | 1 | 0 | -0.44008 | -0.11099
12 | 0.99629 | -0.071096 | 0 | 0
13 | 0.99411 | -0.11301 | 0.0028144 | 0.00070536
14 | 0.99521 | -0.091937 | 0.0038478 | 0.00096435
15 | 0.9951 | -0.093993 | 0.0095807 | 0.0024011
16 | 0.9953 | -0.090004 | 0.017987 | 0.004508
17 | 0.99403 | -0.11469 | 0.004021 | 0.0010078
18 | 0.99517 | -0.092647 | 0.0040779 | 0.001022
19 | 0.99508 | -0.094425 | 0.0093407 | 0.002341
20 | 0.99523 | -0.091383 | 0.023309 | 0.0058417
21 | 0.98726 | -0.24558 | 0.018702 | 0.0046871
22 | 0.9876 | -0.23891 | 0 | 0
23 | 0.98703 | -0.25004 | 0.0055263 | 0.001385
24 | 0.98776 | -0.23586 | 0.0071711 | 0.0017973
25 | 0.98682 | -0.25409 | 0.0059053 | 0.00148
26 | 0.98889 | -0.21374 | 0 | 0
27 | 0.98667 | -0.25707 | 0.0080618 | 0.0020205
28 | 0.98925 | -0.20684 | 0.0052607 | 0.0013184
29 | 0.98661 | -0.25819 | 0.0040707 | 0.0010202
30 | 0.98992 | -0.19396 | 0 | 0
31 | 0.9866 | -0.25846 | 0.0040594 | 0.0010174
32 | 0.99277 | -0.13898 | 0 | 0
33 | 0.9922 | -0.14992 | 0.0040278 | 0.0010095
34 | 0.99316 | -0.13147 | 0.0069096 | 0.0017317
35 | 0.99453 | -0.10486 | 0.012573 | 0.003151
36 | 0.9945 | -0.10544 | 0.024279 | 0.006085
37 | 0.99429 | -0.10952 | 0.011032 | 0.0027648
38 | 0.99507 | -0.094646 | 0.0095944 | 0.0024046
39 | 0.99386 | -0.11778 | 0.029343 | 0.007354
40 | 0.99496 | -0.096682 | 0.0063957 | 0.0016029
41 | 0.99126 | -0.16812 | 0.010232 | 0.0025643
42 | 0.99138 | -0.16592 | 0.018741 | 0.004697
43 | 0.99382 | -0.11871 | 0.0028287 | 0.00070893
44 | 0.99324 | -0.12978 | 0.010807 | 0.0027086
45 | 0.99321 | -0.13026 | 0.014201 | 0.003559
46 | 0.99096 | -0.17371 | 0.038558 | 0.0096636
47 | 0.9887 | -0.2175 | 0.010531 | 0.0026393
48 | 0.98881 | -0.21546 | 0 | 0
49 | 0.98971 | -0.19789 | 0.0086489 | 0.0021676
50 | 0.99057 | -0.18134 | 0.0064168 | 0.0016082
51 | 0.98919 | -0.20804 | 0 | 0
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.030607 | -0.0076737 | 0.030608 | 0.0076744 | 9.9817e-07 | 6.2235e-07 | 0.045794 | 0.045794 | 0.045794 | 0.99456 | -0.10448 | 0.9946 | -0.10379 | 12.5807
1 | 0.016448 | 0.0041253 | -0.016443 | -0.0041222 | 5.2675e-06 | 3.0704e-06 | 0.02461 | 0.02461 | 0.02461 | 0.99456 | -0.10448 | 0.99421 | -0.1112 | 6.7611
2 | -0.042854 | -0.010743 | 0.042907 | 0.010777 | 5.3127e-05 | 3.3554e-05 | 0.064115 | 0.064115 | 0.064115 | 0.9946 | -0.10379 | 0.99594 | -0.077811 | 17.614
3 | 0.0094523 | 0.0023702 | -0.009451 | -0.0023695 | 1.3844e-06 | 6.4687e-07 | 0.014148 | 0.014148 | 0.014148 | 0.99421 | -0.1112 | 0.99405 | -0.11427 | 3.8867
4 | -0.051195 | -0.012854 | 0.051307 | 0.012925 | 0.00011207 | 7.1059e-05 | 0.076498 | 0.076497 | 0.076498 | 0.99594 | -0.077811 | 0.99832 | -0.032032 | 21.0158
5 | 0.009451 | 0.0023695 | -0.0094469 | -0.0023676 | 4.0283e-06 | 1.8827e-06 | 0.014148 | 0.014148 | 0.014148 | 0.99405 | -0.11427 | 0.99359 | -0.12322 | 3.8868
6 | 0.076457 | 0.019296 | -0.0763 | -0.019196 | 0.0001574 | 0.00010031 | 0.11401 | 0.11401 | 0.11401 | 0.99832 | -0.032032 | 0.99608 | -0.075112 | 31.321
7 | -0.43168 | -0.10904 | 0.432 | 0.10924 | 0.00031627 | 0.00020198 | 0.64373 | 0.64373 | 0.64373 | 0.99832 | -0.032032 | 0.99912 | -0.016757 | 44.2124
8 | 0.30392 | 0.076821 | -0.3035 | -0.076553 | 0.00041999 | 0.00026766 | 0.45323 | 0.45323 | 0.45323 | 0.99832 | -0.032032 | 0.99682 | -0.060894 | 31.1282
9 | 0.067813 | 0.017069 | -0.067767 | -0.017039 | 4.6346e-05 | 2.9505e-05 | 0.10133 | 0.10133 | 0.10133 | 0.99608 | -0.075112 | 0.99534 | -0.089421 | 27.838
10 | -0.43808 | -0.11077 | 0.43843 | 0.11099 | 0.00035241 | 0.00022508 | 0.65279 | 0.65279 | 0.65279 | 0.99912 | -0.016757 | 1 | 0 | 44.8344
11 | 0.29623 | 0.074731 | -0.29609 | -0.074639 | 0.00014461 | 9.2142e-05 | 0.44238 | 0.44238 | 0.44238 | 0.99682 | -0.060894 | 0.99629 | -0.071096 | 30.3831
12 | 0.049719 | 0.012515 | -0.049663 | -0.01248 | 5.5992e-05 | 3.5484e-05 | 0.074348 | 0.074349 | 0.074349 | 0.99534 | -0.089421 | 0.99411 | -0.11301 | 20.4254
13 | 0.014325 | 0.0035907 | -0.014323 | -0.0035898 | 1.7169e-06 | 9.6907e-07 | 0.021415 | 0.021415 | 0.021415 | 0.99534 | -0.089421 | 0.99521 | -0.091937 | 5.8834
14 | 0.028547 | 0.0071663 | -0.028516 | -0.007147 | 3.1142e-05 | 1.9337e-05 | 0.042641 | 0.042642 | 0.042642 | 0.99629 | -0.071096 | 0.9951 | -0.093993 | 11.7147
15 | 0.26754 | 0.067473 | -0.2673 | -0.067319 | 0.00024191 | 0.00015398 | 0.39974 | 0.39974 | 0.39974 | 0.99629 | -0.071096 | 0.9953 | -0.090004 | 27.4544
16 | 0.046848 | 0.011775 | -0.046845 | -0.011772 | 3.7513e-06 | 2.3745e-06 | 0.070136 | 0.070136 | 0.070136 | 0.99411 | -0.11301 | 0.99403 | -0.11469 | 19.2681
17 | 0.010475 | 0.0026254 | -0.010475 | -0.0026252 | 3.544e-07 | 1.7676e-07 | 0.015662 | 0.015662 | 0.015662 | 0.99521 | -0.091937 | 0.99517 | -0.092647 | 4.3028
18 | 0.018936 | 0.0047459 | -0.018935 | -0.0047456 | 3.8996e-07 | 2.3272e-07 | 0.028315 | 0.028315 | 0.028315 | 0.9951 | -0.093993 | 0.99508 | -0.094425 | 7.7789
19 | 0.24931 | 0.062811 | -0.24929 | -0.062801 | 1.6446e-05 | 1.046e-05 | 0.37285 | 0.37285 | 0.37285 | 0.9953 | -0.090004 | 0.99523 | -0.091383 | 25.6075
20 | 0.042824 | 0.010764 | -0.042815 | -0.010759 | 8.2267e-06 | 5.196e-06 | 0.064117 | 0.064117 | 0.064117 | 0.99403 | -0.11469 | 0.99382 | -0.11871 | 17.6145
21 | 0.0063969 | 0.0016032 | -0.0063957 | -0.0016029 | 1.2294e-06 | 3.2134e-07 | 0.009565 | 0.0095651 | 0.0095651 | 0.99517 | -0.092647 | 0.99496 | -0.096682 | 2.6278
22 | 0.0095945 | 0.0024046 | -0.0095944 | -0.0024046 | 1.0097e-07 | 4.763e-08 | 0.014347 | 0.014347 | 0.014347 | 0.99508 | -0.094425 | 0.99507 | -0.094646 | 3.9416
23 | 0.22599 | 0.056959 | -0.22584 | -0.056866 | 0.00014567 | 9.252e-05 | 0.338 | 0.338 | 0.338 | 0.99523 | -0.091383 | 0.99453 | -0.10486 | 23.214
24 | -0.018702 | -0.0046871 | 0.018708 | 0.0046907 | 5.9519e-06 | 3.5537e-06 | 0.028188 | 0.028188 | 0.028188 | 0.98726 | -0.24558 | 0.9876 | -0.23891 | 7.7439
25 | 0.027645 | 0.0069363 | -0.027631 | -0.0069272 | 1.4665e-05 | 9.0976e-06 | 0.041656 | 0.041656 | 0.041656 | 0.9876 | -0.23891 | 0.98703 | -0.25004 | 11.4439
26 | -0.046353 | -0.011627 | 0.04636 | 0.011631 | 6.7384e-06 | 4.2654e-06 | 0.069843 | 0.069843 | 0.069843 | 0.9876 | -0.23891 | 0.98776 | -0.23586 | 19.1877
27 | 0.022104 | 0.0055422 | -0.0221 | -0.0055396 | 4.2691e-06 | 2.6012e-06 | 0.033325 | 0.033325 | 0.033325 | 0.98703 | -0.25004 | 0.98682 | -0.25409 | 9.1551
28 | -0.053531 | -0.013428 | 0.053587 | 0.013464 | 5.6498e-05 | 3.5862e-05 | 0.080646 | 0.080646 | 0.080646 | 0.98776 | -0.23586 | 0.98889 | -0.21374 | 22.1556
29 | 0.016195 | 0.0040596 | -0.016192 | -0.0040582 | 2.2985e-06 | 1.3397e-06 | 0.02442 | 0.02442 | 0.02442 | 0.98682 | -0.25409 | 0.98667 | -0.25707 | 6.7088
30 | -0.053587 | -0.013464 | 0.053605 | 0.013476 | 1.7671e-05 | 1.1217e-05 | 0.080646 | 0.080646 | 0.080646 | 0.98889 | -0.21374 | 0.98925 | -0.20684 | 22.1556
31 | 0.0081306 | 0.0020378 | -0.0081301 | -0.0020376 | 4.3218e-07 | 1.787e-07 | 0.012262 | 0.012262 | 0.012262 | 0.98667 | -0.25707 | 0.98661 | -0.25819 | 3.3687
32 | -0.058866 | -0.014794 | 0.058902 | 0.014817 | 3.6212e-05 | 2.3017e-05 | 0.088559 | 0.088559 | 0.088559 | 0.98925 | -0.20684 | 0.98992 | -0.19396 | 24.3295
33 | 0.0040594 | 0.0010174 | -0.0040594 | -0.0010174 | 5.3562e-08 | -1.4379e-08 | 0.0061225 | 0.0061225 | 0.0061225 | 0.98661 | -0.25819 | 0.9866 | -0.25846 | 1.682
34 | 0.019193 | 0.004814 | -0.01919 | -0.0048119 | 3.5977e-06 | 2.1544e-06 | 0.028852 | 0.028852 | 0.028852 | 0.98992 | -0.19396 | 0.98971 | -0.19789 | 7.9264
35 | -0.078095 | -0.019631 | 0.078142 | 0.019661 | 4.7096e-05 | 3.0024e-05 | 0.11741 | 0.11741 | 0.11741 | 0.98992 | -0.19396 | 0.99057 | -0.18134 | 32.2558
36 | 0.033041 | 0.0082958 | -0.033024 | -0.008285 | 1.7235e-05 | 1.0788e-05 | 0.049529 | 0.049529 | 0.049529 | 0.99277 | -0.13898 | 0.9922 | -0.14992 | 13.6069
37 | -0.033041 | -0.0082958 | 0.033053 | 0.0083032 | 1.184e-05 | 7.4109e-06 | 0.049529 | 0.049529 | 0.049529 | 0.99277 | -0.13898 | 0.99316 | -0.13147 | 13.6069
38 | 0.028996 | 0.0072756 | -0.028974 | -0.0072618 | 2.21e-05 | 1.3742e-05 | 0.043489 | 0.043489 | 0.043489 | 0.9922 | -0.14992 | 0.99138 | -0.16592 | 11.9475
39 | -0.039962 | -0.010035 | 0.039987 | 0.01005 | 2.4337e-05 | 1.5341e-05 | 0.059881 | 0.059881 | 0.059881 | 0.99316 | -0.13147 | 0.99382 | -0.11871 | 16.4509
40 | 0.21327 | 0.053715 | -0.21326 | -0.053712 | 5.8827e-06 | 3.7329e-06 | 0.31918 | 0.31918 | 0.31918 | 0.99453 | -0.10486 | 0.9945 | -0.10544 | 21.922
41 | 0.18898 | 0.047627 | -0.18895 | -0.047603 | 3.6899e-05 | 2.336e-05 | 0.28286 | 0.28286 | 0.28286 | 0.9945 | -0.10544 | 0.99429 | -0.10952 | 19.427
42 | 0.17791 | 0.044839 | -0.17784 | -0.044794 | 7.0295e-05 | 4.4441e-05 | 0.26635 | 0.26635 | 0.26635 | 0.99429 | -0.10952 | 0.99386 | -0.11778 | 18.2931
43 | 0.1485 | 0.03744 | -0.14842 | -0.037386 | 8.516e-05 | 5.4265e-05 | 0.22242 | 0.22242 | 0.22242 | 0.99386 | -0.11778 | 0.99324 | -0.12978 | 30.5516
44 | -0.010232 | -0.0025643 | 0.010233 | 0.0025648 | 1.0742e-06 | 5.3092e-07 | 0.015359 | 0.015359 | 0.015359 | 0.99126 | -0.16812 | 0.99138 | -0.16592 | 4.2195
45 | 0.13761 | 0.034677 | -0.1376 | -0.034675 | 3.1968e-06 | 2.0433e-06 | 0.20622 | 0.20622 | 0.20622 | 0.99324 | -0.12978 | 0.99321 | -0.13026 | 56.655
46 | 0.1234 | 0.031116 | -0.12315 | -0.030953 | 0.00025605 | 0.00016361 | 0.18495 | 0.18495 | 0.18495 | 0.99321 | -0.13026 | 0.99096 | -0.17371 | 50.8102
47 | 0.08459 | 0.021289 | -0.084559 | -0.021269 | 3.0817e-05 | 1.9657e-05 | 0.12705 | 0.12705 | 0.12705 | 0.99096 | -0.17371 | 0.99057 | -0.18134 | 34.9039
48 | -0.010531 | -0.0026393 | 0.010532 | 0.0026398 | 1.0253e-06 | 5.1656e-07 | 0.015849 | 0.015849 | 0.015849 | 0.9887 | -0.2175 | 0.98881 | -0.21546 | 4.3542
49 | -0.010532 | -0.0026398 | 0.010536 | 0.0026417 | 3.7248e-06 | 1.8765e-06 | 0.015849 | 0.015849 | 0.015849 | 0.98881 | -0.21546 | 0.98919 | -0.20804 | 4.3541
50 | 0.010541 | 0.0026442 | -0.010536 | -0.0026417 | 5.0957e-06 | 2.5664e-06 | 0.015849 | 0.015849 | 0.015849 | 0.98971 | -0.19789 | 0.98919 | -0.20804 | 4.3541

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45633 | 0.11507

## res_load
| p_mw | q_mvar
0 | 0.014159 | 0.0035485
1 | 0.012246 | 0.0030691
2 | 0.0069908 | 0.001752
3 | 0.008288 | 0.0020772
4 | 0.0094469 | 0.0023676
5 | 0.0084867 | 0.002127
6 | 0.0060816 | 0.0015242
7 | 0.0072678 | 0.0018215
8 | 0.0037234 | 0.00093318
9 | 0.016247 | 0.0040718
10 | 0.0028144 | 0.00070536
11 | 0.0038478 | 0.00096435
12 | 0.0095807 | 0.0024011
13 | 0.017987 | 0.004508
14 | 0.004021 | 0.0010078
15 | 0.0040779 | 0.001022
16 | 0.0093407 | 0.002341
17 | 0.023309 | 0.0058417
18 | 0.018702 | 0.0046871
19 | 0.0055263 | 0.001385
20 | 0.0071711 | 0.0017973
21 | 0.0059053 | 0.00148
22 | 0.0080618 | 0.0020205
23 | 0.0052607 | 0.0013184
24 | 0.0040707 | 0.0010202
25 | 0.0040594 | 0.0010174
26 | 0.0040278 | 0.0010095
27 | 0.0069096 | 0.0017317
28 | 0.012573 | 0.003151
29 | 0.024279 | 0.006085
30 | 0.011032 | 0.0027648
31 | 0.0095944 | 0.0024046
32 | 0.029343 | 0.007354
33 | 0.0063957 | 0.0016029
34 | 0.010232 | 0.0025643
35 | 0.018741 | 0.004697
36 | 0.0028287 | 0.00070893
37 | 0.010807 | 0.0027086
38 | 0.014201 | 0.003559
39 | 0.038558 | 0.0096636
40 | 0.010531 | 0.0026393
41 | 0.0086489 | 0.0021676
42 | 0.0064168 | 0.0016082

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1