## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1706-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1706-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1706-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1706-11_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1706-11_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1706-11_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1706-11_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1706-11_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1706-11_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1706-11_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1706-11_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1706-11_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1706-11_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1706-11_0_2_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1706-11_0_2_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1706-11_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1706-11_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1706-11_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1706-11_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1706-11_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1706-11_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1706-11_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1706-11_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1706-11_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1706-11_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1706-11_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1706-11_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1706-11_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_MV_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1706-11_0_2_load_0 | 0 | 0.00056133 | 0.00014068 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1706-11_0_2_load_1 | 1 | 0.00012638 | 3.1673e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1706-11_0_2_load_4 | 4 | 0.00017171 | 4.3035e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1706-11_0_2_load_5 | 5 | 0.0004273 | 0.00010709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1706-11_0_2_load_6 | 6 | 0.0015919 | 0.00039896 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1706-11_0_2_load_7 | 7 | 0.00013094 | 3.2816e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1706-11_0_2_load_9 | 9 | 0.0016191 | 0.00040579 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1706-11_0_2_load_12 | 11 | 0.0038522 | 0.00096545 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1706-11_0_2_load_10 | 12 | 0.00067784 | 0.00016988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1706-11_0_2_load_26 | 13 | 0.0013311 | 0.0003336 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1706-11_0_2_load_27 | 14 | 0.0015295 | 0.00038334 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1706-11_0_2_load_13 | 15 | 0.0017446 | 0.00043724 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1706-11_0_2_load_14 | 16 | 0.0015959 | 0.00039997 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1706-11_0_2_load_15 | 17 | 0.0011894 | 0.00029809 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1706-11_0_2_load_16 | 18 | 0.00080923 | 0.00020281 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1706-11_0_2_load_17 | 21 | 0.0038987 | 0.00097711 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1706-11_0_2_load_22 | 24 | 0.0045584 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1706-11_0_2_load_23 | 25 | 0.0016143 | 0.00040458 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1706-11_0_2_load_24 | 26 | 0.0016754 | 0.00041989 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1706-11_0_2_load_25 | 27 | 0.00069285 | 0.00017364 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1706-11_0_2_line_0 |  | 0 | 1 | 0.014813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1706-11_0_2_line_1 |  | 0 | 2 | 0.0018198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1706-11_0_2_line_2 |  | 2 | 3 | 0.045209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1706-11_0_2_line_3 |  | 3 | 4 | 0.0036902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1706-11_0_2_line_4 |  | 4 | 5 | 0.017171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1706-11_0_2_line_5 |  | 5 | 6 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1706-11_0_2_line_6 |  | 6 | 7 | 0.060106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1706-11_0_2_line_7 |  | 7 | 8 | 0.34891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1706-11_0_2_line_8 |  | 8 | 9 | 0.34868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1706-11_0_2_line_9 |  | 9 | 10 | 0.012689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1706-11_0_2_line_10 |  | 10 | 11 | 0.019624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1706-11_0_2_line_11 |  | 10 | 12 | 0.40268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1706-11_0_2_line_12 |  | 11 | 13 | 0.033235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1706-11_0_2_line_13 |  | 13 | 14 | 0.026223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1706-11_0_2_line_14 |  | 14 | 24 | 0.0021763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1706-11_0_2_line_15 |  | 15 | 16 | 0.011324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1706-11_0_2_line_16 |  | 15 | 17 | 0.0070208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1706-11_0_2_line_17 |  | 17 | 18 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1706-11_0_2_line_18 |  | 18 | 19 | 0.059694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1706-11_0_2_line_19 |  | 19 | 20 | 0.008116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1706-11_0_2_line_20 |  | 20 | 25 | 0.22769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1706-11_0_2_line_21 |  | 20 | 22 | 0.10651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1706-11_0_2_line_22 |  | 21 | 22 | 0.13835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1706-11_0_2_line_23 |  | 21 | 23 | 0.13075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1706-11_0_2_line_24 |  | 23 | 24 | 0.26902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1706-11_0_2_line_25 |  | 25 | 26 | 0.0039213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1706-11_0_2_line_26 |  | 26 | 27 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1706-11_0_2_trafo_19 | 0.63 MVA 20/0.4 kV | 28 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36
0 | 2690292.5455 | 1217722.8188 | 2690298.0816 | 1217709.0793
1 | 2690291.8654 | 1217724.5068 | 2690292.5455 | 1217722.8188
2 | 2690291.8654 | 1217724.5068 | 2690331.6747 | 1217746.147
3 | 2690331.6747 | 1217746.147 | 2690334.4826 | 1217743.7525
4 | 2690334.4826 | 1217743.7525 | 2690339.912 | 1217739.1226 | 2690346.9071 | 1217731.9261
5 | 2690346.9071 | 1217731.9261 | 2690354.9574 | 1217723.644
6 | 2690354.9574 | 1217723.644 | 2690357.1871 | 1217721.3502 | 2690367.9468 | 1217706.6922 | 2690372.2755 | 1217693.5933 | 2690379.2702 | 1217676.4099 | 2690382.8827 | 1217671.1566
7 | 2690611.2668 | 1217441.9615 | 2690512.8837 | 1217475.2337 | 2690497.2719 | 1217482.8908 | 2690482.6316 | 1217492.5751 | 2690459.0663 | 1217513.5428 | 2690451.0465 | 1217521.7155 | 2690432.53 | 1217541.6926 | 2690423.7059 | 1217556.8357 | 2690415.0629 | 1217582.5666 | 2690404.6138 | 1217627.2497 | 2690398.0943 | 1217646.1303 | 2690391.8464 | 1217658.1215 | 2690382.8827 | 1217671.1566
8 | 2690611.2668 | 1217441.9615 | 2690513.9197 | 1217357.1023 | 2690475.5628 | 1217311.6889 | 2690437.1815 | 1217281.8417 | 2690388.0648 | 1217253.9665 | 2690345.6412 | 1217240.2917 | 2690339.3196 | 1217232.0084
9 | 2690333.8167 | 1217220.9771 | 2690334.6011 | 1217225.8257 | 2690339.3196 | 1217232.0084
10 | 2690333.8167 | 1217220.9771 | 2690336.0362 | 1217211.3042 | 2690334.6006 | 1217203.3326 | 2690334.1686 | 1217201.7924
11 | 2690333.8167 | 1217220.9771 | 2690315.9511 | 1217221.0287 | 2690307.5228 | 1217226.5825 | 2690299.3074 | 1217238.1326 | 2690298.4815 | 1217244.5355 | 2690299.8019 | 1217253.595 | 2690300.4202 | 1217260.8871 | 2690296.8011 | 1217277.7549 | 2690293.613 | 1217285.7232 | 2690288.7084 | 1217290.2297 | 2690237.0759 | 1217310.0946 | 2690222.9937 | 1217312.5053 | 2690217.9933 | 1217314.3197 | 2690215.8819 | 1217318.3794 | 2690217.8608 | 1217323.0681 | 2690223.795 | 1217327.2719 | 2690242.2059 | 1217338.3137 | 2690245.6619 | 1217341.7239 | 2690247.2182 | 1217345.2388 | 2690247.1496 | 1217349.763 | 2690244.1367 | 1217355.6992 | 2690230.7391 | 1217361.0334 | 2690213.3889 | 1217367.186 | 2690199.105 | 1217370.8946 | 2690193.6579 | 1217375.6376 | 2690189.9907 | 1217381.1637 | 2690187.8634 | 1217410.8406 | 2690184.1373 | 1217417.7556 | 2690173.368 | 1217431.035 | 2690172.8285 | 1217437.5868 | 2690176.0053 | 1217443.8836 | 2690183.8145 | 1217456.1212 | 2690183.3101 | 1217460.3498 | 2690179.4766 | 1217462.3265 | 2690175.9831 | 1217461.3952 | 2690166.839 | 1217456.5981 | 2690161.765 | 1217456.0669
12 | 2690334.1686 | 1217201.7924 | 2690332.6054 | 1217196.2197 | 2690333.0483 | 1217189.0438 | 2690335.146 | 1217182.3932 | 2690340.3065 | 1217170.1528
13 | 2690340.3065 | 1217170.1528 | 2690344.8017 | 1217159.4907 | 2690355.5886 | 1217149.5745
14 | 2690355.5886 | 1217149.5745 | 2690357.1907 | 1217148.1017
15 | 2690851.1932 | 1216853.6737 | 2690862.5168 | 1216853.6113
16 | 2690844.1726 | 1216853.7123 | 2690851.1932 | 1216853.6737
17 | 2690844.1726 | 1216853.7123 | 2690832.917 | 1216853.7743
18 | 2690788.7584 | 1216875.3984 | 2690791.7152 | 1216859.2436 | 2690793.7593 | 1216856.1504 | 2690799.4874 | 1216853.9584 | 2690832.917 | 1216853.7743
19 | 2690788.7584 | 1216875.3984 | 2690784.2365 | 1216882.1453
20 | 2690784.2365 | 1216882.1453 | 2690826.6575 | 1216941.91 | 2690895.5645 | 1217073.0832 | 2690898.4613 | 1217078.6039
21 | 2690744.0658 | 1216786.7575 | 2690743.6575 | 1216804.0853 | 2690746.1317 | 1216819.6113 | 2690752.5933 | 1216835.0536 | 2690762.8916 | 1216851.844 | 2690784.2365 | 1216882.1453
22 | 2690744.0658 | 1216786.7575 | 2690731.2735 | 1216792.122 | 2690675.6905 | 1216831.2028 | 2690645.0594 | 1216863.2254 | 2690638.3816 | 1216873.4596
23 | 2690538.5119 | 1216956.4473 | 2690570.2719 | 1216933.0027 | 2690628.7959 | 1216888.1506 | 2690638.3816 | 1216873.4596
24 | 2690538.5119 | 1216956.4473 | 2690473.0578 | 1217004.753 | 2690444.5755 | 1217035.8975 | 2690433.1033 | 1217046.8864 | 2690417.1636 | 1217059.5755 | 2690401.697 | 1217070.615 | 2690392.1074 | 1217081.6327 | 2690386.7643 | 1217090.5021 | 2690380.7129 | 1217102.0182 | 2690365.7533 | 1217137.7046 | 2690360.5555 | 1217145.0085 | 2690357.1907 | 1217148.1017
25 | 2690900.2834 | 1217082.0762 | 2690898.4613 | 1217078.6039
26 | 2690905.1073 | 1217091.2691 | 2690900.5225 | 1217082.5319 | 2690900.2834 | 1217082.0762

## bus_geodata
| x | y | coords
0 | 2690292.5455 | 1217722.8188
1 | 2690298.0816 | 1217709.0793
2 | 2690291.8654 | 1217724.5068
3 | 2690331.6747 | 1217746.147
4 | 2690334.4826 | 1217743.7525
5 | 2690346.9071 | 1217731.9261
6 | 2690354.9574 | 1217723.644
7 | 2690382.8827 | 1217671.1566
8 | 2690611.2668 | 1217441.9615
9 | 2690339.3196 | 1217232.0084
10 | 2690333.8167 | 1217220.9771
11 | 2690334.1686 | 1217201.7924
12 | 2690161.765 | 1217456.0669
13 | 2690340.3065 | 1217170.1528
14 | 2690355.5886 | 1217149.5745
15 | 2690851.1932 | 1216853.6737
16 | 2690862.5168 | 1216853.6113
17 | 2690844.1726 | 1216853.7123
18 | 2690832.917 | 1216853.7743
19 | 2690788.7584 | 1216875.3984
20 | 2690784.2365 | 1216882.1453
21 | 2690638.3816 | 1216873.4596
22 | 2690744.0658 | 1216786.7575
23 | 2690538.5119 | 1216956.4473
24 | 2690357.1907 | 1217148.1017
25 | 2690898.4613 | 1217078.6039
26 | 2690900.2834 | 1217082.0762
27 | 2690905.1073 | 1217091.2691
28 | 2690538.5119 | 1216956.4473

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99311 | -0.13328 | 0.00056133 | 0.00014068
1 | 0.99311 | -0.13332 | 0.00012638 | 3.1673e-05
2 | 0.99311 | -0.13326 | 0 | 0
3 | 0.99314 | -0.13271 | 0 | 0
4 | 0.99314 | -0.13266 | 0.00017171 | 4.3035e-05
5 | 0.99315 | -0.1324 | 0.0004273 | 0.00010709
6 | 0.99317 | -0.13214 | 0.0015919 | 0.00039896
7 | 0.99332 | -0.12908 | 0.00013094 | 3.2816e-05
8 | 0.99428 | -0.11048 | 0 | 0
9 | 0.99524 | -0.091861 | 0.0016191 | 0.00040579
10 | 0.99529 | -0.090821 | 0 | 0
11 | 0.99539 | -0.088974 | 0.0038522 | 0.00096545
12 | 0.99504 | -0.095672 | 0.00067784 | 0.00016988
13 | 0.99566 | -0.083596 | 0.0013311 | 0.0003336
14 | 0.99591 | -0.07874 | 0.0015295 | 0.00038334
15 | 0.99595 | -0.077952 | 0.0017446 | 0.00043724
16 | 0.99594 | -0.07827 | 0.0015959 | 0.00039997
17 | 0.99597 | -0.07754 | 0.0011894 | 0.00029809
18 | 0.99602 | -0.076644 | 0.00080923 | 0.00020281
19 | 0.99631 | -0.071044 | 0 | 0
20 | 0.99635 | -0.070283 | 0 | 0
21 | 0.99843 | -0.030225 | 0.0038987 | 0.00097711
22 | 0.99725 | -0.052843 | 0 | 0
23 | 1 | 0 | -0.031563 | -0.0075118
24 | 0.99594 | -0.078279 | 0.0045584 | 0.0011424
25 | 0.99552 | -0.086234 | 0.0016143 | 0.00040458
26 | 0.99552 | -0.086398 | 0.0016754 | 0.00041989
27 | 0.99551 | -0.086524 | 0.00069285 | 0.00017364
28 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00012638 | 3.1482e-05 | -0.00012638 | -3.1673e-05 | 1.991e-10 | -1.9154e-07 | 0.00018929 | 0.00018936 | 0.00018936 | 0.99311 | -0.13328 | 0.99311 | -0.13332 | 0.052021
1 | -0.00068771 | -0.00017216 | 0.00068771 | 0.00017214 | 7.2446e-10 | -2.3083e-08 | 0.0010304 | 0.0010303 | 0.0010304 | 0.99311 | -0.13328 | 0.99311 | -0.13326 | 0.28306
2 | -0.00068771 | -0.00017214 | 0.00068772 | 0.00017157 | 1.7994e-08 | -5.7346e-07 | 0.0010303 | 0.0010301 | 0.0010303 | 0.99311 | -0.13326 | 0.99314 | -0.13271 | 0.28306
3 | -0.00068772 | -0.00017157 | 0.00068773 | 0.00017152 | 1.4685e-09 | -4.6811e-08 | 0.0010301 | 0.0010301 | 0.0010301 | 0.99314 | -0.13271 | 0.99314 | -0.13266 | 0.283
4 | -0.00085944 | -0.00021455 | 0.00085945 | 0.00021434 | 1.0672e-08 | -2.1537e-07 | 0.0012874 | 0.0012873 | 0.0012874 | 0.99314 | -0.13266 | 0.99315 | -0.1324 | 0.35368
5 | -0.0012867 | -0.00032143 | 0.0012868 | 0.00032129 | 1.6092e-08 | -1.3916e-07 | 0.0019275 | 0.0019275 | 0.0019275 | 0.99315 | -0.1324 | 0.99317 | -0.13214 | 0.52954
6 | -0.0028786 | -0.00072025 | 0.002879 | 0.00071974 | 4.1915e-07 | -5.0967e-07 | 0.0043125 | 0.0043122 | 0.0043125 | 0.99317 | -0.13214 | 0.99332 | -0.12908 | 1.1847
7 | -0.00301 | -0.00075255 | 0.0030126 | 0.00074973 | 2.6584e-06 | -2.8195e-06 | 0.0045083 | 0.0045067 | 0.0045083 | 0.99332 | -0.12908 | 0.99428 | -0.11048 | 1.2386
8 | -0.0030126 | -0.00074973 | 0.0030153 | 0.0007469 | 2.6548e-06 | -2.8275e-06 | 0.0045067 | 0.0045052 | 0.0045067 | 0.99428 | -0.11048 | 0.99524 | -0.091861 | 1.2381
9 | -0.0046344 | -0.0011527 | 0.0046346 | 0.0011527 | 2.2826e-07 | -1.8816e-08 | 0.006926 | 0.0069259 | 0.006926 | 0.99524 | -0.091861 | 0.99529 | -0.090821 | 1.9027
10 | -0.0053126 | -0.0013174 | 0.0053131 | 0.0013175 | 4.6367e-07 | 4.169e-08 | 0.0079378 | 0.0079377 | 0.0079378 | 0.99529 | -0.090821 | 0.99539 | -0.088974 | 2.1807
11 | 0.000678 | 0.00016475 | -0.00067784 | -0.00016988 | 1.5488e-07 | -5.1328e-06 | 0.0010118 | 0.0010137 | 0.0010137 | 0.99529 | -0.090821 | 0.99504 | -0.095672 | 0.27848
12 | -0.0091653 | -0.0022829 | 0.0091676 | 0.002284 | 2.3379e-06 | 1.0641e-06 | 0.013696 | 0.013696 | 0.013696 | 0.99539 | -0.088974 | 0.99566 | -0.083596 | 3.7627
13 | -0.010499 | -0.0026176 | 0.010501 | 0.0026188 | 2.4194e-06 | 1.2073e-06 | 0.015685 | 0.015685 | 0.015685 | 0.99566 | -0.083596 | 0.99591 | -0.07874 | 4.3092
14 | -0.012031 | -0.0030021 | 0.012031 | 0.0030023 | 2.6355e-07 | 1.4036e-07 | 0.017971 | 0.017971 | 0.017971 | 0.99591 | -0.07874 | 0.99594 | -0.078279 | 4.937
15 | 0.0015959 | 0.00039984 | -0.0015959 | -0.00039997 | 2.4142e-08 | -1.3191e-07 | 0.0023843 | 0.0023844 | 0.0023844 | 0.99595 | -0.077952 | 0.99594 | -0.07827 | 0.65505
16 | -0.0033405 | -0.00083708 | 0.0033406 | 0.00083703 | 6.5581e-08 | -4.9394e-08 | 0.0049909 | 0.0049909 | 0.0049909 | 0.99595 | -0.077952 | 0.99597 | -0.07754 | 1.3711
17 | -0.00453 | -0.0011351 | 0.0045302 | 0.0011351 | 1.9333e-07 | -2.2754e-08 | 0.0067679 | 0.0067678 | 0.0067679 | 0.99597 | -0.07754 | 0.99602 | -0.076644 | 1.8593
18 | -0.0053394 | -0.0013379 | 0.0053408 | 0.001338 | 1.4243e-06 | 1.344e-07 | 0.0079768 | 0.0079765 | 0.0079768 | 0.99602 | -0.076644 | 0.99631 | -0.071044 | 2.1914
19 | -0.0053408 | -0.001338 | 0.005341 | 0.0013381 | 1.9364e-07 | 1.8234e-08 | 0.0079765 | 0.0079765 | 0.0079765 | 0.99631 | -0.071044 | 0.99635 | -0.070283 | 2.1913
20 | 0.0039856 | 0.00099692 | -0.0039826 | -0.00099794 | 3.0251e-06 | -1.0269e-06 | 0.0059516 | 0.0059527 | 0.0059527 | 0.99635 | -0.070283 | 0.99552 | -0.086234 | 1.6354
21 | -0.0093266 | -0.002335 | 0.0093344 | 0.0023385 | 7.7479e-06 | 3.5702e-06 | 0.013928 | 0.013928 | 0.013928 | 0.99635 | -0.070283 | 0.99725 | -0.052843 | 3.8264
22 | 0.0093444 | 0.0023432 | -0.0093344 | -0.0023385 | 1.0064e-05 | 4.6334e-06 | 0.013927 | 0.013928 | 0.013928 | 0.99843 | -0.030225 | 0.99725 | -0.052843 | 3.8263
23 | -0.013243 | -0.0033203 | 0.013262 | 0.0033308 | 1.9101e-05 | 1.0512e-05 | 0.019737 | 0.019737 | 0.019737 | 0.99843 | -0.030225 | 1 | 0 | 5.4224
24 | 0.016651 | 0.0041808 | -0.016589 | -0.0041447 | 6.1949e-05 | 3.6132e-05 | 0.02478 | 0.024781 | 0.024781 | 1 | 0 | 0.99594 | -0.078279 | 6.808
25 | 0.0023683 | 0.00059336 | -0.0023682 | -0.0005934 | 1.8425e-08 | -3.9192e-08 | 0.0035398 | 0.0035398 | 0.0035398 | 0.99552 | -0.086234 | 0.99552 | -0.086398 | 0.97247
26 | 0.00069285 | 0.00017351 | -0.00069285 | -0.00017364 | 4.1752e-09 | -1.3231e-07 | 0.0010356 | 0.0010356 | 0.0010356 | 0.99552 | -0.086398 | 0.99551 | -0.086524 | 0.28451

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.031563 | 0.0075118

## res_load
| p_mw | q_mvar
0 | 0.00056133 | 0.00014068
1 | 0.00012638 | 3.1673e-05
2 | 0.00017171 | 4.3035e-05
3 | 0.0004273 | 0.00010709
4 | 0.0015919 | 0.00039896
5 | 0.00013094 | 3.2816e-05
6 | 0.0016191 | 0.00040579
7 | 0.0038522 | 0.00096545
8 | 0.00067784 | 0.00016988
9 | 0.0013311 | 0.0003336
10 | 0.0015295 | 0.00038334
11 | 0.0017446 | 0.00043724
12 | 0.0015959 | 0.00039997
13 | 0.0011894 | 0.00029809
14 | 0.00080923 | 0.00020281
15 | 0.0038987 | 0.00097711
16 | 0.0045584 | 0.0011424
17 | 0.0016143 | 0.00040458
18 | 0.0016754 | 0.00041989
19 | 0.00069285 | 0.00017364

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1