## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1706-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1706-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1706-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1706-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1706-4_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1706-4_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1706-4_0_3_node_123 | 0.4 | n |  | TRUE
7 | bus_LV_1706-4_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1706-4_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1706-4_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1706-4_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1706-4_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1706-4_0_3_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_1706-4_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1706-4_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1706-4_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1706-4_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1706-4_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1706-4_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1706-4_0_3_node_117 | 0.4 | n |  | TRUE
20 | bus_LV_1706-4_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1706-4_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1706-4_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1706-4_0_3_node_120 | 0.4 | n |  | TRUE
24 | bus_LV_1706-4_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1706-4_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1706-4_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1706-4_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1706-4_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1706-4_0_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_1706-4_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1706-4_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1706-4_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1706-4_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1706-4_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1706-4_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1706-4_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1706-4_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1706-4_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1706-4_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1706-4_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1706-4_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1706-4_0_3_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_1706-4_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1706-4_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1706-4_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1706-4_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1706-4_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1706-4_0_3_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_1706-4_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1706-4_0_3_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_1706-4_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_1706-4_0_3_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_1706-4_0_3_node_119 | 0.4 | n |  | TRUE
54 | bus_LV_1706-4_0_3_node_121 | 0.4 | n |  | TRUE
55 | bus_LV_1706-4_0_3_node_122 | 0.4 | n |  | TRUE
56 | bus_MV_25_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1706-4_0_3_load_0 | 0 | 0.0063676 | 0.0015959 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1706-4_0_3_load_1 | 1 | 0.0050025 | 0.0012538 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1706-4_0_3_load_3 | 3 | 0.0023067 | 0.00057811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1706-4_0_3_load_5 | 4 | 0.011596 | 0.0029063 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1706-4_0_3_load_15 | 5 | 0.014639 | 0.0036688 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1706-4_0_3_load_123 | 6 | 0.0067684 | 0.0016963 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1706-4_0_3_load_6 | 7 | 0.0025654 | 0.00064295 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1706-4_0_3_load_7 | 8 | 0.00065783 | 0.00016487 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1706-4_0_3_load_8 | 9 | 0.00069475 | 0.00017412 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1706-4_0_3_load_9 | 10 | 0.00069964 | 0.00017535 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1706-4_0_3_load_10 | 11 | 0.0020676 | 0.00051818 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1706-4_0_3_load_32 | 12 | 0.0012399 | 0.00031074 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1706-4_0_3_load_11 | 14 | 0.0012403 | 0.00031084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1706-4_0_3_load_12 | 15 | 0.0013034 | 0.00032666 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1706-4_0_3_load_13 | 16 | 0.0013037 | 0.00032675 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1706-4_0_3_load_19 | 18 | 0.034355 | 0.0086101 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1706-4_0_3_load_117 | 19 | 0.023046 | 0.005776 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1706-4_0_3_load_17 | 20 | 0.0016025 | 0.00040162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1706-4_0_3_load_18 | 21 | 0.017968 | 0.0045031 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1706-4_0_3_load_27 | 22 | 0.0016011 | 0.00040128 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1706-4_0_3_load_120 | 23 | 0.0046281 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1706-4_0_3_load_20 | 24 | 0.046657 | 0.011693 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1706-4_0_3_load_29 | 25 | 0.003624 | 0.00090827 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1706-4_0_3_load_22 | 26 | 0.00065747 | 0.00016478 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1706-4_0_3_load_23 | 27 | 0.0015725 | 0.00039411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1706-4_0_3_load_25 | 28 | 0.009295 | 0.0023295 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1706-4_0_3_load_44 | 29 | 0.0016325 | 0.00040915 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1706-4_0_3_load_24 | 30 | 0.0016021 | 0.00040153 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1706-4_0_3_load_28 | 32 | 0.0029355 | 0.00073571 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1706-4_0_3_load_40 | 33 | 0.0073784 | 0.0018492 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1706-4_0_3_load_30 | 34 | 0.0015852 | 0.00039728 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1706-4_0_3_load_31 | 35 | 0.0020869 | 0.00052304 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1706-4_0_3_load_33 | 36 | 0.0018285 | 0.00045827 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1706-4_0_3_load_34 | 37 | 0.0020841 | 0.00052231 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1706-4_0_3_load_35 | 38 | 0.0034258 | 0.00085859 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1706-4_0_3_load_36 | 39 | 0.0031366 | 0.0007861 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1706-4_0_3_load_37 | 40 | 0.0021384 | 0.00053593 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1706-4_0_3_load_38 | 41 | 0.0051439 | 0.0012892 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1706-4_0_3_load_83 | 42 | 0.0035186 | 0.00088184 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1706-4_0_3_load_42 | 43 | 0.003605 | 0.00090351 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1706-4_0_3_load_39 | 44 | 0.009449 | 0.0023681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1706-4_0_3_load_43 | 46 | 0.011036 | 0.002766 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1706-4_0_3_load_45 | 47 | 0.0031308 | 0.00078466 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1706-4_0_3_load_118 | 48 | 0.014504 | 0.003635 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1706-4_0_3_load_46 | 49 | 0.0022031 | 0.00055214 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1706-4_0_3_load_70 | 50 | 0.0058899 | 0.0014761 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1706-4_0_3_load_82 | 51 | 0.0040073 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1706-4_0_3_load_84 | 52 | 0.0033494 | 0.00083944 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1706-4_0_3_load_119 | 53 | 0.037599 | 0.0094232 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1706-4_0_3_load_121 | 54 | 0.0046547 | 0.0011666 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1706-4_0_3_line_0 |  | 0 | 1 | 0.021076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1706-4_0_3_line_1 |  | 0 | 2 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1706-4_0_3_line_2 |  | 1 | 3 | 0.0023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1706-4_0_3_line_3 |  | 2 | 4 | 0.045873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1706-4_0_3_line_4 |  | 3 | 5 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1706-4_0_3_line_5 |  | 4 | 6 | 0.0083788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1706-4_0_3_line_6 |  | 5 | 18 | 0.013083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1706-4_0_3_line_7 |  | 5 | 19 | 0.051389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1706-4_0_3_line_8 |  | 6 | 55 | 0.012195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1706-4_0_3_line_9 |  | 7 | 8 | 0.0059088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1706-4_0_3_line_10 |  | 7 | 9 | 0.022662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1706-4_0_3_line_11 |  | 8 | 10 | 0.0041488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1706-4_0_3_line_12 |  | 9 | 11 | 0.012335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1706-4_0_3_line_13 |  | 10 | 12 | 0.012802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1706-4_0_3_line_14 |  | 11 | 13 | 0.010864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1706-4_0_3_line_15 |  | 13 | 26 | 0.012549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1706-4_0_3_line_16 |  | 13 | 27 | 0.043517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1706-4_0_3_line_17 |  | 14 | 15 | 0.015473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1706-4_0_3_line_18 |  | 15 | 16 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1706-4_0_3_line_19 |  | 16 | 17 | 0.026991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1706-4_0_3_line_20 |  | 17 | 20 | 0.014507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1706-4_0_3_line_21 |  | 17 | 21 | 0.007866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1706-4_0_3_line_22 |  | 18 | 24 | 0.056009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1706-4_0_3_line_23 |  | 20 | 22 | 0.050115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1706-4_0_3_line_24 |  | 21 | 23 | 0.050136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1706-4_0_3_line_25 |  | 22 | 31 | 0.003323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1706-4_0_3_line_26 |  | 23 | 54 | 0.037094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1706-4_0_3_line_27 |  | 24 | 25 | 0.13601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1706-4_0_3_line_28 |  | 25 | 34 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1706-4_0_3_line_29 |  | 26 | 28 | 0.037645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1706-4_0_3_line_30 |  | 27 | 29 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1706-4_0_3_line_31 |  | 28 | 30 | 0.019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1706-4_0_3_line_32 |  | 30 | 31 | 0.0083915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1706-4_0_3_line_33 |  | 31 | 32 | 0.055096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1706-4_0_3_line_34 |  | 32 | 33 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1706-4_0_3_line_35 |  | 33 | 45 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1706-4_0_3_line_36 |  | 34 | 35 | 0.0025568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1706-4_0_3_line_37 |  | 36 | 37 | 0.00061735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1706-4_0_3_line_38 |  | 36 | 38 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1706-4_0_3_line_39 |  | 37 | 39 | 0.021349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1706-4_0_3_line_40 |  | 38 | 40 | 0.0020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1706-4_0_3_line_41 |  | 39 | 41 | 0.013391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1706-4_0_3_line_42 |  | 39 | 42 | 0.090009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1706-4_0_3_line_43 |  | 40 | 43 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1706-4_0_3_line_44 |  | 41 | 44 | 0.029393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1706-4_0_3_line_45 |  | 42 | 50 | 0.067938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1706-4_0_3_line_46 |  | 42 | 51 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1706-4_0_3_line_47 |  | 43 | 47 | 0.00076751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1706-4_0_3_line_48 |  | 44 | 45 | 0.032369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1706-4_0_3_line_49 |  | 45 | 46 | 0.034175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1706-4_0_3_line_50 |  | 46 | 48 | 0.0012568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1706-4_0_3_line_51 |  | 47 | 49 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1706-4_0_3_line_52 |  | 48 | 53 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1706-4_0_3_line_53 |  | 51 | 52 | 0.021551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1706-4_0_3_line_54 |  | 54 | 55 | 0.0070592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1706-4_0_3_trafo_119 | 0.63 MVA 20/0.4 kV | 56 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2689863.4398 | 1220834.9478 | 2689863.4398 | 1220834.9478 | 2689865.385 | 1220837.7791 | 2689868.4546 | 1220839.5155 | 2689875.2628 | 1220839.8851 | 2689882.4249 | 1220838.4953
1 | 2689855.4081 | 1220816.1026 | 2689860.2372 | 1220828.9509 | 2689863.4398 | 1220834.9478
2 | 2689884.7607 | 1220838.0421 | 2689882.4249 | 1220838.4953
3 | 2689855.4081 | 1220816.1026 | 2689832.8637 | 1220824.724 | 2689812.7219 | 1220832.8946
4 | 2689884.7607 | 1220838.0421 | 2689886.5333 | 1220837.6981 | 2689906.331 | 1220832.4615
5 | 2689812.7219 | 1220832.8946 | 2689811.6169 | 1220833.3429 | 2689804.9399 | 1220836.0002
6 | 2689919.2112 | 1220830.9025 | 2689912.2218 | 1220830.9034 | 2689906.331 | 1220832.4615
7 | 2689906.331 | 1220832.4615 | 2689917.4195 | 1220882.6396
8 | 2689793.6093 | 1220840.5097 | 2689804.9399 | 1220836.0002
9 | 2689530.0966 | 1220964.7253 | 2689524.3377 | 1220966.0478
10 | 2689530.0966 | 1220964.7253 | 2689552.1838 | 1220959.6528
11 | 2689524.3377 | 1220966.0478 | 2689520.2941 | 1220966.9765
12 | 2689552.1838 | 1220959.6528 | 2689564.206 | 1220956.8918
13 | 2689507.8166 | 1220969.842 | 2689520.2941 | 1220966.9765
14 | 2689574.7941 | 1220954.4601 | 2689564.206 | 1220956.8918
15 | 2689574.7941 | 1220954.4601 | 2689586.9688 | 1220951.4182
16 | 2689574.7941 | 1220954.4601 | 2689577.331 | 1220965.8839 | 2689574.1517 | 1220973.9527 | 2689563.2926 | 1220994.3891
17 | 2689749.2892 | 1220852.799 | 2689735.7689 | 1220860.3231
18 | 2689718.8098 | 1220869.7608 | 2689735.7689 | 1220860.3231
19 | 2689703.3989 | 1220887.8163 | 2689702.9174 | 1220879.4922 | 2689710.1772 | 1220874.5649 | 2689718.8098 | 1220869.7608
20 | 2689703.3989 | 1220887.8163 | 2689691.354 | 1220895.9008
21 | 2689703.3989 | 1220887.8163 | 2689710.0127 | 1220883.5581
22 | 2689919.2112 | 1220830.9025 | 2689937.7623 | 1220830.9 | 2689948.925 | 1220832.8366 | 2689971.1287 | 1220829.1916 | 2689974.7426 | 1220828.8772
23 | 2689649.7425 | 1220923.83 | 2689691.354 | 1220895.9008
24 | 2689753.1557 | 1220858.1897 | 2689738.6827 | 1220865.0988 | 2689710.0127 | 1220883.5581
25 | 2689646.9834 | 1220925.6819 | 2689649.7425 | 1220923.83
26 | 2689753.1557 | 1220858.1897 | 2689759.8836 | 1220854.978 | 2689787.1219 | 1220843.2928
27 | 2689974.7426 | 1220828.8772 | 2690079.0921 | 1220741.6409
28 | 2690099.4224 | 1220729.1692 | 2690079.0921 | 1220741.6409
29 | 2689586.9688 | 1220951.4182 | 2689597.7951 | 1220948.7132 | 2689621.2677 | 1220939.8714 | 2689622.4964 | 1220939.1934
30 | 2689556.4949 | 1221007.1821 | 2689563.2926 | 1220994.3891
31 | 2689622.4964 | 1220939.1934 | 2689639.6361 | 1220929.736
32 | 2689646.9834 | 1220925.6819 | 2689639.6361 | 1220929.736
33 | 2689646.9834 | 1220925.6819 | 2689655.4673 | 1220935.6943 | 2689669.354 | 1220947.6893 | 2689681.8977 | 1220953.1375 | 2689691.7485 | 1220954.5158
34 | 2689691.7485 | 1220954.5158 | 2689697.2151 | 1220955.2807 | 2689709.0511 | 1220954.8253
35 | 2689723.3273 | 1220951.538 | 2689709.0511 | 1220954.8253 | 2689709.0511 | 1220954.8253
36 | 2690099.4224 | 1220729.1692 | 2690101.6018 | 1220727.8322
37 | 2689664.6758 | 1220989.1962 | 2689664.0595 | 1220989.2312
38 | 2689664.0595 | 1220989.2312 | 2689655.4503 | 1220989.72 | 2689643.5885 | 1220991.8778
39 | 2689685.9909 | 1220987.9861 | 2689664.6758 | 1220989.1962
40 | 2689643.5885 | 1220991.8778 | 2689641.5914 | 1220992.2411
41 | 2689685.9909 | 1220987.9861 | 2689688.7274 | 1220987.8308 | 2689699.3009 | 1220986.5558 | 2689699.3009 | 1220986.5558
42 | 2689680.7103 | 1221077.8401 | 2689685.9909 | 1220987.9861
43 | 2689614.5385 | 1221000.7908 | 2689634.4511 | 1220993.5399 | 2689641.5914 | 1220992.2411
44 | 2689725.6848 | 1220974.0899 | 2689724.5726 | 1220975.1397 | 2689711.028 | 1220982.7409 | 2689699.3009 | 1220986.5558
45 | 2689748.547 | 1221074.1254 | 2689680.7103 | 1221077.8401
46 | 2689671.2228 | 1221088.2104 | 2689673.224 | 1221086.6764 | 2689680.7103 | 1221077.8401
47 | 2689614.5385 | 1221000.7908 | 2689613.8174 | 1221001.0534
48 | 2689723.3273 | 1220951.538 | 2689729.0751 | 1220951.7803 | 2689732.6917 | 1220955.9821 | 2689733.6941 | 1220963.4802 | 2689730.8919 | 1220969.1752 | 2689725.6848 | 1220974.0899
49 | 2689723.3273 | 1220951.538 | 2689730.143 | 1220948.383 | 2689750.2608 | 1220948.6863 | 2689755.5745 | 1220944.8661
50 | 2689755.5745 | 1220944.8661 | 2689756.5949 | 1220944.1325
51 | 2689601.533 | 1221013.9253 | 2689603.232 | 1221007.4131 | 2689607.1227 | 1221003.4912 | 2689613.8174 | 1221001.0534
52 | 2689770.0744 | 1220934.4417 | 2689756.5949 | 1220944.1325
53 | 2689671.2228 | 1221088.2104 | 2689654.1184 | 1221101.3211
54 | 2689793.6093 | 1220840.5097 | 2689787.1219 | 1220843.2928

## bus_geodata
| x | y | coords
0 | 2689863.4398 | 1220834.9478
1 | 2689882.4249 | 1220838.4953
2 | 2689855.4081 | 1220816.1026
3 | 2689884.7607 | 1220838.0421
4 | 2689812.7219 | 1220832.8946
5 | 2689906.331 | 1220832.4615
6 | 2689804.9399 | 1220836.0002
7 | 2689530.0966 | 1220964.7253
8 | 2689524.3377 | 1220966.0478
9 | 2689552.1838 | 1220959.6528
10 | 2689520.2941 | 1220966.9765
11 | 2689564.206 | 1220956.8918
12 | 2689507.8166 | 1220969.842
13 | 2689574.7941 | 1220954.4601
14 | 2689749.2892 | 1220852.799
15 | 2689735.7689 | 1220860.3231
16 | 2689718.8098 | 1220869.7608
17 | 2689703.3989 | 1220887.8163
18 | 2689919.2112 | 1220830.9025
19 | 2689917.4195 | 1220882.6396
20 | 2689691.354 | 1220895.9008
21 | 2689710.0127 | 1220883.5581
22 | 2689649.7425 | 1220923.83
23 | 2689753.1557 | 1220858.1897
24 | 2689974.7426 | 1220828.8772
25 | 2690079.0921 | 1220741.6409
26 | 2689586.9688 | 1220951.4182
27 | 2689563.2926 | 1220994.3891
28 | 2689622.4964 | 1220939.1934
29 | 2689556.4949 | 1221007.1821
30 | 2689639.6361 | 1220929.736
31 | 2689646.9834 | 1220925.6819
32 | 2689691.7485 | 1220954.5158
33 | 2689709.0511 | 1220954.8253
34 | 2690099.4224 | 1220729.1692
35 | 2690101.6018 | 1220727.8322
36 | 2689664.0595 | 1220989.2312
37 | 2689664.6758 | 1220989.1962
38 | 2689643.5885 | 1220991.8778
39 | 2689685.9909 | 1220987.9861
40 | 2689641.5914 | 1220992.2411
41 | 2689699.3009 | 1220986.5558
42 | 2689680.7103 | 1221077.8401
43 | 2689614.5385 | 1221000.7908
44 | 2689725.6848 | 1220974.0899
45 | 2689723.3273 | 1220951.538
46 | 2689755.5745 | 1220944.8661
47 | 2689613.8174 | 1221001.0534
48 | 2689756.5949 | 1220944.1325
49 | 2689601.533 | 1221013.9253
50 | 2689748.547 | 1221074.1254
51 | 2689671.2228 | 1221088.2104
52 | 2689654.1184 | 1221101.3211
53 | 2689770.0744 | 1220934.4417
54 | 2689787.1219 | 1220843.2928
55 | 2689793.6093 | 1220840.5097
56 | 2689723.3273 | 1220951.538

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97638 | -0.45382 | 0.0063676 | 0.0015959
1 | 0.97551 | -0.47096 | 0.0050025 | 0.0012538
2 | 0.97727 | -0.43637 | 0 | 0
3 | 0.97541 | -0.47283 | 0.0023067 | 0.00057811
4 | 0.97926 | -0.39747 | 0.011596 | 0.0029063
5 | 0.97454 | -0.48999 | 0.014639 | 0.0036688
6 | 0.97965 | -0.38979 | 0.0067684 | 0.0016963
7 | 0.9882 | -0.22484 | 0.0025654 | 0.00064295
8 | 0.98818 | -0.22512 | 0.00065783 | 0.00016487
9 | 0.9883 | -0.22276 | 0.00069475 | 0.00017412
10 | 0.98817 | -0.22526 | 0.00069964 | 0.00017535
11 | 0.98837 | -0.22147 | 0.0020676 | 0.00051818
12 | 0.98816 | -0.22555 | 0.0012399 | 0.00031074
13 | 0.98845 | -0.21993 | 0 | 0
14 | 0.98537 | -0.27899 | 0.0012403 | 0.00031084
15 | 0.98538 | -0.27865 | 0.0013034 | 0.00032666
16 | 0.98543 | -0.27776 | 0.0013037 | 0.00032675
17 | 0.98552 | -0.27589 | 0 | 0
18 | 0.97418 | -0.49706 | 0.034355 | 0.0086101
19 | 0.97344 | -0.51175 | 0.023046 | 0.005776
20 | 0.98637 | -0.25949 | 0.0016025 | 0.00040162
21 | 0.98507 | -0.28462 | 0.017968 | 0.0045031
22 | 0.98934 | -0.20257 | 0.0016011 | 0.00040128
23 | 0.98247 | -0.33499 | 0.0046281 | 0.0011599
24 | 0.97277 | -0.52485 | 0.046657 | 0.011693
25 | 0.97185 | -0.54316 | 0.003624 | 0.00090827
26 | 0.98858 | -0.21744 | 0.00065747 | 0.00016478
27 | 0.98832 | -0.22242 | 0.0015725 | 0.00039411
28 | 0.98898 | -0.20952 | 0.009295 | 0.0023295
29 | 0.9883 | -0.22284 | 0.0016325 | 0.00040915
30 | 0.98936 | -0.20217 | 0.0016021 | 0.00040153
31 | 0.98954 | -0.19878 | 0 | 0
32 | 0.9932 | -0.12873 | 0.0029355 | 0.00073571
33 | 0.99438 | -0.10646 | 0.0073784 | 0.0018492
34 | 0.97177 | -0.54477 | 0.0015852 | 0.00039728
35 | 0.97176 | -0.54487 | 0.0020869 | 0.00052304
36 | 0.99183 | -0.15606 | 0.0018285 | 0.00045827
37 | 0.99184 | -0.15588 | 0.0020841 | 0.00052231
38 | 0.99155 | -0.16138 | 0.0034258 | 0.00085859
39 | 0.99219 | -0.14892 | 0.0031366 | 0.0007861
40 | 0.99153 | -0.16178 | 0.0021384 | 0.00053593
41 | 0.99266 | -0.13984 | 0.0051439 | 0.0012892
42 | 0.99081 | -0.17568 | 0.0035186 | 0.00088184
43 | 0.9913 | -0.16629 | 0.003605 | 0.00090351
44 | 0.99383 | -0.11726 | 0.009449 | 0.0023681
45 | 0.9954 | -0.087081 | 0 | 0
46 | 0.99833 | -0.031473 | 0.011036 | 0.002766
47 | 0.99129 | -0.16636 | 0.0031308 | 0.00078466
48 | 0.99845 | -0.029353 | 0.014504 | 0.003635
49 | 0.99126 | -0.16712 | 0.0022031 | 0.00055214
50 | 0.99045 | -0.18279 | 0.0058899 | 0.0014761
51 | 0.99072 | -0.17752 | 0.0040073 | 0.0010043
52 | 0.99065 | -0.1788 | 0.0033494 | 0.00083944
53 | 1 | 0 | -0.31047 | -0.079331
54 | 0.9806 | -0.37138 | 0.0046547 | 0.0011666
55 | 0.98025 | -0.37813 | 0 | 0
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.13366 | 0.03363 | -0.13355 | -0.033561 | 0.00010936 | 6.9201e-05 | 0.20374 | 0.20374 | 0.20374 | 0.97638 | -0.45382 | 0.97551 | -0.47096 | 18.658
1 | -0.14003 | -0.035226 | 0.14014 | 0.0353 | 0.00011689 | 7.4037e-05 | 0.21345 | 0.21345 | 0.21345 | 0.97638 | -0.45382 | 0.97727 | -0.43637 | 19.5466
2 | 0.12855 | 0.032307 | -0.12853 | -0.0323 | 1.1439e-05 | 7.2318e-06 | 0.19611 | 0.19611 | 0.19611 | 0.97551 | -0.47096 | 0.97541 | -0.47283 | 17.9592
3 | -0.14014 | -0.0353 | 0.1404 | 0.035466 | 0.00026125 | 0.00016547 | 0.21345 | 0.21345 | 0.21345 | 0.97727 | -0.43637 | 0.97926 | -0.39747 | 19.5466
4 | 0.12623 | 0.031722 | -0.12612 | -0.031657 | 0.00010332 | 6.5294e-05 | 0.1926 | 0.1926 | 0.1926 | 0.97541 | -0.47283 | 0.97454 | -0.48999 | 17.637
5 | -0.152 | -0.038372 | 0.15206 | 0.038407 | 5.5921e-05 | 3.5473e-05 | 0.23107 | 0.23107 | 0.23107 | 0.97926 | -0.39747 | 0.97965 | -0.38979 | 21.1601
6 | 0.088416 | 0.022197 | -0.088386 | -0.022179 | 2.9811e-05 | 1.859e-05 | 0.13502 | 0.13502 | 0.13502 | 0.97454 | -0.48999 | 0.97418 | -0.49706 | 12.364
7 | 0.02307 | 0.0057907 | -0.023046 | -0.005776 | 2.3917e-05 | 1.4667e-05 | 0.035229 | 0.035229 | 0.035229 | 0.97454 | -0.48999 | 0.97344 | -0.51175 | 9.6784
8 | -0.15882 | -0.040104 | 0.15891 | 0.04016 | 8.8794e-05 | 5.6367e-05 | 0.24135 | 0.24135 | 0.24135 | 0.97965 | -0.38979 | 0.98025 | -0.37813 | 22.1016
9 | 0.0025974 | 0.0006507 | -0.0025974 | -0.00065075 | 3.3893e-08 | -5.4007e-08 | 0.003911 | 0.0039111 | 0.0039111 | 0.9882 | -0.22484 | 0.98818 | -0.22512 | 1.0745
10 | -0.0051628 | -0.0012936 | 0.0051633 | 0.0012937 | 5.1359e-07 | 3.833e-08 | 0.007774 | 0.0077739 | 0.007774 | 0.9882 | -0.22484 | 0.9883 | -0.22276 | 2.1357
11 | 0.0019395 | 0.00048589 | -0.0019395 | -0.00048593 | 1.327e-08 | -4.4658e-08 | 0.0029205 | 0.0029205 | 0.0029205 | 0.98818 | -0.22512 | 0.98817 | -0.22526 | 0.80234
12 | -0.005858 | -0.0014678 | 0.0058584 | 0.0014679 | 3.5983e-07 | 7.2218e-08 | 0.0088199 | 0.0088199 | 0.0088199 | 0.9883 | -0.22276 | 0.98837 | -0.22147 | 2.4231
13 | 0.0012399 | 0.00031058 | -0.0012399 | -0.00031074 | 1.6734e-08 | -1.533e-07 | 0.001867 | 0.001867 | 0.001867 | 0.98817 | -0.22526 | 0.98816 | -0.22555 | 0.51292
14 | -0.007926 | -0.0019861 | 0.0079265 | 0.0019863 | 5.8007e-07 | 2.3201e-07 | 0.011933 | 0.011933 | 0.011933 | 0.98837 | -0.22147 | 0.98845 | -0.21993 | 3.2782
15 | -0.011132 | -0.0027891 | 0.011133 | 0.0027898 | 1.3215e-06 | 6.849e-07 | 0.016758 | 0.016758 | 0.016758 | 0.98845 | -0.21993 | 0.98858 | -0.21744 | 4.6038
16 | 0.0032055 | 0.00080278 | -0.0032051 | -0.00080309 | 3.7998e-07 | -3.1454e-07 | 0.0048253 | 0.0048255 | 0.0048255 | 0.98845 | -0.21993 | 0.98832 | -0.22242 | 1.3257
17 | -0.0012403 | -0.00031084 | 0.0012403 | 0.00031066 | 2.0353e-08 | -1.8407e-07 | 0.0018729 | 0.0018729 | 0.0018729 | 0.98537 | -0.27899 | 0.98538 | -0.27865 | 0.51455
18 | -0.0025437 | -0.00063732 | 0.0025438 | 0.00063714 | 1.0738e-07 | -1.7852e-07 | 0.0038411 | 0.003841 | 0.0038411 | 0.98538 | -0.27865 | 0.98543 | -0.27776 | 1.0553
19 | -0.0038475 | -0.00096389 | 0.0038479 | 0.00096376 | 3.4163e-07 | -1.2525e-07 | 0.0058097 | 0.0058096 | 0.0058097 | 0.98543 | -0.27776 | 0.98552 | -0.27589 | 1.5961
20 | -0.19084 | -0.048478 | 0.19099 | 0.048573 | 0.00015079 | 9.5951e-05 | 0.28837 | 0.28837 | 0.28837 | 0.98552 | -0.27589 | 0.98637 | -0.25949 | 26.4076
21 | 0.18699 | 0.047514 | -0.18691 | -0.047464 | 7.8504e-05 | 4.9942e-05 | 0.28256 | 0.28256 | 0.28256 | 0.98552 | -0.27589 | 0.98507 | -0.28462 | 25.8756
22 | 0.054031 | 0.013569 | -0.05396 | -0.013524 | 7.1547e-05 | 4.4397e-05 | 0.08254 | 0.082541 | 0.082541 | 0.97418 | -0.49706 | 0.97277 | -0.52485 | 11.338
23 | -0.19259 | -0.048975 | 0.19312 | 0.049312 | 0.00052971 | 0.00033709 | 0.29079 | 0.29079 | 0.29079 | 0.98637 | -0.25949 | 0.98934 | -0.20257 | 26.629
24 | 0.16894 | 0.042961 | -0.16853 | -0.042701 | 0.00040886 | 0.00025976 | 0.25542 | 0.25542 | 0.25542 | 0.98507 | -0.28462 | 0.98247 | -0.33499 | 23.3902
25 | -0.19472 | -0.049713 | 0.19476 | 0.049736 | 3.5707e-05 | 2.2725e-05 | 0.2932 | 0.2932 | 0.2932 | 0.98934 | -0.20257 | 0.98954 | -0.19878 | 26.8494
26 | 0.16391 | 0.041541 | -0.16362 | -0.041359 | 0.00028613 | 0.00018172 | 0.24841 | 0.24841 | 0.24841 | 0.98247 | -0.33499 | 0.9806 | -0.37138 | 22.7484
27 | 0.0073028 | 0.0018308 | -0.0072964 | -0.0018284 | 6.3652e-06 | 2.3868e-06 | 0.011171 | 0.011172 | 0.011172 | 0.97277 | -0.52485 | 0.97185 | -0.54316 | 3.0691
28 | 0.0036724 | 0.00092017 | -0.0036721 | -0.00092029 | 2.8278e-07 | -1.1453e-07 | 0.0056228 | 0.0056229 | 0.0056229 | 0.97185 | -0.54316 | 0.97177 | -0.54477 | 1.5448
29 | -0.011791 | -0.0029545 | 0.011795 | 0.0029569 | 4.4464e-06 | 2.3628e-06 | 0.017747 | 0.017747 | 0.017747 | 0.98858 | -0.21744 | 0.98898 | -0.20952 | 4.8757
30 | 0.0016326 | 0.00040898 | -0.0016325 | -0.00040915 | 3.2821e-08 | -1.6463e-07 | 0.0024579 | 0.002458 | 0.002458 | 0.98832 | -0.22242 | 0.9883 | -0.22284 | 0.67527
31 | -0.02109 | -0.0052864 | 0.021098 | 0.0052909 | 7.3919e-06 | 4.4795e-06 | 0.031732 | 0.031732 | 0.031732 | 0.98898 | -0.20952 | 0.98936 | -0.20217 | 8.7177
32 | -0.0227 | -0.0056924 | 0.022703 | 0.0056947 | 3.6681e-06 | 2.2398e-06 | 0.034142 | 0.034142 | 0.034142 | 0.98936 | -0.20217 | 0.98954 | -0.19878 | 9.3797
33 | -0.21746 | -0.055431 | 0.2182 | 0.055901 | 0.00073794 | 0.00047015 | 0.32734 | 0.32734 | 0.32734 | 0.98954 | -0.19878 | 0.9932 | -0.12873 | 29.976
34 | -0.22113 | -0.056637 | 0.22137 | 0.056789 | 0.00023887 | 0.0001522 | 0.33173 | 0.33173 | 0.33173 | 0.9932 | -0.12873 | 0.99438 | -0.10646 | 30.3786
35 | -0.22875 | -0.058638 | 0.22897 | 0.058775 | 0.00021516 | 0.00013713 | 0.34278 | 0.34278 | 0.34278 | 0.99438 | -0.10646 | 0.9954 | -0.087081 | 31.3897
36 | 0.0020869 | 0.00052301 | -0.0020869 | -0.00052304 | 9.7915e-09 | -2.541e-08 | 0.0031956 | 0.0031956 | 0.0031956 | 0.97177 | -0.54477 | 0.97176 | -0.54487 | 0.87792
37 | -0.016338 | -0.004096 | 0.016338 | 0.004096 | 1.3909e-07 | 8.1051e-08 | 0.024511 | 0.024511 | 0.024511 | 0.99183 | -0.15606 | 0.99184 | -0.15588 | 6.7339
38 | 0.014509 | 0.0036377 | -0.014505 | -0.0036356 | 3.6746e-06 | 2.085e-06 | 0.021768 | 0.021768 | 0.021768 | 0.99183 | -0.15606 | 0.99155 | -0.16138 | 5.9803
39 | -0.018422 | -0.0046184 | 0.018428 | 0.004622 | 6.1155e-06 | 3.6383e-06 | 0.027638 | 0.027638 | 0.027638 | 0.99184 | -0.15588 | 0.99219 | -0.14892 | 7.5929
40 | 0.01108 | 0.002777 | -0.011079 | -0.0027769 | 2.1045e-07 | 1.085e-07 | 0.016627 | 0.016627 | 0.016627 | 0.99155 | -0.16138 | 0.99153 | -0.16178 | 4.5679
41 | -0.038354 | -0.0096229 | 0.038371 | 0.0096333 | 1.6617e-05 | 1.0462e-05 | 0.057524 | 0.057524 | 0.057524 | 0.99219 | -0.14892 | 0.99266 | -0.13984 | 15.8033
42 | 0.016789 | 0.0042148 | -0.016768 | -0.0042022 | 2.1404e-05 | 1.2538e-05 | 0.025182 | 0.025182 | 0.025182 | 0.99219 | -0.14892 | 0.99081 | -0.17568 | 6.9182
43 | 0.008941 | 0.002241 | -0.0089391 | -0.0022401 | 1.9208e-06 | 8.6246e-07 | 0.013418 | 0.013418 | 0.013418 | 0.99153 | -0.16178 | 0.9913 | -0.16629 | 3.6863
44 | -0.043514 | -0.010923 | 0.043561 | 0.010952 | 4.6906e-05 | 2.964e-05 | 0.065235 | 0.065234 | 0.065235 | 0.99266 | -0.13984 | 0.99383 | -0.11726 | 17.9216
45 | 0.0058919 | 0.0014765 | -0.0058899 | -0.0014761 | 1.9948e-06 | 4.0198e-07 | 0.0088484 | 0.0088487 | 0.0088487 | 0.99081 | -0.17568 | 0.99045 | -0.18279 | 2.431
46 | 0.0073576 | 0.0018439 | -0.007357 | -0.0018436 | 6.4571e-07 | 2.3164e-07 | 0.01105 | 0.01105 | 0.01105 | 0.99081 | -0.17568 | 0.99072 | -0.17752 | 3.0356
47 | 0.005334 | 0.0013366 | -0.005334 | -0.0013366 | 1.8451e-08 | 1.9141e-09 | 0.0080067 | 0.0080067 | 0.0080067 | 0.9913 | -0.16629 | 0.99129 | -0.16636 | 2.1996
48 | -0.05301 | -0.01332 | 0.053087 | 0.013369 | 7.6489e-05 | 4.8533e-05 | 0.079382 | 0.079382 | 0.079382 | 0.99383 | -0.11726 | 0.9954 | -0.087081 | 21.8082
49 | -0.28205 | -0.072144 | 0.28281 | 0.07263 | 0.00076131 | 0.0004859 | 0.42216 | 0.42216 | 0.42216 | 0.9954 | -0.087081 | 0.99833 | -0.031473 | 38.659
50 | -0.29385 | -0.075396 | 0.29388 | 0.075415 | 3.0222e-05 | 1.9293e-05 | 0.43861 | 0.43861 | 0.43861 | 0.99833 | -0.031473 | 0.99845 | -0.029353 | 40.1653
51 | 0.0022032 | 0.00055195 | -0.0022031 | -0.00055214 | 7.9481e-08 | -1.9896e-07 | 0.0033071 | 0.0033071 | 0.0033071 | 0.99129 | -0.16636 | 0.99126 | -0.16712 | 0.90855
52 | -0.30838 | -0.07905 | 0.30882 | 0.079331 | 0.00043953 | 0.00028065 | 0.46022 | 0.46022 | 0.46022 | 0.99845 | -0.029353 | 1 | 0 | 42.1448
53 | 0.0033496 | 0.0008393 | -0.0033494 | -0.00083944 | 2.0455e-07 | -1.4658e-07 | 0.0050309 | 0.005031 | 0.005031 | 0.99072 | -0.17752 | 0.99065 | -0.1788 | 1.3821
54 | 0.15896 | 0.040193 | -0.15891 | -0.04016 | 5.1399e-05 | 3.2628e-05 | 0.24135 | 0.24135 | 0.24135 | 0.9806 | -0.37138 | 0.98025 | -0.37813 | 22.1016

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34807 | 0.088754

## res_load
| p_mw | q_mvar
0 | 0.0063676 | 0.0015959
1 | 0.0050025 | 0.0012538
2 | 0.0023067 | 0.00057811
3 | 0.011596 | 0.0029063
4 | 0.014639 | 0.0036688
5 | 0.0067684 | 0.0016963
6 | 0.0025654 | 0.00064295
7 | 0.00065783 | 0.00016487
8 | 0.00069475 | 0.00017412
9 | 0.00069964 | 0.00017535
10 | 0.0020676 | 0.00051818
11 | 0.0012399 | 0.00031074
12 | 0.0012403 | 0.00031084
13 | 0.0013034 | 0.00032666
14 | 0.0013037 | 0.00032675
15 | 0.034355 | 0.0086101
16 | 0.023046 | 0.005776
17 | 0.0016025 | 0.00040162
18 | 0.017968 | 0.0045031
19 | 0.0016011 | 0.00040128
20 | 0.0046281 | 0.0011599
21 | 0.046657 | 0.011693
22 | 0.003624 | 0.00090827
23 | 0.00065747 | 0.00016478
24 | 0.0015725 | 0.00039411
25 | 0.009295 | 0.0023295
26 | 0.0016325 | 0.00040915
27 | 0.0016021 | 0.00040153
28 | 0.0029355 | 0.00073571
29 | 0.0073784 | 0.0018492
30 | 0.0015852 | 0.00039728
31 | 0.0020869 | 0.00052304
32 | 0.0018285 | 0.00045827
33 | 0.0020841 | 0.00052231
34 | 0.0034258 | 0.00085859
35 | 0.0031366 | 0.0007861
36 | 0.0021384 | 0.00053593
37 | 0.0051439 | 0.0012892
38 | 0.0035186 | 0.00088184
39 | 0.003605 | 0.00090351
40 | 0.009449 | 0.0023681
41 | 0.011036 | 0.002766
42 | 0.0031308 | 0.00078466
43 | 0.014504 | 0.003635
44 | 0.0022031 | 0.00055214
45 | 0.0058899 | 0.0014761
46 | 0.0040073 | 0.0010043
47 | 0.0033494 | 0.00083944
48 | 0.037599 | 0.0094232
49 | 0.0046547 | 0.0011666

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1