## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1706-5_2_4_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_1706-5_2_4_node_154 | 0.4 | n |  | TRUE
2 | bus_LV_1706-5_2_4_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_1706-5_2_4_node_134 | 0.4 | n |  | TRUE
4 | bus_LV_1706-5_2_4_node_150 | 0.4 | n |  | TRUE
5 | bus_LV_1706-5_2_4_node_142 | 0.4 | n |  | TRUE
6 | bus_LV_1706-5_2_4_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_1706-5_2_4_node_156 | 0.4 | n |  | TRUE
8 | bus_LV_1706-5_2_4_node_143 | 0.4 | n |  | TRUE
9 | bus_LV_1706-5_2_4_node_144 | 0.4 | n |  | TRUE
10 | bus_LV_1706-5_2_4_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_1706-5_2_4_node_153 | 0.4 | n |  | TRUE
12 | bus_LV_1706-5_2_4_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_1706-5_2_4_node_146 | 0.4 | n |  | TRUE
14 | bus_LV_1706-5_2_4_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_1706-5_2_4_node_147 | 0.4 | n |  | TRUE
16 | bus_LV_1706-5_2_4_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_1706-5_2_4_node_149 | 0.4 | n |  | TRUE
18 | bus_LV_1706-5_2_4_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_1706-5_2_4_node_110 | 0.4 | n |  | TRUE
20 | bus_LV_1706-5_2_4_node_127 | 0.4 | n |  | TRUE
21 | bus_LV_1706-5_2_4_node_155 | 0.4 | n |  | TRUE
22 | bus_LV_1706-5_2_4_node_164 | 0.4 | n |  | TRUE
23 | bus_LV_1706-5_2_4_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_1706-5_2_4_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1706-5_2_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_1706-5_2_4_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_1706-5_2_4_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_1706-5_2_4_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_1706-5_2_4_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_1706-5_2_4_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_1706-5_2_4_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_1706-5_2_4_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_1706-5_2_4_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_1706-5_2_4_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_1706-5_2_4_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_1706-5_2_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_1706-5_2_4_node_92 | 0.4 | n |  | TRUE
38 | bus_LV_1706-5_2_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_1706-5_2_4_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_1706-5_2_4_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_1706-5_2_4_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_1706-5_2_4_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_1706-5_2_4_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_1706-5_2_4_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_1706-5_2_4_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_1706-5_2_4_node_106 | 0.4 | n |  | TRUE
47 | bus_LV_1706-5_2_4_node_108 | 0.4 | n |  | TRUE
48 | bus_MV_25_0_node_196 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1706-5_2_4_load_130 | 0 | 0.0052856 | 0.0013247 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1706-5_2_4_load_154 | 1 | 0.0063289 | 0.0015862 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1706-5_2_4_load_132 | 2 | 0.0054889 | 0.0013757 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1706-5_2_4_load_134 | 3 | 0.012014 | 0.0030111 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1706-5_2_4_load_150 | 4 | 0.0022662 | 0.00056797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1706-5_2_4_load_142 | 5 | 0.0034399 | 0.00086212 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1706-5_2_4_load_88 | 6 | 0.0055574 | 0.0013928 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1706-5_2_4_load_156 | 7 | 0.0061886 | 0.001551 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1706-5_2_4_load_143 | 8 | 0.003689 | 0.00092456 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1706-5_2_4_load_144 | 9 | 0.0057486 | 0.0014407 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1706-5_2_4_load_145 | 10 | 0.0059316 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1706-5_2_4_load_153 | 11 | 0.0056722 | 0.0014216 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1706-5_2_4_load_146 | 13 | 0.0034466 | 0.00086381 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1706-5_2_4_load_70 | 14 | 0.0026698 | 0.00066912 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1706-5_2_4_load_147 | 15 | 0.0003657 | 9.1654e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1706-5_2_4_load_148 | 16 | 0.00076444 | 0.00019159 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1706-5_2_4_load_149 | 17 | 0.0029455 | 0.00073821 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1706-5_2_4_load_110 | 19 | 0.0045816 | 0.0011482 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1706-5_2_4_load_127 | 20 | 0.0082402 | 0.0020652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1706-5_2_4_load_155 | 21 | 0.0063359 | 0.0015879 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1706-5_2_4_load_164 | 22 | 0.00012679 | 3.1777e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1706-5_2_4_load_61 | 24 | 0.00051859 | 0.00012997 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1706-5_2_4_load_62 | 25 | 0.00041168 | 0.00010318 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1706-5_2_4_load_65 | 28 | 0.00044831 | 0.00011236 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1706-5_2_4_load_90 | 29 | 0.001336 | 0.00033483 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1706-5_2_4_load_91 | 30 | 0.00048948 | 0.00012268 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1706-5_2_4_load_94 | 31 | 0.0011815 | 0.00029612 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1706-5_2_4_load_66 | 32 | 0.00079916 | 0.00020029 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1706-5_2_4_load_67 | 33 | 0.00085829 | 0.00021511 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1706-5_2_4_load_69 | 35 | 0.00062768 | 0.00015731 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1706-5_2_4_load_76 | 36 | 0.0019157 | 0.00048013 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1706-5_2_4_load_77 | 38 | 0.0033918 | 0.00085008 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1706-5_2_4_load_78 | 40 | 0.0009146 | 0.00022922 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1706-5_2_4_load_80 | 41 | 0.00065626 | 0.00016447 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1706-5_2_4_load_82 | 42 | 0.00023767 | 5.9567e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1706-5_2_4_load_83 | 43 | 0.00045665 | 0.00011445 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1706-5_2_4_load_84 | 44 | 0.0046256 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1706-5_2_4_load_106 | 46 | 0.001643 | 0.00041178 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1706-5_2_4_load_108 | 47 | 0.0050024 | 0.0012537 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1706-5_2_4_line_0 |  | 0 | 1 | 0.032064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1706-5_2_4_line_1 |  | 1 | 20 | 0.016979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1706-5_2_4_line_2 |  | 1 | 21 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1706-5_2_4_line_3 |  | 2 | 3 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1706-5_2_4_line_4 |  | 3 | 4 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1706-5_2_4_line_5 |  | 4 | 12 | 0.0027129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1706-5_2_4_line_6 |  | 5 | 6 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1706-5_2_4_line_7 |  | 5 | 7 | 0.038269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1706-5_2_4_line_8 |  | 6 | 45 | 0.015682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1706-5_2_4_line_9 |  | 7 | 21 | 0.016925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1706-5_2_4_line_10 |  | 8 | 9 | 0.029734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1706-5_2_4_line_11 |  | 9 | 10 | 0.030134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1706-5_2_4_line_12 |  | 9 | 11 | 0.027891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1706-5_2_4_line_13 |  | 10 | 12 | 0.030723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1706-5_2_4_line_14 |  | 11 | 19 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1706-5_2_4_line_15 |  | 12 | 34 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1706-5_2_4_line_16 |  | 13 | 14 | 0.027478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1706-5_2_4_line_17 |  | 13 | 15 | 0.029464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1706-5_2_4_line_18 |  | 14 | 34 | 0.010402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1706-5_2_4_line_19 |  | 15 | 16 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1706-5_2_4_line_20 |  | 17 | 18 | 0.026364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1706-5_2_4_line_21 |  | 18 | 45 | 0.052869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1706-5_2_4_line_22 |  | 19 | 47 | 0.030321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1706-5_2_4_line_23 |  | 22 | 23 | 0.35038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1706-5_2_4_line_24 |  | 23 | 37 | 0.040965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1706-5_2_4_line_25 |  | 23 | 29 | 0.030968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1706-5_2_4_line_26 |  | 24 | 25 | 0.12679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1706-5_2_4_line_27 |  | 24 | 26 | 0.017128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1706-5_2_4_line_28 |  | 25 | 27 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1706-5_2_4_line_29 |  | 26 | 28 | 0.017371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1706-5_2_4_line_30 |  | 27 | 29 | 0.053995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1706-5_2_4_line_31 |  | 27 | 30 | 0.14541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1706-5_2_4_line_32 |  | 28 | 31 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1706-5_2_4_line_33 |  | 31 | 41 | 0.1731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1706-5_2_4_line_34 |  | 32 | 33 | 0.0030544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1706-5_2_4_line_35 |  | 32 | 34 | 0.16586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1706-5_2_4_line_36 |  | 33 | 35 | 0.013298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1706-5_2_4_line_37 |  | 35 | 36 | 0.066691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1706-5_2_4_line_38 |  | 36 | 38 | 0.021551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1706-5_2_4_line_39 |  | 37 | 39 | 0.26842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1706-5_2_4_line_40 |  | 38 | 39 | 0.18734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1706-5_2_4_line_41 |  | 40 | 41 | 0.0087231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1706-5_2_4_line_42 |  | 41 | 42 | 0.083428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1706-5_2_4_line_43 |  | 42 | 43 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1706-5_2_4_line_44 |  | 43 | 44 | 0.094481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1706-5_2_4_line_45 |  | 44 | 45 | 0.030082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1706-5_2_4_line_46 |  | 46 | 47 | 0.024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1706-5_2_4_trafo_153 | 0.63 MVA 20/0.4 kV | 48 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2690510.7785 | 1221044.3315 | 2690493.2845 | 1221017.4602
1 | 2690495.3746 | 1221051.4724 | 2690510.7785 | 1221044.3315
2 | 2690524.2767 | 1221038.074 | 2690510.7785 | 1221044.3315
3 | 2690515.2721 | 1221159.7683 | 2690502.2276 | 1221163.045 | 2690497.0585 | 1221165.2981
4 | 2690526.5188 | 1221157.3362 | 2690521.9695 | 1221158.086 | 2690515.2721 | 1221159.7683
5 | 2690529.1956 | 1221156.895 | 2690526.5188 | 1221157.3362
6 | 2690538.6787 | 1220989.5146 | 2690535.4567 | 1220990.1752 | 2690527.7684 | 1220994.3056 | 2690526.9576 | 1220994.8468
7 | 2690526.9576 | 1220994.8468 | 2690539.6318 | 1221030.9557
8 | 2690553.8715 | 1220985.7076 | 2690547.4217 | 1220987.7221 | 2690538.6787 | 1220989.5146
9 | 2690539.6318 | 1221030.9557 | 2690524.2767 | 1221038.074
10 | 2690600.5045 | 1221106.7475 | 2690573.9381 | 1221120.1018
11 | 2690573.9381 | 1221120.1018 | 2690547.0139 | 1221133.6359
12 | 2690573.9381 | 1221120.1018 | 2690558.4777 | 1221096.8876
13 | 2690529.1956 | 1221156.895 | 2690534.0547 | 1221143.7153 | 2690540.3101 | 1221137.0058 | 2690547.0139 | 1221133.6359
14 | 2690558.4777 | 1221096.8876 | 2690545.6629 | 1221103.0171
15 | 2690529.1956 | 1221156.895 | 2690541.7831 | 1221158.3873 | 2690549.0951 | 1221161.5229
16 | 2690581.7541 | 1221142.9688 | 2690581.1109 | 1221143.2637 | 2690557.2693 | 1221155.4389
17 | 2690581.7541 | 1221142.9688 | 2690608.5355 | 1221130.6863
18 | 2690549.0951 | 1221161.5229 | 2690551.7855 | 1221158.2393 | 2690557.2693 | 1221155.4389
19 | 2690625.1451 | 1221123.0689 | 2690608.5355 | 1221130.6863
20 | 2690524.8238 | 1220942.9588 | 2690514.0335 | 1220953.9802 | 2690505.5888 | 1220960.9348
21 | 2690553.8715 | 1220985.7076 | 2690546.6151 | 1220976.9023 | 2690543.4912 | 1220970.7728 | 2690542.1167 | 1220962.8687 | 2690530.3321 | 1220946.9675 | 2690524.8238 | 1220942.9588
22 | 2690545.6629 | 1221103.0171 | 2690518.3095 | 1221116.1004
23 | 2691108.0501 | 1220920.5577 | 2691417.6044 | 1221084.6917
24 | 2691108.0501 | 1220920.5577 | 2691083.7273 | 1220953.5641
25 | 2691108.0501 | 1220920.5577 | 2691099.9401 | 1220917.009 | 2691077.8329 | 1220917.6332
26 | 2690897.1445 | 1220978.9506 | 2690952.2991 | 1220946.2841 | 2690981.8755 | 1220931.9036 | 2691003.4483 | 1220926.8742 | 2691010.3453 | 1220923.5678
27 | 2690882.407 | 1220987.6792 | 2690897.1445 | 1220978.9506
28 | 2691023.857 | 1220917.0903 | 2691010.3453 | 1220923.5678
29 | 2690882.407 | 1220987.6792 | 2690869.823 | 1220975.7046
30 | 2691023.857 | 1220917.0903 | 2691061.8865 | 1220918.0834 | 2691077.8329 | 1220917.6332
31 | 2690996.4893 | 1220802.3597 | 2691005.5938 | 1220800.9311 | 2691007.8565 | 1220807.7815 | 2691006.9901 | 1220816.3075 | 2690999.9548 | 1220836.7475 | 2690992.6998 | 1220891.9192 | 2690994.5725 | 1220897.4738 | 2690997.9743 | 1220900.7836 | 2691005.7049 | 1220902.3584 | 2691013.3161 | 1220903.7979 | 2691019.2232 | 1220910.4928 | 2691023.857 | 1220917.0903
32 | 2690855.5575 | 1220962.1298 | 2690869.823 | 1220975.7046
33 | 2690724.5281 | 1220849.0117 | 2690855.5575 | 1220962.1298
34 | 2690693.9876 | 1221238.7711 | 2690695.611 | 1221239.4502 | 2690696.7142 | 1221240.1278
35 | 2690549.0951 | 1221161.5229 | 2690568.5191 | 1221176.9622 | 2690593.7894 | 1221197.1048 | 2690610.7441 | 1221206.7694 | 2690631.0835 | 1221214.8844 | 2690663.999 | 1221226.2265 | 2690693.9876 | 1221238.7711
36 | 2690708.0458 | 1221247.0871 | 2690696.7142 | 1221240.1278
37 | 2690708.0458 | 1221247.0871 | 2690715.5684 | 1221251.7071 | 2690723.8308 | 1221254.7016 | 2690732.4751 | 1221254.044 | 2690739.2442 | 1221250.478 | 2690745.0741 | 1221245.3077 | 2690762.5054 | 1221227.4395
38 | 2690777.5547 | 1221212.0129 | 2690762.5054 | 1221227.4395
39 | 2690953.7587 | 1221188.418 | 2691083.7273 | 1220953.5641
40 | 2690953.7587 | 1221188.418 | 2690917.6157 | 1221178.7818 | 2690895.4781 | 1221173.6626 | 2690877.1055 | 1221172.904 | 2690856.1353 | 1221174.8076 | 2690836.5549 | 1221179.6123 | 2690811.7795 | 1221190.2307 | 2690792.1044 | 1221201.2495 | 2690777.5547 | 1221212.0129
41 | 2690724.5281 | 1220849.0117 | 2690726.1363 | 1220846.5663 | 2690729.9241 | 1220842.1789
42 | 2690724.5281 | 1220849.0117 | 2690717.5063 | 1220859.6884 | 2690714.2909 | 1220867.0445 | 2690711.023 | 1220877.8355 | 2690707.2724 | 1220883.9604 | 2690703.1993 | 1220888.3458 | 2690689.4106 | 1220891.9495 | 2690677.2161 | 1220895.9999 | 2690667.6866 | 1220901.6474
43 | 2690653.3593 | 1220911.1742 | 2690659.6744 | 1220906.3957 | 2690667.6866 | 1220901.6474
44 | 2690653.3593 | 1220911.1742 | 2690621.6622 | 1220935.1593 | 2690601.0089 | 1220948.5988 | 2690591.0591 | 1220957.7316 | 2690577.2029 | 1220966.8459
45 | 2690553.8715 | 1220985.7076 | 2690560.1779 | 1220980.6444 | 2690569.3997 | 1220971.9787 | 2690577.2029 | 1220966.8459
46 | 2690496.4699 | 1221127.0438 | 2690496.4699 | 1221127.0438 | 2690512.7876 | 1221118.7415 | 2690518.3095 | 1221116.1004

## bus_geodata
| x | y | coords
0 | 2690493.2845 | 1221017.4602
1 | 2690510.7785 | 1221044.3315
2 | 2690497.0585 | 1221165.2981
3 | 2690515.2721 | 1221159.7683
4 | 2690526.5188 | 1221157.3362
5 | 2690526.9576 | 1220994.8468
6 | 2690538.6787 | 1220989.5146
7 | 2690539.6318 | 1221030.9557
8 | 2690600.5045 | 1221106.7475
9 | 2690573.9381 | 1221120.1018
10 | 2690547.0139 | 1221133.6359
11 | 2690558.4777 | 1221096.8876
12 | 2690529.1956 | 1221156.895
13 | 2690581.7541 | 1221142.9688
14 | 2690557.2693 | 1221155.4389
15 | 2690608.5355 | 1221130.6863
16 | 2690625.1451 | 1221123.0689
17 | 2690505.5888 | 1220960.9348
18 | 2690524.8238 | 1220942.9588
19 | 2690545.6629 | 1221103.0171
20 | 2690495.3746 | 1221051.4724
21 | 2690524.2767 | 1221038.074
22 | 2691417.6044 | 1221084.6917
23 | 2691108.0501 | 1220920.5577
24 | 2690897.1445 | 1220978.9506
25 | 2691010.3453 | 1220923.5678
26 | 2690882.407 | 1220987.6792
27 | 2691023.857 | 1220917.0903
28 | 2690869.823 | 1220975.7046
29 | 2691077.8329 | 1220917.6332
30 | 2690996.4893 | 1220802.3597
31 | 2690855.5575 | 1220962.1298
32 | 2690693.9876 | 1221238.7711
33 | 2690696.7142 | 1221240.1278
34 | 2690549.0951 | 1221161.5229
35 | 2690708.0458 | 1221247.0871
36 | 2690762.5054 | 1221227.4395
37 | 2691083.7273 | 1220953.5641
38 | 2690777.5547 | 1221212.0129
39 | 2690953.7587 | 1221188.418
40 | 2690729.9241 | 1220842.1789
41 | 2690724.5281 | 1220849.0117
42 | 2690667.6866 | 1220901.6474
43 | 2690653.3593 | 1220911.1742
44 | 2690577.2029 | 1220966.8459
45 | 2690553.8715 | 1220985.7076
46 | 2690496.4699 | 1221127.0438
47 | 2690518.3095 | 1221116.1004
48 | 2690460.0881 | 1221170.9881

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97041 | -0.57086 | 0.0052856 | 0.0013247
1 | 0.97056 | -0.56772 | 0.0063289 | 0.0015862
2 | 0.99702 | -0.056642 | 0.0054889 | 0.0013757
3 | 0.99711 | -0.054805 | 0.012014 | 0.0030111
4 | 0.99729 | -0.051272 | 0.0022662 | 0.00056797
5 | 0.97183 | -0.54262 | 0.0034399 | 0.00086212
6 | 0.97198 | -0.53976 | 0.0055574 | 0.0013928
7 | 0.97125 | -0.55406 | 0.0061886 | 0.001551
8 | 0.99899 | -0.019089 | 0.003689 | 0.00092456
9 | 0.99909 | -0.017174 | 0.0057486 | 0.0014407
10 | 0.9982 | -0.034104 | 0.0059316 | 0.0014866
11 | 1 | 0 | -0.12019 | -0.030265
12 | 0.99734 | -0.050332 | 0 | 0
13 | 0.99671 | -0.062367 | 0.0034466 | 0.00086381
14 | 0.99682 | -0.06016 | 0.0026698 | 0.00066912
15 | 0.99668 | -0.062951 | 0.0003657 | 9.1654e-05
16 | 0.99667 | -0.063197 | 0.00076444 | 0.00019159
17 | 0.97196 | -0.54007 | 0.0029455 | 0.00073821
18 | 0.97203 | -0.53864 | 0 | 0
19 | 0.99986 | -0.0027806 | 0.0045816 | 0.0011482
20 | 0.97043 | -0.57031 | 0.0082402 | 0.0020652
21 | 0.97084 | -0.56226 | 0.0063359 | 0.0015879
22 | 0.983 | -0.3243 | 0.00012679 | 3.1777e-05
23 | 0.98304 | -0.32346 | 0 | 0
24 | 0.97923 | -0.39733 | 0.00051859 | 0.00012997
25 | 0.98134 | -0.35638 | 0.00041168 | 0.00010318
26 | 0.97895 | -0.40282 | 0 | 0
27 | 0.98159 | -0.35151 | 0 | 0
28 | 0.97867 | -0.40839 | 0.00044831 | 0.00011236
29 | 0.9825 | -0.33384 | 0.001336 | 0.00033483
30 | 0.98153 | -0.3528 | 0.00048948 | 0.00012268
31 | 0.97835 | -0.41465 | 0.0011815 | 0.00029612
32 | 0.99363 | -0.12059 | 0.00079916 | 0.00020029
33 | 0.99357 | -0.12172 | 0.00085829 | 0.00021511
34 | 0.99689 | -0.058837 | 0 | 0
35 | 0.99332 | -0.12656 | 0.00062768 | 0.00015731
36 | 0.99205 | -0.15061 | 0.0019157 | 0.00048013
37 | 0.98375 | -0.30973 | 0 | 0
38 | 0.99165 | -0.15815 | 0.0033918 | 0.00085008
39 | 0.9884 | -0.22018 | 0 | 0
40 | 0.97558 | -0.4688 | 0.0009146 | 0.00022922
41 | 0.97559 | -0.46866 | 0.00065626 | 0.00016447
42 | 0.9743 | -0.49399 | 0.00023767 | 5.9567e-05
43 | 0.97403 | -0.4992 | 0.00045665 | 0.00011445
44 | 0.97259 | -0.52757 | 0.0046256 | 0.0011593
45 | 0.97218 | -0.53577 | 0 | 0
46 | 0.99964 | -0.0069952 | 0.001643 | 0.00041178
47 | 0.99967 | -0.006295 | 0.0050024 | 0.0012537
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0052856 | -0.0013247 | 0.0052863 | 0.0013248 | 7.8983e-07 | 1.093e-07 | 0.0081048 | 0.0081047 | 0.0081048 | 0.97041 | -0.57086 | 0.97056 | -0.56772 | 2.2266
1 | 0.0082412 | 0.0020656 | -0.0082402 | -0.0020652 | 1.0165e-06 | 4.4074e-07 | 0.012635 | 0.012635 | 0.012635 | 0.97056 | -0.56772 | 0.97043 | -0.57031 | 3.4712
2 | -0.019856 | -0.0049766 | 0.019862 | 0.0049797 | 5.1707e-06 | 3.1253e-06 | 0.030443 | 0.030443 | 0.030443 | 0.97056 | -0.56772 | 0.97084 | -0.56226 | 8.3634
3 | -0.0054889 | -0.0013757 | 0.0054894 | 0.0013757 | 4.8038e-07 | 5.8483e-08 | 0.008192 | 0.008192 | 0.008192 | 0.99702 | -0.056642 | 0.99711 | -0.054805 | 2.2506
4 | -0.017504 | -0.0043868 | 0.017507 | 0.0043886 | 2.9467e-06 | 1.7356e-06 | 0.026121 | 0.026121 | 0.026121 | 0.99711 | -0.054805 | 0.99729 | -0.051272 | 7.1762
5 | -0.019773 | -0.0049565 | 0.019774 | 0.0049571 | 8.855e-07 | 5.3132e-07 | 0.029503 | 0.029503 | 0.029503 | 0.99729 | -0.051272 | 0.99734 | -0.050332 | 8.1052
6 | -0.035854 | -0.0089975 | 0.035859 | 0.0090001 | 4.8948e-06 | 2.6497e-06 | 0.054902 | 0.054902 | 0.054902 | 0.97183 | -0.54262 | 0.97198 | -0.53976 | 5.0276
7 | 0.032414 | 0.0081353 | -0.032396 | -0.008125 | 1.7677e-05 | 1.0366e-05 | 0.049635 | 0.049635 | 0.049635 | 0.97183 | -0.54262 | 0.97125 | -0.55406 | 6.818
8 | -0.041416 | -0.010393 | 0.041424 | 0.010397 | 7.8816e-06 | 4.461e-06 | 0.063409 | 0.063409 | 0.063409 | 0.97198 | -0.53976 | 0.97218 | -0.53577 | 5.8067
9 | 0.026208 | 0.006574 | -0.026197 | -0.0065676 | 1.0233e-05 | 6.3398e-06 | 0.040154 | 0.040154 | 0.040154 | 0.97125 | -0.55406 | 0.97084 | -0.56226 | 11.0313
10 | -0.003689 | -0.00092456 | 0.0036894 | 0.00092438 | 3.3666e-07 | -1.7388e-07 | 0.0054949 | 0.0054947 | 0.0054949 | 0.99899 | -0.019089 | 0.99909 | -0.017174 | 1.5096
11 | 0.097786 | 0.025029 | -0.097706 | -0.024979 | 8.01e-05 | 5.0081e-05 | 0.14582 | 0.14582 | 0.14582 | 0.99909 | -0.017174 | 0.9982 | -0.034104 | 13.3539
12 | -0.10722 | -0.027394 | 0.10731 | 0.02745 | 8.9118e-05 | 5.5939e-05 | 0.15988 | 0.15988 | 0.15988 | 0.99909 | -0.017174 | 1 | 0 | 14.6411
13 | 0.091774 | 0.023493 | -0.091702 | -0.023448 | 7.2062e-05 | 4.4916e-05 | 0.13698 | 0.13698 | 0.13698 | 0.9982 | -0.034104 | 0.99734 | -0.050332 | 12.5442
14 | 0.01123 | 0.0028146 | -0.011228 | -0.0028138 | 1.4874e-06 | 7.6562e-07 | 0.01671 | 0.01671 | 0.01671 | 1 | 0 | 0.99986 | -0.0027806 | 4.5907
15 | 0.071928 | 0.018491 | -0.071899 | -0.018472 | 2.9711e-05 | 1.821e-05 | 0.10748 | 0.10748 | 0.10748 | 0.99734 | -0.050332 | 0.99689 | -0.058837 | 9.8426
16 | -0.0045768 | -0.0011465 | 0.0045773 | 0.0011464 | 4.8105e-07 | -5.0295e-08 | 0.0068327 | 0.0068325 | 0.0068327 | 0.99671 | -0.062367 | 0.99682 | -0.06016 | 1.8771
17 | 0.0011302 | 0.00028264 | -0.0011301 | -0.00028301 | 3.145e-08 | -3.6386e-07 | 0.0016871 | 0.0016872 | 0.0016872 | 0.99671 | -0.062367 | 0.99668 | -0.062951 | 0.46352
18 | -0.0072471 | -0.0018155 | 0.0072476 | 0.0018157 | 4.5651e-07 | 1.5655e-07 | 0.010818 | 0.010818 | 0.010818 | 0.99682 | -0.06016 | 0.99689 | -0.058837 | 2.972
19 | 0.00076445 | 0.00019135 | -0.00076444 | -0.00019159 | 8.925e-09 | -2.3243e-07 | 0.0011412 | 0.0011413 | 0.0011413 | 0.99668 | -0.062951 | 0.99667 | -0.063197 | 0.31354
20 | -0.0029455 | -0.00073821 | 0.0029457 | 0.00073802 | 2.0103e-07 | -1.9811e-07 | 0.0045094 | 0.0045093 | 0.0045094 | 0.97196 | -0.54007 | 0.97203 | -0.53864 | 1.2388
21 | -0.0029457 | -0.00073802 | 0.0029461 | 0.00073762 | 4.0311e-07 | -3.9746e-07 | 0.0045093 | 0.004509 | 0.0045093 | 0.97203 | -0.53864 | 0.97218 | -0.53577 | 1.2388
22 | 0.0066467 | 0.0016655 | -0.0066455 | -0.0016652 | 1.1126e-06 | 3.1443e-07 | 0.0098917 | 0.0098918 | 0.0098918 | 0.99986 | -0.0027806 | 0.99967 | -0.006295 | 2.7175
23 | -0.00012679 | -3.1777e-05 | 0.00012679 | 2.7338e-05 | 4.8014e-09 | -4.4388e-06 | 0.00019193 | 0.00019045 | 0.00019193 | 0.983 | -0.3243 | 0.98304 | -0.32346 | 0.052728
24 | -0.0563 | -0.014298 | 0.056337 | 0.01432 | 3.7248e-05 | 2.2279e-05 | 0.085289 | 0.085288 | 0.085289 | 0.98304 | -0.32346 | 0.98375 | -0.30973 | 7.8103
25 | 0.056173 | 0.014271 | -0.056145 | -0.014254 | 2.8033e-05 | 1.6764e-05 | 0.085098 | 0.085099 | 0.085099 | 0.98304 | -0.32346 | 0.9825 | -0.33384 | 7.7929
26 | -0.053743 | -0.013597 | 0.053849 | 0.01366 | 0.00010582 | 6.2928e-05 | 0.081712 | 0.081711 | 0.081712 | 0.97923 | -0.39733 | 0.98134 | -0.35638 | 7.4828
27 | 0.053224 | 0.013467 | -0.05321 | -0.013459 | 1.4021e-05 | 8.3273e-06 | 0.080924 | 0.080925 | 0.080925 | 0.97923 | -0.39733 | 0.97895 | -0.40282 | 7.4107
28 | -0.054261 | -0.013763 | 0.054273 | 0.013771 | 1.2697e-05 | 7.5581e-06 | 0.082335 | 0.082335 | 0.082335 | 0.98134 | -0.35638 | 0.98159 | -0.35151 | 7.5398
29 | 0.05321 | 0.013459 | -0.053196 | -0.01345 | 1.422e-05 | 8.4457e-06 | 0.080925 | 0.080925 | 0.080925 | 0.97895 | -0.40282 | 0.97867 | -0.40839 | 7.4107
30 | -0.054763 | -0.013891 | 0.054809 | 0.013919 | 4.6581e-05 | 2.7763e-05 | 0.083076 | 0.083075 | 0.083076 | 0.98159 | -0.35151 | 0.9825 | -0.33384 | 7.6077
31 | 0.00048951 | 0.00012086 | -0.00048948 | -0.00012268 | 3e-08 | -1.8187e-06 | 0.00074142 | 0.00074207 | 0.00074207 | 0.98159 | -0.35151 | 0.98153 | -0.3528 | 0.20386
32 | 0.052748 | 0.013338 | -0.052732 | -0.013328 | 1.585e-05 | 9.4017e-06 | 0.080243 | 0.080243 | 0.080243 | 0.97867 | -0.40839 | 0.97835 | -0.41465 | 7.3483
33 | 0.051551 | 0.013032 | -0.051417 | -0.012954 | 0.00013316 | 7.8719e-05 | 0.078446 | 0.078449 | 0.078449 | 0.97835 | -0.41465 | 0.97559 | -0.46866 | 7.1839
34 | 0.063658 | 0.016339 | -0.063655 | -0.016337 | 3.4798e-06 | 2.1084e-06 | 0.095469 | 0.095469 | 0.095469 | 0.99363 | -0.12059 | 0.99357 | -0.12172 | 8.7426
35 | -0.064457 | -0.016539 | 0.064651 | 0.016657 | 0.00019373 | 0.00011752 | 0.096666 | 0.096663 | 0.096666 | 0.99363 | -0.12059 | 0.99689 | -0.058837 | 8.8522
36 | 0.062796 | 0.016122 | -0.062782 | -0.016113 | 1.4745e-05 | 8.9203e-06 | 0.094183 | 0.094184 | 0.094184 | 0.99357 | -0.12172 | 0.99332 | -0.12656 | 8.6249
37 | 0.062154 | 0.015955 | -0.062081 | -0.015912 | 7.248e-05 | 4.3801e-05 | 0.093243 | 0.093244 | 0.093244 | 0.99332 | -0.12656 | 0.99205 | -0.15061 | 8.5389
38 | 0.060166 | 0.015431 | -0.060144 | -0.015418 | 2.2001e-05 | 1.3246e-05 | 0.090371 | 0.090371 | 0.090371 | 0.99205 | -0.15061 | 0.99165 | -0.15815 | 8.2757
39 | -0.056337 | -0.01432 | 0.056581 | 0.014466 | 0.00024405 | 0.00014592 | 0.085288 | 0.085284 | 0.085288 | 0.98375 | -0.30973 | 0.9884 | -0.22018 | 7.8103
40 | 0.056752 | 0.014568 | -0.056581 | -0.014466 | 0.00017032 | 0.00010178 | 0.085282 | 0.085284 | 0.085284 | 0.99165 | -0.15815 | 0.9884 | -0.22018 | 7.8099
41 | -0.0009146 | -0.00022922 | 0.00091461 | 0.00022912 | 6.3657e-09 | -1.0485e-07 | 0.001395 | 0.001395 | 0.001395 | 0.97558 | -0.4688 | 0.97559 | -0.46866 | 0.38325
42 | 0.049847 | 0.01256 | -0.049786 | -0.012525 | 6.0319e-05 | 3.5483e-05 | 0.076053 | 0.076054 | 0.076054 | 0.97559 | -0.46866 | 0.9743 | -0.49399 | 6.9646
43 | 0.049549 | 0.012465 | -0.049536 | -0.012458 | 1.2341e-05 | 7.2547e-06 | 0.075691 | 0.075691 | 0.075691 | 0.9743 | -0.49399 | 0.97403 | -0.4992 | 6.9314
44 | 0.04908 | 0.012343 | -0.049013 | -0.012304 | 6.6422e-05 | 3.8987e-05 | 0.074994 | 0.074995 | 0.074995 | 0.97403 | -0.4992 | 0.97259 | -0.52757 | 6.8677
45 | 0.044388 | 0.011145 | -0.04437 | -0.011135 | 1.7346e-05 | 9.9817e-06 | 0.067918 | 0.067918 | 0.067918 | 0.97259 | -0.52757 | 0.97218 | -0.53577 | 6.2196
46 | -0.001643 | -0.00041178 | 0.0016431 | 0.0004115 | 5.4797e-08 | -2.8521e-07 | 0.0024458 | 0.0024456 | 0.0024458 | 0.99964 | -0.0069952 | 0.99967 | -0.006295 | 0.67191

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.12586 | 0.031687

## res_load
| p_mw | q_mvar
0 | 0.0052856 | 0.0013247
1 | 0.0063289 | 0.0015862
2 | 0.0054889 | 0.0013757
3 | 0.012014 | 0.0030111
4 | 0.0022662 | 0.00056797
5 | 0.0034399 | 0.00086212
6 | 0.0055574 | 0.0013928
7 | 0.0061886 | 0.001551
8 | 0.003689 | 0.00092456
9 | 0.0057486 | 0.0014407
10 | 0.0059316 | 0.0014866
11 | 0.0056722 | 0.0014216
12 | 0.0034466 | 0.00086381
13 | 0.0026698 | 0.00066912
14 | 0.0003657 | 9.1654e-05
15 | 0.00076444 | 0.00019159
16 | 0.0029455 | 0.00073821
17 | 0.0045816 | 0.0011482
18 | 0.0082402 | 0.0020652
19 | 0.0063359 | 0.0015879
20 | 0.00012679 | 3.1777e-05
21 | 0.00051859 | 0.00012997
22 | 0.00041168 | 0.00010318
23 | 0.00044831 | 0.00011236
24 | 0.001336 | 0.00033483
25 | 0.00048948 | 0.00012268
26 | 0.0011815 | 0.00029612
27 | 0.00079916 | 0.00020029
28 | 0.00085829 | 0.00021511
29 | 0.00062768 | 0.00015731
30 | 0.0019157 | 0.00048013
31 | 0.0033918 | 0.00085008
32 | 0.0009146 | 0.00022922
33 | 0.00065626 | 0.00016447
34 | 0.00023767 | 5.9567e-05
35 | 0.00045665 | 0.00011445
36 | 0.0046256 | 0.0011593
37 | 0.001643 | 0.00041178
38 | 0.0050024 | 0.0012537

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1