## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1709-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1709-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1709-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1709-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1709-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1709-13_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1709-13_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1709-13_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1709-13_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1709-13_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1709-13_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1709-13_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1709-13_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1709-13_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1709-13_0_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1709-13_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1709-13_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1709-13_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1709-13_0_4_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_1709-13_0_4_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_1709-13_0_4_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_1709-13_0_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1709-13_0_4_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1709-13_0_4_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_1709-13_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1709-13_0_4_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1709-13_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1709-13_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1709-13_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1709-13_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1709-13_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1709-13_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1709-13_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1709-13_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1709-13_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1709-13_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1709-13_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1709-13_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1709-13_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1709-13_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1709-13_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1709-13_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1709-13_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1709-13_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1709-13_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1709-13_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1709-13_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1709-13_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1709-13_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1709-13_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1709-13_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1709-13_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1709-13_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_1709-13_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1709-13_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1709-13_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1709-13_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_1709-13_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1709-13_0_4_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_1709-13_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_1709-13_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_1709-13_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_1709-13_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_1709-13_0_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_1709-13_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1709-13_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_1709-13_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_1709-13_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1709-13_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_1709-13_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1709-13_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_1709-13_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_1709-13_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_1709-13_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_MV_25_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1709-13_0_4_load_0 | 0 | 0.011476 | 0.0028762 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1709-13_0_4_load_1 | 1 | 0.0047119 | 0.0011809 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1709-13_0_4_load_4 | 4 | 0.0074113 | 0.0018574 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1709-13_0_4_load_5 | 5 | 0.010657 | 0.0026708 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1709-13_0_4_load_14 | 6 | 0.0055983 | 0.0014031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1709-13_0_4_load_12 | 7 | 0.0067504 | 0.0016918 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1709-13_0_4_load_9 | 8 | 0.0022884 | 0.00057353 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1709-13_0_4_load_6 | 10 | 0.0055991 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1709-13_0_4_load_7 | 11 | 0.0055991 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1709-13_0_4_load_24 | 16 | 0.0081193 | 0.0020349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1709-13_0_4_load_61 | 18 | 0.0097283 | 0.0024381 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1709-13_0_4_load_76 | 19 | 0.0068862 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1709-13_0_4_load_75 | 20 | 0.0040053 | 0.0010038 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1709-13_0_4_load_37 | 21 | 0.0046877 | 0.0011749 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1709-13_0_4_load_41 | 22 | 0.014085 | 0.00353 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1709-13_0_4_load_60 | 23 | 0.0040574 | 0.0010169 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1709-13_0_4_load_25 | 24 | 0.0072792 | 0.0018243 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1709-13_0_4_load_40 | 27 | 0.0064486 | 0.0016162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1709-13_0_4_load_39 | 28 | 0.015763 | 0.0039505 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1709-13_0_4_load_16 | 29 | 0.0039702 | 0.00099504 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1709-13_0_4_load_18 | 31 | 0.0048497 | 0.0012155 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1709-13_0_4_load_34 | 33 | 0.0036913 | 0.00092513 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1709-13_0_4_load_19 | 35 | 0.007395 | 0.0018534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1709-13_0_4_load_20 | 36 | 0.0016565 | 0.00041515 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1709-13_0_4_load_21 | 37 | 0.0095669 | 0.0023977 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1709-13_0_4_load_23 | 39 | 0.0087242 | 0.0021865 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1709-13_0_4_load_29 | 41 | 0.0029093 | 0.00072913 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1709-13_0_4_load_38 | 42 | 0.01432 | 0.0035888 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1709-13_0_4_load_35 | 43 | 0.0084521 | 0.0021183 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1709-13_0_4_load_30 | 44 | 0.0047934 | 0.0012013 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1709-13_0_4_load_26 | 45 | 0.0055978 | 0.0014029 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1709-13_0_4_load_36 | 46 | 0.0046094 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1709-13_0_4_load_55 | 47 | 0.0013939 | 0.00034934 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1709-13_0_4_load_49 | 48 | 0.0034908 | 0.00087487 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1709-13_0_4_load_50 | 49 | 0.0060549 | 0.0015175 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1709-13_0_4_load_42 | 52 | 0.0044433 | 0.0011136 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1709-13_0_4_load_48 | 53 | 0.0090278 | 0.0022626 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1709-13_0_4_load_62 | 56 | 0.0081971 | 0.0020544 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1709-13_0_4_load_51 | 57 | 0.0042946 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1709-13_0_4_load_63 | 58 | 0.0068836 | 0.0017252 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1709-13_0_4_load_52 | 59 | 0.0031141 | 0.00078046 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1709-13_0_4_load_54 | 61 | 0.0084883 | 0.0021274 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1709-13_0_4_load_78 | 63 | 0.0043647 | 0.0010939 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1709-13_0_4_load_69 | 65 | 0.0072755 | 0.0018234 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1709-13_0_4_load_64 | 66 | 0.019415 | 0.004866 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1709-13_0_4_load_67 | 67 | 0.0071003 | 0.0017795 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1709-13_0_4_load_65 | 68 | 0.010266 | 0.002573 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1709-13_0_4_load_66 | 69 | 0.0040593 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1709-13_0_4_load_68 | 70 | 0.0058985 | 0.0014783 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1709-13_0_4_load_70 | 71 | 0.0066814 | 0.0016745 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1709-13_0_4_load_71 | 72 | 0.005447 | 0.0013651 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1709-13_0_4_load_72 | 73 | 0.013306 | 0.0033348 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1709-13_0_4_line_0 |  | 0 | 1 | 0.0064196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1709-13_0_4_line_1 |  | 0 | 2 | 0.013365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1709-13_0_4_line_2 |  | 1 | 3 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1709-13_0_4_line_3 |  | 2 | 4 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1709-13_0_4_line_4 |  | 2 | 5 | 0.013101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1709-13_0_4_line_5 |  | 3 | 6 | 0.020363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1709-13_0_4_line_6 |  | 3 | 7 | 0.084032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1709-13_0_4_line_7 |  | 6 | 8 | 0.015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1709-13_0_4_line_8 |  | 7 | 9 | 0.035581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1709-13_0_4_line_9 |  | 8 | 11 | 0.022855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1709-13_0_4_line_10 |  | 9 | 26 | 0.086649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1709-13_0_4_line_11 |  | 10 | 11 | 0.029334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1709-13_0_4_line_12 |  | 10 | 12 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1709-13_0_4_line_13 |  | 12 | 13 | 0.030266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1709-13_0_4_line_14 |  | 13 | 14 | 0.034164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1709-13_0_4_line_15 |  | 13 | 15 | 0.022259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1709-13_0_4_line_16 |  | 13 | 16 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1709-13_0_4_line_17 |  | 14 | 21 | 0.022027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1709-13_0_4_line_18 |  | 14 | 22 | 0.016097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1709-13_0_4_line_19 |  | 15 | 23 | 0.014008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1709-13_0_4_line_20 |  | 16 | 24 | 0.024034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1709-13_0_4_line_21 |  | 17 | 18 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1709-13_0_4_line_22 |  | 17 | 19 | 0.014783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1709-13_0_4_line_23 |  | 17 | 20 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1709-13_0_4_line_24 |  | 20 | 25 | 0.0049665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1709-13_0_4_line_25 |  | 21 | 46 | 0.025318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1709-13_0_4_line_26 |  | 23 | 47 | 0.0067307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1709-13_0_4_line_27 |  | 24 | 45 | 0.0044679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1709-13_0_4_line_28 |  | 25 | 63 | 0.020969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1709-13_0_4_line_29 |  | 26 | 27 | 0.068991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1709-13_0_4_line_30 |  | 27 | 28 | 0.053251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1709-13_0_4_line_31 |  | 29 | 30 | 0.039353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1709-13_0_4_line_32 |  | 30 | 31 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1709-13_0_4_line_33 |  | 31 | 32 | 0.039272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1709-13_0_4_line_34 |  | 32 | 33 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1709-13_0_4_line_35 |  | 32 | 34 | 0.020466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1709-13_0_4_line_36 |  | 34 | 48 | 0.019474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1709-13_0_4_line_37 |  | 34 | 44 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1709-13_0_4_line_38 |  | 35 | 36 | 0.024596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1709-13_0_4_line_39 |  | 35 | 37 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1709-13_0_4_line_40 |  | 36 | 38 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1709-13_0_4_line_41 |  | 37 | 39 | 0.043591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1709-13_0_4_line_42 |  | 38 | 40 | 0.017007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1709-13_0_4_line_43 |  | 38 | 41 | 0.01727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1709-13_0_4_line_44 |  | 40 | 42 | 0.031536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1709-13_0_4_line_45 |  | 40 | 43 | 0.0074831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1709-13_0_4_line_46 |  | 41 | 44 | 0.0038131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1709-13_0_4_line_47 |  | 42 | 50 | 0.018677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1709-13_0_4_line_48 |  | 43 | 46 | 0.0041545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1709-13_0_4_line_49 |  | 47 | 60 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1709-13_0_4_line_50 |  | 48 | 49 | 0.011332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1709-13_0_4_line_51 |  | 49 | 57 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1709-13_0_4_line_52 |  | 50 | 51 | 0.010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1709-13_0_4_line_53 |  | 51 | 53 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1709-13_0_4_line_54 |  | 51 | 52 | 0.0092782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1709-13_0_4_line_55 |  | 53 | 56 | 0.0028939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1709-13_0_4_line_56 |  | 54 | 55 | 0.004352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1709-13_0_4_line_57 |  | 54 | 56 | 0.018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1709-13_0_4_line_58 |  | 55 | 58 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1709-13_0_4_line_59 |  | 58 | 66 | 0.0062205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1709-13_0_4_line_60 |  | 59 | 60 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1709-13_0_4_line_61 |  | 60 | 61 | 0.024546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1709-13_0_4_line_62 |  | 61 | 62 | 0.0096865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1709-13_0_4_line_63 |  | 62 | 64 | 0.019926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1709-13_0_4_line_64 |  | 63 | 64 | 0.0067996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1709-13_0_4_line_65 |  | 64 | 65 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1709-13_0_4_line_66 |  | 65 | 67 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1709-13_0_4_line_67 |  | 66 | 68 | 0.032495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1709-13_0_4_line_68 |  | 67 | 70 | 0.0074662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1709-13_0_4_line_69 |  | 68 | 69 | 0.0088753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1709-13_0_4_line_70 |  | 70 | 71 | 0.024251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1709-13_0_4_line_71 |  | 71 | 72 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1709-13_0_4_line_72 |  | 72 | 73 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1709-13_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 74 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2687099.4087 | 1221250.2425 | 2687100.4533 | 1221256.5765
1 | 2687097.2338 | 1221237.0553 | 2687099.4087 | 1221250.2425
2 | 2687103.2409 | 1221273.4791 | 2687100.4533 | 1221256.5765
3 | 2687097.2338 | 1221237.0553 | 2687087.144 | 1221238.5422
4 | 2687100.1218 | 1221224.2778 | 2687097.2338 | 1221237.0553
5 | 2687103.2409 | 1221273.4791 | 2687092.1 | 1221277.3188 | 2687083.6906 | 1221279.0161
6 | 2687103.2409 | 1221273.4791 | 2687110.4318 | 1221271.0048 | 2687129.3253 | 1221261.041 | 2687148.1572 | 1221256.847 | 2687162.5903 | 1221255.6463 | 2687183.6019 | 1221259.0837
7 | 2687068.8492 | 1221282.0115 | 2687083.6906 | 1221279.0161
8 | 2687215.9655 | 1221272.7503 | 2687194.539 | 1221260.873 | 2687183.6019 | 1221259.0837
9 | 2687046.5682 | 1221287.0263 | 2687052.188 | 1221285.3742 | 2687068.8492 | 1221282.0115
10 | 2687215.9655 | 1221272.7503 | 2687233.0796 | 1221282.2296 | 2687262.6874 | 1221293.9268 | 2687262.3576 | 1221275.0202 | 2687261.5802 | 1221258.6977
11 | 2687018.4249 | 1221295.2998 | 2687046.5682 | 1221287.0263
12 | 2686994.5399 | 1221295.8613 | 2687002.6237 | 1221294.5785 | 2687014.6451 | 1221296.4109 | 2687018.4249 | 1221295.2998
13 | 2686998.2253 | 1221265.8836 | 2686997.3917 | 1221280.348 | 2686994.5399 | 1221295.8613
14 | 2686998.2253 | 1221265.8836 | 2686996.4555 | 1221260.3095 | 2687000.5374 | 1221248.8836 | 2687006.1009 | 1221233.6878
15 | 2686985.0808 | 1221248.4798 | 2686996.4555 | 1221260.3095 | 2686998.2253 | 1221265.8836
16 | 2686998.2253 | 1221265.8836 | 2687014.583 | 1221267.4054
17 | 2687006.1009 | 1221233.6878 | 2687013.8469 | 1221213.0679
18 | 2687006.1009 | 1221233.6878 | 2687021.9843 | 1221236.2992
19 | 2686985.0808 | 1221248.4798 | 2686978.1333 | 1221236.3164
20 | 2687038.5762 | 1221268.1504 | 2687025.601 | 1221267.3401 | 2687017.0839 | 1221267.6381 | 2687014.583 | 1221267.4054
21 | 2686942.4278 | 1221250.9587 | 2686959.1737 | 1221248.3608
22 | 2686942.4278 | 1221250.9587 | 2686927.6466 | 1221250.7375
23 | 2686942.4278 | 1221250.9587 | 2686943.7668 | 1221236.4173
24 | 2686944.2222 | 1221231.4717 | 2686943.7668 | 1221236.4173
25 | 2687013.8469 | 1221213.0679 | 2687022.7501 | 1221189.3675 | 2687022.7501 | 1221189.3675
26 | 2686978.1333 | 1221236.3164 | 2686974.795 | 1221230.4719
27 | 2687043.0354 | 1221268.4289 | 2687038.5762 | 1221268.1504
28 | 2686944.2222 | 1221231.4717 | 2686943.2391 | 1221210.5259
29 | 2687261.5802 | 1221258.6977 | 2687226.3299 | 1221230.262 | 2687205.8191 | 1221218.3864
30 | 2687205.8191 | 1221218.3864 | 2687159.7348 | 1221191.704
31 | 2687120.3911 | 1221124.4729 | 2687123.2265 | 1221150.0317 | 2687136.8161 | 1221148.8971
32 | 2687120.3911 | 1221124.4729 | 2687106.237 | 1221126.335
33 | 2687067.0746 | 1221125.5607 | 2687077.0672 | 1221126.5853 | 2687087.6335 | 1221127.2958 | 2687103.8874 | 1221126.6441 | 2687106.237 | 1221126.335
34 | 2687067.0746 | 1221125.5607 | 2687067.3378 | 1221131.9467 | 2687072.3058 | 1221136.1235
35 | 2687048.1335 | 1221128.8973 | 2687051.4873 | 1221125.7664 | 2687054.9891 | 1221124.45 | 2687067.0746 | 1221125.5607
36 | 2687048.1335 | 1221128.8973 | 2687041.9327 | 1221125.9157 | 2687030.0566 | 1221121.7242
37 | 2687048.1335 | 1221128.8973 | 2687043.9866 | 1221136.4529 | 2687041.4196 | 1221143.2882
38 | 2687070.1352 | 1221171.802 | 2687055.2718 | 1221167.3722 | 2687046.3693 | 1221165.5523
39 | 2687079.3585 | 1221175.687 | 2687077.9876 | 1221174.1422 | 2687070.1352 | 1221171.802
40 | 2687034.0077 | 1221163.0252 | 2687046.3693 | 1221165.5523
41 | 2687079.3585 | 1221175.687 | 2687083.526 | 1221180.383 | 2687087.2836 | 1221189.5886 | 2687112.285 | 1221200.7254
42 | 2687027.1715 | 1221178.6026 | 2687034.0077 | 1221163.0252
43 | 2687034.0077 | 1221163.0252 | 2687040.0791 | 1221146.8579
44 | 2687027.1715 | 1221178.6026 | 2687004.4031 | 1221163.493 | 2687000.6731 | 1221161.5413
45 | 2687027.1715 | 1221178.6026 | 2687024.3285 | 1221185.5246
46 | 2687041.4196 | 1221143.2882 | 2687040.0791 | 1221146.8579
47 | 2686983.2212 | 1221155.0779 | 2686995.5934 | 1221158.8834 | 2687000.6731 | 1221161.5413
48 | 2687024.3285 | 1221185.5246 | 2687022.7501 | 1221189.3675
49 | 2686962.4802 | 1221208.9117 | 2686974.795 | 1221230.4719
50 | 2687030.0566 | 1221121.7242 | 2687019.3705 | 1221117.9527
51 | 2687019.3705 | 1221117.9527 | 2687006.777 | 1221113.508
52 | 2686983.2212 | 1221155.0779 | 2686972.8125 | 1221151.8904
53 | 2686972.8125 | 1221151.8904 | 2686961.4689 | 1221148.4054
54 | 2686972.8125 | 1221151.8904 | 2686974.4118 | 1221142.7511
55 | 2686961.4689 | 1221148.4054 | 2686958.7026 | 1221147.5555
56 | 2686940.8902 | 1221148.4443 | 2686940.5818 | 1221144.1035
57 | 2686940.5818 | 1221144.1035 | 2686947.962 | 1221144.2558 | 2686958.7026 | 1221147.5555
58 | 2686940.8902 | 1221148.4443 | 2686930.7512 | 1221147.5735 | 2686923.5759 | 1221146.9017 | 2686922.712 | 1221146.6769
59 | 2686922.712 | 1221146.6769 | 2686916.692 | 1221145.1104
60 | 2686962.4802 | 1221208.9117 | 2686967.2038 | 1221196.6975
61 | 2686962.4802 | 1221208.9117 | 2686950.3016 | 1221187.6
62 | 2686942.2779 | 1221183.822 | 2686948.7494 | 1221184.8838 | 2686950.3016 | 1221187.6
63 | 2686942.9203 | 1221203.7338 | 2686942.2779 | 1221183.822
64 | 2686942.9203 | 1221203.7338 | 2686943.2391 | 1221210.5259
65 | 2686942.9203 | 1221203.7338 | 2686936.826 | 1221203.856 | 2686930.7003 | 1221201.9426
66 | 2686914.9671 | 1221197.0282 | 2686930.7003 | 1221201.9426
67 | 2686916.692 | 1221145.1104 | 2686885.2438 | 1221136.9276
68 | 2686914.9671 | 1221197.0282 | 2686907.8405 | 1221194.8021
69 | 2686885.2438 | 1221136.9276 | 2686876.6545 | 1221134.6926
70 | 2686884.6922 | 1221187.5715 | 2686907.8405 | 1221194.8021
71 | 2686871.3145 | 1221183.3928 | 2686884.6922 | 1221187.5715
72 | 2686871.3145 | 1221183.3928 | 2686858.1151 | 1221179.2699

## bus_geodata
| x | y | coords
0 | 2687099.4087 | 1221250.2425
1 | 2687100.4533 | 1221256.5765
2 | 2687097.2338 | 1221237.0553
3 | 2687103.2409 | 1221273.4791
4 | 2687087.144 | 1221238.5422
5 | 2687100.1218 | 1221224.2778
6 | 2687083.6906 | 1221279.0161
7 | 2687183.6019 | 1221259.0837
8 | 2687068.8492 | 1221282.0115
9 | 2687215.9655 | 1221272.7503
10 | 2687018.4249 | 1221295.2998
11 | 2687046.5682 | 1221287.0263
12 | 2686994.5399 | 1221295.8613
13 | 2686998.2253 | 1221265.8836
14 | 2687006.1009 | 1221233.6878
15 | 2686985.0808 | 1221248.4798
16 | 2687014.583 | 1221267.4054
17 | 2686942.4278 | 1221250.9587
18 | 2686959.1737 | 1221248.3608
19 | 2686927.6466 | 1221250.7375
20 | 2686943.7668 | 1221236.4173
21 | 2687013.8469 | 1221213.0679
22 | 2687021.9843 | 1221236.2992
23 | 2686978.1333 | 1221236.3164
24 | 2687038.5762 | 1221268.1504
25 | 2686944.2222 | 1221231.4717
26 | 2687261.5802 | 1221258.6977
27 | 2687205.8191 | 1221218.3864
28 | 2687159.7348 | 1221191.704
29 | 2687136.8161 | 1221148.8971
30 | 2687120.3911 | 1221124.4729
31 | 2687106.237 | 1221126.335
32 | 2687067.0746 | 1221125.5607
33 | 2687072.3058 | 1221136.1235
34 | 2687048.1335 | 1221128.8973
35 | 2687070.1352 | 1221171.802
36 | 2687046.3693 | 1221165.5523
37 | 2687079.3585 | 1221175.687
38 | 2687034.0077 | 1221163.0252
39 | 2687112.285 | 1221200.7254
40 | 2687027.1715 | 1221178.6026
41 | 2687040.0791 | 1221146.8579
42 | 2687000.6731 | 1221161.5413
43 | 2687024.3285 | 1221185.5246
44 | 2687041.4196 | 1221143.2882
45 | 2687043.0354 | 1221268.4289
46 | 2687022.7501 | 1221189.3675
47 | 2686974.795 | 1221230.4719
48 | 2687030.0566 | 1221121.7242
49 | 2687019.3705 | 1221117.9527
50 | 2686983.2212 | 1221155.0779
51 | 2686972.8125 | 1221151.8904
52 | 2686974.4118 | 1221142.7511
53 | 2686961.4689 | 1221148.4054
54 | 2686940.5818 | 1221144.1035
55 | 2686940.8902 | 1221148.4443
56 | 2686958.7026 | 1221147.5555
57 | 2687006.777 | 1221113.508
58 | 2686922.712 | 1221146.6769
59 | 2686967.2038 | 1221196.6975
60 | 2686962.4802 | 1221208.9117
61 | 2686950.3016 | 1221187.6
62 | 2686942.2779 | 1221183.822
63 | 2686943.2391 | 1221210.5259
64 | 2686942.9203 | 1221203.7338
65 | 2686930.7003 | 1221201.9426
66 | 2686916.692 | 1221145.1104
67 | 2686914.9671 | 1221197.0282
68 | 2686885.2438 | 1221136.9276
69 | 2686876.6545 | 1221134.6926
70 | 2686907.8405 | 1221194.8021
71 | 2686884.6922 | 1221187.5715
72 | 2686871.3145 | 1221183.3928
73 | 2686858.1151 | 1221179.2699
74 | 2687027.1715 | 1221178.6026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98184 | -0.34886 | 0.011476 | 0.0028762
1 | 0.98201 | -0.34544 | 0.0047119 | 0.0011809
2 | 0.98162 | -0.35323 | 0 | 0
3 | 0.98256 | -0.33484 | 0 | 0
4 | 0.98155 | -0.3546 | 0.0074113 | 0.0018574
5 | 0.98149 | -0.35576 | 0.010657 | 0.0026708
6 | 0.98375 | -0.31162 | 0.0055983 | 0.0014031
7 | 0.9803 | -0.37889 | 0.0067504 | 0.0016918
8 | 0.98471 | -0.29287 | 0.0022884 | 0.00057353
9 | 0.97956 | -0.39324 | 0 | 0
10 | 0.9883 | -0.22345 | 0.0055991 | 0.0014033
11 | 0.98622 | -0.2637 | 0.0055991 | 0.0014033
12 | 0.99015 | -0.18785 | 0 | 0
13 | 0.99245 | -0.14366 | 0 | 0
14 | 0.99547 | -0.086073 | 0 | 0
15 | 0.99065 | -0.17828 | 0 | 0
16 | 0.99214 | -0.14976 | 0.0081193 | 0.0020349
17 | 0.98251 | -0.33624 | 0 | 0
18 | 0.98235 | -0.33922 | 0.0097283 | 0.0024381
19 | 0.98241 | -0.33808 | 0.0068862 | 0.0017259
20 | 0.98273 | -0.33186 | 0.0040053 | 0.0010038
21 | 0.99755 | -0.046414 | 0.0046877 | 0.0011749
22 | 0.99526 | -0.090062 | 0.014085 | 0.00353
23 | 0.98951 | -0.20014 | 0.0040574 | 0.0010169
24 | 0.99185 | -0.15524 | 0.0072792 | 0.0018243
25 | 0.98283 | -0.33001 | 0 | 0
26 | 0.97777 | -0.42827 | 0 | 0
27 | 0.97635 | -0.45625 | 0.0064486 | 0.0016162
28 | 0.97557 | -0.47161 | 0.015763 | 0.0039505
29 | 0.99606 | -0.075657 | 0.0039702 | 0.00099504
30 | 0.99621 | -0.072912 | 0 | 0
31 | 0.99626 | -0.071916 | 0.0048497 | 0.0012155
32 | 0.99657 | -0.065834 | 0 | 0
33 | 0.99653 | -0.066669 | 0.0036913 | 0.00092513
34 | 0.99681 | -0.06134 | 0 | 0
35 | 0.99694 | -0.058713 | 0.007395 | 0.0018534
36 | 0.99752 | -0.04764 | 0.0016565 | 0.00041515
37 | 0.99677 | -0.062005 | 0.0095669 | 0.0023977
38 | 0.99783 | -0.041598 | 0 | 0
39 | 0.99643 | -0.068679 | 0.0087242 | 0.0021865
40 | 0.99878 | -0.023334 | 0 | 0
41 | 0.9973 | -0.0519 | 0.0029093 | 0.00072913
42 | 0.99658 | -0.065643 | 0.01432 | 0.0035888
43 | 0.99972 | -0.0053047 | 0.0084521 | 0.0021183
44 | 0.99719 | -0.053982 | 0.0047934 | 0.0012013
45 | 0.99183 | -0.15569 | 0.0055978 | 0.0014029
46 | 1 | 0 | -0.36165 | -0.091651
47 | 0.98899 | -0.21017 | 0.0013939 | 0.00034934
48 | 0.99656 | -0.06607 | 0.0034908 | 0.00087487
49 | 0.99645 | -0.068128 | 0.0060549 | 0.0015175
50 | 0.99551 | -0.086084 | 0 | 0
51 | 0.9949 | -0.097986 | 0 | 0
52 | 0.99486 | -0.098712 | 0.0044433 | 0.0011136
53 | 0.99427 | -0.11008 | 0.0090278 | 0.0022626
54 | 0.99345 | -0.12592 | 0 | 0
55 | 0.99329 | -0.12905 | 0 | 0
56 | 0.99414 | -0.11257 | 0.0081971 | 0.0020544
57 | 0.9964 | -0.069135 | 0.0042946 | 0.0010763
58 | 0.99261 | -0.14217 | 0.0068836 | 0.0017252
59 | 0.98707 | -0.24739 | 0.0031141 | 0.00078046
60 | 0.98711 | -0.24666 | 0 | 0
61 | 0.98531 | -0.28149 | 0.0084883 | 0.0021274
62 | 0.98468 | -0.29379 | 0 | 0
63 | 0.98322 | -0.32221 | 0.0043647 | 0.0010939
64 | 0.98338 | -0.31915 | 0 | 0
65 | 0.98285 | -0.32947 | 0.0072755 | 0.0018234
66 | 0.99242 | -0.14588 | 0.019415 | 0.004866
67 | 0.98227 | -0.3409 | 0.0071003 | 0.0017795
68 | 0.99199 | -0.15413 | 0.010266 | 0.002573
69 | 0.99196 | -0.15477 | 0.0040593 | 0.0010173
70 | 0.98205 | -0.34513 | 0.0058985 | 0.0014783
71 | 0.98148 | -0.35629 | 0.0066814 | 0.0016745
72 | 0.98124 | -0.36104 | 0.005447 | 0.0013651
73 | 0.98107 | -0.36437 | 0.013306 | 0.0033348
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02955 | -0.0074075 | 0.029555 | 0.0074105 | 4.8283e-06 | 3.0089e-06 | 0.044784 | 0.044784 | 0.044784 | 0.98184 | -0.34886 | 0.98201 | -0.34544 | 12.3034
1 | 0.018074 | 0.0045313 | -0.01807 | -0.0045291 | 3.7605e-06 | 2.2377e-06 | 0.027392 | 0.027392 | 0.027392 | 0.98184 | -0.34886 | 0.98162 | -0.35323 | 7.5252
2 | -0.034266 | -0.0085915 | 0.034284 | 0.0086023 | 1.732e-05 | 1.0868e-05 | 0.051924 | 0.051924 | 0.051924 | 0.98201 | -0.34544 | 0.98256 | -0.33484 | 14.2649
3 | 0.0074118 | 0.0018576 | -0.0074113 | -0.0018574 | 4.8143e-07 | 1.7956e-07 | 0.011235 | 0.011235 | 0.011235 | 0.98162 | -0.35323 | 0.98155 | -0.3546 | 3.0867
4 | 0.010658 | 0.0026715 | -0.010657 | -0.0026708 | 1.2824e-06 | 6.5515e-07 | 0.016156 | 0.016156 | 0.016156 | 0.98162 | -0.35323 | 0.98149 | -0.35576 | 4.4386
5 | -0.0634 | -0.015956 | 0.063471 | 0.016001 | 7.0433e-05 | 4.4819e-05 | 0.09604 | 0.096039 | 0.09604 | 0.98256 | -0.33484 | 0.98375 | -0.31162 | 26.3845
6 | 0.029117 | 0.0073536 | -0.029055 | -0.0073154 | 6.1328e-05 | 3.8188e-05 | 0.044116 | 0.044116 | 0.044116 | 0.98256 | -0.33484 | 0.9803 | -0.37889 | 12.1198
7 | -0.069069 | -0.017404 | 0.069131 | 0.017443 | 6.2011e-05 | 3.9495e-05 | 0.10451 | 0.10451 | 0.10451 | 0.98375 | -0.31162 | 0.98471 | -0.29287 | 28.7108
8 | 0.022305 | 0.0056236 | -0.02229 | -0.0056143 | 1.5306e-05 | 9.3476e-06 | 0.033869 | 0.033869 | 0.033869 | 0.9803 | -0.37889 | 0.97956 | -0.39324 | 9.3048
9 | -0.07142 | -0.018017 | 0.07152 | 0.018081 | 9.9902e-05 | 6.3646e-05 | 0.10797 | 0.10797 | 0.10797 | 0.98471 | -0.29287 | 0.98622 | -0.2637 | 29.6608
10 | 0.02229 | 0.0056143 | -0.022252 | -0.0055915 | 3.7275e-05 | 2.2767e-05 | 0.033869 | 0.03387 | 0.03387 | 0.97956 | -0.39324 | 0.97777 | -0.42827 | 9.3049
11 | 0.077268 | 0.019579 | -0.077119 | -0.019484 | 0.00014908 | 9.5034e-05 | 0.11641 | 0.11641 | 0.11641 | 0.9883 | -0.22345 | 0.98622 | -0.2637 | 31.9817
12 | -0.082867 | -0.020982 | 0.083009 | 0.021073 | 0.00014194 | 9.0529e-05 | 0.12484 | 0.12484 | 0.12484 | 0.9883 | -0.22345 | 0.99015 | -0.18785 | 34.2976
13 | -0.083009 | -0.021073 | 0.083186 | 0.021185 | 0.0001769 | 0.00011282 | 0.12484 | 0.12484 | 0.12484 | 0.99015 | -0.18785 | 0.99245 | -0.14366 | 34.2976
14 | -0.19271 | -0.048936 | 0.19325 | 0.049278 | 0.00053562 | 0.00034191 | 0.28917 | 0.28917 | 0.28917 | 0.99245 | -0.14366 | 0.99547 | -0.086073 | 39.7206
15 | 0.08852 | 0.022483 | -0.088373 | -0.022389 | 0.00014727 | 9.3967e-05 | 0.13283 | 0.13283 | 0.13283 | 0.99245 | -0.14366 | 0.99065 | -0.17828 | 36.491
16 | 0.021006 | 0.0052677 | -0.021 | -0.005264 | 6.1113e-06 | 3.699e-06 | 0.031496 | 0.031496 | 0.031496 | 0.99245 | -0.14366 | 0.99214 | -0.14976 | 8.6527
17 | -0.20734 | -0.052809 | 0.20773 | 0.053063 | 0.00039747 | 0.00025381 | 0.31022 | 0.31022 | 0.31022 | 0.99547 | -0.086073 | 0.99755 | -0.046414 | 42.6132
18 | 0.014088 | 0.0035315 | -0.014085 | -0.00353 | 2.6769e-06 | 1.504e-06 | 0.021059 | 0.021059 | 0.021059 | 0.99547 | -0.086073 | 0.99526 | -0.090062 | 5.7853
19 | 0.088373 | 0.022389 | -0.08828 | -0.022329 | 9.2677e-05 | 5.9133e-05 | 0.13283 | 0.13283 | 0.13283 | 0.99065 | -0.17828 | 0.98951 | -0.20014 | 36.491
20 | 0.01288 | 0.0032291 | -0.012877 | -0.0032273 | 3.3637e-06 | 1.8425e-06 | 0.019319 | 0.019319 | 0.019319 | 0.99214 | -0.14976 | 0.99185 | -0.15524 | 5.3073
21 | 0.0097297 | 0.0024388 | -0.0097283 | -0.0024381 | 1.3799e-06 | 6.6857e-07 | 0.014736 | 0.014736 | 0.014736 | 0.98251 | -0.33624 | 0.98235 | -0.33922 | 4.0483
22 | 0.0068868 | 0.0017261 | -0.0068862 | -0.0017259 | 6.0308e-07 | 1.9878e-07 | 0.01043 | 0.01043 | 0.01043 | 0.98251 | -0.33624 | 0.98241 | -0.33808 | 2.8655
23 | -0.016617 | -0.0041649 | 0.01662 | 0.0041669 | 3.4682e-06 | 2.0346e-06 | 0.025166 | 0.025166 | 0.025166 | 0.98251 | -0.33624 | 0.98273 | -0.33186 | 6.9137
24 | -0.020625 | -0.0051707 | 0.020627 | 0.0051718 | 1.8165e-06 | 1.0997e-06 | 0.031231 | 0.031231 | 0.031231 | 0.98273 | -0.33186 | 0.98283 | -0.33001 | 8.5798
25 | -0.21242 | -0.054238 | 0.2129 | 0.054543 | 0.00047768 | 0.00030505 | 0.31722 | 0.31722 | 0.31722 | 0.99755 | -0.046414 | 1 | 0 | 43.5737
26 | 0.084223 | 0.021313 | -0.084182 | -0.021287 | 4.0534e-05 | 2.5856e-05 | 0.12673 | 0.12673 | 0.12673 | 0.98951 | -0.20014 | 0.98899 | -0.21017 | 34.8148
27 | 0.0055979 | 0.001403 | -0.0055978 | -0.0014029 | 1.1817e-07 | 1.7965e-08 | 0.0083982 | 0.0083982 | 0.0083982 | 0.99185 | -0.15524 | 0.99183 | -0.15569 | 2.3072
28 | -0.020627 | -0.0051718 | 0.020635 | 0.0051765 | 7.6694e-06 | 4.6426e-06 | 0.031231 | 0.03123 | 0.031231 | 0.98283 | -0.33001 | 0.98322 | -0.32221 | 8.5798
29 | 0.022252 | 0.0055915 | -0.022223 | -0.0055734 | 2.9679e-05 | 1.8131e-05 | 0.03387 | 0.03387 | 0.03387 | 0.97777 | -0.42827 | 0.97635 | -0.45625 | 9.305
30 | 0.015774 | 0.0039572 | -0.015763 | -0.0039505 | 1.1543e-05 | 6.7219e-06 | 0.024042 | 0.024042 | 0.024042 | 0.97635 | -0.45625 | 0.97557 | -0.47161 | 6.605
31 | -0.0039702 | -0.00099504 | 0.0039708 | 0.00099486 | 5.1912e-07 | -1.8006e-07 | 0.0059311 | 0.0059309 | 0.0059311 | 0.99606 | -0.075657 | 0.99621 | -0.072912 | 1.6294
32 | -0.0039708 | -0.00099486 | 0.0039709 | 0.00099479 | 1.8831e-07 | -6.5362e-08 | 0.0059309 | 0.0059309 | 0.0059309 | 0.99621 | -0.072912 | 0.99626 | -0.071916 | 1.6294
33 | -0.0088207 | -0.0022103 | 0.0088232 | 0.0022114 | 2.5561e-06 | 1.1244e-06 | 0.013174 | 0.013174 | 0.013174 | 0.99626 | -0.071916 | 0.99657 | -0.065834 | 3.6194
34 | 0.0036915 | 0.00092506 | -0.0036913 | -0.00092513 | 1.4676e-07 | -7.3913e-08 | 0.0055118 | 0.0055119 | 0.0055119 | 0.99657 | -0.065834 | 0.99653 | -0.066669 | 1.5142
35 | -0.012515 | -0.0031364 | 0.012517 | 0.0031379 | 2.6797e-06 | 1.4483e-06 | 0.018686 | 0.018686 | 0.018686 | 0.99657 | -0.065834 | 0.99681 | -0.06134 | 5.1335
36 | 0.013845 | 0.0034709 | -0.013842 | -0.0034692 | 3.1194e-06 | 1.7426e-06 | 0.020667 | 0.020668 | 0.020668 | 0.99681 | -0.06134 | 0.99656 | -0.06607 | 5.6779
37 | -0.026362 | -0.0066088 | 0.026371 | 0.0066145 | 9.2458e-06 | 5.7097e-06 | 0.039353 | 0.039353 | 0.039353 | 0.99681 | -0.06134 | 0.99719 | -0.053982 | 10.8114
38 | -0.025692 | -0.0064405 | 0.025705 | 0.0064488 | 1.3563e-05 | 8.3597e-06 | 0.038348 | 0.038347 | 0.038348 | 0.99694 | -0.058713 | 0.99752 | -0.04764 | 10.535
39 | 0.018297 | 0.0045871 | -0.018294 | -0.0045854 | 2.8693e-06 | 1.7026e-06 | 0.02731 | 0.02731 | 0.02731 | 0.99694 | -0.058713 | 0.99677 | -0.062005 | 7.5027
40 | -0.027362 | -0.006864 | 0.02737 | 0.0068689 | 7.8833e-06 | 4.8805e-06 | 0.040818 | 0.040818 | 0.040818 | 0.99752 | -0.04764 | 0.99783 | -0.041598 | 11.2138
41 | 0.008727 | 0.0021877 | -0.0087242 | -0.0021865 | 2.7746e-06 | 1.2077e-06 | 0.013028 | 0.013028 | 0.013028 | 0.99677 | -0.062005 | 0.99643 | -0.068679 | 3.5792
42 | -0.061463 | -0.015426 | 0.061517 | 0.01546 | 5.3588e-05 | 3.4074e-05 | 0.091665 | 0.091665 | 0.091665 | 0.99783 | -0.041598 | 0.99878 | -0.023334 | 25.1827
43 | 0.034094 | 0.0085574 | -0.034077 | -0.0085469 | 1.6743e-05 | 1.049e-05 | 0.050847 | 0.050847 | 0.050847 | 0.99783 | -0.041598 | 0.9973 | -0.0519 | 13.9689
44 | 0.076973 | 0.019429 | -0.076817 | -0.01933 | 0.00015565 | 9.9205e-05 | 0.11473 | 0.11473 | 0.11473 | 0.99878 | -0.023334 | 0.99658 | -0.065643 | 31.5181
45 | -0.13849 | -0.03489 | 0.13861 | 0.034966 | 0.00011953 | 7.6404e-05 | 0.20639 | 0.20639 | 0.20639 | 0.99878 | -0.023334 | 0.99972 | -0.0053047 | 56.7007
46 | 0.031168 | 0.0078178 | -0.031165 | -0.0078158 | 3.0927e-06 | 1.9296e-06 | 0.046506 | 0.046506 | 0.046506 | 0.9973 | -0.0519 | 0.99719 | -0.053982 | 12.7764
47 | 0.062498 | 0.015741 | -0.062437 | -0.015703 | 6.1028e-05 | 3.8815e-05 | 0.093345 | 0.093345 | 0.093345 | 0.99658 | -0.065643 | 0.99551 | -0.086084 | 25.6442
48 | -0.14706 | -0.037084 | 0.1471 | 0.037108 | 3.735e-05 | 2.3795e-05 | 0.21897 | 0.21897 | 0.21897 | 0.99972 | -0.0053047 | 1 | 0 | 30.0784
49 | 0.082788 | 0.020937 | -0.082644 | -0.020845 | 0.00014462 | 9.2239e-05 | 0.12463 | 0.12463 | 0.12463 | 0.98899 | -0.21017 | 0.98711 | -0.24666 | 34.2387
50 | 0.010351 | 0.0025943 | -0.01035 | -0.0025938 | 1.0151e-06 | 5.0202e-07 | 0.015455 | 0.015455 | 0.015455 | 0.99656 | -0.06607 | 0.99645 | -0.068128 | 4.246
51 | 0.0042948 | 0.0010763 | -0.0042946 | -0.0010763 | 2.0599e-07 | -4.212e-08 | 0.0064134 | 0.0064135 | 0.0064135 | 0.99645 | -0.068128 | 0.9964 | -0.069135 | 1.762
52 | 0.062437 | 0.015703 | -0.062401 | -0.01568 | 3.5475e-05 | 2.2563e-05 | 0.093345 | 0.093345 | 0.093345 | 0.99551 | -0.086084 | 0.9949 | -0.097986 | 25.6442
53 | 0.057958 | 0.014566 | -0.057924 | -0.014545 | 3.345e-05 | 2.1254e-05 | 0.086699 | 0.086699 | 0.086699 | 0.9949 | -0.097986 | 0.99427 | -0.11008 | 23.8185
54 | 0.0044435 | 0.0011136 | -0.0044433 | -0.0011136 | 1.5367e-07 | -2.2128e-08 | 0.0066459 | 0.0066459 | 0.0066459 | 0.9949 | -0.097986 | 0.99486 | -0.098712 | 1.8258
55 | 0.048897 | 0.012283 | -0.048891 | -0.012279 | 5.813e-06 | 3.6828e-06 | 0.073188 | 0.073188 | 0.073188 | 0.99427 | -0.11008 | 0.99414 | -0.11257 | 20.1067
56 | 0.040668 | 0.010208 | -0.040662 | -0.010204 | 6.0566e-06 | 3.8199e-06 | 0.060919 | 0.060919 | 0.060919 | 0.99345 | -0.12592 | 0.99329 | -0.12905 | 16.736
57 | -0.040668 | -0.010208 | 0.040694 | 0.010225 | 2.591e-05 | 1.6341e-05 | 0.060919 | 0.060919 | 0.060919 | 0.99345 | -0.12592 | 0.99414 | -0.11257 | 16.736
58 | 0.040662 | 0.010204 | -0.040636 | -0.010188 | 2.5434e-05 | 1.6041e-05 | 0.060919 | 0.060919 | 0.060919 | 0.99329 | -0.12905 | 0.99261 | -0.14217 | 16.736
59 | 0.033753 | 0.0084632 | -0.033747 | -0.0084594 | 5.9725e-06 | 3.742e-06 | 0.0506 | 0.0506 | 0.0506 | 0.99261 | -0.14217 | 0.99242 | -0.14588 | 13.9011
60 | -0.0031141 | -0.00078046 | 0.0031142 | 0.00078036 | 1.0823e-07 | -9.8136e-08 | 0.0046945 | 0.0046944 | 0.0046945 | 0.98707 | -0.24739 | 0.98711 | -0.24666 | 1.2897
61 | 0.07953 | 0.020065 | -0.079397 | -0.01998 | 0.0001324 | 8.4425e-05 | 0.11993 | 0.11993 | 0.11993 | 0.98711 | -0.24666 | 0.98531 | -0.28149 | 32.949
62 | 0.070909 | 0.017853 | -0.070867 | -0.017826 | 4.1677e-05 | 2.655e-05 | 0.10712 | 0.10712 | 0.10712 | 0.98531 | -0.28149 | 0.98468 | -0.29379 | 29.4273
63 | 0.070867 | 0.017826 | -0.070782 | -0.017772 | 8.5735e-05 | 5.4617e-05 | 0.10712 | 0.10712 | 0.10712 | 0.98468 | -0.29379 | 0.98338 | -0.31915 | 29.4274
64 | -0.025 | -0.0062704 | 0.025003 | 0.0062726 | 3.6503e-06 | 2.2499e-06 | 0.037836 | 0.037836 | 0.037836 | 0.98322 | -0.32221 | 0.98338 | -0.31915 | 10.3945
65 | 0.045778 | 0.011499 | -0.045756 | -0.011485 | 2.2522e-05 | 1.4255e-05 | 0.06928 | 0.06928 | 0.06928 | 0.98338 | -0.31915 | 0.98285 | -0.32947 | 19.0329
66 | 0.03848 | 0.0096615 | -0.038459 | -0.0096483 | 2.0983e-05 | 1.3221e-05 | 0.058265 | 0.058265 | 0.058265 | 0.98285 | -0.32947 | 0.98227 | -0.3409 | 16.0068
67 | 0.014331 | 0.0035935 | -0.014326 | -0.0035903 | 5.6271e-06 | 3.1816e-06 | 0.021489 | 0.021489 | 0.021489 | 0.99242 | -0.14588 | 0.99199 | -0.15413 | 5.9036
68 | 0.031359 | 0.0078688 | -0.031353 | -0.0078648 | 6.3194e-06 | 3.95e-06 | 0.047509 | 0.047509 | 0.047509 | 0.98227 | -0.3409 | 0.98205 | -0.34513 | 13.0518
69 | 0.0040594 | 0.0010173 | -0.0040593 | -0.0010173 | 1.234e-07 | -3.5597e-08 | 0.0060892 | 0.0060892 | 0.0060892 | 0.99199 | -0.15413 | 0.99196 | -0.15477 | 1.6729
70 | 0.025454 | 0.0063865 | -0.025441 | -0.0063782 | 1.353e-05 | 8.3525e-06 | 0.038571 | 0.038571 | 0.038571 | 0.98205 | -0.34513 | 0.98148 | -0.35629 | 10.5965
71 | 0.018759 | 0.0047037 | -0.018755 | -0.0047011 | 4.2515e-06 | 2.5439e-06 | 0.028442 | 0.028442 | 0.028442 | 0.98148 | -0.35629 | 0.98124 | -0.36104 | 7.8137
72 | 0.013308 | 0.003336 | -0.013306 | -0.0033348 | 2.1121e-06 | 1.1771e-06 | 0.020182 | 0.020182 | 0.020182 | 0.98124 | -0.36104 | 0.98107 | -0.36437 | 5.5444

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36626 | 0.092806

## res_load
| p_mw | q_mvar
0 | 0.011476 | 0.0028762
1 | 0.0047119 | 0.0011809
2 | 0.0074113 | 0.0018574
3 | 0.010657 | 0.0026708
4 | 0.0055983 | 0.0014031
5 | 0.0067504 | 0.0016918
6 | 0.0022884 | 0.00057353
7 | 0.0055991 | 0.0014033
8 | 0.0055991 | 0.0014033
9 | 0.0081193 | 0.0020349
10 | 0.0097283 | 0.0024381
11 | 0.0068862 | 0.0017259
12 | 0.0040053 | 0.0010038
13 | 0.0046877 | 0.0011749
14 | 0.014085 | 0.00353
15 | 0.0040574 | 0.0010169
16 | 0.0072792 | 0.0018243
17 | 0.0064486 | 0.0016162
18 | 0.015763 | 0.0039505
19 | 0.0039702 | 0.00099504
20 | 0.0048497 | 0.0012155
21 | 0.0036913 | 0.00092513
22 | 0.007395 | 0.0018534
23 | 0.0016565 | 0.00041515
24 | 0.0095669 | 0.0023977
25 | 0.0087242 | 0.0021865
26 | 0.0029093 | 0.00072913
27 | 0.01432 | 0.0035888
28 | 0.0084521 | 0.0021183
29 | 0.0047934 | 0.0012013
30 | 0.0055978 | 0.0014029
31 | 0.0046094 | 0.0011552
32 | 0.0013939 | 0.00034934
33 | 0.0034908 | 0.00087487
34 | 0.0060549 | 0.0015175
35 | 0.0044433 | 0.0011136
36 | 0.0090278 | 0.0022626
37 | 0.0081971 | 0.0020544
38 | 0.0042946 | 0.0010763
39 | 0.0068836 | 0.0017252
40 | 0.0031141 | 0.00078046
41 | 0.0084883 | 0.0021274
42 | 0.0043647 | 0.0010939
43 | 0.0072755 | 0.0018234
44 | 0.019415 | 0.004866
45 | 0.0071003 | 0.0017795
46 | 0.010266 | 0.002573
47 | 0.0040593 | 0.0010173
48 | 0.0058985 | 0.0014783
49 | 0.0066814 | 0.0016745
50 | 0.005447 | 0.0013651
51 | 0.013306 | 0.0033348

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1