## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1709-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1709-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1709-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1709-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1709-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1709-14_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1709-14_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1709-14_0_5_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_1709-14_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1709-14_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1709-14_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1709-14_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1709-14_0_5_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_1709-14_0_5_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_1709-14_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1709-14_0_5_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_1709-14_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1709-14_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1709-14_0_5_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1709-14_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1709-14_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1709-14_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1709-14_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1709-14_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1709-14_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1709-14_0_5_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1709-14_0_5_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1709-14_0_5_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_1709-14_0_5_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1709-14_0_5_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_1709-14_0_5_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_1709-14_0_5_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1709-14_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1709-14_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1709-14_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1709-14_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_1709-14_0_5_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1709-14_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_1709-14_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1709-14_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1709-14_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1709-14_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1709-14_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1709-14_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1709-14_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1709-14_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1709-14_0_5_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_1709-14_0_5_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_1709-14_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_1709-14_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_1709-14_0_5_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_1709-14_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1709-14_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1709-14_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1709-14_0_5_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1709-14_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_1709-14_0_5_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_1709-14_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1709-14_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_1709-14_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_1709-14_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1709-14_0_5_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_1709-14_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1709-14_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_1709-14_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1709-14_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_1709-14_0_5_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_1709-14_0_5_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_1709-14_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_1709-14_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1709-14_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_MV_25_0_node_194 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1709-14_0_5_load_0 | 0 | 0.041019 | 0.01028 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1709-14_0_5_load_4 | 4 | 0.060281 | 0.015108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1709-14_0_5_load_7 | 5 | 0.013002 | 0.0032586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1709-14_0_5_load_9 | 6 | 0.0079071 | 0.0019817 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1709-14_0_5_load_55 | 7 | 0.015083 | 0.0037801 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1709-14_0_5_load_54 | 12 | 0.0041947 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1709-14_0_5_load_11 | 14 | 0.011136 | 0.002791 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1709-14_0_5_load_64 | 15 | 0.0040447 | 0.0010137 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1709-14_0_5_load_13 | 17 | 0.0060465 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1709-14_0_5_load_38 | 18 | 0.0068604 | 0.0017194 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1709-14_0_5_load_16 | 19 | 0.0068732 | 0.0017226 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1709-14_0_5_load_21 | 22 | 0.0015667 | 0.00039266 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1709-14_0_5_load_39 | 25 | 0.0023698 | 0.00059392 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1709-14_0_5_load_36 | 26 | 0.0033635 | 0.00084298 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1709-14_0_5_load_70 | 27 | 0.0095317 | 0.0023889 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1709-14_0_5_load_40 | 28 | 0.0059402 | 0.0014887 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1709-14_0_5_load_53 | 30 | 0.0087232 | 0.0021862 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1709-14_0_5_load_24 | 32 | 0.028297 | 0.0070919 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1709-14_0_5_load_25 | 33 | 0.0043782 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1709-14_0_5_load_65 | 35 | 0.0011532 | 0.00028902 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1709-14_0_5_load_50 | 37 | 0.0026512 | 0.00066446 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1709-14_0_5_load_30 | 38 | 0.0023487 | 0.00058865 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1709-14_0_5_load_27 | 39 | 0.0026521 | 0.00066468 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1709-14_0_5_load_28 | 40 | 0.002651 | 0.0006644 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1709-14_0_5_load_31 | 42 | 0.0026675 | 0.00066855 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1709-14_0_5_load_32 | 43 | 0.0026669 | 0.00066839 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1709-14_0_5_load_33 | 44 | 0.0088437 | 0.0022164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1709-14_0_5_load_34 | 45 | 0.0026652 | 0.00066797 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1709-14_0_5_load_67 | 46 | 0.0033691 | 0.00084437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1709-14_0_5_load_72 | 47 | 0.0024942 | 0.0006251 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1709-14_0_5_load_66 | 48 | 0.0075554 | 0.0018936 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1709-14_0_5_load_52 | 49 | 0.0092319 | 0.0023137 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1709-14_0_5_load_74 | 50 | 0.0086493 | 0.0021677 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1709-14_0_5_load_37 | 51 | 0.0051828 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1709-14_0_5_load_43 | 52 | 0.0017634 | 0.00044194 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1709-14_0_5_load_42 | 53 | 0.0042428 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1709-14_0_5_load_44 | 54 | 0.0077017 | 0.0019302 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1709-14_0_5_load_45 | 55 | 0.0079903 | 0.0020025 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1709-14_0_5_load_60 | 56 | 0.0072186 | 0.0018092 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1709-14_0_5_load_46 | 58 | 0.0026788 | 0.00067137 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1709-14_0_5_load_47 | 59 | 0.0026777 | 0.0006711 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1709-14_0_5_load_48 | 60 | 0.009625 | 0.0024123 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1709-14_0_5_load_61 | 61 | 0.0072186 | 0.0018092 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1709-14_0_5_load_56 | 62 | 0.0027574 | 0.00069106 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1709-14_0_5_load_57 | 63 | 0.0032666 | 0.00081868 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1709-14_0_5_load_62 | 65 | 0.0027554 | 0.00069058 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1709-14_0_5_load_63 | 66 | 0.0091736 | 0.0022991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1709-14_0_5_load_68 | 67 | 0.0084516 | 0.0021182 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1709-14_0_5_load_73 | 68 | 0.0027563 | 0.00069079 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1709-14_0_5_load_69 | 69 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1709-14_0_5_load_71 | 70 | 0.0026862 | 0.00067322 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1709-14_0_5_line_0 |  | 0 | 1 | 0.020366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1709-14_0_5_line_1 |  | 0 | 2 | 0.039074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1709-14_0_5_line_2 |  | 1 | 3 | 0.044446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1709-14_0_5_line_3 |  | 1 | 4 | 0.0178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_1709-14_0_5_line_4 |  | 2 | 5 | 0.047521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1709-14_0_5_line_5 |  | 3 | 6 | 0.032465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1709-14_0_5_line_6 |  | 4 | 7 | 0.034334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1709-14_0_5_line_7 |  | 5 | 8 | 0.0090982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1709-14_0_5_line_8 |  | 7 | 13 | 0.022081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1709-14_0_5_line_9 |  | 8 | 9 | 0.037885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1709-14_0_5_line_10 |  | 9 | 14 | 0.02485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1709-14_0_5_line_11 |  | 10 | 11 | 0.027555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1709-14_0_5_line_12 |  | 10 | 12 | 0.01874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1709-14_0_5_line_13 |  | 11 | 15 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1709-14_0_5_line_14 |  | 11 | 16 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1709-14_0_5_line_15 |  | 13 | 59 | 0.0033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_1709-14_0_5_line_16 |  | 14 | 16 | 0.032419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1709-14_0_5_line_17 |  | 15 | 18 | 0.025959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1709-14_0_5_line_18 |  | 16 | 17 | 0.046818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1709-14_0_5_line_19 |  | 18 | 51 | 0.001644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1709-14_0_5_line_20 |  | 19 | 20 | 0.037867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1709-14_0_5_line_21 |  | 19 | 21 | 0.054033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1709-14_0_5_line_22 |  | 20 | 22 | 0.1674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1709-14_0_5_line_23 |  | 21 | 23 | 0.041363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1709-14_0_5_line_24 |  | 23 | 27 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1709-14_0_5_line_25 |  | 24 | 25 | 0.019658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1709-14_0_5_line_26 |  | 24 | 26 | 0.012678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1709-14_0_5_line_27 |  | 25 | 28 | 0.019417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1709-14_0_5_line_28 |  | 27 | 29 | 0.0044407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1709-14_0_5_line_29 |  | 28 | 29 | 0.0084351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1709-14_0_5_line_30 |  | 29 | 52 | 0.023161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1709-14_0_5_line_31 |  | 30 | 31 | 0.030589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1709-14_0_5_line_32 |  | 31 | 49 | 0.0022986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1709-14_0_5_line_33 |  | 31 | 45 | 0.017408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1709-14_0_5_line_34 |  | 32 | 33 | 0.019216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1709-14_0_5_line_35 |  | 33 | 34 | 0.047585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1709-14_0_5_line_36 |  | 34 | 35 | 0.00093819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1709-14_0_5_line_37 |  | 34 | 36 | 0.038096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_1709-14_0_5_line_38 |  | 35 | 37 | 0.026123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1709-14_0_5_line_39 |  | 36 | 38 | 0.05826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1709-14_0_5_line_40 |  | 37 | 60 | 0.035386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1709-14_0_5_line_41 |  | 38 | 40 | 0.023103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1709-14_0_5_line_42 |  | 39 | 40 | 0.005056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1709-14_0_5_line_43 |  | 39 | 41 | 0.034672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_1709-14_0_5_line_44 |  | 41 | 42 | 0.029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_1709-14_0_5_line_45 |  | 41 | 43 | 0.0099432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1709-14_0_5_line_46 |  | 41 | 44 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1709-14_0_5_line_47 |  | 42 | 45 | 0.0043497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_1709-14_0_5_line_48 |  | 43 | 46 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1709-14_0_5_line_49 |  | 44 | 47 | 0.024594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1709-14_0_5_line_50 |  | 46 | 48 | 0.0057866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1709-14_0_5_line_51 |  | 49 | 50 | 0.026693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_1709-14_0_5_line_52 |  | 50 | 61 | 0.018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_1709-14_0_5_line_53 |  | 52 | 53 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1709-14_0_5_line_54 |  | 53 | 54 | 0.0068067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1709-14_0_5_line_55 |  | 54 | 55 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1709-14_0_5_line_56 |  | 55 | 56 | 0.013475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1709-14_0_5_line_57 |  | 56 | 57 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1709-14_0_5_line_58 |  | 57 | 61 | 0.0077621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_1709-14_0_5_line_59 |  | 57 | 62 | 0.022432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1709-14_0_5_line_60 |  | 58 | 59 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_1709-14_0_5_line_61 |  | 58 | 60 | 0.0099185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_1709-14_0_5_line_62 |  | 62 | 63 | 0.0028429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_1709-14_0_5_line_63 |  | 63 | 64 | 0.011332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_1709-14_0_5_line_64 |  | 64 | 65 | 0.0059259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_1709-14_0_5_line_65 |  | 64 | 66 | 0.028072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1709-14_0_5_line_66 |  | 65 | 67 | 0.032398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_1709-14_0_5_line_67 |  | 66 | 68 | 0.00099281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1709-14_0_5_line_68 |  | 67 | 69 | 0.004623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_1709-14_0_5_line_69 |  | 69 | 70 | 0.013954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1709-14_0_5_trafo_71 | 0.63 MVA 20/0.4 kV | 71 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2687064.3136 | 1220902.4463 | 2687082.8162 | 1220910.9572
1 | 2687118.3149 | 1220927.286 | 2687082.8162 | 1220910.9572
2 | 2687064.3136 | 1220902.4463 | 2687083.942 | 1220862.5505
3 | 2687064.3136 | 1220902.4463 | 2687048.5486 | 1220900.2366 | 2687046.8329 | 1220901.0076
4 | 2687118.3149 | 1220927.286 | 2687101.2705 | 1220944.0704 | 2687085.1481 | 1220949.1826 | 2687081.0144 | 1220948.0436 | 2687078.7491 | 1220948.8331
5 | 2687083.942 | 1220862.5505 | 2687088.4257 | 1220852.7316 | 2687098.5119 | 1220833.5506
6 | 2687015.5155 | 1220915.0808 | 2687046.8329 | 1220901.0076
7 | 2687071.3859 | 1220953.7512 | 2687074.8294 | 1220950.1991 | 2687078.7491 | 1220948.8331
8 | 2686995.3747 | 1220924.1316 | 2687015.5155 | 1220915.0808
9 | 2687071.3859 | 1220953.7512 | 2687082.5409 | 1220989.9611
10 | 2687082.5409 | 1220989.9611 | 2687058.902 | 1220997.6242
11 | 2687020.8449 | 1220996.8753 | 2687032.4475 | 1220971.8723
12 | 2687032.4475 | 1220971.8723 | 2687019.8733 | 1220977.1811 | 2687016.2481 | 1220973.606
13 | 2687020.8449 | 1220996.8753 | 2687015.4819 | 1221011.3373
14 | 2687020.8449 | 1220996.8753 | 2687023.6547 | 1220998.2618 | 2687026.2631 | 1221002.0135 | 2687028.0628 | 1221007.6214
15 | 2686995.3747 | 1220924.1316 | 2686994.0751 | 1220920.9991
16 | 2687028.0628 | 1221007.6214 | 2687058.902 | 1220997.6242
17 | 2687015.4819 | 1221011.3373 | 2687006.4562 | 1221035.6762
18 | 2687028.0628 | 1221007.6214 | 2687042.344 | 1221052.2078
19 | 2687005.8846 | 1221037.2176 | 2687005.8846 | 1221037.2176 | 2687006.4562 | 1221035.6762
20 | 2686851.4598 | 1221128.1369 | 2686888.1066 | 1221137.6725
21 | 2686940.8902 | 1221148.4443 | 2686930.7512 | 1221147.5735 | 2686923.5759 | 1221146.9017 | 2686888.1066 | 1221137.6725
22 | 2686851.4598 | 1221128.1369 | 2686719.8568 | 1221024.6722
23 | 2686937.8127 | 1221107.2046 | 2686939.2245 | 1221131.0637 | 2686939.8564 | 1221137.6663 | 2686940.5818 | 1221144.1035 | 2686940.8902 | 1221148.4443
24 | 2686937.8127 | 1221107.2046 | 2686936.3341 | 1221097.0141
25 | 2686981.6592 | 1221104.643 | 2686962.6414 | 1221099.668
26 | 2686981.6592 | 1221104.643 | 2686987.1548 | 1221093.2175
27 | 2686962.6414 | 1221099.668 | 2686943.8569 | 1221094.7541
28 | 2686935.6964 | 1221092.6194 | 2686936.3341 | 1221097.0141
29 | 2686935.6964 | 1221092.6194 | 2686943.8569 | 1221094.7541
30 | 2686935.6964 | 1221092.6194 | 2686930.4401 | 1221070.0626
31 | 2686879.5629 | 1220954.5175 | 2686864.4643 | 1220927.914
32 | 2686879.5629 | 1220954.5175 | 2686880.6836 | 1220956.5244
33 | 2686879.5629 | 1220954.5175 | 2686890.6719 | 1220941.1147
34 | 2686992.978 | 1220860.2086 | 2687010.8251 | 1220853.085
35 | 2686959.6679 | 1220839.9863 | 2686974.286 | 1220834.496 | 2686983.5978 | 1220845.7952 | 2686989.7998 | 1220853.3909 | 2686992.978 | 1220860.2086 | 2686992.978 | 1220860.2086
36 | 2686959.6679 | 1220839.9863 | 2686960.0659 | 1220840.8359
37 | 2686941.8893 | 1220806.2705 | 2686959.6679 | 1220839.9863
38 | 2686970.3649 | 1220864.8422 | 2686960.7274 | 1220842.2477 | 2686960.0659 | 1220840.8359
39 | 2686941.8893 | 1220806.2705 | 2686919.9848 | 1220824.3743 | 2686916.0043 | 1220834.045 | 2686914.2204 | 1220845.0153 | 2686915.2907 | 1220853.2156
40 | 2686970.3649 | 1220864.8422 | 2686976.2805 | 1220878.7107 | 2686984.2582 | 1220897.3868
41 | 2686915.2907 | 1220853.2156 | 2686918.2807 | 1220876.124
42 | 2686918.2807 | 1220876.124 | 2686918.9351 | 1220881.1375
43 | 2686911.2091 | 1220914.0628 | 2686920.1847 | 1220890.7112 | 2686918.9351 | 1220881.1375
44 | 2686911.2091 | 1220914.0628 | 2686896.2534 | 1220934.3806 | 2686893.4477 | 1220937.7657
45 | 2686911.2091 | 1220914.0628 | 2686904.6073 | 1220913.0658 | 2686902.7586 | 1220910.3728
46 | 2686911.2091 | 1220914.0628 | 2686918.9545 | 1220910.0064 | 2686927.3007 | 1220914.1115
47 | 2686890.6719 | 1220941.1147 | 2686893.4477 | 1220937.7657
48 | 2686902.7586 | 1220910.3728 | 2686895.21 | 1220899.3766
49 | 2686947.6893 | 1220927.6155 | 2686936.3342 | 1220918.5547 | 2686927.3007 | 1220914.1115
50 | 2686891.935 | 1220894.6059 | 2686895.21 | 1220899.3766
51 | 2686880.6836 | 1220956.5244 | 2686893.698 | 1220979.8298
52 | 2686893.698 | 1220979.8298 | 2686902.7154 | 1220995.9774
53 | 2686926.2592 | 1221054.1038 | 2686929.3919 | 1221065.5645 | 2686930.4401 | 1221070.0626
54 | 2686926.2592 | 1221054.1038 | 2686924.7751 | 1221048.6745 | 2686924.3742 | 1221047.5666
55 | 2686919.3964 | 1221033.8107 | 2686924.3742 | 1221047.5666
56 | 2686919.3964 | 1221033.8107 | 2686914.8114 | 1221021.14
57 | 2686906.4999 | 1221002.7544 | 2686914.3314 | 1221019.8136 | 2686914.8114 | 1221021.14
58 | 2686906.4999 | 1221002.7544 | 2686902.7154 | 1220995.9774
59 | 2686906.4999 | 1221002.7544 | 2686926.429 | 1220992.4575
60 | 2686988.0763 | 1220906.5409 | 2686994.0751 | 1220920.9991
61 | 2686988.0763 | 1220906.5409 | 2686984.9597 | 1220899.0291 | 2686984.2582 | 1220897.3868
62 | 2686926.429 | 1220992.4575 | 2686928.9547 | 1220991.1525
63 | 2686939.0222 | 1220985.9509 | 2686928.9547 | 1220991.1525
64 | 2686939.0222 | 1220985.9509 | 2686943.9798 | 1220982.7047
65 | 2686939.0222 | 1220985.9509 | 2686928.7558 | 1220959.8236
66 | 2686943.9798 | 1220982.7047 | 2686971.0842 | 1220964.9569
67 | 2686928.3927 | 1220958.8996 | 2686928.7558 | 1220959.8236
68 | 2686974.9518 | 1220962.4245 | 2686971.0842 | 1220964.9569
69 | 2686986.6261 | 1220954.7802 | 2686974.9518 | 1220962.4245

## bus_geodata
| x | y | coords
0 | 2687082.8162 | 1220910.9572
1 | 2687064.3136 | 1220902.4463
2 | 2687118.3149 | 1220927.286
3 | 2687083.942 | 1220862.5505
4 | 2687046.8329 | 1220901.0076
5 | 2687078.7491 | 1220948.8331
6 | 2687098.5119 | 1220833.5506
7 | 2687015.5155 | 1220915.0808
8 | 2687071.3859 | 1220953.7512
9 | 2687082.5409 | 1220989.9611
10 | 2687032.4475 | 1220971.8723
11 | 2687020.8449 | 1220996.8753
12 | 2687016.2481 | 1220973.606
13 | 2686995.3747 | 1220924.1316
14 | 2687058.902 | 1220997.6242
15 | 2687015.4819 | 1221011.3373
16 | 2687028.0628 | 1221007.6214
17 | 2687042.344 | 1221052.2078
18 | 2687006.4562 | 1221035.6762
19 | 2686888.1066 | 1221137.6725
20 | 2686851.4598 | 1221128.1369
21 | 2686940.8902 | 1221148.4443
22 | 2686719.8568 | 1221024.6722
23 | 2686937.8127 | 1221107.2046
24 | 2686981.6592 | 1221104.643
25 | 2686962.6414 | 1221099.668
26 | 2686987.1548 | 1221093.2175
27 | 2686936.3341 | 1221097.0141
28 | 2686943.8569 | 1221094.7541
29 | 2686935.6964 | 1221092.6194
30 | 2686864.4643 | 1220927.914
31 | 2686879.5629 | 1220954.5175
32 | 2687010.8251 | 1220853.085
33 | 2686992.978 | 1220860.2086
34 | 2686959.6679 | 1220839.9863
35 | 2686960.0659 | 1220840.8359
36 | 2686941.8893 | 1220806.2705
37 | 2686970.3649 | 1220864.8422
38 | 2686915.2907 | 1220853.2156
39 | 2686918.9351 | 1220881.1375
40 | 2686918.2808 | 1220876.124
41 | 2686911.2091 | 1220914.0628
42 | 2686893.4477 | 1220937.7657
43 | 2686902.7586 | 1220910.3728
44 | 2686927.3007 | 1220914.1115
45 | 2686890.6719 | 1220941.1147
46 | 2686895.21 | 1220899.3766
47 | 2686947.6893 | 1220927.6155
48 | 2686891.935 | 1220894.6059
49 | 2686880.6836 | 1220956.5244
50 | 2686893.698 | 1220979.8298
51 | 2687005.8846 | 1221037.2176
52 | 2686930.4401 | 1221070.0626
53 | 2686926.2592 | 1221054.1038
54 | 2686924.3742 | 1221047.5666
55 | 2686919.3964 | 1221033.8107
56 | 2686914.8114 | 1221021.14
57 | 2686906.4999 | 1221002.7544
58 | 2686988.0763 | 1220906.5409
59 | 2686994.0751 | 1220920.9991
60 | 2686984.2582 | 1220897.3868
61 | 2686902.7154 | 1220995.9774
62 | 2686926.429 | 1220992.4575
63 | 2686928.9547 | 1220991.1525
64 | 2686939.0222 | 1220985.9509
65 | 2686943.9798 | 1220982.7047
66 | 2686928.7558 | 1220959.8236
67 | 2686971.0842 | 1220964.9569
68 | 2686928.3927 | 1220958.8996
69 | 2686974.9518 | 1220962.4245
70 | 2686986.6261 | 1220954.7802
71 | 2686939.0222 | 1220985.9509

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97579 | -0.46603 | 0.041019 | 0.01028
1 | 0.97614 | -0.45921 | 0 | 0
2 | 0.97542 | -0.47325 | 0 | 0
3 | 0.97581 | -0.46564 | 0 | 0
4 | 0.97647 | -0.45274 | 0.060281 | 0.015108
5 | 0.9743 | -0.49525 | 0.013002 | 0.0032586
6 | 0.97557 | -0.47034 | 0.0079071 | 0.0019817
7 | 0.97749 | -0.43271 | 0.015083 | 0.0037801
8 | 0.97398 | -0.50151 | 0 | 0
9 | 0.97266 | -0.52763 | 0 | 0
10 | 0.97063 | -0.5678 | 0 | 0
11 | 0.97073 | -0.56567 | 0 | 0
12 | 0.97055 | -0.56926 | 0.0041947 | 0.0010513
13 | 0.9782 | -0.41864 | 0 | 0
14 | 0.97179 | -0.5448 | 0.011136 | 0.002791
15 | 0.9705 | -0.57026 | 0.0040447 | 0.0010137
16 | 0.97099 | -0.56057 | 0 | 0
17 | 0.97073 | -0.56581 | 0.0060465 | 0.0015154
18 | 0.97021 | -0.57604 | 0.0068604 | 0.0017194
19 | 0.98906 | -0.20944 | 0.0068732 | 0.0017226
20 | 0.989 | -0.2105 | 0 | 0
21 | 0.98947 | -0.20131 | 0 | 0
22 | 0.98876 | -0.21518 | 0.0015667 | 0.00039266
23 | 0.98979 | -0.19509 | 0 | 0
24 | 0.98969 | -0.19703 | 0 | 0
25 | 0.98975 | -0.19585 | 0.0023698 | 0.00059392
26 | 0.98966 | -0.19779 | 0.0033635 | 0.00084298
27 | 0.98987 | -0.19354 | 0.0095317 | 0.0023889
28 | 0.98986 | -0.19387 | 0.0059402 | 0.0014887
29 | 0.98995 | -0.19212 | 0 | 0
30 | 0.99038 | -0.18289 | 0.0087232 | 0.0021862
31 | 0.99063 | -0.17815 | 0 | 0
32 | 0.97944 | -0.39467 | 0.028297 | 0.0070919
33 | 0.97994 | -0.3848 | 0.0043782 | 0.0010973
34 | 0.98138 | -0.35661 | 0 | 0
35 | 0.98135 | -0.35727 | 0.0011532 | 0.00028902
36 | 0.98298 | -0.32547 | 0 | 0
37 | 0.98041 | -0.37549 | 0.0026512 | 0.00066446
38 | 0.98543 | -0.27802 | 0.0023487 | 0.00058865
39 | 0.98663 | -0.25489 | 0.0026521 | 0.00066468
40 | 0.98641 | -0.25908 | 0.002651 | 0.0006644
41 | 0.98814 | -0.22589 | 0 | 0
42 | 0.98956 | -0.19855 | 0.0026675 | 0.00066855
43 | 0.98802 | -0.2283 | 0.0026669 | 0.00066839
44 | 0.98795 | -0.22954 | 0.0088437 | 0.0022164
45 | 0.98978 | -0.1945 | 0.0026652 | 0.00066797
46 | 0.98788 | -0.23091 | 0.0033691 | 0.00084437
47 | 0.9879 | -0.23064 | 0.0024942 | 0.0006251
48 | 0.98784 | -0.23169 | 0.0075554 | 0.0018936
49 | 0.99075 | -0.17592 | 0.0092319 | 0.0023137
50 | 0.99214 | -0.14921 | 0.0086493 | 0.0021677
51 | 0.9702 | -0.5762 | 0.0051828 | 0.0012989
52 | 0.99058 | -0.17991 | 0.0017634 | 0.00044194
53 | 0.99105 | -0.17071 | 0.0042428 | 0.0010634
54 | 0.99127 | -0.1664 | 0.0077017 | 0.0019302
55 | 0.99185 | -0.15515 | 0.0079903 | 0.0020025
56 | 0.99249 | -0.1429 | 0.0072186 | 0.0018092
57 | 0.99357 | -0.12201 | 0 | 0
58 | 0.97883 | -0.40637 | 0.0026788 | 0.00067137
59 | 0.97831 | -0.41648 | 0.0026777 | 0.0006711
60 | 0.97916 | -0.39987 | 0.009625 | 0.0024123
61 | 0.99314 | -0.13018 | 0.0072186 | 0.0018092
62 | 0.99505 | -0.093799 | 0.0027574 | 0.00069106
63 | 0.99524 | -0.090202 | 0.0032666 | 0.00081868
64 | 0.996 | -0.07575 | 0 | 0
65 | 0.99641 | -0.067953 | 0.0027554 | 0.00069058
66 | 0.99569 | -0.081637 | 0.0091736 | 0.0022991
67 | 0.99867 | -0.025126 | 0.0084516 | 0.0021182
68 | 0.99569 | -0.081685 | 0.0027563 | 0.00069079
69 | 0.999 | -0.018895 | 0.0022357 | 0.00056032
70 | 1 | 0 | -0.39595 | -0.10126
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.09168 | -0.023046 | 0.09171 | 0.023063 | 2.9866e-05 | 1.7842e-05 | 0.13983 | 0.13983 | 0.13983 | 0.97579 | -0.46603 | 0.97614 | -0.45921 | 7.683
1 | 0.050661 | 0.012765 | -0.050643 | -0.012757 | 1.7502e-05 | 8.7615e-06 | 0.077279 | 0.07728 | 0.07728 | 0.97579 | -0.46603 | 0.97542 | -0.47325 | 4.2462
2 | 0.0079113 | 0.0019834 | -0.0079088 | -0.0019824 | 2.4242e-06 | 9.9609e-07 | 0.01206 | 0.01206 | 0.01206 | 0.97614 | -0.45921 | 0.97581 | -0.46564 | 3.3133
3 | -0.099621 | -0.025047 | 0.099652 | 0.025066 | 3.0799e-05 | 1.8599e-05 | 0.15189 | 0.15189 | 0.15189 | 0.97614 | -0.45921 | 0.97647 | -0.45274 | 8.3456
4 | 0.050643 | 0.012757 | -0.05059 | -0.012724 | 5.3215e-05 | 3.2872e-05 | 0.07728 | 0.077281 | 0.077281 | 0.97542 | -0.47325 | 0.9743 | -0.49525 | 10.6155
5 | 0.0079088 | 0.0019824 | -0.0079071 | -0.0019817 | 1.7708e-06 | 7.2786e-07 | 0.01206 | 0.01206 | 0.01206 | 0.97581 | -0.46564 | 0.97557 | -0.47034 | 3.3133
6 | -0.15993 | -0.040173 | 0.16009 | 0.040269 | 0.000153 | 9.5768e-05 | 0.24375 | 0.24375 | 0.24375 | 0.97647 | -0.45274 | 0.97749 | -0.43271 | 13.3929
7 | 0.037588 | 0.0094651 | -0.037577 | -0.009458 | 1.125e-05 | 7.0868e-06 | 0.057423 | 0.057423 | 0.057423 | 0.9743 | -0.49525 | 0.97398 | -0.50151 | 15.7756
8 | -0.17517 | -0.044049 | 0.17529 | 0.044123 | 0.0001178 | 7.4009e-05 | 0.26671 | 0.26671 | 0.26671 | 0.97749 | -0.43271 | 0.9782 | -0.41864 | 14.6544
9 | 0.037577 | 0.009458 | -0.03753 | -0.0094285 | 4.6846e-05 | 2.9511e-05 | 0.057423 | 0.057423 | 0.057423 | 0.97398 | -0.50151 | 0.97266 | -0.52763 | 15.7756
10 | 0.03753 | 0.0094285 | -0.037499 | -0.0094091 | 3.0728e-05 | 1.9358e-05 | 0.057423 | 0.057423 | 0.057423 | 0.97266 | -0.52763 | 0.97179 | -0.5448 | 15.7756
11 | -0.004195 | -0.0010513 | 0.0041954 | 0.0010512 | 4.2736e-07 | -6.7102e-08 | 0.0064311 | 0.006431 | 0.0064311 | 0.97063 | -0.5678 | 0.97073 | -0.56567 | 1.7668
12 | 0.004195 | 0.0010513 | -0.0041947 | -0.0010513 | 2.9066e-07 | -4.5587e-08 | 0.0064311 | 0.0064312 | 0.0064312 | 0.97063 | -0.5678 | 0.97055 | -0.56926 | 1.7668
13 | 0.016095 | 0.0040359 | -0.016091 | -0.0040338 | 3.5209e-06 | 2.0627e-06 | 0.024672 | 0.024672 | 0.024672 | 0.97073 | -0.56567 | 0.9705 | -0.57026 | 6.7781
14 | -0.02029 | -0.0050871 | 0.020295 | 0.0050901 | 4.9265e-06 | 2.985e-06 | 0.031103 | 0.031103 | 0.031103 | 0.97073 | -0.56567 | 0.97099 | -0.56057 | 8.5448
15 | -0.17529 | -0.044123 | 0.1753 | 0.044135 | 1.8093e-05 | 1.1367e-05 | 0.26671 | 0.26671 | 0.26671 | 0.9782 | -0.41864 | 0.97831 | -0.41648 | 14.6544
16 | 0.026363 | 0.0066181 | -0.026343 | -0.0066058 | 1.9814e-05 | 1.228e-05 | 0.040371 | 0.040371 | 0.040371 | 0.97179 | -0.5448 | 0.97099 | -0.56057 | 11.0911
17 | 0.012047 | 0.0030201 | -0.012043 | -0.0030183 | 3.3211e-06 | 1.8048e-06 | 0.018471 | 0.018471 | 0.018471 | 0.9705 | -0.57026 | 0.97021 | -0.57604 | 5.0744
18 | 0.006048 | 0.0015158 | -0.0060465 | -0.0015154 | 1.5082e-06 | 3.863e-07 | 0.0092683 | 0.0092685 | 0.0092685 | 0.97099 | -0.56057 | 0.97073 | -0.56581 | 2.5463
19 | 0.0051829 | 0.0012989 | -0.0051828 | -0.0012989 | 3.8954e-08 | 4.6286e-09 | 0.007949 | 0.007949 | 0.007949 | 0.97021 | -0.57604 | 0.9702 | -0.5762 | 2.1838
20 | 0.0015672 | 0.0003903 | -0.0015671 | -0.00039074 | 7.8888e-08 | -4.3546e-07 | 0.0023569 | 0.0023571 | 0.0023571 | 0.98906 | -0.20944 | 0.989 | -0.2105 | 0.64755
21 | -0.0084404 | -0.0021129 | 0.0084437 | 0.0021143 | 3.2668e-06 | 1.397e-06 | 0.012698 | 0.012697 | 0.012698 | 0.98906 | -0.20944 | 0.98947 | -0.20131 | 3.4883
22 | 0.0015671 | 0.00039074 | -0.0015667 | -0.00039266 | 3.4889e-07 | -1.9244e-06 | 0.0023571 | 0.0023578 | 0.0023578 | 0.989 | -0.2105 | 0.98876 | -0.21518 | 0.64776
23 | -0.0084437 | -0.0021143 | 0.0084462 | 0.0021154 | 2.5007e-06 | 1.069e-06 | 0.012697 | 0.012697 | 0.012697 | 0.98947 | -0.20131 | 0.98979 | -0.19509 | 3.4883
24 | -0.0084462 | -0.0021154 | 0.0084468 | 0.0021156 | 6.2253e-07 | 2.6606e-07 | 0.012697 | 0.012697 | 0.012697 | 0.98979 | -0.19509 | 0.98987 | -0.19354 | 3.4882
25 | -0.0033637 | -0.0008429 | 0.0033638 | 0.00084276 | 1.8853e-07 | -1.3196e-07 | 0.0050573 | 0.0050572 | 0.0050573 | 0.98969 | -0.19703 | 0.98975 | -0.19585 | 1.3894
26 | 0.0033637 | 0.0008429 | -0.0033635 | -0.00084298 | 1.216e-07 | -8.5091e-08 | 0.0050573 | 0.0050573 | 0.0050573 | 0.98969 | -0.19703 | 0.98966 | -0.19779 | 1.3894
27 | -0.0057336 | -0.0014367 | 0.0057341 | 0.0014368 | 5.4101e-07 | 9.6681e-08 | 0.0086199 | 0.0086198 | 0.0086199 | 0.98975 | -0.19585 | 0.98986 | -0.19387 | 2.3681
28 | -0.017978 | -0.0045045 | 0.01798 | 0.0045052 | 1.2163e-06 | 7.2132e-07 | 0.027025 | 0.027025 | 0.027025 | 0.98987 | -0.19354 | 0.98995 | -0.19212 | 7.4246
29 | -0.011674 | -0.0029255 | 0.011675 | 0.002926 | 9.742e-07 | 5.1505e-07 | 0.017549 | 0.017549 | 0.017549 | 0.98986 | -0.19387 | 0.98995 | -0.19212 | 4.8213
30 | -0.029655 | -0.0074312 | 0.029672 | 0.007442 | 1.7257e-05 | 1.0747e-05 | 0.044575 | 0.044575 | 0.044575 | 0.98995 | -0.19212 | 0.99058 | -0.17991 | 12.2458
31 | -0.0087232 | -0.0021862 | 0.0087252 | 0.0021871 | 1.9704e-06 | 8.6734e-07 | 0.013106 | 0.013106 | 0.013106 | 0.99038 | -0.18289 | 0.99063 | -0.17815 | 3.6006
32 | -0.27606 | -0.070401 | 0.27609 | 0.07042 | 2.9705e-05 | 1.8863e-05 | 0.4151 | 0.4151 | 0.4151 | 0.99063 | -0.17815 | 0.99075 | -0.17592 | 22.8079
33 | 0.26734 | 0.068214 | -0.26713 | -0.06808 | 0.00021099 | 0.00013391 | 0.402 | 0.402 | 0.402 | 0.99063 | -0.17815 | 0.98978 | -0.1945 | 22.0878
34 | -0.028297 | -0.0070919 | 0.02831 | 0.0071002 | 1.3318e-05 | 8.2816e-06 | 0.04299 | 0.04299 | 0.04299 | 0.97944 | -0.39467 | 0.97994 | -0.3848 | 11.8105
35 | -0.032688 | -0.0081974 | 0.032732 | 0.008225 | 4.3968e-05 | 2.7539e-05 | 0.049638 | 0.049638 | 0.049638 | 0.97994 | -0.3848 | 0.98138 | -0.35661 | 13.6369
36 | 0.19463 | 0.049183 | -0.19462 | -0.049179 | 6.1339e-06 | 3.8665e-06 | 0.29525 | 0.29525 | 0.29525 | 0.98138 | -0.35661 | 0.98135 | -0.35727 | 16.2227
37 | -0.22736 | -0.057408 | 0.2277 | 0.057623 | 0.00033986 | 0.0002151 | 0.34489 | 0.34489 | 0.34489 | 0.98138 | -0.35661 | 0.98298 | -0.32547 | 18.95
38 | 0.19347 | 0.04889 | -0.1933 | -0.048783 | 0.00016878 | 0.00010637 | 0.2935 | 0.2935 | 0.2935 | 0.98135 | -0.35727 | 0.98041 | -0.37549 | 16.1266
39 | -0.2277 | -0.057623 | 0.22822 | 0.057952 | 0.00051974 | 0.00032893 | 0.34489 | 0.34489 | 0.34489 | 0.98298 | -0.32547 | 0.98543 | -0.27802 | 18.95
40 | 0.19065 | 0.048119 | -0.19043 | -0.047979 | 0.0002224 | 0.00014011 | 0.28948 | 0.28948 | 0.28948 | 0.98041 | -0.37549 | 0.97916 | -0.39987 | 15.9056
41 | -0.23057 | -0.05854 | 0.23078 | 0.058674 | 0.00021036 | 0.00013316 | 0.34844 | 0.34843 | 0.34844 | 0.98543 | -0.27802 | 0.98641 | -0.25908 | 19.1448
42 | 0.23348 | 0.059368 | -0.23343 | -0.059338 | 4.71e-05 | 2.9821e-05 | 0.35243 | 0.35243 | 0.35243 | 0.98663 | -0.25489 | 0.98641 | -0.25908 | 19.3645
43 | -0.23613 | -0.060032 | 0.23646 | 0.060242 | 0.00033037 | 0.00020922 | 0.35643 | 0.35643 | 0.35643 | 0.98663 | -0.25489 | 0.98814 | -0.22589 | 19.5843
44 | -0.2614 | -0.066492 | 0.26174 | 0.066711 | 0.00034489 | 0.00021883 | 0.39398 | 0.39398 | 0.39398 | 0.98814 | -0.22589 | 0.98956 | -0.19855 | 21.6473
45 | 0.013595 | 0.003408 | -0.013593 | -0.0034071 | 1.5627e-06 | 8.7279e-07 | 0.020472 | 0.020472 | 0.020472 | 0.98814 | -0.22589 | 0.98802 | -0.2283 | 5.6242
46 | 0.01134 | 0.0028423 | -0.011338 | -0.0028413 | 1.9733e-06 | 1.0318e-06 | 0.017077 | 0.017077 | 0.017077 | 0.98814 | -0.22589 | 0.98795 | -0.22954 | 4.6914
47 | -0.26441 | -0.067379 | 0.26446 | 0.067412 | 5.1674e-05 | 3.2792e-05 | 0.39799 | 0.39799 | 0.39799 | 0.98956 | -0.19855 | 0.98978 | -0.1945 | 21.8677
48 | 0.010926 | 0.0027387 | -0.010925 | -0.0027381 | 1.3544e-06 | 6.9603e-07 | 0.016456 | 0.016456 | 0.016456 | 0.98802 | -0.2283 | 0.98788 | -0.23091 | 4.5208
49 | 0.0024943 | 0.00062486 | -0.0024942 | -0.0006251 | 1.3016e-07 | -2.3161e-07 | 0.0037567 | 0.0037568 | 0.0037568 | 0.98795 | -0.22954 | 0.9879 | -0.23064 | 1.0321
50 | 0.0075557 | 0.0018937 | -0.0075554 | -0.0018936 | 2.8107e-07 | 1.058e-07 | 0.011381 | 0.011381 | 0.011381 | 0.98788 | -0.23091 | 0.98784 | -0.23169 | 3.1266
51 | -0.28532 | -0.072734 | 0.28569 | 0.072968 | 0.00036839 | 0.00023405 | 0.42897 | 0.42897 | 0.42897 | 0.99075 | -0.17592 | 0.99214 | -0.14921 | 23.5698
52 | -0.29434 | -0.075136 | 0.29461 | 0.075308 | 0.00027092 | 0.00017219 | 0.44194 | 0.44194 | 0.44194 | 0.99214 | -0.14921 | 0.99314 | -0.13018 | 24.2825
53 | -0.031436 | -0.0078839 | 0.031449 | 0.0078926 | 1.3798e-05 | 8.6184e-06 | 0.047224 | 0.047223 | 0.047224 | 0.99058 | -0.17991 | 0.99105 | -0.17071 | 12.9735
54 | -0.035692 | -0.0089559 | 0.0357 | 0.0089605 | 7.3316e-06 | 4.6045e-06 | 0.053594 | 0.053594 | 0.053594 | 0.99105 | -0.17071 | 0.99127 | -0.1664 | 14.7236
55 | -0.043401 | -0.010891 | 0.043425 | 0.010905 | 2.3288e-05 | 1.4716e-05 | 0.065155 | 0.065155 | 0.065155 | 0.99127 | -0.1664 | 0.99185 | -0.15515 | 17.8997
56 | -0.051415 | -0.012908 | 0.051445 | 0.012927 | 3.007e-05 | 1.9071e-05 | 0.077142 | 0.077142 | 0.077142 | 0.99185 | -0.15515 | 0.99249 | -0.1429 | 21.1929
57 | -0.058663 | -0.014736 | 0.058722 | 0.014773 | 5.856e-05 | 3.7218e-05 | 0.087965 | 0.087965 | 0.087965 | 0.99249 | -0.1429 | 0.99357 | -0.12201 | 24.1662
58 | 0.30195 | 0.077193 | -0.30183 | -0.077117 | 0.00011934 | 7.5872e-05 | 0.45276 | 0.45276 | 0.45276 | 0.99357 | -0.12201 | 0.99314 | -0.13018 | 24.8767
59 | -0.36067 | -0.091966 | 0.36116 | 0.09228 | 0.0004919 | 0.00031336 | 0.54072 | 0.54072 | 0.54072 | 0.99357 | -0.12201 | 0.99505 | -0.093799 | 29.7099
60 | 0.17807 | 0.04486 | -0.17798 | -0.044806 | 8.6081e-05 | 5.4109e-05 | 0.27078 | 0.27078 | 0.27078 | 0.97883 | -0.40637 | 0.97831 | -0.41648 | 14.8782
61 | -0.18075 | -0.045531 | 0.1808 | 0.045567 | 5.6197e-05 | 3.5343e-05 | 0.27485 | 0.27485 | 0.27485 | 0.97883 | -0.40637 | 0.97916 | -0.39987 | 15.1019
62 | -0.36392 | -0.092971 | 0.36398 | 0.093011 | 6.3295e-05 | 4.0324e-05 | 0.54484 | 0.54484 | 0.54484 | 0.99505 | -0.093799 | 0.99524 | -0.090202 | 29.9364
63 | -0.36725 | -0.09383 | 0.36751 | 0.093993 | 0.00025684 | 0.00016364 | 0.54973 | 0.54973 | 0.54973 | 0.99524 | -0.090202 | 0.996 | -0.07575 | 30.2048
64 | -0.37944 | -0.096985 | 0.37958 | 0.097076 | 0.00014316 | 9.1238e-05 | 0.56755 | 0.56755 | 0.56755 | 0.996 | -0.07575 | 0.99641 | -0.067953 | 31.1843
65 | 0.011933 | 0.0029917 | -0.01193 | -0.0029899 | 3.3461e-06 | 1.7763e-06 | 0.017829 | 0.017829 | 0.017829 | 0.996 | -0.07575 | 0.99569 | -0.081637 | 4.898
66 | -0.38234 | -0.097767 | 0.38313 | 0.098273 | 0.00079409 | 0.0005061 | 0.57167 | 0.57167 | 0.57167 | 0.99641 | -0.067953 | 0.99867 | -0.025126 | 31.4104
67 | 0.0027563 | 0.00069078 | -0.0027563 | -0.00069079 | 6.3169e-09 | -8.87e-09 | 0.0041191 | 0.0041191 | 0.0041191 | 0.99569 | -0.081637 | 0.99569 | -0.081685 | 1.1316
68 | -0.39159 | -0.10039 | 0.3917 | 0.10047 | 0.00011836 | 7.5446e-05 | 0.58426 | 0.58426 | 0.58426 | 0.99867 | -0.025126 | 0.999 | -0.018895 | 32.1023
69 | -0.39394 | -0.10103 | 0.3943 | 0.10126 | 0.00036134 | 0.00023035 | 0.58759 | 0.58759 | 0.58759 | 0.999 | -0.018895 | 1 | 0 | 32.2852

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39864 | 0.10193

## res_load
| p_mw | q_mvar
0 | 0.041019 | 0.01028
1 | 0.060281 | 0.015108
2 | 0.013002 | 0.0032586
3 | 0.0079071 | 0.0019817
4 | 0.015083 | 0.0037801
5 | 0.0041947 | 0.0010513
6 | 0.011136 | 0.002791
7 | 0.0040447 | 0.0010137
8 | 0.0060465 | 0.0015154
9 | 0.0068604 | 0.0017194
10 | 0.0068732 | 0.0017226
11 | 0.0015667 | 0.00039266
12 | 0.0023698 | 0.00059392
13 | 0.0033635 | 0.00084298
14 | 0.0095317 | 0.0023889
15 | 0.0059402 | 0.0014887
16 | 0.0087232 | 0.0021862
17 | 0.028297 | 0.0070919
18 | 0.0043782 | 0.0010973
19 | 0.0011532 | 0.00028902
20 | 0.0026512 | 0.00066446
21 | 0.0023487 | 0.00058865
22 | 0.0026521 | 0.00066468
23 | 0.002651 | 0.0006644
24 | 0.0026675 | 0.00066855
25 | 0.0026669 | 0.00066839
26 | 0.0088437 | 0.0022164
27 | 0.0026652 | 0.00066797
28 | 0.0033691 | 0.00084437
29 | 0.0024942 | 0.0006251
30 | 0.0075554 | 0.0018936
31 | 0.0092319 | 0.0023137
32 | 0.0086493 | 0.0021677
33 | 0.0051828 | 0.0012989
34 | 0.0017634 | 0.00044194
35 | 0.0042428 | 0.0010634
36 | 0.0077017 | 0.0019302
37 | 0.0079903 | 0.0020025
38 | 0.0072186 | 0.0018092
39 | 0.0026788 | 0.00067137
40 | 0.0026777 | 0.0006711
41 | 0.009625 | 0.0024123
42 | 0.0072186 | 0.0018092
43 | 0.0027574 | 0.00069106
44 | 0.0032666 | 0.00081868
45 | 0.0027554 | 0.00069058
46 | 0.0091736 | 0.0022991
47 | 0.0084516 | 0.0021182
48 | 0.0027563 | 0.00069079
49 | 0.0022357 | 0.00056032
50 | 0.0026862 | 0.00067322

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1