## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1709-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1709-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1709-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1709-4_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1709-4_0_4_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_1709-4_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_1709-4_0_4_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_1709-4_0_4_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_1709-4_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1709-4_0_4_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_1709-4_0_4_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_1709-4_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1709-4_0_4_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_1709-4_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1709-4_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1709-4_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1709-4_0_4_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_1709-4_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_1709-4_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1709-4_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_1709-4_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1709-4_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1709-4_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_1709-4_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1709-4_0_4_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_1709-4_0_4_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_1709-4_0_4_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_1709-4_0_4_node_9 | 0.4 | n |  | TRUE
28 | bus_LV_1709-4_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1709-4_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1709-4_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1709-4_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1709-4_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1709-4_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1709-4_0_4_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_1709-4_0_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_1709-4_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1709-4_0_4_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_1709-4_0_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_1709-4_0_4_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_1709-4_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1709-4_0_4_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_1709-4_0_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_1709-4_0_4_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_1709-4_0_4_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_1709-4_0_4_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_1709-4_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1709-4_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_1709-4_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_1709-4_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_1709-4_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1709-4_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_1709-4_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_1709-4_0_4_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_1709-4_0_4_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_1709-4_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_1709-4_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_1709-4_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_1709-4_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_1709-4_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1709-4_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_1709-4_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_1709-4_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_1709-4_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_1709-4_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_1709-4_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_1709-4_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_1709-4_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1709-4_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_1709-4_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1709-4_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_1709-4_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1709-4_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_1709-4_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_1709-4_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_1709-4_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_1709-4_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_MV_25_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1709-4_0_4_load_0 | 0 | 0.01127 | 0.0028245 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1709-4_0_4_load_1 | 1 | 0.0058956 | 0.0014776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1709-4_0_4_load_51 | 4 | 0.0079631 | 0.0019957 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1709-4_0_4_load_75 | 6 | 0.0058357 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1709-4_0_4_load_73 | 7 | 0.0043578 | 0.0010922 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1709-4_0_4_load_80 | 9 | 0.0015717 | 0.0003939 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1709-4_0_4_load_83 | 10 | 0.0031731 | 0.00079525 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1709-4_0_4_load_78 | 12 | 0.0043021 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1709-4_0_4_load_5 | 16 | 0.065172 | 0.016334 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1709-4_0_4_load_49 | 17 | 0.011426 | 0.0028635 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1709-4_0_4_load_47 | 19 | 0.01032 | 0.0025865 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1709-4_0_4_load_37 | 20 | 0.0058151 | 0.0014574 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1709-4_0_4_load_39 | 22 | 0.033079 | 0.0082903 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1709-4_0_4_load_38 | 23 | 0.036239 | 0.0090822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1709-4_0_4_load_50 | 24 | 0.007574 | 0.0018982 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1709-4_0_4_load_9 | 27 | 0.013421 | 0.0033636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1709-4_0_4_load_23 | 28 | 0.026122 | 0.0065467 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1709-4_0_4_load_22 | 29 | 0.0085714 | 0.0021482 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1709-4_0_4_load_33 | 31 | 0.010901 | 0.0027321 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1709-4_0_4_load_34 | 32 | 0.0050696 | 0.0012706 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1709-4_0_4_load_48 | 33 | 0.014675 | 0.003678 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1709-4_0_4_load_79 | 34 | 0.0051154 | 0.001282 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1709-4_0_4_load_82 | 35 | 0.002848 | 0.00071377 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1709-4_0_4_load_31 | 36 | 0.0065231 | 0.0016349 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1709-4_0_4_load_63 | 37 | 0.0075376 | 0.0018891 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1709-4_0_4_load_76 | 38 | 0.0030222 | 0.00075744 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1709-4_0_4_load_77 | 39 | 0.0088315 | 0.0022134 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1709-4_0_4_load_46 | 40 | 0.014685 | 0.0036805 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1709-4_0_4_load_62 | 42 | 0.0086753 | 0.0021742 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1709-4_0_4_load_58 | 43 | 0.0058682 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1709-4_0_4_load_84 | 44 | 0.046462 | 0.011644 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1709-4_0_4_load_40 | 46 | 0.030867 | 0.0077361 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1709-4_0_4_load_24 | 47 | 0.007382 | 0.0018501 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1709-4_0_4_load_25 | 48 | 0.0076341 | 0.0019133 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1709-4_0_4_load_41 | 50 | 0.0034171 | 0.00085641 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1709-4_0_4_load_26 | 52 | 0.0025556 | 0.00064049 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1709-4_0_4_load_27 | 53 | 0.0078249 | 0.0019611 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1709-4_0_4_load_35 | 55 | 0.002793 | 0.00069999 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1709-4_0_4_load_42 | 58 | 0.0045205 | 0.0011329 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1709-4_0_4_load_44 | 59 | 0.007735 | 0.0019386 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1709-4_0_4_load_45 | 60 | 0.004074 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1709-4_0_4_load_52 | 61 | 0.0014403 | 0.00036098 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1709-4_0_4_load_53 | 62 | 0.0068702 | 0.0017218 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1709-4_0_4_load_56 | 63 | 0.0024678 | 0.00061848 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1709-4_0_4_load_54 | 64 | 0.0062641 | 0.0015699 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1709-4_0_4_load_55 | 65 | 0.001435 | 0.00035965 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1709-4_0_4_load_57 | 66 | 0.0050382 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1709-4_0_4_load_67 | 67 | 0.0092462 | 0.0023173 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1709-4_0_4_load_59 | 69 | 0.0045094 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1709-4_0_4_load_66 | 70 | 0.0030763 | 0.00077099 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1709-4_0_4_load_71 | 71 | 0.006319 | 0.0015837 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1709-4_0_4_load_69 | 72 | 0.0022185 | 0.000556 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1709-4_0_4_load_68 | 73 | 0.014459 | 0.0036236 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1709-4_0_4_load_70 | 74 | 0.0034935 | 0.00087556 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1709-4_0_4_load_74 | 76 | 0.0034807 | 0.00087236 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1709-4_0_4_line_0 |  | 0 | 1 | 0.032306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1709-4_0_4_line_1 |  | 0 | 2 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1709-4_0_4_line_2 |  | 2 | 3 | 0.0405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1709-4_0_4_line_3 |  | 3 | 4 | 0.053397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1709-4_0_4_line_4 |  | 4 | 24 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1709-4_0_4_line_5 |  | 5 | 6 | 0.02258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1709-4_0_4_line_6 |  | 5 | 7 | 0.0062598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1709-4_0_4_line_7 |  | 6 | 34 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1709-4_0_4_line_8 |  | 8 | 9 | 0.023427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1709-4_0_4_line_9 |  | 8 | 10 | 0.037756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1709-4_0_4_line_10 |  | 9 | 34 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1709-4_0_4_line_11 |  | 10 | 35 | 0.0013725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1709-4_0_4_line_12 |  | 11 | 12 | 0.018891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1709-4_0_4_line_13 |  | 11 | 13 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1709-4_0_4_line_14 |  | 12 | 37 | 0.067512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1709-4_0_4_line_15 |  | 13 | 20 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1709-4_0_4_line_16 |  | 13 | 18 | 0.024432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1709-4_0_4_line_17 |  | 14 | 15 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1709-4_0_4_line_18 |  | 14 | 16 | 0.013556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1709-4_0_4_line_19 |  | 15 | 17 | 0.014244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1709-4_0_4_line_20 |  | 16 | 25 | 0.019933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1709-4_0_4_line_21 |  | 17 | 33 | 0.035976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1709-4_0_4_line_22 |  | 18 | 19 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1709-4_0_4_line_23 |  | 20 | 36 | 0.0090706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1709-4_0_4_line_24 |  | 21 | 22 | 0.0080974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1709-4_0_4_line_25 |  | 21 | 23 | 0.0076547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1709-4_0_4_line_26 |  | 22 | 46 | 0.0060731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1709-4_0_4_line_27 |  | 24 | 61 | 0.0049507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1709-4_0_4_line_28 |  | 25 | 26 | 0.00817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1709-4_0_4_line_29 |  | 25 | 27 | 0.019019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1709-4_0_4_line_30 |  | 26 | 28 | 0.013934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1709-4_0_4_line_31 |  | 28 | 29 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1709-4_0_4_line_32 |  | 29 | 47 | 0.0016049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1709-4_0_4_line_33 |  | 30 | 31 | 0.01282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1709-4_0_4_line_34 |  | 30 | 32 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1709-4_0_4_line_35 |  | 31 | 40 | 0.0084966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1709-4_0_4_line_36 |  | 32 | 58 | 0.017644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1709-4_0_4_line_37 |  | 35 | 75 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1709-4_0_4_line_38 |  | 36 | 51 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1709-4_0_4_line_39 |  | 37 | 41 | 0.013136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1709-4_0_4_line_40 |  | 38 | 39 | 0.017283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1709-4_0_4_line_41 |  | 39 | 59 | 0.018651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1709-4_0_4_line_42 |  | 41 | 42 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1709-4_0_4_line_43 |  | 41 | 43 | 0.010981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1709-4_0_4_line_44 |  | 42 | 71 | 0.0018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1709-4_0_4_line_45 |  | 43 | 69 | 0.023846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1709-4_0_4_line_46 |  | 44 | 45 | 0.031066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1709-4_0_4_line_47 |  | 45 | 56 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1709-4_0_4_line_48 |  | 46 | 56 | 0.0078632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1709-4_0_4_line_49 |  | 47 | 48 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1709-4_0_4_line_50 |  | 48 | 49 | 0.011565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1709-4_0_4_line_51 |  | 49 | 50 | 0.0081288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1709-4_0_4_line_52 |  | 49 | 51 | 0.002575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_1709-4_0_4_line_53 |  | 50 | 58 | 0.002457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1709-4_0_4_line_54 |  | 51 | 52 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1709-4_0_4_line_55 |  | 52 | 53 | 0.022569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1709-4_0_4_line_56 |  | 53 | 54 | 0.013406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1709-4_0_4_line_57 |  | 54 | 55 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1709-4_0_4_line_58 |  | 54 | 56 | 0.028048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_1709-4_0_4_line_59 |  | 55 | 57 | 0.027769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_1709-4_0_4_line_60 |  | 57 | 59 | 0.0072305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_1709-4_0_4_line_61 |  | 57 | 60 | 0.018683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1709-4_0_4_line_62 |  | 61 | 62 | 0.015137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1709-4_0_4_line_63 |  | 62 | 63 | 0.017321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1709-4_0_4_line_64 |  | 63 | 64 | 0.0035979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1709-4_0_4_line_65 |  | 64 | 65 | 0.02521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1709-4_0_4_line_66 |  | 65 | 66 | 0.021358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1709-4_0_4_line_67 |  | 66 | 67 | 0.028943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1709-4_0_4_line_68 |  | 67 | 68 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_1709-4_0_4_line_69 |  | 68 | 70 | 0.0083504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1709-4_0_4_line_70 |  | 68 | 69 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_1709-4_0_4_line_71 |  | 71 | 72 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1709-4_0_4_line_72 |  | 72 | 73 | 0.015431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1709-4_0_4_line_73 |  | 73 | 74 | 0.012834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1709-4_0_4_line_74 |  | 74 | 75 | 0.026702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1709-4_0_4_line_75 |  | 75 | 76 | 0.023696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1709-4_0_4_trafo_76 | 0.63 MVA 20/0.4 kV | 77 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2686697.3467 | 1221049.8775 | 2686704.2226 | 1221053.5634 | 2686714.7377 | 1221044.2546 | 2686716.6346 | 1221039.5679 | 2686717.7772 | 1221034.2857
1 | 2686676.5701 | 1221038.7398 | 2686697.3467 | 1221049.8775
2 | 2686655.8278 | 1221073.5506 | 2686663.0588 | 1221061.025 | 2686676.5701 | 1221038.7398
3 | 2686655.8278 | 1221073.5506 | 2686667.4834 | 1221080.2247 | 2686706.1589 | 1221090.2968
4 | 2686725.8395 | 1221095.4221 | 2686706.1589 | 1221090.2968
5 | 2686666.8773 | 1221120.8101 | 2686681.7349 | 1221137.8139
6 | 2686666.8773 | 1221120.8101 | 2686670.6707 | 1221119.2643 | 2686672.7308 | 1221119.9254
7 | 2686697.2189 | 1221155.5348 | 2686681.7349 | 1221137.8139
8 | 2686722.6436 | 1221187.4782 | 2686708.3546 | 1221168.914
9 | 2686722.6436 | 1221187.4782 | 2686734.9843 | 1221164.2977 | 2686738.6464 | 1221153.401
10 | 2686697.2189 | 1221155.5348 | 2686704.2514 | 1221163.5831 | 2686708.3546 | 1221168.914
11 | 2686738.6464 | 1221153.401 | 2686739.0836 | 1221152.1
12 | 2686828.2204 | 1221272.185 | 2686829.901 | 1221253.3694
13 | 2686828.2204 | 1221272.185 | 2686824.8909 | 1221274.1823 | 2686823.481 | 1221280.8552 | 2686825.9661 | 1221287.8517 | 2686828.3758 | 1221291.178
14 | 2686829.901 | 1221253.3694 | 2686834.2961 | 1221204.1607 | 2686836.9319 | 1221186.2466
15 | 2686828.3758 | 1221291.178 | 2686836.0306 | 1221296.4154 | 2686836.8785 | 1221296.758
16 | 2686828.3758 | 1221291.178 | 2686822.1402 | 1221299.4372 | 2686808.7079 | 1221303.8222
17 | 2686901.9754 | 1221374.497 | 2686902.9095 | 1221392.623
18 | 2686901.9754 | 1221374.497 | 2686899.2979 | 1221361.2078
19 | 2686902.9095 | 1221392.623 | 2686888.7771 | 1221394.405
20 | 2686895.3608 | 1221341.667 | 2686899.2979 | 1221361.2078
21 | 2686853.8938 | 1221400.7694 | 2686873.1549 | 1221398.2483 | 2686875.645 | 1221396.0609 | 2686888.7771 | 1221394.405
22 | 2686808.7079 | 1221303.8222 | 2686809.5078 | 1221318.6891
23 | 2686836.8785 | 1221296.758 | 2686845.2883 | 1221300.1566
24 | 2686933.6286 | 1221314.2067 | 2686934.254 | 1221306.1335
25 | 2686933.6286 | 1221314.2067 | 2686932.5 | 1221321.7778
26 | 2686934.723 | 1221300.0785 | 2686934.254 | 1221306.1335
27 | 2686725.8395 | 1221095.4221 | 2686730.6304 | 1221096.6698
28 | 2686903.5266 | 1221340.9968 | 2686895.3608 | 1221341.667
29 | 2686895.3608 | 1221341.667 | 2686876.4995 | 1221344.1142
30 | 2686903.5266 | 1221340.9968 | 2686902.7894 | 1221332.7693 | 2686900.9406 | 1221327.4054 | 2686900.9406 | 1221327.4054
31 | 2686886.2706 | 1221319.7559 | 2686900.9406 | 1221327.4054
32 | 2686884.8476 | 1221319.0139 | 2686886.2706 | 1221319.7559
33 | 2686855.6132 | 1221346.8241 | 2686842.9121 | 1221348.5668
34 | 2686855.6132 | 1221346.8241 | 2686854.5807 | 1221333.7779
35 | 2686842.9121 | 1221348.5668 | 2686834.4944 | 1221349.7217
36 | 2686858.1216 | 1221316.9708 | 2686854.0309 | 1221326.8319 | 2686854.5807 | 1221333.7779
37 | 2686742.3841 | 1221142.2794 | 2686739.0836 | 1221152.1
38 | 2686859.8652 | 1221306.0473 | 2686845.2883 | 1221300.1566
39 | 2686838.8441 | 1221173.2504 | 2686836.9319 | 1221186.2466
40 | 2686865.2522 | 1221260.7129 | 2686881.7613 | 1221255.5985
41 | 2686881.7613 | 1221255.5985 | 2686885.2906 | 1221254.5052 | 2686900.0832 | 1221252.3002
42 | 2686838.8441 | 1221173.2504 | 2686810.1705 | 1221164.0439
43 | 2686838.8441 | 1221173.2504 | 2686841.8015 | 1221162.6747
44 | 2686808.4021 | 1221163.4762 | 2686810.1705 | 1221164.0439
45 | 2686841.8015 | 1221162.6747 | 2686848.2235 | 1221139.7099
46 | 2686938.0081 | 1221279.2802 | 2686962.4749 | 1221298.4236
47 | 2686935.3303 | 1221292.2388 | 2686938.0081 | 1221279.2802
48 | 2686935.3303 | 1221292.2388 | 2686934.723 | 1221300.0785
49 | 2686884.8476 | 1221319.0139 | 2686872.4323 | 1221312.54
50 | 2686862.1777 | 1221307.1929 | 2686872.4323 | 1221312.54
51 | 2686862.1777 | 1221307.1929 | 2686859.063 | 1221314.7013
52 | 2686859.8652 | 1221306.0473 | 2686862.1777 | 1221307.1929
53 | 2686859.063 | 1221314.7013 | 2686858.1216 | 1221316.9708
54 | 2686859.8652 | 1221306.0473 | 2686866.0539 | 1221293.2065 | 2686871.7314 | 1221288.3638
55 | 2686871.7314 | 1221288.3638 | 2686871.7314 | 1221288.3638 | 2686875.7812 | 1221287.4445 | 2686894.1735 | 1221288.3757
56 | 2686907.5626 | 1221289.0537 | 2686894.1735 | 1221288.3757
57 | 2686907.5626 | 1221289.0537 | 2686908.5013 | 1221274.9889
58 | 2686935.3303 | 1221292.2388 | 2686928.9043 | 1221290.1436 | 2686907.5626 | 1221289.0537
59 | 2686907.2347 | 1221251.2342 | 2686905.7963 | 1221257.7733 | 2686905.0447 | 1221263.5218 | 2686905.0144 | 1221265.6005 | 2686909.1068 | 1221265.916 | 2686908.5013 | 1221274.9889
60 | 2686907.2347 | 1221251.2342 | 2686900.0832 | 1221252.3002
61 | 2686907.2347 | 1221251.2342 | 2686912.1011 | 1221250.5047 | 2686925.862 | 1221250.7107
62 | 2686745.2793 | 1221100.4848 | 2686730.6304 | 1221096.6698
63 | 2686745.2793 | 1221100.4848 | 2686762.0409 | 1221104.8499
64 | 2686765.5226 | 1221105.7566 | 2686762.0409 | 1221104.8499
65 | 2686765.5226 | 1221105.7566 | 2686789.9187 | 1221112.11
66 | 2686789.9187 | 1221112.11 | 2686810.5874 | 1221117.4927
67 | 2686838.5966 | 1221124.787 | 2686810.5874 | 1221117.4927
68 | 2686851.4598 | 1221128.1369 | 2686838.5966 | 1221124.787
69 | 2686851.4598 | 1221128.1369 | 2686859.5411 | 1221130.2397
70 | 2686851.4598 | 1221128.1369 | 2686848.2235 | 1221139.7099
71 | 2686808.4021 | 1221163.4762 | 2686794.7206 | 1221159.0834
72 | 2686780.028 | 1221154.3659 | 2686794.7206 | 1221159.0834
73 | 2686780.028 | 1221154.3659 | 2686767.808 | 1221150.4424
74 | 2686742.3841 | 1221142.2794 | 2686767.808 | 1221150.4424
75 | 2686742.3841 | 1221142.2794 | 2686719.822 | 1221135.0385

## bus_geodata
| x | y | coords
0 | 2686697.3467 | 1221049.8775
1 | 2686717.7772 | 1221034.2857
2 | 2686676.5701 | 1221038.7398
3 | 2686655.8278 | 1221073.5506
4 | 2686706.1589 | 1221090.2968
5 | 2686666.8773 | 1221120.8101
6 | 2686681.7349 | 1221137.8139
7 | 2686672.7308 | 1221119.9254
8 | 2686722.6436 | 1221187.4782
9 | 2686708.3546 | 1221168.914
10 | 2686738.6464 | 1221153.401
11 | 2686828.2204 | 1221272.185
12 | 2686829.901 | 1221253.3694
13 | 2686828.3758 | 1221291.178
14 | 2686901.9754 | 1221374.497
15 | 2686902.9095 | 1221392.623
16 | 2686899.2979 | 1221361.2078
17 | 2686888.7771 | 1221394.405
18 | 2686808.7079 | 1221303.8222
19 | 2686809.5078 | 1221318.6891
20 | 2686836.8785 | 1221296.758
21 | 2686933.6286 | 1221314.2067
22 | 2686934.254 | 1221306.1335
23 | 2686932.5 | 1221321.7778
24 | 2686725.8395 | 1221095.4221
25 | 2686895.3608 | 1221341.667
26 | 2686903.5266 | 1221340.9968
27 | 2686876.4995 | 1221344.1142
28 | 2686900.9406 | 1221327.4054
29 | 2686886.2706 | 1221319.7559
30 | 2686855.6132 | 1221346.8241
31 | 2686842.9121 | 1221348.5668
32 | 2686854.5807 | 1221333.7779
33 | 2686853.8938 | 1221400.7694
34 | 2686697.2189 | 1221155.5348
35 | 2686739.0836 | 1221152.1
36 | 2686845.2883 | 1221300.1566
37 | 2686836.9319 | 1221186.2466
38 | 2686865.2522 | 1221260.7129
39 | 2686881.7613 | 1221255.5985
40 | 2686834.4944 | 1221349.7217
41 | 2686838.8441 | 1221173.2504
42 | 2686810.1705 | 1221164.0439
43 | 2686841.8015 | 1221162.6747
44 | 2686962.4749 | 1221298.4236
45 | 2686938.0081 | 1221279.2802
46 | 2686934.723 | 1221300.0785
47 | 2686884.8476 | 1221319.0139
48 | 2686872.4323 | 1221312.54
49 | 2686862.1777 | 1221307.1929
50 | 2686859.063 | 1221314.7013
51 | 2686859.8652 | 1221306.0473
52 | 2686871.7314 | 1221288.3638
53 | 2686894.1735 | 1221288.3757
54 | 2686907.5626 | 1221289.0537
55 | 2686908.5013 | 1221274.9889
56 | 2686935.3303 | 1221292.2388
57 | 2686907.2347 | 1221251.2342
58 | 2686858.1216 | 1221316.9708
59 | 2686900.0832 | 1221252.3002
60 | 2686925.862 | 1221250.7107
61 | 2686730.6304 | 1221096.6698
62 | 2686745.2793 | 1221100.4848
63 | 2686762.0409 | 1221104.8499
64 | 2686765.5226 | 1221105.7566
65 | 2686789.9187 | 1221112.11
66 | 2686810.5874 | 1221117.4927
67 | 2686838.5966 | 1221124.787
68 | 2686851.4598 | 1221128.1369
69 | 2686848.2235 | 1221139.7099
70 | 2686859.5411 | 1221130.2397
71 | 2686808.4021 | 1221163.4762
72 | 2686794.7206 | 1221159.0834
73 | 2686780.028 | 1221154.3659
74 | 2686767.808 | 1221150.4424
75 | 2686742.3841 | 1221142.2794
76 | 2686719.822 | 1221135.0385
77 | 2686828.2204 | 1221272.185

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9702 | -0.57614 | 0.01127 | 0.0028245
1 | 0.97002 | -0.57966 | 0.0058956 | 0.0014776
2 | 0.97058 | -0.56865 | 0 | 0
3 | 0.97123 | -0.55579 | 0 | 0
4 | 0.97209 | -0.53886 | 0.0079631 | 0.0019957
5 | 0.97306 | -0.5199 | 0 | 0
6 | 0.97315 | -0.51809 | 0.0058357 | 0.0014626
7 | 0.97304 | -0.5204 | 0.0043578 | 0.0010922
8 | 0.97399 | -0.5015 | 0 | 0
9 | 0.97362 | -0.50877 | 0.0015717 | 0.0003939
10 | 0.97459 | -0.4898 | 0.0031731 | 0.00079525
11 | 0.98234 | -0.33801 | 0 | 0
12 | 0.98167 | -0.35101 | 0.0043021 | 0.0010782
13 | 0.98313 | -0.32273 | 0 | 0
14 | 0.97665 | -0.4496 | 0 | 0
15 | 0.97621 | -0.45827 | 0 | 0
16 | 0.97698 | -0.44314 | 0.065172 | 0.016334
17 | 0.97586 | -0.46507 | 0.011426 | 0.0028635
18 | 0.9829 | -0.32728 | 0 | 0
19 | 0.98276 | -0.33005 | 0.01032 | 0.0025865
20 | 0.98352 | -0.31526 | 0.0058151 | 0.0014574
21 | 0.98621 | -0.26371 | 0 | 0
22 | 0.98648 | -0.25846 | 0.033079 | 0.0082903
23 | 0.98595 | -0.26869 | 0.036239 | 0.0090822
24 | 0.97256 | -0.52944 | 0.007574 | 0.0018982
25 | 0.97866 | -0.40997 | 0 | 0
26 | 0.97946 | -0.39442 | 0 | 0
27 | 0.97843 | -0.41462 | 0.013421 | 0.0033636
28 | 0.98081 | -0.36795 | 0.026122 | 0.0065467
29 | 0.98282 | -0.32882 | 0.0085714 | 0.0021482
30 | 0.98322 | -0.32121 | 0 | 0
31 | 0.98292 | -0.32713 | 0.010901 | 0.0027321
32 | 0.98353 | -0.31517 | 0.0050696 | 0.0012706
33 | 0.97537 | -0.47474 | 0.014675 | 0.003678
34 | 0.97338 | -0.51368 | 0.0051154 | 0.001282
35 | 0.97461 | -0.48929 | 0.002848 | 0.00071377
36 | 0.98387 | -0.30838 | 0.0065231 | 0.0016349
37 | 0.97935 | -0.39631 | 0.0075376 | 0.0018891
38 | 1 | 0 | -0.55979 | -0.14364
39 | 0.99781 | -0.041398 | 0.0088315 | 0.0022134
40 | 0.9828 | -0.32938 | 0.014685 | 0.0036805
41 | 0.97892 | -0.4047 | 0 | 0
42 | 0.9772 | -0.43847 | 0.0086753 | 0.0021742
43 | 0.97872 | -0.40864 | 0.0058682 | 0.0014707
44 | 0.9857 | -0.27368 | 0.046462 | 0.011644
45 | 0.98702 | -0.24783 | 0 | 0
46 | 0.98687 | -0.25092 | 0.030867 | 0.0077361
47 | 0.98303 | -0.32478 | 0.007382 | 0.0018501
48 | 0.98398 | -0.30627 | 0.0076341 | 0.0019133
49 | 0.98439 | -0.29823 | 0 | 0
50 | 0.98411 | -0.30388 | 0.0034171 | 0.00085641
51 | 0.98451 | -0.296 | 0 | 0
52 | 0.98636 | -0.26014 | 0.0025556 | 0.00064049
53 | 0.9883 | -0.22275 | 0.0078249 | 0.0019611
54 | 0.98948 | -0.20015 | 0 | 0
55 | 0.99119 | -0.16727 | 0.002793 | 0.00069999
56 | 0.98759 | -0.23683 | 0 | 0
57 | 0.99459 | -0.10248 | 0 | 0
58 | 0.98403 | -0.30543 | 0.0045205 | 0.0011329
59 | 0.99548 | -0.085551 | 0.007735 | 0.0019386
60 | 0.99452 | -0.10382 | 0.004074 | 0.001021
61 | 0.97272 | -0.52646 | 0.0014403 | 0.00036098
62 | 0.9732 | -0.51694 | 0.0068702 | 0.0017218
63 | 0.97386 | -0.50387 | 0.0024678 | 0.00061848
64 | 0.97401 | -0.501 | 0.0062641 | 0.0015699
65 | 0.97518 | -0.47798 | 0.001435 | 0.00035965
66 | 0.9762 | -0.45797 | 0.0050382 | 0.0012627
67 | 0.97771 | -0.42825 | 0.0092462 | 0.0023173
68 | 0.97812 | -0.42032 | 0 | 0
69 | 0.97831 | -0.41657 | 0.0045094 | 0.0011302
70 | 0.9781 | -0.42079 | 0.0030763 | 0.00077099
71 | 0.9771 | -0.44027 | 0.006319 | 0.0015837
72 | 0.97648 | -0.45249 | 0.0022185 | 0.000556
73 | 0.97585 | -0.465 | 0.014459 | 0.0036236
74 | 0.97549 | -0.47202 | 0.0034935 | 0.00087556
75 | 0.97483 | -0.48494 | 0 | 0
76 | 0.97476 | -0.48645 | 0.0034807 | 0.00087236
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0058966 | 0.0014778 | -0.0058956 | -0.0014776 | 9.9084e-07 | 2.3526e-07 | 0.0090436 | 0.0090438 | 0.0090438 | 0.9702 | -0.57614 | 0.97002 | -0.57966 | 2.4846
1 | -0.017166 | -0.0043023 | 0.017173 | 0.0043059 | 6.1278e-06 | 3.6306e-06 | 0.026328 | 0.026328 | 0.026328 | 0.9702 | -0.57614 | 0.97058 | -0.56865 | 7.2331
2 | -0.017173 | -0.0043059 | 0.017183 | 0.0043122 | 1.0528e-05 | 6.2368e-06 | 0.026328 | 0.026328 | 0.026328 | 0.97058 | -0.56865 | 0.97123 | -0.55579 | 7.2331
3 | -0.017183 | -0.0043122 | 0.017197 | 0.0043204 | 1.388e-05 | 8.2217e-06 | 0.026328 | 0.026328 | 0.026328 | 0.97123 | -0.55579 | 0.97209 | -0.53886 | 7.233
4 | -0.02516 | -0.0063161 | 0.025171 | 0.0063231 | 1.1314e-05 | 6.989e-06 | 0.038517 | 0.038517 | 0.038517 | 0.97209 | -0.53886 | 0.97256 | -0.52944 | 10.5817
5 | -0.0043579 | -0.0010921 | 0.0043582 | 0.0010921 | 3.7604e-07 | -3.9853e-08 | 0.0066641 | 0.006664 | 0.0066641 | 0.97306 | -0.5199 | 0.97315 | -0.51809 | 1.8308
6 | 0.0043579 | 0.0010921 | -0.0043578 | -0.0010922 | 1.0425e-07 | -1.1037e-08 | 0.0066641 | 0.0066641 | 0.0066641 | 0.97306 | -0.5199 | 0.97304 | -0.5204 | 1.8308
7 | -0.010194 | -0.0025547 | 0.010196 | 0.0025558 | 2.1441e-06 | 1.0798e-06 | 0.015587 | 0.015587 | 0.015587 | 0.97315 | -0.51809 | 0.97338 | -0.51368 | 4.2822
8 | 0.016893 | 0.0042372 | -0.016887 | -0.0042338 | 5.8517e-06 | 3.4537e-06 | 0.025809 | 0.025809 | 0.025809 | 0.97399 | -0.5015 | 0.97362 | -0.50877 | 7.0904
9 | -0.016893 | -0.0042372 | 0.016902 | 0.0042428 | 9.4311e-06 | 5.5657e-06 | 0.025809 | 0.025809 | 0.025809 | 0.97399 | -0.5015 | 0.97459 | -0.4898 | 7.0904
10 | 0.015315 | 0.0038399 | -0.015312 | -0.0038378 | 3.5781e-06 | 2.0734e-06 | 0.023407 | 0.023407 | 0.023407 | 0.97362 | -0.50877 | 0.97338 | -0.51368 | 6.4305
11 | -0.020075 | -0.005038 | 0.020076 | 0.0050383 | 4.8361e-07 | 2.9241e-07 | 0.030654 | 0.030654 | 0.030654 | 0.97459 | -0.4898 | 0.97461 | -0.48929 | 8.4213
12 | 0.15335 | 0.038826 | -0.15326 | -0.038765 | 9.5676e-05 | 6.0277e-05 | 0.23243 | 0.23243 | 0.23243 | 0.98234 | -0.33801 | 0.98167 | -0.35101 | 15.9637
13 | -0.15335 | -0.038826 | 0.15346 | 0.038897 | 0.00011261 | 7.0947e-05 | 0.23243 | 0.23243 | 0.23243 | 0.98234 | -0.33801 | 0.98313 | -0.32273 | 15.9637
14 | 0.14895 | 0.037687 | -0.14863 | -0.037484 | 0.00032302 | 0.00020332 | 0.22591 | 0.22591 | 0.22591 | 0.98167 | -0.35101 | 0.97935 | -0.39631 | 15.5159
15 | -0.16379 | -0.041485 | 0.16385 | 0.041522 | 5.8779e-05 | 3.7102e-05 | 0.24806 | 0.24806 | 0.24806 | 0.98313 | -0.32273 | 0.98352 | -0.31526 | 17.0368
16 | 0.010324 | 0.0025883 | -0.010322 | -0.0025872 | 2.2372e-06 | 1.122e-06 | 0.015626 | 0.015626 | 0.015626 | 0.98313 | -0.32273 | 0.9829 | -0.32728 | 4.2929
17 | 0.026127 | 0.0065573 | -0.026116 | -0.0065507 | 1.0789e-05 | 6.6778e-06 | 0.039811 | 0.039811 | 0.039811 | 0.97665 | -0.4496 | 0.97621 | -0.45827 | 10.937
18 | -0.026127 | -0.0065573 | 0.026135 | 0.0065623 | 8.0568e-06 | 4.9867e-06 | 0.039811 | 0.03981 | 0.039811 | 0.97665 | -0.4496 | 0.97698 | -0.44314 | 10.937
19 | 0.026116 | 0.0065507 | -0.026108 | -0.0065454 | 8.4658e-06 | 5.2401e-06 | 0.039811 | 0.039811 | 0.039811 | 0.97621 | -0.45827 | 0.97586 | -0.46507 | 10.937
20 | -0.091307 | -0.022896 | 0.091451 | 0.022988 | 0.00014458 | 9.2279e-05 | 0.13907 | 0.13907 | 0.13907 | 0.97698 | -0.44314 | 0.97866 | -0.40997 | 38.2067
21 | 0.014682 | 0.0036819 | -0.014675 | -0.003678 | 6.7624e-06 | 3.8787e-06 | 0.022389 | 0.022389 | 0.022389 | 0.97586 | -0.46507 | 0.97537 | -0.47474 | 6.1508
22 | 0.010322 | 0.0025872 | -0.01032 | -0.0025865 | 1.3633e-06 | 6.8384e-07 | 0.015626 | 0.015626 | 0.015626 | 0.9829 | -0.32728 | 0.98276 | -0.33005 | 4.2929
23 | -0.16966 | -0.04298 | 0.16972 | 0.043015 | 5.6102e-05 | 3.5445e-05 | 0.25685 | 0.25685 | 0.25685 | 0.98352 | -0.31526 | 0.98387 | -0.30838 | 17.6411
24 | -0.036247 | -0.0090876 | 0.036256 | 0.0090933 | 9.0828e-06 | 5.7097e-06 | 0.054692 | 0.054692 | 0.054692 | 0.98621 | -0.26371 | 0.98648 | -0.25846 | 15.0252
25 | 0.036247 | 0.0090876 | -0.036239 | -0.0090822 | 8.5863e-06 | 5.3976e-06 | 0.054692 | 0.054692 | 0.054692 | 0.98621 | -0.26371 | 0.98595 | -0.26869 | 15.0252
26 | -0.069335 | -0.017384 | 0.06936 | 0.0174 | 2.4912e-05 | 1.5866e-05 | 0.10459 | 0.10459 | 0.10459 | 0.98648 | -0.25846 | 0.98687 | -0.25092 | 28.733
27 | -0.032745 | -0.0082213 | 0.03275 | 0.0082243 | 4.6609e-06 | 2.9215e-06 | 0.050105 | 0.050105 | 0.050105 | 0.97256 | -0.52944 | 0.97272 | -0.52646 | 13.7652
28 | -0.10488 | -0.026353 | 0.10495 | 0.026403 | 7.7926e-05 | 4.977e-05 | 0.15948 | 0.15948 | 0.15948 | 0.97866 | -0.40997 | 0.97946 | -0.39442 | 43.8141
29 | 0.013424 | 0.0033653 | -0.013421 | -0.0033636 | 2.9713e-06 | 1.6627e-06 | 0.020411 | 0.020411 | 0.020411 | 0.97866 | -0.40997 | 0.97843 | -0.41462 | 5.6074
30 | -0.10495 | -0.026403 | 0.10509 | 0.026488 | 0.0001329 | 8.4883e-05 | 0.15948 | 0.15948 | 0.15948 | 0.97946 | -0.39442 | 0.98081 | -0.36795 | 43.8141
31 | -0.13121 | -0.033035 | 0.13145 | 0.033192 | 0.00024597 | 0.00015721 | 0.19911 | 0.19911 | 0.19911 | 0.98081 | -0.36795 | 0.98282 | -0.32882 | 54.7013
32 | -0.14003 | -0.03534 | 0.14005 | 0.035358 | 2.7071e-05 | 1.7305e-05 | 0.21209 | 0.21209 | 0.21209 | 0.98282 | -0.32882 | 0.98303 | -0.32478 | 58.2665
33 | 0.025595 | 0.006418 | -0.025588 | -0.0064135 | 7.2142e-06 | 4.4546e-06 | 0.038738 | 0.038738 | 0.038738 | 0.98322 | -0.32121 | 0.98292 | -0.32713 | 10.6422
34 | -0.025595 | -0.006418 | 0.025603 | 0.0064225 | 7.3644e-06 | 4.5472e-06 | 0.038738 | 0.038738 | 0.038738 | 0.98322 | -0.32121 | 0.98353 | -0.31517 | 10.6422
35 | 0.014687 | 0.0036814 | -0.014685 | -0.0036805 | 1.5752e-06 | 9.0042e-07 | 0.022234 | 0.022234 | 0.022234 | 0.98292 | -0.32713 | 0.9828 | -0.32938 | 6.1083
36 | -0.030672 | -0.0076931 | 0.030687 | 0.007702 | 1.4249e-05 | 8.8956e-06 | 0.046407 | 0.046407 | 0.046407 | 0.98353 | -0.31517 | 0.98403 | -0.30543 | 12.7493
37 | -0.022924 | -0.0057521 | 0.022928 | 0.005755 | 4.7598e-06 | 2.9171e-06 | 0.035002 | 0.035002 | 0.035002 | 0.97461 | -0.48929 | 0.97483 | -0.48494 | 9.6159
38 | -0.17624 | -0.04465 | 0.17635 | 0.044716 | 0.00010486 | 6.6308e-05 | 0.26672 | 0.26672 | 0.26672 | 0.98387 | -0.30838 | 0.98451 | -0.296 | 18.3187
39 | 0.14109 | 0.035595 | -0.14104 | -0.035559 | 5.6641e-05 | 3.5589e-05 | 0.21446 | 0.21446 | 0.21446 | 0.97935 | -0.39631 | 0.97892 | -0.4047 | 14.7293
40 | 0.55814 | 0.14364 | -0.55702 | -0.14292 | 0.0011212 | 0.00071668 | 0.83186 | 0.83186 | 0.83186 | 1 | 0 | 0.99781 | -0.041398 | 57.1333
41 | 0.54819 | 0.14071 | -0.54702 | -0.13996 | 0.0011719 | 0.00074908 | 0.81869 | 0.81869 | 0.81869 | 0.99781 | -0.041398 | 0.99548 | -0.085551 | 56.2288
42 | 0.061758 | 0.015557 | -0.061659 | -0.015494 | 9.9585e-05 | 6.3356e-05 | 0.093905 | 0.093905 | 0.093905 | 0.97892 | -0.4047 | 0.9772 | -0.43847 | 25.798
43 | 0.079277 | 0.020002 | -0.079262 | -0.019993 | 1.4962e-05 | 9.0237e-06 | 0.12055 | 0.12055 | 0.12055 | 0.97892 | -0.4047 | 0.97872 | -0.40864 | 8.2798
44 | 0.052983 | 0.013319 | -0.052979 | -0.013316 | 4.5352e-06 | 2.8793e-06 | 0.080695 | 0.080695 | 0.080695 | 0.9772 | -0.43847 | 0.9771 | -0.44027 | 22.1688
45 | 0.073394 | 0.018523 | -0.073366 | -0.018506 | 2.7859e-05 | 1.6632e-05 | 0.11163 | 0.11163 | 0.11163 | 0.97872 | -0.40864 | 0.97831 | -0.41657 | 7.6671
46 | -0.046462 | -0.011644 | 0.046519 | 0.011681 | 5.7312e-05 | 3.6283e-05 | 0.07014 | 0.070139 | 0.07014 | 0.9857 | -0.27368 | 0.98702 | -0.24783 | 19.2691
47 | -0.046519 | -0.011681 | 0.046544 | 0.011696 | 2.4413e-05 | 1.5455e-05 | 0.070139 | 0.070139 | 0.070139 | 0.98702 | -0.24783 | 0.98759 | -0.23683 | 19.2691
48 | -0.10023 | -0.025136 | 0.10029 | 0.025179 | 6.735e-05 | 4.3003e-05 | 0.15113 | 0.15113 | 0.15113 | 0.98687 | -0.25092 | 0.98759 | -0.23683 | 41.5194
49 | -0.14743 | -0.037208 | 0.14757 | 0.037291 | 0.00013086 | 8.3398e-05 | 0.22326 | 0.22326 | 0.22326 | 0.98303 | -0.32478 | 0.98398 | -0.30627 | 30.6682
50 | -0.1552 | -0.039204 | 0.15526 | 0.039242 | 5.9779e-05 | 3.767e-05 | 0.23481 | 0.23481 | 0.23481 | 0.98398 | -0.30627 | 0.98439 | -0.29823 | 16.127
51 | 0.038637 | 0.0096995 | -0.038627 | -0.009693 | 1.04e-05 | 6.5527e-06 | 0.05841 | 0.05841 | 0.05841 | 0.98439 | -0.29823 | 0.98411 | -0.30388 | 16.0467
52 | -0.1939 | -0.048941 | 0.19392 | 0.048955 | 2.0755e-05 | 1.3152e-05 | 0.29322 | 0.29322 | 0.29322 | 0.98439 | -0.29823 | 0.98451 | -0.296 | 20.1386
53 | 0.03521 | 0.0088365 | -0.035207 | -0.0088349 | 2.6119e-06 | 1.6404e-06 | 0.053243 | 0.053243 | 0.053243 | 0.98411 | -0.30388 | 0.98403 | -0.30543 | 14.6272
54 | -0.37026 | -0.093671 | 0.3709 | 0.094078 | 0.00063832 | 0.00040742 | 0.55994 | 0.55994 | 0.55994 | 0.98451 | -0.296 | 0.98636 | -0.26014 | 38.4573
55 | -0.37346 | -0.094719 | 0.37413 | 0.095148 | 0.00067254 | 0.00042927 | 0.56379 | 0.56379 | 0.56379 | 0.98636 | -0.26014 | 0.9883 | -0.22275 | 38.722
56 | -0.38195 | -0.097109 | 0.38237 | 0.097375 | 0.00041637 | 0.00026579 | 0.57557 | 0.57557 | 0.57557 | 0.9883 | -0.22275 | 0.98948 | -0.20015 | 39.5311
57 | -0.52947 | -0.13441 | 0.5303 | 0.13495 | 0.0008391 | 0.0005363 | 0.79684 | 0.79684 | 0.79684 | 0.98948 | -0.20015 | 0.99119 | -0.16727 | 54.7282
58 | 0.1471 | 0.037039 | -0.14684 | -0.036875 | 0.00025748 | 0.00016407 | 0.22127 | 0.22127 | 0.22127 | 0.98948 | -0.20015 | 0.98759 | -0.23683 | 30.3942
59 | -0.5331 | -0.13565 | 0.53477 | 0.13672 | 0.0016705 | 0.0010677 | 0.80103 | 0.80103 | 0.80103 | 0.99119 | -0.16727 | 0.99459 | -0.10248 | 55.0161
60 | -0.53884 | -0.13774 | 0.53928 | 0.13802 | 0.0004416 | 0.00028225 | 0.80713 | 0.80713 | 0.80713 | 0.99459 | -0.10248 | 0.99548 | -0.085551 | 55.4347
61 | 0.0040743 | 0.001021 | -0.004074 | -0.001021 | 2.6032e-07 | -7.5841e-08 | 0.0060955 | 0.0060956 | 0.0060956 | 0.99459 | -0.10248 | 0.99452 | -0.10382 | 1.6746
62 | -0.03419 | -0.0085852 | 0.034206 | 0.008595 | 1.5532e-05 | 9.7526e-06 | 0.052309 | 0.052309 | 0.052309 | 0.97272 | -0.52646 | 0.9732 | -0.51694 | 14.3705
63 | -0.041076 | -0.010317 | 0.041102 | 0.010333 | 2.5627e-05 | 1.6186e-05 | 0.062813 | 0.062813 | 0.062813 | 0.9732 | -0.51694 | 0.97386 | -0.50387 | 17.2564
64 | -0.043569 | -0.010951 | 0.043575 | 0.010955 | 5.9815e-06 | 3.7834e-06 | 0.066584 | 0.066584 | 0.066584 | 0.97386 | -0.50387 | 0.97401 | -0.501 | 18.2922
65 | -0.049839 | -0.012525 | 0.049894 | 0.01256 | 5.4825e-05 | 3.4774e-05 | 0.076153 | 0.076153 | 0.076153 | 0.97401 | -0.501 | 0.97518 | -0.47798 | 20.9213
66 | -0.051329 | -0.01292 | 0.051379 | 0.012951 | 4.9158e-05 | 3.1194e-05 | 0.078343 | 0.078343 | 0.078343 | 0.97518 | -0.47798 | 0.9762 | -0.45797 | 21.5228
67 | -0.056417 | -0.014213 | 0.056497 | 0.014265 | 8.0316e-05 | 5.104e-05 | 0.086023 | 0.086022 | 0.086023 | 0.9762 | -0.45797 | 0.97771 | -0.42825 | 23.6326
68 | -0.065743 | -0.016582 | 0.065768 | 0.016598 | 2.497e-05 | 1.5647e-05 | 0.10009 | 0.10009 | 0.10009 | 0.97771 | -0.42825 | 0.97812 | -0.42032 | 13.7493
69 | 0.0030764 | 0.00077093 | -0.0030763 | -0.00077099 | 6.8587e-08 | -6.0911e-08 | 0.0046801 | 0.0046801 | 0.0046801 | 0.97812 | -0.42032 | 0.9781 | -0.42079 | 1.2857
70 | -0.068845 | -0.017368 | 0.068857 | 0.017376 | 1.2367e-05 | 7.3116e-06 | 0.10477 | 0.10477 | 0.10477 | 0.97812 | -0.42032 | 0.97831 | -0.41657 | 7.1961
71 | 0.04666 | 0.011733 | -0.046633 | -0.011716 | 2.7218e-05 | 1.724e-05 | 0.071071 | 0.071072 | 0.071072 | 0.9771 | -0.44027 | 0.97648 | -0.45249 | 19.5252
72 | 0.044414 | 0.01116 | -0.044388 | -0.011143 | 2.6515e-05 | 1.6777e-05 | 0.067691 | 0.067691 | 0.067691 | 0.97648 | -0.45249 | 0.97585 | -0.465 | 18.5964
73 | 0.029929 | 0.0075191 | -0.029919 | -0.0075129 | 1.0027e-05 | 6.2571e-06 | 0.045644 | 0.045644 | 0.045644 | 0.97585 | -0.465 | 0.97549 | -0.47202 | 12.5396
74 | 0.026426 | 0.0066373 | -0.026409 | -0.0066272 | 1.6275e-05 | 1.0083e-05 | 0.040315 | 0.040315 | 0.040315 | 0.97549 | -0.47202 | 0.97483 | -0.48494 | 11.0756
75 | 0.003481 | 0.00087222 | -0.0034807 | -0.00087236 | 2.5087e-07 | -1.3484e-07 | 0.0053134 | 0.0053135 | 0.0053135 | 0.97483 | -0.48494 | 0.97476 | -0.48645 | 1.4598

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56282 | 0.1444

## res_load
| p_mw | q_mvar
0 | 0.01127 | 0.0028245
1 | 0.0058956 | 0.0014776
2 | 0.0079631 | 0.0019957
3 | 0.0058357 | 0.0014626
4 | 0.0043578 | 0.0010922
5 | 0.0015717 | 0.0003939
6 | 0.0031731 | 0.00079525
7 | 0.0043021 | 0.0010782
8 | 0.065172 | 0.016334
9 | 0.011426 | 0.0028635
10 | 0.01032 | 0.0025865
11 | 0.0058151 | 0.0014574
12 | 0.033079 | 0.0082903
13 | 0.036239 | 0.0090822
14 | 0.007574 | 0.0018982
15 | 0.013421 | 0.0033636
16 | 0.026122 | 0.0065467
17 | 0.0085714 | 0.0021482
18 | 0.010901 | 0.0027321
19 | 0.0050696 | 0.0012706
20 | 0.014675 | 0.003678
21 | 0.0051154 | 0.001282
22 | 0.002848 | 0.00071377
23 | 0.0065231 | 0.0016349
24 | 0.0075376 | 0.0018891
25 | 0.0030222 | 0.00075744
26 | 0.0088315 | 0.0022134
27 | 0.014685 | 0.0036805
28 | 0.0086753 | 0.0021742
29 | 0.0058682 | 0.0014707
30 | 0.046462 | 0.011644
31 | 0.030867 | 0.0077361
32 | 0.007382 | 0.0018501
33 | 0.0076341 | 0.0019133
34 | 0.0034171 | 0.00085641
35 | 0.0025556 | 0.00064049
36 | 0.0078249 | 0.0019611
37 | 0.002793 | 0.00069999
38 | 0.0045205 | 0.0011329
39 | 0.007735 | 0.0019386
40 | 0.004074 | 0.001021
41 | 0.0014403 | 0.00036098
42 | 0.0068702 | 0.0017218
43 | 0.0024678 | 0.00061848
44 | 0.0062641 | 0.0015699
45 | 0.001435 | 0.00035965
46 | 0.0050382 | 0.0012627
47 | 0.0092462 | 0.0023173
48 | 0.0045094 | 0.0011302
49 | 0.0030763 | 0.00077099
50 | 0.006319 | 0.0015837
51 | 0.0022185 | 0.000556
52 | 0.014459 | 0.0036236
53 | 0.0034935 | 0.00087556
54 | 0.0034807 | 0.00087236

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1