## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1709-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1709-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1709-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1709-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1709-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1709-5_0_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_1709-5_0_3_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_1709-5_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_1709-5_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1709-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1709-5_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1709-5_0_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_1709-5_0_3_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_1709-5_0_3_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_1709-5_0_3_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_1709-5_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_1709-5_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1709-5_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1709-5_0_3_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_1709-5_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1709-5_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1709-5_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1709-5_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1709-5_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1709-5_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1709-5_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1709-5_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_1709-5_0_3_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_1709-5_0_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_1709-5_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_1709-5_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_1709-5_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_1709-5_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1709-5_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1709-5_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1709-5_0_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_1709-5_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1709-5_0_3_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1709-5_0_3_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_1709-5_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1709-5_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1709-5_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1709-5_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_1709-5_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_1709-5_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_1709-5_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_1709-5_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_1709-5_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1709-5_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_1709-5_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1709-5_0_3_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_1709-5_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_1709-5_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_1709-5_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_1709-5_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1709-5_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_1709-5_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1709-5_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_1709-5_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_1709-5_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_1709-5_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_1709-5_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_1709-5_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1709-5_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1709-5_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_1709-5_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_1709-5_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_1709-5_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_1709-5_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_1709-5_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1709-5_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_MV_25_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1709-5_0_3_load_0 | 0 | 0.0096894 | 0.0024284 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1709-5_0_3_load_1 | 1 | 0.005372 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1709-5_0_3_load_2 | 2 | 0.004679 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1709-5_0_3_load_3 | 3 | 0.0064078 | 0.0016059 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1709-5_0_3_load_4 | 4 | 0.0050453 | 0.0012645 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1709-5_0_3_load_30 | 5 | 0.010117 | 0.0025356 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1709-5_0_3_load_71 | 6 | 0.0075979 | 0.0019042 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1709-5_0_3_load_38 | 7 | 0.0098495 | 0.0024685 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1709-5_0_3_load_5 | 8 | 0.00064865 | 0.00016257 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1709-5_0_3_load_6 | 9 | 0.0015497 | 0.0003884 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1709-5_0_3_load_70 | 11 | 0.00099942 | 0.00025048 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1709-5_0_3_load_61 | 12 | 0.00047823 | 0.00011986 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1709-5_0_3_load_63 | 13 | 0.00081127 | 0.00020332 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1709-5_0_3_load_62 | 14 | 0.0032702 | 0.00081959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1709-5_0_3_load_8 | 16 | 0.0038253 | 0.0009587 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1709-5_0_3_load_9 | 17 | 0.00082441 | 0.00020662 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1709-5_0_3_load_60 | 18 | 0.00040707 | 0.00010202 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1709-5_0_3_load_10 | 19 | 0.0017917 | 0.00044903 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1709-5_0_3_load_27 | 20 | 0.0018201 | 0.00045615 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1709-5_0_3_load_28 | 21 | 0.010416 | 0.0026105 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1709-5_0_3_load_26 | 22 | 0.019678 | 0.0049317 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1709-5_0_3_load_11 | 23 | 0.00068322 | 0.00017123 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1709-5_0_3_load_50 | 26 | 0.00025084 | 6.2865e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1709-5_0_3_load_59 | 27 | 0.0019698 | 0.00049368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1709-5_0_3_load_51 | 28 | 0.0018939 | 0.00047467 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1709-5_0_3_load_13 | 29 | 0.0028356 | 0.00071068 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1709-5_0_3_load_14 | 30 | 0.0046406 | 0.001163 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1709-5_0_3_load_16 | 32 | 0.0028791 | 0.00072157 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1709-5_0_3_load_18 | 33 | 0.00024798 | 6.215e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1709-5_0_3_load_19 | 34 | 0.0075418 | 0.0018902 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1709-5_0_3_load_64 | 35 | 0.00024705 | 6.1916e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1709-5_0_3_load_20 | 36 | 0.0045474 | 0.0011397 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1709-5_0_3_load_54 | 37 | 0.0076261 | 0.0019113 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1709-5_0_3_load_65 | 38 | 0.00017942 | 4.4967e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1709-5_0_3_load_40 | 39 | 0.011706 | 0.0029339 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1709-5_0_3_load_21 | 41 | 0.012426 | 0.0031142 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1709-5_0_3_load_22 | 42 | 0.0029578 | 0.00074129 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1709-5_0_3_load_23 | 43 | 0.0026501 | 0.00066418 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1709-5_0_3_load_29 | 46 | 0.012644 | 0.0031689 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1709-5_0_3_load_44 | 47 | 0.0032438 | 0.00081298 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1709-5_0_3_load_43 | 49 | 0.0057305 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1709-5_0_3_load_69 | 50 | 0.0019258 | 0.00048265 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1709-5_0_3_load_32 | 51 | 0.0022122 | 0.00055442 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1709-5_0_3_load_33 | 52 | 0.0013937 | 0.0003493 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1709-5_0_3_load_34 | 53 | 0.0029558 | 0.00074079 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1709-5_0_3_load_48 | 54 | 0.0014768 | 0.00037012 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1709-5_0_3_load_35 | 55 | 0.0034941 | 0.00087571 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1709-5_0_3_load_47 | 56 | 0.0093485 | 0.0023429 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1709-5_0_3_load_36 | 57 | 0.0034989 | 0.00087692 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1709-5_0_3_load_37 | 58 | 0.0034967 | 0.00087636 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1709-5_0_3_load_49 | 61 | 0.0043075 | 0.0010796 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1709-5_0_3_load_56 | 62 | 0.0060105 | 0.0015064 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1709-5_0_3_load_53 | 63 | 0.012166 | 0.0030491 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1709-5_0_3_load_55 | 64 | 0.01096 | 0.0027468 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1709-5_0_3_load_46 | 66 | 0.0048208 | 0.0012082 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1709-5_0_3_load_57 | 67 | 0.0014768 | 0.00037011 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1709-5_0_3_load_58 | 68 | 0.0048213 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1709-5_0_3_load_66 | 69 | 0.00043579 | 0.00010922 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1709-5_0_3_load_67 | 70 | 0.00029831 | 7.4765e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1709-5_0_3_line_0 |  | 0 | 1 | 0.048585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1709-5_0_3_line_1 |  | 0 | 2 | 0.0032542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1709-5_0_3_line_2 |  | 1 | 3 | 0.021722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1709-5_0_3_line_3 |  | 2 | 4 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1709-5_0_3_line_4 |  | 3 | 5 | 0.019966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1709-5_0_3_line_5 |  | 4 | 6 | 0.14173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1709-5_0_3_line_6 |  | 5 | 7 | 0.023058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1709-5_0_3_line_7 |  | 7 | 40 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1709-5_0_3_line_8 |  | 8 | 9 | 0.012865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1709-5_0_3_line_9 |  | 9 | 10 | 0.0081357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1709-5_0_3_line_10 |  | 10 | 16 | 0.012355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1709-5_0_3_line_11 |  | 10 | 17 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1709-5_0_3_line_12 |  | 11 | 12 | 0.21942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1709-5_0_3_line_13 |  | 12 | 14 | 0.19744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1709-5_0_3_line_14 |  | 13 | 14 | 0.1489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1709-5_0_3_line_15 |  | 13 | 15 | 0.063378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1709-5_0_3_line_16 |  | 14 | 17 | 0.042885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1709-5_0_3_line_17 |  | 15 | 28 | 0.055757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1709-5_0_3_line_18 |  | 16 | 18 | 0.014597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1709-5_0_3_line_19 |  | 19 | 20 | 0.10442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1709-5_0_3_line_20 |  | 20 | 21 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1709-5_0_3_line_21 |  | 20 | 22 | 0.037389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1709-5_0_3_line_22 |  | 21 | 50 | 0.25981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1709-5_0_3_line_23 |  | 22 | 44 | 0.022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1709-5_0_3_line_24 |  | 23 | 24 | 0.03466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1709-5_0_3_line_25 |  | 24 | 25 | 0.012489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1709-5_0_3_line_26 |  | 24 | 26 | 0.012211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1709-5_0_3_line_27 |  | 25 | 27 | 0.066073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1709-5_0_3_line_28 |  | 26 | 28 | 0.049698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1709-5_0_3_line_29 |  | 27 | 37 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1709-5_0_3_line_30 |  | 29 | 30 | 0.022604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1709-5_0_3_line_31 |  | 29 | 31 | 0.033297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1709-5_0_3_line_32 |  | 30 | 32 | 0.011335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1709-5_0_3_line_33 |  | 31 | 33 | 0.038958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1709-5_0_3_line_34 |  | 32 | 34 | 0.059942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1709-5_0_3_line_35 |  | 33 | 35 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1709-5_0_3_line_36 |  | 34 | 36 | 0.0077446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1709-5_0_3_line_37 |  | 35 | 38 | 0.011116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1709-5_0_3_line_38 |  | 36 | 39 | 0.018111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1709-5_0_3_line_39 |  | 37 | 63 | 0.040093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1709-5_0_3_line_40 |  | 38 | 69 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1709-5_0_3_line_41 |  | 39 | 40 | 0.033776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1709-5_0_3_line_42 |  | 40 | 59 | 0.027835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1709-5_0_3_line_43 |  | 40 | 60 | 0.070496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1709-5_0_3_line_44 |  | 41 | 42 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1709-5_0_3_line_45 |  | 41 | 43 | 0.03241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1709-5_0_3_line_46 |  | 42 | 44 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1709-5_0_3_line_47 |  | 43 | 45 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1709-5_0_3_line_48 |  | 44 | 46 | 0.02783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1709-5_0_3_line_49 |  | 45 | 47 | 0.036096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1709-5_0_3_line_50 |  | 46 | 48 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1709-5_0_3_line_51 |  | 47 | 49 | 0.025777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1709-5_0_3_line_52 |  | 48 | 51 | 0.018125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1709-5_0_3_line_53 |  | 48 | 52 | 0.01111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1709-5_0_3_line_54 |  | 49 | 65 | 0.059217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1709-5_0_3_line_55 |  | 51 | 53 | 0.00093965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1709-5_0_3_line_56 |  | 52 | 54 | 0.020276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1709-5_0_3_line_57 |  | 53 | 55 | 0.024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1709-5_0_3_line_58 |  | 54 | 56 | 0.0036321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1709-5_0_3_line_59 |  | 55 | 57 | 0.00080512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1709-5_0_3_line_60 |  | 56 | 59 | 0.028363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1709-5_0_3_line_61 |  | 57 | 58 | 0.0061957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1709-5_0_3_line_62 |  | 59 | 61 | 0.036152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1709-5_0_3_line_63 |  | 60 | 62 | 0.035257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1709-5_0_3_line_64 |  | 61 | 63 | 0.029688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1709-5_0_3_line_65 |  | 62 | 64 | 0.013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1709-5_0_3_line_66 |  | 64 | 67 | 0.0065586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1709-5_0_3_line_67 |  | 65 | 66 | 0.057728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1709-5_0_3_line_68 |  | 67 | 68 | 0.009081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1709-5_0_3_line_69 |  | 69 | 70 | 0.0093296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1709-5_0_3_trafo_47 | 0.63 MVA 20/0.4 kV | 71 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2686728.4697 | 1220947.4463 | 2686752.7158 | 1220905.3436
1 | 2686728.4697 | 1220947.4463 | 2686726.8457 | 1220950.2663
2 | 2686752.7158 | 1220905.3436 | 2686763.5561 | 1220886.5197
3 | 2686726.8457 | 1220950.2663 | 2686714.5234 | 1220971.6635
4 | 2686773.5201 | 1220869.2177 | 2686763.5561 | 1220886.5197
5 | 2686714.5234 | 1220971.6635 | 2686574.0297 | 1220952.9792
6 | 2686785.0269 | 1220849.2363 | 2686773.5201 | 1220869.2177
7 | 2686792.4127 | 1220836.4112 | 2686785.0269 | 1220849.2363
8 | 2686898.4419 | 1220369.3217 | 2686891.5423 | 1220380.18
9 | 2686885.6567 | 1220376.8583 | 2686890.8354 | 1220381.2924 | 2686891.5423 | 1220380.18
10 | 2686885.6567 | 1220376.8583 | 2686887.2854 | 1220389.1059
11 | 2686885.6567 | 1220376.8583 | 2686867.758 | 1220368.9253 | 2686866.21 | 1220368.8557
12 | 2686707.4043 | 1220229.0676 | 2686889.3457 | 1220106.4175
13 | 2686828.2335 | 1220385.2219 | 2686707.4043 | 1220229.0676
14 | 2686707.9359 | 1220472.974 | 2686828.2335 | 1220385.2219
15 | 2686662.494 | 1220517.1251 | 2686688.9876 | 1220490.2924 | 2686707.9359 | 1220472.974
16 | 2686828.2335 | 1220385.2219 | 2686832.3802 | 1220384.1087 | 2686844.7193 | 1220377.3062 | 2686856.3907 | 1220368.4147 | 2686866.21 | 1220368.8557
17 | 2686662.494 | 1220517.1251 | 2686689.8659 | 1220565.7006
18 | 2686887.2854 | 1220389.1059 | 2686887.7012 | 1220392.2319 | 2686888.878 | 1220403.615
19 | 2686932.0676 | 1220716.3896 | 2686858.0795 | 1220642.7068
20 | 2686942.1157 | 1220709.1967 | 2686932.0676 | 1220716.3896
21 | 2686901.6655 | 1220738.1527 | 2686932.0676 | 1220716.3896
22 | 2686942.1157 | 1220709.1967 | 2687161.4469 | 1220569.9294
23 | 2686883.7552 | 1220750.9736 | 2686901.6655 | 1220738.1527
24 | 2686717.4882 | 1220621.0515 | 2686724.9999 | 1220619.5154 | 2686733.6793 | 1220621.154 | 2686750.3293 | 1220627.2561 | 2686750.7388 | 1220627.379
25 | 2686717.4882 | 1220621.0515 | 2686722.7103 | 1220632.4019
26 | 2686717.4882 | 1220621.0515 | 2686712.382 | 1220609.9589
27 | 2686722.7103 | 1220632.4019 | 2686748.5305 | 1220693.2206
28 | 2686712.382 | 1220609.9589 | 2686701.5716 | 1220586.4742 | 2686689.8659 | 1220565.7006
29 | 2686748.5305 | 1220693.2206 | 2686757.388 | 1220714.0843
30 | 2686697.3613 | 1220720.9848 | 2686704.957 | 1220742.2748
31 | 2686684.1418 | 1220690.7135 | 2686688.7712 | 1220696.9073 | 2686697.3613 | 1220720.9848
32 | 2686704.957 | 1220742.2748 | 2686705.7063 | 1220744.3749 | 2686710.0991 | 1220752.3499
33 | 2686684.1418 | 1220690.7135 | 2686679.4733 | 1220687.1987 | 2686655.0655 | 1220664.8198
34 | 2686744.2937 | 1220801.4527 | 2686742.8248 | 1220800.1421 | 2686733.2543 | 1220787.294 | 2686713.9856 | 1220759.4056 | 2686710.0991 | 1220752.3499
35 | 2686655.0655 | 1220664.8198 | 2686644.9807 | 1220655.5732
36 | 2686744.2937 | 1220801.4527 | 2686750.0724 | 1220806.6088
37 | 2686644.9807 | 1220655.5732 | 2686644.5273 | 1220655.1575 | 2686636.278 | 1220648.6593
38 | 2686750.0724 | 1220806.6088 | 2686755.8729 | 1220811.7844 | 2686764.0592 | 1220818.0971
39 | 2686773.0559 | 1220750.9895 | 2686757.388 | 1220714.0843
40 | 2686621.446 | 1220636.9757 | 2686636.278 | 1220648.6593
41 | 2686792.4127 | 1220836.4112 | 2686768.3209 | 1220821.3834 | 2686764.0592 | 1220818.0971
42 | 2686799.517 | 1220811.2755 | 2686801.6686 | 1220817.222 | 2686800.5976 | 1220821.9874 | 2686798.3455 | 1220827.0914 | 2686792.4127 | 1220836.4112
43 | 2686792.4127 | 1220836.4112 | 2686798.3455 | 1220827.0914 | 2686805.6869 | 1220831.4902 | 2686809.9747 | 1220835.5999 | 2686815.5532 | 1220841.7298 | 2686833.6475 | 1220873.6153
44 | 2686895.3567 | 1220763.3748 | 2686907.3566 | 1220776.2017 | 2686908.6434 | 1220777.3221
45 | 2686933.0856 | 1220798.6049 | 2686908.6434 | 1220777.3221
46 | 2686883.7552 | 1220750.9736 | 2686895.3567 | 1220763.3748
47 | 2686941.8893 | 1220806.2705 | 2686933.0856 | 1220798.6049
48 | 2686883.7552 | 1220750.9736 | 2686861.1242 | 1220767.1706
49 | 2686941.8893 | 1220806.2705 | 2686919.9848 | 1220824.3743 | 2686917.062 | 1220831.4752
50 | 2686851.052 | 1220774.3793 | 2686861.1242 | 1220767.1706
51 | 2686915.7584 | 1220856.7992 | 2686914.2204 | 1220845.0153 | 2686916.0043 | 1220834.045 | 2686917.062 | 1220831.4752
52 | 2686851.052 | 1220774.3793 | 2686861.9037 | 1220788.897
53 | 2686851.052 | 1220774.3793 | 2686842.0188 | 1220780.8466
54 | 2686911.2091 | 1220914.0628 | 2686920.1847 | 1220890.7112 | 2686915.7584 | 1220856.7992
55 | 2686862.4663 | 1220789.6496 | 2686861.9037 | 1220788.897
56 | 2686842.0188 | 1220780.8466 | 2686825.5323 | 1220792.65
57 | 2686862.4663 | 1220789.6496 | 2686877.1437 | 1220809.2855
58 | 2686822.5791 | 1220794.7643 | 2686825.5323 | 1220792.65
59 | 2686877.6257 | 1220809.9303 | 2686877.1437 | 1220809.2855
60 | 2686799.517 | 1220811.2755 | 2686822.5791 | 1220794.7643
61 | 2686881.3351 | 1220814.8929 | 2686877.6257 | 1220809.9303
62 | 2686799.517 | 1220811.2755 | 2686784.7919 | 1220778.2582
63 | 2686833.6475 | 1220873.6153 | 2686857.2653 | 1220855.0581 | 2686854.5493 | 1220850.5994
64 | 2686784.7919 | 1220778.2582 | 2686781.4789 | 1220770.8296 | 2686773.0559 | 1220750.9895
65 | 2686847.5798 | 1220839.1573 | 2686854.5493 | 1220850.5994
66 | 2686847.5798 | 1220839.1573 | 2686844.1679 | 1220833.5561
67 | 2686911.2091 | 1220914.0628 | 2686904.6073 | 1220913.0658 | 2686875.7146 | 1220870.9777
68 | 2686839.4439 | 1220825.8006 | 2686844.1679 | 1220833.5561
69 | 2686621.446 | 1220636.9757 | 2686614.1171 | 1220631.2025

## bus_geodata
| x | y | coords
0 | 2686728.4697 | 1220947.4463
1 | 2686752.7158 | 1220905.3436
2 | 2686726.8457 | 1220950.2663
3 | 2686763.5561 | 1220886.5197
4 | 2686714.5234 | 1220971.6635
5 | 2686773.5201 | 1220869.2177
6 | 2686574.0297 | 1220952.9792
7 | 2686785.0269 | 1220849.2363
8 | 2686898.4419 | 1220369.3217
9 | 2686891.5423 | 1220380.18
10 | 2686885.6567 | 1220376.8583
11 | 2686889.3457 | 1220106.4175
12 | 2686707.4043 | 1220229.0676
13 | 2686707.9359 | 1220472.974
14 | 2686828.2335 | 1220385.2219
15 | 2686662.494 | 1220517.1251
16 | 2686887.2854 | 1220389.1059
17 | 2686866.21 | 1220368.8557
18 | 2686888.878 | 1220403.615
19 | 2686858.0795 | 1220642.7068
20 | 2686932.0676 | 1220716.3896
21 | 2686942.1157 | 1220709.1967
22 | 2686901.6655 | 1220738.1527
23 | 2686750.7388 | 1220627.379
24 | 2686717.4882 | 1220621.0515
25 | 2686722.7103 | 1220632.4019
26 | 2686712.382 | 1220609.9589
27 | 2686748.5305 | 1220693.2206
28 | 2686689.8659 | 1220565.7006
29 | 2686697.3613 | 1220720.9848
30 | 2686704.957 | 1220742.2748
31 | 2686684.1418 | 1220690.7135
32 | 2686710.0991 | 1220752.3499
33 | 2686655.0655 | 1220664.8198
34 | 2686744.2937 | 1220801.4527
35 | 2686644.9807 | 1220655.5732
36 | 2686750.0724 | 1220806.6088
37 | 2686757.388 | 1220714.0843
38 | 2686636.278 | 1220648.6593
39 | 2686764.0592 | 1220818.0971
40 | 2686792.4127 | 1220836.4112
41 | 2686908.6434 | 1220777.3221
42 | 2686895.3567 | 1220763.3748
43 | 2686933.0856 | 1220798.6049
44 | 2686883.7552 | 1220750.9736
45 | 2686941.8893 | 1220806.2705
46 | 2686861.1242 | 1220767.1706
47 | 2686917.062 | 1220831.4752
48 | 2686851.052 | 1220774.3793
49 | 2686915.7584 | 1220856.7992
50 | 2687161.4469 | 1220569.9294
51 | 2686861.9037 | 1220788.897
52 | 2686842.0188 | 1220780.8466
53 | 2686862.4663 | 1220789.6496
54 | 2686825.5323 | 1220792.65
55 | 2686877.1437 | 1220809.2855
56 | 2686822.5791 | 1220794.7643
57 | 2686877.6257 | 1220809.9303
58 | 2686881.3351 | 1220814.8929
59 | 2686799.517 | 1220811.2755
60 | 2686833.6475 | 1220873.6153
61 | 2686784.7919 | 1220778.2582
62 | 2686854.5493 | 1220850.5993
63 | 2686773.0559 | 1220750.9895
64 | 2686847.5798 | 1220839.1573
65 | 2686911.2091 | 1220914.0628
66 | 2686875.7146 | 1220870.9777
67 | 2686844.1679 | 1220833.5561
68 | 2686839.4439 | 1220825.8006
69 | 2686621.446 | 1220636.9757
70 | 2686614.1171 | 1220631.2025
71 | 2686799.517 | 1220811.2755

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99056 | -0.18162 | 0.0096894 | 0.0024284
1 | 0.99176 | -0.15834 | 0.005372 | 0.0013463
2 | 0.99051 | -0.18263 | 0.004679 | 0.0011727
3 | 0.99241 | -0.14588 | 0.0064078 | 0.0016059
4 | 0.99023 | -0.18818 | 0.0050453 | 0.0012645
5 | 0.99312 | -0.13218 | 0.010117 | 0.0025356
6 | 0.98924 | -0.20734 | 0.0075979 | 0.0019042
7 | 0.99415 | -0.11226 | 0.0098495 | 0.0024685
8 | 0.98882 | -0.21564 | 0.00064865 | 0.00016257
9 | 0.98883 | -0.21549 | 0.0015497 | 0.0003884
10 | 0.98884 | -0.21517 | 0 | 0
11 | 0.98879 | -0.21636 | 0.00099942 | 0.00025048
12 | 0.98899 | -0.21243 | 0.00047823 | 0.00011986
13 | 0.99089 | -0.17537 | 0.00081127 | 0.00020332
14 | 0.98925 | -0.2072 | 0.0032702 | 0.00081959
15 | 0.99164 | -0.16094 | 0 | 0
16 | 0.9888 | -0.2161 | 0.0038253 | 0.0009587
17 | 0.98897 | -0.21275 | 0.00082441 | 0.00020662
18 | 0.98879 | -0.21621 | 0.00040707 | 0.00010202
19 | 0.99285 | -0.13751 | 0.0017917 | 0.00044903
20 | 0.99302 | -0.13419 | 0.0018201 | 0.00045615
21 | 0.99288 | -0.13689 | 0.010416 | 0.0026105
22 | 0.99357 | -0.12365 | 0.019678 | 0.0049317
23 | 0.99311 | -0.13249 | 0.00068322 | 0.00017123
24 | 0.99313 | -0.13207 | 0 | 0
25 | 0.99331 | -0.12861 | 0 | 0
26 | 0.99296 | -0.1353 | 0.00025084 | 6.2865e-05
27 | 0.99425 | -0.11033 | 0.0019698 | 0.00049368
28 | 0.99229 | -0.14826 | 0.0018939 | 0.00047467
29 | 0.99249 | -0.14434 | 0.0028356 | 0.00071068
30 | 0.99258 | -0.14264 | 0.0046406 | 0.001163
31 | 0.99245 | -0.14517 | 0 | 0
32 | 0.99267 | -0.14086 | 0.0028791 | 0.00072157
33 | 0.9924 | -0.14614 | 0.00024798 | 6.215e-05
34 | 0.99332 | -0.12838 | 0.0075418 | 0.0018902
35 | 0.99239 | -0.14642 | 0.00024705 | 6.1916e-05
36 | 0.99345 | -0.12574 | 0.0045474 | 0.0011397
37 | 0.99462 | -0.10328 | 0.0076261 | 0.0019113
38 | 0.99238 | -0.1466 | 0.00017942 | 4.4967e-05
39 | 0.99385 | -0.11811 | 0.011706 | 0.0029339
40 | 0.99494 | -0.096938 | 0 | 0
41 | 0.99328 | -0.12916 | 0.012426 | 0.0031142
42 | 0.99379 | -0.11933 | 0.0029578 | 0.00074129
43 | 0.9928 | -0.13858 | 0.0026501 | 0.00066418
44 | 0.99428 | -0.1098 | 0 | 0
45 | 0.99265 | -0.14143 | 0 | 0
46 | 0.996 | -0.076743 | 0.012644 | 0.0031689
47 | 0.99219 | -0.15025 | 0.0032438 | 0.00081298
48 | 0.9969 | -0.059321 | 0 | 0
49 | 0.99194 | -0.15507 | 0.0057305 | 0.0014362
50 | 0.99243 | -0.14576 | 0.0019258 | 0.00048265
51 | 0.99665 | -0.0643 | 0.0022122 | 0.00055442
52 | 0.99788 | -0.040676 | 0.0013937 | 0.0003493
53 | 0.99664 | -0.064522 | 0.0029558 | 0.00074079
54 | 0.99967 | -0.0062476 | 0.0014768 | 0.00037012
55 | 0.9964 | -0.069036 | 0.0034941 | 0.00087571
56 | 1 | 0 | -0.26121 | -0.065652
57 | 0.9964 | -0.069135 | 0.0034989 | 0.00087692
58 | 0.99638 | -0.069515 | 0.0034967 | 0.00087636
59 | 0.99794 | -0.039472 | 0 | 0
60 | 0.99345 | -0.12587 | 0 | 0
61 | 0.99656 | -0.065923 | 0.0043075 | 0.0010796
62 | 0.9927 | -0.14037 | 0.0060105 | 0.0015064
63 | 0.99554 | -0.085449 | 0.012166 | 0.0030491
64 | 0.99248 | -0.14446 | 0.01096 | 0.0027468
65 | 0.99168 | -0.16013 | 0 | 0
66 | 0.99143 | -0.16506 | 0.0048208 | 0.0012082
67 | 0.99245 | -0.14519 | 0.0014768 | 0.00037011
68 | 0.99241 | -0.14596 | 0.0048213 | 0.0012083
69 | 0.99236 | -0.14685 | 0.00043579 | 0.00010922
70 | 0.99236 | -0.1469 | 0.00029831 | 7.4765e-05
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027023 | -0.0067747 | 0.027053 | 0.0067933 | 3.0023e-05 | 1.8589e-05 | 0.040594 | 0.040594 | 0.040594 | 0.99056 | -0.18162 | 0.99176 | -0.15834 | 11.1523
1 | 0.017333 | 0.0043463 | -0.017333 | -0.0043458 | 8.2741e-07 | 4.8766e-07 | 0.026039 | 0.026039 | 0.026039 | 0.99056 | -0.18162 | 0.99051 | -0.18263 | 7.1535
2 | -0.032425 | -0.0081396 | 0.032444 | 0.0081517 | 1.9283e-05 | 1.206e-05 | 0.048654 | 0.048654 | 0.048654 | 0.99176 | -0.15834 | 0.99241 | -0.14588 | 13.3665
3 | 0.012654 | 0.0031731 | -0.01265 | -0.0031713 | 3.3461e-06 | 1.8237e-06 | 0.01901 | 0.01901 | 0.01901 | 0.99051 | -0.18263 | 0.99023 | -0.18818 | 5.2225
4 | -0.038852 | -0.0097576 | 0.038877 | 0.0097736 | 2.5415e-05 | 1.6007e-05 | 0.058262 | 0.058262 | 0.058262 | 0.99241 | -0.14588 | 0.99312 | -0.13218 | 16.0059
5 | 0.0076049 | 0.0019068 | -0.0075979 | -0.0019042 | 6.9418e-06 | 2.6214e-06 | 0.011428 | 0.011429 | 0.011429 | 0.99023 | -0.18818 | 0.98924 | -0.20734 | 3.1398
6 | -0.048994 | -0.012309 | 0.049041 | 0.012339 | 4.661e-05 | 2.9532e-05 | 0.07342 | 0.07342 | 0.07342 | 0.99312 | -0.13218 | 0.99415 | -0.11226 | 20.1704
7 | -0.05889 | -0.014807 | 0.058934 | 0.014835 | 4.3137e-05 | 2.7416e-05 | 0.088163 | 0.088163 | 0.088163 | 0.99415 | -0.11226 | 0.99494 | -0.096938 | 24.2205
8 | -0.00064865 | -0.00016257 | 0.00064866 | 0.00016241 | 4.5965e-09 | -1.6209e-07 | 0.00097612 | 0.00097606 | 0.00097612 | 0.98882 | -0.21564 | 0.98883 | -0.21549 | 0.26817
9 | -0.0021984 | -0.0005508 | 0.0021984 | 0.00055072 | 3.3388e-08 | -8.2997e-08 | 0.0033081 | 0.0033081 | 0.0033081 | 0.98883 | -0.21549 | 0.98884 | -0.21517 | 0.90883
10 | 0.0042325 | 0.0010605 | -0.0042323 | -0.0010605 | 1.8795e-07 | -3.8203e-08 | 0.006369 | 0.0063691 | 0.0063691 | 0.98884 | -0.21517 | 0.9888 | -0.2161 | 1.7497
11 | -0.0064309 | -0.0016112 | 0.0064317 | 0.0016114 | 7.4194e-07 | 2.0378e-07 | 0.0096771 | 0.009677 | 0.0096771 | 0.98884 | -0.21517 | 0.98897 | -0.21275 | 2.6585
12 | -0.00099942 | -0.00025048 | 0.00099961 | 0.00024778 | 1.8601e-07 | -2.696e-06 | 0.001504 | 0.001503 | 0.001504 | 0.98879 | -0.21636 | 0.98899 | -0.21243 | 0.41319
13 | -0.0014778 | -0.00036764 | 0.0014782 | 0.00036534 | 3.656e-07 | -2.3003e-06 | 0.0022226 | 0.0022217 | 0.0022226 | 0.98899 | -0.21243 | 0.98925 | -0.2072 | 0.61059
14 | 0.012025 | 0.0030134 | -0.012006 | -0.0030036 | 1.8208e-05 | 9.7379e-06 | 0.018057 | 0.018058 | 0.018058 | 0.99089 | -0.17537 | 0.98925 | -0.2072 | 4.961
15 | -0.012836 | -0.0032167 | 0.012845 | 0.0032215 | 8.8303e-06 | 4.8344e-06 | 0.019275 | 0.019275 | 0.019275 | 0.99089 | -0.17537 | 0.99164 | -0.16094 | 5.2955
16 | 0.007258 | 0.0018187 | -0.0072561 | -0.001818 | 1.9168e-06 | 6.763e-07 | 0.010917 | 0.010917 | 0.010917 | 0.98925 | -0.2072 | 0.98897 | -0.21275 | 2.9993
17 | -0.012845 | -0.0032215 | 0.012852 | 0.0032258 | 7.7682e-06 | 4.2519e-06 | 0.019275 | 0.019275 | 0.019275 | 0.99164 | -0.16094 | 0.99229 | -0.14826 | 5.2954
18 | 0.00040708 | 0.00010184 | -0.00040707 | -0.00010202 | 2.054e-09 | -1.8592e-07 | 0.00061253 | 0.0006126 | 0.0006126 | 0.9888 | -0.2161 | 0.98879 | -0.21621 | 0.1683
19 | -0.0017917 | -0.00044903 | 0.001792 | 0.00044786 | 2.8229e-07 | -1.17e-06 | 0.0026852 | 0.0026847 | 0.0026852 | 0.99285 | -0.13751 | 0.99302 | -0.13419 | 0.7377
20 | 0.012344 | 0.0030912 | -0.012343 | -0.0030903 | 1.5854e-06 | 8.5483e-07 | 0.018497 | 0.018497 | 0.018497 | 0.99302 | -0.13419 | 0.99288 | -0.13689 | 5.0815
21 | -0.015956 | -0.0039952 | 0.015964 | 0.0039999 | 8.0146e-06 | 4.6454e-06 | 0.023909 | 0.023909 | 0.023909 | 0.99302 | -0.13419 | 0.99357 | -0.12365 | 6.5683
22 | 0.0019266 | 0.00047981 | -0.0019258 | -0.00048265 | 8.12e-07 | -2.839e-06 | 0.0028863 | 0.0028875 | 0.0028875 | 0.99288 | -0.13689 | 0.99243 | -0.14576 | 0.79327
23 | -0.035642 | -0.0089315 | 0.035665 | 0.0089463 | 2.3535e-05 | 1.4777e-05 | 0.053379 | 0.053379 | 0.053379 | 0.99357 | -0.12365 | 0.99428 | -0.1098 | 14.6645
24 | -0.00068322 | -0.00017123 | 0.00068323 | 0.00017079 | 1.3619e-08 | -4.3977e-07 | 0.0010237 | 0.0010235 | 0.0010237 | 0.99311 | -0.13249 | 0.99313 | -0.13207 | 0.28124
25 | -0.015692 | -0.0039406 | 0.015695 | 0.0039421 | 2.5895e-06 | 1.4957e-06 | 0.023514 | 0.023514 | 0.023514 | 0.99313 | -0.13207 | 0.99331 | -0.12861 | 6.46
26 | 0.015009 | 0.0037698 | -0.015006 | -0.0037685 | 2.3164e-06 | 1.3245e-06 | 0.022491 | 0.022491 | 0.022491 | 0.99313 | -0.13207 | 0.99296 | -0.1353 | 6.1788
27 | -0.015695 | -0.0039421 | 0.015708 | 0.00395 | 1.37e-05 | 7.9116e-06 | 0.023514 | 0.023514 | 0.023514 | 0.99331 | -0.12861 | 0.99425 | -0.11033 | 6.4599
28 | 0.014756 | 0.0037057 | -0.014746 | -0.0037005 | 9.1147e-06 | 5.191e-06 | 0.022115 | 0.022115 | 0.022115 | 0.99296 | -0.1353 | 0.99229 | -0.14826 | 6.0756
29 | -0.017678 | -0.0044437 | 0.017684 | 0.0044472 | 5.9518e-06 | 3.5151e-06 | 0.026462 | 0.026462 | 0.026462 | 0.99425 | -0.11033 | 0.99462 | -0.10328 | 7.2698
30 | -0.0042443 | -0.0010622 | 0.0042447 | 0.0010621 | 3.4318e-07 | -7.2508e-08 | 0.0063629 | 0.0063628 | 0.0063629 | 0.99249 | -0.14434 | 0.99258 | -0.14264 | 1.748
31 | 0.0014087 | 0.0003515 | -0.0014087 | -0.00035189 | 5.5672e-08 | -3.9465e-07 | 0.0021115 | 0.0021116 | 0.0021116 | 0.99249 | -0.14434 | 0.99245 | -0.14517 | 0.58012
32 | -0.0088853 | -0.0022251 | 0.008886 | 0.0022255 | 7.5408e-07 | 3.361e-07 | 0.01332 | 0.01332 | 0.01332 | 0.99258 | -0.14264 | 0.99267 | -0.14086 | 3.6592
33 | 0.0014087 | 0.00035189 | -0.0014086 | -0.00035235 | 6.5148e-08 | -4.6169e-07 | 0.0021116 | 0.0021118 | 0.0021118 | 0.99245 | -0.14517 | 0.9924 | -0.14614 | 0.58017
34 | -0.011765 | -0.0029471 | 0.011772 | 0.0029507 | 6.9908e-06 | 3.6987e-06 | 0.017635 | 0.017635 | 0.017635 | 0.99267 | -0.14086 | 0.99332 | -0.12838 | 4.8449
35 | 0.0011606 | 0.0002902 | -0.0011606 | -0.00029037 | 1.5534e-08 | -1.6684e-07 | 0.00174 | 0.00174 | 0.00174 | 0.9924 | -0.14614 | 0.99239 | -0.14642 | 0.47803
36 | -0.019314 | -0.0048409 | 0.019316 | 0.0048424 | 2.4312e-06 | 1.4557e-06 | 0.028933 | 0.028933 | 0.028933 | 0.99332 | -0.12838 | 0.99345 | -0.12574 | 7.9486
37 | 0.00091354 | 0.00022845 | -0.00091353 | -0.00022859 | 7.8201e-09 | -1.3862e-07 | 0.0013696 | 0.0013697 | 0.0013697 | 0.99239 | -0.14642 | 0.99238 | -0.1466 | 0.37628
38 | -0.023864 | -0.0059821 | 0.023872 | 0.0059874 | 8.6775e-06 | 5.319e-06 | 0.035744 | 0.035744 | 0.035744 | 0.99345 | -0.12574 | 0.99385 | -0.11811 | 9.8198
39 | -0.02531 | -0.0063585 | 0.025332 | 0.0063718 | 2.1563e-05 | 1.328e-05 | 0.037871 | 0.037871 | 0.037871 | 0.99462 | -0.10328 | 0.99554 | -0.085449 | 10.4041
40 | 0.00073411 | 0.00018362 | -0.0007341 | -0.00018386 | 8.5778e-09 | -2.3845e-07 | 0.0011006 | 0.0011007 | 0.0011007 | 0.99238 | -0.1466 | 0.99236 | -0.14685 | 0.30239
41 | -0.035579 | -0.0089213 | 0.035615 | 0.0089438 | 3.5944e-05 | 2.2566e-05 | 0.053271 | 0.053271 | 0.053271 | 0.99385 | -0.11811 | 0.99494 | -0.096938 | 14.6349
42 | -0.11787 | -0.029642 | 0.11819 | 0.029849 | 0.0003245 | 0.00020732 | 0.17632 | 0.17632 | 0.17632 | 0.99494 | -0.096938 | 0.99794 | -0.039472 | 48.4389
43 | 0.023321 | 0.0058632 | -0.023288 | -0.0058435 | 3.217e-05 | 1.9675e-05 | 0.034884 | 0.034885 | 0.034885 | 0.99494 | -0.096938 | 0.99345 | -0.12587 | 9.5837
44 | -0.028891 | -0.0072455 | 0.028904 | 0.0072539 | 1.3538e-05 | 8.4148e-06 | 0.043282 | 0.043282 | 0.043282 | 0.99328 | -0.12916 | 0.99379 | -0.11933 | 11.8907
45 | 0.016465 | 0.0041314 | -0.016458 | -0.004127 | 7.3954e-06 | 4.3138e-06 | 0.024668 | 0.024668 | 0.024668 | 0.99328 | -0.12916 | 0.9928 | -0.13858 | 6.7769
46 | -0.031862 | -0.0079952 | 0.031877 | 0.0080043 | 1.4496e-05 | 9.0574e-06 | 0.047711 | 0.047711 | 0.047711 | 0.99379 | -0.11933 | 0.99428 | -0.1098 | 13.1074
47 | 0.013808 | 0.0034629 | -0.013806 | -0.0034618 | 1.875e-06 | 1.049e-06 | 0.020696 | 0.020696 | 0.020696 | 0.9928 | -0.13858 | 0.99265 | -0.14143 | 5.6857
48 | -0.067542 | -0.016951 | 0.067649 | 0.017018 | 0.00010665 | 6.7893e-05 | 0.10109 | 0.10109 | 0.10109 | 0.99428 | -0.1098 | 0.996 | -0.076743 | 27.7718
49 | 0.013806 | 0.0034618 | -0.0138 | -0.0034586 | 5.7978e-06 | 3.2442e-06 | 0.020696 | 0.020696 | 0.020696 | 0.99265 | -0.14143 | 0.99219 | -0.15025 | 5.6857
50 | -0.080293 | -0.020187 | 0.080359 | 0.02023 | 6.6861e-05 | 4.263e-05 | 0.11998 | 0.11998 | 0.11998 | 0.996 | -0.076743 | 0.9969 | -0.059321 | 32.9613
51 | 0.010556 | 0.0026456 | -0.010554 | -0.0026444 | 2.4227e-06 | 1.2177e-06 | 0.015831 | 0.015831 | 0.015831 | 0.99219 | -0.15025 | 0.99194 | -0.15507 | 4.3492
52 | 0.015664 | 0.0039275 | -0.01566 | -0.0039254 | 3.7158e-06 | 2.1418e-06 | 0.023381 | 0.023381 | 0.023381 | 0.9969 | -0.059321 | 0.99665 | -0.0643 | 6.4234
53 | -0.096023 | -0.024157 | 0.096109 | 0.024212 | 8.5623e-05 | 5.4653e-05 | 0.14336 | 0.14336 | 0.14336 | 0.9969 | -0.059321 | 0.99788 | -0.040676 | 39.3847
54 | 0.0048231 | 0.0012082 | -0.004822 | -0.0012082 | 1.1624e-06 | -2.0268e-08 | 0.0072349 | 0.0072352 | 0.0072352 | 0.99194 | -0.15507 | 0.99168 | -0.16013 | 1.9877
55 | 0.013448 | 0.0033709 | -0.013448 | -0.0033709 | 1.4206e-07 | 7.867e-08 | 0.020078 | 0.020078 | 0.020078 | 0.99665 | -0.0643 | 0.99664 | -0.064522 | 5.5161
56 | -0.097503 | -0.024561 | 0.097664 | 0.024664 | 0.00016083 | 0.00010267 | 0.14544 | 0.14544 | 0.14544 | 0.99788 | -0.040676 | 0.99967 | -0.0062476 | 39.9556
57 | 0.010492 | 0.0026301 | -0.01049 | -0.002629 | 2.2561e-06 | 1.1245e-06 | 0.015665 | 0.015665 | 0.015665 | 0.99664 | -0.064522 | 0.9964 | -0.069036 | 4.3037
58 | -0.09914 | -0.025034 | 0.09917 | 0.025053 | 2.9687e-05 | 1.8952e-05 | 0.14764 | 0.14764 | 0.14764 | 0.99967 | -0.0062476 | 1 | 0 | 40.5595
59 | 0.0069958 | 0.0017532 | -0.0069957 | -0.0017532 | 3.2954e-08 | 1.0604e-08 | 0.010447 | 0.010447 | 0.010447 | 0.9964 | -0.069036 | 0.9964 | -0.069135 | 2.8702
60 | 0.16039 | 0.040598 | -0.16009 | -0.040405 | 0.00030328 | 0.00019336 | 0.2388 | 0.2388 | 0.2388 | 1 | 0 | 0.99794 | -0.039472 | 32.8028
61 | 0.0034968 | 0.00087632 | -0.0034967 | -0.00087636 | 6.3359e-08 | -4.0147e-08 | 0.0052221 | 0.0052221 | 0.0052221 | 0.9964 | -0.069135 | 0.99638 | -0.069515 | 1.4346
62 | 0.041893 | 0.010556 | -0.04184 | -0.010522 | 5.2935e-05 | 3.3406e-05 | 0.062487 | 0.062487 | 0.062487 | 0.99794 | -0.039472 | 0.99656 | -0.065923 | 17.1667
63 | 0.023288 | 0.0058435 | -0.023272 | -0.0058337 | 1.609e-05 | 9.8411e-06 | 0.034885 | 0.034885 | 0.034885 | 0.99345 | -0.12587 | 0.9927 | -0.14037 | 9.5837
64 | 0.037533 | 0.0094429 | -0.037498 | -0.0094209 | 3.4982e-05 | 2.2002e-05 | 0.056055 | 0.056055 | 0.056055 | 0.99656 | -0.065923 | 0.99554 | -0.085449 | 15.3998
65 | 0.017262 | 0.0043273 | -0.017258 | -0.0043253 | 3.3638e-06 | 1.9796e-06 | 0.025875 | 0.025875 | 0.025875 | 0.9927 | -0.14037 | 0.99248 | -0.14446 | 7.1086
66 | 0.0062985 | 0.0015785 | -0.0062982 | -0.0015784 | 2.1932e-07 | 5.5612e-08 | 0.0094432 | 0.0094432 | 0.0094432 | 0.99248 | -0.14446 | 0.99245 | -0.14519 | 2.5943
67 | 0.004822 | 0.0012082 | -0.0048208 | -0.0012082 | 1.1333e-06 | -1.9318e-08 | 0.0072352 | 0.0072355 | 0.0072355 | 0.99168 | -0.16013 | 0.99143 | -0.16506 | 1.9878
68 | 0.0048215 | 0.0012083 | -0.0048213 | -0.0012083 | 1.7796e-07 | -3.4435e-09 | 0.007229 | 0.0072291 | 0.0072291 | 0.99245 | -0.14519 | 0.99241 | -0.14596 | 1.986
69 | 0.00029832 | 7.4645e-05 | -0.00029831 | -7.4765e-05 | 6.9995e-10 | -1.2009e-07 | 0.00044727 | 0.00044731 | 0.00044731 | 0.99236 | -0.14685 | 0.99236 | -0.1469 | 0.12289

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27056 | 0.067995

## res_load
| p_mw | q_mvar
0 | 0.0096894 | 0.0024284
1 | 0.005372 | 0.0013463
2 | 0.004679 | 0.0011727
3 | 0.0064078 | 0.0016059
4 | 0.0050453 | 0.0012645
5 | 0.010117 | 0.0025356
6 | 0.0075979 | 0.0019042
7 | 0.0098495 | 0.0024685
8 | 0.00064865 | 0.00016257
9 | 0.0015497 | 0.0003884
10 | 0.00099942 | 0.00025048
11 | 0.00047823 | 0.00011986
12 | 0.00081127 | 0.00020332
13 | 0.0032702 | 0.00081959
14 | 0.0038253 | 0.0009587
15 | 0.00082441 | 0.00020662
16 | 0.00040707 | 0.00010202
17 | 0.0017917 | 0.00044903
18 | 0.0018201 | 0.00045615
19 | 0.010416 | 0.0026105
20 | 0.019678 | 0.0049317
21 | 0.00068322 | 0.00017123
22 | 0.00025084 | 6.2865e-05
23 | 0.0019698 | 0.00049368
24 | 0.0018939 | 0.00047467
25 | 0.0028356 | 0.00071068
26 | 0.0046406 | 0.001163
27 | 0.0028791 | 0.00072157
28 | 0.00024798 | 6.215e-05
29 | 0.0075418 | 0.0018902
30 | 0.00024705 | 6.1916e-05
31 | 0.0045474 | 0.0011397
32 | 0.0076261 | 0.0019113
33 | 0.00017942 | 4.4967e-05
34 | 0.011706 | 0.0029339
35 | 0.012426 | 0.0031142
36 | 0.0029578 | 0.00074129
37 | 0.0026501 | 0.00066418
38 | 0.012644 | 0.0031689
39 | 0.0032438 | 0.00081298
40 | 0.0057305 | 0.0014362
41 | 0.0019258 | 0.00048265
42 | 0.0022122 | 0.00055442
43 | 0.0013937 | 0.0003493
44 | 0.0029558 | 0.00074079
45 | 0.0014768 | 0.00037012
46 | 0.0034941 | 0.00087571
47 | 0.0093485 | 0.0023429
48 | 0.0034989 | 0.00087692
49 | 0.0034967 | 0.00087636
50 | 0.0043075 | 0.0010796
51 | 0.0060105 | 0.0015064
52 | 0.012166 | 0.0030491
53 | 0.01096 | 0.0027468
54 | 0.0048208 | 0.0012082
55 | 0.0014768 | 0.00037011
56 | 0.0048213 | 0.0012083
57 | 0.00043579 | 0.00010922
58 | 0.00029831 | 7.4765e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1