## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-11_0_9_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-11_0_9_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-11_0_9_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-11_0_9_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-11_0_9_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-11_0_9_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1711-11_0_9_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1711-11_0_9_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1711-11_0_9_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1711-11_0_9_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1711-11_0_9_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1711-11_0_9_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1711-11_0_9_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1711-11_0_9_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1711-11_0_9_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1711-11_0_9_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1711-11_0_9_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1711-11_0_9_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1711-11_0_9_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1711-11_0_9_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1711-11_0_9_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1711-11_0_9_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1711-11_0_9_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1711-11_0_9_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1711-11_0_9_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1711-11_0_9_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1711-11_0_9_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1711-11_0_9_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1711-11_0_9_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1711-11_0_9_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1711-11_0_9_node_31 | 0.4 | n |  | TRUE
31 | bus_MV_229_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-11_0_9_load_0 | 0 | 0.0062747 | 0.0015726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-11_0_9_load_3 | 3 | 0.0058482 | 0.0014657 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-11_0_9_load_4 | 4 | 0.098592 | 0.02471 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-11_0_9_load_5 | 5 | 0.080733 | 0.020234 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-11_0_9_load_8 | 7 | 0.056847 | 0.014247 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-11_0_9_load_19 | 9 | 0.060842 | 0.015248 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-11_0_9_load_29 | 11 | 0.0050417 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-11_0_9_load_28 | 12 | 0.0013866 | 0.00034752 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-11_0_9_load_12 | 13 | 0.023428 | 0.0058717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-11_0_9_load_13 | 14 | 0.060224 | 0.015094 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-11_0_9_load_27 | 19 | 0.0011829 | 0.00029647 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-11_0_9_load_34 | 20 | 0.04399 | 0.011025 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-11_0_9_load_33 | 22 | 0.099516 | 0.024941 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-11_0_9_load_24 | 23 | 0.0021528 | 0.00053954 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-11_0_9_load_32 | 24 | 0.0123 | 0.0030826 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-11_0_9_load_20 | 25 | 0.0036504 | 0.00091488 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-11_0_9_load_21 | 26 | 0.0021528 | 0.00053955 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-11_0_9_load_22 | 27 | 0.0021528 | 0.00053955 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-11_0_9_load_25 | 29 | 0.00070701 | 0.00017719 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-11_0_9_load_31 | 30 | 0.003103 | 0.00077768 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-11_0_9_line_0 |  | 0 | 1 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-11_0_9_line_1 |  | 0 | 2 | 0.023525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-11_0_9_line_2 |  | 1 | 3 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1711-11_0_9_line_3 |  | 1 | 4 | 0.030423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-11_0_9_line_4 |  | 2 | 5 | 0.018833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-11_0_9_line_5 |  | 3 | 6 | 0.044054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1711-11_0_9_line_6 |  | 6 | 7 | 0.017218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-11_0_9_line_7 |  | 6 | 8 | 0.09495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1711-11_0_9_line_8 |  | 8 | 9 | 0.026294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1711-11_0_9_line_9 |  | 9 | 10 | 0.096463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1711-11_0_9_line_10 |  | 10 | 17 | 0.12909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1711-11_0_9_line_11 |  | 11 | 12 | 0.024929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-11_0_9_line_12 |  | 12 | 19 | 0.00909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-11_0_9_line_13 |  | 13 | 14 | 0.039819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1711-11_0_9_line_14 |  | 13 | 15 | 0.03862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1711-11_0_9_line_15 |  | 14 | 16 | 0.054797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-11_0_9_line_16 |  | 15 | 17 | 0.062924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1711-11_0_9_line_17 |  | 15 | 18 | 0.026911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1711-11_0_9_line_18 |  | 16 | 19 | 0.092618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-11_0_9_line_19 |  | 17 | 20 | 0.078421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-11_0_9_line_20 |  | 18 | 21 | 0.068725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-11_0_9_line_21 |  | 18 | 22 | 0.080006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1711-11_0_9_line_22 |  | 21 | 23 | 0.0026374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-11_0_9_line_23 |  | 22 | 24 | 0.061912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1711-11_0_9_line_24 |  | 23 | 27 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-11_0_9_line_25 |  | 25 | 26 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-11_0_9_line_26 |  | 25 | 27 | 0.0042748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-11_0_9_line_27 |  | 26 | 28 | 0.091802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-11_0_9_line_28 |  | 28 | 29 | 0.040578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-11_0_9_line_29 |  | 29 | 30 | 0.0035711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-11_0_9_trafo_7 | 0.63 MVA 20/0.4 kV | 31 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2681493.4337 | 1225638.6245 | 2681491.845 | 1225615.4411
1 | 2681490.2367 | 1225591.9714 | 2681491.845 | 1225615.4411
2 | 2681493.4337 | 1225638.6245 | 2681494.7734 | 1225658.5771
3 | 2681463.0088 | 1225640.9207 | 2681493.4337 | 1225638.6245
4 | 2681490.2367 | 1225591.9714 | 2681489.6964 | 1225582.7133 | 2681489.0336 | 1225573.1767
5 | 2681510.7864 | 1225687.3841 | 2681496.7834 | 1225688.5153 | 2681494.7734 | 1225658.5771
6 | 2681510.7864 | 1225687.3841 | 2681527.9404 | 1225685.8958
7 | 2681510.7864 | 1225687.3841 | 2681513.2328 | 1225721.8521 | 2681573.5525 | 1225718.8319
8 | 2681573.5525 | 1225718.8319 | 2681575.3388 | 1225745.0648
9 | 2681618.7879 | 1225801.8305 | 2681608.6101 | 1225803.2253 | 2681604.8587 | 1225793.1893 | 2681602.6185 | 1225768.5974 | 2681577.0484 | 1225770.1702 | 2681575.3388 | 1225745.0648
10 | 2681538.3363 | 1225851.6617 | 2681549.4689 | 1225850.847 | 2681609.7078 | 1225846.4363 | 2681615.469 | 1225845.9149 | 2681620.1904 | 1225845.4794 | 2681621.7844 | 1225845.3345 | 2681623.5066 | 1225845.2358 | 2681621.9144 | 1225825.3672 | 2681618.7879 | 1225801.8305
11 | 2681330.3937 | 1225671.2488 | 2681331.1469 | 1225676.9642 | 2681334.6299 | 1225691.6995 | 2681336.5652 | 1225695.2258
12 | 2681340.9386 | 1225703.1945 | 2681336.5652 | 1225695.2258
13 | 2681456.0013 | 1225782.8103 | 2681459.952 | 1225797.1403 | 2681462.22 | 1225804.2429 | 2681464.4672 | 1225821.5968
14 | 2681475.4348 | 1225856.7593 | 2681475.1371 | 1225850.8179 | 2681471.4943 | 1225847.7771 | 2681467.1975 | 1225842.6815 | 2681464.4672 | 1225821.5968
15 | 2681423.1395 | 1225739.442 | 2681431.7904 | 1225752.1245 | 2681443.781 | 1225764.508 | 2681455.1058 | 1225779.5621 | 2681456.0013 | 1225782.8103
16 | 2681538.3363 | 1225851.6617 | 2681498.4536 | 1225854.8954 | 2681475.4348 | 1225856.7593
17 | 2681461.1863 | 1225843.7444 | 2681462.6996 | 1225857.7968 | 2681475.4348 | 1225856.7593
18 | 2681423.1395 | 1225739.442 | 2681405.0972 | 1225733.8358 | 2681378.0397 | 1225729.4184 | 2681364.3435 | 1225723.6495 | 2681351.7684 | 1225715.183 | 2681342.7518 | 1225706.4983 | 2681340.9386 | 1225703.1945
19 | 2681538.3363 | 1225851.6617 | 2681537.2393 | 1225835.4579 | 2681534.7853 | 1225800.4561 | 2681533.5428 | 1225784.9063 | 2681532.608 | 1225773.4635
20 | 2681403.1375 | 1225854.8689 | 2681450.3202 | 1225854.9922 | 2681450.1991 | 1225844.4612 | 2681454.0917 | 1225844.2032 | 2681461.1863 | 1225843.7444
21 | 2681461.1863 | 1225843.7444 | 2681458.4056 | 1225818.1668 | 2681457.7083 | 1225811.5083 | 2681454.9451 | 1225797.939 | 2681448.6999 | 1225784.5334 | 2681441.5824 | 1225772.8169 | 2681438.0453 | 1225768.9545
22 | 2681403.1375 | 1225854.8689 | 2681403.24 | 1225852.2334
23 | 2681385.6304 | 1225738.3707 | 2681405.8423 | 1225745.8653 | 2681415.7308 | 1225749.5475 | 2681425.3375 | 1225755.5385 | 2681431.4463 | 1225761.7485 | 2681438.0453 | 1225768.9545
24 | 2681404.0142 | 1225832.3294 | 2681403.24 | 1225852.2334
25 | 2681404.8181 | 1225811.6582 | 2681404.1803 | 1225828.0578
26 | 2681404.0142 | 1225832.3294 | 2681404.1803 | 1225828.0578
27 | 2681328.7694 | 1225776.5547 | 2681371.4755 | 1225789.7362 | 2681392.2093 | 1225793.6557 | 2681398.2915 | 1225795.1621 | 2681402.9405 | 1225797.2493 | 2681405.0207 | 1225806.4507 | 2681404.8181 | 1225811.6582
28 | 2681328.7694 | 1225776.5547 | 2681322.3489 | 1225798.1261 | 2681339.7671 | 1225802.9413
29 | 2681343.209 | 1225803.8928 | 2681339.7671 | 1225802.9413

## bus_geodata
| x | y | coords
0 | 2681491.845 | 1225615.4411
1 | 2681493.4337 | 1225638.6245
2 | 2681490.2367 | 1225591.9714
3 | 2681494.7734 | 1225658.5771
4 | 2681463.0088 | 1225640.9207
5 | 2681489.0336 | 1225573.1767
6 | 2681510.7864 | 1225687.3841
7 | 2681527.9404 | 1225685.8958
8 | 2681573.5525 | 1225718.8319
9 | 2681575.3388 | 1225745.0648
10 | 2681618.7879 | 1225801.8305
11 | 2681330.3937 | 1225671.2488
12 | 2681336.5652 | 1225695.2258
13 | 2681464.4672 | 1225821.5968
14 | 2681456.0013 | 1225782.8103
15 | 2681475.4348 | 1225856.7593
16 | 2681423.1395 | 1225739.442
17 | 2681538.3363 | 1225851.6617
18 | 2681461.1863 | 1225843.7444
19 | 2681340.9386 | 1225703.1945
20 | 2681532.608 | 1225773.4635
21 | 2681403.1375 | 1225854.8689
22 | 2681438.0453 | 1225768.9545
23 | 2681403.24 | 1225852.2334
24 | 2681385.6304 | 1225738.3707
25 | 2681404.1803 | 1225828.0578
26 | 2681404.8181 | 1225811.6582
27 | 2681404.0142 | 1225832.3294
28 | 2681328.7694 | 1225776.5547
29 | 2681339.7671 | 1225802.9413
30 | 2681343.209 | 1225803.8928
31 | 2681513.2328 | 1225721.8521

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99453 | -0.10491 | 0.0062747 | 0.0015726
1 | 0.99638 | -0.069348 | 0 | 0
2 | 0.99279 | -0.13844 | 0 | 0
3 | 0.99807 | -0.036823 | 0.0058482 | 0.0014657
4 | 0.99364 | -0.12215 | 0.098592 | 0.02471
5 | 0.9914 | -0.16536 | 0.080733 | 0.020234
6 | 1 | 0 | -0.58047 | -0.14841
7 | 0.99911 | -0.017075 | 0.056847 | 0.014247
8 | 0.99288 | -0.13414 | 0 | 0
9 | 0.99091 | -0.17163 | 0.060842 | 0.015248
10 | 0.98503 | -0.28405 | 0 | 0
11 | 0.97068 | -0.56436 | 0.0050417 | 0.0012636
12 | 0.9708 | -0.56204 | 0.0013866 | 0.00034752
13 | 0.97316 | -0.51533 | 0.023428 | 0.0058717
14 | 0.9719 | -0.54022 | 0.060224 | 0.015094
15 | 0.97398 | -0.49912 | 0 | 0
16 | 0.97151 | -0.54792 | 0 | 0
17 | 0.97717 | -0.4366 | 0 | 0
18 | 0.97319 | -0.51468 | 0 | 0
19 | 0.97085 | -0.56095 | 0.0011829 | 0.00029647
20 | 0.97396 | -0.49978 | 0.04399 | 0.011025
21 | 0.9723 | -0.53231 | 0 | 0
22 | 0.97111 | -0.55593 | 0.099516 | 0.024941
23 | 0.97227 | -0.53299 | 0.0021528 | 0.00053954
24 | 0.97087 | -0.56063 | 0.0123 | 0.0030826
25 | 0.97201 | -0.53807 | 0.0036504 | 0.00091488
26 | 0.97192 | -0.53988 | 0.0021528 | 0.00053955
27 | 0.97205 | -0.53731 | 0.0021528 | 0.00053955
28 | 0.97159 | -0.54634 | 0 | 0
29 | 0.97145 | -0.54919 | 0.00070701 | 0.00017719
30 | 0.97144 | -0.5494 | 0.003103 | 0.00077768
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.087241 | -0.021955 | 0.08739 | 0.02205 | 0.00014855 | 9.4768e-05 | 0.13056 | 0.13056 | 0.13056 | 0.99453 | -0.10491 | 0.99638 | -0.069348 | 35.8688
1 | 0.080967 | 0.020382 | -0.080837 | -0.0203 | 0.00012953 | 8.2596e-05 | 0.12117 | 0.12117 | 0.12117 | 0.99453 | -0.10491 | 0.99279 | -0.13844 | 33.2897
2 | -0.18623 | -0.046918 | 0.18652 | 0.047103 | 0.00029021 | 0.00018521 | 0.27821 | 0.27821 | 0.27821 | 0.99638 | -0.069348 | 0.99807 | -0.036823 | 38.2153
3 | 0.098841 | 0.024868 | -0.098592 | -0.02471 | 0.0002487 | 0.00015877 | 0.14765 | 0.14765 | 0.14765 | 0.99638 | -0.069348 | 0.99364 | -0.12215 | 40.562
4 | 0.080837 | 0.0203 | -0.080733 | -0.020234 | 0.0001037 | 6.6125e-05 | 0.12117 | 0.12117 | 0.12117 | 0.99279 | -0.13844 | 0.9914 | -0.16536 | 33.2897
5 | -0.19237 | -0.048569 | 0.19271 | 0.048784 | 0.00034002 | 0.0002153 | 0.28693 | 0.28693 | 0.28693 | 0.99807 | -0.036823 | 1 | 0 | 19.7065
6 | 0.056893 | 0.014276 | -0.056847 | -0.014247 | 4.6283e-05 | 2.9395e-05 | 0.084664 | 0.084664 | 0.084664 | 1 | 0 | 0.99911 | -0.017075 | 23.2593
7 | 0.32922 | 0.085351 | -0.32708 | -0.083984 | 0.0021451 | 0.0013679 | 0.4909 | 0.4909 | 0.4909 | 1 | 0 | 0.99288 | -0.13414 | 33.7158
8 | 0.32708 | 0.083984 | -0.32648 | -0.083605 | 0.00059403 | 0.00037882 | 0.4909 | 0.4909 | 0.4909 | 0.99288 | -0.13414 | 0.99091 | -0.17163 | 33.7158
9 | 0.26564 | 0.068356 | -0.2642 | -0.067437 | 0.0014436 | 0.00091898 | 0.39954 | 0.39954 | 0.39954 | 0.99091 | -0.17163 | 0.98503 | -0.28405 | 27.4411
10 | 0.2642 | 0.067437 | -0.26227 | -0.066207 | 0.0019319 | 0.0012299 | 0.39954 | 0.39954 | 0.39954 | 0.98503 | -0.28405 | 0.97717 | -0.4366 | 27.4413
11 | -0.0050417 | -0.0012636 | 0.0050423 | 0.0012636 | 5.584e-07 | 4.9187e-08 | 0.0077288 | 0.0077287 | 0.0077288 | 0.97068 | -0.56436 | 0.9708 | -0.56204 | 2.1233
12 | -0.0064289 | -0.0016111 | 0.0064293 | 0.0016112 | 3.3099e-07 | 9.9439e-08 | 0.0098541 | 0.009854 | 0.0098541 | 0.9708 | -0.56204 | 0.97085 | -0.56095 | 2.7072
13 | 0.067924 | 0.017055 | -0.067844 | -0.017004 | 8.0554e-05 | 5.0566e-05 | 0.10387 | 0.10387 | 0.10387 | 0.97316 | -0.51533 | 0.9719 | -0.54022 | 14.268
14 | -0.091353 | -0.022927 | 0.091423 | 0.02297 | 7.0655e-05 | 4.3298e-05 | 0.13969 | 0.13969 | 0.13969 | 0.97316 | -0.51533 | 0.97398 | -0.49912 | 9.5944
15 | 0.0076197 | 0.0019107 | -0.0076169 | -0.0019096 | 2.7969e-06 | 1.1112e-06 | 0.011666 | 0.011667 | 0.011667 | 0.9719 | -0.54022 | 0.97151 | -0.54792 | 3.2051
16 | -0.21749 | -0.054685 | 0.21814 | 0.055099 | 0.00065155 | 0.00041385 | 0.33234 | 0.33234 | 0.33234 | 0.97398 | -0.49912 | 0.97717 | -0.4366 | 22.8255
17 | 0.12607 | 0.031715 | -0.12597 | -0.031656 | 9.3631e-05 | 5.8585e-05 | 0.19265 | 0.19265 | 0.19265 | 0.97398 | -0.49912 | 0.97319 | -0.51468 | 13.2312
18 | 0.0076169 | 0.0019096 | -0.0076122 | -0.0019077 | 4.7275e-06 | 1.8796e-06 | 0.011667 | 0.011667 | 0.011667 | 0.97151 | -0.54792 | 0.97085 | -0.56095 | 3.2052
19 | 0.044122 | 0.011109 | -0.04399 | -0.011025 | 0.00013283 | 8.4032e-05 | 0.067207 | 0.067207 | 0.067207 | 0.97717 | -0.4366 | 0.97396 | -0.49978 | 18.4635
20 | 0.013936 | 0.0034963 | -0.013924 | -0.0034897 | 1.1703e-05 | 6.6368e-06 | 0.021309 | 0.02131 | 0.02131 | 0.97319 | -0.51468 | 0.9723 | -0.53231 | 5.8543
21 | 0.11204 | 0.02816 | -0.11182 | -0.028023 | 0.00022019 | 0.00013695 | 0.17134 | 0.17134 | 0.17134 | 0.97319 | -0.51468 | 0.97111 | -0.55593 | 11.7677
22 | 0.013924 | 0.0034897 | -0.013924 | -0.0034894 | 4.4912e-07 | 2.5473e-07 | 0.02131 | 0.02131 | 0.02131 | 0.9723 | -0.53231 | 0.97227 | -0.53299 | 5.8543
23 | 0.012302 | 0.003082 | -0.0123 | -0.0030826 | 2.7501e-06 | -5.3734e-07 | 0.01885 | 0.018851 | 0.018851 | 0.97111 | -0.55593 | 0.97087 | -0.56063 | 1.7263
24 | 0.011771 | 0.0029499 | -0.011769 | -0.0029486 | 2.4242e-06 | 1.3045e-06 | 0.018015 | 0.018015 | 0.018015 | 0.97227 | -0.53299 | 0.97205 | -0.53731 | 4.9492
25 | 0.005965 | 0.001494 | -0.0059645 | -0.0014938 | 5.1317e-07 | 1.2502e-07 | 0.0091313 | 0.0091314 | 0.0091314 | 0.97201 | -0.53807 | 0.97192 | -0.53988 | 2.5086
26 | -0.0096155 | -0.0024088 | 0.0096158 | 0.002409 | 3.4733e-07 | 1.693e-07 | 0.01472 | 0.01472 | 0.01472 | 0.97201 | -0.53807 | 0.97205 | -0.53731 | 4.0438
27 | 0.0038117 | 0.00095429 | -0.0038105 | -0.00095468 | 1.1724e-06 | -3.87e-07 | 0.0058354 | 0.0058358 | 0.0058358 | 0.97192 | -0.53988 | 0.97159 | -0.54634 | 1.6032
28 | 0.0038105 | 0.00095468 | -0.00381 | -0.00095485 | 5.1825e-07 | -1.7078e-07 | 0.0058358 | 0.005836 | 0.005836 | 0.97159 | -0.54634 | 0.97145 | -0.54919 | 1.6033
29 | 0.003103 | 0.00077766 | -0.003103 | -0.00077768 | 3.0253e-08 | -2.485e-08 | 0.004753 | 0.0047531 | 0.0047531 | 0.97145 | -0.54919 | 0.97144 | -0.5494 | 1.3058

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58047 | 0.14841

## res_load
| p_mw | q_mvar
0 | 0.0062747 | 0.0015726
1 | 0.0058482 | 0.0014657
2 | 0.098592 | 0.02471
3 | 0.080733 | 0.020234
4 | 0.056847 | 0.014247
5 | 0.060842 | 0.015248
6 | 0.0050417 | 0.0012636
7 | 0.0013866 | 0.00034752
8 | 0.023428 | 0.0058717
9 | 0.060224 | 0.015094
10 | 0.0011829 | 0.00029647
11 | 0.04399 | 0.011025
12 | 0.099516 | 0.024941
13 | 0.0021528 | 0.00053954
14 | 0.0123 | 0.0030826
15 | 0.0036504 | 0.00091488
16 | 0.0021528 | 0.00053955
17 | 0.0021528 | 0.00053955
18 | 0.00070701 | 0.00017719
19 | 0.003103 | 0.00077768

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1