## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-17_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-17_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-17_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-17_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1711-17_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1711-17_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1711-17_0_5_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_1711-17_0_5_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_1711-17_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1711-17_0_5_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_1711-17_0_5_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1711-17_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1711-17_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1711-17_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1711-17_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1711-17_0_5_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_1711-17_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1711-17_0_5_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_1711-17_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1711-17_0_5_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_1711-17_0_5_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_1711-17_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1711-17_0_5_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1711-17_0_5_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_1711-17_0_5_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_1711-17_0_5_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1711-17_0_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1711-17_0_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1711-17_0_5_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_1711-17_0_5_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_1711-17_0_5_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_1711-17_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1711-17_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1711-17_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1711-17_0_5_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1711-17_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1711-17_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1711-17_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1711-17_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1711-17_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1711-17_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1711-17_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1711-17_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1711-17_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1711-17_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_1711-17_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1711-17_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1711-17_0_5_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_1711-17_0_5_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1711-17_0_5_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_1711-17_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1711-17_0_5_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_1711-17_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1711-17_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1711-17_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1711-17_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_1711-17_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1711-17_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_1711-17_0_5_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_1711-17_0_5_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_228_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-17_0_5_load_0 | 0 | 0.028606 | 0.0071693 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-17_0_5_load_1 | 1 | 0.033984 | 0.0085171 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-17_0_5_load_4 | 3 | 0.022515 | 0.0056429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-17_0_5_load_3 | 5 | 0.0088943 | 0.0022291 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-17_0_5_load_39 | 6 | 0.0076674 | 0.0019216 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-17_0_5_load_51 | 7 | 0.007216 | 0.0018085 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-17_0_5_load_45 | 9 | 0.0079207 | 0.0019851 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-17_0_5_load_52 | 10 | 0.010762 | 0.0026972 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-17_0_5_load_11 | 12 | 0.0049465 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-17_0_5_load_6 | 13 | 0.0067111 | 0.001682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-17_0_5_load_67 | 15 | 0.025656 | 0.0064299 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-17_0_5_load_43 | 17 | 0.018978 | 0.0047564 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-17_0_5_load_64 | 20 | 0.014433 | 0.0036171 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-17_0_5_load_40 | 23 | 0.043978 | 0.011022 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-17_0_5_load_9 | 24 | 0.022287 | 0.0055858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-17_0_5_load_34 | 25 | 0.011638 | 0.0029167 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-17_0_5_load_35 | 26 | 0.026239 | 0.006576 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-17_0_5_load_47 | 27 | 0.0035491 | 0.00088948 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-17_0_5_load_46 | 28 | 0.01044 | 0.0026166 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-17_0_5_load_57 | 29 | 0.0029443 | 0.00073791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-17_0_5_load_56 | 30 | 0.022141 | 0.005549 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-17_0_5_load_23 | 31 | 0.0034744 | 0.00087077 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-17_0_5_load_22 | 32 | 0.0029537 | 0.00074028 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-17_0_5_load_33 | 33 | 0.0045736 | 0.0011462 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-17_0_5_load_44 | 34 | 0.0084905 | 0.0021279 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-17_0_5_load_27 | 36 | 0.0048567 | 0.0012172 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-17_0_5_load_25 | 38 | 0.0072043 | 0.0018056 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-17_0_5_load_26 | 39 | 0.011159 | 0.0027968 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-17_0_5_load_38 | 40 | 0.020279 | 0.0050823 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-17_0_5_load_36 | 41 | 0.019619 | 0.0049171 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-17_0_5_load_28 | 42 | 0.038796 | 0.0097231 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-17_0_5_load_29 | 43 | 0.013911 | 0.0034865 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-17_0_5_load_32 | 45 | 0.015639 | 0.0039195 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-17_0_5_load_42 | 46 | 0.0092164 | 0.0023098 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-17_0_5_load_66 | 47 | 0.00606 | 0.0015188 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-17_0_5_load_60 | 48 | 0.0078022 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-17_0_5_load_62 | 49 | 0.0055242 | 0.0013845 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-17_0_5_load_37 | 50 | 0.022257 | 0.0055781 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-17_0_5_load_49 | 53 | 0.011806 | 0.0029588 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-17_0_5_load_50 | 54 | 0.016199 | 0.0040598 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-17_0_5_load_54 | 55 | 0.015365 | 0.003851 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-17_0_5_load_58 | 57 | 0.011545 | 0.0028934 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-17_0_5_load_61 | 59 | 0.0079665 | 0.0019966 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-17_0_5_line_0 |  | 0 | 1 | 0.011397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_1711-17_0_5_line_1 |  | 0 | 2 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_1711-17_0_5_line_2 |  | 2 | 3 | 0.0056731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_1711-17_0_5_line_3 |  | 2 | 4 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-17_0_5_line_4 |  | 3 | 7 | 0.0086309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1711-17_0_5_line_5 |  | 4 | 8 | 0.032251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-17_0_5_line_6 |  | 5 | 6 | 0.00053659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-17_0_5_line_7 |  | 6 | 9 | 0.0011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-17_0_5_line_8 |  | 7 | 10 | 0.0092291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1711-17_0_5_line_9 |  | 8 | 17 | 0.0081228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-17_0_5_line_10 |  | 9 | 22 | 0.0083541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-17_0_5_line_11 |  | 10 | 56 | 0.0076313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1711-17_0_5_line_12 |  | 11 | 12 | 0.0098741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-17_0_5_line_13 |  | 11 | 13 | 0.0018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-17_0_5_line_14 |  | 13 | 16 | 0.033368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-17_0_5_line_15 |  | 14 | 15 | 0.0089863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-17_0_5_line_16 |  | 14 | 16 | 0.018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-17_0_5_line_17 |  | 16 | 24 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-17_0_5_line_18 |  | 18 | 19 | 0.007782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-17_0_5_line_19 |  | 18 | 20 | 0.006744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-17_0_5_line_20 |  | 19 | 33 | 0.0049814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-17_0_5_line_21 |  | 21 | 22 | 0.002281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1711-17_0_5_line_22 |  | 21 | 23 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1711-17_0_5_line_23 |  | 22 | 34 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1711-17_0_5_line_24 |  | 23 | 35 | 0.011973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1711-17_0_5_line_25 |  | 24 | 25 | 0.00068218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-17_0_5_line_26 |  | 25 | 26 | 0.0081745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-17_0_5_line_27 |  | 26 | 50 | 0.0015561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-17_0_5_line_28 |  | 27 | 28 | 8.0645e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-17_0_5_line_29 |  | 28 | 52 | 0.014498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-17_0_5_line_30 |  | 29 | 30 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-17_0_5_line_31 |  | 30 | 54 | 0.0078173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-17_0_5_line_32 |  | 31 | 32 | 0.0041954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-17_0_5_line_33 |  | 32 | 37 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-17_0_5_line_34 |  | 33 | 44 | 0.0061105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-17_0_5_line_35 |  | 34 | 39 | 0.0047457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_1711-17_0_5_line_36 |  | 35 | 46 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1711-17_0_5_line_37 |  | 35 | 43 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-17_0_5_line_38 |  | 36 | 37 | 0.010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-17_0_5_line_39 |  | 37 | 38 | 0.011474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1711-17_0_5_line_40 |  | 37 | 39 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1711-17_0_5_line_41 |  | 38 | 40 | 0.0048455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1711-17_0_5_line_42 |  | 40 | 41 | 0.0014719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-17_0_5_line_43 |  | 41 | 50 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-17_0_5_line_44 |  | 42 | 43 | 0.0048556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-17_0_5_line_45 |  | 42 | 44 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-17_0_5_line_46 |  | 44 | 45 | 0.0072618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-17_0_5_line_47 |  | 45 | 47 | 0.016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-17_0_5_line_48 |  | 46 | 48 | 0.00015064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1711-17_0_5_line_49 |  | 47 | 49 | 0.0024375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-17_0_5_line_50 |  | 48 | 51 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_1711-17_0_5_line_51 |  | 49 | 58 | 0.011389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-17_0_5_line_52 |  | 51 | 56 | 0.006527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_1711-17_0_5_line_53 |  | 52 | 53 | 0.0067446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-17_0_5_line_54 |  | 52 | 54 | 0.012703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-17_0_5_line_55 |  | 53 | 55 | 0.0017029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-17_0_5_line_56 |  | 55 | 56 | 0.010444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1711-17_0_5_line_57 |  | 57 | 58 | 0.00093527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-17_0_5_line_58 |  | 58 | 59 | 0.011428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-17_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 60 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681685.3394 | 1224457.9065 | 2681685.6313 | 1224455.0691 | 2681686.0316 | 1224452.9732 | 2681686.4365 | 1224446.5754
1 | 2681685.7387 | 1224470.9925 | 2681684.947 | 1224465.1443 | 2681685.115 | 1224460.0877 | 2681685.3394 | 1224457.9065
2 | 2681685.7387 | 1224470.9925 | 2681691.4038 | 1224470.692
3 | 2681668.7668 | 1224469.4475 | 2681676.4265 | 1224470.4755 | 2681685.7387 | 1224470.9925
4 | 2681691.4038 | 1224470.692 | 2681700.0226 | 1224470.2348
5 | 2681668.7668 | 1224469.4475 | 2681659.7421 | 1224469.5349 | 2681654.1251 | 1224470.5029 | 2681646.6472 | 1224472.8019 | 2681640.1783 | 1224472.3018 | 2681636.9641 | 1224472.2354
6 | 2681694.2303 | 1224425.2262 | 2681693.7884 | 1224425.5306
7 | 2681695.205 | 1224424.5547 | 2681694.2303 | 1224425.2262
8 | 2681700.0226 | 1224470.2348 | 2681705.7188 | 1224469.9326 | 2681709.2242 | 1224469.5627
9 | 2681636.9641 | 1224472.2354 | 2681629.525 | 1224468.9738
10 | 2681702.0848 | 1224419.8156 | 2681695.205 | 1224424.5547
11 | 2681716.8134 | 1224468.7619 | 2681709.2242 | 1224469.5627
12 | 2681622.5761 | 1224398.4216 | 2681618.2463 | 1224389.5475
13 | 2681622.5761 | 1224398.4216 | 2681623.3707 | 1224400.0696
14 | 2681637.9444 | 1224430.0871 | 2681632.9869 | 1224420.0123 | 2681623.3707 | 1224400.0696
15 | 2681645.0131 | 1224447.1066 | 2681650.3543 | 1224454.3332
16 | 2681645.0131 | 1224447.1066 | 2681637.9444 | 1224430.0871
17 | 2681637.9444 | 1224430.0871 | 2681650.9573 | 1224420.3541
18 | 2681754.3873 | 1224417.9212 | 2681747.6009 | 1224421.7639
19 | 2681754.3873 | 1224417.9212 | 2681760.2501 | 1224414.5883
20 | 2681747.6009 | 1224421.7639 | 2681747.9238 | 1224423.6474 | 2681746.0934 | 1224426.1126
21 | 2681702.0848 | 1224419.8156 | 2681703.5853 | 1224421.5373
22 | 2681703.5853 | 1224421.5373 | 2681711.0872 | 1224433.0563
23 | 2681702.0848 | 1224419.8156 | 2681692.2574 | 1224407.3916
24 | 2681717.621 | 1224443.0889 | 2681711.0872 | 1224433.0563
25 | 2681651.5036 | 1224419.9455 | 2681650.9573 | 1224420.3541
26 | 2681658.0496 | 1224415.0494 | 2681651.5036 | 1224419.9455
27 | 2681659.2957 | 1224414.1174 | 2681658.0496 | 1224415.0494
28 | 2681710.3969 | 1224501.074 | 2681710.3668 | 1224501.1488
29 | 2681715.8187 | 1224487.6276 | 2681710.3969 | 1224501.074
30 | 2681734.5286 | 1224496.0563 | 2681740.8689 | 1224498.9125 | 2681748.9174 | 1224501.3863
31 | 2681734.5286 | 1224496.0563 | 2681727.4012 | 1224492.8454
32 | 2681664.7233 | 1224383.4006 | 2681664.7233 | 1224383.4006 | 2681668.0127 | 1224386.0047
33 | 2681679.6586 | 1224395.2246 | 2681668.0127 | 1224386.0047
34 | 2681742.7543 | 1224431.226 | 2681745.2352 | 1224427.2685 | 2681746.0934 | 1224426.1126
35 | 2681692.2574 | 1224407.3916 | 2681689.3132 | 1224403.6695
36 | 2681717.621 | 1224443.0889 | 2681720.9998 | 1224448.2833 | 2681722.3546 | 1224454.5394 | 2681722.5472 | 1224456.5116
37 | 2681717.621 | 1224443.0889 | 2681726.2 | 1224437.9143 | 2681727.713 | 1224437.0295
38 | 2681679.6586 | 1224395.2246 | 2681683.1228 | 1224389.7906 | 2681686.1233 | 1224386.7268
39 | 2681679.6586 | 1224395.2246 | 2681676.9493 | 1224400.9135 | 2681672.8068 | 1224404.0118
40 | 2681679.6586 | 1224395.2246 | 2681687.7517 | 1224401.6955 | 2681689.3132 | 1224403.6695
41 | 2681668.9265 | 1224406.914 | 2681672.8068 | 1224404.0118
42 | 2681668.9265 | 1224406.914 | 2681667.7479 | 1224407.7956
43 | 2681659.2957 | 1224414.1174 | 2681667.7479 | 1224407.7956
44 | 2681727.713 | 1224437.0295 | 2681731.9044 | 1224434.5781
45 | 2681742.7543 | 1224431.226 | 2681740.1126 | 1224429.7776 | 2681731.9044 | 1224434.5781
46 | 2681742.7543 | 1224431.226 | 2681741.6457 | 1224432.9897 | 2681741.878 | 1224438.1631
47 | 2681741.878 | 1224438.1631 | 2681739.6591 | 1224444.5703 | 2681743.419 | 1224448.5246 | 2681745.6004 | 1224452.5684
48 | 2681722.5619 | 1224456.6615 | 2681722.5472 | 1224456.5116
49 | 2681744.7048 | 1224454.8354 | 2681745.6004 | 1224452.5684
50 | 2681723.3215 | 1224468.0618 | 2681723.2255 | 1224463.4574 | 2681722.5619 | 1224456.6615
51 | 2681747.6415 | 1224465.7164 | 2681747.4134 | 1224461.8996 | 2681744.7048 | 1224454.8354 | 2681744.7048 | 1224454.8354
52 | 2681716.8134 | 1224468.7619 | 2681723.3215 | 1224468.0618
53 | 2681715.8187 | 1224487.6276 | 2681716.1738 | 1224480.8924
54 | 2681715.8187 | 1224487.6276 | 2681727.4012 | 1224492.8454
55 | 2681716.1738 | 1224480.8924 | 2681716.2635 | 1224479.1919
56 | 2681716.8134 | 1224468.7619 | 2681716.2635 | 1224479.1919
57 | 2681747.6415 | 1224465.7164 | 2681746.7091 | 1224465.7894
58 | 2681747.6415 | 1224465.7164 | 2681757.6235 | 1224464.9418 | 2681759.0379 | 1224465.0087

## bus_geodata
| x | y | coords
0 | 2681685.3394 | 1224457.9065
1 | 2681686.4365 | 1224446.5754
2 | 2681685.7387 | 1224470.9925
3 | 2681691.4038 | 1224470.692
4 | 2681668.7668 | 1224469.4475
5 | 2681693.7884 | 1224425.5306
6 | 2681694.2303 | 1224425.2262
7 | 2681700.0226 | 1224470.2348
8 | 2681636.9641 | 1224472.2354
9 | 2681695.205 | 1224424.5547
10 | 2681709.2242 | 1224469.5627
11 | 2681622.5761 | 1224398.4216
12 | 2681618.2463 | 1224389.5475
13 | 2681623.3707 | 1224400.0696
14 | 2681645.0131 | 1224447.1066
15 | 2681650.3543 | 1224454.3332
16 | 2681637.9444 | 1224430.0871
17 | 2681629.525 | 1224468.9738
18 | 2681754.3873 | 1224417.9212
19 | 2681747.6009 | 1224421.7639
20 | 2681760.2501 | 1224414.5883
21 | 2681703.5853 | 1224421.5373
22 | 2681702.0848 | 1224419.8156
23 | 2681711.0872 | 1224433.0563
24 | 2681650.9573 | 1224420.3541
25 | 2681651.5036 | 1224419.9455
26 | 2681658.0496 | 1224415.0494
27 | 2681710.3668 | 1224501.1488
28 | 2681710.3969 | 1224501.074
29 | 2681748.9174 | 1224501.3863
30 | 2681734.5286 | 1224496.0563
31 | 2681664.7233 | 1224383.4006
32 | 2681668.0127 | 1224386.0047
33 | 2681746.0934 | 1224426.1126
34 | 2681692.2574 | 1224407.3916
35 | 2681717.621 | 1224443.0889
36 | 2681686.1233 | 1224386.7268
37 | 2681679.6586 | 1224395.2246
38 | 2681672.8068 | 1224404.0118
39 | 2681689.3132 | 1224403.6695
40 | 2681668.9265 | 1224406.914
41 | 2681667.7479 | 1224407.7956
42 | 2681731.9045 | 1224434.5781
43 | 2681727.713 | 1224437.0295
44 | 2681742.7543 | 1224431.226
45 | 2681741.878 | 1224438.1631
46 | 2681722.5472 | 1224456.5116
47 | 2681745.6004 | 1224452.5684
48 | 2681722.5618 | 1224456.6615
49 | 2681744.7048 | 1224454.8354
50 | 2681659.2957 | 1224414.1174
51 | 2681723.3215 | 1224468.0618
52 | 2681715.8187 | 1224487.6276
53 | 2681716.1738 | 1224480.8924
54 | 2681727.4012 | 1224492.8454
55 | 2681716.2635 | 1224479.1919
56 | 2681716.8134 | 1224468.7619
57 | 2681746.7091 | 1224465.7894
58 | 2681747.6415 | 1224465.7164
59 | 2681759.0379 | 1224465.0087
60 | 2681685.7387 | 1224470.9925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99881 | -0.022762 | 0.028606 | 0.0071693
1 | 1 | 0 | -0.57857 | -0.1464
2 | 0.9975 | -0.047781 | 0 | 0
3 | 0.99695 | -0.058215 | 0.022515 | 0.0056429
4 | 0.9972 | -0.053437 | 0 | 0
5 | 0.99083 | -0.17599 | 0.0088943 | 0.0022291
6 | 0.99084 | -0.1759 | 0.0076674 | 0.0019216
7 | 0.99616 | -0.073428 | 0.007216 | 0.0018085
8 | 0.99665 | -0.064171 | 0 | 0
9 | 0.99086 | -0.17556 | 0.0079207 | 0.0019851
10 | 0.99532 | -0.089487 | 0.010762 | 0.0026972
11 | 0.98619 | -0.26614 | 0 | 0
12 | 0.98615 | -0.26701 | 0.0049465 | 0.0012397
13 | 0.9862 | -0.26597 | 0.0067111 | 0.001682
14 | 0.98612 | -0.26747 | 0 | 0
15 | 0.98591 | -0.27161 | 0.025656 | 0.0064299
16 | 0.98656 | -0.259 | 0 | 0
17 | 0.99651 | -0.066876 | 0.018978 | 0.0047564
18 | 0.98951 | -0.20171 | 0 | 0
19 | 0.98961 | -0.19971 | 0 | 0
20 | 0.98942 | -0.20344 | 0.014433 | 0.0036171
21 | 0.99114 | -0.17013 | 0 | 0
22 | 0.99104 | -0.17193 | 0 | 0
23 | 0.9917 | -0.15929 | 0.043978 | 0.011022
24 | 0.98711 | -0.24815 | 0.022287 | 0.0055858
25 | 0.98715 | -0.24742 | 0.011638 | 0.0029167
26 | 0.98769 | -0.23701 | 0.026239 | 0.006576
27 | 0.99323 | -0.12987 | 0.0035491 | 0.00088948
28 | 0.99323 | -0.12986 | 0.01044 | 0.0026166
29 | 0.99271 | -0.13981 | 0.0029443 | 0.00073791
30 | 0.99275 | -0.13901 | 0.022141 | 0.005549
31 | 0.98978 | -0.19636 | 0.0034744 | 0.00087077
32 | 0.98979 | -0.1961 | 0.0029537 | 0.00074028
33 | 0.98968 | -0.19843 | 0.0045736 | 0.0011462
34 | 0.99047 | -0.18305 | 0.0084905 | 0.0021279
35 | 0.99228 | -0.148 | 0 | 0
36 | 0.98983 | -0.19533 | 0.0048567 | 0.0012172
37 | 0.98988 | -0.1944 | 0 | 0
38 | 0.98953 | -0.20122 | 0.0072043 | 0.0018056
39 | 0.9903 | -0.18625 | 0.011159 | 0.0027968
40 | 0.98917 | -0.2081 | 0.020279 | 0.0050823
41 | 0.98899 | -0.21176 | 0.019619 | 0.0049171
42 | 0.99054 | -0.18173 | 0.038796 | 0.0097231
43 | 0.991 | -0.17271 | 0.013911 | 0.0034865
44 | 0.98978 | -0.19636 | 0 | 0
45 | 0.98947 | -0.2024 | 0.015639 | 0.0039195
46 | 0.99331 | -0.12816 | 0.0092164 | 0.0023098
47 | 0.98899 | -0.21172 | 0.00606 | 0.0015188
48 | 0.99332 | -0.12795 | 0.0078022 | 0.0019554
49 | 0.98894 | -0.21281 | 0.0055242 | 0.0013845
50 | 0.98783 | -0.2343 | 0.022257 | 0.0055781
51 | 0.99416 | -0.11174 | 0 | 0
52 | 0.99341 | -0.12628 | 0 | 0
53 | 0.99375 | -0.1197 | 0.011806 | 0.0029588
54 | 0.99293 | -0.13554 | 0.016199 | 0.0040598
55 | 0.99386 | -0.11768 | 0.015365 | 0.003851
56 | 0.99464 | -0.1025 | 0 | 0
57 | 0.98872 | -0.21696 | 0.011545 | 0.0028934
58 | 0.98873 | -0.21677 | 0 | 0
59 | 0.98865 | -0.2184 | 0.0079665 | 0.0019966
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.57629 | -0.146 | 0.57692 | 0.1464 | 0.00063086 | 0.00040301 | 0.85911 | 0.85911 | 0.85911 | 0.99881 | -0.022762 | 1 | 0 | 47.2037
1 | 0.54768 | 0.13883 | -0.54703 | -0.13841 | 0.00065767 | 0.00042005 | 0.81649 | 0.81649 | 0.81649 | 0.99881 | -0.022762 | 0.9975 | -0.047781 | 44.8621
2 | 0.52803 | 0.13365 | -0.52777 | -0.13348 | 0.0002643 | 0.00016878 | 0.78815 | 0.78815 | 0.78815 | 0.9975 | -0.047781 | 0.99695 | -0.058215 | 43.3051
3 | 0.018995 | 0.0047667 | -0.01899 | -0.0047636 | 5.1211e-06 | 3.0556e-06 | 0.028338 | 0.028339 | 0.028339 | 0.9975 | -0.047781 | 0.9972 | -0.053437 | 7.7853
4 | 0.50525 | 0.12783 | -0.50488 | -0.1276 | 0.00036855 | 0.00023531 | 0.75455 | 0.75455 | 0.75455 | 0.99695 | -0.058215 | 0.99616 | -0.073428 | 41.4586
5 | 0.01899 | 0.0047636 | -0.018981 | -0.0047578 | 9.7126e-06 | 5.7956e-06 | 0.028339 | 0.028339 | 0.028339 | 0.9972 | -0.053437 | 0.99665 | -0.064171 | 7.7854
6 | -0.0088943 | -0.0022291 | 0.0088944 | 0.0022291 | 3.5901e-08 | 1.6066e-08 | 0.013357 | 0.013357 | 0.013357 | 0.99083 | -0.17599 | 0.99084 | -0.1759 | 3.6696
7 | -0.016562 | -0.0041508 | 0.016562 | 0.0041509 | 2.7457e-07 | 1.6048e-07 | 0.024872 | 0.024872 | 0.024872 | 0.99084 | -0.1759 | 0.99086 | -0.17556 | 6.833
8 | 0.49767 | 0.12579 | -0.49728 | -0.12555 | 0.00038291 | 0.00024446 | 0.74377 | 0.74377 | 0.74377 | 0.99616 | -0.073428 | 0.99532 | -0.089487 | 40.8664
9 | 0.018981 | 0.0047578 | -0.018978 | -0.0047564 | 2.4462e-06 | 1.4597e-06 | 0.028339 | 0.028339 | 0.028339 | 0.99665 | -0.064171 | 0.99651 | -0.066876 | 7.7854
10 | -0.024483 | -0.0061361 | 0.024487 | 0.0061387 | 4.235e-06 | 2.6027e-06 | 0.036767 | 0.036767 | 0.036767 | 0.99086 | -0.17556 | 0.99104 | -0.17193 | 10.1008
11 | 0.48652 | 0.12285 | -0.48622 | -0.12266 | 0.00030307 | 0.00019347 | 0.72768 | 0.72768 | 0.72768 | 0.99532 | -0.089487 | 0.99464 | -0.1025 | 39.9824
12 | 0.0049467 | 0.0012397 | -0.0049465 | -0.0012397 | 2.0628e-07 | 6.0347e-09 | 0.0074638 | 0.0074638 | 0.0074638 | 0.98619 | -0.26614 | 0.98615 | -0.26701 | 2.0505
13 | -0.0049467 | -0.0012397 | 0.0049467 | 0.0012397 | 3.8221e-08 | 1.1167e-09 | 0.0074638 | 0.0074638 | 0.0074638 | 0.98619 | -0.26614 | 0.9862 | -0.26597 | 2.0505
14 | -0.011658 | -0.0029217 | 0.011662 | 0.0029237 | 3.8715e-06 | 2.0519e-06 | 0.01759 | 0.01759 | 0.01759 | 0.9862 | -0.26597 | 0.98656 | -0.259 | 4.8324
15 | 0.025661 | 0.006433 | -0.025656 | -0.0064299 | 5.0526e-06 | 3.119e-06 | 0.038722 | 0.038722 | 0.038722 | 0.98612 | -0.26747 | 0.98591 | -0.27161 | 10.6378
16 | -0.025661 | -0.006433 | 0.025671 | 0.0064394 | 1.0358e-05 | 6.3943e-06 | 0.038722 | 0.038721 | 0.038722 | 0.98612 | -0.26747 | 0.98656 | -0.259 | 10.6378
17 | -0.037333 | -0.0093631 | 0.037352 | 0.0093753 | 1.9323e-05 | 1.2159e-05 | 0.056311 | 0.056311 | 0.056311 | 0.98656 | -0.259 | 0.98711 | -0.24815 | 15.4701
18 | -0.014434 | -0.0036178 | 0.014435 | 0.0036186 | 1.3749e-06 | 7.7994e-07 | 0.021705 | 0.021705 | 0.021705 | 0.98951 | -0.20171 | 0.98961 | -0.19971 | 5.963
19 | 0.014434 | 0.0036178 | -0.014433 | -0.0036171 | 1.1915e-06 | 6.7592e-07 | 0.021705 | 0.021705 | 0.021705 | 0.98951 | -0.20171 | 0.98942 | -0.20344 | 5.963
20 | -0.014435 | -0.0036186 | 0.014436 | 0.0036191 | 8.8007e-07 | 4.9924e-07 | 0.021705 | 0.021705 | 0.021705 | 0.98961 | -0.19971 | 0.98968 | -0.19843 | 5.963
21 | 0.22283 | 0.056066 | -0.22281 | -0.056054 | 1.9155e-05 | 1.2112e-05 | 0.33462 | 0.33462 | 0.33462 | 0.99114 | -0.17013 | 0.99104 | -0.17193 | 18.3857
22 | -0.22283 | -0.056066 | 0.22295 | 0.056139 | 0.00011544 | 7.2995e-05 | 0.33462 | 0.33462 | 0.33462 | 0.99114 | -0.17013 | 0.9917 | -0.15929 | 18.3857
23 | 0.19832 | 0.049916 | -0.19822 | -0.049849 | 0.0001054 | 6.6437e-05 | 0.29785 | 0.29785 | 0.29785 | 0.99104 | -0.17193 | 0.99047 | -0.18305 | 16.3655
24 | -0.26692 | -0.067161 | 0.26707 | 0.067253 | 0.00014411 | 9.1456e-05 | 0.40061 | 0.40061 | 0.40061 | 0.9917 | -0.15929 | 0.99228 | -0.148 | 22.0114
25 | -0.059639 | -0.014961 | 0.059642 | 0.014962 | 2.0679e-06 | 1.3147e-06 | 0.089908 | 0.089908 | 0.089908 | 0.98711 | -0.24815 | 0.98715 | -0.24742 | 24.7
26 | -0.071279 | -0.017879 | 0.071315 | 0.017902 | 3.5392e-05 | 2.2547e-05 | 0.10745 | 0.10745 | 0.10745 | 0.98715 | -0.24742 | 0.98769 | -0.23701 | 29.5194
27 | -0.097553 | -0.024478 | 0.097566 | 0.024486 | 1.2607e-05 | 8.0483e-06 | 0.14698 | 0.14698 | 0.14698 | 0.98769 | -0.23701 | 0.98783 | -0.2343 | 40.3794
28 | -0.0035491 | -0.00088948 | 0.0035491 | 0.00088948 | 8.5441e-10 | -4.9707e-10 | 0.0053171 | 0.0053171 | 0.0053171 | 0.99323 | -0.12987 | 0.99323 | -0.12986 | 1.4607
29 | -0.013989 | -0.003506 | 0.013992 | 0.0035074 | 2.3881e-06 | 1.3407e-06 | 0.020958 | 0.020958 | 0.020958 | 0.99323 | -0.12986 | 0.99341 | -0.12628 | 5.7577
30 | -0.0029443 | -0.00073791 | 0.0029444 | 0.00073778 | 1.1229e-07 | -1.2691e-07 | 0.0044133 | 0.0044132 | 0.0044133 | 0.99271 | -0.13981 | 0.99275 | -0.13901 | 1.2124
31 | -0.025085 | -0.0062868 | 0.025089 | 0.0062894 | 4.1443e-06 | 2.5513e-06 | 0.0376 | 0.0376 | 0.0376 | 0.99275 | -0.13901 | 0.99293 | -0.13554 | 10.3296
32 | -0.0034744 | -0.00087077 | 0.0034745 | 0.00087074 | 4.2924e-08 | -2.6451e-08 | 0.0052234 | 0.0052233 | 0.0052234 | 0.98978 | -0.19636 | 0.98979 | -0.1961 | 1.435
33 | -0.0064282 | -0.001611 | 0.0064287 | 0.0016112 | 5.202e-07 | 1.42e-07 | 0.0096639 | 0.0096638 | 0.0096639 | 0.98979 | -0.1961 | 0.98988 | -0.1944 | 2.6549
34 | -0.01901 | -0.0047653 | 0.019011 | 0.0047664 | 1.8719e-06 | 1.1195e-06 | 0.028582 | 0.028582 | 0.028582 | 0.98968 | -0.19843 | 0.98978 | -0.19636 | 7.8522
35 | 0.18973 | 0.047721 | -0.1897 | -0.047703 | 2.893e-05 | 1.821e-05 | 0.2851 | 0.2851 | 0.2851 | 0.99047 | -0.18305 | 0.9903 | -0.18625 | 15.6647
36 | -0.38578 | -0.097109 | 0.38615 | 0.097343 | 0.00036615 | 0.00023339 | 0.57867 | 0.57867 | 0.57867 | 0.99228 | -0.148 | 0.99331 | -0.12816 | 31.795
37 | 0.11872 | 0.029857 | -0.11858 | -0.029767 | 0.00013996 | 8.9425e-05 | 0.17806 | 0.17806 | 0.17806 | 0.99228 | -0.148 | 0.991 | -0.17271 | 48.9185
38 | -0.0048567 | -0.0012172 | 0.004857 | 0.0012172 | 2.1454e-07 | -6.5511e-10 | 0.0073011 | 0.0073011 | 0.0073011 | 0.98983 | -0.19533 | 0.98988 | -0.1944 | 2.0058
39 | 0.16719 | 0.042034 | -0.16713 | -0.042 | 5.4374e-05 | 3.4062e-05 | 0.25136 | 0.25137 | 0.25137 | 0.98988 | -0.1944 | 0.98953 | -0.20122 | 13.8113
40 | -0.17847 | -0.044863 | 0.17854 | 0.044906 | 6.9547e-05 | 4.3682e-05 | 0.26833 | 0.26833 | 0.26833 | 0.98988 | -0.1944 | 0.9903 | -0.18625 | 14.7434
41 | 0.15993 | 0.040195 | -0.15987 | -0.040161 | 5.2564e-05 | 3.3516e-05 | 0.24053 | 0.24053 | 0.24053 | 0.98953 | -0.20122 | 0.98917 | -0.2081 | 33.04
42 | 0.1396 | 0.035079 | -0.13957 | -0.035063 | 2.4348e-05 | 1.5564e-05 | 0.21003 | 0.21003 | 0.21003 | 0.98917 | -0.2081 | 0.98899 | -0.21176 | 57.6996
43 | 0.11995 | 0.030146 | -0.11982 | -0.030064 | 0.00012896 | 8.2402e-05 | 0.18051 | 0.18051 | 0.18051 | 0.98899 | -0.21176 | 0.98783 | -0.2343 | 49.59
44 | -0.10462 | -0.026252 | 0.10467 | 0.026281 | 4.4983e-05 | 2.8726e-05 | 0.15718 | 0.15718 | 0.15718 | 0.99054 | -0.18173 | 0.991 | -0.17271 | 43.18
45 | 0.065825 | 0.016529 | -0.065779 | -0.0165 | 4.5924e-05 | 2.923e-05 | 0.098895 | 0.098895 | 0.098895 | 0.99054 | -0.18173 | 0.98978 | -0.19636 | 27.1691
46 | 0.046768 | 0.011733 | -0.046754 | -0.011725 | 1.3463e-05 | 8.5232e-06 | 0.070314 | 0.070314 | 0.070314 | 0.98978 | -0.19636 | 0.98947 | -0.2024 | 19.3169
47 | 0.031115 | 0.0078053 | -0.031101 | -0.0077966 | 1.3822e-05 | 8.6297e-06 | 0.046795 | 0.046795 | 0.046795 | 0.98947 | -0.2024 | 0.98899 | -0.21172 | 12.8558
48 | -0.39537 | -0.099653 | 0.39537 | 0.099655 | 3.966e-06 | 2.5285e-06 | 0.59248 | 0.59248 | 0.59248 | 0.99331 | -0.12816 | 0.99332 | -0.12795 | 32.5536
49 | 0.025041 | 0.0062779 | -0.02504 | -0.0062771 | 1.2976e-06 | 7.9918e-07 | 0.037677 | 0.037677 | 0.037677 | 0.98899 | -0.21172 | 0.98894 | -0.21281 | 10.3509
50 | -0.40317 | -0.10161 | 0.40349 | 0.10181 | 0.00031301 | 0.00019958 | 0.60416 | 0.60416 | 0.60416 | 0.99332 | -0.12795 | 0.99416 | -0.11174 | 33.1958
51 | 0.019516 | 0.0048925 | -0.019512 | -0.0048903 | 3.683e-06 | 2.211e-06 | 0.029365 | 0.029365 | 0.029365 | 0.98894 | -0.21281 | 0.98873 | -0.21677 | 8.0674
52 | -0.40349 | -0.10181 | 0.40367 | 0.10192 | 0.00017868 | 0.00011393 | 0.60416 | 0.60416 | 0.60416 | 0.99416 | -0.11174 | 0.99464 | -0.1025 | 33.1958
53 | -0.055298 | -0.013868 | 0.055315 | 0.013879 | 1.7354e-05 | 1.1019e-05 | 0.082833 | 0.082833 | 0.082833 | 0.99341 | -0.12628 | 0.99375 | -0.1197 | 22.7564
54 | 0.041306 | 0.010361 | -0.041288 | -0.010349 | 1.8238e-05 | 1.1508e-05 | 0.061875 | 0.061875 | 0.061875 | 0.99341 | -0.12628 | 0.99293 | -0.13554 | 16.9986
55 | -0.067121 | -0.016838 | 0.067127 | 0.016842 | 6.4512e-06 | 4.1067e-06 | 0.10051 | 0.10051 | 0.10051 | 0.99375 | -0.1197 | 0.99386 | -0.11768 | 27.6128
56 | -0.082493 | -0.020693 | 0.082553 | 0.020731 | 5.9754e-05 | 3.8107e-05 | 0.12352 | 0.12352 | 0.12352 | 0.99386 | -0.11768 | 0.99464 | -0.1025 | 33.933
57 | -0.011545 | -0.0028934 | 0.011545 | 0.0028935 | 1.0588e-07 | 5.5769e-08 | 0.017375 | 0.017375 | 0.017375 | 0.98872 | -0.21696 | 0.98873 | -0.21677 | 4.7733
58 | 0.0079671 | 0.0019968 | -0.0079665 | -0.0019966 | 6.1613e-07 | 2.4776e-07 | 0.01199 | 0.01199 | 0.01199 | 0.98873 | -0.21677 | 0.98865 | -0.2184 | 3.2941

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61255 | 0.15492

## res_load
| p_mw | q_mvar
0 | 0.028606 | 0.0071693
1 | 0.033984 | 0.0085171
2 | 0.022515 | 0.0056429
3 | 0.0088943 | 0.0022291
4 | 0.0076674 | 0.0019216
5 | 0.007216 | 0.0018085
6 | 0.0079207 | 0.0019851
7 | 0.010762 | 0.0026972
8 | 0.0049465 | 0.0012397
9 | 0.0067111 | 0.001682
10 | 0.025656 | 0.0064299
11 | 0.018978 | 0.0047564
12 | 0.014433 | 0.0036171
13 | 0.043978 | 0.011022
14 | 0.022287 | 0.0055858
15 | 0.011638 | 0.0029167
16 | 0.026239 | 0.006576
17 | 0.0035491 | 0.00088948
18 | 0.01044 | 0.0026166
19 | 0.0029443 | 0.00073791
20 | 0.022141 | 0.005549
21 | 0.0034744 | 0.00087077
22 | 0.0029537 | 0.00074028
23 | 0.0045736 | 0.0011462
24 | 0.0084905 | 0.0021279
25 | 0.0048567 | 0.0012172
26 | 0.0072043 | 0.0018056
27 | 0.011159 | 0.0027968
28 | 0.020279 | 0.0050823
29 | 0.019619 | 0.0049171
30 | 0.038796 | 0.0097231
31 | 0.013911 | 0.0034865
32 | 0.015639 | 0.0039195
33 | 0.0092164 | 0.0023098
34 | 0.00606 | 0.0015188
35 | 0.0078022 | 0.0019554
36 | 0.0055242 | 0.0013845
37 | 0.022257 | 0.0055781
38 | 0.011806 | 0.0029588
39 | 0.016199 | 0.0040598
40 | 0.015365 | 0.003851
41 | 0.011545 | 0.0028934
42 | 0.0079665 | 0.0019966

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1