## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-22_0_4_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_1711-22_0_4_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_1711-22_0_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_1711-22_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1711-22_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1711-22_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1711-22_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1711-22_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1711-22_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1711-22_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1711-22_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1711-22_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1711-22_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1711-22_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_1711-22_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_1711-22_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1711-22_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1711-22_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1711-22_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1711-22_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1711-22_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1711-22_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1711-22_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1711-22_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1711-22_0_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1711-22_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1711-22_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1711-22_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1711-22_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1711-22_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1711-22_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1711-22_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1711-22_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1711-22_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1711-22_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1711-22_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1711-22_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1711-22_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1711-22_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1711-22_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_1711-22_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1711-22_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1711-22_0_4_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_1711-22_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_1711-22_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_1711-22_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1711-22_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1711-22_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_1711-22_0_4_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1711-22_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1711-22_0_4_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1711-22_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1711-22_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_1711-22_0_4_node_61 | 0.4 | n |  | TRUE
58 | bus_MV_229_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-22_0_4_load_0 | 0 | 0.0058738 | 0.0014721 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-22_0_4_load_2 | 2 | 0.015601 | 0.0039099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-22_0_4_load_43 | 5 | 0.013856 | 0.0034728 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-22_0_4_load_46 | 6 | 0.0071174 | 0.0017838 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-22_0_4_load_22 | 7 | 0.0030332 | 0.00076019 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-22_0_4_load_5 | 8 | 0.0041578 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-22_0_4_load_6 | 9 | 0.0061819 | 0.0015493 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-22_0_4_load_9 | 12 | 0.0041556 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-22_0_4_load_10 | 13 | 0.010182 | 0.0025518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-22_0_4_load_11 | 14 | 0.0056223 | 0.0014091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-22_0_4_load_12 | 15 | 0.0054927 | 0.0013766 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-22_0_4_load_13 | 16 | 0.0055181 | 0.001383 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-22_0_4_load_23 | 17 | 0.0062508 | 0.0015666 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-22_0_4_load_36 | 18 | 0.0044482 | 0.0011148 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-22_0_4_load_24 | 19 | 0.020067 | 0.0050292 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-22_0_4_load_17 | 21 | 0.0088936 | 0.0022289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-22_0_4_load_18 | 22 | 0.0030881 | 0.00077395 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-22_0_4_load_14 | 23 | 0.0041322 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-22_0_4_load_37 | 24 | 0.010016 | 0.0025103 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-22_0_4_load_20 | 25 | 0.015689 | 0.003932 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-22_0_4_load_21 | 26 | 0.0059677 | 0.0014956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-22_0_4_load_26 | 27 | 0.0088972 | 0.0022299 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-22_0_4_load_27 | 29 | 0.0088893 | 0.0022279 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-22_0_4_load_41 | 30 | 0.0060027 | 0.0015044 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-22_0_4_load_42 | 31 | 0.0090995 | 0.0022805 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-22_0_4_load_38 | 33 | 0.048516 | 0.012159 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-22_0_4_load_33 | 38 | 0.001627 | 0.00040777 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-22_0_4_load_29 | 39 | 0.0027821 | 0.00069727 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-22_0_4_load_28 | 40 | 0.002805 | 0.00070299 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-22_0_4_load_30 | 41 | 0.0014677 | 0.00036785 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-22_0_4_load_35 | 42 | 0.0014267 | 0.00035756 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-22_0_4_load_47 | 43 | 0.01378 | 0.0034535 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-22_0_4_load_48 | 44 | 0.0081678 | 0.002047 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-22_0_4_load_49 | 45 | 0.0014834 | 0.00037177 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-22_0_4_load_62 | 46 | 0.00094093 | 0.00023582 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-22_0_4_load_54 | 47 | 0.018106 | 0.0045379 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-22_0_4_load_52 | 48 | 0.014414 | 0.0036125 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-22_0_4_load_45 | 49 | 0.010761 | 0.0026968 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-22_0_4_load_50 | 50 | 0.013933 | 0.003492 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-22_0_4_load_59 | 51 | 0.0013543 | 0.00033941 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-22_0_4_load_58 | 52 | 0.0050018 | 0.0012536 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-22_0_4_load_51 | 53 | 0.0022895 | 0.0005738 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-22_0_4_load_55 | 55 | 0.001658 | 0.00041553 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-22_0_4_load_60 | 56 | 0.0035034 | 0.00087804 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-22_0_4_load_61 | 57 | 0.0034404 | 0.00086224 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-22_0_4_line_0 |  | 0 | 1 | 0.016694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-22_0_4_line_1 |  | 1 | 2 | 0.030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-22_0_4_line_2 |  | 1 | 3 | 0.071878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-22_0_4_line_3 |  | 3 | 4 | 0.053286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-22_0_4_line_4 |  | 3 | 5 | 0.034257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-22_0_4_line_5 |  | 4 | 6 | 0.0071233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-22_0_4_line_6 |  | 5 | 7 | 0.046251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-22_0_4_line_7 |  | 6 | 43 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-22_0_4_line_8 |  | 8 | 9 | 0.032879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-22_0_4_line_9 |  | 8 | 10 | 0.0020722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-22_0_4_line_10 |  | 9 | 11 | 0.01392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-22_0_4_line_11 |  | 10 | 12 | 0.0090713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-22_0_4_line_12 |  | 10 | 13 | 0.019002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1711-22_0_4_line_13 |  | 11 | 14 | 0.028946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-22_0_4_line_14 |  | 12 | 15 | 0.0041784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-22_0_4_line_15 |  | 13 | 16 | 0.0099102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1711-22_0_4_line_16 |  | 14 | 17 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-22_0_4_line_17 |  | 16 | 18 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1711-22_0_4_line_18 |  | 17 | 19 | 0.021978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-22_0_4_line_19 |  | 18 | 24 | 0.019602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1711-22_0_4_line_20 |  | 19 | 32 | 0.019185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-22_0_4_line_21 |  | 20 | 21 | 0.024633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-22_0_4_line_22 |  | 20 | 22 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-22_0_4_line_23 |  | 20 | 23 | 0.016155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-22_0_4_line_24 |  | 21 | 25 | 0.0032237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-22_0_4_line_25 |  | 22 | 26 | 0.031965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-22_0_4_line_26 |  | 24 | 35 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1711-22_0_4_line_27 |  | 25 | 27 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-22_0_4_line_28 |  | 26 | 28 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-22_0_4_line_29 |  | 27 | 29 | 0.017989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-22_0_4_line_30 |  | 28 | 30 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-22_0_4_line_31 |  | 28 | 31 | 0.020854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-22_0_4_line_32 |  | 29 | 37 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-22_0_4_line_33 |  | 31 | 49 | 0.0010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-22_0_4_line_34 |  | 32 | 33 | 0.027607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-22_0_4_line_35 |  | 33 | 34 | 0.056454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-22_0_4_line_36 |  | 34 | 46 | 0.015564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-22_0_4_line_37 |  | 34 | 47 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-22_0_4_line_38 |  | 35 | 36 | 0.004766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1711-22_0_4_line_39 |  | 36 | 42 | 0.015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-22_0_4_line_40 |  | 36 | 41 | 0.0084103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1711-22_0_4_line_41 |  | 37 | 38 | 0.0079574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-22_0_4_line_42 |  | 37 | 39 | 0.020345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1711-22_0_4_line_43 |  | 38 | 43 | 0.022126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-22_0_4_line_44 |  | 39 | 40 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1711-22_0_4_line_45 |  | 40 | 41 | 0.0037796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1711-22_0_4_line_46 |  | 42 | 44 | 0.0064875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-22_0_4_line_47 |  | 44 | 45 | 0.0073169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-22_0_4_line_48 |  | 45 | 50 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-22_0_4_line_49 |  | 47 | 48 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-22_0_4_line_50 |  | 48 | 53 | 0.0058184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1711-22_0_4_line_51 |  | 50 | 51 | 0.011032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-22_0_4_line_52 |  | 51 | 52 | 0.0069626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-22_0_4_line_53 |  | 52 | 56 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-22_0_4_line_54 |  | 53 | 54 | 0.0088735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-22_0_4_line_55 |  | 54 | 55 | 0.011459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-22_0_4_line_56 |  | 56 | 57 | 0.0083448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-22_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 58 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2682184.8299 | 1225512.3227 | 2682168.1355 | 1225512.3568
1 | 2682184.8299 | 1225512.3227 | 2682185.0349 | 1225481.796
2 | 2682153.1575 | 1225558.2055 | 2682167.4764 | 1225555.0899 | 2682185.3923 | 1225551.179 | 2682185.219 | 1225545.6173 | 2682184.4374 | 1225517.1316 | 2682184.8299 | 1225512.3227
3 | 2682102.5923 | 1225574.4633 | 2682115.1859 | 1225568.911 | 2682120.4795 | 1225566.5825 | 2682125.8499 | 1225565.289 | 2682147.8648 | 1225559.3666 | 2682153.1575 | 1225558.2055
4 | 2682153.1575 | 1225558.2055 | 2682147.0246 | 1225524.5022
5 | 2682102.5923 | 1225574.4633 | 2682096.1954 | 1225577.5973
6 | 2682147.0246 | 1225524.5022 | 2682141.4459 | 1225493.8446 | 2682138.6285 | 1225479.0201
7 | 2682078.304 | 1225585.289 | 2682088.9292 | 1225581.1572 | 2682096.1954 | 1225577.5973
8 | 2681977.6063 | 1225526.9772 | 2681963.7057 | 1225529.5298 | 2681945.2682 | 1225532.9192
9 | 2681979.6444 | 1225526.6029 | 2681977.6063 | 1225526.9772
10 | 2681931.5775 | 1225535.436 | 2681945.2682 | 1225532.9192
11 | 2681979.6444 | 1225526.6029 | 2681988.5022 | 1225524.6466
12 | 2681979.6444 | 1225526.6029 | 2681983.2268 | 1225545.2645
13 | 2681931.5775 | 1225535.436 | 2681937.0834 | 1225563.8531
14 | 2681992.5823 | 1225523.7455 | 2681988.5022 | 1225524.6466
15 | 2681983.2268 | 1225545.2645 | 2681985.095 | 1225554.9971
16 | 2681940.7499 | 1225582.7761 | 2681937.0834 | 1225563.8531
17 | 2681988.9742 | 1225575.2049 | 2681985.095 | 1225554.9971
18 | 2681940.7499 | 1225582.7761 | 2681944.9305 | 1225604.3527
19 | 2681992.7302 | 1225594.444 | 2681989.1654 | 1225576.201 | 2681988.9742 | 1225575.2049
20 | 2681948.8909 | 1225623.1227 | 2681946.4841 | 1225612.3712 | 2681944.9305 | 1225604.3527
21 | 2682025.5764 | 1225516.4621 | 2682031.14 | 1225526.4456 | 2682036.1023 | 1225538.6817
22 | 2682025.5764 | 1225516.4621 | 2682036.3188 | 1225514.3865
23 | 2682025.5764 | 1225516.4621 | 2682017.7057 | 1225502.3537
24 | 2682037.3138 | 1225541.669 | 2682036.1023 | 1225538.6817
25 | 2682036.3188 | 1225514.3865 | 2682038.6818 | 1225513.9299 | 2682055.8363 | 1225513.0102 | 2682068.0984 | 1225511.3126
26 | 2681995.6878 | 1225609.5802 | 2681992.7302 | 1225594.444
27 | 2682037.3138 | 1225541.669 | 2682039.0074 | 1225545.845 | 2682042.3875 | 1225557.4772 | 2682042.6724 | 1225558.946
28 | 2682079.7181 | 1225509.7039 | 2682068.0984 | 1225511.3126
29 | 2682046.0978 | 1225576.6062 | 2682042.6724 | 1225558.946
30 | 2682079.7181 | 1225509.7039 | 2682086.0067 | 1225504.5093 | 2682097.4705 | 1225499.1112
31 | 2682079.7181 | 1225509.7039 | 2682083.8189 | 1225513.0627 | 2682085.8085 | 1225518.8719 | 2682087.525 | 1225528.1273
32 | 2682049.521 | 1225593.8002 | 2682046.8679 | 1225580.5769 | 2682046.0978 | 1225576.6062
33 | 2682087.7224 | 1225529.1914 | 2682087.525 | 1225528.1273
34 | 2681948.8909 | 1225623.1227 | 2681950.5977 | 1225632.4081 | 2681954.0154 | 1225650.2494
35 | 2681964.6368 | 1225705.6956 | 2681954.0154 | 1225650.2494
36 | 2681964.6368 | 1225705.6956 | 2681967.7924 | 1225720.9366
37 | 2681964.6368 | 1225705.6956 | 2681980.4593 | 1225702.9568
38 | 2681995.6878 | 1225609.5802 | 2682000.321 | 1225608.4099
39 | 2682000.321 | 1225608.4099 | 2682002.6454 | 1225624.1043
40 | 2682000.321 | 1225608.4099 | 2682008.4101 | 1225606.1077
41 | 2682049.521 | 1225593.8002 | 2682057.2636 | 1225591.9639
42 | 2682049.521 | 1225593.8002 | 2682040.6759 | 1225596.9248 | 2682030.1303 | 1225599.9261
43 | 2682078.304 | 1225585.289 | 2682067.198 | 1225589.6077 | 2682057.2636 | 1225591.9639
44 | 2682030.1303 | 1225599.9261 | 2682012.0453 | 1225605.0731
45 | 2682008.4101 | 1225606.1077 | 2682012.0453 | 1225605.0731
46 | 2682002.6454 | 1225624.1043 | 2682003.5959 | 1225630.5219
47 | 2682003.5959 | 1225630.5219 | 2682004.6679 | 1225637.7598
48 | 2682004.6679 | 1225637.7598 | 2682007.2498 | 1225655.1927 | 2682007.2498 | 1225655.1927
49 | 2681980.4593 | 1225702.9568 | 2681991.8274 | 1225700.9891 | 2681999.668 | 1225699.7278
50 | 2682005.4125 | 1225698.8038 | 2681999.668 | 1225699.7278
51 | 2682018.0117 | 1225652.767 | 2682007.2498 | 1225655.1927
52 | 2682024.804 | 1225651.2361 | 2682018.0117 | 1225652.767
53 | 2682024.804 | 1225651.2361 | 2682043.6895 | 1225646.9795
54 | 2682014.1734 | 1225697.3945 | 2682005.4125 | 1225698.8038
55 | 2682014.1734 | 1225697.3945 | 2682025.4002 | 1225695.0968
56 | 2682051.8301 | 1225645.1447 | 2682043.6895 | 1225646.9795

## bus_geodata
| x | y | coords
0 | 2682168.1355 | 1225512.3568
1 | 2682184.8299 | 1225512.3227
2 | 2682185.0349 | 1225481.796
3 | 2682153.1575 | 1225558.2055
4 | 2682102.5923 | 1225574.4633
5 | 2682147.0246 | 1225524.5022
6 | 2682096.1954 | 1225577.5973
7 | 2682138.6285 | 1225479.0201
8 | 2681977.6063 | 1225526.9772
9 | 2681945.2682 | 1225532.9192
10 | 2681979.6444 | 1225526.6029
11 | 2681931.5775 | 1225535.436
12 | 2681988.5022 | 1225524.6466
13 | 2681983.2268 | 1225545.2645
14 | 2681937.0834 | 1225563.8531
15 | 2681992.5823 | 1225523.7455
16 | 2681985.095 | 1225554.9971
17 | 2681940.7499 | 1225582.7761
18 | 2681988.9742 | 1225575.2049
19 | 2681944.9305 | 1225604.3527
20 | 2682025.5764 | 1225516.4621
21 | 2682036.1023 | 1225538.6817
22 | 2682036.3188 | 1225514.3865
23 | 2682017.7057 | 1225502.3537
24 | 2681992.7302 | 1225594.444
25 | 2682037.3138 | 1225541.669
26 | 2682068.0984 | 1225511.3126
27 | 2682042.6724 | 1225558.946
28 | 2682079.7181 | 1225509.7039
29 | 2682046.0978 | 1225576.6062
30 | 2682097.4705 | 1225499.1112
31 | 2682087.525 | 1225528.1273
32 | 2681948.8909 | 1225623.1227
33 | 2681954.0154 | 1225650.2494
34 | 2681964.6368 | 1225705.6956
35 | 2681995.6878 | 1225609.5802
36 | 2682000.321 | 1225608.4099
37 | 2682049.521 | 1225593.8002
38 | 2682057.2636 | 1225591.9639
39 | 2682030.1303 | 1225599.9261
40 | 2682012.0453 | 1225605.0731
41 | 2682008.4101 | 1225606.1077
42 | 2682002.6454 | 1225624.1043
43 | 2682078.304 | 1225585.289
44 | 2682003.5959 | 1225630.5219
45 | 2682004.6679 | 1225637.7598
46 | 2681967.7924 | 1225720.9366
47 | 2681980.4593 | 1225702.9568
48 | 2681999.668 | 1225699.7278
49 | 2682087.7224 | 1225529.1914
50 | 2682007.2498 | 1225655.1927
51 | 2682018.0117 | 1225652.767
52 | 2682024.804 | 1225651.2361
53 | 2682005.4125 | 1225698.8038
54 | 2682014.1734 | 1225697.3945
55 | 2682025.4001 | 1225695.0968
56 | 2682043.6895 | 1225646.9795
57 | 2682051.8301 | 1225645.1447
58 | 2682049.521 | 1225593.8002

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99262 | -0.14206 | 0.0058738 | 0.0014721
1 | 0.99271 | -0.14032 | 0 | 0
2 | 0.99227 | -0.14875 | 0.015601 | 0.0039099
3 | 0.99412 | -0.11306 | 0 | 0
4 | 0.99598 | -0.077066 | 0 | 0
5 | 0.99359 | -0.12327 | 0.013856 | 0.0034728
6 | 0.99623 | -0.072265 | 0.0071174 | 0.0017838
7 | 0.99346 | -0.12575 | 0.0030332 | 0.00076019
8 | 0.99038 | -0.18258 | 0.0041578 | 0.001042
9 | 0.98658 | -0.25534 | 0.0061819 | 0.0015493
10 | 0.99063 | -0.17786 | 0 | 0
11 | 0.98506 | -0.28476 | 0 | 0
12 | 0.99055 | -0.17941 | 0.0041556 | 0.0010415
13 | 0.99185 | -0.15462 | 0.010182 | 0.0025518
14 | 0.98188 | -0.34625 | 0.0056223 | 0.0014091
15 | 0.99053 | -0.17982 | 0.0054927 | 0.0013766
16 | 0.99253 | -0.14163 | 0.0055181 | 0.001383
17 | 0.97986 | -0.38544 | 0.0062508 | 0.0015666
18 | 0.994 | -0.11372 | 0.0044482 | 0.0011148
19 | 0.97769 | -0.42783 | 0.020067 | 0.0050292
20 | 0.99412 | -0.11308 | 0 | 0
21 | 0.99499 | -0.096127 | 0.0088936 | 0.0022289
22 | 0.99377 | -0.11982 | 0.0030881 | 0.00077395
23 | 0.99405 | -0.11426 | 0.0041322 | 0.0010356
24 | 0.99543 | -0.08644 | 0.010016 | 0.0025103
25 | 0.99513 | -0.093406 | 0.015689 | 0.003932
26 | 0.99284 | -0.1378 | 0.0059677 | 0.0014956
27 | 0.99619 | -0.073137 | 0.0088972 | 0.0022299
28 | 0.99256 | -0.14316 | 0 | 0
29 | 0.99738 | -0.050247 | 0.0088893 | 0.0022279
30 | 0.99245 | -0.14537 | 0.0060027 | 0.0015044
31 | 0.99218 | -0.15049 | 0.0090995 | 0.0022805
32 | 0.97616 | -0.45793 | 0 | 0
33 | 0.97395 | -0.50142 | 0.048516 | 0.012159
34 | 0.97197 | -0.54031 | 0 | 0
35 | 0.99663 | -0.063676 | 0 | 0
36 | 0.99701 | -0.056652 | 0 | 0
37 | 0.99868 | -0.025268 | 0 | 0
38 | 0.99824 | -0.03374 | 0.001627 | 0.00040777
39 | 1 | 0 | -0.35867 | -0.091065
40 | 0.99817 | -0.034576 | 0.002805 | 0.00070299
41 | 0.99781 | -0.041449 | 0.0014677 | 0.00036785
42 | 0.99645 | -0.067316 | 0.0014267 | 0.00035756
43 | 0.99704 | -0.056706 | 0.01378 | 0.0034535
44 | 0.99623 | -0.071518 | 0.0081678 | 0.002047
45 | 0.99604 | -0.075209 | 0.0014834 | 0.00037177
46 | 0.97196 | -0.54058 | 0.00094093 | 0.00023582
47 | 0.97143 | -0.55112 | 0.018106 | 0.0045379
48 | 0.97109 | -0.55773 | 0.014414 | 0.0036125
49 | 0.99217 | -0.1507 | 0.010761 | 0.0026968
50 | 0.99561 | -0.083645 | 0.013933 | 0.003492
51 | 0.99547 | -0.086225 | 0.0013543 | 0.00033941
52 | 0.9954 | -0.087688 | 0.0050018 | 0.0012536
53 | 0.97107 | -0.55815 | 0.0022895 | 0.0005738
54 | 0.97106 | -0.55842 | 0 | 0
55 | 0.97104 | -0.55878 | 0.001658 | 0.00041553
56 | 0.99527 | -0.090053 | 0.0035034 | 0.00087804
57 | 0.99525 | -0.090559 | 0.0034404 | 0.00086224
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0058738 | -0.0014721 | 0.0058743 | 0.0014722 | 4.8539e-07 | 9.4836e-08 | 0.0088054 | 0.0088053 | 0.0088054 | 0.99262 | -0.14206 | 0.99271 | -0.14032 | 2.4191
1 | 0.015607 | 0.0039135 | -0.015601 | -0.0039099 | 6.2655e-06 | 3.6154e-06 | 0.023395 | 0.023395 | 0.023395 | 0.99271 | -0.14032 | 0.99227 | -0.14875 | 6.4271
2 | -0.021481 | -0.0053857 | 0.021509 | 0.0054026 | 2.7946e-05 | 1.6955e-05 | 0.0322 | 0.032199 | 0.0322 | 0.99271 | -0.14032 | 0.99412 | -0.11306 | 8.8461
3 | -0.038407 | -0.00964 | 0.038473 | 0.0096816 | 6.6053e-05 | 4.1582e-05 | 0.057494 | 0.057494 | 0.057494 | 0.99412 | -0.11306 | 0.99598 | -0.077066 | 15.795
4 | 0.016898 | 0.0042374 | -0.01689 | -0.0042326 | 8.2192e-06 | 4.8164e-06 | 0.025294 | 0.025295 | 0.025295 | 0.99412 | -0.11306 | 0.99359 | -0.12327 | 6.9491
5 | -0.038473 | -0.0096816 | 0.038482 | 0.0096872 | 8.8299e-06 | 5.5584e-06 | 0.057494 | 0.057494 | 0.057494 | 0.99598 | -0.077066 | 0.99623 | -0.072265 | 15.795
6 | 0.0030335 | 0.00075982 | -0.0030332 | -0.00076019 | 3.5797e-07 | -3.6985e-07 | 0.0045429 | 0.0045431 | 0.0045431 | 0.99359 | -0.12327 | 0.99346 | -0.12575 | 1.2481
7 | -0.0456 | -0.011471 | 0.045634 | 0.011492 | 3.3923e-05 | 2.1456e-05 | 0.068125 | 0.068124 | 0.068125 | 0.99623 | -0.072265 | 0.99704 | -0.056706 | 18.7155
8 | 0.12584 | 0.03223 | -0.12539 | -0.031948 | 0.00044189 | 0.00028239 | 0.18931 | 0.18931 | 0.18931 | 0.99038 | -0.18258 | 0.98658 | -0.25534 | 52.0087
9 | -0.12999 | -0.033272 | 0.13002 | 0.033291 | 2.9717e-05 | 1.8992e-05 | 0.19556 | 0.19556 | 0.19556 | 0.99038 | -0.18258 | 0.99063 | -0.17786 | 53.7248
10 | 0.11921 | 0.030398 | -0.11904 | -0.03029 | 0.00016911 | 0.00010805 | 0.17999 | 0.17999 | 0.17999 | 0.98658 | -0.25534 | 0.98506 | -0.28476 | 49.4473
11 | 0.0096492 | 0.0024185 | -0.0096485 | -0.0024181 | 7.1463e-07 | 3.4058e-07 | 0.014494 | 0.014494 | 0.014494 | 0.99063 | -0.17786 | 0.99055 | -0.17941 | 3.9819
12 | -0.13967 | -0.03571 | 0.13983 | 0.03581 | 0.0001572 | 0.00010012 | 0.21005 | 0.21005 | 0.21005 | 0.99063 | -0.17786 | 0.99185 | -0.15462 | 28.8533
13 | 0.11904 | 0.03029 | -0.11869 | -0.030066 | 0.00035164 | 0.00022468 | 0.17999 | 0.17999 | 0.17999 | 0.98506 | -0.28476 | 0.98188 | -0.34625 | 49.4473
14 | 0.0054929 | 0.0013766 | -0.0054927 | -0.0013766 | 1.0668e-07 | 1.4493e-08 | 0.0082514 | 0.0082514 | 0.0082514 | 0.99055 | -0.17941 | 0.99053 | -0.17982 | 2.2669
15 | -0.15001 | -0.038362 | 0.15011 | 0.038422 | 9.4344e-05 | 6.0124e-05 | 0.22533 | 0.22533 | 0.22533 | 0.99185 | -0.15462 | 0.99253 | -0.14163 | 30.9515
16 | 0.11307 | 0.028657 | -0.11286 | -0.028521 | 0.00021252 | 0.00013577 | 0.17147 | 0.17147 | 0.17147 | 0.98188 | -0.34625 | 0.97986 | -0.38544 | 47.1065
17 | -0.15562 | -0.039805 | 0.15583 | 0.039939 | 0.00021053 | 0.00013421 | 0.2336 | 0.2336 | 0.2336 | 0.99253 | -0.14163 | 0.994 | -0.11372 | 32.0879
18 | 0.10661 | 0.026954 | -0.10639 | -0.026816 | 0.00021623 | 0.00013811 | 0.16198 | 0.16198 | 0.16198 | 0.97986 | -0.38544 | 0.97769 | -0.42783 | 44.4988
19 | -0.16028 | -0.041054 | 0.16049 | 0.041189 | 0.00021216 | 0.00013527 | 0.24026 | 0.24026 | 0.24026 | 0.994 | -0.11372 | 0.99543 | -0.08644 | 33.0025
20 | 0.086323 | 0.021787 | -0.086198 | -0.021708 | 0.00012429 | 7.9302e-05 | 0.13143 | 0.13144 | 0.13144 | 0.97769 | -0.42783 | 0.97616 | -0.45793 | 36.1085
21 | -0.039104 | -0.0098195 | 0.039135 | 0.0098395 | 3.1654e-05 | 1.9939e-05 | 0.058538 | 0.058538 | 0.058538 | 0.99412 | -0.11308 | 0.99499 | -0.096127 | 16.0819
22 | 0.034971 | 0.008784 | -0.03496 | -0.0087769 | 1.1245e-05 | 7.0552e-06 | 0.052353 | 0.052353 | 0.052353 | 0.99412 | -0.11308 | 0.99377 | -0.11982 | 14.3827
23 | 0.0041324 | 0.0010356 | -0.0041322 | -0.0010356 | 2.3179e-07 | -6.11e-08 | 0.0061855 | 0.0061855 | 0.0061855 | 0.99412 | -0.11308 | 0.99405 | -0.11426 | 1.6993
24 | -0.048029 | -0.012068 | 0.048035 | 0.012072 | 6.2387e-06 | 3.9509e-06 | 0.071839 | 0.071839 | 0.071839 | 0.99499 | -0.096127 | 0.99513 | -0.093406 | 19.7359
25 | 0.031872 | 0.008003 | -0.031845 | -0.0079859 | 2.7307e-05 | 1.7063e-05 | 0.047729 | 0.047729 | 0.047729 | 0.99377 | -0.11982 | 0.99284 | -0.1378 | 13.1124
26 | -0.17051 | -0.043699 | 0.1707 | 0.043819 | 0.00018837 | 0.00012016 | 0.25523 | 0.25523 | 0.25523 | 0.99543 | -0.08644 | 0.99663 | -0.063676 | 35.0592
27 | -0.063724 | -0.016004 | 0.063786 | 0.016044 | 6.1696e-05 | 3.925e-05 | 0.095298 | 0.095298 | 0.095298 | 0.99513 | -0.093406 | 0.99619 | -0.073137 | 26.1807
28 | 0.025877 | 0.0064903 | -0.02587 | -0.0064862 | 6.6172e-06 | 4.0834e-06 | 0.038785 | 0.038785 | 0.038785 | 0.99284 | -0.1378 | 0.99256 | -0.14316 | 10.6552
29 | -0.072683 | -0.018273 | 0.072763 | 0.018324 | 7.9544e-05 | 5.0674e-05 | 0.10859 | 0.10859 | 0.10859 | 0.99619 | -0.073137 | 0.99738 | -0.050247 | 29.8318
30 | 0.0060033 | 0.0015046 | -0.0060027 | -0.0015044 | 6.3265e-07 | 1.3574e-07 | 0.009 | 0.0090001 | 0.0090001 | 0.99256 | -0.14316 | 0.99245 | -0.14537 | 2.4726
31 | 0.019867 | 0.0049816 | -0.01986 | -0.0049774 | 6.9378e-06 | 4.1708e-06 | 0.029785 | 0.029785 | 0.029785 | 0.99256 | -0.14316 | 0.99218 | -0.15049 | 8.1827
32 | -0.081652 | -0.020552 | 0.08175 | 0.020614 | 9.7611e-05 | 6.2242e-05 | 0.12185 | 0.12185 | 0.12185 | 0.99738 | -0.050247 | 0.99868 | -0.025268 | 33.4753
33 | 0.010761 | 0.0026969 | -0.010761 | -0.0026968 | 1.057e-07 | 5.3672e-08 | 0.016138 | 0.016138 | 0.016138 | 0.99218 | -0.15049 | 0.99217 | -0.1507 | 4.4336
34 | 0.086198 | 0.021708 | -0.086019 | -0.021594 | 0.00017884 | 0.00011411 | 0.13144 | 0.13144 | 0.13144 | 0.97616 | -0.45793 | 0.97395 | -0.50142 | 36.1086
35 | 0.037503 | 0.0094342 | -0.037434 | -0.0093904 | 6.9535e-05 | 4.3801e-05 | 0.057311 | 0.057311 | 0.057311 | 0.97395 | -0.50142 | 0.97197 | -0.54031 | 15.7448
36 | 0.00094094 | 0.00023563 | -0.00094093 | -0.00023582 | 1.2111e-08 | -1.8515e-07 | 0.0014404 | 0.0014405 | 0.0014405 | 0.97197 | -0.54031 | 0.97196 | -0.54058 | 0.39575
37 | 0.036493 | 0.0091548 | -0.036474 | -0.009143 | 1.8797e-05 | 1.1831e-05 | 0.055871 | 0.055871 | 0.055871 | 0.97197 | -0.54031 | 0.97143 | -0.55112 | 15.3491
38 | -0.1707 | -0.043819 | 0.17076 | 0.043857 | 5.8213e-05 | 3.7132e-05 | 0.25523 | 0.25523 | 0.25523 | 0.99663 | -0.063676 | 0.99701 | -0.056652 | 35.0592
39 | 0.038357 | 0.00963 | -0.038338 | -0.0096177 | 1.9503e-05 | 1.2275e-05 | 0.057253 | 0.057254 | 0.057254 | 0.99701 | -0.056652 | 0.99645 | -0.067316 | 15.729
40 | -0.20911 | -0.053487 | 0.20927 | 0.053585 | 0.00015398 | 9.8329e-05 | 0.31248 | 0.31248 | 0.31248 | 0.99701 | -0.056652 | 0.99781 | -0.041449 | 42.9236
41 | 0.06113 | 0.015411 | -0.061105 | -0.015395 | 2.4773e-05 | 1.5751e-05 | 0.091115 | 0.091115 | 0.091115 | 0.99868 | -0.025268 | 0.99824 | -0.03374 | 25.0315
42 | -0.14288 | -0.036025 | 0.14305 | 0.036135 | 0.00017301 | 0.00011019 | 0.21296 | 0.21296 | 0.21296 | 0.99868 | -0.025268 | 1 | 0 | 29.2534
43 | 0.059478 | 0.014987 | -0.059413 | -0.014946 | 6.5265e-05 | 4.1481e-05 | 0.08869 | 0.08869 | 0.08869 | 0.99824 | -0.03374 | 0.99704 | -0.056706 | 24.3653
44 | 0.21397 | 0.054929 | -0.21361 | -0.054701 | 0.00035844 | 0.00022891 | 0.31885 | 0.31885 | 0.31885 | 1 | 0 | 0.99817 | -0.034576 | 43.7986
45 | 0.21081 | 0.053998 | -0.21074 | -0.053953 | 7.0172e-05 | 4.4811e-05 | 0.31467 | 0.31467 | 0.31467 | 0.99817 | -0.034576 | 0.99781 | -0.041449 | 43.2242
46 | 0.036911 | 0.0092602 | -0.036904 | -0.0092555 | 7.3923e-06 | 4.6466e-06 | 0.055123 | 0.055123 | 0.055123 | 0.99645 | -0.067316 | 0.99623 | -0.071518 | 15.1437
47 | 0.028736 | 0.0072085 | -0.028731 | -0.0072054 | 5.0553e-06 | 3.1402e-06 | 0.042923 | 0.042923 | 0.042923 | 0.99623 | -0.071518 | 0.99604 | -0.075209 | 11.7922
48 | 0.027247 | 0.0068336 | -0.027236 | -0.0068268 | 1.0951e-05 | 6.7794e-06 | 0.040707 | 0.040707 | 0.040707 | 0.99604 | -0.075209 | 0.99561 | -0.083645 | 11.1834
49 | 0.018368 | 0.0046051 | -0.018362 | -0.0046016 | 5.7824e-06 | 3.4597e-06 | 0.028136 | 0.028136 | 0.028136 | 0.97143 | -0.55112 | 0.97109 | -0.55773 | 7.7296
50 | 0.0039476 | 0.00098909 | -0.0039475 | -0.00098911 | 7.9833e-08 | -2.089e-08 | 0.0060488 | 0.0060489 | 0.0060489 | 0.97109 | -0.55773 | 0.97107 | -0.55815 | 1.6618
51 | 0.013303 | 0.0033348 | -0.013302 | -0.0033339 | 1.6355e-06 | 9.0327e-07 | 0.019883 | 0.019883 | 0.019883 | 0.99561 | -0.083645 | 0.99547 | -0.086225 | 5.4624
52 | 0.011947 | 0.0029945 | -0.011946 | -0.002994 | 8.3273e-07 | 4.4244e-07 | 0.017859 | 0.017859 | 0.017859 | 0.99547 | -0.086225 | 0.9954 | -0.087688 | 4.9063
53 | 0.0069447 | 0.0017405 | -0.0069439 | -0.0017402 | 7.8244e-07 | 2.4915e-07 | 0.010382 | 0.010382 | 0.010382 | 0.9954 | -0.087688 | 0.99527 | -0.090053 | 2.8521
54 | 0.001658 | 0.00041531 | -0.001658 | -0.0004154 | 2.1478e-08 | -9.6029e-08 | 0.0025406 | 0.0025406 | 0.0025406 | 0.97107 | -0.55815 | 0.97106 | -0.55842 | 0.69797
55 | 0.001658 | 0.0004154 | -0.001658 | -0.00041553 | 2.7738e-08 | -1.2401e-07 | 0.0025406 | 0.0025407 | 0.0025407 | 0.97106 | -0.55842 | 0.97104 | -0.55878 | 0.69798
56 | 0.0034405 | 0.00086219 | -0.0034404 | -0.00086224 | 8.2797e-08 | -5.5453e-08 | 0.0051438 | 0.0051438 | 0.0051438 | 0.99527 | -0.090053 | 0.99525 | -0.090559 | 1.4131

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36145 | 0.091762

## res_load
| p_mw | q_mvar
0 | 0.0058738 | 0.0014721
1 | 0.015601 | 0.0039099
2 | 0.013856 | 0.0034728
3 | 0.0071174 | 0.0017838
4 | 0.0030332 | 0.00076019
5 | 0.0041578 | 0.001042
6 | 0.0061819 | 0.0015493
7 | 0.0041556 | 0.0010415
8 | 0.010182 | 0.0025518
9 | 0.0056223 | 0.0014091
10 | 0.0054927 | 0.0013766
11 | 0.0055181 | 0.001383
12 | 0.0062508 | 0.0015666
13 | 0.0044482 | 0.0011148
14 | 0.020067 | 0.0050292
15 | 0.0088936 | 0.0022289
16 | 0.0030881 | 0.00077395
17 | 0.0041322 | 0.0010356
18 | 0.010016 | 0.0025103
19 | 0.015689 | 0.003932
20 | 0.0059677 | 0.0014956
21 | 0.0088972 | 0.0022299
22 | 0.0088893 | 0.0022279
23 | 0.0060027 | 0.0015044
24 | 0.0090995 | 0.0022805
25 | 0.048516 | 0.012159
26 | 0.001627 | 0.00040777
27 | 0.0027821 | 0.00069727
28 | 0.002805 | 0.00070299
29 | 0.0014677 | 0.00036785
30 | 0.0014267 | 0.00035756
31 | 0.01378 | 0.0034535
32 | 0.0081678 | 0.002047
33 | 0.0014834 | 0.00037177
34 | 0.00094093 | 0.00023582
35 | 0.018106 | 0.0045379
36 | 0.014414 | 0.0036125
37 | 0.010761 | 0.0026968
38 | 0.013933 | 0.003492
39 | 0.0013543 | 0.00033941
40 | 0.0050018 | 0.0012536
41 | 0.0022895 | 0.0005738
42 | 0.001658 | 0.00041553
43 | 0.0035034 | 0.00087804
44 | 0.0034404 | 0.00086224

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1