## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-29_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-29_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-29_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-29_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1711-29_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1711-29_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1711-29_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1711-29_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1711-29_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1711-29_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1711-29_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1711-29_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1711-29_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1711-29_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1711-29_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1711-29_0_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_1711-29_0_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1711-29_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1711-29_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1711-29_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1711-29_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1711-29_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1711-29_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1711-29_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1711-29_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1711-29_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1711-29_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1711-29_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1711-29_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1711-29_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1711-29_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1711-29_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_MV_231_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-29_0_3_load_0 | 0 | 0.0035623 | 0.00089279 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-29_0_3_load_1 | 1 | 0.0048741 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-29_0_3_load_2 | 2 | 0.0039006 | 0.00097758 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-29_0_3_load_3 | 3 | 0.0038403 | 0.00096248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-29_0_3_load_4 | 4 | 0.0061749 | 0.0015476 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-29_0_3_load_5 | 5 | 0.0090493 | 0.002268 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-29_0_3_load_22 | 6 | 0.0028917 | 0.00072473 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-29_0_3_load_6 | 7 | 0.0039924 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-29_0_3_load_21 | 8 | 0.0071424 | 0.00179 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-29_0_3_load_7 | 9 | 0.0036133 | 0.00090558 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-29_0_3_load_30 | 10 | 0.0041358 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-29_0_3_load_31 | 11 | 0.0061696 | 0.0015463 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-29_0_3_load_8 | 12 | 0.0033785 | 0.00084673 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-29_0_3_load_9 | 13 | 0.0089044 | 0.0022316 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-29_0_3_load_34 | 17 | 0.0037064 | 0.0009289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-29_0_3_load_35 | 18 | 0.077155 | 0.019337 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-29_0_3_load_26 | 21 | 0.065426 | 0.016397 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-29_0_3_load_25 | 25 | 0.011595 | 0.002906 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-29_0_3_load_33 | 26 | 0.0016571 | 0.00041531 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-29_0_3_load_15 | 27 | 0.0091037 | 0.0022816 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-29_0_3_load_16 | 28 | 0.0053044 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-29_0_3_load_17 | 29 | 0.0054212 | 0.0013587 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-29_0_3_load_18 | 30 | 0.010388 | 0.0026034 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-29_0_3_load_19 | 31 | 0.0076651 | 0.0019211 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-29_0_3_load_20 | 32 | 0.013461 | 0.0033735 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-29_0_3_load_32 | 33 | 0.0058311 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-29_0_3_line_0 |  | 0 | 1 | 0.01976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1711-29_0_3_line_1 |  | 0 | 2 | 0.022172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1711-29_0_3_line_2 |  | 1 | 3 | 0.0083483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1711-29_0_3_line_3 |  | 2 | 4 | 0.014924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1711-29_0_3_line_4 |  | 3 | 5 | 0.027492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1711-29_0_3_line_5 |  | 4 | 6 | 0.020499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1711-29_0_3_line_6 |  | 5 | 7 | 0.0047738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1711-29_0_3_line_7 |  | 6 | 8 | 0.0089263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-29_0_3_line_8 |  | 7 | 9 | 0.025753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1711-29_0_3_line_9 |  | 8 | 32 | 0.020256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-29_0_3_line_10 |  | 9 | 10 | 0.007248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1711-29_0_3_line_11 |  | 10 | 11 | 0.01761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1711-29_0_3_line_12 |  | 11 | 23 | 0.03582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1711-29_0_3_line_13 |  | 12 | 13 | 0.045421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-29_0_3_line_14 |  | 13 | 14 | 0.029154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-29_0_3_line_15 |  | 14 | 15 | 0.05841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-29_0_3_line_16 |  | 15 | 16 | 0.038451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-29_0_3_line_17 |  | 15 | 17 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-29_0_3_line_18 |  | 16 | 18 | 0.028353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-29_0_3_line_19 |  | 17 | 20 | 0.070551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-29_0_3_line_20 |  | 19 | 20 | 0.033704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-29_0_3_line_21 |  | 19 | 21 | 0.066456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-29_0_3_line_22 |  | 21 | 25 | 0.043877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1711-29_0_3_line_23 |  | 22 | 23 | 0.25041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1711-29_0_3_line_24 |  | 22 | 24 | 0.10157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-29_0_3_line_25 |  | 22 | 25 | 0.035935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1711-29_0_3_line_26 |  | 23 | 33 | 0.045994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-29_0_3_line_27 |  | 24 | 26 | 0.11377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-29_0_3_line_28 |  | 27 | 28 | 0.007675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-29_0_3_line_29 |  | 27 | 29 | 0.0086277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-29_0_3_line_30 |  | 28 | 30 | 0.037711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-29_0_3_line_31 |  | 30 | 31 | 0.017373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-29_0_3_line_32 |  | 31 | 32 | 0.017923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-29_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 34 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2680267.2576 | 1226842.1894 | 2680282.4334 | 1226854.8447
1 | 2680267.2576 | 1226842.1894 | 2680259.9515 | 1226836.0967 | 2680248.8323 | 1226830.047
2 | 2680282.4334 | 1226854.8447 | 2680288.8449 | 1226860.1914
3 | 2680234.7776 | 1226826.4207 | 2680235.4361 | 1226826.1705 | 2680243.1869 | 1226826.9756 | 2680248.8323 | 1226830.047
4 | 2680312.2934 | 1226874.4514 | 2680291.7319 | 1226862.5989 | 2680288.8449 | 1226860.1914
5 | 2680216.9771 | 1226836.101 | 2680224.0765 | 1226830.487 | 2680234.7776 | 1226826.4207
6 | 2680312.2934 | 1226874.4514 | 2680316.4293 | 1226876.8354
7 | 2680210.2904 | 1226841.9872 | 2680212.8371 | 1226839.3748 | 2680216.9771 | 1226836.101
8 | 2680316.4293 | 1226876.8354 | 2680319.1465 | 1226878.4018 | 2680340.942 | 1226884.4399
9 | 2680210.2904 | 1226841.9872 | 2680196.1508 | 1226856.492
10 | 2680347.9269 | 1226886.375 | 2680340.942 | 1226884.4399
11 | 2680347.9269 | 1226886.375 | 2680357.5833 | 1226889.0501 | 2680364.8227 | 1226891.3291
12 | 2680398.9893 | 1226902.0849 | 2680364.8227 | 1226891.3291
13 | 2680058.9514 | 1226889.7106 | 2680075.1443 | 1226847.2745
14 | 2680085.538 | 1226820.0362 | 2680075.1443 | 1226847.2745
15 | 2680062.0176 | 1226778.4026 | 2680077.1972 | 1226784.233 | 2680085.1827 | 1226790.1334 | 2680089.4223 | 1226796.1389 | 2680090.7091 | 1226801.3376 | 2680090.0924 | 1226807.1665 | 2680085.538 | 1226820.0362
16 | 2680053.4842 | 1226754.6384 | 2680044.1458 | 1226771.5354 | 2680062.0176 | 1226778.4026
17 | 2680062.0176 | 1226778.4026 | 2680070.041 | 1226763.257
18 | 2680053.4842 | 1226754.6384 | 2680027.4102 | 1226743.3245
19 | 2680103.0675 | 1226700.9137 | 2680070.041 | 1226763.257
20 | 2680103.0675 | 1226700.9137 | 2680118.3123 | 1226709.2356 | 2680132.6543 | 1226717.0562
21 | 2680132.6543 | 1226717.0562 | 2680149.3437 | 1226726.1649 | 2680138.5452 | 1226743.3978 | 2680161.5559 | 1226757.7236
22 | 2680161.5559 | 1226757.7236 | 2680177.3543 | 1226767.5592 | 2680182.5733 | 1226767.8185 | 2680186.4544 | 1226766.1141 | 2680193.3232 | 1226760.3806 | 2680197.6873 | 1226755.0937
23 | 2680398.9893 | 1226902.0849 | 2680395.1518 | 1226892.7156 | 2680283.2173 | 1226780.2505 | 2680220.5631 | 1226727.3809
24 | 2680181.436 | 1226653.1478 | 2680173.1394 | 1226669.7584 | 2680167.5947 | 1226681.2804 | 2680220.5631 | 1226727.3809
25 | 2680220.5631 | 1226727.3809 | 2680197.6873 | 1226755.0937
26 | 2680398.9893 | 1226902.0849 | 2680390.8932 | 1226913.372 | 2680387.225 | 1226926.2423 | 2680388.7728 | 1226942.3853 | 2680389.2858 | 1226944.8359
27 | 2680181.436 | 1226653.1478 | 2680159.1176 | 1226647.7435 | 2680134.2347 | 1226639.7029 | 2680109.6693 | 1226628.3423 | 2680094.9767 | 1226617.8375 | 2680090.1426 | 1226612.0685 | 2680084.9126 | 1226604.1705 | 2680083.4728 | 1226602.0854
28 | 2680145.1897 | 1226908.7691 | 2680139.8322 | 1226914.2649
29 | 2680133.8098 | 1226920.4429 | 2680139.8322 | 1226914.2649
30 | 2680145.1897 | 1226908.7691 | 2680171.5133 | 1226881.7658
31 | 2680183.6402 | 1226869.3257 | 2680171.5133 | 1226881.7658
32 | 2680183.6402 | 1226869.3257 | 2680196.1508 | 1226856.492

## bus_geodata
| x | y | coords
0 | 2680267.2576 | 1226842.1894
1 | 2680282.4334 | 1226854.8447
2 | 2680248.8323 | 1226830.047
3 | 2680288.8449 | 1226860.1914
4 | 2680234.7776 | 1226826.4207
5 | 2680312.2934 | 1226874.4514
6 | 2680216.9771 | 1226836.101
7 | 2680316.4293 | 1226876.8354
8 | 2680210.2904 | 1226841.9872
9 | 2680340.942 | 1226884.4399
10 | 2680347.9269 | 1226886.375
11 | 2680364.8227 | 1226891.3291
12 | 2680058.9514 | 1226889.7106
13 | 2680075.1443 | 1226847.2745
14 | 2680085.538 | 1226820.0362
15 | 2680062.0176 | 1226778.4026
16 | 2680053.4842 | 1226754.6384
17 | 2680070.041 | 1226763.257
18 | 2680027.4102 | 1226743.3245
19 | 2680132.6543 | 1226717.0562
20 | 2680103.0675 | 1226700.9137
21 | 2680161.5559 | 1226757.7236
22 | 2680220.5631 | 1226727.3809
23 | 2680398.9893 | 1226902.0849
24 | 2680181.436 | 1226653.1478
25 | 2680197.6873 | 1226755.0937
26 | 2680083.4728 | 1226602.0854
27 | 2680139.8322 | 1226914.2649
28 | 2680145.1897 | 1226908.7691
29 | 2680133.8098 | 1226920.4429
30 | 2680171.5133 | 1226881.7658
31 | 2680183.6402 | 1226869.3257
32 | 2680196.1508 | 1226856.492
33 | 2680389.2858 | 1226944.8359
34 | 2680132.6543 | 1226717.0562

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97528 | -0.47403 | 0.0035623 | 0.00089279
1 | 0.97598 | -0.46046 | 0.0048741 | 0.0012216
2 | 0.97455 | -0.48856 | 0.0039006 | 0.00097758
3 | 0.97629 | -0.45436 | 0.0038403 | 0.00096248
4 | 0.97408 | -0.49781 | 0.0061749 | 0.0015476
5 | 0.97736 | -0.43333 | 0.0090493 | 0.002268
6 | 0.97349 | -0.50938 | 0.0028917 | 0.00072473
7 | 0.97757 | -0.42929 | 0.0039924 | 0.0010006
8 | 0.973 | -0.51898 | 0.0071424 | 0.00179
9 | 0.97873 | -0.40659 | 0.0036133 | 0.00090558
10 | 0.97907 | -0.39997 | 0.0041358 | 0.0010365
11 | 0.97993 | -0.38325 | 0.0061696 | 0.0015463
12 | 0.98271 | -0.33104 | 0.0033785 | 0.00084673
13 | 0.98286 | -0.32827 | 0.0089044 | 0.0022316
14 | 0.98319 | -0.32181 | 0 | 0
15 | 0.98385 | -0.30888 | 0 | 0
16 | 0.9811 | -0.36245 | 0 | 0
17 | 0.98527 | -0.28131 | 0.0037064 | 0.0009289
18 | 0.97907 | -0.40214 | 0.077155 | 0.019337
19 | 0.99426 | -0.10852 | 0 | 0
20 | 0.99135 | -0.16404 | 0 | 0
21 | 1 | 0 | -0.22918 | -0.058798
22 | 0.99537 | -0.087064 | 0 | 0
23 | 0.98177 | -0.34733 | 0 | 0
24 | 0.99522 | -0.090035 | 0 | 0
25 | 0.99735 | -0.049771 | 0.011595 | 0.002906
26 | 0.99505 | -0.093358 | 0.0016571 | 0.00041531
27 | 0.9701 | -0.57629 | 0.0091037 | 0.0022816
28 | 0.97021 | -0.57422 | 0.0053044 | 0.0013294
29 | 0.97006 | -0.57715 | 0.0054212 | 0.0013587
30 | 0.9709 | -0.56039 | 0.010388 | 0.0026034
31 | 0.9714 | -0.55068 | 0.0076651 | 0.0019211
32 | 0.97203 | -0.53815 | 0.013461 | 0.0033735
33 | 0.98153 | -0.35218 | 0.0058311 | 0.0014614
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.075253 | -0.01895 | 0.075302 | 0.018981 | 4.887e-05 | 3.0783e-05 | 0.11485 | 0.11485 | 0.11485 | 0.97528 | -0.47403 | 0.97598 | -0.46046 | 15.7759
1 | 0.071691 | 0.018058 | -0.071641 | -0.018026 | 4.9767e-05 | 3.1298e-05 | 0.10941 | 0.10941 | 0.10941 | 0.97528 | -0.47403 | 0.97455 | -0.48856 | 15.0293
2 | -0.080176 | -0.020203 | 0.0802 | 0.020218 | 2.3405e-05 | 1.477e-05 | 0.12228 | 0.12228 | 0.12228 | 0.97598 | -0.46046 | 0.97629 | -0.45436 | 16.7966
3 | 0.067741 | 0.017049 | -0.067711 | -0.01703 | 2.9951e-05 | 1.8797e-05 | 0.10346 | 0.10346 | 0.10346 | 0.97455 | -0.48856 | 0.97408 | -0.49781 | 14.2113
4 | -0.08404 | -0.02118 | 0.084125 | 0.021234 | 8.4631e-05 | 5.3476e-05 | 0.12813 | 0.12813 | 0.12813 | 0.97629 | -0.45436 | 0.97736 | -0.43333 | 17.6007
5 | 0.061536 | 0.015482 | -0.061502 | -0.015461 | 3.3979e-05 | 2.1237e-05 | 0.094025 | 0.094025 | 0.094025 | 0.97408 | -0.49781 | 0.97349 | -0.50938 | 12.9156
6 | -0.093174 | -0.023501 | 0.093192 | 0.023513 | 1.8026e-05 | 1.1417e-05 | 0.14191 | 0.14191 | 0.14191 | 0.97736 | -0.43333 | 0.97757 | -0.42929 | 19.4931
7 | 0.05861 | 0.014736 | -0.058583 | -0.014719 | 2.6876e-05 | 1.709e-05 | 0.089605 | 0.089605 | 0.089605 | 0.97349 | -0.50938 | 0.973 | -0.51898 | 24.6168
8 | -0.097185 | -0.024513 | 0.09729 | 0.024581 | 0.00010575 | 6.7032e-05 | 0.14799 | 0.14799 | 0.14799 | 0.97757 | -0.42929 | 0.97873 | -0.40659 | 20.3279
9 | 0.051441 | 0.012929 | -0.051394 | -0.012899 | 4.7027e-05 | 2.9846e-05 | 0.078682 | 0.078682 | 0.078682 | 0.973 | -0.51898 | 0.97203 | -0.53815 | 21.616
10 | -0.1009 | -0.025486 | 0.10094 | 0.025506 | 3.2013e-05 | 2.0306e-05 | 0.15348 | 0.15348 | 0.15348 | 0.97873 | -0.40659 | 0.97907 | -0.39997 | 21.0825
11 | -0.10507 | -0.026543 | 0.10516 | 0.026596 | 8.4279e-05 | 5.3495e-05 | 0.15977 | 0.15977 | 0.15977 | 0.97907 | -0.39997 | 0.97993 | -0.38325 | 21.9459
12 | -0.11133 | -0.028143 | 0.11152 | 0.028265 | 0.00019212 | 0.00012206 | 0.16913 | 0.16913 | 0.16913 | 0.97993 | -0.38325 | 0.98177 | -0.34733 | 23.2327
13 | -0.0033785 | -0.00084673 | 0.0033789 | 0.00084644 | 4.4573e-07 | -2.9028e-07 | 0.0051157 | 0.0051155 | 0.0051157 | 0.98271 | -0.33104 | 0.98286 | -0.32827 | 1.4054
14 | -0.012283 | -0.0030781 | 0.012287 | 0.0030801 | 3.7808e-06 | 2.0501e-06 | 0.018596 | 0.018596 | 0.018596 | 0.98286 | -0.32827 | 0.98319 | -0.32181 | 5.1089
15 | -0.012287 | -0.0030801 | 0.012295 | 0.0030842 | 7.5747e-06 | 4.1066e-06 | 0.018596 | 0.018596 | 0.018596 | 0.98319 | -0.32181 | 0.98385 | -0.30888 | 5.1089
16 | 0.077499 | 0.019556 | -0.077301 | -0.01943 | 0.00019827 | 0.0001264 | 0.11726 | 0.11726 | 0.11726 | 0.98385 | -0.30888 | 0.9811 | -0.36245 | 32.2146
17 | -0.089794 | -0.022641 | 0.089912 | 0.022716 | 0.00011863 | 7.5705e-05 | 0.13586 | 0.13586 | 0.13586 | 0.98385 | -0.30888 | 0.98527 | -0.28131 | 37.3233
18 | 0.077301 | 0.01943 | -0.077155 | -0.019337 | 0.0001462 | 9.3209e-05 | 0.11726 | 0.11726 | 0.11726 | 0.9811 | -0.36245 | 0.97907 | -0.40214 | 32.2146
19 | -0.093619 | -0.023645 | 0.094148 | 0.023983 | 0.00052938 | 0.0003379 | 0.14145 | 0.14145 | 0.14145 | 0.98527 | -0.28131 | 0.99135 | -0.16404 | 38.8611
20 | 0.094401 | 0.024145 | -0.094148 | -0.023983 | 0.0002529 | 0.00016142 | 0.14145 | 0.14145 | 0.14145 | 0.99426 | -0.10852 | 0.99135 | -0.16404 | 38.861
21 | -0.094401 | -0.024145 | 0.0949 | 0.024463 | 0.00049865 | 0.00031827 | 0.14145 | 0.14145 | 0.14145 | 0.99426 | -0.10852 | 1 | 0 | 38.861
22 | 0.13263 | 0.034335 | -0.13231 | -0.03413 | 0.0003217 | 0.00020474 | 0.19775 | 0.19775 | 0.19775 | 1 | 0 | 0.99735 | -0.049771 | 27.163
23 | 0.11884 | 0.030672 | -0.11735 | -0.029726 | 0.0014872 | 0.00094538 | 0.17797 | 0.17797 | 0.17797 | 0.99537 | -0.087064 | 0.98177 | -0.34733 | 24.447
24 | 0.0016576 | 0.00041283 | -0.0016574 | -0.000414 | 2.3377e-07 | -1.1705e-06 | 0.0024771 | 0.0024776 | 0.0024776 | 0.99537 | -0.087064 | 0.99522 | -0.090035 | 0.68066
25 | -0.12049 | -0.031085 | 0.12071 | 0.031224 | 0.00021939 | 0.00013948 | 0.18045 | 0.18045 | 0.18045 | 0.99537 | -0.087064 | 0.99735 | -0.049771 | 24.7869
26 | 0.0058325 | 0.0014617 | -0.0058311 | -0.0014614 | 1.3478e-06 | 2.8115e-07 | 0.0088399 | 0.0088401 | 0.0088401 | 0.98177 | -0.34733 | 0.98153 | -0.35218 | 2.4286
27 | 0.0016574 | 0.000414 | -0.0016571 | -0.00041531 | 2.6195e-07 | -1.3105e-06 | 0.0024776 | 0.0024781 | 0.0024781 | 0.99522 | -0.090035 | 0.99505 | -0.093358 | 0.6808
28 | -0.014525 | -0.0036403 | 0.014527 | 0.0036411 | 1.4287e-06 | 8.1958e-07 | 0.02228 | 0.02228 | 0.02228 | 0.9701 | -0.57629 | 0.97021 | -0.57422 | 6.1208
29 | 0.0054214 | 0.0013587 | -0.0054212 | -0.0013587 | 2.2373e-07 | 3.6673e-08 | 0.0083158 | 0.0083158 | 0.0083158 | 0.9701 | -0.57629 | 0.97006 | -0.57715 | 2.2846
30 | -0.019831 | -0.0049705 | 0.019844 | 0.0049784 | 1.3082e-05 | 7.9065e-06 | 0.030415 | 0.030415 | 0.030415 | 0.97021 | -0.57422 | 0.9709 | -0.56039 | 8.3558
31 | -0.030232 | -0.0075818 | 0.030246 | 0.0075906 | 1.3987e-05 | 8.7367e-06 | 0.046335 | 0.046335 | 0.046335 | 0.9709 | -0.56039 | 0.9714 | -0.55068 | 12.7294
32 | -0.037911 | -0.0095116 | 0.037933 | 0.0095259 | 2.2669e-05 | 1.4286e-05 | 0.058077 | 0.058077 | 0.058077 | 0.9714 | -0.55068 | 0.97203 | -0.53815 | 15.9551

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.29461 | 0.075195

## res_load
| p_mw | q_mvar
0 | 0.0035623 | 0.00089279
1 | 0.0048741 | 0.0012216
2 | 0.0039006 | 0.00097758
3 | 0.0038403 | 0.00096248
4 | 0.0061749 | 0.0015476
5 | 0.0090493 | 0.002268
6 | 0.0028917 | 0.00072473
7 | 0.0039924 | 0.0010006
8 | 0.0071424 | 0.00179
9 | 0.0036133 | 0.00090558
10 | 0.0041358 | 0.0010365
11 | 0.0061696 | 0.0015463
12 | 0.0033785 | 0.00084673
13 | 0.0089044 | 0.0022316
14 | 0.0037064 | 0.0009289
15 | 0.077155 | 0.019337
16 | 0.065426 | 0.016397
17 | 0.011595 | 0.002906
18 | 0.0016571 | 0.00041531
19 | 0.0091037 | 0.0022816
20 | 0.0053044 | 0.0013294
21 | 0.0054212 | 0.0013587
22 | 0.010388 | 0.0026034
23 | 0.0076651 | 0.0019211
24 | 0.013461 | 0.0033735
25 | 0.0058311 | 0.0014614

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1