## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-31_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-31_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-31_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-31_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-31_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-31_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1711-31_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1711-31_0_4_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1711-31_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1711-31_0_4_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_1711-31_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1711-31_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1711-31_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1711-31_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1711-31_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1711-31_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1711-31_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1711-31_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1711-31_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1711-31_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1711-31_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1711-31_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1711-31_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1711-31_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1711-31_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1711-31_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1711-31_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1711-31_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1711-31_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1711-31_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1711-31_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1711-31_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1711-31_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1711-31_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1711-31_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1711-31_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_MV_228_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-31_0_4_load_0 | 0 | 0.0053889 | 0.0013506 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-31_0_4_load_1 | 1 | 0.0061833 | 0.0015497 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-31_0_4_load_2 | 2 | 0.0037435 | 0.00093821 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-31_0_4_load_4 | 4 | 0.0052705 | 0.0013209 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-31_0_4_load_29 | 7 | 0.0025026 | 0.00062722 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-31_0_4_load_19 | 8 | 0.0025435 | 0.00063746 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-31_0_4_load_27 | 10 | 0.0035806 | 0.00089738 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-31_0_4_load_6 | 12 | 0.0753 | 0.018872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-31_0_4_load_7 | 13 | 0.079857 | 0.020014 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-31_0_4_load_24 | 17 | 0.020808 | 0.0052151 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-31_0_4_load_11 | 18 | 0.015655 | 0.0039235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-31_0_4_load_23 | 19 | 0.020118 | 0.005042 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-31_0_4_load_12 | 20 | 0.0079134 | 0.0019833 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-31_0_4_load_15 | 22 | 0.0055748 | 0.0013972 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-31_0_4_load_16 | 23 | 0.0017077 | 0.00042798 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-31_0_4_load_18 | 24 | 0.031809 | 0.0079721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-31_0_4_load_20 | 25 | 0.056336 | 0.014119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-31_0_4_load_21 | 26 | 0.0053772 | 0.0013476 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-31_0_4_load_30 | 27 | 0.0094924 | 0.002379 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-31_0_4_load_22 | 28 | 0.036497 | 0.0091471 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-31_0_4_load_25 | 29 | 0.0034878 | 0.00087412 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-31_0_4_load_26 | 30 | 0.0017978 | 0.00045057 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-31_0_4_load_28 | 31 | 0.0031519 | 0.00078994 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-31_0_4_load_35 | 32 | 0.0020767 | 0.00052046 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-31_0_4_load_34 | 33 | 0.0032114 | 0.00080485 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-31_0_4_load_37 | 34 | 0.011433 | 0.0028654 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-31_0_4_load_36 | 35 | 0.0015241 | 0.00038198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-31_0_4_line_0 |  | 0 | 1 | 0.025998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-31_0_4_line_1 |  | 1 | 2 | 0.015977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-31_0_4_line_2 |  | 2 | 3 | 0.018703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-31_0_4_line_3 |  | 3 | 4 | 0.0081292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-31_0_4_line_4 |  | 3 | 5 | 0.04345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-31_0_4_line_5 |  | 4 | 6 | 0.054026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-31_0_4_line_6 |  | 5 | 7 | 0.026805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-31_0_4_line_7 |  | 5 | 8 | 0.028711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-31_0_4_line_8 |  | 6 | 9 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-31_0_4_line_9 |  | 7 | 10 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-31_0_4_line_10 |  | 8 | 11 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-31_0_4_line_11 |  | 9 | 34 | 0.012181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-31_0_4_line_12 |  | 10 | 29 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-31_0_4_line_13 |  | 11 | 22 | 0.01451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-31_0_4_line_14 |  | 11 | 21 | 0.034985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1711-31_0_4_line_15 |  | 12 | 13 | 0.028758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-31_0_4_line_16 |  | 12 | 14 | 0.047949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1711-31_0_4_line_17 |  | 14 | 15 | 0.068966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1711-31_0_4_line_18 |  | 15 | 16 | 0.017267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1711-31_0_4_line_19 |  | 15 | 17 | 0.09707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1711-31_0_4_line_20 |  | 16 | 18 | 0.011612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1711-31_0_4_line_21 |  | 17 | 19 | 0.031045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-31_0_4_line_22 |  | 18 | 20 | 0.034896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1711-31_0_4_line_23 |  | 19 | 28 | 0.0037331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-31_0_4_line_24 |  | 20 | 21 | 0.0074064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1711-31_0_4_line_25 |  | 22 | 23 | 0.02772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-31_0_4_line_26 |  | 23 | 24 | 0.0098599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-31_0_4_line_27 |  | 24 | 25 | 0.022511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-31_0_4_line_28 |  | 25 | 26 | 0.013151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-31_0_4_line_29 |  | 26 | 27 | 0.046299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-31_0_4_line_30 |  | 29 | 30 | 0.015354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-31_0_4_line_31 |  | 30 | 31 | 0.0074361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-31_0_4_line_32 |  | 31 | 32 | 0.022533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-31_0_4_line_33 |  | 32 | 33 | 0.0018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-31_0_4_line_34 |  | 33 | 35 | 0.012411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-31_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 36 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2682046.1574 | 1224989.8716 | 2682027.9723 | 1224971.2924
1 | 2682016.7963 | 1224959.8741 | 2682027.9723 | 1224971.2924
2 | 2682003.7135 | 1224946.5079 | 2682016.7963 | 1224959.8741
3 | 2682003.7135 | 1224946.5079 | 2682005.1261 | 1224938.5023
4 | 2681993.1734 | 1224988.3799 | 2681996.856 | 1224981.3926 | 2682003.7135 | 1224946.5079
5 | 2682015.4949 | 1224885.5622 | 2682013.5093 | 1224890.9941 | 2682005.1261 | 1224938.5023
6 | 2681993.1734 | 1224988.3799 | 2681981.5448 | 1224985.4511 | 2681968.9527 | 1224977.6491
7 | 2681993.1734 | 1224988.3799 | 2681981.114 | 1225005.7033 | 2681976.3136 | 1225011.5999
8 | 2682015.4949 | 1224885.5622 | 2681998.3254 | 1224885.7925
9 | 2681957.8466 | 1224969.2249 | 2681957.8466 | 1224969.2249 | 2681964.9902 | 1224975.194 | 2681968.9527 | 1224977.6491
10 | 2681966.1159 | 1225020.6069 | 2681971.0258 | 1225018.095 | 2681976.3136 | 1225011.5999
11 | 2681998.3254 | 1224885.7925 | 2681991.7655 | 1224885.88 | 2681986.3337 | 1224884.4375
12 | 2681957.8466 | 1224969.2249 | 2681951.6873 | 1224958.3995
13 | 2681966.1159 | 1225020.6069 | 2681957.6581 | 1225019.7788 | 2681951.8372 | 1225018.2769
14 | 2681966.1159 | 1225020.6069 | 2681964.0205 | 1225038.9683 | 2681964.4149 | 1225055.4627
15 | 2681817.5193 | 1225012.0296 | 2681827.5406 | 1225038.9852
16 | 2681844.2492 | 1225083.9286 | 2681827.5406 | 1225038.9852
17 | 2681844.2492 | 1225083.9286 | 2681886.4735 | 1225077.327 | 2681905.7134 | 1225073.1667 | 2681910.797 | 1225069.045
18 | 2681927.546 | 1225073.434 | 2681920.1656 | 1225071.4533 | 2681910.797 | 1225069.045
19 | 2681910.797 | 1225069.045 | 2681911.0493 | 1225064.4898 | 2681909.6267 | 1225060.9789 | 2681857.2145 | 1224989.3958
20 | 2681927.546 | 1225073.434 | 2681925.5882 | 1225061.9882
21 | 2681838.8742 | 1224964.3471 | 2681857.2145 | 1224989.3958
22 | 2681925.5882 | 1225061.9882 | 2681946.2878 | 1225066.3538 | 2681958.0663 | 1225059.277
23 | 2681838.8742 | 1224964.3471 | 2681836.6689 | 1224961.3351
24 | 2681964.4149 | 1225055.4627 | 2681958.0663 | 1225059.277
25 | 2681925.5527 | 1225009.6249 | 2681939.7672 | 1225015.1627 | 2681951.8372 | 1225018.2769
26 | 2681925.5527 | 1225009.6249 | 2681916.3654 | 1225006.0456
27 | 2681898.3987 | 1224992.7613 | 2681906.1795 | 1225000.2126 | 2681916.3654 | 1225006.0456 | 2681916.3654 | 1225006.0456
28 | 2681890.2995 | 1224982.4537 | 2681896.0843 | 1224990.5449 | 2681898.3987 | 1224992.7613
29 | 2681863.3726 | 1224944.7903 | 2681890.2995 | 1224982.4537
30 | 2681948.3998 | 1224943.4014 | 2681951.6873 | 1224958.3995 | 2681951.6873 | 1224958.3995
31 | 2681948.3998 | 1224943.4014 | 2681946.8076 | 1224936.1378
32 | 2681946.8076 | 1224936.1378 | 2681941.983 | 1224914.1271
33 | 2681941.5963 | 1224912.3632 | 2681941.983 | 1224914.1271
34 | 2681938.939 | 1224900.2402 | 2681941.5963 | 1224912.3632

## bus_geodata
| x | y | coords
0 | 2682046.1574 | 1224989.8716
1 | 2682027.9723 | 1224971.2924
2 | 2682016.7963 | 1224959.8741
3 | 2682003.7135 | 1224946.5079
4 | 2682005.1261 | 1224938.5023
5 | 2681993.1734 | 1224988.3799
6 | 2682015.4949 | 1224885.5622
7 | 2681968.9527 | 1224977.6491
8 | 2681976.3136 | 1225011.5999
9 | 2681998.3254 | 1224885.7925
10 | 2681957.8466 | 1224969.2249
11 | 2681966.1159 | 1225020.6069
12 | 2681827.5406 | 1225038.9852
13 | 2681817.5193 | 1225012.0296
14 | 2681844.2492 | 1225083.9286
15 | 2681910.797 | 1225069.0449
16 | 2681927.546 | 1225073.434
17 | 2681857.2145 | 1224989.3958
18 | 2681925.5882 | 1225061.9882
19 | 2681838.8742 | 1224964.3471
20 | 2681958.0663 | 1225059.2771
21 | 2681964.4149 | 1225055.4627
22 | 2681951.8372 | 1225018.2769
23 | 2681925.5527 | 1225009.6249
24 | 2681916.3654 | 1225006.0456
25 | 2681898.3987 | 1224992.7613
26 | 2681890.2995 | 1224982.4537
27 | 2681863.3726 | 1224944.7903
28 | 2681836.6689 | 1224961.3351
29 | 2681951.6873 | 1224958.3995
30 | 2681948.3998 | 1224943.4014
31 | 2681946.8076 | 1224936.1378
32 | 2681941.983 | 1224914.1271
33 | 2681941.5963 | 1224912.3632
34 | 2681986.3337 | 1224884.4375
35 | 2681938.939 | 1224900.2402
36 | 2681827.3972 | 1224948.672

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97902 | -0.40312 | 0.0053889 | 0.0013506
1 | 0.97915 | -0.40057 | 0.0061833 | 0.0015497
2 | 0.97932 | -0.39721 | 0.0037435 | 0.00093821
3 | 0.97959 | -0.39201 | 0 | 0
4 | 0.97946 | -0.39447 | 0.0052705 | 0.0013209
5 | 0.98088 | -0.36677 | 0 | 0
6 | 0.97889 | -0.4057 | 0 | 0
7 | 0.98035 | -0.37713 | 0.0025026 | 0.00062722
8 | 0.98229 | -0.33905 | 0.0025435 | 0.00063746
9 | 0.97871 | -0.40926 | 0 | 0
10 | 0.9801 | -0.3819 | 0.0035806 | 0.00089738
11 | 0.98301 | -0.32503 | 0 | 0
12 | 0.98293 | -0.32714 | 0.0753 | 0.018872
13 | 0.98081 | -0.36866 | 0.079857 | 0.020014
14 | 0.98637 | -0.26026 | 0 | 0
15 | 0.98966 | -0.19657 | 0 | 0
16 | 0.98865 | -0.21603 | 0 | 0
17 | 1 | 0 | -0.40961 | -0.10473
18 | 0.98797 | -0.22914 | 0.015655 | 0.0039235
19 | 0.9984 | -0.030684 | 0.020118 | 0.005042
20 | 0.98609 | -0.26538 | 0.0079134 | 0.0019833
21 | 0.98571 | -0.27274 | 0 | 0
22 | 0.98153 | -0.35394 | 0.0055748 | 0.0013972
23 | 0.97883 | -0.40661 | 0.0017077 | 0.00042798
24 | 0.97789 | -0.42511 | 0.031809 | 0.0079721
25 | 0.9764 | -0.45437 | 0.056336 | 0.014119
26 | 0.97622 | -0.45794 | 0.0053772 | 0.0013476
27 | 0.97581 | -0.46598 | 0.0094924 | 0.002379
28 | 0.99828 | -0.033066 | 0.036497 | 0.0091471
29 | 0.97993 | -0.38535 | 0.0034878 | 0.00087412
30 | 0.97976 | -0.38863 | 0.0017978 | 0.00045057
31 | 0.97969 | -0.38998 | 0.0031519 | 0.00078994
32 | 0.97955 | -0.39276 | 0.0020767 | 0.00052046
33 | 0.97954 | -0.39292 | 0.0032114 | 0.00080485
34 | 0.97858 | -0.4118 | 0.011433 | 0.0028654
35 | 0.97952 | -0.39326 | 0.0015241 | 0.00038198
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0053889 | -0.0013506 | 0.0053895 | 0.0013507 | 6.5402e-07 | 9.1617e-08 | 0.0081906 | 0.0081905 | 0.0081906 | 0.97902 | -0.40312 | 0.97915 | -0.40057 | 2.2502
1 | -0.011573 | -0.0029004 | 0.011575 | 0.0029013 | 1.8532e-06 | 9.8507e-07 | 0.017587 | 0.017587 | 0.017587 | 0.97915 | -0.40057 | 0.97932 | -0.39721 | 4.8316
2 | -0.015318 | -0.0038395 | 0.015322 | 0.0038417 | 3.7996e-06 | 2.1963e-06 | 0.023275 | 0.023275 | 0.023275 | 0.97932 | -0.39721 | 0.97959 | -0.39201 | 6.3943
3 | 0.016715 | 0.0041925 | -0.016713 | -0.0041913 | 1.9655e-06 | 1.1556e-06 | 0.025392 | 0.025392 | 0.025392 | 0.97959 | -0.39201 | 0.97946 | -0.39447 | 6.9758
4 | -0.032037 | -0.0080342 | 0.032076 | 0.0080584 | 3.8591e-05 | 2.415e-05 | 0.048667 | 0.048667 | 0.048667 | 0.97959 | -0.39201 | 0.98088 | -0.36677 | 13.37
5 | 0.011443 | 0.0028704 | -0.011436 | -0.0028672 | 6.1232e-06 | 3.2393e-06 | 0.017385 | 0.017385 | 0.017385 | 0.97946 | -0.39447 | 0.97889 | -0.4057 | 4.7761
6 | 0.021354 | 0.0053584 | -0.021343 | -0.005352 | 1.055e-05 | 6.4137e-06 | 0.032396 | 0.032397 | 0.032397 | 0.98088 | -0.36677 | 0.98035 | -0.37713 | 8.9002
7 | -0.053429 | -0.013417 | 0.0535 | 0.013462 | 7.075e-05 | 4.4917e-05 | 0.081063 | 0.081063 | 0.081063 | 0.98088 | -0.36677 | 0.98229 | -0.33905 | 22.2701
8 | 0.011436 | 0.0028672 | -0.011435 | -0.0028662 | 1.9405e-06 | 1.0267e-06 | 0.017385 | 0.017385 | 0.017385 | 0.97889 | -0.4057 | 0.97871 | -0.40926 | 4.7761
9 | 0.01884 | 0.0047248 | -0.018836 | -0.0047222 | 4.2847e-06 | 2.5661e-06 | 0.028598 | 0.028598 | 0.028598 | 0.98035 | -0.37713 | 0.9801 | -0.3819 | 7.8566
10 | -0.056044 | -0.014099 | 0.056081 | 0.014123 | 3.756e-05 | 2.3863e-05 | 0.084916 | 0.084916 | 0.084916 | 0.98229 | -0.33905 | 0.98301 | -0.32503 | 23.3286
11 | 0.011435 | 0.0028662 | -0.011433 | -0.0028654 | 1.3806e-06 | 7.3051e-07 | 0.017385 | 0.017385 | 0.017385 | 0.97871 | -0.40926 | 0.97858 | -0.4118 | 4.7761
12 | 0.015256 | 0.0038248 | -0.015253 | -0.0038234 | 2.5057e-06 | 1.4467e-06 | 0.023162 | 0.023162 | 0.023162 | 0.9801 | -0.3819 | 0.97993 | -0.38535 | 6.3632
13 | 0.11091 | 0.028035 | -0.11076 | -0.027937 | 0.00015353 | 9.8075e-05 | 0.16798 | 0.16798 | 0.16798 | 0.98301 | -0.32503 | 0.98153 | -0.35394 | 46.1473
14 | -0.16699 | -0.042158 | 0.16741 | 0.042425 | 0.00041952 | 0.0002676 | 0.25289 | 0.25289 | 0.25289 | 0.98301 | -0.32503 | 0.98571 | -0.27274 | 34.7379
15 | 0.080015 | 0.020115 | -0.079857 | -0.020014 | 0.00015829 | 0.00010094 | 0.12115 | 0.12115 | 0.12115 | 0.98293 | -0.32714 | 0.98081 | -0.36866 | 33.284
16 | -0.15532 | -0.038987 | 0.15581 | 0.039304 | 0.00049712 | 0.00031693 | 0.23515 | 0.23515 | 0.23515 | 0.98293 | -0.32714 | 0.98637 | -0.26026 | 32.3004
17 | -0.15581 | -0.039304 | 0.15629 | 0.039606 | 0.00047668 | 0.00030242 | 0.23515 | 0.23515 | 0.23515 | 0.98637 | -0.26026 | 0.98966 | -0.19657 | 21.5336
18 | 0.19165 | 0.048755 | -0.19147 | -0.048641 | 0.00017953 | 0.00011424 | 0.28841 | 0.28841 | 0.28841 | 0.98966 | -0.19657 | 0.98865 | -0.21603 | 26.4112
19 | -0.34794 | -0.088362 | 0.35126 | 0.090487 | 0.003326 | 0.0021248 | 0.52356 | 0.52355 | 0.52356 | 0.98966 | -0.19657 | 1 | 0 | 47.9447
20 | 0.19147 | 0.048641 | -0.19135 | -0.048564 | 0.00012074 | 7.6825e-05 | 0.28841 | 0.28841 | 0.28841 | 0.98865 | -0.21603 | 0.98797 | -0.22914 | 26.4112
21 | 0.056702 | 0.014244 | -0.056619 | -0.014192 | 8.2901e-05 | 5.265e-05 | 0.084385 | 0.084385 | 0.084385 | 1 | 0 | 0.9984 | -0.030684 | 23.1828
22 | 0.17569 | 0.044641 | -0.17539 | -0.044446 | 0.00030593 | 0.00019446 | 0.26483 | 0.26483 | 0.26483 | 0.98797 | -0.22914 | 0.98609 | -0.26538 | 24.2521
23 | 0.036501 | 0.0091497 | -0.036497 | -0.0091471 | 4.1431e-06 | 2.6028e-06 | 0.054402 | 0.054402 | 0.054402 | 0.9984 | -0.030684 | 0.99828 | -0.033066 | 14.9456
24 | 0.16747 | 0.042463 | -0.16741 | -0.042425 | 5.9209e-05 | 3.761e-05 | 0.25289 | 0.25289 | 0.25289 | 0.98609 | -0.26538 | 0.98571 | -0.27274 | 23.1586
25 | 0.10518 | 0.02654 | -0.10492 | -0.026371 | 0.00026454 | 0.00016895 | 0.15952 | 0.15952 | 0.15952 | 0.98153 | -0.35394 | 0.97883 | -0.40661 | 43.8255
26 | 0.10321 | 0.025943 | -0.10312 | -0.025885 | 9.1056e-05 | 5.8152e-05 | 0.15693 | 0.15693 | 0.15693 | 0.97883 | -0.40661 | 0.97789 | -0.42511 | 43.1123
27 | 0.071311 | 0.017912 | -0.071212 | -0.017849 | 9.9425e-05 | 6.335e-05 | 0.10853 | 0.10853 | 0.10853 | 0.97789 | -0.42511 | 0.9764 | -0.45437 | 29.8149
28 | 0.014876 | 0.0037299 | -0.014873 | -0.0037284 | 2.5347e-06 | 1.4578e-06 | 0.022671 | 0.022671 | 0.022671 | 0.9764 | -0.45437 | 0.97622 | -0.45794 | 6.2283
29 | 0.0094961 | 0.0023808 | -0.0094924 | -0.002379 | 3.6378e-06 | 1.7496e-06 | 0.014475 | 0.014475 | 0.014475 | 0.97622 | -0.45794 | 0.97581 | -0.46598 | 3.9767
30 | 0.011765 | 0.0029492 | -0.011763 | -0.0029483 | 1.8378e-06 | 9.828e-07 | 0.017866 | 0.017866 | 0.017866 | 0.97993 | -0.38535 | 0.97976 | -0.38863 | 4.9082
31 | 0.0099657 | 0.0024977 | -0.009965 | -0.0024974 | 6.388e-07 | 3.1519e-07 | 0.015135 | 0.015135 | 0.015135 | 0.97976 | -0.38863 | 0.97969 | -0.38998 | 4.1581
32 | 0.0068131 | 0.0017074 | -0.0068122 | -0.0017072 | 9.0487e-07 | 2.9543e-07 | 0.010348 | 0.010348 | 0.010348 | 0.97969 | -0.38998 | 0.97955 | -0.39276 | 2.8429
33 | 0.0047356 | 0.0011867 | -0.0047355 | -0.0011867 | 3.5044e-08 | -3.0407e-10 | 0.0071937 | 0.0071937 | 0.0071937 | 0.97955 | -0.39276 | 0.97954 | -0.39292 | 1.9763
34 | 0.0015241 | 0.00038184 | -0.0015241 | -0.00038198 | 2.4948e-08 | -1.4026e-07 | 0.0023152 | 0.0023153 | 0.0023153 | 0.97954 | -0.39292 | 0.97952 | -0.39326 | 0.63607

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43042 | 0.10995

## res_load
| p_mw | q_mvar
0 | 0.0053889 | 0.0013506
1 | 0.0061833 | 0.0015497
2 | 0.0037435 | 0.00093821
3 | 0.0052705 | 0.0013209
4 | 0.0025026 | 0.00062722
5 | 0.0025435 | 0.00063746
6 | 0.0035806 | 0.00089738
7 | 0.0753 | 0.018872
8 | 0.079857 | 0.020014
9 | 0.020808 | 0.0052151
10 | 0.015655 | 0.0039235
11 | 0.020118 | 0.005042
12 | 0.0079134 | 0.0019833
13 | 0.0055748 | 0.0013972
14 | 0.0017077 | 0.00042798
15 | 0.031809 | 0.0079721
16 | 0.056336 | 0.014119
17 | 0.0053772 | 0.0013476
18 | 0.0094924 | 0.002379
19 | 0.036497 | 0.0091471
20 | 0.0034878 | 0.00087412
21 | 0.0017978 | 0.00045057
22 | 0.0031519 | 0.00078994
23 | 0.0020767 | 0.00052046
24 | 0.0032114 | 0.00080485
25 | 0.011433 | 0.0028654
26 | 0.0015241 | 0.00038198

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1