## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-33_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-33_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-33_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-33_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-33_0_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1711-33_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1711-33_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1711-33_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1711-33_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1711-33_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1711-33_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1711-33_0_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1711-33_0_2_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1711-33_0_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1711-33_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1711-33_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1711-33_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1711-33_0_2_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1711-33_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1711-33_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1711-33_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1711-33_0_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1711-33_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1711-33_0_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1711-33_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1711-33_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1711-33_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1711-33_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1711-33_0_2_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1711-33_0_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1711-33_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1711-33_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_MV_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-33_0_2_load_0 | 0 | 0.00062768 | 0.00015731 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-33_0_2_load_9 | 5 | 0.00054304 | 0.0001361 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-33_0_2_load_10 | 7 | 0.001084 | 0.00027167 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-33_0_2_load_8 | 9 | 0.0046381 | 0.0011624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-33_0_2_load_25 | 11 | 0.00071166 | 0.00017836 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-33_0_2_load_33 | 12 | 0.00024755 | 6.2041e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-33_0_2_load_15 | 15 | 0.00062824 | 0.00015745 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-33_0_2_load_11 | 16 | 0.00040272 | 0.00010093 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-33_0_2_load_22 | 17 | 0.0019092 | 0.00047849 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-33_0_2_load_12 | 18 | 0.00042151 | 0.00010564 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-33_0_2_load_14 | 19 | 0.0018903 | 0.00047376 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-33_0_2_load_19 | 20 | 0.0010283 | 0.00025773 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-33_0_2_load_26 | 21 | 0.0015341 | 0.00038448 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-33_0_2_load_27 | 23 | 0.00017273 | 4.329e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-33_0_2_load_23 | 24 | 0.00063222 | 0.00015845 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-33_0_2_load_21 | 25 | 0.0009971 | 0.0002499 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-33_0_2_load_24 | 26 | 0.0043976 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-33_0_2_load_32 | 28 | 0.00048054 | 0.00012043 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-33_0_2_load_29 | 29 | 0.00032705 | 8.1966e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-33_0_2_load_30 | 30 | 0.00041538 | 0.0001041 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-33_0_2_load_31 | 31 | 0.00043014 | 0.0001078 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-33_0_2_line_0 |  | 0 | 1 | 0.20309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-33_0_2_line_1 |  | 0 | 2 | 0.30462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-33_0_2_line_2 |  | 1 | 3 | 0.009482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-33_0_2_line_3 |  | 2 | 4 | 0.25998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-33_0_2_line_4 |  | 3 | 5 | 0.27875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-33_0_2_line_5 |  | 4 | 13 | 0.69827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-33_0_2_line_6 |  | 5 | 9 | 0.088978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-33_0_2_line_7 |  | 6 | 7 | 0.20563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-33_0_2_line_8 |  | 6 | 8 | 0.1858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-33_0_2_line_9 |  | 6 | 9 | 0.063708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-33_0_2_line_10 |  | 8 | 10 | 0.80548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-33_0_2_line_11 |  | 8 | 11 | 0.40141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-33_0_2_line_12 |  | 10 | 12 | 0.12955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-33_0_2_line_13 |  | 13 | 17 | 0.08685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-33_0_2_line_14 |  | 13 | 14 | 0.27136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-33_0_2_line_15 |  | 14 | 15 | 0.76577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-33_0_2_line_16 |  | 14 | 16 | 0.42671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-33_0_2_line_17 |  | 15 | 21 | 0.045557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-33_0_2_line_18 |  | 16 | 18 | 0.0014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-33_0_2_line_19 |  | 17 | 24 | 0.049433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-33_0_2_line_20 |  | 18 | 19 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-33_0_2_line_21 |  | 19 | 20 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-33_0_2_line_22 |  | 20 | 22 | 0.12789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-33_0_2_line_23 |  | 21 | 23 | 0.037294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-33_0_2_line_24 |  | 22 | 25 | 0.022698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-33_0_2_line_25 |  | 23 | 27 | 0.012988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-33_0_2_line_26 |  | 24 | 26 | 0.015792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-33_0_2_line_27 |  | 27 | 28 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-33_0_2_line_28 |  | 27 | 29 | 0.070039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-33_0_2_line_29 |  | 29 | 30 | 0.015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-33_0_2_line_30 |  | 30 | 31 | 0.0035734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-33_0_2_trafo_7 | 0.63 MVA 20/0.4 kV | 32 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39
0 | 2683050.0613 | 1220379.2764 | 2683028.0767 | 1220386.4859 | 2683013.2083 | 1220399.7877 | 2682984.222 | 1220415.0274 | 2682960.1326 | 1220423.5531 | 2682935.2238 | 1220427.7202 | 2682887.8255 | 1220421.4341 | 2682869.5614 | 1220425.227 | 2682859.5868 | 1220425.4946
1 | 2682582.6379 | 1220308.5647 | 2682589.9223 | 1220309.6775 | 2682603.1777 | 1220315.7765 | 2682635.716 | 1220335.9746 | 2682664.5037 | 1220350.3058 | 2682678.1611 | 1220358.5897 | 2682735.4313 | 1220393.3303 | 2682742.7468 | 1220395.4666 | 2682777.571 | 1220405.6461 | 2682801.3469 | 1220407.6445 | 2682832.1321 | 1220415.2442 | 2682854.281 | 1220425.637 | 2682859.5868 | 1220425.4946
2 | 2683050.0613 | 1220379.2764 | 2683055.4001 | 1220387.1228
3 | 2682582.6379 | 1220308.5647 | 2682582.8001 | 1220361.9693 | 2682606.7047 | 1220458.065 | 2682587.9493 | 1220538.3253 | 2682593.2462 | 1220562.893
4 | 2683055.4001 | 1220387.1228 | 2683071.4459 | 1220410.7179 | 2683081.9037 | 1220433.9904 | 2683083.2167 | 1220442.1253 | 2683079.2202 | 1220451.1979 | 2683063.0587 | 1220486.485 | 2683059.5541 | 1220497.2879 | 2683064.243 | 1220503.8465 | 2683073.6085 | 1220510.7706 | 2683091.3543 | 1220515.2878 | 2683190.8496 | 1220517.2777 | 2683206.168 | 1220528.2435
5 | 2682412.6485 | 1220754.7202 | 2682421.4662 | 1220786.4412 | 2682438.2211 | 1220791.7989 | 2682445.5304 | 1220797.6484 | 2682457.9767 | 1220814.9767 | 2682520.2287 | 1220865.5837 | 2682549.7738 | 1220896.258 | 2682562.5863 | 1220902.462 | 2682580.6182 | 1220903.8017 | 2682599.6123 | 1220910.703 | 2682619.3743 | 1220927.3327 | 2682633.6473 | 1220932.712 | 2682647.9184 | 1220937.1352 | 2682641.1624 | 1220906.7656 | 2682630.4544 | 1220871.3933 | 2682625.5823 | 1220851.7793 | 2682623.6125 | 1220824.2335 | 2682631.381 | 1220792.0641 | 2682635.2888 | 1220766.9015 | 2682634.9058 | 1220729.9937 | 2682629.5507 | 1220680.6642 | 2682612.4639 | 1220617.1958 | 2682608.6313 | 1220611.7835 | 2682601.5687 | 1220601.8233 | 2682594.9095 | 1220583.0184 | 2682593.2462 | 1220562.893
6 | 2683206.168 | 1220528.2435 | 2683241.1698 | 1220528.3325 | 2683267.9122 | 1220536.823 | 2683289.9352 | 1220550.4884
7 | 2683351.3151 | 1220566.854 | 2683312.7695 | 1220595.0003 | 2683298.985 | 1220608.9169 | 2683282.5481 | 1220616.0919 | 2683263.1246 | 1220617.6325 | 2683243.4266 | 1220618.7246 | 2683214.0712 | 1220623.4844 | 2683180.0995 | 1220629.5473 | 2683164.8929 | 1220636.9585
8 | 2683338.9604 | 1220397.8567 | 2683344.0291 | 1220438.5215 | 2683352.8913 | 1220464.5741 | 2683366.3092 | 1220495.2935 | 2683377.5202 | 1220525.3817 | 2683376.8492 | 1220536.9912 | 2683369.8722 | 1220550.2581 | 2683361.2322 | 1220559.8325 | 2683351.3151 | 1220566.854
9 | 2683351.3151 | 1220566.854 | 2683293.3385 | 1220552.6002 | 2683289.9352 | 1220550.4884
10 | 2683117.7578 | 1219716.4325 | 2683135.031 | 1219748.9841 | 2683142.3506 | 1219751.966 | 2683147.9695 | 1219759.8942 | 2683152.0475 | 1219781.4322 | 2683172.7254 | 1219809.2616 | 2683187.5842 | 1219805.4665 | 2683190.58 | 1219812.1128 | 2683245.0138 | 1219830.6188 | 2683286.7866 | 1219869.3841 | 2683313.245 | 1219907.6019 | 2683321.5555 | 1219954.7163 | 2683316.7462 | 1219984.4022 | 2683315.9089 | 1219988.9269 | 2683309.1685 | 1220019.9645 | 2683282.2037 | 1220056.5009 | 2683274.0942 | 1220108.9449 | 2683273.5037 | 1220154.9563 | 2683284.4785 | 1220192.2458 | 2683303.2884 | 1220269.9053 | 2683308.5775 | 1220294.3067 | 2683308.848 | 1220304.7953 | 2683312.2141 | 1220316.4057 | 2683322.8052 | 1220347.4524 | 2683333.5496 | 1220380.5471 | 2683338.9604 | 1220397.8567
11 | 2683338.9604 | 1220397.8567 | 2683344.2616 | 1220391.0151 | 2683374.4378 | 1220361.8734 | 2683403.0748 | 1220344.5737 | 2683472.0131 | 1220306.6916 | 2683514.125 | 1220289.5592 | 2683544.6373 | 1220265.7599 | 2683576.5717 | 1220244.4602 | 2683605.6281 | 1220220.6186 | 2683623.2229 | 1220211.6151 | 2683642.7952 | 1220208.7657 | 2683665.1961 | 1220207.1347 | 2683677.9623 | 1220196.5932
12 | 2683117.7578 | 1219716.4325 | 2683095.9164 | 1219742.0227 | 2683051.3164 | 1219769.2302 | 2683015.4702 | 1219789.1105 | 2683014.5032 | 1219791.6014
13 | 2682412.6485 | 1220754.7202 | 2682405.258 | 1220697.7243 | 2682405.6534 | 1220668.3505
14 | 2682213.2184 | 1220635.3625 | 2682220.504 | 1220631.416 | 2682232.8836 | 1220630.0304 | 2682238.5963 | 1220637.7811 | 2682241.2016 | 1220650.7702 | 2682246.8878 | 1220659.8881 | 2682266.6525 | 1220680.8417 | 2682278.9598 | 1220699.502 | 2682287.9865 | 1220727.134 | 2682294.1676 | 1220735.5695 | 2682305.6321 | 1220741.0871 | 2682365.3446 | 1220757.1231 | 2682383.3947 | 1220764.8557 | 2682403.6907 | 1220762.1679 | 2682412.6485 | 1220754.7202
15 | 2682213.2184 | 1220635.3625 | 2682187.3038 | 1220648.7361 | 2682166.4505 | 1220655.4974 | 2682155.864 | 1220655.0734 | 2682147.1652 | 1220650.9062 | 2682135.584 | 1220640.0837 | 2682129.9597 | 1220629.7659 | 2682129.4522 | 1220612.6475 | 2682125.7148 | 1220595.3511 | 2682121.3422 | 1220579.5469 | 2682111.4428 | 1220567.8026 | 2682100.5285 | 1220564.172 | 2682089.4663 | 1220565.765 | 2682054.4553 | 1220574.6331 | 2682035.2669 | 1220581.7069 | 2681993.1506 | 1220609.0008 | 2681983.1277 | 1220612.2651 | 2681971.2437 | 1220611.8346 | 2681958.7892 | 1220603.7801 | 2681947.0723 | 1220590.6546 | 2681929.9878 | 1220564.5132 | 2681911.9931 | 1220542.1953 | 2681873.3141 | 1220502.1925 | 2681848.6405 | 1220481.0616 | 2681814.2001 | 1220453.37 | 2681801.1518 | 1220447.6315 | 2681791.1147 | 1220449.1613 | 2681787.7094 | 1220454.0067 | 2681787.0348 | 1220464.4489 | 2681792.6436 | 1220479.2691 | 2681816.0655 | 1220497.0804 | 2681822.8253 | 1220508.7476 | 2681823.7157 | 1220519.6004 | 2681817.8255 | 1220531.3385 | 2681803.3003 | 1220550.2628 | 2681794.4675 | 1220558.0356 | 2681775.9013 | 1220567.3424 | 2681763.1394 | 1220568.3902 | 2681734.9384 | 1220560.9983 | 2681733.3444 | 1220560.1001
16 | 2682213.2184 | 1220635.3625 | 2682203.6997 | 1220631.7844 | 2682193.7954 | 1220625.3545 | 2682179.007 | 1220613.8094 | 2682171.7181 | 1220603.1462 | 2682168.7366 | 1220593.7655 | 2682168.6843 | 1220559.0749 | 2682167.2124 | 1220550.271 | 2682159.0514 | 1220536.8161 | 2682149.5118 | 1220529.7909 | 2682126.6944 | 1220522.6938 | 2682101.9159 | 1220520.2395 | 2682048.3519 | 1220525.2827 | 2682038.5869 | 1220523.5916 | 2682028.3988 | 1220519.5597 | 2682016.0704 | 1220511.1621 | 2682004.8538 | 1220493.6627 | 2681995.2852 | 1220461.176 | 2681988.043 | 1220425.0522 | 2681986.8602 | 1220406.2456 | 2681988.526 | 1220395.4835 | 2681991.677 | 1220387.0768 | 2681999.4412 | 1220374.2863 | 2682005.4182 | 1220368.2943
17 | 2681700.1858 | 1220530.399 | 2681705.0718 | 1220540.0635 | 2681724.6229 | 1220555.1862 | 2681733.3444 | 1220560.1001
18 | 2682006.443 | 1220367.2669 | 2682005.4182 | 1220368.2943
19 | 2682407.7393 | 1220618.9672 | 2682405.7911 | 1220658.1163 | 2682405.6534 | 1220668.3505
20 | 2682006.443 | 1220367.2669 | 2682006.443 | 1220367.2669 | 2682022.291 | 1220360.1972
21 | 2682040.0662 | 1220355.7683 | 2682025.3015 | 1220358.8542 | 2682022.291 | 1220360.1972
22 | 2682090.3535 | 1220261.4852 | 2682095.281 | 1220280.5436 | 2682096.7707 | 1220293.5728 | 2682094.7047 | 1220311.334 | 2682086.2788 | 1220333.5661 | 2682076.7135 | 1220344.8863 | 2682068.2218 | 1220349.8838 | 2682040.0662 | 1220355.7683
23 | 2681700.1858 | 1220530.399 | 2681685.0965 | 1220500.5521 | 2681682.4808 | 1220497.7275
24 | 2682090.3535 | 1220261.4852 | 2682076.6128 | 1220243.4182
25 | 2681673.6565 | 1220488.1981 | 2681682.4808 | 1220497.7275
26 | 2682408.5242 | 1220603.1951 | 2682407.7393 | 1220618.9672
27 | 2681673.6565 | 1220488.1981 | 2681660.3857 | 1220480.0205
28 | 2681673.6565 | 1220488.1981 | 2681703.5454 | 1220451.1388 | 2681704.503 | 1220446.6045 | 2681704.0204 | 1220442.5174 | 2681701.766 | 1220429.0258
29 | 2681701.766 | 1220429.0258 | 2681701.4469 | 1220427.1162 | 2681703.1439 | 1220414.0287
30 | 2681703.6034 | 1220410.485 | 2681703.1439 | 1220414.0287

## bus_geodata
| x | y | coords
0 | 2682859.5868 | 1220425.4946
1 | 2683050.0613 | 1220379.2764
2 | 2682582.6379 | 1220308.5647
3 | 2683055.4001 | 1220387.1228
4 | 2682593.2462 | 1220562.893
5 | 2683206.168 | 1220528.2435
6 | 2683351.3151 | 1220566.854
7 | 2683164.8929 | 1220636.9585
8 | 2683338.9604 | 1220397.8567
9 | 2683289.9352 | 1220550.4884
10 | 2683117.7578 | 1219716.4325
11 | 2683677.9623 | 1220196.5932
12 | 2683014.5032 | 1219791.6014
13 | 2682412.6485 | 1220754.7202
14 | 2682213.2184 | 1220635.3625
15 | 2681733.3444 | 1220560.1001
16 | 2682005.4182 | 1220368.2943
17 | 2682405.6534 | 1220668.3505
18 | 2682006.443 | 1220367.2669
19 | 2682022.291 | 1220360.1972
20 | 2682040.0662 | 1220355.7683
21 | 2681700.1858 | 1220530.399
22 | 2682090.3535 | 1220261.4852
23 | 2681682.4808 | 1220497.7275
24 | 2682407.7393 | 1220618.9672
25 | 2682076.6128 | 1220243.4182
26 | 2682408.5242 | 1220603.1951
27 | 2681673.6565 | 1220488.1981
28 | 2681660.3857 | 1220480.0205
29 | 2681701.766 | 1220429.0258
30 | 2681703.1439 | 1220414.0287
31 | 2681703.6034 | 1220410.485
32 | 2682593.2462 | 1220562.893

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99596 | -0.078453 | 0.00062768 | 0.00015731
1 | 0.99462 | -0.10454 | 0 | 0
2 | 0.99814 | -0.03607 | 0 | 0
3 | 0.99456 | -0.10576 | 0 | 0
4 | 1 | 0 | -0.025412 | -0.0059775
5 | 0.99272 | -0.14163 | 0.00054304 | 0.0001361
6 | 0.99206 | -0.15462 | 0 | 0
7 | 0.99186 | -0.15858 | 0.001084 | 0.00027167
8 | 0.9919 | -0.15793 | 0 | 0
9 | 0.99218 | -0.15225 | 0.0046381 | 0.0011624
10 | 0.99172 | -0.16172 | 0 | 0
11 | 0.99164 | -0.16304 | 0.00071166 | 0.00017836
12 | 0.99169 | -0.16229 | 0.00024755 | 6.2041e-05
13 | 0.98995 | -0.19356 | 0 | 0
14 | 0.98778 | -0.23605 | 0 | 0
15 | 0.98497 | -0.29102 | 0.00062824 | 0.00015745
16 | 0.98592 | -0.27235 | 0.00040272 | 0.00010093
17 | 0.9894 | -0.20429 | 0.0019092 | 0.00047849
18 | 0.98591 | -0.27246 | 0.00042151 | 0.00010564
19 | 0.98585 | -0.27368 | 0.0018903 | 0.00047376
20 | 0.98582 | -0.27435 | 0.0010283 | 0.00025773
21 | 0.98483 | -0.29378 | 0.0015341 | 0.00038448
22 | 0.9857 | -0.27665 | 0 | 0
23 | 0.98476 | -0.295 | 0.00017273 | 4.329e-05
24 | 0.98917 | -0.20872 | 0.00063222 | 0.00015845
25 | 0.98568 | -0.27705 | 0.0009971 | 0.0002499
26 | 0.98911 | -0.20996 | 0.0043976 | 0.0011021
27 | 0.98474 | -0.29539 | 0 | 0
28 | 0.98474 | -0.29553 | 0.00048054 | 0.00012043
29 | 0.98467 | -0.29687 | 0.00032705 | 8.1966e-05
30 | 0.98466 | -0.2971 | 0.00041538 | 0.0001041
31 | 0.98466 | -0.29713 | 0.00043014 | 0.0001078
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00725 | 0.0017964 | -0.0072411 | -0.0017933 | 8.9245e-06 | 3.0724e-06 | 0.010825 | 0.010826 | 0.010826 | 0.99596 | -0.078453 | 0.99462 | -0.10454 | 2.9741
1 | -0.0078777 | -0.0019537 | 0.0078935 | 0.0019599 | 1.5803e-05 | 6.141e-06 | 0.011762 | 0.011761 | 0.011762 | 0.99596 | -0.078453 | 0.99814 | -0.03607 | 3.2315
2 | 0.0072411 | 0.0017933 | -0.0072407 | -0.0017932 | 4.1671e-07 | 1.4364e-07 | 0.010826 | 0.010826 | 0.010826 | 0.99462 | -0.10454 | 0.99456 | -0.10576 | 2.9741
3 | -0.0078935 | -0.0019599 | 0.007907 | 0.0019651 | 1.3484e-05 | 5.2255e-06 | 0.011761 | 0.01176 | 0.011761 | 0.99814 | -0.03607 | 1 | 0 | 3.2311
4 | 0.0072407 | 0.0017932 | -0.0072284 | -0.001789 | 1.2252e-05 | 4.2306e-06 | 0.010826 | 0.010827 | 0.010827 | 0.99456 | -0.10576 | 0.99272 | -0.14163 | 2.9744
5 | 0.015855 | 0.0040123 | -0.015709 | -0.003928 | 0.00014594 | 8.4334e-05 | 0.023607 | 0.02361 | 0.02361 | 1 | 0 | 0.98995 | -0.19356 | 6.4862
6 | 0.0066854 | 0.0016529 | -0.006682 | -0.0016519 | 3.3455e-06 | 9.9133e-07 | 0.010013 | 0.010013 | 0.010013 | 0.99272 | -0.14163 | 0.99218 | -0.15225 | 2.7509
7 | 0.0010842 | 0.00026914 | -0.001084 | -0.00027167 | 2.038e-07 | -2.524e-06 | 0.0016253 | 0.0016262 | 0.0016262 | 0.99206 | -0.15462 | 0.99186 | -0.15858 | 0.44676
8 | 0.00095957 | 0.00022099 | -0.00095943 | -0.00022329 | 1.4308e-07 | -2.307e-06 | 0.0014326 | 0.0014334 | 0.0014334 | 0.99206 | -0.15462 | 0.9919 | -0.15793 | 0.3938
9 | -0.0020437 | -0.00049013 | 0.002044 | 0.00048945 | 2.2336e-07 | -6.7974e-07 | 0.0030578 | 0.0030575 | 0.0030578 | 0.99206 | -0.15462 | 0.99218 | -0.15225 | 0.84005
10 | 0.00024759 | 5.0005e-05 | -0.00024755 | -6.0373e-05 | 4.1158e-08 | -1.0369e-05 | 0.00036756 | 0.00037085 | 0.00037085 | 0.9919 | -0.15793 | 0.99172 | -0.16172 | 0.10188
11 | 0.00071183 | 0.00017329 | -0.00071166 | -0.00017836 | 1.7137e-07 | -5.0702e-06 | 0.0010661 | 0.0010679 | 0.0010679 | 0.9919 | -0.15793 | 0.99164 | -0.16304 | 0.29338
12 | 0.00024755 | 6.0373e-05 | -0.00024755 | -6.2041e-05 | 6.6919e-09 | -1.6672e-06 | 0.00037085 | 0.00037144 | 0.00037144 | 0.99172 | -0.16172 | 0.99169 | -0.16229 | 0.10204
13 | 0.0069439 | 0.0017402 | -0.0069403 | -0.0017391 | 3.5481e-06 | 1.1548e-06 | 0.010437 | 0.010438 | 0.010438 | 0.98995 | -0.19356 | 0.9894 | -0.20429 | 2.8675
14 | 0.0087655 | 0.0021878 | -0.0087479 | -0.0021799 | 1.7658e-05 | 7.8201e-06 | 0.013172 | 0.013174 | 0.013174 | 0.98995 | -0.19356 | 0.98778 | -0.23605 | 3.6191
15 | 0.0039992 | 0.0009943 | -0.0039888 | -0.00099741 | 1.0419e-05 | -3.1063e-06 | 0.0060218 | 0.0060252 | 0.0060252 | 0.98778 | -0.23605 | 0.98497 | -0.29102 | 1.6553
16 | 0.0047486 | 0.0011856 | -0.0047405 | -0.0011858 | 8.187e-06 | -2.1217e-07 | 0.0071519 | 0.0071538 | 0.0071538 | 0.98778 | -0.23605 | 0.98592 | -0.27235 | 1.9653
17 | 0.0033606 | 0.00083996 | -0.0033601 | -0.00084026 | 4.4022e-07 | -2.9802e-07 | 0.0050761 | 0.0050763 | 0.0050763 | 0.98497 | -0.29102 | 0.98483 | -0.29378 | 1.3946
18 | 0.0043377 | 0.0010849 | -0.0043377 | -0.0010849 | 2.3319e-08 | -3.5818e-09 | 0.006546 | 0.006546 | 0.006546 | 0.98592 | -0.27235 | 0.98591 | -0.27246 | 1.7984
19 | 0.0050311 | 0.0012606 | -0.0050301 | -0.0012606 | 1.0613e-06 | 4.4543e-08 | 0.0075665 | 0.0075667 | 0.0075667 | 0.9894 | -0.20429 | 0.98917 | -0.20872 | 2.0788
20 | 0.0039162 | 0.00097928 | -0.003916 | -0.00097936 | 2.2729e-07 | -7.5816e-08 | 0.0059099 | 0.0059099 | 0.0059099 | 0.98591 | -0.27246 | 0.98585 | -0.27368 | 1.6236
21 | 0.0020256 | 0.00050559 | -0.0020256 | -0.00050579 | 6.4402e-08 | -1.9313e-07 | 0.0030567 | 0.0030568 | 0.0030568 | 0.98585 | -0.27368 | 0.98582 | -0.27435 | 0.83978
22 | 0.00099723 | 0.00024806 | -0.00099712 | -0.00024962 | 1.0861e-07 | -1.5609e-06 | 0.0015046 | 0.0015052 | 0.0015052 | 0.98582 | -0.27435 | 0.9857 | -0.27665 | 0.41351
23 | 0.0018261 | 0.00045578 | -0.001826 | -0.00045619 | 1.0642e-07 | -4.064e-07 | 0.0027584 | 0.0027586 | 0.0027586 | 0.98483 | -0.29378 | 0.98476 | -0.295 | 0.75785
24 | 0.00099712 | 0.00024962 | -0.0009971 | -0.0002499 | 1.9285e-08 | -2.7698e-07 | 0.0015052 | 0.0015053 | 0.0015053 | 0.9857 | -0.27665 | 0.98568 | -0.27705 | 0.41353
25 | 0.0016532 | 0.0004129 | -0.0016532 | -0.00041304 | 3.0382e-08 | -1.4579e-07 | 0.0024976 | 0.0024976 | 0.0024976 | 0.98476 | -0.295 | 0.98474 | -0.29539 | 0.68617
26 | 0.0043978 | 0.0011021 | -0.0043976 | -0.0011021 | 2.5918e-07 | -3.6822e-08 | 0.0066157 | 0.0066157 | 0.0066157 | 0.98917 | -0.20872 | 0.98911 | -0.20996 | 1.8175
27 | 0.00048054 | 0.00012024 | -0.00048054 | -0.00012043 | 3.0819e-09 | -1.9634e-07 | 0.00072606 | 0.00072613 | 0.00072613 | 0.98474 | -0.29539 | 0.98474 | -0.29553 | 0.19949
28 | 0.0011727 | 0.0002928 | -0.0011726 | -0.00029364 | 8.2446e-08 | -8.382e-07 | 0.0017716 | 0.0017719 | 0.0017719 | 0.98474 | -0.29539 | 0.98467 | -0.29687 | 0.48679
29 | 0.00084553 | 0.00021168 | -0.00084552 | -0.00021186 | 9.2645e-09 | -1.8656e-07 | 0.0012777 | 0.0012777 | 0.0012777 | 0.98467 | -0.29687 | 0.98466 | -0.2971 | 0.35103
30 | 0.00043015 | 0.00010776 | -0.00043014 | -0.0001078 | 5.6617e-10 | -4.509e-08 | 0.00065002 | 0.00065004 | 0.00065004 | 0.98466 | -0.2971 | 0.98466 | -0.29713 | 0.17858

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.025412 | 0.0059775

## res_load
| p_mw | q_mvar
0 | 0.00062768 | 0.00015731
1 | 0.00054304 | 0.0001361
2 | 0.001084 | 0.00027167
3 | 0.0046381 | 0.0011624
4 | 0.00071166 | 0.00017836
5 | 0.00024755 | 6.2041e-05
6 | 0.00062824 | 0.00015745
7 | 0.00040272 | 0.00010093
8 | 0.0019092 | 0.00047849
9 | 0.00042151 | 0.00010564
10 | 0.0018903 | 0.00047376
11 | 0.0010283 | 0.00025773
12 | 0.0015341 | 0.00038448
13 | 0.00017273 | 4.329e-05
14 | 0.00063222 | 0.00015845
15 | 0.0009971 | 0.0002499
16 | 0.0043976 | 0.0011021
17 | 0.00048054 | 0.00012043
18 | 0.00032705 | 8.1966e-05
19 | 0.00041538 | 0.0001041
20 | 0.00043014 | 0.0001078

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1