## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-34_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_1711-34_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1711-34_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1711-34_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_1711-34_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1711-34_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1711-34_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1711-34_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1711-34_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1711-34_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1711-34_0_4_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1711-34_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1711-34_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1711-34_0_4_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_1711-34_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1711-34_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1711-34_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_1711-34_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1711-34_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1711-34_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1711-34_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1711-34_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1711-34_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_1711-34_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_1711-34_0_4_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_1711-34_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_1711-34_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1711-34_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1711-34_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1711-34_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1711-34_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1711-34_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1711-34_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1711-34_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1711-34_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1711-34_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1711-34_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1711-34_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_1711-34_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1711-34_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1711-34_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1711-34_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_MV_25_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-34_0_4_load_0 | 0 | 0.0044023 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-34_0_4_load_27 | 6 | 0.015916 | 0.003989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-34_0_4_load_16 | 8 | 0.02138 | 0.0053584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-34_0_4_load_13 | 9 | 0.047791 | 0.011978 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-34_0_4_load_37 | 10 | 0.010335 | 0.0025902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-34_0_4_load_30 | 12 | 0.033865 | 0.0084875 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-34_0_4_load_29 | 13 | 0.040334 | 0.010109 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-34_0_4_load_36 | 14 | 0.0010293 | 0.00025798 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-34_0_4_load_46 | 15 | 0.0013382 | 0.00033538 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-34_0_4_load_23 | 16 | 0.004023 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-34_0_4_load_17 | 17 | 0.0021865 | 0.000548 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-34_0_4_load_26 | 18 | 0.022589 | 0.0056614 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-34_0_4_load_14 | 19 | 0.011803 | 0.0029582 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-34_0_4_load_11 | 21 | 0.0017319 | 0.00043407 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-34_0_4_load_31 | 22 | 0.000884 | 0.00022155 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-34_0_4_load_28 | 23 | 0.05043 | 0.012639 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-34_0_4_load_8 | 24 | 0.0025678 | 0.00064355 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-34_0_4_load_9 | 25 | 0.0027606 | 0.00069187 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-34_0_4_load_10 | 26 | 0.00376 | 0.00094233 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-34_0_4_load_45 | 29 | 0.0088548 | 0.0022192 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-34_0_4_load_15 | 30 | 0.040847 | 0.010237 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-34_0_4_load_38 | 31 | 0.0085155 | 0.0021342 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-34_0_4_load_39 | 32 | 0.02412 | 0.0060451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-34_0_4_load_21 | 34 | 0.0011654 | 0.00029207 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-34_0_4_load_34 | 35 | 0.0026517 | 0.00066458 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-34_0_4_load_33 | 36 | 0.0072639 | 0.0018205 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-34_0_4_load_22 | 38 | 0.0091565 | 0.0022948 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-34_0_4_load_44 | 39 | 0.03166 | 0.0079347 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-34_0_4_load_40 | 40 | 0.013847 | 0.0034704 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-34_0_4_load_41 | 43 | 0.00047815 | 0.00011984 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-34_0_4_line_0 |  | 0 | 1 | 0.0099947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-34_0_4_line_1 |  | 1 | 2 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-34_0_4_line_2 |  | 1 | 3 | 0.072994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-34_0_4_line_3 |  | 2 | 10 | 0.0029679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-34_0_4_line_4 |  | 3 | 13 | 0.009752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1711-34_0_4_line_5 |  | 3 | 11 | 0.03041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1711-34_0_4_line_6 |  | 4 | 5 | 0.072769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-34_0_4_line_7 |  | 4 | 6 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-34_0_4_line_8 |  | 5 | 17 | 0.010902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-34_0_4_line_9 |  | 6 | 18 | 0.042994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-34_0_4_line_10 |  | 7 | 8 | 0.029814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1711-34_0_4_line_11 |  | 7 | 9 | 0.020975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1711-34_0_4_line_12 |  | 8 | 12 | 0.0012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1711-34_0_4_line_13 |  | 9 | 19 | 0.02983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1711-34_0_4_line_14 |  | 11 | 12 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1711-34_0_4_line_15 |  | 13 | 23 | 0.02251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-34_0_4_line_16 |  | 14 | 15 | 0.0077032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-34_0_4_line_17 |  | 14 | 16 | 0.19683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-34_0_4_line_18 |  | 16 | 38 | 0.03988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-34_0_4_line_19 |  | 17 | 33 | 0.029346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-34_0_4_line_20 |  | 18 | 23 | 0.0083739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-34_0_4_line_21 |  | 19 | 30 | 0.011051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1711-34_0_4_line_22 |  | 20 | 21 | 0.022178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-34_0_4_line_23 |  | 20 | 22 | 0.041207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-34_0_4_line_24 |  | 21 | 25 | 0.04249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-34_0_4_line_25 |  | 24 | 25 | 0.048223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-34_0_4_line_26 |  | 24 | 26 | 0.063223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-34_0_4_line_27 |  | 26 | 27 | 0.079733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-34_0_4_line_28 |  | 27 | 28 | 0.22657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-34_0_4_line_29 |  | 28 | 29 | 0.077792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-34_0_4_line_30 |  | 29 | 39 | 0.031799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-34_0_4_line_31 |  | 30 | 31 | 0.0040386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1711-34_0_4_line_32 |  | 31 | 32 | 0.011306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1711-34_0_4_line_33 |  | 32 | 40 | 0.023705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1711-34_0_4_line_34 |  | 33 | 34 | 0.024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-34_0_4_line_35 |  | 34 | 35 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-34_0_4_line_36 |  | 35 | 37 | 0.41548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-34_0_4_line_37 |  | 35 | 36 | 0.031941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-34_0_4_line_38 |  | 37 | 38 | 0.035261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-34_0_4_line_39 |  | 39 | 42 | 0.06268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-34_0_4_line_40 |  | 40 | 41 | 0.19982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-34_0_4_line_41 |  | 41 | 42 | 0.095374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-34_0_4_line_42 |  | 42 | 43 | 0.23467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-34_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 44 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2683007.4093 | 1222011.478 | 2683000.1112 | 1222004.6493
1 | 2682997.5204 | 1222027.0284 | 2683005.8477 | 1222019.0168 | 2683006.7781 | 1222018.1181 | 2683010.7768 | 1222014.249 | 2683007.4093 | 1222011.478
2 | 2683007.4093 | 1222011.478 | 2683010.7768 | 1222014.249 | 2683018.4846 | 1222020.2049 | 2683026.5073 | 1222025.3313 | 2683033.5122 | 1222027.8306 | 2683039.8058 | 1222027.4848 | 2683044.3724 | 1222025.8696 | 2683048.8541 | 1222022.7188 | 2683058.3409 | 1222015.891 | 2683054.4112 | 1222002.8496
3 | 2682997.5204 | 1222027.0284 | 2682998.6953 | 1222028.1789 | 2682997.7619 | 1222029.1171
4 | 2683054.4112 | 1222002.8496 | 2683049.0046 | 1221994.7336
5 | 2683054.4112 | 1222002.8496 | 2683055.8599 | 1222001.7802 | 2683058.9429 | 1221999.3883 | 2683064.8069 | 1222002.1052 | 2683068.7278 | 1222006.5295 | 2683079.2558 | 1222000.1054
6 | 2682968.6201 | 1221852.1747 | 2682998.8385 | 1221906.9326 | 2683003.7812 | 1221915.8853
7 | 2683003.7812 | 1221915.8853 | 2683012.1122 | 1221930.7608
8 | 2682968.6201 | 1221852.1747 | 2682963.3528 | 1221842.6293
9 | 2683012.1122 | 1221930.7608 | 2683033.1208 | 1221968.273
10 | 2683109.2242 | 1222047.1107 | 2683105.8885 | 1222040.9823 | 2683101.7837 | 1222029.6285 | 2683096.6817 | 1222020.1509
11 | 2683109.2242 | 1222047.1107 | 2683118.5174 | 1222065.9149
12 | 2683095.9645 | 1222019.1498 | 2683096.6817 | 1222020.1509
13 | 2683118.5174 | 1222065.9149 | 2683123.9422 | 1222076.8917 | 2683128.921 | 1222088.1243 | 2683131.6154 | 1222092.6875
14 | 2683079.2558 | 1222000.1054 | 2683081.9619 | 1222004.6017 | 2683085.2992 | 1222007.9061 | 2683091.2349 | 1222012.5476 | 2683095.9645 | 1222019.1498
15 | 2683049.0046 | 1221994.7336 | 2683042.322 | 1221984.7022 | 2683037.2126 | 1221975.5791
16 | 2682334.5235 | 1222108.0805 | 2682340.6204 | 1222112.7887
17 | 2682480.4934 | 1221974.2992 | 2682340.6204 | 1222112.7887
18 | 2682480.4934 | 1221974.2992 | 2682518.0727 | 1221960.9499
19 | 2682949.1746 | 1221816.9357 | 2682963.3528 | 1221842.6293
20 | 2683037.2126 | 1221975.5791 | 2683033.1208 | 1221968.273
21 | 2683138.1956 | 1222101.4203 | 2683135.1237 | 1222098.6291 | 2683131.6154 | 1222092.6875
22 | 2683314.1175 | 1222000.7533 | 2683326.3096 | 1222019.2792
23 | 2683314.1175 | 1222000.7533 | 2683308.6609 | 1221970.5677 | 2683305.6993 | 1221960.46
24 | 2683326.3096 | 1222019.2792 | 2683349.6681 | 1222054.7724
25 | 2683375.3444 | 1222095.5293 | 2683372.0701 | 1222088.8125 | 2683349.6681 | 1222054.7724
26 | 2683375.3444 | 1222095.5293 | 2683385.6751 | 1222116.7218 | 2683398.0862 | 1222154.3756
27 | 2683416.7609 | 1222231.5456 | 2683412.1251 | 1222196.9685 | 2683398.0862 | 1222154.3756
28 | 2683308.7949 | 1222420.5508 | 2683315.0805 | 1222406.6627 | 2683319.5207 | 1222397.7966 | 2683327.4046 | 1222389.4902 | 2683339.3997 | 1222376.8606 | 2683375.4131 | 1222347.8229 | 2683386.3204 | 1222335.9676 | 2683398.2105 | 1222315.687 | 2683408.1969 | 1222291.0658 | 2683414.2429 | 1222261.8197 | 2683416.1599 | 1222238.7087 | 2683416.7609 | 1222231.5456
29 | 2683308.7949 | 1222420.5508 | 2683291.7485 | 1222410.3833 | 2683280.2362 | 1222360.3329 | 2683274.7807 | 1222356.6431
30 | 2683246.2629 | 1222370.705 | 2683253.6961 | 1222367.2554 | 2683274.7807 | 1222356.6431 | 2683274.7807 | 1222356.6431
31 | 2683138.1956 | 1222101.4203 | 2683140.0452 | 1222103.1008 | 2683141.5018 | 1222103.5994
32 | 2683141.5018 | 1222103.5994 | 2683144.7864 | 1222104.7237 | 2683148.8934 | 1222105.0479 | 2683152.343 | 1222106.4253
33 | 2683152.343 | 1222106.4253 | 2683155.6451 | 1222107.744 | 2683174.8101 | 1222113.9641
34 | 2682949.1746 | 1221816.9357 | 2682938.4363 | 1221795.1758
35 | 2682938.4363 | 1221795.1758 | 2682929.6887 | 1221777.4497
36 | 2682929.6887 | 1221777.4497 | 2682550.9051 | 1221948.1794
37 | 2682929.6887 | 1221777.4497 | 2682915.5535 | 1221748.8066
38 | 2682550.9051 | 1221948.1794 | 2682540.6512 | 1221952.9294 | 2682518.0727 | 1221960.9499
39 | 2683194.3657 | 1222361.5558 | 2683219.4145 | 1222383.1648 | 2683246.2629 | 1222370.705
40 | 2683150.6561 | 1222279.1454 | 2683157.6892 | 1222222.0495 | 2683164.1584 | 1222202.0708 | 2683186.0283 | 1222188.4893 | 2683198.586 | 1222176.3232 | 2683203.4434 | 1222160.9474 | 2683202.263 | 1222134.691 | 2683193.4698 | 1222122.2931 | 2683178.4133 | 1222115.1335 | 2683174.8101 | 1222113.9641
41 | 2683194.3657 | 1222361.5558 | 2683187.1062 | 1222336.0594 | 2683181.5691 | 1222315.9463 | 2683150.6561 | 1222279.1454
42 | 2683194.3657 | 1222361.5558 | 2683114.4032 | 1222582.1782

## bus_geodata
| x | y | coords
0 | 2683000.1112 | 1222004.6493
1 | 2683007.4093 | 1222011.478
2 | 2682997.5204 | 1222027.0284
3 | 2683054.4112 | 1222002.8496
4 | 2683003.7812 | 1221915.8853
5 | 2682968.6201 | 1221852.1747
6 | 2683012.1122 | 1221930.7608
7 | 2683109.2242 | 1222047.1107
8 | 2683096.6817 | 1222020.1509
9 | 2683118.5174 | 1222065.9149
10 | 2682997.7619 | 1222029.1171
11 | 2683079.2558 | 1222000.1054
12 | 2683095.9645 | 1222019.1498
13 | 2683049.0046 | 1221994.7336
14 | 2682340.6204 | 1222112.7887
15 | 2682334.5235 | 1222108.0805
16 | 2682480.4934 | 1221974.2993
17 | 2682963.3528 | 1221842.6293
18 | 2683033.1208 | 1221968.273
19 | 2683131.6154 | 1222092.6875
20 | 2683314.1175 | 1222000.7533
21 | 2683326.3096 | 1222019.2792
22 | 2683305.6993 | 1221960.46
23 | 2683037.2126 | 1221975.5791
24 | 2683375.3444 | 1222095.5293
25 | 2683349.6681 | 1222054.7724
26 | 2683398.0862 | 1222154.3756
27 | 2683416.7609 | 1222231.5456
28 | 2683308.7949 | 1222420.5508
29 | 2683274.7807 | 1222356.6431
30 | 2683138.1956 | 1222101.4203
31 | 2683141.5018 | 1222103.5994
32 | 2683152.343 | 1222106.4254
33 | 2682949.1746 | 1221816.9357
34 | 2682938.4363 | 1221795.1758
35 | 2682929.6887 | 1221777.4497
36 | 2682915.5535 | 1221748.8066
37 | 2682550.9051 | 1221948.1794
38 | 2682518.0727 | 1221960.9499
39 | 2683246.2629 | 1222370.705
40 | 2683174.8101 | 1222113.9641
41 | 2683150.6561 | 1222279.1454
42 | 2683194.3657 | 1222361.5558
43 | 2683114.4032 | 1222582.1782
44 | 2683079.2558 | 1222000.1054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9913 | -0.16683 | 0.0044023 | 0.0011033
1 | 0.99134 | -0.16605 | 0 | 0
2 | 0.99112 | -0.17023 | 0 | 0
3 | 0.99232 | -0.14699 | 0 | 0
4 | 0.98643 | -0.26099 | 0 | 0
5 | 0.98448 | -0.29866 | 0 | 0
6 | 0.98688 | -0.25218 | 0.015916 | 0.003989
7 | 1 | 0 | -0.43321 | -0.10963
8 | 0.99688 | -0.059452 | 0.02138 | 0.0053584
9 | 0.99808 | -0.036568 | 0.047791 | 0.011978
10 | 0.9911 | -0.17077 | 0.010335 | 0.0025902
11 | 0.99474 | -0.10058 | 0 | 0
12 | 0.99677 | -0.061685 | 0.033865 | 0.0084875
13 | 0.99161 | -0.16065 | 0.040334 | 0.010109
14 | 0.97522 | -0.4799 | 0.0010293 | 0.00025798
15 | 0.97521 | -0.48009 | 0.0013382 | 0.00033538
16 | 0.97565 | -0.47135 | 0.004023 | 0.0010083
17 | 0.98419 | -0.30431 | 0.0021865 | 0.000548
18 | 0.98866 | -0.21781 | 0.022589 | 0.0056614
19 | 0.996 | -0.076284 | 0.011803 | 0.0029582
20 | 0.97074 | -0.56597 | 0 | 0
21 | 0.97076 | -0.5656 | 0.0017319 | 0.00043407
22 | 0.97071 | -0.56664 | 0.000884 | 0.00022155
23 | 0.98918 | -0.20776 | 0.05043 | 0.012639
24 | 0.9711 | -0.55875 | 0.0025678 | 0.00064355
25 | 0.97086 | -0.56355 | 0.0027606 | 0.00069187
26 | 0.97157 | -0.54946 | 0.00376 | 0.00094233
27 | 0.97244 | -0.53224 | 0 | 0
28 | 0.97492 | -0.48343 | 0 | 0
29 | 0.97577 | -0.46672 | 0.0088548 | 0.0022192
30 | 0.99529 | -0.089891 | 0.040847 | 0.010237
31 | 0.99511 | -0.093417 | 0.0085155 | 0.0021342
32 | 0.99463 | -0.10245 | 0.02412 | 0.0060451
33 | 0.98347 | -0.3184 | 0 | 0
34 | 0.98287 | -0.33006 | 0.0011654 | 0.00029207
35 | 0.9824 | -0.33915 | 0.0026517 | 0.00066458
36 | 0.98219 | -0.34334 | 0.0072639 | 0.0018205
37 | 0.9764 | -0.45664 | 0 | 0
38 | 0.97589 | -0.46668 | 0.0091565 | 0.0022948
39 | 0.97638 | -0.45475 | 0.03166 | 0.0079347
40 | 0.9939 | -0.11636 | 0.013847 | 0.0034704
41 | 0.9841 | -0.30413 | 0 | 0
42 | 0.97942 | -0.39507 | 0 | 0
43 | 0.97932 | -0.39713 | 0.00047815 | 0.00011984
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0044023 | -0.0011033 | 0.0044025 | 0.0011033 | 1.6367e-07 | -2.4109e-08 | 0.0066082 | 0.0066082 | 0.0066082 | 0.9913 | -0.16683 | 0.99134 | -0.16605 | 1.8154
1 | 0.010337 | 0.0025913 | -0.010335 | -0.0025903 | 2.0562e-06 | 1.0224e-06 | 0.015517 | 0.015517 | 0.015517 | 0.99134 | -0.16605 | 0.99112 | -0.17023 | 4.2628
2 | -0.01474 | -0.0036946 | 0.014753 | 0.0037023 | 1.3399e-05 | 7.6332e-06 | 0.022125 | 0.022124 | 0.022125 | 0.99134 | -0.16605 | 0.99232 | -0.14699 | 6.0782
3 | 0.010335 | 0.0025903 | -0.010335 | -0.0025902 | 2.6797e-07 | 1.3325e-07 | 0.015517 | 0.015517 | 0.015517 | 0.99112 | -0.17023 | 0.9911 | -0.17077 | 4.2628
4 | 0.15878 | 0.04005 | -0.15867 | -0.039984 | 0.00010373 | 6.6135e-05 | 0.23818 | 0.23818 | 0.23818 | 0.99232 | -0.14699 | 0.99161 | -0.16065 | 32.717
5 | -0.17353 | -0.043752 | 0.17392 | 0.043999 | 0.00038635 | 0.00024648 | 0.2603 | 0.2603 | 0.2603 | 0.99232 | -0.14699 | 0.99474 | -0.10058 | 35.756
6 | 0.029018 | 0.0073405 | -0.028965 | -0.0073079 | 5.2345e-05 | 3.2573e-05 | 0.043797 | 0.043797 | 0.043797 | 0.98643 | -0.26099 | 0.98448 | -0.29866 | 12.0323
7 | -0.029018 | -0.0073405 | 0.02903 | 0.0073481 | 1.2264e-05 | 7.6313e-06 | 0.043797 | 0.043797 | 0.043797 | 0.98643 | -0.26099 | 0.98688 | -0.25218 | 12.0322
8 | 0.028965 | 0.0073079 | -0.028957 | -0.007303 | 7.8423e-06 | 4.8805e-06 | 0.043797 | 0.043797 | 0.043797 | 0.98448 | -0.29866 | 0.98419 | -0.30431 | 12.0323
9 | -0.044946 | -0.011337 | 0.04502 | 0.011384 | 7.4105e-05 | 4.6877e-05 | 0.067796 | 0.067795 | 0.067796 | 0.98688 | -0.25218 | 0.98866 | -0.21781 | 18.6252
10 | 0.23017 | 0.058486 | -0.22951 | -0.058066 | 0.0006568 | 0.00041957 | 0.34277 | 0.34277 | 0.34277 | 1 | 0 | 0.99688 | -0.059452 | 47.0842
11 | 0.20139 | 0.051144 | -0.20104 | -0.050918 | 0.00035374 | 0.00022585 | 0.29991 | 0.29991 | 0.29991 | 1 | 0 | 0.99808 | -0.036568 | 41.1964
12 | 0.20813 | 0.052708 | -0.20811 | -0.052694 | 2.2313e-05 | 1.4248e-05 | 0.31086 | 0.31086 | 0.31086 | 0.99688 | -0.059452 | 0.99677 | -0.061685 | 42.7004
13 | 0.15325 | 0.038941 | -0.15295 | -0.038754 | 0.00029244 | 0.00018638 | 0.22866 | 0.22866 | 0.22866 | 0.99808 | -0.036568 | 0.996 | -0.076284 | 31.4093
14 | -0.17392 | -0.043999 | 0.17424 | 0.044206 | 0.00032525 | 0.00020749 | 0.2603 | 0.2603 | 0.2603 | 0.99474 | -0.10058 | 0.99677 | -0.061685 | 35.756
15 | 0.11834 | 0.029875 | -0.11807 | -0.029705 | 0.00026642 | 0.00017022 | 0.17766 | 0.17766 | 0.17766 | 0.99161 | -0.16065 | 0.98918 | -0.20776 | 48.8064
16 | 0.0013382 | 0.00033529 | -0.0013382 | -0.00033538 | 1.2043e-08 | -8.8405e-08 | 0.0020418 | 0.0020418 | 0.0020418 | 0.97522 | -0.4799 | 0.97521 | -0.48009 | 0.56095
17 | -0.0023675 | -0.00059327 | 0.0023685 | 0.00059143 | 9.6299e-07 | -1.8407e-06 | 0.0036124 | 0.0036115 | 0.0036124 | 0.97522 | -0.4799 | 0.97565 | -0.47135 | 0.99242
18 | -0.0063915 | -0.0015997 | 0.0063929 | 0.0016001 | 1.4208e-06 | 4.1117e-07 | 0.0097472 | 0.009747 | 0.0097472 | 0.97565 | -0.47135 | 0.97589 | -0.46668 | 2.6778
19 | 0.026771 | 0.006755 | -0.026753 | -0.0067438 | 1.8043e-05 | 1.1175e-05 | 0.040492 | 0.040492 | 0.040492 | 0.98419 | -0.30431 | 0.98347 | -0.3184 | 11.1241
20 | -0.06761 | -0.017045 | 0.067642 | 0.017066 | 3.2539e-05 | 2.0718e-05 | 0.10179 | 0.10179 | 0.10179 | 0.98866 | -0.21781 | 0.98918 | -0.20776 | 27.9655
21 | 0.14115 | 0.035796 | -0.14106 | -0.035737 | 9.227e-05 | 5.8765e-05 | 0.21103 | 0.21103 | 0.21103 | 0.996 | -0.076284 | 0.99529 | -0.089891 | 28.9871
22 | -0.00088403 | -0.00022106 | 0.00088405 | 0.0002208 | 1.5267e-08 | -2.6441e-07 | 0.0013549 | 0.0013548 | 0.0013549 | 0.97074 | -0.56597 | 0.97076 | -0.5656 | 0.37223
23 | 0.00088403 | 0.00022106 | -0.000884 | -0.00022155 | 2.8372e-08 | -4.9126e-07 | 0.0013549 | 0.0013551 | 0.0013551 | 0.97074 | -0.56597 | 0.97071 | -0.56664 | 0.37228
24 | -0.002616 | -0.00065486 | 0.0026162 | 0.0006545 | 2.5615e-07 | -3.6143e-07 | 0.0040096 | 0.0040094 | 0.0040096 | 0.97076 | -0.5656 | 0.97086 | -0.56355 | 1.1015
25 | 0.0053781 | 0.0013466 | -0.0053768 | -0.0013464 | 1.2279e-06 | 1.8942e-07 | 0.0082403 | 0.0082405 | 0.0082405 | 0.9711 | -0.55875 | 0.97086 | -0.56355 | 2.2639
26 | -0.0079458 | -0.0019901 | 0.0079494 | 0.0019916 | 3.5142e-06 | 1.4665e-06 | 0.012175 | 0.012175 | 0.012175 | 0.9711 | -0.55875 | 0.97157 | -0.54946 | 3.3447
27 | -0.011709 | -0.0029339 | 0.011719 | 0.0029391 | 9.6156e-06 | 5.1657e-06 | 0.017933 | 0.017933 | 0.017933 | 0.97157 | -0.54946 | 0.97244 | -0.53224 | 4.9267
28 | -0.011719 | -0.0029391 | 0.011746 | 0.0029537 | 2.7321e-05 | 1.4668e-05 | 0.017933 | 0.017932 | 0.017933 | 0.97244 | -0.53224 | 0.97492 | -0.48343 | 4.9266
29 | -0.011746 | -0.0029537 | 0.011756 | 0.0029588 | 9.38e-06 | 5.0324e-06 | 0.017932 | 0.017931 | 0.017932 | 0.97492 | -0.48343 | 0.97577 | -0.46672 | 4.9263
30 | -0.02061 | -0.005178 | 0.020622 | 0.0051851 | 1.1783e-05 | 7.1438e-06 | 0.031435 | 0.031435 | 0.031435 | 0.97577 | -0.46672 | 0.97638 | -0.45475 | 8.6359
31 | 0.10021 | 0.0255 | -0.10019 | -0.025489 | 1.7028e-05 | 1.0793e-05 | 0.14996 | 0.14996 | 0.14996 | 0.99529 | -0.089891 | 0.99511 | -0.093417 | 20.5985
32 | 0.091678 | 0.023355 | -0.091638 | -0.02333 | 3.9918e-05 | 2.5254e-05 | 0.13722 | 0.13722 | 0.13722 | 0.99511 | -0.093417 | 0.99463 | -0.10245 | 18.8494
33 | 0.067518 | 0.017285 | -0.067472 | -0.017256 | 4.5465e-05 | 2.8483e-05 | 0.10114 | 0.10114 | 0.10114 | 0.99463 | -0.10245 | 0.9939 | -0.11636 | 13.8928
34 | 0.026753 | 0.0067438 | -0.026738 | -0.0067346 | 1.4919e-05 | 9.2407e-06 | 0.040492 | 0.040492 | 0.040492 | 0.98347 | -0.3184 | 0.98287 | -0.33006 | 11.1241
35 | 0.025572 | 0.0064425 | -0.025561 | -0.0064356 | 1.1118e-05 | 6.8649e-06 | 0.038728 | 0.038728 | 0.038728 | 0.98287 | -0.33006 | 0.9824 | -0.33915 | 10.6394
36 | 0.015644 | 0.0039501 | -0.015557 | -0.0038992 | 8.757e-05 | 5.0816e-05 | 0.023707 | 0.023708 | 0.023708 | 0.9824 | -0.33915 | 0.9764 | -0.45664 | 6.5133
37 | 0.0072653 | 0.001821 | -0.0072639 | -0.0018205 | 1.4506e-06 | 5.2402e-07 | 0.011005 | 0.011005 | 0.011005 | 0.9824 | -0.33915 | 0.98219 | -0.34334 | 3.0233
38 | 0.015557 | 0.0038992 | -0.015549 | -0.0038949 | 7.4326e-06 | 4.316e-06 | 0.023708 | 0.023709 | 0.023709 | 0.9764 | -0.45664 | 0.97589 | -0.46668 | 6.5133
39 | -0.052282 | -0.01312 | 0.052431 | 0.013215 | 0.00014925 | 9.4733e-05 | 0.079685 | 0.079684 | 0.079685 | 0.97638 | -0.45475 | 0.97942 | -0.39507 | 21.8914
40 | 0.053625 | 0.013786 | -0.053141 | -0.013478 | 0.00048449 | 0.00030751 | 0.080408 | 0.080409 | 0.080409 | 0.9939 | -0.11636 | 0.9841 | -0.30413 | 22.0905
41 | 0.053141 | 0.013478 | -0.052909 | -0.013331 | 0.00023125 | 0.00014679 | 0.080409 | 0.08041 | 0.08041 | 0.9841 | -0.30413 | 0.97942 | -0.39507 | 22.0906
42 | 0.0004782 | 0.00011691 | -0.00047815 | -0.00011984 | 4.6382e-08 | -2.9233e-06 | 0.00072548 | 0.00072652 | 0.00072652 | 0.97942 | -0.39507 | 0.97932 | -0.39713 | 0.19959

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43321 | 0.10963

## res_load
| p_mw | q_mvar
0 | 0.0044023 | 0.0011033
1 | 0.015916 | 0.003989
2 | 0.02138 | 0.0053584
3 | 0.047791 | 0.011978
4 | 0.010335 | 0.0025902
5 | 0.033865 | 0.0084875
6 | 0.040334 | 0.010109
7 | 0.0010293 | 0.00025798
8 | 0.0013382 | 0.00033538
9 | 0.004023 | 0.0010083
10 | 0.0021865 | 0.000548
11 | 0.022589 | 0.0056614
12 | 0.011803 | 0.0029582
13 | 0.0017319 | 0.00043407
14 | 0.000884 | 0.00022155
15 | 0.05043 | 0.012639
16 | 0.0025678 | 0.00064355
17 | 0.0027606 | 0.00069187
18 | 0.00376 | 0.00094233
19 | 0.0088548 | 0.0022192
20 | 0.040847 | 0.010237
21 | 0.0085155 | 0.0021342
22 | 0.02412 | 0.0060451
23 | 0.0011654 | 0.00029207
24 | 0.0026517 | 0.00066458
25 | 0.0072639 | 0.0018205
26 | 0.0091565 | 0.0022948
27 | 0.03166 | 0.0079347
28 | 0.013847 | 0.0034704
29 | 0.00047815 | 0.00011984

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1