## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-35_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-35_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-35_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-35_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-35_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-35_0_4_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_1711-35_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_1711-35_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1711-35_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_1711-35_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1711-35_0_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_1711-35_0_4_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1711-35_0_4_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_1711-35_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1711-35_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1711-35_0_4_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_1711-35_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1711-35_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1711-35_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1711-35_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1711-35_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1711-35_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1711-35_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1711-35_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1711-35_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1711-35_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1711-35_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1711-35_0_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1711-35_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1711-35_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1711-35_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_1711-35_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1711-35_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1711-35_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1711-35_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1711-35_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1711-35_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1711-35_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1711-35_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1711-35_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1711-35_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1711-35_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1711-35_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_1711-35_0_4_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_1711-35_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1711-35_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_1711-35_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1711-35_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_1711-35_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1711-35_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1711-35_0_4_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_1711-35_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_1711-35_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_1711-35_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1711-35_0_4_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_1711-35_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_1711-35_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1711-35_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1711-35_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_1711-35_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1711-35_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_1711-35_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_1711-35_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1711-35_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_1711-35_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_1711-35_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1711-35_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1711-35_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_1711-35_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_MV_25_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-35_0_4_load_0 | 0 | 0.0044001 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-35_0_4_load_1 | 1 | 0.0010227 | 0.0002563 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-35_0_4_load_70 | 5 | 0.0016558 | 0.00041498 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-35_0_4_load_48 | 6 | 0.0016742 | 0.0004196 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-35_0_4_load_49 | 8 | 0.0026551 | 0.00066544 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-35_0_4_load_47 | 10 | 0.00084585 | 0.00021199 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-35_0_4_load_7 | 13 | 0.003244 | 0.00081302 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-35_0_4_load_31 | 14 | 0.00091137 | 0.00022841 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-35_0_4_load_5 | 15 | 0.00040101 | 0.0001005 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-35_0_4_load_9 | 16 | 0.0023724 | 0.00059459 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-35_0_4_load_10 | 17 | 0.00058256 | 0.000146 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-35_0_4_load_11 | 18 | 0.00033752 | 8.4591e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-35_0_4_load_36 | 22 | 0.00025231 | 6.3236e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-35_0_4_load_20 | 24 | 0.00022541 | 5.6492e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-35_0_4_load_17 | 25 | 0.00028686 | 7.1894e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-35_0_4_load_14 | 26 | 0.00167 | 0.00041854 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-35_0_4_load_34 | 27 | 0.00018671 | 4.6794e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-35_0_4_load_67 | 30 | 0.0015182 | 0.00038049 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-35_0_4_load_29 | 31 | 0.028498 | 0.0071423 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-35_0_4_load_21 | 32 | 0.00047597 | 0.00011929 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-35_0_4_load_19 | 35 | 0.00054479 | 0.00013654 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-35_0_4_load_46 | 36 | 0.0011824 | 0.00029633 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-35_0_4_load_41 | 37 | 0.0010607 | 0.00026584 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-35_0_4_load_45 | 38 | 0.00044471 | 0.00011145 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-35_0_4_load_43 | 40 | 0.00056453 | 0.00014148 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-35_0_4_load_22 | 41 | 0.0003672 | 9.203e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-35_0_4_load_68 | 42 | 0.000243 | 6.0902e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-35_0_4_load_66 | 43 | 0.00015131 | 3.7921e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-35_0_4_load_25 | 45 | 0.0018958 | 0.00047512 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-35_0_4_load_26 | 46 | 0.0026318 | 0.0006596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-35_0_4_load_27 | 47 | 0.00082677 | 0.00020721 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-35_0_4_load_30 | 48 | 0.0001694 | 4.2456e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-35_0_4_load_39 | 49 | 0.00088021 | 0.0002206 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-35_0_4_load_72 | 50 | 9.2468e-05 | 2.3175e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-35_0_4_load_61 | 52 | 0.00011307 | 2.8339e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-35_0_4_load_59 | 53 | 0.00077882 | 0.00019519 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-35_0_4_load_69 | 54 | 0.0071061 | 0.001781 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-35_0_4_load_33 | 55 | 0.0011784 | 0.00029535 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-35_0_4_load_54 | 56 | 0.00021371 | 5.3562e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-35_0_4_load_40 | 58 | 0.00023682 | 5.9352e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-35_0_4_load_44 | 59 | 0.0011883 | 0.00029782 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-35_0_4_load_52 | 60 | 0.00054784 | 0.0001373 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-35_0_4_load_55 | 61 | 0.00033494 | 8.3943e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-35_0_4_load_56 | 62 | 0.00012588 | 3.1549e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-35_0_4_load_57 | 63 | 0.00018999 | 4.7616e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-35_0_4_load_58 | 64 | 0.00069887 | 0.00017515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-35_0_4_load_63 | 65 | 0.00018057 | 4.5255e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-35_0_4_load_62 | 66 | 0.00026434 | 6.6249e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-35_0_4_load_64 | 67 | 0.00027954 | 7.006e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1711-35_0_4_load_65 | 68 | 0.0010901 | 0.00027321 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-35_0_4_line_0 |  | 0 | 1 | 0.050739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-35_0_4_line_1 |  | 0 | 2 | 0.12275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-35_0_4_line_2 |  | 2 | 3 | 0.19852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-35_0_4_line_3 |  | 3 | 4 | 0.29553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-35_0_4_line_4 |  | 3 | 5 | 0.019757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-35_0_4_line_5 |  | 4 | 6 | 0.030149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-35_0_4_line_6 |  | 6 | 10 | 0.019607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-35_0_4_line_7 |  | 7 | 8 | 0.04597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-35_0_4_line_8 |  | 7 | 9 | 0.008807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-35_0_4_line_9 |  | 8 | 10 | 0.056006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-35_0_4_line_10 |  | 9 | 13 | 0.062352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-35_0_4_line_11 |  | 9 | 15 | 0.10941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-35_0_4_line_12 |  | 11 | 12 | 0.013901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-35_0_4_line_13 |  | 11 | 13 | 0.069149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-35_0_4_line_14 |  | 11 | 14 | 0.069512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-35_0_4_line_15 |  | 12 | 50 | 0.39681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-35_0_4_line_16 |  | 14 | 23 | 0.30415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-35_0_4_line_17 |  | 16 | 17 | 0.025926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-35_0_4_line_18 |  | 16 | 18 | 0.036865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-35_0_4_line_19 |  | 17 | 19 | 0.28347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-35_0_4_line_20 |  | 18 | 20 | 0.02383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-35_0_4_line_21 |  | 19 | 21 | 0.20621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-35_0_4_line_22 |  | 19 | 22 | 0.19114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-35_0_4_line_23 |  | 20 | 23 | 0.20843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-35_0_4_line_24 |  | 20 | 24 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-35_0_4_line_25 |  | 21 | 25 | 0.050586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-35_0_4_line_26 |  | 21 | 26 | 0.32003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-35_0_4_line_27 |  | 22 | 27 | 0.019709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-35_0_4_line_28 |  | 23 | 31 | 0.02445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-35_0_4_line_29 |  | 23 | 28 | 0.24958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-35_0_4_line_30 |  | 24 | 32 | 0.0033492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-35_0_4_line_31 |  | 25 | 36 | 0.037315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-35_0_4_line_32 |  | 26 | 33 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-35_0_4_line_33 |  | 27 | 55 | 0.046462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-35_0_4_line_34 |  | 28 | 29 | 0.068827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-35_0_4_line_35 |  | 28 | 30 | 0.078533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-35_0_4_line_36 |  | 29 | 42 | 0.06528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-35_0_4_line_37 |  | 30 | 43 | 0.041011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-35_0_4_line_38 |  | 31 | 44 | 0.045335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-35_0_4_line_39 |  | 32 | 41 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-35_0_4_line_40 |  | 33 | 34 | 0.045718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-35_0_4_line_41 |  | 33 | 35 | 0.031348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-35_0_4_line_42 |  | 34 | 37 | 0.011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-35_0_4_line_43 |  | 36 | 38 | 0.049335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-35_0_4_line_44 |  | 37 | 39 | 0.059396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-35_0_4_line_45 |  | 38 | 59 | 0.0027645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-35_0_4_line_46 |  | 39 | 40 | 0.19046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-35_0_4_line_47 |  | 40 | 60 | 0.21664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-35_0_4_line_48 |  | 42 | 54 | 0.0047336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-35_0_4_line_49 |  | 43 | 68 | 0.026655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-35_0_4_line_50 |  | 44 | 48 | 0.18757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1711-35_0_4_line_51 |  | 44 | 46 | 0.030067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-35_0_4_line_52 |  | 45 | 46 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-35_0_4_line_53 |  | 45 | 47 | 0.04087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-35_0_4_line_54 |  | 48 | 49 | 0.28777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-35_0_4_line_55 |  | 51 | 52 | 0.078024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-35_0_4_line_56 |  | 51 | 53 | 0.14601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1711-35_0_4_line_57 |  | 52 | 65 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-35_0_4_line_58 |  | 53 | 64 | 0.038481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-35_0_4_line_59 |  | 56 | 57 | 0.10043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-35_0_4_line_60 |  | 57 | 60 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1711-35_0_4_line_61 |  | 58 | 59 | 0.030595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1711-35_0_4_line_62 |  | 61 | 62 | 0.023655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1711-35_0_4_line_63 |  | 61 | 63 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1711-35_0_4_line_64 |  | 63 | 64 | 0.0078404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1711-35_0_4_line_65 |  | 65 | 66 | 0.014334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1711-35_0_4_line_66 |  | 66 | 67 | 0.031399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1711-35_0_4_line_67 |  | 67 | 68 | 0.03946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-35_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 69 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2682765.7764 | 1223790.7235 | 2682764.386 | 1223799.6243 | 2682768.0739 | 1223827.272 | 2682765.4452 | 1223840.8575
1 | 2682733.8428 | 1223682.0759 | 2682736.7145 | 1223684.9844 | 2682740.342 | 1223694.6302 | 2682736.2309 | 1223710.4949 | 2682737.7375 | 1223722.6797 | 2682742.9916 | 1223732.6038 | 2682762.896 | 1223751.9046 | 2682767.9118 | 1223759.3238 | 2682769.3061 | 1223768.1269 | 2682765.7764 | 1223790.7235
2 | 2682566.6131 | 1223593.9394 | 2682586.9504 | 1223602.3494 | 2682614.5961 | 1223605.4683 | 2682628.1969 | 1223614.0073 | 2682656.1704 | 1223642.6594 | 2682663.9108 | 1223656.5095 | 2682671.79 | 1223663.09 | 2682680.6163 | 1223666.4593 | 2682703.1605 | 1223671.0199 | 2682713.4667 | 1223673.7649 | 2682721.1034 | 1223680.331 | 2682726.3491 | 1223682.6833 | 2682733.8428 | 1223682.0759
3 | 2682566.6131 | 1223593.9394 | 2682586.9504 | 1223602.3494 | 2682614.5961 | 1223605.4683 | 2682601.3408 | 1223581.8685 | 2682601.079 | 1223573.4147 | 2682606.9621 | 1223564.8239 | 2682617.8823 | 1223559.4162 | 2682626.6951 | 1223558.3155 | 2682632.2118 | 1223559.7263 | 2682643.2242 | 1223563.5151 | 2682653.406 | 1223571.4173 | 2682662.9348 | 1223574.4516 | 2682664.1957 | 1223574.8583 | 2682691.7181 | 1223582.49 | 2682721.6081 | 1223598.7495 | 2682733.67 | 1223599.0507 | 2682738.8586 | 1223596.7879 | 2682741.0682 | 1223590.5922 | 2682725.5789 | 1223542.7891
4 | 2682566.6131 | 1223593.9394 | 2682559.1971 | 1223575.6275
5 | 2682725.5789 | 1223542.7891 | 2682724.2637 | 1223529.9288 | 2682725.0143 | 1223512.7236
6 | 2682725.8688 | 1223493.1355 | 2682725.0143 | 1223512.7236
7 | 2682717.8067 | 1223394.8367 | 2682717.7765 | 1223400.8292 | 2682721.8441 | 1223413.75 | 2682723.1648 | 1223425.1316 | 2682718.3595 | 1223439.3133
8 | 2682717.8067 | 1223394.8367 | 2682725.4976 | 1223399.1687
9 | 2682725.8688 | 1223493.1355 | 2682726.323 | 1223482.7255 | 2682715.9398 | 1223454.3955 | 2682716.4266 | 1223445.0181 | 2682718.3595 | 1223439.3133
10 | 2682725.4976 | 1223399.1687 | 2682751.4128 | 1223423.7121 | 2682766.6869 | 1223445.5613
11 | 2682725.4976 | 1223399.1687 | 2682723.1199 | 1223393.4429 | 2682714.652 | 1223386.087 | 2682708.4692 | 1223375.8386 | 2682707.3659 | 1223368.4516 | 2682719.745 | 1223317.0556 | 2682722.8095 | 1223297.6059
12 | 2682810.596 | 1223498.6522 | 2682821.7344 | 1223507.0127
13 | 2682810.596 | 1223498.6522 | 2682793.0866 | 1223472.869 | 2682766.6869 | 1223445.5613
14 | 2682810.596 | 1223498.6522 | 2682832.7578 | 1223476.2342 | 2682837.6711 | 1223466.5182 | 2682844.1537 | 1223447.5844 | 2682845.1381 | 1223440.5646
15 | 2682821.7344 | 1223507.0127 | 2682823.4707 | 1223517.3995 | 2682833.5922 | 1223528.5256 | 2682849.9676 | 1223548.0332 | 2682853.7631 | 1223578.2843 | 2682860.894 | 1223599.3867 | 2682872.4846 | 1223631.3474 | 2682887.0743 | 1223659.7808 | 2682899.1542 | 1223675.1149 | 2682904.6237 | 1223700.5861 | 2682917.9865 | 1223720.1743 | 2682937.8814 | 1223746.6471 | 2682949.4414 | 1223766.6105 | 2682969.7116 | 1223780.2911 | 2682985.5576 | 1223781.1236 | 2683002.2407 | 1223803.4935 | 2683027.0487 | 1223825.7819
16 | 2683045.4132 | 1223242.2714 | 2683033.3499 | 1223257.2355 | 2683023.4032 | 1223268.9047 | 2683015.3662 | 1223271.4499 | 2682985.6663 | 1223277.9292 | 2682980.6082 | 1223279.5153 | 2682976.0212 | 1223283.7543 | 2682961.1545 | 1223298.5349 | 2682958.8426 | 1223301.16 | 2682957.7399 | 1223305.1807 | 2682953.6377 | 1223324.7034 | 2682948.834 | 1223331.9747 | 2682929.1679 | 1223349.9352 | 2682899.5173 | 1223371.4257 | 2682889.1954 | 1223377.3972 | 2682864.3346 | 1223387.1689 | 2682854.1697 | 1223393.8542 | 2682850.5946 | 1223401.6875 | 2682848.0269 | 1223419.9641 | 2682845.1381 | 1223440.5646
17 | 2683161.1151 | 1223100.6199 | 2683181.3205 | 1223116.865
18 | 2683134.3363 | 1223075.3058 | 2683157.9111 | 1223098.0439 | 2683161.1151 | 1223100.6199
19 | 2683401.2407 | 1223291.2555 | 2683395.405 | 1223290.9513 | 2683388.4672 | 1223288.1078 | 2683359.4178 | 1223269.7886 | 2683323.006 | 1223248.0532 | 2683306.2899 | 1223232.342 | 2683269.3261 | 1223193.1207 | 2683218.4212 | 1223146.8555 | 2683202.3235 | 1223132.4431 | 2683183.7647 | 1223118.8301 | 2683181.3205 | 1223116.865
20 | 2683114.159 | 1223066.8342 | 2683120.8755 | 1223065.4603 | 2683126.352 | 1223067.6049 | 2683134.3363 | 1223075.3058
21 | 2683369.4074 | 1223098.1123 | 2683369.812 | 1223173.1688 | 2683373.6737 | 1223200.1522 | 2683377.4797 | 1223218.1176 | 2683383.0353 | 1223234.6288 | 2683392.1708 | 1223252.2131 | 2683406.5459 | 1223272.0501 | 2683409.0501 | 1223276.8217 | 2683409.4802 | 1223282.9319 | 2683407.1184 | 1223288.0245 | 2683401.2407 | 1223291.2555
22 | 2683401.2407 | 1223291.2555 | 2683405.4849 | 1223298.5087 | 2683475.7162 | 1223383.9285 | 2683523.366 | 1223438.1111 | 2683523.366 | 1223438.1111
23 | 2683045.4132 | 1223242.2714 | 2683049.6284 | 1223246.7443 | 2683052.5835 | 1223234.9887 | 2683063.396 | 1223219.4401 | 2683102.2216 | 1223171.0491 | 2683111.7881 | 1223156.217 | 2683114.2737 | 1223144.4215 | 2683116.2728 | 1223122.9349 | 2683116.8695 | 1223104.1083 | 2683110.5916 | 1223078.9704 | 2683111.1999 | 1223070.7177 | 2683114.159 | 1223066.8342
24 | 2683114.159 | 1223066.8342 | 2683110.7971 | 1223050.6769
25 | 2683369.4074 | 1223098.1123 | 2683357.0832 | 1223073.1451 | 2683348.3274 | 1223052.1552
26 | 2683369.4074 | 1223098.1123 | 2683369.9507 | 1223069.0781 | 2683373.5313 | 1223046.8354 | 2683383.7605 | 1223026.9874 | 2683389.7611 | 1223017.1648 | 2683391.1363 | 1223005.6318 | 2683359.4791 | 1222901.5627 | 2683344.6434 | 1222863.6294 | 2683338.9638 | 1222840.2341 | 2683338.0811 | 1222807.3995 | 2683340.3591 | 1222790.9839
27 | 2683523.366 | 1223438.1111 | 2683528.7096 | 1223441.0436 | 2683542.0889 | 1223443.5573
28 | 2683045.4132 | 1223242.2714 | 2683028.6981 | 1223224.4273
29 | 2683045.4132 | 1223242.2714 | 2683049.6284 | 1223246.7443 | 2683049.5633 | 1223309.0077 | 2683050.7176 | 1223327.9255 | 2683054.5398 | 1223348.5928 | 2683087.4331 | 1223463.7295 | 2683101.1652 | 1223480.2212
30 | 2683110.1148 | 1223047.3979 | 2683110.1148 | 1223047.3979 | 2683110.7971 | 1223050.6769
31 | 2683348.3274 | 1223052.1552 | 2683345.364 | 1223045.051 | 2683331.1389 | 1223019.0734
32 | 2683348.0013 | 1222765.221 | 2683341.5568 | 1222782.3535 | 2683340.3591 | 1222790.9839
33 | 2683542.0889 | 1223443.5573 | 2683587.7524 | 1223452.1366
34 | 2683090.2013 | 1223543.0218 | 2683091.6688 | 1223493.8757 | 2683090.82 | 1223486.2254 | 2683101.1652 | 1223480.2212
35 | 2683101.1652 | 1223480.2212 | 2683110.622 | 1223487.3247 | 2683156.9546 | 1223535.3136
36 | 2683090.2013 | 1223543.0218 | 2683077.2532 | 1223539.372 | 2683063.8895 | 1223534.5267 | 2683046.6965 | 1223528.0047 | 2683036.448 | 1223518.9334 | 2683033.1078 | 1223514.5169
37 | 2683180.7884 | 1223568.3423 | 2683168.4256 | 1223547.1945 | 2683156.9546 | 1223535.3136
38 | 2682989.8408 | 1223209.7302 | 2683005.265 | 1223207.7438 | 2683015.8644 | 1223210.7269 | 2683028.6981 | 1223224.4273
39 | 2683110.1148 | 1223047.3979 | 2683110.4086 | 1223038.8518 | 2683109.181 | 1223031.9225
40 | 2683348.0013 | 1222765.221 | 2683354.653 | 1222756.586 | 2683375.8316 | 1222728.8971
41 | 2683348.0013 | 1222765.221 | 2683318.4811 | 1222776.0041
42 | 2683375.8316 | 1222728.8971 | 2683377.8006 | 1222733.9948 | 2683383.3372 | 1222731.4903
43 | 2683307.7246 | 1222976.0819 | 2683312.9459 | 1222981.1986 | 2683329.1233 | 1223015.3925 | 2683331.1389 | 1223019.0734
44 | 2683436.2574 | 1222706.5061 | 2683430.1369 | 1222706.9985 | 2683408.9917 | 1222714.9632 | 2683391.724 | 1222727.6966 | 2683383.3372 | 1222731.4903
45 | 2683305.7501 | 1222974.147 | 2683307.7246 | 1222976.0819
46 | 2683436.2574 | 1222706.5061 | 2683444.5193 | 1222705.8436 | 2683483.9309 | 1222716.1696 | 2683534.3901 | 1222737.0358 | 2683563.5069 | 1222763.6734 | 2683583.9365 | 1222772.6328 | 2683602.6242 | 1222789.3286
47 | 2683722.6381 | 1222941.5531 | 2683711.5537 | 1222943.6523 | 2683701.9331 | 1222940.6372 | 2683691.2035 | 1222931.2578 | 2683691.0946 | 1222923.3621 | 2683697.8204 | 1222908.402 | 2683694.8076 | 1222889.6359 | 2683679.2276 | 1222860.5528 | 2683669.663 | 1222849.2218 | 2683602.6242 | 1222789.3286
48 | 2683030.2524 | 1223510.7415 | 2683033.1078 | 1223514.5169
49 | 2683194.2405 | 1223591.3533 | 2683180.7884 | 1223568.3423
50 | 2682989.8408 | 1223209.7302 | 2682990.4906 | 1223200.1216 | 2682992.8899 | 1223164.5866 | 2683009.9642 | 1223109.0204 | 2683017.368 | 1223056.7327 | 2683018.5878 | 1223037.2588 | 2683016.6605 | 1223025.5488
51 | 2682989.8408 | 1223209.7302 | 2682981.8373 | 1223220.2035 | 2682973.5368 | 1223234.9078
52 | 2682962.1448 | 1223246.1348 | 2682969.1148 | 1223242.7414 | 2682973.5368 | 1223234.9078
53 | 2682938.7631 | 1223274.7625 | 2682949.6655 | 1223265.7971 | 2682950.8871 | 1223251.6157 | 2682962.1448 | 1223246.1348
54 | 2683016.6605 | 1223025.5488 | 2683013.4556 | 1223006.0773 | 2683000.6478 | 1222954.2193 | 2682992.2643 | 1222936.9797 | 2682978.8224 | 1222893.0294 | 2682949.945 | 1222830.5849 | 2682929.6016 | 1222795.2444 | 2682923.2077 | 1222789.2402 | 2682911.8252 | 1222795.0412 | 2682904.7231 | 1222794.1306 | 2682899.3351 | 1222784.304
55 | 2683230.6618 | 1223757.451 | 2683234.3059 | 1223747.9511 | 2683237.4023 | 1223732.0725 | 2683246.1521 | 1223681.1473
56 | 2683230.6618 | 1223757.451 | 2683244.4113 | 1223784.0056 | 2683257.259 | 1223816.4628 | 2683269.2473 | 1223846.373 | 2683282.5995 | 1223867.6964 | 2683297.3529 | 1223886.3959
57 | 2683251.1736 | 1223651.9218 | 2683251.1736 | 1223651.9218 | 2683246.1521 | 1223681.1473
58 | 2683297.3529 | 1223886.3959 | 2683306.6824 | 1223898.2207 | 2683322.3011 | 1223915.6711
59 | 2683737.9781 | 1222935.6517 | 2683755.8812 | 1222944.6095 | 2683779.9817 | 1222966.4522 | 2683800.9771 | 1222976.6435 | 2683811.259 | 1222998.9366
60 | 2683737.9781 | 1222935.6517 | 2683723.3036 | 1222941.4271 | 2683722.6381 | 1222941.5531
61 | 2683305.7501 | 1222974.147 | 2683298.4081 | 1222966.9523 | 2683285.6747 | 1222960.8923 | 2683282.0343 | 1222955.857
62 | 2683339.7328 | 1223936.1705 | 2683354.3775 | 1223954.7471
63 | 2683339.7328 | 1223936.1705 | 2683332.9654 | 1223927.5862 | 2683327.53 | 1223921.5133
64 | 2683322.3011 | 1223915.6711 | 2683327.53 | 1223921.5133
65 | 2683242.6662 | 1223640.3852 | 2683251.1736 | 1223651.9218
66 | 2683242.6662 | 1223640.3852 | 2683224.0311 | 1223615.1146
67 | 2683194.2405 | 1223591.3533 | 2683197.8309 | 1223597.4949 | 2683218.4329 | 1223607.523 | 2683224.0311 | 1223615.1146

## bus_geodata
| x | y | coords
0 | 2682765.7764 | 1223790.7235
1 | 2682765.4452 | 1223840.8575
2 | 2682733.8428 | 1223682.0759
3 | 2682566.6131 | 1223593.9394
4 | 2682725.5789 | 1223542.7891
5 | 2682559.1971 | 1223575.6275
6 | 2682725.0143 | 1223512.7236
7 | 2682717.8067 | 1223394.8367
8 | 2682718.3595 | 1223439.3133
9 | 2682725.4976 | 1223399.1687
10 | 2682725.8688 | 1223493.1355
11 | 2682810.596 | 1223498.6522
12 | 2682821.7344 | 1223507.0127
13 | 2682766.6869 | 1223445.5613
14 | 2682845.1381 | 1223440.5646
15 | 2682722.8095 | 1223297.6059
16 | 2683161.1151 | 1223100.6199
17 | 2683181.3205 | 1223116.865
18 | 2683134.3363 | 1223075.3058
19 | 2683401.2407 | 1223291.2555
20 | 2683114.159 | 1223066.8342
21 | 2683369.4074 | 1223098.1123
22 | 2683523.366 | 1223438.1111
23 | 2683045.4132 | 1223242.2714
24 | 2683110.7971 | 1223050.6769
25 | 2683348.3274 | 1223052.1552
26 | 2683340.3591 | 1222790.9839
27 | 2683542.0889 | 1223443.5573
28 | 2683101.1652 | 1223480.2212
29 | 2683090.2013 | 1223543.0218
30 | 2683156.9546 | 1223535.3135
31 | 2683028.6981 | 1223224.4273
32 | 2683110.1148 | 1223047.3979
33 | 2683348.0013 | 1222765.221
34 | 2683375.8316 | 1222728.8971
35 | 2683318.4811 | 1222776.0041
36 | 2683331.1389 | 1223019.0734
37 | 2683383.3372 | 1222731.4903
38 | 2683307.7246 | 1222976.0819
39 | 2683436.2574 | 1222706.5061
40 | 2683602.6242 | 1222789.3286
41 | 2683109.181 | 1223031.9225
42 | 2683033.1078 | 1223514.5169
43 | 2683180.7884 | 1223568.3423
44 | 2682989.8408 | 1223209.7302
45 | 2682962.1448 | 1223246.1348
46 | 2682973.5368 | 1223234.9078
47 | 2682938.7631 | 1223274.7625
48 | 2683016.6605 | 1223025.5488
49 | 2682899.3351 | 1222784.304
50 | 2683027.0487 | 1223825.7819
51 | 2683230.6618 | 1223757.451
52 | 2683246.1521 | 1223681.1473
53 | 2683297.3529 | 1223886.3959
54 | 2683030.2524 | 1223510.7415
55 | 2683587.7524 | 1223452.1366
56 | 2683811.259 | 1222998.9366
57 | 2683737.9781 | 1222935.6517
58 | 2683282.0343 | 1222955.857
59 | 2683305.7501 | 1222974.147
60 | 2683722.6381 | 1222941.5531
61 | 2683339.7328 | 1223936.1705
62 | 2683354.3775 | 1223954.7471
63 | 2683327.53 | 1223921.5133
64 | 2683322.3011 | 1223915.6711
65 | 2683251.1736 | 1223651.9218
66 | 2683242.6662 | 1223640.3852
67 | 2683224.0311 | 1223615.1146
68 | 2683194.2405 | 1223591.3533
69 | 2683049.6284 | 1223246.7443

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98757 | -0.24012 | 0.0044001 | 0.0011028
1 | 0.98752 | -0.24105 | 0.0010227 | 0.0002563
2 | 0.98818 | -0.22822 | 0 | 0
3 | 0.98917 | -0.209 | 0 | 0
4 | 0.99109 | -0.17171 | 0 | 0
5 | 0.98914 | -0.20958 | 0.0016558 | 0.00041498
6 | 0.99128 | -0.16791 | 0.0016742 | 0.0004196
7 | 0.99245 | -0.14531 | 0 | 0
8 | 0.99193 | -0.15531 | 0.0026551 | 0.00066544
9 | 0.99255 | -0.1434 | 0 | 0
10 | 0.99144 | -0.16486 | 0.00084585 | 0.00021199
11 | 0.99428 | -0.10997 | 0 | 0
12 | 0.99428 | -0.11 | 0 | 0
13 | 0.99327 | -0.12942 | 0.003244 | 0.00081302
14 | 0.9953 | -0.090331 | 0.00091137 | 0.00022841
15 | 0.99251 | -0.14418 | 0.00040101 | 0.0001005
16 | 0.99665 | -0.064491 | 0.0023724 | 0.00059459
17 | 0.99641 | -0.069135 | 0.00058256 | 0.000146
18 | 0.99707 | -0.056358 | 0.00033752 | 8.4591e-05
19 | 0.99394 | -0.11712 | 0 | 0
20 | 0.99735 | -0.050963 | 0 | 0
21 | 0.99244 | -0.1462 | 0 | 0
22 | 0.99366 | -0.12259 | 0.00025231 | 6.3236e-05
23 | 1 | 0 | -0.080754 | -0.01987
24 | 0.99734 | -0.051272 | 0.00022541 | 5.6492e-05
25 | 0.99229 | -0.1492 | 0.00028686 | 7.1894e-05
26 | 0.9911 | -0.17246 | 0.00167 | 0.00041854
27 | 0.99363 | -0.12307 | 0.00018671 | 4.6794e-05
28 | 0.99703 | -0.057168 | 0 | 0
29 | 0.99657 | -0.066045 | 0 | 0
30 | 0.99662 | -0.06508 | 0.0015182 | 0.00038049
31 | 0.99923 | -0.014894 | 0.028498 | 0.0071423
32 | 0.99733 | -0.051322 | 0.00047597 | 0.00011929
33 | 0.99102 | -0.17388 | 0 | 0
34 | 0.99093 | -0.17583 | 0 | 0
35 | 0.99101 | -0.17418 | 0.00054479 | 0.00013654
36 | 0.99218 | -0.15122 | 0.0011824 | 0.00029633
37 | 0.9909 | -0.17632 | 0.0010607 | 0.00026584
38 | 0.9921 | -0.15285 | 0.00044471 | 0.00011145
39 | 0.99083 | -0.17774 | 0 | 0
40 | 0.9906 | -0.18227 | 0.00056453 | 0.00014148
41 | 0.99733 | -0.051422 | 0.0003672 | 9.203e-05
42 | 0.99613 | -0.074469 | 0.000243 | 6.0902e-05
43 | 0.99646 | -0.068119 | 0.00015131 | 3.7921e-05
44 | 0.99896 | -0.019979 | 0 | 0
45 | 0.99877 | -0.023589 | 0.0018958 | 0.00047512
46 | 0.99882 | -0.022792 | 0.0026318 | 0.0006596
47 | 0.99874 | -0.02418 | 0.00082677 | 0.00020721
48 | 0.99878 | -0.02346 | 0.0001694 | 4.2456e-05
49 | 0.99855 | -0.027911 | 0.00088021 | 0.0002206
50 | 0.99424 | -0.11069 | 9.2468e-05 | 2.3175e-05
51 | 0.99594 | -0.078293 | 0 | 0
52 | 0.99609 | -0.075363 | 0.00011307 | 2.8339e-05
53 | 0.99566 | -0.08377 | 0.00077882 | 0.00019519
54 | 0.9961 | -0.07506 | 0.0071061 | 0.001781
55 | 0.99358 | -0.12403 | 0.0011784 | 0.00029535
56 | 0.99042 | -0.18568 | 0.00021371 | 5.3562e-05
57 | 0.99044 | -0.1853 | 0 | 0
58 | 0.99209 | -0.15305 | 0.00023682 | 5.9352e-05
59 | 0.9921 | -0.15292 | 0.0011883 | 0.00029782
60 | 0.99045 | -0.18523 | 0.00054784 | 0.0001373
61 | 0.9956 | -0.08493 | 0.00033494 | 8.3943e-05
62 | 0.99559 | -0.084982 | 0.00012588 | 3.1549e-05
63 | 0.99561 | -0.084775 | 0.00018999 | 4.7616e-05
64 | 0.99561 | -0.084685 | 0.00069887 | 0.00017515
65 | 0.99615 | -0.07419 | 0.00018057 | 4.5255e-05
66 | 0.99618 | -0.073577 | 0.00026434 | 6.6249e-05
67 | 0.99626 | -0.072089 | 0.00027954 | 7.006e-05
68 | 0.99637 | -0.070024 | 0.0010901 | 0.00027321
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0010227 | 0.00025568 | -0.0010227 | -0.0002563 | 4.5174e-08 | -6.2027e-07 | 0.0015407 | 0.001541 | 0.001541 | 0.98757 | -0.24012 | 0.98752 | -0.24105 | 0.42334
1 | -0.0054228 | -0.0013584 | 0.0054259 | 0.0013588 | 3.0728e-06 | 3.9497e-07 | 0.0081705 | 0.00817 | 0.0081705 | 0.98757 | -0.24012 | 0.98818 | -0.22822 | 2.2446
2 | -0.0054259 | -0.0013588 | 0.0054308 | 0.0013595 | 4.9684e-06 | 6.3406e-07 | 0.00817 | 0.0081691 | 0.00817 | 0.98818 | -0.22822 | 0.98917 | -0.209 | 2.2445
3 | -0.0070867 | -0.0017742 | 0.0070993 | 0.0017785 | 1.2592e-05 | 4.2577e-06 | 0.01066 | 0.010659 | 0.01066 | 0.98917 | -0.209 | 0.99109 | -0.17171 | 2.9285
4 | 0.0016558 | 0.00041476 | -0.0016558 | -0.00041498 | 4.5967e-08 | -2.2418e-07 | 0.0024908 | 0.0024909 | 0.0024909 | 0.98917 | -0.209 | 0.98914 | -0.20958 | 0.68432
5 | -0.0070993 | -0.0017785 | 0.0071005 | 0.0017789 | 1.2844e-06 | 4.3341e-07 | 0.010659 | 0.010658 | 0.010659 | 0.99109 | -0.17171 | 0.99128 | -0.16791 | 2.9282
6 | -0.0087747 | -0.0021985 | 0.008776 | 0.0021991 | 1.2756e-06 | 5.6357e-07 | 0.013172 | 0.013171 | 0.013172 | 0.99128 | -0.16791 | 0.99144 | -0.16486 | 3.6186
7 | 0.012287 | 0.0030817 | -0.012281 | -0.0030786 | 5.8514e-06 | 3.1512e-06 | 0.018423 | 0.018424 | 0.018424 | 0.99245 | -0.14531 | 0.99193 | -0.15531 | 5.0615
8 | -0.012287 | -0.0030817 | 0.012288 | 0.0030823 | 1.121e-06 | 6.0362e-07 | 0.018423 | 0.018423 | 0.018423 | 0.99245 | -0.14531 | 0.99255 | -0.1434 | 5.0614
9 | 0.0096263 | 0.0024131 | -0.0096219 | -0.0024111 | 4.3798e-06 | 2.0805e-06 | 0.014441 | 0.014441 | 0.014441 | 0.99193 | -0.15531 | 0.99144 | -0.16486 | 3.9673
10 | -0.012689 | -0.0031814 | 0.012698 | 0.003186 | 8.4622e-06 | 4.6094e-06 | 0.019024 | 0.019024 | 0.019024 | 0.99255 | -0.1434 | 0.99327 | -0.12942 | 5.2264
11 | 0.00040103 | 9.9098e-05 | -0.00040101 | -0.0001005 | 1.4818e-08 | -1.4045e-06 | 0.00060072 | 0.00060121 | 0.00060121 | 0.99255 | -0.1434 | 0.99251 | -0.14418 | 0.16517
12 | 9.2471e-05 | 1.785e-05 | -9.2471e-05 | -1.803e-05 | 9.7467e-11 | -1.8023e-07 | 0.00013672 | 0.00013677 | 0.00013677 | 0.99428 | -0.10997 | 0.99428 | -0.11 | 0.037573
13 | 0.015957 | 0.0040076 | -0.015942 | -0.0039991 | 1.4792e-05 | 8.5707e-06 | 0.023883 | 0.023884 | 0.023884 | 0.99428 | -0.10997 | 0.99327 | -0.12942 | 6.5615
14 | -0.016049 | -0.0040255 | 0.016064 | 0.0040342 | 1.5039e-05 | 8.7227e-06 | 0.02402 | 0.02402 | 0.02402 | 0.99428 | -0.10997 | 0.9953 | -0.090331 | 6.5989
15 | 9.2471e-05 | 1.803e-05 | -9.2468e-05 | -2.3175e-05 | 2.8145e-09 | -5.1444e-06 | 0.00013677 | 0.00013839 | 0.00013839 | 0.99428 | -0.11 | 0.99424 | -0.11069 | 0.038019
16 | -0.016976 | -0.0042626 | 0.017049 | 0.0043057 | 7.3477e-05 | 4.3054e-05 | 0.025382 | 0.025381 | 0.025382 | 0.9953 | -0.090331 | 1 | 0 | 6.9731
17 | 0.010184 | 0.0025438 | -0.010182 | -0.0025427 | 2.2467e-06 | 1.1001e-06 | 0.015202 | 0.015202 | 0.015202 | 0.99665 | -0.064491 | 0.99641 | -0.069135 | 4.1763
18 | -0.012556 | -0.0031384 | 0.012561 | 0.003141 | 4.8568e-06 | 2.6277e-06 | 0.018744 | 0.018744 | 0.018744 | 0.99665 | -0.064491 | 0.99707 | -0.056358 | 5.1494
19 | 0.009599 | 0.0023967 | -0.0095772 | -0.0023864 | 2.1836e-05 | 1.0292e-05 | 0.014332 | 0.014333 | 0.014333 | 0.99641 | -0.069135 | 0.99394 | -0.11712 | 3.9377
20 | -0.012899 | -0.0032256 | 0.012902 | 0.0032274 | 3.3105e-06 | 1.8078e-06 | 0.019247 | 0.019247 | 0.019247 | 0.99707 | -0.056358 | 0.99735 | -0.050963 | 5.2877
21 | 0.0079592 | 0.001984 | -0.0079483 | -0.0019796 | 1.0973e-05 | 4.3543e-06 | 0.011912 | 0.011913 | 0.011913 | 0.99394 | -0.11712 | 0.99244 | -0.1462 | 3.2728
22 | 0.001618 | 0.00040236 | -0.0016176 | -0.00040457 | 4.2033e-07 | -2.2076e-06 | 0.0024211 | 0.002422 | 0.002422 | 0.99394 | -0.11712 | 0.99366 | -0.12259 | 0.66539
23 | -0.013971 | -0.0034947 | 0.014005 | 0.0035137 | 3.3949e-05 | 1.9e-05 | 0.020841 | 0.02084 | 0.020841 | 0.99735 | -0.050963 | 1 | 0 | 5.7256
24 | 0.0010686 | 0.00026736 | -0.0010686 | -0.00026757 | 1.5729e-08 | -2.053e-07 | 0.0015942 | 0.0015942 | 0.0015942 | 0.99735 | -0.050963 | 0.99734 | -0.051272 | 0.43798
25 | 0.00334 | 0.00083523 | -0.0033395 | -0.00083558 | 4.7562e-07 | -3.4916e-07 | 0.0050071 | 0.0050074 | 0.0050074 | 0.99244 | -0.1462 | 0.99229 | -0.1492 | 1.3756
26 | 0.0046083 | 0.0011444 | -0.0046026 | -0.0011449 | 5.7243e-06 | -4.6612e-07 | 0.0069057 | 0.0069072 | 0.0069072 | 0.99244 | -0.1462 | 0.9911 | -0.17246 | 1.8976
27 | 0.0013652 | 0.00034134 | -0.0013652 | -0.00034157 | 3.0885e-08 | -2.3552e-07 | 0.0020442 | 0.0020443 | 0.0020443 | 0.99366 | -0.12259 | 0.99363 | -0.12307 | 0.56161
28 | 0.03493 | 0.0087566 | -0.034905 | -0.0087411 | 2.477e-05 | 1.5532e-05 | 0.051977 | 0.051977 | 0.051977 | 1 | 0 | 0.99923 | -0.014894 | 14.2793
29 | 0.013121 | 0.0032942 | -0.013086 | -0.0032746 | 3.5689e-05 | 1.9576e-05 | 0.019527 | 0.019528 | 0.019528 | 1 | 0 | 0.99703 | -0.057168 | 5.3648
30 | 0.00084318 | 0.00021108 | -0.00084318 | -0.00021112 | 1.9875e-09 | -4.2433e-08 | 0.0012579 | 0.0012579 | 0.0012579 | 0.99734 | -0.051272 | 0.99733 | -0.051322 | 0.34559
31 | 0.0030526 | 0.00076369 | -0.0030523 | -0.00076398 | 2.9317e-07 | -2.9434e-07 | 0.0045772 | 0.0045774 | 0.0045774 | 0.99229 | -0.1492 | 0.99218 | -0.15122 | 1.2575
32 | 0.0029326 | 0.00072634 | -0.0029324 | -0.00072656 | 1.9614e-07 | -2.2261e-07 | 0.0043999 | 0.0044 | 0.0044 | 0.9911 | -0.17246 | 0.99102 | -0.17388 | 1.2088
33 | 0.0011785 | 0.00029478 | -0.0011784 | -0.00029535 | 5.4263e-08 | -5.6706e-07 | 0.0017647 | 0.0017649 | 0.0017649 | 0.99363 | -0.12307 | 0.99358 | -0.12403 | 0.48485
34 | 0.0073554 | 0.0018441 | -0.0073523 | -0.001843 | 3.1105e-06 | 1.0935e-06 | 0.010978 | 0.010978 | 0.010978 | 0.99703 | -0.057168 | 0.99657 | -0.066045 | 3.016
35 | 0.0057303 | 0.0014305 | -0.0057282 | -0.0014302 | 2.1531e-06 | 3.5419e-07 | 0.0085502 | 0.0085506 | 0.0085506 | 0.99703 | -0.057168 | 0.99662 | -0.06508 | 2.3491
36 | 0.0073523 | 0.001843 | -0.0073493 | -0.0018419 | 2.9504e-06 | 1.038e-06 | 0.010978 | 0.010978 | 0.010978 | 0.99657 | -0.066045 | 0.99613 | -0.074469 | 3.016
37 | 0.00421 | 0.0010497 | -0.0042094 | -0.0010498 | 6.0729e-07 | -1.4566e-07 | 0.0062839 | 0.006284 | 0.006284 | 0.99662 | -0.06508 | 0.99646 | -0.068119 | 1.7264
38 | 0.0064067 | 0.0015988 | -0.0064052 | -0.0015984 | 1.5467e-06 | 3.9622e-07 | 0.0095383 | 0.0095385 | 0.0095385 | 0.99923 | -0.014894 | 0.99896 | -0.019979 | 2.6205
39 | 0.00036721 | 9.1828e-05 | -0.0003672 | -9.203e-05 | 1.7544e-09 | -2.023e-07 | 0.0005478 | 0.00054787 | 0.00054787 | 0.99733 | -0.051322 | 0.99733 | -0.051422 | 0.15051
40 | 0.0023876 | 0.00059042 | -0.0023873 | -0.00059087 | 2.2e-07 | -4.4821e-07 | 0.0035821 | 0.0035823 | 0.0035823 | 0.99102 | -0.17388 | 0.99093 | -0.17583 | 0.98415
41 | 0.0005448 | 0.00013614 | -0.00054479 | -0.00013654 | 7.8648e-09 | -3.9887e-07 | 0.00081787 | 0.00081802 | 0.00081802 | 0.99102 | -0.17388 | 0.99101 | -0.17418 | 0.22473
42 | 0.0023873 | 0.00059087 | -0.0023873 | -0.00059099 | 5.5542e-08 | -1.1313e-07 | 0.0035823 | 0.0035824 | 0.0035824 | 0.99093 | -0.17583 | 0.9909 | -0.17632 | 0.98417
43 | 0.00187 | 0.00046765 | -0.0018698 | -0.00046819 | 1.4548e-07 | -5.44e-07 | 0.0028041 | 0.0028043 | 0.0028043 | 0.99218 | -0.15122 | 0.9921 | -0.15285 | 0.77042
44 | 0.0013266 | 0.00032514 | -0.0013265 | -0.00032585 | 8.8172e-08 | -7.0863e-07 | 0.0019895 | 0.0019898 | 0.0019898 | 0.9909 | -0.17632 | 0.99083 | -0.17774 | 0.54664
45 | 0.0014251 | 0.00035674 | -0.0014251 | -0.00035677 | 4.7358e-09 | -3.2667e-08 | 0.0021373 | 0.0021373 | 0.0021373 | 0.9921 | -0.15285 | 0.9921 | -0.15292 | 0.58718
46 | 0.0013265 | 0.00032585 | -0.0013262 | -0.00032812 | 2.829e-07 | -2.2715e-06 | 0.0019898 | 0.0019906 | 0.0019906 | 0.99083 | -0.17774 | 0.9906 | -0.18227 | 0.54687
47 | 0.00076166 | 0.00018664 | -0.00076156 | -0.00018936 | 1.0616e-07 | -2.7206e-06 | 0.0011426 | 0.0011436 | 0.0011436 | 0.9906 | -0.18227 | 0.99045 | -0.18523 | 0.31418
48 | 0.0071063 | 0.001781 | -0.0071061 | -0.001781 | 2.0003e-07 | 6.6399e-08 | 0.010615 | 0.010615 | 0.010615 | 0.99613 | -0.074469 | 0.9961 | -0.07506 | 2.9163
49 | 0.0040581 | 0.0010119 | -0.0040577 | -0.001012 | 3.6685e-07 | -1.124e-07 | 0.0060581 | 0.0060582 | 0.0060582 | 0.99646 | -0.068119 | 0.99637 | -0.070024 | 1.6643
50 | 0.00105 | 0.00025707 | -0.0010498 | -0.00025941 | 1.7168e-07 | -2.3453e-06 | 0.0015619 | 0.0015627 | 0.0015627 | 0.99896 | -0.019979 | 0.99878 | -0.02346 | 0.42932
51 | 0.0053552 | 0.0013413 | -0.0053545 | -0.0013413 | 7.174e-07 | 6.5558e-08 | 0.0079766 | 0.0079767 | 0.0079767 | 0.99896 | -0.019979 | 0.99882 | -0.022792 | 2.1914
52 | -0.0027226 | -0.00068181 | 0.0027227 | 0.00068166 | 1.0332e-07 | -1.5307e-07 | 0.004056 | 0.0040559 | 0.004056 | 0.99877 | -0.023589 | 0.99882 | -0.022792 | 1.1143
53 | 0.0008268 | 0.00020669 | -0.00082677 | -0.00020721 | 2.3252e-08 | -5.1998e-07 | 0.0012316 | 0.0012318 | 0.0012318 | 0.99877 | -0.023589 | 0.99874 | -0.02418 | 0.33841
54 | 0.0008804 | 0.00021696 | -0.00088021 | -0.0002206 | 1.8547e-07 | -3.6466e-06 | 0.0013104 | 0.0013117 | 0.0013117 | 0.99878 | -0.02346 | 0.99855 | -0.027911 | 0.36035
55 | -0.0021291 | -0.00053079 | 0.0021294 | 0.00052996 | 2.9586e-07 | -8.2613e-07 | 0.0031801 | 0.0031797 | 0.0031801 | 0.99594 | -0.078293 | 0.99609 | -0.075363 | 0.87365
56 | 0.0021291 | 0.00053079 | -0.0021286 | -0.00053233 | 5.5384e-07 | -1.545e-06 | 0.0031801 | 0.0031807 | 0.0031807 | 0.99594 | -0.078293 | 0.99566 | -0.08377 | 0.87383
57 | -0.0022425 | -0.0005583 | 0.0022426 | 0.000558 | 1.2469e-07 | -3.0622e-07 | 0.0033486 | 0.0033485 | 0.0033486 | 0.99609 | -0.075363 | 0.99615 | -0.07419 | 0.91996
58 | 0.0013497 | 0.00033714 | -0.0013497 | -0.00033761 | 5.8701e-08 | -4.6288e-07 | 0.0020168 | 0.002017 | 0.002017 | 0.99566 | -0.08377 | 0.99561 | -0.084685 | 0.55411
59 | -0.00021371 | -5.3562e-05 | 0.00021372 | 5.2272e-05 | 3.8773e-09 | -1.29e-06 | 0.00032108 | 0.00032063 | 0.00032108 | 0.99042 | -0.18568 | 0.99044 | -0.1853 | 0.08821
60 | -0.00021372 | -5.2272e-05 | 0.00021372 | 5.206e-05 | 6.3394e-10 | -2.1127e-07 | 0.00032063 | 0.00032056 | 0.00032063 | 0.99044 | -0.1853 | 0.99045 | -0.18523 | 0.088086
61 | -0.00023682 | -5.9351e-05 | 0.00023682 | 5.8957e-05 | 1.4469e-09 | -3.9413e-07 | 0.0003552 | 0.00035506 | 0.0003552 | 0.99209 | -0.15305 | 0.9921 | -0.15292 | 0.097581
62 | 0.00012588 | 3.1242e-05 | -0.00012588 | -3.1549e-05 | 3.1383e-10 | -3.0741e-07 | 0.00018804 | 0.00018814 | 0.00018814 | 0.9956 | -0.08493 | 0.99559 | -0.084982 | 0.051688
63 | -0.00046082 | -0.00011518 | 0.00046082 | 0.00011494 | 3.3928e-09 | -2.4596e-07 | 0.00068863 | 0.00068854 | 0.00068863 | 0.9956 | -0.08493 | 0.99561 | -0.084775 | 0.18918
64 | -0.00065081 | -0.00016255 | 0.00065081 | 0.00016245 | 2.7806e-09 | -1.0018e-07 | 0.0009725 | 0.00097246 | 0.0009725 | 0.99561 | -0.084775 | 0.99561 | -0.084685 | 0.26717
65 | -0.0024232 | -0.00060325 | 0.0024232 | 0.00060311 | 7.0371e-08 | -1.4158e-07 | 0.0036182 | 0.0036182 | 0.0036182 | 0.99615 | -0.07419 | 0.99618 | -0.073577 | 0.99402
66 | -0.0026876 | -0.00066936 | 0.0026878 | 0.00066907 | 1.8961e-07 | -2.8747e-07 | 0.004013 | 0.0040129 | 0.004013 | 0.99618 | -0.073577 | 0.99626 | -0.072089 | 1.1025
67 | -0.0029673 | -0.00073913 | 0.0029676 | 0.0007388 | 2.9044e-07 | -3.2799e-07 | 0.0044304 | 0.0044302 | 0.0044304 | 0.99626 | -0.072089 | 0.99637 | -0.070024 | 1.2171

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.080754 | 0.01987

## res_load
| p_mw | q_mvar
0 | 0.0044001 | 0.0011028
1 | 0.0010227 | 0.0002563
2 | 0.0016558 | 0.00041498
3 | 0.0016742 | 0.0004196
4 | 0.0026551 | 0.00066544
5 | 0.00084585 | 0.00021199
6 | 0.003244 | 0.00081302
7 | 0.00091137 | 0.00022841
8 | 0.00040101 | 0.0001005
9 | 0.0023724 | 0.00059459
10 | 0.00058256 | 0.000146
11 | 0.00033752 | 8.4591e-05
12 | 0.00025231 | 6.3236e-05
13 | 0.00022541 | 5.6492e-05
14 | 0.00028686 | 7.1894e-05
15 | 0.00167 | 0.00041854
16 | 0.00018671 | 4.6794e-05
17 | 0.0015182 | 0.00038049
18 | 0.028498 | 0.0071423
19 | 0.00047597 | 0.00011929
20 | 0.00054479 | 0.00013654
21 | 0.0011824 | 0.00029633
22 | 0.0010607 | 0.00026584
23 | 0.00044471 | 0.00011145
24 | 0.00056453 | 0.00014148
25 | 0.0003672 | 9.203e-05
26 | 0.000243 | 6.0902e-05
27 | 0.00015131 | 3.7921e-05
28 | 0.0018958 | 0.00047512
29 | 0.0026318 | 0.0006596
30 | 0.00082677 | 0.00020721
31 | 0.0001694 | 4.2456e-05
32 | 0.00088021 | 0.0002206
33 | 9.2468e-05 | 2.3175e-05
34 | 0.00011307 | 2.8339e-05
35 | 0.00077882 | 0.00019519
36 | 0.0071061 | 0.001781
37 | 0.0011784 | 0.00029535
38 | 0.00021371 | 5.3562e-05
39 | 0.00023682 | 5.9352e-05
40 | 0.0011883 | 0.00029782
41 | 0.00054784 | 0.0001373
42 | 0.00033494 | 8.3943e-05
43 | 0.00012588 | 3.1549e-05
44 | 0.00018999 | 4.7616e-05
45 | 0.00069887 | 0.00017515
46 | 0.00018057 | 4.5255e-05
47 | 0.00026434 | 6.6249e-05
48 | 0.00027954 | 7.006e-05
49 | 0.0010901 | 0.00027321

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1