## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-37_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-37_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-37_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1711-37_0_5_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_1711-37_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-37_0_5_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_1711-37_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1711-37_0_5_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_1711-37_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1711-37_0_5_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1711-37_0_5_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_1711-37_0_5_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_1711-37_0_5_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1711-37_0_5_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1711-37_0_5_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_1711-37_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1711-37_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1711-37_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1711-37_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1711-37_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1711-37_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1711-37_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1711-37_0_5_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_1711-37_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1711-37_0_5_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_1711-37_0_5_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_1711-37_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1711-37_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_1711-37_0_5_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_1711-37_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_1711-37_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1711-37_0_5_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_1711-37_0_5_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1711-37_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1711-37_0_5_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_1711-37_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1711-37_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1711-37_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1711-37_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1711-37_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1711-37_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1711-37_0_5_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_1711-37_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1711-37_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1711-37_0_5_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_1711-37_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1711-37_0_5_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1711-37_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1711-37_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1711-37_0_5_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_1711-37_0_5_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1711-37_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_1711-37_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_1711-37_0_5_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_1711-37_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_1711-37_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1711-37_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1711-37_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1711-37_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_1711-37_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_1711-37_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_1711-37_0_5_node_63 | 0.4 | n |  | TRUE
62 | bus_MV_228_1_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-37_0_5_load_0 | 0 | 0.0035151 | 0.00088096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-37_0_5_load_1 | 1 | 0.0039249 | 0.00098367 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-37_0_5_load_3 | 2 | 0.00048891 | 0.00012253 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-37_0_5_load_4 | 4 | 0.0002429 | 6.0876e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-37_0_5_load_27 | 5 | 0.00053687 | 0.00013455 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-37_0_5_load_66 | 7 | 0.012058 | 0.0030221 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-37_0_5_load_53 | 11 | 0.0005414 | 0.00013569 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-37_0_5_load_24 | 12 | 0.012532 | 0.0031408 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-37_0_5_load_51 | 13 | 0.00058469 | 0.00014654 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-37_0_5_load_52 | 14 | 0.00053898 | 0.00013508 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-37_0_5_load_6 | 15 | 0.020658 | 0.0051775 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-37_0_5_load_34 | 20 | 0.0072376 | 0.0018139 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-37_0_5_load_35 | 22 | 0.0056314 | 0.0014114 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-37_0_5_load_47 | 24 | 0.0045397 | 0.0011377 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-37_0_5_load_59 | 25 | 0.0046927 | 0.0011761 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-37_0_5_load_40 | 26 | 0.023616 | 0.0059187 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-37_0_5_load_41 | 27 | 0.02164 | 0.0054235 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-37_0_5_load_45 | 28 | 0.0089677 | 0.0022475 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-37_0_5_load_42 | 29 | 0.0044281 | 0.0011098 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-37_0_5_load_61 | 31 | 0.019171 | 0.0048046 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-37_0_5_load_60 | 32 | 0.017524 | 0.004392 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-37_0_5_load_67 | 34 | 0.00687 | 0.0017218 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-37_0_5_load_23 | 37 | 0.012141 | 0.0030428 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-37_0_5_load_28 | 38 | 0.011613 | 0.0029106 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-37_0_5_load_33 | 39 | 0.0096235 | 0.0024119 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-37_0_5_load_58 | 41 | 0.0047107 | 0.0011806 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-37_0_5_load_38 | 42 | 0.01957 | 0.0049047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-37_0_5_load_43 | 43 | 0.0046962 | 0.001177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-37_0_5_load_65 | 44 | 0.018602 | 0.0046622 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-37_0_5_load_39 | 45 | 0.017569 | 0.0044033 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-37_0_5_load_55 | 46 | 0.00058939 | 0.00014771 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-37_0_5_load_31 | 47 | 0.01148 | 0.0028772 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-37_0_5_load_30 | 48 | 0.010936 | 0.0027408 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-37_0_5_load_64 | 49 | 0.0086044 | 0.0021565 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-37_0_5_load_62 | 50 | 0.014221 | 0.0035642 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-37_0_5_load_29 | 51 | 0.0094538 | 0.0023694 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-37_0_5_load_32 | 52 | 0.0059406 | 0.0014889 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-37_0_5_load_36 | 53 | 0.006513 | 0.0016323 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-37_0_5_load_37 | 54 | 0.0070927 | 0.0017776 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-37_0_5_load_46 | 55 | 0.0045256 | 0.0011342 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-37_0_5_load_48 | 56 | 0.0036948 | 0.000926 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-37_0_5_load_49 | 57 | 0.00059291 | 0.0001486 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-37_0_5_load_50 | 58 | 0.00092743 | 0.00023244 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-37_0_5_load_56 | 59 | 0.00054586 | 0.00013681 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-37_0_5_load_57 | 60 | 0.0052055 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-37_0_5_load_63 | 61 | 0.015079 | 0.0037791 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-37_0_5_line_0 |  | 0 | 1 | 0.016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-37_0_5_line_1 |  | 1 | 2 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-37_0_5_line_2 |  | 2 | 3 | 0.034506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-37_0_5_line_3 |  | 3 | 5 | 0.046371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-37_0_5_line_4 |  | 3 | 4 | 0.028203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-37_0_5_line_5 |  | 5 | 19 | 0.054005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-37_0_5_line_6 |  | 6 | 7 | 0.036807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1711-37_0_5_line_7 |  | 6 | 8 | 0.09794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1711-37_0_5_line_8 |  | 7 | 34 | 0.011849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1711-37_0_5_line_9 |  | 8 | 12 | 0.076409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1711-37_0_5_line_10 |  | 9 | 10 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-37_0_5_line_11 |  | 9 | 11 | 0.078702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-37_0_5_line_12 |  | 10 | 46 | 0.022524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1711-37_0_5_line_13 |  | 10 | 33 | 0.033432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1711-37_0_5_line_14 |  | 11 | 14 | 3.7307e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-37_0_5_line_15 |  | 12 | 37 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1711-37_0_5_line_16 |  | 13 | 14 | 0.00019931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-37_0_5_line_17 |  | 15 | 16 | 0.0067162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-37_0_5_line_18 |  | 16 | 17 | 0.11179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1711-37_0_5_line_19 |  | 16 | 18 | 0.1282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_1711-37_0_5_line_20 |  | 17 | 21 | 0.060177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1711-37_0_5_line_21 |  | 17 | 22 | 0.01649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-37_0_5_line_22 |  | 17 | 19 | 0.0099655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-37_0_5_line_23 |  | 18 | 26 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1711-37_0_5_line_24 |  | 18 | 27 | 0.0045672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-37_0_5_line_25 |  | 19 | 20 | 0.04051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-37_0_5_line_26 |  | 20 | 39 | 0.0090613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-37_0_5_line_27 |  | 21 | 28 | 0.004433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-37_0_5_line_28 |  | 21 | 29 | 0.020042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1711-37_0_5_line_29 |  | 23 | 24 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1711-37_0_5_line_30 |  | 23 | 25 | 0.016257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1711-37_0_5_line_31 |  | 24 | 40 | 0.0065725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1711-37_0_5_line_32 |  | 25 | 41 | 0.010878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1711-37_0_5_line_33 |  | 26 | 42 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1711-37_0_5_line_34 |  | 29 | 43 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1711-37_0_5_line_35 |  | 30 | 31 | 0.13059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-37_0_5_line_36 |  | 30 | 32 | 0.024237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-37_0_5_line_37 |  | 31 | 44 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-37_0_5_line_38 |  | 32 | 45 | 0.0025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-37_0_5_line_39 |  | 33 | 34 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1711-37_0_5_line_40 |  | 35 | 36 | 0.009065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1711-37_0_5_line_41 |  | 35 | 37 | 0.0057368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1711-37_0_5_line_42 |  | 36 | 38 | 0.019017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1711-37_0_5_line_43 |  | 38 | 51 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_1711-37_0_5_line_44 |  | 39 | 52 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-37_0_5_line_45 |  | 40 | 55 | 0.029935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-37_0_5_line_46 |  | 40 | 43 | 0.013056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1711-37_0_5_line_47 |  | 41 | 60 | 0.012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1711-37_0_5_line_48 |  | 42 | 53 | 0.013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_1711-37_0_5_line_49 |  | 44 | 61 | 0.013685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-37_0_5_line_50 |  | 45 | 54 | 0.03574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1711-37_0_5_line_51 |  | 46 | 59 | 0.0076454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1711-37_0_5_line_52 |  | 47 | 48 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-37_0_5_line_53 |  | 48 | 51 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-37_0_5_line_54 |  | 49 | 50 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-37_0_5_line_55 |  | 50 | 61 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-37_0_5_line_56 |  | 53 | 54 | 0.015103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1711-37_0_5_line_57 |  | 55 | 56 | 0.00013281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-37_0_5_line_58 |  | 56 | 57 | 0.00033476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-37_0_5_line_59 |  | 57 | 58 | 0.0047336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-37_0_5_line_60 |  | 59 | 60 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-37_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 62 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2680537.6188 | 1226015.9024 | 2680527.8005 | 1226002.7952 | 2680527.8005 | 1226002.7952
1 | 2680527.8005 | 1226002.7952 | 2680523.889 | 1225980.2233
2 | 2680530.7792 | 1225946.8421 | 2680529.5162 | 1225965.104 | 2680523.8066 | 1225979.7478 | 2680523.889 | 1225980.2233
3 | 2680530.7792 | 1225946.8421 | 2680535.4257 | 1225944.092 | 2680550.1115 | 1225930.5371 | 2680564.2651 | 1225915.0414
4 | 2680530.7792 | 1225946.8421 | 2680538.1099 | 1225966.9994 | 2680542.7535 | 1225971.9041
5 | 2680592.0642 | 1225868.9967 | 2680588.5138 | 1225875.8978 | 2680570.4956 | 1225908.2201 | 2680564.2651 | 1225915.0414
6 | 2680739.796 | 1226067.1885 | 2680733.3093 | 1226031.2651 | 2680733.2469 | 1226030.9694
7 | 2680739.796 | 1226067.1885 | 2680757.8188 | 1226080.3419 | 2680769.1387 | 1226101.9769 | 2680771.0088 | 1226105.4935 | 2680817.5567 | 1226097.5089
8 | 2680733.2469 | 1226030.9694 | 2680730.7999 | 1226019.3755
9 | 2680817.5567 | 1226097.5089 | 2680810.8172 | 1226070.1877 | 2680802.2817 | 1226022.6795
10 | 2680704.119 | 1226043.3107 | 2680701.6414 | 1226024.7757 | 2680697.5185 | 1226017.4371
11 | 2680704.119 | 1226043.3107 | 2680684.0665 | 1226040.6148 | 2680676.2178 | 1226049.192 | 2680630.2182 | 1226058.0406
12 | 2680697.5185 | 1226017.4371 | 2680690.7855 | 1226016.9677 | 2680683.9272 | 1226012.3271 | 2680680.218 | 1226005.8154
13 | 2680727.1267 | 1226001.9725 | 2680713.4519 | 1226010.2816 | 2680703.9551 | 1226015.1672 | 2680697.5185 | 1226017.4371
14 | 2680630.1815 | 1226058.0477 | 2680630.2182 | 1226058.0406
15 | 2680799.0257 | 1226004.5565 | 2680802.2817 | 1226022.6795
16 | 2680629.9858 | 1226058.0853 | 2680630.1815 | 1226058.0477
17 | 2680614.6096 | 1225806.3819 | 2680615.8602 | 1225812.9807
18 | 2680594.441 | 1225862.5468 | 2680598.5461 | 1225854.9973 | 2680601.3478 | 1225846.8519 | 2680621.1457 | 1225839.2927 | 2680642.6433 | 1225821.5608 | 2680639.0966 | 1225801.3435 | 2680614.6096 | 1225806.3819
19 | 2680614.6096 | 1225806.3819 | 2680639.0966 | 1225801.3435 | 2680642.6433 | 1225821.5608 | 2680650.8402 | 1225826.4641 | 2680658.0149 | 1225820.0903 | 2680660.3805 | 1225830.1292 | 2680668.2013 | 1225863.3243 | 2680687.2696 | 1225862.0485
20 | 2680594.441 | 1225862.5468 | 2680597.0179 | 1225865.3947 | 2680603.9942 | 1225873.0944 | 2680622.2804 | 1225898.2035 | 2680623.3441 | 1225899.7078 | 2680625.801 | 1225912.5164
21 | 2680594.441 | 1225862.5468 | 2680581.26 | 1225852.6375
22 | 2680592.0642 | 1225868.9967 | 2680597.0179 | 1225865.3947 | 2680594.441 | 1225862.5468
23 | 2680687.2696 | 1225862.0485 | 2680690.4431 | 1225880.6609
24 | 2680687.2696 | 1225862.0485 | 2680691.6982 | 1225860.9318
25 | 2680592.0642 | 1225868.9967 | 2680585.9095 | 1225870.5922 | 2680581.5242 | 1225874.2131 | 2680571.8022 | 1225886.2007 | 2680567.5848 | 1225886.933 | 2680560.1379 | 1225882.3391
26 | 2680560.1379 | 1225882.3391 | 2680552.426 | 1225877.5817
27 | 2680622.0392 | 1225914.8781 | 2680625.801 | 1225912.5164
28 | 2680625.801 | 1225912.5164 | 2680629.5833 | 1225932.1987
29 | 2680656.7344 | 1225953.0963 | 2680640.6816 | 1225955.1877
30 | 2680656.7344 | 1225953.0963 | 2680663.1254 | 1225968.0444
31 | 2680634.1641 | 1225956.0369 | 2680640.6816 | 1225955.1877
32 | 2680667.4018 | 1225978.0468 | 2680663.1254 | 1225968.0444
33 | 2680692.806 | 1225894.5191 | 2680690.4431 | 1225880.6609
34 | 2680629.5833 | 1225932.1987 | 2680631.7003 | 1225943.2154
35 | 2680677.8941 | 1225963.6124 | 2680695.1423 | 1226005.3967 | 2680698.8518 | 1226008.0043 | 2680711.2068 | 1226004.2248 | 2680746.1364 | 1225984.3296 | 2680769.6315 | 1225969.6024
36 | 2680677.8941 | 1225963.6124 | 2680701.5831 | 1225958.4888
37 | 2680769.6315 | 1225969.6024 | 2680781.0278 | 1225962.459
38 | 2680701.5831 | 1225958.4888 | 2680704.0643 | 1225957.9522 | 2680704.0643 | 1225957.9522
39 | 2680727.1267 | 1226001.9725 | 2680730.7999 | 1226019.3755
40 | 2680798.0112 | 1225998.9101 | 2680803.817 | 1225997.8771 | 2680806.9274 | 1225997.1521
41 | 2680798.0112 | 1225998.9101 | 2680799.0257 | 1226004.5565
42 | 2680806.9274 | 1225997.1521 | 2680811.8802 | 1225995.8518 | 2680819.7758 | 1225994.447 | 2680825.6264 | 1225993.8981
43 | 2680825.6264 | 1225993.8981 | 2680844.731 | 1225992.106
44 | 2680540.7944 | 1225870.4063 | 2680552.426 | 1225877.5817
45 | 2680634.1641 | 1225956.0369 | 2680604.8316 | 1225962.0145
46 | 2680634.1641 | 1225956.0369 | 2680631.7003 | 1225943.2154
47 | 2680672.3682 | 1225989.663 | 2680667.4018 | 1225978.0468
48 | 2680695.089 | 1225907.909 | 2680692.806 | 1225894.5191
49 | 2680792.6375 | 1225955.2145 | 2680786.2776 | 1225959.1683 | 2680781.0278 | 1225962.459
50 | 2680697.6274 | 1225922.7967 | 2680697.6274 | 1225922.7967 | 2680704.0643 | 1225957.9522
51 | 2680676.4338 | 1225999.1722 | 2680680.218 | 1226005.8154
52 | 2680866.77 | 1225992.2906 | 2680887.7178 | 1225988.4086
53 | 2680866.77 | 1225992.2906 | 2680864.1769 | 1225992.7711 | 2680853.3183 | 1225991.3004 | 2680844.731 | 1225992.106
54 | 2680801.6071 | 1225949.6382 | 2680813.1321 | 1225942.4732
55 | 2680801.6071 | 1225949.6382 | 2680792.6375 | 1225955.2145
56 | 2680695.089 | 1225907.909 | 2680697.6274 | 1225922.7967
57 | 2680604.7015 | 1225962.041 | 2680604.8316 | 1225962.0145
58 | 2680604.3735 | 1225962.1079 | 2680604.7015 | 1225962.041
59 | 2680599.7352 | 1225963.0531 | 2680604.3735 | 1225962.1079
60 | 2680676.4338 | 1225999.1722 | 2680672.3682 | 1225989.663

## bus_geodata
| x | y | coords
0 | 2680537.6188 | 1226015.9024
1 | 2680527.8005 | 1226002.7952
2 | 2680523.889 | 1225980.2233
3 | 2680530.7792 | 1225946.8421
4 | 2680542.7535 | 1225971.9041
5 | 2680564.2651 | 1225915.0414
6 | 2680739.796 | 1226067.1885
7 | 2680733.2469 | 1226030.9694
8 | 2680817.5567 | 1226097.5089
9 | 2680704.119 | 1226043.3107
10 | 2680697.5185 | 1226017.4371
11 | 2680630.2182 | 1226058.0406
12 | 2680802.2817 | 1226022.6795
13 | 2680629.9858 | 1226058.0853
14 | 2680630.1815 | 1226058.0477
15 | 2680615.8602 | 1225812.9807
16 | 2680614.6096 | 1225806.3819
17 | 2680594.441 | 1225862.5468
18 | 2680687.2696 | 1225862.0485
19 | 2680592.0642 | 1225868.9967
20 | 2680560.1379 | 1225882.3391
21 | 2680625.801 | 1225912.5164
22 | 2680581.26 | 1225852.6375
23 | 2680656.7344 | 1225953.0963
24 | 2680640.6816 | 1225955.1877
25 | 2680663.1254 | 1225968.0444
26 | 2680690.4431 | 1225880.6609
27 | 2680691.6982 | 1225860.9318
28 | 2680622.0392 | 1225914.8781
29 | 2680629.5833 | 1225932.1987
30 | 2680677.8941 | 1225963.6124
31 | 2680769.6315 | 1225969.6024
32 | 2680701.5831 | 1225958.4888
33 | 2680727.1267 | 1226001.9725
34 | 2680730.7999 | 1226019.3755
35 | 2680798.0112 | 1225998.9101
36 | 2680806.9274 | 1225997.1521
37 | 2680799.0257 | 1226004.5565
38 | 2680825.6264 | 1225993.8981
39 | 2680552.426 | 1225877.5817
40 | 2680634.1641 | 1225956.0369
41 | 2680667.4018 | 1225978.0468
42 | 2680692.806 | 1225894.5191
43 | 2680631.7003 | 1225943.2154
44 | 2680781.0278 | 1225962.459
45 | 2680704.0643 | 1225957.9522
46 | 2680680.218 | 1226005.8154
47 | 2680887.7178 | 1225988.4086
48 | 2680866.77 | 1225992.2906
49 | 2680813.1321 | 1225942.4732
50 | 2680801.6071 | 1225949.6382
51 | 2680844.731 | 1225992.106
52 | 2680540.7944 | 1225870.4063
53 | 2680695.089 | 1225907.909
54 | 2680697.6274 | 1225922.7967
55 | 2680604.8316 | 1225962.0145
56 | 2680604.7015 | 1225962.041
57 | 2680604.3735 | 1225962.1079
58 | 2680599.7352 | 1225963.0531
59 | 2680676.4338 | 1225999.1722
60 | 2680672.3682 | 1225989.663
61 | 2680792.6375 | 1225955.2145
62 | 2680677.8941 | 1225963.6124

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98245 | -0.33648 | 0.0035151 | 0.00088096
1 | 0.9825 | -0.33544 | 0.0039249 | 0.00098367
2 | 0.98266 | -0.33237 | 0.00048891 | 0.00012253
3 | 0.98291 | -0.32743 | 0 | 0
4 | 0.9829 | -0.32755 | 0.0002429 | 6.0876e-05
5 | 0.98326 | -0.32059 | 0.00053687 | 0.00013455
6 | 0.97662 | -0.45009 | 0 | 0
7 | 0.9772 | -0.43863 | 0.012058 | 0.0030221
8 | 0.97506 | -0.48064 | 0 | 0
9 | 0.97842 | -0.41478 | 0 | 0
10 | 0.97846 | -0.41396 | 0 | 0
11 | 0.9783 | -0.41717 | 0.0005414 | 0.00013569
12 | 0.97385 | -0.50455 | 0.012532 | 0.0031408
13 | 0.9783 | -0.41717 | 0.00058469 | 0.00014654
14 | 0.9783 | -0.41717 | 0.00053898 | 0.00013508
15 | 0.98837 | -0.22174 | 0.020658 | 0.0051775
16 | 0.9885 | -0.21926 | 0 | 0
17 | 0.98398 | -0.30646 | 0 | 0
18 | 0.99428 | -0.10856 | 0 | 0
19 | 0.98369 | -0.31211 | 0 | 0
20 | 0.98284 | -0.32876 | 0.0072376 | 0.0018139
21 | 0.98207 | -0.34361 | 0 | 0
22 | 0.9839 | -0.30813 | 0.0056314 | 0.0014114
23 | 0.98023 | -0.37942 | 0 | 0
24 | 0.98062 | -0.37175 | 0.0045397 | 0.0011377
25 | 0.97984 | -0.38714 | 0.0046927 | 0.0011761
26 | 0.99523 | -0.090565 | 0.023616 | 0.0059187
27 | 0.99419 | -0.1103 | 0.02164 | 0.0054235
28 | 0.98203 | -0.34433 | 0.0089677 | 0.0022475
29 | 0.98147 | -0.35521 | 0.0044281 | 0.0011098
30 | 0.9981 | -0.036164 | 0 | 0
31 | 0.98903 | -0.21066 | 0.019171 | 0.0048046
32 | 0.99978 | -0.0041249 | 0.017524 | 0.004392
33 | 0.97779 | -0.42723 | 0 | 0
34 | 0.97743 | -0.43429 | 0.00687 | 0.0017218
35 | 0.97355 | -0.5104 | 0 | 0
36 | 0.97346 | -0.51221 | 0 | 0
37 | 0.97361 | -0.50925 | 0.012141 | 0.0030428
38 | 0.97327 | -0.51602 | 0.011613 | 0.0029106
39 | 0.98271 | -0.33131 | 0.0096235 | 0.0024119
40 | 0.98079 | -0.3685 | 0 | 0
41 | 0.97958 | -0.39207 | 0.0047107 | 0.0011806
42 | 0.99601 | -0.075731 | 0.01957 | 0.0049047
43 | 0.98115 | -0.36148 | 0.0046962 | 0.001177
44 | 0.98833 | -0.22421 | 0.018602 | 0.0046622
45 | 1 | 0 | -0.37295 | -0.094949
46 | 0.97893 | -0.40486 | 0.00058939 | 0.00014771
47 | 0.97229 | -0.53533 | 0.01148 | 0.0028772
48 | 0.97252 | -0.53082 | 0.010936 | 0.0027408
49 | 0.98752 | -0.23987 | 0.0086044 | 0.0021565
50 | 0.98763 | -0.23778 | 0.014221 | 0.0035642
51 | 0.97299 | -0.52164 | 0.0094538 | 0.0023694
52 | 0.98264 | -0.33278 | 0.0059406 | 0.0014889
53 | 0.99682 | -0.060255 | 0.006513 | 0.0016323
54 | 0.99775 | -0.042646 | 0.0070927 | 0.0017776
55 | 0.98052 | -0.37379 | 0.0045256 | 0.0011342
56 | 0.98052 | -0.3738 | 0.0036948 | 0.000926
57 | 0.98052 | -0.37381 | 0.00059291 | 0.0001486
58 | 0.98052 | -0.37389 | 0.00092743 | 0.00023244
59 | 0.97909 | -0.40175 | 0.00054586 | 0.00013681
60 | 0.9793 | -0.39753 | 0.0052055 | 0.0013046
61 | 0.98785 | -0.23347 | 0.015079 | 0.0037791
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0035151 | -0.00088096 | 0.0035152 | 0.00088086 | 1.7407e-07 | -9.5982e-08 | 0.0053239 | 0.0053239 | 0.0053239 | 0.98245 | -0.33648 | 0.9825 | -0.33544 | 1.4626
1 | -0.0074402 | -0.0018645 | 0.0074412 | 0.0018649 | 1.0908e-06 | 4.0793e-07 | 0.011268 | 0.011268 | 0.011268 | 0.9825 | -0.33544 | 0.98266 | -0.33237 | 3.0957
2 | -0.0079301 | -0.0019875 | 0.007932 | 0.0019882 | 1.8659e-06 | 7.5694e-07 | 0.012008 | 0.012008 | 0.012008 | 0.98266 | -0.33237 | 0.98291 | -0.32743 | 3.299
3 | -0.0081749 | -0.0020488 | 0.0081776 | 0.0020499 | 2.6633e-06 | 1.1166e-06 | 0.012376 | 0.012376 | 0.012376 | 0.98291 | -0.32743 | 0.98326 | -0.32059 | 3.4
4 | 0.0002429 | 6.052e-05 | -0.0002429 | -6.0876e-05 | 1.4296e-09 | -3.5655e-07 | 0.0003676 | 0.00036772 | 0.00036772 | 0.98291 | -0.32743 | 0.9829 | -0.32755 | 0.10102
5 | -0.0087144 | -0.0021844 | 0.008718 | 0.002186 | 3.5223e-06 | 1.569e-06 | 0.013188 | 0.013188 | 0.013188 | 0.98326 | -0.32059 | 0.98369 | -0.31211 | 3.6231
6 | -0.068381 | -0.017213 | 0.068418 | 0.017235 | 3.7476e-05 | 2.2141e-05 | 0.10421 | 0.10421 | 0.10421 | 0.97662 | -0.45009 | 0.9772 | -0.43863 | 7.1576
7 | 0.068381 | 0.017213 | -0.068281 | -0.017154 | 9.9724e-05 | 5.8929e-05 | 0.10421 | 0.10422 | 0.10422 | 0.97662 | -0.45009 | 0.97506 | -0.48064 | 7.1577
8 | -0.080476 | -0.020257 | 0.080493 | 0.020267 | 1.669e-05 | 1.0088e-05 | 0.12258 | 0.12258 | 0.12258 | 0.9772 | -0.43863 | 0.97743 | -0.43429 | 8.4186
9 | 0.068281 | 0.017154 | -0.068203 | -0.017108 | 7.7803e-05 | 4.5986e-05 | 0.10422 | 0.10422 | 0.10422 | 0.97506 | -0.48064 | 0.97385 | -0.50455 | 7.1578
10 | -0.0016653 | -0.00041644 | 0.0016653 | 0.00041614 | 6.5196e-08 | -2.9882e-07 | 0.0025323 | 0.0025321 | 0.0025323 | 0.97842 | -0.41478 | 0.97846 | -0.41396 | 0.69567
11 | 0.0016653 | 0.00041644 | -0.0016651 | -0.0004173 | 1.8928e-07 | -8.6718e-07 | 0.0025323 | 0.0025326 | 0.0025326 | 0.97842 | -0.41478 | 0.9783 | -0.41717 | 0.69577
12 | -0.089113 | -0.022457 | 0.089152 | 0.022481 | 3.8807e-05 | 2.3705e-05 | 0.13557 | 0.13556 | 0.13557 | 0.97846 | -0.41396 | 0.97893 | -0.40486 | 9.3108
13 | 0.087448 | 0.022041 | -0.087393 | -0.022007 | 5.547e-05 | 3.3822e-05 | 0.13303 | 0.13303 | 0.13303 | 0.97846 | -0.41396 | 0.97779 | -0.42723 | 9.1369
14 | 0.0011237 | 0.00028162 | -0.0011237 | -0.00028162 | 4.1005e-11 | -4.4365e-10 | 0.0017091 | 0.0017091 | 0.0017091 | 0.9783 | -0.41717 | 0.9783 | -0.41717 | 0.46954
15 | 0.055671 | 0.013967 | -0.055659 | -0.01396 | 1.2493e-05 | 7.0791e-06 | 0.08507 | 0.08507 | 0.08507 | 0.97385 | -0.50455 | 0.97361 | -0.50925 | 5.8427
16 | -0.00058469 | -0.00014654 | 0.00058469 | 0.00014653 | 5.8688e-11 | -2.4647e-09 | 0.00088932 | 0.00088932 | 0.00088932 | 0.9783 | -0.41717 | 0.9783 | -0.41717 | 0.24432
17 | -0.020658 | -0.0051775 | 0.020661 | 0.005179 | 2.4363e-06 | 1.4731e-06 | 0.031102 | 0.031102 | 0.031102 | 0.98837 | -0.22174 | 0.9885 | -0.21926 | 8.5445
18 | 0.17576 | 0.04469 | -0.17502 | -0.044226 | 0.00073489 | 0.00046463 | 0.2648 | 0.2648 | 0.2648 | 0.9885 | -0.21926 | 0.98398 | -0.30646 | 18.187
19 | -0.19642 | -0.049869 | 0.19747 | 0.050536 | 0.0010524 | 0.0006669 | 0.2959 | 0.2959 | 0.2959 | 0.9885 | -0.21926 | 0.99428 | -0.10856 | 20.323
20 | 0.13784 | 0.034896 | -0.1376 | -0.034742 | 0.00024543 | 0.00015402 | 0.20857 | 0.20857 | 0.20857 | 0.98398 | -0.30646 | 0.98207 | -0.34361 | 14.3252
21 | 0.0056319 | 0.0014114 | -0.0056314 | -0.0014114 | 4.4855e-07 | 7.7622e-08 | 0.0085167 | 0.0085168 | 0.0085168 | 0.98398 | -0.30646 | 0.9839 | -0.30813 | 2.3398
22 | 0.031549 | 0.0079182 | -0.03154 | -0.0079129 | 8.5076e-06 | 5.3183e-06 | 0.047713 | 0.047713 | 0.047713 | 0.98398 | -0.30646 | 0.98369 | -0.31211 | 13.108
23 | -0.21911 | -0.055961 | 0.2193 | 0.056082 | 0.00019077 | 0.00012111 | 0.32829 | 0.32829 | 0.32829 | 0.99428 | -0.10856 | 0.99523 | -0.090565 | 22.5473
24 | 0.021642 | 0.0054246 | -0.02164 | -0.0054235 | 1.7967e-06 | 1.0906e-06 | 0.032389 | 0.032389 | 0.032389 | 0.99428 | -0.10856 | 0.99419 | -0.1103 | 8.898
25 | 0.022822 | 0.0057269 | -0.022804 | -0.0057158 | 1.8108e-05 | 1.1075e-05 | 0.034525 | 0.034525 | 0.034525 | 0.98369 | -0.31211 | 0.98284 | -0.32876 | 9.485
26 | 0.015566 | 0.0039019 | -0.015565 | -0.0039008 | 1.8874e-06 | 1.0931e-06 | 0.023568 | 0.023568 | 0.023568 | 0.98284 | -0.32876 | 0.98271 | -0.33131 | 6.4747
27 | 0.008968 | 0.0022477 | -0.0089677 | -0.0022475 | 3.0694e-07 | 1.4035e-07 | 0.013588 | 0.013588 | 0.013588 | 0.98207 | -0.34361 | 0.98203 | -0.34433 | 3.733
28 | 0.12863 | 0.032494 | -0.12856 | -0.03245 | 7.1438e-05 | 4.4707e-05 | 0.19499 | 0.19499 | 0.19499 | 0.98207 | -0.34361 | 0.98147 | -0.35521 | 13.3919
29 | -0.10502 | -0.0265 | 0.10505 | 0.026524 | 3.8601e-05 | 2.3888e-05 | 0.15948 | 0.15948 | 0.15948 | 0.98023 | -0.37942 | 0.98062 | -0.37175 | 10.9534
30 | 0.10502 | 0.0265 | -0.10498 | -0.026476 | 3.8764e-05 | 2.399e-05 | 0.15948 | 0.15948 | 0.15948 | 0.98023 | -0.37942 | 0.97984 | -0.38714 | 10.9534
31 | -0.10959 | -0.027662 | 0.10961 | 0.027672 | 1.7055e-05 | 1.0583e-05 | 0.16637 | 0.16637 | 0.16637 | 0.98062 | -0.37175 | 0.98079 | -0.3685 | 11.4265
32 | 0.10028 | 0.0253 | -0.10026 | -0.025285 | 2.3673e-05 | 1.4603e-05 | 0.15235 | 0.15235 | 0.15235 | 0.97984 | -0.38714 | 0.97958 | -0.39207 | 10.4639
33 | -0.24292 | -0.062001 | 0.24309 | 0.062111 | 0.00017424 | 0.00011078 | 0.3636 | 0.3636 | 0.3636 | 0.99523 | -0.090565 | 0.99601 | -0.075731 | 24.9724
34 | 0.12413 | 0.03134 | -0.12409 | -0.031317 | 3.728e-05 | 2.3292e-05 | 0.18827 | 0.18827 | 0.18827 | 0.98147 | -0.35521 | 0.98115 | -0.36148 | 12.9309
35 | 0.076372 | 0.019409 | -0.075736 | -0.019004 | 0.00063591 | 0.00040529 | 0.11395 | 0.11396 | 0.11396 | 0.9981 | -0.036164 | 0.98903 | -0.21066 | 31.3064
36 | -0.076372 | -0.019409 | 0.07649 | 0.019484 | 0.00011802 | 7.5218e-05 | 0.11395 | 0.11395 | 0.11395 | 0.9981 | -0.036164 | 0.99978 | -0.0041249 | 31.3062
37 | 0.056566 | 0.014199 | -0.056529 | -0.014176 | 3.6538e-05 | 2.3212e-05 | 0.085113 | 0.085113 | 0.085113 | 0.98903 | -0.21066 | 0.98833 | -0.22421 | 23.3826
38 | -0.094014 | -0.023876 | 0.094033 | 0.023888 | 1.8668e-05 | 1.1914e-05 | 0.14004 | 0.14004 | 0.14004 | 0.99978 | -0.0041249 | 1 | 0 | 38.4715
39 | 0.087393 | 0.022007 | -0.087363 | -0.021989 | 2.9511e-05 | 1.7995e-05 | 0.13303 | 0.13303 | 0.13303 | 0.97779 | -0.42723 | 0.97743 | -0.43429 | 9.137
40 | 0.043516 | 0.010916 | -0.043512 | -0.010914 | 3.7599e-06 | 1.9555e-06 | 0.066515 | 0.066515 | 0.066515 | 0.97355 | -0.5104 | 0.97346 | -0.51221 | 4.5683
41 | -0.043516 | -0.010916 | 0.043518 | 0.010918 | 2.3794e-06 | 1.2375e-06 | 0.066515 | 0.066514 | 0.066515 | 0.97355 | -0.5104 | 0.97361 | -0.50925 | 4.5683
42 | 0.043512 | 0.010914 | -0.043504 | -0.01091 | 7.8875e-06 | 4.1025e-06 | 0.066515 | 0.066515 | 0.066515 | 0.97346 | -0.51221 | 0.97327 | -0.51602 | 4.5683
43 | 0.031891 | 0.0079996 | -0.031882 | -0.0079946 | 8.5539e-06 | 4.9977e-06 | 0.04876 | 0.04876 | 0.04876 | 0.97327 | -0.51602 | 0.97299 | -0.52164 | 6.6978
44 | 0.0059411 | 0.001489 | -0.0059406 | -0.0014889 | 4.1475e-07 | 9.2304e-08 | 0.0089959 | 0.008996 | 0.008996 | 0.98271 | -0.33131 | 0.98264 | -0.33278 | 2.4714
45 | 0.0097431 | 0.0024424 | -0.0097407 | -0.0024412 | 2.453e-06 | 1.1922e-06 | 0.014782 | 0.014782 | 0.014782 | 0.98079 | -0.3685 | 0.98052 | -0.37379 | 4.061
46 | -0.11935 | -0.030115 | 0.11939 | 0.03014 | 4.0167e-05 | 2.5047e-05 | 0.18115 | 0.18115 | 0.18115 | 0.98079 | -0.3685 | 0.98115 | -0.36148 | 12.4417
47 | 0.09555 | 0.024105 | -0.095525 | -0.024089 | 2.497e-05 | 1.5345e-05 | 0.1452 | 0.1452 | 0.1452 | 0.97958 | -0.39207 | 0.9793 | -0.39753 | 9.9725
48 | -0.26266 | -0.067016 | 0.26286 | 0.067141 | 0.00019651 | 0.00012506 | 0.39283 | 0.39283 | 0.39283 | 0.99601 | -0.075731 | 0.99682 | -0.060255 | 26.9804
49 | 0.037927 | 0.0095136 | -0.03791 | -0.009503 | 1.6735e-05 | 1.0535e-05 | 0.057105 | 0.057105 | 0.057105 | 0.98833 | -0.22421 | 0.98785 | -0.23347 | 15.6883
50 | 0.27727 | 0.071061 | -0.27669 | -0.070697 | 0.00057188 | 0.00036413 | 0.41313 | 0.41313 | 0.41313 | 1 | 0 | 0.99775 | -0.042646 | 28.3746
51 | -0.089742 | -0.022629 | 0.089755 | 0.022637 | 1.3347e-05 | 8.1576e-06 | 0.13646 | 0.13646 | 0.13646 | 0.97893 | -0.40486 | 0.97909 | -0.40175 | 9.3723
52 | -0.01148 | -0.0028772 | 0.011483 | 0.0028785 | 2.4662e-06 | 1.3141e-06 | 0.01757 | 0.017569 | 0.01757 | 0.97229 | -0.53533 | 0.97252 | -0.53082 | 4.8268
53 | -0.022418 | -0.0056193 | 0.022428 | 0.0056253 | 9.8041e-06 | 5.9988e-06 | 0.034302 | 0.034302 | 0.034302 | 0.97252 | -0.53082 | 0.97299 | -0.52164 | 9.4236
54 | -0.0086044 | -0.0021565 | 0.0086053 | 0.0021568 | 8.5544e-07 | 3.7384e-07 | 0.012965 | 0.012965 | 0.012965 | 0.98752 | -0.23987 | 0.98763 | -0.23778 | 3.5619
55 | -0.022827 | -0.005721 | 0.022831 | 0.0057239 | 4.6846e-06 | 2.8629e-06 | 0.034392 | 0.034392 | 0.034392 | 0.98763 | -0.23778 | 0.98785 | -0.23347 | 9.4483
56 | -0.26937 | -0.068773 | 0.2696 | 0.06892 | 0.00022944 | 0.00014606 | 0.40256 | 0.40256 | 0.40256 | 0.99682 | -0.060255 | 0.99775 | -0.042646 | 27.6481
57 | 0.0052151 | 0.001307 | -0.0052151 | -0.001307 | 3.1202e-09 | 3.2083e-10 | 0.0079143 | 0.0079143 | 0.0079143 | 0.98052 | -0.37379 | 0.98052 | -0.3738 | 2.1743
58 | 0.0015203 | 0.00038097 | -0.0015203 | -0.00038098 | 6.6835e-10 | -3.7948e-09 | 0.0023072 | 0.0023072 | 0.0023072 | 0.98052 | -0.3738 | 0.98052 | -0.37381 | 0.63385
59 | 0.00092744 | 0.00023238 | -0.00092743 | -0.00023244 | 3.5163e-09 | -5.7455e-08 | 0.0014074 | 0.0014075 | 0.0014075 | 0.98052 | -0.37381 | 0.98052 | -0.37389 | 0.38666
60 | -0.090301 | -0.022773 | 0.090319 | 0.022785 | 1.8275e-05 | 1.1175e-05 | 0.13729 | 0.13729 | 0.13729 | 0.97909 | -0.40175 | 0.9793 | -0.39753 | 9.4293

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39052 | 0.099353

## res_load
| p_mw | q_mvar
0 | 0.0035151 | 0.00088096
1 | 0.0039249 | 0.00098367
2 | 0.00048891 | 0.00012253
3 | 0.0002429 | 6.0876e-05
4 | 0.00053687 | 0.00013455
5 | 0.012058 | 0.0030221
6 | 0.0005414 | 0.00013569
7 | 0.012532 | 0.0031408
8 | 0.00058469 | 0.00014654
9 | 0.00053898 | 0.00013508
10 | 0.020658 | 0.0051775
11 | 0.0072376 | 0.0018139
12 | 0.0056314 | 0.0014114
13 | 0.0045397 | 0.0011377
14 | 0.0046927 | 0.0011761
15 | 0.023616 | 0.0059187
16 | 0.02164 | 0.0054235
17 | 0.0089677 | 0.0022475
18 | 0.0044281 | 0.0011098
19 | 0.019171 | 0.0048046
20 | 0.017524 | 0.004392
21 | 0.00687 | 0.0017218
22 | 0.012141 | 0.0030428
23 | 0.011613 | 0.0029106
24 | 0.0096235 | 0.0024119
25 | 0.0047107 | 0.0011806
26 | 0.01957 | 0.0049047
27 | 0.0046962 | 0.001177
28 | 0.018602 | 0.0046622
29 | 0.017569 | 0.0044033
30 | 0.00058939 | 0.00014771
31 | 0.01148 | 0.0028772
32 | 0.010936 | 0.0027408
33 | 0.0086044 | 0.0021565
34 | 0.014221 | 0.0035642
35 | 0.0094538 | 0.0023694
36 | 0.0059406 | 0.0014889
37 | 0.006513 | 0.0016323
38 | 0.0070927 | 0.0017776
39 | 0.0045256 | 0.0011342
40 | 0.0036948 | 0.000926
41 | 0.00059291 | 0.0001486
42 | 0.00092743 | 0.00023244
43 | 0.00054586 | 0.00013681
44 | 0.0052055 | 0.0013046
45 | 0.015079 | 0.0037791

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1