## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-45_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_1711-45_1_2_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_1711-45_1_2_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_1711-45_1_2_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1711-45_1_2_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_1711-45_1_2_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_1711-45_1_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1711-45_1_2_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_1711-45_1_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1711-45_1_2_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_1711-45_1_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1711-45_1_2_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_1711-45_1_2_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_1711-45_1_2_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1711-45_1_2_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_1711-45_1_2_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_1711-45_1_2_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_1711-45_1_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_1711-45_1_2_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_1711-45_1_2_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_1711-45_1_2_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_1711-45_1_2_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_1711-45_1_2_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_1711-45_1_2_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_1711-45_1_2_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_1711-45_1_2_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_1711-45_1_2_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_1711-45_1_2_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_1711-45_1_2_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_1711-45_1_2_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_1711-45_1_2_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_1711-45_1_2_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_1711-45_1_2_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_1711-45_1_2_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_1711-45_1_2_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_1711-45_1_2_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_1711-45_1_2_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_1711-45_1_2_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_1711-45_1_2_node_82 | 0.4 | n |  | TRUE
39 | bus_MV_25_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-45_1_2_load_20 | 1 | 0.00089363 | 0.00022397 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-45_1_2_load_59 | 5 | 0.0094946 | 0.0023796 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-45_1_2_load_85 | 7 | 0.0072973 | 0.0018289 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-45_1_2_load_78 | 9 | 0.0068632 | 0.0017201 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-45_1_2_load_74 | 11 | 0.0075473 | 0.0018915 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-45_1_2_load_52 | 12 | 0.012251 | 0.0030704 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-45_1_2_load_53 | 14 | 0.0070587 | 0.0017691 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-45_1_2_load_83 | 15 | 0.0017063 | 0.00042764 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-45_1_2_load_50 | 16 | 0.0045711 | 0.0011456 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-45_1_2_load_54 | 17 | 0.010756 | 0.0026957 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-45_1_2_load_55 | 18 | 0.0036871 | 0.00092408 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-45_1_2_load_56 | 20 | 0.0089089 | 0.0022328 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-45_1_2_load_62 | 23 | 0.0041118 | 0.0010305 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-45_1_2_load_70 | 24 | 0.005266 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-45_1_2_load_63 | 25 | 0.0036082 | 0.00090429 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-45_1_2_load_64 | 26 | 0.0092626 | 0.0023214 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-45_1_2_load_72 | 27 | 0.018518 | 0.0046411 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-45_1_2_load_73 | 28 | 0.002736 | 0.00068571 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-45_1_2_load_71 | 29 | 0.0043479 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-45_1_2_load_65 | 30 | 0.004204 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-45_1_2_load_66 | 31 | 0.011288 | 0.0028289 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-45_1_2_load_75 | 32 | 0.002736 | 0.00068571 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-45_1_2_load_76 | 33 | 0.002736 | 0.00068571 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-45_1_2_load_77 | 34 | 0.010455 | 0.0026202 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-45_1_2_load_79 | 35 | 0.0033236 | 0.00083296 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-45_1_2_load_80 | 36 | 0.0018567 | 0.00046534 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-45_1_2_load_81 | 37 | 0.0017843 | 0.00044719 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-45_1_2_load_82 | 38 | 0.0016864 | 0.00042264 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-45_1_2_line_0 |  | 0 | 1 | 0.017204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-45_1_2_line_1 |  | 0 | 2 | 0.077017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-45_1_2_line_2 |  | 1 | 15 | 0.00028294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-45_1_2_line_3 |  | 2 | 7 | 0.034283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-45_1_2_line_4 |  | 3 | 4 | 0.003958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-45_1_2_line_5 |  | 3 | 5 | 0.012884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-45_1_2_line_6 |  | 3 | 6 | 0.042736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-45_1_2_line_7 |  | 4 | 24 | 0.005874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-45_1_2_line_8 |  | 6 | 14 | 0.013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-45_1_2_line_9 |  | 8 | 9 | 0.011017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-45_1_2_line_10 |  | 8 | 10 | 0.046773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-45_1_2_line_11 |  | 8 | 11 | 0.037569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-45_1_2_line_12 |  | 10 | 12 | 0.042891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-45_1_2_line_13 |  | 10 | 13 | 0.006159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-45_1_2_line_14 |  | 11 | 31 | 0.022514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-45_1_2_line_15 |  | 13 | 16 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-45_1_2_line_16 |  | 14 | 17 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-45_1_2_line_17 |  | 15 | 38 | 0.023375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-45_1_2_line_18 |  | 17 | 18 | 0.057634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-45_1_2_line_19 |  | 18 | 19 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-45_1_2_line_20 |  | 19 | 22 | 0.01712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-45_1_2_line_21 |  | 19 | 23 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-45_1_2_line_22 |  | 20 | 21 | 0.066796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-45_1_2_line_23 |  | 21 | 25 | 0.017929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-45_1_2_line_24 |  | 21 | 26 | 0.031699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-45_1_2_line_25 |  | 22 | 27 | 0.012025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-45_1_2_line_26 |  | 22 | 28 | 0.01188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-45_1_2_line_27 |  | 23 | 29 | 7.5355e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-45_1_2_line_28 |  | 25 | 30 | 0.0084124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-45_1_2_line_29 |  | 26 | 31 | 0.029933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-45_1_2_line_30 |  | 28 | 32 | 0.0090411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-45_1_2_line_31 |  | 29 | 30 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-45_1_2_line_32 |  | 32 | 33 | 0.0090432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-45_1_2_line_33 |  | 33 | 34 | 0.015655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-45_1_2_line_34 |  | 34 | 35 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-45_1_2_line_35 |  | 35 | 36 | 0.022863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-45_1_2_line_36 |  | 36 | 37 | 0.021698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-45_1_2_line_37 |  | 37 | 38 | 0.02166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-45_1_2_trafo_73 | 0.63 MVA 20/0.4 kV | 39 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2682025.9322 | 1223903.5087 | 2682015.5502 | 1223889.7908
1 | 2682017.0188 | 1223970.2754 | 2682025.7062 | 1223966.1145 | 2682027.925 | 1223963.5878 | 2682031.7003 | 1223959.2814 | 2682033.2382 | 1223950.5967 | 2682031.2725 | 1223940.8075 | 2682023.969 | 1223919.9483 | 2682022.5808 | 1223911.7236 | 2682023.611 | 1223906.8568 | 2682024.4777 | 1223905.6012 | 2682025.9322 | 1223903.5087
2 | 2682015.3795 | 1223889.5652 | 2682015.5502 | 1223889.7908
3 | 2682005.9773 | 1223937.8125 | 2682017.0188 | 1223970.2754
4 | 2681961.3689 | 1223673.709 | 2681965.0302 | 1223672.1806
5 | 2681965.0302 | 1223672.1806 | 2681970.7802 | 1223681.9886 | 2681971.6656 | 1223683.2178
6 | 2681937.5118 | 1223639.9913 | 2681942.8578 | 1223643.3449 | 2681950.3498 | 1223651.1199 | 2681961.0863 | 1223666.1445 | 2681965.0302 | 1223672.1806
7 | 2681958.3365 | 1223668.675 | 2681960.4337 | 1223672.2285 | 2681961.3689 | 1223673.709
8 | 2681937.5118 | 1223639.9913 | 2681933.8264 | 1223645.4776 | 2681930.9363 | 1223652.1312 | 2681930.9363 | 1223652.1312
9 | 2681877.5056 | 1223871.6443 | 2681879.3532 | 1223872.4035 | 2681884.7206 | 1223876.3911 | 2681885.826 | 1223878.4453
10 | 2681877.5056 | 1223871.6443 | 2681873.3505 | 1223869.9415 | 2681876.2566 | 1223858.8073 | 2681877.5774 | 1223853.7554 | 2681880.6302 | 1223834.1619 | 2681874.9942 | 1223833.1615
11 | 2681877.5056 | 1223871.6443 | 2681881.2682 | 1223855.0292 | 2681883.947 | 1223842.2241 | 2681884.4647 | 1223834.7913
12 | 2681874.9942 | 1223833.1615 | 2681875.5494 | 1223827.532 | 2681875.8036 | 1223818.4294 | 2681876.1269 | 1223799.3432 | 2681876.0274 | 1223790.3051
13 | 2681868.9117 | 1223832.0883 | 2681874.9942 | 1223833.1615
14 | 2681886.0577 | 1223812.3341 | 2681885.2135 | 1223824.0404 | 2681884.4647 | 1223834.7913
15 | 2681868.9117 | 1223832.0883 | 2681866.2284 | 1223832.5406 | 2681859.3986 | 1223836.0332
16 | 2681930.9363 | 1223652.1312 | 2681930.2681 | 1223661.0058 | 2681931.4118 | 1223666.2447
17 | 2682001.2731 | 1223870.9262 | 2682015.3795 | 1223889.5652
18 | 2681931.4118 | 1223666.2447 | 2681938.3293 | 1223697.9305 | 2681943.9711 | 1223722.4924
19 | 2681947.3373 | 1223737.1476 | 2681943.9711 | 1223722.4924
20 | 2681951.1647 | 1223753.8337 | 2681947.3373 | 1223737.1476
21 | 2681947.3373 | 1223737.1476 | 2681927.6708 | 1223741.5171
22 | 2681886.4267 | 1223750.7632 | 2681886.7823 | 1223743.6633 | 2681889.739 | 1223717.831 | 2681892.5833 | 1223693.0089 | 2681894.4135 | 1223687.8639 | 2681895.51 | 1223684.8145
23 | 2681886.4267 | 1223750.7632 | 2681890.4034 | 1223750.0063 | 2681900.3388 | 1223747.7525 | 2681903.85 | 1223746.6082
24 | 2681886.4267 | 1223750.7632 | 2681886.2709 | 1223753.8187 | 2681885.5494 | 1223766.017 | 2681885.763 | 1223782.4359
25 | 2681951.1647 | 1223753.8337 | 2681962.933 | 1223751.205
26 | 2681951.1647 | 1223753.8337 | 2681953.8233 | 1223765.4121
27 | 2681927.5972 | 1223741.5334 | 2681927.6708 | 1223741.5171
28 | 2681903.85 | 1223746.6082 | 2681908.1624 | 1223745.2028 | 2681911.9882 | 1223744.5766
29 | 2681885.763 | 1223782.4359 | 2681885.7742 | 1223783.2984 | 2681886.5912 | 1223804.9353 | 2681886.0577 | 1223812.3341
30 | 2681953.8233 | 1223765.4121 | 2681955.8465 | 1223774.224
31 | 2681927.5972 | 1223741.5334 | 2681919.2521 | 1223743.3875 | 2681911.9882 | 1223744.5766
32 | 2681957.8703 | 1223783.0378 | 2681955.8465 | 1223774.224
33 | 2681961.3737 | 1223798.2959 | 2681957.8703 | 1223783.0378
34 | 2681965.9413 | 1223815.4516 | 2681963.0198 | 1223805.4651 | 2681961.3737 | 1223798.2959
35 | 2681965.9413 | 1223815.4516 | 2681968.2779 | 1223823.4385 | 2681975.8071 | 1223835.8793
36 | 2681975.8071 | 1223835.8793 | 2681980.0305 | 1223842.8578 | 2681988.2021 | 1223853.6552
37 | 2681988.2021 | 1223853.6552 | 2682001.2731 | 1223870.9262

## bus_geodata
| x | y | coords
0 | 2682025.9322 | 1223903.5087
1 | 2682015.5502 | 1223889.7908
2 | 2682017.0188 | 1223970.2754
3 | 2681965.0302 | 1223672.1806
4 | 2681961.3689 | 1223673.709
5 | 2681971.6656 | 1223683.2178
6 | 2681937.5118 | 1223639.9913
7 | 2682005.9773 | 1223937.8125
8 | 2681877.5056 | 1223871.6443
9 | 2681885.826 | 1223878.4453
10 | 2681874.9942 | 1223833.1615
11 | 2681884.4647 | 1223834.7913
12 | 2681876.0274 | 1223790.3051
13 | 2681868.9117 | 1223832.0883
14 | 2681930.9363 | 1223652.1312
15 | 2682015.3795 | 1223889.5652
16 | 2681859.3986 | 1223836.0332
17 | 2681931.4118 | 1223666.2447
18 | 2681943.9711 | 1223722.4924
19 | 2681947.3373 | 1223737.1476
20 | 2681895.51 | 1223684.8145
21 | 2681886.4267 | 1223750.7632
22 | 2681951.1647 | 1223753.8337
23 | 2681927.6708 | 1223741.5171
24 | 2681958.3365 | 1223668.675
25 | 2681903.85 | 1223746.6082
26 | 2681885.763 | 1223782.4359
27 | 2681962.933 | 1223751.205
28 | 2681953.8233 | 1223765.4121
29 | 2681927.5972 | 1223741.5334
30 | 2681911.9882 | 1223744.5766
31 | 2681886.0577 | 1223812.3341
32 | 2681955.8465 | 1223774.224
33 | 2681957.8703 | 1223783.0378
34 | 2681961.3737 | 1223798.2959
35 | 2681965.9413 | 1223815.4516
36 | 2681975.8071 | 1223835.8793
37 | 2681988.2021 | 1223853.6552
38 | 2682001.2731 | 1223870.9262
39 | 2681951.1647 | 1223753.8337

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99761 | -0.045974 | 0 | 0
1 | 0.99772 | -0.043775 | 0.00089363 | 0.00022397
2 | 0.9971 | -0.055825 | 0 | 0
3 | 0.99354 | -0.12409 | 0 | 0
4 | 0.99352 | -0.12446 | 0 | 0
5 | 0.99343 | -0.12626 | 0.0094946 | 0.0023796
6 | 0.99412 | -0.11296 | 0 | 0
7 | 0.99687 | -0.060212 | 0.0072973 | 0.0018289
8 | 0.98875 | -0.2166 | 0 | 0
9 | 0.98868 | -0.21795 | 0.0068632 | 0.0017201
10 | 0.98803 | -0.23064 | 0 | 0
11 | 0.98956 | -0.20075 | 0.0075473 | 0.0018915
12 | 0.98754 | -0.24003 | 0.012251 | 0.0030704
13 | 0.988 | -0.23114 | 0 | 0
14 | 0.9943 | -0.10935 | 0.0070587 | 0.0017691
15 | 0.99773 | -0.043734 | 0.0017063 | 0.00042764
16 | 0.98796 | -0.23199 | 0.0045711 | 0.0011456
17 | 0.99459 | -0.10387 | 0.010756 | 0.0026957
18 | 0.9963 | -0.070841 | 0.0036871 | 0.00092408
19 | 0.9968 | -0.06127 | 0 | 0
20 | 0.99234 | -0.14709 | 0.0089089 | 0.0022328
21 | 0.99288 | -0.13657 | 0 | 0
22 | 0.99857 | -0.027321 | 0 | 0
23 | 0.99538 | -0.088511 | 0.0041118 | 0.0010305
24 | 0.99349 | -0.12501 | 0.005266 | 0.0013198
25 | 0.99388 | -0.11734 | 0.0036082 | 0.00090429
26 | 0.99138 | -0.16564 | 0.0092626 | 0.0023214
27 | 0.99837 | -0.031215 | 0.018518 | 0.0046411
28 | 1 | 0 | -0.16879 | -0.042239
29 | 0.99537 | -0.088608 | 0.0043479 | 0.0010897
30 | 0.99437 | -0.1078 | 0.004204 | 0.0010536
31 | 0.99021 | -0.18824 | 0.011288 | 0.0028289
32 | 0.99972 | -0.0054355 | 0.002736 | 0.00068571
33 | 0.99946 | -0.010444 | 0.002736 | 0.00068571
34 | 0.99904 | -0.018371 | 0.010455 | 0.0026202
35 | 0.99874 | -0.024128 | 0.0033236 | 0.00083296
36 | 0.99843 | -0.030215 | 0.0018567 | 0.00046534
37 | 0.99816 | -0.03529 | 0.0017843 | 0.00044719
38 | 0.99794 | -0.039682 | 0.0016864 | 0.00042264
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0073022 | -0.0018306 | 0.007303 | 0.0018309 | 7.6536e-07 | 2.6518e-07 | 0.010892 | 0.010892 | 0.010892 | 0.99761 | -0.045974 | 0.99772 | -0.043775 | 2.9923
1 | 0.0073022 | 0.0018306 | -0.0072988 | -0.0018294 | 3.4265e-06 | 1.1879e-06 | 0.010892 | 0.010892 | 0.010892 | 0.99761 | -0.045974 | 0.9971 | -0.055825 | 2.9924
2 | -0.0081966 | -0.0020548 | 0.0081966 | 0.0020548 | 1.5856e-08 | 6.4533e-09 | 0.012225 | 0.012225 | 0.012225 | 0.99772 | -0.043775 | 0.99773 | -0.043734 | 3.3584
3 | 0.0072988 | 0.0018294 | -0.0072973 | -0.0018289 | 1.5253e-06 | 5.2915e-07 | 0.010892 | 0.010893 | 0.010893 | 0.9971 | -0.055825 | 0.99687 | -0.060212 | 2.9925
4 | 0.0052662 | 0.0013198 | -0.0052662 | -0.0013198 | 9.2332e-08 | 7.836e-09 | 0.0078872 | 0.0078872 | 0.0078872 | 0.99354 | -0.12409 | 0.99352 | -0.12446 | 2.1668
5 | 0.0094956 | 0.00238 | -0.0094946 | -0.0023796 | 9.772e-07 | 4.5857e-07 | 0.014222 | 0.014222 | 0.014222 | 0.99354 | -0.12409 | 0.99343 | -0.12626 | 3.907
6 | -0.014762 | -0.0036999 | 0.01477 | 0.0037043 | 7.8334e-06 | 4.4596e-06 | 0.022109 | 0.022109 | 0.022109 | 0.99354 | -0.12409 | 0.99412 | -0.11296 | 6.0738
7 | 0.0052662 | 0.0013198 | -0.005266 | -0.0013198 | 1.3703e-07 | 1.1633e-08 | 0.0078872 | 0.0078872 | 0.0078872 | 0.99352 | -0.12446 | 0.99349 | -0.12501 | 2.1668
8 | -0.01477 | -0.0037043 | 0.014772 | 0.0037058 | 2.5411e-06 | 1.4465e-06 | 0.022109 | 0.022109 | 0.022109 | 0.99412 | -0.11296 | 0.9943 | -0.10935 | 6.0738
9 | 0.0068636 | 0.0017202 | -0.0068632 | -0.0017201 | 4.408e-07 | 1.4082e-07 | 0.010329 | 0.010329 | 0.010329 | 0.98875 | -0.2166 | 0.98868 | -0.21795 | 2.8378
10 | 0.016839 | 0.0042255 | -0.016828 | -0.0042189 | 1.1266e-05 | 6.6109e-06 | 0.025344 | 0.025344 | 0.025344 | 0.98875 | -0.2166 | 0.98803 | -0.23064 | 6.9627
11 | -0.023703 | -0.0059458 | 0.023721 | 0.0059568 | 1.7928e-05 | 1.0992e-05 | 0.035673 | 0.035673 | 0.035673 | 0.98875 | -0.2166 | 0.98956 | -0.20075 | 9.8004
12 | 0.012256 | 0.0030733 | -0.012251 | -0.0030704 | 5.4806e-06 | 2.9585e-06 | 0.018459 | 0.018459 | 0.018459 | 0.98803 | -0.23064 | 0.98754 | -0.24003 | 5.0713
13 | 0.0045714 | 0.0011456 | -0.0045713 | -0.0011456 | 1.0948e-07 | -8.8109e-09 | 0.0068848 | 0.0068848 | 0.0068848 | 0.98803 | -0.23064 | 0.988 | -0.23114 | 1.8914
14 | -0.031268 | -0.0078483 | 0.031287 | 0.0078599 | 1.8667e-05 | 1.1658e-05 | 0.047022 | 0.047022 | 0.047022 | 0.98956 | -0.20075 | 0.99021 | -0.18824 | 12.9181
15 | 0.0045713 | 0.0011456 | -0.0045711 | -0.0011456 | 1.8472e-07 | -1.4856e-08 | 0.0068848 | 0.0068849 | 0.0068849 | 0.988 | -0.23114 | 0.98796 | -0.23199 | 1.8914
16 | -0.021831 | -0.0054748 | 0.021837 | 0.0054783 | 5.7091e-06 | 3.4688e-06 | 0.032672 | 0.032672 | 0.032672 | 0.9943 | -0.10935 | 0.99459 | -0.10387 | 8.9759
17 | -0.0099029 | -0.0024825 | 0.0099048 | 0.0024834 | 1.9121e-06 | 9.1842e-07 | 0.014769 | 0.014769 | 0.014769 | 0.99773 | -0.043734 | 0.99794 | -0.039682 | 4.0576
18 | -0.032593 | -0.0081741 | 0.032644 | 0.0082062 | 5.1394e-05 | 3.2143e-05 | 0.048765 | 0.048764 | 0.048765 | 0.99459 | -0.10387 | 0.9963 | -0.070841 | 13.3969
19 | -0.036331 | -0.0091303 | 0.036348 | 0.0091407 | 1.6608e-05 | 1.0433e-05 | 0.054271 | 0.054271 | 0.054271 | 0.9963 | -0.070841 | 0.9968 | -0.06127 | 14.9097
20 | -0.11374 | -0.028698 | 0.11392 | 0.028816 | 0.00018522 | 0.00011832 | 0.16986 | 0.16986 | 0.16986 | 0.9968 | -0.06127 | 0.99857 | -0.027321 | 46.6637
21 | 0.07739 | 0.019557 | -0.077289 | -0.019493 | 0.00010093 | 6.4333e-05 | 0.11558 | 0.11558 | 0.11558 | 0.9968 | -0.06127 | 0.99538 | -0.088511 | 31.7541
22 | -0.0089089 | -0.0022328 | 0.0089134 | 0.0022348 | 4.4701e-06 | 1.9974e-06 | 0.013359 | 0.013359 | 0.013359 | 0.99234 | -0.14709 | 0.99288 | -0.13657 | 3.67
23 | -0.060868 | -0.01532 | 0.060924 | 0.015355 | 5.5976e-05 | 3.5593e-05 | 0.091245 | 0.091245 | 0.091245 | 0.99288 | -0.13657 | 0.99388 | -0.11734 | 25.0674
24 | 0.051955 | 0.013085 | -0.051883 | -0.013039 | 7.2112e-05 | 4.5742e-05 | 0.077887 | 0.077887 | 0.077887 | 0.99288 | -0.13657 | 0.99138 | -0.16564 | 21.3974
25 | 0.018522 | 0.0046431 | -0.018518 | -0.0046411 | 3.4352e-06 | 2.0412e-06 | 0.0276 | 0.0276 | 0.0276 | 0.99857 | -0.027321 | 0.99837 | -0.031215 | 7.5825
26 | -0.13244 | -0.033459 | 0.13262 | 0.03357 | 0.00017369 | 0.00011101 | 0.19746 | 0.19746 | 0.19746 | 0.99857 | -0.027321 | 1 | 0 | 54.2461
27 | 0.073177 | 0.018462 | -0.073177 | -0.018462 | 3.3844e-07 | 2.1562e-07 | 0.10944 | 0.10944 | 0.10944 | 0.99538 | -0.088511 | 0.99537 | -0.088608 | 30.0654
28 | -0.064532 | -0.01626 | 0.064562 | 0.016278 | 2.9466e-05 | 1.8749e-05 | 0.096647 | 0.096647 | 0.096647 | 0.99388 | -0.11734 | 0.99437 | -0.1078 | 26.5514
29 | 0.04262 | 0.010718 | -0.042574 | -0.010689 | 4.5954e-05 | 2.9025e-05 | 0.063984 | 0.063984 | 0.063984 | 0.99138 | -0.16564 | 0.99021 | -0.18824 | 17.578
30 | 0.034525 | 0.0086689 | -0.034516 | -0.0086633 | 8.9503e-06 | 5.6096e-06 | 0.05138 | 0.05138 | 0.05138 | 1 | 0 | 0.99972 | -0.0054355 | 14.1153
31 | 0.068829 | 0.017372 | -0.068766 | -0.017332 | 6.3217e-05 | 4.0252e-05 | 0.10294 | 0.10294 | 0.10294 | 0.99537 | -0.088608 | 0.99437 | -0.1078 | 28.2797
32 | 0.03178 | 0.0079776 | -0.031773 | -0.0079729 | 7.5894e-06 | 4.7387e-06 | 0.047307 | 0.047307 | 0.047307 | 0.99972 | -0.0054355 | 0.99946 | -0.010444 | 12.9966
33 | 0.029037 | 0.0072871 | -0.029026 | -0.0072803 | 1.0973e-05 | 6.8179e-06 | 0.043234 | 0.043234 | 0.043234 | 0.99946 | -0.010444 | 0.99904 | -0.018371 | 11.8775
34 | 0.018571 | 0.0046601 | -0.018566 | -0.0046571 | 5.0965e-06 | 3.0293e-06 | 0.027662 | 0.027662 | 0.027662 | 0.99904 | -0.018371 | 0.99874 | -0.024128 | 7.5996
35 | 0.015242 | 0.0038241 | -0.015238 | -0.0038216 | 4.4222e-06 | 2.5311e-06 | 0.022711 | 0.022711 | 0.022711 | 0.99874 | -0.024128 | 0.99843 | -0.030215 | 6.2392
36 | 0.013381 | 0.0033563 | -0.013378 | -0.0033545 | 3.2364e-06 | 1.7876e-06 | 0.019944 | 0.019944 | 0.019944 | 0.99843 | -0.030215 | 0.99816 | -0.03529 | 5.4791
37 | 0.011594 | 0.0029073 | -0.011591 | -0.002906 | 2.4264e-06 | 1.2698e-06 | 0.017284 | 0.017284 | 0.017284 | 0.99816 | -0.03529 | 0.99794 | -0.039682 | 4.7483

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17153 | 0.042925

## res_load
| p_mw | q_mvar
0 | 0.00089363 | 0.00022397
1 | 0.0094946 | 0.0023796
2 | 0.0072973 | 0.0018289
3 | 0.0068632 | 0.0017201
4 | 0.0075473 | 0.0018915
5 | 0.012251 | 0.0030704
6 | 0.0070587 | 0.0017691
7 | 0.0017063 | 0.00042764
8 | 0.0045711 | 0.0011456
9 | 0.010756 | 0.0026957
10 | 0.0036871 | 0.00092408
11 | 0.0089089 | 0.0022328
12 | 0.0041118 | 0.0010305
13 | 0.005266 | 0.0013198
14 | 0.0036082 | 0.00090429
15 | 0.0092626 | 0.0023214
16 | 0.018518 | 0.0046411
17 | 0.002736 | 0.00068571
18 | 0.0043479 | 0.0010897
19 | 0.004204 | 0.0010536
20 | 0.011288 | 0.0028289
21 | 0.002736 | 0.00068571
22 | 0.002736 | 0.00068571
23 | 0.010455 | 0.0026202
24 | 0.0033236 | 0.00083296
25 | 0.0018567 | 0.00046534
26 | 0.0017843 | 0.00044719
27 | 0.0016864 | 0.00042264

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1