## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-4_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1711-4_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1711-4_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1711-4_0_6_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_1711-4_0_6_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_1711-4_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1711-4_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1711-4_0_6_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_1711-4_0_6_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1711-4_0_6_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_1711-4_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1711-4_0_6_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_1711-4_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1711-4_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1711-4_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1711-4_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1711-4_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1711-4_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1711-4_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1711-4_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1711-4_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1711-4_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1711-4_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1711-4_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1711-4_0_6_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1711-4_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1711-4_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1711-4_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1711-4_0_6_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_1711-4_0_6_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_1711-4_0_6_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1711-4_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1711-4_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1711-4_0_6_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_1711-4_0_6_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_1711-4_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1711-4_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1711-4_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1711-4_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1711-4_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1711-4_0_6_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_1711-4_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1711-4_0_6_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1711-4_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1711-4_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1711-4_0_6_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1711-4_0_6_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_1711-4_0_6_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1711-4_0_6_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1711-4_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1711-4_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1711-4_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1711-4_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1711-4_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1711-4_0_6_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_1711-4_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1711-4_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_1711-4_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_MV_229_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-4_0_6_load_0 | 0 | 0.0092981 | 0.0023303 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-4_0_6_load_4 | 2 | 0.033823 | 0.0084769 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-4_0_6_load_5 | 3 | 0.0013093 | 0.00032813 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-4_0_6_load_6 | 6 | 0.098564 | 0.024702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-4_0_6_load_59 | 8 | 0.056291 | 0.014108 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-4_0_6_load_34 | 10 | 0.0011719 | 0.00029372 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-4_0_6_load_61 | 12 | 0.058437 | 0.014646 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-4_0_6_load_9 | 13 | 0.0091057 | 0.0022821 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-4_0_6_load_10 | 14 | 0.01365 | 0.0034211 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-4_0_6_load_12 | 16 | 0.015593 | 0.0039081 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-4_0_6_load_16 | 19 | 0.014854 | 0.0037227 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-4_0_6_load_26 | 20 | 0.012683 | 0.0031788 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-4_0_6_load_24 | 21 | 0.025897 | 0.0064905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-4_0_6_load_27 | 23 | 0.0071837 | 0.0018004 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-4_0_6_load_15 | 24 | 0.018713 | 0.0046899 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-4_0_6_load_25 | 25 | 0.0038931 | 0.00097569 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-4_0_6_load_20 | 26 | 0.0041128 | 0.0010308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-4_0_6_load_17 | 27 | 0.0077833 | 0.0019507 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-4_0_6_load_18 | 28 | 0.0074713 | 0.0018725 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-4_0_6_load_62 | 30 | 0.0054123 | 0.0013565 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-4_0_6_load_19 | 32 | 0.0094217 | 0.0023613 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-4_0_6_load_21 | 33 | 0.025037 | 0.0062749 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-4_0_6_load_64 | 34 | 0.0047399 | 0.0011879 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-4_0_6_load_28 | 36 | 0.0014396 | 0.00036081 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-4_0_6_load_29 | 37 | 0.011819 | 0.002962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-4_0_6_load_31 | 39 | 0.0013484 | 0.00033793 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-4_0_6_load_33 | 40 | 0.017912 | 0.0044893 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-4_0_6_load_37 | 42 | 0.013259 | 0.003323 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-4_0_6_load_51 | 43 | 0.0032244 | 0.00080812 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-4_0_6_load_47 | 44 | 0.012518 | 0.0031372 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-4_0_6_load_55 | 46 | 0.0078254 | 0.0019612 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-4_0_6_load_54 | 47 | 0.014761 | 0.0036994 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-4_0_6_load_57 | 48 | 0.0064339 | 0.0016125 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-4_0_6_load_53 | 49 | 0.011811 | 0.0029602 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-4_0_6_load_40 | 50 | 0.014639 | 0.0036688 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-4_0_6_load_41 | 51 | 0.0035586 | 0.00089186 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-4_0_6_load_43 | 52 | 0.0022186 | 0.00055602 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-4_0_6_load_46 | 53 | 0.0022681 | 0.00056843 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-4_0_6_load_56 | 55 | 0.0034087 | 0.00085431 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-4_0_6_load_48 | 56 | 0.0088571 | 0.0022198 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-4_0_6_load_50 | 57 | 0.012416 | 0.0031116 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-4_0_6_load_52 | 58 | 0.0013987 | 0.00035055 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-4_0_6_line_0 |  | 0 | 1 | 0.044469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-4_0_6_line_1 |  | 1 | 2 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1711-4_0_6_line_2 |  | 1 | 3 | 0.01721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1711-4_0_6_line_3 |  | 2 | 4 | 0.06014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1711-4_0_6_line_4 |  | 3 | 5 | 0.055127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1711-4_0_6_line_5 |  | 4 | 8 | 0.06144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1711-4_0_6_line_6 |  | 5 | 9 | 0.048005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1711-4_0_6_line_7 |  | 5 | 10 | 0.0408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-4_0_6_line_8 |  | 6 | 7 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-4_0_6_line_9 |  | 7 | 11 | 0.046884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1711-4_0_6_line_10 |  | 8 | 11 | 0.0075581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1711-4_0_6_line_11 |  | 9 | 42 | 0.040373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1711-4_0_6_line_12 |  | 11 | 12 | 0.018093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-4_0_6_line_13 |  | 13 | 14 | 0.030709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1711-4_0_6_line_14 |  | 13 | 15 | 0.0055861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-4_0_6_line_15 |  | 14 | 16 | 0.009851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1711-4_0_6_line_16 |  | 15 | 17 | 0.016232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-4_0_6_line_17 |  | 15 | 18 | 0.031391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-4_0_6_line_18 |  | 16 | 19 | 0.0077626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1711-4_0_6_line_19 |  | 17 | 20 | 0.004089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-4_0_6_line_20 |  | 17 | 21 | 0.0079528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-4_0_6_line_21 |  | 18 | 22 | 0.051249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-4_0_6_line_22 |  | 18 | 23 | 0.023821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-4_0_6_line_23 |  | 19 | 24 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1711-4_0_6_line_24 |  | 21 | 25 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-4_0_6_line_25 |  | 22 | 26 | 0.02998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-4_0_6_line_26 |  | 24 | 27 | 0.021201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1711-4_0_6_line_27 |  | 26 | 32 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-4_0_6_line_28 |  | 27 | 28 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1711-4_0_6_line_29 |  | 28 | 29 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1711-4_0_6_line_30 |  | 29 | 30 | 0.0012506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-4_0_6_line_31 |  | 29 | 31 | 0.025536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1711-4_0_6_line_32 |  | 30 | 54 | 0.058567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-4_0_6_line_33 |  | 31 | 50 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1711-4_0_6_line_34 |  | 32 | 33 | 0.0068788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-4_0_6_line_35 |  | 34 | 35 | 0.12272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-4_0_6_line_36 |  | 35 | 54 | 0.068722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-4_0_6_line_37 |  | 36 | 37 | 0.0037938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1711-4_0_6_line_38 |  | 36 | 38 | 0.028546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1711-4_0_6_line_39 |  | 37 | 39 | 0.0043898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1711-4_0_6_line_40 |  | 38 | 40 | 0.032524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1711-4_0_6_line_41 |  | 39 | 41 | 0.010911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1711-4_0_6_line_42 |  | 40 | 42 | 0.001997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1711-4_0_6_line_43 |  | 41 | 43 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-4_0_6_line_44 |  | 41 | 44 | 0.017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1711-4_0_6_line_45 |  | 43 | 58 | 0.013473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-4_0_6_line_46 |  | 44 | 56 | 0.0012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1711-4_0_6_line_47 |  | 45 | 46 | 0.015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1711-4_0_6_line_48 |  | 45 | 47 | 0.013997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1711-4_0_6_line_49 |  | 46 | 48 | 0.0071332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1711-4_0_6_line_50 |  | 47 | 49 | 0.021043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1711-4_0_6_line_51 |  | 48 | 55 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1711-4_0_6_line_52 |  | 49 | 57 | 0.0037786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1711-4_0_6_line_53 |  | 50 | 51 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1711-4_0_6_line_54 |  | 51 | 52 | 0.0033881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1711-4_0_6_line_55 |  | 52 | 53 | 0.0083389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1711-4_0_6_line_56 |  | 53 | 55 | 0.0071714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1711-4_0_6_line_57 |  | 56 | 57 | 0.018544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-4_0_6_trafo_30 | 0.63 MVA 20/0.4 kV | 59 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2681908.9746 | 1225794.3784 | 2681907.7537 | 1225770.1785 | 2681905.5683 | 1225755.4607 | 2681906.1249 | 1225750.1301
1 | 2681908.9746 | 1225794.3784 | 2681892.3678 | 1225798.1169
2 | 2681908.9746 | 1225794.3784 | 2681925.7971 | 1225790.5296
3 | 2681833.6316 | 1225811.0312 | 2681848.5886 | 1225807.7679 | 2681871.4606 | 1225802.8236 | 2681892.3678 | 1225798.1169
4 | 2681980.1962 | 1225780.8609 | 2681971.899 | 1225781.6583 | 2681925.7971 | 1225790.5296
5 | 2681833.6316 | 1225811.0312 | 2681821.2889 | 1225750.8432
6 | 2681980.1962 | 1225780.8609 | 2681995.1927 | 1225777.4874 | 2682008.3897 | 1225774.8674 | 2682027.2044 | 1225771.1464
7 | 2681980.1962 | 1225780.8609 | 2681977.6091 | 1225768.3501 | 2681971.9273 | 1225740.9077
8 | 2681814.2777 | 1225696.8876 | 2681830.7701 | 1225695.002 | 2681834.1656 | 1225694.3582
9 | 2681814.2777 | 1225696.8876 | 2681818.7659 | 1225732.707 | 2681819.7706 | 1225743.4392
10 | 2681819.7706 | 1225743.4392 | 2681821.2889 | 1225750.8432
11 | 2682027.2044 | 1225771.1464 | 2682020.1798 | 1225731.3888
12 | 2681819.7706 | 1225743.4392 | 2681802.0119 | 1225746.9028
13 | 2682167.6874 | 1225624.2371 | 2682172.9704 | 1225644.7266 | 2682174.8292 | 1225654.0933
14 | 2682166.2927 | 1225618.828 | 2682167.6874 | 1225624.2371
15 | 2682174.8292 | 1225654.0933 | 2682176.7467 | 1225663.7559
16 | 2682182.0212 | 1225614.6423 | 2682166.2927 | 1225618.828
17 | 2682166.2927 | 1225618.828 | 2682155.487 | 1225589.3477
18 | 2682178.2576 | 1225671.37 | 2682176.7467 | 1225663.7559
19 | 2682180.3823 | 1225610.8949 | 2682182.0212 | 1225614.6423
20 | 2682182.0212 | 1225614.6423 | 2682189.6743 | 1225612.4796
21 | 2682115.1859 | 1225568.911 | 2682120.4795 | 1225566.5825 | 2682125.8499 | 1225565.289 | 2682140.656 | 1225570.8082 | 2682149.3189 | 1225578.1438 | 2682155.487 | 1225589.3477
22 | 2682155.487 | 1225589.3477 | 2682178.2242 | 1225582.2426
23 | 2682180.5691 | 1225683.0164 | 2682179.3424 | 1225676.8364 | 2682178.2576 | 1225671.37
24 | 2682198.5234 | 1225605.4973 | 2682199.8388 | 1225609.6071 | 2682189.6743 | 1225612.4796
25 | 2682115.1859 | 1225568.911 | 2682127.3339 | 1225596.32
26 | 2682184.6968 | 1225703.8122 | 2682180.5691 | 1225683.0164
27 | 2682129.3248 | 1225612.2189 | 2682128.6922 | 1225599.3847 | 2682127.3339 | 1225596.32
28 | 2682184.6968 | 1225703.8122 | 2682188.2267 | 1225721.5957
29 | 2682191.9234 | 1225740.2199 | 2682188.2267 | 1225721.5957
30 | 2682191.9234 | 1225740.2199 | 2682192.1664 | 1225741.4467
31 | 2682191.9234 | 1225740.2199 | 2682166.7566 | 1225744.9534
32 | 2682203.5456 | 1225798.898 | 2682192.1664 | 1225741.4467
33 | 2682166.7566 | 1225744.9534 | 2682152.8933 | 1225747.5662
34 | 2682129.6635 | 1225619.0893 | 2682129.3248 | 1225612.2189
35 | 2682261.0633 | 1225819.7624 | 2682252.4707 | 1225773.3899 | 2682236.7243 | 1225699.4929
36 | 2682203.5456 | 1225798.898 | 2682203.978 | 1225801.0721 | 2682205.2703 | 1225805.7598 | 2682206.5974 | 1225807.9241 | 2682210.8947 | 1225813.4983 | 2682224.3951 | 1225819.6445 | 2682250.4529 | 1225816.7915 | 2682258.3144 | 1225818.9905 | 2682261.0633 | 1225819.7624
37 | 2682042.1402 | 1225691.6708 | 2682045.8569 | 1225690.9102
38 | 2682014.1734 | 1225697.3945 | 2682042.1402 | 1225691.6708
39 | 2682045.8569 | 1225690.9102 | 2682050.1576 | 1225690.03
40 | 2682014.1734 | 1225697.3945 | 2682019.8323 | 1225729.4222
41 | 2682060.8466 | 1225687.8424 | 2682050.1576 | 1225690.03
42 | 2682020.1798 | 1225731.3888 | 2682019.8323 | 1225729.4222
43 | 2682060.8466 | 1225687.8424 | 2682058.5255 | 1225676.5445
44 | 2682060.8466 | 1225687.8424 | 2682064.1439 | 1225704.8504
45 | 2682058.5255 | 1225676.5445 | 2682055.8141 | 1225663.3468
46 | 2682064.1439 | 1225704.8504 | 2682064.3883 | 1225706.1108
47 | 2682075.306 | 1225762.4257 | 2682091.0448 | 1225759.6631
48 | 2682075.306 | 1225762.4257 | 2682072.642 | 1225748.6844
49 | 2682091.0448 | 1225759.6631 | 2682098.0422 | 1225758.2784
50 | 2682068.6369 | 1225728.0256 | 2682072.642 | 1225748.6844
51 | 2682112.2345 | 1225755.4699 | 2682098.0422 | 1225758.2784
52 | 2682068.6369 | 1225728.0256 | 2682067.9177 | 1225724.316
53 | 2682152.8933 | 1225747.5662 | 2682137.7892 | 1225750.4128 | 2682130.7733 | 1225751.8012
54 | 2682130.7733 | 1225751.8012 | 2682127.4497 | 1225752.4589
55 | 2682119.2694 | 1225754.0777 | 2682127.4497 | 1225752.4589
56 | 2682112.2345 | 1225755.4699 | 2682119.2694 | 1225754.0777
57 | 2682067.9177 | 1225724.316 | 2682064.3883 | 1225706.1108

## bus_geodata
| x | y | coords
0 | 2681906.1249 | 1225750.1301
1 | 2681908.9746 | 1225794.3784
2 | 2681892.3678 | 1225798.1169
3 | 2681925.7971 | 1225790.5296
4 | 2681833.6316 | 1225811.0312
5 | 2681980.1962 | 1225780.8609
6 | 2681834.1656 | 1225694.3582
7 | 2681814.2777 | 1225696.8876
8 | 2681821.2889 | 1225750.8432
9 | 2682027.2044 | 1225771.1464
10 | 2681971.9273 | 1225740.9077
11 | 2681819.7706 | 1225743.4392
12 | 2681802.0119 | 1225746.9028
13 | 2682167.6874 | 1225624.2371
14 | 2682174.8292 | 1225654.0933
15 | 2682166.2927 | 1225618.828
16 | 2682176.7467 | 1225663.7559
17 | 2682182.0212 | 1225614.6423
18 | 2682155.487 | 1225589.3477
19 | 2682178.2576 | 1225671.37
20 | 2682180.3823 | 1225610.8949
21 | 2682189.6743 | 1225612.4796
22 | 2682115.1859 | 1225568.911
23 | 2682178.2242 | 1225582.2426
24 | 2682180.5691 | 1225683.0164
25 | 2682198.5234 | 1225605.4973
26 | 2682127.3339 | 1225596.32
27 | 2682184.6968 | 1225703.8122
28 | 2682188.2267 | 1225721.5957
29 | 2682191.9234 | 1225740.2199
30 | 2682192.1664 | 1225741.4467
31 | 2682166.7566 | 1225744.9534
32 | 2682129.3248 | 1225612.2189
33 | 2682129.6635 | 1225619.0893
34 | 2682236.7243 | 1225699.4929
35 | 2682261.0633 | 1225819.7624
36 | 2682042.1402 | 1225691.6708
37 | 2682045.8569 | 1225690.9102
38 | 2682014.1734 | 1225697.3945
39 | 2682050.1576 | 1225690.03
40 | 2682019.8323 | 1225729.4222
41 | 2682060.8466 | 1225687.8424
42 | 2682020.1798 | 1225731.3888
43 | 2682058.5255 | 1225676.5445
44 | 2682064.1439 | 1225704.8504
45 | 2682075.306 | 1225762.4257
46 | 2682091.0448 | 1225759.6631
47 | 2682072.642 | 1225748.6844
48 | 2682098.0422 | 1225758.2784
49 | 2682068.6369 | 1225728.0256
50 | 2682152.8933 | 1225747.5662
51 | 2682130.7733 | 1225751.8012
52 | 2682127.4497 | 1225752.4589
53 | 2682119.2694 | 1225754.0777
54 | 2682203.5456 | 1225798.898
55 | 2682112.2345 | 1225755.4699
56 | 2682064.3883 | 1225706.1108
57 | 2682067.9177 | 1225724.316
58 | 2682055.8141 | 1225663.3468
59 | 2682060.8466 | 1225687.8424

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98363 | -0.31142 | 0.0092981 | 0.0023303
1 | 0.98401 | -0.30397 | 0 | 0
2 | 0.98271 | -0.32925 | 0.033823 | 0.0084769
3 | 0.98538 | -0.27753 | 0.0013093 | 0.00032813
4 | 0.97872 | -0.40674 | 0 | 0
5 | 0.9898 | -0.19289 | 0 | 0
6 | 0.97099 | -0.55862 | 0.098564 | 0.024702
7 | 0.97284 | -0.52215 | 0 | 0
8 | 0.97464 | -0.48656 | 0.056291 | 0.014108
9 | 0.99366 | -0.11947 | 0 | 0
10 | 0.98975 | -0.19374 | 0.0011719 | 0.00029372
11 | 0.97427 | -0.49382 | 0 | 0
12 | 0.97329 | -0.51325 | 0.058437 | 0.014646
13 | 0.97641 | -0.45389 | 0.0091057 | 0.0022821
14 | 0.9778 | -0.4266 | 0.01365 | 0.0034211
15 | 0.97595 | -0.4629 | 0 | 0
16 | 0.97831 | -0.41664 | 0.015593 | 0.0039081
17 | 0.97531 | -0.47553 | 0 | 0
18 | 0.97461 | -0.48922 | 0 | 0
19 | 0.97861 | -0.41068 | 0.014854 | 0.0037227
20 | 0.97526 | -0.47648 | 0.012683 | 0.0031788
21 | 0.97509 | -0.47987 | 0.025897 | 0.0064905
22 | 0.97276 | -0.52557 | 0 | 0
23 | 0.97445 | -0.49236 | 0.0071837 | 0.0018004
24 | 0.97914 | -0.40049 | 0.018713 | 0.0046899
25 | 0.97503 | -0.48093 | 0.0038931 | 0.00097569
26 | 0.97168 | -0.54689 | 0.0041128 | 0.0010308
27 | 0.98019 | -0.37994 | 0.0077833 | 0.0019507
28 | 0.98113 | -0.36154 | 0.0074713 | 0.0018725
29 | 0.98216 | -0.34146 | 0 | 0
30 | 0.98215 | -0.34169 | 0.0054123 | 0.0013565
31 | 0.98363 | -0.31296 | 0 | 0
32 | 0.97116 | -0.5572 | 0.0094217 | 0.0023613
33 | 0.971 | -0.56039 | 0.025037 | 0.0062749
34 | 0.98106 | -0.36315 | 0.0047399 | 0.0011879
35 | 0.98159 | -0.35261 | 0 | 0
36 | 0.99731 | -0.050811 | 0.0014396 | 0.00036081
37 | 0.99696 | -0.057552 | 0.011819 | 0.002962
38 | 1 | 0 | -0.60863 | -0.15653
39 | 0.99656 | -0.065055 | 0.0013484 | 0.00033793
40 | 0.99707 | -0.054978 | 0.017912 | 0.0044893
41 | 0.99558 | -0.083643 | 0 | 0
42 | 0.99691 | -0.058155 | 0.013259 | 0.003323
43 | 0.99553 | -0.084581 | 0.0032244 | 0.00080812
44 | 0.99405 | -0.11276 | 0.012518 | 0.0031372
45 | 0.98959 | -0.19808 | 0 | 0
46 | 0.98847 | -0.21947 | 0.0078254 | 0.0019612
47 | 0.99057 | -0.17934 | 0.014761 | 0.0036994
48 | 0.98799 | -0.22872 | 0.0064339 | 0.0016125
49 | 0.99213 | -0.1494 | 0.011811 | 0.0029602
50 | 0.98444 | -0.29726 | 0.014639 | 0.0036688
51 | 0.98584 | -0.27026 | 0.0035586 | 0.00089186
52 | 0.98605 | -0.26614 | 0.0022186 | 0.00055602
53 | 0.98658 | -0.25588 | 0.0022681 | 0.00056843
54 | 0.98189 | -0.34672 | 0 | 0
55 | 0.98704 | -0.24697 | 0.0034087 | 0.00085431
56 | 0.99394 | -0.11483 | 0.0088571 | 0.0022198
57 | 0.99243 | -0.14377 | 0.012416 | 0.0031116
58 | 0.99552 | -0.084912 | 0.0013987 | 0.00035055
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0092981 | -0.0023303 | 0.0093014 | 0.0023319 | 3.2993e-06 | 1.5469e-06 | 0.014066 | 0.014066 | 0.014066 | 0.98363 | -0.31142 | 0.98401 | -0.30397 | 3.8643
1 | 0.24945 | 0.06342 | -0.24915 | -0.063226 | 0.00030329 | 0.00019346 | 0.37754 | 0.37754 | 0.37754 | 0.98401 | -0.30397 | 0.98271 | -0.32925 | 34.5734
2 | -0.25875 | -0.065752 | 0.25908 | 0.065962 | 0.00032991 | 0.00021048 | 0.39161 | 0.39161 | 0.39161 | 0.98401 | -0.30397 | 0.98538 | -0.27753 | 35.8614
3 | 0.21532 | 0.05475 | -0.21452 | -0.05424 | 0.00080053 | 0.00051006 | 0.32633 | 0.32633 | 0.32633 | 0.98271 | -0.32925 | 0.97872 | -0.40674 | 29.8835
4 | -0.26039 | -0.06629 | 0.26146 | 0.066971 | 0.0010675 | 0.00068105 | 0.39358 | 0.39358 | 0.39358 | 0.98538 | -0.27753 | 0.9898 | -0.19289 | 36.0425
5 | 0.21452 | 0.05424 | -0.21371 | -0.053718 | 0.00081785 | 0.00052112 | 0.32633 | 0.32633 | 0.32633 | 0.97872 | -0.40674 | 0.97464 | -0.48656 | 29.8835
6 | -0.26263 | -0.067265 | 0.26357 | 0.067863 | 0.00093788 | 0.00059839 | 0.39534 | 0.39534 | 0.39534 | 0.9898 | -0.19289 | 0.99366 | -0.11947 | 36.2037
7 | 0.001172 | 0.00029322 | -0.0011719 | -0.00029372 | 4.7492e-08 | -4.9398e-07 | 0.0017618 | 0.0017619 | 0.0017619 | 0.9898 | -0.19289 | 0.98975 | -0.19374 | 0.48405
8 | -0.098564 | -0.024702 | 0.098735 | 0.024812 | 0.00017159 | 0.00010957 | 0.15105 | 0.15105 | 0.15105 | 0.97099 | -0.55862 | 0.97284 | -0.52215 | 41.4962
9 | -0.098735 | -0.024812 | 0.098869 | 0.024896 | 0.00013371 | 8.3823e-05 | 0.15105 | 0.15105 | 0.15105 | 0.97284 | -0.52215 | 0.97427 | -0.49382 | 13.8321
10 | 0.15741 | 0.03961 | -0.15736 | -0.039576 | 5.4594e-05 | 3.4658e-05 | 0.24039 | 0.24039 | 0.24039 | 0.97464 | -0.48656 | 0.97427 | -0.49382 | 22.0134
11 | -0.26357 | -0.067863 | 0.26436 | 0.068366 | 0.00078878 | 0.00050324 | 0.39534 | 0.39534 | 0.39534 | 0.99366 | -0.11947 | 0.99691 | -0.058155 | 36.2037
12 | 0.058491 | 0.01468 | -0.058437 | -0.014646 | 5.4157e-05 | 3.4435e-05 | 0.089341 | 0.089341 | 0.089341 | 0.97427 | -0.49382 | 0.97329 | -0.51325 | 24.5443
13 | -0.097591 | -0.024556 | 0.097719 | 0.024637 | 0.00012742 | 8.0781e-05 | 0.14876 | 0.14876 | 0.14876 | 0.97641 | -0.45389 | 0.9778 | -0.4266 | 20.4342
14 | 0.088486 | 0.022274 | -0.088448 | -0.02225 | 3.8112e-05 | 2.4322e-05 | 0.13488 | 0.13488 | 0.13488 | 0.97641 | -0.45389 | 0.97595 | -0.4629 | 37.0562
15 | -0.11137 | -0.028058 | 0.11142 | 0.028092 | 5.3088e-05 | 3.3729e-05 | 0.16953 | 0.16953 | 0.16953 | 0.9778 | -0.4266 | 0.97831 | -0.41664 | 23.2876
16 | 0.042506 | 0.010665 | -0.042481 | -0.010649 | 2.557e-05 | 1.6162e-05 | 0.064813 | 0.064813 | 0.064813 | 0.97595 | -0.4629 | 0.97531 | -0.47553 | 17.8058
17 | 0.045941 | 0.011584 | -0.045883 | -0.011548 | 5.7799e-05 | 3.66e-05 | 0.070071 | 0.070072 | 0.070072 | 0.97595 | -0.4629 | 0.97461 | -0.48922 | 19.2504
18 | -0.12702 | -0.032 | 0.12705 | 0.032023 | 3.6238e-05 | 2.29e-05 | 0.19325 | 0.19325 | 0.19325 | 0.97831 | -0.41664 | 0.97861 | -0.41068 | 17.697
19 | 0.012684 | 0.0031791 | -0.012683 | -0.0031788 | 5.7424e-07 | 3.1649e-07 | 0.019352 | 0.019352 | 0.019352 | 0.97531 | -0.47553 | 0.97526 | -0.47648 | 5.3165
20 | 0.029797 | 0.00747 | -0.029791 | -0.0074661 | 6.1636e-06 | 3.8455e-06 | 0.045461 | 0.045461 | 0.045461 | 0.97531 | -0.47553 | 0.97509 | -0.47987 | 12.4894
21 | 0.038699 | 0.009747 | -0.038632 | -0.0097047 | 6.7131e-05 | 4.2327e-05 | 0.059102 | 0.059102 | 0.059102 | 0.97461 | -0.48922 | 0.97276 | -0.52557 | 16.2369
22 | 0.0071848 | 0.0018008 | -0.0071837 | -0.0018004 | 1.0749e-06 | 3.9116e-07 | 0.01097 | 0.01097 | 0.01097 | 0.97461 | -0.48922 | 0.97445 | -0.49236 | 3.0137
23 | -0.14191 | -0.035745 | 0.14197 | 0.035789 | 6.9142e-05 | 4.3803e-05 | 0.21584 | 0.21584 | 0.21584 | 0.97861 | -0.41068 | 0.97914 | -0.40049 | 19.7653
24 | 0.0038933 | 0.00097564 | -0.0038931 | -0.00097569 | 1.9694e-07 | -5.9533e-08 | 0.0059412 | 0.0059413 | 0.0059413 | 0.97509 | -0.47987 | 0.97503 | -0.48093 | 1.6322
25 | 0.038632 | 0.0097047 | -0.038592 | -0.0096799 | 3.9271e-05 | 2.4762e-05 | 0.059102 | 0.059102 | 0.059102 | 0.97276 | -0.52557 | 0.97168 | -0.54689 | 16.2369
26 | -0.16069 | -0.040479 | 0.16085 | 0.040579 | 0.00015814 | 0.00010041 | 0.24428 | 0.24428 | 0.24428 | 0.97914 | -0.40049 | 0.98019 | -0.37994 | 22.3695
27 | 0.034479 | 0.0086492 | -0.034463 | -0.0086385 | 1.6941e-05 | 1.0642e-05 | 0.052804 | 0.052804 | 0.052804 | 0.97168 | -0.54689 | 0.97116 | -0.5572 | 14.5066
28 | -0.16863 | -0.04253 | 0.16878 | 0.042625 | 0.00014863 | 9.4437e-05 | 0.25609 | 0.25609 | 0.25609 | 0.98019 | -0.37994 | 0.98113 | -0.36154 | 23.4515
29 | -0.17625 | -0.044497 | 0.17642 | 0.044605 | 0.00016973 | 0.00010791 | 0.26742 | 0.26742 | 0.26742 | 0.98113 | -0.36154 | 0.98216 | -0.34146 | 24.4892
30 | 0.010157 | 0.0025444 | -0.010157 | -0.0025443 | 1.1105e-07 | 5.5247e-08 | 0.015388 | 0.015388 | 0.015388 | 0.98216 | -0.34146 | 0.98215 | -0.34169 | 4.2275
31 | -0.18658 | -0.047149 | 0.18683 | 0.047312 | 0.0002553 | 0.00016242 | 0.28281 | 0.28281 | 0.28281 | 0.98216 | -0.34146 | 0.98363 | -0.31296 | 25.8983
32 | 0.0047447 | 0.0011879 | -0.0047436 | -0.0011879 | 1.1348e-06 | -1.4694e-08 | 0.0071881 | 0.0071884 | 0.0071884 | 0.98215 | -0.34169 | 0.98189 | -0.34672 | 1.9748
33 | -0.18683 | -0.047312 | 0.18697 | 0.047401 | 0.00014104 | 8.9728e-05 | 0.28281 | 0.28281 | 0.28281 | 0.98363 | -0.31296 | 0.98444 | -0.29726 | 25.8983
34 | 0.025041 | 0.0062772 | -0.025037 | -0.0062749 | 3.7974e-06 | 2.3452e-06 | 0.038368 | 0.038368 | 0.038368 | 0.97116 | -0.5572 | 0.971 | -0.56039 | 10.5407
35 | -0.0047399 | -0.0011879 | 0.0047423 | 0.0011879 | 2.3783e-06 | -2.8277e-08 | 0.0071892 | 0.0071887 | 0.0071892 | 0.98106 | -0.36315 | 0.98159 | -0.35261 | 1.9751
36 | -0.0047423 | -0.0011879 | 0.0047436 | 0.0011879 | 1.3317e-06 | -1.668e-08 | 0.0071887 | 0.0071884 | 0.0071887 | 0.98159 | -0.35261 | 0.98189 | -0.34672 | 1.9749
37 | 0.30841 | 0.078969 | -0.30831 | -0.078905 | 0.00010067 | 6.4281e-05 | 0.46075 | 0.46075 | 0.46075 | 0.99731 | -0.050811 | 0.99696 | -0.057552 | 42.1928
38 | -0.30985 | -0.07933 | 0.31061 | 0.079818 | 0.00076458 | 0.00048821 | 0.46289 | 0.46289 | 0.46289 | 0.99731 | -0.050811 | 1 | 0 | 42.3895
39 | 0.29649 | 0.075943 | -0.29638 | -0.075874 | 0.00010774 | 6.8781e-05 | 0.44311 | 0.44311 | 0.44311 | 0.99696 | -0.057552 | 0.99656 | -0.065055 | 40.5775
40 | 0.29637 | 0.076713 | -0.29557 | -0.076206 | 0.00079376 | 0.00050673 | 0.44186 | 0.44187 | 0.44187 | 1 | 0 | 0.99707 | -0.054978 | 40.4638
41 | 0.29503 | 0.075536 | -0.29477 | -0.075367 | 0.00026535 | 0.0001694 | 0.44109 | 0.44109 | 0.44109 | 0.99656 | -0.065055 | 0.99558 | -0.083643 | 40.3931
42 | 0.27766 | 0.071717 | -0.27762 | -0.071689 | 4.3019e-05 | 2.7454e-05 | 0.41513 | 0.41513 | 0.41513 | 0.99707 | -0.054978 | 0.99691 | -0.058155 | 38.0159
43 | 0.0046234 | 0.0011585 | -0.0046232 | -0.0011585 | 2.0653e-07 | -1.7796e-08 | 0.0069101 | 0.0069102 | 0.0069102 | 0.99558 | -0.083643 | 0.99553 | -0.084581 | 1.8984
44 | 0.29014 | 0.074208 | -0.28973 | -0.073948 | 0.00040824 | 0.0002606 | 0.43418 | 0.43418 | 0.43418 | 0.99558 | -0.083643 | 0.99405 | -0.11276 | 39.7604
45 | 0.0013987 | 0.00035039 | -0.0013987 | -0.00035055 | 2.2083e-08 | -1.6105e-07 | 0.0020906 | 0.0020907 | 0.0020907 | 0.99553 | -0.084581 | 0.99552 | -0.084912 | 0.57436
46 | 0.27722 | 0.070811 | -0.27719 | -0.070793 | 2.77e-05 | 1.7678e-05 | 0.41545 | 0.41545 | 0.41545 | 0.99405 | -0.11276 | 0.99394 | -0.11483 | 38.0444
47 | 0.22834 | 0.058162 | -0.22811 | -0.058012 | 0.00023526 | 0.00014995 | 0.34368 | 0.34368 | 0.34368 | 0.98959 | -0.19808 | 0.98847 | -0.21947 | 31.4729
48 | -0.22834 | -0.058162 | 0.22855 | 0.058294 | 0.00020667 | 0.00013173 | 0.34368 | 0.34368 | 0.34368 | 0.98959 | -0.19808 | 0.99057 | -0.17934 | 31.4729
49 | 0.22028 | 0.056051 | -0.22018 | -0.055988 | 9.8224e-05 | 6.2589e-05 | 0.3319 | 0.3319 | 0.3319 | 0.98847 | -0.21947 | 0.98799 | -0.22872 | 30.3941
50 | -0.24331 | -0.061993 | 0.24366 | 0.062218 | 0.00035209 | 0.00022452 | 0.36586 | 0.36586 | 0.36586 | 0.99057 | -0.17934 | 0.99213 | -0.1494 | 33.5033
51 | 0.21375 | 0.054376 | -0.21356 | -0.054256 | 0.00018775 | 0.00011961 | 0.32221 | 0.32221 | 0.32221 | 0.98799 | -0.22872 | 0.98704 | -0.24697 | 29.5068
52 | -0.25547 | -0.065178 | 0.25554 | 0.065222 | 6.9492e-05 | 4.4328e-05 | 0.38357 | 0.38357 | 0.38357 | 0.99213 | -0.1494 | 0.99243 | -0.14377 | 35.1255
53 | -0.20161 | -0.05107 | 0.20187 | 0.051237 | 0.00026178 | 0.00016668 | 0.30494 | 0.30494 | 0.30494 | 0.98444 | -0.29726 | 0.98584 | -0.27026 | 27.9245
54 | -0.20543 | -0.052129 | 0.20547 | 0.052155 | 4.078e-05 | 2.5969e-05 | 0.31031 | 0.31031 | 0.31031 | 0.98584 | -0.27026 | 0.98605 | -0.26614 | 28.4164
55 | -0.20769 | -0.052711 | 0.20779 | 0.052776 | 0.00010255 | 6.5311e-05 | 0.31365 | 0.31365 | 0.31365 | 0.98605 | -0.26614 | 0.98658 | -0.25588 | 28.723
56 | -0.21006 | -0.053345 | 0.21015 | 0.053402 | 9.0124e-05 | 5.7404e-05 | 0.31708 | 0.31708 | 0.31708 | 0.98658 | -0.25588 | 0.98704 | -0.24697 | 29.0362
57 | 0.26833 | 0.068573 | -0.26796 | -0.068334 | 0.00037495 | 0.00023925 | 0.40219 | 0.40219 | 0.40219 | 0.99394 | -0.11483 | 0.99243 | -0.14377 | 36.8302

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60863 | 0.15653

## res_load
| p_mw | q_mvar
0 | 0.0092981 | 0.0023303
1 | 0.033823 | 0.0084769
2 | 0.0013093 | 0.00032813
3 | 0.098564 | 0.024702
4 | 0.056291 | 0.014108
5 | 0.0011719 | 0.00029372
6 | 0.058437 | 0.014646
7 | 0.0091057 | 0.0022821
8 | 0.01365 | 0.0034211
9 | 0.015593 | 0.0039081
10 | 0.014854 | 0.0037227
11 | 0.012683 | 0.0031788
12 | 0.025897 | 0.0064905
13 | 0.0071837 | 0.0018004
14 | 0.018713 | 0.0046899
15 | 0.0038931 | 0.00097569
16 | 0.0041128 | 0.0010308
17 | 0.0077833 | 0.0019507
18 | 0.0074713 | 0.0018725
19 | 0.0054123 | 0.0013565
20 | 0.0094217 | 0.0023613
21 | 0.025037 | 0.0062749
22 | 0.0047399 | 0.0011879
23 | 0.0014396 | 0.00036081
24 | 0.011819 | 0.002962
25 | 0.0013484 | 0.00033793
26 | 0.017912 | 0.0044893
27 | 0.013259 | 0.003323
28 | 0.0032244 | 0.00080812
29 | 0.012518 | 0.0031372
30 | 0.0078254 | 0.0019612
31 | 0.014761 | 0.0036994
32 | 0.0064339 | 0.0016125
33 | 0.011811 | 0.0029602
34 | 0.014639 | 0.0036688
35 | 0.0035586 | 0.00089186
36 | 0.0022186 | 0.00055602
37 | 0.0022681 | 0.00056843
38 | 0.0034087 | 0.00085431
39 | 0.0088571 | 0.0022198
40 | 0.012416 | 0.0031116
41 | 0.0013987 | 0.00035055

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1