## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-59_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-59_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-59_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-59_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-59_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-59_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1711-59_0_5_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_1711-59_0_5_node_80 | 0.4 | n |  | TRUE
8 | bus_LV_1711-59_0_5_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_1711-59_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1711-59_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1711-59_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1711-59_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1711-59_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1711-59_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1711-59_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1711-59_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1711-59_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1711-59_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1711-59_0_5_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_1711-59_0_5_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_1711-59_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1711-59_0_5_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_1711-59_0_5_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_1711-59_0_5_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_1711-59_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1711-59_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1711-59_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1711-59_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1711-59_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1711-59_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1711-59_0_5_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1711-59_0_5_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1711-59_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1711-59_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1711-59_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1711-59_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1711-59_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1711-59_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1711-59_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1711-59_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_1711-59_0_5_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_1711-59_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1711-59_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_1711-59_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1711-59_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1711-59_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1711-59_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1711-59_0_5_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1711-59_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1711-59_0_5_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_1711-59_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1711-59_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1711-59_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1711-59_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_1711-59_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1711-59_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1711-59_0_5_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1711-59_0_5_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1711-59_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1711-59_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1711-59_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_1711-59_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_1711-59_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_1711-59_0_5_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_1711-59_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_1711-59_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_1711-59_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_1711-59_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1711-59_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1711-59_0_5_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_1711-59_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_1711-59_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_1711-59_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_1711-59_0_5_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1711-59_0_5_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_1711-59_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_1711-59_0_5_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_1711-59_0_5_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_1711-59_0_5_node_84 | 0.4 | n |  | TRUE
80 | bus_MV_25_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-59_0_5_load_0 | 0 | 0.0075637 | 0.0018956 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-59_0_5_load_1 | 1 | 0.010985 | 0.0027531 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-59_0_5_load_4 | 4 | 0.015235 | 0.0038183 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-59_0_5_load_5 | 5 | 0.013191 | 0.0033059 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-59_0_5_load_72 | 6 | 0.002746 | 0.0006882 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-59_0_5_load_80 | 7 | 0.004494 | 0.0011263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-59_0_5_load_6 | 9 | 0.008221 | 0.0020604 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-59_0_5_load_7 | 10 | 0.0042371 | 0.0010619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-59_0_5_load_8 | 11 | 0.0093791 | 0.0023506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-59_0_5_load_9 | 12 | 0.0052833 | 0.0013241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-59_0_5_load_14 | 13 | 0.013488 | 0.0033805 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-59_0_5_load_12 | 14 | 0.01397 | 0.0035011 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-59_0_5_load_11 | 15 | 0.0034403 | 0.00086222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-59_0_5_load_16 | 18 | 0.011202 | 0.0028074 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-59_0_5_load_83 | 20 | 0.0050794 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-59_0_5_load_27 | 21 | 0.0015346 | 0.00038461 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-59_0_5_load_82 | 22 | 0.096464 | 0.024176 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-59_0_5_load_81 | 23 | 0.0048469 | 0.0012147 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-59_0_5_load_54 | 24 | 0.0072944 | 0.0018281 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-59_0_5_load_26 | 25 | 0.0008287 | 0.00020769 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-59_0_5_load_17 | 26 | 0.0076887 | 0.001927 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-59_0_5_load_18 | 27 | 0.0031334 | 0.00078532 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-59_0_5_load_30 | 29 | 0.0044323 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-59_0_5_load_33 | 32 | 0.0076843 | 0.0019259 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-59_0_5_load_20 | 33 | 0.0022695 | 0.00056878 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-59_0_5_load_22 | 35 | 0.012072 | 0.0030255 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-59_0_5_load_23 | 36 | 0.0052887 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-59_0_5_load_25 | 38 | 0.00961 | 0.0024085 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-59_0_5_load_34 | 39 | 0.0062728 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-59_0_5_load_48 | 40 | 0.0063192 | 0.0015837 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-59_0_5_load_45 | 41 | 0.0097231 | 0.0024368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-59_0_5_load_35 | 42 | 0.0045899 | 0.0011503 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-59_0_5_load_46 | 43 | 0.0089383 | 0.0022402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-59_0_5_load_28 | 44 | 0.0045606 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-59_0_5_load_29 | 45 | 0.001425 | 0.00035713 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-59_0_5_load_42 | 48 | 0.0079646 | 0.0019961 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-59_0_5_load_36 | 49 | 0.0023658 | 0.00059293 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-59_0_5_load_32 | 50 | 0.0072716 | 0.0018224 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-59_0_5_load_37 | 51 | 0.0049727 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-59_0_5_load_39 | 52 | 0.0026201 | 0.00065667 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-59_0_5_load_40 | 53 | 0.0051406 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-59_0_5_load_41 | 54 | 0.0041152 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-59_0_5_load_47 | 55 | 0.017428 | 0.0043679 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-59_0_5_load_53 | 57 | 0.0076993 | 0.0019296 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-59_0_5_load_52 | 58 | 0.0082125 | 0.0020583 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-59_0_5_load_55 | 60 | 0.0040936 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-59_0_5_load_56 | 61 | 0.0086191 | 0.0021602 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-59_0_5_load_58 | 62 | 0.0058485 | 0.0014658 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-59_0_5_load_63 | 64 | 0.005007 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1711-59_0_5_load_59 | 65 | 0.0043024 | 0.0010783 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1711-59_0_5_load_60 | 66 | 0.0041042 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1711-59_0_5_load_61 | 67 | 0.0025633 | 0.00064242 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1711-59_0_5_load_68 | 68 | 0.0017533 | 0.00043943 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1711-59_0_5_load_69 | 69 | 0.0017456 | 0.00043749 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1711-59_0_5_load_66 | 70 | 0.0017289 | 0.0004333 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1711-59_0_5_load_64 | 71 | 0.0047357 | 0.0011869 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1711-59_0_5_load_67 | 73 | 0.015825 | 0.003966 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1711-59_0_5_load_74 | 74 | 0.011346 | 0.0028435 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1711-59_0_5_load_73 | 75 | 0.0017245 | 0.00043221 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1711-59_0_5_load_75 | 76 | 0.0048593 | 0.0012179 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1711-59_0_5_load_76 | 77 | 0.0023895 | 0.00059887 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1711-59_0_5_load_77 | 78 | 0.0037035 | 0.00092818 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1711-59_0_5_load_84 | 79 | 0.053409 | 0.013386 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-59_0_5_line_0 |  | 0 | 1 | 0.017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-59_0_5_line_1 |  | 0 | 2 | 0.053317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-59_0_5_line_2 |  | 1 | 3 | 0.036352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-59_0_5_line_3 |  | 2 | 4 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-59_0_5_line_4 |  | 2 | 5 | 0.025664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-59_0_5_line_5 |  | 3 | 6 | 0.083527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-59_0_5_line_6 |  | 4 | 7 | 0.0042821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-59_0_5_line_7 |  | 7 | 8 | 0.029425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-59_0_5_line_8 |  | 8 | 19 | 0.04428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-59_0_5_line_9 |  | 8 | 78 | 0.0058875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-59_0_5_line_10 |  | 9 | 10 | 0.00053622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-59_0_5_line_11 |  | 9 | 11 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-59_0_5_line_12 |  | 10 | 12 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-59_0_5_line_13 |  | 12 | 13 | 0.01633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-59_0_5_line_14 |  | 13 | 14 | 0.018591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-59_0_5_line_15 |  | 14 | 15 | 0.0043039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-59_0_5_line_16 |  | 15 | 16 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-59_0_5_line_17 |  | 16 | 17 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1711-59_0_5_line_18 |  | 16 | 18 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1711-59_0_5_line_19 |  | 17 | 19 | 0.014517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1711-59_0_5_line_20 |  | 17 | 20 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1711-59_0_5_line_21 |  | 18 | 21 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1711-59_0_5_line_22 |  | 19 | 22 | 0.083048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1711-59_0_5_line_23 |  | 19 | 23 | 0.022071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-59_0_5_line_24 |  | 20 | 24 | 0.0019466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-59_0_5_line_25 |  | 21 | 25 | 0.01426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1711-59_0_5_line_26 |  | 22 | 79 | 0.043865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-59_0_5_line_27 |  | 24 | 59 | 0.012387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-59_0_5_line_28 |  | 25 | 44 | 0.011557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1711-59_0_5_line_29 |  | 26 | 27 | 0.049867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-59_0_5_line_30 |  | 27 | 28 | 0.0079698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-59_0_5_line_31 |  | 28 | 29 | 0.043528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-59_0_5_line_32 |  | 28 | 30 | 0.005139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-59_0_5_line_33 |  | 29 | 31 | 0.0050098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-59_0_5_line_34 |  | 30 | 32 | 0.083096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-59_0_5_line_35 |  | 31 | 49 | 0.014907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-59_0_5_line_36 |  | 32 | 50 | 0.031635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-59_0_5_line_37 |  | 33 | 34 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-59_0_5_line_38 |  | 33 | 35 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-59_0_5_line_39 |  | 34 | 36 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-59_0_5_line_40 |  | 34 | 37 | 0.024659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-59_0_5_line_41 |  | 34 | 38 | 0.030677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-59_0_5_line_42 |  | 36 | 39 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-59_0_5_line_43 |  | 37 | 40 | 0.025106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-59_0_5_line_44 |  | 37 | 41 | 0.029988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-59_0_5_line_45 |  | 39 | 42 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-59_0_5_line_46 |  | 41 | 43 | 0.037509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-59_0_5_line_47 |  | 42 | 48 | 0.0035227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-59_0_5_line_48 |  | 43 | 55 | 0.032354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-59_0_5_line_49 |  | 44 | 45 | 0.0048992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1711-59_0_5_line_50 |  | 45 | 46 | 0.028987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1711-59_0_5_line_51 |  | 46 | 47 | 0.092793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-59_0_5_line_52 |  | 46 | 48 | 0.051817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-59_0_5_line_53 |  | 47 | 54 | 0.059721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-59_0_5_line_54 |  | 49 | 51 | 0.042663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-59_0_5_line_55 |  | 51 | 52 | 0.0097948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-59_0_5_line_56 |  | 52 | 53 | 0.01347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1711-59_0_5_line_57 |  | 53 | 54 | 0.0079971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-59_0_5_line_58 |  | 56 | 57 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-59_0_5_line_59 |  | 56 | 58 | 0.021491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-59_0_5_line_60 |  | 58 | 59 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1711-59_0_5_line_61 |  | 60 | 61 | 0.017257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1711-59_0_5_line_62 |  | 61 | 62 | 0.01377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1711-59_0_5_line_63 |  | 62 | 63 | 0.043781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1711-59_0_5_line_64 |  | 63 | 64 | 0.040228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1711-59_0_5_line_65 |  | 64 | 71 | 0.007466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1711-59_0_5_line_66 |  | 65 | 66 | 0.023997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1711-59_0_5_line_67 |  | 66 | 67 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1711-59_0_5_line_68 |  | 67 | 68 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1711-59_0_5_line_69 |  | 67 | 69 | 0.010376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1711-59_0_5_line_70 |  | 69 | 70 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1711-59_0_5_line_71 |  | 70 | 72 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1711-59_0_5_line_72 |  | 71 | 72 | 0.017162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1711-59_0_5_line_73 |  | 72 | 73 | 0.034593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1711-59_0_5_line_74 |  | 73 | 74 | 0.0032355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1711-59_0_5_line_75 |  | 74 | 75 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1711-59_0_5_line_76 |  | 75 | 76 | 0.0047732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1711-59_0_5_line_77 |  | 76 | 77 | 0.0089501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1711-59_0_5_line_78 |  | 77 | 78 | 0.012052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-59_0_5_trafo_83 | 0.63 MVA 20/0.4 kV | 80 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2681265.5087 | 1222182.7727 | 2681281.3359 | 1222176.3052
1 | 2681215.5686 | 1222201.4016 | 2681246.5836 | 1222190.5062 | 2681265.5087 | 1222182.7727
2 | 2681314.9865 | 1222162.5544 | 2681281.3359 | 1222176.3052
3 | 2681215.5686 | 1222201.4016 | 2681205.2513 | 1222198.6813 | 2681198.0048 | 1222193.8348 | 2681195.9028 | 1222190.6203
4 | 2681215.5686 | 1222201.4016 | 2681222.5032 | 1222208.5343 | 2681230.6701 | 1222221.9616
5 | 2681314.9865 | 1222162.5544 | 2681278.9099 | 1222087.2206
6 | 2681193.5593 | 1222187.0364 | 2681195.9028 | 1222190.6203
7 | 2681171.7015 | 1222168.5149 | 2681181.3517 | 1222172.8827 | 2681188.813 | 1222179.7779 | 2681193.5593 | 1222187.0364
8 | 2681153.7215 | 1222207.596 | 2681165.6725 | 1222191.7594 | 2681171.3614 | 1222178.9951 | 2681171.7015 | 1222168.5149
9 | 2681171.7015 | 1222168.5149 | 2681171.8188 | 1222162.6285
10 | 2681155.5517 | 1222295.8566 | 2681155.8188 | 1222296.3216
11 | 2681155.8188 | 1222296.3216 | 2681164.4936 | 1222311.4226
12 | 2681148.9151 | 1222284.3039 | 2681155.5517 | 1222295.8566
13 | 2681140.781 | 1222270.1442 | 2681148.9151 | 1222284.3039
14 | 2681140.781 | 1222270.1442 | 2681131.5205 | 1222254.0237
15 | 2681129.3766 | 1222250.2917 | 2681131.5205 | 1222254.0237
16 | 2681121.3562 | 1222236.3299 | 2681129.3766 | 1222250.2917
17 | 2681143.1027 | 1222217.5247 | 2681133.3208 | 1222226.7198 | 2681121.3562 | 1222236.3299
18 | 2681121.3562 | 1222236.3299 | 2681115.0381 | 1222241.8364 | 2681113.7811 | 1222242.9629
19 | 2681143.1027 | 1222217.5247 | 2681150.2185 | 1222210.8171 | 2681153.7215 | 1222207.596
20 | 2681143.1027 | 1222217.5247 | 2681131.2016 | 1222206.3328 | 2681128.0939 | 1222203.1582
21 | 2681113.7811 | 1222242.9629 | 2681098.7838 | 1222256.4026
22 | 2681153.7215 | 1222207.596 | 2681203.8766 | 1222273.7889
23 | 2681153.7215 | 1222207.596 | 2681145.3215 | 1222198.3309 | 2681141.005 | 1222189.7952
24 | 2681128.0939 | 1222203.1582 | 2681126.7321 | 1222201.7672
25 | 2681098.7838 | 1222256.4026 | 2681088.1639 | 1222265.9195
26 | 2681203.8766 | 1222273.7889 | 2681210.4497 | 1222282.4639 | 2681227.6963 | 1222310.5759
27 | 2681119.283 | 1222191.972 | 2681122.7625 | 1222197.7121 | 2681126.7321 | 1222201.7672
28 | 2681079.5568 | 1222273.6327 | 2681088.1639 | 1222265.9195
29 | 2680966.0582 | 1222094.7108 | 2680965.7213 | 1222094.7062 | 2680953.6078 | 1222095.1863 | 2680948.8205 | 1222100.8139 | 2680945.6659 | 1222111.8895 | 2680945.2799 | 1222123.5365 | 2680943.5891 | 1222130.1735
30 | 2680936.6183 | 1222134.037 | 2680943.5891 | 1222130.1735
31 | 2680936.6183 | 1222134.037 | 2680936.4106 | 1222148.7551 | 2680936.8171 | 1222162.3697 | 2680937.9174 | 1222177.5175
32 | 2680936.8246 | 1222128.903 | 2680936.6183 | 1222134.037
33 | 2680938.2803 | 1222182.5142 | 2680937.9174 | 1222177.5175
34 | 2680936.8246 | 1222128.903 | 2680936.8965 | 1222123.6227 | 2680937.3775 | 1222111.1208 | 2680937.6398 | 1222093.5015 | 2680938.6204 | 1222052.076 | 2680938.7257 | 1222045.831
35 | 2680938.2803 | 1222182.5142 | 2680940.2062 | 1222197.2959
36 | 2680938.7257 | 1222045.831 | 2680939.2592 | 1222014.2009
37 | 2681021.4743 | 1222191.8738 | 2681005.7894 | 1222193.4672
38 | 2680988.6587 | 1222195.2075 | 2681005.7894 | 1222193.4672
39 | 2681021.4743 | 1222191.8738 | 2681027.491 | 1222213.0593
40 | 2681017.2688 | 1222167.5782 | 2681021.4743 | 1222191.8738
41 | 2681021.4743 | 1222191.8738 | 2681051.0773 | 1222183.826
42 | 2681027.491 | 1222213.0593 | 2681030.9057 | 1222225.0831
43 | 2680992.1836 | 1222169.7495 | 2681017.2688 | 1222167.5782
44 | 2681017.2688 | 1222167.5782 | 2681011.8942 | 1222138.076
45 | 2681036.5843 | 1222245.0783 | 2681030.9057 | 1222225.0831
46 | 2681011.8942 | 1222138.076 | 2681010.7751 | 1222131.9327 | 2681011.8282 | 1222100.6859
47 | 2681037.5467 | 1222248.4669 | 2681036.5843 | 1222245.0783
48 | 2681011.8282 | 1222100.6859 | 2681012.918 | 1222068.3501
49 | 2681079.5568 | 1222273.6327 | 2681075.9083 | 1222276.9023
50 | 2681054.7137 | 1222296.674 | 2681070.7358 | 1222281.5375 | 2681075.9083 | 1222276.9023
51 | 2680968.8159 | 1222327.8153 | 2680996.4689 | 1222321.4093 | 2681008.803 | 1222319.1756 | 2681017.872 | 1222317.1865 | 2681024.8639 | 1222315.1024 | 2681030.9027 | 1222312.8275 | 2681037.5314 | 1222309.004 | 2681047.3183 | 1222302.7664 | 2681054.7137 | 1222296.674
52 | 2681054.7137 | 1222296.674 | 2681050.1077 | 1222291.7747 | 2681038.6299 | 1222252.281 | 2681037.5467 | 1222248.4669
53 | 2680968.8159 | 1222327.8153 | 2680965.3956 | 1222312.7032 | 2680959.4566 | 1222286.4604 | 2680955.5961 | 1222269.5764
54 | 2680940.2062 | 1222197.2959 | 2680940.5195 | 1222199.7006 | 2680943.3015 | 1222214.9041 | 2680947.2231 | 1222233.8812 | 2680948.5886 | 1222239.1101
55 | 2680950.7902 | 1222248.6542 | 2680948.6363 | 1222239.2929 | 2680948.5886 | 1222239.1101
56 | 2680950.7902 | 1222248.6542 | 2680953.8105 | 1222261.7811
57 | 2680953.8105 | 1222261.7811 | 2680954.3231 | 1222264.009 | 2680955.5961 | 1222269.5764
58 | 2681099.5461 | 1222154.0333 | 2681092.9824 | 1222131.9037
59 | 2681099.5461 | 1222154.0333 | 2681102.2827 | 1222160.297 | 2681108.3406 | 1222173.6424
60 | 2681119.283 | 1222191.972 | 2681108.8593 | 1222174.7852 | 2681108.3406 | 1222173.6424
61 | 2681095.8802 | 1222016.3909 | 2681095.3682 | 1222033.6404 | 2681095.3682 | 1222033.6404
62 | 2681096.8001 | 1222047.336 | 2681095.3682 | 1222033.6404
63 | 2681103.5135 | 1222090.5671 | 2681098.4823 | 1222063.4249 | 2681096.8001 | 1222047.336
64 | 2681103.5135 | 1222090.5671 | 2681125.7779 | 1222089.4585 | 2681143.087 | 1222084.7577
65 | 2681150.292 | 1222082.8009 | 2681143.087 | 1222084.7577
66 | 2681157.8526 | 1222014.6744 | 2681176.2709 | 1222030.0576
67 | 2681190.0535 | 1222041.569 | 2681176.2709 | 1222030.0576
68 | 2681190.0535 | 1222041.569 | 2681195.8682 | 1222034.6103 | 2681198.2681 | 1222031.8037
69 | 2681190.0535 | 1222041.569 | 2681183.396 | 1222049.528
70 | 2681183.396 | 1222049.528 | 2681177.4373 | 1222056.6515 | 2681171.3472 | 1222068.9356
71 | 2681166.9813 | 1222081.8815 | 2681170.2921 | 1222071.0638 | 2681171.3472 | 1222068.9356
72 | 2681166.9813 | 1222081.8815 | 2681159.2644 | 1222080.3642 | 2681150.292 | 1222082.8009
73 | 2681166.9813 | 1222081.8815 | 2681165.8633 | 1222095.9979 | 2681166.9103 | 1222116.4034
74 | 2681166.9103 | 1222116.4034 | 2681167.0559 | 1222119.2408 | 2681167.1054 | 1222119.6321
75 | 2681169.3068 | 1222137.019 | 2681167.1054 | 1222119.6321
76 | 2681169.3068 | 1222137.019 | 2681169.9063 | 1222141.7544
77 | 2681169.9063 | 1222141.7544 | 2681171.0305 | 1222150.6337
78 | 2681171.8188 | 1222162.6285 | 2681171.9181 | 1222157.6439 | 2681171.0305 | 1222150.6337

## bus_geodata
| x | y | coords
0 | 2681265.5087 | 1222182.7727
1 | 2681281.3359 | 1222176.3052
2 | 2681215.5686 | 1222201.4016
3 | 2681314.9865 | 1222162.5544
4 | 2681195.9028 | 1222190.6203
5 | 2681230.6701 | 1222221.9616
6 | 2681278.9099 | 1222087.2206
7 | 2681193.5593 | 1222187.0364
8 | 2681171.7015 | 1222168.5149
9 | 2681155.8188 | 1222296.3216
10 | 2681155.5517 | 1222295.8566
11 | 2681164.4936 | 1222311.4226
12 | 2681148.9151 | 1222284.3039
13 | 2681140.781 | 1222270.1442
14 | 2681131.5205 | 1222254.0237
15 | 2681129.3766 | 1222250.2917
16 | 2681121.3562 | 1222236.3299
17 | 2681143.1027 | 1222217.5247
18 | 2681113.7811 | 1222242.9629
19 | 2681153.7215 | 1222207.596
20 | 2681128.0939 | 1222203.1582
21 | 2681098.7838 | 1222256.4026
22 | 2681203.8766 | 1222273.7889
23 | 2681141.005 | 1222189.7952
24 | 2681126.7321 | 1222201.7672
25 | 2681088.1639 | 1222265.9195
26 | 2680966.0582 | 1222094.7108
27 | 2680943.5891 | 1222130.1736
28 | 2680936.6183 | 1222134.037
29 | 2680937.9174 | 1222177.5175
30 | 2680936.8246 | 1222128.903
31 | 2680938.2803 | 1222182.5142
32 | 2680938.7257 | 1222045.831
33 | 2681005.7894 | 1222193.4672
34 | 2681021.4743 | 1222191.8738
35 | 2680988.6587 | 1222195.2075
36 | 2681027.491 | 1222213.0593
37 | 2681017.2688 | 1222167.5782
38 | 2681051.0773 | 1222183.826
39 | 2681030.9057 | 1222225.0831
40 | 2680992.1836 | 1222169.7495
41 | 2681011.8942 | 1222138.076
42 | 2681036.5843 | 1222245.0783
43 | 2681011.8282 | 1222100.6859
44 | 2681079.5568 | 1222273.6327
45 | 2681075.9083 | 1222276.9023
46 | 2681054.7137 | 1222296.674
47 | 2680968.8159 | 1222327.8153
48 | 2681037.5467 | 1222248.4669
49 | 2680940.2062 | 1222197.2959
50 | 2680939.2592 | 1222014.2009
51 | 2680948.5886 | 1222239.1101
52 | 2680950.7902 | 1222248.6542
53 | 2680953.8105 | 1222261.7811
54 | 2680955.5961 | 1222269.5764
55 | 2681012.918 | 1222068.3501
56 | 2681099.5461 | 1222154.0333
57 | 2681092.9824 | 1222131.9037
58 | 2681108.3406 | 1222173.6424
59 | 2681119.283 | 1222191.972
60 | 2681095.8802 | 1222016.3909
61 | 2681095.3682 | 1222033.6404
62 | 2681096.8001 | 1222047.336
63 | 2681103.5135 | 1222090.5671
64 | 2681143.087 | 1222084.7577
65 | 2681157.8526 | 1222014.6744
66 | 2681176.2709 | 1222030.0576
67 | 2681190.0536 | 1222041.569
68 | 2681198.2681 | 1222031.8037
69 | 2681183.396 | 1222049.528
70 | 2681171.3472 | 1222068.9356
71 | 2681150.292 | 1222082.8009
72 | 2681166.9813 | 1222081.8815
73 | 2681166.9103 | 1222116.4034
74 | 2681167.1054 | 1222119.6321
75 | 2681169.3068 | 1222137.019
76 | 2681169.9063 | 1222141.7544
77 | 2681171.0305 | 1222150.6337
78 | 2681171.8188 | 1222162.6285
79 | 2681227.6963 | 1222310.5759
80 | 2681119.283 | 1222191.972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98718 | -0.24638 | 0.0075637 | 0.0018956
1 | 0.98696 | -0.25058 | 0.010985 | 0.0027531
2 | 0.98822 | -0.22609 | 0 | 0
3 | 0.98687 | -0.25237 | 0 | 0
4 | 0.98896 | -0.2118 | 0.015235 | 0.0038183
5 | 0.98791 | -0.23214 | 0.013191 | 0.0033059
6 | 0.98666 | -0.25648 | 0.002746 | 0.0006882
7 | 0.98915 | -0.20801 | 0.004494 | 0.0011263
8 | 0.99062 | -0.17963 | 0 | 0
9 | 0.99369 | -0.12073 | 0.008221 | 0.0020604
10 | 0.9937 | -0.12057 | 0.0042371 | 0.0010619
11 | 0.99354 | -0.12362 | 0.0093791 | 0.0023506
12 | 0.99397 | -0.11543 | 0.0052833 | 0.0013241
13 | 0.99437 | -0.10762 | 0.013488 | 0.0033805
14 | 0.99506 | -0.094323 | 0.01397 | 0.0035011
15 | 0.99527 | -0.090188 | 0.0034403 | 0.00086222
16 | 0.99613 | -0.073764 | 0 | 0
17 | 0.99756 | -0.046365 | 0 | 0
18 | 0.99576 | -0.080818 | 0.011202 | 0.0028074
19 | 0.99626 | -0.071257 | 0 | 0
20 | 1 | 0 | -0.54141 | -0.1375
21 | 0.99507 | -0.09395 | 0.0015346 | 0.00038461
22 | 0.99056 | -0.18117 | 0.096464 | 0.024176
23 | 0.99616 | -0.073136 | 0.0048469 | 0.0012147
24 | 0.99996 | -0.00078748 | 0.0072944 | 0.0018281
25 | 0.99458 | -0.10316 | 0.0008287 | 0.00020769
26 | 0.98055 | -0.37466 | 0.0076887 | 0.001927
27 | 0.9809 | -0.36771 | 0.0031334 | 0.00078532
28 | 0.98098 | -0.36615 | 0 | 0
29 | 0.98202 | -0.34584 | 0.0044323 | 0.0011108
30 | 0.98091 | -0.36754 | 0 | 0
31 | 0.98216 | -0.34311 | 0 | 0
32 | 0.97976 | -0.39009 | 0.0076843 | 0.0019259
33 | 0.98353 | -0.31659 | 0.0022695 | 0.00056878
34 | 0.98374 | -0.31252 | 0 | 0
35 | 0.98334 | -0.32034 | 0.012072 | 0.0030255
36 | 0.98509 | -0.28623 | 0.0052887 | 0.0013255
37 | 0.98277 | -0.33138 | 0 | 0
38 | 0.98346 | -0.31783 | 0.00961 | 0.0024085
39 | 0.98591 | -0.27016 | 0.0062728 | 0.0015721
40 | 0.98262 | -0.33424 | 0.0063192 | 0.0015837
41 | 0.98177 | -0.35093 | 0.0097231 | 0.0024368
42 | 0.98741 | -0.24116 | 0.0045899 | 0.0011503
43 | 0.98085 | -0.36883 | 0.0089383 | 0.0022402
44 | 0.99419 | -0.1106 | 0.0045606 | 0.001143
45 | 0.99387 | -0.1167 | 0.001425 | 0.00035713
46 | 0.992 | -0.15255 | 0 | 0
47 | 0.98776 | -0.23416 | 0 | 0
48 | 0.98768 | -0.23596 | 0.0079646 | 0.0019961
49 | 0.98258 | -0.33497 | 0.0023658 | 0.00059293
50 | 0.97955 | -0.39426 | 0.0072716 | 0.0018224
51 | 0.98386 | -0.30991 | 0.0049727 | 0.0012463
52 | 0.9842 | -0.30329 | 0.0026201 | 0.00065667
53 | 0.9847 | -0.29356 | 0.0051406 | 0.0012883
54 | 0.98504 | -0.28704 | 0.0041152 | 0.0010314
55 | 0.98033 | -0.37905 | 0.017428 | 0.0043679
56 | 0.99932 | -0.01304 | 0 | 0
57 | 0.99916 | -0.016142 | 0.0076993 | 0.0019296
58 | 0.99947 | -0.010152 | 0.0082125 | 0.0020583
59 | 0.99978 | -0.0042243 | 0 | 0
60 | 0.98327 | -0.32238 | 0.0040936 | 0.0010259
61 | 0.98334 | -0.32111 | 0.0086191 | 0.0021602
62 | 0.9835 | -0.31796 | 0.0058485 | 0.0014658
63 | 0.98425 | -0.30332 | 0 | 0
64 | 0.98494 | -0.2899 | 0.005007 | 0.0012549
65 | 0.98468 | -0.29491 | 0.0043024 | 0.0010783
66 | 0.98477 | -0.29305 | 0.0041042 | 0.0010286
67 | 0.98491 | -0.29034 | 0.0025633 | 0.00064242
68 | 0.98489 | -0.29074 | 0.0017533 | 0.00043943
69 | 0.98504 | -0.28797 | 0.0017456 | 0.00043749
70 | 0.98534 | -0.28199 | 0.0017289 | 0.0004333
71 | 0.9851 | -0.28673 | 0.0047357 | 0.0011869
72 | 0.98555 | -0.27801 | 0 | 0
73 | 0.98696 | -0.25042 | 0.015825 | 0.003966
74 | 0.98714 | -0.24693 | 0.011346 | 0.0028435
75 | 0.9883 | -0.22449 | 0.0017245 | 0.00043221
76 | 0.98862 | -0.21824 | 0.0048593 | 0.0012179
77 | 0.98927 | -0.20575 | 0.0023895 | 0.00059887
78 | 0.99016 | -0.18846 | 0.0037035 | 0.00092818
79 | 0.98841 | -0.22288 | 0.053409 | 0.013386
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013734 | 0.0034418 | -0.013732 | -0.0034402 | 2.7479e-06 | 1.5401e-06 | 0.020702 | 0.020702 | 0.020702 | 0.98718 | -0.24638 | 0.98696 | -0.25058 | 5.6874
1 | -0.021298 | -0.0053374 | 0.021319 | 0.0053499 | 2.0606e-05 | 1.2505e-05 | 0.032103 | 0.032103 | 0.032103 | 0.98718 | -0.24638 | 0.98822 | -0.22609 | 8.8196
2 | 0.0027467 | 0.00068716 | -0.0027465 | -0.00068748 | 2.3374e-07 | -3.1492e-07 | 0.0041407 | 0.0041409 | 0.0041409 | 0.98696 | -0.25058 | 0.98687 | -0.25237 | 1.1376
3 | -0.034513 | -0.0086579 | 0.034537 | 0.0086726 | 2.3527e-05 | 1.476e-05 | 0.051971 | 0.051971 | 0.051971 | 0.98822 | -0.22609 | 0.98896 | -0.2118 | 14.2777
4 | 0.013194 | 0.003308 | -0.013191 | -0.0033059 | 3.7989e-06 | 2.1026e-06 | 0.019868 | 0.019868 | 0.019868 | 0.98822 | -0.22609 | 0.98791 | -0.23214 | 5.4582
5 | 0.0027465 | 0.00068748 | -0.002746 | -0.0006882 | 5.3713e-07 | -7.2323e-07 | 0.0041409 | 0.0041413 | 0.0041413 | 0.98687 | -0.25237 | 0.98666 | -0.25648 | 1.1377
6 | -0.049772 | -0.012491 | 0.049781 | 0.012497 | 9.0069e-06 | 5.7095e-06 | 0.074894 | 0.074894 | 0.074894 | 0.98896 | -0.2118 | 0.98915 | -0.20801 | 20.5752
7 | -0.054275 | -0.013623 | 0.054348 | 0.01367 | 7.357e-05 | 4.6706e-05 | 0.081654 | 0.081654 | 0.081654 | 0.98915 | -0.20801 | 0.99062 | -0.17963 | 22.4325
8 | -0.13907 | -0.035042 | 0.13979 | 0.035505 | 0.00072505 | 0.00046346 | 0.20896 | 0.20896 | 0.20896 | 0.99062 | -0.17963 | 0.99626 | -0.071257 | 57.4068
9 | 0.084719 | 0.021372 | -0.084683 | -0.02135 | 3.5782e-05 | 2.2825e-05 | 0.12731 | 0.12731 | 0.12731 | 0.99062 | -0.17963 | 0.99016 | -0.18846 | 34.9743
10 | -0.017601 | -0.0044116 | 0.017602 | 0.0044117 | 1.397e-07 | 8.2459e-08 | 0.026358 | 0.026358 | 0.026358 | 0.99369 | -0.12073 | 0.9937 | -0.12057 | 7.2411
11 | 0.0093804 | 0.0023512 | -0.0093791 | -0.0023506 | 1.2886e-06 | 5.9915e-07 | 0.014047 | 0.014047 | 0.014047 | 0.99369 | -0.12073 | 0.99354 | -0.12362 | 3.8591
12 | -0.021839 | -0.0054736 | 0.021844 | 0.0054769 | 5.3432e-06 | 3.247e-06 | 0.032702 | 0.032702 | 0.032702 | 0.9937 | -0.12057 | 0.99397 | -0.11543 | 8.9842
13 | -0.027127 | -0.006801 | 0.027137 | 0.0068072 | 1.01e-05 | 6.2521e-06 | 0.040612 | 0.040612 | 0.040612 | 0.99397 | -0.11543 | 0.99437 | -0.10762 | 11.1571
14 | -0.040626 | -0.010188 | 0.040652 | 0.010204 | 2.5768e-05 | 1.625e-05 | 0.060796 | 0.060796 | 0.060796 | 0.99437 | -0.10762 | 0.99506 | -0.094323 | 16.7023
15 | -0.054621 | -0.013705 | 0.054632 | 0.013712 | 1.077e-05 | 6.8366e-06 | 0.081686 | 0.081686 | 0.081686 | 0.99506 | -0.094323 | 0.99527 | -0.090188 | 22.4413
16 | -0.058072 | -0.014574 | 0.058118 | 0.014603 | 4.5524e-05 | 2.8926e-05 | 0.08683 | 0.08683 | 0.08683 | 0.99527 | -0.090188 | 0.99613 | -0.073764 | 23.8544
17 | -0.21933 | -0.055681 | 0.21962 | 0.055865 | 0.00028955 | 0.00018382 | 0.32789 | 0.32789 | 0.32789 | 0.99613 | -0.073764 | 0.99756 | -0.046365 | 22.5202
18 | 0.16122 | 0.041078 | -0.16116 | -0.041044 | 5.4855e-05 | 3.4583e-05 | 0.24107 | 0.24107 | 0.24107 | 0.99613 | -0.073764 | 0.99576 | -0.080818 | 16.5567
19 | 0.29576 | 0.075079 | -0.29541 | -0.074853 | 0.00035373 | 0.00022582 | 0.44151 | 0.44151 | 0.44151 | 0.99756 | -0.046365 | 0.99626 | -0.071257 | 40.4316
20 | -0.51539 | -0.13094 | 0.51654 | 0.13168 | 0.0011532 | 0.00073698 | 0.76941 | 0.76941 | 0.76941 | 0.99756 | -0.046365 | 1 | 0 | 52.8439
21 | 0.14996 | 0.038236 | -0.14986 | -0.038176 | 9.5006e-05 | 5.9757e-05 | 0.22433 | 0.22433 | 0.22433 | 0.99576 | -0.080818 | 0.99507 | -0.09395 | 15.407
22 | 0.15077 | 0.038133 | -0.14998 | -0.037629 | 0.00079051 | 0.00050378 | 0.22531 | 0.22531 | 0.22531 | 0.99626 | -0.071257 | 0.99056 | -0.18117 | 30.9497
23 | 0.0048473 | 0.0012147 | -0.0048469 | -0.0012147 | 4.3384e-07 | -9.7088e-09 | 0.0072399 | 0.00724 | 0.00724 | 0.99626 | -0.071257 | 0.99616 | -0.073136 | 1.989
24 | 0.023216 | 0.0058215 | -0.023216 | -0.005821 | 8.7126e-07 | 5.3207e-07 | 0.034547 | 0.034547 | 0.034547 | 1 | 0 | 0.99996 | -0.00078748 | 9.491
25 | 0.14833 | 0.037792 | -0.14826 | -0.03775 | 6.5906e-05 | 4.1439e-05 | 0.22203 | 0.22203 | 0.22203 | 0.99507 | -0.09395 | 0.99458 | -0.10316 | 15.2494
26 | 0.053516 | 0.013453 | -0.053409 | -0.013386 | 0.00010635 | 6.7499e-05 | 0.080406 | 0.080406 | 0.080406 | 0.99056 | -0.18117 | 0.98841 | -0.22288 | 22.0896
27 | 0.015921 | 0.0039928 | -0.015919 | -0.0039913 | 2.6076e-06 | 1.5064e-06 | 0.023693 | 0.023693 | 0.023693 | 0.99996 | -0.00078748 | 0.99978 | -0.0042243 | 6.509
28 | 0.14744 | 0.037543 | -0.14738 | -0.03751 | 5.282e-05 | 3.3205e-05 | 0.22079 | 0.22079 | 0.22079 | 0.99458 | -0.10316 | 0.99419 | -0.1106 | 15.1643
29 | -0.0076887 | -0.001927 | 0.0076912 | 0.001928 | 2.5458e-06 | 1e-06 | 0.011668 | 0.011668 | 0.011668 | 0.98055 | -0.37466 | 0.9809 | -0.36771 | 3.2055
30 | -0.010825 | -0.0027133 | 0.010825 | 0.0027137 | 8.0589e-07 | 4.1516e-07 | 0.016421 | 0.016421 | 0.016421 | 0.9809 | -0.36771 | 0.98098 | -0.36615 | 4.5113
31 | -0.0258 | -0.0064723 | 0.025825 | 0.0064878 | 2.5002e-05 | 1.5451e-05 | 0.039137 | 0.039137 | 0.039137 | 0.98098 | -0.36615 | 0.98202 | -0.34584 | 10.752
32 | 0.014974 | 0.0037586 | -0.014973 | -0.0037581 | 9.9445e-07 | 5.7157e-07 | 0.022716 | 0.022716 | 0.022716 | 0.98098 | -0.36615 | 0.98091 | -0.36754 | 6.2407
33 | -0.030257 | -0.0075986 | 0.030261 | 0.0076011 | 3.9499e-06 | 2.4646e-06 | 0.045853 | 0.045853 | 0.045853 | 0.98202 | -0.34584 | 0.98216 | -0.34311 | 12.597
34 | 0.014973 | 0.0037581 | -0.014957 | -0.0037488 | 1.608e-05 | 9.2436e-06 | 0.022716 | 0.022717 | 0.022717 | 0.98091 | -0.36754 | 0.97976 | -0.39009 | 6.2408
35 | -0.030261 | -0.0076011 | 0.030273 | 0.0076084 | 1.1753e-05 | 7.3331e-06 | 0.045853 | 0.045853 | 0.045853 | 0.98216 | -0.34311 | 0.98258 | -0.33497 | 12.597
36 | 0.0072731 | 0.001823 | -0.0072716 | -0.0018224 | 1.4475e-06 | 5.2808e-07 | 0.011046 | 0.011046 | 0.011046 | 0.97976 | -0.39009 | 0.97955 | -0.39426 | 3.0347
37 | -0.014343 | -0.0035954 | 0.014346 | 0.003597 | 2.7842e-06 | 1.5818e-06 | 0.021701 | 0.021701 | 0.021701 | 0.98353 | -0.31659 | 0.98374 | -0.31252 | 5.9618
38 | 0.012074 | 0.0030266 | -0.012072 | -0.0030255 | 2.1547e-06 | 1.1605e-06 | 0.018267 | 0.018268 | 0.018268 | 0.98353 | -0.31659 | 0.98334 | -0.32034 | 5.0185
39 | -0.066471 | -0.0167 | 0.066555 | 0.016753 | 8.3514e-05 | 5.3169e-05 | 0.10056 | 0.10056 | 0.10056 | 0.98374 | -0.31252 | 0.98509 | -0.28623 | 27.6263
40 | 0.042512 | 0.010693 | -0.042474 | -0.010669 | 3.8254e-05 | 2.417e-05 | 0.064319 | 0.064319 | 0.064319 | 0.98374 | -0.31252 | 0.98277 | -0.33138 | 17.67
41 | 0.0096124 | 0.0024097 | -0.00961 | -0.0024085 | 2.4321e-06 | 1.1672e-06 | 0.01454 | 0.01454 | 0.01454 | 0.98374 | -0.31252 | 0.98346 | -0.31783 | 3.9946
42 | -0.071843 | -0.018078 | 0.071898 | 0.018114 | 5.5229e-05 | 3.5187e-05 | 0.10855 | 0.10855 | 0.10855 | 0.98509 | -0.28623 | 0.98591 | -0.27016 | 29.821
43 | 0.00632 | 0.001584 | -0.0063192 | -0.0015837 | 8.6212e-07 | 2.3368e-07 | 0.0095692 | 0.0095693 | 0.0095693 | 0.98277 | -0.33138 | 0.98262 | -0.33424 | 2.6289
44 | 0.036154 | 0.009085 | -0.03612 | -0.0090638 | 3.3708e-05 | 2.1194e-05 | 0.05475 | 0.05475 | 0.05475 | 0.98277 | -0.33138 | 0.98177 | -0.35093 | 15.0411
45 | -0.078171 | -0.019686 | 0.07828 | 0.019755 | 0.00010856 | 6.9214e-05 | 0.11802 | 0.11802 | 0.11802 | 0.98591 | -0.27016 | 0.98741 | -0.24116 | 32.4219
46 | 0.026397 | 0.006627 | -0.026375 | -0.006613 | 2.252e-05 | 1.3939e-05 | 0.040013 | 0.040013 | 0.040013 | 0.98177 | -0.35093 | 0.98085 | -0.36883 | 10.9926
47 | -0.08287 | -0.020905 | 0.08289 | 0.020918 | 2.0618e-05 | 1.3151e-05 | 0.12493 | 0.12493 | 0.12493 | 0.98741 | -0.24116 | 0.98768 | -0.23596 | 34.3221
48 | 0.017436 | 0.0043729 | -0.017428 | -0.0043679 | 8.4903e-06 | 5.0256e-06 | 0.026453 | 0.026453 | 0.026453 | 0.98085 | -0.36883 | 0.98033 | -0.37905 | 7.2674
49 | 0.14282 | 0.036367 | -0.14278 | -0.03634 | 4.2055e-05 | 2.6788e-05 | 0.21397 | 0.21397 | 0.21397 | 0.99419 | -0.1106 | 0.99387 | -0.1167 | 29.391
50 | 0.14136 | 0.035983 | -0.14111 | -0.035827 | 0.00024389 | 0.00015534 | 0.21183 | 0.21183 | 0.21183 | 0.99387 | -0.1167 | 0.992 | -0.15255 | 29.098
51 | 0.049892 | 0.01268 | -0.049697 | -0.012556 | 0.00019522 | 0.00012375 | 0.074901 | 0.074902 | 0.074902 | 0.992 | -0.15255 | 0.98776 | -0.23416 | 20.5774
52 | 0.091219 | 0.023147 | -0.090855 | -0.022915 | 0.00036435 | 0.00023252 | 0.13693 | 0.13693 | 0.13693 | 0.992 | -0.15255 | 0.98768 | -0.23596 | 37.6187
53 | 0.049697 | 0.012556 | -0.049571 | -0.012477 | 0.00012564 | 7.965e-05 | 0.074902 | 0.074902 | 0.074902 | 0.98776 | -0.23416 | 0.98504 | -0.28704 | 20.5775
54 | -0.032639 | -0.0082014 | 0.032678 | 0.0082258 | 3.9099e-05 | 2.4482e-05 | 0.049436 | 0.049436 | 0.049436 | 0.98258 | -0.33497 | 0.98386 | -0.30991 | 13.5812
55 | -0.037651 | -0.0094721 | 0.037662 | 0.0094796 | 1.1915e-05 | 7.5014e-06 | 0.056956 | 0.056956 | 0.056956 | 0.98386 | -0.30991 | 0.9842 | -0.30329 | 15.6474
56 | -0.040283 | -0.010136 | 0.040301 | 0.010148 | 1.8745e-05 | 1.1825e-05 | 0.060918 | 0.060918 | 0.060918 | 0.9842 | -0.30329 | 0.9847 | -0.29356 | 16.7356
57 | -0.045442 | -0.011436 | 0.045456 | 0.011445 | 1.4148e-05 | 8.953e-06 | 0.068686 | 0.068686 | 0.068686 | 0.9847 | -0.29356 | 0.98504 | -0.28704 | 18.8697
58 | 0.0077005 | 0.0019301 | -0.0076993 | -0.0019296 | 1.1381e-06 | 4.2599e-07 | 0.011466 | 0.011466 | 0.011466 | 0.99932 | -0.01304 | 0.99916 | -0.016142 | 3.1501
59 | -0.0077005 | -0.0019301 | 0.0077015 | 0.0019305 | 1.0596e-06 | 3.9652e-07 | 0.011466 | 0.011466 | 0.011466 | 0.99932 | -0.01304 | 0.99947 | -0.010152 | 3.1501
60 | -0.015914 | -0.0039887 | 0.015919 | 0.0039913 | 4.4956e-06 | 2.5972e-06 | 0.023693 | 0.023693 | 0.023693 | 0.99947 | -0.010152 | 0.99978 | -0.0042243 | 6.5091
61 | -0.0040936 | -0.0010259 | 0.0040938 | 0.0010259 | 2.4835e-07 | -5.9961e-08 | 0.0061949 | 0.0061948 | 0.0061949 | 0.98327 | -0.32238 | 0.98334 | -0.32111 | 1.7019
62 | -0.012713 | -0.003186 | 0.012715 | 0.0031871 | 1.9111e-06 | 1.0484e-06 | 0.019238 | 0.019237 | 0.019238 | 0.98334 | -0.32111 | 0.9835 | -0.31796 | 5.285
63 | -0.018563 | -0.0046529 | 0.018576 | 0.0046606 | 1.2951e-05 | 7.7326e-06 | 0.028086 | 0.028086 | 0.028086 | 0.9835 | -0.31796 | 0.98425 | -0.30332 | 7.716
64 | -0.018576 | -0.0046606 | 0.018588 | 0.0046677 | 1.19e-05 | 7.1042e-06 | 0.028086 | 0.028086 | 0.028086 | 0.98425 | -0.30332 | 0.98494 | -0.2899 | 7.7159
65 | -0.023595 | -0.0059226 | 0.023599 | 0.0059248 | 3.5583e-06 | 2.1823e-06 | 0.03565 | 0.03565 | 0.03565 | 0.98494 | -0.2899 | 0.9851 | -0.28673 | 9.794
66 | -0.0043024 | -0.0010783 | 0.0043028 | 0.0010782 | 3.804e-07 | -6.1833e-08 | 0.0065016 | 0.0065015 | 0.0065016 | 0.98468 | -0.29491 | 0.98477 | -0.29305 | 1.7862
67 | -0.008407 | -0.0021068 | 0.0084081 | 0.0021073 | 1.0867e-06 | 4.6696e-07 | 0.012703 | 0.012703 | 0.012703 | 0.98477 | -0.29305 | 0.98491 | -0.29034 | 3.4899
68 | 0.0017534 | 0.00043928 | -0.0017533 | -0.00043943 | 3.3579e-08 | -1.4091e-07 | 0.0026489 | 0.002649 | 0.002649 | 0.98491 | -0.29034 | 0.98489 | -0.29074 | 0.72775
69 | -0.012725 | -0.003189 | 0.012726 | 0.0031898 | 1.4381e-06 | 7.8832e-07 | 0.019225 | 0.019225 | 0.019225 | 0.98491 | -0.29034 | 0.98504 | -0.28797 | 5.2815
70 | -0.014472 | -0.0036273 | 0.014476 | 0.0036296 | 4.1218e-06 | 2.3451e-06 | 0.021862 | 0.021861 | 0.021862 | 0.98504 | -0.28797 | 0.98534 | -0.28199 | 6.0059
71 | -0.016205 | -0.0040629 | 0.016208 | 0.0040647 | 3.0742e-06 | 1.7931e-06 | 0.024472 | 0.024472 | 0.024472 | 0.98534 | -0.28199 | 0.98555 | -0.27801 | 6.7232
72 | -0.028334 | -0.0071116 | 0.028346 | 0.007119 | 1.1791e-05 | 7.3278e-06 | 0.042804 | 0.042804 | 0.042804 | 0.9851 | -0.28673 | 0.98555 | -0.27801 | 11.7592
73 | -0.044554 | -0.011184 | 0.044613 | 0.011221 | 5.8713e-05 | 3.7135e-05 | 0.067276 | 0.067276 | 0.067276 | 0.98555 | -0.27801 | 0.98696 | -0.25042 | 18.4824
74 | -0.060438 | -0.015187 | 0.060448 | 0.015193 | 1.0077e-05 | 6.408e-06 | 0.091134 | 0.091134 | 0.091134 | 0.98696 | -0.25042 | 0.98714 | -0.24693 | 25.0368
75 | -0.071793 | -0.018037 | 0.07187 | 0.018086 | 7.6993e-05 | 4.9051e-05 | 0.10824 | 0.10824 | 0.10824 | 0.98714 | -0.24693 | 0.9883 | -0.22449 | 29.7353
76 | -0.073595 | -0.018518 | 0.073617 | 0.018532 | 2.1988e-05 | 1.4011e-05 | 0.11083 | 0.11083 | 0.11083 | 0.9883 | -0.22449 | 0.98862 | -0.21824 | 30.4486
77 | -0.078476 | -0.01975 | 0.078523 | 0.01978 | 4.685e-05 | 2.9869e-05 | 0.11815 | 0.11815 | 0.11815 | 0.98862 | -0.21824 | 0.98927 | -0.20575 | 32.4579
78 | -0.080913 | -0.020379 | 0.080979 | 0.020421 | 6.6982e-05 | 4.2714e-05 | 0.12174 | 0.12174 | 0.12174 | 0.98927 | -0.20575 | 0.99016 | -0.18846 | 33.4453

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54649 | 0.13878

## res_load
| p_mw | q_mvar
0 | 0.0075637 | 0.0018956
1 | 0.010985 | 0.0027531
2 | 0.015235 | 0.0038183
3 | 0.013191 | 0.0033059
4 | 0.002746 | 0.0006882
5 | 0.004494 | 0.0011263
6 | 0.008221 | 0.0020604
7 | 0.0042371 | 0.0010619
8 | 0.0093791 | 0.0023506
9 | 0.0052833 | 0.0013241
10 | 0.013488 | 0.0033805
11 | 0.01397 | 0.0035011
12 | 0.0034403 | 0.00086222
13 | 0.011202 | 0.0028074
14 | 0.0050794 | 0.001273
15 | 0.0015346 | 0.00038461
16 | 0.096464 | 0.024176
17 | 0.0048469 | 0.0012147
18 | 0.0072944 | 0.0018281
19 | 0.0008287 | 0.00020769
20 | 0.0076887 | 0.001927
21 | 0.0031334 | 0.00078532
22 | 0.0044323 | 0.0011108
23 | 0.0076843 | 0.0019259
24 | 0.0022695 | 0.00056878
25 | 0.012072 | 0.0030255
26 | 0.0052887 | 0.0013255
27 | 0.00961 | 0.0024085
28 | 0.0062728 | 0.0015721
29 | 0.0063192 | 0.0015837
30 | 0.0097231 | 0.0024368
31 | 0.0045899 | 0.0011503
32 | 0.0089383 | 0.0022402
33 | 0.0045606 | 0.001143
34 | 0.001425 | 0.00035713
35 | 0.0079646 | 0.0019961
36 | 0.0023658 | 0.00059293
37 | 0.0072716 | 0.0018224
38 | 0.0049727 | 0.0012463
39 | 0.0026201 | 0.00065667
40 | 0.0051406 | 0.0012883
41 | 0.0041152 | 0.0010314
42 | 0.017428 | 0.0043679
43 | 0.0076993 | 0.0019296
44 | 0.0082125 | 0.0020583
45 | 0.0040936 | 0.0010259
46 | 0.0086191 | 0.0021602
47 | 0.0058485 | 0.0014658
48 | 0.005007 | 0.0012549
49 | 0.0043024 | 0.0010783
50 | 0.0041042 | 0.0010286
51 | 0.0025633 | 0.00064242
52 | 0.0017533 | 0.00043943
53 | 0.0017456 | 0.00043749
54 | 0.0017289 | 0.0004333
55 | 0.0047357 | 0.0011869
56 | 0.015825 | 0.003966
57 | 0.011346 | 0.0028435
58 | 0.0017245 | 0.00043221
59 | 0.0048593 | 0.0012179
60 | 0.0023895 | 0.00059887
61 | 0.0037035 | 0.00092818
62 | 0.053409 | 0.013386

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1