## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-60_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-60_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-60_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1711-60_0_4_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_1711-60_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-60_0_4_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_1711-60_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1711-60_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_1711-60_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1711-60_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1711-60_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1711-60_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1711-60_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1711-60_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1711-60_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1711-60_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_1711-60_0_4_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_1711-60_0_4_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_1711-60_0_4_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_1711-60_0_4_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_1711-60_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1711-60_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1711-60_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_1711-60_0_4_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_1711-60_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_1711-60_0_4_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_1711-60_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1711-60_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1711-60_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1711-60_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1711-60_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1711-60_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1711-60_0_4_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_1711-60_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1711-60_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1711-60_0_4_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_1711-60_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1711-60_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_1711-60_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1711-60_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1711-60_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1711-60_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1711-60_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1711-60_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1711-60_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1711-60_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1711-60_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1711-60_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1711-60_0_4_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_1711-60_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_1711-60_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1711-60_0_4_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_1711-60_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_1711-60_0_4_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_1711-60_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_1711-60_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_1711-60_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_1711-60_0_4_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_1711-60_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_1711-60_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1711-60_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_1711-60_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_1711-60_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_1711-60_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_1711-60_0_4_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_1711-60_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1711-60_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_1711-60_0_4_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_1711-60_0_4_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_1711-60_0_4_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_1711-60_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_1711-60_0_4_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_1711-60_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_1711-60_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_1711-60_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_1711-60_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_1711-60_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_1711-60_0_4_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_1711-60_0_4_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_1711-60_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_1711-60_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_1711-60_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_1711-60_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_1711-60_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_1711-60_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_1711-60_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_1711-60_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_1711-60_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_MV_25_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-60_0_4_load_0 | 0 | 0.0087591 | 0.0021952 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-60_0_4_load_1 | 1 | 0.0015888 | 0.0003982 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-60_0_4_load_3 | 2 | 0.0021758 | 0.00054532 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-60_0_4_load_12 | 3 | 0.01075 | 0.0026941 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-60_0_4_load_4 | 4 | 0.0039884 | 0.00099958 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-60_0_4_load_59 | 5 | 0.0012873 | 0.00032263 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-60_0_4_load_42 | 7 | 0.0010626 | 0.00026632 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-60_0_4_load_5 | 8 | 0.014905 | 0.0037356 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-60_0_4_load_6 | 9 | 0.0050286 | 0.0012603 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-60_0_4_load_8 | 11 | 0.013637 | 0.0034178 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-60_0_4_load_10 | 13 | 0.0099123 | 0.0024843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-60_0_4_load_11 | 14 | 0.017843 | 0.004472 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-60_0_4_load_53 | 15 | 0.0052905 | 0.0013259 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-60_0_4_load_55 | 16 | 0.0024559 | 0.00061552 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-60_0_4_load_80 | 17 | 0.0175 | 0.0043858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-60_0_4_load_51 | 18 | 0.004406 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-60_0_4_load_81 | 19 | 0.0057083 | 0.0014306 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-60_0_4_load_14 | 20 | 0.0044651 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-60_0_4_load_15 | 21 | 0.012826 | 0.0032146 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-60_0_4_load_56 | 22 | 0.0014319 | 0.00035887 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-60_0_4_load_86 | 23 | 0.0023127 | 0.00057962 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-60_0_4_load_87 | 25 | 0.0011401 | 0.00028573 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-60_0_4_load_16 | 26 | 0.0035808 | 0.00089744 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-60_0_4_load_17 | 27 | 0.0063136 | 0.0015823 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-60_0_4_load_18 | 28 | 0.005186 | 0.0012997 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-60_0_4_load_19 | 29 | 0.003867 | 0.00096915 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-60_0_4_load_20 | 30 | 0.0075813 | 0.0019001 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-60_0_4_load_30 | 31 | 0.0016953 | 0.00042489 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-60_0_4_load_68 | 32 | 0.0016522 | 0.00041408 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-60_0_4_load_31 | 33 | 0.0027778 | 0.00069619 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-60_0_4_load_24 | 34 | 0.002865 | 0.00071803 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-60_0_4_load_69 | 35 | 0.0031008 | 0.00077713 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-60_0_4_load_21 | 36 | 0.0075841 | 0.0019008 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-60_0_4_load_22 | 37 | 0.0041217 | 0.001033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-60_0_4_load_23 | 38 | 0.0034309 | 0.00085988 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-60_0_4_load_25 | 39 | 0.0077669 | 0.0019466 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-60_0_4_load_27 | 40 | 0.0016073 | 0.00040283 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-60_0_4_load_26 | 41 | 0.0030313 | 0.00075972 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-60_0_4_load_36 | 42 | 0.0018386 | 0.00046081 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-60_0_4_load_32 | 44 | 0.0021329 | 0.00053455 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-60_0_4_load_33 | 45 | 0.0025759 | 0.00064558 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-60_0_4_load_37 | 47 | 0.0061125 | 0.0015319 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-60_0_4_load_65 | 49 | 0.0081882 | 0.0020521 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-60_0_4_load_66 | 51 | 0.0037835 | 0.00094824 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-60_0_4_load_63 | 52 | 0.0052669 | 0.00132 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-60_0_4_load_60 | 54 | 0.0052582 | 0.0013178 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-60_0_4_load_38 | 56 | 0.0025634 | 0.00064245 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-60_0_4_load_61 | 57 | 0.0039574 | 0.00099181 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-60_0_4_load_43 | 58 | 0.0083341 | 0.0020887 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1711-60_0_4_load_44 | 59 | 0.0030086 | 0.00075403 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1711-60_0_4_load_45 | 60 | 0.0046187 | 0.0011576 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1711-60_0_4_load_46 | 61 | 0.017645 | 0.0044223 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1711-60_0_4_load_82 | 64 | 0.0083014 | 0.0020805 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1711-60_0_4_load_92 | 67 | 0.020614 | 0.0051663 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1711-60_0_4_load_79 | 69 | 0.0033023 | 0.00082764 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1711-60_0_4_load_78 | 70 | 0.0066831 | 0.0016749 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1711-60_0_4_load_85 | 71 | 0.004555 | 0.0011416 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1711-60_0_4_load_52 | 72 | 0.0089209 | 0.0022358 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1711-60_0_4_load_67 | 74 | 0.011059 | 0.0027716 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1711-60_0_4_load_91 | 77 | 0.0028292 | 0.00070908 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1711-60_0_4_load_90 | 78 | 0.00073961 | 0.00018536 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1711-60_0_4_load_62 | 79 | 0.0048975 | 0.0012274 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1711-60_0_4_load_71 | 80 | 0.0055802 | 0.0013985 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1711-60_0_4_load_76 | 81 | 0.0069133 | 0.0017326 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1711-60_0_4_load_77 | 82 | 0.0061831 | 0.0015496 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1711-60_0_4_load_73 | 84 | 0.0070806 | 0.0017746 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1711-60_0_4_load_74 | 85 | 0.0040936 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1711-60_0_4_load_89 | 86 | 0.0010204 | 0.00025574 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1711-60_0_4_load_88 | 87 | 0.0029063 | 0.00072838 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-60_0_4_line_0 |  | 0 | 1 | 0.014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-60_0_4_line_1 |  | 1 | 2 | 0.0041119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-60_0_4_line_2 |  | 2 | 3 | 0.020678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-60_0_4_line_3 |  | 3 | 6 | 0.031647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-60_0_4_line_4 |  | 4 | 5 | 0.0063257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-60_0_4_line_5 |  | 5 | 7 | 0.0093352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-60_0_4_line_6 |  | 6 | 20 | 0.024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-60_0_4_line_7 |  | 6 | 21 | 0.019903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-60_0_4_line_8 |  | 6 | 14 | 0.04179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-60_0_4_line_9 |  | 7 | 55 | 0.0084379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-60_0_4_line_10 |  | 8 | 9 | 0.036145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-60_0_4_line_11 |  | 8 | 10 | 0.026678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-60_0_4_line_12 |  | 9 | 11 | 0.006047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-60_0_4_line_13 |  | 10 | 12 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1711-60_0_4_line_14 |  | 10 | 13 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-60_0_4_line_15 |  | 10 | 14 | 0.044926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-60_0_4_line_16 |  | 12 | 15 | 0.0010698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1711-60_0_4_line_17 |  | 12 | 16 | 0.014332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-60_0_4_line_18 |  | 13 | 17 | 0.010945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-60_0_4_line_19 |  | 15 | 18 | 0.018633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1711-60_0_4_line_20 |  | 17 | 19 | 0.0069402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-60_0_4_line_21 |  | 18 | 72 | 0.004419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1711-60_0_4_line_22 |  | 19 | 64 | 0.013889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-60_0_4_line_23 |  | 20 | 22 | 0.012186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-60_0_4_line_24 |  | 21 | 23 | 0.0037138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-60_0_4_line_25 |  | 22 | 24 | 0.0016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-60_0_4_line_26 |  | 23 | 25 | 0.014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-60_0_4_line_27 |  | 24 | 76 | 0.026726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-60_0_4_line_28 |  | 25 | 87 | 0.010571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-60_0_4_line_29 |  | 26 | 27 | 0.0066439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-60_0_4_line_30 |  | 26 | 28 | 0.015157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-60_0_4_line_31 |  | 27 | 29 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-60_0_4_line_32 |  | 28 | 30 | 0.0060053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-60_0_4_line_33 |  | 29 | 31 | 0.0033797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-60_0_4_line_34 |  | 30 | 32 | 0.0033286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-60_0_4_line_35 |  | 31 | 33 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-60_0_4_line_36 |  | 31 | 34 | 0.012249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-60_0_4_line_37 |  | 32 | 35 | 0.0079674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-60_0_4_line_38 |  | 34 | 37 | 0.0052849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-60_0_4_line_39 |  | 35 | 53 | 0.0070868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-60_0_4_line_40 |  | 36 | 37 | 0.01097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-60_0_4_line_41 |  | 36 | 38 | 0.0032678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-60_0_4_line_42 |  | 38 | 39 | 0.024198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-60_0_4_line_43 |  | 39 | 40 | 0.0040407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-60_0_4_line_44 |  | 40 | 41 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-60_0_4_line_45 |  | 42 | 43 | 0.0033251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-60_0_4_line_46 |  | 43 | 47 | 0.0079723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-60_0_4_line_47 |  | 43 | 44 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-60_0_4_line_48 |  | 44 | 45 | 0.022229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-60_0_4_line_49 |  | 45 | 46 | 0.016203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-60_0_4_line_50 |  | 46 | 48 | 0.008984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1711-60_0_4_line_51 |  | 46 | 49 | 0.022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-60_0_4_line_52 |  | 47 | 50 | 0.025035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-60_0_4_line_53 |  | 48 | 51 | 0.030388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-60_0_4_line_54 |  | 48 | 52 | 0.011026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-60_0_4_line_55 |  | 49 | 53 | 0.023577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-60_0_4_line_56 |  | 50 | 54 | 0.011578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1711-60_0_4_line_57 |  | 50 | 55 | 0.009566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-60_0_4_line_58 |  | 51 | 73 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-60_0_4_line_59 |  | 52 | 79 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-60_0_4_line_60 |  | 53 | 80 | 0.021426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1711-60_0_4_line_61 |  | 54 | 57 | 0.0095788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1711-60_0_4_line_62 |  | 55 | 56 | 0.021427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1711-60_0_4_line_63 |  | 58 | 59 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1711-60_0_4_line_64 |  | 58 | 60 | 0.004487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1711-60_0_4_line_65 |  | 59 | 61 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1711-60_0_4_line_66 |  | 60 | 62 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1711-60_0_4_line_67 |  | 61 | 63 | 0.029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1711-60_0_4_line_68 |  | 62 | 64 | 0.041296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1711-60_0_4_line_69 |  | 63 | 65 | 0.004165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1711-60_0_4_line_70 |  | 63 | 66 | 0.070835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1711-60_0_4_line_71 |  | 65 | 68 | 0.040103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1711-60_0_4_line_72 |  | 66 | 67 | 0.009729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1711-60_0_4_line_73 |  | 68 | 71 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1711-60_0_4_line_74 |  | 69 | 70 | 0.03447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1711-60_0_4_line_75 |  | 70 | 82 | 0.02574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1711-60_0_4_line_76 |  | 72 | 73 | 0.011174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_1711-60_0_4_line_77 |  | 73 | 74 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1711-60_0_4_line_78 |  | 74 | 75 | 0.022584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1711-60_0_4_line_79 |  | 75 | 81 | 0.015808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1711-60_0_4_line_80 |  | 75 | 82 | 0.017594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1711-60_0_4_line_81 |  | 76 | 77 | 0.030603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1711-60_0_4_line_82 |  | 77 | 78 | 0.015029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1711-60_0_4_line_83 |  | 81 | 84 | 0.00098845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1711-60_0_4_line_84 |  | 83 | 84 | 0.020309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1711-60_0_4_line_85 |  | 83 | 85 | 0.044804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1711-60_0_4_line_86 |  | 86 | 87 | 0.025521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-60_0_4_trafo_51 | 0.63 MVA 20/0.4 kV | 88 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2681172.967 | 1222327.746 | 2681179.5134 | 1222340.4224
1 | 2681181.4002 | 1222344.076 | 2681179.5134 | 1222340.4224
2 | 2681181.4002 | 1222344.076 | 2681190.8881 | 1222362.4483
3 | 2681205.4095 | 1222390.5675 | 2681190.8881 | 1222362.4483
4 | 2681072.2681 | 1222280.1644 | 2681070.7358 | 1222281.5375 | 2681067.6332 | 1222284.4687
5 | 2681067.6332 | 1222284.4687 | 2681060.8473 | 1222290.8794
6 | 2681205.4095 | 1222390.5675 | 2681213.3586 | 1222387.8185 | 2681227.0673 | 1222380.0293
7 | 2681205.4095 | 1222390.5675 | 2681210.7147 | 1222401.4694 | 2681212.9868 | 1222408.9091
8 | 2681205.4095 | 1222390.5675 | 2681164.6829 | 1222399.9356
9 | 2681054.7137 | 1222296.674 | 2681060.8473 | 1222290.8794
10 | 2681112.8512 | 1222384.5721 | 2681109.2067 | 1222373.056 | 2681096.0412 | 1222352.91
11 | 2681120.9005 | 1222410.0066 | 2681112.8512 | 1222384.5721
12 | 2681092.7332 | 1222347.8481 | 2681096.0412 | 1222352.91
13 | 2681120.9005 | 1222410.0066 | 2681113.281 | 1222410.8367 | 2681102.3402 | 1222406.0178
14 | 2681120.9005 | 1222410.0066 | 2681124.8232 | 1222425.5745
15 | 2681120.9005 | 1222410.0066 | 2681164.6829 | 1222399.9356
16 | 2681102.3402 | 1222406.0178 | 2681101.3575 | 1222405.5951
17 | 2681102.3402 | 1222406.0178 | 2681099.1759 | 1222392.0396
18 | 2681124.8232 | 1222425.5745 | 2681127.4975 | 1222436.1875
19 | 2681084.2414 | 1222398.2316 | 2681101.3575 | 1222405.5951
20 | 2681129.1932 | 1222442.9174 | 2681127.4975 | 1222436.1875
21 | 2681084.2414 | 1222398.2316 | 2681080.5611 | 1222396.6484 | 2681080.1809 | 1222396.4884
22 | 2681132.587 | 1222456.3858 | 2681129.1932 | 1222442.9174
23 | 2681227.0673 | 1222380.0293 | 2681237.6627 | 1222374.0089
24 | 2681212.9868 | 1222408.9091 | 2681214.0715 | 1222412.461
25 | 2681239.0985 | 1222373.1931 | 2681237.6627 | 1222374.0089
26 | 2681214.0715 | 1222412.461 | 2681215.8772 | 1222418.3734 | 2681218.1643 | 1222425.8638
27 | 2681239.0985 | 1222373.1931 | 2681255.4982 | 1222365.4228 | 2681263.196 | 1222361.6364
28 | 2681221.2515 | 1222435.9742 | 2681218.1643 | 1222425.8638
29 | 2680975.6571 | 1222357.5883 | 2680975.2429 | 1222356.0994 | 2680974.1132 | 1222351.1277
30 | 2680979.72 | 1222372.1907 | 2680975.6571 | 1222357.5883
31 | 2680969.5648 | 1222331.111 | 2680974.1132 | 1222351.1277
32 | 2680981.5935 | 1222377.8875 | 2680980.6306 | 1222375.4634 | 2680979.72 | 1222372.1907
33 | 2680968.8159 | 1222327.8153 | 2680969.5648 | 1222331.111
34 | 2680981.5935 | 1222377.8875 | 2680982.8223 | 1222380.9809
35 | 2680968.8159 | 1222327.8153 | 2680987.8199 | 1222323.4129
36 | 2680968.8159 | 1222327.8153 | 2680966.1121 | 1222315.8689
37 | 2680985.7636 | 1222388.3856 | 2680982.8223 | 1222380.9809
38 | 2680964.9455 | 1222310.7144 | 2680965.3956 | 1222312.7032 | 2680966.1121 | 1222315.8689
39 | 2680988.6425 | 1222394.852 | 2680987.3047 | 1222392.2654 | 2680985.7636 | 1222388.3856
40 | 2680962.5241 | 1222300.0148 | 2680964.9455 | 1222310.7144
41 | 2680961.8028 | 1222296.8276 | 2680962.5241 | 1222300.0148
42 | 2680956.4321 | 1222273.2327 | 2680959.4566 | 1222286.4604 | 2680961.8028 | 1222296.8276
43 | 2680956.4321 | 1222273.2327 | 2680955.5314 | 1222269.2936
44 | 2680952.2586 | 1222255.036 | 2680954.3231 | 1222264.009 | 2680955.5314 | 1222269.2936
45 | 2681017.872 | 1222317.1865 | 2681014.6241 | 1222317.8988
46 | 2681017.872 | 1222317.1865 | 2681024.8639 | 1222315.1024 | 2681025.4969 | 1222314.864
47 | 2681017.872 | 1222317.1865 | 2681016.4522 | 1222323.4158 | 2681017.0492 | 1222331.9407 | 2681017.5049 | 1222333.5901
48 | 2681017.5049 | 1222333.5901 | 2681020.0277 | 1222342.7218 | 2681024.839 | 1222354.535
49 | 2681027.0141 | 1222370.0129 | 2681027.9366 | 1222365.767 | 2681028.0284 | 1222362.366 | 2681024.839 | 1222354.535
50 | 2681034.8718 | 1222365.6168 | 2681027.0141 | 1222370.0129
51 | 2681027.0141 | 1222370.0129 | 2681013.4499 | 1222379.0233 | 2681008.5654 | 1222382.2939
52 | 2681047.3183 | 1222302.7664 | 2681037.5314 | 1222309.004 | 2681030.9027 | 1222312.8275 | 2681025.4969 | 1222314.864
53 | 2681034.8718 | 1222365.6168 | 2681044.3069 | 1222375.1739 | 2681048.9422 | 1222376.2488 | 2681058.6565 | 1222383.6284
54 | 2681034.8718 | 1222365.6168 | 2681040.4081 | 1222362.9126 | 2681043.9791 | 1222359.6094
55 | 2680988.6425 | 1222394.852 | 2680993.9368 | 1222392.0888 | 2681008.5654 | 1222382.2939
56 | 2681047.3183 | 1222302.7664 | 2681052.2403 | 1222313.2458
57 | 2681054.7137 | 1222296.674 | 2681047.3183 | 1222302.7664
58 | 2681069.8814 | 1222392.1555 | 2681058.6565 | 1222383.6284
59 | 2681053.5998 | 1222340.0387 | 2681054.4716 | 1222347.8717 | 2681053.829 | 1222350.498 | 2681043.9791 | 1222359.6094
60 | 2680988.6425 | 1222394.852 | 2680998.4785 | 1222413.8865
61 | 2681052.2403 | 1222313.2458 | 2681056.3126 | 1222321.9158
62 | 2681054.7137 | 1222296.674 | 2681050.1077 | 1222291.7747 | 2681046.0046 | 1222277.6564
63 | 2681136.8972 | 1222503.1671 | 2681128.376 | 1222508.2187 | 2681118.0142 | 1222514.1037
64 | 2681136.8972 | 1222503.1671 | 2681140.757 | 1222500.879
65 | 2681101.4331 | 1222524.3977 | 2681106.314 | 1222520.7488 | 2681118.0142 | 1222514.1037
66 | 2681151.9252 | 1222492.8737 | 2681144.3814 | 1222498.7304 | 2681140.757 | 1222500.879
67 | 2681077.328 | 1222540.434 | 2681089.2248 | 1222533.5247 | 2681101.4331 | 1222524.3977
68 | 2681151.9252 | 1222492.8737 | 2681132.587 | 1222456.3858
69 | 2681073.7192 | 1222542.5307 | 2681077.328 | 1222540.434
70 | 2681131.0046 | 1222554.6523 | 2681128.1903 | 1222556.8932 | 2681121.2767 | 1222562.1581 | 2681106.9959 | 1222556.4264 | 2681103.5892 | 1222558.1701 | 2681093.9003 | 1222563.3639 | 2681091.2297 | 1222560.6257 | 2681077.328 | 1222540.434
71 | 2681043.7632 | 1222540.9886 | 2681048.4557 | 1222552.8938 | 2681067.0371 | 1222545.2749 | 2681073.7192 | 1222542.5307
72 | 2681131.0046 | 1222554.6523 | 2681125.9296 | 1222546.3442
73 | 2681043.7632 | 1222540.9886 | 2681028.0282 | 1222547.1957
74 | 2681054.573 | 1222501.387 | 2681058.8285 | 1222494.14 | 2681063.8715 | 1222488.6606 | 2681058.9985 | 1222470.6904
75 | 2681052.3279 | 1222445.8299 | 2681055.5222 | 1222457.8707 | 2681058.9985 | 1222470.6904
76 | 2681069.8814 | 1222392.1555 | 2681080.1809 | 1222396.4884
77 | 2681069.8814 | 1222392.1555 | 2681063.8679 | 1222396.4766 | 2681058.3618 | 1222404.7627 | 2681055.5389 | 1222408.6835
78 | 2681047.8166 | 1222428.8242 | 2681047.4059 | 1222421.1023 | 2681053.0424 | 1222412.1508 | 2681055.5389 | 1222408.6835
79 | 2681047.8166 | 1222428.8242 | 2681033.2114 | 1222434.8732
80 | 2681047.8166 | 1222428.8242 | 2681052.3279 | 1222445.8299
81 | 2681263.196 | 1222361.6364 | 2681269.0488 | 1222374.0912 | 2681272.1253 | 1222385.9968 | 2681272.8146 | 1222390.4896
82 | 2681274.9692 | 1222405.3613 | 2681274.5562 | 1222401.8406 | 2681272.8146 | 1222390.4896
83 | 2681033.2114 | 1222434.8732 | 2681032.2982 | 1222435.2515
84 | 2681013.5345 | 1222443.0228 | 2681032.2982 | 1222435.2515
85 | 2681013.5345 | 1222443.0228 | 2681019.5406 | 1222458.7373 | 2681027.169 | 1222485.1032 | 2681027.3175 | 1222485.616
86 | 2681221.2515 | 1222435.9742 | 2681228.7042 | 1222460.3823

## bus_geodata
| x | y | coords
0 | 2681172.967 | 1222327.746
1 | 2681179.5134 | 1222340.4224
2 | 2681181.4002 | 1222344.076
3 | 2681190.8881 | 1222362.4483
4 | 2681072.2681 | 1222280.1644
5 | 2681067.6332 | 1222284.4687
6 | 2681205.4095 | 1222390.5675
7 | 2681060.8473 | 1222290.8794
8 | 2681112.8512 | 1222384.5721
9 | 2681096.0412 | 1222352.91
10 | 2681120.9005 | 1222410.0066
11 | 2681092.7332 | 1222347.8481
12 | 2681102.3402 | 1222406.0178
13 | 2681124.8232 | 1222425.5745
14 | 2681164.6829 | 1222399.9356
15 | 2681101.3575 | 1222405.5951
16 | 2681099.1759 | 1222392.0396
17 | 2681127.4975 | 1222436.1875
18 | 2681084.2414 | 1222398.2316
19 | 2681129.1932 | 1222442.9174
20 | 2681227.0673 | 1222380.0293
21 | 2681212.9868 | 1222408.9092
22 | 2681237.6627 | 1222374.0089
23 | 2681214.0715 | 1222412.461
24 | 2681239.0985 | 1222373.1931
25 | 2681218.1643 | 1222425.8638
26 | 2680975.6571 | 1222357.5883
27 | 2680974.1132 | 1222351.1277
28 | 2680979.72 | 1222372.1907
29 | 2680969.5648 | 1222331.111
30 | 2680981.5935 | 1222377.8875
31 | 2680968.8159 | 1222327.8153
32 | 2680982.8223 | 1222380.9809
33 | 2680987.8199 | 1222323.4129
34 | 2680966.1121 | 1222315.8689
35 | 2680985.7636 | 1222388.3856
36 | 2680962.5241 | 1222300.0148
37 | 2680964.9455 | 1222310.7144
38 | 2680961.8028 | 1222296.8276
39 | 2680956.4321 | 1222273.2327
40 | 2680955.5314 | 1222269.2936
41 | 2680952.2586 | 1222255.0361
42 | 2681014.6241 | 1222317.8988
43 | 2681017.872 | 1222317.1865
44 | 2681017.5049 | 1222333.5901
45 | 2681024.839 | 1222354.535
46 | 2681027.0141 | 1222370.0129
47 | 2681025.4969 | 1222314.864
48 | 2681034.8718 | 1222365.6168
49 | 2681008.5654 | 1222382.2939
50 | 2681047.3183 | 1222302.7664
51 | 2681058.6565 | 1222383.6284
52 | 2681043.9791 | 1222359.6094
53 | 2680988.6425 | 1222394.852
54 | 2681052.2403 | 1222313.2458
55 | 2681054.7137 | 1222296.674
56 | 2681046.0046 | 1222277.6564
57 | 2681056.3126 | 1222321.9158
58 | 2681136.8972 | 1222503.1671
59 | 2681118.0142 | 1222514.1037
60 | 2681140.757 | 1222500.879
61 | 2681101.4331 | 1222524.3977
62 | 2681151.9252 | 1222492.8737
63 | 2681077.328 | 1222540.434
64 | 2681132.587 | 1222456.3858
65 | 2681073.7192 | 1222542.5307
66 | 2681131.0046 | 1222554.6523
67 | 2681125.9296 | 1222546.3442
68 | 2681043.7632 | 1222540.9886
69 | 2681054.573 | 1222501.387
70 | 2681058.9985 | 1222470.6904
71 | 2681028.0282 | 1222547.1957
72 | 2681080.1809 | 1222396.4884
73 | 2681069.8814 | 1222392.1555
74 | 2681055.5389 | 1222408.6835
75 | 2681047.8166 | 1222428.8242
76 | 2681263.196 | 1222361.6364
77 | 2681272.8146 | 1222390.4896
78 | 2681274.9692 | 1222405.3613
79 | 2681053.5998 | 1222340.0387
80 | 2680998.4785 | 1222413.8865
81 | 2681033.2114 | 1222434.8732
82 | 2681052.3279 | 1222445.8299
83 | 2681013.5345 | 1222443.0228
84 | 2681032.2982 | 1222435.2515
85 | 2681027.3175 | 1222485.616
86 | 2681228.7042 | 1222460.3823
87 | 2681221.2515 | 1222435.9742
88 | 2681069.8814 | 1222392.1555

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99026 | -0.1874 | 0.0087591 | 0.0021952
1 | 0.99037 | -0.18518 | 0.0015888 | 0.0003982
2 | 0.99041 | -0.18442 | 0.0021758 | 0.00054532
3 | 0.99065 | -0.17982 | 0.01075 | 0.0026941
4 | 0.99066 | -0.17929 | 0.0039884 | 0.00099958
5 | 0.99068 | -0.17884 | 0.0012873 | 0.00032263
6 | 0.99132 | -0.16675 | 0 | 0
7 | 0.99073 | -0.17796 | 0.0010626 | 0.00026632
8 | 0.99544 | -0.087304 | 0.014905 | 0.0037356
9 | 0.99483 | -0.099179 | 0.0050286 | 0.0012603
10 | 0.99626 | -0.071563 | 0 | 0
11 | 0.99475 | -0.10063 | 0.013637 | 0.0034178
12 | 0.99809 | -0.036478 | 0 | 0
13 | 0.99478 | -0.099856 | 0.0099123 | 0.0024843
14 | 0.99335 | -0.12758 | 0.017843 | 0.004472
15 | 0.99819 | -0.03454 | 0.0052905 | 0.0013259
16 | 0.99806 | -0.037094 | 0.0024559 | 0.00061552
17 | 0.99388 | -0.11728 | 0.0175 | 0.0043858
18 | 1 | 0 | -0.39588 | -0.099965
19 | 0.99341 | -0.1262 | 0.0057083 | 0.0014306
20 | 0.99111 | -0.17081 | 0.0044651 | 0.0011191
21 | 0.99096 | -0.17389 | 0.012826 | 0.0032146
22 | 0.99106 | -0.17189 | 0.0014319 | 0.00035887
23 | 0.99093 | -0.17437 | 0.0023127 | 0.00057962
24 | 0.99105 | -0.172 | 0 | 0
25 | 0.99087 | -0.17563 | 0.0011401 | 0.00028573
26 | 0.98764 | -0.23772 | 0.0035808 | 0.00089744
27 | 0.98736 | -0.24307 | 0.0063136 | 0.0015823
28 | 0.98832 | -0.22455 | 0.005186 | 0.0012997
29 | 0.98663 | -0.2573 | 0.003867 | 0.00096915
30 | 0.98861 | -0.21878 | 0.0075813 | 0.0019001
31 | 0.98652 | -0.25941 | 0.0016953 | 0.00042489
32 | 0.9888 | -0.21514 | 0.0016522 | 0.00041408
33 | 0.98647 | -0.26038 | 0.0027778 | 0.00069619
34 | 0.98618 | -0.26608 | 0.002865 | 0.00071803
35 | 0.98926 | -0.20619 | 0.0031008 | 0.00077713
36 | 0.98581 | -0.2733 | 0.0075841 | 0.0019008
37 | 0.98605 | -0.26869 | 0.0041217 | 0.001033
38 | 0.98576 | -0.27423 | 0.0034309 | 0.00085988
39 | 0.98549 | -0.27961 | 0.0077669 | 0.0019466
40 | 0.98547 | -0.27995 | 0.0016073 | 0.00040283
41 | 0.98543 | -0.28075 | 0.0030313 | 0.00075972
42 | 0.99144 | -0.16413 | 0.0018386 | 0.00046081
43 | 0.99145 | -0.16403 | 0 | 0
44 | 0.99185 | -0.15633 | 0.0021329 | 0.00053455
45 | 0.99242 | -0.14523 | 0.0025759 | 0.00064558
46 | 0.99288 | -0.13641 | 0 | 0
47 | 0.99127 | -0.16745 | 0.0061125 | 0.0015319
48 | 0.99379 | -0.11884 | 0 | 0
49 | 0.99125 | -0.16778 | 0.0081882 | 0.0020521
50 | 0.99086 | -0.1755 | 0 | 0
51 | 0.99716 | -0.054228 | 0.0037835 | 0.00094824
52 | 0.99369 | -0.12082 | 0.0052669 | 0.00132
53 | 0.98969 | -0.19784 | 0 | 0
54 | 0.99076 | -0.1774 | 0.0052582 | 0.0013178
55 | 0.99078 | -0.17701 | 0 | 0
56 | 0.99073 | -0.17799 | 0.0025634 | 0.00064245
57 | 0.99072 | -0.17807 | 0.0039574 | 0.00099181
58 | 0.98936 | -0.20443 | 0.0083341 | 0.0020887
59 | 0.98844 | -0.22225 | 0.0030086 | 0.00075403
60 | 0.98959 | -0.2001 | 0.0046187 | 0.0011576
61 | 0.98767 | -0.2372 | 0.017645 | 0.0044223
62 | 0.99033 | -0.18571 | 0 | 0
63 | 0.987 | -0.25025 | 0 | 0
64 | 0.99256 | -0.14267 | 0.0083014 | 0.0020805
65 | 0.98699 | -0.25059 | 0 | 0
66 | 0.98566 | -0.27641 | 0 | 0
67 | 0.98547 | -0.28001 | 0.020614 | 0.0051663
68 | 0.98682 | -0.25386 | 0 | 0
69 | 0.99656 | -0.066106 | 0.0033023 | 0.00082764
70 | 0.99666 | -0.064108 | 0.0066831 | 0.0016749
71 | 0.98675 | -0.25524 | 0.004555 | 0.0011416
72 | 0.99964 | -0.0068925 | 0.0089209 | 0.0022358
73 | 0.99877 | -0.023472 | 0 | 0
74 | 0.99785 | -0.041056 | 0.011059 | 0.0027716
75 | 0.99715 | -0.05461 | 0 | 0
76 | 0.99097 | -0.17369 | 0 | 0
77 | 0.99087 | -0.17563 | 0.0028292 | 0.00070908
78 | 0.99086 | -0.17583 | 0.00073961 | 0.00018536
79 | 0.99358 | -0.12289 | 0.0048975 | 0.0012274
80 | 0.98958 | -0.19997 | 0.0055802 | 0.0013985
81 | 0.99689 | -0.059624 | 0.0069133 | 0.0017326
82 | 0.99689 | -0.059598 | 0.0061831 | 0.0015496
83 | 0.99681 | -0.061276 | 0 | 0
84 | 0.99688 | -0.059818 | 0.0070806 | 0.0017746
85 | 0.99664 | -0.064495 | 0.0040936 | 0.0010259
86 | 0.9908 | -0.17683 | 0.0010204 | 0.00025574
87 | 0.99083 | -0.17637 | 0.0029063 | 0.00072838
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0087591 | -0.0021952 | 0.00876 | 0.0021957 | 9.2683e-07 | 4.0961e-07 | 0.013162 | 0.013162 | 0.013162 | 0.99026 | -0.1874 | 0.99037 | -0.18518 | 3.6159
1 | -0.010349 | -0.0025939 | 0.010349 | 0.002594 | 3.7281e-07 | 1.8568e-07 | 0.015549 | 0.015549 | 0.015549 | 0.99037 | -0.18518 | 0.99041 | -0.18442 | 4.2717
2 | -0.012525 | -0.0031394 | 0.012528 | 0.0031409 | 2.7459e-06 | 1.4912e-06 | 0.018818 | 0.018818 | 0.018818 | 0.99041 | -0.18442 | 0.99065 | -0.17982 | 5.1698
3 | -0.023277 | -0.0058349 | 0.023292 | 0.0058438 | 1.4508e-05 | 8.8777e-06 | 0.034964 | 0.034964 | 0.034964 | 0.99065 | -0.17982 | 0.99132 | -0.16675 | 9.6056
4 | -0.0039884 | -0.00099958 | 0.0039885 | 0.00099955 | 8.5133e-08 | -2.6963e-08 | 0.0059907 | 0.0059907 | 0.0059907 | 0.99066 | -0.17929 | 0.99068 | -0.17884 | 1.6458
5 | -0.0052758 | -0.0013222 | 0.005276 | 0.0013222 | 2.1982e-07 | 2.048e-08 | 0.0079243 | 0.0079242 | 0.0079243 | 0.99068 | -0.17884 | 0.99073 | -0.17796 | 2.177
6 | 0.0094686 | 0.0023727 | -0.0094668 | -0.0023718 | 1.8315e-06 | 8.6051e-07 | 0.014213 | 0.014213 | 0.014213 | 0.99132 | -0.16675 | 0.99111 | -0.17081 | 3.9046
7 | 0.020213 | 0.0050679 | -0.020206 | -0.0050638 | 6.8712e-06 | 4.1411e-06 | 0.030342 | 0.030342 | 0.030342 | 0.99132 | -0.16675 | 0.99096 | -0.17389 | 8.3356
8 | -0.052974 | -0.013284 | 0.053073 | 0.013347 | 9.9093e-05 | 6.2879e-05 | 0.079519 | 0.079518 | 0.079519 | 0.99132 | -0.16675 | 0.99335 | -0.12758 | 21.8458
9 | -0.0063386 | -0.0015885 | 0.0063389 | 0.0015886 | 2.8679e-07 | 7.4882e-08 | 0.0095202 | 0.0095202 | 0.0095202 | 0.99073 | -0.17796 | 0.99078 | -0.17701 | 2.6154
10 | 0.018677 | 0.0046849 | -0.018667 | -0.0046786 | 1.0567e-05 | 6.2931e-06 | 0.027921 | 0.027921 | 0.027921 | 0.99544 | -0.087304 | 0.99483 | -0.099179 | 7.6706
11 | -0.033582 | -0.0084205 | 0.033608 | 0.0084362 | 2.5212e-05 | 1.5789e-05 | 0.050201 | 0.050201 | 0.050201 | 0.99544 | -0.087304 | 0.99626 | -0.071563 | 13.7916
12 | 0.013638 | 0.0034183 | -0.013637 | -0.0034178 | 9.4363e-07 | 5.2541e-07 | 0.020399 | 0.020399 | 0.020399 | 0.99483 | -0.099179 | 0.99475 | -0.10063 | 5.6042
13 | -0.2055 | -0.051859 | 0.20584 | 0.05208 | 0.00034593 | 0.00022088 | 0.30706 | 0.30706 | 0.30706 | 0.99626 | -0.071563 | 0.99809 | -0.036478 | 42.1782
14 | 0.10078 | 0.025482 | -0.10065 | -0.025395 | 0.00013656 | 8.7191e-05 | 0.15061 | 0.15061 | 0.15061 | 0.99626 | -0.071563 | 0.99478 | -0.099856 | 41.3761
15 | 0.071106 | 0.01794 | -0.070916 | -0.017819 | 0.00019018 | 0.00012113 | 0.10625 | 0.10625 | 0.10625 | 0.99626 | -0.071563 | 0.99335 | -0.12758 | 29.1888
16 | -0.2083 | -0.052695 | 0.20832 | 0.052708 | 1.9366e-05 | 1.2366e-05 | 0.31072 | 0.31072 | 0.31072 | 0.99809 | -0.036478 | 0.99819 | -0.03454 | 42.6811
17 | 0.002456 | 0.00061538 | -0.0024559 | -0.00061552 | 7.2056e-08 | -1.4118e-07 | 0.0036615 | 0.0036616 | 0.0036616 | 0.99809 | -0.036478 | 0.99806 | -0.037094 | 1.0059
18 | 0.090734 | 0.022911 | -0.090658 | -0.022863 | 7.5669e-05 | 4.8286e-05 | 0.13578 | 0.13578 | 0.13578 | 0.99478 | -0.099856 | 0.99388 | -0.11728 | 37.3027
19 | -0.21361 | -0.054034 | 0.21396 | 0.05426 | 0.00035464 | 0.00022648 | 0.31861 | 0.3186 | 0.31861 | 0.99819 | -0.03454 | 1 | 0 | 43.7644
20 | 0.073159 | 0.018477 | -0.073127 | -0.018457 | 3.1252e-05 | 1.9912e-05 | 0.10958 | 0.10958 | 0.10958 | 0.99388 | -0.11728 | 0.99341 | -0.1262 | 30.1049
21 | 0.18027 | 0.045705 | -0.18021 | -0.045667 | 5.9699e-05 | 3.8091e-05 | 0.26842 | 0.26842 | 0.26842 | 1 | 0 | 0.99964 | -0.0068925 | 36.8714
22 | 0.067419 | 0.017026 | -0.067366 | -0.016992 | 5.3165e-05 | 3.3846e-05 | 0.10103 | 0.10103 | 0.10103 | 0.99341 | -0.1262 | 0.99256 | -0.14267 | 27.7559
23 | 0.0050017 | 0.0012528 | -0.0050014 | -0.0012528 | 2.5768e-07 | 7.8743e-09 | 0.007509 | 0.0075091 | 0.0075091 | 0.99111 | -0.17081 | 0.99106 | -0.17189 | 2.0629
24 | 0.0073801 | 0.0018492 | -0.00738 | -0.0018491 | 1.7103e-07 | 6.1615e-08 | 0.011082 | 0.011082 | 0.011082 | 0.99096 | -0.17389 | 0.99093 | -0.17437 | 3.0445
25 | 0.0035695 | 0.0008939 | -0.0035695 | -0.00089391 | 1.7785e-08 | -9.896e-09 | 0.0053591 | 0.0053591 | 0.0053591 | 0.99106 | -0.17189 | 0.99105 | -0.172 | 1.4723
26 | 0.0050672 | 0.0012695 | -0.0050669 | -0.0012695 | 3.0426e-07 | 1.4207e-08 | 0.007609 | 0.007609 | 0.007609 | 0.99093 | -0.17437 | 0.99087 | -0.17563 | 2.0904
27 | 0.0035695 | 0.00089391 | -0.0035692 | -0.00089407 | 2.8785e-07 | -1.6013e-07 | 0.0053591 | 0.0053593 | 0.0053593 | 0.99105 | -0.172 | 0.99097 | -0.17369 | 1.4723
28 | 0.0039269 | 0.00098376 | -0.0039267 | -0.00098381 | 1.3785e-07 | -4.7934e-08 | 0.005897 | 0.005897 | 0.005897 | 0.99087 | -0.17563 | 0.99083 | -0.17637 | 1.6201
29 | 0.045125 | 0.011333 | -0.045113 | -0.011325 | 1.1519e-05 | 7.2871e-06 | 0.067995 | 0.067995 | 0.067995 | 0.98764 | -0.23772 | 0.98736 | -0.24307 | 18.68
30 | -0.048706 | -0.01223 | 0.048736 | 0.012249 | 3.0614e-05 | 1.9399e-05 | 0.07339 | 0.07339 | 0.07339 | 0.98764 | -0.23772 | 0.98832 | -0.22455 | 20.1622
31 | 0.0388 | 0.009743 | -0.038773 | -0.0097264 | 2.6325e-05 | 1.6586e-05 | 0.05848 | 0.05848 | 0.05848 | 0.98736 | -0.24307 | 0.98663 | -0.2573 | 16.066
32 | -0.053922 | -0.013549 | 0.053937 | 0.013559 | 1.4848e-05 | 9.4256e-06 | 0.081198 | 0.081198 | 0.081198 | 0.98832 | -0.22455 | 0.98861 | -0.21878 | 22.3073
33 | 0.034906 | 0.0087573 | -0.034903 | -0.008755 | 3.513e-06 | 2.2051e-06 | 0.052648 | 0.052648 | 0.052648 | 0.98663 | -0.2573 | 0.98652 | -0.25941 | 14.4638
34 | -0.061519 | -0.015459 | 0.061529 | 0.015466 | 1.0705e-05 | 6.8087e-06 | 0.092609 | 0.092609 | 0.092609 | 0.98861 | -0.21878 | 0.9888 | -0.21514 | 25.4422
35 | 0.002778 | 0.00069602 | -0.0027778 | -0.00069619 | 1.2843e-07 | -1.6686e-07 | 0.00419 | 0.0041901 | 0.0041901 | 0.98652 | -0.25941 | 0.98647 | -0.26038 | 1.1511
36 | 0.03043 | 0.0076341 | -0.03042 | -0.0076281 | 9.6776e-06 | 6.0373e-06 | 0.045901 | 0.045901 | 0.045901 | 0.98652 | -0.25941 | 0.98618 | -0.26608 | 12.6102
37 | -0.063181 | -0.01588 | 0.063209 | 0.015897 | 2.7019e-05 | 1.719e-05 | 0.095096 | 0.095096 | 0.095096 | 0.9888 | -0.21514 | 0.98926 | -0.20619 | 26.1252
38 | 0.027555 | 0.0069101 | -0.027552 | -0.0069079 | 3.4261e-06 | 2.1253e-06 | 0.041578 | 0.041578 | 0.041578 | 0.98618 | -0.26608 | 0.98605 | -0.26869 | 11.4226
39 | -0.066309 | -0.016674 | 0.066336 | 0.016691 | 2.6448e-05 | 1.6836e-05 | 0.09976 | 0.09976 | 0.09976 | 0.98926 | -0.20619 | 0.98969 | -0.19784 | 27.4066
40 | -0.023425 | -0.0058718 | 0.02343 | 0.0058749 | 5.1431e-06 | 3.1517e-06 | 0.035358 | 0.035358 | 0.035358 | 0.98581 | -0.2733 | 0.98605 | -0.26869 | 9.7138
41 | 0.015841 | 0.003971 | -0.01584 | -0.0039706 | 7.006e-07 | 4.0672e-07 | 0.023911 | 0.023911 | 0.023911 | 0.98581 | -0.2733 | 0.98576 | -0.27423 | 6.5689
42 | 0.012409 | 0.0031107 | -0.012406 | -0.003109 | 3.184e-06 | 1.7293e-06 | 0.018732 | 0.018732 | 0.018732 | 0.98576 | -0.27423 | 0.98549 | -0.27961 | 5.1461
43 | 0.0046388 | 0.0011624 | -0.0046387 | -0.0011624 | 7.4338e-08 | -3.9064e-09 | 0.0070042 | 0.0070043 | 0.0070043 | 0.98549 | -0.27961 | 0.98547 | -0.27995 | 1.9242
44 | 0.0030314 | 0.00075961 | -0.0030313 | -0.00075972 | 1.1493e-07 | -1.1281e-07 | 0.0045773 | 0.0045774 | 0.0045774 | 0.98547 | -0.27995 | 0.98543 | -0.28075 | 1.2575
45 | -0.0018386 | -0.00046081 | 0.0018386 | 0.00046077 | 9.4953e-09 | -3.6803e-08 | 0.0027595 | 0.0027595 | 0.0027595 | 0.99144 | -0.16413 | 0.99145 | -0.16403 | 0.75812
46 | 0.024243 | 0.0060796 | -0.024239 | -0.0060772 | 3.9582e-06 | 2.4304e-06 | 0.036386 | 0.036386 | 0.036386 | 0.99145 | -0.16403 | 0.99127 | -0.16745 | 9.9963
47 | -0.026082 | -0.0065404 | 0.026091 | 0.0065463 | 9.5656e-06 | 5.9073e-06 | 0.039146 | 0.039146 | 0.039146 | 0.99145 | -0.16403 | 0.99185 | -0.15633 | 10.7544
48 | -0.028224 | -0.0070808 | 0.028239 | 0.0070901 | 1.4948e-05 | 9.2795e-06 | 0.042346 | 0.042346 | 0.042346 | 0.99185 | -0.15633 | 0.99242 | -0.14523 | 11.6334
49 | -0.030815 | -0.0077357 | 0.030828 | 0.0077438 | 1.2973e-05 | 8.0935e-06 | 0.046208 | 0.046208 | 0.046208 | 0.99242 | -0.14523 | 0.99288 | -0.13641 | 12.6945
50 | -0.11116 | -0.028028 | 0.11125 | 0.028088 | 9.3564e-05 | 5.9765e-05 | 0.16665 | 0.16665 | 0.16665 | 0.99288 | -0.13641 | 0.99379 | -0.11884 | 45.7829
51 | 0.080329 | 0.020284 | -0.080208 | -0.020207 | 0.00012056 | 7.6873e-05 | 0.12044 | 0.12044 | 0.12044 | 0.99288 | -0.13641 | 0.99125 | -0.16778 | 33.0885
52 | 0.018127 | 0.0045452 | -0.01812 | -0.0045411 | 6.9512e-06 | 4.1262e-06 | 0.027211 | 0.027211 | 0.027211 | 0.99127 | -0.16745 | 0.99086 | -0.1755 | 7.4756
53 | -0.12142 | -0.030636 | 0.12179 | 0.030877 | 0.00037692 | 0.00024084 | 0.18187 | 0.18187 | 0.18187 | 0.99379 | -0.11884 | 0.99716 | -0.054228 | 49.9646
54 | 0.010166 | 0.0025479 | -0.010165 | -0.0025474 | 9.5799e-07 | 4.7027e-07 | 0.015221 | 0.015222 | 0.015222 | 0.99379 | -0.11884 | 0.99369 | -0.12082 | 4.1817
55 | 0.07202 | 0.018155 | -0.071917 | -0.018089 | 0.00010341 | 6.5881e-05 | 0.10815 | 0.10815 | 0.10815 | 0.99125 | -0.16778 | 0.98969 | -0.19784 | 29.7117
56 | 0.0092165 | 0.00231 | -0.0092157 | -0.0023096 | 8.3174e-07 | 3.832e-07 | 0.013841 | 0.013841 | 0.013841 | 0.99086 | -0.1755 | 0.99076 | -0.1774 | 3.8025
57 | 0.0089031 | 0.0022311 | -0.0089024 | -0.0022309 | 6.4126e-07 | 2.872e-07 | 0.01337 | 0.01337 | 0.01337 | 0.99086 | -0.1755 | 0.99078 | -0.17701 | 3.6731
58 | -0.12558 | -0.031825 | 0.12576 | 0.031944 | 0.00018587 | 0.00011878 | 0.18752 | 0.18752 | 0.18752 | 0.99716 | -0.054228 | 0.99877 | -0.023472 | 51.5157
59 | 0.0048979 | 0.0012274 | -0.0048975 | -0.0012274 | 4.8422e-07 | -1.0042e-09 | 0.0073345 | 0.0073346 | 0.0073346 | 0.99369 | -0.12082 | 0.99358 | -0.12289 | 2.015
60 | 0.0055808 | 0.0013986 | -0.0055802 | -0.0013985 | 5.6568e-07 | 8.674e-08 | 0.0083907 | 0.0083908 | 0.0083908 | 0.98969 | -0.19784 | 0.98958 | -0.19997 | 2.3052
61 | 0.0039575 | 0.00099177 | -0.0039574 | -0.00099181 | 1.269e-07 | -4.2135e-08 | 0.0059437 | 0.0059437 | 0.0059437 | 0.99076 | -0.1774 | 0.99072 | -0.17807 | 1.6329
62 | 0.0025635 | 0.00064225 | -0.0025634 | -0.00064245 | 1.191e-07 | -1.9971e-07 | 0.00385 | 0.0038501 | 0.0038501 | 0.99078 | -0.17701 | 0.99073 | -0.17799 | 1.0577
63 | 0.045938 | 0.011556 | -0.045899 | -0.011531 | 3.9082e-05 | 2.4733e-05 | 0.069107 | 0.069107 | 0.069107 | 0.98936 | -0.20443 | 0.98844 | -0.22225 | 18.9855
64 | -0.054272 | -0.013644 | 0.054284 | 0.013651 | 1.1215e-05 | 7.1202e-06 | 0.081642 | 0.081642 | 0.081642 | 0.98936 | -0.20443 | 0.98959 | -0.2001 | 22.429
65 | 0.042891 | 0.010777 | -0.04286 | -0.010758 | 3.0573e-05 | 1.9316e-05 | 0.064578 | 0.064578 | 0.064578 | 0.98844 | -0.22225 | 0.98767 | -0.2372 | 17.7412
66 | -0.058902 | -0.014809 | 0.058943 | 0.014835 | 4.0505e-05 | 2.5746e-05 | 0.088587 | 0.088587 | 0.088587 | 0.98959 | -0.2001 | 0.99033 | -0.18571 | 24.337
67 | 0.025215 | 0.0063352 | -0.025199 | -0.0063255 | 1.5699e-05 | 9.6764e-06 | 0.037994 | 0.037994 | 0.037994 | 0.98767 | -0.2372 | 0.987 | -0.25025 | 10.438
68 | -0.058943 | -0.014835 | 0.059064 | 0.014912 | 0.00012153 | 7.7244e-05 | 0.088587 | 0.088586 | 0.088587 | 0.99033 | -0.18571 | 0.99256 | -0.14267 | 24.337
69 | 0.0045561 | 0.0011415 | -0.004556 | -0.0011415 | 7.3687e-08 | -6.0698e-09 | 0.0068687 | 0.0068687 | 0.0068687 | 0.987 | -0.25025 | 0.98699 | -0.25059 | 1.887
70 | 0.020643 | 0.005184 | -0.020617 | -0.0051685 | 2.5735e-05 | 1.5566e-05 | 0.031126 | 0.031126 | 0.031126 | 0.987 | -0.25025 | 0.98566 | -0.27641 | 8.5511
71 | 0.004556 | 0.0011415 | -0.0045553 | -0.0011416 | 7.0952e-07 | -5.8334e-08 | 0.0068687 | 0.0068689 | 0.0068689 | 0.98699 | -0.25059 | 0.98682 | -0.25386 | 1.8871
72 | 0.020617 | 0.0051685 | -0.020614 | -0.0051663 | 3.5346e-06 | 2.1382e-06 | 0.031126 | 0.031126 | 0.031126 | 0.98566 | -0.27641 | 0.98547 | -0.28001 | 8.5511
73 | 0.0045553 | 0.0011416 | -0.004555 | -0.0011416 | 2.9928e-07 | -2.4545e-08 | 0.0068689 | 0.0068689 | 0.0068689 | 0.98682 | -0.25386 | 0.98675 | -0.25524 | 1.8871
74 | -0.0033023 | -0.00082764 | 0.0033026 | 0.00082739 | 3.1428e-07 | -2.4802e-07 | 0.0049309 | 0.0049307 | 0.0049309 | 0.99656 | -0.066106 | 0.99666 | -0.064108 | 1.3546
75 | -0.0099857 | -0.0025023 | 0.0099879 | 0.0025034 | 2.1454e-06 | 1.0375e-06 | 0.014909 | 0.014908 | 0.014909 | 0.99666 | -0.064108 | 0.99689 | -0.059598 | 4.0958
76 | 0.17129 | 0.043431 | -0.17115 | -0.043344 | 0.00013639 | 8.6995e-05 | 0.25514 | 0.25515 | 0.25515 | 0.99964 | -0.0068925 | 0.99877 | -0.023472 | 35.0474
77 | 0.045387 | 0.0114 | -0.045349 | -0.011376 | 3.8049e-05 | 2.4062e-05 | 0.067628 | 0.067628 | 0.067628 | 0.99877 | -0.023472 | 0.99785 | -0.041056 | 18.5792
78 | 0.03429 | 0.0086046 | -0.034268 | -0.0085907 | 2.2146e-05 | 1.3879e-05 | 0.051137 | 0.051137 | 0.051137 | 0.99785 | -0.041056 | 0.99715 | -0.05461 | 14.0487
79 | 0.018093 | 0.0045355 | -0.018088 | -0.0045329 | 4.3215e-06 | 2.5596e-06 | 0.027 | 0.027 | 0.027 | 0.99715 | -0.05461 | 0.99689 | -0.059624 | 7.4175
80 | 0.016175 | 0.0040552 | -0.016171 | -0.004053 | 3.844e-06 | 2.2307e-06 | 0.024138 | 0.024138 | 0.024138 | 0.99715 | -0.05461 | 0.99689 | -0.059598 | 6.6313
81 | 0.0035692 | 0.00089407 | -0.0035689 | -0.00089425 | 3.2963e-07 | -1.8327e-07 | 0.0053593 | 0.0053594 | 0.0053594 | 0.99097 | -0.17369 | 0.99087 | -0.17563 | 1.4724
82 | 0.00073962 | 0.00018517 | -0.00073961 | -0.00018536 | 6.9522e-09 | -1.8913e-07 | 0.0011106 | 0.0011107 | 0.0011107 | 0.99087 | -0.17563 | 0.99086 | -0.17583 | 0.30514
83 | 0.011175 | 0.0028003 | -0.011175 | -0.0028002 | 1.0314e-07 | 5.3119e-08 | 0.016681 | 0.016681 | 0.016681 | 0.99689 | -0.059624 | 0.99688 | -0.059818 | 4.5826
84 | -0.0040942 | -0.0010258 | 0.0040945 | 0.0010257 | 2.8447e-07 | -8.2704e-08 | 0.0061116 | 0.0061115 | 0.0061116 | 0.99681 | -0.061276 | 0.99688 | -0.059818 | 1.679
85 | 0.0040942 | 0.0010258 | -0.0040936 | -0.0010259 | 6.276e-07 | -1.8229e-07 | 0.0061116 | 0.0061118 | 0.0061118 | 0.99681 | -0.061276 | 0.99664 | -0.064495 | 1.6791
86 | -0.0010204 | -0.00025574 | 0.0010205 | 0.00025543 | 2.2475e-08 | -3.1431e-07 | 0.0015325 | 0.0015324 | 0.0015325 | 0.9908 | -0.17683 | 0.99083 | -0.17637 | 0.42102

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40028 | 0.10107

## res_load
| p_mw | q_mvar
0 | 0.0087591 | 0.0021952
1 | 0.0015888 | 0.0003982
2 | 0.0021758 | 0.00054532
3 | 0.01075 | 0.0026941
4 | 0.0039884 | 0.00099958
5 | 0.0012873 | 0.00032263
6 | 0.0010626 | 0.00026632
7 | 0.014905 | 0.0037356
8 | 0.0050286 | 0.0012603
9 | 0.013637 | 0.0034178
10 | 0.0099123 | 0.0024843
11 | 0.017843 | 0.004472
12 | 0.0052905 | 0.0013259
13 | 0.0024559 | 0.00061552
14 | 0.0175 | 0.0043858
15 | 0.004406 | 0.0011043
16 | 0.0057083 | 0.0014306
17 | 0.0044651 | 0.0011191
18 | 0.012826 | 0.0032146
19 | 0.0014319 | 0.00035887
20 | 0.0023127 | 0.00057962
21 | 0.0011401 | 0.00028573
22 | 0.0035808 | 0.00089744
23 | 0.0063136 | 0.0015823
24 | 0.005186 | 0.0012997
25 | 0.003867 | 0.00096915
26 | 0.0075813 | 0.0019001
27 | 0.0016953 | 0.00042489
28 | 0.0016522 | 0.00041408
29 | 0.0027778 | 0.00069619
30 | 0.002865 | 0.00071803
31 | 0.0031008 | 0.00077713
32 | 0.0075841 | 0.0019008
33 | 0.0041217 | 0.001033
34 | 0.0034309 | 0.00085988
35 | 0.0077669 | 0.0019466
36 | 0.0016073 | 0.00040283
37 | 0.0030313 | 0.00075972
38 | 0.0018386 | 0.00046081
39 | 0.0021329 | 0.00053455
40 | 0.0025759 | 0.00064558
41 | 0.0061125 | 0.0015319
42 | 0.0081882 | 0.0020521
43 | 0.0037835 | 0.00094824
44 | 0.0052669 | 0.00132
45 | 0.0052582 | 0.0013178
46 | 0.0025634 | 0.00064245
47 | 0.0039574 | 0.00099181
48 | 0.0083341 | 0.0020887
49 | 0.0030086 | 0.00075403
50 | 0.0046187 | 0.0011576
51 | 0.017645 | 0.0044223
52 | 0.0083014 | 0.0020805
53 | 0.020614 | 0.0051663
54 | 0.0033023 | 0.00082764
55 | 0.0066831 | 0.0016749
56 | 0.004555 | 0.0011416
57 | 0.0089209 | 0.0022358
58 | 0.011059 | 0.0027716
59 | 0.0028292 | 0.00070908
60 | 0.00073961 | 0.00018536
61 | 0.0048975 | 0.0012274
62 | 0.0055802 | 0.0013985
63 | 0.0069133 | 0.0017326
64 | 0.0061831 | 0.0015496
65 | 0.0070806 | 0.0017746
66 | 0.0040936 | 0.0010259
67 | 0.0010204 | 0.00025574
68 | 0.0029063 | 0.00072838

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1