## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-61_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-61_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-61_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-61_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-61_0_3_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_1711-61_0_3_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_1711-61_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_1711-61_0_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_1711-61_0_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_1711-61_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1711-61_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1711-61_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1711-61_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1711-61_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1711-61_0_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_1711-61_0_3_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_1711-61_0_3_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1711-61_0_3_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_1711-61_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_1711-61_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1711-61_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1711-61_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1711-61_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1711-61_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1711-61_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1711-61_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1711-61_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1711-61_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1711-61_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_1711-61_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1711-61_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1711-61_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1711-61_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1711-61_0_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1711-61_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1711-61_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1711-61_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1711-61_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_1711-61_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1711-61_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1711-61_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1711-61_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1711-61_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1711-61_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1711-61_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1711-61_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1711-61_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1711-61_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_MV_229_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-61_0_3_load_0 | 0 | 0.072309 | 0.018122 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-61_0_3_load_3 | 3 | 0.0053788 | 0.0013481 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-61_0_3_load_51 | 5 | 0.006729 | 0.0016864 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-61_0_3_load_33 | 7 | 0.0041683 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-61_0_3_load_47 | 8 | 0.031447 | 0.0078814 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-61_0_3_load_4 | 9 | 0.017373 | 0.0043542 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-61_0_3_load_7 | 12 | 0.019051 | 0.0047746 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-61_0_3_load_8 | 13 | 0.010795 | 0.0027054 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-61_0_3_load_46 | 14 | 0.0094965 | 0.00238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-61_0_3_load_42 | 15 | 0.0074618 | 0.0018701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-61_0_3_load_50 | 17 | 0.0095685 | 0.0023981 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-61_0_3_load_9 | 20 | 0.01666 | 0.0041754 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-61_0_3_load_11 | 21 | 0.0038336 | 0.0009608 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-61_0_3_load_10 | 22 | 0.0014183 | 0.00035547 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-61_0_3_load_12 | 23 | 0.00077793 | 0.00019497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-61_0_3_load_13 | 24 | 0.003661 | 0.00091754 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-61_0_3_load_30 | 25 | 0.0091456 | 0.0022921 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-61_0_3_load_37 | 28 | 0.0052865 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-61_0_3_load_17 | 29 | 0.0083302 | 0.0020877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-61_0_3_load_16 | 30 | 0.01459 | 0.0036566 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-61_0_3_load_20 | 32 | 0.010256 | 0.0025704 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-61_0_3_load_43 | 33 | 0.014913 | 0.0037375 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-61_0_3_load_21 | 34 | 0.01173 | 0.0029399 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-61_0_3_load_22 | 36 | 0.00072878 | 0.00018265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-61_0_3_load_23 | 37 | 0.0041868 | 0.0010493 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-61_0_3_load_25 | 39 | 0.00094994 | 0.00023808 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-61_0_3_load_26 | 40 | 0.01138 | 0.0028521 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-61_0_3_load_28 | 42 | 0.0015427 | 0.00038664 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-61_0_3_load_32 | 43 | 0.0026624 | 0.00066725 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-61_0_3_load_36 | 44 | 0.0020898 | 0.00052375 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-61_0_3_load_38 | 45 | 0.0037887 | 0.00094953 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-61_0_3_load_39 | 46 | 0.0030706 | 0.00076955 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-61_0_3_load_40 | 47 | 0.0035881 | 0.00089926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-61_0_3_line_0 |  | 0 | 1 | 0.040604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-61_0_3_line_1 |  | 1 | 2 | 0.040064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-61_0_3_line_2 |  | 1 | 3 | 0.066873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-61_0_3_line_3 |  | 2 | 4 | 0.032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-61_0_3_line_4 |  | 2 | 5 | 0.029694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-61_0_3_line_5 |  | 3 | 6 | 0.031651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-61_0_3_line_6 |  | 4 | 7 | 0.038641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-61_0_3_line_7 |  | 6 | 8 | 0.068634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-61_0_3_line_8 |  | 7 | 35 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1711-61_0_3_line_9 |  | 9 | 10 | 0.055839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-61_0_3_line_10 |  | 10 | 11 | 0.003566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-61_0_3_line_11 |  | 10 | 12 | 0.022418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-61_0_3_line_12 |  | 10 | 13 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-61_0_3_line_13 |  | 11 | 14 | 0.018133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-61_0_3_line_14 |  | 13 | 15 | 0.00090127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-61_0_3_line_15 |  | 14 | 16 | 0.016037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-61_0_3_line_16 |  | 15 | 19 | 0.022685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-61_0_3_line_17 |  | 16 | 18 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1711-61_0_3_line_18 |  | 16 | 33 | 0.0093148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1711-61_0_3_line_19 |  | 17 | 18 | 0.01603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-61_0_3_line_20 |  | 18 | 34 | 0.019422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1711-61_0_3_line_21 |  | 19 | 27 | 0.0421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-61_0_3_line_22 |  | 19 | 41 | 0.036937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-61_0_3_line_23 |  | 20 | 21 | 0.002207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-61_0_3_line_24 |  | 21 | 24 | 0.026975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-61_0_3_line_25 |  | 22 | 23 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-61_0_3_line_26 |  | 23 | 25 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-61_0_3_line_27 |  | 24 | 26 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-61_0_3_line_28 |  | 25 | 27 | 0.0053273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-61_0_3_line_29 |  | 26 | 28 | 0.01974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1711-61_0_3_line_30 |  | 26 | 29 | 0.023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1711-61_0_3_line_31 |  | 27 | 39 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-61_0_3_line_32 |  | 28 | 35 | 0.030617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1711-61_0_3_line_33 |  | 29 | 30 | 0.0008407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1711-61_0_3_line_34 |  | 30 | 31 | 0.026268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1711-61_0_3_line_35 |  | 31 | 32 | 0.014991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1711-61_0_3_line_36 |  | 32 | 33 | 0.010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1711-61_0_3_line_37 |  | 35 | 44 | 0.0030218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-61_0_3_line_38 |  | 36 | 37 | 0.010003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-61_0_3_line_39 |  | 37 | 38 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-61_0_3_line_40 |  | 38 | 39 | 0.009061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-61_0_3_line_41 |  | 40 | 41 | 0.019933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-61_0_3_line_42 |  | 41 | 42 | 0.013468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-61_0_3_line_43 |  | 42 | 43 | 0.020586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-61_0_3_line_44 |  | 44 | 45 | 0.014007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-61_0_3_line_45 |  | 45 | 46 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-61_0_3_line_46 |  | 46 | 47 | 0.039248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-61_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 48 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2681103.1243 | 1225683.1571 | 2681090.8335 | 1225644.4579
1 | 2681103.1243 | 1225683.1571 | 2681107.842 | 1225681.8872 | 2681141.3429 | 1225670.814
2 | 2681103.1243 | 1225683.1571 | 2681090.4987 | 1225687.2545 | 2681039.3821 | 1225703.3773
3 | 2681141.3429 | 1225670.814 | 2681172.4565 | 1225660.8093
4 | 2681141.3429 | 1225670.814 | 2681149.5199 | 1225699.36
5 | 2681009.1969 | 1225712.8981 | 2681039.3821 | 1225703.3773
6 | 2681172.4565 | 1225660.8093 | 2681182.4333 | 1225657.4875 | 2681209.1237 | 1225648.6177
7 | 2681009.1969 | 1225712.8981 | 2681020.347 | 1225742.5366 | 2681027.5375 | 1225778.7982
8 | 2681232.6143 | 1225640.8053 | 2681229.2251 | 1225641.9376 | 2681209.1237 | 1225648.6177
9 | 2681251.8463 | 1225812.9844 | 2681247.5221 | 1225868.6562
10 | 2681251.8463 | 1225812.9844 | 2681251.0675 | 1225809.5047
11 | 2681251.8463 | 1225812.9844 | 2681239.2713 | 1225813.9467 | 2681229.523 | 1225815.0155
12 | 2681251.8463 | 1225812.9844 | 2681267.7888 | 1225810.8443
13 | 2681251.0675 | 1225809.5047 | 2681248.9802 | 1225791.4923
14 | 2681267.7888 | 1225810.8443 | 2681268.682 | 1225810.7244
15 | 2681247.1341 | 1225775.5614 | 2681248.9802 | 1225791.4923
16 | 2681291.2703 | 1225808.9311 | 2681278.3833 | 1225809.4221 | 2681268.682 | 1225810.7244
17 | 2681247.1341 | 1225775.5614 | 2681223.5292 | 1225778.1299
18 | 2681247.1341 | 1225775.5614 | 2681246.1043 | 1225766.3037
19 | 2681223.5292 | 1225778.1299 | 2681225.0479 | 1225794.0874
20 | 2681223.5292 | 1225778.1299 | 2681221.3049 | 1225758.8359
21 | 2681300.7002 | 1225767.9543 | 2681294.964 | 1225788.2786 | 2681291.2703 | 1225808.9311
22 | 2681289.826 | 1225845.8252 | 2681290.059 | 1225829.8843 | 2681291.2703 | 1225808.9311
23 | 2681282.2391 | 1225686.5125 | 2681284.4354 | 1225686.296
24 | 2681255.3945 | 1225689.1589 | 2681282.2391 | 1225686.5125
25 | 2681307.7341 | 1225746.3642 | 2681314.3599 | 1225726.0268
26 | 2681302.3504 | 1225762.8891 | 2681307.7341 | 1225746.3642
27 | 2681238.0486 | 1225690.8689 | 2681255.3945 | 1225689.1589
28 | 2681300.7002 | 1225767.9543 | 2681302.3504 | 1225762.8891
29 | 2681238.0486 | 1225690.8689 | 2681235.9184 | 1225671.244
30 | 2681238.0486 | 1225690.8689 | 2681240.4537 | 1225713.8786
31 | 2681300.7002 | 1225767.9543 | 2681320.1059 | 1225773.9002
32 | 2681232.6143 | 1225640.8053 | 2681235.9184 | 1225671.244
33 | 2681240.5411 | 1225714.7147 | 2681240.4537 | 1225713.8786
34 | 2681243.2719 | 1225740.8407 | 2681240.5411 | 1225714.7147
35 | 2681243.2719 | 1225740.8407 | 2681244.9293 | 1225755.7403
36 | 2681246.1043 | 1225766.3037 | 2681244.9293 | 1225755.7403
37 | 2681232.6143 | 1225640.8053 | 2681235.6179 | 1225640.4739
38 | 2681331.9899 | 1225800.7913 | 2681322.3489 | 1225798.1261
39 | 2681328.7694 | 1225776.5547 | 2681322.3489 | 1225798.1261 | 2681322.3489 | 1225798.1261
40 | 2681328.7694 | 1225776.5547 | 2681320.1059 | 1225773.9002
41 | 2681289.826 | 1225845.8252 | 2681288.9786 | 1225865.7402
42 | 2681289.826 | 1225845.8252 | 2681303.2853 | 1225846.2982
43 | 2681303.2853 | 1225846.2982 | 2681323.859 | 1225847.0211
44 | 2681235.6179 | 1225640.4739 | 2681249.5408 | 1225638.9375
45 | 2681261.4607 | 1225637.6222 | 2681249.5408 | 1225638.9375
46 | 2681261.4607 | 1225637.6222 | 2681300.4719 | 1225633.3175

## bus_geodata
| x | y | coords
0 | 2681090.8335 | 1225644.4579
1 | 2681103.1243 | 1225683.1571
2 | 2681141.3429 | 1225670.814
3 | 2681039.3821 | 1225703.3774
4 | 2681172.4565 | 1225660.8093
5 | 2681149.5199 | 1225699.36
6 | 2681009.1969 | 1225712.8981
7 | 2681209.1237 | 1225648.6177
8 | 2681027.5375 | 1225778.7982
9 | 2681247.5221 | 1225868.6562
10 | 2681251.8463 | 1225812.9844
11 | 2681251.0675 | 1225809.5047
12 | 2681229.523 | 1225815.0155
13 | 2681267.7888 | 1225810.8443
14 | 2681248.9802 | 1225791.4923
15 | 2681268.682 | 1225810.7244
16 | 2681247.1341 | 1225775.5614
17 | 2681225.0479 | 1225794.0874
18 | 2681223.5292 | 1225778.1299
19 | 2681291.2703 | 1225808.9311
20 | 2681284.4354 | 1225686.296
21 | 2681282.2391 | 1225686.5125
22 | 2681314.3599 | 1225726.0268
23 | 2681307.7341 | 1225746.3642
24 | 2681255.3945 | 1225689.1589
25 | 2681302.3504 | 1225762.8891
26 | 2681238.0486 | 1225690.8689
27 | 2681300.7002 | 1225767.9543
28 | 2681235.9184 | 1225671.244
29 | 2681240.4537 | 1225713.8785
30 | 2681240.5411 | 1225714.7147
31 | 2681243.2719 | 1225740.8407
32 | 2681244.9293 | 1225755.7403
33 | 2681246.1043 | 1225766.3037
34 | 2681221.3049 | 1225758.8359
35 | 2681232.6143 | 1225640.8053
36 | 2681331.9899 | 1225800.7913
37 | 2681322.3489 | 1225798.1261
38 | 2681328.7694 | 1225776.5547
39 | 2681320.1059 | 1225773.9002
40 | 2681288.9786 | 1225865.7402
41 | 2681289.826 | 1225845.8252
42 | 2681303.2853 | 1225846.2982
43 | 2681323.859 | 1225847.0211
44 | 2681235.6179 | 1225640.4739
45 | 2681249.5408 | 1225638.9375
46 | 2681261.4607 | 1225637.6222
47 | 2681300.4719 | 1225633.3175
48 | 2681223.5292 | 1225778.1299

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97353 | -0.50974 | 0.072309 | 0.018122
1 | 0.97627 | -0.4559 | 0 | 0
2 | 0.98035 | -0.37626 | 0 | 0
3 | 0.97397 | -0.50104 | 0.0053788 | 0.0013481
4 | 0.98387 | -0.30801 | 0 | 0
5 | 0.98016 | -0.37989 | 0.006729 | 0.0016864
6 | 0.97304 | -0.51935 | 0 | 0
7 | 0.98804 | -0.22773 | 0.0041683 | 0.0010447
8 | 0.97102 | -0.55916 | 0.031447 | 0.0078814
9 | 0.99183 | -0.15636 | 0.017373 | 0.0043542
10 | 0.99272 | -0.13919 | 0 | 0
11 | 0.993 | -0.13367 | 0 | 0
12 | 0.99233 | -0.14675 | 0.019051 | 0.0047746
13 | 0.99197 | -0.15373 | 0.010795 | 0.0027054
14 | 0.99445 | -0.10567 | 0.0094965 | 0.00238
15 | 0.99193 | -0.15437 | 0.0074618 | 0.0018701
16 | 0.99588 | -0.078301 | 0 | 0
17 | 0.99797 | -0.038485 | 0.0095685 | 0.0023981
18 | 0.99811 | -0.035801 | 0 | 0
19 | 0.99125 | -0.16756 | 0 | 0
20 | 0.99015 | -0.18782 | 0.01666 | 0.0041754
21 | 0.99018 | -0.18716 | 0.0038336 | 0.0009608
22 | 0.99047 | -0.18271 | 0.0014183 | 0.00035547
23 | 0.9905 | -0.18217 | 0.00077793 | 0.00019497
24 | 0.99069 | -0.17734 | 0.003661 | 0.00091754
25 | 0.99053 | -0.18149 | 0.0091456 | 0.0022921
26 | 0.99107 | -0.16987 | 0 | 0
27 | 0.99059 | -0.18042 | 0 | 0
28 | 0.99023 | -0.18598 | 0.0052865 | 0.0013249
29 | 0.99223 | -0.14772 | 0.0083302 | 0.0020877
30 | 0.99228 | -0.14687 | 0.01459 | 0.0036566
31 | 0.99378 | -0.11825 | 0 | 0
32 | 0.99463 | -0.10195 | 0.010256 | 0.0025704
33 | 0.99527 | -0.089774 | 0.014913 | 0.0037375
34 | 1 | 0 | -0.32268 | -0.082147
35 | 0.98897 | -0.21006 | 0 | 0
36 | 0.99033 | -0.18542 | 0.00072878 | 0.00018265
37 | 0.99034 | -0.18529 | 0.0041868 | 0.0010493
38 | 0.99044 | -0.18333 | 0 | 0
39 | 0.99048 | -0.18254 | 0.00094994 | 0.00023808
40 | 0.99052 | -0.18181 | 0.01138 | 0.0028521
41 | 0.99073 | -0.17778 | 0 | 0
42 | 0.99067 | -0.17878 | 0.0015427 | 0.00038664
43 | 0.99062 | -0.17976 | 0.0026624 | 0.00066725
44 | 0.98893 | -0.21074 | 0.0020898 | 0.00052375
45 | 0.9888 | -0.21335 | 0.0037887 | 0.00094953
46 | 0.98872 | -0.21477 | 0.0030706 | 0.00076955
47 | 0.9886 | -0.21728 | 0.0035881 | 0.00089926
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.072309 | -0.018122 | 0.072495 | 0.018241 | 0.00018599 | 0.00011853 | 0.11052 | 0.11052 | 0.11052 | 0.97353 | -0.50974 | 0.97627 | -0.4559 | 30.3633
1 | -0.10949 | -0.027575 | 0.10991 | 0.027843 | 0.00041865 | 0.00026743 | 0.16693 | 0.16693 | 0.16693 | 0.97627 | -0.4559 | 0.98035 | -0.37626 | 45.8596
2 | 0.036993 | 0.0093343 | -0.036913 | -0.0092841 | 7.979e-05 | 5.0231e-05 | 0.056407 | 0.056407 | 0.056407 | 0.97627 | -0.4559 | 0.97397 | -0.50104 | 15.4965
3 | -0.11664 | -0.029529 | 0.11702 | 0.029775 | 0.00038359 | 0.00024508 | 0.17714 | 0.17714 | 0.17714 | 0.98035 | -0.37626 | 0.98387 | -0.30801 | 48.666
4 | 0.0067301 | 0.0016868 | -0.006729 | -0.0016864 | 1.162e-06 | 3.6936e-07 | 0.010215 | 0.010215 | 0.010215 | 0.98035 | -0.37626 | 0.98016 | -0.37989 | 2.8064
5 | 0.031534 | 0.007936 | -0.031507 | -0.0079188 | 2.7563e-05 | 1.7247e-05 | 0.04819 | 0.04819 | 0.04819 | 0.97397 | -0.50104 | 0.97304 | -0.51935 | 13.239
6 | -0.11702 | -0.029775 | 0.11748 | 0.030065 | 0.00045471 | 0.00029052 | 0.17714 | 0.17714 | 0.17714 | 0.98387 | -0.30801 | 0.98804 | -0.22773 | 48.6659
7 | 0.031507 | 0.0079188 | -0.031447 | -0.0078814 | 5.977e-05 | 3.7402e-05 | 0.04819 | 0.04819 | 0.04819 | 0.97304 | -0.51935 | 0.97102 | -0.55916 | 13.239
8 | -0.12164 | -0.03111 | 0.12175 | 0.031175 | 0.00010411 | 6.5677e-05 | 0.18342 | 0.18342 | 0.18342 | 0.98804 | -0.22773 | 0.98897 | -0.21006 | 16.7968
9 | -0.017373 | -0.0043542 | 0.017388 | 0.0043626 | 1.4226e-05 | 8.3833e-06 | 0.026065 | 0.026065 | 0.026065 | 0.99183 | -0.15636 | 0.99272 | -0.13919 | 7.1607
10 | -0.087574 | -0.021983 | 0.087597 | 0.021998 | 2.3047e-05 | 1.4704e-05 | 0.13128 | 0.13128 | 0.13128 | 0.99272 | -0.13919 | 0.993 | -0.13367 | 36.0658
11 | 0.019058 | 0.0047787 | -0.019051 | -0.0047746 | 6.8606e-06 | 4.101e-06 | 0.028567 | 0.028567 | 0.028567 | 0.99272 | -0.13919 | 0.99233 | -0.14675 | 7.848
12 | 0.051129 | 0.012842 | -0.051093 | -0.012819 | 3.5438e-05 | 2.2472e-05 | 0.076648 | 0.076648 | 0.076648 | 0.99272 | -0.13919 | 0.99197 | -0.15373 | 21.0572
13 | -0.087597 | -0.021998 | 0.087714 | 0.022072 | 0.00011719 | 7.4767e-05 | 0.13128 | 0.13128 | 0.13128 | 0.993 | -0.13367 | 0.99445 | -0.10567 | 36.0658
14 | 0.040299 | 0.010114 | -0.040298 | -0.010113 | 1.2353e-06 | 7.7893e-07 | 0.060456 | 0.060456 | 0.060456 | 0.99197 | -0.15373 | 0.99193 | -0.15437 | 16.6087
15 | -0.097211 | -0.024452 | 0.097338 | 0.024534 | 0.0001273 | 8.1264e-05 | 0.14549 | 0.14549 | 0.14549 | 0.99445 | -0.10567 | 0.99588 | -0.078301 | 39.9695
16 | 0.032836 | 0.0082429 | -0.032815 | -0.0082299 | 2.0644e-05 | 1.2919e-05 | 0.049262 | 0.049262 | 0.049262 | 0.99193 | -0.15437 | 0.99125 | -0.16756 | 13.5336
17 | -0.31026 | -0.078987 | 0.3109 | 0.079393 | 0.00063724 | 0.00040691 | 0.46403 | 0.46402 | 0.46403 | 0.99588 | -0.078301 | 0.99811 | -0.035801 | 42.4932
18 | 0.21293 | 0.054453 | -0.21281 | -0.054378 | 0.00011814 | 7.5247e-05 | 0.31854 | 0.31854 | 0.31854 | 0.99588 | -0.078301 | 0.99527 | -0.089774 | 29.1701
19 | -0.0095685 | -0.0023981 | 0.0095697 | 0.0023987 | 1.2235e-06 | 5.7359e-07 | 0.014267 | 0.014267 | 0.014267 | 0.99797 | -0.038485 | 0.99811 | -0.035801 | 3.9195
20 | -0.32047 | -0.081792 | 0.32103 | 0.082147 | 0.00055537 | 0.00035468 | 0.47829 | 0.47829 | 0.47829 | 0.99811 | -0.035801 | 1 | 0 | 43.7996
21 | 0.01722 | 0.0043186 | -0.017209 | -0.0043124 | 1.055e-05 | 6.2097e-06 | 0.025851 | 0.025851 | 0.025851 | 0.99125 | -0.16756 | 0.99059 | -0.18042 | 7.1018
22 | 0.015595 | 0.0039113 | -0.015588 | -0.0039069 | 7.5921e-06 | 4.3831e-06 | 0.023412 | 0.023412 | 0.023412 | 0.99125 | -0.16756 | 0.99073 | -0.17778 | 6.4318
23 | -0.01666 | -0.0041754 | 0.01666 | 0.0041757 | 5.188e-07 | 3.0364e-07 | 0.025037 | 0.025037 | 0.025037 | 0.99015 | -0.18782 | 0.99018 | -0.18716 | 6.8783
24 | -0.020494 | -0.0051365 | 0.020504 | 0.0051423 | 9.5947e-06 | 5.7935e-06 | 0.030798 | 0.030798 | 0.030798 | 0.99018 | -0.18716 | 0.99069 | -0.17734 | 8.461
25 | -0.0014183 | -0.00035547 | 0.0014184 | 0.00035522 | 3.6417e-08 | -2.5199e-07 | 0.0021308 | 0.0021307 | 0.0021308 | 0.99047 | -0.18271 | 0.9905 | -0.18217 | 0.58539
26 | -0.0021963 | -0.00055019 | 0.0021964 | 0.00055001 | 7.0947e-08 | -1.783e-07 | 0.0032994 | 0.0032993 | 0.0032994 | 0.9905 | -0.18217 | 0.99053 | -0.18149 | 0.90643
27 | -0.024165 | -0.0060598 | 0.024173 | 0.0060651 | 8.6112e-06 | 5.2866e-06 | 0.036297 | 0.036297 | 0.036297 | 0.99069 | -0.17734 | 0.99107 | -0.16987 | 9.9716
28 | -0.011342 | -0.0028421 | 0.011343 | 0.0028424 | 5.7993e-07 | 3.0258e-07 | 0.017038 | 0.017038 | 0.017038 | 0.99053 | -0.18149 | 0.99059 | -0.18042 | 4.6808
29 | 0.13984 | 0.035811 | -0.13973 | -0.035742 | 0.00010906 | 6.9035e-05 | 0.21023 | 0.21023 | 0.21023 | 0.99107 | -0.16987 | 0.99023 | -0.18598 | 19.252
30 | -0.16401 | -0.041876 | 0.16419 | 0.041988 | 0.00017576 | 0.00011159 | 0.24653 | 0.24653 | 0.24653 | 0.99107 | -0.16987 | 0.99223 | -0.14772 | 22.5758
31 | 0.0058667 | 0.00147 | -0.0058661 | -0.0014699 | 5.911e-07 | 1.1705e-07 | 0.0088126 | 0.0088127 | 0.0088127 | 0.99059 | -0.18042 | 0.99048 | -0.18254 | 2.4211
32 | 0.13444 | 0.034417 | -0.13429 | -0.034318 | 0.00015661 | 9.905e-05 | 0.20229 | 0.20229 | 0.20229 | 0.99023 | -0.18598 | 0.98897 | -0.21006 | 18.5246
33 | -0.17252 | -0.044076 | 0.17253 | 0.04408 | 7.0505e-06 | 4.4797e-06 | 0.25902 | 0.25902 | 0.25902 | 0.99223 | -0.14772 | 0.99228 | -0.14687 | 23.7198
34 | -0.18712 | -0.047737 | 0.18737 | 0.047902 | 0.00025908 | 0.00016479 | 0.2809 | 0.2809 | 0.2809 | 0.99228 | -0.14687 | 0.99378 | -0.11825 | 25.7233
35 | -0.18737 | -0.047902 | 0.18752 | 0.047996 | 0.00014786 | 9.4048e-05 | 0.2809 | 0.2809 | 0.2809 | 0.99378 | -0.11825 | 0.99463 | -0.10195 | 25.7233
36 | -0.19778 | -0.050566 | 0.1979 | 0.05064 | 0.00011659 | 7.4206e-05 | 0.29624 | 0.29624 | 0.29624 | 0.99463 | -0.10195 | 0.99527 | -0.089774 | 27.1283
37 | 0.01254 | 0.0031429 | -0.012539 | -0.0031426 | 4.0339e-07 | 2.194e-07 | 0.018867 | 0.018867 | 0.018867 | 0.98897 | -0.21006 | 0.98893 | -0.21074 | 5.1834
38 | -0.00072878 | -0.00018265 | 0.00072879 | 0.00018252 | 4.4975e-09 | -1.2582e-07 | 0.001095 | 0.001095 | 0.001095 | 0.99033 | -0.18542 | 0.99034 | -0.18529 | 0.30083
39 | -0.0049156 | -0.0012318 | 0.004916 | 0.0012318 | 4.6039e-07 | 5.025e-09 | 0.0073857 | 0.0073856 | 0.0073857 | 0.99034 | -0.18529 | 0.99044 | -0.18333 | 2.029
40 | -0.004916 | -0.0012318 | 0.0049162 | 0.0012318 | 1.8534e-07 | 2.004e-09 | 0.0073856 | 0.0073856 | 0.0073856 | 0.99044 | -0.18333 | 0.99048 | -0.18254 | 2.029
41 | -0.01138 | -0.0028521 | 0.011382 | 0.0028533 | 2.1847e-06 | 1.1416e-06 | 0.017096 | 0.017096 | 0.017096 | 0.99052 | -0.18181 | 0.99073 | -0.17778 | 4.6967
42 | 0.0042054 | 0.0010537 | -0.0042052 | -0.0010537 | 2.0148e-07 | -4.4467e-08 | 0.0063162 | 0.0063162 | 0.0063162 | 0.99073 | -0.17778 | 0.99067 | -0.17878 | 1.7352
43 | 0.0026625 | 0.00066706 | -0.0026624 | -0.00066725 | 1.2346e-07 | -1.8604e-07 | 0.003999 | 0.0039991 | 0.0039991 | 0.99067 | -0.17878 | 0.99062 | -0.17976 | 1.0987
44 | 0.010449 | 0.0026189 | -0.010448 | -0.0026182 | 1.2986e-06 | 6.5138e-07 | 0.015723 | 0.015723 | 0.015723 | 0.98893 | -0.21074 | 0.9888 | -0.21335 | 4.3195
45 | 0.0066595 | 0.0016687 | -0.0066591 | -0.0016686 | 4.5166e-07 | 1.3525e-07 | 0.010022 | 0.010022 | 0.010022 | 0.9888 | -0.21335 | 0.98872 | -0.21477 | 2.7532
46 | 0.0035885 | 0.00089903 | -0.0035881 | -0.00089926 | 4.2927e-07 | -2.2856e-07 | 0.0054005 | 0.0054007 | 0.0054007 | 0.98872 | -0.21477 | 0.9886 | -0.21728 | 1.4837

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33441 | 0.085087

## res_load
| p_mw | q_mvar
0 | 0.072309 | 0.018122
1 | 0.0053788 | 0.0013481
2 | 0.006729 | 0.0016864
3 | 0.0041683 | 0.0010447
4 | 0.031447 | 0.0078814
5 | 0.017373 | 0.0043542
6 | 0.019051 | 0.0047746
7 | 0.010795 | 0.0027054
8 | 0.0094965 | 0.00238
9 | 0.0074618 | 0.0018701
10 | 0.0095685 | 0.0023981
11 | 0.01666 | 0.0041754
12 | 0.0038336 | 0.0009608
13 | 0.0014183 | 0.00035547
14 | 0.00077793 | 0.00019497
15 | 0.003661 | 0.00091754
16 | 0.0091456 | 0.0022921
17 | 0.0052865 | 0.0013249
18 | 0.0083302 | 0.0020877
19 | 0.01459 | 0.0036566
20 | 0.010256 | 0.0025704
21 | 0.014913 | 0.0037375
22 | 0.01173 | 0.0029399
23 | 0.00072878 | 0.00018265
24 | 0.0041868 | 0.0010493
25 | 0.00094994 | 0.00023808
26 | 0.01138 | 0.0028521
27 | 0.0015427 | 0.00038664
28 | 0.0026624 | 0.00066725
29 | 0.0020898 | 0.00052375
30 | 0.0037887 | 0.00094953
31 | 0.0030706 | 0.00076955
32 | 0.0035881 | 0.00089926

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1