## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-6_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1711-6_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1711-6_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1711-6_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1711-6_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1711-6_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1711-6_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1711-6_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1711-6_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1711-6_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1711-6_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_1711-6_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1711-6_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1711-6_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1711-6_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1711-6_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1711-6_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1711-6_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1711-6_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1711-6_0_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1711-6_0_4_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_1711-6_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1711-6_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1711-6_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1711-6_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1711-6_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1711-6_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1711-6_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1711-6_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1711-6_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1711-6_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1711-6_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1711-6_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1711-6_0_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1711-6_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_MV_228_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-6_0_4_load_0 | 0 | 0.03023 | 0.0075763 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-6_0_4_load_1 | 1 | 0.012205 | 0.003059 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-6_0_4_load_2 | 2 | 0.041445 | 0.010387 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-6_0_4_load_5 | 4 | 0.0065789 | 0.0016488 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-6_0_4_load_6 | 5 | 0.058744 | 0.014723 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-6_0_4_load_13 | 7 | 0.015111 | 0.0037871 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-6_0_4_load_14 | 8 | 0.015465 | 0.0038759 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-6_0_4_load_9 | 9 | 0.0086132 | 0.0021587 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-6_0_4_load_8 | 10 | 0.072507 | 0.018172 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-6_0_4_load_10 | 11 | 0.027585 | 0.0069134 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-6_0_4_load_23 | 12 | 0.0042477 | 0.0010646 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-6_0_4_load_27 | 13 | 0.0084857 | 0.0021267 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-6_0_4_load_24 | 14 | 0.0016006 | 0.00040115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-6_0_4_load_28 | 15 | 0.0084783 | 0.0021249 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-6_0_4_load_15 | 16 | 0.01716 | 0.0043008 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-6_0_4_load_16 | 17 | 0.017218 | 0.0043153 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-6_0_4_load_18 | 18 | 0.0033811 | 0.00084738 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-6_0_4_load_20 | 19 | 0.017486 | 0.0043823 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-6_0_4_load_21 | 20 | 0.017344 | 0.0043469 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-6_0_4_load_45 | 23 | 0.0027259 | 0.00068317 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-6_0_4_load_43 | 24 | 0.0035091 | 0.00087946 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-6_0_4_load_33 | 26 | 0.0032445 | 0.00081315 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-6_0_4_load_29 | 27 | 0.0042805 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-6_0_4_load_30 | 28 | 0.0042805 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-6_0_4_load_32 | 29 | 0.0042805 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-6_0_4_load_42 | 30 | 0.0030499 | 0.00076438 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-6_0_4_load_41 | 31 | 0.0026403 | 0.00066172 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-6_0_4_load_36 | 32 | 0.0025322 | 0.00063464 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-6_0_4_load_37 | 33 | 0.0027361 | 0.00068574 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-6_0_4_load_38 | 34 | 0.0030408 | 0.00076211 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-6_0_4_load_39 | 35 | 0.0026839 | 0.00067265 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-6_0_4_load_40 | 36 | 0.0031212 | 0.00078224 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-6_0_4_load_46 | 37 | 0.0034029 | 0.00085284 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-6_0_4_load_44 | 38 | 0.0027251 | 0.00068298 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-6_0_4_line_0 |  | 0 | 1 | 0.00062766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-6_0_4_line_1 |  | 0 | 2 | 0.027997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-6_0_4_line_2 |  | 1 | 3 | 0.018793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-6_0_4_line_3 |  | 3 | 4 | 0.035392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1711-6_0_4_line_4 |  | 3 | 5 | 0.037675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-6_0_4_line_5 |  | 4 | 6 | 0.035903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1711-6_0_4_line_6 |  | 6 | 7 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-6_0_4_line_7 |  | 6 | 8 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-6_0_4_line_8 |  | 6 | 9 | 0.018801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1711-6_0_4_line_9 |  | 7 | 12 | 0.0083768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-6_0_4_line_10 |  | 8 | 13 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-6_0_4_line_11 |  | 9 | 10 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-6_0_4_line_12 |  | 10 | 11 | 0.024397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-6_0_4_line_13 |  | 12 | 14 | 0.0028057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-6_0_4_line_14 |  | 13 | 15 | 0.0026041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-6_0_4_line_15 |  | 14 | 18 | 0.0094843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-6_0_4_line_16 |  | 15 | 25 | 0.01004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-6_0_4_line_17 |  | 16 | 17 | 0.024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-6_0_4_line_18 |  | 17 | 18 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-6_0_4_line_19 |  | 19 | 20 | 0.024998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-6_0_4_line_20 |  | 20 | 21 | 0.0075756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-6_0_4_line_21 |  | 21 | 22 | 0.06612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-6_0_4_line_22 |  | 22 | 23 | 0.039858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-6_0_4_line_23 |  | 23 | 24 | 0.0052181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-6_0_4_line_24 |  | 24 | 38 | 0.002719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-6_0_4_line_25 |  | 25 | 26 | 0.015286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-6_0_4_line_26 |  | 25 | 27 | 0.010276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-6_0_4_line_27 |  | 26 | 30 | 0.0004044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-6_0_4_line_28 |  | 27 | 28 | 0.0022397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-6_0_4_line_29 |  | 28 | 29 | 0.0022397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-6_0_4_line_30 |  | 30 | 31 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-6_0_4_line_31 |  | 31 | 35 | 0.00032232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-6_0_4_line_32 |  | 32 | 33 | 0.0013036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-6_0_4_line_33 |  | 32 | 34 | 0.01598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-6_0_4_line_34 |  | 33 | 35 | 0.017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-6_0_4_line_35 |  | 34 | 36 | 0.000653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-6_0_4_line_36 |  | 36 | 37 | 0.016776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-6_0_4_line_37 |  | 37 | 38 | 4.6625e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-6_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 39 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2681908.933 | 1225417.0003 | 2681909.0563 | 1225417.6157
1 | 2681908.933 | 1225417.0003 | 2681903.4317 | 1225389.5491
2 | 2681912.7491 | 1225436.0428 | 2681909.0563 | 1225417.6157
3 | 2681912.7491 | 1225436.0428 | 2681947.5567 | 1225429.6395
4 | 2681912.7491 | 1225436.0428 | 2681919.5478 | 1225473.0993
5 | 2681982.8671 | 1225423.1438 | 2681947.5567 | 1225429.6395
6 | 2681982.8671 | 1225423.1438 | 2682000.6271 | 1225420.3304
7 | 2681982.8671 | 1225423.1438 | 2681988.011 | 1225435.5165
8 | 2681982.8671 | 1225423.1438 | 2681974.9718 | 1225406.0806
9 | 2682008.9008 | 1225419.0197 | 2682000.6271 | 1225420.3304
10 | 2681988.011 | 1225435.5165 | 2681995.4196 | 1225453.3367
11 | 2681968.7334 | 1225392.5983 | 2681974.9718 | 1225406.0806
12 | 2681958.4882 | 1225370.4568 | 2681968.7334 | 1225392.5983
13 | 2682008.9008 | 1225419.0197 | 2682011.6719 | 1225418.5807
14 | 2681995.4196 | 1225453.3367 | 2681996.4193 | 1225455.7413
15 | 2682011.6719 | 1225418.5807 | 2682014.3769 | 1225418.1522 | 2682019.8372 | 1225414.1914
16 | 2682000.2735 | 1225465.0119 | 2681996.4193 | 1225455.7413
17 | 2682012.4771 | 1225380.3387 | 2682017.6645 | 1225404.1981
18 | 2682019.8372 | 1225414.1914 | 2682019.8372 | 1225414.1914 | 2682017.6645 | 1225404.1981
19 | 2682093.7621 | 1225356.5301 | 2682099.6295 | 1225365.614 | 2682110.3577 | 1225374.8924
20 | 2682117.5963 | 1225376.1801 | 2682113.9915 | 1225376.4306 | 2682110.5907 | 1225375.0939 | 2682110.3577 | 1225374.8924
21 | 2682131.374 | 1225440.8474 | 2682117.5963 | 1225376.1801
22 | 2682131.374 | 1225440.8474 | 2682107.5356 | 1225445.3772 | 2682092.1653 | 1225448.0059
23 | 2682087.0219 | 1225448.8856 | 2682092.1653 | 1225448.0059
24 | 2682087.0219 | 1225448.8856 | 2682084.3417 | 1225449.344
25 | 2682000.2735 | 1225465.0119 | 2682015.2899 | 1225462.1554
26 | 2682000.2735 | 1225465.0119 | 2682004.5955 | 1225474.3344
27 | 2682015.6872 | 1225462.0799 | 2682015.2899 | 1225462.1554
28 | 2682004.5955 | 1225474.3344 | 2682005.5375 | 1225476.3663
29 | 2682006.4795 | 1225478.3982 | 2682005.5375 | 1225476.3663
30 | 2682033.1124 | 1225458.7652 | 2682015.6872 | 1225462.0799
31 | 2682033.429 | 1225458.7049 | 2682033.1124 | 1225458.7652
32 | 2682051.4182 | 1225455.283 | 2682050.1375 | 1225455.5266
33 | 2682051.4182 | 1225455.283 | 2682067.1171 | 1225452.2966
34 | 2682033.429 | 1225458.7049 | 2682050.1375 | 1225455.5266
35 | 2682067.7596 | 1225452.18 | 2682067.4709 | 1225452.2293 | 2682067.1171 | 1225452.2966
36 | 2682084.2958 | 1225449.3518 | 2682067.7596 | 1225452.18
37 | 2682084.3417 | 1225449.344 | 2682084.2958 | 1225449.3518

## bus_geodata
| x | y | coords
0 | 2681908.933 | 1225417.0003
1 | 2681909.0563 | 1225417.6157
2 | 2681903.4317 | 1225389.5491
3 | 2681912.7491 | 1225436.0428
4 | 2681947.5567 | 1225429.6395
5 | 2681919.5478 | 1225473.0993
6 | 2681982.8671 | 1225423.1438
7 | 2682000.6271 | 1225420.3304
8 | 2681988.011 | 1225435.5165
9 | 2681974.9718 | 1225406.0806
10 | 2681968.7334 | 1225392.5983
11 | 2681958.4882 | 1225370.4568
12 | 2682008.9008 | 1225419.0197
13 | 2681995.4196 | 1225453.3367
14 | 2682011.6719 | 1225418.5807
15 | 2681996.4193 | 1225455.7413
16 | 2682012.4771 | 1225380.3387
17 | 2682017.6645 | 1225404.1981
18 | 2682019.8372 | 1225414.1914
19 | 2682093.7621 | 1225356.5301
20 | 2682110.3577 | 1225374.8924
21 | 2682117.5963 | 1225376.1801
22 | 2682131.374 | 1225440.8474
23 | 2682092.1653 | 1225448.0059
24 | 2682087.0219 | 1225448.8856
25 | 2682000.2735 | 1225465.0119
26 | 2682015.2899 | 1225462.1555
27 | 2682004.5955 | 1225474.3344
28 | 2682005.5375 | 1225476.3663
29 | 2682006.4795 | 1225478.3982
30 | 2682015.6872 | 1225462.0799
31 | 2682033.1124 | 1225458.7652
32 | 2682051.4182 | 1225455.283
33 | 2682050.1375 | 1225455.5266
34 | 2682067.1171 | 1225452.2966
35 | 2682033.429 | 1225458.7049
36 | 2682067.7596 | 1225452.18
37 | 2682084.2958 | 1225449.3518
38 | 2682084.3417 | 1225449.344
39 | 2681982.8671 | 1225423.1438

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99273 | -0.13972 | 0.03023 | 0.0075763
1 | 0.99277 | -0.13893 | 0.012205 | 0.003059
2 | 0.99167 | -0.16027 | 0.041445 | 0.010387
3 | 0.99421 | -0.11109 | 0 | 0
4 | 0.99652 | -0.066688 | 0.0065789 | 0.0016488
5 | 0.99219 | -0.15019 | 0.058744 | 0.014723
6 | 0.99815 | -0.035397 | 0 | 0
7 | 0.99719 | -0.053887 | 0.015111 | 0.0037871
8 | 0.99673 | -0.062515 | 0.015465 | 0.0038759
9 | 1 | 0 | -0.42754 | -0.10765
10 | 0.99865 | -0.025951 | 0.072507 | 0.018172
11 | 0.99804 | -0.03772 | 0.027585 | 0.0069134
12 | 0.99685 | -0.060292 | 0.0042477 | 0.0010646
13 | 0.99496 | -0.096453 | 0.0084857 | 0.0021267
14 | 0.99675 | -0.062229 | 0.0016006 | 0.00040115
15 | 0.99474 | -0.10065 | 0.0084783 | 0.0021249
16 | 0.99573 | -0.082051 | 0.01716 | 0.0043008
17 | 0.99611 | -0.074688 | 0.017218 | 0.0043153
18 | 0.99643 | -0.068514 | 0.0033811 | 0.00084738
19 | 0.98505 | -0.28811 | 0.017486 | 0.0043823
20 | 0.98546 | -0.28026 | 0.017344 | 0.0043469
21 | 0.9857 | -0.27553 | 0 | 0
22 | 0.98782 | -0.2343 | 0 | 0
23 | 0.9891 | -0.20953 | 0.0027259 | 0.00068317
24 | 0.98928 | -0.20604 | 0.0035091 | 0.00087946
25 | 0.99398 | -0.11536 | 0 | 0
26 | 0.99299 | -0.13432 | 0.0032445 | 0.00081315
27 | 0.99386 | -0.11769 | 0.0042805 | 0.0010728
28 | 0.99384 | -0.11802 | 0.0042805 | 0.0010728
29 | 0.99383 | -0.11819 | 0.0042805 | 0.0010728
30 | 0.99297 | -0.1348 | 0.0030499 | 0.00076438
31 | 0.99192 | -0.15487 | 0.0026403 | 0.00066172
32 | 0.99092 | -0.1742 | 0.0025322 | 0.00063464
33 | 0.99099 | -0.1729 | 0.0027361 | 0.00068574
34 | 0.99014 | -0.18935 | 0.0030408 | 0.00076211
35 | 0.99191 | -0.15522 | 0.0026839 | 0.00067265
36 | 0.99011 | -0.18993 | 0.0031212 | 0.00078224
37 | 0.98938 | -0.20402 | 0.0034029 | 0.00085284
38 | 0.98938 | -0.20405 | 0.0027251 | 0.00068298
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.071716 | -0.017989 | 0.071718 | 0.017991 | 2.7201e-06 | 1.7327e-06 | 0.1075 | 0.1075 | 0.1075 | 0.99273 | -0.13972 | 0.99277 | -0.13893 | 29.5333
1 | 0.041486 | 0.010413 | -0.041445 | -0.010387 | 4.0605e-05 | 2.5625e-05 | 0.062189 | 0.062189 | 0.062189 | 0.99273 | -0.13972 | 0.99167 | -0.16027 | 17.085
2 | -0.083924 | -0.02105 | 0.084035 | 0.021121 | 0.00011152 | 7.1132e-05 | 0.1258 | 0.1258 | 0.1258 | 0.99277 | -0.13893 | 0.99421 | -0.11109 | 34.5592
3 | -0.14289 | -0.035913 | 0.14319 | 0.036107 | 0.0003036 | 0.00019339 | 0.2139 | 0.2139 | 0.2139 | 0.99421 | -0.11109 | 0.99652 | -0.066688 | 29.3813
4 | 0.058854 | 0.014792 | -0.058744 | -0.014723 | 0.00010966 | 6.9695e-05 | 0.088101 | 0.088101 | 0.088101 | 0.99421 | -0.11109 | 0.99219 | -0.15019 | 24.2036
5 | -0.14977 | -0.037756 | 0.15 | 0.037898 | 0.00022462 | 0.00014235 | 0.22372 | 0.22372 | 0.22372 | 0.99652 | -0.066688 | 0.99815 | -0.035397 | 20.4871
6 | 0.058815 | 0.014777 | -0.058763 | -0.014744 | 5.1854e-05 | 3.2952e-05 | 0.087692 | 0.087693 | 0.087693 | 0.99815 | -0.035397 | 0.99719 | -0.053887 | 24.0913
7 | 0.11629 | 0.029447 | -0.11614 | -0.02935 | 0.00015122 | 9.6603e-05 | 0.17348 | 0.17348 | 0.17348 | 0.99815 | -0.035397 | 0.99673 | -0.062515 | 47.6582
8 | -0.32511 | -0.082122 | 0.32566 | 0.082475 | 0.00055256 | 0.0003529 | 0.48489 | 0.48489 | 0.48489 | 0.99815 | -0.035397 | 1 | 0 | 44.4036
9 | 0.043652 | 0.010957 | -0.043639 | -0.010948 | 1.3331e-05 | 8.4226e-06 | 0.065144 | 0.065144 | 0.065144 | 0.99719 | -0.053887 | 0.99685 | -0.060292 | 17.8968
10 | 0.10068 | 0.025475 | -0.10051 | -0.02537 | 0.00016368 | 0.0001045 | 0.15039 | 0.15039 | 0.15039 | 0.99673 | -0.062515 | 0.99496 | -0.096453 | 41.3155
11 | 0.10023 | 0.025174 | -0.10011 | -0.025095 | 0.00012395 | 7.9134e-05 | 0.14916 | 0.14916 | 0.14916 | 1 | 0 | 0.99865 | -0.025951 | 40.9792
12 | 0.0276 | 0.0069229 | -0.027585 | -0.0069134 | 1.5475e-05 | 9.5848e-06 | 0.041127 | 0.041127 | 0.041127 | 0.99865 | -0.025951 | 0.99804 | -0.03772 | 11.2986
13 | 0.039391 | 0.0098839 | -0.039388 | -0.0098816 | 3.6381e-06 | 2.2918e-06 | 0.058804 | 0.058804 | 0.058804 | 0.99685 | -0.060292 | 0.99675 | -0.062229 | 16.1549
14 | 0.092029 | 0.023243 | -0.092011 | -0.023232 | 1.8516e-05 | 1.1816e-05 | 0.1377 | 0.1377 | 0.1377 | 0.99496 | -0.096453 | 0.99474 | -0.10065 | 37.8291
15 | 0.037787 | 0.0094804 | -0.037776 | -0.0094733 | 1.1319e-05 | 7.1207e-06 | 0.056414 | 0.056414 | 0.056414 | 0.99675 | -0.062229 | 0.99643 | -0.068514 | 15.4985
16 | 0.083532 | 0.021107 | -0.083474 | -0.021069 | 5.8842e-05 | 3.7529e-05 | 0.12502 | 0.12502 | 0.12502 | 0.99474 | -0.10065 | 0.99398 | -0.11536 | 34.3449
17 | -0.01716 | -0.0043008 | 0.017166 | 0.0043043 | 6.0215e-06 | 3.5361e-06 | 0.025644 | 0.025644 | 0.025644 | 0.99573 | -0.082051 | 0.99611 | -0.074688 | 7.0452
18 | -0.034384 | -0.0086196 | 0.034395 | 0.0086259 | 1.0118e-05 | 6.3425e-06 | 0.051365 | 0.051365 | 0.051365 | 0.99611 | -0.074688 | 0.99643 | -0.068514 | 14.1113
19 | -0.017486 | -0.0043823 | 0.017492 | 0.0043861 | 6.5401e-06 | 3.8673e-06 | 0.026413 | 0.026413 | 0.026413 | 0.98505 | -0.28811 | 0.98546 | -0.28026 | 7.2565
20 | -0.034836 | -0.0087331 | 0.034844 | 0.008738 | 7.8609e-06 | 4.9344e-06 | 0.052603 | 0.052603 | 0.052603 | 0.98546 | -0.28026 | 0.9857 | -0.27553 | 14.4514
21 | -0.034844 | -0.008738 | 0.034913 | 0.0087811 | 6.8609e-05 | 4.3065e-05 | 0.052603 | 0.052603 | 0.052603 | 0.9857 | -0.27553 | 0.98782 | -0.2343 | 14.4514
22 | -0.034913 | -0.0087811 | 0.034954 | 0.008807 | 4.1358e-05 | 2.5959e-05 | 0.052603 | 0.052602 | 0.052603 | 0.98782 | -0.2343 | 0.9891 | -0.20953 | 14.4513
23 | -0.03768 | -0.0094902 | 0.037686 | 0.0094941 | 6.2916e-06 | 3.9596e-06 | 0.056703 | 0.056703 | 0.056703 | 0.9891 | -0.20953 | 0.98928 | -0.20604 | 15.5778
24 | -0.041195 | -0.010374 | 0.041199 | 0.010376 | 3.9172e-06 | 2.4721e-06 | 0.061981 | 0.061981 | 0.061981 | 0.98928 | -0.20604 | 0.98938 | -0.20405 | 17.0279
25 | 0.07063 | 0.01785 | -0.070566 | -0.017809 | 6.4149e-05 | 4.0858e-05 | 0.10579 | 0.10579 | 0.10579 | 0.99398 | -0.11536 | 0.99299 | -0.13432 | 29.0628
26 | 0.012843 | 0.0032192 | -0.012842 | -0.0032185 | 1.4245e-06 | 7.7848e-07 | 0.019227 | 0.019227 | 0.019227 | 0.99398 | -0.11536 | 0.99386 | -0.11769 | 5.2821
27 | 0.067322 | 0.016996 | -0.06732 | -0.016995 | 1.5447e-06 | 9.834e-07 | 0.10093 | 0.10093 | 0.10093 | 0.99299 | -0.13432 | 0.99297 | -0.1348 | 27.7271
28 | 0.0085612 | 0.0021457 | -0.0085611 | -0.0021456 | 1.3799e-07 | 5.9293e-08 | 0.012818 | 0.012818 | 0.012818 | 0.99386 | -0.11769 | 0.99384 | -0.11802 | 3.5214
29 | 0.0042806 | 0.0010728 | -0.0042805 | -0.0010728 | 3.4499e-08 | -6.9428e-09 | 0.006409 | 0.006409 | 0.006409 | 0.99384 | -0.11802 | 0.99383 | -0.11819 | 1.7607
30 | 0.06427 | 0.016231 | -0.064208 | -0.016191 | 6.1757e-05 | 3.9295e-05 | 0.096356 | 0.096356 | 0.096356 | 0.99297 | -0.1348 | 0.99192 | -0.15487 | 26.4715
31 | 0.061568 | 0.01553 | -0.061567 | -0.015529 | 1.0318e-06 | 6.5622e-07 | 0.092395 | 0.092395 | 0.092395 | 0.99192 | -0.15487 | 0.99191 | -0.15522 | 25.3834
32 | -0.056094 | -0.014137 | 0.056097 | 0.014139 | 3.4708e-06 | 2.2045e-06 | 0.084261 | 0.084261 | 0.084261 | 0.99092 | -0.1742 | 0.99099 | -0.1729 | 23.1486
33 | 0.053562 | 0.013502 | -0.053523 | -0.013477 | 3.8794e-05 | 2.4622e-05 | 0.080458 | 0.080458 | 0.080458 | 0.99092 | -0.1742 | 0.99014 | -0.18935 | 22.104
34 | -0.058833 | -0.014825 | 0.058883 | 0.014856 | 4.9807e-05 | 3.1657e-05 | 0.088369 | 0.088369 | 0.088369 | 0.99099 | -0.1729 | 0.99191 | -0.15522 | 24.2773
35 | 0.050482 | 0.012715 | -0.050481 | -0.012714 | 1.4103e-06 | 8.9416e-07 | 0.075888 | 0.075889 | 0.075889 | 0.99014 | -0.18935 | 0.99011 | -0.18993 | 20.8485
36 | 0.047359 | 0.011932 | -0.047327 | -0.011912 | 3.189e-05 | 2.0194e-05 | 0.071198 | 0.071198 | 0.071198 | 0.99011 | -0.18993 | 0.98938 | -0.20402 | 19.5599
37 | 0.043925 | 0.011059 | -0.043925 | -0.011059 | 7.6349e-08 | 4.8265e-08 | 0.06608 | 0.06608 | 0.06608 | 0.98938 | -0.20402 | 0.98938 | -0.20405 | 18.1538

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43615 | 0.10981

## res_load
| p_mw | q_mvar
0 | 0.03023 | 0.0075763
1 | 0.012205 | 0.003059
2 | 0.041445 | 0.010387
3 | 0.0065789 | 0.0016488
4 | 0.058744 | 0.014723
5 | 0.015111 | 0.0037871
6 | 0.015465 | 0.0038759
7 | 0.0086132 | 0.0021587
8 | 0.072507 | 0.018172
9 | 0.027585 | 0.0069134
10 | 0.0042477 | 0.0010646
11 | 0.0084857 | 0.0021267
12 | 0.0016006 | 0.00040115
13 | 0.0084783 | 0.0021249
14 | 0.01716 | 0.0043008
15 | 0.017218 | 0.0043153
16 | 0.0033811 | 0.00084738
17 | 0.017486 | 0.0043823
18 | 0.017344 | 0.0043469
19 | 0.0027259 | 0.00068317
20 | 0.0035091 | 0.00087946
21 | 0.0032445 | 0.00081315
22 | 0.0042805 | 0.0010728
23 | 0.0042805 | 0.0010728
24 | 0.0042805 | 0.0010728
25 | 0.0030499 | 0.00076438
26 | 0.0026403 | 0.00066172
27 | 0.0025322 | 0.00063464
28 | 0.0027361 | 0.00068574
29 | 0.0030408 | 0.00076211
30 | 0.0026839 | 0.00067265
31 | 0.0031212 | 0.00078224
32 | 0.0034029 | 0.00085284
33 | 0.0027251 | 0.00068298

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1