## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-73_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-73_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-73_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-73_0_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1711-73_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1711-73_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_1711-73_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1711-73_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1711-73_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1711-73_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1711-73_0_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_1711-73_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1711-73_0_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_1711-73_0_4_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_1711-73_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1711-73_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1711-73_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1711-73_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1711-73_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1711-73_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1711-73_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1711-73_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1711-73_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1711-73_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1711-73_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1711-73_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1711-73_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1711-73_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1711-73_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1711-73_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1711-73_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1711-73_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1711-73_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1711-73_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1711-73_0_4_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_1711-73_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1711-73_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1711-73_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1711-73_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1711-73_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1711-73_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1711-73_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1711-73_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_1711-73_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1711-73_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1711-73_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_MV_228_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-73_0_4_load_0 | 0 | 0.0040165 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-73_0_4_load_44 | 5 | 0.0081697 | 0.0020475 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-73_0_4_load_41 | 7 | 0.021857 | 0.0054779 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-73_0_4_load_18 | 8 | 0.010224 | 0.0025624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-73_0_4_load_38 | 9 | 0.005015 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-73_0_4_load_39 | 10 | 0.001418 | 0.00035538 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-73_0_4_load_40 | 11 | 0.0028569 | 0.000716 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-73_0_4_load_4 | 13 | 0.011416 | 0.0028611 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-73_0_4_load_8 | 14 | 0.0087048 | 0.0021816 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-73_0_4_load_16 | 17 | 0.024262 | 0.0060807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-73_0_4_load_17 | 18 | 0.012071 | 0.0030252 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-73_0_4_load_37 | 19 | 0.0029467 | 0.00073852 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-73_0_4_load_12 | 20 | 0.015971 | 0.0040026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-73_0_4_load_14 | 22 | 0.011666 | 0.0029238 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-73_0_4_load_15 | 23 | 0.011536 | 0.0028911 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-73_0_4_load_32 | 24 | 0.0053657 | 0.0013448 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-73_0_4_load_19 | 25 | 0.014278 | 0.0035784 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-73_0_4_load_20 | 26 | 0.018202 | 0.004562 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-73_0_4_load_22 | 28 | 0.0019133 | 0.00047952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-73_0_4_load_23 | 29 | 0.023457 | 0.0058788 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-73_0_4_load_24 | 30 | 0.021905 | 0.00549 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-73_0_4_load_35 | 31 | 0.0080949 | 0.0020288 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-73_0_4_load_42 | 32 | 0.007843 | 0.0019656 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-73_0_4_load_33 | 33 | 0.029362 | 0.0073588 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-73_0_4_load_43 | 34 | 0.0077703 | 0.0019474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-73_0_4_load_46 | 35 | 0.0088497 | 0.0022179 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-73_0_4_load_25 | 36 | 0.008903 | 0.0022313 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-73_0_4_load_26 | 37 | 0.0095046 | 0.0023821 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-73_0_4_load_27 | 38 | 0.0035674 | 0.00089407 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-73_0_4_load_28 | 39 | 0.0036542 | 0.00091583 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-73_0_4_load_29 | 40 | 0.0033925 | 0.00085025 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-73_0_4_load_30 | 41 | 0.011378 | 0.0028517 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-73_0_4_load_47 | 42 | 0.0042684 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-73_0_4_load_48 | 43 | 0.0037857 | 0.00094878 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-73_0_4_load_34 | 44 | 0.00062006 | 0.0001554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-73_0_4_load_36 | 45 | 0.019572 | 0.0049053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-73_0_4_line_0 |  | 0 | 1 | 0.16878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-73_0_4_line_1 |  | 1 | 2 | 0.082654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-73_0_4_line_2 |  | 2 | 3 | 0.076865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-73_0_4_line_3 |  | 3 | 8 | 0.076994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-73_0_4_line_4 |  | 3 | 9 | 0.071575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1711-73_0_4_line_5 |  | 4 | 5 | 0.024521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-73_0_4_line_6 |  | 4 | 6 | 0.089191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-73_0_4_line_7 |  | 4 | 7 | 0.028413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-73_0_4_line_8 |  | 5 | 12 | 0.0053235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-73_0_4_line_9 |  | 6 | 13 | 0.0024373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-73_0_4_line_10 |  | 7 | 11 | 0.14468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-73_0_4_line_11 |  | 8 | 16 | 0.03856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-73_0_4_line_12 |  | 9 | 19 | 0.0090121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1711-73_0_4_line_13 |  | 10 | 11 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-73_0_4_line_14 |  | 12 | 35 | 0.0058379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-73_0_4_line_15 |  | 12 | 30 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-73_0_4_line_16 |  | 14 | 15 | 0.12916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-73_0_4_line_17 |  | 15 | 16 | 0.055399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-73_0_4_line_18 |  | 16 | 17 | 0.058544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-73_0_4_line_19 |  | 17 | 18 | 0.0087506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-73_0_4_line_20 |  | 18 | 23 | 0.019633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-73_0_4_line_21 |  | 19 | 45 | 0.010136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1711-73_0_4_line_22 |  | 20 | 21 | 0.0095482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-73_0_4_line_23 |  | 21 | 22 | 0.0076173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-73_0_4_line_24 |  | 21 | 23 | 0.0091123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-73_0_4_line_25 |  | 22 | 24 | 0.026666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-73_0_4_line_26 |  | 25 | 26 | 0.037373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1711-73_0_4_line_27 |  | 25 | 27 | 0.002889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1711-73_0_4_line_28 |  | 26 | 28 | 0.0049537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1711-73_0_4_line_29 |  | 27 | 29 | 0.019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-73_0_4_line_30 |  | 27 | 30 | 0.023897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-73_0_4_line_31 |  | 28 | 31 | 0.033237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1711-73_0_4_line_32 |  | 29 | 32 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-73_0_4_line_33 |  | 31 | 33 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1711-73_0_4_line_34 |  | 32 | 34 | 0.0060728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-73_0_4_line_35 |  | 33 | 44 | 0.024244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1711-73_0_4_line_36 |  | 35 | 43 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-73_0_4_line_37 |  | 36 | 37 | 0.0058851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-73_0_4_line_38 |  | 36 | 38 | 0.0093822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-73_0_4_line_39 |  | 37 | 39 | 0.015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-73_0_4_line_40 |  | 38 | 40 | 0.009777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-73_0_4_line_41 |  | 39 | 41 | 0.0058654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-73_0_4_line_42 |  | 40 | 42 | 0.01075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-73_0_4_line_43 |  | 42 | 43 | 0.010038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-73_0_4_line_44 |  | 44 | 45 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-73_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 46 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2682638.203 | 1225080.7286 | 2682641.471 | 1225088.3569 | 2682659.0529 | 1225093.3378 | 2682674.9014 | 1225098.6504 | 2682681.5364 | 1225101.3221 | 2682686.2066 | 1225105.7122 | 2682686.8289 | 1225111.1245 | 2682683.8522 | 1225115.2749 | 2682678.9531 | 1225118.0754 | 2682621.978 | 1225131.449 | 2682591.3659 | 1225152.5984
1 | 2682720.5243 | 1225072.3552 | 2682712.4939 | 1225071.8766 | 2682690.6505 | 1225073.4742 | 2682638.203 | 1225080.7286
2 | 2682699.9681 | 1225017.3545 | 2682711.0812 | 1225026.793 | 2682721.0801 | 1225040.0187 | 2682730.7447 | 1225057.6539 | 2682731.6332 | 1225063.548 | 2682730.6758 | 1225072.9634 | 2682720.5243 | 1225072.3552
3 | 2682699.9681 | 1225017.3545 | 2682690.2459 | 1224996.761 | 2682682.8645 | 1224975.7664 | 2682677.9699 | 1224953.6946 | 2682674.3987 | 1224945.0446
4 | 2682699.9681 | 1225017.3545 | 2682665.7366 | 1225024.3059 | 2682643.5206 | 1225030.3349 | 2682630.323 | 1225033.7217
5 | 2682420.8672 | 1225033.3611 | 2682422.5812 | 1225032.7845 | 2682432.9123 | 1225029.1918 | 2682440.2888 | 1225023.7902 | 2682441.8185 | 1225021.6485
6 | 2682373.3834 | 1225012.3341 | 2682386.3131 | 1225002.3284 | 2682394.3858 | 1224996.4695 | 2682399.8593 | 1224994.3438 | 2682406.9451 | 1224991.8625 | 2682409.8322 | 1225013.3281 | 2682415.8322 | 1225035.037 | 2682420.8672 | 1225033.3611
7 | 2682420.8672 | 1225033.3611 | 2682429.009 | 1225060.5823
8 | 2682444.9126 | 1225017.3165 | 2682441.8185 | 1225021.6485
9 | 2682373.3834 | 1225012.3341 | 2682371.3945 | 1225013.7427
10 | 2682555.6597 | 1225086.2323 | 2682549.2529 | 1225087.0877 | 2682521.5337 | 1225090.3055 | 2682467.0442 | 1225094.4866 | 2682458.0146 | 1225093.3496 | 2682450.38 | 1225091.1201 | 2682443.0041 | 1225086.0923 | 2682437.2328 | 1225080.1751 | 2682432.5484 | 1225072.416 | 2682429.009 | 1225060.5823
11 | 2682654.7157 | 1224912.1768 | 2682661.8951 | 1224920.9824 | 2682669.835 | 1224933.9904 | 2682674.3987 | 1224945.0446
12 | 2682630.323 | 1225033.7217 | 2682623.4626 | 1225035.4822 | 2682621.5535 | 1225035.2032
13 | 2682576.5312 | 1225083.446 | 2682555.6597 | 1225086.2323
14 | 2682444.9126 | 1225017.3165 | 2682447.3046 | 1225011.9911
15 | 2682444.9126 | 1225017.3165 | 2682453.1227 | 1225017.4192 | 2682458.2388 | 1225017.0777
16 | 2682706.9297 | 1224893.4671 | 2682702.4457 | 1224882.2194 | 2682695.8215 | 1224871.1087 | 2682687.1354 | 1224861.059 | 2682677.9305 | 1224853.9596 | 2682667.3577 | 1224848.1756 | 2682657.1749 | 1224844.3316 | 2682643.2497 | 1224841.3362 | 2682619.3922 | 1224837.2133 | 2682609.1481 | 1224833.9579 | 2682602.9896 | 1224830.4979
17 | 2682706.9297 | 1224893.4671 | 2682680.7451 | 1224901.3087 | 2682654.7157 | 1224912.1768
18 | 2682654.7157 | 1224912.1768 | 2682648.061 | 1224909.2713 | 2682638.0733 | 1224910.489 | 2682607.5803 | 1224915.736 | 2682599.6603 | 1224916.5823 | 2682597.3724 | 1224916.2305
19 | 2682588.8424 | 1224914.4037 | 2682591.7915 | 1224915.3723 | 2682597.3724 | 1224916.2305
20 | 2682570.1894 | 1224908.2779 | 2682588.8424 | 1224914.4037
21 | 2682611.5237 | 1225033.7376 | 2682621.5535 | 1225035.2032
22 | 2682561.532 | 1224905.4347 | 2682561.6057 | 1224902.3114 | 2682557.1467 | 1224897.6869
23 | 2682561.532 | 1224905.4347 | 2682554.7553 | 1224901.9565
24 | 2682561.532 | 1224905.4347 | 2682570.1894 | 1224908.2779
25 | 2682554.7553 | 1224901.9565 | 2682531.0313 | 1224889.7801
26 | 2682522.1755 | 1225011.7945 | 2682522.1755 | 1225011.7945 | 2682510.074 | 1225012.9164 | 2682484.9598 | 1225015.2217
27 | 2682482.0829 | 1225015.4858 | 2682484.9598 | 1225015.2217
28 | 2682522.1755 | 1225011.7945 | 2682527.0789 | 1225012.4983
29 | 2682482.0829 | 1225015.4858 | 2682486.3978 | 1225034.5807
30 | 2682482.0829 | 1225015.4858 | 2682458.2388 | 1225017.0777
31 | 2682558.9213 | 1225021.5655 | 2682536.9237 | 1225013.9115 | 2682527.0789 | 1225012.4983
32 | 2682486.3978 | 1225034.5807 | 2682486.3978 | 1225034.5807 | 2682471.8806 | 1225053.0011
33 | 2682571.8311 | 1225025.7585 | 2682568.4422 | 1225024.8782 | 2682558.9213 | 1225021.5655
34 | 2682468.1217 | 1225057.7708 | 2682471.8806 | 1225053.0011
35 | 2682571.8311 | 1225025.7585 | 2682591.0087 | 1225030.7397 | 2682595.3925 | 1225031.3803
36 | 2682451.7016 | 1225002.2015 | 2682447.3046 | 1225011.9911
37 | 2682462.6057 | 1224957.9901 | 2682462.4883 | 1224963.874
38 | 2682460.798 | 1224973.0971 | 2682462.4802 | 1224964.2795 | 2682462.4883 | 1224963.874
39 | 2682462.6057 | 1224957.9901 | 2682462.6786 | 1224954.3421 | 2682462.5666 | 1224949.2927 | 2682462.1141 | 1224943.6493 | 2682461.8405 | 1224942.1121
40 | 2682460.798 | 1224973.0971 | 2682459.5776 | 1224979.494 | 2682458.5612 | 1224982.5965
41 | 2682461.8405 | 1224942.1121 | 2682460.8127 | 1224936.3374
42 | 2682458.5612 | 1224982.5965 | 2682455.2143 | 1224992.8123
43 | 2682455.2143 | 1224992.8123 | 2682453.3151 | 1224998.6091 | 2682451.7016 | 1225002.2015
44 | 2682611.5237 | 1225033.7376 | 2682595.3925 | 1225031.3803

## bus_geodata
| x | y | coords
0 | 2682591.3659 | 1225152.5984
1 | 2682638.203 | 1225080.7286
2 | 2682720.5243 | 1225072.3552
3 | 2682699.9681 | 1225017.3545
4 | 2682420.8672 | 1225033.3611
5 | 2682441.8185 | 1225021.6485
6 | 2682373.3834 | 1225012.3341
7 | 2682429.009 | 1225060.5823
8 | 2682674.3987 | 1224945.0446
9 | 2682630.323 | 1225033.7217
10 | 2682576.5312 | 1225083.446
11 | 2682555.6597 | 1225086.2323
12 | 2682444.9126 | 1225017.3165
13 | 2682371.3945 | 1225013.7427
14 | 2682602.9896 | 1224830.4979
15 | 2682706.9297 | 1224893.4671
16 | 2682654.7158 | 1224912.1768
17 | 2682597.3724 | 1224916.2305
18 | 2682588.8424 | 1224914.4037
19 | 2682621.5535 | 1225035.2032
20 | 2682557.1467 | 1224897.6869
21 | 2682561.532 | 1224905.4347
22 | 2682554.7553 | 1224901.9565
23 | 2682570.1894 | 1224908.2779
24 | 2682531.0313 | 1224889.7801
25 | 2682484.9598 | 1225015.2217
26 | 2682522.1755 | 1225011.7945
27 | 2682482.0829 | 1225015.4858
28 | 2682527.0789 | 1225012.4983
29 | 2682486.3978 | 1225034.5807
30 | 2682458.2388 | 1225017.0777
31 | 2682558.9213 | 1225021.5655
32 | 2682471.8806 | 1225053.0011
33 | 2682571.8311 | 1225025.7585
34 | 2682468.1217 | 1225057.7708
35 | 2682447.3046 | 1225011.9911
36 | 2682462.4883 | 1224963.874
37 | 2682462.6057 | 1224957.9901
38 | 2682460.798 | 1224973.0971
39 | 2682461.8405 | 1224942.1121
40 | 2682458.5612 | 1224982.5965
41 | 2682460.8127 | 1224936.3374
42 | 2682455.2143 | 1224992.8123
43 | 2682451.7016 | 1225002.2015
44 | 2682595.3925 | 1225031.3803
45 | 2682611.5237 | 1225033.7376
46 | 2682482.0829 | 1225015.4858

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98786 | -0.23116 | 0.0040165 | 0.0010066
1 | 0.98848 | -0.21905 | 0 | 0
2 | 0.98879 | -0.21312 | 0 | 0
3 | 0.98907 | -0.2076 | 0 | 0
4 | 0.99169 | -0.15981 | 0 | 0
5 | 0.99253 | -0.14351 | 0.0081697 | 0.0020475
6 | 0.99076 | -0.17788 | 0 | 0
7 | 0.99101 | -0.17298 | 0.021857 | 0.0054779
8 | 0.98192 | -0.34552 | 0.010224 | 0.0025624
9 | 0.99253 | -0.14162 | 0.005015 | 0.0012569
10 | 0.99041 | -0.18451 | 0.001418 | 0.00035538
11 | 0.99044 | -0.18398 | 0.0028569 | 0.000716
12 | 0.99275 | -0.1392 | 0 | 0
13 | 0.99073 | -0.17837 | 0.011416 | 0.0028611
14 | 0.97721 | -0.43746 | 0.0087048 | 0.0021816
15 | 0.97825 | -0.41696 | 0 | 0
16 | 0.9787 | -0.40817 | 0 | 0
17 | 0.97429 | -0.49472 | 0.024262 | 0.0060807
18 | 0.97382 | -0.50382 | 0.012071 | 0.0030252
19 | 0.99299 | -0.13295 | 0.0029467 | 0.00073852
20 | 0.97259 | -0.52825 | 0.015971 | 0.0040026
21 | 0.97273 | -0.52544 | 0 | 0
22 | 0.97261 | -0.52783 | 0.011666 | 0.0029238
23 | 0.97301 | -0.5199 | 0.011536 | 0.0028911
24 | 0.97247 | -0.53047 | 0.0053657 | 0.0013448
25 | 0.99696 | -0.058246 | 0.014278 | 0.0035784
26 | 1 | 0 | -0.35516 | -0.090093
27 | 0.99674 | -0.062402 | 0 | 0
28 | 0.99961 | -0.0074012 | 0.0019133 | 0.00047952
29 | 0.99604 | -0.07583 | 0.023457 | 0.0058788
30 | 0.99401 | -0.11493 | 0.021905 | 0.00549
31 | 0.99701 | -0.056653 | 0.0080949 | 0.0020288
32 | 0.99571 | -0.082265 | 0.007843 | 0.0019656
33 | 0.99599 | -0.075887 | 0.029362 | 0.0073588
34 | 0.99567 | -0.083095 | 0.0077703 | 0.0019474
35 | 0.99245 | -0.14512 | 0.0088497 | 0.0022179
36 | 0.99054 | -0.18197 | 0.008903 | 0.0022313
37 | 0.99041 | -0.18453 | 0.0095046 | 0.0023821
38 | 0.99083 | -0.17639 | 0.0035674 | 0.00089407
39 | 0.99019 | -0.18879 | 0.0036542 | 0.00091583
40 | 0.99116 | -0.16997 | 0.0033925 | 0.00085025
41 | 0.99013 | -0.18997 | 0.011378 | 0.0028517
42 | 0.99156 | -0.16227 | 0.0042684 | 0.0010698
43 | 0.99197 | -0.15432 | 0.0037857 | 0.00094878
44 | 0.99451 | -0.10404 | 0.00062006 | 0.0001554
45 | 0.99352 | -0.12294 | 0.019572 | 0.0049053
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0040165 | -0.0010066 | 0.0040188 | 0.0010059 | 2.3164e-06 | -6.7972e-07 | 0.00605 | 0.0060492 | 0.00605 | 0.98786 | -0.23116 | 0.98848 | -0.21905 | 1.6621
1 | -0.0040188 | -0.0010059 | 0.0040199 | 0.0010056 | 1.1342e-06 | -3.34e-07 | 0.0060492 | 0.0060489 | 0.0060492 | 0.98848 | -0.21905 | 0.98879 | -0.21312 | 1.6619
2 | -0.0040199 | -0.0010056 | 0.004021 | 0.0010053 | 1.0546e-06 | -3.1127e-07 | 0.0060489 | 0.0060485 | 0.0060489 | 0.98879 | -0.21312 | 0.98907 | -0.2076 | 1.6618
3 | 0.10116 | 0.025878 | -0.10049 | -0.02545 | 0.00067042 | 0.00042809 | 0.15238 | 0.15238 | 0.15238 | 0.98907 | -0.2076 | 0.98192 | -0.34552 | 41.8629
4 | -0.10518 | -0.026883 | 0.10552 | 0.027097 | 0.00033684 | 0.00021374 | 0.15843 | 0.15843 | 0.15843 | 0.98907 | -0.2076 | 0.99253 | -0.14162 | 21.7622
5 | -0.037577 | -0.0094251 | 0.037606 | 0.0094435 | 2.9236e-05 | 1.8394e-05 | 0.056386 | 0.056386 | 0.056386 | 0.99169 | -0.15981 | 0.99253 | -0.14351 | 15.4907
6 | 0.011426 | 0.0028664 | -0.011416 | -0.0028612 | 9.8324e-06 | 5.1431e-06 | 0.017145 | 0.017146 | 0.017146 | 0.99169 | -0.15981 | 0.99076 | -0.17788 | 4.7104
7 | 0.026151 | 0.0065588 | -0.026134 | -0.0065487 | 1.6407e-05 | 1.0134e-05 | 0.039241 | 0.039241 | 0.039241 | 0.99169 | -0.15981 | 0.99101 | -0.17298 | 10.7805
8 | -0.045776 | -0.011491 | 0.045785 | 0.011497 | 9.4039e-06 | 5.9497e-06 | 0.068634 | 0.068634 | 0.068634 | 0.99253 | -0.14351 | 0.99275 | -0.1392 | 18.8556
9 | 0.011416 | 0.0028612 | -0.011416 | -0.0028611 | 2.6869e-07 | 1.4058e-07 | 0.017146 | 0.017146 | 0.017146 | 0.99076 | -0.17788 | 0.99073 | -0.17837 | 4.7104
10 | 0.0042772 | 0.0010707 | -0.0042749 | -0.0010711 | 2.2377e-06 | -4.3094e-07 | 0.0064218 | 0.0064225 | 0.0064225 | 0.99101 | -0.17298 | 0.99044 | -0.18398 | 1.7644
11 | 0.090267 | 0.022887 | -0.089996 | -0.022714 | 0.00027096 | 0.00017293 | 0.13689 | 0.13689 | 0.13689 | 0.98192 | -0.34552 | 0.9787 | -0.40817 | 37.6064
12 | -0.11053 | -0.028354 | 0.11058 | 0.028383 | 4.6533e-05 | 2.9548e-05 | 0.16595 | 0.16595 | 0.16595 | 0.99253 | -0.14162 | 0.99299 | -0.13295 | 22.7949
13 | -0.001418 | -0.00035538 | 0.001418 | 0.00035514 | 3.5837e-08 | -2.4805e-07 | 0.0021304 | 0.0021303 | 0.0021304 | 0.99041 | -0.18451 | 0.99044 | -0.18398 | 0.58528
14 | 0.0574 | 0.014422 | -0.057384 | -0.014412 | 1.621e-05 | 1.0299e-05 | 0.086049 | 0.086049 | 0.086049 | 0.99275 | -0.1392 | 0.99245 | -0.14512 | 23.6397
15 | -0.10319 | -0.025919 | 0.1033 | 0.025996 | 0.00011968 | 7.6421e-05 | 0.15468 | 0.15468 | 0.15468 | 0.99275 | -0.1392 | 0.99401 | -0.11493 | 42.4953
16 | -0.0087048 | -0.0021816 | 0.0087133 | 0.0021855 | 8.5091e-06 | 3.8261e-06 | 0.013255 | 0.013254 | 0.013255 | 0.97721 | -0.43746 | 0.97825 | -0.41696 | 3.6415
17 | -0.0087133 | -0.0021855 | 0.008717 | 0.0021871 | 3.6496e-06 | 1.6399e-06 | 0.013254 | 0.013254 | 0.013254 | 0.97825 | -0.41696 | 0.9787 | -0.40817 | 3.6413
18 | 0.081279 | 0.020527 | -0.080943 | -0.020313 | 0.00033557 | 0.00021403 | 0.12363 | 0.12363 | 0.12363 | 0.9787 | -0.40817 | 0.97429 | -0.49472 | 33.9652
19 | 0.056681 | 0.014233 | -0.056656 | -0.014217 | 2.4597e-05 | 1.5633e-05 | 0.086578 | 0.086578 | 0.086578 | 0.97429 | -0.49472 | 0.97382 | -0.50382 | 23.7852
20 | 0.044586 | 0.011192 | -0.044551 | -0.01117 | 3.4178e-05 | 2.163e-05 | 0.068134 | 0.068134 | 0.068134 | 0.97382 | -0.50382 | 0.97301 | -0.5199 | 18.7181
21 | -0.11353 | -0.029122 | 0.11358 | 0.029157 | 5.516e-05 | 3.504e-05 | 0.17036 | 0.17036 | 0.17036 | 0.99299 | -0.13295 | 0.99352 | -0.12294 | 23.4014
22 | -0.015971 | -0.0040026 | 0.015973 | 0.0040039 | 2.1377e-06 | 1.2496e-06 | 0.024434 | 0.024434 | 0.024434 | 0.97259 | -0.52825 | 0.97273 | -0.52544 | 6.7128
23 | 0.017034 | 0.0042698 | -0.017032 | -0.0042686 | 1.9396e-06 | 1.1468e-06 | 0.026058 | 0.026058 | 0.026058 | 0.97273 | -0.52544 | 0.97261 | -0.52783 | 7.1588
24 | -0.033007 | -0.0082737 | 0.033016 | 0.0082791 | 8.7119e-06 | 5.4625e-06 | 0.050493 | 0.050493 | 0.050493 | 0.97273 | -0.52544 | 0.97301 | -0.5199 | 13.8716
25 | 0.0053663 | 0.0013449 | -0.0053657 | -0.0013448 | 6.7405e-07 | 1.005e-07 | 0.0082101 | 0.0082102 | 0.0082102 | 0.97261 | -0.52783 | 0.97247 | -0.53047 | 2.2555
26 | -0.17894 | -0.045097 | 0.17944 | 0.045416 | 0.00050016 | 0.00031912 | 0.26716 | 0.26716 | 0.26716 | 0.99696 | -0.058246 | 1 | 0 | 36.6979
27 | 0.16466 | 0.041518 | -0.16463 | -0.041497 | 3.2741e-05 | 2.0879e-05 | 0.24585 | 0.24585 | 0.24585 | 0.99696 | -0.058246 | 0.99674 | -0.062402 | 33.7706
28 | 0.17407 | 0.044677 | -0.17401 | -0.044637 | 6.2498e-05 | 3.9869e-05 | 0.2594 | 0.2594 | 0.2594 | 1 | 0 | 0.99961 | -0.0074012 | 35.6317
29 | 0.0391 | 0.0098105 | -0.039075 | -0.0097947 | 2.5017e-05 | 1.5756e-05 | 0.058376 | 0.058376 | 0.058376 | 0.99674 | -0.062402 | 0.99604 | -0.07583 | 16.0373
30 | 0.12553 | 0.031687 | -0.12521 | -0.031486 | 0.00031497 | 0.00020127 | 0.18747 | 0.18747 | 0.18747 | 0.99674 | -0.062402 | 0.99401 | -0.11493 | 51.504
31 | 0.1721 | 0.044158 | -0.17169 | -0.043896 | 0.00041017 | 0.00026164 | 0.25655 | 0.25655 | 0.25655 | 0.99961 | -0.0074012 | 0.99701 | -0.056653 | 35.2405
32 | 0.015618 | 0.0039159 | -0.015614 | -0.0039132 | 4.7884e-06 | 2.7594e-06 | 0.023333 | 0.023333 | 0.023333 | 0.99604 | -0.07583 | 0.99571 | -0.082265 | 6.4103
33 | 0.16359 | 0.041868 | -0.16344 | -0.04177 | 0.0001522 | 9.7055e-05 | 0.24447 | 0.24447 | 0.24447 | 0.99701 | -0.056653 | 0.99599 | -0.075887 | 33.581
34 | 0.0077706 | 0.0019475 | -0.0077703 | -0.0019474 | 3.0711e-07 | 1.1756e-07 | 0.011613 | 0.011613 | 0.011613 | 0.99571 | -0.082265 | 0.99567 | -0.083095 | 3.1903
35 | 0.13408 | 0.034412 | -0.1339 | -0.034295 | 0.00018293 | 0.00011645 | 0.2006 | 0.2006 | 0.2006 | 0.99599 | -0.075887 | 0.99451 | -0.10404 | 27.5554
36 | 0.048534 | 0.012194 | -0.048513 | -0.01218 | 2.1317e-05 | 1.3504e-05 | 0.07278 | 0.07278 | 0.07278 | 0.99245 | -0.14512 | 0.99197 | -0.15432 | 19.9945
37 | 0.024544 | 0.0061535 | -0.024541 | -0.0061516 | 3.0002e-06 | 1.8444e-06 | 0.036871 | 0.036871 | 0.036871 | 0.99054 | -0.18197 | 0.99041 | -0.18453 | 10.1294
38 | -0.033447 | -0.0083848 | 0.033456 | 0.0083904 | 8.8823e-06 | 5.5639e-06 | 0.050245 | 0.050245 | 0.050245 | 0.99054 | -0.18197 | 0.99083 | -0.17639 | 13.8036
39 | 0.015036 | 0.0037696 | -0.015033 | -0.0037678 | 3.0473e-06 | 1.7454e-06 | 0.022591 | 0.022591 | 0.022591 | 0.99041 | -0.18453 | 0.99019 | -0.18879 | 6.2064
40 | -0.037023 | -0.0092844 | 0.037034 | 0.0092916 | 1.1335e-05 | 7.1285e-06 | 0.055603 | 0.055603 | 0.055603 | 0.99083 | -0.17639 | 0.99116 | -0.16997 | 15.2755
41 | 0.011379 | 0.002852 | -0.011378 | -0.0028517 | 6.4315e-07 | 3.3617e-07 | 0.0171 | 0.0171 | 0.0171 | 0.99019 | -0.18879 | 0.99013 | -0.18997 | 4.6977
42 | -0.040427 | -0.010142 | 0.040442 | 0.010151 | 1.4851e-05 | 9.3661e-06 | 0.060696 | 0.060696 | 0.060696 | 0.99116 | -0.16997 | 0.99156 | -0.16227 | 16.6747
43 | -0.04471 | -0.011221 | 0.044727 | 0.011232 | 1.6949e-05 | 1.0718e-05 | 0.067101 | 0.067101 | 0.067101 | 0.99156 | -0.16227 | 0.99197 | -0.15432 | 18.4344
44 | 0.13328 | 0.03414 | -0.13315 | -0.034062 | 0.00012187 | 7.7576e-05 | 0.19968 | 0.19968 | 0.19968 | 0.99451 | -0.10404 | 0.99352 | -0.12294 | 27.428

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37336 | 0.094655

## res_load
| p_mw | q_mvar
0 | 0.0040165 | 0.0010066
1 | 0.0081697 | 0.0020475
2 | 0.021857 | 0.0054779
3 | 0.010224 | 0.0025624
4 | 0.005015 | 0.0012569
5 | 0.001418 | 0.00035538
6 | 0.0028569 | 0.000716
7 | 0.011416 | 0.0028611
8 | 0.0087048 | 0.0021816
9 | 0.024262 | 0.0060807
10 | 0.012071 | 0.0030252
11 | 0.0029467 | 0.00073852
12 | 0.015971 | 0.0040026
13 | 0.011666 | 0.0029238
14 | 0.011536 | 0.0028911
15 | 0.0053657 | 0.0013448
16 | 0.014278 | 0.0035784
17 | 0.018202 | 0.004562
18 | 0.0019133 | 0.00047952
19 | 0.023457 | 0.0058788
20 | 0.021905 | 0.00549
21 | 0.0080949 | 0.0020288
22 | 0.007843 | 0.0019656
23 | 0.029362 | 0.0073588
24 | 0.0077703 | 0.0019474
25 | 0.0088497 | 0.0022179
26 | 0.008903 | 0.0022313
27 | 0.0095046 | 0.0023821
28 | 0.0035674 | 0.00089407
29 | 0.0036542 | 0.00091583
30 | 0.0033925 | 0.00085025
31 | 0.011378 | 0.0028517
32 | 0.0042684 | 0.0010698
33 | 0.0037857 | 0.00094878
34 | 0.00062006 | 0.0001554
35 | 0.019572 | 0.0049053

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1